# CHAPTER 59A-25

MINIMUM STANDARDS FOR HOME MEDICAL EQUIPMENT PROVIDERS

59A-25.001	Definitions

59A-25.002	Licensure Requirements

59A-25.003	Scope of Services

59A-25.004	Minimum Qualifications for Personnel

59A-25.005	Compliance

59A-25.006	Emergency Management Planning

## 59A-25.001 Definitions.

In addition to definitions contained in Chapters 400, Part VII, and 408, Part II, F.S., the following terms shall apply to this rule chapter:

(1) “AHCA” means Agency for Health Care Administration.

(2) “Central Service Center” means the licensed premises that are in charge of taking consumer orders, dispatching the orders to licensed distribution centers owned and operated by the same licensee that provide home medical equipment services, and maintaining consumer and personnel records. The central service center is responsible for the operation of its designated distribution centers.

(3) “Distribution centers” means those licensed premises that are not located at the address of the central service center but are owned and operated by the same licensee, receive orders from the central service center and are utilized to provide home medical equipment services.

(4) “HME” means home medical equipment.

Rulemaking Authority 400.935, 408.819 FS. Law Implemented 400.935, 408.804 FS. History–New 6-4-00, Amended 10-6-02, 3-13-07, 5-4-15.

## 59A-25.002 Licensure Requirements.

(1) Home medical equipment locations requiring a license are any locations that sell, rent, or distribute, or offer to sell or rent to or for a consumer any home medical equipment that requires services. These locations can be identified as follows:

(a) Any location providing or distributing home medical equipment requiring services to consumers in Florida;

(b) Any location where an intake person takes calls from consumers in Florida and offers to sell or rent home medical equipment requiring services;

(c) Any location where a consumer in Florida may call in response to a provider advertising to sell or rent home medical equipment requiring services, e.g., television advertisements, toll-free telephone numbers, phone books, newspapers, flyers or any other forms of public advertisement;

(d) Any location out of state that offers to sell or rent home medical equipment requiring services to consumers in Florida;

(e) Any location in state or out of state, with sales representatives working in Florida, that offers to sell or rent home medical equipment requiring services to consumers in Florida, i.e., the sales representatives themselves do not need to be licensed; and,

(f) Any buildings, that are not located at the licensed central service center address, called shops, warehouses, distribution centers, or called by any other name, are required to have a license if that site location provides selection (via telephone, showroom or sales representative), delivery, set up, consumer instruction or maintenance of equipment to consumers in Florida.

1. A central service center must provide the names and locations of all of its designated distribution centers on the licensure application.

2. A distribution center must submit a separate licensure application and must specify the name of its central service center on the application.

3. Each licensed distribution center is required to meet all standards for licensure but may be determined to meet the standards through the activities of its designated central service center as referenced in paragraph 59A-25.005(1)(b), F.A.C.

(2) Home medical equipment locations that do not require a license: Diabetic monitors and disposable supplies, e.g., diabetic, ostomy, urological and wound care supplies have been identified as equipment and supplies that do not require services as defined in Section 400.925(9), F.S.; therefore, locations that supply these items only will not require a HME license.

(3) Licensing application and fees:

An application for initial, change of ownership and renewal licensure must be made on the Health Care Licensing Application, Home Medical Equipment Provider, AHCA Form 3110-1005, October 2014, incorporated by reference and available at https://www.flrules.org/Gateway/reference.asp?No=Ref-05267, and the Health Care Licensing Application Addendum prescribed in subsection 59A-35.060(1), F.A.C. These forms are available online at http://ahca.myflorida.com/HQAlicensureforms. An application for initial, change of ownership and renewal licensure must be accompanied by a non-refundable $304.50 biennial licensing fee and, if required, a $400 inspection fee per location. Businesses with a central service center having distribution centers are required to submit an application and a $304.50 biennial licensing fee for each location, but shall submit only one $400 inspection fee with the application of the central service center.

(4) Initial and change of ownership applicants must submit proof of financial ability to operate pursuant to Sections 408.8065(1) and 408.810(8), F.S., and Rule 59A-35.062, F.A.C. for each location to be licensed

(5) Each licensed HME provider location must obtain and maintain professional and commercial liability insurance as referenced in Sections 400.931(3) and 408.810(7), F.S. A corporation can provide a blanket policy, which indicates that each of its licensed locations is insured under one policy, verifying not less than $250,000 per claim for each location.

(6) Initial applicants and providers requesting to change the address of record must provide proof of compliance with local zoning requirements. Physical location cannot be a post office box. The licensee must have all county licenses and permits that are applicable.

(7) If a change of name and/or address of record is to occur, the provider must submit Home Medical Equipment Provider, Request to Amend License for Change of Name and/or Address, AHCA Form 3110-1020, October 2014, https://www.flrules.org/Gateway/reference.asp?No=Ref-05268, incorporated by reference, and available online at http://ahca.myflorida.com/HQAlicensureforms, according to the timeframes as required in subsection 59A-35.040(2), F.A.C., and accompanied by a fee as required in subsection 59A-35.050(4), F.A.C.

Rulemaking Authority 400.935, 408.805, 408.810(8), 408.819 FS. Law Implemented 400.925, 400.93, 400.931, 400.933, 400.935, 400.953, 408.803, 408.806, 408.8065, 408.807, 408.809, 408.810, 408.815 FS. History–New 6-4-00, Amended 10-6-02, 4-13-03, 3-13-07, 5-4-15.

## 59A-25.003 Scope of Services.

(1) Minimum standards: Each home medical equipment provider must:

(a) Have a visible sign with the name of the business, business hours, and a phone number where the business can be contacted during business hours.

(b) Maintain personnel records that must include the following: employment history for the past 5 years, proof of background screening including a signed copy of the good moral character form and a license of any professional that may work from that location. A distribution center will not be required to maintain personnel records but its central service center shall be responsible for maintaining personnel records.

(c) Provide management and consumer instruction regarding the use of home medical equipment requiring services, as referenced in Section 400.925(11), F.S. Delivery services include transportation of equipment and supplies to and from consumer homes, equipment setup, and record keeping.

(d) Coordinate services with another provider in the event the HME cannot ensure the provision of equipment and services as required in Section 400.935(7), F.S.

(e) Be ultimately responsible for the management of all equipment and services even if a contractor is involved.

(f) Honor all express warranties regarding assistive technology devices. The duration of the express warranty must be at least one year after first delivery of the assistive technology device to the consumer as required in Section 427.803, F.S.

(g) Honor all warranties as required in Section 400.934(9), F.S., and warranty used equipment at least 30 days.

(h) Provide the consumer with user instructions as required in Section 400.934(13), F.S.

(i) Be able to demonstrate the safety and infection control measures that follow:

1. Procedures that identify safety precautions to be followed in the handling and use of each type of equipment and its related supplies;

2. Equipment is routinely inspected for safety and stability prior to delivery;

3. The electrical adequacy and safety of a home is assessed prior to placing any electrical or electronic equipment, and instructions are provided to consumers regarding applicable precautions and safety measures;

4. Compliance with bedding and mattress reuse regulations;

5. Specific cleaning or sanitizing requirements between usage for each type of equipment according to the manufacturers’ guidelines;

6. Storage of unclean equipment separate from clean equipment;

7. Transportation of unclean equipment separate from clean equipment;

8. Storage of equipment to prevent dust accumulation, water damage, and vermin contact; and,

9. Equipment is safely maintained and installed based upon the manufacturers’ instructions.

(2) Home medical equipment includes oxygen and related respiratory equipment, customized wheelchairs and related seating and positioning as referenced in Section 400.925(8), F.S. In addition to the home medical equipment referenced in Section 400.925(8), F.S., other examples of equipment requiring services include the following:

(a) All equipment defined in Section 400.925(13), F.S., as life-supporting or life-sustaining equipment, which includes suctioning equipment.

(b) Continuous positive airway pressure machines, all electrostimulation equipment such as bone, muscle and transcutaneous electrical nerve stimulators, hospital beds, intermittent positive pressure breathing machines, motorized scooters, nebulizers, passive motion devices, patient lifts, phototherapy (billirubin) light with photometer, pressure ulcer care equipment, specialty prescribed cribs (child safety), trapeze equipment, ventilator equipment (that is non-life supporting), wheelchairs, and walkers. All of the equipment referenced here in paragraph (b), including the custom wheelchairs and seating as referenced in Section 400.925(8), F.S., is considered non-life supporting equipment.

(3) Minimum service standards required for equipment are as follows:

(a) Services for all home medical equipment must be based upon the current recommended manufacturers’ standards.

(b) The provider must prioritize consumer service needs based upon the urgency of the situation. Any equipment utilized to provide a therapy treatment, as prescribed by the consumer’s physician, shall require urgent attention. Also, any equipment in general that is completely non-functional shall be serviced with urgency. Any equipment that is functional, but needs minor repair may be serviced in a less urgent time frame. All service requests must be responded to in a timely manner that satisfies the consumer’s needs.

(c) Service must be provided for life-supporting or life-sustaining equipment 24 hours, 7 days per week. Emergency service requests, as referenced in Section 400.934(8), F.S., must be responded to with a telephone call, within 30 minutes and back up service provided at the consumer’s home within two hours or less due to equipment failure or power outages. Providers must offer assistance regarding registration with emergency management services for consumers who use life-supporting or life-sustaining equipment.

(d) Services may be provided for non-life supporting or life-sustaining equipment during regular business hours. Requests for consumer instruction or any needed repair shall be responded to by telephone within the same working day. The consumer may bring to the provider’s place of business any small equipment item requiring consumer instruction or repair.

(e) Life-support or life-sustaining equipment and related supplies must be provided to the consumer in the home environment based on initial and periodic reassessments of the consumer’s equipment needs. Life supporting or life sustaining equipment shall be provided based upon physician orders including any physician order for medically necessary back-up equipment and supplies.

(4) Consumer records:

(a) A record must be maintained for each consumer that documents the home medical equipment and any services received as required in Section 400.94(1), F.S.

(b) Consumer information may not be disclosed from the consumer’s file without the written consent of the consumer, the consumer’s guardian or the consumer’s power of attorney. All information received by any employee, contractor or AHCA employee regarding a consumer of the HME is confidential.

(c) Consumer records must be made available to AHCA representatives when an inspection or a complaint investigation is done.

(d) Retained records can be stored as hard paper copy, microfilm, computer discs or tapes as long as they are retrievable for use during unannounced inspections or complaint investigations.

(5) Contracts: Services provided by contract for consumers must be through a written agreement between the provider and the business providing any equipment and services for a consumer, herein referred to as the contractor. Contracts must be retained for a minimum of 5 years. The contract must include the following at a minimum:

(a) A description of any of the equipment or services to be provided by the contractor;

(b) Designation if the HME provider or the contractor is responsible for monitoring the equipment and services provided by the contractor;

(c) Charges for any contracted equipment and services and designation of who will be billing the consumer, the HME provider or the contractor;

(d) Responsibility of the HME provider to retain and maintain all records of consumers served by a contractor;

(e) Evidence that the contractor has professional and commercial liability insurance coverage (the licensee is responsible for making sure that the contractor has liability insurance);

(f) Period of the contract between the HME provider and the contractor;

(g) Procedures for reporting service and maintenance notes and any clinical or progress notes by the contractor to the HME provider;

(h) Date and signatures of all parties, and,

(i) Contracts must be retained for a minimum of five years.

Rulemaking Authority 400.935 FS. Law Implemented Chapter 400, Part VII, 400.92-.957 FS. History–New 6-4-00, Amended 10-6-02, 3-13-07.

## 59A-25.004 Minimum Qualifications for Personnel.

The provider must be in compliance with and make available to AHCA surveyors the information referenced in this section.

(1) General Manager, as defined in Section 400.925(7), F.S.:

(a) Qualifications: A minimum of two years experience in business management or a college degree in business or a health care related field can substitute for the required experience year for year.

(b) Duties: The general manager is responsible for the following areas either directly or by clear delegation in writing:

1. Assuring the maintenance of consumer records including equipment repair and maintenance records as referenced in Section 400.94, F.S.;

2. Maintain job descriptions of staff;

3. Assuring trained and qualified staff essential to the services provided as referenced in Sections 400.934(4), (5), (15), F.S.;

4. Keeping program personnel up to date with health care information and practices;

5. Directing staff in performance of their duties;

6. Assuring that staff can accommodate consumer’s language;

7. Assuring an adequate inventory of equipment and supplies to provide consumers currently being served;

8. Assuring that policies are developed and implemented as required in state law and rule;

9. Maintaining and updating procedure manuals related to business functions;

10. Maintain customer service complaint records containing the specifics related to the complaint and how the complaint was resolved as referenced in Sections 400.934(8) and (10), F.S.;

11. Evaluating services, and personnel;

12. Establishing and maintaining effective channels of communication;

13. Maintaining training manuals and records verifying all training that personnel has received or is scheduled to receive thus assuring staff development including orientation, in-service education, and continuing education; and,

14. Assuring adequate staff supervision during all service hours.

(2) Licensed health care professionals, such as respiratory therapists, certified respiratory therapy technicians, registered nurses, and licensed practical nurses that may be on staff or contracted with as needed for service provision:

(a) Qualifications: Current professional license(s);

(b) Training: Clinical staff must have required experience or training relative to the specific service they are providing; and,

(c) Duties: Provider policies must clearly identify that the respective duties of each type of clinical professional worker are within the scope of the described clinical responsibilities.

(3) Delivery personnel:

(a) Qualifications: A driver’s license as required by law for the vehicle being driven and the physical capacity to handle the equipment assigned. Delivery persons must be able to accommodate the consumer’s language and have the ability to work without continuous direct supervision;

(b) Training: Delivery and equipment service staff shall have successfully completed a documented training program covering all components of their assigned jobs including training for each type of equipment they are responsible for delivering; and,

(c) Duties: Delivery personnel are responsible for providing safe and clean transport of equipment and supplies to and from consumer homes, setting up equipment safely, and record keeping of the equipment delivered. They must provide in writing to the consumer a telephone number for use during business hours and an emergency number for after business hours when life supporting or life sustaining equipment is provided.

(4) Maintenance personnel:

(a) Qualifications: The ability to maintain and coordinate the repair of all equipment and to work without continuous direct supervision;

(b) Training: Attend any training required by the manufacturer regarding equipment maintenance; and,

(c) Duties: Coordinate maintenance of equipment, complete and sign maintenance logs that verify equipment has been maintained and repaired as required by manufacturer standards.

Rulemaking Authority 400.935 FS. Law Implemented Chapter 400, Part VII, 400.92-.957 FS. History–New 6-4-00, Amended 10-6-02, 3-13-07.

## 59A-25.005 Compliance.

(1) The survey or inspection:

(a) Except as described in paragraphs (b) and (c), each separately licensed home medical equipment provider location must be in compliance with and shall be surveyed in accordance with Chapters 400 Part VII, and 408, Part II, F.S., Chapter 59A-35, F.A.C. and these rules.

(b) If a provider is operating with a central service center that has one or more distribution centers, the central service center shall be the premises where the survey will be initiated. A surveyor will inspect at least one of the distribution centers associated with the central service center. The distribution center will be held accountable for equipment and services provided but will not be responsible for maintaining patient or personnel records.

(c) All providers must have available, at the time of survey, at least one category of equipment that is provided directly, filling orders from its own inventory as referenced in Section 400.934(2), F.S. Failure to have, at the time of survey, at least one category of equipment that is provided directly will result in the provider’s application being denied or the provider’s license being revoked. A licensed central service center may be determined to meet this standard through the inventory available at its designated distribution center.

(2) AHCA will conduct investigations of complaints regarding violations of licensure requirements. Complaint investigations will be unannounced. Distribution centers will be allowed forty-eight hours to obtain patient or personnel records from its central service center and to submit the records to the area office when related to a complaint investigation.

(3) Adverse action: Denial, Suspension, Revocation, and Administrative Fines.

(a) AHCA shall deny, suspend or revoke an application for license, or impose a fine for the reasons in Section 400.932, Part II of Chapter 408, F.S., Chapter 59A-35, F.A.C., and for the following reasons:

(a) If the provider fails to submit an application for a change of ownership within the time frames specified in Sections 408.806 and 408.807, F.S., a $50 fine per day, not to exceed 50% percent of the licensure fee, shall be levied. If the application is received after the required filing date and, exhibits a hand-canceled postmark from a United States Post Office dated on or before the required filing date, no fine will be levied;

(b) If the provider is cited for a Class I violation as defined in Section 408.813(2)(a), F.S., the agency shall impose an administrative fine in the amount of $5,000 for each occurrence and each day that the deficiency exists. In addition, the agency shall immediately revoke the license, deny the renewal of a license or impose a moratorium on accepting new consumers until the factors causing the deficiency have been corrected;

(c) If the provider is cited for a Class II violation as defined in Section 408.813(2)(b), F.S., the agency shall impose an administrative fine in the amount of $1,000 for each occurrence and each day that the deficiency exists. In addition the agency shall revoke the license, deny the renewal of a license or impose a moratorium of new consumers until the deficiency has been corrected;

(d) If the provider is cited for a Class III violation as defined in Section 408.813(2)(c), F.S., the agency shall impose an administrative fine not to exceed $500 for each occurrence and each day that the uncorrected or repeated deficiency exists;

(e) If the provider is cited for a Class IV violation as defined in Section 408.813(2)(d), F.S., the agency shall impose an administrative fine not to exceed $200 for each occurrence and each day that the uncorrected or repeated deficiency exists;

(f) If the provider is not available for inspection during the office hours indicated on its licensure application, AHCA shall deny an initial, renewal or change of ownership application or impose a $500 fine upon a licensed provider;

(g) If the central service center’s license is revoked, the revocation includes the licenses of all distribution centers;

(h) Failure of a provider to provide records to AHCA during an inspection shall result in a $500 fine; and,

(i) Failure of a distribution center to provide records to AHCA within forty-eight hours shall result in a $500 fine.

Rulemaking Authority 400.935, 408.819 FS. Law Implemented 400.932, 400.933, 400.934, 400.935, 408.806, 408.807, 408.811, 408.812, 408.813, 408.815 FS. History–New 6-4-00, Amended 10-6-02, 3-13-07, 5-4-15.

## 59A-25.006 Emergency Management Planning.

(1) Pursuant to Section 400.934(20)(a), F.S., each home medical equipment provider must prepare and maintain a written comprehensive emergency management plan, that meets the minimum criteria in these rules and the Comprehensive Emergency Management Plan (CEMP) Format for Home Medical Equipment (HME) Providers, AHCA Form 3110-1019, December 2006, incorporated by reference. This document is available from the Agency for Health Care Administration at http://ahca.myflorida.com under Licensing & Certification, Home Medical Equipment Provider. The CEMP Format contains the minimum criteria that must be included in each home medical equipment provider emergency management plan, as required in Section 400.934(20), F.S. The plan must describe how the home medical equipment provider establishes and maintains an effective response to emergencies and disasters. The completed plan will be e-mailed or mailed to the local county health department for each county listed on the home medical equipment provider’s license as required in Section 400.934(20)(b), F.S., unless the county health department does not require submission of home medical equipment provider emergency management plans per Section 381.0303(7), F.S.

(2) The home medical equipment provider must review its emergency management plan on an annual basis, make any substantive changes and inform their staff of those changes. For the purposes of this section, ‘substantive changes’ would include, but not be limited to, change of address, change of administrative staff who are responsible for coordinating the home medical equipment provider‘s emergency response or their contact telephone numbers and change of type of equipment or equipment services provided.

(3) The substantive changes as defined in subsection 59A-25.006(2), F.A.C., must be reported to the county emergency management office and to the county health department. For home medical equipment providers with multiple counties on their license, the changes must be reported to each county health department and each county emergency management office designated on the license. The telephone numbers must include numbers where the coordinating staff can be contacted outside of the home medical equipment provider’s regular office hours. All home medical equipment providers must report these changes, whether their plan has been previously reviewed or not, as defined in subsection (1).

(4) When a home medical equipment provider goes through a change of ownership, the new owner must review the emergency management plan and make any substantive changes, including changes noted in subsection (3). Those home medical equipment providers will need to report any substantive changes in their plans to the reviewing entity in subsection (1).

(5) In the event of an emergency, the home medical equipment provider must implement the emergency management plan pursuant to Section 400.934(20), F.S.

(6) Home medical equipment providers must assist consumers receiving HME services who would need assistance and sheltering during evacuations because of physical, mental, cognitive impairment, or sensory disabilities in registering with the local emergency management agency, as required in Section 252.355(1), F.S., and as determined by the established procedures of the local emergency management agency related to special needs registration.

(a) Each home medical equipment provider must, pursuant to Sections 400.934 and 252.355, F.S., inform consumers and consumer caregivers, by the best method possible as it pertains to the person’s disability, of the special needs registry and procedures for registration at the special needs registry maintained by their county emergency management office.

(b) If the consumer is to be registered with the special needs registry, the home medical equipment provider must assist the consumer with registering, pursuant to Sections 400.934 and 252.355, F.S., and the established procedures of the local emergency management agency. The home medical equipment provider must document in the consumer’s file if the consumer plans to evacuate or remain at home and if the consumer’s caregiver or family can take responsibility during the emergency for equipment services normally provided by HME staff or independent contractors referred by the home medical equipment provider or if the home medical equipment provider needs to make referrals in order for equipment services to continue. If the consumer is also receiving services through any other licensed health care provider or federal or state funded program designated in Section 252.355, F.S., to help clients register with the special needs registry, then the home medical equipment provider will check with the other service provider or program case manager to verify if the consumer has already been registered. If so, a note will be made in the consumer’s file by the home medical equipment provider that the consumer’s need for registration has already been reviewed and handled by the other provider or program. Home medical equipment providers are not required to assist consumers residing in skilled nursing facilities, assisted living facilities or adult family care homes with special needs registration as those licensed facilities are responsible for evacuation and alternative sheltering of their clients.

(c) The collected registration information must be furnished to the county emergency management agency pursuant to Section 400.934, F.S., and as determined by the established procedures of the local emergency management agency related to special needs registration.

(7) The home medical equipment provider must provide the same type and quantity of equipment services to its consumers, which must include those being served in assisted living facilities and adult family care homes, who evacuate to special needs shelters which were being provided prior to evacuation, pursuant to Section 400.934(20)(a), F.S. Home medical equipment providers are not required to continue to provide services to consumers in emergency situations that are beyond their control and that make it impossible to provide services, such as when roads are impassable or when consumers do not go to the location specified in their consumer records.

(8) If the home medical equipment provider is unable to provide equipment services to consumers who are special needs registry patients, including any assisted living facility and adult family care home special needs registry patients, then the provider will make reasonable efforts to find another resource for the consumer, pursuant to Section 400.934(20)(a), F.S. This would include arranging for services for consumers who have been forced to relocate outside of the geographic service area of the home medical equipment provider.

(9) During emergency situations, when there is not a mandatory evacuation order issued by the local county emergency management office, some consumers, registered pursuant to Section 252.355, F.S., may decide not to evacuate and will stay in their homes. The home medical equipment provider must establish procedures, prior to the time of an emergency, which will delineate to what extent the provider will continue to arrange for essential equipment services during and immediately following an emergency pursuant to Section 400.934(20)(a), F.S.

Rulemaking Authority 400.925, 400.934, 400.935 FS. Law Implemented 400.925, 400.934, 400.935 FS. History–New 3-13-07.