# CHAPTER 5L-1

# THE COMPREHENSIVE SHELLFISH CONTROL CODE

# 5L-1.001	General Requirements and Intent

# 5L-1.002	Definitions

# 5L-1.003	Shellfish Harvesting Area Standards

# 5L-1.004	Production and Market Standards

# 5L-1.005	Shellfish Processing Certification

# 5L-1.006	Compliance and Penalties

# 5L-1.007	Container Identification; Prohibitions

# 5L-1.008	Shellfish Handling

# 5L-1.009	Shellfish Relaying

# 5L-1.010	Buildings and Facilities

# 5L-1.011	Equipment for Shellfish Processing

# 5L-1.012	Sanitary Operations

# 5L-1.013	Facility Operation

# 5L-1.014	Heat Shock Method

# 5L-1.015	Depuration and Wet Storage Facility Operations

# 5L-1.016	Depuration Shellfish Sampling Procedures

# 5L-1.017	Water Treatment Standards

# 5L-1.018	Depuration – Ultraviolet (UV) Unit (Repealed)

# 5L-1.019	Laboratory Procedures and Sample Testing

## 5L-1.001 General Requirements and Intent.

(1) A shellfish processing certification is required to operate any shellfish processing facility.

(2) It is the intent of the Department to establish regulations and specifications to be known as the “Comprehensive Shellfish Control Code”, relating to sanitary practices for the catching, handling, relaying, depuration, packaging, preserving and storing of shellfish products.

(3) The Department, as a participant in the Interstate Shellfish Sanitation Conference, recognizes and endorses the following principles:

(a) Shellfish are a renewable, manageable natural and aquacultured resource of significant economic value to many coastal communities, and should be managed as carefully as are other natural resources such as forests, water, and agricultural lands.

(b) Shellfish culture and harvesting represents a beneficial use of water in the estuaries. This use should be recognized by local, state and federal agencies in planning and carrying out pollution prevention and abatement programs and in comprehensive planning for the use of these areas.

(c) The goals of the Interstate Shellfish Sanitation Conference are:

1. The continued safe use of this natural and aquacultured resource; and,

2. Active encouragement of water quality programs which will preserve all possible coastal areas for this beneficial use.

(4) The Department recognizes that the shellfish industry is subject to change as technological data becomes available; accordingly, it is the intent of the Department that the Comprehensive Shellfish Control Code be revised as necessary so that the technological data and industrial practices contained therein shall be consistent with good health and safety practices.

(5) The enforcement of the provisions of this code by the Department shall be coordinated with and be in conjunction with any and all other state, local and federal agencies exercising jurisdiction over the sanitary practices of the shellfish industry.

(6) Adoption of Federal Regulations and Standards – To the extent not inconsistent with the rules herein, the following are hereby incorporated and adopted. The documents are available online as indicated.

(a) The following parts of Title 21, Code of Federal Regulations:

1. Part 7 – Enforcement Policy, revised as of April 1, 2018, http://www.flrules.org/Gateway/reference.asp?No=Ref-10360;

2. Part 101 – Food Labeling, revised as of April 1, 2017, http://www.flrules.org/Gateway/reference.asp?No=Ref-10361;

3. Part 109 – Unavoidable Contaminants in Food for Human Consumption and Food-Packaging Material, revised as of April 1, 2017, http://www.flrules.org/Gateway/reference.asp?No=Ref-10362;

4. Part 110 – Current Good Manufacturing Practice in Manufacturing, Packing, or Holding Human Food, revised as of April 1, 2017, http://www.flrules.org/Gateway/reference.asp?No=Ref-10363;

5. Part 117 – Current Good manufacturing Practice, Hazard Analysis, and Risk-Based Preventive Controls for Human Food, Revised as of April 1, 2017, http://www.flrules.org/Gateway/reference.asp?No=Ref-10364;

6. Part 123 – Fish and Fishery Products, revised as of April 1, 2017, http://www.flrules.org/Gateway/reference.asp?No=Ref-10365;

7. Part 161 – Fish and Shellfish, revised as of April 1, 2017, http://www.flrules.org/Gateway/reference.asp?No=Ref-10366;

8. Part 509 – Unavoidable Contaminants in Animal Food and Food-Packaging Material, revised as of April 1, 2018, http://www.flrules.org/Gateway/reference.asp?No=Ref-10367.

(b) Title 40, Part 141, Section 141.2, Code of Federal Regulations, revised as of July 1, 2017, http://www.flrules.org/Gateway/reference.asp?No=Ref-10368.

(c) The Purpose, the Definitions, and Chapters 1 through 13, and 15 through 16 of the “Model Ordinance” of the National Shellfish Sanitation Program (NSSP), Guide for the Control of Molluscan Shellfish, 2017 Revision, herein adopted and  incorporated by reference are available online at http://www.flrules.org/Gateway/reference.asp?No=Ref-10369. Except for:

1. Definition number (16)(d) Reshipper; and,

2. Definition number (101) Reshipper.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, 7-9-89, 11-5-92, Formerly 16R-7.001, Amended 7-3-95, 2-6-97, 6-23-99, Formerly 62R-7.001, Amended 8-9-00, 5-29-02, 4-26-10, 3-23-17, 5-7-19.

## 5L-1.002 Definitions.

(1) Adulterated – any shellfish harvested from closed waters; any shellfish shucked, packed, or otherwise processed in a facility which has not been certified by the Department in accordance with the requirements of these rules; any shellfish contaminated as determined by microbiological or other analysis; any shellfish consisting in whole or in part of any filthy, putrid or decomposed substance, or otherwise unfit for food; any shellfish prepared, packed, or held under unsanitary conditions where it may have become contaminated with filth, or whereby it may have been rendered injurious to health.

(2) Alternative Processing – any processing done to shellfish which does not follow the time-temperature matrix as stated in subparagraphs 5L-1.008(7)(a)1.-3. and paragraph 5L-1.008(7)(b), F.A.C.

(3) Approved harvest area – an area in which it is indicated by a sanitary survey or other monitoring program data that fecal material, pathogenic microorganisms, radio nuclides, harmful chemicals, and marine biotoxins are not present in dangerous concentrations.

(4) Aquaculture Use Zones – legally-defined parcels that are surveyed, describing and indicating corners and boundaries, that have been subdivided into individual aquaculture leases issued pursuant to Section 253.68, F.S., and paragraph 18-21.004(2)(m), F.A.C.

(5) Certification period – the period of time between July 1 and June 30 of a year.

(6) Certified shellfish facility – the location, structures and equipment that has been certified pursuant to rule Chapter 5L-1.005, F.A.C., as a shellstock shipper, shucker-packer, or repacker. The certified shellfish facility shall comply with all laws, rules, and permits applicable to the shellfish business operation.

(7) Closed area (closed waters) – an area where the harvesting of shellfish is not permitted. Closed areas include prohibited and unclassified areas as well as temporarily closed approved, conditionally approved, restricted, and conditionally restricted harvest areas.

(8) Code – the Comprehensive Shellfish Control Code, rule Chapter 5L-1, F.A.C.

(9) Commercial harvester – a person that harvests with the intent to sell.

(10) Conditionally approved harvest area – an area in which it is indicated by a sanitary survey or other monitoring program data that the area is subjected to intermittent microbiological pollution and, under such conditions, is temporarily unsuitable as a source of shellfish for direct marketing. Such an area shall be managed by an operating procedure that will assure that shellfish from the area are not harvested from waters not meeting approved area criteria.

(11) Conditionally restricted harvest area – an area in which it is indicated by a sanitary survey or other monitoring program data that the area is subjected to intermittent microbiological pollution and, under such conditions, is temporarily unsuitable as a source of shellfish for relaying or depuration. Such an area shall be managed by an operating procedure that will assure that shellfish from the area are not harvested from waters not meeting restricted area criteria.

(12) Corrective action plan – is a brief outline of the deficiency(ies) found during an inspection of a certified facility with the corresponding rule deficiencies cited and the time frame in which the deficiency(ies) must be corrected.

(13) Critical control point – a point, step, or procedure in a food process at which control can be applied, and a food safety hazard can as a result be prevented, eliminated, or reduced to acceptable levels.

(14) Critical deficiency – a condition or practice which may result in the production of a product that is adulterated. A critical deficiency presents a threat to the health or safety of the consumer.

(15) Critical limit – the maximum or minimum value to which a physical, biological, or chemical parameter must be controlled at a critical control point to prevent, eliminate, or reduce to an acceptable level the occurrence of the identified food safety hazard.

(16) Deficiency – a condition or practice that is not in compliance with the rules governing the operation of the facility as outlined in rule Chapter 5L-1, F.A.C., “The Comprehensive Shellfish Control Code.”

(17) Department – the Department of Agriculture and Consumer Services.

(18) Depuration facility (controlled purification plant) (DP) – a shellfish processor who obtains shellstock from approved, conditionally approved, restricted or conditionally restricted harvest area(s) and submits such shellstock to a Department approved controlled purification process. The treatment process is designed to purge shellfish of bacterial and viral contamination to the extent that such shellfish are rendered safe for human consumption.

(19) Designated representative – is the individual who supervises all activities associated with the operation of the certified shellfish facilty in the absence of the facility owner or facility supervisor.

(20) Emergency – any unusual incident resulting from natural or unnatural causes which endangers the health, safety, or resources of the state, including, but not limited to, a hurricane, storm, or red tide; petroleum spill; toxic substance discharge; inability of a sewage treatment plant to comply with permit conditions due to a breakdown of equipment, power outage, destruction by fire, wind, or by other cause.

(21) Facility supervisor – an individual who supervises all activities associated with the operation of the certified shellfish processing facility.

(22) Food – any raw, cooked, or processed edible substance, ice, beverage, or ingredient used or intended for use or for sale in whole or in part for human consumption. Shellfish in the shell are considered food.

(23) Food contact surface – a surface of equipment or utensil which food normally comes into contact; or a surface of equipment or utensil from which food may drain, drip, or splash into food or onto a surface normally in contact with food.

(24) Food packaging materials – any material or container which food normally comes into contact.

(25) Food safety hazard – any biological, chemical, or physical property that may cause a food to be unsafe for human consumption.

(26) Free liquor – that liquid portion of a container that passes through a porous straining device when the contents (oyster or clam meats) of the container are drained.

(27) HACCP – Hazard Analysis and Critical Control Points – A system of inspection, control, and monitoring measures initiated by a shellfish processor to identify and control microbiological, chemical, or physical food safety hazards which are likely to occur in shellfish products produced by the facility.

(28) Harvester – a person engaged in the harvesting of shellfish.

(29) Health authority – the Department or its authorized representative.

(30) Heat shock – the process of subjecting molluscan shellstock to any form of heat treatment prior to shucking, including steam, hot water or dry heat, to facilitate removal of the meat from the shell without substantially altering the physical or organoleptic characteristics of the molluscan shellfish.

(31) ICWW – Intracoastal Waterway.

(32) Key deficiency – a condition or practice which may result in adulterated, misbrandedor, or unwholesome product.

(33) Lot of shellstock – a single type of bulk shellstock or container of shellstock of no more than one day’s harvest from a single harvest area gathered by one or more harvesters.

(34) Lot of shucked shellfish – a collection of containers of no more than one day’s shucked product from a single harvest area produced under conditions as nearly uniform as possible, and designated by a common container code or marking.

(35) Lot wet storage/depuration – all shellfish from a single depuration or wet storage tank or series of tanks serviced by a common treatment system.

(36) Mechanical refrigeration – refrigeration provided by a compressor in a system where temperature can be adjusted with a thermostat and the unit will maintain a temperature of 45ºF or less.

(37) Misbranded – any shellfish product whose labeling is false or misleading; any shellfish product in package form unless it bears labeling including (1) the name and place of business of the manufacturer, packer, or distributor; (2) an accurate statement of the quantity of the contents in terms of weight, measure, or numerical count; and (3) meets labeling requirements of the Department within this chapter.

(38) NSSP Model Ordinance – the National Shellfish Sanitation Program Guide for the Control of Molluscan Shellfish, published by the U.S. Department of Health and Human Services.

(39) Other deficiency – a condition or practice that is not in accordance with rule requirements and is not determined to be a key or critical deficiency.

(40) Pest – refers to any objectionable animals or insects, including, but not limited to, dogs, cats, birds, rodents, flies, and larvae.

(41) Processing – is the handling, unloading, storing, transporting, shucking, freezing, preparing, changing into different market form, manufacturing, preserving, packing, or labeling of shellfish or shellfish products.

(42) Prohibited harvest area – an area from which the taking of shellfish is not permitted.

(43) Public Water System – a system for the provision to the public of water for human consumption through pipes or other constructed conveyances, if such system has at least fifteen service connections or regularly serves an average of at least twenty-five individuals daily at least 60 days out of the year. Such term includes: any collection, treatment, storage, and distribution facilities under control of the operator of such system and used primarily in connection with such system; and any collection or pretreatment storage facilities not under such control which are used primarily in connection with such system. Such term does not include any “special irrigation district.” A public water system is either a “community water system” or a “non-community water system.” See the Code of Federal Regulations (C.F.R.), Title 40, Part 141, Section 2, revised as of July 1, 2015, incorporated in paragraph 5L-1.001(6)(b), F.A.C.

(44) Remote Buying – a shellfish processor or designated representative taking possession of shellfish at any location different than their certified shellfish processing facility location.

(45) Repacker/Repacking Facility (RP) – a certified shellfish facility, other than the original certified shucker-packer, who repacks shucked shellfish into other containers for distribution or sale. A repacker may also purchase, repack and ship shellstock. A repacker shall not shuck shellfish.

(46) Repeat Critical deficiency – is the same “critical” deficiency that has been listed on the corrective action plans for the same facility anytime during the preceeding 180 days.

(47) Repeat Key deficiency – is the same “key” deficiency that has been listed on the corrective action plans for the same facility anytime during the preceeding 180 days.

(48) Repeat Other deficiency – is the same “other” deficiency that has been listed on the corrective action plans for the same facility anytime during the preceeding 180 days.

(49) Restricted harvest area – an area in which it is indicated by a sanitary survey or other monitoring program data that fecal material, pathogenic microorganisms, radio nuclides, harmful chemicals, and marine biotoxins are not present in dangerous concentrations such that shellfish harvested from such an area and subjected to a suitable and effective purification process are safe for human consumption.

(50) Restricted Use Shellstock – shellstock that is harvested from harvest areas classified as approved or conditionally approved in the open status and under conditions that do not allow the sale of shellstock for direct marketing for raw consumption. Restricted use shellstock is identified with a green tag indicating the shellstock is intended for shucking by a certified processing facility or post harvest processing only.

(51) Retail sale – sale to the ultimate consumer or to a person who will not resell the product.

(52) Sanitize – the effective bactericidal treatment of clean food contact surfaces of equipment and utensils by a process using only those safe sanitizing agents that have an available field test for strength and effectiveness, and is effective to yield a reduction of 5 logs, which is equal to a 99.999% reduction of representative disease microorganisms of public health importance. Such treatment shall not adversely affect the product and shall be safe for the consumer.

(53) Shellfish – all edible species of oysters, clams, mussels, and whole or roe-on scallops either shucked or in the shell, fresh, or frozen.

(54) Shellfish Processor – a shellstock shipper, shucker-packer, or repacker who possesses a shellfish processing facility certification from the Department.

(55) Shellfish Relaying – the transfer of shellfish from an aquaculture lease closed for the harvest of shellfish to a certified depuration facility or another aquaculture lease open for the harvest of shellfish, pursuant to Rule 5L-1.009, F.A.C.

(56) Shellstock – shellfish which remain in their shells.

(57) Shellstock shipper/Shellstock shipping facility (SS) – a certified shellfish facility which buys, repacks and sells shellstock. A shellstock shipper is not authorized to shuck shellfish nor to repack shucked shellfish but may also buy and sell sealed containers of shucked shellfish.

(58) Shuck date – the date shucked shellfish are initially removed from their shells.

(59) Shucked shellfish – shellfish or parts thereof which have been removed from their shells.

(60) Shucker-packer/Shucker-packer facility (SP) – a certified shellfish facilty which shucks and packs shellfish. SPs may act as a shellstock shipper and/or repacker.

(61) Swing deficiency – a deficiency that could either be a “critical” or a “key” deficiency, or it could be either a “key” or an “other” deficiency, depending on the location, severity and circumstances.

(62) Time of Harvest – is defined as the time when shellfish are first removed from the water and placed on or in a manmade conveyance or other means of transport.

(63) Time of Refrigeration – is defined as the time when shellfish are first placed within an ambient environment of 45ºF degrees or less.

(64) Unclassified area – an area for which no recent sanitary survey exists. Harvest of shellfish is not permitted.

(65) Unwholesome – shellfish which are not in sound condition, unclean, or otherwise not suitable for human consumption.

(66) UV – Ultraviolet.

(67) Violation and deficiency – are used interchangeably within these rules. The meaning of both is that a facility is not in compliance with the rules governing their operation as outlined in rule Chapter 5L-1, F.A.C., “The Comprehensive Shellfish Control Code.”

(68) Warning letter – a warning letter includes a notice of non-compliance.

(69) Wet storage – the temporary storage of shellfish harvested from an approved sources or in the open status conditionally approved harvest area and placed in tanks containing water that meets approved or open status conditionally approved shellfish harvesting area water quality standards.

(70) Wholesale – any sale to any person or business other than the final consumer.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 5-21-87, 8-10-88, 7-9-89, 11-5-92, 5-20-93, Formerly 16R-7.003, Amended 7-3-95, 5-8-96, 2-6-97, 6-23-99, Formerly 62R-7.003, Amended 8-9-00, 5-29-02, 3-23-17, 4-2-19.

## 5L-1.003 Shellfish Harvesting Area Standards.

(1) The Department shall describe or illustrate harvesting areas and provide harvesting area classifications as approved, conditionally approved, restricted, conditionally restricted, prohibited, or unclassified as defined herein, including criteria for opening and closing shellfish harvesting areas in accordance with Chapters II and IV of the NSSP Model Ordinance. Copies of the Shellfish Harvesting Area Classification Boundaries and Management Plans, (FDACS-P-01593, Revised October 2020), containing shellfish harvesting area descriptions, references to shellfish harvesting area map numbers, and operating criteria are hereby incorporated by reference, and available online at http://www.flrules.org/Gateway/reference.asp?No=Ref-12668, or may be obtained by contacting the Division of Aquaculture, Holland Building, 600 South Calhoun Street, Suite 217, Tallahassee, Florida 32399.

(2) Approved harvest areas – An area shall be classified as approved when a sanitary survey, conducted in accordance with Chapter IV of the NSSP Model Ordinance, indicates that pathogenic microorganisms, radionuclides, and/or harmful industrial wastes do not reach the area in dangerous concentrations and this is verified by laboratory findings whenever the sanitary survey indicates the need. Shellfish may be harvested from such areas for direct marketing. This classification is based on the following criteria:

(a) The area is not so contaminated with fecal material or poisonous or deleterious substances that consumption of the shellfish might be hazardous; and,

(b) The bacteriological quality of every sampling station in those portions of the area most probably exposed to fecal contamination shall meet one of the following standards during the most unfavorable meteorological, hydrographic, seasonal, and point source pollution conditions: 1) The median or geometric mean fecal coliform Most Probable Number (MPN) of water shall not exceed 14 per 100 ml., and not more than 10% percent of the samples shall exceed a fecal coliform MPN of 43 per 100 ml. (per 5-tube, 3-dilution test) or 2) The median or geometric mean fecal coliform Most Probable Number (MPN) of water shall not exceed 14 per 100 ml., and not more than 10% percent of the samples shall exceed a fecal coliform MPN of 33 per 100 ml. (per 12-tube, single-dilution test) or 3) The median or geometric mean fecal coliform Membrane Filter (MF) colony forming units of water shall not exceed 14 per 100 ml., and not more than 10% percent of the samples shall exceed a fecal coliform MF colony forming unit of 31 per 100 ml. Harvest from temporarily closed approved areas shall be unlawful.

(3) Conditionally approved harvest areas – An area shall be classified as conditionally approved when a sanitary survey, conducted in accordance with Chapter IV of the National Shellfish Sanitation Program Model Ordinance, indicates that the area is subjected to intermittent microbiological pollution. The suitability of such an area for harvesting shellfish for direct marketing may be dependent upon attainment of established performance standards by wastewater treatment facilities discharging effluent directly or indirectly into the area. In other instances, the sanitary quality of the area may be affected by seasonal populations, climatic and/or hydrographic conditions, non-point source pollution, or sporadic use of a dock, marina, or harbor facility. Such areas shall be managed by an operating procedure that will assure that shellfish from the area are not harvested from waters not meeting approved area criteria. In order to develop effective operating procedures, these intermittent pollution events shall be predictable. Harvest from temporarily closed conditionally approved harvest areas shall be unlawful.

(4) Restricted harvest areas – An area shall be classified as restricted when a sanitary survey, conducted in accordance with Chapter IV of the National Shellfish Sanitation Program Model Ordinance, indicates that fecal material, pathogenic microorganisms, radionuclides, harmful chemicals, and marine biotoxins are not present in dangerous concentrations after shellfish from such an area are subjected to a suitable and effective purification process. The bacteriological quality of every sampling station in those portions of the area most probably exposed to fecal contamination shall meet the following standard: The median or geometric mean fecal coliform Most Probable Number (MPN) of water shall not exceed 88 per 100 ml. and not more than 10 percent of the samples shall exceed a fecal coliform MPN of 260 per 100 ml. (per 5-tube, 3-dilution test) or the median or geometric mean fecal coliform Membrane Filter (MF) colony forming units of water shall not exceed 88 per 100 ml., and not more than 10 percent of the samples shall exceed a fecal coliform MF colony forming unit of 163 per 100 ml. in those portions of the area most probably exposed to fecal contamination during the most unfavorable meteorological, hydrographic, seasonal, and point source pollution conditions. Harvest is permitted according to permit conditions specified in Rule 5L-1.009, F.A.C. Harvest from temporarily closed restricted areas shall be unlawful.

(5) Conditionally restricted harvest areas – An area shall be classified as conditionally restricted when a sanitary survey or other monitoring program data, conducted in accordance with Chapter IV of the National Shellfish Sanitation Program Model Ordinance, indicates that the area is subjected to intermittent microbiological pollution. The suitability of such an area for harvest of shellfish for relaying or depuration activities is dependent upon the attainment of established performance standards by wastewater treatment facilities discharging effluent, directly or indirectly, into the area. In other instances, the sanitary quality of such an area may be affected by seasonal population, non-point sources of pollution, or sporadic use of a dock, marina, or harbor facility, and these intermittent pollution events are predictable. Such areas shall be managed by an operating procedure that will assure that shellfish from the area are not harvested from waters not meeting restricted area criteria. Harvest is permitted according to permit conditions specified in Rule 5L-1.009, F.A.C. Harvest from temporarily closed conditionally restricted areas shall be unlawful.

(6) Prohibited harvest areas – An area shall be classified as prohibited if a sanitary survey indicates that the area does not meet the approved, conditionally approved, restricted, or conditionally restricted classifications. Harvest of shellfish from prohibited areas shall be unlawful. The waters of all man-made canals and marinas are classified prohibited regardless of their location.

(7) Unclassified Area – An area for which no recent sanitary survey exists, and it has not been classified as any area described in subsection (2), (3), (4), (5), or (6), above. Harvest of shellfish from such areas shall be unlawful.

(8) The Department is authorized to open and temporarily close approved, conditionally approved, restricted, or conditionally restricted harvest areas for harvesting of shellfish in emergencies as defined herein, in accordance with specific criteria established in operating procedures for predictively closing individual harvest areas, or when harvest areas do not meet the standards and guidelines established by the National Shellfish Sanitation Program.

(9) Operating procedures for predictively closing each harvest area shall be developed by the Department; local agencies, including those responsible for operation of sewerage systems, and the local shellfish industry may be consulted for technical information during operating procedure development. The predictive procedure shall be based on evaluation of potential sources of pollution which may affect the area and should establish performance standards, specify necessary safety devices and measures, and define inspection and check procedures.

(10) Shellfish harvesting area numbers are as follows:

| AREA NUMBER | HARVEST AREA NAME |
| --- | --- |
| 0222 | Pensacola Bay Conditionally Approved Escambia Bay |
| 0232 | Pensacola Bay Conditionally Approved East Bay |
| 0622 | Choctawhatchee Bay Conditionally Approved Central Section |
| 0632 | Choctawhatchee Bay Conditionally Approved Eastern Section |
| 0822 | West Bay Conditionally Approved |
| 1012 | North Bay Conditionally Approved Western Section |
| 1022 | North Bay Conditionally Approved Eastern Section |
| 1206 | East Bay Conditionally Restricted Section |
| 1212 | East Bay Conditionally Approved Section 1 |
| 1222 | East Bay Conditionally Approved Section 2 |
| 1401 | St. Joseph Bay Approved |
| 1506 | Indian Lagoon Conditionally Restricted Winter Nov – Feb |
| 1512 | Indian Lagoon Conditionally Approved Spring/Fall Mar – Jun, Oct |
| 1542 | Indian Lagoon Conditionally Approved Zone A Winter Nov – Feb |
| 1552 | Indian Lagoon Conditionally Approved Zone B Winter Nov – Feb |
| 1601 | Apalachicola Bay System Approved Jan – May, Sept – Dec |
| 1611 | Apalachicola Bay System Approved Jan – May, Sept – Dec |
| 1605 | Apalachicola Bay System Zone A , Zone B, Zone C Jan – May, Sept – Dec |
| 1621 | Apalachicola Bay System Approved June – Aug |
| 1631 | Apalachicola Bay Approved, Shellfish lease numbers 525, 551, 551B, 580, 582, 609, 672, and 981 Summer June – Aug |
| 1612 | Apalachicola Bay System Conditionally Approved Jan – May, Sept – Dec |
| 1622 | Apalachicola Bay System Conditionally Approved Jan – May, Sept – Dec |
| 1632 | Apalachicola Bay System Conditionally Approved Jan – May, Sept – Dec |
| 1671 | Apalachicola Bay System Approved Jun – Aug |
| 1642 | Apalachicola Bay System Conditionally Approved Jan – May, Sept – Dec |
| 1652 | Apalachicola Bay System Conditionally Approved June – Aug |
| 1662 | Apalachicola Bay System Conditionally Approved June – Aug |
| 1801 | Alligator Harbor Approved |
| 2002 | Ochlockonee Bay Conditionally Approved |
| 2006 | Ochlockonee Bay Conditionally Restricted |
| 2206 | Wakulla County Conditionally Restricted |
| 2212 | Wakulla County Conditionally Approved Zone 1 |
| 2222 | Wakulla County Conditionally Approved Zone 2 |
| 2502 | Horseshoe Beach Conditionally Approved Winter Oct – Mar |
| 2802 | Suwannee Sound Spring Summer Conditionally Approved Feb – May and Sept |
| 2812 | Suwannee Sound Spring Winter Conditionally Approved Oct – Jan |
| 3001 | Cedar Key Approved |
| 3012 | Cedar Key Conditionally Approved Zone A |
| 3022 | Cedar Key Conditionally Approved Zone B |
| 3202 | Waccasassa Bay Conditionally Approved |
| 3402 | Withlacoochee Bay Conditionally Approved |
| 3701 | Citrus County Approved Spring/Fall Mar – June and Oct |
| 3702 | Citrus County Conditionally Approved Winter Nov – Feb |
| 4202 | Boca Ciega Bay Conditionally Approved |
| 4802 | Lower Tampa Bay Conditionally Approved |
| 5402 | Sarasota Bay Conditionally Approved |
| 5602 | Lemon Bay Conditionally Approved |
| 5802 | Gasparilla Sound Conditionally Approved |
| 6002 | Myakka River Conditionally Approved |
| 6212 | Pine Island Sound Conditionally Approved Section 1 |
| 6222 | Pine Island Sound Conditionally Approved Section 2 |
| 6602 | Ten Thousand Islands Conditionally Approved |
| 7001 | Indian River/St. Lucie Approved |
| 7006 | Indian River/St. Lucie Restricted |
| 7202 | North Indian River Conditionally Approved |
| 7412 | Body F Conditionally Approved |
| 7506 | Body E Conditionally Restricted |
| 7602 | Body D Conditionally Approved |
| 7712 | Body C Conditionally Approved Zone 1 Spring/Summer/Fall Mar – Nov |
| 7722 | Body C Conditionally Approved Zone 2 Spring/Summer/Fall Mar – Nov |
| 7732 | Body C Conditionally Approved Winter Dec – Feb |
| 7716 | Body C Conditionally Restricted Winter Dec – Feb |
| 7726 | Body C Conditionally Restricted Spring/Summer/Fall Mar – Nov |
| 7812 | Body B Conditionally Approved |
| 7902 | South Banana River Conditionally Approved |
| 7906 | South Banana River Conditionally Restricted |
| 8001 | Body A Approved |
| 8005 | Body A Restricted |
| 8201 | South Volusia Approved |
| 8212 | South Volusia Conditionally Approved Zone 1 |
| 8222 | South Volusia Conditionally Approved Zone 2 |
| 8206 | South Volusia Conditionally Restricted |
| 8802 | South St. Johns Conditionally Approved |
| 9202 | North St. Johns Conditionally Approved |
| 9602 | Duval County Conditionally Approved |

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, 7-9-89, 12-23-91, Formerly 16R-7.004, Amended 7-3-95, 6-18-97, 7-1-97, 7-22-97, 10-12-97, 12-16-97, 12-28-97, 2-12-98, 2-25-98, 7-1-98, 7-20-98, 11-13-98, 12-28-98, 3-18-99, 7-1-99, Formerly 62R-7.004, Amended 6-19-00, 8-9-00, 10-14-01(1), 10-14-01(1), 8-17-04, 9-28-04, 9-5-05, 6-11-06, 3-11-07, 10-2-07, 4-14-08, 7-28-08, 5-5-09, 6-18-09, 12-28-09, 2-9-11, 8-19-12, 3-23-17, 6-28-18, 9-5-19, 5-4-20, 3-31-21.

## 5L-1.004 Production and Market Standards.

(1) Shellfish offered for sale at the wholesale market level shall be deemed to be “adulterated” as defined in subsection 5L-1.002(1), F.A.C., and Section 500.10, F.S., and will be subject to rejection or seizure by the Department when it exceeds the following bacteriological criteria. Fecal coliform density of not more than 230 MPN per 100 grams; and a 35 ºC plate count of not more than 500,000 per gram.

(2) Shucked and packed shellfish shall not contain more than 15% by volume of free liquor until the product reaches the consumer.

(3) No shucked shellfish shall be sold, offered for sale, processed, packed, or repacked after the “Sell By” date as defined in paragraph 5L-1.007(1)(a), F.A.C.

(4) No frozen shellfish products shall be thawed to be processed or sold as fresh shellfish products. Thawed frozen shellfish shall be labeled as “previously frozen” in accordance with Rule 5L-1.007, F.A.C.

(5) Shellfish having undergone a depuration process shall not be released for sale prior to laboratory analysis and approval by the plant supervisor or representative. Shellfish shall not be released if the geometric mean of three samples exceeds a fecal coliform MPN of 45 per 100 grams of sample, or if any sample’s fecal coliform MPN exceeds 100 per 100 grams of sample.

(6) The use of the elevated temperature coliform plate count is authorized for the bacteriological evaluation of hard clams, Mercenaria spp. only from a depuration facility.

(7) Should the Department suspect contamination of shellfish by metallic ions and compounds, pesticides, detergents, radionuclides, marine toxins, or any toxic substance or adulterate, the Department shall require that shellfish meat be analyzed for such contaminants before suspect shellfish are released for sale.

(8) Shellfish or shellfish products determined to be adulterated, or misbranded shall be subject to recall by the certified shellfish dealer responsible for distribution of the products. For a first time offense, the Department will apply mitigation measures. Mitigation measures include on-the-spot correction and reconditioning. For repeat violations the Department shall issue an order to stop the sale or to condemn, and destroy, shellfish or shellfish containers found to be adulterated, misbranded, or found to be held in non-compliance with any of the provisions of this chapter. Reconditioning shall be a mitigation option only if the products will meet the safety standards of Rule 5L-1.004, F.A.C., and the labeling standards of Rule 5L-1.007, F.A.C. Stop sale, condemnation, or reconditioning of products or containers shall be based on individual conditions found during inspections and shall be conducted using a Seizure and Destruction Order (FDACS-15001, Revision 12/16), herein incorporated by reference, and available online at http://www.flrules.org/Gateway/reference.asp?No=Ref-06995, or may be obtained by contacting the Division of Aquaculture, Holland Building, 600 South Calhoun Street, Suite 217, Tallahassee, Florida 32399.

Rulemaking Authority 500.09, 597.020 FS. Law Implemented 500.10, 500.172, 597.020 FS. History–New 1-4-87, Amended 8-10-88, 7-9-89, Formerly 16R-7.006, Amended 7-3-95, 5-8-96, 2-6-97, Formerly 62R-7.006, Amended 8-9-00, 5-29-02, 3-23-17, 9-5-19.

## 5L-1.005 Shellfish Processing Certification.

(1) The following forms are hereby adopted and incorporated by reference and may be obtained by contacting the Division of Aquaculture, Holland Building, 600 South Calhoun Street, Suite 217, Tallahassee, FL 32399 and available online as indicated:

(a) Shellfish Processing Certification Application (FDACS-15007, Revision 10/18), http://www.flrules.org/Gateway/reference.asp?No=Ref-10370.

(b) Shellfish Processing Facility Inspection Form (FDACS-15009, Revision 09/16), http://www.flrules.org/Gateway/reference.asp?No=Ref-06998.

(c) Shellfish Processing Facility Inspection Form Addendum (FDACS-15012, Revision 10/16), http://www.flrules.org/Gateway/reference.asp?No=Ref-06999.

(2) Upon request, the Department shall provide an application form entitled Shellfish Processing Certification Application (FDACS-15007, Revision 10/18). This completed application form is required for certification or recertification of the shellfish processing facility.

(3) Possession of a current saltwater wholesale dealer license issued pursuant to Section 379.362, F.S., or an aquaculture certificate of registration issued pursuant to Section 597.004, F.S., shall be required to obtain a shellfish processing certification. A copy of the license or certificate or registration shall be submitted with the Shellfish Processing Certification Application (FDACS-15007, Revision 10/18).

(4) If the applicant’s water supply is not from a public water system, the applicant shall submit satisfactory bacteriological water analysis results for certification pursuant to this chapter. Satisfactory bacterial water analysis results shall not equal or exceed two cfu (colony forming units) per 100 mls for total coliform bacteria on any consecutive samples, and shall not equal or exceed two cfu per 100 mls for fecal coliform or E. coli bacteria on any samples. Analysis shall be from the source water and an outlet location within the facility, and ice if any is used. The water shall be sampled and approved prior to use of the water supply, every six months while the water supply is in use, and immediately after the water supply has been repaired and disinfected. If the source is a public water system, only a sample from an outlet in the facility and ice, if used, is required prior to certification. The water sample shall be taken and acceptable results provided to the Department within 90 days prior to certification. A copy of the current acceptable water analysis shall be submitted with the Shellfish Processing Certification Application (FDACS-15007, Revision 10/18).

(5) A shellfish processing certification number will be assigned by the Department after a completed Shellfish Processing Certification Application (FDACS-15007, Revision 10/18) is received.

(6) Certification is granted only to applicants whose facility meets the following inspection requirements: the facility has no “Critical” item deficiencies, has no more than two (2) “Key” item deficiencies or has no more than three (3) “Other” item deficiencies. However, if there are any “Key” or “Other” deficiencies cited the shellfish processor must comply with the corrective action plan outlined on Shellfish Processing Facility Inspection Form Addendum (FDACS-15012, Revision 10/16), that is given to the shellfish processor, facility supervisor or the designated representative at the end of the inspection. Following certification, unannounced inspections using the Shellfish Processing Facility Inspection Form (FDACS-15009, Revision 09/16), and Shellfish Processing Facility Inspection Form Addendum (FDACS-15012, Revision 10/16) shall be conducted during periods of operation and at such frequency as necessary to assure that adequate operational and sanitary conditions are maintained. At the completion of each inspection, a copy of the completed inspection forms shall be issued to the facility supervisor or the designated representative.

(7) Renewal certification – A shellfish processor shall complete and submit a Shellfish Processing Certification Application (FDACS-15007, Revision 10/18) for certification renewal annually; applications must be received no later than April 30 to prevent lapse in certification. The certification year starts on July 1 and ends on June 30. The certification shall not be renewed for any facility until the shellfish processing facility has: no “Critical” deficiencies; more than two (2) “Key” item deficiencies; and no more than three (3) “Other” item deficiencies. Upon completion of the re-certification inspection where the applicant has met the requirements for certification, he/she will be given a corrective action plan by the Department if there are any “Key” or “Other” deficiencies cited. The shellfish processor must comply with the corrective action plan outlined on the Shellfish Processing Facility Inspection Form Addendum (FDACS-15012, Revision 10/16), that is given to the shellfish processor, facility supervisor or the designated representative at the end of the inspection.

(8) The shellfish processor, facility superivisor, or designated representative must ensure that all employees who receive, handle, and process shellfish obtain training according to 21 C.F.R. §117.4 (2017) within 30 days of their initial hiring. Proof of training for all employees shall be maintained at the certified processing facility and provided to the Department upon request.

(9) The Shellfish Processing Certification will be issued to a specific location. The legal entity will be the applicant at that specific location as listed on the Shellfish Processing Certification.

(10) One Shellfish Processing Certificate shall be issued to a shellfish processing facility operating at a single location. No single location will be issued more than one certificate.

(11) In the event that a licensed certified shellfish processing facility changes its name, changes owners, changes location, changes address, or changes classifications, a new Shellfish Processing Certification Application (FDACS-15007, Revision 10/18) must be completed and submitted to the Department. The firm will be required to go through the complete certification process.

(12) Possession of a mechanical refrigeration unit that is non-portable and is able to maintain an ambient temperature of 45º F or below and be of sufficient size to handle one day’s production, shall be required for certification under this chapter.

(13) Each applicant shall have conducted a Hazard Analysis to determine the critical control points for any food safety hazards that are reasonably likely to occur for shellfish products produced at the location listed on the Shellfish Processing Certification Application (FDACS-15007, Revision 10/18). Each certified shellfish facility shall have someone with HACCP training, knowledge or experience to develop a HACCP plan, reassess and modify the HACCP plan and perform the records review. Each certified shellfish facility shall have a written HACCP plan on premises. The HACCP plan shall incorporate critical control points that will eliminate, prevent, or reduce to an acceptable level the hazards identified in the hazard analysis. Critical control points shall have established critical limits for parameters to ensure when exceeded, corrective actions are taken. The HACCP plan shall include the procedures, and frequency that will be used to monitor each of the critical control points to ensure compliance with the critical limits. The HACCP plan shall provide for a recordkeeping system that documents the monitoring of the critical control points. The records shall contain the actual values and observations obtained during monitoring. The plan shall be signed and dated by the owner, facility supervisor, or designated representative at the time of its implementation, and after any modification. Each facility shall develop or adopt sanitation monitoring records to meet the requirements in subsection 5L-1.013(17), F.A.C.

(14) The owner, facility supervisor, or designated representative of a certified shellfish processing facility shall verify that the HACCP plan is adequate to control food safety hazards that are reasonably likely to occur, and that the plan is being effectively implemented. Verification shall include at a minimum:

(a) Reassessment of the HACCP plan on an annual basis, or when shellfish processing changes occur that could affect the hazard analysis; and,

(b) Ongoing verification including a review of any consumer complaints. The shellfish processor shall determine whether the complaints relate to the performance of critical control points or reveal the existence of unidentified critical control points, or the calibration of process-monitoring instruments.

(15) All certified shellfish processing facilities that commercially engage in purchasing shellfish from harvesters, shucking, packing, repacking or transporting shellfish are subject to inspection, pursuant to Section 570.15, F.S., and shall allow inspection by the Department during normal operating hours and any time there are shellfish processing activities occuring, in order to determine compliance with sections of this rule. Department shall inspect all certified shellfish processing facilities. Denial of access for such inspection will automatically institute agency administrative action up to and including immediate suspension of the shellfish processing certification.

(16) It is unlawful for persons to commercially engage in purchasing from harvesters, shucking, packing, or repacking shellfish without having complied with these rules and applied for and obtained a shellfish processing certification from the Department.

(17) Upon certification a shellfish processing facility, the Department shall notify the U.S. Food and Drug Administration of the certified shellfish processing facility’s business name and certification number to be published in the FDA website Interstate Certified Shellfish Shippers List: http://www.fda.gov/food/guidanceregulation/federalstatefoodprograms/ucm2006753.htm.

(18) The Shellfish Processing Certificate shall be posted in a conspicuous location on the premises.

(19) No person shall attempt, by means of any threat or violence, to deter or prevent an employee of the Department from performing any duties imposed by law.

(20) All certified shellfish processing facilities shall maintain on the premises a current copy of this rule Chapter 5L-1, F.A.C., entitled “The Comprehensive Shellfish Control Code” and a current copy of the “Model Ordinance” of the National Shellfish Sanitation Program, Guide for the Control of Molluscan Shellfish, 2015, published by the U.S. Department of Health and Human Services, Public Health Service, Food and Drug Administration as incorporated by Rule 5L-1.001, F.A.C.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, Formerly 16R-7.007, Amended 7-3-95, 5-8-96, 2-6-97, 6-23-99, Formerly 62R-7.007, Amended 8-9-00, 5-29-02, 3-23-17, 5-7-19.

## 5L-1.006 Compliance and Penalties.

(1) The Department shall initiate enforcement action as follows:

(a) The Department shall inspect all certified shellfish processing facilities as necessary. The deficiency(ies) cited in an inspection report shall be documented regardless of the type of inspection being conducted.

(b) At the completion of an inspection, if a deficiency is cited the Department will provide a corrective action plan. The Department will solicit input from the shellfish processor, facility supervisor or the designated representative. The consent and cooperation of the shellfish processor, facility supervisor or the designated representative is not necessary. Lack of cooperation from the shellfish processor, facility supervisor or the designated representative will not affect the validity of the corrective action or requirement that the plan be implemented. A copy of the Shellfish Processing Facility Inspection Form (FDACS-15009, Revision 01/16), as incorporated in Rule 5L-1.005, F.A.C., and the corrective action plan outlined on the the Shellfish Inspection Facility Inspection Form Addendum (FDACS-15012, Revision 10/16), as incorporated in Rule 5L-1.005, F.A.C., will be provided to the shellfish processor, facility supervisor or the designated representative present at the conclusion of the inspection. The shellfish processor, facility supervisor, and the designated representative shall ensure that the facility is in full compliance with the corrective action plan as outlined on Shellfish Inspection Facility Inspection Form Addendum (FDACS-15012, Revision 10/16). The shellfish processor, facility supervisor, or the designated representative’s failure to comply with the corrective action plan outlined on Shellfish Inspection Facility Inspection Form Addendum (FDACS-15012, Revision 1/16), will lead to administrative actions, suspension, and/or revocation of the Shellfish Processing Certification.

(c) If, upon inspection, the Department cites the facility for a “Critical,” “Key,” or “Other” deficiency(ies), the following schedule will be used by the Department with respect to the administrative actions to be taken:

Critical deficiency(ies)

When a “Critical” deficiency(ies) is cited a warning letter will be issued and processing operations at the certified facility will be suspended as a public health threat and the deficiency must be corrected immediately or the certified facility’s certification to operate will be suspended. If the certification to operate is suspended, it will remain suspended until corrections are made and verified by the Department. Product affected by the “Critical” deficiency will be controlled to prevent contaminated or adulterated product from reaching consumers. When necessary, the Department shall detain or seize any product that may have been adulterated, initiate a recall of any distributed product and notify necessary officials of a recall.

In addition to these actions the sanction to be imposed on the certified shellfish processing facility upon the finding of any repeat deficiency(ies), as defined in Rule 5L-1.002, F.A.C., will be as follows:

| Offense | Critical | Key | Other |
| --- | --- | --- | --- |
| 1st | Operations or certification suspended until corrected and a warning letter issued | Correct deficiency pursuant to date on corrective action plan | Correct deficiency pursuant to date on corrective action plan |
| 1st Repeat within proceeding 180 days | Operations or certification suspended until corrected and fine of $500 per violation | Correct deficiency pursuant to date on corrective action plan and fine of $100 per violation | Correct deficiency pursuant to date on corrective action plan and fine of $50 per violation |
| 2nd Repeat within proceeding 180 days | Operations or certification suspended until corrected and fine of $1000 per violation | Correct deficiency pursuant to date on corrective action plan and fine of $200 per violation | Correct deficiency pursuant to date on corrective action plan and fine of $100 per violation |
| 3rd Repeat within proceeding 180 days | Fine of $1000 per violation and 7-day suspension of certification or until corrected, whichever is later | Correct deficiency pursuant to date on corrective action plan and fine of $500 per violation and 7-day suspension of certification | Correct deficiency pursuant to date on corrective action plan and fine of $200 per violation |
| 4th or Subsequent Repeat within proceeding 180 days | Fine of $1000 per violation and 14-day revocation of certification | Correct deficiency pursuant to date on corrective action plan and fine of $1000 per violation and 14-day suspension of certification | Correct deficiency pursuant to date on corrective action plan and fine of $400 per violation |

(d) A warning letter will be sent to the shellfish processor when the establishment has:

1. One or more critical item deficiencies cited in violation of rule Chapter 5L-1, F.A.C., or

2. More than two “Key” item deficiencies cited in violation of rule Chapter 5L-1, F.A.C., or

3. One “Key” item deficiency and four “Other” item deficiencies cited in violation of rule Chapter 5L-1, F.A.C.

(e) In cases involving the imposition of a fine the Department will forward an administrative complaint to the shellfish processor, a proposed settlement offer, and a statement of rights. In cases involving the imposition of a suspension or revocation of a facility’s shellfish processing certification the Department will forward an administrative complaint, a statement of rights, and a proposed settlement agreement to the shellfish processor except when the Department has to immediately suspend a certification license because of an immediate public health threat. Payment of fines owed to the Department must be made within 21 days of the certificate holder receiving the notice imposing the fine unless the shellfish processor has sent a written request for a hearing on the matter pursuant to Chapter 120, F.S., within the 21 day period to the Department.

(f) A renewal of a shellfish facility’s processing certification will not be made if there are any unpaid fines with respect to prior certification periods.

(2) The Department shall suspend the facility’s shellfish processing certification if it is determined that there is an immediate serious danger to the public health, safety, or welfare requiring such emergency action. The Department shall, at the time the emergency action is taken, initiate proceedings as provided in Section 120.60, F.S.

(3) Upon suspension or revocation of the facility’s shellfish processing certification, the Department shall notify the U.S. Food and Drug Administration so that the facility’s business name and certification number will be removed from the Interstate Certified Shellfish Shippers List. Upon reinstatement of the certification, the Department shall notify the U.S. Food and Drug Administration so that the facility’s business name and certification number may be reinstated on the Interstate Certified Shellfish Shippers List.

(4) When the Department finds, or has reason to believe, that any equipment which is located at a certified processing facility is in violation of this chapter so as to be dangerous or unsanitary the Department may issue and enforce a stop-sale, stop-use, removal, or hold order, which order gives notice that such equipment is, or is suspected of being, in violation and has been detained or embargoed and which order warns all persons not to remove, use, or dispose of such equipment by sale or otherwise until permission for removal, use, or disposal is given by the Department or the court. It is unlawful for any person to remove, use, or dispose of such detained or embargoed equipment by sale or otherwise without such permission.

(5) Settlement and Additional Enforcement Remedies. In determining the appropriate disciplinary penalty the Department will consider the compliance record of the violator. The provisions of this rule shall not be construed to limit the authority of the Department to enter into settlement with any party per Section 120.57(4), F.S., or to prohibit additional administrative remedies or civil actions. Settlement agreements can provide for installment payments and costs for up to six months. The Department will enforce a failure to comply with a settlement agreement with the penalties and remedies provided in the settlement agreement or as authorized by law.

Rulemaking Authority 500.09, 597.020 FS. Law Implemented 500.09, 597.020 FS. History–New 1-4-87, Amended 8-10-88, 7-9-89, Formerly 16R-7.009, Amended 7-3-95, 2-6-97, Formerly 62R-7.009, Amended 8-9-00, 5-29-02, 3-23-17.

## 5L-1.007 Container Identification; Prohibitions.

(1) Shucked shellfish container – The packer’s or repacker’s shellfish processing certification number preceded by the state abbreviation must be embossed, imprinted, lithographed, or otherwise permanently and legibly recorded on the external body of containers or on the lid if the lid becomes an integral part of the container during the sealing process (Example: FL-872-SP). Containers shall permanently indicate type of product, quantity, and name and address of packer, repacker, or distributor.

(a) Each container of fresh, fresh frozen, or previously frozen shellfish, with a capacity of less than 64 ounces, shall clearly and permanently display the words “Sell By” followed by the date when the processor determines the product will reach the end of its shelf life. The date shall consist of the numerical month, and day. For fresh frozen or previously frozen shellfish, the last digit of the year shall be added to the date.

(b) Each container of fresh, fresh frozen, or previously frozen shellfish with a capacity of 64 ounces or more, shall clearly and permanently display “Date Shucked” followed by the shuck date. The date shall consist of the numerical month, day, and year.

(c) Bulk storage containers shall be identified with state of origin, harvest date, and shuck date.

(d) Previously frozen shucked shellfish shall also be labeled “previously frozen” and display the freeze date and the thaw date by numerical month, day, and year.

(e) Repacked shellfish containers shall also bear an appropriate code identifying the original packer. For restricted use shellstock, the shucked shellfish container may be identified with the language “FOR POST HARVEST PROCESSING ONLY.”

(2) Shellstock containers. Each commercial harvester or each shellfish processor shall affix a durable, waterproof tag of minimal size – 2 5/8 by 5 1/4 inches – to each container of shellstock; for commercial harvesters this shall be done prior to leaving the harvest location, regardless of capacity of container; for certified shellfish processors this shall be done after final packing. The harvester’s tag must be removed from each container and replaced with a processor’s tag prior to being shipped. The removed harvester’s tag must be kept in processor’s file for 90 days. In the case where a certified shellfish processor is also the harvester, that processor’s tag may also be used as the harvester’s tag. In these cases, the processor must ensure all harvester’s tag information is included on the tag.

(3) The commercial harvester’s tags shall be white in color except as required in paragraph 5L-1.007(3)(i), F.A.C. Before leaving the harvest location, commercial harvester’s tags shall be attached and contain legible waterproof indelible information required by paragraphs 5L-1.007(3)(a)-(i), F.A.C., arranged in the specific order as follows:

(a) The harvester’s saltwater product license number or Aquaculture Certificate of Registration number;

(b) The date of harvest;

(c) The time of harvest (recorded as the time when the first shellfish is removed from the water for that specific bag or container);

(d) The time of refrigeration, if applicable;

(e) The identification of the harvest area using the four digit area number or name of the harvest area listed in subsection 5L-1.003(11), F.A.C., as well as the most precise identification within that area as practicable. Aquaculture product must also include the aquaculture lease number;

(f) Common name of shellfish and quantity of shellfish;

(g) The following statement in bold capitalized type “THIS TAG IS REQUIRED TO BE ATTACHED UNTIL CONTAINER IS EMPTY AND THEREAFTER KEPT ON FILE FOR 90 DAYS.”

(h) The identification of the cooling option if used, including onboard cooling option (subsection 5L-1.008(9), F.A.C.), or rapid cooling option (subsection 5L-1.008(10), F.A.C.) for oysters harvested during the months of April through October.

(i) If shellstock exceeds the requirements in subsections 5L-1.008(7), (9) or (10), F.A.C., the commercial oyster harvester tag shall be identified with the preprinted language “FOR SHUCKING ONLY BY A CERTIFIED FACILITY” or “FOR POST HARVEST PROCESSING ONLY” in bold, 14 point font and the tag shall be green in color. Containers of oysters shall not be tagged with both a green tag and a white tag at any time.

(4) Bulk tagging by harvesters is allowed only for aquaculturists operating with an Aquaculture Certificate of Registration. A bulk tag, shall contain the information required in paragraphs 5L-1.007(3)(a)-(h), F.A.C., along with:

(a) The name of the certified shellfish facility in which the product is consigned;

(b) The statement “All shellfish containers in this lot have the same date and area of harvest”; and,

(c) The number of units in the lot container.

(5) The certified facility’s tag shall contain legible, waterproof, indelible information arranged in the specific order as follows:

(a) The shellfish shipper, shucker-packer, repacker, depurator, or distributors name, address, processing facility certification number;

(b) The original shipper’s certification number including the state abbreviation;

(c) The date of harvest;

(d) The identification of the harvest area, and for Florida harvest areas the four digit code or name of the harvest area found in paragraph (3)(e) above;

(e) The common name of shellfish and quantity of shellfish;

(f) All oyster shellstock tags must clearly and permanently display the words “Sell By” followed by a date when the processor determines the product will reach the end of its shelf life. The sell by date shall consist of the numerical month, day, and year; and,

(g) The following statements in bold capitalized type “This tag is required to be attached until container is empty and thereafter kept on file in chronological order for 90 days ” and “Retailer: date when the last shellfish from this container sold or served.”

(h) If shellstock exceeds the requirements in subsection 5L-1.008(5), (7), or (8), F.A.C., the shellstock processor tag shall be identified as restricted use shellstock with the preprinted language “FOR SHUCKING ONLY BY A CERTIFIED FACILITY” or “FOR POST HARVEST PROCESSING ONLY” in bold, 14 point font and the tag shall be green in color.

(i) For depuration shellstock, paragraphs (5)(a), (d), (e), (f) and (g), above, are required as well as the date of depuration processing, and the depuration cycle or lot number.

(j) For shellstock wet stored, paragraphs (5)(a) through (h), above, as well as the following statement: “This product was wet stored on or at (Lease # or Facility certification number) from (date) to (date).”

(6) Bulk tagging by a certified shellfish facility while washing, packing, during depuration, wet storing, staging and intrastate transport of shellfish, is permissible up to final packaging only when the lot container (i.e., pallet), contains shellfish which are harvested on the same day, from the same harvest area. A bulk processor tag shall contain the information required in paragraphs 5L-1.007(5)(a)-(f), F.A.C.; along with:

(a) The statement “All shellfish containers in this lot have the same date and area of harvest”;

(b) The number of units in the lot container; and,

(c) The following statement in bold capitalized type “This tag is required to be attached until container is empty and thereafter kept on file for 90 days.”

(7) Shellfish identification, out-of-state – No shellfish from sources outside of Florida shall be brought into the state for purpose of resale or public distribution unless the product bears evidence of certification from the state or nation of origin and certification is based on requirements similar to those outlined in this chapter.

(8) In addition to the identification and labeling requirements of subsections (1) and (2), containers of fresh, frozen, previously frozen or repacked shellfish or containers of shellstock must indicate the state of origin of the shellfish, e.g., LA, MS, TX. For shellstock this requirement can be by paragraphs (5)(a) and (b), above.

(9) Shellstock and shucked shellfish containers shall be labeled with the following statements:

(a) “Consumer information there is a risk associated with consuming raw shellfish. If you have chronic illness of the liver, stomach or blood or have immune disorders, you are at greater risk of serious illness from raw shellfish and should eat shellfish fully cooked. If unsure of your risk, consult a physician.”; and,

(b) “Keep Refrigerated”.

(10) It shall be unlawful for any person, firm, corporation, wholesale or retailer to sell or offer for sale any fresh, frozen, or previously frozen shellfish not in compliance with any and all requirements of rule Chapter 5L-1, F.A.C.

(11) Whoever knowingly or willfully alters or damages in any manner, or loans or transfers to another person any certification number or shellfish tags, or any person who uses the certification number or shellfish tags, other than the person to whom they were issued, shall be in violation of this section and shall be subject to certification suspension or revocation in addition to any other penalty for violation of rule Chapter 5L-1, F.A.C.

Rulemaking Authority 379.2522, 597.020 FS. Law Implemented 379.2522, 597.020 FS. History–New 1-4-87, Amended 5-21-87, 8-10-88, 7-9-89, 8-30-89, 5-6-93, 9-14-93, 8-21-94, Formerly 16R-7.010, Amended 9-1-95, 5-8-96, 2-6-97, 10-12-97, 2-12-98, 2-25-98, 7-1-98, 11-13-98, 12-28-98, 3-18-99, 7-1-99, Formerly 62R-7.010, Amended 6-19-00, 8-9-00, 10-14-01, 5-29-02, 8-17-04, 9-28-04, 7-28-08, 7-29-08, 4-26-10, 8-31-11, 3-23-17, 5-7-19.

## 5L-1.008 Shellfish Handling.

(1) Wet storage shall be conducted upon execution of an agreement between a person, firm, or corporation possessing a shellfish processing certificate and the Department. Each agreement shall include the following provisions:

(a) The coordinates in Latitude and Longitude where the facility is to be located.

(b) A description of all facilities and equipment to be used to wet-store shellfish.

(c) A listing of the species to be wet-stored.

(d) If the wet storage facility is to be located upon or in waters of the state, the facility shall be marked and lighted so as not to be a hazard to navigation.

(e) If the wet storage facility is to be located on or in waters of the state, and is to be a manned structure, it shall be equipped with a U.S. Coast Guard approved Type III marine sanitation device; this device shall be maintained in working order and be used by all personnel for disposal of bodily wastes.

(f) All solid wastes shall be removed from the wet storage facility daily and disposed of in a shore-based receptacle.

(g) No anti-fouling paints or finishes shall be used on any portion of the wet storage facility.

(h) No shellfish shall be removed from a wet storage facility when the shellfish harvesting area in which such shellfish are stored is closed pursuant to Rule 5L-1.003, F.A.C., or because of emergency conditions as defined by Rule 5L-1.002, F.A.C.

(i) Should maintenance of the wet storage facility require that the facility be relocated, written notification shall be provided to the Department, by certified mail, a minimum of 10 working days prior to such relocation. All shellfish shall be removed from the facility prior to relocation.

(j) If wet storage is to be practiced using a shore-based facility, the applicable provisions of Rules 5L-1.002, 5L-1.010, 5L-1.011, 5L-1.012, 5L-1.013, 5L-1.015, and subsection 5L-1.017(2), F.A.C., shall apply. All shore-based facilities shall employ ultraviolet light treatment of all incoming and recirculated seawater. All water quality measurements required by subsection 5L-1.017(2), F.A.C., shall be documented and such data retained for inspection by the Department for a minimum of one year. Paragraphs 5L-1.008(1)(a), (b), (d), (e), (f), (h) and (i), F.A.C., shall not apply to a shore-based facility.

(k) The agreement shall be valid for no more than 1 year from the date it is signed by the Department.

(2) Boats and vehicles – Boats and vehicles used in harvesting or transporting shellfish shall be constructed, operated, and maintained, so as to protect the shellfish from contamination. Fuel tanks or other sources of contamination shall not be permitted to come into contact with shellfish. All boats used for commercial harvesting and handling shellfish shall be designed in such a way to prevent shellfish from coming in contact with any bilge water. No dogs or other animals or pets shall be allowed at any time on vessels or vehicles used to harvest or transport shellfish. No bodily wastes shall be discharged overboard from a harvest vessel. Shellstock harvested with commercial intent shall be protected by effective shading on harvest boats and vehicles to protect shellstock from exposure to sun, birds, and other adverse conditions. Shellfish shall be held under conditions which allows air circulation and promotes evaporative cooling.

(3) Boats engaged in harvesting or transporting shellfish shall have on board an approved Type III marine sanitation device, portable toilet or other sewage disposal receptacle. Portable toilets shall:

(a) Be constructed of high quality plastic that is durable, easy to clean and will not spill;

(b) Be used only for the purpose intended;

(c) Be secured while on board the vessel and located to prevent contamination of shellstock by spillage or leakage;

(d) Be emptied only into an appropriate sewage disposal system;

(e) Be cleaned before being returned to the boat; and,

(f) Not be cleaned with equipment used for washing or processing food.

(4) Use of other receptacles for sewage disposal are approved if the receptacles are constructed of impervious, cleanable materials, have tight fitting lids, and meet the requirements of paragraphs 5L-1.008(3)(a)-(e), F.A.C.

(5) Resubmerging or Replanting.

(a) Aquacultured shellfish are the only shellfish allowed to be replanted/resubmerged.

(b) Shellfish processors must maintain an oyster replant log of all replant/resubmerged activities including:

1. Date of initial removal from water at lease site;

2. Lease number;

3. Date of replant;

4. Replant lease number;

5. Replant location on lease; and,

6. Replant Quantity.

(c) Shellfish processor must provide access to records upon request by the Department.

(d) All replanted/resumberged shellfish must be segregated from other shellfish and clearly identified on the lease.

(e) Replanted/resumberged aquaculture oysters larger than 25 millimeters (3/4 inch) that are removed from the water during the course of routine oyster husbandry practices for more than 4 hours during April through October must be returned to the lease and submerged on an aquaculture lease for a minimum of 14 days before they can be harvested and sold to a certified shellfish processing facility. Routine oyster husbandry practices include the use of suspended grow out containers that maybe unsubmerged during natural tidal cycles.

(6) Remote buying is prohibited.

(7) Throughout the year, shellfish shall be harvested between sunrise and sunset as established by the U.S. Weather Service. All shellfish shall be delivered, same day of harvest, by the harvester directly to a certified shellfish processing facility.

(a) Clams:

1. During the months of November, December, January, February, and March, all clams harvested shall be delivered to a certified shellfish processing facility and placed under temperature control by 10:00 p.m. of the same day as harvest.

2. During the months of April, May, and October, all clams harvested shall be delivered to a certified shellfish processing facility and placed under temperature control within twelve (12) hours of the time of harvest, or within the same day as harvest, whichever is earlier.

3. During the months of June, July, August, and September, all clams harvested shall be delivered to a certified shellfish processing facility and placed under temperature control within ten (10) hours of the time of harvest, or within the same day as harvest, whichever is earlier.

4. Tempering, as an alternative process, shall consist of those methods which have demonstrated through verification studies that the process renders hard clams which are as safe as hard clams meeting subparagraphs 5L-1.008(7)(a)1.-3., F.A.C. Prior to initiating tempering a certified shellfish facility shall have written approval from the Department. The certified shellfish facility must provide the following:

a. A description of all facilities, equipment and methods to be used in the alternative process. This process must be included in the facility’s HACCP plan.

b. The source of hard clams and the maximum capacity of hard clams to undergo the process at any one time.

c. The process to be followed shall not exceed 16 hours total time between hard clam harvest and refrigeration at 45º F or less. Product harvest, processing, tempering and food storage at 45º F or less must be scheduled to occur as a continuous procedure.

d. Upon initiation, the tempering process must have temperature control of 68oF or less and be maintained until hard clams are placed into refrigeration of 45º F or less.

(b) Oysters:

1. Non-Vibrio Control months include November, December, January, February and March.

2. Vibrio Control months include April, May, June, July, August, September and October.

3. During the months of November, December, January, February, and March, all oysters harvested shall be delivered to a certified shellfish processing facility and placed under mechanical refrigeration by 5:00 p.m. of the same day as harvest.

4. During the month of April, all oysters harvested shall be delivered to a certified shellfish processing facility and placed under mechanical refrigeration by 11:00 a.m. of the same day of harvest unless the harvester is identified in the certified shellfish processing facility’s HACCP plan for the onboard cooling option detailed in subsection 5L-1.008(9), F.A.C., or the certified shellfish processing facility is authorized for the rapid cooling option detailed in subsection 5L-1.008(10), F.A.C.

5. During the months of May, June, July, August, and September, all oysters harvested shall be tagged as “FOR SHUCKING ONLY BY A CERTIFIED FACILITY” or “FOR POST HARVEST PROCESSING ONLY” and delivered to a certified shellfish processing facility and placed under mechanical refrigeration by 4:00 p.m. of the same day of harvest unless the harvester is identified in the certified shellfish processing facility’s HACCP plan for the onboard cooling option detailed in subsection 5L-1.008(9), F.A.C., or the certified shellfish processing facility is authorized for the rapid cooling option detailed in subsection 5L-1.008(10), F.A.C.

6. During the month of October, all oysters harvested shall be delivered to a certified shellfish processing facility and placed under mechanical refrigeration by 11:00 a.m. unless the harvester is identified in the certified shellfish processing facility’s HACCP plan for the onboard cooling option detailed in subsection 5L-1.008(9), F.A.C., or the certified shellfish processing facility is authorized for the rapid cooling option detailed in subsection 5L-1.008(10), F.A.C.

(8) Once received by a certified shellfish processing facility, the shellstock lot shall be immediately processed and placed under temperature control and until sale to final consumer, the shellstock shall be maintained at an environmental temperature of 45º F or less and not be permitted to remain outside of temperature control for more than 2 hours cumulative at points of transfer within the processing facility such as loading docks or in the facility during processing except for the process described in subparagraph 5L-1.008(7)(a)4., F.A.C. All certified shellfish processing facilities handling oysters must have a cooling system capable of reducing the internal temperature of shellstock oysters to 55º F or less within eight (8) hours.

(9) Onboard Cooling Option – Onboard cooling equipment includes systems using ice, mechanical refrigeration, or vacuum cooling. If a commercial oyster harvester is using onboard cooling with ice slurry, the maximum time oysters can remain outside the cooling system is one hour from time of harvest and the onboard cooling system shall be capable of reducing the internal temperature of oysters to 55º F or less and maintaining at 55º F or less until delivery to the certified shellfish processing facility. Commercial Harvesters must maintain an onboard time and temperature record documenting time of harvest, time oysters placed under refrigeration, and time that oysters reach 55º F or less.

(a) Commercial harvesters using onboard cooling systems must deliver the oysters to a certified shellfish processing facility and oysters must be placed under mechanical refrigeration by the shellfish processor no later than 3:00 p.m. of the harvest day. Oysters must be at 55oF or less at time of delivery.

(b) Shellfish processors electing to purchase oysters from harvesters using onboard cooling systems must document in their HACCP plan that the cooling rates onboard a vessel and in the certified shellfish processing facility’s cooling system provide a safety level equivalent to product meeting paragraph 5L-1.008(7)(b), F.A.C., in order to be labeled in compliance with subsection 5L-1.007(6), F.A.C. Shellfish processors electing to purchase oysters from harvesters using such onboard cooling systems must list the harvester name, harvester license number, the maximum time oysters can be unrefrigerated onboard a vessel, and the total number of hours required to reduce the internal temperature of oysters to 55º F or less in their HACCP plan. Prior to implementing the HACCP plan, the shellfish processor must have written approval from the Department.

(c) Harvesters proposing an alternative onboard cooling option must contact and demonstrate to the Department that the system is capable of meeting time and temperature requirements of the State’s Vibrio vulnificus Control Plan and must have written approval from the Department prior to implementation.

(d) Harvested oysters failing to meet the time and temperature requirements of this subsection shall be retagged by the processor as “FOR SHUCKING ONLY BY A CERTIFIED FACILITY” or “FOR POST HARVEST PROCESSING ONLY.”

(10) Rapid Cooling Option – Rapid cooling equipment includes systems using ice, mechanical refrigeration, or vacuum cooling. If a shellfish processor elects to rapidly cool oysters:

(a) During the month of April shellfish processors must place all harvested oysters under mechanical refrigeration no later than 1:00 p.m. and cooled down to 55º F or less no later than 3:00 p.m. of the harvest day.

(b) During the months of May, June, July, August, and September shellfish processors must place all harvested oysters under mechanical refrigeration no later than 11:00 a.m. and cooled down to 55º F or less no later than 1:00 p.m. of the harvest day.

(c) During the month of October shellfish processors must place all harvested oysters under mechanical refrigeration no later than 1:00 p.m. and cooled down to 55º F or less no later than 3:00 p.m. of the harvest day.

(d) Shellfish processors must develop and demonstrate in their HACCP plan that the cooling rates in combination with extended harvest times assure a safety level equivalent to product meeting paragraph 5L-1.008(7)(b), F.A.C., in order to be labeled in compliance with subsection 5L-1.007(6), F.A.C. Shellfish processors electing this option, must list the maximum time oysters can be unrefrigerated onboard vessel and the total number of hours required to reduce the internal temperature of oysters to 55º F or less in their HACCP plan. Prior to implementing the HACCP plan the shellfish processor must have written approval from the Department.

(e) Harvested oysters failing to meet the time and temperature requirements of this subsection shall be retagged by the processor as “FOR SHUCKING ONLY BY A CERTIFIED FACILITY” or “FOR POST HARVEST PROCESSING ONLY.” Processors failing to meet the rapid cool criteria more than two times during the vibrio control months of April through October shall lose the rapid cool option for the remaining vibrio control months of that year. The processor shall only process oysters for restricted use only (Green Tag) during the remaining vibrio control months.

(f) During the months April through October all harvested oysters tagged as “FOR SHUCKING ONLY BY A CERTIFIED FACILITY” or “FOR POST HARVEST PROCESSING ONLY” shall be delivered to a certified processing facility by 4:00 p.m. of the harvest day.

(11) Handling Time/Temperature table summary:

|  | Oysters (Times are when oysters must be placed in cooler at a certified shellfish processing facility) | Clams |
| --- | --- | --- |
|  | Traditional Cooling | Rapid Cooling | Onboard Cooling with Ice Slurry | Restricted Use Only (Green Tag) | Delivery to processor (same day of harvest) |
| November | 5:00 p.m. | Non-Vibrio Control Month | Non-Vibrio Control Month | Non-Vibrio Control Month | 10:00 p.m. |
| December | 5:00 p.m. | Non-Vibrio Control Month | Non-Vibrio Control Month | Non-Vibrio Control Month | 10:00 p.m. |
| January | 5:00 p.m. | Non-Vibrio Control Month | Non-Vibrio Control Month | Non-Vibrio Control Month | 10:00 p.m. |
| February | 5:00 p.m. | Non-Vibrio Control Month | Non-Vibrio Control Month | Non-Vibrio Control Month | 10:00 p.m. |
| March | 5:00 p.m. | Non-Vibrio Control Month | Non-Vibrio Control Month | Non-Vibrio Control Month | 10:00 p.m. |
| April | 11:00 a.m. | 1:00 p.m. | 3:00 p.m. | 4:00 p.m. | 12 Hours |
| May | Not permitted | 11:00 a.m. | 3:00 p.m. | 4:00 p.m. | 12 Hours |
| June | Not permitted | 11:00 a.m. | 3:00 p.m. | 4:00 p.m. | 10 Hours |
| July | Not permitted | 11:00 a.m. | 3:00 p.m. | 4:00 p.m. | 10 Hours |
| August | Not permitted | 11:00 a.m. | 3:00 p.m. | 4:00 p.m. | 10 Hours |
| September | Not permitted | 11:00 a.m. | 3:00 p.m. | 4:00 p.m. | 10 Hours |
| October | 11:00 a.m. | 1:00 p.m. | 3:00 p.m. | 4:00 p.m. | 12 Hours |

(12) Shellfish leaving a certified shellfish facility must be transported in an enclosed, mechanically refrigerated conveyance with doors closed securely. The refrigeration unit must be capable of maintaining an ambient temperature of 45º F or less at all times.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 5-21-87, 8-10-88, 7-9-89, Formerly 16R-7.011, Amended 7-3-95, 2-6-97, 3-18-99, 6-23-99, Formerly 62R-7.011, Amended 8-9-00, 5-29-02, 7-29-08, 4-26-10, 8-31-11, 5-26-15, 3-23-17, 4-2-19.

## 5L-1.009 Shellfish Relaying.

(1) Aquacultured shellfish are the only shellfish allowed to be relayed.

(2) Only certified shellfish aquaculturists are eligible to apply for a Special Activity License to Relay Aquacultured Shellfish.

(3) Any certified shellfish aquaculturist wishing to conduct aquacultured shellfish relaying operations shall submit to the Division a completed application form entitled “Application for a Special Activity License to Relay Aquaculture Shellfish to Aquaculture Lease or Certified Depuration Facility” (FDACS-15109, Revision 12/16), hereby incorporated by reference and is available online at http://www.flrules.org/Gateway/reference.asp?No=Ref-07000, or may be obtained by contacting the Division of Aquaculture, Holland Building, 600 South Calhoun Street, Suite 217, Tallahassee, Florida 32399. The following information shall be included:

(4) The Department, after reviewing the application and finding the plan in compliance with all applicable rules and regulations shall issue a Special Activity License to Relay Aquacultured Shellfish within the general conditions set forth below:

(a) The Department shall establish the effective date and expiration date of the “Special Activity License to Relay Aquacultured Shellfish.” In no case shall the expiration date be greater than one year from the effective date.

(b) Aquacultured Shellfish relaying shall be conducted only during daylight hours and under the direct supervision of the Department. All persons involved in harvest, transport, and relaying shall comply with these rules and license conditions. Harvesters shall remain within the immediate control and observation of a monitor at all times. A monitor shall be provided by the Department.

(c) Relayed aquacultured shellfish shall be delivered directly to the designated aquaculture lease or certified depuration facility on the same day of harvest. Diverting aquacultured shellfish to any other source or location is prohibited and will result in immediate seizure of aquacultured shellfish and permanent exclusion of the license holder from future relays.

(d) If aquacultured shellfish are relayed to a lease in Approved or Conditionally Approved Harvest areas, they shall not be harvested without written permission from the Department. Permission will be granted only after a minimum of 15 days have elapsed to allow the aquacultured shellfish to cleanse themselves, and this cleansing is verified by laboratory biotoxin analysis. The fifteen days will commence when Department staff verifies that all aquacultured shellfish in that particular day’s harvest have been relayed. The fifteen day period does not include days that shellfish harvesting areas have been temporarily closed to harvest.

(e) Laboratory analysis shall consist of a minimum of two samples per individual lease parcel (each sample to consist of a minimum of 20 individual shellfish). The Department will collect and analyze samples for aquacultured shellfish relaying. For aquacultured shellfish being relayed due to marine biotoxins, the laboratory analyses shall use an approved NSSP laboratory method for the specific toxin. The toxin level must be less than the levels defined in Section II, Chapter IV, @.04(C) of the NSSP Model Ordinance, as incoporated in Rule 5L-1.001, F.A.C. Relaying for marine biotoxins is only allowed within the following four specific geographic regions of the state: (1) Escambia County through Jefferson County; (2) Taylor County through Levy County; (3) Citrus County through Monroe County; (4) Dade County through Nassau County. Relaying due to marine biotoxins between these specific geographic regions is prohibited unless specifically authorized by the Department. The licensee must coordinate with the certified laboratory and other persons or agencies that these criteria are met and communicate this information to the Department. Upon verification that the criteria have been met the Department will issue the written permission in the form of a letter.

(f) Aquacultured shellfish relaying from Florida waters to another state or country, or from the waters of another state or country to Florida waters or a certified depuration facility, is prohibited.

(g) Special conditions shall apply to aquaculture use zones (AUZ), to relaying and transport operations, laboratory sampling, and harvesting when more than one person or licensee participates on a relay crew composed of other persons or licensees from the same AUZ.

1. The “Application for a Special Activity License to Relay Aquacultured Shellfish to Aquaculture Lease or Certified Depuration Facility” pursuant to subsection 5L-1.009(4), F.A.C., shall incorporate the following additional information:

a. The description of the aquaculture; and,

b. The description of the aquaculture lease parcel in the aquaculture use zone.

2. The Department shall establish an expiration date which shall be the same for all applicants for who participate in relays to aquaculture use zones.

3. For an AUZ to be considered as a single entity for laboratory sampling and harvesting, all relaying activity must be terminated by the designated expiration date. The number of participating licensees shall be determined by the number of applicants using the same expiration date and the number of participants is limited by the number of individual aquaculture leases located in the AUZ. When an expiration date has been established for relaying to an AUZ, all applicants shall terminate relay activities on or before the established expiration date regardless of the effective date of the Special Activity License to Relay Aquacultured Shellfish; except when a single licensee surrenders the Special Activity License to Relay Aquacultured Shellfish for cancellation and harvests shellfish pursuant to paragraphs 5L-1.009(4)(d) and (e), F.A.C.

4. All participating licensees shall surrender their Special Activity License to Relay Aquacultured Shellfish to the Department for cancellation when requested by the Department.

5. Aquacultured shellfish relayed to an AUZ in an Approved or Conditionally Approved Harvest area shall not be harvested without written permission from the Department.

6. Laboratory analysis shall consist of a minimum of two samples (each sample to consist of a minimum of 20 individual shellfish) from each individual aquaculture lease parcel, collected by an employee of the Department.

7. Aquacultured shellfish relayed under the provisions of Rule 5L-1.009, F.A.C., shall not be harvested without written permission from the Department and permission to harvest by individual licensees shall be denied until all participating licensees receive written permission to harvest.

(5) Penalty for violation of Rule 5L-1.009, F.A.C.

(a) A “Special Activity License to Relay Aquacultured Shellfish” will be revoked for:

1. Any conviction for violation of diverting aquacultured shellfish to any location other than specified on the license.

2. Any conviction for violation of depuration periods specified by law for relayed aquacultured shellfish or sale of relayed aquacultured shellfish prior to written authorization by the Department.

3. Any conviction for violation of harvesting aquacultured shellfish from any waters not approved by the license.

(b) Pursuant to Section 120.60(5), F.S., prior to the entry of a final order revoking a “Special Activity License to Relay Aquacultured Shellfish,” the Department will serve an administrative complaint which affords reasonable notice to the licensee of facts or conduct which warrant the intended action and the licensee is given an adequate opportunity to request a proceeding pursuant to Section 120.57, F.S.

(c) Revocation of a “Special Activity License to Relay Aquacultured Shellfish” is permanent.

Rulemaking Authority 597.020 FS. Law Implemented 597.010(15), (18), 597.020 FS. History–New 1-4-87, Amended 5-21-87, 8-10-88, 7-9-89, 12-23-91, 4-21-93, 5-20-93, 6-9-94, Formerly 16R-7.012, Amended 1-1-98, Formerly 62R-7.012, Amended 8-9-00, 5-29-02, 3-23-17, 4-2-19.

## 5L-1.010 Buildings and Facilities.

(1) Facility construction and design. Buildings and structures shall be suitable in size, construction, and design to facilitate sanitary operations for food processing purposes. For shellstock shipping facilities and on shore wet storage operations, the structure shall have sealed flooring and a sealed roof. For shucker-packer, repacker and depuration operations, the structure shall have a sealed roof, solid walls, and sealed flooring. The facility shall:

(a) Provide sufficient space for such placement of equipment and storage of materials as is necessary for the maintenance of sanitary operations and the production of safe food.

(b) Permit the taking of proper precautions to reduce the potential for contamination of food, food-contact surfaces, or food-packaging materials with microorganisms, chemicals, filth, or other extraneous material. The potential for contamination may be reduced by adequate food safety controls and operating practices or effective design, including the separation of operations in which contamination is likely to occur, by one or more of the following means: location, time, partition, air flow, enclosed systems, or other effective means.

(c) Be constructed in such a manner that floors, walls, and ceilings may be cleaned and kept clean and kept in good repair; that drip or condensate from fixtures, ducts and pipes does not contaminate food, food-contact surfaces, or food-packaging materials; and that aisles or working spaces are provided between equipment and walls and are of such width to permit employees to perform their duties and to protect against contaminating food or food-contact surfaces with clothing or personal contact.

(d) Provide at least 110 lux (10' foot candles) in walk in refrigeration units, dry food storage areas and single service storage areas; at least 220 lux (20' foot candles) at any handwashing lavatory, warewashing and equipment and utensil storage, and in toilet rooms; at least 540 lux (50' foot candles) at the surface where a food employee is working with food or equipment or utensils such as knives or grinders where employee safety is a factor. This is considered adequate lighting for hand-washing areas, dressing and locker rooms, and toilet rooms and in all areas where food is examined, processed, or stored and where equipment or utensils are cleaned. Light bulbs shall be shielded, coated or otherwise shatter resistant in areas where there is exposed food, clean equipment and utensils or unwrapped single service and single-use articles. Shielded, coated or otherwise shatter resistant bulbs need not be used in areas used only for storing food in unopened packages if the integrity of the packages can not be affected by broken glass falling onto the packages and the packages are capable of being cleaned of debris from broken bulbs before the packages are opened.

(e) Provide adequate ventilation or control equipment to minimize air borne dust and particulates, odors and vapors in areas where they may contaminate food; and locate and operate fans and other air-blowing equipment in a manner that minimizes the potential for contaminating food, food-packaging materials, and food contact surfaces.

(f) Provide screening to ensure that pests are not present in the facility.

(2) Grounds about a processing facility under the control of the operator shall be kept in a condition that will protect against the contamination of food. The methods for maintenance of grounds include:

(a) Storing equipment, removing litter and waste, and cutting weeds or grass within the immediate vicinity of the building or structures that may constitute an attractant, breeding place, or harborage for pests.

(b) Maintaining roads, yards, and parking lots so that they do not constitute a source of contamination in areas where food is exposed.

(c) Draining areas that may contribute contamination to food by seepage, foot-borne filth, or providing a breeding place for pests.

(d) Operating systems for waste treatment and disposal in such a manner that they do not constitute a source of contamination in areas where food is exposed. If the facility grounds are bordered by grounds not under the operator’s control and not maintained in the manner described in paragraphs (2)(a) through (c) of this section, care shall be exercised in the facility by inspection, extermination, or other means to exclude pests, dirt, and filth that may be a source of food contamination.

(3) The water supply shall be sufficient for the operations intended. Any water that contacts food or food contact surfaces shall be safe and of sanitary quality. Running water at a suitable temperature of 100º F or above, and under pressure as needed, shall be provided in all areas where required for the processing of food, for the cleaning of equipment, utensils, and food-packaging materials, or for employee sanitary facilities. Sanitary quality shall be maintained by the following steps:

(a) In facilities that are not on a public water system, routine microbiological monitoring shall be conducted on water, and ice used in the facility, at least once every six months by the operator of the certified processing facility. The sample collected shall be from a tap that provides water for use in processing shellfish. When treatment includes disinfection, a source water standard bacterial sample must also be collected on the same day.

(b) Microbiological results from testing shall not equal or exceed two colony forming units (cfu) per 100 mls for total coliform bacteria on any consecutive samples, and shall not equal or exceed two cfu per 100 mls for fecal coliform or E. coli bacteria on any samples.

(4) Plumbing shall be of size and design and installed and maintained to:

(a) Carry sufficient quantities of water to required locations throughout the facility.

(b) Convey sewage and liquid disposable waste from the facility.

(c) Avoid constituting a source of contamination to food, water supplies, equipment, or utensils or creating an unsanitary condition.

(d) Provide floor drainage in all areas where floors are subject to flooding-type cleaning.

(e) Provide that there is no backflow from, or cross-connection between, piping systems that discharge waste water or sewage and piping systems that carry water for food or food manufacturing.

(5) Sewage and all in-facility wastewater shall be discharged into a public sewage treatment system or other approved sewage treatment system in accordance with provisions of rule Chapter 64E-6, F.A.C.

(6) Each facility shall provide its employees with readily accessible toilet facilities. Compliance with this requirement shall be accomplished by:

(a) Maintaining the facilities in a sanitary condition.

(b) Keeping the facilities in good repair at all times.

(c) Providing self-closing doors.

(d) Providing doors that do not open into areas where food is exposed to airborne contamination, except where alternate means have been taken to protect against such contamination, such as double doors or positive air flow systems.

(e) Providing toilet tissue.

(f) Providing a covered waste receptacle.

(7) Handwashing facilities shall be furnished and easily accessible, where persons handle food, food packaging materials, or food contact surfaces, and include the following:

(a) Running water at a minimum temperature of 100º F.

(b) Where persons handle food, food packaging materials, or food contact surfaces, hand-sanitizing facilities shall be furnished.

(c) Effective hand-cleaning and sanitizing preparations.

(d) Sanitary towels or drying devices.

(e) Readily understandable signs directing employees handling exposed food, unprotected food-packaging materials, or food-contact surfaces, to wash and sanitize their hands prior to handling these items. These signs shall be posted in the processing room at all hand wash stations and in all other areas where employees may handle such food, materials, or surfaces.

(8) Processing rooms and all other areas where employees may handle such food, materials, or surfaces, shall be furnished with readily understandable signs directing employees handling exposed food, unprotected food-packaging materials, or food-contact surfaces that eating, drinking, spitting, chewing gum or using tobacco are not permitted in the processing areas.

(9) Refuse receptacles shall be constructed and maintained in a manner that protects against contamination of food. Rubbish and any offal shall be so conveyed, stored, and disposed of as to minimize the development of odor, minimize the potential for the waste becoming an attractant and harborage or breeding place for pests, and protect against contamination of food, food-contact surfaces, water supplies, and ground surfaces.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 5-21-87, 8-10-88, Formerly 16R-7.013, Amended 7-3-95, 2-6-97, Formerly 62R-7.013, Amended 8-9-00, 5-29-02, 3-23-17, 4-2-19.

## 5L-1.011 Equipment for Shellfish Processing.

(1) All facility equipment and utensils shall be so designed and of such material and workmanship as to be cleanable, and shall be properly maintained. The design, construction, and use of equipment and utensils shall preclude the adulteration of food with contaminants. All equipment shall be so installed and maintained as to facilitate the cleaning of the equipment and of all adjacent spaces. Food-contact surfaces shall be corrosion-resistant, made of nontoxic materials, and designed to withstand the environment of their intended use and the action of food, and, if applicable, cleaning compounds and sanitizing agents. Food-contact surfaces shall be maintained to protect food from being contaminated by any source.

(2) Seams on food-contact surfaces shall be smoothly bonded or maintained so as to minimize accumulation of food particles, dirt, and organic matter and thus minimize the opportunity for growth of microorganisms.

(3) Equipment that is used in the manufacturing or food-handling area and that does not come into contact with food shall be so constructed that it can be kept in a clean condition.

(4) Three compartment sinks shall be properly installed, maintained and provided with hot and cold running water to all three compartments in establishments required to wash, rinse and sanitize food contact surfaces. Signs shall be posted indicating proper use of the three compartment sink. A three compartment sink shall be used for washing, rinsing and sanitizing food contact surfaces and shall not be used for hand washing. Shellstock shippers shall not be required to install or maintain three compartment sinks.

(5) Each freezer and cold storage compartment used to store and hold shellfish shall be mechanically refrigerated, nonportable and shall be fitted with an indicating thermometer, temperature-measuring device, or temperature-recording device so installed as to show the temperature accurately within the compartment, and should be fitted with an automatic control for regulating temperature or with an automatic alarm system to indicate a significant temperature change.

(6) Compressed air or other gases mechanically introduced into food or used to clean food-contact surfaces or equipment shall be treated in such a way that food is not contaminated.

(7) Blowers – devices which use compressed air to circulate wash water around and through shucked shellfish shall be properly designed and constructed as to be easily dismantled for cleaning, examination, and repair.

(8) Blowing time – blowing time shall not exceed 15 minutes.

(9) Depuration and wet storage tanks:

(a) Shall be designed to allow for good water circulation and prevent short-circuiting of the seawater. Tanks shall be designed so that scum and sludge, including shellfish feces and pseudo-feces, sand, and grit can be easily removed or flushed out. The bottom shall be sloped longitudinally at least 1/4 to 1/2 inch per foot toward the outlet end.

(b) Shall be constructed from impervious, nontoxic, food safe inert materials. Coatings, when used, may include epoxy resins, powdered polyesters, vinyl bituminous water-tank paint, and paraffin. These coatings are not only for waterproofing but should provide a smooth, hard, non-porous surface to facilitate proper cleaning and sanitation, as well as proper treatment of shellfish.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, Formerly 16R-7.014, Amended 7-3-95, 5-8-96, 2-6-97, Formerly 62R-7.014, Amended 8-9-00, 5-29-02, 3-23-17.

## 5L-1.012 Sanitary Operations.

(1) General maintenance. Buildings, fixtures, and other physical facilities of the facility shall be maintained and kept in a sanitary condition and shall be kept in repair sufficient to prevent food from becoming adulterated within the meaning of this rule. Cleaning and sanitizing of utensils and equipment shall be conducted in a manner that protects against contamination of food, food-contact surfaces, or food-packaging materials.

(2) Cleaning compounds used in cleaning procedures shall be free from undesirable microorganisms and shall be safe and effective under the conditions of use. Compliance with this requirement may be verified by any effective means including purchase of these substances under a supplier’s guarantee or certification, or examination of these substances for contamination.

(3) Only sanitizing agents found in Title 21, Code of Federal Regulations, Section 178.1010, revised as of April 1, 2015, hereby incorporated by reference, online at http://www.flrules.org/Gateway/reference.asp?No=Ref-07009, will be used at recommended levels in shellfish processing facilities.

(4) Toxic cleaning compounds, sanitizing agents, and pesticide chemicals shall be identified, held, used and stored in a manner that protects against contamination of food, food-contact surfaces, or food-packaging materials. Test kits that measure the concentration of sanitizing solutions shall be provided and used for verifying the proper sanitizing solution concentration.

(5) No pests shall be allowed in any area of a shellfish processing facility. Effective measures shall be taken to exclude pests from the processing areas and to protect against the contamination of food on the premises by pests. The use of insecticides or rodenticides is permitted only under precautions and restrictions of product labeling.

(6) All food-contact surfaces, including utensils and food-contact surfaces of equipment, shall be cleaned as frequently as necessary to protect against contamination of food.

(7) Non-food contact surfaces of equipment used in the operation of shellfish processing facilities shall be cleaned as frequently as necessary to protect against contamination of food.

(8) Single-service articles shall be stored in appropriate containers and/or in a clean dry location where they are not exposed to splash, dust or other contamination. Single-service articles shall be handled, dispensed, used, and disposed of in a manner that protects against contamination of food or food-contact surfaces.

(9) Sanitizing agents shall be adequate and safe under conditions of use. Any facility, procedure, or machine is acceptable for cleaning and sanitizing equipment and utensils if it is established that the facility, procedure, or machine will routinely render equipment and utensils clean and sanitized.

(10) Cleaned and sanitized portable equipment with food-contact surfaces and utensils shall be stored in a location and manner that protects food-contact surfaces from contamination.

(11) Any employee with a disease in the communicable stage which might be transmissible through food shall be excluded from working in any capacity in which the employee may come in contact with the shellfish or with food contact surfaces.

(12) The owner, facility supervisor, or designated representative shall require all employees to wash their hands thoroughly with soap and water and sanitize their hands in an adequate handwashing facility before starting work, after each absence from the work station, after each work interruption and any time when their hands may have been soiled or contaminated.

(a) Where the same employee works in both the shucking and packing activities, the employee shall wash his hands thoroughly after entering the area.

(b) Any employee handling shellfish shall wear outer garments to protect shellfish from adulteration.

(c) Any employee handling shucked shellfish shall be required to wear an effective hair restraint, remove any hand jewelry that cannot be sanitized and secured, wear finger cots or gloves if jewelry cannot be removed, wear clean outer garments which are rinsed or changed as necessary to be kept clean.

(d) In any area where shellfish are processed and in any area which is used for the cleaning or storage of utensils, the owner, facility supervisor, or designated representative shall not allow employees to store clothing or other personal belongings, eat or drink, spit and use tobacco in any form.

(13) The facility supervisor or designated representative shall monitor the conditions and practices during processing to ensure, conformance with those conditions and practices specified in subsection 5L-1.005(8), paragraphs 5L-1.010(1)(a) and (b), subsections 5L-1.010(6) and (7), 5L-1.011(1), 5L-1.012(1)-(12), 5L-1.013(6), (7), (8), and (9) and 5L-1.014(5), F.A.C.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, Formerly 16R-7.015, Amended 7-3-95, 2-6-97, 6-23-99, Formerly 62R-7.015, Amended 8-9-00, 5-29-02, 3-23-17.

## 5L-1.013 Facility Operation.

(1) The facility shall operate in accordance with the HACCP plan designed and approved by the owner or corporate officers and shall be made available upon request. If facilities, equipment or methods change, the Department must be notified and a modified HACCP plan must be submitted within 14 days of change.

(2) Prior to acceptance of shellstock from a licensed harvester, shellfish processor or aquaculturist, the shellfish processor will ensure that shellstock are properly identified as specified in subsection 5L-1.007(3), F.A.C., are clean, wholesome, and alive.

(3) Upon acceptance of shellstock from a licensed harvester, the shellfish processor and/or aquaculturist, the receiving shellfish processor shall determine the appropriate use of the shellfish through examination of shellfish labeling as follows:

(a) Shellfish which fails to meet the requirements of subsection 5L-1.008(7), F.A.C., or is labeled in compliance with paragraph 5L-1.007(6)(h), F.A.C., shall only be shucked by a certified shucker-packer facility, or post-harvest processed by a certified shellfish processing facility, or shall undergo an alternative post harvest processing method to assure a safety level equivalent to product meeting subsection 5L-1.008(7), F.A.C.

(b) Post-Harvest Processing shall consist of those methods which have demonstrated through validation studies meeting the requirements of Section II, Chapter XVI of the National Shellfish Sanitation Program, Guide for the Control of Molluscan Shellfish, 2015, as incorprated in Rule 5L-1.001, F.A.C. Prior to initiating post harvest processing, a shellfish processor shall provide validation and obtain written approval from the Department.

(4) Shellfish shall be segregated by the shellfish processor in accordance with its intended use as determined in subparagraph 5L-1.008(7)(a)4. and paragraphs 5L-1.013(3)(a) and (b), and identified as per subsection 5L-1.007(5) or (6), F.A.C. The harvester tag must be removed from each container and replaced with a processor’s tag prior to being shipped.

(5) Unidentified, adulterated, unwholesome, dead, or contaminated shellstock shall be discarded.

(6) Shucking of shellfish – Shellfish shall be shucked in a manner such that they are not subjected to possible contamination. Only live shellfish shall be shucked.

(a) Shucked meats shall be delivered to the packing room within one hour.

(b) Shucked meats shall be thoroughly drained, cleaned as necessary, and packed promptly after delivery to the packing room. Packing operations shall be scheduled and conducted so as to chill all meats to an internal temperature of 45º F or less within two hours of delivery to the packing room. Shucked meats which are packed into containers having a capacity of more than one gallon shall be pre-chilled to 45º F or less prior to packing.

(7) Shucked shellfish shall be held and transported at temperatures of 45º F or less.

(8) Ice shall be manufactured from potable water in a commercial machine which has been properly installed and maintained without connections to nonpotable water sources.

(9) Ice shall be stored so as not to come into contact with non-clean surfaces and is handled in such a manner that it will not be contaminated.

(10) Records – Complete, legible, and accurate dated records of purchase and sale of all shellfish shall be kept by all shellfish facilities operating in the state. Records shall remain on file for not less than one year for fresh product and two years for frozen product. Records shall be made available for the inspection and copying by the Department personnel during facility inspections. Records shall indicate:

(a) From whom shellfish were purchased;

(b) Harvest area, and for Florida shellfish the four digit code or name of harvest area found in subsection 5L-1.003(11), F.A.C. Aquaculture product must also include the aquaculture lease number;

(c) State from which shucked shellfish were harvested;

(d) Harvesting date;

(e) The date of receipt by the processor;

(f) Names and addresses of persons to whom shellfish were sold;

(g) Date sold; and,

(h) Transaction record indicating:

a. Date and time shipped.

b. Temperature of conveyance.

(11) Within 72 hours of any purchase or sales entries of purchases or sales of shellfish shall be made into a permanently bound ledger book, computer record, or any other method that permanently records the information in an organized manner that can be reviewed by the Department.

(12) Production records shall be maintained for shucked meats which provide the amount of shellstock used, the harvest area, harvest date of the shellstock, and the amount of shucked meats produced.

(13) Production records shall be maintained for shellstock which provides for the amount of shellstock used, the harvest area, harvest date, harvest state, and the units of shellstock produced.

(14) Processors shall submit to the Department a monthly report of the volume of shellfish received from Florida Shellfish Harvesting Areas for each shellfish species. Quantity data shall include utilization type (raw, shucked, Post Harvest Processing).

(15) Records for shellfish lots having completed a depuration or wet storage treatment process shall include:

(a) Name or location of harvesting areas;

(b) Relaying permit numbers, if applicable;

(c) Date received;

(d) Date released;

(e) Date and time of initiation of treatment;

(f) Date and time of termination of treatment;

(g) Ending UV unit meter readings;

(h) Number of hours treated; and,

(i) All laboratory results as specified.

(16) Monitoring records of HACCP plan critical control points shall be maintained and reviewed at least weekly as specified in the facility’s HACCP plan. Records shall be reviewed to ensure that the records are complete and to verify that they document values that are within the critical limits. The review shall occur weekly. The reviewed records shall be signed and dated by the owner, facility supervisor, or designated representative of the facility and is knowledgeable of HACCP.

(17) Sanitation monitoring records shall be maintained for those conditions identified in Rule 5L-1.012, F.A.C., per the schedule of the activity, e.g. daily, weekly, monthly.

(18) Whenever a deviation from a critical limit occurs, a shellfish processor shall take corrective action either by following a corrective action that is appropriate for the particular deviation, or by segregating and holding the affected product until a review can determine the acceptability of the affected product for distribution. Corrective actions include, when necessary, reconditioning, seizure, or destruction of affected product to ensure that no product enters commerce that is either injurious to health or is otherwise adulterated as a result of the deviation. Corrective action also include, when necessary, correcting the cause of the deviation. All corrective actions shall be documented in writing.

(19) Responsibility – It shall be the duty and responsibility of the owner, facility supervisor, or designated representative of a shellfish facility to ensure that all regulations pertaining thereto are strictly adhered to and that only safe, wholesome, unadulterated shellfish shall be produced. It shall be his or her duty and responsibility to see that the facility is properly supervised at all times and all shellfish can be identified, whether shellstock or shucked shellfish, to ensure that they were harvested from approved or conditionally approved harvest area in the open status and that they have been handled and processed in a sanitary manner.

Rulemaking Authority 379.2522, 597.020 FS. Law Implemented 379.2522, 597.020 FS. History–New 1-4-87, Amended 5-21-87, 8-10-88, Formerly 16R-7.016, Amended 7-3-95, 5-8-96, 2-6-97, 6-23-99, Formerly 62R-7.016, Amended 8-9-00, 5-29-02, 7-29-08, 4-26-10, 3-23-17, 4-2-19, 9-5-19.

## 5L-1.014 Heat Shock Method.

(1) Washing of shellstock – Shellstock subjected to the heat shock process shall be washed immediately prior to the heat shock operation in potable water. Washing shall be accomplished by spraying water under pressure. Immersing shellfish for washing purposes is prohibited. Shellstock shall be protected from contamination prior to and during the prewash cycle.

(2) Temperature and change of dip water – During the heat shock process the water shall be maintained at a temperature not less than 145º F or more than 150º F. The water shall be completely drained or removed from the heat shock tank when it becomes dirty or at the end of each working day. An accurate indicating or recording thermometer shall be used during the heat shock process for temperature measurements.

(3) Time interval of immersion – Shellstock subjected to the heat shock process shall not be immersed in the heat shock water for periods longer than 5 minutes. An accurate timing device shall be available and used to control the time of immersion.

(4) Dip tank volume – At least 8 gallons of heat shock water shall be maintained in the dip tank for each one-half bushel container of shellstock being heat shocked.

(5) Cooling of heat shocked shellstock – Upon removal from shock immersion water, all heat shocked shellstock shall be subjected to an immediate cooldown with potable tap water, or ice. Heat shocked shellstock shall be handled in a manner which prevents contamination from reaching the shellstock and shucked product during the cooling operation.

(6) Refrigeration of heat shocked shellfish – Shucked meat from all shellstock which has been subjected to the heat shock process shall be cooled to an internal temperature of 45º F or less within 2 hours after the heat shocking process. Shucked meats shall be immediately cooled by placing ice in shucking containers prior to and during the shucking process.

(7) Records of heat shock time and temperatures – Each certified shellfish processing facility operating the heat shock process shall maintain an accurate daily record of the time and temperature of the immersion of all lots of shellfish during each day of operation as well as recording the time of change of heat shock water. These records shall be maintained for at least one year.

(8) Shucker-packers may submit, for department review and written approval, a written processing schedule together with all validation and supporting documents for their alternative heat shock operation. The written processing schedule must address these factors:

(a) No changes in the physical and organoleptic properties of the species shall occur;

(b) Process shall not kill the shellfish;

(c) No increase in microbial deterioration of the shucked shellfish shall occur;

(d) Type and size of shellfish;

(e) Time and temperature of exposure;

(f) Type of process;

(g) Size of tank, tunnel or retort;

(h) Water to shellfish ratios in tanks; and,

(i) Temperature and pressure monitoring devices.

(9) The written heat shock process shall be on display in the processing area. All responsible persons involved with the heat shock process must be aware of the requirements.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, Formerly 16R-7.017, Amended 7-3-95, 2-6-97, Formerly 62R-7.017, Amended 8-9-00, 3-23-17.

## 5L-1.015 Depuration and Wet Storage Facility Operations.

(1) All plans for construction or remodeling of depuration or wet storage facilities shall be reviewed and approved by the Department. Approval is contigent upon the plan meeting the criteria in Rules 5L-1.005 and 5L-1.010, F.A.C.

(2) Operating procedures for conducting depuration or wet storage shall be reviewed and approved by the Department. Approval is contigent upon the plan meeting the criteria in Rules 5L-1.005 and 5L-1.010, F.A.C.

(3) The Department shall be immediately notified in writing of any changes in equipment or operating procedures.

(4) Source of shellfish – Shellfish shall be accepted for treatment at a depuration or wet storage facility only from areas specified by the Department pursuant to Rule 5L-1.009, F.A.C. The facility supervisor or designated representative shall inspect all containers of untreated shellfish upon arrival at the depuration or wet storage facility to verify that they contain the species and quantity stated on the receiving record.

(5) Shellfish containers – Shellfish shall be accepted for depuration or wet storage treatment and released after treatment in clean containers only. All containers shall be constructed of non-absorbent and rust-proof material, and kept clean and free from foreign matter. Burlap bags or similar absorbent material shall not be used in the treatment tanks, nor for the transportation of shellfish from the facility.

(6) Culling – All untreated shellfish, prior to, or upon arrival at the facility, shall be thoroughly inspected and culled by personnel under the supervision of the facility supervisor or designated representative. All dead shellfish or shellfish in broken or cracked shells shall be destroyed. The facility supervisor or designated representative shall be responsible for the culling and the removal and disposal of dead shellfish or shellfish with broken or cracked shells both before and after treatment.

(7) Washing shellfish – All shellfish shall be thoroughly washed prior to and after treatment. Immersion of shellfish for washing purposes is prohibited.

(8) Containers used in treatment process – All containers used in the treatment process shall be easily cleanable, designed for easy handling, and made of impervious material. Containers shall be of such design to allow water to flow freely over the shellfish in the treatment tanks. Containers shall not be filled beyond the level which will allow free circulation of water during the treatment process. The height of the shellfish in the containers shall be stacked to allow sufficient cleansing. Containers shall be stacked to provide clearance between shellstock and tank bottom as to allow free circulation of water. Containers used for treatment purposes shall not be used for any other purpose, and no containers or other equipment shall be placed in the treatment tanks.

(9) Shellfish treatment – All shellfish, upon receipt at the facility, shall be promptly treated or placed in controlled storage. Shellfish from an approved or conditionally approved harvest area which are to undergo wet storage shall be segregated from shellfish destined for depuration from a restricted or conditional restricted harvest area. Shellfish for wet storage shall be treated by a Department approved scheduled wet storage process (SWSP). Shellfish from restricted or conditionally restricted waters shall undergo a Department approved scheduled depuration process (SDP).

(10) Washing treatment tanks – All systems must be cleaned and sanitized before any lot of shellfish is placed into the treatment tanks. After each 24 hours that the shellfish are in the depuration treatment tanks, the seawater in the tanks shall be drained out and the shellfish hosed down thoroughly. Feces, pseudo-feces, and any other waste matter must be flushed out of the tank. Immediately after hosing, the tanks shall again be filled with treated seawater. Treatment tanks employing some form of refrigeration shall be drained and thoroughly washed after each depuration period or lot of shellfish depurated.

(11) Treatment tank design specifications – water flow must be maintained at a minimum of one gallon per minute per bushel of shellfish or the flow rate recommended by the disinfection systems manufacturer to attain the flow and volume necessary for maximum disinfection. System piping shall include backflow and back siphonage protective devices and be constructed for easy cleaning either directly or through gasket or compression joints.

(12) Ultraviolet (UV) Unit:

(a) Any UV unit used for the purification of water to be used in the treatment process shall provide the required treatment to non-detectable coliform bacteria level for the duration of storage. The unit shall be designed to deliver, at peak load the flow rate recommended by the disinfection systems manufactures to attain the flow and volume necessary for maximum disinfection.

(b) Cautions and maintenance.

1. UV tubes shall either be checked for intensity on a monthly basis or the hours the tubes are used. The bulbs shall be replaced when they reach a point of 60% efficiency or upon the manufacturer’s maintenance, which ever occurs first. A log of intensity or hours shall be kept and an orderly numbering procedure for UV units and bulbs established. A record of UV tube replacement shall be maintained.

2. UV tubes and reflectors shall be kept cleaned. Cleaning shall be done with a clean damp cloth or sponge. A cleaning schedule shall be recorded on the sanitation record.

3. Signs stating “Ultraviolet Light Danger to Eyes – Do Not Look at Bulbs Without Eye Protection” shall be displayed in full view of personnel and authorized visitors. Eye, head, and skin protection, especially for the face and hands, shall be provided for personnel monitoring the bulbs.

4. An automatic shutoff switch shall be provided to break the electric circuit, thus shutting off the current to the UV bulb when the lid of the UV unit is raised.

5. In depuration facilities a tamper-proof hour meter shall be installed in line with all UV units to measure continuity of operation as well as to measure bulb life. A log which documents meter readings taken at the beginning and end of each depuration cycle shall be maintained for each UV unit.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, Formerly 16R-7.021, Amended 7-3-95, Formerly 62R-7.021, Amended 8-9-00, 3-23-17, 4-2-19.

## 5L-1.016 Depuration Shellfish Sampling Procedures.

(1) Start-up phase sampling procedures – When shellfish are delivered to the facility, the following schedule shall be followed:

(a) One or more shellfish samples (12 or more shellfish per sample) shall be collected for bacterial examination before the shellfish are submitted to the treatment process.

(b) Three or more shellfish samples (12 or more shellfish per sample), randomly selected from 3 or more locations in each tank, shall be collected for bacterial examination after 24 hours of depuration.

(c) Three or more shellfish samples (12 or more shellfish per sample), randomly selected from 3 or more locations in each tank, shall be collected for bacterial examination after the shellfish have completed the treatment process.

(2) Routine Sampling Procedures.

(a) Start-up phase sampling procedures shall be followed until such time as the Department and the facility supervisor, after review of start-up phase results, determine that the shellfish are responding properly to the treatment process, and that the treatment process is successfully reducing bacterial levels in the shellfish and providing process water quality pursuant to subsection 5L-1.017(1), F.A.C. After such a determination, the routine sampling procedures shall be followed. Written permission from the Department shall be obtained before the initiation of the following routine monitoring procedures:

1. One or more shellfish samples (12 or more shellfish per sample) shall be collected for bacterial examination before the shellfish are submitted to the treatment process.

2. Three or more shellfish samples (12 or more shellfish per sample), randomly selected from each lot, shall be collected for bacterial examination after 24 hours of depuration.

3. Three or more shellfish samples (12 or more shellfish per sample), randomly selected from each lot, shall be collected for bacterial examination after 48 hours of depuration.

(b) In the event of the installation of a new laboratory, new laboratory equipment, employment of new laboratory personnel, initiation of new laboratory procedures, or the alteration of treatment procedures, the Department may require reinitiation of start-up phase sampling procedures until such time as the Department and the facility supervisor, after review of the results, determine that the laboratory and treatment procedures are providing valid results. Written permission from the Department shall be obtained before routine monitoring procedures are again followed.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, Formerly 16R-7.022, Formerly 62R-7.022, 3-23-17.

## 5L-1.017 Water Treatment Standards.

(1) Depuration Water Treatment Standards.

(a) All controlled processes require quality tests to determine if standards are being met and if controls are effective. The depuration treatment of shellfish is a controlled process designed to reduce bacterial contamination to an acceptable level, as defined in subsection 5L-1.004(5), F.A.C. Wet storage is designed to enhance the product quality without degradation of market standards as defined in Rule 5L-1.004, F.A.C. To insure the continuing effectiveness of the shellfish depuration treatment process, the minimum sampling procedure as described below shall be followed.

(b) Incoming seawater.

1. Type of test – temperature, turbidity, salinity, dissolved oxygen.

2. Frequency – each time seawater is withdrawn.

(c) Effluent from UV light treatment unit.

1. Type of test – bacteriological.

2. Frequency – once per day per unit.

(d) Bacteriological – All water to be used in shellfish treatment tanks shall be subjected to UV light treatment. The water discharged from the UV unit shall have no detectable levels of the coliform group as measured by the recognized multi-tube MPN test per 100 ml for potable water and acceptable for use with marine water and follow the protocol of the Decision Tree (Section IV. Guidance Documents Chapter III .05), as stated in Section II Chapter VII .04 C (1)(f), of the NSSP Model Ordinance as incorporated in Rule 5L-1.001, F.A.C.

(e) Dissolved oxygen – The amount of dissolved oxygen in the water in the treatment tanks shall be at least 5 mg/l and shall be measured daily.

(f) Temperature – Treatment tank water temperature shall be measured daily during the treatment process. Temperature of seawater used in the treatment process shall be suitable for depuration.

(g) Turbidity – Turbidity in the treatment process water shall not exceed 20 N.T.U. (Nephelos Turbidity Units) and shall be measured daily.

(h) Salinity – Salinity of the treatment process water shall be suitable for depuration and shall be measured daily.

(i) pH – pH of the treatment process water shall range from greater than or equal to 7.0 to less than or equal to 8.4 and shall be measured daily.

(j) Metallic ions and compounds – Levels of metallic ions and compounds shall not exceed levels found in approved shellfish harvesting areas and shall be measured if required by the Department.

(k) Pesticides, detergents, and radionuclides – Levels of pesticides, detergents, and radionuclides shall not exceed levels found in approved shellfish harvesting areas and shall be measured if required by the Department.

(l) Marine toxins (Karenia brevis) – Levels of Karenia brevis in the incoming seawater and in the source water shall not exceed 1,000 cells/liter. Only Department personnel, or personnel approved by the Department, shall determine levels of Karenia brevis.

The following table provides a summary of the depuration treatment process water standards:

| Table 1. DEPURATION TREATMENT PROCESS WATER STANDARDS |
| --- |
| Parameter | Minimum | Maximum |
| Bacteriological | 0 | Less than 1 |
| Dissolved Oxygen (Milligrams/liter) | 5.0 | Saturation |
| Temperature | Suitable | Suitable |
| Turbidity (Nephelos Turbidity Units) | 0 | 20 units |
| Salinity | Suitable | Suitable |
| Parameter | Minimum | Maximum |
| pH | 7.0 | 8.4 |
| Metallic Ions and Compounds | Not exceeding levels found in approved shellfish harvesting areas. |  |
| Pesticides, Detergents and Radionuclides | Not exceeding levels found in approved shellfish harvesting areas. |  |
| Marine Toxins (Karenia brevis) | 0 cells/liter | 1,000 cells/liter |

(2) Wet Storage Treatment Standards.

(a) Wet storage of shellfish is done to enhance product quality of shellfish that have been harvested from Approved or Conditionally Approved shellfish harvest areas in the open status. Inland wet storage systems are classified by the Department as continuous flow through or recirculating systems. Continuous flow through systems have a continuous flow of new water passing through and exiting the wet storage system before being permanently discharged. Recirculating systems recirculate system water for wet storage cycle. All inland wet storage requires the minimum sampling procedure as described below.

(b) Incoming seawater must be from an Approved or Conditionally Approved shellfish harvesting area in the open status.

(c) Bacteriological Standards – Source water shall be from a shellfish harvest area classified as Approved or Conditionally Approved and in the open status and any well water used as source water shall meet the requirements of Chapter XI .02 of the NSSP Model Ordinance as incorporated in Rule 5L-1.001, F.A.C., with the exception of salt content for salt water wells. Any source water meeting above standards and used in continuous flow through systems do not require the use of additional UV sterilization. Well water from salt water wells must be sampled semi-annually at a minimum. Water used in shellfish treatment tanks for recirculating wet storage systems shall be subjected to disinfection as provided by Department approved disinfection treatment. Systems using one or more UV light units must be rated for both the volume and flow used by the recirculating system. The water discharged from the disinfection treatment system shall have no detectable levels of the coliform group as measured by the recognized multi-tube MPN test per 100 ml for potable water and acceptable for use with marine water and follow the protocol of the Decision Tree (Section IV. Guidance Documents Chapter III .05).

(d) Turbidity – Water that is disinfected by UV light shall not exceed 20 N.T.U. (Nephelos Turbidity Units).

(e) Wet storage using recirculating systems requires the effluent from the disinfection treatment unit to be tested for coliform while in operation but not to exceed once per week.

(f) Other disinfection treatment such as the addition of salt shall not leave residues unless they are Generally Recognized as Safe (GRAS) and do not interfere with the shellstock’s survival, quality or activity during wet storage, as stated in Section II, Chapter VII .04 C (1)(e) of the NSSP Model Ordinance as incorporated in Rule 5L-1.001, F.A.C.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, Formerly 16R-7.024, Amended 7-3-95, 5-8-96, 2-6-97, Formerly 62R-7.024, Amended 8-9-00, 3-23-17, 4-2-19.

## 5L-1.018 Depuration – Ultraviolet (UV) Unit.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, Formerly 16R-7.026, 62R-7.026, Repealed 3-23-17.

## 5L-1.019 Laboratory Procedures and Sample Testing.

(1) Samples of shellfish, processing water, or ice, may be taken at any reasonable time or place by the Department and examined for compliance with sections of this chapter. Samples of shellfish shall be furnished by processors of such shellfish upon request of the Department.

(2) Bacterial examinations of shellfish and seawater shall be conducted in accordance with Recommended Procedures for the Examination of Sea Water and Shellfish Fourth Edition, 1970, published by the American Public Health Association which is hereby incorporated herein by reference. Bacteriological examinations of seawater employing the fecal coliform Membrane Filter (MF) colony forming unit procedure referenced in paragraph 5L-1.003(2)(b) and subsection 5L-1.003(4), F.A.C., shall be conducted in accordance with Enumeration of fecal coliforms and E. coli in marine and estuarine waters: an alternative to the APHA-MPN approach written by Scott R. Rippey, Willard N. Adams, and William D. Watkins and published in the Journal Water Pollution Control Federation Volume 59, Number 8, pages 795 – 798, August 1987, which is hereby incorporated herein by reference. This procedure is terminated at the fecal coliform stage. The urease step is not required. The material incorporated in this section is copyrighted material that is available for inspection and examination at the Department of State, Administrative Code and Register Unit, The Capitol, 400 South Monroe Street, Room 701, Tallahassee, Florida, 32399 and at the Division of Aquaculture, Holland Building, 600 South Calhoun Street, Suite 217, Tallahassee, Florida 32399.

(3) Laboratory staff shall, upon request of the Department, allow observation of analytical techniques to determine compliance with subsection (2), above.

(4) The laboratory must be certified by the Department in accordance with Section IV, Chapter II, .12 of the NSSP Model Ordinance.

Rulemaking Authority 597.020 FS. Law Implemented 597.020 FS. History–New 1-4-87, Amended 8-10-88, Formerly 16R-7.030, Amended 7-3-95, 5-8-96, 2-6-97, Formerly 62R-7.030, Amended 8-9-00, 8-17-04, 3-23-17.