# CHAPTER 61G15-30

# RESPONSIBILITY RULES COMMON TO ALL ENGINEERS

# 61G15-30.001 	Purpose

# 61G15-30.002 	Definitions Common to All Engineer’s Responsibility Rules

# 61G15-30.003 	Minimum Requirements for Engineering Documents

# 61G15-30.004 	Engineering Document Submittal to Public Agencies (Repealed)

# 61G15-30.005 	Request for and Review of Delegated Engineering Documents

# 61G15-30.006 	Delegated Engineer’s Responsibility

# 61G15-30.007 	Prime Professional’s Responsibility

# 61G15-30.008 	Use of Computer Software and Hardware

# 61G15-30.009 	Retention of Engineering Documents

# 61G15-30.010 	Energy Conservation Compliance

## 61G15-30.001 Purpose.

(1) The Board has adopted these responsibility rules pursuant to section 471.033(2), F.S., to safeguard the life, health, property and welfare of the public by promoting proper conduct in the practice of engineering and due care and regard for acceptable engineering principles and standards. The Board considers that professional engineers may avoid disciplinary actions by observing the procedures set forth herein. Failure to comply with these rules may be considered as noncompliance with subsection 61G15-19.001(4), F.A.C., unless the deviation or departure therefrom is justified by the specific circumstances of the project in question. Furthermore, these rules are intended to apply as general guidelines where no contractual relationship exists between the parties addressed herein. These rules are not intended to take precedence over contractual relationships developed between the parties addressed herein, so long as those contractual relationships do not violate Chapter 471, F.S., or the stated purpose of these responsibility rules. These responsibility rules shall apply to every person holding a license as a professional engineer, and every qualified engineering business organization, as appropriate. A professional engineer’s practices, education, training, experience, qualifications, technical competence, conduct, and responsibilities in connection with his authorized engineering practice, services, and creative work are subject to regulation solely by the Board of professional engineers, the courts, and local jurisdictions.

(2) No later than December 31, 2024, the Board shall review and consider amendment, modification, or repeal of this rule if review determines this rule creates barriers to entry for private business competition, is duplicative, outdated, obsolete, overly burdensome, or imposes excessive costs.

Rulemaking Authority 471.033(2), 471.008 FS. Law Implemented 471.033(1) FS. History–New 1-26-93, Formerly 21H-30.001, Amended 11-13-08, 5-14-20.

## 61G15-30.002 Definitions Common to All Engineer’s Responsibility Rules.

(1) Engineer of Record. A Florida professional engineer who is in responsible charge for the preparation, signing, dating, sealing and issuing of any engineering document(s) for any engineering service or creative work.

(2) Prime Professional. A Florida professional engineer or a duly qualified engineering corporation or partnership, who is engaged by the client to provide any planning, design, coordination, arrangement and permitting for the project and for construction observations in connection with any engineering project, service or creative work. The prime professional engineer may also be an engineer of record on the same project.

(3) Delegated Engineer. A Florida professional engineer who undertakes a specialty service and provides services or creative work (delegated engineering document) regarding a portion of the engineering project. The delegated engineer is the engineer of record for that portion of the engineering project. A delegated engineer usually falls into one of the following categories:

(a) An independent consultant.

(b) An employee or officer of an entity supplying components to a fabricator or contractor, so long as the engineer acts as an independent consultant or through a duly qualified engineering corporation.

(c) An employee or officer of a fabricator or contractor, so long as the engineer acts as an independent consultant or through a duly qualified engineering corporation.

(4) Engineering Documents. Engineering documents are designs, plans, specifications, drawings, prints, reports, or similar instruments of service in connection with engineering services or creative work that have been prepared and issued by the professional engineer or under his responsible supervision, direction or control.

(5) Delegated Engineering Documents. Delegated engineering documents are those engineering documents that are prepared by a delegated engineer.

(6) Public Record. An engineering document is “filed for public record” when said document is presented with the engineer of record's knowledge and consent to any federal, state, county, district, authority, municipal or other governmental agency in connection with the transaction of official business with said agency.

(7) “Engineering Documents Prepared for Public Record” are those documents filed for public record with the Authority Having Jurisdiction (AHJ) to determine compliance with Codes and Standards and to be used for execution of the project. These documents are required to be signed and sealed.

(8) Shop Drawings: Drawings depicting installation means and methods, catalog information on standard products, prepared by a contractor, manufacturers, or professional engineers for incorporation into the project which are prepared based on engineering direction contained in Engineering Documents. Shop drawings do not require the signature, date and seal of a professional engineer.

(9) Record Documents: Documents that are a compiled representation of the constructed project. If the engineer is relying on information provided by others not under the direct supervision and control of the engineer, then the engineer shall not be required to sign, date and seal these Documents. If relying on information by others, as a minimum, the following shall be included on the Documents:

(a) Statement that the documents are a compiled representation of the constructed project.

(b) Listing of the sources and basis of information used in the preparation of the Documents.

(c) Statement that the Documents are believed to be correct to the best of the engineer’s knowledge, and that the accuracy of the information cannot be guaranteed.

Rulemaking Authority 471.033(2), 471.008 FS. Law Implemented 471.033(1), 471.023, 471.025 FS. History–New 1-26-93, Formerly 21H-30.002, Amended 11-13-08.

## 61G15-30.003 Minimum Requirements for Engineering Documents.

(1) Engineering Documents are prepared in the course of performing engineering services. When prepared for inclusion with an application for a general building permit, the Documents shall meet all Engineer’s Responsibility Rules, set forth in chapters 61G15-31, 61G15-32, 61G15-33, and 61G15-34, F.A.C., and be of sufficient clarity to indicate the location, nature and extent of the work proposed and show in detail that the proposed work will conform to all applicable standards, codes, laws, ordinances, rules and regulations in effect at the time the Documents are sealed, signed and dated, as determined by the AHJ. The Documents shall include:

(a) Information that provides material specifications required for the safe operation of the system that is a result of engineering calculations, knowledge and experience.

(b) If the Engineering Documents are intended to comply with requirements of any edition of federal, state, municipal, or county standards, codes, ordinances, laws, or rules, other than those currently in effect, the Engineering Documents must clearly state the edition and effective dates the Documents are intended to conform to.

(c) Information, as determined by the Engineer of Record, needed for the safe and efficient operation of the system.

(d) List engineering design criteria; reference project specific studies, reports, and delegated Engineering Documents.

(e) Identify clearly elements of the design that vary from the governing standards and depict/identify the alternate method used to ensure compliance with the stated purpose of these Responsibility Rules.

(2) Engineers shall legibly indicate their name and business address on Engineering Documents. Engineering Documents which are issued for preliminary or conceptual use shall clearly note the intended purpose of such Documents.

(3) When elements of the project are shown on an Engineering Document only for information or clarification and the Engineer does not intend to accept responsibility for the elements, the engineer shall clearly note on the Documents the extent of his responsibility.

(4) Engineering Documents shall be legible and clearly define and delineate the work in the project. They must also comply with the requirements of chapter 61G15-23, F.A.C., Seals.

(5) Engineers shall clearly note on any preliminary Engineering Documents that such Documents are not in final form, but are being transmitted to the AHJ to receive agency reviews, comments and interpretations. The Documents may subsequently be revised by the engineer to reflect resolution of issues with the AHJ prior to final action by the AHJ. Changes, revisions and modifications to a project may prompt additional Document submittal for AHJ approval action on the same project.

Rulemaking Authority 471.033(2), 471.008 FS. Law Implemented 471.033(1)(g), 471.025(3) FS. History–New 1-26-93, Formerly 21H-30.003, Amended 11-13-08, 12-11-16.

## 61G15-30.004 Engineering Document Submittal to Public Agencies.

Rulemaking Authority 471.033(2), 471.008 FS. Law Implemented 471.033(1)(g), 471.025 FS. History–New 1-26-93, Formerly 21H-30.004, Repealed 2-11-08.

## 61G15-30.005 Delegation of Engineering Documents: Obligations of the Engineer of Record.

(1) An engineer of record who delegates a portion of his responsibility to a delegated engineer is obligated to communicate in writing his engineering requirements to the delegated engineer.

(2) An engineer of record who delegates a portion of his design responsibility to a delegated engineer shall require submission of delegated engineering documents prepared by the delegated engineer and shall review those documents for compliance with his written engineering requirements and to confirm the following:

(a) That the delegated engineering documents have been prepared by an engineer.

(b) That the delegated engineering documents of the delegated engineer conform with the intent of the engineer of record and meet the written criteria.

(c) That the effect of the delegated engineer’s work on the overall project generally conforms with the intent of the engineer of record.

Rulemaking Authority 471.033(2), 471.008 FS. Law Implemented 471.033(1)(g) FS. History–New 1-26-93, Formerly 21H-30.005.

## 61G15-30.006 Delegation of Engineering Documents: Obligations of the Delegated Engineer of Record.

(1) It is the delegated engineer’s responsibility to review the Engineer of Record’s written engineering requirements and authorization for the delegated engineering document to determine the appropriate scope of engineering.

(2) The delegated engineering document shall comply with the written engineering requirements received from the engineer of record. They shall include the project identification and the criteria used as a basis for its preparation. If a delegated engineer determines there are details, features or unanticipated project limits which conflict with the written engineering requirements provided by the engineer of record, the delegated engineer shall timely contact the engineer of record for resolution of conflicts.

(3) The delegated engineer shall forward the delegated engineering document to the engineer of record for review. All final delegated engineering documents require the impressed seal and signature of the delegated engineer and include:

(a) Drawings introducing engineering input such as defining the configuration and structural capacity of structural components and/or their assembly into structural systems.

(b) Calculations.

(c) Computer printouts which are an acceptable substitute for manual calculations provided they are accompanied by sufficient design assumptions and identified input and output information to permit their proper evaluation. Such information shall bear the impressed seal and signature of the delegated engineer as an indication that said engineer has accepted responsibility for the results.

Rulemaking Authority 471.033(2), 471.008 FS. Law Implemented 471.033(1)(g) FS. History–New 1-26-93, Formerly 21H-30.006.

## 61G15-30.007 Prime Professional’s Responsibility.

It is the responsibility of the prime professional engineer, where one exists, to retain and coordinate the services of such other professionals as needed to complete the services contracted for the project.

Rulemaking Authority 471.033(2), 471.008 FS. Law Implemented 471.033(1)(g) FS. History–New 1-26-93, Formerly 21H-30.007, Amended 11-13-08.

## 61G15-30.008 Use of Computer Software and Hardware.

The engineer shall be responsible for the results generated by any computer software and hardware that he or she uses in providing engineering services.

Rulemaking Authority 471.033(2), 471.008 FS. Law Implemented 471.033(1)(g) FS. History–New 1-26-93, Formerly 21H-30.008.

## 61G15-30.009 Retention of Engineering Documents.

At least one copy of all documents displaying the licensee’s signature, seal, which is legible to the reader, date and all related calculations shall be retained by the licensee or the licensee’s employer for a minimum of three years from the date the documents were sealed. These documents shall be maintained in hardcopy or electronic format.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033(1)(g), (j) FS. History–New 5-9-04, Amended 11-13-08, 8-26-13.

## 61G15-30.010 Energy Conservation Compliance.

The engineer who prepares the compliance calculations, and certifies the accuracy thereof, shall verify that the building construction documents conform to compliance calculations. Data used in calculations shall be under the signature, date and seal of the responsible design professionals. The Engineer of Record for energy conservation compliance calculations shall retain the signed, dated and sealed data as provided for in rule 61G15-30.009, F.A.C., Retention of Engineering Documents.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033(1)(g), (j) FS History–New 11-13-08.