# CHAPTER 61G15-33

# RESPONSIBILITY RULES OF PROFESSIONAL

# ENGINEERS CONCERNING THE DESIGN OF ELECTRICAL SYSTEMS

# 61G15-33.001 	General Responsibility

# 61G15-33.002 	Definitions

# 61G15-33.003 	Design of Power Systems

# 61G15-33.004 	Design of Lighting Systems

# 61G15-33.005 	Design of Communications Systems

# 61G15-33.006 	Design of Alarm and Control, Signaling Systems

# 61G15-33.007 	Design of Lightning Protection Systems

# 61G15-33.008 	Design of Grounding Systems

# 61G15-33.009 	Design of Instrumentation and Control Systems (Repealed)

# 61G15-33.010 	Certification of Electrical Systems of Public Interest

## 61G15-33.001 General Responsibility.

Electrical Engineering Documents shall be prepared in accordance with generally accepted engineering standards. The Electrical Engineering Documents shall identify the Engineer of Record. Electrical Engineering Documents shall comply with the requirements of the applicable codes and standards as defined herein. The Engineer of Record is responsible for determining the applicability of appropriate codes and standards to a given project. In the event the codes and standards fail to address a specific requirement or situation, alternative research, test results, engineering data, and engineering calculations shall be utilized. Electrical Engineering Documents for construction shall indicate the nature and character of the electrical work and shall describe, label and define the required electrical systems components, processes, equipment and material and its structural support systems. Both the Engineer of Record for the electrical system and the delegated engineer, if utilized, shall comply with the requirements of the general responsibility rules, Chapter 61G15-30, F.A.C., and with the requirements of the more specific rules contained herein. The Engineer of Record for the Electrical System(s) shall provide design requirements in writing to the delegated engineer if one is used and shall review the design documents of the delegated engineer for conformance to written instructions in accordance with Rule 61G15-30.005, F.A.C. Documents prepared by a delegated engineer and so reviewed must be included in the final set of documents filed for permit unless required by the permitting entity to be submitted independently.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.001, Amended 11-13-08, 12-4-17.

## 61G15-33.002 Definitions.

(1) Engineer of Record for the Electrical Systems. The Florida Professional Engineer who develops the electrical system design criteria or performs the analysis and is responsible for the preparation of the Electrical Documents for the project.

(2) Electrical Component. An individual electrical device to be part of an electrical system.

(3) Electrical. Any device or mechanism that operates due to the action of electricity.

(4) Electrical System. Any system, assembly of electrical components, materials, utilities, equipment, work system, machines, products or devices which require electrical energy in order to perform its intended function.

(5) Electrical Engineering Documents. All electrical drawings, specifications, reports, calculations, data and other documents utilized to establish the overall design and requirements for the construction, alteration, modernization, repair, demolition, arrangement, or use of the electrical system, or analysis or recommendations, as prepared by the Engineer of Record for the Electrical System. Electrical Engineering Documents shall additionally meet the requirements of Rule 61G15-30.003, F.A.C., Engineering Documents.

(6) Electrical Submittals. Catalog information on standard products or drawings prepared solely to serve as a guide for fabrication and installation and requiring no engineering input. Such submittals are not Engineering Documents or Delegated Engineering Documents and do not require the seal of a Florida Professional Engineer.

(7) Codes and Standards. Those nationally recognized Codes and Standards adopted directly or by reference in the Florida Building Code, adopted in its entirety by reference in subsection 61G15-18.011(6), F.A.C., and the Florida Fire Prevention Code, adopted in its entirety by reference in subsection 61G15-18.011(7), F.A.C.

(8) Electrical Delegated Engineering Documents. Electrical Engineering Documents prepared by a delegated engineer to whom the Engineer of Record for the Electrical System has delegated responsibility for the design of an electrical component or system and which are signed, sealed and dated by the delegated engineer.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.002, Amended 11-13-08, 12-4-17.

## 61G15-33.003 Design of Power Systems.

(1) Power systems convey or distribute electrical energy. Items to be considered in the design and analysis of power systems are, as applicable to the particular project: steady state and transient load characteristics, short circuit availability, arc flash potential, load flow, voltage drop, effects of harmonics, power factor, and protective device coordination.

(2) For Engineering Documents pertaining to Electrical Systems exempted by the threshold requirements for mandatory use of professional engineering services established by Section 471.003(2)(h), F.S., the Engineer of Record shall determine the level of detail shown on plans for an Electrical system. All such plans shall include a disclaimer stating the Electrical systems are exempt from professional engineering services and shall provide a clear understanding of the minimum system requirements expected to be installed by the contractor and permitted by the authority having jurisdiction (AHJ). In the event the Engineer of Record provides more information and direction than its minimally required, he or she shall be held responsible for the technical accuracy of the work in accordance with applicable codes, standards, and sound engineering principles.

(3) Electrical Engineering Documents for power systems that exceed the threshold requirements for mandatory use of professional engineering services must include the following information, if applicable to the particular project:

(a) Power distribution riser diagram.

(b) Conductor sizes (AWG or kcmil) and insulation type, or cable assemblies characteristics.

(c) Circuit interrupting devices, ratings and fault current interrupting capability.

(d) Location and characteristics of any surge protective devices, if included in the engineering design.

(e) Main and distribution equipment, control devices, locations and ratings.

(f) Circuitry of all outlets, equipment and devices.

(g) Feeder and service capacity calculations.

(h) Electrical legends.

(i) Grounding and bonding requirements.

(j) Instrumentation and control when necessary for safe operation or to show intended function.

(k) Engineering Documents applicable to power systems filed for public record shall also contain information required by the Florida Building Code, incorporated by reference in subsection 61G15-18.001(6), F.A.C.

(l) Engineers performing arc flash hazard analysis must determine arc flash approach distance, assess and convey the incident energy levels, and identify appropriate PPE class. Any such verification shall constitute an Engineering Certification as that term is defined in subsection 61G15-18.011(4), F.A.C., and must comply with the Responsibility Rules, including Rule 61G15-29.001, F.A.C.

(4) No later than December 31, 2026, the Board shall review and consider amendment, modification, or repeal of this rule if review determines this rule creates barriers to entry for private business competition, is duplicative, outdated, obsolete, overly burdensome, or imposes excessive costs. Failure by the Board to act in accordance with this provision will result in the expiration of this rule on December 31, 2026.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.003, Amended 11-13-08, 12-4-17, 11-15-21.

## 61G15-33.004 Design of Lighting Systems.

(1) Lighting systems convert electrical energy into light. Items to be considered in the design and analysis of lighting systems are, as applicable to the particular project: average and minimum illuminance, equivalent spherical illuminance, uniformity ratios, visual comfort probability, special purpose lighting, impacts of light intrusion, light trespass, security and safety, and the requirements of the Florida Building Code, Energy Conservation, which is incorporated by reference in rule 61G15-18.011, F.A.C.

(2) Electrical Engineering Documents for lighting systems must include the following information, if applicable to the particular project:

(a) Lighting fixture performance specifications and arrangements.

(b) Emergency lighting, egress lighting, and illuminated exit markings and their ancillary equipment such as inverters and batteries.

(c) Equipment legend.

(d) Lighting control and circuiting.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.004, Amended 11-13-08, 12-4-17.

## 61G15-33.005 Design of Communications Systems.

(1) Communications systems are utilized to convey voice and data. Items to be considered in the design and analysis of communication systems are, as applicable to the particular project: cabling requirements, installation requirements, performance requirements, backup power requirements, the interrelationship of the various systems and applicable standards and regulatory requirements.

(2) Electrical Engineering Documents for communications systems must include the following information, if applicable to the particular project:

(a) System riser diagram for each cabling system.

(b) Equipment legend.

(c) Cabling type and performance data of the transmission.

(d) Device type and locations.

(e) Backup power sources where applicable.

(f) Installation, identification and testing requirements.

(g) Characteristics and locations of surge protective devices, if included in the engineering design.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.005, Amended 11-13-08, 12-4-17.

## 61G15-33.006 Design of Alarm, Control, and Signaling Systems.

(1) Alarm, control, and signaling systems include motor control systems, emergency alarm circuits, activation of life safety system controls and remote signaling of emergency conditions (See rule 61G15-32.008, F.A.C., for Fire Alarm Systems), surveillance and access control systems, temperature control, and systems related to energy conservation and facility management systems. Items to be considered in the design or analysis of alarm, control, and signaling systems include: cabling requirements; installation requirements; performance requirements; and interoperability. The design documents shall be based on standards set forth in NFPA 72, the Florida Building Code, the Florida Fire Prevention Code, or as required by the local authority having jurisdiction. The Florida Building Code and the Florida Fire Prevention Code are incorporated by reference in rule 61G15-18.011, F.A.C.

(2) The Electrical Engineering Documents for alarm, control, and signaling systems must include the following information, if applicable to the particular project:

(a) Description of the control system functions, or a functional diagram.

(b) Equipment legend.

(c) System riser diagram.

(d) Cabling and conductor types and requirements.

(e) Installation, identification and testing requirements.

(f) Back-up power.

(g) Location and characteristics of surge protective devices, if included in the engineering design.

(h) Details and requirements indicated by rule 61G15-32.008, F.A.C.

(i) Complete requirements for operations and maintenance procedures, manuals, system documentation, and instruction of Owner’s operating personnel, as needed to operate the systems as intended over time.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.006, Amended 11-13-08, 12-4-17.

## 61G15-33.007 Design of Lightning Protection Systems.

(1) Lightning Protection Systems are passive systems used to protect building and structures from damage caused by lightning and static discharges. Items to be considered in the design or analysis of these systems include risks to persons or property, environmental factors, geological factors, building or structure characteristics, and materials performance.

(2) Electrical Engineering Documents for lightning protection systems must include the following information, if applicable to the particular project:

(a) Lightning Risk Assessment.

(b) Air terminals height and spacing.

(c) Corrosion protection measures.

(d) Arrangement of Main and Down conductors.

(e) Grounding Terminals and spacing.

(f) Conductor type and size.

(g) Equipment Legend.

(h) Testing requirements.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.007, Amended 11-13-08, 12-4-17.

## 61G15-33.008 Design of Grounding Systems.

(1) Grounding Systems are passive systems used to establish an electrical potential reference point in an electrical system, a common return path for fault current, or a direct connection to earth for the proper dissipation of energy in case of abnormal or transient conditions.

(2) Electrical Engineering Documents for grounding systems must include the following information, if applicable to the particular project:

(a) Type and location of grounding electrodes.

(b) Bonding requirements.

(c) Testing requirements.

(d) Conductor material type, size and protection requirements.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.008, Amended 11-13-08, 12-4-17.

## 61G15-33.009 Design of Instrumentation and Control Systems.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.009, Repealed 2-11-08.

## 61G15-33.010 Certification of Electrical Systems of Public Interest.

(1) The Engineer of Record shall, when required by applicable codes or ordinances, demonstrate verification of compliance.

(2) Verifications of compliance must include the following information, if applicable to the particular project:

(a) Energy efficiency and conservation tabulations, statements or calculations.

(b) Lighting performance criteria included in the design that show illuminated levels, intrusion, trespass, dark sky, safety or that show/preserve natural habitat tendencies.

(c) Lighting, sound pressure, or other product or installation specifications that indicate conformance with community, county, or state standards, codes or ordinances.

(3) Any such verification shall constitute an Engineering Certification as that term is defined in subsection 61G15-18.011(4), F.A.C., and must comply with all Responsibility Rules, including rule 61G15-29.001, F.A.C.

Rulemaking Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 11-13-08, Amended 12-4-17.