# CHAPTER 62-307

# BEST MANAGEMENT PRACTICES WATER QUALITY MONITORING

# 62-307.100	Definitions

# 62-307.200	Water Quality Monitoring In Lieu of Implementing BMPs

# 62-307.300	Implementation Procedures

## 62-307.100 Definitions.

As used in this chapter:

(1) “Department” means the Department of Environmental Protection.

(2) “Nonpoint source discharger” means either a) the person responsible for the nonpoint source discharge, or b) the owner of the property from which the nonpoint source discharge originates.

(3) “BMAP” means an adopted basin management action plan (BMAP) that implements a total maximum daily load (TMDL).

(4) “Person” has the same meaning as provided in section 403.031, F.S.

(5) “Sampling and analysis plan” means the monitoring plan required by this chapter.

Rulemaking Authority 403.067 FS. Law Implemented 403.067 FS. History–New 7-1-18.

## 62-307.200 Water Quality Monitoring In Lieu of Implementing BMPs.

(1) A nonpoint source discharger, whose discharge is located within a BMAP, must either submit a notice of intent to implement appropriate BMPs adopted in accordance with section 403.067(7)(c), F.S., or conduct water quality monitoring to demonstrate compliance with the water quality criteria for the parameters addressed by the BMAP.

(2) Within 180 days of the initial adoption of a BMAP or the effective date of this rule, whichever is later, a nonpoint source discharger choosing to conduct water quality monitoring in lieu of implementing BMPs pursuant to subsection (1), shall submit for Department approval a water quality sampling and analysis plan that meets all the requirements of this rule and chapter 62-160, F.A.C.

(3) A sampling and analysis plan shall include the following components:

(a) A description of the physical and hydrogeological characteristics of the property and the surrounding area, including, as applicable:

1. The direction and rate of surface water and groundwater flow;

2. Vertical permeability, thickness, competence, and extent of any confining beds;

3. Topography, soil information, and surface water drainage systems surrounding the site;

4. Identification and location of wells, surface water discharge points, and surface water intakes within 500 feet of the property and within the property boundary; and

5. The locations of all surface waters and their classifications including springs within one quarter mile of the property, and onsite sinkholes with depths exceeding the seasonal high water table or that are perched;

(b) Proposed methodology used to determine compliance with water quality criteria and any deviations in the quality of the receiving water in downgradient monitoring locations;

(c) Proposed locations of monitoring used to determine compliance;

(d) Proposed water quality indicators (chemical, physical, and biological);

(e) Proposed sampling methods and frequency;

(f) Proposed data management and assessment; and

(g) Proposed reporting schedule and deliverables.

(4) Amendments or changes to sampling and analysis plans must be approved by the Department.

(5) Sampling and analysis plans must be amended or changed if any of the following occurs:

(a) New analytical methods, sampling or other field procedures, or instruments or equipment that affect data quality become available;

(b) The sampling or analysis contractor is changed;

(c) The scope of work is substantially altered; or

(d) Other changes are made that affect the data quality objectives of the sampling and analysis plan.

(6) Approved sampling and analysis plans expire after 5 years. At least 180 days before expiration of an approved sampling and analysis plan, the nonpoint source discharger shall resubmit for Department approval a water quality sampling and analysis plan that meets all the requirements of this rule and chapter 62-160, F.A.C.

Rulemaking Authority 403.067 FS. Law Implemented 403.067 FS. History–New 7-1-18.

## 62-307.300 Implementation Procedures.

(1) As provided in an approved sampling and analysis plan, a nonpoint source discharger must ensure that water samples are taken at the frequency at all locations set forth in the approved sampling and analysis plan.

(2) The collected water samples must be tested in accordance with the approved sampling and analysis plan.

(3) Sample collection and analytical test methods on the collected samples shall be conducted in accordance with chapter 62-160, F.A.C.

(4) Monitoring records must be retained onsite for at least 5 years and be made available for inspection upon request.

(5) The nonpoint source discharger shall submit an annual report to the Department consistent with an approved sampling and analysis plan. The annual report must include all the laboratory analytical test results on the water samples taken.

(6) The Department shall verify implementation of nonagricultural nonpoint source BMPs required by section 403.067(7), F.S., by inspection or other appropriate compliance mechanisms.

(7) The Department shall have all remedies available to it under Florida law, including those in Sections 403.121, 403.141, and 403.161, F.S., to enforce compliance with this rule chapter or section 403.067(7)(c), F.S.

Rulemaking Authority 403.067 FS. Law Implemented 403.067 FS. History–New 7-1-18.