# CHAPTER 64E-4

# CONTROL OF NONIONIZING RADIATION HAZARDS

# 64E-4.001 	Registration and Laser Radiation Requirements, Definitions, Exemptions, LSO, Out-of-State Sources, MPE, Safe

# Operation, Signs, Labels, Posting, Surveys, Measurement, Instrumentation, Notification, Reports, Incidents, 	Records, Scanning Devices, Laser Light Shows

# 64E-4.002 	Definitions (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.003 	Exemptions (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.004 	Laser Safety Officer (LSO) (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.005 	Out-of-State Laser Radiation Sources (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.006 	Maximum Permissible Exposure (MPE) (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.007 	General Requirements for the Safe Operation of All Facilities (Repealed; see Rule 64E-4.001, F.A.C., for current

# requirements)

# 64E-4.008 	Caution Signs, Labels, and Posting (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.009 	Surveys (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.010 	Measurement and Instrumentation (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.011 	Notification and Reports of Incidents (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.012 	Records (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.013 	Laser Radiation (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.014 	Scanning Devices (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.015 	Report to Department About Laser Light Shows (Repealed; see Rule 64E-4.001, F.A.C., for current requirements)

# 64E-4.016 	Measurements for Maximum Permissible Exposure (Repealed; see Rule 64E-4.001, F.A.C., for current

# requirements)

# 64E-4.001 Registration and Laser Radiation Requirements, Definitions, Exemptions, LSO, Out-of-State Sources, MPE, Safe Operation, Signs, Labels, Posting, Surveys, Measurement, Instrumentation, Notification, Reports, Incidents, Records, Scanning Devices, Laser Light Shows.

(1) Except as otherwise specifically exempted under these rules, all persons who receive, possess, acquire, transfer, own, manufacture, or use lasers which emit or may emit laser radiation shall register within 30 days after acquisition of a laser product and comply with these rules. Nothing in these rules shall be interpreted as limiting the intentional exposure of patients to laser radiation for the purpose of treatment or use commensurate with the licensed practitioner’s use of the healing arts.

(2) A separate registration is required for each location with a laser device, on DH Form 1605 (09/14), “Laser Device Registration Form,” incorporated by reference and available at https://www.flrules.org/Gateway/reference.asp?No=Ref-04839, or www.FloridaHealth.gov/radiation. Laser manufacturers must register on DH Form 1604 (09/14), “Manufacturer’s Laser Device Registration Form,” incorporated by reference and available at https://www.flrules.org/Gateway/reference.asp?No=Ref-04838, or www.FloridaHealth.gov/radiation. Subsequent registrations for each facility or mobile laser facility are required whenever additional laser devices are installed or previously registered laser devices are disposed of, altered, destroyed or moved to new locations. Subsequent registrations for each manufacturer are required only when the description of the laser devices manufactured by the manufacturer changes.

(3)(a) Laser products certified by a manufacturer to be compliant with the Federal laser product performance standard of 21 C.F.R. Part 1040 in effect at the date of manufacture shall be maintained in compliance with such requirements. Certified laser products which have been modified shall comply with these rules.

(b) Uncertified lasers shall meet the requirements of these rules.

(4) If any conflict arises between the requirements of these rules and the federal laser product performance standard, the requirements of the federal standard shall apply.

(5) Except as provided in this rule section, the contents of this rule chapter are contained in the Department of Health publication “Laser Radiation Requirements,” (December 15, 2016, edition), incorporated by reference and available at http://www.flrules.org/Gateway/reference.asp?No=Ref-07888.

(6) Title 21 C.F.R. sections 1040.10 and 1040.11, (April 1, 2013, edition), are incorporated by reference and available at http://www.flrules.org/Gateway/reference.asp?No=Ref-07889.

(7) The publication ANSI Z136.1-2014, “American National Standard for Safe Use of Lasers” (ANSI), is incorporated by reference and available at www.lia.org. This publication may be examined and inspected at the Florida Department of Health, Bureau of Radiation Control, 4042 Bald Cypress Way, Suite 210, Tallahassee, Florida 32399-1741, and the Florida Department of State, Room 701, The Capitol, Tallahassee, Florida 32399-0250. The agency has determined that posting the publication on the internet for purposes of public inspection and examination would constitute a violation of federal copyright law.

(8) Completed registration forms or other correspondence or reports required by Chapter 64E-4, F.A.C., to be sent in writing to the Department can be mailed to Florida Department of Health, Bureau of Radiation Control, 4052 Bald Cypress Way, Bin #C-21, Tallahassee, Florida 32399-1741; faxed to (850)487-0435; or scanned and emailed to RadiationControl@FlHealth.gov in PDF, JPG or TIF format.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2) FS. History–New 9-6-84, Amended 5-7-96, 12-12-96, Formerly 10D-89.101, Amended 4-20-15, 3-28-17.

## 64E-4.002 Definitions.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(1) FS. History–New 9-6-84, Amended 5-7-96, 12-12-96, Formerly 10D-89.102, Amended 10-8-00, 4-20-15, Repealed 3-28-17.

## 64E-4.003 Exemptions.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(a), (c) FS. History–New 9-6-84, Amended 12-12-96, Formerly 10D-89.103, Amended 10-8-00, Repealed 3-28-17.

## 64E-4.004 Laser Safety Officer (LSO).

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(a), (d) FS. History–New 9-6-84, Amended 12-12-96, Formerly 10D-89.111, Repealed 3-28-17.

## 64E-4.005 Out-of-State Laser Radiation Sources.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2) FS. History–New 9-6-84, Amended 5-7-96, 12-12-96, Formerly 10D-89.114, Repealed 3-28-17.

## 64E-4.006 Maximum Permissible Exposure (MPE).

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(a), (d) FS. History–New 9-6-84, Formerly 10D-89.116, Repealed 3-28-17.

## 64E-4.007 General Requirements for the Safe Operation of All Facilities.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(d) FS. History–New 9-6-84, Amended 5-7-96, 12-12-96, Formerly 10D-89.118, Repealed 3-28-17.

## 64E-4.008 Caution Signs, Labels, and Posting.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(d) FS. History–New 9-6-84, Amended 5-7-96, 12-12-96, Formerly 10D-89.121, Repealed 3-28-17.

## 64E-4.009 Surveys.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(c), (d) FS. History–New 9-6-84, Formerly 10D-89.122, Repealed 3-28-17.

## 64E-4.010 Measurement and Instrumentation.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(d) FS. History–New 9-6-84, Amended 5-7-96, 12-12-96, Formerly 10D-89.123, Repealed 3-28-17.

## 64E-4.011 Notification and Reports of Incidents.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(d) FS. History–New 9-6-84, Amended 5-7-96, Formerly 10D-89.124, Amended 4-20-15, Repealed 3-28-17.

## 64E-4.012 Records.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(d) FS. History–New 9-6-84, Amended 5-7-96, Formerly 10D-89.127, Repealed 3-28-17.

## 64E-4.013 Laser Radiation.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(d) FS. History–New 9-6-84, Amended 5-7-96, 12-12-96, Formerly 10D-89.130, Repealed 3-28-17.

## 64E-4.014 Scanning Devices.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(a), (d) FS. History–New 9-6-84, Formerly 10D-89.131, Repealed 3-28-17.

## 64E-4.015 Report to Department About Laser Light Shows.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(a), (b), (c), (d) FS. History–New 9-6-84, Formerly 10D-89.133, Amended 4-20-15, Repealed 3-28-17.

## 64E-4.016 Measurements for Maximum Permissible Exposure.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2) FS. History–New 9-6-84, Amended 5-7-96, 12-12-96, Formerly 10D-89.134, Repealed 3-28-17.