# CHAPTER 69A-56

# UNIFORM FIRE SAFETY STANDARDS FOR MIGRANT LABOR CAMPS

# 69A-56.001 	Title

# 69A-56.002 	Purpose

# 69A-56.003 	Scope

# 69A-56.004 	Definitions

# 69A-56.005 	Standards of the National Fire Protection Association Adopted

# 69A-56.006 	Manufactured Homes in Migrant Labor Camps

## 69A-56.001 Title.

These rules comprising chapter 69A-56, F.A.C., shall be known as the “Uniform Fire Safety Standards for Migrant Labor Camps.”

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 6-6-90, Formerly 4A-56.001.

## 69A-56.002 Purpose.

(1) The purpose of this rule chapter is to establish uniform requirements to provide a reasonable degree of safety from fire in buildings, structures or premises used as migrant labor camps.

(2) These rules try to avoid requirements which might result in unreasonable hardships, or unnecessary inconveniences or interference with the normal use and occupancy of migrant labor camps, but at the same time insist upon compliance with uniform standards for fire safety consistent with the public interests, even though a financial hardship may result in some individual cases.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 6-6-90, Formerly 4A-56.002.

## 69A-56.003 Scope.

These rules are concerned with life safety during fires and similar emergencies. They address particular matters such as devices, systems installations, protection, and occupancy of buildings to try to minimize danger to life from fire, smoke, fumes or panic before buildings, structures or premises are vacated.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 6-6-90, Formerly 4A-56.003.

## 69A-56.004 Definitions.

(1) “Approved” shall mean accepted by the authority having jurisdiction upon evaluation of compliance with appropriate standards for the product or procedures in question, or by reason of testing and listing or approval by a recognized testing laboratory.

(2) “Authority having jurisdiction” means a duly authorized representative of an agency or agencies having statutory code enforcement responsibilities, as described in section 633.118, F.S.

Rulemaking Authority 633.104, 633.206(1)(b) FS. Law Implemented 633.104(1), 633.206(1)(b) FS. History–New 6-6-90, Amended 8-16-01, Formerly 4A-56.004.

## 69A-56.005 Standards of the National Fire Protection Association Adopted.

(1) The standards of the National Fire Protection Association for life safety from fire, as provided in NFPA 101, Life Safety Code, as adopted in rule 69A-3.012, F.A.C., and incorporated herein by reference shall be the Uniform Fire Safety Standards for Migrant Labor Camps.

(2) Buildings or structures which are constructed to compliment other operations associated with migrant labor camps shall comply with the applicable requirements of NFPA 101, Life Safety Code, referenced in subsection (1), above.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.206 FS. History–New 6-6-90, Formerly 4A-56.005.

## 69A-56.006 Manufactured Homes in Migrant Labor Camps.

Migrant Labor Camps using manufactured homes shall comply with NFPA 501A, Standard for Fire Safety Criteria for Manufactured Home Installations, Sites, and Communities, the edition as adopted in rule 69A-3.012, F.A.C.

Rulemaking Authority 633.104, 633.206(1)(b) FS. Law Implemented 633.104(1), 633.206(1)(b) FS. History–New 6-30-91, Amended 8-16-01, Formerly 4A-56.006.