# CHAPTER 69A-57

# UNIFORM FIRESAFETY STANDARDS FOR ADULT FAMILY CARE HOMES

# 69A-57.001 	Scope

# 69A-57.002 	Definitions

# 69A-57.003 	Standards of the National Fire Protection Association from NFPA 101 Adopted

# 69A-57.004 	Occupancy Capacity of Each AFCH

# 69A-57.005 	Evacuation Capability

# 69A-57.006 	Fire Exit Drills

# 69A-57.007 	Inspections

# 69A-57.008 	Cooking Equipment; Exception

## 69A-57.001 Scope.

Pursuant to section 633.206(1)(b), F.S., these rules apply to all new, existing, and proposed Adult Family Care Homes licensed in accordance with chapter 429, Part II, F.S.

Rulemaking Authority 429.73(2), 633.104(1) FS. Law Implemented 429.73(2), 633.206(1)(b) FS. History–New 2-7-01, Formerly 4A-57.001.

## 69A-57.002 Definitions.

As used in these rules:

(1) “AFCH” means adult family care home.

(2) “Agency” means the Agency for Health Care Administration.

(3) “AHJ” means the local authority having firesafety and fire prevention jurisdiction which employs or contracts with at least one firesafety inspector certified under chapter 633, F.S.

(4) “Department” means the Department of Elder Affairs.

(5) “Division” means the Division of State Fire Marshal of the Department of Financial Services.

(6) “NFPA” means the National Fire Protection Association.

(7) “Occupant” means a resident of the adult family care home other than the provider or the provider’s family.

(8) “Prompt” means not more than three minutes for an adult family care home and refers to the ability of a group to move reliably to a point of safety in a timely manner that is equivalent to the capacity of a household in a general population.

(9) “Provider” means the owner of the adult family care home.

(10) “Provider’s Family” means a person who is the father, mother, son, daughter, brother, sister, grandfather, grandmother, great-grandfather, great-grandmother, granddaughter, grandson, uncle, aunt, first cousin, nephew, niece, husband, wife, father-in-law, mother-in-law, son-in-law, daughter-in-law, brother-in-law, sister-in-law, stepfather, stepmother, stepson, stepdaughter, stepbrother, stepsister, half brother, or half sister of a provider as long as that person maintains his or her residence at the adult family care home.

(11) “Slow” means more than three minutes but not more than 13 minutes for an adult family care home and refers to the ability of a group to move reliably to a point of safety in a timely manner that is equivalent to the capacity of a household in a general population.

Rulemaking Authority 429.73(2), 633.104(1) FS. Law Implemented 429.73(2), 633.206 FS. History–New 2-7-01, Amended 11-29-01, Formerly 4A-57.002.

## 69A-57.003 Standards of the National Fire Protection Association from NFPA 101 Adopted.

The following portions of the National Fire Protection Association (NFPA) 101, the Code for Safety to Life from Fire in Buildings and Structures, known as the Life Safety Code, adopted in subsection 69A-60.004(1), F.A.C., apply to this rule chapter:

(1) All of Chapter 24, “One and Two Family Dwellings,” except Section 24-3.4, “Detection, Alarm and Communication Systems.”

(2) Sections 32.3.3.4.7, 32.3.3.4.8, and 32.3.3.5.5 only, of Chapter 32.

(3) Each AFCH which does not meet the evacuation capability of prompt, but which does meet an evacuation capability of slow, shall also comply with the requirements of Sections 32.2.3.5.1, 32.2.3.5.2, and 32.2.3.5.3, of Chapter 32, to be considered to have met the firesafety requirements under rule 69A-57.005, F.A.C. Sections 32.2.3.5.1, 32.2.3.5.2, and 32.2.3.5.3, Chapter 32 are adopted and incorporated by reference in subsection 69A-60.004(1), F.A.C.

Rulemaking Authority 429.73(2), 633.104(1) FS. Law Implemented 429.73(2), 633.206(1)(b) FS. History–New 2-7-01, Amended 11-29-01, Formerly 4A-57.003, Amended 6-26-17.

## 69A-57.004 Occupancy Capacity of Each AFCH.

Pursuant to subsection 58A-14.004(4), F.A.C., there shall be no more than five (5) residents in any AFCH. The maximum number of residents in any particular AFCH shall be determined by the agency in consultation with the AHJ. Pursuant to subsection 429.67(7), F.S., any relative who lives in the AFCH and who is a disabled adult or frail elder must be counted as a resident. Relative means a relative of the provider who is licensed to operate the home. If the agency has been notified in writing that there is no AHJ, the agency shall consult with an authorized representative of the division concerning resident capacity.

Rulemaking Authority 429.73(2), 633.104(1) FS. Law Implemented 429.67(7), 429.73(2), 633.206(1)(b) FS. History–New 2-7-01, Formerly 4A-57.004, Amended 6-26-17.

## 69A-57.005 Evacuation Capability.

(1) The evacuation capability for each AFCH shall be determined by a series of fire exit drills as “prompt” or “slow.”

(a) An evacuation capability of “prompt” shall measure the ability of a group to move to a point of safety outside the AFCH within a drill time of three minutes or less.

(b) An evacuation capability of “slow” shall measure the ability of a group to move to a point of safety outside the AFCH within a drill time of more than three minutes but less than 13 minutes.

(2) Subject to subsection (3), if the AFCH does not achieve an evacuation capability of “prompt” during the fire exit drill, a second fire exit drill must be performed within thirty (30) days of the fire exit drill in which the AFCH did not achieve an evacuation capability of “prompt.”

(3) If the AFCH does not achieve an evacuation capability of “prompt” during the first fire drill, but the AFCH does receive an evacuation capability of “slow,” and the AFCH is in compliance with Sections 32.2.3.5.1, 32.2.3.5.2, and 32.2.3.5.3, Chapter 32, NFPA 101, the AFCH shall be deemed to have met the required firesafety requirements.

(4) If the AFCH does not achieve an evacuation capability of “prompt” during the second fire exit drill, and does not comply with the requirements of subsection (3), the inspector shall notify the agency that the AFCH no longer meets the required safety requirements.

(5) During each fire exit drill, all residents must evacuate the building on their own or with staff assistance or any other available assistance, as needed.

Rulemaking Authority 429.73(2), 633.104(1) FS. Law Implemented 429.73(2), 633.206(1)(b) FS. History–New 2-7-01, Amended 11-29-01, Formerly 4A-57.005, Amended 6-26-17.

## 69A-57.006 Fire Exit Drills.

(1) A fire exit drill shall be conducted by each provider at each AFCH at least three (3) times per year to assure that the evacuation capability of the facility is “prompt.” Subject to subsection 69A-57.005(2), F.A.C., each fire exit drill shall be conducted at least 30 days after the previous fire exit drill. The AHJ is permitted to require an additional fire exit drill in conjunction with an annual firesafety inspection.

(2) The purpose of each fire exit drill is to familiarize each occupant with the procedures required for the safe, orderly, and expeditious exiting of the building or structure. All occupants shall exit the building or structure to a predetermined area of safety. The climate and weather conditions shall be taken into consideration when scheduling any fire exit drill.

(3) Each fire exit drill shall be conducted at an unexpected time and under varying conditions that may occur in the case of fires.

(4) Each fire exit drill shall be applicable to all occupants of the AFCH with emphasis on the safe, orderly, and expeditious exiting under proper discipline.

(5) Any occupant subject to a fire exit drill shall proceed to a predetermined location outside the building and remain there until all occupants are accounted for. Occupants shall be allowed to return to the building only when permitted by the person conducting the fire exit drill.

(6) The provider shall keep a record of each fire exit drill on Form DFS-K3-1437, (rev. 02/2017), Fire Exit Drill Records for Adult Family Care Homes, http://www.flrules.org/Gateway/reference.asp?No=Ref-08264, which is hereby adopted and incorporated into these rules by reference. Copies of the form may be obtained by writing to the Department of Financial Services, Division of State Fire Marshal, Bureau of Fire Prevention, 200 East Gaines Street, Tallahassee, Florida 32399-0342. The record shall list as a minimum:

(a) The date the drill was conducted.

(b) The time of day the drill was conducted.

(c) The amount of time, in minutes and seconds, that were required for all occupants to safely exit the building.

(d) Any unusual circumstance affecting the safe, orderly and expeditious exit from the building, which shall be in narrative or outline form.

(7) If the provider does not keep the record required by subsection (6), or keeps it in a manner that is incomplete, incorrect, or otherwise does not contain the required information, the fire exit drill will be presumed to have achieved an evacuation capability that does not meet the requirement of “prompt.” Another fire exit drill must be performed as soon as possible and the results correctly recorded. In addition, the firesafety inspector shall advise the agency that the AFCH is not maintaining compliance with the firesafety requirements for an AFCH.

(8) Any firesafety inspector or special firesafety inspector completing the required annual inspection is permitted to:

(a) Use the record for a determination of the evacuation capability of the facility; or

(b) Conduct his or her own fire exit drill.

Rulemaking Authority 429.73(2), 633.104(1) FS. Law Implemented 429.73(2), 633.206(1)(b) FS. History–New 2-7-01, Formerly 4A-57.006, Amended 6-26-17.

## 69A-57.007 Inspections.

(1) The firesafety inspector shall conduct a firesafety inspection for each AFCH prior to occupancy as an AFCH.

(2) The provider shall request from the AHJ a firesafety inspection within 30 days following receipt of notification of license renewal.

(3) The AHJ or the Division is permitted to require additional firesafety inspections.

(4) The provider shall be responsible for requesting all required firesafety inspections.

(5) Each required firesafety inspection shall be completed by the AHJ, where available.

(6) Any time there is no AHJ to perform a firesafety inspection, the provider shall notify the Division in writing. The Division shall inspect or cause the facility to be inspected in accordance with section 633.206, F.S.

(7) A firesafety inspector, or special state firesafety inspector, certified in accordance with chapter 633, F.S., shall complete each firesafety inspection.

Rulemaking Authority 429.73(2), 633.104(1) FS. Law Implemented 429.73(2), 633.206(1)(b) FS. History–New 2-7-01, Amended 11-29-01, Formerly 4A-57.007.

## 69A-57.008 Cooking Equipment; Exception.

Notwithstanding any previous construction or interpretation of any law, rule, or code provision, any time a single range or stove is used in an arrangement similar to that of a single family residence, the AFCH shall not be required to comply with NFPA 96, Standard for Ventilation Control and Fire Protection of Commercial Cooking Operations, as adopted in rule 69A-3.012, F.A.C.

Rulemaking Authority 429.73(2), 633.104(1) FS. Law Implemented 429.73(2), 633.206(1)(b) FS. History–New 2-7-01, Formerly 4A-57.008.