62-304.300 St. Marks River Basin TMDLs.

(1) Munson Slough Above Lake Munson. The Total Maximum Daily Load (TMDL) for Munson Slough is 400 counts/100mL for fecal coliform, and is allocated as follows:

(a) The Wasteload Allocation (WLA) for wastewater point sources is not applicable.

(b) The WLA for discharges subject to the Department’s National Pollutant Discharge Elimination System (NPDES) Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2006 period, will require a 31.6 percent reduction at sources contributing to exceedances of the criteria at Roberts Ave., and for the 2006 period, will require a 96.9 percent reduction at sources contributing to exceedances of the criteria at Springhill Road, and for the 1992 to 2007 period, will require a 91.5 percent reduction at sources contributing to exceedances of the criteria at Capital Circle S. W.

(c) The Load Allocation (LA) for nonpoint sources is to address anthropogenic sources in the basin such that in-stream concentrations meet the fecal coliform criteria which, based on the measured concentrations from the 2006 period, will require a 31.6 percent reduction at sources contributing to exceedances of the criteria at Roberts Ave., and for the 2006 period, will require a 96.9 percent reduction at sources contributing to exceedances of the criteria at Springhill Road, and for the 1992 to 2007 period, will require a 91.5 percent reduction at sources contributing to exceedances of the criteria at Capital Circle S.W.

(d)The Margin of Safety is implicit.

(e) While the LA and WLA for fecal coliform have been expressed as the percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream fecal concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(2) Upper Wakulla River. The nitrate TMDL to address the biological impairment is an in-stream monthly mean concentration of 0.35 mg/L and is allocated as follows:

(a) The WLA for wastewater sources is not applicable.

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is not applicable.

(c) The LAs for nonpoint sources are to address anthropogenic sources in the basin such that in-stream nitrate concentrations meet the TMDL target, which, based on the mean concentrations from the 2002-2007 period, will require a 56.2 percent reduction of nitrate at sources contributing to the observed biological impairment.

(d) The Margin of Safety is implicit.

(e) While the WLA and LAs for nitrate have been expressed as the concentration and percent reduction needed to attain the applicable Class III biology criterion, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream nitrate concentrations. However, it is not the intent of the TMDL to abate natural background conditions.

(3) Munson Slough Above Lake Munson. The dissolved oxygen TMDLs are 5-day biological oxygen demand (BOD5) of 2.00 mg/L, total nitrogen (TN) of 0.72 mg/L, and total phosphorus (TP) of 0.15 mg/L and are allocated as follows:

(a) The WLA for wastewater point sources is not applicable.

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the dissolved oxygen criterion and TMDL concentrations, which, based on the median concentrations from the 1973-2007 period, will require a 50 percent reduction for BOD5, an 8.35 percent reduction for TN, and a 17.53 percent reduction for TP at sources contributing to exceedances of the criterion and TMDLs.

(c) The LAs for nonpoint sources are to address anthropogenic sources in the basin such that in-stream concentrations meet the dissolved oxygen criterion and the TMDL concentrations, which, based on the median concentrations from the 1973-2007 period, will require a 50 percent reduction for BOD5, an 8.35 percent reduction for TN, and a 17.53 percent reduction for TP at sources contributing to exceedances of the criterion and TMDLs.

(d) The Margin of Safety is implicit.

(e) While the WLA and LAs for BOD5, TN, and TP have been expressed as the concentrations and percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream BOD5, TN, and TP concentrations. However, it is not the intent of the TMDL to abate natural background conditions.

(4) Lake Munson. The turbidity TMDL is 31 Nephelometric turbidity units (NTUs) and is allocated as follows:

(a) The WLA for wastewater point sources is not applicable.

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-lake concentrations meet the TMDL concentration, which, based on the median concentrations from the 1986-2007 period, will require a 31.9 percent reduction at sources contributing to exceedances.

(c) The LAs for nonpoint sources are to address anthropogenic sources in the basin such that in-lake concentrations meet the TMDL concentration, which, based on the median concentrations from the 1986-2007 period, will require a 31.9 percent reduction at sources contributing to exceedances of the TMDL.

(d) The Margin of Safety is implicit.

(e) While the WLA and LAs for turbidity have been expressed as the concentration and percent reduction needed to attain the applicable Class III criterion, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-lake turbidity concentration. However, it is not the intent of the TMDL to abate natural background conditions.

(5) Lake Munson. The dissolved oxygen and nutrient [Trophic State Index (TSI)] TMDLs are in-lake concentrations for BOD5 of 2.00 mg/L, TN of 0.765 mg/L, and TP of 0.044 mg/L and are allocated as follows:

(a) The WLA for wastewater sources is not applicable.

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-lake concentrations meet the dissolved oxygen criterion and the nutrient TMDL concentrations, which, based on the mean concentrations from the 2004-2008 period, will require a 50 percent reduction for BOD5, a 32.5 percent reduction for TN, and a 76.7 percent reduction for TP at sources contributing to exceedances.

(c) The LAs for nonpoint sources are to address anthropogenic sources in the basin such that in-lake concentrations meet the dissolved oxygen criterion and the TMDL concentrations, which, based on the mean concentrations from the 2004-2008 period, will require a 50 percent reduction for BOD5, a 32.5 percent reduction for TN, and a 76.7 percent reduction for TP at sources contributing to exceedances of the dissolved oxygen criterion and BOD5 and nutrients TMDL concentrations.

(d) The Margin of Safety is implicit.

(e) While the WLA and LAs for BOD5, TN and TP have been expressed as the concentrations and percent reductions needed to attain the applicable Class III criteria, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-lake BOD5, TN, and TP concentrations. However, it is not the intent of the TMDL to abate natural background conditions.

(6) Munson Slough Below Lake Munson. The dissolved oxygen TMDL is an in-stream concentration for BOD5 of 2.00 mg/L and is allocated as follows:

(a) The WLA for wastewater point sources is not applicable.

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream concentrations meet the dissolved oxygen criterion and BOD5 TMDL concentration, which, based on the mean concentration from the period 1986-2007, will require a 52.9 percent reduction for BOD5 at sources contributing to exceedances.

(c) The LAs for nonpoint sources are to address anthropogenic sources in the basin such that in-stream concentrations meet the dissolved oxygen criterion and the BOD5TMDL concentration, which, based on the mean concentrations from the 1986-2007 period, will require a 52.9 percent reduction for BOD5 at sources contributing to exceedances of the criteria.

(d) The Margin of Safety is implicit.

(e) While the WLA and LAs for BOD5 have been expressed as the concentration and percent reduction needed to attain the applicable Class III dissolved oxygen criterion, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream BOD5 concentrations. However, it is not the intent of the TMDL to abate natural background conditions.

(7) Munson Slough Below Lake Munson. The un-ionized ammonia impairment is addressed by reductions in total ammonia. The total ammonia TMDL is an in-stream concentration of 0.32 mg/L and is allocated as follows:

(a) The WLA for wastewater sources is not applicable.

(b) The WLA for discharges subject to the Department’s NPDES Municipal Stormwater Permitting Program is to address anthropogenic sources in the basin such that in-stream un-ionized ammonia concentrations meet the water quality criterion, which, based on the mean concentration from the period 1971-2007, will require a 33.3 percent reduction of total ammonia at sources contributing to exceedances.

(c) The LAs for nonpoint sources are to address anthropogenic sources in the basin such that in-stream un-ionized ammonia concentrations meet the water quality criterion, which, based on the mean concentrations from the 1971-2007 period, will require a 33.3 percent reduction of total ammonia at sources contributing to exceedances.

(d) The Margin of Safety is implicit.

(e) While the WLA and LAs for total ammonia have been expressed as the concentration and percent reduction needed to attain the applicable Class III un-ionized ammonia criterion, it is the combined reductions from both anthropogenic point and nonpoint sources that will result in the required reduction of in-stream un-ionized ammonia concentrations. However, it is not the intent of the TMDL to abate natural background conditions.

Rulemaking Authority 403.061, 403.067 FS. Law Implemented 403.061, 403.062, 403.067 FS. History–New 10-21-08, Amended 3-22-12, 6-7-13.