## 62-160.300 Laboratory Certification.

(1) Except as provided in subsections 62-160.300(2), (3), (4) and (5), F.A.C., or other Title 62 ruless, all laboratories generating environmental data for submission to the Department or for use in Department-regulated or Department-sponsored activities shall hold certification from the Florida Department of Health, Environmental Laboratory Certification Program (DOH ELCP). Such certification shall be for all matrix/test method/analyte(s) combinations being measured. The matrix of a sample is defined to be the condition under which the laboratory originally receives the sample, and shall be classified according to the Field of Accreditation Matrix groups defined by subsection 62-160.120(18), F.A.C.

(a) Certification shall be based on the matrix of the sample. The matrix of a sample is defined to be the condition under which the laboratory originally receives the sample, and shall be classified according to the Field of Accreditation Matrix groups defined by subsection 62-160.120(18), F.A.C.

(b) For laboratories reporting data for drinking water compliance, certification shall be for all matrix/text method/analyte(s) combinations being reported.

(c) For the non-potable water matrix, laboratories shall apply for and receive DOH ELCP certification in at least one method for each analytical technology/analyte combination being measured. The Department will accept any of the combinations certified by the DOH ELCP, according to Rule 64E-1.102, F.A.C., dated 1-24-05.

1. When a Department contract, order, permit or Title 62 rules requires a specific method to be reported, laboratories shall report only that method. Laboratories may report additional analytes not published in the reported method, if the applicable requirements in Rule 62-160.330, F.A.C. are met, and the laboratory is certified according to paragraph 62-160.300(1)(c), F.A.C.

2. Except as noted in sub-paragraph 62-160.300(1)(c)1., F.A.C., above, laboratories may report results by any method that is equivalent in technology to the method for which they hold certification, provided they are certified for the analyte that is reported. When laboratories report a method for which they do not hold certification, the laboratory shall document that all requirements of the reported method are met.

3. If a laboratory is required to provide data for an analyte for which, according to subsection 62-160.320(1), F.A.C., no method is published for the non-potable water matrix, or the published method for the non-potable water matrix does not meet required data quality objectives established by the Department for a project, but a method is published for the drinking water matrix, and the Department has recognized that the published drinking water method meets the data quality objectives for the Department project for which the method will be used according to subsection 62-160.320(1), F.A.C., the laboratory is not required to obtain certification for the analytical technology/analyte combination in the non-potable water matrix. However, the laboratory must be certified in the drinking water matrix for the reported test method/analyte combination.

(d) For all other matrices, laboratories shall apply for and receive certification for all matrix/test method/analyte combinations that are reported to the Department.

(2) To the extent possible, a laboratory must be certified as specified in subsection 62-160.300(1), F.A.C., before reporting results for a given matrix/analytical technology or test method/analyte combination. However, if a laboratory makes a written request to the Department to use a method that is not certified, the Department will allow a laboratory to begin using a method before the certification process is complete if the laboratory wishes to add an analyte to a matrix/analytical technology or test method combination that is already certified; or if the laboratory is certified for a specific matrix/analytical technology or test method/analyte combination and wishes to add the capability of analyzing samples using the same analytical technology or test method/analyte combination in a different matrix.

(a) The laboratory must have met all the requirements for certification except for the on-site visit by DOH ELCP inspectors. The laboratory must be prepared to provide to the Department copies of the relevant application, applicable performance test sample results and the initial demonstration of capability.

(b) The precision, accuracy and method detection limits generated by the laboratory must meet or exceed the project specific data quality objectives.

(c) The laboratory shall notify the Department of the status of its certification application within 5 business days of receiving notification by DOH ELCP of the certification status.

(3) Laboratory certification by the DOH ELCP is not required for the following test procedures when conducted for the purposes of drinking water compliance:

(a) Alkalinity;

(b) Bromide;

(c) Calcium;

(d) Chlorite (only at entrances to distribution systems);

(e) Specific conductance;

(f) Disinfectant residual (includes residual chlorine);

(g) Orthophosphate;

(h) pH;

(i) Silica;

(j) Specific ultraviolet absorbance;

(k) Temperature;

(l) Total organic carbon;

(m) Turbidity, or

(n) Any analytes in addition to those listed in paragraphs 62-160.300(3)(a) through 62-160.300(3)(m), F.A.C., above that are exempted from laboratory certification according to subsections 62-550.550(1) and 62-550.550(2), F.A.C., for the specific compliance applications described therein.

(o) The analytes exempted in paragraphs 62-160.300(3)(a) through 62-160.300(3)(n), F.A.C., above shall be analyzed according to all applicable requirements for analyses according to subsections 62-550.550(1) and 62-550.550(2), F.A.C., for the specific compliance applications described therein.

(p) In cases where the Department has a specific field testing method standard operating procedure (e.g., FT 1100 for pH, in DEP-SOP-001/01, which is incorporated by reference in subparagraph 62-160.800(1)(a)19., F.A.C.), the laboratory or authorized person, as described in Rule 62-550.550, F.A.C., shall follow the Department’s procedures. For all other analytes, a laboratory or authorized person, as described in Rule 62-550.550, F.A.C., shall only use test methods that are acceptable for drinking water compliance, as specified in Rule 62-550.550, F.A.C. and shall follow all requirements for calibration verification according to DEP SOP FT 1000 in DEP-SOP-001/01, which is incorporated by reference in subparagraph 62-160.800(1)(a)18., F.A.C.

(4) Except for drinking water compliance testing (see subsection 62-160.300(3), F.A.C.), laboratories are not required to be certified by the DOH ELCP when conducting the following test procedures:

(a) pH;

(b) Dissolved oxygen;

(c) Specific conductance;

(d) Temperature;

(e) Total residual chlorine (including free available chlorine);

(f) Transparency or light penetration;

(g) Salinity;

(h) Oxidation/reduction potential;

(i) Turbidity;

(j) Explosive gases (when monitoring for the Lower Explosive Limit);

(k) Sulfite (when performed at the sampling location);

(l) Sediment oxygen demand;

(m) Any other test with a specific holding time of fifteen minutes or less when performed at the sampling location; and,

(n) Any test in which the reported result is a calculation from the results of other tests for which the laboratory holds certification by the DOH ELCP. When conducting the analyses specified in paragraphs 62-160.300(4)(a) through (n), F.A.C., laboratories shall follow the applicable standard operating procedures in DEP-SOP-001/01 (March 31, 2008). If a method is not listed in DEP-SOP-001/01, the laboratory shall use an approved laboratory method as identified in Rule 62-160.320, F.A.C.

(5) Certification is not required for:

(a) Any analyses related solely to internal process control;

(b) Geochemical parameters and bacteriological tests conducted at the sampling location for the purposes of evaluating remediation activities;

(c) Those matrix/method/analyte combinations (such as taxonomic identification) that are not included in the DOH ELCP scope of accreditation; however, if the scope of accreditation is uncertain for a specified matrix/method/analyte combination, the Department shall refer the matter of scope of accreditation to the DOH ELCP for a determination;

(d) Research-oriented methods as described in Rule 62-160.600, F.A.C., or

(e) Methods approved for site-specific, limited-use purpose if such certification is specifically waived by the Department program for which the method will be used.

(f) Methods and procedures required to perform the Specific Oxygen Uptake Rate (SOUR) test, when performed by authorized persons according to Chapter 62-640, F.A.C.

(6) If the requirement for certification is only temporarily waived by the Department according to paragraph 62-160.300(5)(e), F.A.C., for expediency in order to meet specific Department project objectives, the laboratory shall apply for certification for the relevant tests and matrices specified in the waiver, if the Department has determined that use of the tests for long-term compliance with Department rules is necessary. In this case, the Department shall establish a deadline for applying for the certification.

(7) Even if certification is not required (see subsections 62-160.300(3), (4) and (5), F.A.C.), laboratory organizations shall follow the relevant Department-approved methods as provided in Rule 62-160.320, F.A.C., as applicable. In addition, the laboratory shall operate a quality assurance program consistent with the quality systems requirements of the TNI Standards in EL-V1-2009-ISO, which is incorporated by reference in paragraph 62-160.800(3)(b), F.A.C.

Rulemaking Authority 403.061, 403.0623, 403.0625, 403.863 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.803, 403.853 FS. History–New 1-1-91, Amended 2-4-93, 2-27-94, Formerly 17-160.300, Amended 3-24-96, 4-9-02, 6-8-04, 12-3-08, 7-30-14.