## 25-30.267 Record of Meter Tests.

(1) Each utility shall preserve the original records of all meter tests at least until same meter is performed or until the meter is retired by a later test.

(2) These records shall include:

(a) Sufficient information to identify the meter;

(b) The reason for the test;

(c) Date of test and reading of the meter;

(d) The computed accuracy before and after the repair; and

(e) Any other data taken at the time of the test which would permit the convenient checking of the test results.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.121(1)(a), 367.122 FS. History–New 9-12-74, Formerly 25-10.91, 25-10.091, Amended 11-10-86.