## 40D-4.301 Conditions for Issuance of Permits.

(1) In order to obtain a general, individual, or conceptual permit under this chapter or Chapter 40D-40, F.A.C., an applicant must provide reasonable assurance that the construction, alteration, operation, maintenance, removal or abandonment of a surface water management system:

(a) Will not cause adverse water quantity impacts to receiving waters and adjacent lands;

(b) Will not cause adverse flooding to on-site or off-site property;

(c) Will not cause adverse impacts to existing surface water storage and conveyance capabilities;

(d) Will not adversely impact the value of functions provided to fish and wildlife, and listed species including aquatic and wetland dependent species, by wetlands, other surface waters and other water related resources of the District;

(e) Will not adversely affect the quality of receiving waters such that the water quality standards set forth in Chapters 62-4, 62-302, 62-520, 62-522 and 62-550, F.A.C., including any antidegradation provisions of paragraphs 62-4.242(1)(a) and (b), subsections 62-4.242(2) and (3) and Rule 62-302.300, F.A.C., and any special standards for Outstanding Florida Waters and Outstanding National Resource Waters set forth in subsections 62-4.242(2) and (3), F.A.C., will be violated;

(f) Will not cause adverse secondary impacts to the water resources;

(g) Will not adversely impact the maintenance of surface or ground water levels or surface water flows established pursuant to Chapter 373.042, F.S.;

(h) Will not cause adverse impacts to a work of the District established pursuant to Section 373.086, F.S.;

(i) Is capable, based on generally accepted engineering and scientific principles, of being effectively performed and of functioning as proposed;

(j) Will be conducted by an entity with financial, legal and administrative capability of ensuring that the activity will be undertaken in accordance with the terms and conditions of the permit, if issued; and

(k) Will comply with any applicable special basin or geographic area criteria established pursuant to this chapter.

(2) If the applicant is unable to meet water quality standards because existing ambient water quality does not meet standards, the applicant shall comply with the requirements set forth in Section 3.2.4.5 of the Basis of Review.

(3) The standards and criteria contained in the Basis of Review, adopted by reference in Rule 40D-4.091, F.A.C., shall determine whether the reasonable assurances required by subsection 40D-4.301(1) and Rule 40D-4.302, F.A.C., have been provided.

(4) An activity which requires both an environmental resource permit, or a permit under Sections 373.414(11)-(16), F.S., and a proprietary authorization under Chapter 253 or 258, F.S., shall be subject to the requirements and procedures in Section 373.427, F.S., Chapters 18-20 and 18-21 and 62-312.065 and 62-343.075, F.A.C.

Rulemaking Authority 373.044, 373.113, 373.149, 373.171 FS. Law Implemented 373.042, 373.403, 373.413, 373.416, 373.426, 373.427 FS. History–New 10-5-74, Amended 12-31-74, 6-7-78, Formerly 16J-4.06(3), (4), (5), (6), (8), Amended 10-1-84, 6-2-85, 4-2-87, 3-1-88, 10-3-95, 10-16-96, 9-26-02.