## 69A-51.085 Accidents.

When an accident occurs involving a boiler located in a place of public assembly, the owner or user shall promptly notify the chief inspector by submitting a detailed report of the accident. In the event of personal injury or any explosion, notice shall be given immediately by calling (850)413-3645 or by email to Fire.Prevention@MyFloridaCFO.com, and neither the boiler, nor any parts thereof, shall be removed or disturbed before permission has been given by the chief inspector, except for the purpose of saving human life and limiting consequential damage.

Rulemaking Authority 554.103 FS. Law Implemented 554.103, 554.108, 554.109, 554.114, 554.115 FS. History–New 2-27-89, Formerly 4A-51.085, Amended 4-10-16.