65C-14.009 Ventilation and Lighting.

(1) The facility shall provide outside ventilation by means of windows, louvers, air conditioners, or mechanical ventilation in rooms used by children.

(2) The facility shall provide screens for each window and door used for outside ventilation.

(3) The facility shall locate light fixtures to provide for the comfort and safety of children. Classrooms, study areas, bathrooms and food service areas shall be adequately illuminated.

(4) All incandescent bulbs and fluorescent light tubes shall be protected with covers or shields.

(5) Hallways to bedrooms shall be illuminated at night.

Specific Authority 409.175 FS. Law Implemented 409.175 FS. History–New 7-1-87, Formerly 10M-9.018.