## 62-604.700 Placing Collection/Transmission Systems into Operation.

(1) The following requirements apply to collection/transmission systems permitted under the general permit and to collection/ transmission systems permitted under the individual permit.

(2) Upon completion of construction of the collection/transmission system, and before placing the facilities into operation for any purpose other than testing for leaks or testing equipment operation, the permittee shall submit to the appropriate district office, Form 62-604.300(8)(b), Request for Approval to Place a Domestic Wastewater Collection/Transmission System into Operation, effective November 6, 2003. Copies of this form and instructions may be obtained by writing to the Bureau of Water Facilities Regulation, Mail Station 3535, Department of Environmental Protection, Twin Towers Office Building, 2600 Blair Stone Road, Tallahassee, Florida 32399-2400. In addition, these forms are available at the Department’s district offices and on the Department’s website.

(3) New or modified collection/transmission facilities shall not be placed into service until the Department clears the project for use. The Department shall approve or deny the clearance within 10 business days after Department receipt of Form 62-604.300(8)(b) for a general permit, or within 30 business days for an individual permit.

Rulemaking Authority 403.814(1) FS. Law Implemented 403.061, 403.087, 403.088, 403.814 FS. History–New 11-27-89, Amended 6-4-92, Formerly 17-604.700, Amended 12-26-96, 11-6-03.