## 64E-4.006 Maximum Permissible Exposure (MPE).

(1) No individual shall be exposed to levels of laser or collateral radiation higher than are specified in ANSI or 21 C.F.R. 1040 and Rule 64E-4.016, F.A.C. Exposure levels should be maintained as far below the MPE values as practicable.

(2) In those cases where no MPE is shown for particular wavelengths and pulse durations, all exposure shall be prohibited.

Rulemaking Authority 501.122(2) FS. Law Implemented 501.122(2)(a), (d) FS. History–New 9-6-84, Formerly 10D-89.116.