## 64E-5.220 Radioactive Quantities.

(1) Listed below are the quantities of radioactive materials requiring consideration of the need for an emergency plan for responding to a release as required in Rule 64E-5.219, F.A.C.:

Material	Release Fraction	Curies

Actinium 228	.001	4,000

Americium 241	.001	2

Americium 242	.001	2

Americium 243	.001	2

Antimony 124	.01	4,000

Antimony 126	.01	6,000

Barium 133	.01	10,000

Barium 140	.01	30,000

Bismuth 207	.01	5,000

Bismuth 210	.01	600

Cadmium 109	.01	1,000

Cadmium 113	.01	80

Calcium 45	.01	20,000

Californium 252	.001	9

Carbon 14	.01 (non CO2)	50,000

Cerium 141	.01	10,000

Cerium 144	.01	300

Cesium 134	.01	2,000

Cesium 137	.01	3,000

Chlorine 36	.5	100

Chromium 51	.01	300,000

Cobalt 60	.001	5,000

Copper 64	.01	200,000

Curium 242	.001	60

Curium 243	.001	3

Curium 244	.001	4

Curium 245	.001	2

Europium 152	.01	500

Europium 154	.01	400

Europium 155	.01	3,000

Gadolinium 153	.01	5,000

Germanium 68	.01	2,000

Gold 198	.01	30,000

Hafnium 172	.01	400

Hafnium 181	.01	7,000

Holmium 166m	.01	100

Hydrogen 3	.5	20,000

Iodine 125	.5	10

Iodine 131	.5	10

Indium 114m	.01	1,000

Iridium 192	.001	40,000

Iron 55	.01	40,000

Iron 59	.01	7,000

Krypton 85	1.0	6,000,000

Lead 210	.01	8

Manganese 56	.01	60,000

Mercury 203	.01	10,000

Molybdenum 99	.01	30,000

Neptunium 237	.001	2

Nickel 63	.01	20,000

Niobium 94	.01	300

Phosphorus 32	.5	100

Phosphorus 33	.5	1,000

Polonium 210	.01	10

Potassium 42	.01	9,000

Promethium 145	.01	4,000

Promethium 147	.01	4,000

Radium 226	.001	100

Ruthenium 106	.01	200

Samarium 151	.01	4,000

Scandium 46	.01	3,000

Selenium 75	.01	10,000

Silver 110m	.01	1,000

Sodium 22	.01	9,000

Sodium 24	.01	10,000

Strontium 89	.01	3,000

Strontium 90	.01	90

Sulfur 35	.5	900

Technetium 99	.01	10,000

Technetium 99m	.01	400,000

Tellurium 127m	.01	5,000

Tellurium 129m	.01	5,000

Terbium 160	.01	4,000

Thulium 170	.01	4,000

Tin 113	.01	10,000

Tin 123	.01	3,000

Tin 126	.01	1,000

Titanium 44	.01	100

Vanadium 48	.01	7,000

Xenon 133	1.0	900,000

Yttrium 91	.01	2,000

Zinc 65	.01	5,000

Zirconium 93	.01	400

Zirconium 95	.01	5,000

Any other beta-gamma emitter	.01	10,000

Mixed fission products	.01	1,000

Mixed corrosion products	.01	10,000

Contaminated equipment beta-gamma	.001	10,000

Irradiated material, any form other than

solid noncombustible	.01	1,000

Irradiated material, solid noncombustible	.001	10,000

Mixed radioactive waste, beta-gamma	.01	1,000

Packaged mixed waste, beta-gamma	.001	10,000

Any other alpha emitter	.001	2

Contaminated equipment, alpha	.0001	20

Packaged waste, alpha	.0001	20

(2) For combinations of radioactive materials, consideration of the need for an emergency plan is required if the sum of the ratios of the quantity of each radioactive material authorized to the quantity listed for that material in this section exceeds one.

(3) Waste packaged in Type B containers as specified in Rule 64E-5.101, F.A.C., does not require an emergency plan.

Rulemaking Authority 404.022, 404.042, 404.051, 404.061, 404.071, 404.081 FS. Law Implemented 404.022, 404.042, 404.051(1), (4), (6), (9), (10), 404.061(2), (3), 404.071(1), 404.081(1) FS. History–New 5-12-93, Formerly 10D-91.327.