## 64E-5.804 Limitations.

(1) The registrant shall not permit any person to act as a particle accelerator operator until such person:

(a) Has been instructed in accelerator radiation safety and has demonstrated an understanding thereof;

(b) Has received copies of and instructions in this part and the applicable requirements of Parts III and IX, pertinent registration conditions and the registrant’s operating and emergency procedures, and has demonstrated an understanding thereof; and

(c) Has demonstrated competence to use the particle accelerator, related equipment and survey instruments which will be employed in his assignment.

(2) The radiation safety officer shall have the authority to terminate the operations at a particular accelerator facility if such action is deemed necessary to protect health and minimize danger to public health and safety or property.

Rulemaking Authority 404.051, 404.22 FS. Law Implemented 404.022, 404.051(1), (4), 404.22(1) FS. History–New 7-17-85, Formerly 10D-91.906.