61G15-33.004 Design of Lighting Systems.

(1) Lighting systems convert electrical energy into light. Items to be included in the lighting design and analysis are: Average illuminance, Equivalent spherical illuminance, Uniformity rations, Visual comfort probability, special purpose lighting, impact of light intrusion, trespass and safety and the requirements of the Florida Energy Efficiency Code, Chapter 13, Florida Building Code.

(2) Electrical Engineering documents for lighting systems shall, at a minimum, indicate the following:

(a) Lighting fixture performance specifications and arrangements.

(b) Emergency Lighting, egress and exit lighting.

(c) Exit Lighting.

(d) Lighting control and circuiting.

(e) Calculated values to demonstrate compliance with the Florida Energy Code for Building Construction.

Specific Authority 471.008, 471.033(2) FS. Law Implemented 471.033 FS. History–New 5-19-93, Formerly 21H-33.004, Amended 11-13-08.