## 69A-52.003 Application.

The State Legislature mandates that the State Fire Marshal shall perform the following functions for which fees shall be charged:

(1) Inspect each state-owned building on a recurring basis, as defined in Rule 69A-3.011, F.A.C., and inspect high-hazard state-owned occupancies at least annually for compliance with applicable firesafety standards for state-owned buildings.

(2) Perform tests on all components of any electronic fire warning system, smoke detection system and any pressurized air-handling unit.

(3) Inspect any new, renovated, alteration or change of occupancy of any existing state-owned or state-leased building.

(4) Review plans for all new construction, renovation, alteration, or change of occupancy of any existing state-owned or state-leased building.

(5) A request to review plans pursuant to Section 633.218, F.S., shall be submitted on Form DFS-K3-1973, “Application for Plan Review,” rev. 03/12, adopted herein and incorporated by reference.

(6) A request for a building site inspection shall be submitted on Form DFS-K3-1528, “Request for Building Site Inspection,” rev. 03/12, adopted herein and incorporated by reference.

Rulemaking Authority 633.104, 633.218 FS. Law Implemented 633.218 FS. History–New 6-18-91, Amended 9-6-01, Formerly 4A-52.003, Amended 11-22-09.