## 60H-1.013 Fire Code Compliance in Leased Space.

(1) Any building to be leased by a state Agency shall comply with the Uniform Fire Safety Standards of the Division of the State Fire Marshal.

(2) The Department shall withhold approval of any proposed Lease until the facility or construction or renovation plan complies with the Uniform Fire Safety Standards of the Division of the State Fire Marshal.

(3) The cost of all modification or renovations made for the purpose of bringing leased property, other than a pool facility, into compliance with uniform fire safety standards shall be borne by the lessor.

Rulemaking Authority 255.249, 255.25 FS. Law Implemented 255.25(5), 281.02 FS. History–New 4-25-79, Formerly 13D-7.091, Amended 3-18-86, Formerly 13M-1.013, Amended 4-29-10.