40B-3.504 Location.

Wells shall be located so as not to pose a threat of contamination to the water resource. Minimum spacing between wells and surface waters or sanitary hazards such as septic tanks, drainfields, or cesspools shall be as specified by Section 381.272, F.S., and the respective rules of the Department or DOH. Wells shall not be located on lands below the 100-year flood elevation of the Suwannee River system defined as the 100-year floodplain of the Suwannee, Alapaha, Withlacoochee, Santa Fe, and Aucilla Rivers when an alternative to such location exists on the property.

Specific Authority 373.044, 373.171, 373.309 FS. Law Implemented 17-101.040(12)(a)4., F.A.C.; 373.306, 373.308, 373.309, 373.113 FS. History–New 7-1-85, Amended 4-4-91, 6-22-99.