- 69A-46.035 Standards of the National Fire Protection Association to be Complied With.

The standards of the National Fire Protection Association which are adopted in rule chapter 69A-3, F.A.C., including the editions as adopted therein, shall be complied with by all those holding certificates of competency as fire protection system contractors pursuant to the provisions of chapter 633, F.S.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.306, 633.312 FS. History–New 12-21-88, Amended 7-19-89, 8-1-90, 10-20-93, 10-2-96, 6-8-98, 11-21-01, Formerly 4A-46.035, Amended 7-19-16.