## 5J-21.002 Disposition of Below Standard Gasoline, Kerosene, Diesel Fuels No. 1-D and No. 2-D, and Fuel Oils No. 1 and No. 2, and Alternative Fuels.

(1) Gasoline. All gasoline found not meeting any standard adopted in this rule chapter, or by reason of containing water, sediment, or suspended matter, shall be withheld from sale to the public under the provisions of this section in accordance with the procedures in subsections 5J-21.001(8) and (9), F.A.C.

(2) Kerosene. All kerosene found not meeting any standard adopted in this rule chapter, or by reason of containing visually determinable water, sediment, or suspended matter, shall be withheld from sale to the public under the provisions of this section in accordance with the procedures in subsections 5J-21.001(8) and (9), F.A.C.

(3) Diesel Fuels No. 1-D and No. 2-D. All Diesel Fuel Oils No. 1-D and No. 2-D found not meeting any standard adopted in this rule chapter, or by reason of containing water, sediment, or suspended matter, shall be withheld from sale to the public under the provisions of this section in accordance with the procedures in subsections 5J-21.001(8) and (9), F.A.C.

(4) Fuel Oils No. 1 and No. 2. All Fuel Oils No. 1 and No. 2 found not meeting any standard adopted in this rule chapter, or by reason of containing water, sediment, or suspended matter, shall be withheld from sale to the public under the provisions of this section in accordance with the procedures in subsections 5J-21.001(8) and (9), F.A.C.

(5) Alternative Fuels. All alternative fuels found not meeting any standard adopted in this rule chapter, or by reason of containing water, sediment, or suspended matter, shall be withheld from sale to the public under the provisions of this section in accordance with the procedures in subsections 5J-21.001(8) and (9), F.A.C.

Rulemaking Authority 525.14, 570.07(23) FS. Law Implemented 525.035, 525.037, 525.16 FS. History–New 7-1-71, Amended 7-1-73, Repromulgated 12-31-74, Amended 2-13-80, Formerly 5F-2.02, Amended 5-3-90, 8-13-92, 1-24-93, 11-29-94, 6-1-06, 5-6-08, 1-3-10, 1-7-15, Formerly 5F-2.002, Amended 11-15-20.