- 69A-21.301 Scope.

The provisions of Part III of this chapter shall apply to licensed fire equipment dealers when installing, maintaining, recharging, or otherwise servicing pre-engineered systems.

Rulemaking Authority 633.104 FS. Law Implemented 633.104 FS. History–New 10-18-67, Formerly 4A-21.56, 4A-21.056, Amended 2-7-89, 10-20-93, Formerly 4A-21.301.