- 69A-21.402 Criteria for Recognition by the State Fire Marshal as a “Nationally Recognized Testing Laboratory” for Portable Fire Extinguishers or Pre-engineered Systems.

(1) The applicant testing laboratory shall comply in general with the definitions and requirements contained in subsection 69A-3.009(9), F.A.C., and 29 CFR 1910.7, dated July 1, 1992, which is hereby adopted and incorporated by reference.

(2) The applicant laboratory shall maintain a follow-up inspection program to confirm that the manufacturer is providing the controls, inspections, and tests necessary to assure that all current manufactured extinguishers will meet the laboratory’s testing standards. This follow-up inspection shall occur no less than once each six months for the first two years and once each year thereafter.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.306(1)(b), 633.308(2), 633.314(2) FS. History–New 2-7-89, Amended 10-20-93, Formerly 4A-21.402.