- 69A-54.007 Stair Treads.

Stair treads in correctional facilities shall be in compliance with Chapters 22 or 23 of NFPA 101, as applicable, the edition as adopted in rule 69A-3.012, F.A.C.

Rulemaking Authority 633.104 FS. Law Implemented 633.104(1), 633.206(2) FS. History–New 4-4-95, Amended 11-21-01, Formerly 4A-54.007.