Notice of Variances and Waivers

DEPARTMENT OF ENVIRONMENTAL PROTECTION

RULE NOS.:	RULE TITLES:

62-610.466	Aquifer Storage and Recovery (ASR)

62-610.563	Waste Treatment and Disinfection

The Department of Environmental Protection’s Northwest District hereby gives notice:

On September 29, 2014, it issued an order granting a variance with conditions from subparagraph 62-610.466(9)(a)1 and sub-subparagraph 62-610.563(3)(b)1.a, F.A.C., to Destin Water Users, Inc., for its George F. French Water Reclamation Facility based on its demonstration that the rule would present a substantial hardship or violate the principles of fairness, and that the purpose of the underlying statute would otherwise be met.

BACKGROUND: Destin Water Users, Inc., filed the petition for a variance from subparagraph 62-610.466(9)(a)1 and sub-subparagraph 62-610.563(3)(b)1.a, F.A.C., on August 8, 2014, requesting the Total Trihalomethanes compliance values be limited as an annual average 0.080 mg/L. The petition was assigned OGC No. 14-0442 and PA File No. FLA010194-020-DWF/VO. Notice of receipt of the petition was published in the Florida Administrative Register on August 14, 2014.

A copy of the Order may be obtained by contacting: Bill Evans, Department of Environmental Protection, Wastewater Permitting Section, Northwest District, 160 W. Governmental Street, Suite 308, Pensacola, Florida 32502, bill.evans@dep.state.fl.us, (850)595-0584.