Notice of Variances and Waivers

WATER MANAGEMENT DISTRICTS

South Florida Water Management District

NOTICE IS HEREBY GIVEN that on February 10, 2023, the South Florida Water Management District (SFWMD), received a petition for variance from Bravoflorida, LLC (Petitioner), 10002 Princess Palm Ave, Ste 106, Tampa Florida 33619, for a project known as Burger King #15194 Redevelopment, located in Lee County, Florida (Variance Application No. 230210-37500/Permit No. 36-108411-P, regarding Application No. 230208-37464/Permit No. 36-107417-P which is currently under review). The Petition seeks a variance from Section 3.4 of the “Environmental Resource Permit Applicant’s Handbook Volume II: For Use Within the Geographic Limits of the South Florida Water Management District”, incorporated by reference in Rules 40E-4.091 and 62-330.010, F.A.C., which requires building floors to be at or above the 100-year flood elevation. Petitioner requests approval of a constructed commercial building with a finished floor elevation of 23.77 feet, which is 0.18 feet below the 100-year peak design high water elevation of 23.95 feet for the master drainage pond. Any interested person or other agency may submit written comments on the Petition within 14 days after publication of this notice.

A copy of the Petition for Variance or Waiver may be obtained by contacting: Regulation Division, during the normal business hours of 8:00 a.m. to 5:00 p.m., Monday through Friday, except legal holidays, at 3301 Gun Club Road, West Palm Beach, FL 33406, by telephone at (561)682-6911, by e-mail at epermits@sfwmd.gov, or, by accessing the District’s website (www.sfwmd.gov) using the Application/Permit Search on the ePermitting page.