Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION
Division of Hotels and Restaurants

NOTICE IS HEREBY GIVEN that on December 6, 2006, the Division of Hotels and Restaurants received a Petition for a Routine Variance for subsection 61C-1.004(1), paragraph 61C-1.004(2)(a), subsection 61C-4.010(6) and 61C-4.010(7). Florida Administrative Code, from the Spanish Bakery located in St. Augustine. The above referenced Florida Administrative Code address water, plumbing, waste, physical facilities, and public bathrooms. The specific code sites mentioned above reference the 2001 FDA Food Code chapters five and six. Specifically Petitioner is requesting to use alternative methods for sewage disposal, use a portable handsink, and public bathroom facilities.

This variance request was approved December 12, 2006, and is contingent upon the Petitioner using 3 gallon or greater potable water tank and utilizing a wastewater holding tank that is at least 15% larger than the potable water holding tank. Water and wastewater holding tanks are to be emptied at least twice a day. Petitioner must adhere strictly to the following operating procedures: supply for potable water tank must be from an approved source with written documentation provided; sanitize the fresh water tank at least once every 24 hours; sanitize the wastewater holding tank with bleach or other approved sanitizer. Approval is also contingent upon the Petitioner notifying guests to the location of the public bathroom facilities by directional signage, ensuring public bathrooms are functional, has hot and cold running water at all times, provided with soap and an approved method to dry hands, kept in a clean and sanitary manner, and available during all hours of operation. Seating shall not exceed seventy-eight (78) as noted on the submitted application and plans. The curb sink for cleaning and obtaining water to clean floors shall be available during all hours of operation. All provisos shall be met prior to final licensing. Any violation of the variance is the equivalent of a violation of the rule and may result in a recession of the variance, and subject the Petitioner to disciplinary sanctions as enumerated in Section 509.261, Florida Statutes.