Notice of Declaratory Statement

DEPARTMENT OF COMMUNITY AFFAIRS
Division of Housing and Community Development

NOTICE IS HEREBY GIVEN THAT the Florida Building Commission has issued an order disposing of the petition for declaratory statement filed by Mr. Lee Arsenault, SR., on behalf of the Vintage Group Inc. (Petitioner) on April 8, 2008. The following is a summary of the agency’s disposition of the petition: It was assigned the number DCA08-DEC-112. The Commission determined that sections R303.3 and R303.5 of the Building Code, Residential Volume (2004 as amended 7/07) do not allow a bathroom exhaust vent pipe to be terminated into a vented attic, and do not allow pointing, aiming, or similarly directing such an exhaust pipe at an opening in the envelope of the building, such as an attic louver, grille, ridge vent, eave vent, or soffit vent.

A copy of the Order Disposing of the Petition for Declaratory Statement may be obtained by contacting: Paula P. Ford, Commission Clerk, Department of Community Affairs, 2555 Shumard Oak Boulevard, Tallahassee, Florida 32399-2100.