WASTEWATER PERMIT

APPLICATION FORM 2A, PERMIT FOR DOMESTIC WASTEWATER TREATMENT AND REUSE OR DISPOSAL FACILITY

FACILITIES

Incorporated by reference in subsection 62-620.910(2), F.A.C.

WASTEWATER PERMIT APPLICATION FORM 2A

APPLICATION FOR A

DOMESTIC WASTEWATER FACILITY PERMIT

## TABLE OF CONTENTS

Page

INSTRUCTIONS FOR WASTEWATER APPLICATION FORM 2A

General Instructions	2AI-3

Section 1. Applicant and Facility Description	2AI-3

Section 2. Reuse or Effluent Disposal System Description Treatment Facility Description	2AI-6

- Discharges to Surface Waters (including wetlands)	2AI-6

- Reuse and Land Application Systems	2AI-9

- Effluent Ground Water Disposal and Reuse of Reclaimed Water by Underground Injection	2AI-1110

Section 3. 4.	Scheduled Improvements and Schedules of Implementation	2AI-1210

Section 4. Section 5.Industrial Wastewater Contributions	2AI-12 11

Section 5.  Additional Information Required for Permit Renewals	2AI-13

Section 6. Biosolids Treatment 	2AI-14 13

Section 7. Additional Information Required for Biosolids Treatment Residuals/Septage Management Facilities	2AI-14 13

Section 8. Documentation Submitted	2AI-1513

Section 9. Certifications	2AI-18 15

FORM 2A

Application for a Domestic Wastewater Facility Permit	2A-19

INSTRUCTIONS FOR FORM 2A

APPLICATION FOR A

DOMESTIC WASTEWATER FACILITY PERMIT

## GENERAL INSTRUCTIONS

- Application for a domestic wastewater treatment facility permit, reuse or disposal system permit, limited wet weather discharge permit, biosolids treatment residuals/septage management facility permit, or any combination thereof shall be made using this form and DEP Form 62-620.910(1). The appropriate number of copies of this form and DEP Form 62-620.910(1), with supporting documentation, and a check for the appropriate application fee made payable to the Department of Environmental Protection shall be submitted with this application as required by Rule 62-620.310, Florida Administrative Code (F.A.C.).

- Unless otherwise specified in the detailed instructions, each applicable item must be completed in full in order to avoid delay in processing. To indicate that each item has been considered, enter "NA" for not applicable, where a particular item does not fit the circumstances or characteristics of your facility.

- All information must be typed or printed in ink.

- Dates must be entered in MM/DD/YY format.

- Some items in this form require narrative explanation. For this purpose, attach a separate sheet entitled "Additional Information." Where a separate sheet is used, identify the name of the applicant, the activity, and the section and item number of the form to which it refers. All other documents required by this application must be similarly identified.

- Permit applications must be filed with the DEP district office or delegated local program, as appropriate, for the county in which the wastewater facility or activity is located. A list of DEP district offices and delegated local programs can be found on DEP’s website at   https://floridadep.gov/water/water-compliance-assurance/content/wastewater-contacts.

- Submit this completed form and supporting documentation and the application fee to the wastewater program of the appropriate DEP district office or local delegated program. Electronic submittal is preferred and may be available at the DEP Business Portal http://www.fldepportal.com/go/. To locate the appropriate DEP district office, go to: https://floridadep.gov/comm/comm/content/districts. All applications submitted after December 21, 2028, shall be submitted electronically.

## SECTION 1. APPLICANT AND FACILITY DESCRIPTION

- Application and Facility Type

  - Application Type - Indicate whether this application is for construction of new facilities, for substantial modification of existing facilities, or for renewal of an existing facility permit. As defined in Rule 62-620.200, F.A.C., substantial modification means a modification to the facility which is reasonably expected to lead to a substantially different environmental impact, or which involves a substantially different type of wastewater or biosolids residuals treatment, reuse, or disposal system. A substantial modification includes changes in the characteristics of the effluent, reclaimed water, or biosolids residuals, changes to the location of the discharge, or changes in the permitted capacity of the treatment, reuse, or disposal system.

Application for minor modification of existing facilities shall be made on DEP Form 62-620.910(9). A minor modification means a modification to the facility which is not expected to lead to a substantially different environmental impact, or which will not involve a substantially different type of wastewater or biosolids residuals treatment, reuse, or disposal system. A minor modification does not substantially change the characteristics of the effluent, reclaimed water, or biosolids residuals nor does it change the permitted capacity of the treatment, reuse, or disposal system. It includes construction to replace a unit operation or process structure. It also includes construction to unit operation or mechanical equipment which is not associated with routine facility maintenance.

Facility Type - Indicate whether this application is for a wastewater treatment facility, a reuse or disposal system, a limited wet weather discharge as defined in Rule 62-610.860, F.A.C., a biosolids residuals /septage management facility or some combination of the above. (i.e., If the application is for permit renewal of both treatment and disposal facilities, check mark an "X" by the box for "Wastewater word Treatment Facility" and mark an "X" by the box for words "Reuse or Disposal System". If the application is for construction of treatment facilities only, check mark an "X" by the box word for "Wastewater Treatment Facility" only.)

- Treatment Facility Information - Enter the requested information for the treatment facility which produces the effluent, reclaimed water, or biosolids residuals.

  - Provide the name of the facility as it is officially or legally referred to in order to distinguish it from similar entities, if any, in the same geographical area. Do not use colloquial names as a substitute for the official name.

  - Enter the facility's DEP identification number if the application is for an existing facility (i.e., either for permit renewal or modification). If the application is for a new facility, enter "NA" for the facility's DEP identification number. Enter the address where the facility is located as well as the mailing address of the facility. Enter the ownership status of the permittee.

  - Enter the address where the facility is located, the facility telephone number, and email. Provide the latitude and longitude for the facility, when the coordinates were determined, and the method used to obtain the coordinates

  - Enter the ownership type for the facility.

  - Enter the facility contact information and the affiliation of the facility contact.

  - Enter the facility mailing address or indicate if it is the same as the facility’s physical address.

  - Enter the year the facility began operation.

- Applicant (or Authorized Representative)

  - Indicate if the applicant is different from the facility contact. If no, skip to item c.

  - Enter the legal name of the applicant or authorized representative. The applicant or authorized representative is the person, agency, firm, or other entity which owns or is responsible for the wastewater facilities. Enter the name of the applicant as it is officially or legally referred to. Do not use colloquial names as a substitute for the official name. Next, enter the complete mailing address, email, and telephone number of the applicant or authorized representative. This often will not be Enter the name of a contact, including a title, telephone number and email same address as is used to designate. Indicate whether the applicant is location of the facility owner, operator, or both wastewater facilities. When identifying whether the applicant is the owner or operator of the facility, please note that the operator of the facility is the legal entity that controls the facility’s operation, rather than the plant or site manager.

  - Indicate whether correspondence regarding the facility should be directed to the facility or applicant.

- Existing Permits, Permit Applications, Orders and Notices

  - If applicable, provide the expiration date of the current DEP domestic wastewater facility permit.

  - Provide the permit numbers for all existing environmental permits from Federal, State, and local agencies related to the facility or the proposed project. If a permit has been applied for but not yet received, provide the date of application.

  - For all currently effective orders and notices issued by federal, state, and local agencies, provide the name of the issuing agency and the effective date of the order or notice.

- Indian Country

  - Indicate if the facility is located in Indian Country.

  - Indicate if the facility discharges to a receiving water that flows through Indian Country.

- Project Name and Description - For a new facility or a modification to an existing facility, provide the name and a general description of the project. The description should include the reason the project is needed and its relationship to existing facilities.

- Municipalities or Areas Served Collection System Information

  - For each collection system that provides flow to this facility, enter the names of the municipality or area served by the collection system municipalities or. Include unincorporated connector districts and areas served by satellite collection systems this facility and, for each, enter its ownership (municipal, private, etc.), and. Satellite collection systems are sanitary sewers owned or operated by another entity that conveys sewage or industrial wastewater to the facility. For each collection system, enter the best estimate of the actual population served at the time of this application., a collection system identification number (if known), and whether the applicant owns or maintains the collection system, or both (check both “own” and “maintain.”). If there is another sewer authority discharging into this facility, give the name of that authority and the actual population it serves. Do not include the names of the municipalities or areas served by that sewer authority. Enter the total population served by the facility.

  - For all satellite collection systems, identify the collection system and provide the information on the owner, the latitude and longitude of the connection to the facility system, and contact information for the satellite collection system.

  - Indicate if the facility’s collection system power outage contingency plan and the facility’s collection system action plan are attached.

  - For applicants with a design flow greater than or equal to 0.1 million gallons per day, specify the estimated average daily flow rate of inflow and infiltration into the treatment facility in gallons per day and explain any steps underway or planned to minimize inflow and infiltration

- Design and Flow Rates

  - Enter the current design capacity, the proposed incremental design capacity, and the proposed total design capacity of the treatment facilities in million gallons per day (mgd).

  - Enter the basis for the current design capacity, the proposed incremental design capacity, and the proposed total design capacity (e.g., annual average daily flow, monthly average daily flow, three-month average daily flow) for the treatment facilities.

  - Enter the facility’s actual annual average daily flow rate and maximum daily flow rate for each of the previous three years in million gallons per day (mgd). Each year’s data must be based on a 12-month time period, with the 12th month of “this year” occurring no more than three months prior to this application submittal.

#### Summary of Wastewater Reclaimed Water Reuse or and Effluent Disposal

#### Complete the summary table for the facility’s methods of reuse or disposal. Enter the number of disposal points for each discharge to surface waters, the number of different types of reuse or land application systems used by the treatment facility, and the number of different underground injection well facilities used by the treatment facility.  Reuse or land application systems are considered different types if they are permitted under different parts of Chapter 62-610, F.A.C. (i.e., slow rate restricted public access, rapid-rate, public access reuse system, etc.)  Underground injection well systems are considered different facilities if they have different physical locations or distinct DEP identification numbers.

For each method of reuse or disposal listed, provide the total design capacity and the basis of the design flow (e.g., annual average daily flow, maximum monthly average daily flow, three-month average daily flow). Intermittent discharges, such as seasonal or periodic discharge points from lagoons, holding ponds, etc., should be included in the flows provided in this item. Additional intermittent discharge information should be provided in Section  2 3.A, Item 9.  A separate Section 2 3.A., 2 3.B., or 2 3.C. must be completed for each reuse or disposal system identified

#### Complete the summary table for the total number of effluent discharge points to surface waters by type (only applicable to facilities with surface water discharges).

#### For facilities subject to the requirement to eliminate non-beneficial surface water discharges in section 403.064, F.S., provide a brief summary of the facility’s plan to comply with the requirement and the progress to date.

- Flows to Another Wastewater Facility

  - Indicate whether If your facility discharges treated or untreated wastewater to another treatment facility (including a municipal waste transport or collection system), provide the information requested in ). If no, skip to Item 11 8. If your facility sends wastewater to more than one treatment facility, provide the requested following information for each treatment facility on additional sheet(s). Attach the additional sheet(s) to your application form.

  - Describe how the wastewater is transported to the other treatment facility. Also

  - Indicate if the wastewater is transported by a party other than the applicant. If yes, provide the requested information name and mailing address of the company that transports the wastewater including a your facility’s wastewater to this treatment facility as well as the name, phone number, and title of the contact for person at the transportation company.

  - Provide the facility information for the name and mailing address of each treatment facility that receives wastewater from your facility as well as the name, phone number, and title of the contact person at the treatment facility that receives your facility’s wastewater. Provide the facility identification number for the treatment facility that receives wastewater from your facility. Indicate the average daily flow, in million gallons per day, that is sent from your facility to the other treatment facility. If the exact flow to the other facility is not known, provide an estimate best estimates.

- Variance Requests Residuals– Indicate if the any variances are being requested or renewed for the facility and provide a brief description of the variance(s).

- Contractor Responsibilities – Indicate if any of the facility’s operational or maintenance activities associated with the wastewater treatment and effluent quality are the responsibility of a contractor. If yes, provide information on the contractor(s) in the table.

- Biosolids Use or Disposal

  - Enter the average amount of biosolids residuals generated by the facility. annually in dry tons per year. This amount should be zero for biosolids treatment facilities Residuals Management Facilities that are not also wastewater treatment facilities.

  - Indicate whether the facility receives biosolids residuals from other facilities for further treatment and disposal. If yes,  and provide the estimated annual quantity received. If the facility does receive biosolids from other facilities (i.e., source facilities), indicate if the written agreement with each source facility is attached and complete Sections 6 and Section 7 of this form.

  - Indicate if this facility accepts septage. If yes, please describe how the septage is received, managed, treated, and if applicable, stored.

  - Indicate if this facility accepts grease waste/food establishment sludge. If yes, describe how the grease waste is received, managed, treated, and if applicable, stored.

  - Indicate if a copy of the facility’s biosolids storage plan is attached.

  - For each method of biosolids residuals use or disposal listed, enter the number of sites or number of receiving facilities and the average amount of biosolids residuals used or disposed of per year. The total amount of biosolids residuals used or disposed of should equal the total amount of biosolids residuals generated and received.

- If the biosolids method of use is land application, an Agricultural Use Plan or Dedicated Site Plan should be attached for each site. If the residuals are landfilled, incinerated, or transported to another treatment facility, the name, DEP identification number, and address, and contact information for of the receiving facility should be listed. Identify the treatment processes used by the receiving facility. Indicate if a copy of the facility’s written agreement with the receiving wastewater facility or biosolids treatment facility is attached and provide a brief description of the receiving facility’s treatment process and its use or disposal method.

#### Permits and Applications -

  - If applicable, provide the expiration date of the current National Pollutant Discharge Elimination System permit.

  - If applicable, provide the expiration date of the current DEP permit for this facility.

  - For all currently effective orders and notices issued by Federal, State, and local agencies, provide the name of the issuing agency and the effective date of the order or notice.

## SECTION 2. TREATMENT FACILITY DESCRIPTION

This section includes specific information about the treatment facilities. Complete a separate Section 2 for each current or proposed method of reuse or disposal identified in Section 1, Item 7 for which different levels of treatment are provided. The 4-digit serial numbers which are established in Sections 3. A.1., B.1., and C.1. and which correspond to the treatment facility description should be entered at the top of each page of this section.

#### Flow –

  - Enter the current design capacity, the proposed incremental design capacity, and the proposed total design capacity in million gallons per day.

  - annual average daily flow, maximum monthly average daily flow, three-month average daily flow) for the treatment facilities.

  - Enter the annual average daily flow rate, in million gallons per day, that your facility actually treated this year and each of the past two years for days that your facility actually discharges. Each year’s data must be based on a 12-month time period, with the 12th month of “this year” occurring no more than three months prior to this application submittal.

Enter the maximum daily flow rate, in million gallons per day, that your facility received this year and each of the past two years.

- Design Treatment Levels - At a minimum, enter the range of pH and the 5-day CBOD and the TSS effluent concentrations and percent removals for which the plant is designed. Also provide the basis for the effluent concentrations (i.e., annual average, monthly average, and weekly average as defined in Chapter 62-620, F.A.C.). Design data for additional parameters may be required based on additional treatment requirements established in accordance with Department rules for reclaimed water or effluent disposal.

- Disinfection Level Provided - Indicate the level of disinfection provided as specified in Rule 62-600.440, F.A.C. For the high-level alternative, see Rules 62-600.440(5)(g) and (h), F.A.C. Also, if the facility disinfects by chlorination and the discharge is to surface waters, indicate whether dechlorination is provided.

#### Residuals Treatment –

  - Indicate which class criteria the residuals meet after treatment. For example, if the residuals will be distributed and marketed, Class AA should be checked and the residuals should meet the criteria in Rule 62-640.850, F.A.C.

  - Describe treatment processes used at your facility to reduce pathogens in sewage sludge. Give the Class A or B pathogen reduction method alternative number, if known.

  - Check any vector attraction reduction options that are used at your facility.

  - Describe any treatment processes used at your facility to reduce vector attraction properties of sewage sludge.

  - If this is an existing facility, complete the table in Section 2, Item 4.e of the form or attach the information separately. If the residuals will meet different class criteria, provide the information for each class on separate pages.

- Facility Reliability Class

  - Indicate the class of reliability provided by the treatment facility. Reliability shall be provided in accordance with Rule 62-600.400, F.A.C, as described in the EPA's 1974 publication entitled Design Criteria for Mechanical, Electric, and Fluid System and Component Reliability, MCD-05. If other equivalent reliability is provided, the equivalent reliability features should be described in the preliminary design report or on a separate sheet entitled "Additional Information.”

  - For Type I and II biosolids treatment/septage management facilities, provide a brief description of reliability features that help ensure the continued and timely treatment of all biosolids, septage, and other materials the facility accepts and has the responsibility to treat.

## SECTION 2 3. REUSE OR EFFLUENT DISPOSAL SYSTEM DESCRIPTION

This section includes specific information required for the reuse or effluent disposal system. Complete a separate and appropriate Section 2 3.A., 2 3.B., or 2 3.C. for each current or proposed method of reuse or effluent disposal identified in Section 1, Item 7. Separate descriptions of each reuse or effluent disposal system are required even if the discharge or reuse system originates at the same treatment facility.

## SECTION 2 3. A. DISCHARGES TO SURFACE WATERS (including wetlands)

- Discharge Serial Number and Name - Enter the Assign a 4-digit DEP discharge serial number and name beginning with D001for each point of discharge identified in Section 1, Item 7. If this is a new Discharge serial numbers must be consecutive for each additional discharge point, enter “new” and described; hence, the name or description of the new point of discharge second.  Enter the serial number or “new” would be D002, the third D003, etc. Enter this number at the top of each page of Section 3.A., as applicable

- Discharge Location - Provide the name of the county, the name of the street, the name of city or town, and zip code (if applicable), and the name of the street where the point of discharge is located. If the discharge is not located on a named street, provide a description of the point of discharge. Provide the latitude and longitude of State the precise location where the effluent from the discharge reaches the waterway. If the discharge is to a dry waterway, give the point where the discharge enters the waterway. Also, provide the date the coordinates were determined and the method used to obtain the coordinates.

- Design Capacity of the Outfall - For the outfall identified in Item 1 of this section, provide the current design capacity, the proposed incremental design capacity, and the proposed total design capacity in million gallons per day (mgd) to three decimal places.

- Basis of Design Flow - Enter the basis for the current design capacity, the proposed incremental design capacity, and the proposed total design capacity (e.g., annual average daily flow, maximum monthly average daily flow, three-month average daily flow) for the outfall.

- Description of Treatment

  - Specify the highest level of treatment provided for the discharges from the outfall (i.e., secondary, advanced, or other). If other, please describe.

At a minimum, enter the range of pH, the 5-day carbonaceous biological oxygen demand, the total suspended solids, the total nitrogen, and the total phosphorus effluent concentrations and percent removals for which the treatment facilities are designed. Also, provide the statistical

- Basis for Effluent Limitations - Indicate how and when the effluent limitations were established for this discharge. Technology Based Effluent Limitation (TBEL) means a minimum wastewater treatment requirement, established by the Department, based on treatment technology. The minimum treatment requirements may be set at levels more stringent than that which is necessary to meet water quality standards of the receiving waterbody. TBELs for domestic wastewater treatment facilities are established in Chapter 62-600, Parts II and III. Water Quality Based Effluent Limitation (WQBEL) means an effluent limitation, which may be more stringent than a TBEL, that has been determined necessary by the Department to ensure that water quality standards in a receiving body of water will not be violated. WQBELs are established in accordance with the provisions of Chapter 62-650, F.A.C.

  - Design data for additional parameters may be required based on additional treatment requirements established in accordance with DEP rules for reclaimed water or effluent disposal.

#### Description of Disinfection

#### Provide a description of the type of disinfection used for the effluent or reclaimed water discharged through the outfall. If the disinfection type varies by season, please describe. If the facility disinfects by chlorination, indicate whether dechlorination is provided. Otherwise, check “NA”.

#### Indicate the level of disinfection provided as specified in Rule 62-600.440, F.A.C, or other DEP rules. For the high-level alternative, see Rules 62-600.440(6)(e) and (f), F.A.C. If other, please specify.

#### Description of Receiving Waters for Permitted Feature

  - Provide the name of the waterbody as designated on a USGS map of the area. If the discharge is to an unnamed tributary, state and provide the name of the first body of water fed by that tributary which is named on the map (e.g., unnamed ditch to Vaughan Creek; unnamed ditch to Serpent River, where Serpent River is the first waterbody that is named on the map and is reached by the discharge).

  - Indicate whether the receiving waters are fresh or marine/brackish.

  - Indicate the class of the receiving waterbody as defined in Chapter 62-302, F.A.C., and whether the receiving waterbody is an Outstanding Florida Water (OFW) or an Outstanding National Resource Water (ONRW). If yes, name the OFW or ONRW and locate on a USGS map. Also, indicate whether the facility discharges to a receiving water that is either in Indian Country or that is upstream from (and eventually flows through) Indian Country.

  - If known, provide the name of the watershed in which the receiving water is located. If known, also provide the 14-digit watershed code assigned to this watershed by the U.S. Soil Conservation Service.

  - If known, provide the name of the State Management/River Basin into which this outfall discharges. If known, also provide the 8-digit hydrologic cataloging unit code assigned by the U.S. Geological Survey.

  - If known and if the water body is a river or stream, provide the acute and chronic critical low flow in cubic feet per second (cfs). If you are unsure of these numbers, the U.S. Geological Survey may be able to give them to you or you may be able to get these numbers from prior studies.

  - Provide Give the total hardness of the receiving stream at critical low flow, in milligrams per liter of CaCO3, if applicable.

- Outfall Information - If the discharge is through an outfall that extends beyond the shoreline or is below the mean low water line, complete this item. If no, enter "NA".If not, enter "NA" in the “Description of outfall and diffuser” text box. Indicate whether the outfall is equipped with a diffuser. Provide a description of the wastewater discharge outfall and diffuser, including the diffuser type when applicable. Describe the construction materials for the outfall. Indicate the distance of the outfall from the shore, the diameter of the outfall, the discharge depth below water surface, and the receiving water bottom depth below water surface. The discharge depth below water surface and the receiving water bottom depth below water surface should be provided for mean flow conditions.

- Surface Water Improvement and Management (SWIM) – Answer Items a. through d. pertaining to any applicable SWIM plans for the waterbody to which the facility discharges.

- Additional Information Required for Intermittent or Periodic Discharges - For each seasonal or periodic discharge identified in Section 1, Item 7, provide the frequency of the discharge. If the discharge is intermittent, from a holding pond, lagoon, etc., give the actual or approximate number. Also, provide the average duration and average volume of the discharge per incidence, and identify the months during the year when the discharge normally occurs. If the seasonal discharge is a limited wet weather discharge permitted in accordance with Rule 62-610.860, F.A.C., complete Item 1110 of this section.

- Additional Information Required for Limited Wet Weather Discharges Permitted in Accordance with Rule 62- 610.860, F.A.C. - Answer Items a. through f. if you are applying for a limited wet weather discharge under Rule 62-610.860, F.A.C. Information requirements in support of a limited wet weather discharge are contained in Rule 62-610.860, F.A.C. If all conditions specified in Rule 62-610.860, F.A.C., are met, a Water Quality Based Effluent Limitation (WQBEL) will not be needed for this discharge. For limited wet weather discharges permitted in accordance with Rule 62-610.860, F.A.C., a simulation of operation of the reuse, storage, and limited wet weather discharge system for an average rainfall year shall be included in the preliminary design report in addition to the information required by Rule 62-610.860(2), F.A.C. Also, a description of the gauging method and the facilities that will be used to measure stream flow in the receiving waterbody upstream of the point of discharge shall be included in the report. Any measurement of stream flow shall be in accordance with DEP Standard Operating Procedure FT 1800, Field Measurement of Stage, Surface Water Velocity, and Discharge (Flow) and Computation of Streamflow.  should be included in the report. The gaging station should be located on a USGS map.

- Additional Information Required for Wetland Discharges - If the discharge is to a wetland, complete this item. Chapter 62-611, F.A.C., contains regulations for discharge of domestic wastewater to wetlands.

- Effluent Testing Information - Enter the requested effluent testing information in the table provided. Applicants must provide data from a minimum of three samples taken within four and one-half years prior to the date of the permit application. Values must be representative of the seasonal variation in the discharge from the each outfall or represent best engineering estimates for proposed treatment or disposal systems. Existing data may be used, if available, in lieu of sampling done solely for the purpose of this application. DEP The Department may require additional samples, as appropriate, on a case-by-case basis. All existing data that is collected within four and one-half years of the application must be included in the pollutant data summary. If, however, the applicant samples for a specific pollutant on a monthly or more frequent basis, it is only necessary, for such pollutant, to summarize all data collected within one year of the application. For facilities that have not been in operation for one year, data reported should represent the existing period of record with a note to that effect.

Sampling schedules, locations, and methodology shall be as specified in Part IV of Chapter 62-600 Rule 62-601.500, F.A.C.  Sampling and testing methods shall be in accordance with Rule 62-601.400, 62-620.610(18), F.A.C. Applicants should use methods that enable pollutants to be detected at levels adequate to meet water quality standards. Where no approved method can detect a pollutant at the water quality-based standards level, the most sensitive approved method should be used. If the applicant believes that an alternative method should be used (e.g., due to matrix interference), the applicant should obtain prior approval from DEP The Department. If an alternative method is specified in the existing permit, the applicant should use that method unless otherwise directed by DEP The Department. Where no approved analytical method exists, an applicant may use a suitable method but must provide a description of the method.  For the purposes of the application, “suitable method” means a method that is sufficiently sensitive to measure as close to the water quality-based standard as possible.

Indicate the method used for each pollutant in the “Analytical Method” column of the pollutant tables. If a method has not been approved for a pollutant for which you are providing data, you may use a suitable method to measure the concentration of the pollutant in the discharge and provide a detailed description of the method used or a reference to the published method. The description must include the sample holding time, preservation techniques, and the quality control measures used. In such cases, indicate the method used and attach to the application a narrative description of the method used.

The applicant shall should provide the method detection limit (MDL) and practical quantification limit (PQL). If applicable All, analytical results shall must be reported with using the actual numeric values determined by the analysis. In other words, even where analytical results are below the detection or quantitation level of the method used, the actual data should be reported, rather than reporting qualifier code “U” (non-detect” (“ND”) or “I” (between the MDL or PQL). “zero” (“0”). Because the endpoint of the method has also been reported along with the test results, the Department will be able to determine if the data are in the “non-detect” or “below quantitation” range. For any dilutions made and any problems encountered in the analysis, the applicant should attach an explanation and any supporting documentation with the application. For GC/MS, report all results found to be present by spectral confirmation (i.e., quantitation limits or detection limits should not be used as a reporting threshold for GC/MS).

Total recoverable metals are measured from unfiltered samples using EPA methods specified in 40 CFR Part 136.3. A digestion procedure is used to solubilize suspended materials and destroy possible organic metal complexes. The method measures dissolved metals plus those metals recovered from suspended particles by the method digestion.

#### WET Testing – Indicate if whole effluent toxicity (WET) testing is required by the existing permit for the facility. If yes, attach the results of all WET testing to the application.

Each applicant required to perform WET testing must provide results of a minimum of four quarterly tests for a year, from the year preceding the permit application, or the results from four tests performed at least annually in the 4.5-year period prior to the application, provided the results show no appreciable toxicity using a safety factor determined by the NPDES permitting authority. Applicants must conduct tests with multiple species (no less than two species; e.g., fish, invertebrate, plant) and test for acute or chronic toxicity, depending on the range of receiving water dilution. See 40 CFR 122.21(j)(5)(v) for further details.

#### Additional Effluent Testing Application  Information for Applicants with a Design Flow Greater Than or Equal to 0.1 mgd

Effluent Testing Data. Applicants that discharge to waters of the US must provide effluent testing data for the listed parameters. Provide the indicated effluent testing information for the each outfall through which effluent is discharged. All information reported must be based on data collected through analysis conducted using 40 CFR Part 136 methods. In addition, this data must comply with quality assurance/quality control (QA/QC) requirements of 40 CFR Part 136 and other appropriate QA/QC requirements for standard methods for analytes not addressed by 40 CFR Part 136. At a minimum, effluent testing data must be based on at least three pollutant scans and must be no more than four and one-half years old.

136. At a minimum, effluent testing data must be based on at least three pollutant scans and must be no more than four and one-half years old.

Facilities that do not use chlorine for disinfection, do not use chlorine elsewhere in the treatment process, and have no reasonable potential to discharge chlorine in their effluent may delete chlorine from the table.

  - Inflow and Infiltration. Estimate the average daily flow rate of inflow and infiltration in gallons per day and steps the facility is taking to minimize inflow and infiltration.

  - Operation/Maintenance Performed by Contractor(s). If a contractor carries out any operational or maintenance aspects associated with wastewater treatment or effluent quality at this facility, provide the name, mailing address, and telephone number of each such contractor. Also provide a description of the responsibilities of the contractor. Attach additional pages if necessary.

- Expanded Effluent Testing Data:  for Applicants with a Design Flow Greater Than or Equal to 1.0 mgd or Required to Have a and Pretreatment Program Treatment Works - If the treatment facility works has a design flow greater than or equal to 1.0 mgd or it has (or is required to have) a pretreatment program, or is otherwise required to provide the data, then provide effluent testing data for the listed pollutants. Provide the indicated effluent testing information and any other information required for each outfall through which effluent is discharged. All information reported must be based on data collected through analyses conducted using 40 CFR Part 136 methods. In addition, these data must comply with QA/QC requirements of 40 CFR Part 136, the analytical and other appropriate QA/QC requirements for standard methods, and the Florida Department of Health, Environmental Laboratory Certification Program (DOH ELCP), as required for analytes not addressed by Rule 62-160.300, F.A.C 40 CFR Part 136. Indicate in the blank rows provided below any data you may have on pollutants not specifically listed in this form. At a minimum, effluent testing data must be based on at least three pollutant scans and must be no more than four and one-half years old.

## SECTION 2 3. B. REUSE AND LAND APPLICATION SYSTEMS

- Reuse or Land Application System Serial Number and Name - Enter the Assign a 4-digit DEP serial number and name beginning with R001 for each type of reuse or land application system identified in Section 1, Item 7. If this is a new Reuse or land application system, enter “new” and the name or description of the new serial numbers must be consecutive for each additional reuse or land application system described; hence, the second reuse or land application system serial number would be R002, the third R003, etc. Enter this number at the top of each page of Section 3. B.

- Reuse or Land Application System Location - Provide the name of the county, the name of the street, the name of the city or town and zip code (if applicable), and the name of the street where the reuse or land application system is located. If the reuse or land application system is not located on a named street, provide a description of the location of the reuse or land application system. Provide the latitude and longitude for the centroid of the reuse or land application site. Also, provide the date the coordinates were determined, and the method used to obtain the coordinates.

- Flow

  - Design Capacity of the Reuse or Land Application System - For the reuse or land application system identified in Item 1 of this section, provide the current design capacity, the proposed incremental design capacity, and the proposed total design capacity in million gallons per day (mgd) to three decimal places.

  - Basis of Design Flow - Enter the basis for the current design capacity, the proposed incremental design capacity, and the proposed total design capacity (e.g., annual average daily flow, maximum monthly average daily flow, three-month average daily flow) for the reuse or land application system.

  - Enter the actual annual average daily flow rate for the reuse or land application system in million gallons per day. The data must be based on a 12-month time period, with the 12th month occurring no more than three months prior to this application submittal.

- Design Treatment Levels – At a minimum, enter the range of pH, the 5-day carbonaceous biological oxygen demand, and the total suspended solids effluent concentrations and percent removals for which the treatment facilities are designed. Also, provide the basis for the effluent concentrations (i.e., annual average, monthly average, and weekly average as defined in Chapter 62-620, F.A.C.). Design data for additional parameters may be required based on additional treatment requirements established in accordance with DEP rules for reclaimed water or effluent disposal.

- Disinfection Level Provided – Indicate the level of disinfection provided as specified in Rule 62-600.440, F.A.C., or other DEP rules.

- Is land application continuous or intermittent? – Indicate whether the application of reclaimed water or effluent is continuous or intermittent.

- Underdrains and Perimeter Ditches

  - Indicate whether the reuse or land application system is underdrained.

  - Indicate whether perimeter ditches are used and, if so, whether they will be excavated to a depth which will intersect the seasonal high ground water table or the ground water mound during any portion of the year.

- Type of Reuse or Land Application System – Check the type of reuse or land application system used.

- Application Areas and Rates - For each reuse or land application site used by this reuse or land application system, the treatment facility provide the area irrigated, the average application rate, and the site capacity. List major users (greater than or equal to 0.1 mgd), such as golf courses, separately. Locate all areas or sites receiving reclaimed water along with the overall reuse service area on the USGS map provided under Section 8., Item 1.c.

- Additional Information Required for Reuse Systems Permitted Under Part III of Chapter 62-620, F.A.C.

  - Check the box next to each type of area irrigated with reclaimed water from the Part III reuse system. If other types of areas are irrigated, not identified by the check boxes, please specify.

  - Check the box next to each other type of use of reclaimed water for the Part III reuse system. If reclaimed water is used in ways not identified by the check boxes, please specify.

  - Indicate how many hours per day, seven-days per week, an operator is or will be on-site at the wastewater treatment plant. If the treatment plant is or will be staffed by an operator less than 24 hours per day, describe the additional levels of reliability included within the treatment or reuse systems. See Rule 62-610.462, F.A.C.

  - If this application is for renewal of a permit, list the dates on which the operating protocols (as described in Rule 62-610.463, F.A.C.) were submitted to DEP and the corresponding dates of DEP’s approvals during the last five years.

  - For each site where edible crops are or will be irrigated with reclaimed water, describe the crops grown; the type of application system used; provisions for crop washing and for processing, if any; and provisions for control of public access, if any. See Rule 62-610.475, F.A.C.

## SECTION 2 3.C. EFFLUENT GROUND WATER DISPOSAL AND REUSE OF RECLAIMED WATER BY UNDERGROUND INJECTION

If the proposed project includes effluent ground water disposal or reuse of reclaimed water by underground injection, application for construction or operation of the injection well shall be made on DEP Form 62-528.900(1). Application for treatment facilities for the injection well shall be made on this form.

- Underground Injection Well Facility Serial Number and Name - Enter the Assign a  4-digit DEP serial number and name beginning with U001 for each underground injection well facility identified in Section 1, Item 9. If this is a new 7. Underground injection well, enter “new” and the name or description of the new facility serial numbers must be consecutive for each additional underground injection well facility described; hence, the second underground injection well facility. Enter the serial number “new”  would be U002, the third U003, etc. Enter this number or at the top of each page of Section 3. C., as applicable.

- Underground Injection Well Facility Location - Provide the name of the county, the name of the street, the name of city or town, and zip code (if applicable), and the name of the street where the underground injection well facilities are located. If the underground injection well facilities are not located on a named street, provide a description of the location of the facilities. Provide State the latitude and longitude of the precise location of the underground injection well facilities. Also, provide the date the coordinates were determined and the method used to obtain the coordinates.

- Underground Injection Well Facility DEP Permit Identification Number or Permit Application Number - Enter the DEP permit identification number for each underground injection well facility identified in Section 1, Item 97. If a DEP permit identification number has not been assigned, enter the permit application number for the underground injection well facilities.

- Design Capacity of the Underground Injection Well Facility - Flow

  - For the underground injection well facilities identified in Item 1 of this section, provide the current design capacity, the proposed incremental design capacity, and the proposed total design capacity in million gallons per day (mgd) to three decimal places.

  - Basis of Design Flow Enter the basis for the current design capacity, the proposed incremental design capacity, and the proposed total design capacity (e.g., annual average daily flow, maximum monthly average daily flow, three-month average daily flow) for the injection well facilities.

  - Enter the actual annual average daily flow rate for the injection well facilities in million gallons per day. The data must be based on a 12-month time period, with the 12th month occurring no more than three months prior to this application submittal.

- Design Treatment Levels – At a minimum, enter the range of pH, the 5-day carbonaceous biological oxygen demand, and the total suspended solids effluent concentrations and percent removals for which the treatment facilities are designed. Also, provide the basis for the effluent concentrations (i.e., annual average, monthly average, and weekly average as defined in Chapter 62-620, F.A.C.). Design data for additional parameters may be required based on additional treatment requirements established in accordance with DEP rules for reclaimed water or effluent disposal.

- Disinfection Level Provided – Indicate the level of disinfection provided as specified in Rule 62-600.440, F.A.C., or other DEP rules.

- Classification of Ground Water – Indicate the type of ground water the facility injects or plans to inject effluent or reclaimed water to.  For injection to G-II ground water, the total dissolved solids (TDS) concentration determination shall be made at the point of injection and will not consider TDS in contiguous ground waters. For injection projects having a zone of discharge, the engineering report shall include characterization of TDS concentrations at the point of injection and within the zone of discharge. The methods used to make the TDS characterization shall be described.

- Continuous or Intermittent – Indicate whether injection is continuous or intermittent.

- Type of Injection Well System – Indicate the type of injection well system.

## SECTION 34. SCHEDULED IMPROVEMENTS AND SCHEDULES OF IMPLEMENTATION

Provide the information requested for any scheduled improvements to the wastewater facilities, whether uncompleted or proposed and whether developed by the applicant (i.e., self-imposed capital improvements program) or imposed by local, Federal, or State agencies or by court action. Include only those improvements that will affect the wastewater treatment, effluent quality, or design capacity of your treatment facility works (such improvements may include regionalization of treatment facility works). If the wastewater facilities have more than one implementation schedule, either because of different levels of authority imposing different schedules (Item 1.b) or staged construction of separate operational units (Item 1.c), submit a separate Section 34 for each one.

#### Improvements Required or Scheduled

  - Discharge Serial Numbers, Reclaimed Water Reuse and Land Application System Serial Numbers, and Underground Injection Well Facility Serial Numbers Affected - List the discharge serial numbers, reuse or land application system serial numbers, and underground injection well facility serial numbers assigned in Section 23 that are covered by this implementation schedule.

  - Indicate Authority Imposing Requirement - Check the appropriate item indicating the authority imposing the improvement requirement implementation schedule.

  - Briefly describe the scheduled improvement. Submit a separate Section 3 for each improvement if there is more than one improvement required or scheduled

- Implementation Schedule and Actual Completion Dates - Indicate, as accurately as possible, scheduled and actual completion dates. For improvements imposed by local, Federal, or State agencies or by court action, provide the dates imposed by the compliance schedule and any actual dates of completion, as applicable. For self- imposed capital improvement programs, provide, at a minimum, the planned and actual completion dates for completion of final plans and specifications, begin construction, begin reuse or disposal, and operational level attained. A description of the implementation dates follows.

  - Preliminary Plans Complete – The date the preliminary engineering report is to be completed.

  - Final Plans and Specifications Complete – The date the detailed plans and specifications are to be completed.

  - Financing Complete – The date all financing arrangements are to be completed.

  - Site Acquired – The date the land to be used for the treatment works is to be acquired.

  - Begin Construction - The date construction is scheduled to begin.

  - End Construction - The date construction is scheduled to be completed.

  - Begin Reuse or Disposal Discharge - The date the treatment facility or reuse or disposal system is scheduled to be placed into operation.

  - Operational Level Attained - The date the effluent or reclaimed water level is scheduled to comply with the final reclaimed water or effluent limitations.

- Appropriate Permit/Clearances Obtained – Indicate whether the appropriate permit/clearances concerning other Federal/State requirements have been obtained and briefly explain your response.

## SECTION 4 5. INDUSTRIAL WASTEWATER CONTRIBUTIONS

Unless a public utility provides an affirmative demonstration that its domestic wastewater treatment facilities have no significant industrial users (SIUs), a public utility is required to establish that meet any of the criteria in a. through c. below must develop a pretreatment program in accordance with Chapter 62-625, F.A.C.,Any facility owned or operated by a public utility, as defined in Rule 62-625.200, F.A.C., (or combination of facilities operated by under the same utility) with a total design flow greater than 5 million gallons per day and receiving following conditions:

- The public utility receives pollutants from industrial users which pass through or interfere with the operation of the wastewater treatment facilities facility or are otherwise subject to pretreatment standards;

- The public utility discharges to surface waters of the State or is required to implement a pretreatment program in accordance with Chapter 62-610, F.A.C., or 40 CFR parts 146.15 and 146.16; and Any facility owned or operated by a public utility

- The public utility owns or operates one or more wastewater treatment facilities with a total design flow greater than 5 million gallons per day (mgd). DEP shall also require that a public utility that owns or operates one or more wastewater treatment facilities with a design flow of 5 mgd million gallons per day or less,  to establish a pretreatment program if it the Department finds that the nature or volume of the industrial influent causes or contributes to, treatment process upsets, violations of wastewater treatment facility effluent limitations, contamination of biosolids domestic wastewater residuals, or other circumstances require requiring a pretreatment program in order to prevent interference with the wastewater treatment facility or pass through; and

- Any facility providing reclaimed water to public access areas in accordance with Chapter 62-610, F.A.C, unless the facility provides an affirmative demonstration that there are no significant industrial users discharging into the facility.

If a facility identified as needing a pretreatment program does not have an approved pretreatment program, the Department shall include a compliance schedule in their permit for the development of a program meeting the requirements of Chapter 62-625, F.A.C.

Each domestic wastewater treatment facility is required to complete Items 3. through 8. of this section a separate Section 5 for each significant industrial user as defined in Rule 62-625.200, F.A.C., discharging wastewater into the domestic wastewater facility. It is the responsibility of the applicant to obtain the required information on any significant industrial user of the facility. Actual data should be provided if available. If actual data is not available, provide Section 5 should be marked "interim" and a best estimate should be provided with a statement indicating the amount of time required to provide the actual information. Filing the permit application should not be delayed beyond the filing deadline for completion of Section 5. However, any missing information is to be submitted when it becomes available. If certain of the requested information does not apply, it should be marked "NA".

- Does the treatment facility have, or is subject to, an approved pretreatment program? – Indicate whether or not the treatment facility has, or is required to have, an approved pretreatment program.

- Provide the number of each of the following types of industrial uses that discharge to the treatment facility – Provide the number of non-categorical significant industrial users and the number of categorical industrial users (CIUs).

- Significant Industrial User Information Provide the information for the significant industrial user. Attach separate sheets for additional significant industrial users Give the name and the address that designates the location of the facility.

- Description of Industrial Processes Affecting or of Contributing to the SIU’s Discharge - Describe the actual process(es) (rather than simply listing them) at the SIU that affect or contribute to the SIU’s discharge. For example, when in describing a metal finishing operation, include such information as how the product is cleaned prior to finishing, what type of plating baths are in operation (e.g., nickel, chromium), how paint is applied, and how the product is polished. Attach additional sheets if necessary.

- List the Principal Product(s) and Raw Material(s) Affecting or Contributing to the SIU’s Discharge – List principal products that the SIU generates, and the raw materials used to manufacture the products that affect or contribute to the SIU’s discharge.

- Flow Rate – “Process wastewater” means any water that, during manufacturing or processing, comes into direct contact with or results from the production or use of any raw material, intermediate product, finished product, byproduct, or waste product. Indicate the average daily volume, in gallons per day, of the total wastewater flow, process wastewater flow, and non-process wastewater flow that the SIU discharges into the collection system. Specify whether the discharges are continuous or intermittent.

- Pretreatment Standards – Indicated whether the SIU is subject to local limits or categorical pretreatment standards. “Local limits” are enforceable local requirements developed by treatment facilities to address Federal standards as well as state and local regulations. “Categorical pretreatment standards” are national technology- based standards developed by EPA, setting industry-specific effluent limits. These standards are implemented by 62-625.410, F.A.C. If the treatment facility is subject to categorical pretreatment standards, indicate the category and subcategory.

- Problems at the Treatment Facility Attributed to Waste Discharged by the SIU – Provide information concerning any problems the treatment facility has experienced that are attributable to discharges from the SIUs. Problems may include upsets or interference at the plant, corrosion in the collection system, or other similar events in the past 4 ½ three years.

- RCRA Waste Indicator – Indicate whether the treatment facility currently receives, has received, or has been notified it will receive received RCRA waste by truck, rail, or dedicated pipe in the past three years.

- Waste Transport - Indicate the method by which RCRA waste is received at the treatment facility.

- Waste Description and Transport – For each waste, provide the Provide the EPA hazardous waste number, which is are located in 40 CFR Part 261, Subparts C and D, the waste transport method, and the amount (in volume or mass) received, and specify the units for the amount.

- Remediation Waste Indicator – Indicate whether this treatment facility works currently receives waste from medial activities including are CERCLA (Superfund) or RCRA sites site or plans to accept waste from a CERCLA site remedial sites in the next five years. If it does, provide the information requested in Items 12 13 through 14 15 once for each site.

- Waste Origin Identify and describe Provide information about the CERCLA site and type of facility that is discharging waste (or is expected to discharge waste in the treatment works. Information must include a description of the next five years) to the treatment type of facility and. Include an EPA identification number if one exists.

- Pollutants – Provide a list of the hazardous constituents pollutants that are or will be discharged by the remedial activities CERCLA site and the volume and concentration of such pollutants.

- Waste Treatment – Provide information concerning the treatment used (if any) by the CERCLA site to treat the remedial waste prior to discharging it to the treatment works. The information should include facility. Include a description of the treatment technology, information on the frequency of the discharge (continuous or intermittent) and any data concerning removal efficiency.

## SECTION 5 6. ADDITIONAL INFORMATION REQUIRED PERMIT RENEWALS

Complete this section if the permit application is to renew an existing domestic wastewater facility permit. Attach separate sheets entitled "Additional Information" as indicated.

## SECTION 6. BIOSOLIDS TREATMENT AND MANAGMENT

This section includes specific information about the treatment of biosolids by the facility.

#### Biosolids Treatment –

  - Indicate which class(es) of biosolids is met after treatment. For example, if the biosolids will be distributed and marketed, Class AA should be checked and the biosolids should meet the criteria in Rule 62-640.850, F.A.C. If no treatment is provided, skip the remainder of this section.

  - Indicate which pathogen reductions alternative(s) will be met for biosolids at the facility.

  - Describe the treatment processes at the facility to reduce pathogens for each pathogen reduction alternative indicated in item b.

  - Describe the operational and process parameters that will be monitored and how they will be monitored for each pathogen reduction alternative indicated in item b.

  - Indicate which vector attraction reduction option(s) will be met for biosolids at the facility.

  - Describe any treatment processes at the facility to reduce vector attraction for each vector attraction option indicated in item e.

  - Describe the operational and process parameters that will be monitored and how they will be monitored for each vector attraction reduction option indicated in item e.

  - If this is an existing facility, complete the biosolids parameters table of the form or attach the information separately. If the biosolids will meet different class criteria, provide the information for each class on separate pages.

- Biosolids Management

  - For land application, indicate if a Treatment Facility Biosolids Plan covering each site the facility may potentially send biosolids to for land application is attached.

  - For Class AA biosolids, provide the information on the biosolids or biosolids product to be distributed and marketed and the fertilizer license information.

  - Indicate if the information required by Rule 62-640.850, F.A.C., for Class AA biosolids is attached.

## SECTION 7. ADDITIONAL INFORMATION REQUIRED FOR BIOSOLIDS RESIDUALS /SEPTAGE MANAGEMENT FACILITIES

If the facility accepts biosolids residuals from one or more wastewater treatment facilities for further treatment or disposal, this section should be completed. This section should also be completed for septage management facilities treating more than 10,000 gallons per day monthly average daily flow of septage. biosolids residuals /septage use or disposal information should be provided in Section 1, Item 9. Residual/septage treatment information should be provided in Section 2, Item 4. All other applicable sections of this form should also be completed.

4. All other applicable sections of this form should also be completed.

A separate Item 3 of this section must be completed for each wastewater treatment facility which transports biosolids residuals to this biosolids residuals /septage management facility.

- Description of Biosolids/Septage Treatment Facilities – Provide a description of the biosolids/septage treatment facilities, including a description of the overall treatment process and equipment used.

- Type and Amount of Waste Treated at this Facility – For each type of waste treated at the facility, provide the amount of waste expected to be treated during the permit period. Indicate whether the amount entered is estimated based on expected treatment amounts or actual amounts treated at the facility. If a septage management facility accepts waste other than those allowed by Rule 62-640.200(42), F.A.C., the facility needs to be permitted as a biosolids treatment facility.

- Information on Treatment Facilities Transporting Biosolids

- Facility Transporting Biosolids to This Facility – In the table provided, enter the DEP Facility ID number and the name of the facility transporting biosolids to your facility. Enter the estimated quantity of biosolids transported each day to your facility in dry tons. Indicate whether the facility transporting biosolids (i.e. the source facility) or your facility is responsible for the biosolids during transport as well as whether or not the written agreement between the source facility and your facility has been submitted to DEP or is attached.

- Does the facility receive or intend to receive sludge from an industrial wastewater facility for further treatment? If yes, attach an evaluation of all parameters in each source of industrial sludge. This evaluation will be used by DEP to determine whether or not the industrial sludges will interfere with the beneficial use of the biosolids treated by the biosolids treatment facility as required by paragraph 62-640.880(2)(c), F.A.C.

- Description of Manifest System – Describe the manifest system used for tracking biosolids during transport from the facilities.

## SECTION 8. DOCUMENTATION SUBMITTED

Indicate whether the following documentation is attached to this application.

- General Application Requirements - A process flow diagram, site plan, and location map are required with this application. All maps and drawings should be on paper or other material suitable for reproduction. If possible, all sheets should be approximately letter size with margins suitable for filing and binding. As few sheets as necessary should be used to clearly support the application. All sheets should include a title which includes the applicant's name, facility location, date of drawing, and designation of the number of sheets of each diagram type as "Page   of  ".

  - Process Flow Diagram - The process flow diagram, a line drawing of the wastewater flow through the treatment facility, should identify each treatment unit, including all bypass piping and all backup power sources or redundancy in the system (including the biosolids residuals treatment processes), and show the current average design flows to each unit. The title is to be headed by the statement "Process Flow Diagram."

  - Site Plan - The site plan should show the current status (i.e., operational, not operational, abandoned, etc.) and the location of all operation and unit processes. The title is to be headed by the statement "Site Plan."

  - Location Map - The location map should be a an 8 1/2" x 11" copy of a USGS map extending one mile beyond the facilities boundaries showing the treatment facility location, the reuse or disposal system location, the land application system site(s), and the receiving waterbody location, as applicable. The location of each discharge structure and reuse or land application site, including any and all outfall devices, dispersive devices, and nonstructural points of reuse or disposal should be shown. For discharges to surface waters, the structure must be identified using the 4-digit serial number specified in Section 2 3.A.1. The location of each reuse and land application system must be identified using the 4-digit serial number specified in Section 3.B.1. The location of each underground injection well facility must be identified using the 4-digit serial number specified in Section 3.C.1. On all maps of rivers, the direction of the current is to be indicated by an arrow. In tidal waters, the directions of the ebb and flow tides are to be shown. The map should show those wells, springs, sinkholes, other surface water bodies, and drinking water wells listed in public records or otherwise known to the applicant in the map area. The title is to be headed by the statement "Location Map". Be sure to include the name and date of the USGS map provided.

  - Treatment Facility Biosolids Agricultural Use Plan or Dedicated Site Plan - If the method of biosolids residuals use or disposal is by land application, attach as applicable, an up-to-date Treatment Facility Biosolids Agricultural Use Plan or Dedicated Site Plan with the application as required by Chapter 62-640, F.A.C.

  - Facility Biosolids Storage Plan - Attach a Facility Biosolids Storage Plan that describes how biosolids will be retained or stored in situations such as adverse weather conditions or other circumstances that preclude land application, use, or disposal of the facility’s biosolids. If Class AA biosolids are stored for more than 45 days, the plan should address the need and frequency for re-sampling of fecal coliform or salmonella sp.

  - Class AA Distribution and Marketing Documentation - If the method of biosolids use or disposal is by distribution and marketing of Class AA biosolids, attach the following information as required by Rule 62-640.850, F.A.C.:

- Either the Florida fertilizer license number or documentation showing proof of certification for biosolids composts enrolled in the United States Composting Council Seal of Testing Assurance program;

- The fertilizer label or information sheet which includes the name and address of the facility, a statement that the biosolids or biosolids product meets the Class AA parameter concentrations and ceiling concentrations required by Rule 62-640.850, F.A.C., and recommendations on storage and application rates:

- The characteristics of the biosolids or biosolids product to be distributed and marketed;

- A description of the distribution and marketing operations, methods, procedures, and transportation;

- The protocol for ensuring the biosolids or biosolids product meets regulatory requirements and notification procedures if the biosolids or biosolids product failed to meet requirements and was released; and

- Contingency plans if the biosolids or biosolids product is not distributed and marketed as planned.

  - Capacity Analysis Report - Applications for modifications to existing facilities and applications for permit renewal shall include a capacity analysis report if required by Rule 62-600.405, F.A.C. A capacity analysis report is not required for biosolids/septage management facilities.

  - Results of Whole Effluent Biological Toxicity Testing - For facilities discharging to surface waters, applications for modifications to existing facilities and applications for permit renewal shall include the results of whole effluent biological toxicity testing as required by the DEP Guide to Permitting Wastewater Facilities or Activities Under Chapter 62-620, F.A.C.

Each applicant required to perform WET testing must provide results of a minimum of four quarterly tests for a year, from the year preceding the permit application, or the results from four tests performed at least annually in the 4.5-year period prior to the application, provided the results show no appreciable toxicity using a safety factor determined by the NPDES permitting authority. Applicants must conduct tests with multiple species (no less than two species; e.g., fish, invertebrate, plant) and test for acute or chronic toxicity, depending on the range of receiving water dilution. See 40 CFR 122.21(j)(5)(v) for further details

  - Reuse Feasibility Study - In accordance with Section 403.064, Florida Statutes, all applicants who construct or operate a if the wastewater treatment facility must submit is located in an area that has been designated as a water resource caution area by the Water Management District, a reuse feasibility study with their application. A reuse feasibility study is not required if: 1- the domestic wastewater treatment facility has an existing or proposed permitted or design capacity less than 0.1 million gallons per day; or, 2- the permitted reuse capacity equals or exceeds the total permitted capacity of the domestic wastewater treatment facility must be submitted with this application.

  - Binding Agreements and Documentation of Controls on Individual Users of Reclaimed Water - In accordance with the DEP Guide to Permitting Wastewater Facilities or Activities Under Chapter 62-620, F.A.C., for projects involving the discharge of reclaimed water or effluent onto property not owned or under the direct control of the permittee, the application shall include a binding agreement, generally for the term of the useful life of any treatment, reuse, or disposal facilities, to ensure adequate operation and maintenance of facilities. For reuse projects permitted under Part III of Chapter 62-610, F.A.C., the permittee shall submit documentation of controls on individual users of reclaimed water through detailed agreements or by local ordinances as set forth in Rule 62-610.491, F.A.C.

  - Collection System Power Outage Contingency Plan - Domestic wastewater facility applicants are required to submit a power outage contingency plan to DEP with the application for a new permit, permit renewal, or substantial permit revision. The facility’s power outage contingency plan must describe the program and protocols to mitigate the impacts of power outages on the facility’s collection/transmission system and pump stations. The rule implements the power outage contingency plan requirement in s. 403.086(2), F.S. The goal of a power outage contingency plan is to prevent sanitary sewer overflows (SSO) during a power loss to a pump station, a portion of a collection system, or to the entire collection system. Facilities should be able to respond quickly and effectively to power outages to prevent and stop SSOs that may endanger public health or the environment. See Rule 62-600.705(1), F.A.C. for plan requirements.

  - Collection System Action Plan – All domestic wastewater facility permittees must develop a pipe assessment, repair, and replacement action plan for the facility's collection system, i.e., a collection system action plan. A summary of the plan must be submitted to DEP with the next facility permit application for any new permit, permit renewal, or substantial permit revision. Additionally, after a facility permittee has developed and submitted a collection system action plan to DEP, an annual report on the implementation of the plan must be submitted each year by June 30. The goal of a collection system action plan is to prevent sanitary sewer overflows (SSO) and leakages that may endanger public health and the environment. The plan is a proactive approach to assess the condition of the collection system to identify needed maintenance, repairs, and rehabilitation of the system. See Rule 62-600.705(2), F.A.C. for plan requirements.

#### Additional Application Requirements for New Facilities and Modifications to Existing Facilities

  - Preliminary Design Report - For all projects involving construction of new facilities or modifications to existing facilities, a preliminary design report must be submitted in support of this application pursuant to the DEP Guide to Permitting Wastewater Facilities or Activities Under Chapter 62-620, F.A.C. The preliminary design report must address each applicable section of Rule 62-610.310, F.A.C., for reuse and land application systems, and Rule 62-640.880, F.A.C., for biosolids residuals management facilities. The preliminary design report shall be signed and sealed by the engineer of record.

  - Documentation of Compliance with Antidegradation Requirements - If the proposed project includes a new discharge to surface waters or an expansion of an existing discharge to surface waters, attach documentation supporting that the proposed new or expanded discharge meets the antidegradation requirements contained in Rule 62-4.242, F.A.C.

  - Public Service Commission (PSC) Certification Number and Copy of Certificate or Order Number and Copy of Order - In accordance with the DEP Guide to Permitting Wastewater Facilities or Activities Under Chapter 62-620, F.A.C., new domestic wastewater treatment plants serving an area located in a county regulated by the PSC must obtain, before permit issuance, either a certificate of authorization or an order of exemption. Attach a copy of the certification number and a copy of the certificate or the order number and a copy of the order.

  - Letter from the Management and Storage of Surface Waters (MSSW) Permitting Agency - To comply with the requirements of Rule 62-610.830, F.A.C., if the project is to be permitted under Part III of Chapter 62-610, F.A.C., if golf course lakes are used for storage, and if these lakes also serve as part of the stormwater management system, provide a concurrence letter from the Management and Storage of Surface Waters (MSSW) permitting agency stating that the lakes have sufficient capacity for both stormwater management and storage of reclaimed water.

  - Request for Approval of Monitoring Plans for Discharge of Domestic Wastewater to Wetlands - If the discharge is to a wetland wetlands, attach to this application a completed DEP Form 62-620.910(16) in accordance with Rule 62-611.600, F.A.C.

  - Concurrent Application for Ground Water Disposal by Underground Injection - If the discharge is ground water disposal by underground injection, concurrent application using DEP Form 62-528.900(1) is required.

  - Application for Monitoring Plan Approval - If the facility is required to monitor groundwater in accordance with Chapter 62-522.600, F.A.C., a complete DEP Form 62-522.900(1), Application for Monitoring Plan Approval, shall be submitted with this application.

#### Additional Application Requirements for Permit Renewals

  - Operation and Maintenance Performance Report - An operation and maintenance performance report shall be submitted with the application pursuant to Rule 62-600.735, F.A.C.

  - Reclaimed Water or Effluent Analysis Report - In accordance with Rule 62-601.300, F.A.C., wastewater treatment facilities with a permitted capacity of 100,000 gpd or greater that discharge to ground waters via reuse or land application systems shall complete and submit DEP Form 62-620.910(15), Reclaimed Water or Effluent Analysis Report, with any application to renew a permit.

  - Technical Evaluation of Need to Revise Local Pretreatment Limits - For all domestic wastewater facilities with an approved pretreatment program, the applicant shall submit a copy of the latest program approval letter with the application and a written technical evaluation of the need to revise local limits in accordance with Chapter 62-625, F.A.C.

  - Results of Mechanical Integrity Tests - For underground injection facilities, attach the results of mechanical integrity tests as referenced in Rule 62-528.300, F.A.C.

  - Collection System Power Outage Contingency Plan - Domestic wastewater facility applicants are required to submit a power outage contingency plan to DEP with the application for a new permit, permit renewal, or substantial permit revision. The facility’s power outage contingency plan must describe the program and protocols to mitigate the impacts of power outages on the facility’s collection/transmission system and pump stations. The rule implements the power outage contingency plan requirement in s. 403.086(2), F.S. The goal of a power outage contingency plan is to prevent sanitary sewer overflows (SSO) during a power loss to a pump station, a portion of a collection system, or to the entire collection system. Facilities should be able to respond quickly and effectively to power outages to prevent and stop SSOs that may endanger public health or the environment. See Rule 62-600.705(1), F.A.C. for plan requirements.

  - Collection System Action Plan – All domestic wastewater facility permittees must develop a pipe assessment, repair, and replacement action plan for the facility's collection system, i.e., a collection system action plan. A summary of the plan must be submitted to DEP with the next facility permit application for any new permit, permit renewal, or substantial permit revision. Additionally, after a facility permittee has developed and submitted a collection system action plan to DEP, an annual report on the implementation of the plan must be submitted each year by June 30. The goal of a collection system action plan is to prevent sanitary sewer overflows (SSO) and leakages that may endanger public health and the environment. The plan is a proactive approach to assess the condition of the collection system to identify needed maintenance, repairs, and rehabilitation of the system. See Rule 62-600.705(2), F.A.C. for plan requirements.

## SECTION 9. CERTIFICATIONS

As indicated, complete the appropriate certifications for new facilities, modifications to existing facilities, and permit renewals. This application and all attachments shall be signed in accordance with Rule 62-620.305, F.A.C. Also, this application and all attachments shall be signed and sealed by a professional engineer registered in Florida in accordance with Rule 62-620.310, F.A.C.

WASTEWATER

APPLICATION FORM 2A, PERMIT FOR A DOMESTIC WASTEWATER TREATMENT AND REUSE OR DISPOSAL FACILITY PERMIT

Instructions for selected items are included in the " Instructions for Form INSTRUCTIONS FOR FORM 2A". Refer to these instructions before filling out each item.

# SECTION 1. APPLICANT AND FACILITY DESCRIPTION

# Section 1. Applicant and Facility Description

### Application and Facility Type (check the boxes as applicable)

### a.	Application Type

### ☐	New Permit

### ☐	Substantial Modification of an Existing Permit

### ☐	Permit Renewal

### b.	Facility Type

### ☐Wastewater Treatment Facility

### ☐	Reuse or Disposal System

### ☐	Limited Wet Weather Discharge Residuals

### ☐	Biosolids Treatment Facility/Septage Management Facility

### Treatment Facility Information

  - Name

### Facility Name: ____________________

### Facility Identification Number	_______________

### Location (Physical Address)

### Number and Street	____________________

### City		______________

### State	_______________

### Zip Code 		_______________

### County	 _______________

### Telephone 	_______________

### Email	_______________

Latitude		'	"	_______________N

Longitude		'	"	_______________W

### Date Coordinates Determined _______________

### Method Used to Obtain Coordinates _______________

  - Ownership Type		☐ Municipal

### ☐ County 	☐ State 		☐ Private

### Facility Contact

### Name 	____________________________________________________________________________

### Title		____________________________________________________________________________

### Address	____________________________________________________________________________

### City		_____________________________________________ State _____________ Zip _________

### Telephone	____________________________________________________________________________

### Email		____________________________________________________________________________

### Affiliation	☐ Owner	☐ Operator	☐ Other (specify) _________________________________

### Facility Mailing Address	☐ Same as physical address

### Number and Street 	______________________________________________________________________

### City	_____________________________________________ State _____________ Zip ______________

### Year Facility Began Operation ________________________________________________________________

### Applicant (or Authorized Representative)

### Is the applicant different from the facility contact? ☐ Yes	☐ No (skip to next item)

### Enter the following information for the applicant

### Applicant Legal Name ____________________________________________________________________

### Applicant Address _______________________________________________________________________

### City		_____________________________________________  State _____________  Zip ________

### Telephone 	____________________________________________________________________________

### Contact name ___________________________________________________________________________

### Title 	____________________________________________________________________________

### Telephone 	____________________________________________________________________________

### Email 	____________________________________________________________________________

### Is the applicant the owner, operator, or both? (Only check one) ☐ Owner	☐ Operator	☐ Both

### Indicate to which entity should correspondence regarding the facility be directed (only check one).

### ☐ Facility 	☐ Applicant 	☐ Facility and Applicant (they are one and the same)

### Existing Permits and Permit Applications

### Expiration Date of Current DEP Domestic Wastewater Facility Permit ___________________________________

### Permit Number or Application Date of Environmental Permits (check and enter the number or date)

### ☐ NPDES (Discharge to Surface Waters)	________________________________________________

### ☐ UIC (Underground Injection Control)	________________________________________________

### ☐ RCRA (Hazardous Waste)		________________________________________________

### ☐ PSD (Air Emissions)			________________________________________________

### ☐ Nonattainment Program (CAA)		________________________________________________

### ☐ NESHAPS (CAA)			_______________________________________________

### ☐ Ocean Dumping (MRPSA)		________________________________________________

### ☐ Dredge or Fill (CWA Section 404)	________________________________________________

### ☐ Other (Specify)			________________________________________________

### ☐ Other (Specify)			________________________________________________

### ☐ Other (Specify)			________________________________________________

  - Orders and Notices

| Type or Order or Notice | Issuing Agency | Date of Order or Notice |
| --- | --- | --- |
| Notice or Violation |  |  |
| Consent Order |  |  |
| Administrative Order |  |  |
| Other (Describe.) ________________________ |  |  |

### Indian Country

### Is the facility located in Indian Country? ☐ Yes	☐ No

### Does the facility discharge to a receiving water that flows through Indian Country? ☐ Yes	☐ No

Project Name and Description

### Collection System Information (all collection systems in Florida must be separate sanitary sewers. Combined storm and sanitary sewers are not allowed).

### Municipalities or Areas Served (add additional pages if necessary)

| ### Municipality or Area Served (includes unincorporated connector districts and areas served by satellite collection systems) Number and Street | ### Population Served | ### Associated DEP ID# (if known) | ### Ownership Status for the Applicant |
| --- | --- | --- | --- |
|  |  |  | ### ☐ Own ☐ Maintain |

|  |  |  | ### ☐ Own ☐ Maintain |
| --- | --- | --- | --- |
|  |  |  | ### ☐ Own ☐ Maintain |
|  |  |  | ### ☐ Own ☐ Maintain |
|  |  |  | ### ☐ Own ☐ Maintain |
|  |  |  | ### ☐ Own ☐ Maintain |
| ### Total Population Served |  |  |  |

### Satellite Collection Systems – provide the following information for each satellite collection system identified above (attach additional pages if necessary).

### Collection system name/description __________________________________________________________

### Collection system DEP Identification number, if known __________________________________________

### Ownership Type		☐ Municipal	☐ County	☐ State		☐ Private

### Entity/Owner Name  ______________________________________________________________________

### Address ________________________________________________________________________________

### City	_____________________________________________  State _____________  Zip ______________

### Latitude (connection to facility system)	____________________________________ N

### Longitude 				____________________________________ W

### Dates coordinates determined _______________________________________________________________

### Method used to obtain coordinates ___________________________________________________________

### Contact Name ___________________________________________________________________________

### Contact Title ____________________________________________________________________________

### Telephone ______________________________________________________________________________

### Email __________________________________________________________________________________

### Collection System Plans - are the following collection system-related items attached?

A new or updated copy of the facility’s collection system power outage contingency plan?

☐ Yes 	☐ No

A new or updated summary of the facility’s collection system action plan (i.e., pipe assessment, repair, and replacement plan)?

☐ Yes 	☐ No

- Inflow and Infiltration (for facilities with surface water discharges and a design flow greater than or equal to 0.1 mgd)

Provide the treatment facility’s current average daily volume of inflow and infiltration (gpd)

_____________________ gpd

Briefly explain any steps underway or planned to minimize inflow and infiltration.

- Design and Flow Rates

  - Design Capacity Year Facility Began Operation

### Applicant or Authorized Representative

Current Facility Design Capacity/Flow Rate (mgd)	_______________________________________________

Proposed Incremental Design Capacity (mgd)	+______________________________________________

Proposed Total Design Capacity(mgd)		=______________________________________________

- Basis of Design Flow

☐ Annual Average Daily Flow

☐ Monthly Average Daily Flow

☐ Three-Month Average Daily Flow

☐ Other – specify ____________________________________________________________________________

- Facility Actual Flow Rates

| Flow Category Legal Name | Two Years Ago | Last Year | This Year |
| --- | --- | --- | --- |
| Annual Average Flow Rate (mgd) Number and Street |  |  |  |
| Maximum Daily Flow Rate (mgd) City/State/Zip Code |  |  |  |

Telephone

Contact Person

Title

Telephone Number

Is the applicant the owner or operator (or both) of the facility?	 Owner	 Operator

Indicate whether correspondence regarding this facility should be directed to the facility or the applicant.

Facility	 Applicant

- Summary of Wastewater Reuse or Disposal Project Name

  - Summary of All Reuse and Disposal Description

- Municipalities or Areas Served

| Method of Reuse or Disposal | Number Name of Reuse Municipality or Disposal Points Area | Total Design Capacity (mgd) Ownership | Basis of Design Flow |
| --- | --- | --- | --- |

- Reclaimed Water Reuse and Effluent Disposal

| Method of Reuse or Disposal |  | Number of Reuse or Disposal Points |  | Total Design Capacity (mgd) |  | Basis of Design Flow |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Surface Waters - Excluding Ocean Outfalls and Wetlands (Rule 62-600.510, F.A.C.) |  |  |  |  |  |  |
| Ocean Outfalls (Rule 62-600.520, F.A.C.) |  |  |  |  |  |  |
| Wetlands (Rule 62-600.620, F.A.C.) |  |  |  |  |  |  |
| Reuse of Reclaimed Water and Land Application (Rule 62-600.530, F.A.C.) |  |  |  |  |  |  |
| Ground Water Disposal by Underground Injection (Rule 62-600.540, F.A.C.) |  |  |  |  |  |  |
| Other (Describe) _________________________ |  |  |  |  |  |  |
| Total |  |  |  |  |  |  |

  - Summary of Total Number of Effluent Discharge Points to Surface Waters by Type

| Type of Discharge Point | Number of Discharge Points |
| --- | --- |
| Treated Effluent |  |
| Untreated Effluent |  |
| Bypasses |  |
| Constructed Emergency Overflows |  |

Elimination of Non-Beneficial Surface Water Discharges - If the facility is subject to the requirement to eliminate non-beneficial surface water discharges contained in section 403.064, F.S., provide a brief summary of the facility’s plan to comply and progress to date:

- Flows to Another Wastewater Facility

- Does the facility discharge or transport treated or untreated wastewater to another facility prior to discharge?

☐ Yes 		☐ No

  - If yes, describe the method(s) by which the wastewater is discharged or transported to the other treatment facility(e.g., tank truck, pipe).?  Yes	 No

- the wastewater transported by a party other than the applicant? ☐ Yes 	☐ No

Provide information on the transporter below.

### Transporter Name ________________________________________________________________________

### Number and Street _______________________________________________________________________

### City	_____________________________________________ State _____________ Zip ______________

### Contact Name ___________________________________________________________________________

### Contact Title ____________________________________________________________________________

### Telephone ______________________________________________________________________________

### Email __________________________________________________________________________________

### For each treatment facility that receives the wastewater, provide the information below.

### Facility Name ___________________________________________________________________________

### Facility DEP Identification number __________________________________________________________

### Number and Street________________________________________________________________________

### City	_____________________________________________ State _____________ Zip ______________

### Contact Name ___________________________________________________________________________

### Contact Title ____________________________________________________________________________

### Telephone ______________________________________________________________________________

### Email __________________________________________________________________________________

### Average daily flow rate to the receiving facility (mgd) ___________________________________________

- Variance Requests - Are any variances being requested for the facility (new or renewed)?  ☐ Yes 	☐ No

Provide a brief description of the variance(s):

- Contractor Responsibilities - Are any operational or maintenance aspects (related to wastewater treatment and effluent quality) of the treatment works the responsibility of a contractor(s)?	 ☐ Yes 		☐ No

If yes, provide location and contact information for each contractor in addition to a description of the contractor’s operational and maintenance responsibilities.

| Information Item b. If yes, describe the mean(s) by which the wastewater from the treatment facility is discharged or transported to the other treatment facility (e.g., collection/transmission system, reclaimed water distribution system)? | Contractor 1 | Contractor 2 | Contractor 3 |
| --- | --- | --- | --- |
| Contactor name (company name) If transport is by a party other than the applicant, provide the following: |  |  |  |
| Address - Number and Street Transporter name: |  |  |  |
| City/State/Zip CodeMailing Address: |  |  |  |
| Contact name (first and last) |  |  |  |
| Telephone Contact person: |  |  |  |
| Email address Title: |  |  |  |
| Operational and maintenance responsibilities of contractor Telephone number: |  |  |  |

c. For each treatment facility that receives this discharge, provide the following:

Name:

Mailing Address:

Contact person:

Title:

Telephone number:

d. Facility Identification Number of Facility Which Receives the Flow

e. Average Daily Flow Rate to the Receiving Facility

mgd

### Biosolids Residuals Use or Disposal

| a. Amount of Residuals Generated by the Facility | dry tons/year |
| --- | --- |

### Amount of biosolids generated by the facility in dry tons per year (dtpy) _____________________________

Does this facility receive biosolids residuals from another facility for further treatment, use or and disposal?	☐ Yes ☐ No

### If yes, complete Sections 6 and 7 of this application.

### Annual amount of biosolids received from other facilities in dry tons per year (dtpy) _____________

### Are copies of written agreements for the transfer of biosolids from the other facility or facilities attached?

### ☐ Yes 		☐ No

  - Does this facility accept septage? ☐ Yes 	☐ No

If yes, describe how the septage is received, managed, treated, and if applicable, stored.

  - Does this facility accept grease waste? ☐ Yes 	☐ No

If yes, describe how the grease waste is received, managed, treated, and if applicable, stored.

  - Is a copy of the facility’s biosolids storage plan attached? ☐ Yes 	☐ No

### Method of Biosolids Residuals Use or Disposal

| Method | Number of Sites or Number of Receiving Facilities | Dry Tons Used or Disposed per Year |
| --- | --- | --- |
| Land Application (Chapter 62-640, F.A.C.) |  |  |
| Distribution and Marketing (Chapter 62-640, F.A.C.) | NA |  |
| Landfill Disposal (Chapter 62-701, F.A.C.) |  |  |
| Incineration or Bioenergy/Biofuel (Chapter 62-200 Series, F.A.C.) |  |  |
| Transport to Another Treatment Facility |  |  |
| Other (Describe) |  |  |
| Total | NA |  |

  - If biosolids residuals are transported to another facility for landfill disposal, incineration, or treatment, provide the facility name, facility Facility identification number and address.

Name

Facility Identification Number

Number and Street

City/State/Zip Code

County

Telephone

Treatment Processes Used by Receiving Facility

### Permits and Applications

a. Expiration Date of Current NPDES Permit

b. Expiration Date of Current DEP Permit

c. Permit Number of Any Existing Environmental Permits

| NPDES | PSD |
| --- | --- |
| UIC | Other |
| RCRA | Other |

d. Orders and Notices

| Type or Order or Notice | Issuing Agency | Date of Order or Notice |
| --- | --- | --- |
| Notice or Violation |  |  |
| Consent Order |  |  |
| Administrative Order |  |  |
| Other (Describe.) |  |  |

### Facility Name ___________________________________________________________________________

### Facility DEP Identification number __________________________________________________________

### Address ________________________________________________________________________________

### City	_____________________________________________ State _____________ Zip ______________

### County _________________________________________________________________________________

### Contact Name ___________________________________________________________________________

### Telephone ______________________________________________________________________________

### Email __________________________________________________________________________________

### Is a copy of a written agreement for the transfer of biosolids to another treatment facility attached?

### ☐ Yes 	☐ No

Treatment Processes Used by Receiving Facility and Use or Disposal Method

- Facility Reliability Class

- For wastewater facilities

☐ Class I

☐ Class II

☐ Class III

☐ Other Equivalent Reliability

For Type I and II biosolids treatment/septage management facility, describe the reliability features provide, such as redundancy of equipment, to ensure the continued and timely treatment of all biosolids/septage the facility has the responsibility for treating.

SECTION 2. A. DISCHARGES TO SURFACE WATERS (including wetlands) TREATMENT FACILITY DESCRIPTION

### Discharge Serial Number and Name (attach an additional section for each discharge)

Number	___________________________________________________________________________________

Name	___________________________________________________________________________________

### Discharge Location

### Flow

County	___________________________________________________________________________________

Street or Description ___________________________________________________________________________

City or Town (if applicable) _____________________________________________________________________

Zip Code ____________________________________________________________________________________

### Latitude 		____________________________________ N

### Longitude 	____________________________________ W

Dates coordinates determined ___________________________________________________________________

Method used to obtain coordinates _______________________________________________________________

### Design Capacity of the Outfall (Permitted Feature)

| Current Design Capacity |  | mgd |
| --- | --- | --- |
| Proposed Incremental Design Capacity | + | mgd |
| Proposed Total Design Capacity | = | mgd |

Current design capacity	_____________________________ mgd

Proposed incremental design capacity	+____________________________ mgd

Proposed total design capacity 	=____________________________ mgd

### Basis of Design Flow

### ☐ Annual average daily flow Average Daily Flow

### Maximum☐ Monthly Average Daily Flow average daily flow

### ☐ Three month average daily flow -Month Average Daily Flow

Other. If other, specify.

|  | Two Years Ago | Last Year | This Year |  |
| --- | --- | --- | --- | --- |
| c. Annual Average Daily Flow Rate |  |  |  | mgd |
| d. Maximum Daily Flow Rate |  |  |  | mgd |

### Design☐ Other (specify) _____________________________________________________________________________

### Description of Treatment Levels

| Parameter | Effluent Concentration | Units | Basis | Percent Removal |
| --- | --- | --- | --- | --- |

### Highest level of treatment provided:

### ☐ Secondary

### ☐ Advanced

### ☐ Other (specify)_____________________________________________________________________________

### Design treatment levels:

| Parameter | Effluent Concentration | Units | Statistical Basis | Percent Removal |
| --- | --- | --- | --- | --- |
| pH |  | Standard Units |  |  |
| CBOD5 |  | mg/L |  |  |
| TSS |  | mg/L |  |  |
| TN |  | mg/L |  |  |
| TP |  | mg/L |  |  |

- Description of Disinfection Level Provided	 Low-level  Basic

Intermediate  High-level

High-level Alternative

### Type of disinfection

What type of disinfection is used for the effluent or reclaimed water discharge through the outfall? If disinfection varies by season, please describe.

If the facility disinfects by chlorination and the discharge is to surface waters, is dichlorination dechlorination

provided?	☐ Yes ☐ No☐  NA

### Residuals Treatment

  - Class of Residuals	 Class AA (Rule 62-640.850, F.A.C.)  Class A (Rule 62-640.600, F.A.C.)  Class B (Rule 62-640.600, F.A.C.)

Other

If other, describe

  - Describe, on this form or another sheet of paper, any treatment processes used at your facility to reduce pathogens in sewage sludge:

  - Which vector attraction reduction option is met for the sewage sludge at your facility?

Option 1 (Minimum 38 percent reduction in volatile solids) 	Option 2 (Anaerobic process, with bench-scale demonstration) 	Option 3 (Aerobic process, with bench-scale demonstration)

Option 4 (Specific oxygen uptake rate for aerobically digested sludge) 	Option 5 (Aerobic processes plus raised temperature)

Option 6 (Raise pH to 12 and retain at 11.5)

Option 7 (75 percent solids with no unstabilized solids) 	Option 8 (90 percent solids with unstabilized solids) 	Option 9 (Injection below land surface)

Option 10 (Incorporation into soil within 6 hours)

Option 11 (Covering active sewage sludge unit daily)

None or unknown

  - Describe, on this form or another sheet of paper, any treatment processes used at your facility to reduce vector attraction properties of sewage sludge:

  - Parameter Concentrations

| POLLUTANT | CONC. | UNITS |
| --- | --- | --- |
| Total Nitrogen |  | % dry weight |
| Total Phosphorus |  | % dry weight |
| Total Potassium |  | % dry weight |
| Arsenic |  | mg/kg dry weight |
| Cadmium |  | mg/kg dry weight |
| Chromium |  | mg/kg dry weight |
| Copper |  | mg/kg dry weight |
| Lead |  | mg/kg dry weight |
| Mercury |  | mg/kg dry weight |
| Molybdenum |  | mg/kg dry weight |
| Nickel |  | mg/kg dry weight |
| Selenium |  | mg/kg dry weight |
| Zinc |  | mg/kg dry weight |
| pH |  | standard units |
| Total Solids |  | % |
| Other Parameters |  |  |

Date of Sample

- Reliability Class	 Class I

Class II  Class III

Other Equivalent Reliability

# SECTION 3.

### Discharge Serial Number and Name

Discharge Serial Number

County

Street or Description

City or Town (if applicable) Zip Code

Latitude		'	"N

Longitude		'	"W

Dates Coordinates Determined Method Used to Obtain Coordinates

### Design Capacity of the Outfall

| Current Design Capacity |  | mgd |
| --- | --- | --- |
| Proposed Incremental Design Capacity | + | mgd |
| Proposed Total Design Capacity | = | mgd |

- Basis of Design Flow	 Annual Average Daily Flow

Maximum Monthly Average Daily Flow  Three-Month Average Daily Flow

Other

If other, specify

### Disinfection level provided

☐ Low-level

☐ Basic

☐ Intermediate

☐ High-level

☐ High-level alternative

☐ Other (specify)___________________________________________________________________________

### Basis for Effluent Limitations	 TBEL

If other, specify

Date Effluent Limitations Established

Level I WQBEL  Level II WQBEL  Other

### Description of Receiving Waters for Permitted Feature

  - Name of Receiving Water

### Name of receiving water _________________________________________________________________________

Type of receiving waterbody Receiving Waterbody	☐ Fresh☐ Brackish or Marine

### Classification of receiving waterbody Receiving Waterbody

☐ Class I/Class I treated

☐ Class II

☐ Class III/Class III limited

☐ Class IV

☐ Class V

Is the receiving waterbody contiguous to, or identified as, an Outstanding Florida Water (OFW) or an Outstanding National Resource Water?	☐ Yes ☐ No

If yes, name and locate on a USGS map.

Does this facility discharge to a receiving water that is either in Indian Country or that is upstream from (and eventually flows flow through) Indian Country?	County? 	☐ Yes ☐ No

d. Name of Watershed (if known)

United States Soil Conservation Service 14-digit Watershed Code (if known)

e. Name of State Management/River Basin (if known)

United States Geological Survey 8-digit Hydrologic Cataloging Unit Code (if known)

- f. Name of Watershed (if known) __________________________________________________________________

United States Soil Conservation Service 14-digit Watershed Code (if known)

___________________________________________________________________________________________

- Name of State Management River Basin (if known) __________________________________________________

United States Geological Survey 8-digit Hydrologic Cataloging Unit Code (if known)

___________________________________________________________________________________________

- Critical low flow of receiving stream (if applicable)

| g. Total hardness of receiving stream at critical low flow (if applicable) | mg/l of CaCO3 |
| --- | --- |

Acute _______________ cfs	Chronic _______________ cfs

- Total hardness of receiving stream at critical low flow (if applicable) _______________ mg/l of CaCO3

### Outfall Information

### Is the outfall equipped with a diffuser? ☐ Yes 	☐ No

Description of outfall and diffuser

Description of the diffuser

Construction materials _________________________________________________________________________

Distance from shore 				_______________ feet

Diameter						_______________ inches

Discharge depth below water surface 			_______________ feet

Receiving water bottom depth below water surface	_______________ feet

Average daily flow rate				_______________ mgd

- Surface Water Improvement and Management (SWIM)

  - Will the discharge affect any SWIM plan waterbodies?☐ Yes ☐ No

  - If yes, name the waterbody

  - Has the SWIM plan been approved by a water management district and the Department?	DEP? ☐ Yes 	☐ No

  - If yes, attach documentation that the proposed discharge is consistent with the SWIM plan.

Attached? ☐ Yes 	☐ No

- Additional Information Required for Intermittent or Periodic Discharges

Frequency 	______________ Times Per Year

Duration 		______________ Days

Volume 		______________ Thousand Gallons per Incident

Occurrence

|  | Jan |  | May |  | Sep |
| --- | --- | --- | --- | --- | --- |
|  | Feb |  | Jun |  | Oct |
|  | Mar |  | Jul |  | Nov |
|  | Apr |  | Aug |  | Dec |

Occurrence	_____Jan	_____Feb	_____Mar	_____Apr	_____May	_____Jun	_____Jul	_____Aug	_____Sep	_____Oct	_____Nov	_____Dec

### Additional Information Required for Limited Wet Weather Discharges Permitted in Accordance with Rule 62-610.860, F.A.C.

### Downstream waterbody Waterbody

Name of nearest downstream lake, estuary, reservoir, OFW, or Class I/Class I Treated water

### and show location on a USGS map. Show

### __________________________________________________________________________________

### Classification of receiving waterbody Downstream Waterbody

☐ Class I/Class I treated

☐ Class II

☐ Class III/Class III limited

☐ Class IV

☐ Class V

| Distance Downstream | miles |
| --- | --- |
| Average Flow Velocity During Anticipated Periods of Discharge | feet per second |
| Travel Time During Anticipated Periods of Discharge | hours |
| b. Rainfall Information |  |
| Rainfall Gauging Station Location |  |
| Period of Record Analyzed: |  |
| Beginning Year |  |
| Ending Year |  |
| Number of Years |  |
| Average Annual Rainfall | inches per year |

Distance downstream 					_______________ miles

Average flow velocity during anticipated periods of discharge 	_______________ feet per second

Travel time during anticipated periods of discharge 		_______________ hours

### Rainfall information

### Rainfall gauging station location _______________________________________________________

### Period of record analyzed:

### Beginning year		_______________

### Ending year		_______________

### Number of years		_______________

### Average annual rainfall	_______________ inches per year

### Simulation of operation Operation of the reuse, storage, and limited wet weather discharge eReuse, Storage, and Limited Wet Weather Discharge for an average rainfall year Average Rainfall Year

| Year Simulated |  |  |
| --- | --- | --- |
| Annual Rainfall During Average Year |  | inches |
| Number of Days Limited Wet Weather Discharge is Used During Average Rainfall Year (N) |  | days |
| Percent of the Days of the Year that the Limited Wet Weather Discharge will Occur During Average Rainfall Year (P) |  | % |

Note:

### P = [ ( Year simulated _______________

### Annual rainfall during average year _______________ inches

### Number of days limited wet weather discharge is used during average rainfall year (N)

### _______________ days

### Percent of the days of the ear that the limited wet weather discharge will occur during average rainfall year

### _______________ %

Notes:

- P = [(N) / (365)] x 100%

- P cannot exceed 25% or be less than 1%

  - Reclaimed water quality Water Quality (maximum monthly average)

CBOD5 		_______________ mg/L

TKN (as Nitrogen) 	_______________ mg/L

  - Minimum acceptable stream dilution factor Acceptable Stream Dilution Factor (SDF)

Notes:

Note:

- SDF = P (0.085 x CBOD5 + 0.272 x TKN – 0.484)

- The values for CBOD5 and TKN should be in terms of maximum monthly average limitations as provided in 11 14.d. above. The value of P should be as calculated in 11.c. above.

be as calculated in 14.c. above.

  - Adjusted stream dilution factor Stream Dilution Factor			_______________

Notes:

Note:

- If the travel time shown in 11 14.a., above, is less than 24 hours, provide the adjusted minimum acceptable stream dilution factor.

- Adjusted SDF = SDF x (24 hours)/(travel time in hours).

- Additional Information Required for Wetland Discharges

  - Is the wetland a jurisdictional wetland (i.e. within the landward extent of waters as defined in section 373.4211, Rule 62-301.400. F.S., A.C or isolated and not owned entirely by one person, or owned entirely by the state?

☐ Yes 	☐ No

  - Will the wetland be used as a treatment wetland or receiving wetland?

☐ Treatment

☐ Receiving

If the wetland is to be used as a treatment wetland, attach documentation

showing ownership or the applicant's legal interest in the treatment wetland.

  - If the wetland is to be used for treatment, identify the type.

☐ Man-made

☐ Hydrologically altered  Altered

☐ Unaltered

  - Is the wetland herbaceous or woody?

☐ Herbaceous

☐ Woody

  - Identify the classification of surface waters within the wetland.

☐ Class I/Class I treated

☐ Class II

☐ Class III/Class III limited

☐ Class IV

☐ Class V

  - Are the waters within the wetland part of an OFW? 	☐ Yes 	☐ No

### Effluent Testing Information.

| PARAMETER | MAXIMUM DAILY VALUE | AVERAGE DAILY VALUE |
| --- | --- | --- |

| ### Parameter | ### Maximum Daily Value | ### Units for Maximum Daily Value | ### Average Daily Value | ### Units for Average Daily Value | ### Number of Samples for Average Daily Value |
| --- | --- | --- | --- | --- | --- |
| ### pH (Minimum)* |  | ### s.u. | ### NA | ### NA | ### NA |
| ### pH (Maximum)* |  | ### s.u. | ### NA | ### NA | ### NA |

| ### Flow Rate |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ### Temperature (Winter) |  |  |  |  |  |
| ### Temperature (Summer) |  |  |  |  |  |

### * For pH, please report a minimum and maximum daily value

### Conventional and nonconventional compounds

| ### Pollutant | ### Max. Daily Discharge ### Conc. | ### Max. Daily Discharge ### Units | ### Avg. Daily Discharge ### Conc. | ### Avg. Daily Discharge ### Units | ### Avg. Daily Discharge ### No. of Samples | ### Analytical Method | ### MDL/ ### PQL |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ### CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND (CBOD5) |  |  |  |  |  |  |  |
| ### TOTAL SUSPENDED SOLDS (TSS) |  |  |  |  |  |  |  |

| POLLUTANT | MAXIMUM DAILY DISCHARGE |  | AVERAGE DAILY DISCHARGE |  |  | ANALYTICAL METHOD | MDL/ PQL |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Conc. | Units | Conc. | Units | Number of Samples |  |  |
| CONVENTIONAL AND NONCONVENTIONAL COMPOUNDS. |  |  |  |  |  |  |  |
| CARBONACEOUS BIOCHEMICAL OXYGEN DEMAND (CBOD) |  |  |  |  |  |  |  |
| TOTAL SUSPENDED SOLDS (TSS) |  |  |  |  |  |  |  |

| ### FECAL COLIFORM |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |

- WET Testing

For existing facilities, is WET testing required by the existing permit? ☐ Yes 	☐ No

If yes, attach the results of all WET testing to the application.

- Additional Effluent Testing Application Information for Applicants with a Design Flow Greater Than or Equal to 0.1 mgd

  - Effluent Testing Data

Conventional and nonconventional compounds

| POLLUTANT | MAXIMUM DAILY DISCHARGE |  | AVERAGE DAILY DISCHARGE |  |  | ANALYTICAL METHOD | PQL |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pollutant | Max. Daily Discharge Conc. | Max. Daily Discharge Units | Avg. Daily Discharge Conc. | Avg. Daily Discharge Units | Avg. Daily Discharge No. Number of Samples | Analytical Method | MDL/ PQL |
| CONVENTIONAL AND NONCONVENTIONAL COMPOUNDS. |  |  |  |  |  |  |  |
| AMMONIA (as N) |  |  |  |  |  |  |  |
| CHLORINE (TOTAL RESIDUAL, TRC) |  |  |  |  |  |  |  |
| DISSOLVED OXYGEN |  |  |  |  |  |  |  |
| TOTAL KJELDAHL NITROGEN (TKN) |  |  |  |  |  |  |  |
| NITRATE PLUS NITRITE |  |  |  |  |  |  |  |
| NITROGEN |  |  |  |  |  |  |  |
| OIL and GREASE |  |  |  |  |  |  |  |
| PHOSPHORUS (Total) |  |  |  |  |  |  |  |
| TOTAL DISSOLVED SOLIDS (TDS) |  |  |  |  |  |  |  |
| OTHER PARAMETERS |  |  |  |  |  |  |  |

  - Expanded Effluent Testing DataInflow and Infiltration

Estimate the average number of gallons per day that flow into the treatment works from inflow and/or

for Applicants with a Design Flow Greater Than or Equal to 1.0 mgd or Required to have a Pretreatment Program

  - Operation/Maintenance Performed by Contractor(s).

Are any operational or maintenance aspects (related to wastewater treatment and effluent quality) of the treatment works the responsibility of a contractor?  Yes  No

If yes, list the name, address, telephone number, and status of each contractor and describe the contractor’s responsibilities (attach additional pages if necessary).

Name:

Mailing Address:

Telephone Number:

Responsibilities of Contrator:

- : 1.0 mgd and Pretreatment Treatment Works.

- Briefly explain any steps underway or planned to minimize inflow and infiltration.

Metals (Total Recoverable), Cyanide, Phenols, And Hardness.

| POLLUTANT | MAXIMUM DAILY DISCHARGE |  |  |  | AVERAGE DAILY DISCHARGE |  |  |  |  | ANALYTICAL METHOD | ML/ MDL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Conc. | Units | Mass | Units | Conc. | Units | Mass | Units | Number of Samples |  |  |
| METALS (TOTAL RECOVERABLE), CYANIDE, PHENOLS, AND HARDNESS. |  |  |  |  |  |  |  |  |  |  |  |

| Pollutant Infiltration | Max. Daily Discharge Conc. gpd | Max. Daily Discharge Units | Max. Daily Discharge Mass | Max. Daily Discharge Mass Units | Avg. Daily Discharge Conc. | Avg. Daily Discharge Conc. Units | Avg. Daily Discharge Mass | Avg. Daily Discharge Mass Units | Avg. Daily Discharge No. of samples. | Analytical Method | MDL/ PQL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| ANTIMONY |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ARSENIC |  |  |  |  |  |  |  |  |  |  |  |
| BERYLLIUM |  |  |  |  |  |  |  |  |  |  |  |
| CADMIUM |  |  |  |  |  |  |  |  |  |  |  |
| CHROMIUM |  |  |  |  |  |  |  |  |  |  |  |
| COPPER |  |  |  |  |  |  |  |  |  |  |  |
| LEAD |  |  |  |  |  |  |  |  |  |  |  |
| MERCURY |  |  |  |  |  |  |  |  |  |  |  |
| NICKEL |  |  |  |  |  |  |  |  |  |  |  |
| SELENIUM |  |  |  |  |  |  |  |  |  |  |  |
| SILVER |  |  |  |  |  |  |  |  |  |  |  |
| THALLIUM |  |  |  |  |  |  |  |  |  |  |  |
| ZINC |  |  |  |  |  |  |  |  |  |  |  |
| CYANIDE |  |  |  |  |  |  |  |  |  |  |  |
| TOTAL PHENOLIC COMPOUNDS |  |  |  |  |  |  |  |  |  |  |  |
| HARDNESS (AS CaCO3 CaCO 3) |  |  |  |  |  |  |  |  |  |  |  |
| Other Use this space (or a separate sheet) to provide information on other metals requested by the permit writer.__________________ |  |  |  |  |  |  |  |  |  |  |  |
| Other __________________ |  |  |  |  |  |  |  |  |  |  |  |
| Other __________________ |  |  |  |  |  |  |  |  |  |  |  |
| Other __________________ |  |  |  |  |  |  |  |  |  |  |  |

Volatile Organic Compounds

| Pollutant | Max. Daily Discharge Conc. | Max. Daily Discharge Units | Max. Daily Discharge Mass | Max. Daily Discharge Mass Units | Avg. Daily Discharge Conc. | Avg. Daily Discharge Conc. Units | Avg. Daily Discharge Mass | Avg. Daily Discharge Mass Units | Avg. Daily Discharge No. of samples. |  | Analytical Method |  | MDL/ PQL |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ACROLEIN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ACRYLONITRILE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BENZENE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BROMOFORM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CARBON TETRACHLORIDE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CLOROBENZENE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CHLORODIBROMO- METHANE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CHLOROETHANE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2-CHLORO- ETHYLVINYL ETHER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| CHLOROFORM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| METHANE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,1- DICHLOROETHANE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,2- DICHLOROETHANE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TRANS-1,2- DICHLORO- ETHYLENE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,1-DICHLORO- ETHYLENE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,2- DICHLOROPROPANE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,3-DICHLORO- PROPYLENE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ETHYLBENZENE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| METHYL BROMIDE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| METHYL CHLORIDE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| METHYLENE CHLORIDE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,1,2,2- TETRACHLORO- ETHANE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TETRACHLORO- ETHYLENE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TOLUENE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,1,1- TRICHLOROETHANE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,1,2- TRICHLOROETHANE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TRICHLOR- ETHYLENE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| VINYL CHLORIDE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Use this space (or a separate sheet) to provide information on other metals requested by the permit writer.______________________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other ____________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other ____________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Other ____________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Acid-Extractable Compounds

| Pollutant | Max. Daily Discharge Conc. |  | Max. Daily Discharge Units | Max. Daily Discharge Mass | Max. Daily Discharge Mass Units | Avg. Daily Discharge Conc. | Avg. Daily Discharge Conc. Units | Avg. Daily Discharge Mass | Avg. Daily Discharge Mass Units | Avg. Daily Discharge No. of samples. | Analytical Method | MDL/ PQL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| P-CHLORO-M- CRESOL |  |  |  |  |  |  |  |  |  |  |  |  |
| 2-CHLOROPHENOL |  |  |  |  |  |  |  |  |  |  |  |  |
| 2,4- DICHLOROPHENOL |  |  |  |  |  |  |  |  |  |  |  |  |
| 2,4- DIMETHYLPHENOL |  |  |  |  |  |  |  |  |  |  |  |  |
| 4,6-DINITRO-O- CRESOL |  |  |  |  |  |  |  |  |  |  |  |  |
| 2,4-DINITROPHENOL |  |  |  |  |  |  |  |  |  |  |  |  |
| 2-NITROPHENOL |  |  |  |  |  |  |  |  |  |  |  |  |
| 4-NITROPHENOL |  |  |  |  |  |  |  |  |  |  |  |  |
| PENTACHLORO- PHENOL |  |  |  |  |  |  |  |  |  |  |  |  |
| PHENOL |  |  |  |  |  |  |  |  |  |  |  |  |
| 2,4,6- TRICHLOROPHENOL |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Use this space (or a separate sheet) to provide information on other acid-extractable compounds requested by the permit writer.____________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Other ____________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Other ____________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Other ____________________ |  |  |  |  |  |  |  |  |  |  |  |  |

Base-Neutral Compounds

| Pollutant | Max. Daily Discharge Conc. |  | Max. Daily Discharge Units | Max. Daily Discharge Mass | Max. Daily Discharge Mass Units | Avg. Daily Discharge Conc. | Avg. Daily Discharge Conc. Units | Avg. Daily Discharge Mass | Avg. Daily Discharge Mass Units | Avg. Daily Discharge No. of samples. | Analytical Method | MDL/ PQL |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ACENAPHTHENE |  |  |  |  |  |  |  |  |  |  |  |  |
| ACENAPHTHYLENE |  |  |  |  |  |  |  |  |  |  |  |  |
| ANTHRACENE |  |  |  |  |  |  |  |  |  |  |  |  |
| BENZIDINE |  |  |  |  |  |  |  |  |  |  |  |  |
| BENZO(A)- ANTHRACENE |  |  |  |  |  |  |  |  |  |  |  |  |
| BENZO(A)PYRENE |  |  |  |  |  |  |  |  |  |  |  |  |
| 3,4 BENZO- FLUORANTHENE |  |  |  |  |  |  |  |  |  |  |  |  |
| BENZO(GHI)- PERYLENE |  |  |  |  |  |  |  |  |  |  |  |  |
| BENZO(K)- FLUORANTHENE |  |  |  |  |  |  |  |  |  |  |  |  |
| BIS (2- CHLOROETHOXY) METHANE |  |  |  |  |  |  |  |  |  |  |  |  |
| BIS (2- CHLOROETHYL)- ETHER |  |  |  |  |  |  |  |  |  |  |  |  |
| BIS (2-CHLOROISO- PROPYL) ETHER |  |  |  |  |  |  |  |  |  |  |  |  |
| BIS (2-ETHYLHEXYL) PHTHALATE |  |  |  |  |  |  |  |  |  |  |  |  |
| 4-BROMOPHENYL PHENYL ETHER |  |  |  |  |  |  |  |  |  |  |  |  |
| BUTYL BENZYL PHTHALATE |  |  |  |  |  |  |  |  |  |  |  |  |
| 2-CHLORO- NAPHTHALENE |  |  |  |  |  |  |  |  |  |  |  |  |
| 4-CHLORPHENYL PHENYL ETHER |  |  |  |  |  |  |  |  |  |  |  |  |
| CHRYSENE |  |  |  |  |  |  |  |  |  |  |  |  |
| DI-N-BUTYL PHTHALATE |  |  |  |  |  |  |  |  |  |  |  |  |
| DI-N-OCTYL PHTHALATE |  |  |  |  |  |  |  |  |  |  |  |  |
| DIBENZO(A,H) ANTHRACENE |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,2- DICHLOROBENZENE |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,3- DICHLOROBENZENE |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,4- DICHLOROBENZENE |  |  |  |  |  |  |  |  |  |  |  |  |
| 3,3- DICHLOROBENZIDIN E |  |  |  |  |  |  |  |  |  |  |  |  |
| DIETHYL PHTHALATE |  |  |  |  |  |  |  |  |  |  |  |  |
| DIMETHYL PHTHALATE |  |  |  |  |  |  |  |  |  |  |  |  |
| 2,4- DINITROTOLUENE |  |  |  |  |  |  |  |  |  |  |  |  |
| 2,6- DINITROTOLUENE |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,2-DIPHENYL- HYDRAZINE |  |  |  |  |  |  |  |  |  |  |  |  |
| FLUORANTHENE |  |  |  |  |  |  |  |  |  |  |  |  |
| FLUORENE |  |  |  |  |  |  |  |  |  |  |  |  |
| HEXACHLORO- BENZENE |  |  |  |  |  |  |  |  |  |  |  |  |
| HEXACHLORO- BUTADIENE |  |  |  |  |  |  |  |  |  |  |  |  |
| HEXACHLORO- CYCLO-PENTADIENE |  |  |  |  |  |  |  |  |  |  |  |  |
| HEXACHLORO- ETHANE |  |  |  |  |  |  |  |  |  |  |  |  |
| INDENO(1,2,3- CD)PYRENE |  |  |  |  |  |  |  |  |  |  |  |  |
| ISOPHORONE |  |  |  |  |  |  |  |  |  |  |  |  |
| NAPHTHALENE |  |  |  |  |  |  |  |  |  |  |  |  |
| NITROBENZENE |  |  |  |  |  |  |  |  |  |  |  |  |
| N-NITROSODI-N- PROPYLAMINE |  |  |  |  |  |  |  |  |  |  |  |  |
| N-NITROSODI- METHYLAMINE |  |  |  |  |  |  |  |  |  |  |  |  |
| N-NITROSODI- PHENYLAMINE |  |  |  |  |  |  |  |  |  |  |  |  |
| PHENANTHRENE |  |  |  |  |  |  |  |  |  |  |  |  |
| PYRENE |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,2,4-TRICHLORO- BENZENE |  |  |  |  |  |  |  |  |  |  |  |  |
| Other Use this space (or a separate sheet) to provide information on other acid-extractable compounds requested by the permit writer.____________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Other ____________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Other ____________________ |  |  |  |  |  |  |  |  |  |  |  |  |
| Other ____________________ |  |  |  |  |  |  |  |  |  |  |  |  |

# Use the “Other” spaces above (or a separate sheet) to provide information on other base-neutral compounds requested by the permit writer or for other pollutants (e.g. pesticides) requested by the permit writer.

# SECTION 23. B. REUSE AND LAND APPLICATION SYSTEMS

### Reuse or Land Application System Serial Number and Name

Reuse or Land Application System Serial NumberNumber _________________________________________________________________________________________

Name _______________________________________________________________________________________

### Reuse or Land Application System Location

County _____________________________________________________________________________________

Street or description ___________________________________________________________________________

City or town Town (if applicable) Street or Description_____________________________________________________________________

### Latitude 		____________________________________ N

### Longitude 	____________________________________ W

Dates coordinates determined Coordinates Determined ____________________________________________________________________

Method used Used to obtain coordinates Obtain Coordinates ________________________________________________________________

- Flow

  - Design capacity Capacity

Current design capacity 		____________________________ mgd

Proposed incremental design capacity	 	+____________________________ mgd

Proposed total design capacity 		=____________________________ mgd

  - Basis of design flow the Reuse or Land Application System

☐ Annual average daily flow

☐ Monthly average daily flow

☐ Three-month average daily flow

☐ Other (specify)___________________________________________________________________________

  - Actual annual average daily flow rate __________ mgd

- Design Treatment Levels

| Parameter Current Design Capacity | Effluent Concentration | Units Mgd | Basis | Percent Removal |
| --- | --- | --- | --- | --- |
| pH Proposed Incremental Design Capacity | + | Standard Units Mgd |  |  |
| CBOD5 Proposed Total Design Capacity | = | mg/L mgd |  |  |
| TSS |  | mg/L |  |  |

- Disinfection Level ProvidedBasis of Design

☐ Low-level

☐ Basic

☐ Intermediate

☐ High-level

☐ High-level alternative

☐ Other_____________________________________________________________________________________

Annual Average Daily  Maximum Monthly Average Daily Flow  Three-Month Average Daily Flow

Other

If other, specify

- Is land application continuous or intermittent  ☐ Continuous  ☐ Intermittent

### Underdrains and Perimeter Ditches

### Is the reuse or land application system under drained? 	☐ Yes	☐ No

### Are perimeter ditches used? ☐ Yes	☐ No

### If yes, will they be excavated to a depth which will intersect the seasonal high ground water table or the ground water mound during any portion of the year? ☐ Yes		☐ No

### Type of Reuse or Land Application System

☐ Slow-rate land application system/restricted public access (Chapter 62-610, F.A.C., Part II)

☐ Slow-rate land application system/public access areas, residential irrigation, and edible crop irrigation (Chapter 62-610, F.A.C., Part III)

☐ Rapid-rate land application system (Chapter 62-610, F.A.C., Part IV)

☐ Absorption field system (Chapter 62-610, F.A.C., Part V)

☐ Overland flow system (Chapter 62-610, F.A.C., Part VI)

☐ Other land application system with additional levels of preapplication treatment (Rule 62-610.660, F.A.C.) (Rule 62-610.670, F.A.C.)

- Application Areas and Rates

| Site/Use Type/Major User | Area (acres) | Rate (inches/week) | Capacity (mgd) |
| --- | --- | --- | --- |
| Total: |  |  |  |

### Additional Information Required for Reuse Systems Permitted Under Part III of Chapter 62-610, F.A.C

### Areas irrigated Irrigated

☐ Residential lawns

☐ Golf courses

☐ Cemeteries

☐ Parks, playgrounds

☐ Landscape areas

☐ Highway medians, rights-of-way

☐ Edible crops

Others

If other, specify

Other Uses☐ Other (specify) __________________________________________________________________________

  - Other uses of reclaimed water Reclaimed Water

☐ Toilet flushing

☐ Fire protection

☐ Construction dust control

☐ Aesthetic purposes (decorative ponds, fountains, etc.)

Others

If other, specify.

☐ Other (specify) __________________________________________________________________________

  - How many hours per day, seven days per week, is or will an operator be on-site at the wastewater treatment facility? ________________________________ hours per day

| treatment facility? | hours per day |
| --- | --- |
| If the treatment facility is or will be staffed |  |
| by an operator less than 24 hrs/day, describe |  |
| the additional levels of reliability included |  |
| within the treatment or reuse systems |  |
| (See Rule 62-610.462, F.A.C.) |  |

If the treatment facility is or will be staffed by an operator less than 24 hrs/day, describe the additional levels of reliability included within the treatment or reuse systems (See Rule 62-610.462, F.A.C.).

  - For permit renewals, list the dates on which the operating protocols (as described in Rule 62-610.463, F.A.C.) were submitted to the Department and the corresponding dates date of the Department's approvals during the last five years.

| Date Submitted | Date Approved |
| --- | --- |

  - (See Rule 62-610.475, F.A.C.)

For each site where edible crops are or will be irrigated with reclaimed water, describe the crops grown; the type of application system used; provisions for crop washing and for processing, if any; and provisions for control of public access, if any. (See Rule 62-610.475, F.A.C.)

# SECTION 2 3. C. Effluent Disposal and Reuse of Reclaimed Water by Underground Injection GROUND WATER DISPOSAL BY UNDERGROUND INJECTION

### Underground Injection Well Facility Serial Number and Name

### Number ___________________________________________________________________________

### Name _____________________________________________________________________________

- Underground Injection Well Facility Location Serial Number

County _____________________________________________________________________________________

Street or description ___________________________________________________________________________

City or town (if applicable) _____________________________________________________________________

Zip Code ____________________________________________________________________________________

### Latitude 		____________________________________ N

### Longitude 	____________________________________ W

Dates coordinates determined ____________________________________________________________________

Method used to obtain coordinates ________________________________________________________________

- Underground Injection Well Facility DEP Permit Number or Permit Application Number

________________________________________________________________________________________

- Flow

  - Design capacity

Current design capacity 		____________________________ mgd

Proposed incremental design capacity		+____________________________ mgd

Proposed total design capacity 		=____________________________ mgd

  - Basis of design flow

☐ Annual average daily flow

☐ Monthly average daily flow

☐ Three-month average daily flow

☐ Other (specify) ___________________________________________________________________________

  - Actual annual average daily flow rate _______________ mgd

- Design Treatment Levels

| 2. Underground Injection Well Facility Location County Parameter | Effluent Concentration | Units | Basis | Percent Removal |
| --- | --- | --- | --- | --- |
| pH City or Town (if applicable) |  | Standard Units |  |  |
| CBOD5Street or Description |  | mg/L |  |  |
| TSS |  | mg/L |  |  |
| Latitude |  ' | "N |  |  |
| Longitude |  ' | "W |  |  |
| Dates Coordinates Determined |  |  |  |  |
| Method Used to Obtain Coordinates |  |  |  |  |
| 3. Underground Injection Well Facility DEP Identification Number or Permit Application Number |  |  |  |  |
| 4. Design Capacity of the Underground Injection Well Facility |  |  |  |  |

| Current Design Capacity |  | mgd |
| --- | --- | --- |
| Proposed Incremental Design Capacity | + | mgd |
| Proposed Total Design Capacity | = | mgd |

- Basis of Design Flow	 Annual Average Daily Flow

Maximum Monthly Average Daily Flow  Three-Month Average Daily Flow

Other

If other, specify.

- Disinfection Level Provided

☐ Low-level

☐ Basic

☐ Intermediate

☐ High-level

☐ High-level alternative

☐ Other_____________________________________________________________________________________

- Classification of Ground Water

☐ Class F-1

☐ Class G-1

☐ Class G-II  Provide the TDS concentration of the ground water _______________ mg/L

☐ Class G-III

☐ Class G- IV

- Is land application injection continuous or intermittent 	☐ Continuous	☐ Intermittent

# SECTION 4. SCHEDULED IMPROVEMENTS AND SCHEDULES OF IMPLEMENTATION

- Type of Injection Well System

☐ Salinity barrier (Rule 62-610.562, F.A.C.)

☐ Aquifer storage and recovery (Rule 62-610.466, F.A.C.)

☐ Ground water recharge (Rule 62-610.560, F.A.C.)

☐ Disposal

☐ Other ____________________________________________________________________________________

# SECTION 3. Scheduled Improvements and Schedules of Implementation

### Improvements Required or Scheduled

  - Discharge Serial Numbers, Reclaimed Water Reuse or Land Application System Serial Numbers, and Underground Injection Well

### Facility Serial Numbers Affected Provide the affected discharge serial numbers, reuse or land application system serial number, and underground injection well facility serial numbers affected:

### _________________________________________________________________________________________

### Authority imposing requirement: Imposing Requirement

### ☐ Local

### ☐ State

### ☐ Federal

### ☐ Developed by applicant

If other, specify.

### ☐ Other (specify) ___________________________________________________________________________

Briefly describe the scheduled improvement (submit a separate Section 3 for each improvement).

### Implementation Schedule and Actual Completion Dates

| Implementation Steps | Schedule | Actual Completion |
| --- | --- | --- |
| a. Preliminary Plans Complete |  |  |
| b. Final Plans and Specifications Complete |  |  |
| c. Financing Complete |  |  |
| d. Site Acquired |  |  |
| e. Begin Construction |  |  |
| f. End Construction |  |  |
| g. Begin Reuse or Disposal Discharge |  |  |
| h. Operational Level Attained |  |  |

- Have appropriate permits/clearances concerning other Federal/State requirements been obtained?

### ☐Yes 	☐ No	☐ None required or applicable

Describe If so, describe briefly:

# SECTION 5. INDUSTRIAL WASTEWATER CONTRIBUTIONS

# Section 4. Industrial Wastewater Contributions

### Does the treatment facility works have, or is it subject to, an approved pretreatment program? ☐Yes	☐ No

- Provide the number of each of the following types of industrial users that discharge to the treatment facility works.

  - Number of non-categorical SIUs	______________

  - Number of CIUs			______________

- Significant Industrial User Information.

Name _________________________________________________________________________________

Number and Street _______________________________________________________________________

City	_____________________________________________ State _____________ Zip _____________

County ________________________________________________________________________________

- Description of the Industrial Processes Affecting or Contributing to the SIU’s Discharge.

- List the Principal Product(s) and Raw Material(s) Affecting or Contributing to the SIU’s Discharge.

Principal product(s):

Raw material(s):

Principal product(s) __________________________________________________________________

Raw material(s) ____________________________________________________________

### Flow Rate.

### Total wastewater flow rate (average daily flow of process and non-process wastewater) discharged by the SIU.

### _________ gpd	☐Intermittent	☐Continuous

### Process wastewater flow rate (average daily flow) discharged by the SIU.

### _________ gpd	☐Intermittent	☐Continuous

### Non-process wastewater flow rate (average daily flow) discharged by the SIU.

| gpd | Intermittent Continuous |
| --- | --- |

### _________ gpd	☐Intermittent	☐Continuous

- Pretreatment Standards. Indicate whether the SIU is subject to the following:

  - Local Limits			☐Yes ☐No

  - Categorical pretreatment standards	☐Yes ☐No

If subject to categorical pretreatment standards, which category and subcategory?

______________________________________________________________________________________

- Problems at the Treatment Facility Works Attributed to Waste Discharged by the SIU. Has the SIU caused or contributed to any problems (e.g. upsets, pass-through interferences interference) at the treatment works in the past four and a half three years?

☐ Yes ☐ No	If yes, describe each episode.

- RCRA Waste Indicator. Does the treatment facility works receive or has it in the past three years received or been notified it will receive RCRA hazardous waste by truck, rail, or dedicated pipe?

☐Yes  ☐ No		If no, go to question 1112.

- Waste Transport. Method by which RCRA waste is received (check all that apply):

Truck  Rail  Dedicated Pipe

- Waste Description and Transport Give. Provide the EPA hazardous waste number and amount (volume or mass, specify units):

| EPA Hazardous Waste Number | Waste Transport Method | Annual Amount of Waste Received | Units |
| --- | --- | --- | --- |

|  | ☐ Truck ☐ Rail ☐ Dedicated pipe ☐ Other_______________________ |  |  |
| --- | --- | --- | --- |
|  | ☐ Truck ☐ Rail ☐ Dedicated pipe ☐ Other_______________________ |  |  |
|  | ☐ Truck ☐ Rail ☐ Dedicated pipe ☐ Other_______________________ |  |  |

- Remediation Waste Indicator. Does the treatment facility works currently (or has it been notified modified that it will) receive waste from remedial activities including those undertaken pursuant to CERCLA and Section 3004(7) or 3008(h) of RCRA?

☐ Yes (complete items 1213. through 14. for each current or and future site Provide a list of sites and the requested information (13. – 15.)	☐ No

- Waste Origin. Identify and describe Describe the site and type of facility at which the CERCLA/RCRA/or other remedial waste originates (or is expected to originate in the next five years).

Pollutants. List the hazardous constituents that are received (or are expected to be received). Include data on volume and concentration, if known. (Attach additional sheets if necessary).

### Waste Treatment.

  - Is this waste treated (or will it be treated) prior to entering the treatment works?

☐ Yes	☐ No

If yes, describe the treatment (provide information about the removal efficiency):

  - Is the discharge (or will the discharge be) continuous or intermittent?

☐Continuous	☐ Intermittent

If intermittent, describe discharge schedule.

# Section 5. Additional Information Required for Permit Renewals

- Have there been any modifications to the treatment facilities or reuse or disposal system, since the issuance of the current permit? If yes, describe on a separate sheet and attach.	☐Yes	☐No

- For limited wet weather discharges, have any modifications been made to the operation, frequency of discharge, or stream hydrology since the original limited wet weather discharge permit or the most recent permit. If yes, describe on a separate sheet and attach.	☐Yes	☐No	☐ NA

- Have there been any violations during the last six months? If yes, describe on a separate sheet and attach.

☐Yes	☐No

- Have there been any treatment facility interferences due to the discharge of industrial wastewater to the treatment facility during the last six months? If yes, describe on a separate sheet and attach.

☐Yes	☐No

- Is there any enforcement action pending against the treatment, reuse, or disposal facilities? If yes, describe on a separate sheet and attach.	☐Yes	☐No

- Have all previous permit conditions, including pretreatment requirements, monitoring requirements, and operator attendance been complied with? If no, describe on a separate sheet and attach.	☐Yes	☐No

- For permit renewals involving a limited wet weather discharge permitted under Rule 62-610.860, F.A.C., list the number of days during each of the last five years that the limited wet weather discharge was used. and the percent of the days that the limited wet weather discharge occurred during the year (number of days used/365 x 100%). Also, list the total annual rainfall for each year.

| Year | Number of Days Used | Percent of Days Used During the year (%) P (%) | Annual Rainfall (inches) |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| 5. |  |  |  |
| Total/ Average |  |  |  |

- For permit renewals involving a limited wet weather discharge permitted under Rule 62-610.860, F.A.C., provide the number of days during each of the last five years that the actual dilution ratio,(i.e., stream flow/ limited wet weather discharge flow), as defined in Rule 62-610.860, F.A.C., was less than the minimum SDF identified in Section 10.e. or f. and the number of months in which the monthly average CBOD5 or TKN in the limited wet weather discharge exceeded the permit limitations.

| Year | Number of Days the Dilution Ratio Was Less Than SDF | Number of Months the Limits Were Exceeded CBOD5 | Number of Months the Limits Were Exceeded TKN |
| --- | --- | --- | --- |
|  | Ratio Was Less Than SDF | CBOD5 | TKN |

| 1. |  |  |  |
| --- | --- | --- | --- |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |

# Section 6. Biosolids Treatment and Management

- Biosolids Treatment

  - Indicate the class(es) of biosolids produced by the facility

☐ Class AA (Rule 62-640.850, F.A.C.)

☐ Class A (Rule 62-640.600, F.A.C.)

☐ Class B (Rule 62-640.600, F.A.C.)

☐ Other ______________________________________________

☐ No treatment provided (skip the rest of this section if no treatment is provided)

  - Which pathogen reduction alternatives(s) is met for the biosolids at your facility?

Class A Alternatives

☐ Class A Alternative 1: 503.32(a)(3) (Thermally Treated Biosolids)

☐ Class A Alternative 2: 503.32(a)(4) (Biosolids Treated in a High pH-High Temperature Process)

☐ Class A Alternative 3: 503.32(a)(5) (Biosolids Treated in Other Processes)

☐ Class A Alternative 5_1: 503.32(a)(7) (Use of PFRP (Processes to Further Reduce Pathogens) – Composting)

☐ Class A Alternative 5_2: 503.32(a)(7) (Use of PFRP – Heat Drying)

☐ Class A Alternative 5_3: 503.32(a)(7) (Use of PFRP – Heat Treatment)

☐ Class A Alternative 5_4:  503.32(a)(7) (Use of PFRP – Thermophilic Aerobic Digestion)

☐ Class A Alternative 5_5:  503.32(a)(7) (Use of PFRP – Beta Ray Irradiation

☐ Class A Alternative 5_6: 503.32(a)(7) (Use of PFRP – Gamma Ray Irradiation)

☐ Class A Alternative 5_7: 503.32(a)(7) (Use of PFRP – Pasteurization)

☐ Class A Alternative 6: 503.32(a)(8) (Use of a Process Equivalent to PFRP (specify and attach documentation of the process)

________________________________________________________________________

Class B Alternatives

☐ Class B Alternative 1: 503.32(b)(2) (Monitoring of Indicator Organisms)

☐ Class B Alternative 2_1: 503.32(b)(3) (Use of PSRP (Processes to Significantly Reduce Pathogens) – Aerobic Digestion)

☐ Class B Alternative 2_2: 503.32(b)(3) (Use of PSRP – Air Drying)

☐ Class B Alternative 2_3: 503.32(b)(3) (Use of PSRP – Anaerobic Digestion)

☐ Class B Alternative 2_4: 503.32(b)(3) (Use of PSRP – Composting)

☐ Class B Alternative 2_5: 503.32(b)(3) (Use of PSRP – Lime Stabilization)

☐ Class B Alternative 3: 503.32(b)(4) (Use of a process equivalent to PSRP (specify and attach documentation of the process)

_____________________________________________________________________________________

Describe, on this form or another sheet of paper, the treatment processes at your facility to reduce pathogens in biosolids as indicated above (provide separate descriptions for each Class A and Class B alternative, if applicable):

Describe, on this form or another sheet of paper, the operational and process parameters that will be monitored and how they will be monitored to demonstrate compliance with the pathogen reduction alternatives indicated above (provide separate descriptions for each Class A and Class B alternative, if applicable):

  - Which vector attraction reduction option(s) is met for biosolids at your facility? (only select an option(s) your facility is technically capable of meeting)

☐  Option 1: Minimum 38 percent reduction in volatile solids

☐  Option 2: Anaerobic process, with bench-scale demonstration

☐  Option 3: Aerobic process, with bench-scale demonstration

☐  Option 4: Specific oxygen uptake rate for aerobically digested sludge

☐  Option 5: Aerobic processes plus raised temperature

☐  Option 6: Raise pH to 12 and retain at 11.5

☐  Option 7: 75 percent solids with no unstabilized solids

☐  Option 8: 90 percent solids with unstabilized solids

☐  Option 9: Injection below land surface (not applicable for Class AA)

☐  Option 10: Incorporation into soil within 6 hours (not applicable for Class AA)

Describe, on this form or another sheet of paper, the treatment processes at your facility to reduce vector attraction in biosolids as indicated above (provide separate descriptions applicable to each Class A and Class B alternative, and the corresponding vector attraction reduction options, as applicable).

Describe, on this form or another sheet of paper, the operational and process parameters that will be monitored and how they will be monitored to demonstrate compliance with the vector attraction reduction option(s) indicated above (provide separate descriptions applicable to each Class A and Class B alternatives, and the corresponding vector attraction reduction options, as applicable).

  - Biosolids parameter concentrations.

| Pollutants 1. Location of Residuals Treatment Processes | Concentration | Units |
| --- | --- | --- |
| (Describe in relation to the wastewater treatment processes.)Total Nitrogen |  | % dry weight |
| Total Phosphorus |  | % dry weight |
| Total Potassium |  | % dry weight |
| Water Extractable Phosphorus |  | % dry weight |

### Type and Amount of Waste Treated at this Facility

| Type | Amount (dry tons/day) | Amount (gallons/day) |
| --- | --- | --- |
| Residuals | or |  |  |
| Septage |  |  |  |
| Food Establishment Sludge |  |  |  |
| Portable Toilet Waste |  |  |  |
| Holding Tank Waste |  |  |  |
| Boat or Marina Waste |  |  |  |
| Other (Describe.) | or |  |  |
| Total | or |  |  |

Is the total amount estimated or actual?	 Estimated  Actual

### Information on Treatment Facilities Transporting Residuals

a. DEP Permit Number

b. Facility Name

Number and Street

City/State/Zip Code

County

Telephone

  - Facility Type	 Type I

Type II  Type III

| d. Amount of Residuals Received From This Facility | dry tons/day or | gpd |
| --- | --- | --- |

this amount estimate or actual?	 Estimated  Actual

- Describe the treatment provided by this facility before transport

- Parameter Concentrations

| POLLUTANT | CONC. |  | UNITS |
| --- | --- | --- | --- |
| Total Nitrogen |  |  | % dry weight |
| Total Phosphorus |  |  | % dry weight |
| Total Potassium |  |  | % dry weight |
| Arsenic |  |  |  |  | mg/kg dry weight |
| Cadmium |  |  |  |  | mg/kg dry weight |
| Chromium |  |  |  |  | mg/kg dry weight |
| Copper |  |  |  |  | mg/kg dry weight |
| Lead |  |  |  |  | mg/kg dry weight |
| Mercury |  |  |  |  | mg/kg dry weight |
| Molybdenum |  |  |  |  | mg/kg dry weight |
| Nickel |  |  |  |  | mg/kg dry weight |
| Selenium |  |  |  |  | mg/kg dry weight |
| Zinc |  |  |  |  | mg/kg dry weight |
| pH |  |  |  |  | standard units |
| Total Solids |  |  |  |  | % |
| Other Parameters____________________ |  |  |  |  |  |
| Other _____________________ |  |  |  |  |  |

Date of Sample

- Describe the manifest system used for tracking residuals during transport from the facilities.

# SECTION 8. DOCUMENTATION SUBMITTED

Date of sample(s) __________________________________________________________________________

- Biosolids Management

  - For land application, attach a Treatment Facility Biosolids Plan covering each site the facility may potentially send biosolids to for land application. Attached? ☐ Yes	☐ No

  - For Class AA biosolids:

    - Description of the biosolids or biosolids product to be distributed or marketed, including the form such as “pellets,” “dewatered cake,” or “liquid.”

__________________________________________________________________________________

    - Florida fertilizer license number(s) or fertilizer license number(s) of the entity to who the biosolids are distributed and marketed.

__________________________________________________________________________________

  - Class AA attachments

| - Class AA Item General Application Requirements | Included in Attachments Attached |
| --- | --- |
| Description of the distribution and marketing operations, methods, procedures, and transportation of the biosolids or biosolids product | ☐ Yes ☐ No ☐ N/A |
| Description of the facility’s contingency plan if the biosolids or biosolids product is not distributed and marketed as planned. a. Process Flow Diagram | ☐ Yes ☐ No ☐ N/A |
| Describe the facility’s protocol for ensuring the biosolids or biosolids product meets regulatory requirements and notification procedures if product failed to meet requirements and was released b. Site Plan | ☐ Yes ☐ No ☐ N/A |

| c. Location Map |  |  |
| --- | --- | --- |

| Copy of the Florida fertilizer license or fertilizer license of the entity to who the biosolids are distributed and marketed d. Agricultural Use Plan or Dedicated Site Plan | ☐ Yes ☐ No ☐ N/A |
| --- | --- |

| e. Capacity Analysis Report |  |  |
| --- | --- | --- |

| Documentation demonstrating current enrollment in the US Composting Council’s Seal of Testing Assurance program f. Results of Whole Effluent Biological Toxicity Testing | ☐ Yes ☐ No ☐ N/A |
| --- | --- |

| g. Reuse Feasibility Study |  |  |
| --- | --- | --- |

| Fertilizer label or information sheet that includes the name and address of the facility, a statement that the biosolids meet the Class AA parameter concentration and ceiling concentrations, recommendations on storage and application rates h. Binding Agreements and Documentation of Controls on Individual Users of Reclaimed Water | ☐ Yes ☐ No ☐ N/A |
| --- | --- |

# Section 7. Additional Information Required for Biosolids Treatment/Septage Management Facilities

- Description of biosolids treatment/septage treatment facilities and processes

### Type and amount of waste treated at this facility

| 2. Additional Application Requirements for New Facilities and Modifications to Existing Facilities | Yes | No |
| --- | --- | --- |
| a. Preliminary Design Report |  |  |
| b. Documentation of Compliance with Antidegradation Requirements |  |  |
| c. Public Service Commission Certification Number and Copy of Certificate or Order Number and Copy of Order |  |  |
| d. Letter from the Management and Storage of Surface Waters Permitting Agency |  |  |
| e. Request for Approval of Monitoring Plans for Discharge of Domestic Wastewater to Wetlands |  |  |
| f. Concurrent Application for Ground Water Disposal by Underground Injection |  |  |
| g. Application for Monitoring Plan Approval |  |  |

| 3. Additional Application Requirements for Permit Renewals |  |  | Yes | No |  |
| --- | --- | --- | --- | --- | --- |
| a. Operation and Maintenance Performance Report |  |  |  |  |  |
| b. Reclaimed Water or Effluent Analysis Report |  |  |  |  |  |
| c. Technical Evaluation of Need to Revise Local Pretreatment Limits |  |  |  |  |  |
| d. Results of Mechanical Integrity Testing |  |  |  |  |  |
| Biosolids |  | or |  |  |
| Septage | NA |  |  |  |
| Food establishment sludge/grease | NA |  |  |  |
| Portable toilet waste | NA |  |  |  |
| Holding tank waste | NA |  |  |  |
| Boat or marina waste | NA |  |  |  |
| Other (describe) ________________________________________________ |  | or |  |  |
| Total (enter only one) |  | or |  |  |

Is the total amount estimated or actual?	☐Estimated	☐Actual

- Information on treatment facilities transporting biosolids (not applicable to septage management facilities)

- Facilities transporting biosolids to this facility

| DEP Facility ID Number | Facility Name | Estimated Quantity of Biosolids (Dry Tons per Day) | Facility Responsible for Biosolids During Transport (This Facility or Source Facility) | Written Agreement Submitted to DEP or attached? (Yes or No) |
| --- | --- | --- | --- | --- |

- Does the facility receive or intend to receive sludge from an industrial wastewater facility for further treatment?

☐Yes	☐No

If yes, attach an evaluation of all parameters in each source of industrial sludge.  This evaluation will be used by DEP to determine whether or not the industrial sludges will interfere with the beneficial use of the biosolids treated by the biosolids treatment facility as required by paragraph 62-640.880(2)(c), F.A.C.

- Describe the manifest system used for tracking biosolids during transport from the facilities

Section 8. Documentation Submitted

# Documentation – General Application Requirements

| # Document | # Attached? |
| --- | --- |
| # Process Flow Diagram | ☐ Yes ☐ No |
| # Site Plan | # ☐ Yes ☐ No |
| # Location Map | # ☐ Yes ☐ No |
| # Treatment Facility Biosolids Plan (if biosolids are land applied) | # ☐ Yes ☐ No |
| # Facility Biosolids Storage Plan | # ☐ Yes ☐ No |
| # Class AA Distribution and Marketing Documentation | # ☐ Yes ☐ No |
| # Capacity Analysis Report | # ☐ Yes ☐ No |
| # Results of Whole Effluent Biological Toxicity Testing | # ☐ Yes ☐ No |
| # Reuse Feasibility Study | # ☐ Yes ☐ No |
| # Binding Agreements and Documentation of Controls on Individual Users of Reclaimed Water | # ☐ Yes ☐ No |
| # Collection System Power Outage Contingency Plan | # ☐ Yes ☐ No |
| # Collection System Action Plan | # ☐ Yes ☐ No |
| # Other (specify) _________________________________________________________ | # ☐ Yes ☐ No |
| # Other (specify) _________________________________________________________ | # ☐ Yes ☐ No |
| # Other (specify) _________________________________________________________ | # ☐ Yes ☐ No |

# Documentation - Additional Application Requirements for New Facilities and Modifications to Existing Facilities

| # Document | # Attached? |
| --- | --- |
| # Preliminary Design Report | ☐ Yes ☐ No |
| # Documentation of Compliance with Antidegradation Requirements | # ☐ Yes ☐ No |
| # Public Service Commission Certification Number and Copy of Certificate or Order Number and Copy of Order | # ☐ Yes ☐ No |
| # Letter from the Management and Storage of Surface Waters Permitting Agency | # ☐ Yes ☐ No |
| # Request for Approval of Monitoring Plans for Discharge of Domestic Wastewater to Wetlands | # ☐ Yes ☐ No |
| # Concurrent Application for Ground Water Disposal by Underground Injection | # ☐ Yes ☐ No |
| # Application for Monitoring Plan Approval | # ☐ Yes ☐ No |

# Documentation - Additional Application Requirements for Permit Renewals

| # Document | # Attached? |
| --- | --- |
| # Operation and Maintenance Performance Report | ☐ Yes ☐ No |
| # Reclaimed Water or Effluent Analysis Discharge Monitoring Report | # ☐ Yes ☐ No |
| # Results of Mechanical Integrity Testing | # ☐ Yes ☐ No |
| # Collection System Power Outage Contingency Plan (updated) | # ☐ Yes ☐ No |
| # Collection System Action Plan Summary (updated) | # ☐ Yes ☐ No |
| # Other (specify) _______________________________________________________ | # ☐ Yes ☐ No |

SECTION 9. CERTIFICATIONS

### Certifications for Construction of New Facilities or Modifications to Existing Facilities

### (for NPDES permits, do not sign or submit electronically. This may change after December 21, 2028. Check with the appropriate DEP district office.)

  - Applicant or Authorized Representative

I certify that the statements made in this application for a permit and all attachments are true, correct, and complete to the best of my knowledge and belief. I agree to retain the design engineer, or another professional engineer registered in Florida, to conduct on-site observation of construction, to prepare a notification of completion of construction, and to review record drawings for adequacy as referenced in Rule 62-620.630,

F.A.C. Further, I agree to provide an appropriate operation and maintenance manual for the facilities pursuant to Rule 62-620.630, F.A.C., and to retain a professional engineer registered in Florida to examine (or to prepare or revise, if necessary) the manual. For projects regulated by Chapter 62-610, F.A.C., I agree to provide the additional operation requirements of that Chapter.

Signature of Applicant or Authorized Representative ____________________________________________

Date Signed ____________________________________________________________________________

Name _____________________________________ Title ________________________________________

Company Name _________________________________________________________________________

Company Steet Address or P.O. Box _________________________________________________________

City ______________________________________ State ___________________ Zip Code ____________

Telephone _______________________  Cell _______________________  Fax ______________________

Email _________________________________________________________________________________

  - Professional Engineer Registered in Florida

I certify that the engineering features of this domestic wastewater project have been (designed) (examined) by me and found to conform to engineering principles applicable to such projects. In my professional judgment, this facility, when properly constructed, operated, and maintained, will comply with all applicable statutes of the State of Florida and rules of the Department.

(Affix Seal)

Signature _______________________________________________ Date___________________________

Name _________________________________________ Florida Registration No. ____________________

Company Name _________________________________________________________________________

Company Steet Address or P.O. Box _________________________________________________________

City ______________________________________ State ___________________ Zip Code ____________

Telephone _______________________  Cell _______________________  Fax ______________________

Email _________________________________________________________________________________

  - Professional Engineer Registered in Florida

I certify that this firm or individual has been retained by the applicant to prepare a notification of completion of construction, to prepare operation and maintenance manuals, and to review record drawings for adequacy as referenced in Rules 62-620.630, 62-600.717, and 62-600.720, F.A.C.

| Name (please type): |  | Company Name: |
| --- | --- | --- |
| Florida Registration Number: |  | Company Street Address or P O Box |
| Telephone No. (including area code) |  | City/State/Zip Code: |
| _ |  |  |
| Email (optional) |  |  |
| (Seal, Signature, Date, Registration No.) |  |  |

(Affix Seal)

Signature _______________________________________________ Date___________________________

Name _________________________________________ Florida Registration No. ____________________

Company Name _________________________________________________________________________

Company Steet Address or P.O. Box _________________________________________________________

City ______________________________________ State ___________________ Zip Code ____________

Telephone _______________________  Cell _______________________  Fax ______________________

Email _________________________________________________________________________________

### Certifications for Permit Renewals

### (For NPDES permits, do not sign or submit electronically. This may change after December 21, 2028. Check with the appropriate DEP district office.)

  - Applicant or Authorized Representative

I certify that the statements made in this application for a permit and all attachments are true, correct and complete to the best of my knowledge and belief. I agree to operate and maintain these wastewater facilities in such a manner as to comply with the provisions of Chapter 403, F.S., Chapter 62-600, F.A.C., and all other applicable rules of the Department. Further, an appropriate operation and maintenance manual which has been examined by a professional engineer as certified below is available and located at

and can be submitted upon request as part of the permit procedure. A copy of the record drawings or other plans (as applicable) showing modifications to existing facilities, as referenced in Rule 62-620.630 62-600.717, F.A.C., is available at the same location. I also understand that a permit if granted by the Department, is transferable only upon Department approval in accordance with Rule 62- 620.340, F.A.C., and I will notify the Department in accordance with this rule upon sale or legal transfer of the permitted facilities. In the event of abandonment or inactivation of the facilities, I will notify the Department and ensure that public health and safety are protected as required by Rule 62-620.610, F.A.C.

| (Signature of Applicant or Authorized Representative2) |  | Date |
| --- | --- | --- |
| Name (please type) |  | Company Name |
| Title |  | Company Street Address or P O Box |
| Telephone No. (including area code) |  | City, State, Zip Code |
| Email (optional) |  |  |

2 If signed by the authorized representative, attach a letter of authorization.

Signature of Applicant or Authorized Representative ____________________________________________

Date Signed ____________________________________________________________________________

Name _____________________________________ Title ________________________________________

Company Name _________________________________________________________________________

Company Steet Address or P.O. Box _________________________________________________________

City ______________________________________ State ___________________ Zip Code ____________

Telephone _______________________  Cell _______________________  Fax ______________________

Email _________________________________________________________________________________

  - Professional Engineer

I certify that the engineering features of these domestic wastewater facilities have been examined by me and found to conform to engineering principles applicable to such projects. I certify that the operation and maintenance manual for these wastewater facilities has been prepared or examined by me or by individual(s) under my direct supervision and that there is reasonable assurance, in my professional judgement, that the facilities, when properly operated and maintained in accordance with this manual, will comply with all applicable statutes of the State of Florida and rules of the Department.

| Name (please type): |  | Company Name: |
| --- | --- | --- |
| Florida Registration Number: |  | Company Street Address or P O Box |
| Telephone No. (including area code) |  | City/State/Zip Code: |
| _ |  |  |
| Email Address (optional) |  |  |
| (Seal, Signature, Date, Registration No.) |  |  |

(Affix Seal)

Signature _______________________________________________ Date___________________________

Name _________________________________________ Florida Registration No. ____________________

Company Name _________________________________________________________________________

Company Steet Address or P.O. Box _________________________________________________________

City ______________________________________ State ___________________ Zip Code ____________

Telephone _______________________  Cell _______________________  Fax ______________________

Email _________________________________________________________________________________