NATIONAL POLLUTANT DISCHARGE ELIMINATION SYSTEM (NPDES) GENERIC Permit for Discharges of pollutants ASSOCIATED WITH

Pilot TEsting for the Control of harmful algal blooms

DEP Form 62-621.300(9)(b)1.

December 12, 2024

Part I. Authorization to Discharge

This NPDES Generic Permit is issued under Section 403.0885, Florida Statutes, (F.S.), and Chapters 62-620 and 62-621, Florida Administrative Code (F.A.C.). Coverage under this Generic Permit constitutes authorization to discharge pollutants associated with pilot testing for the control of harmful algal blooms pursuant to the Department’s federally approved NPDES program. Until coverage under this Generic Permit is terminated, revoked or expires, a permittee using this Generic Permit is authorized to discharge pollutants associated with pilot testing for the control of harmful algal blooms in accordance with the terms and conditions of this Generic Permit.

Part II. Applicability and Coverage

- This Generic Permit is available to permittees using biological, chemical, or mechanical treatment technologies to control harmful algal blooms in Class III and Class III – Limited surface waters as defined in Appendix A.

- Coverage under this Generic Permit is limited to the discharge of pollutants associated with pilot testing for harmful algal blooms to surface waters of the state.

- Coverage under this Generic Permit is limited to the geographic Harmful Algal Bloom Management Area designated in Part IX of the Notice of Intent,  DEP Form 62-621.300(9)(b)2., Notice of Intent to Use the Generic NPDES Permit for Discharges Associated with Pilot Testing for the Control of  Harmful Algal Blooms (NOI), (adopted and incorporated by reference in subparagraph 62-621.300(9)(b)2., F.A.C., effective December 12, 2024 (http://www.flrules.org/Gateway/reference.asp?No=Ref-17244), as submitted by the Permittee.

- The use of technologies to control harmful algal blooms that do not discharge pollutants to surface waters of the State are not required to obtain coverage under this Generic Permit.

- This Generic Permit does not relieve the permittee of the responsibility of obtaining any other federal, state, or local government permit.

- The Harmful Algal Bloom Management Area shall be restricted to one cumulative acre within one Waterbody Identification (WBID) Area.

- The following activities are not authorized under this Generic Permit:

(1)	The removal of threatened or endangered species [paragraph 62-621.300(9)(a), F.A.C.];

(2)	An activity in, on, or over wetlands (as defined in section 373.019(27), F.S.) or surface waters designated as an Outstanding Florida Water in Rule 62-302.700, F.A.C., or an Aquatic Preserve established by Part II of Chapter 258, F.S.;

(3)	An activity that reduces the viability of the benthic community, including seagrass and hard bottom communities; and,

(4)	An activity that alters the benthic topography and requires authorization under Chapter 253 and Part IV of Chapter 373, F.S.

- Coverage for discharges authorized under this Generic Permit is limited to a term not to exceed one year from the effective date listed in the coverage letter.

- No activity authorized under this Generic Permit shall be likely to directly or indirectly jeopardize the continued existence of a threatened or endangered species or a species proposed for such designation, as identified under the Federal Endangered Species Act (ESA), or which will directly or indirectly destroy or adversely modify the critical habitat of such species. Direct effects are the immediate effects on listed species and critical habitat caused by the permitted activity. Indirect effects are those effects on listed species and critical habitat that are caused by the permitted activity and are later in time, but still are reasonably certain to occur.

- Authorization of an activity by this Generic Permit does not authorize the “take” of a threatened or endangered species as defined under the ESA. In the absence of separate authorization (e.g., an ESA Section 10 Permit, a Biological Opinion with “incidental take” provisions, etc.) from the U.S. Fish and Wildlife Service (FWS) or the National Marine Fisheries Service (NMFS), the ESA prohibits any person subject to the jurisdiction of the United States to take a listed species, where "take" means to harass, harm, pursue, hunt, shoot, wound, kill, trap, capture, or collect, or to attempt to engage in any such conduct. The word “harm” in the definition of “take'' means an act which actually kills or injures wildlife. Such an act may include significant habitat modification or degradation where it actually kills or injures wildlife by significantly impairing essential behavioral patterns, including breeding, feeding or sheltering.

- This Generic Permit does not authorize the permittee to cause any adverse impact to, or “take,” any state listed species and other regulated species of fish and wildlife. Compliance with state laws regulating the “take” of fish and wildlife is the responsibility of the owner or permittee associated with this project. Please refer to Chapter 68A-27 of the Florida Administrative Code for definitions of “take,” and a list of fish and wildlife species. If state listed species are observed onsite, Florida Fish and Wildlife Conservation Commission (FWC) staff are available to provide decision support information or assist in obtaining the appropriate FWC permits. Most marine endangered and threatened species are statutorily protected, and a “take” permit cannot be issued. Requests for further information or review can be sent to ConservationPlanningServices@MyFWC.com.

- Discharges to surface waters shall not be located within 500 feet of existing or permitted potable water intake structures located within surface waters.

- An applicant seeking coverage under this Generic Permit shall submit DEP Form 62-621.300(9)(b)2., Notice of Intent to Use the National Pollutant Discharge Elimination System (NPDES) Generic Permit for Discharges Associated with Pilot Testing for the Control of Harmful Algal Blooms (NOI), (adopted and incorporated by reference in subparagraph 62-621.300(9)(b)2., F.A.C., effective December 12, 2024, along with the $100 application fee at least 45 days prior to the commencement of discharge.

- The permittee shall meet the effluent limitations and requirements specified in Part III of this Generic Permit.

- Permittees shall comply with all other applicable federal and state laws and regulations that pertain to the application of pesticides. This Generic Permit does not negate the requirements under the Federal Insecticide, Fungicide, and Rodenticide Act (FIFRA) and its implementing regulations to use registered pesticides consistent with the product’s labeling.

- The information contained in Form 62-621.300(9)(b)2., Notice of Intent to Use the National Pollutant Discharge Elimination System (NPDES) Generic Permit for Discharges Associated with Pilot Testing for the Control of Harmful Algal Blooms (adopted and incorporated in subparagraph 62-621.300(9)(b)2., F.A.C., effective December 12, 2024), as submitted by the permittee is adopted, incorporated, and enforceable as part of this Generic Permit.

- To terminate permit coverage the permittee shall submit a complete DEP Form 62-621.300(9)(d), Notice of Termination National Pollutant Discharge Elimination System (NPDES) Generic Permits Associated with the Control of Harmful Algal Blooms (NOT) (adopted and incorporated in paragraph 62-621.300(9)(d), F.A.C., effective December 12, 2024, http://www.flrules.org/Gateway/reference.asp?No=Ref-17247), within 30 days after any of the following conditions have been met:

- The mechanical, biological, or chemical treatment activities authorized under the Generic Permit have ceased and no additional discharge is expected; or,

- The mechanical, biological, or chemical treatment activities authorized under the Generic Permit have now been authorized under an individual industrial wastewater permit or another Generic Permit.

Part III. Monitoring Requirements

- Permittees shall implement site-specific control measures to minimize or eliminate pollutant discharges to surface waters of the State. If the treatment process includes application of pesticide products or other chemical products, all permittees shall use the amount of product and frequency of product application as detailed on the product label as registered through US Environmental Protection Agency (EPA) and Florida Department of Agriculture and Consumer Services (FDACS).

- Pollutant discharges shall be controlled as necessary to meet applicable numeric and narrative water quality standards (WQS) in Chapter 62-302, F.A.C.

- Pursuant to Rule 62-302.500(1), F.A.C., the discharge shall not contain components that, alone or in combination with other substances or in combination with other components of the discharge:

(1) Settle to form putrescent deposits or otherwise create a nuisance;

(2) Float as debris, scum, oil, or other matter in such amounts as to form nuisances;

(3) Produce color, odor, taste, turbidity, or other conditions in such degree as to create a nuisance;

(4) Are acutely toxic;

(5) Are present in concentrations which are carcinogenic, mutagenic, or teratogenic to human beings or to significant, locally occurring, wildlife or aquatic species, unless specific standards are established for such components in subsection 62-302.500(2) or Rule 62-302.530, F.A.C.; or,

(6) Pose a serious danger to the public health, safety, or welfare.

- The applicable sample collection, analytical test methods, and method detection limits (MDLs) to this Generic Permit shall be conducted using a sufficiently sensitive method to ensure compliance with applicable water quality standards and effluent limitations and shall, as appropriate, be in accordance with Rule 62-4.246, Chapters 62-160 and 62-600, F.A.C., and 40 CFR 136, as adopted and incorporated in Rule 62-160.800, F.A.C., as appropriate. The list of Department established analytical methods, and corresponding method detection limits (MDLs) and practical quantitation limits (PQLs), which is titled "FAC 62-4 MDL/PQL Table (April 26, 2006)" is available at https://floridadep.gov/dear/quality-assurance/content/qualityassurance-resources. The MDLs and PQLs as described in this list shall constitute the minimum acceptable MDL/PQL values and the Department shall not accept results for which the laboratory's MDLs or PQLs are greater than those described above unless alternate MDLs and/or PQLs have been specifically approved by the Department for this permit. Any method included in the list may be used for reporting provided it meets the following requirements:

(1) The laboratory's reported MDL and PQL values for the particular method used must be equal or less than the corresponding method values specified in the Department's approved MDL and PQL list;

(2) The laboratory reported MDL for the specific parameter is less than or equal to the permit limit or the applicable water quality criteria, if any, stated in Chapter 62-302, F.A.C. Parameters that are listed as "report only" in the permit shall use methods that provide an MDL, which is equal to or less than the applicable water quality criteria, if any, stated in Chapter 62-302, F.A.C.; and

(3) If the MDLs for all methods available in the approved list are above the stated permit limit or applicable water quality criteria for that parameter, then the method with the lowest stated MDL shall be used. When the analytical results are below method detection or practical quantitation limits, the permittee shall report the actual laboratory MDL and/or PQL values for the analyses that were performed following the instructions on the applicable discharge monitoring report. Where necessary, the permittee may request approval of alternate methods or for alternative MDLs or PQLs for any approved analytical method. Approval of alternate laboratory MDLs or PQLs are not necessary if the laboratory reported MDLs and PQLs are less than or equal to the permit limit or the applicable water quality criteria, if any, stated in Chapter 62-302, F.A.C. Approval of an analytical method not included in the above referenced list is not necessary if the analytical method is approved in accordance with 40 CFR 136 or deemed acceptable by the Department. [62-4.246, 62-160]

- Beginning on the effective date of coverage and lasting through the coverage expiration date of this Generic Permit, the discharge shall be limited and monitored at each identified site by the permittee as specified in Tables 1 and 2 below, as applicable, and reported in accordance with Part III.E(11)

Table 1: Class III or Class III-Limited Freshwater

| Parameter | Units | Max/Min | Effluent Limit | Effluent Statistical Basis | Monitoring Frequency of Analysis | Monitoring Sample Type | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Flow | MGD | Max | Report | Daily Maximum | Continuous | Meter | - |
| Days of Discharge | Days | Report | Report | - | Daily | - | - |
| Temperature | Deg F | Min | Report | Single Sample | Daily | Grab | See III.E.3 |
| BOD, 5-day | percent | Max | Report | Single Sample | Daily | Grab | See III.E.5 |
| Solids, Total Suspended | mg/L | Max | Report | Single Sample | Daily | Grab | - |
| Turbidity (Effluent) | NTU | Max | Report | Single Sample | Daily | In-situ | See III.E.4 |
| Turbidity (Background) | NTU | Max | Report | Single Sample | Daily | In-situ | See III.E.4 |
| Turbidity (Calculated Limit) | NTU | Max | Report | Single Sample | Daily | Calculated | See III.E.4 |
| Turbidity (Effluent minus Calculated Limit) | NTU | Max | 0.00 | Single Sample | Daily | Calculated | See III.E.4 |
| pH | s.u. | Min Max | 6 8.5 | Single Sample | Daily | Meter | See III.E.1 and III.E.3 |
| Dissolved Oxygen (Percent Saturation) | percent | Min | 67% in the Panhandle West bioregion 38% in the Peninsula and Everglades bioregions 34% in the Northeast and Big Bend bioregions | Single Sample | Daily | Meter | See III.E.6 |
| Nitrogen, Ammonia, Total (as N) (Intake) | mg/L | Max | Report | Single Sample | Daily | Grab | See III.E.3 |
| Nitrogen, Ammonia, Total (as N) (Effluent) | mg/L | Max | Report | Daily Maximum | Daily | Grab | See III.E.3 |
| Nitrogen, Ammonia, Total (as N) (Effluent) | mg/L | Max | Report | Monthly Average | Daily | Grab | See III.E.3 |
| Nitrogen, Ammonia, Total (as N) (Calculated Limit) | mg/L | Max | Report | Monthly Average | Daily | Calculated | See III.E.3 |
| Nitrogen, Ammonia, Total (as N) (Effluent minus Calculated Limit) | mg/L | Max | 0.0 | Monthly Average | Daily | Calculated | See III.E.3 |
| Nitrogen, Ammonia, Total (as N) (Single Sample Max vs. Calculated Mo. Avg. Limit) | Ratio | Max | 2.5 | Maximum | Daily | - | See III.E.3 |
| Total Nitrogen | mg/L | Max | Report | Monthly Maximum | Daily | Grab | - |
| Total Phosphorous | mg/L | Max | Report | Monthly Maximum | Daily | Grab | - |
| Total Recoverable Zinc | µg/L | Max | 86 | Monthly Maximum | Daily | Grab | - |
| Total Recoverable Copper (Effluent) | µg/L | Max | Report | Monthly Maximum | Daily | Grab | See III.E.7 |
| Total Recoverable Copper (Calculated Limit) | µg/L | Max | Report | Monthly Maximum | Daily | Calculated | See III.E.7 |
| Total Recoverable Copper (Effluent minus Calculated Limit) | µg/L | Max | 0.00 | Monthly Maximum | Daily | Calculated | See III.E.7 |
| Hardness, Total (as CACO3) | mg/L | Report | Report | Monthly Maximum | Daily | Grab | See III.E.7 |
| Acute Whole Effluent Toxicity, 96-Hour LC50 | percent | Min | 100 | Single Sample | Once during discharge period | Grab | See III.E.9 |

Table 2: Class III or Class III-Limited Marine

| Parameter | Units | Max/ Min | Effluent Limit | Effluent Statistical Basis | Monitoring Frequency of Analysis | Monitoring Sample Type | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Flow | MGD | Max | Report | Daily Maximum | Continuous | Meter | - |
| Days of Discharge | Days | Report | Report | - | Daily | - | - |
| Temperature | Deg F | Min | Report | Single Sample | Daily | Grab | See III.E.3 |
| BOD, 5-day | percent | Max | Report | Single Sample | Daily | Grab | See III.E.5 |
| Solids, Total Suspended | mg/L | Max | Report | Single Sample | Daily | Grab | - |
| Turbidity (Effluent) | NTU | Max | Report | Single Sample | Daily | In-situ | See III.E.4 |
| Turbidity (Background) | NTU | Max | Report | Single Sample | Daily | In-situ | See III.E.4 |
| Turbidity (Calculated Limit) | NTU | Max | Report | Single Sample | Daily | Calculated | See III.E.4 |
| Turbidity (Effluent minus Calculated Limit) | NTU | Max | 0.00 | Single Sample | Daily | Calculated | See III.E.4 |
| pH | s.u. | Min Max | 6.5 8.5 | Single Sample | Daily | Meter | See III.E.1 and III.E.3 |
| Dissolved Oxygen (Percent Saturation) | percent | Min | 67% in the Panhandle West bioregion 38% in the Peninsula and Everglades bioregions 34% in the Northeast and Big Bend bioregions | Single Sample | Daily | Meter | See III.E.6 |
| Total Nitrogen | mg/L | Max | Report | Monthly Maximum | Daily | Grab | - |
| Total Phosphorous | mg/L | Max | Report | Monthly Maximum | Daily | Grab | - |
| Total Recoverable Zinc (Effluent) | µg/L | Max | Report | Monthly Maximum | Daily | Grab | See III.E.8 |
| Hardness, Total (as CACO3) | mg/L | Report | Report | Monthly Maximum | Daily | Grab | See III.E.8 |
| Acute Whole Effluent Toxicity, 96-Hour LC50 | percent | Min | 100 | Single Sample | Once during discharge period | Grab | See III.E.9 |

- The pH of the effluent shall not vary more than one unit above or below natural background of predominantly fresh waters and coastal waters as defined in paragraph 62-302.520(3)(b), F.A.C., or more than two-tenths unit above or below natural background of open waters as defined in paragraph 62-302.520(3)(f), F.A.C., provided that the pH is not lowered to less than 6 units in predominantly fresh waters, or less than 6.5 units in predominantly marine waters, or raised above 8.5 units. If natural background is less than 6 units, in predominantly fresh waters or 6.5 units in predominantly marine waters, the pH shall not vary below natural background or vary more than one unit above natural background of predominantly fresh waters and coastal waters, or more than two-tenths unit above natural background of open waters. If natural background is higher than 8.5 units, the pH shall not vary above natural background or vary more than one unit below natural background of predominantly fresh waters and coastal waters, or more than two-tenths unit below natural background of open waters.

[62-302.530]

- Except for turbidity and dissolved oxygen, samples for monitoring requirements specified above shall be taken at the nearest accessible point after final treatment.

- For the Freshwater total ammonia nitrogen limit, effluent shall be monitored for pH and temperature at the same time and location as total ammonia nitrogen (TAN). The 30-day average TAN value shall not exceed the average of the values calculated from the following equation, with no single value exceeding 2.5 times the value from the equation: 

30 - day Average = 0.8876((0.0278/1+107.688-pH) +(1.1994/1+10pH-7.688)) x (2.126 x 100.028(20-MAX (T, 7)))

Where:

  - T and pH are the paired temperature (°C) and pH associated with the TAN sample.

      - For purposes of total ammonia nitrogen criterion calculations, pH is subject to the range of 6.5 to 9.0. The pH shall be set to 6.5 if the measured pH is < 6.5 and set to 9.0 if the measured pH is > 9.0.

      - For convenience, a calculator that may be used to determine monthly average and single sample TAN criterion values is located at: https://floridadep.gov/dear/water-quality-standards-program/documents/total-ammonia-nitrogen-calculator%C2%A0

  - Determine compliance with the monthly average TAN criterion as follows:

        - Calculate the TAN criterion value using pH and temperature measurements associated with each total ammonia sample. Then calculate the average of the resulting TAN criterion values (i.e., add together all the values calculated with the equation and divide by the total number of samples).

        - Calculate the average of all effluent total ammonia concentrations measured.

        - Effluent is in compliance if the average effluent total ammonia concentration is less than or equal to the calculated average TAN criterion.

  - Determine compliance with the single sample maximum TAN criterion as follows:

        - Calculate the TAN criterion value using pH and temperature measurements associated with each total ammonia sample. Multiply each resulting TAN criterion value by 2.5.

        - Effluent is in compliance with the single sample TAN criterion if all effluent total ammonia concentrations are less than or equal to 2.5 times their corresponding calculated TAN criterion.

[62-302.530]

- The limit for “Turbidity” shall be calculated as follows:

      - Calculated Limit = Background Turbidity + 29 NTU

      - The measured effluent value shall be recorded on the DMR in the parameter row for “Turbidity (Effluent).” The measured background value shall be recorded on the DMR in the parameter row for “Turbidity (Background)” The calculated effluent limit shall be recorded on the DMR in the parameter row for “Turbidity (Calculated Limit).” Compliance with the effluent limitation is determined by calculating the difference between the measured effluent value and the calculated. The compliance value shall be recorded on the DMR in the parameter row for “Turbidity (Effluent minus Calculated Limit).” The compliance value shall not exceed 0.00.

- [62-302.530(69)]

- BOD shall not be increased to exceed values which would cause dissolved oxygen to be depressed below the limit established for Class III or Class III-Limited freshwater and marine waterbodies and, in no case, shall it be great enough to produce nuisance conditions.

[62.302.530(11)]

- Greater than or equal to 90% of the percent dissolved oxygen (DO) saturation daily averages shall be at least 67 percent in the Panhandle West bioregion, 38 percent in the Peninsula and Everglades bioregions, or 34 percent in the Northeast and Big Bend bioregions.

[62-302.533(1)(a)]

- The freshwater limit for copper shall be calculated using the following equation:

Cu ≤ e(0.8545[lnH]-1.702)

  - Total hardness shall be measured at the time of the effluent sample. The “ln H” means the natural logarithm of total hardness expressed as mg/L of CaCO3. For metals criteria involving equations with hardness, the hardness shall be set at 25 mg/L if actual hardness is <25 mg/L and set at 400 mg/L if actual hardness is >400 mg/L.

  - The measured effluent value shall be recorded on the DMR in the parameter row for “Total Copper (Effluent).” The calculated effluent limit shall be recorded on the DMR in the parameter row for “Total Copper (Calculated Limit).” Compliance with the effluent limitation is determined by calculating the difference between the measure effluent value and the calculated. The compliance value shall be recorded on the DMR in the parameter row for “Total Copper (Effluent minus Calculated Limit).” The compliance value shall not exceed 0.00.

[62-302.530(23)]

- The marine limit for Zinc shall be calculated using the following equation:

Zn ≤ e(0.8473[lnH]+0.884)

  - Total hardness shall be measured at the time of the effluent sample. The “ln H” means the natural logarithm of total hardness expressed as mg/L of CaCO3. For metals criteria involving equations with hardness, the hardness shall be set at 25 mg/L if actual hardness is <25 mg/L and set at 400 mg/L if actual hardness is >400 mg/L.

  - The measured effluent value shall be recorded on the DMR in the parameter row for “Total Zinc (Effluent).” The calculated effluent limit shall be recorded on the DMR in the parameter row for “Total Zinc (Calculated Limit).” Compliance with the effluent limitation is determined by calculating the difference between the measure effluent value and the calculated. The compliance value shall be recorded on the DMR in the parameter row for “Total Zinc (Effluent minus Calculated Limit).” The compliance value shall not exceed 0.00.

[62-302.530(70)]

- Once during the discharge period, , the Permittee, shall test for acute toxicity as provided in Rule 62-621.303 and subsections 62-620.620(3)(h)(i) and (j), F.A.C, to evaluate whole effluent toxicity of the discharge from the outfall. If more than one (1) outfall exists, separate tests shall be performed on each outfall.

  - Effluent Limitation

A 96-hour LC50 shall not be less than 100% effluent in any test. [Subparagraph 62-302.500(1)(a)4. And paragraph 62-4.241(1)(a), F.A.C.]

  - Monitoring Frequency

Routine toxicity test shall be conducted once every month within 30 days after discharge commences at each outfall location.

  - Sampling Requirements

Routine tests shall be conducted on four separate grab samples collected at evenly-spaced (6-hr) intervals over a 24-hour period. The four grab samples shall be used in eight bioassays (four bioassays for each species) and shall represent one test. If the duration of the discharge is less than 24-hours, the duration of discharge shall be documented on the chain of custody.

  - Test Requirements

    - All tests shall be conducted using a control (0% effluent) and a minimum of five test dilutions 100.0%, 75.0%, 50.0%, 25.0% and 12.5%.  All tests shall be conducted on one (1) grab sample of 100% final effluent.

    - If the effluent salinity is < 1.0 part per thousand, measured as conductivity, or if the discharge is to predominantly fresh water, the permittee shall conduct a 96-hour acute static-renewal multi-concentration toxicity tests using the daphnid (Ceriodaphnia dubia) and the bannerfin shiner (Cyprinella leedsi). The dilution/control water used will be moderately hard water as described in EPA-821-R-02-012, Table 7 (adopted and incorporated by reference in sub-subparagraph 62-620(3)(h)2. b., F.A.C.).

    - If the effluent salinity is ≥1.0 part per thousand, measured as conductivity, and if the discharge is to predominantly marine waters, the permittee shall conduct a 96-hour acute static-renewal multi-concentration toxicity tests using the mysid shrimp (Americamysis (Mysidopsis bahia) and the inland silverside (Menidia beryllina). The dilution/control water used shall be artificial seawater and diluted to the test salinity as described in EPA-821-R-02-012, Section 7.2.4 (adopted and incorporated in sub-subparagraph 62-620(3)(h)2. b., F.A.C.). The test salinity shall be determined as follows:

        - For the A. bahia bioassays, if the effluent is <7 parts per thousand (ppt), the effluent shall be adjusted to a salinity of 7 parts per thousand using artificial sea salts. The salinity of the control/dilution water (0% effluent) shall be 7 parts per thousand. A salinity adjustment control should be prepared and included with the Americamysis bahia bioassay. When the salinity of the effluent is greater than 7 parts per thousand, no salinity adjustment shall be made to the effluent and the test shall be run at the effluent salinity.

        - No salinity adjustment shall be done for the Menidia beryllina bioassay test. The salinity of the control/dilution water (0% effluent) shall match the test salinity of the effluent.

        - The salinity adjustment control is intended to identify toxicity resulting from adjusting the salinity of the effluent with artificial sea salts. To prepare the salinity adjustment control, dilute the control/dilution water to the salinity of the effluent and adjust the salinity of the salinity adjustment control to 7 ppt at the same time that the salinity of the effluent is adjusted to 7 ppt, using the same artificial sea salts.

        - When the salinity of the effluent is greater than 7 ppt, no salinity adjustment shall be made to the effluent and the test shall be run at the effluent salinity. The salinity of the control/dilution water (0% effluent) shall match the test salinity of the effluent.

    - All test species, procedures and quality assurance criteria used shall be in accordance with Methods for Measuring the Acute Toxicity of Effluents to Freshwater and Marine Organisms, 5th ed., October 2002, EPA-821-R-02-012, (adopted and incorporated by reference in sub-subparagraph 62-620.620(3)(h)2. b., F.A.C.). Any deviation of the bioassay procedures outlined herein shall be submitted in writing to the Department for review and approval prior to use. In the event the above method is revised, the permittee shall conduct acute toxicity testing in accordance with the revised method.

  - Quality Assurance Requirements

    - If the mortality in the control (0% effluent) exceeds 10% for either species in any test, the test(s) for that species (including the control) shall be repeated. A test will be considered valid only if control mortality does not exceed 10% for either species.

    - A standard reference toxicant (SRT) quality assurance (QA) acute toxicity test shall be conducted with each species used in the required toxicity tests either concurrently or initiated no more than 30 days before the date of each routine or additional follow-up test conducted. The SRT data must be included with the report. Additionally, the SRT test must be conducted concurrently if the test organisms are obtained from outside the test laboratory unless the test organism supplier provides control chart data from at least the last five monthly acute toxicity tests using the same reference toxicant and test conditions. If the organism supplier provides the required SRT data, the organism supplier’s SRT data and the test laboratory’s monthly SRT-QA data shall be included in the reports for each companion routine or additional follow-up test required.

    - If 100% mortality occurs in all effluent concentrations for either test species prior to the end of any test and the control mortality is less than 10% at that time, the test (including the control) for that species shall be terminated with the conclusion that the test fails and constitutes non-compliance.

  - Reporting requirements:

    - Results from all required tests shall be reported on the Discharge Monitoring Report (DMR). If an LC50 >100% effluent occurs all four separate grab sample tests for the test species, “>100%” shall be entered on the DMR for that test species. If in any of the four separate grab sample tests for the test species an LC50 <100% effluent occurs, the lowest calculated LC50 effluent concentration shall be entered on the DMR for that test species.

    - A bioassay laboratory report for the routine test shall be prepared according to EPA-821-R-02-012, Section 12, Report Preparation and Test Review (adopted and incorporated by reference in sub-subparagraph 62-620.620(3)(h)2. b., F.A.C.), and mailed to the Department at the address below within 30 days after the last day of the test.

    - For additional follow-up tests, a single bioassay laboratory report shall be prepared according to EPA-821-R-02-012, Section 12 (adopted and incorporated by reference in sub-subparagraph 62-620.620(3)(h)2. b., F.A.C.), and mailed within 30 days after the last day of the second valid additional follow-up test.

    - Data for invalid tests shall be included in the bioassay laboratory report for the repeat test.

    - The same bioassay data shall not be reported as the results of more than one test.

    - All bioassay laboratory reports shall be sent to the Department .

  - Test failures

    - A test fails when the test results do not meet the limits in III.E.(9)(a)1..

    - If a “routine” acute toxicity test fails (an LC50 of less than 100%), the permittee shall conduct two additional follow-up acute toxicity tests in the same manner as the “routine” test on the species indicating unacceptable acute toxicity. For each additional follow-up test, the sample collection requirements and test acceptability criteria specified above must be met for the test to be considered valid. The first test shall begin within two (2) weeks of the end of the “routine” test and shall be conducted weekly thereafter until two (2) valid additional follow-up tests are completed. The additional follow-up tests will be used to determine if the toxicity found in the “routine” test is still present.

    - Results from additional follow-up tests, required due to unacceptable acute toxicity in the “routine” test(s), must be reported on the Discharge Monitoring Report (DMR) Form for the month in which the test was begun. Such test results must be submitted within 30 days of completion of the second additional, valid test.

    - In the event of three valid test failures during the length of this Generic Permit, whether the failures occurred at one or more outfalls, the permittee shall notify the Department within 21 days after the last day of the third test failure.

[62-4.241, 62-620.620(3)]

- All samples must be analyzed by a laboratory registered and accredited under the provisions of Chapter 62-160, F.A.C., except as provided in subsections 62-160.300(2) through (8), F.A.C. Analytical results must include (if applicable):

    - The date, exact place, and time of sampling;

    - The date analyses were performed;

    - Who performed the analyses;

    - The analytical techniques/methods used (if any); and,

    - The results of such analyses.

- Monitoring results obtained for each calendar month shall be summarized and reported on a Discharge Monitoring Report (DMR) form (DEP Form 62-620.910(10)), quarterly. The DMR form shall be submitted electronically in accordance with Rule 62-621.250, F.A.C., using the DEP Business Portal at http://www.fldepportal.com/go/. The DMR shall be submitted to the Department after each calendar quarter no later than the 28th day of the month following the completed calendar quarter. For example, data for January-March shall be submitted by April 28. Calendar quarters are January-March, April-June, July-September, and October-December.

Part IV. Harmful Algal Bloom Management Plans

- Contents of Harmful Algal Bloom Management Plans (HABMP)

- The permittee shall identify the HABMP team members, (persons and affiliations if appropriate) with primary responsibility for the following activities:

- Person(s) responsible for managing algae in the Harmful Algal Bloom Management Area;

- Person(s) responsible for developing and revising the HABMP;

- Person(s) responsible for developing, revising, and implementing corrective actions and other effluent limitation requirements; and,

- Person(s) responsible for overseeing the treatment technologies for algal control. If the technologies applicator is unknown at the time of plan development, indicate whether  a for-hire applicator will be used and when the permittee anticipates identification of the applicator.

- Identification of team members shall include any written agreement(s) between the permittee and any other parties, such as a for-hire algal control applicator(s)/operator(s), that specify the division of responsibilities as necessary to comply with the provisions of this Generic Permit.

- Harmful Algal Bloom Management Area Description.

  - Algal problem description. Describe the harmful algal bloom problem at the Harmful Algal Bloom Management Area, including identification of the target algae and source of data used to identify the problem in accordance with this Generic Permit.

  - General location map. In the plan, include a general location map (e.g., USGS quadrangle map, a portion of a city or county map, or other map) that identifies the geographic boundaries of the area to which the plan applies and location of the surface waters of the State; and

  - List of pollutants present for which the water body is impaired.

- Control Measure Description.

(a) The permittee shall document the evaluation of control measures for the Harmful Algal Bloom Management Area. The documentation shall include the control measures that will be implemented to comply with the effluent limitations required in this Generic Permit.

(b) The Control Measure Description shall include the following;

i. Active ingredient(s) evaluated and potential effects on the waterbody and water quality parameters dictating the need for buffering;

ii. If the treatment technologies include phosphorus sequestration products (PSP), the permittee shall provide:

a. The chemistry of the PSP, including all chemical components that make up the PSP, including any adjuvants and/or buffering agents;

b. Identification of potential effects on aquatic organisms;

c. A description of the objectives of this treatment and the expected results;

d. A description of the application techniques, equipment, and procedural steps that will be used for application of the PSP; and,

e. A description of any additional control measures implemented to protect the health of water users.

- Schedules and Procedures. The permittee shall document the following schedules and procedures in the HABMP:

- Pertaining to control measures used to comply with the effluent limitations, the following shall be documented in the HABMP:

    - Application rate and frequency procedure(s) for determining the optimum amount of pesticide or other chemical product per application and the optimum frequency of product applications necessary to control the target algae. For pesticides and other chemicals, application rate and frequency procedures shall be consistent with the product label registered through EPA and FDACS;

    - Spill prevention procedure(s) and schedules of maintenance activities for preventing spills and leaks of pollutants associated with the activities covered under this Generic Permit;

    - Procedure(s) for selecting the optimum method of application and maintaining equipment in proper operating condition, including maintenance schedules, calibrating, cleaning, and repairing the equipment;

    - Harmful algal bloom surveillance procedures and methods for conducting pre-application algal bloom surveillance; and,

    - Methods for assessing environmental conditions in the treatment area.

- Pertaining to other actions necessary to minimize discharges the following shall be documented in the HABMP:

    - Spill Response Procedures.

        - Procedures for stopping, containing, and cleaning up leaks, spills, and other releases. Employees who have the potential to cause, detect, or respond to a spill or leak shall be trained in these procedures and have necessary spill response equipment available. If possible, one of these individuals should be a member of your HABMP team.

        - Procedures for notification of appropriate facility personnel, emergency response agencies, and regulatory agencies.

    - Adverse Incident Response Procedures. The HABMP shall include:

        - Procedures for responding to any adverse incident resulting from pesticide or other chemical product applications;

        - Procedures for notification of the incident within the permittee’s agency or organization;

        - Procedures for contacting outside emergency personnel using, for example, a 911 hotline and/or Center for Disease Control poison center hotline; and,

        - Contact information for the National Pesticide Telecommunications Network at 800-858-7358; maintain contact information with the National Spill Response Center at 800-424-8802; and the State Watch Office at 800-320-0519.

    - Harmful Algal Bloom Monitoring Schedules and Procedures. Document procedures for post-application visual monitoring, including:

        - The process for determining the location of any monitoring;

        - A schedule for monitoring;

        - The name and contact information for person(s) (or position) responsible for conducting monitoring; and,

        - Procedures for documenting any observed impacts to non-target organisms resulting from your pesticide or other chemical product application.

- Signature Requirements. The plan and any revisions to the plan shall be signed and dated by the permittee.

  - Harmful Algal Bloom Management Plan Modifications

          - The HABMP shall be modified whenever necessary to address any of the triggering conditions for corrective action or when a change in algal control activities significantly changes the type, method of application or quantity of pollutants discharged. Changes to the HABMP shall be made before the next use/deployment of the treatment technologies that results in a discharge of pollutants to surface waters of the State, if practicable, or if not, as soon as possible thereafter. The revised HABMP shall be signed and dated in accordance with this Generic Permit.

          - The Permittee shall review the HABMP a minimum of once per calendar year and whenever necessary to update the harmful algal bloom problem identified and algal management strategies evaluated for the Harmful Algal Bloom Management Area.

  - Harmful Algal Bloom Management Plan Availability

          - A copy of the current HABMP, along with all supporting maps and documents, shall be kept at the address provided in the NOI.

          - The HABMP and all supporting documents shall be readily available, and copies of any of these documents provided, upon request, to the Department, Florida Department of Agriculture and Consumer Services (FDACS), and Florida Fish and Wildlife Conservation Commission (FWC) (for aquatic weed control); In accordance with Florida’s public record law, the Department shall provide copies of the HABMP or other information related to this Generic Permit that is in its possession to members of the public, upon request.

# Part V. Corrective Action

- Situations Requiring Revision of Control Measures. If any of the following situations occur, the permittee shall review and revise control measures to ensure that the situation is eliminated and will not be repeated:

- An unauthorized release or discharge occurs (e.g., spill, leak, upset as defined in Appendix A, or any unauthorized discharge to surface water or not authorized by this or another Department permit);

- The permittee becomes aware, or the Department concludes that the control measures are not adequate or sufficient for the discharge to meet applicable water quality standards;

- Any monitoring activity indicating that the permittee failed to:

  - Use the amount of pesticide and frequency of pesticide application necessary to control the target algae using equipment and application procedures as reported in the NOI;

  - Perform regular maintenance activities to ensure that the equipment is in proper operating condition to minimize the potential for leaks, spills, and unintended or accidental release of pollutants to waters of the State; or,

  - Calibrate, clean, and repair equipment on a regular basis to ensure that the equipment is in proper operating condition.

- The Department determines that modifications to the control measures are necessary to meet the effluent limits in this Generic Permit; or,

- The permittee observes or is otherwise made aware of an adverse incident.

## Corrective Action Deadlines. If the permittee determines or the Department concludes and informs the permittee in writing that changes to the control measures are necessary to eliminate any situation, such changes shall be made before the next treatment that results in a discharge of pollutants to surface waters of the State.

- Adverse Incident Notification and Reporting.

- Twenty-Four-Hour Adverse Incident Notification

  - If the permittee observes or is otherwise made aware of an adverse incident, as defined in Appendix A, resulting from a discharge of pollutants to surface waters of the State by the permittee, then the permittee shall notify the State Watch Office at 800-320-0519. This notification shall be made by telephone within 24 hours of becoming aware of the adverse incident and shall include the following information, if available:

    - The caller’s name, address and telephone number;

    - The permittee’s name and mailing address and telephone number (if different from the caller);

    - The Generic Permit number;

    - The name and telephone number of a contact person, if different than the person providing the 24-hour notice;

    - The date and time of the adverse incident and status (ongoing or ceased);

    - How and when you became aware of the adverse incident was noticed;

    - A description of the location, or address, of the adverse incident including the name of the water body affected, if any;

    - A description of the adverse incident identified and the U.S. Environmental Protection Agency (EPA) pesticide registration number for each product applied in the area of the adverse incident;

    - A description of any steps taken or that will be taken to correct, repair, remedy, cleanup, or otherwise address any adverse effects; and,

    - Other persons or agencies contacted.

NOTE:  If any of the information above is not available at the time of initial notification, it shall be included in the “30-Day Adverse Incident Written Report”

  - The adverse incident notification and reporting requirements are in addition to the reporting requirements under FIFRA section 6(a)(2) and its implementing regulations at 40 CFR Part 159.

- Thirty (30) Day Adverse Incident Written Report.

  - If the oral report for an adverse incident has been received within 24 hours, the incident has been corrected and the incident did not adversely impact health or the environment, the Department shall waive the written report.

  - Except as provided above, within thirty (30) days of an adverse incident the permittee shall provide a written report to the Department.

  - The adverse incident report shall include the following information:

    - Information required to be provided under the 24-hour adverse incident notification;

    - The date and time the State Watch Office was contacted notifying the State of the adverse incident and any instructions you received from the Office;

    - The location of incident, including the names of any waters affected and appearance of those waters (sheen, color, clarity, etc.);

    - A description of the circumstances of the adverse incident including species affected, estimated number of individual and approximate size of dead or distressed organisms and if the adverse incident has not been corrected, the anticipated duration it is expected to continue;

    - The magnitude and scope of the affected area (e.g., aquatic acreage or total stream distance affected);

    - Product application rate, intended use site, method of application, and name of product and active ingredients, and, if applicable, the EPA registration number;

    - A description of the habitat and the circumstances under which the adverse incident occurred (including any available ambient water data for products applied);

    - If laboratory tests were performed, indicate what and when test(s) were performed, and provide a summary of the test results within 5 days after they become available;

    - If applicable, explain why the adverse incident could not have been caused by exposure to the product; and,

    - The steps taken or planned to reduce, eliminate, and prevent recurrence of adverse incidents.

- Notification and Reporting for Adverse Incidents Involving Multiple Operators. Where multiple operators are authorized for a discharge that results in an adverse incident, notification and reporting by any one of the operators constitutes compliance for all operators, provided a copy of the written report required in Part V.C.2. is also provided to all other authorized operators within 30 days of the reportable adverse incident.

# Part VI. Recordkeeping and Final Report

The permittee shall keep written records as required in this Generic Permit.  These records shall be accurate and complete and sufficient to demonstrate compliance with the conditions of this Generic Permit.  The permittee can rely on records and documents developed for other obligations, such as requirements under FIFRA, FDACS and FWC, provided all requirements of this Generic Permit are satisfied.

- All entities conducting pesticide or other chemical product application activities shall keep the following records:

- A copy of any written 30-day adverse incident reports;

- The rationale for any determination that a written report of an identified adverse incident is not required;

- A copy of the NOI submitted to the Department, any correspondence specific to coverage under this Generic Permit, and a copy of the Department coverage letter assigning your permit tracking number;

- A copy of the Department issued coverage letter and Generic Permit (either a hardcopy or an electronic copy);

- The surveillance method(s) used, date(s) of surveillance activities, and findings of surveillance;

- Target algae;

- Algae density prior to product application;

- The company name and contact information for product applicator (if applicable);

- The product application date(s);

- A description of the treatment area, including location and size (acres), or other appropriate unit of measure, of the treatment area and identification of any waters, either by name or by location, to which the permittee applied any pesticide(s);

- The name of each product used, including, if applicable, the EPA pesticide registration number;

- The quantity of product applied (and specify if quantities are for the product as packaged or as formulated and applied);

- The concentration expressed as percent (%) of active ingredient in formulation;

- For pesticide applications directly to waters, the effective concentration of active ingredient required for control;

- Any unusual or unexpected effects identified in non-target organisms;

- Documentation of any equipment calibration; and,

- A copy of the HABMP, including any modifications made to the HABMP during the term of the Generic Permit.

- All required records shall be documented as soon as possible but no later than 14 days following completion of such activity. Upon request, by an authorized representative of the Department, the permittee shall make available all records, if any, kept under this Generic Permit and provide copies of such records. .

- The final report shall be submitted to the Department prior to terminating coverage of the Generic Permit and shall contain the following information:

- The permittee’s name;

- The Generic Permit number (i.e. FLGxxxx);

- The contact person’s name, if different from the permittee, title, e-mail address (if any), and phone number;

- A summary containing the following information:

- Identification of treatment area(s), including size, either by name or by location, to which you discharged any pollutant(s);

- Algal control and target algae;

- Identify all entities conducting pesticide or other chemical product application activities and include records detailed in VI.A.(7) through (15);

- Identify and describe any changes to the HABMP;

- A description of any adverse incident(s) as a result of these treatment(s) as described in this Generic Permit; and,

- A description of any corrective action(s), including spill responses, resulting from activities associated with the technologies and the rationale for such action(s).

# Part VII. Other Conditions

- The discharges authorized by this Generic Permit shall not cause or contribute to a violation of state surface water quality standards.

- If the Harmful Algal Bloom Management Area is within an established Total Maximum Daily Load or Basin Management Action Plan, the permittee shall comply with the additional conditions established for the receiving waterbody.

- Disposal of algae in a solid waste disposal facility shall be in accordance with the requirements of Chapter 62-701, F.A.C.

- If the permittee becomes aware of relevant facts that were not submitted or were incorrect in the NOI or in any report to the Department, such facts or information shall be submitted, or corrections reported to the Department within 10 days of discovery.

- Upon request by the Department, the permittee shall provide any information required by law which is needed to determine compliance with the permit or whether there is cause for revoking and reissuing or terminating coverage under this Generic Permit.

- Coverage under this permit can be suspended, revoked and reissued, or terminated in accordance with Rule 62-620.345, F.A.C., if the Department determines that there has been a violation of any of the terms or conditions of the permit, there has been a violation of state water quality standards, or the permittee has submitted false, incomplete or inaccurate data or information.

- In accordance with paragraphs 62-620.100(3)(bb) and 62-620.100(3)(cc), F.A.C., NPDES regulated entities must electronically report NPDES data to the Department. Paragraph 62-620.100(3)(bb) F.A.C., contains requirements for electronic reporting of NPDES information from NPDES-regulated entities, (including waivers). Paragraph 62-620.100(3)(cc) F.A.C., contains the information NPDES-regulated entities must electronically report and the minimum set of NPDES data that must be entered in or transferred to EPA’s national NPDES data system.

  - Permittees required to submit Discharge Monitoring Reports (DMRs) at the intervals specified in subsection 62-621.300(1), F.A.C., Generic Permit for Discharges From Petroleum Contaminated Sites, shall submit their DMRs electronically using the Department’s Business Portal at http://www.fldepportal.com/go/.

  - Permittees required to submit DMRs at the intervals specified in subsection 62-621.300(5), F.A.C., Multi-Sector Generic Permit for Stormwater Discharge Associated with Industrial Activity, shall submit their DMRS electronically using the Department’s Business Portal at http://www.fldepportal.com/go/.

# Part VIII. General Conditions

- The terms, conditions, requirements, limitations, and restrictions set forth in this permit are binding and enforceable pursuant to Chapter 403, F.S. Any permit noncompliance constitutes a violation of Chapter 403, F.S., and is grounds for enforcement action, permit termination, permit revocation and reissuance. [62-620.610(1), F.A.C.]

- This permit is valid only for the specific processes and operations applied for and indicated in the approved drawings or exhibits. Any unauthorized deviation from the approved drawings, exhibits, specifications, or conditions of this permit constitutes grounds for revocation and enforcement action by the Department. [62-620.610(2), F.A.C.]

- When requested by the Department, the permittee shall provide any information required by law which is needed to determine whether there is cause for revising, revoking and reissuing, or terminating coverage under this permit, or to determine compliance with the permit. The permittee shall also provide to the Department upon request copies of records required by this permit to be kept. If the permittee becomes aware of relevant facts that were not submitted or were incorrect in the permit application or in any report to the Department, such facts or information shall be submitted or corrections reported to the Department within 10 days of discovery.

- Unless specifically stated otherwise in Department rules, the permittee, in accepting this permit coverage, agrees to comply with changes in Department rules and Florida Statutes after a reasonable time for compliance; provided, however, the permittee does not waive any other rights granted by Florida Statutes or Department rules.

- The use of generic permits issued under this chapter is limited to a term not to exceed one year. The renewal of permit coverage shall be in accordance with Rule 62-620.335, F.A.C., unless otherwise specified in the generic permit. The application requirements for submittal of request for coverage are located in Rule 62-621.300, F.A.C., or each specific generic permit.

- Coverage under this generic permit may be suspended, revoked and reissued, or terminated in accordance with Rule 62-620.345, F.A.C., if the Secretary determines that there has been a violation of any of the terms or conditions of the permit, there has been a violation of state water quality standards or the permittee has submitted false, incomplete or inaccurate data or information.

- As provided in Section 403.087(7), F.S., the issuance of this permit does not convey any vested rights or any exclusive privileges. Neither does it authorize any injury to public or private property or any invasion of personal rights, nor authorize any infringement of federal, state, or local laws or regulations. This permit is not a waiver of, or approval of any other Department permit, or authorization required for other aspects of the total project which are not addressed in this permit.  [62-620.610(3), F.A.C.]

- This permit conveys no title to land or water, does not constitute State recognition or acknowledgment of title, and does not constitute authority for the use of submerged lands unless herein provided and the necessary title or leasehold interests have been obtained from the State. Only the Trustees of the Internal Improvement Trust Fund can express State opinion as to title.  [62-620.610(4), F.A.C.]

- This permit does not relieve the permittee from liability and penalties for harm or injury to human health or welfare, animal or plant life, or property caused by the construction or operation of this permitted source; nor does it allow the permittee to cause pollution in contravention of Florida Statutes and Department rules, unless specifically authorized by an order from the Department. The permittee shall take all reasonable steps to minimize or prevent any discharge, reuse of reclaimed water, or residuals use or disposal in violation of this permit which has a reasonable likelihood of adversely affecting human health or the environment. It shall not be a defense for a permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this permit. [62-620.610(5), F.A.C.]

- The permittee shall at all times properly operate and maintain the facility and systems of treatment and control, and related appurtenances, that are installed and used by the permittee to achieve compliance with the conditions of this permit. This provision includes the operation of backup or auxiliary facilities or similar systems when necessary to maintain or achieve compliance with the conditions of the permit. [62-620.610(7), F.A.C.]

- The permittee, by accepting this permit, specifically agrees to allow authorized Department personnel, including an authorized representative of the Department and authorized EPA personnel, when applicable, upon presentation of credentials or other documents required by law, and at reasonable times, depending upon the nature of the concern being investigated, to:

  - Enter upon the permittee’s premises where a regulated facility, system, or activity is located or conducted, or where records shall be kept under the conditions of this permit;

  - Have access to and copy any records that shall be kept under the conditions of this permit;

  - Inspect the facilities, equipment, practices, or operations regulated or required under this permit; and,

  - Sample or monitor any substances or parameters at any location necessary to assure compliance with this permit or Department rules. [62-620.610(9), F.A.C.]

- In accepting this permit, the permittee understands and agrees that all records, notes, monitoring data, and other information relating to the construction or operation of this permitted source which are submitted to the Department can be used by the Department as evidence in any enforcement case involving the permitted source arising under the Florida Statutes or Department rules, except as such use is proscribed by Section 403.111, F.S., or Rule 62-620.302, F.A.C. Such evidence shall only be used to the extent that it is consistent with the Florida Rules of Civil Procedure and applicable evidentiary rules. [62-620.610(10), F.A.C.]

- This permit is transferable only upon Department approval in accordance with Rule 62-620.340, F.A.C. The permittee shall be liable for any noncompliance of the permitted activity until the transfer is approved by the Department.  [62-620.610(14)]

- The permittee shall give advance notice to the Department of any planned changes in the permitted facility or activity which may result in noncompliance with permit requirements. The permittee shall be responsible for  all damages, if any, which may result from the changes and may be subject to enforcement action by the Department for penalties or revocation of this permit. The notice shall include the following information:

(1) A description of the anticipated noncompliance;

(2) The period of the anticipated noncompliance, including dates and times; and,

(3) Steps being taken to prevent future occurrence of the noncompliance. [62-620.610(17)]

- Sampling and monitoring data shall be collected and analyzed in accordance with Rule 62-4.246, Chapters 62-160 and 62-601, F.A.C., and 40 C.F.R. 136, as appropriate.

(1) Monitoring results shall be reported at the intervals specified elsewhere in this permit and shall be reported on a Discharge Monitoring Report (DMR), DEP Form 62-620.910(10), or as specified elsewhere in the permit.

(2) If the permittee monitors any contaminant more frequently than required by the permit, using Department approved test procedures, the results of this monitoring shall be included in the calculation and reporting of the data submitted in the DMR.

(3) Calculations for all limitations which require averaging of measurements shall use an arithmetic mean unless otherwise specified in this permit.

(4) Except as specifically provided in Rule 62-160.300, F.A.C., any laboratory test required by this permit shall be performed by a laboratory that has been certified by the Department of Health Environmental Laboratory Certification Program (DOH ELCP). Such certification shall be for the matrix, test method and analyte(s) being measured to comply with this permit.

(5) Field activities including onsite tests and sample collection shall follow the applicable standard operating procedures described in DEP-SOP-001/01 adopted by reference in Chapter 62-160, F.A.C.

(6) Alternate field procedures and laboratory methods may be used where they have been approved in accordance with Rules 62-160.220 and 62-160.330, F.A.C. [62-620.610(18), F.A.C.]

- The permittee shall report to the Department any noncompliance which may endanger health or the environment. Any information shall be provided orally within 24 hours from the time the permittee becomes aware of the circumstances. A written submission shall also be provided within five days of the time the permittee becomes aware of the circumstances. The written submission shall contain a description of the noncompliance and its cause; the period of noncompliance including exact dates and times, and if the noncompliance has not been corrected, the anticipated time it is expected to continue; clean up actions taken and status; and steps taken or planned to reduce, eliminate, and prevent recurrence of the noncompliance. For noncompliance events related to sanitary sewer overflows, bypass events, or unauthorized discharges, these reports must include the data described above (with the exception of time of discovery) as well as the type of event (e.g., sanitary sewer overflow, bypass, unauthorized discharge); type of sanitary sewer overflow structure (e.g., manhole); the discharge location address and latitude/longitude; type of water discharged; discharge volumes and volumes recovered; volume discharged to surface waters and receiving waterbody name; types of human health and environmental impacts of the sanitary sewer overflow, bypass event, or unauthorized discharge (e.g., beach closure); whether the noncompliance was caused by a third party; and whether the noncompliance was related to wet weather. The written submission may be provided electronically using the Department’s Business Portal at http://www.fldepportal.com/go/ (via “Submit” followed by “Report” or “Registration/Notification”). Notice required for public notice of pollution under paragraph (4) may be provided together with the written submission using the Business Portal. All noncompliance events related to sanitary sewer overflows or bypass events submitted after (September 14, 2021), shall be submitted electronically.

(1) The following shall be included as information which must be reported within 24 hours:

(a) Any unanticipated bypass which causes any reclaimed water or the effluent to exceed any permit limitation or results in an unpermitted discharge;

(b) Any upset which causes any reclaimed water or the effluent to exceed any limitation in the permit;

(c) Violation of a maximum daily discharge limitation for any of the pollutants specifically listed in the permit for such notice; and,

(d) Any unauthorized discharge to surface or ground waters, except for discharges to ground water of reclaimed water meeting Part III or Part V treatment standards under Chapter 62-610, F.A.C.

(2) Oral reports as required by this subsection shall be provided as follows:

(a) For unauthorized releases or spills of treated or untreated wastewater reported pursuant to subparagraph (1)(d), that are in excess of 1,000 gallons per incident, or where information indicates that public health or the environment will be endangered, oral reports shall be provided to the Department by calling the State Watch Officetoll free number (800)320-0519, as soon as practicable, but no later than 24 hours from the time the permittee becomes aware of the discharge. The permittee, to the extent known, shall provide the following information to the State Watch Office:

i. Name, address, and telephone number of person reporting;

ii. Name, address, and telephone number of permittee or responsible person for the discharge;

iii. Date and time of the discharge and status of discharge (ongoing or ceased);

iv. Characteristics of the wastewater spilled or released (untreated or treated, industrial or domestic wastewater);

v. Estimated amount of the discharge;

vi. Location or address of the discharge;

vii. Source and cause of the discharge;

viii. Whether the discharge was contained on-site, and cleanup actions taken to date;

ix. Description of area affected by the discharge, including name of water body affected, if any; and,

x. Other persons or agencies contacted.

(b) Oral reports, not otherwise required to be provided pursuant to subparagraph (2)(a), above, shall be provided to the Department within 24 hours from the time the permittee becomes aware of the circumstances.

(3) If the oral report has been received within 24 hours, the noncompliance has been corrected, and the noncompliance did not endanger health or the environment, the Department shall waive the written report.

(4) In accordance with Section 403.077, F.S., unauthorized releases or spills reportable to the State Watch Office pursuant to subparagraph (2)(a). above shall also be reported to the Department within 24 hours from the time the permittee becomes aware of the discharge. The permittee shall provide to the Department information reported to the State Watch Office. Notice of unauthorized releases or spills may be provided to the Department through the Department’s Public Notice of Pollution web page at https://floridadep.gov/pollutionnotice or by reporting electronically using the Department’s Business Portal at http://www.fldepportal.com/go/ (via “Submit” followed by “Report” or “Registration/Notification”).

(a) If, after providing notice pursuant to paragraph (4) above, the permittee determines that a reportable unauthorized release or spill did not occur or that an amendment to the notice is warranted, the permittee may submit a letter to the Department documenting such determination at pollution.notice@floridadep.gov.

(b) If, after providing notice pursuant to paragraph (4) above, the permittee discovers that a reportable unauthorized release or spill has migrated outside the property boundaries of the installation, the permittee must provide an additional notice to the Department that the release has migrated outside the property boundaries within 24 hours after its discovery of the migration outside of the property boundaries.

(5) Unless discharged to surface waters, a spill, release, discharge, upset or bypass involving reclaimed water meeting Part III or Part V treatment standards under Chapter 62-610, F.A.C., shall not be considered to endanger health or the environment and shall be reported under subsection M. of this permit. [62-620.610(20), F.A.C.]

- The permittee shall report all instances of noncompliance not reported under subsection J. or K. of this permit at the time monitoring reports are submitted. This report shall contain the same information required by subsection L. of this permit. [62-620.610(21), F.A.C.]

Appendix A - Definitions

Activity – means any action which results in a discharge of pollutants to surface waters of the State from the treatment technology used to control harmful algal blooms or that is reasonably expected to be a source of water pollution.

Adverse Incident – means an incident that the permittee has observed upon inspection of the application area or of which otherwise becomes aware, in which a person or non-target organism suffered a toxic or adverse effect.

The phrase “toxic or adverse effects” includes effects that occur within surface waters of the State on non-target plants, fish or wildlife that are unusual or unexpected (e.g., effects are to organisms not otherwise described on the pesticide product label or otherwise not expected to be present) as a result of exposure to a pesticide residue, including:

    - Distressed or dead juvenile and small fishes;

    - Washed up or floating fish;

    - Fish swimming abnormally or erratically;

    - Fish lying lethargically at water surface or in shallow water;

    - Fish that are listless or nonresponsive to disturbance;

    - Stunting, wilting, or desiccation of non-target submerged or emergent aquatic plants; and

    - Other dead or visibly distressed non-target aquatic organisms (amphibians, turtles, invertebrates, etc.)

The phrase, “toxic or adverse effects,” also includes any adverse effects to humans (e.g., skin rashes) or domesticated animals that occur either directly or indirectly from a discharge of pollutants to surface waters of the State that are temporally and spatially related to exposure to a pesticide residue (e.g., vomiting, lethargy).

Basin Management Act Plan (BMAP) – means a framework for water quality restoration that contains local and state commitments to reduce pollutant loading through current and future projects and strategies. BMAPs contain a comprehensive set of solutions, such as permit limits on wastewater facilities, urban and agricultural best management practices (BMPs), and conservation programs designed to achieve pollutant reductions established by a total maximum daily load (TMDL).

Class III – means a waterbody used for fish consumption, recreation, propagation and maintenance of a healthy, well-balanced population of fish and wildlife.

Class III-Limited – means a waterbody used for fish consumption, recreation or limited recreation, and/or propagation and maintenance of a limited population of fish and wildlife

Control – means a technology or methodology used to abate or reduce harmful algal blooms.

Control Measure – refers to any BMP or other method used to meet the effluent limitations.  Control measures shall comply with manufacturer specifications, industry standards and recommended industry practices related to the technology, and relevant legal requirements.  Additionally, control measures could include other actions that a prudent permittee would implement to reduce and/or eliminate pollutant discharges to surface waters of the State to comply with the effluent limitations of this permit.

Declared Harmful Algal Bloom Emergency - means a situation that requires the emergency control of harmful algal blooms as declared in an order by the Governor of Florida or by an agency head in an emergency order issued pursuant to Section 120.569(2)(n), F.S.

Discharge – when used without qualification, means the "discharge of a pollutant.”

Discharge of a pollutant – means any addition of any pollutant or combination of pollutants, as defined in Rule 620.200(13), F.A.C., to waters from any point source other than a vessel or other floating craft which is being used as a means of transportation. This definition includes additions of pollutants into waters from surface runoff which is collected or channeled by man, and discharges through pipes, sewers, or other conveyances which do not lead to a treatment works. This term does not include an addition of pollutants by an indirect discharger.

EPA Approved or Established Total Maximum Daily Loads (TMDLs) – “EPA Approved TMDLs” are those that are developed by the State of Florida and approved by EPA. “EPA Established TMDLs” are those that are issued by EPA.

FLG Number – the identification number for a Department NPDES Generic Permit.

Harmful Agal Bloom – Any colony of red tide or blue-green algal [cyanobacteria] that lives in marine water or freshwater and grows out of control while producing toxins harmful to human health, animals, or aquatic ecosystems.

Harmful Algal Bloom Management Area – The area of water, including any land, for which you are conducting harmful algal bloom management activities covered by this permit.

Impaired Water (or “Water Quality Impaired Water” or “Water Quality Limited Segment”) – A water is impaired for purposes of this permit if it has been identified by the Department pursuant to Chapter 62-303, F.A.C., or EPA pursuant to Section 303(d) of the Clean Water Act as not meeting applicable state, surface water quality standards for a particular pollutant or its degradants.

Minimize - to reduce and/or eliminate pollutant discharges to surface waters of the State through the use of “control measures” to the extent technologically available and economically practicable and achievable.

Non-target Organisms – includes the plant and animal hosts of the target species, the natural enemies of the target species living in the community, and other plants and animals, including vertebrates, living in or near the community that are not the target of the algal control activity.

Permittee - any person obtaining coverage under this Generic Permit.

Person – the state or any agency or institution thereof, the United States or any agency or institution thereof, or any municipality, political subdivision, public or private corporation, individual, partnership, association, or other entity and includes any officer or governing or managing body of the state, the United States, any agency, any municipality, political subdivision, or public or private corporation.

Pesticide Product – a pesticide in the particular form (including composition, packaging, and labeling) in which the pesticide is, or is intended to be, distributed or sold. The term includes any physical apparatus used to deliver or apply the pesticide if distributed or sold with the pesticide.

Pesticide Residue – includes that portion of a pesticide application that is discharged from a point source to waters of the State and no longer provides pesticidal benefits. It also includes any degradants of the pesticide.

Phosphorus Sequestration Product (PSP) - Products used to inactivate nutrients in the sediments such as aluminum sulfate or sodium aluminate (alum) and calcium hydroxide.

Point source – any discernible, confined, and discrete conveyance, including but not limited to any pipe, ditch, channel, tunnel, conduit, well, discrete fissure, container, rolling stock, concentrated animal feeding operation, landfill leachate collection system, vessel, or other floating craft from which pollutants are or can be discharged. This term does not include return flows from irrigated agriculture or agricultural stormwater runoff. (Subsection 62-620.200(37), F.A.C.)

Pollutant – dredged spoil, solid waste, incinerator residue, filter backwash, sewage, garbage, sewage sludge, munitions, chemical wastes, biological materials, heat, wrecked or discarded equipment, rock, sand, cellar dirt, and industrial, municipal, and agricultural waste discharged into water.  For purposes of this definition, a “biological pesticide” is considered a “biological material,” and any “pesticide residue” resulting from use of a “chemical pesticide” is considered a “chemical waste.”

Surface Waters of the State – “waters” as defined in Section 403.031(13), F.S., excluding underground waters.

Target Algae – the organism toward which control measures are being directed.

Technologies – new or improved treatment technologies or products that have been demonstrated to be technically feasible under an individual NPDES wastewater permit used under the conditions that exist at harmful algal bloom management areas.

Total Maximum Daily Loads (TMDLs) – For an impaired water body or water body segment shall mean the sum of the individual waste load allocations for point sources and the load allocations for nonpoint sources and natural background. Prior to determining individual waste load allocations and load allocations, the maximum amount of a pollutant that a water body or water body segment can assimilate from all sources without exceeding water quality standards shall first be calculated. A TMDL shall include either an implicit or explicit margin of safety and a consideration of seasonal variations. [Subsection 62-303.200(39), F.A.C.]

Treatment Area – The “treatment area” includes the entire area where the technologies are intended to provide algal control benefits.  In some instances, the treatment area may be larger than the area where treatment technologies are actually applied.  For example, the treatment area for a stationary drip treatment into a canal should be calculated by multiplying the width of the canal by the length over which the treatment technology is intended to control algae.  The treatment area for a lake or marine area is the water surface area where the technology is intended to provide algal control benefits.  Note, multiple treatment areas can be located within a single “harmful algal bloom management area.”

Waterbody Identification – A Water Body Identification number (WBID) is an assessment unit that is intended to represent Florida's waterbodies at the watersheds or sub-watershed scale. WBIDs have a unique identification number that is tracked by the department and have a geographic delineation as a polygon layer.