DEP Form FD 9000-24: GROUNDWATER SAMPLING LOG

| SITE NAME: |  |  |  |  |  |  |  |  |  |  |  |  |  | SITE LOCATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| WELL NO: |  |  |  |  |  |  |  |  |  | SAMPLE ID: |  |  |  |  |  |  |  |  |  |  |  |  | DATE: |  |  |  |  |  |  |  |  |
| PURGING DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| WELL DIAMETER (inches): |  |  |  | TUBING DIAMETER (inches): |  |  |  |  |  |  | WELL SCREEN INTERVAL DEPTH: feet to feet |  |  |  |  |  |  | STATIC DEPTH TO WATER (feet): |  |  |  |  |  |  | PURGE PUMP TYPE OR BAILER: |  |  |  |  |  |  |
| WELL VOLUME PURGE: 1 WELL VOLUME = (TOTAL WELL DEPTH – STATIC DEPTH TO WATER) X WELL CAPACITY (only fill out if applicable) = ( feet – feet) X gallons/foot = gallons |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| EQUIPMENT VOLUME PURGE: 1 EQUIPMENT VOL. = PUMP VOLUME + (TUBING CAPACITY X TUBING LENGTH) + FLOW CELL VOLUME (only fill out if applicable) = gallons + ( gallons/foot X feet) + gallons = gallons |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| INITIAL PUMP OR TUBING DEPTH IN WELL (feet): |  |  |  |  |  | FINAL PUMP OR TUBING DEPTH IN WELL (feet): |  |  |  |  |  |  |  |  |  | PURGING INITIATED AT: |  |  |  |  |  | PURGING ENDED AT: |  |  |  |  | TOTAL VOLUME PURGED (gallons): |  |  |  |  |
| TIME |  | VOLUME PURGED (gallons) | CUMUL. VOLUME PURGED (gallons) |  |  |  | PURGE RATE (gpm) |  | DEPTH TO WATER (feet) |  |  | pH (standard units) |  |  | TEMP. (OC) |  | COND. (circle units) mhos/cm or S/cm |  |  | DISSOLVED OXYGEN (circle units) mg/L or % saturation |  |  |  | TURBIDITY (NTUs) |  |  |  |  | COLOR (describe) |  | ODOR (describe) |
| WELL CAPACITY (Gallons Per Foot): 0.75” = 0.02; 1” = 0.04; 1.25” = 0.06; 2” = 0.16; 3” = 0.37; 4” = 0.65; 5” = 1.02; 6” = 1.47; 12” = 5.88 TUBING INSIDE DIA. CAPACITY (Gal./Ft.): 1/8" = 0.0006; 3/16" = 0.0014; 1/4" = 0.0026; 5/16" = 0.004; 3/8" = 0.006; 1/2" = 0.010; 5/8" = 0.016 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| PURGING EQUIPMENT CODES: B = Bailer; BP = Bladder Pump; ESP = Electric Submersible Pump; PP = Peristaltic Pump; O = Other (Specify) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SAMPLING DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SAMPLED BY (PRINT) / AFFILIATION: |  |  |  |  |  |  |  | SAMPLER(S) SIGNATURE(S): |  |  |  |  |  |  |  |  |  |  |  |  | SAMPLING INITIATED AT: |  |  |  |  |  |  | SAMPLING ENDED AT: |  |  |  |
| PUMP OR TUBING DEPTH IN WELL (feet): |  |  |  |  |  |  |  | TUBING MATERIAL CODE: |  |  |  |  |  |  |  |  |  |  | FIELD-FILTERED: Y N FILTER SIZE: m Filtration Equipment Type: |  |  |  |  |  |  |  |  |  |  |  |  |
| FIELD DECONTAMINATION: PUMP Y N TUBING Y N (replaced) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | DUPLICATE: Y N |  |  |  |  |  |  |  |  |  |  |
| SAMPLE CONTAINER SPECIFICATION |  |  |  |  |  |  |  | SAMPLE PRESERVATION (including wet ice) |  |  |  |  |  |  |  |  |  |  |  |  | INTENDED ANALYSIS AND/OR METHOD |  |  |  |  | SAMPLING EQUIPMENT CODE |  |  |  | SAMPLE PUMP FLOW RATE (mL per minute) |  |
| SAMPLE ID CODE | # CONTAINERS |  | MATERIAL CODE |  | VOLUME |  |  | PRESERVATIVE USED |  |  |  |  | TOTAL VOL ADDED IN FIELD (mL) |  |  |  |  | FINAL pH |  |  |  |  |  |  |  |  |  |  |  |  |  |
| REMARKS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| MATERIAL CODES: AG = Amber Glass; CG = Clear Glass; HDPE = High Density Polyethylene; LDPE = Low Density Polyethylene; PP = Polypropylene; S = Silicone; T = Teflon; O = Other (Specify) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SAMPLING EQUIPMENT CODES: APP = After (Through) Peristaltic Pump; B = Bailer; BP = Bladder Pump; ESP = Electric Submersible Pump; RFPP = Reverse Flow Peristaltic Pump; SM = Straw Method (Tubing Gravity Drain); O = Other (Specify) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

NOTES:	1.  The above do not constitute all of the information required by Chapter 62-160, F.A.C.

2.  Stabilization Criteria  for range of variation of last three consecutive  readings (see  FS 2212, section 3)

pH: + 0.2 units  Temperature: + 0.2 oC  Specific Conductance:  + 5%  Dissolved Oxygen: all readings < 20% saturation (see Table FS 2200-2); optionally, + 0.2 mg/L or + 10% (whichever is greater)  Turbidity: all readings < 20 NTU; optionally + 5 NTU or + 10% (whichever is greater)

62-160.800 F.A.C.  									Revision Date:  March 1, 2014