# Department Inspection Report – Intoxilyzer 8000

Agency:                                                                Serial Number:

Time of Inspection:                 Date of Inspection:                Software:

| Check or Test | YES | NO | Check or Test | YES | NO |
| --- | --- | --- | --- | --- | --- |
| Diagnostic Check (Pre-Inspection): OK |  |  | Date and/or Time Adjusted |  |  |
| Minimum Sample Volume Check: OK |  |  | Barometric Pressure Sensor Check: OK |  |  |
| Alcohol Free Subject Test: 0.000 |  |  | Mouth Alcohol Test: Slope Not Met |  |  |
| Interferent Detect Test: Interferent Detect |  |  | Diagnostic Check (Post-Inspection): OK |  |  |

| ## Alcohol Free ## Test (g/210L) | 0.05g/210L Test (g/210L) Lot#: Exp: | 0.08g/210L Test (g/210L) Lot#: Exp: | 0.20g/210L Test (g/210L) ###### Lot#: Exp: | 0.08 g/210L Dry Gas Std Test (g/210L) Lot#: Exp: |
| --- | --- | --- | --- | --- |

| Standard Deviations |  |  |  |  |
| --- | --- | --- | --- | --- |

Average Standard Deviation of 0.05, 0.08 and 0.20 g/210L Tests:          Number of Simulators Used: _______

Remarks:

The above instrument complies (      ) does not comply (      ) with Chapter 11D-8, FAC.

I certify that I performed this inspection in accordance with the provisions of Chapter 11D-8, FAC.

_

#### Signature and Printed Name

___________

Date