Form begins on page 6

Congratulations on your decision to consider a new business venture!  As you explore this opportunity, the Department of Business and Professional Regulation’s (DBPR) Division of Hotels and Restaurants (H&R) is ready to assist you through the licensing and regulatory process.

Our responsibility is to work with the business community to achieve the highest levels of health and safety for all Floridians and tens of millions of annual visitors.  Toward that goal, we are a resource you can use to see that your new business operates within the requirements of the law.

Plan reviewers will assist you in design and inspectors will provide educational support on site to help you meet the minimum requirements for healthy and safe conditions and products.

This packet contains information regarding the legal requirements of operating your business.  It is very important that you familiarize yourself with this information before you begin operating.  If you have questions, or need any clarification, please contact the DBPR Customer Contact Center at 850.487.1395 Monday through Friday or go online to our website. Because our knowledge and authority are in state government requirements, it is very important that you also contact local officials regarding any city and county requirements for a new business.

Important note - An Online Account is required to self-print and maintain your license. We encourage you to create your DBPR account now, start here http://www2.myfloridalicense.com/hotels-restaurants/. All food and lodging license applications are available online. If you are opening a new public food service establishment and have chosen to use this form to submit plan review separately from your license application, it must be linked to your account before applying for the license.

We wish you the best of luck and success in your venture.

HELPFUL TERMS:

SELF-SUFFICIENT

Self-sufficient vehicles or kitchens contain, as part of the vehicle or kitchen, a three-compartment sink for washing, rinsing, and sanitizing equipment and utensils; a separate handwash sink; adequate refrigeration and storage capacity; full provision of power utilities including electrical, LP gas, or a portable power generation unit; a potable water holding tank; and a liquid waste disposal system in accordance with the Food Code. A commissary is required if the establishment is not self-sufficient.

COMMISSARY

Vehicles or kitchens that are not self-sufficient require a support site called a commissary.  A commissary is a public food service establishment licensed by the division or a food establishment permitted by the Department of Agriculture and Consumer Services where the operator goes for services that are not done on the vehicle or kitchen. Operators may prepare, package or store food at the commissary or use a three-compartment sink on the commissary premises to wash and sanitize equipment or utensils.  Food containers or other supplies may be stored at the commissary. A commissary may also provide a potable water source or a wastewater disposal site. The Division does not allow any food service activities to occur in a private residence.

WATER AND SEWER

All public food service establishments must have a location where potable water can be safely obtained and where wastewater can be legally disposed of.  This location cannot be a private residence. No public food service establishment is allowed to obtain water from or dispose of wastewater at a private residence.

GENERAL INSTRUCTIONS

To begin Florida's food service licensing process, the law requires the division to review unit plans for sanitation and safety concerns.  Plan review is required when the unit is:

- Newly built,

- Converted from another use,

- Remodeled or

- Re-opened after being closed at least 18 months.

Please see the ‘How to Draw a Floor Plan’ section to ensure you provide all the necessary information for plan review.

IMPORTANT INFORMATION

Before submitting for plan review, please review the following important information:

- Online Account - Each applicant for a public food service establishment and each licensee must create and maintain a division online service account to manage their application or license. You may also apply online for any public food service establishment license, instead of using this form. Visit our website: http://www2.myfloridalicense.com/hotels-restaurants/.

- Correct Form (Type of Establishment) - This form is for mobile public food service establishments only. Please use form DBPR HR-7005, Plan Review for Fixed Public Food Service Establishment if you are attempting to submit plan review for a fixed (permanent) public food service establishment. The form is available on our website: http://www2.myfloridalicense.com/hotels-restaurants/licensing/foodservice-guide/.

- Correct Form (License Application) - This form is for plan review submission only and does not include a license application. If you would like to apply for your mobile public food service establishment license and submit plan review at the same time, please use form DBPR HR-7031, Application for Mobile Public Food Service Establishment License with Plan Review, available on our website: http://www2.myfloridalicense.com/hotels-restaurants/licensing/mobilefood-guide/. If you are not ready to apply for your license yet, remember to submit a license application later. We must receive and process your license application and fee before you can open your business.

- Commissary - If the vehicle or kitchen is not self-sufficient, you must also complete form DBPR HR-7022, Commissary Services Notification for all commissaries to be used by the vehicle or kitchen to store food, dump wastewater, etc.  The form is included in this packet and also available on our website: http://www2.myfloridalicense.com/hotels-restaurants/forms-publications/.  We cannot approve the plans without the information on the form.

- Proposed menu - You will need to provide a menu or menu information on a separate document.

- Equipment specifications - You will need to provide equipment specifications if the proposed equipment is not customary for food service operations.

PLANS

- Scaled drawings. (see How to Draw a Floor Plan)

- If self-sufficient, please indicate this on your plans.

After your plans are approved, we will send you a letter (by email if possible).  This letter will instruct you to submit the license application (this is a separate application packet and requires a fee).  For fastest processing, apply online. If mailing, attach a copy of the plan review letter to the application and make sure to include the fee.

It’s important that you construct the vehicle or kitchen as shown on your plans and meet all other local code requirements.  When you are ready, and construction is complete, the division will inspect the vehicle or kitchen to verify it has been constructed according to the approved plans and any provisos.  We will also confirm the vehicle or kitchen is ready to operate.  Upon satisfactory inspection, the inspector will provide a temporary license so you may obtain any other local authorizations or licenses. You may schedule your inspection by request via our Customer Contact Center at 850.487.1395.

HOW TO DRAW A FLOOR PLAN

The completed drawing should be a good representation of exactly how your vehicle or kitchen looks in real life or how you intend it to look when completed.  By following the below examples, you will be able to draw an accurate, scaled floor plan yourself.

- The plan must be drawn “to scale”, which means that everything must be in the correct proportions.

- Identify all pieces of equipment with a number and create a list identifying to what each number refers.  As an alternative, you may label each item like in the sample to the right (e.g., stoves, refrigerators, steam tables, prep tables, barbeque grills, portable fire extinguishers, ventilation hoods, etc.).

- Plans must include a hand wash sink and a three-compartment sink for dishwashing (if applicable).

- Indicate size and location of the service opening(s) and how the opening(s) will be protected when not in use.

- Indicate size (in gallons) of the potable water and wastewater holding tanks. Wastewater holding tanks must be at least 15% larger than the potable water holding tank.

- Indicate the location of the gas supply and/or water heating device, if applicable.

- For hot dog carts, indicate the type of overhead protection provided (e.g., umbrella, etc.).

- Include a side view of the vehicle or kitchen.

MOBILE FOOD DISPENSING VEHICLE

HOT DOG CART

- Potable water tank – 20 gallons

- Water heater

- Three-compartment sink

w/drainboards

- Wastewater tank – 25 gallons

- Handwash sink

- Waste receptacle

- Flat top griddle

- Stove

- Propane tank

- Generator

- Work table

- Refrigerator

- Service counter

- Service window

- Fire extinguisher

SAMPLE

30’

SIDE VIEW

INSTRUCTIONS FOR COMPLETING THE FORM

SECTION 1 – OFFICE USE ONLY

This is for division office use only.  Please do not complete this section.

SECTION 2 – FOOD SERVICE LICENSE TYPE

Indicate the type of license that best describes your public food service establishment. (Required)

LICENSE DESCRIPTIONS

Mobile Food Dispensing Vehicle (MFDV) is a vehicle mounted food service license where the vehicle has adequate hand washing and dishwashing facilities, food protection, refrigeration, power, and plumbing system. A MFDV operator performs food service activities inside the vehicle like food storage, cooking or preparation of food and dishwashing and may or may not require a commissary. Some MFDVs are self-propelled and built to travel on public streets.  Other MFDVs are not self-propelled but can be moved from place to place. MFDVs may even be watercraft.

Hot Dog Cart (HTDG) is a type of MFDV that limits food preparation to frankfurters (hot dogs and precooked sausages) only. Hot dog carts must have, as part of the vehicle, a handwash sink; power utilities including electrical, LP-gas, or a portable power generation unit; a potable water holding tank; and a liquid waste disposal system in accordance with Subparts 5-3 and 5-4 of the Food Code.  A hot dog cart may be an open-air unit with overhead protection or a fully-enclosed unit, but may not be equipped with a three-compartment sink. A hot dog cart requires a commissary.

Temporary Commercial Kitchen (TECK) is a public food service establishment used for the preparation of takeout or delivery only meals housed in portable structures that are moveable from place to place by a tow or are self-propelled or otherwise axle mounted, that include self-contained utilities, including but not limited to gas, water, electricity, liquid waste disposal. They are contained in a variety of modular structures, such as portable cabin structures, modular buildings, towed trailers, or standard freight containers and may or may not require a commissary. TECKs are limited in the time they may operate at a location and cannot be a tent.

HELPFUL TERM

Self-sufficient: It is important that you answer this question as it relates to the self-sufficiency of your vehicle or kitchen as explained in this form.  If you do not answer “Yes”, the division will assume your vehicle or kitchen is not self-sufficient and require the commissary form.

SECTION 3 – PLAN REVIEW TYPE

Indicate the type of plan review requested that best describes your public food service establishment. (Required)

When reopening or remodeling an existing vehicle or kitchen, please provide the name of the previous owner and their license number (if known), this information will help us process your plan review faster.

SECTION 4 – MAIN ADDRESS

Complete this information for the establishment owner as completely as possible.   Incomplete information will result in your plan review being delayed.

- Routing Name – if contact name is different than the owner, please indicate in the space provided.

- Street Address or Post Office Box, City, State, Zip Code, Florida County (if applicable), Country – address of record for purpose of official communications from the department. (Required)

- Phone Number – primary contact number for questions or concerns about your submission. (Required)

- E-Mail Address – primary contact for communications about your submission. (Required)

SECTION 5 – DBA AND COMMISSARY OR WATER/SEWER LOCATION INFORMATION

Provide the Doing Business As (DBA) name of your business. If your vehicle or kitchen is not self-sufficient, enter the Commissary address. If your vehicle or kitchen is self-sufficient, enter the water/sewer location address.

- Establishment Name (Doing Business As [DBA]) – the name of establishment.  If the establishment is part of a chain, please indicate a unique identifier (for example, Restaurant #103).  (Required)

- Street Address, City, Zip Code, Florida County – For non-self-sufficient vehicles or kitchens, this should be the address for a licensed commissary in Florida.  For self-sufficient vehicles or kitchens, this will be the water/sewer location address.  (Required)

SECTION 6 – MAILING INFORMATION

Designate the address to be used for all mailings from the Division. If this information is the same as Section 4, please indicate.

- Routing Name – if contact name is different than the owner, please indicate in the space provided.

- Street Address or Post Office Box, City, State, Zip Code, Florida County (if applicable), Country – address of record for purpose of official communications from the department. (Required)

- Phone Number – primary contact number for questions or concerns about your submission. (Required)

- E-Mail Address – primary contact for communications about your submission. (Required)

SECTION 7 – SUPPORTING DOCUMENTS

These are the additional documents that must be submitted for your plan review. (Required)

SECTION 8 – MENU, EQUIPMENT AND CONSTRUCTION INFORMATION

Provide a list of menu items for your vehicle or kitchen. Provide the location and size of water tanks and water heater. Describe finishes of the walls, floors, cove base and ceiling of the vehicle or kitchen. (Required)

SECTION 9 – SIGNATURE

Please print your name and then sign and date the form before submitting. (Required)

If submitting by mail, please submit your form and supporting documents to:

Department of Business and Professional Regulation

Division of Hotels and Restaurants

2601 Blair Stone Road

Tallahassee, Florida 32399-1011

An Online Account is required to print and manage your license, visit our website:http://www2.myfloridalicense.com.

Approval of your plans means that your plans appear to meet the minimum requirements of the Division of Hotels and Restaurants. You must ensure that you meet all other requirements that apply. Plan approval does not guarantee that the division will approve the license application for the vehicle or kitchen. A separate LICENSE APPLICATION, payment of LICENSE FEES, and a vehicle or kitchen INSPECTION are required prior to licensing.

NOTE: All public food service establishments are required to meet the sanitation and safety standards provided by law.

- All refrigeration must maintain potentially hazardous foods at 41°F or colder.  You must install thermometers in the warmest part of all refrigeration/freezer units.  A probe-type thermometer that is scaled for its intended use is required for employees to check food temperatures.  Be sure all thermometers are calibrated and present at the time of the opening inspection.

- If you intend to have bare hand contact with ready-to-eat food, you must first have an approved Alternative Operating Procedure (AOP).  Form DBPR HR 5022-049, Alternative Operating Procedure (AOP), incorporated by reference in rule 61C-4.010(1), FAC, and available on the division’s website, explains the requirements.  If you do not have an approved AOP, food employees may not touch ready-to-eat foods with their bare hands.  Employees in units without an AOP must use utensils such as deli tissue, spatulas, tongs, single-use gloves or other dispensing equipment.

- A self-sufficient Mobile Food Dispensing Vehicle or Temporary Commercial Kitchen includes:

- A three compartment sink for dishwashing;

- A separate handwashing sink;

- Adequate refrigeration and storage;

- Full utilities including electrical, LP gas or a portable power generation unit;

- Potable water holding tank; and

- A wastewater tank in accordance with subparts 5-3 and 5-4 of the FDA Food Code

Form begins on next page

| STATE OF FLORIDA, DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION Division of Hotels and Restaurants 2601 Blair Stone Road, Tallahassee, Florida 32399-1011 Phone: 850.487.1395 E-mail: dhr.planreview@myfloridalicense.com Internet: http://www2.myfloridalicense.com/hotels-restaurants/ | For Office Use Only |  |
| --- | --- | --- |
|  | Log Number |  |
|  | File Number |  |

NOTE: Please submit completed form with supporting documents listed in Section 7.

| Section 1 – Office Use Only |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date Received | Month |  | Day |  |  | Year |  | Initials |  |  |  |
| Section 2 – Food Service License Type |  |  |  |  |  |  |  |  |  |  |  |
| Choose the license type which best suits your public food service establishment: |  |  |  |  |  |  |  |  |  |  |  |
| Mobile Food Dispensing Vehicle (2014/MFDV) |  |  |  | Hot Dog Cart (2014/HTDG) |  |  |  |  | Temporary Commercial Kitchen (2014/TECK) |  |  |
| Provide Vehicle or Kitchen Specific Information: |  |  |  |  |  |  |  |  |  |  |  |
| Yes No - Is this vehicle or kitchen self-sufficient? If “No”, you are required to provide commissary information for approval. Provide the Vehicle Identification Number (VIN) or Serial Number if available: |  |  |  |  |  |  |  |  |  |  |  |
| Section 3 – Plan Review Type |  |  |  |  |  |  |  |  |  |  |  |
| Please check the box that best describes your public food service establishment (select one only): |  |  |  |  |  |  |  |  |  |  |  |
| New Establishment - New, never licensed or closed for more than 18 months Same Owner Remodel - Remodel of existing establishment, same ownership Change of Ownership with Remodel - Previously licensed within the last 18 months by Hotels & Restaurants If Change of Ownership provide previous DBPR License number: If Change of Ownership provide previous business name: |  |  |  |  |  |  |  |  |  |  |  |
| Projected Opening or Completion Date: |  |  |  |  |  |  |  |  |  |  |  |
| OFFICE USE ONLY: New 1030: 2014-HTDG New 1032: 2014-MFDV |  |  |  |  |  |  | New 1037: 2014-TECK Same Owner Remodel 3027: All Types |  |  |  |  |
| Section 4 – Main Address (MA) – This will be designated as the “address of record” for the establishment |  |  |  |  |  |  |  |  |  |  |  |
| Routing Name (e.g., Management Company, contact name) |  |  |  |  |  |  |  |  |  |  |  |
| Street Address or Post Office Box |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  | State |  |  |  |  |  |  | Zip Code (+4 optional) |
| Florida County (if applicable) |  |  |  | Country |  |  |  |  |  |  |  |
| Phone Number |  | E-Mail Address |  |  |  |  |  |  |  |  |  |
| Section 5 – DBA and Commissary or Water/Sewer Location Information (LL) |  |  |  |  |  |  |  |  |  |  |  |
| Provide the DBA of your business and Commissary or Water/Sewer Location Address: |  |  |  |  |  |  |  |  |  |  |  |
| Establishment Name (DBA) |  |  |  |  |  |  |  |  |  |  |  |
| Street Address |  |  |  |  |  |  |  |  |  |  |  |
| City |  |  |  |  | Zip Code (+4 optional) |  |  |  |  | Florida County |  |

| Section 6 – Mailing Information (LM) |  |  |  |
| --- | --- | --- | --- |
| This address will be used by the Division for any mailings: |  |  |  |
| Choose one: Use below address for mailings Use Section 4 – Main Address for mailings |  |  |  |
| Routing Name (e.g., Management Company, contact name) |  |  |  |
| Street Address or Post Office Box |  |  |  |
| City |  | State | Zip Code (+4 optional) |
| Florida County (if applicable) |  | Country |  |
| Phone Number | E-Mail Address |  |  |

Section 7 – Supporting Documents

Attach the following documents: Plan and Commissary Services Notification

- Scaled plan, for both new and remodeled establishments, showing all kitchen equipment, plumbing fixtures, storage, etc. You may submit as many sets of plans that you need stamped for local authorities.

- For establishments that are not self-sufficient: include DBPR HR-7022, Commissary Services Notification for all commissaries to be used. We cannot approve the plans without the information on that form.

| Section 8 – Menu, Equipment and Construction Information |  |  |
| --- | --- | --- |
| Menu - List all foods that will be served from your vehicle or kitchen: |  |  |
| Note: The wastewater tank must be at least 15% larger than the freshwater tank. Both tanks must be a part of the vehicle or kitchen. |  |  |
| Water Tank Size (gallons) and Location |  |  |
| Water Heating Device Size (gallons) and Location |  |  |
| Wastewater Tank Size (gallons) and Location |  |  |
| Vehicle or Kitchen Interior Finishes (for enclosed units only–for example, FRP, vinyl, painted metal, etc.): |  |  |
| Floor |  |  |
| Cove Base (Baseboards) |  |  |
| Walls |  |  |
| Ceiling |  |  |
| Section 9 – Signature |  |  |
| Print Name | Signature | Date |

Approval of your plans means that your plans appear to meet the minimum requirements of the Division of Hotels and Restaurants. You must make sure that you meet all other requirements that may also apply.

A separate LICENSE APPLICATION, payment of LICENSE FEES

and an INSPECTION of your vehicle or kitchen and equipment is required prior to licensing.

*** Reminder:  Create your Online Account to self-print and maintain your license. ***