# Laboratory Documentation

##### Introduction:  Adhere to these documentation requirements in support of the laboratory procedures described in the related DEP SOPs indicated below.

##### Scope and Applicability:  Use these SOPs only for the indicated laboratory component operations. These SOPs apply to documentation procedures not specified in the NELAC Institute (TNI), EL-V1-ISO-2016-Rev. 2.1, Environmental Laboratory Sector, Vol. 1, Management and Technical Requirements for Laboratories Performing Environmental Analysis (2016), incorporated by reference in paragraph 62-160.800(3)(b), F.A.C. NELAC Quality Systems document.

##### general requirements: See FD 1000, section 3, and parts FD 1100 – FD 1300 (DEP-SOP-001/01) for additional, general documentation requirements, where applicable to the laboratory procedures indicated below.

# (Reserved)

# (Reserved)

# (Reserved)

# (Reserved)

# (Reserved)

# Documentation of Biological Laboratory Procedures

##### Document the following items for the indicated SOPs found in LQ 1000 – LQ 7420, Laboratory Quality Control and LT 7300 – LT 7600, Determination of Biological Indices.

##### Record the minimum information summarized in the following SOPs.  Refer to the corresponding LQ- or LT-series SOP for any chronological requirements for documentation sequence.

##### Also refer to applicable portions of FD 1000 – FD 1300, FD 3000, FD 5320 5420 and FD 7000 for additional documentation requirements.

##### Use these SOPs only for the indicated laboratory component operations. These SOPs apply to laboratory procedures not specified in NELAC Institute (TNI), EL-V1-ISO-2016-Rev. 2.1, Environmental Laboratory Sector, Vol. 1, Management and Technical Requirements for Laboratories Performing Environmental Analysis (2016), incorporated by reference in paragraph 62-160.800(3)(b), F.A.C. the NELAC Quality Systems document.

## Documentation of Laboratory Procedures for Determination of Biological Indices

### Required Documentation for Laboratory Procedures For Biorecon Determination (LT 7100)  (MOVED TO See BRN 2110)

### Required Documentation for Laboratory Procedures for Stream Condition Index (SCI) Determination (LT 7200) (MOVED TO See SCI 2110)

### Required Documentation for Laboratory Procedures for Lake Condition Index (LCI) Determination (LT 7300)

###### Laboratory sample receipt or log-in record

###### Site, sample identification number, WIN STORET station number, sample type, replicate number and date collected

###### Identification of sample collectors

###### Total number of organisms sorted from each selected grid tray aliquot

###### Number of grids, squares and aliquots selected and sorted (e.g., 8 grids out of 24 total sample grids)

###### Date of sorting completion

###### Total number of mounted microscope slides, mounting date for each slide, unique label identification for each slide and identification of mounter(s) for each slide for all sorted samples

###### Total number of individuals for each taxon

###### Name of any organism removed from the sorted sample for reference collection

###### Name of each taxon identified

###### Total number of taxa identified

###### Total number of individual organisms identified

###### Data entry into the Florida Statewide Biological Database (DEP staff only)

###### Method and notes for counting and collapsing taxonomic data

###### Collapsed taxa list

###### Shannon-Weaver Diversity Index score per LT 7300, section 4.1

###### Hulbert Index score per LT 7300, section 4.2

###### LCI metrics scores per LT 7300, section 4.3:

###### LCI Taxa Score component

###### LCI EOT Taxa Score component

###### LCI % EOT Score component

###### LCI % Diptera Score component

###### LCI SWDI Score component

###### LCI HI Score component

###### LCI score

###### Label identification of archived vials of sorted organisms linked to sample identification data required in this section

###### Label identification of archived mounted slides (midges/worms/mites) linked to sample identification data required in this section

### Required Documentation for Laboratory Procedures for Lake Vegetation Index (LVI) determination (LT 7500) (moved to See LVI 2210)

### Required Documentation for Laboratory Procedures for Wetland Condition Index (WCI) determination (LT 7600)

#### Vegetation WCI for Isolated Herbaceous Wetlands (LT 7612)

- Records of specimens brought to the lab for further inspection or expert identification

- Site, sample identification number (e.g., WIN STORET station number, sample type, replicate number and date collected)

- Identification of sample collectors

- Total number of taxa identified from each transect

- Name of each taxon identified from each transect

- WCI metrics scores per LT 7612

  - % tolerant indicator species

  - % sensitive indicator species

  - % exotic macrophyte species

  - Annual to perennial ratio (A:P)

  - Average coefficient of conservatism (CC) score

###### Final WCI score

#### Vegetation WCI for Isolated Forested Wetlands (LT 7622)

- Records of specimens brought to the lab for further inspection or expert identification

- Site, sample identification number (e.g., WIN STORET station number, sample type, replicate number and date collected)

- Identification of sample collectors

- Region in which site is located, per Figure LT 7622-1

- Total number of taxa identified from each transect

- Name of each taxon identified from each transect

- WCI metrics scores per LT 7622

  - % tolerant indicator species

  - % sensitive indicator species

  - % exotic macrophyte species

  - Average coefficient of conservatism (CC) score

  - % native perennial species

  - % wetland status species

###### Final WCI score

#### Macroinvertebrate WCI for Isolated Herbaceous Wetlands (LT 7613)

###### Laboratory sample receipt or log-in record

###### Site, sample identification number, WIN STORET station number, sample type, replicate number and date collected

###### Identification of sample collectors

###### Total number of organisms sorted from each selected grid tray aliquot

###### Number of grids, squares and aliquots selected and sorted (e.g., 8 grids out of 24 total sample grids)

###### Date of sorting completion

###### Total number of mounted microscope slides, mounting date for each slide, unique label identification for each slide and identification of mounter(s) for each slide for all sorted samples

###### Total number of individuals for each taxon for the 100-125-organism aliquots

###### Name of any organism removed from the sorted sample for reference collection

###### Name of each taxon identified for the 100-125-organism aliquot

###### Total number of taxa identified for the 100-125-organism aliquot

###### Total number of individual organisms identified for the 100-125-organism aliquot

###### Data entry into the Florida Statewide Biological Database (DEP staff only)

###### Method and notes for counting and collapsing taxonomic data for the 100-125-organism aliquot

###### Collapsed taxa list for the 100-125-organism aliquot

###### Index calculations per LT 7613:

  - % Sensitive genera

  - % Tolerant genera

  - % Predator Individuals

  - % Odonata Individuals

  - % Orthocladiinae Individuals

###### WCI metrics as scored per the table in LT 7613 4.7.

###### Label identification of archived vials of sorted organisms linked to sample identification data required in this section

###### Label identification of archived mounted slides (midges/worms/mites) linked to sample identification data required in this section

#### Macroinvertebrate WCI for Isolated Forested Wetlands (LT 7623)

###### Laboratory sample receipt or log-in record

###### Site, sample identification number, WIN STORET station number, sample type, replicate number and date collected

###### Identification of sample collectors

###### Total number of organisms sorted from each selected grid tray aliquot

###### Number of grids, squares and aliquots selected and sorted (e.g., 8 grids out of 24 total sample grids)

###### Date of sorting completion

###### Total number of mounted microscope slides, mounting date for each slide, unique label identification for each slide and identification of mounter(s) for each slide for all sorted samples

###### Total number of individuals for each taxon for the 100-125-organism aliquots

###### Name of any organism removed from the sorted sample for reference collection

###### Name of each taxon identified for the 100-125-organism aliquot

###### Total number of taxa identified for the 100-125-organism aliquot

###### Total number of individual organisms identified for the 100-125-organism aliquot

###### Data entry into the Florida Statewide Biological Database (DEP staff only)

###### Method and notes for counting and collapsing taxonomic data for the 100-125-organism aliquot

###### Collapsed taxa list for the 100-125-organism aliquot

###### Index calculations per LT 7623:

  - % Sensitive genera

  - % Tolerant genera

  - Florida Index

  - % Mollusca Individuals

  - % Noteridae Individuals

  - % Scraper Individuals

###### WCI metrics as scored per the table in LT 7623 4.7.

###### Label identification of archived vials of sorted organisms linked to sample identification data required in this section

###### Label identification of archived mounted slides (midges/worms/mites) linked to sample identification data required in this section

## Documentation of Laboratory Quality Control for Biological Community Analysis

The following sections summarize required documentation items for the indicated biological laboratory quality control procedures.

### Required Documentation of Quality Control for algal Identification

###### Initial demonstration of proficiency for each analyst per LQ 7110

###### Similarity values and % correct identifications for both soft algae and diatoms

  - Notes regarding new analyst training to correct proficiency of identifications

  - Results of senior staff QC re-analysis of samples analyzed by newly proficient analysts

###### On-going quality control information per LQ 7120

###### Identification of all wet samples or slides re-analyzed as QC samples

  - Results of all QC sample analyses including taxa, counts and similarity values

  - Results of analyst training to correct proficiency of identifications

  - Results of any sample re-analyses due to QC failures

###### Results of quarterly consistency identifications per LQ 7130

  - Names of analysts participating in consistency identifications

  - Identity of QC samples chosen for consistency identifications

  - Results of consensus identifications for the QC samples

  - % correct identifications for each analyst

  - Corrective actions performed per consistency exercise results

  - Cumulative taxa list derived from consistency identification exercises

- Corrective quality control information per LQ 7140

  - Names of participating analysts

  - Identity of samples chosen as QC samples

  - Results of all analyses of QC samples performed by each analyst

  - Results of intra-sample comparisons of the QC analyses

  - Corrective actions performed, including updates to appropriate database(s)

### (Reserved)

### Required Documentation of Quality Control for Macroinvertebrate Taxonomic Identification

#### Required Documentation of Quality Control for Macroinvertebrate Sorting (LQ 7410)

###### Total organisms as defined in LQ 7410, section 1.4

###### QC organisms as defined in LQ 7410, section 1.4

###### Original field sample identification

###### Subsample aliquot identifications

###### Cumulative sorting efficiency for each analyst

#### Required Documentation of Quality Control for Macroinvertebrate Taxonomic Identification and Enumeration (LQ 7420)

##### Documentation of Quality Control for Wet and slide-mounted Enumerations

##### Single-analyst cumulative identification error rate for total number of organisms identified

##### Single-analyst cumulative identification error rate for total number of taxa identified

##### Identification of original field sample or subsample QC-checked (QC sample, as defined in LQ 7420, section 3.1)

##### Results for each original field sample or subsample, including number of organisms identified for each taxon

##### Results for each corresponding QC sample, including number of organisms identified for each taxon

##### Name of taxonomist identifying original sample or subsample

##### Name of taxonomist performing the QC sample analysis

##### Date of each original field sample or subsample analysis

##### Date of each QC sample analysis

##### Additional comments associated with the QC check, including noted discrepancies and resolutions with the original field sample or subsample enumeration and that corrections were made to the appropriate database(s) as a result of QC check

##### Documentation for DEP Taxonomic QC round-robin Samples

Document the following for all data generated under the DEP Taxonomic Round-Robin program (see LQ 7400, section 1.3).

##### Record relevant information for round-robin sample enumerations per section 1 above.

##### Retain all correspondence, data sheets, resolutions concerning discrepant results and all reports of results associated with round-robin samples.

##### Document and retain all correspondence and associated records for any corrective actions implemented pursuant to round-robin results.

## References (reserved)

# (Reserved)