# PART VII – AGRICULTURAL SURFACE WATER MANAGEMENT SYSTEMS

(CHAPTER 40C-44)

# A. POLICY AND PROCEDURES

14.0 	Introduction

14.1	Policy

The District's policy is to assist those affected by the Agricultural Surface Water Management System rule (chapter 40C-44, F.A.C.) to understand the program and complete the application.  Chapter 40C-44, F.A.C., is incorporated by reference in rule 62-330.010, F.A.C.

14.2	Purpose

The purpose of this part is to provide applicants, potential applicants, and others who are interested, with information and guidance regarding the Agricultural Surface Water Management System permitting program. The final determination of appropriate procedures to be followed will be made by reference to chapters 120 and 373, F.S., and chapters 62-330, 40C-1, and 40C-44, F.A.C. Specific rule citations are given, when appropriate, for further reference.

14.3     Organization of Part VII

This part contains information regarding the programs, policy and procedures and criteria used in permit evaluation of agricultural systems. Supplemental materials to assist the applicant are included in Appendices D through G.

If an applicant or potential applicant has any questions about these procedures or wishes to have District staff assistance in interpreting them or in completing an application, he is encouraged to contact the District’s Agricultural Assistance Team:

Division of Regulatory Services

St. Johns River Water Management District

4049 Reid Street

Palatka, FL 32177-2529

(386) 329-4500

14.4     Applicable Statutes and Rules

The Agricultural Surface Water Management System permit application process is governed by chapters 373 and 120, F.S., and chapters 62-330 40C-1, and 40C-44, F.A.C., and is affected by chapters 62-302, 62-4, and 62-40, F.A.C.

14.5     General Description of Rule

The rule requires an individual environmental resource agricultural system permit for existing systems with pumped discharges, if the capacity, either individually or cumulatively, is 10,000 GPM or greater. These pumps typically drain large citrus groves, improved pasture, or muck farms, which produce sod or vegetables on organic soils. The pumps may be significant sources of pollution, due to their erosive velocities and ability to drain water faster and to a greater depth than gravity drained agricultural operations.

The rule also authorizes the District to require an individual permit for (1) existing pumped or gravity drained agricultural operations, on a case by case basis, if the discharge causes or contributes to a violation of state water quality standards and (2) certain new agricultural stormwater management systems that fall below some of the thresholds in subsection 62-330.020(2), F.A.C.

The rule establishes performance standards for agricultural discharges which are required to obtain a permit. To prevent adverse impacts to the quality of the receiving water body, the discharge cannot cause or contribute to a violation of state water quality standards, must not exceed 20 mg/l BOD or TSS (domestic waste limits formerly applied to industrial waste under the delegated DEP program), and must comply with pollutant limitations established pursuant to a SWIM plan or chapter 62-40, F.A.C.

The rule contains water quality practices, which are presumed to provide reasonable assurance that the performance standards will be met when implemented as described in the rule. The water quality practices are more appropriate for agriculture than those which are currently used for urban projects and frequently applied to agriculture. The water quality practices include reduction of discharge volume by improved water table control and on-site recycling, implementation of a comprehensive Conservation Plan including nutrient and pesticide management plans, and installation of a treatment system using wet detention reservoirs or other equivalent alternatives.

Under this rule, permits for operation and maintenance are permanent. However, the rule allows modification or revocation of the permit if the permittee does not comply with the permit requirements or if monitoring indicates that the system does not comply with the performance standards.

Agricultural operations which are required to obtain a permit under subsection 62-330.020(2), F.A.C., must comply with the performance standards and water quality practices contained in this rule, in order to meet the District's water quality criteria.

14.6     Explanation of Thresholds, Exemptions, and Individual Permits

Permits are required for activities which exceed certain "thresholds" (see section 14.8). Activities below these thresholds are considered to have a minor impact on water resources and are not regulated.

Although certain activities may exceed a threshold, the District may elect to "exempt" them in the rule from a requirement to obtain a permit, usually because the activity is regulated by another agency or permit process (see section 14.10). Other exemptions are established by the Florida Legislature (see section 14.10.1).

14.7	Definitions

The following definitions are used by the District to clarify its intent in implementing chapter 40C-44, F.A.C., the Agricultural Surface Water Management System rule. Many of the definitions are derived directly from chapter 40C-44, F.A.C., and are reproduced here for the convenience of applicants.

(a)	"Agriculture," for the purposes of this chapter, means the commercial production of crops, animals or animal products, or farm commodities including but not limited to vegetables, citrus and other fruits, grain, forage, sod, livestock, poultry, and foliage plants. For the purposes of this chapter, agriculture also includes horticulture and floriculture.

(b)	"Agricultural Operation" means a contiguous farm, grove, ranch, nursery or similar entity owned or controlled by one or more persons, engaged in, or proposing to engage in, the practice of agriculture.

(c)	"Associated Wastewater" means the flow of water which directly results from agricultural activities such as irrigation, soil flooding for pest control or soil preservation, freeze protection or pre-storm event drainage and is mixed or conveyed with stormwater in the surface water management system.

(d)	"Closed System" means any reservoir or works located entirely within agricultural lands owned or controlled by the user and which requires water only for the filling, replenishing, and maintaining the water level thereof.

(e)	"Conservation Plan" means a document, which describes a system of management practices to control and reduce soil erosion and sediment loss, and improve the quality of discharged water for a specific parcel of property, and which has been either:

(1)	prepared by the U.S. Department of Agriculture Soil Conservation Service (SCS) in conjunction with a local Soil and Water Conservation District Board, organized pursuant to chapter 582, F.S., and which includes and applies the appropriate management practices consistent with the SCS Field Office Technical Guide - Section IV, and the Best Management Practices Selector, incorporated by reference in section 40C-44.091, F.A.C., and which includes the following elements when appropriate for the proposed land use, as reference in the SCS Field Office Technical Guide - Section IV:

a.	Reduction of the volume of water discharged off-site;

b.	Water Table Control in Open Channels;

c.	Irrigation Land Leveling;

d.	Irrigation Water Management;

e.	Nutrient Management Plan;

f.	Pesticide Management Plan;

g.	Reuse of the runoff from the agricultural site, using reservoir or canal storage already existing, proposed as part of the plan or otherwise required by permit, for uses such as freeze protection, soil flooding for pest control or soil preservation, or irrigation needs; and

h. Control of soil erosion.

(2)	prepared by a private consultant, who has professional expertise in the fields of hydrology, water pollution control, irrigation design and soil conservation, according to SCS standards, specifications and guidelines.  The plan must include and apply the appropriate management practices consistent with the SCS Field Office Technical Guide - Section IV and the Best Management Practices Selector, incorporated by reference in section 40C-44.091, F.A.C., and include the following elements when appropriate for the proposed land use, as referenced in the SCS Field Office Technical Guide - Section IV:

a.	Reduction of the volume of water discharged off-site;

b.	Water Table Control in Open Channels;

c.	Irrigation Land Leveling;

d.	Irrigation Water Management;

e.	Nutrient Management Plan;

f.	Pesticide Management Plan;

g.	Appropriate reuse of the annual stormwater runoff from the agricultural site for uses such as freeze protection, soil flooding for pest control or soil preservation, or irrigation needs;

h.	Control of soil erosion; and

i.	Reduction of suspended solids loading at points of discharge off-site.

(f)	"Engineer" means a Professional Engineer registered in Florida, or other person exempted pursuant to the provisions of chapter 471, F.S., who is competent in the fields of hydrology and water pollution control.

(g)	"Existing agricultural surface water management system" means a system which was constructed or implemented on or before the effective date of this chapter.

(h)	"Hayland" means a tract of land used for forage production, which has been planted with desirable forage plant species.

(i)	"Improved Pasture" means a tract of land used for livestock grazing, which has been planted with desirable forage plant species.

(j)	"Littoral zone" means, in reference to stormwater management systems, that portion of a wet detention pond which is designed to contain rooted aquatic plants.

(k)	“NAVD” means North Atlantic Vertical Datum.

(l)	"NGVD" means national geodetic vertical datum.

(m)	"Permanent Pool" means that portion of a wet detention pond, which normally holds water, between the pond bottom and control elevation, excluding any water volume claimed as treatment volume.

(n)	"Treatment" means any method, technique, process or management practice which changes the physical, chemical, or biological character of water and thereby reduces its potential for polluting waters of the state.

14.8     Activities Requiring a Permit

14.8.1  Date of Implementation

Chapter 40C-44, F.A.C., became effective on August 11, 1991. The rule was amended on October 20, 1992, October 3, 1995, and October 1, 2013.

Pumped agricultural operations, which have a valid Industrial Waste permit or consent order issued by DEP or the District, can continue to operate according to the terms of the permit or consent order until it expires. Ninety days prior to the expiration date of the permit or consent order, the agricultural operation must apply for a chapter 40C-44 permit or, if they also have a MSSW permit issued prior to June 1, 1988, must apply to modify the MSSW permit. [40C-44.031(1)(a)(b)(c), F.A.C.]

14.8.2  Permits Required

An individual environmental resource permit for an agricultural system is required prior to the undertaking of any activity described in section 14.9, if the activity exceeds the following thresholds:

(a)	incorporates pumped discharges from an existing agricultural surface water management system, when:

(1)	the pumps are stationary or portable facilities, and

(2)	the pump(s) have a capacity, either individually or cumulatively, of 10,000 GPM or greater. [40C-4.041(1)(a), F.A.C.]

(b)	causes or contributes to a violation of state water quality standards in waters of the state, when:

(1)	the discharge is pumped or gravity drained, and

(2)	the District has considered the following information on a case-by-case basis:

a.	water quality monitoring data collected by the District or other agency,

b.	the size of the agricultural operation and the amount of stormwater and associated wastewater reaching waters of the state, relative to the size and nature of the immediate drainage basin,

c.	the means of conveyance of stormwater and associated wastewater to waters of the state,

d.	characteristics of the site including the slope, vegetation, rainfall and other factors related to the likelihood or frequency of discharge of stormwater and associated wastewater to waters of the state,

e.	the status, results and recommendations of available basin-specific studies, including those conducted as part of a Surface Water Improvement and Management Plan or pursuant to chapter 62-40, F.A.C., and

f.	the existence of mixing zones, variances or site specific alternative criteria granted by DEP pursuant to chapters 62-4 and 62-302, F.A.C. [40C-44.041(1)(b), F.A.C.]

(c)	proposes construction, maintenance and operation of new agricultural surface water management systems, or alteration of existing systems, which:

(1)	drain an agricultural area greater than 2 acres;

(2)	are below thresholds described in paragraphs 62-330.020(2)(a) and (e), F.A.C.;

(3)	serve a project with a total land area less than 40 acres; and

(4)	do not provide for the placement of 12 or more acres of impervious surface which constitutes 40 or more percent of the total land area. [40C-44.041(2), F.A.C.]

When an activity that requires a permit pursuant to paragraph 62-330.020(2)(i), F.A.C., and section 1.2.3 of this Volume (i.e., chapter 40C-44, F.A.C.), also requires a permit pursuant to paragraph 62-330.020(2)(a), (b), (c), (d), (e), (f), (g), (h) or (j), F.A.C., or section 1.2.2 of this Volume, the review for determining compliance with all relevant permitting requirements will be included as part of one environmental resource permit.

14.8.3 	The District will not issue separate permits for parts of a system, except for a system which is to be constructed in phases.

14.9 	Activities Authorized by Permit

An individual environmental resource agricultural system permit must be obtained pursuant to paragraph 62-330.020(2)(i), F.A.C., for any surface water management system which exceeds the thresholds listed in subsection 14.8.2 of this Volume. Such permit is to be obtained as:

(a)	Authorization to maintain and operate an existing system.

(b)	Authorization to construct prior to the construction of a proposed system.

(c)	Authorization to alter prior to the alteration of an existing system.

(d)	Authorization to operate the entire system prior to the construction or operation of a proposed system or alteration of an existing system.

(e)	Authorization to maintain prior to the maintenance or repair of a proposed system, or alteration of an existing system, except for routine custodial maintenance.

(f)	Authorization to abandon prior to the abandonment of an existing system.

(g)	Authorization to remove prior to the removal of an existing system.

14.10   Exemptions

14.10.1	Section 373.406 of the Florida Statutes specifically exempts certain activities from the requirements of chapter 62-330, F.A.C.  Please refer to this statute and section 3.2 of Volume I for details regarding these exemptions.

14.10.2 In addition to the statutory exemptions, chapter 40C-44, F.A.C., provides for the exemptions listed below:

(a)	Concentrated Animal Feeding Operations with a valid permit issued by the DEP pursuant to chapter 62-670, F.A.C., provided that:

(1)	For dairy farms, the permitted design incorporates a high intensity use area, from which the stormwater runoff is centrally collected for storage and disposal by land application, or is treated prior to discharge.

(2)	For egg production facilities, the permitted design prevents the discharge of process wastewater and stormwater runoff to surface waters, except in the event of a storm greater than a 25 year, 24 hour event.

(3)	For any concentrated animal feeding operation which does not incorporate a high intensity use area, the permitted design includes provisions to treat stormwater and associated wastewater from adjacent animal loafing and feeding areas; manure pits; animal watering systems; washing, cleaning or flushing pens; or other pollutant sources, so that discharges through the surface water management system from the operation will not cause or contribute to a violation of water quality standards in waters of the state. [40C-44.051(1), F.A.C.]

(b)	Animal Feeding Operations, which do not discharge except in the event of a storm greater than a 25 year, 24 hour event and therefore are not Concentrated Animal Feeding Operations, pursuant to chapter 62-670, F.A.C. [40C-44.051(2), F.A.C.]

The exemptions for certain animal feeding operations, whose activities have been reviewed by DEP, and which provide treatment of their pollutant sources, are placed in the rule to minimize overlap between the District and the DEP. Only those areas of a Concentrated Animal Feeding Operation for which treatment has been provided, according to a DEP permit, are exempt. Likewise, only those areas of an Animal Feeding Operation which have facilities to retain the 25 year,24 hour storm event are exempt. For areas which may be a pollutant source and for which treatment or retention is not provided, such as adjacent pastures or haylands, the District may require an individual permit on a case-by-case basis, as stated in section 14.8 of this Volume.

(c)	Privately owned or operated agricultural surface water management systems lying within the boundaries of an active water control district that has obtained a chapter 40C-44 permit. [40C-44.051(3), F.A.C.]

The following is a list of active water control districts within the St. Johns River Water Management District:

1.	Delta Farms Water Control District

2.	Elkton Water Control District

3.	Fellsmere Water Control District

4.	Florahome Water Control District

5.	Hastings Water Control District

6.	Indian River Farms Water Control District

7.	Ranger Water Control District

8.	Sebastian River Water Control District

9.	Sixteen Mile Creek Water Control District

10.	South Brevard Water Control District

11.	St. Johns Water Control District

12.	Zellwood Drainage and Water Control District

(d)	Agricultural surface water management systems which are implementing one or more of the following practices under the District's Best Management Practices Cost-Sharing Program: SJ1 (Backflow Prevention), SJ5 (Pump Platform Fuel and Oil Containment) or SJ6 (Pesticide Mixing and Storage Area Containment). [40C-44.051(4), F.A.C.]

(e)	Minor alterations, as described in section 14.11, of new or existing agricultural surface water management systems which have a permit under chapters 62-330, 40C-4, 40C-40, or 40C-44, F.A.C. [40C-44.051(5), F.A.C.]

This exemption applies to agricultural operations which propose minor alterations and which have obtained permits under the referenced rule chapters for their activities, and is intended to prevent repetitive permit modifications. For example, if the permit requires implementation of a Conservation Plan, but the Conservation Plan recommends installation of small water control structures which were not included in the original permit, no modification of the permit is necessary if the proposed activity is a minor alteration.

(f)	Agricultural surface water management systems, which are required to obtain a permit as described in section 14.8.2, provided they have a Consumptive Use Permit which requires that they obtain, implement and maintain a Conservation Plan. [40C-44.051(6), F.A.C.]

This exemption is intended to minimize duplicative permitting for small agricultural operations such as ferneries or nurseries. It applies to agricultural operations with a project area less than <40 acres which propose no work in, on, or over wetlands or other surface waters that would require a permit pursuant to 62-330.020(2)(a), F.A.C., and which propose to construct or modify a surface water management system. If they have a valid Consumptive Use Permit, which requires that they obtain, implement and maintain a Conservation Plan, as defined in Section 14.7(e), then they do not have to obtain a permit under Chapter 40C-44, F.A.C. Under this exemption, the permit requirements described in Section 14.2.2.(a) have been transferred to a Consumptive Use permit condition.

14.11    Minor Alterations

14.11.1 Minor alterations are those alterations of existing agricultural surface water management systems which do not increase the peak discharge rate and total discharge volume (when applicable), alter off-site storage and conveyance capabilities of the water resource, adversely affect hydrologically related environmental functions, or increase the off-site pollutant loading. [40C-44.071(2), F.A.C.]

14.11.2 The following activities are presumed to be minor alterations:

(a)	regrading or contouring of ditches and other conveyance systems necessary to implement a management practice recommended by a Conservation Plan.

(b)	installation of new internal ditches or other conveyance systems necessary to implement a management practice recommended by a Conservation Plan.

(c)	installation of internal water control structures necessary to implement a management practice recommended by a Conservation Plan.

(d)	modification or expansion of existing detention ponds within previously diked areas, provided that public safety concerns related to levee failure are addressed, no floodplain encroachment occurs, and impacts to wetlands or other surface waters do not require a permit pursuant to paragraph 62-330.020(2)(a), F.A.C.

(e)	construction of new detention ponds within previously diked areas, provided that public safety concerns related to levee failure are addressed, no floodplain encroachment occurs, and impacts to wetlands or other surface waters do not require a permit pursuant to paragraph 62-330.020(2)(a), F.A.C. [40C-44.071(3), F.A.C.]

14.11.3 The District’s determination that the conceptual plans are consistent with chapter 373, F.S., and chapters 62-330, and 40C-41, F.A.C., will provide the applicant with an assurance that the concepts upon which his designs are based can provide for systems which will not be harmful to the water resources of the District and will not be inconsistent with the overall objectives of the District.

15.0	Application Preparation

15.1      Pre-application Conference

15.1.1	The District encourages applicants to participate in a pre-application conference with District staff. At the applicant's request, District staff will arrange for and participate in a pre-application conference. At a pre-application conference, the staff will be prepared to discuss with the applicant such information as:

(a)	application completion, processing and evaluation procedures;

(b)	information which will be required for evaluation of the application;

(c)	the criteria which will be used in evaluation of the application;

(d)	other hydrological, environmental or water quality data.

15.1.2 	To schedule a pre-application conference, potential applicants should contact:

Division of Regulatory Services

St. Johns River Water Management District

4049 Reid Street

Palatka, FL 32177-2529

(386) 329-4500

15.2     Forms and Instructions

15.2.1 	Applicants should complete Section A of form 62-330.060(1) (Joint Application for Individual and Conceptual Environmental Resource Permit/Authorization to Use State-Owned Submerged Lands/Federal Dredge and Fill Permit) (10-1-13) and incorporated by reference in rule 62-330.060(1), F.A.C., and form 40C-44.101(2) (Supplemental Information for Agricultural Systems), which has been incorporated by reference in 40C-44.101(2). These forms must be used in the application for an individual permit for construction, operation, maintenance, alteration, removal, or abandonment of new or existing systems.

15.3     Permit Processing Fee

15.3.1 	A non-refundable permit processing fee as specified by chapter 40C-1, F.A.C., is required for the processing of each application for individual permits or for a permit modification, and must be submitted concurrently with the filing of an application. An application submitted without the fee will not be considered complete.  The required processing fees are listed in section 40C-1.603.

15.4     Checklist for Application Completeness

The following items must be submitted at the time of an application:

(a)	the appropriate application form with all spaces filled in along with all information required by the application;

(b)	detailed engineering plans and recent aerial photographs as requested on the application form;

(c)	a current location map with the property boundaries clearly indicated;

(d)	additional information requested at the pre-application conference as described in section 15.1 above; and

(e)	the application fee.

15.4.1  Procedure for Processing Applications

Applications will be processed in accordance with the procedures 					described in subsections 5.5.3.3 and 5.5.3.5 through 5.5.3.8 of Volume I 				and subsection 373.4141(1), F.S.  Thus:

(a)	Within 30 days after receipt of an application for a permit under this part, the District shall review the application and shall request submittal of all additional information the department or the water management district is permitted by law to require. If the applicant believes any request for additional information is not authorized by law or rule, the applicant may request a hearing pursuant to s. 120.57. Within 30 days after receipt of such additional information, the department or water management district shall review it and may request only that information needed to clarify such additional information or to answer new questions raised by or directly related to such additional information. If the applicant believes the request of the department or water management district for such additional information is not authorized by law or rule, the department or water management district, at the applicant’s request, shall proceed to process the permit application. [373.4141(1), F.S.]

(b)	The District will inform the applicant within 30 days of receipt of the application, or within 30 days of receipt of additionally received information, whether the proposed activities are exempt from permitting or qualify for a general permit.  Any processing fees received in excess of those required under Rule 62-330.071, F.A.C., will be refunded. [5.5.3.3, A.H., Volume I]

(c)	The applicant shall have 90 days from the date the District makes a timely request for additional information to submit that information to the District.  If an applicant requires more than 90 days to respond, it must notify the District in writing of the circumstances, at which time the application shall remain in active status for one additional period of up to 90 days.  Additional extensions shall be granted for good cause shown by the applicant. A showing that the applicant is making a diligent effort to obtain 	the requested additional information, and that the additional time period is both reasonable and necessary to supply the information, shall constitute good cause.  In such case, a specified amount of additional time shall be granted at the mutual consent of the 	District and the applicant.  If the applicant chooses not to, or is unable to, respond to the request for additional information within the above time frames, the application shall be administratively denied without prejudice.  An administrative denial is not a determination of the merits of an application and does not preclude the applicant from reapplying at a later time.  However, the applicant will not receive a refund of processing fees submitted, and the District will not apply those processing fees to a subsequently submitted permit application or notice. [5.5.3.5, A.H., Volume I]

(d)	The applicant may submit a written request for an application to be deemed complete at any time.  Upon receipt of such request, the District will begin processing the application and will take agency action to issue or deny the application within 60 days of that date, or within such additional time as may be provided if the applicant voluntarily waives that time clock. [5.5.3.6 A.H., Volume I]

(e)	The applicant may voluntarily request the application be withdrawn prior to agency action if it does not or cannot provide the requested information or required processing fees within the above time frames.  If the request for withdrawal of the application is filed prior to the District’s administrative denial, the applicant will not receive a refund of processing fees.  However, if a new application 	or notice is received from the same applicant for substantially the same activity on all or a part of the same parcel within 365 days of the date the District received the request to withdraw the previous application, the District will apply processing fees submitted for such withdrawn application to the processing fees required for the new application or notice. [5.5.3.7 A.H., Volume I]

(f)	The applicant may request a Section 120.569, F.S., hearing pursuant to subsection 62-330.010(7), F.A.C., including Rule 28-106.201, F.A.C. when there are disputed issues of material fact, or Rule 28-106.301, F.A.C., when there are no disputed issues of material fact. [5.5.3.8, A.H., Volume I]

16.0	Permits

16.1       Operation and Maintenance Unique to Agricultural Systems

16.1.1   Responsibility for Operation and Maintenance

The entity responsible for operation of the system (owner, lessee, public body, etc.) must be identified. If the responsible entity is not the owner, the following will be required:

(a)	If the operation entity is to be a public body, such as a water control district, a preliminary letter of acceptance from the public body shall be submitted. A final letter of acceptance by the governing body is required before an operation or maintenance permit can become effective.

(b)	If the entity is a lessee, the lessee must provide a copy of the lease agreement, and a separate document stating that the lessee will be responsible for maintenance and operation.

16.1.2    Operation and Maintenance Requirements

(a)	The permittee is required to provide for periodic inspections of the surface water management system to insure that the system is functioning as designed and permitted.

(b)	The following operational maintenance activities shall be performed on all permitted systems on a regular basis or as needed:

(1)	Removal of trash and debris from the surface water management system,

(2)	Inspection of culverts, culvert risers, pipes and screwgates for damage, blockage, excessive leakage or deterioration,

(3)	Inspection of pipes for evidence of lateral seepage,

(4)	Inspection of flapgates for excessive backflow or deterioration,

(5)	Removal of sediments when the storage volume or conveyance capacity of the surface water management system is below design levels,

(6)	Stabilization and restoration of eroded areas,

(7)	Inspection of pump stations for structural integrity and leakage of fuel or oil to the ground or surface water, and

(8)	Inspection of monitoring equipment, including pump hour meters and staff gauges, for damage and operational status.

(c)	The permittee shall maintain and operate the Conservation Practices contained in the Conservation Plan, consistent with current SCS standards, specifications and guidelines.

(d)	In addition to the practices listed in subsection (b) above, specific operational maintenance activities are required, depending on the type of permitted system, as follows:

(1)	Overland flow systems shall include provisions for:

a.	Mowing and removal of clippings, and

b.	Maintenance of spreader swales and overland flow areas to prevent channelization.

(2)	Spray irrigation systems for reuse/disposal shall include provisions for:

a.	Inspection of the dispersal system, including the sprayheads or perforated pipe for damage or clogging, and

b.	Maintenance of the sprayfield to prevent channelization.

(3)	Treatment systems which incorporate isolated wetlands shall include provisions for:

a.	Stabilization and restoration of channelized areas, and

b.	Removal of sediments which interfere with the function of the wetland or treatment system.

(4)	Systems in Class I waters shall include provisions for inspection and maintenance of valves for wells which discharge from an aquifer which contains greater than 250 mg/l of chloride.

(e)	If the system is not functioning as designed and permitted, operational maintenance must be performed immediately to restore the system.  If the operational maintenance measures are insufficient to enable the system to meet the performance standards of this chapter, the permittee must either replace the system or construct an alternative design.  A permittee must apply for and obtain a modification prior to constructing such alternative design.  [40C-44.069, F.A.C.]

16.2        Transfers

16.2.1	The District must be notified in writing, within 30 days of any sale, conveyance, or other transfer of a permitted system or facility or within 30 days of any transfer of ownership or control of the real property at which the permitted system is located. Transfers of ownership or transfers of a permit obtained solely pursuant to 62-330.020(2)(i), F.A.C., and section 1.2.3 of this Volume are subject to the requirements of chapter 40C-1, F.A.C.  All other transfers are subject to the requirements of chapter 62-330, F.A.C.

16.3     Related Permits

16.3.1	Application to construct, alter, or maintain a system must include application for any related permit required to operate a system.

16.3.2	Agricultural operations which are also required to obtain a permit pursuant to 62-330.020(2)(a),(b), (c), (d), (e), (f), (g), (h) or (j), F.A.C., or section 1.2.2 of this Volume, must comply with the performance standards and water quality practices contained in chapter 40C-44, F.A.C., in order to meet the District's water quality criteria. Additional special conditions, which will be applied in this case, are listed in Appendix E.

16.3.3	For permits which include construction, the permit for operation and maintenance will be granted with a condition that the operation and maintenance permit becomes valid upon satisfactory completion of the permitted construction or alteration (as demonstrated by the submission of certified as-built plans) and compliance with all conditions of the permit.

16.4     Duration

16.4.1	The permit which is granted will include a specified period for which the permit is valid. Unless revoked or modified, such period is:

(a)	generally five years for permits to construct, alter, or remove a system; and

(b)	permanent for permits to operate, maintain, or abandon a system.

16.4.2	The designed duration for permits to construct, alter, abandon, or remove, will be dependent upon the facts and circumstances of each situation. These include:

(a)	size of a proposed system; and

(b)	anticipated amount of time required to complete the proposed activity.

16.4.3	Permits expire at 11:59 pm on the date indicated on the permit conditions unless an application is made pursuant to chapter 40C-1, F.A.C., for an extension on or before the date of expiration. Application for an extension should be made by writing to:

Division of Regulatory Services

St. Johns River Water Management District

4049 Reid Street

Palatka, FL 32177-2529

16.4.4	If an application for re-issuance is made prior to expiration, the permit remains in effect until the District takes action on the application.

16.4.5	The District may revoke or modify a permit in accordance with the provisions of section 373.429, F.S., and chapter 40C-1, F.A.C.  The following constitutes grounds for modification or revocation:

(a)	Consistent noncompliance with permit conditions.

(b)	Consistent noncompliance with state water quality standards.

(c)	Noncompliance with approved wasteload allocations, developed pursuant to a Surface Water Improvement and Management Plan or other state or District program, when adopted by District rule, such that the operation has become inconsistent with the objectives of the District, as set forth in section 18.0 of Part VII of this Volume, or

(d)	Noncompliance with a pollutant load reduction goal when adopted by District rule, such that the operation has become inconsistent with the objectives of the District, as set forth in section 18.0 of Part VII of this Volume.

For the purposes of this section of the rule only, the District will consider "consistent noncompliance with state water quality standards” to be violations of state water quality standards for 2 consecutive quarters of 3 or more parameters or violations of state water quality standards for 4 consecutive quarters of 1 or more parameters.

16.5     Enforcement and Inspection

16.5.1  Chapter 373, F.S. provides for the enforcement of District rules by administrative

and civil complaint. In addition to the authority of the District to enforce, the District has the authority to obtain the assistance of county and city officials in the enforcement of the rules (see sections 373.603 and 373.609, F.S.) A person who violates District rules or refuses to comply with a District order may be subject to criminal prosecution as set forth in section 373.403, F.S.

16.5.2 One condition of each permit will be that District authorized staff, upon proper

identification, will have permission to enter, inspect and observe the system to insure compliance with the approved plans and specifications included in the permit.

16.6     Compliance

16.6.1	Permit conditions routinely require installation of monitoring equipment and reporting of monitoring data. Other conditions, as directed by the District, may be placed on permits. Noncompliance by performing activities which have not been authorized by permit and are not exempt, or by failure to adhere to permit conditions is subject to the appropriate legal action (see section 16.5.1).

16.6.2  Forms

Compliance forms, used to report monitoring data, are contained in Appendices F and G.

16.6.3  Water Quality Monitoring

Water quality monitoring is typically required by individual permits.  Permittees are required to analyze samples for the parameters listed in Table 1 (Appendix E) and may be required to perform additional analyses based on site specific conditions.

Samples must be analyzed by a laboratory certified by the Florida Department of Health (DOH).

16.6.4  Pump Hour Monitoring

Pump hour monitoring is typically required by individual permits.  Pump hours are monitored by the installation of pump hour meters on each drainage pump, and submission of quarterly reports unless otherwise specified by permit condition.

16.6.5  Pond Stage Monitoring

Monitoring of pond stages is typically required by individual permits. A surveyed staff gauge (referenced to National Geodetic Vertical Datum (NGVD) or North American Vertical Datum (NAVD)) must be installed and maintained in each pond. Staff gauges are made of metal or plastic with graduated lines. They can be purchased from survey equipment suppliers or field equipment supply catalogs, such as Forestry Suppliers or Ben Meadows. The USDA Natural Resources Conservation Service may be able to provide assistance in the installation and surveying of staff gauges.

Water levels must be recorded a minimum of 3 non-consecutive days per week, or as an alternative, once a week and daily during pump operation. More frequent monitoring may be required, depending on pump capacity, amount of freeboard, etc. Reports of water levels must be submitted to the District quarterly unless otherwise specified by permit condition.

# B.  CRITERIA FOR EVALUATION

17.0	Criteria for Evaluation

17.1	Purpose

The criteria which are explained in this part are those which have been approved by the Governing Board for use by District staff in evaluating permit applications for agricultural systems. The criteria are used in evaluating applications for individual permits. The staff recommendation on permit approval for any permit will be based upon a determination of whether the system meets the criteria for evaluation.

17.2	Source of Criteria

The criteria for evaluation have been developed from guidelines established 	in chapter 373, F.S. (Water Resources Act of 1972); chapter 403, F.S.,

(Environmental Control); chapter 62-40, F.A.C. (State Water Policy); chapter 40C-4, F.A.C., (Environmental Resource Permits:  Surface Water Management Systems), chapters 62-4 and 62-302, F.A.C. (Water Quality Standards), this handbook, and through permitting decisions of the District.   These criteria have been incorporated by reference in chapter 62-330, F.A.C.

17.3	Statutory Criteria

17.3.1	In order to obtain a permit, an applicant must give reasonable assurance that:

(a)	The construction or alteration of any dam, impoundment, reservoir, appurtenant work or works will not be harmful to the water resources of the District.

(b)	The operation or maintenance of any dam, impoundment, reservoir, appurtenant work or works will not be inconsistent with the overall objectives of the District and will not be harmful to the water resources of the District.

(c)	The abandonment or removal of any dam, impoundment, reservoir, appurtenant work or works will not be inconsistent with the overall objectives of the District.

17.4	State Water Quality Standards

State water quality standards are contained in chapters 62-4, 62-302, 62-520, and 62-550, F.A.C. The standards are set by DEP, not by the District. Discharges from the agricultural surface water management systems can not cause or contribute to a violation of state water quality standards in waters of the state, as set forth in chapters 62-4, 62-302, 62-520, and 62-550 F.A.C., including any antidegradation provisions of sections 62-4.242(1)(a) and (b), 62-4.242(2) and (3), and 62-302.300, F.A.C., and any special standards for Outstanding Florida Waters and Outstanding National Resource Waters set forth in sections 62-4.242(2) and (3), F.A.C.

17.4.1	Surface Water Quality Standards

State water quality standards for surface waters are contained in chapters 62-4 and 62-302, F.A.C. The standards apply at the point of mixing with waters of the state. For the purposes of this rule, violations must be projected, based on monitoring results at the pump inlet or pond outfall and sound scientific rationale, or observed at the edge of the "boil" caused by the pump or weir discharge.

17.4.2	Groundwater Quality Standards

State water quality standards for groundwater are contained in chapter 62-520, F.A.C.  Section 62-520.400, F.A.C., specifies minimum criteria for groundwater. In addition to the minimum criteria, Class G-I and G-II groundwater must meet primary and secondary drinking water quality standards for public water systems established pursuant to the Florida Safe Drinking Water Act, which are listed in sections 62-550.310 and .320, F.A.C.

Only the minimum criteria apply within a zone of discharge, as determined in section 62-520.400, F.A.C. A zone of discharge is defined as a volume underlying or surrounding the site and extending to the base of a specifically designated aquifer or aquifers, within which an opportunity for the treatment, mixture or dispersion of wastes into receiving ground water is afforded. Stormwater facilities generally have a zone of discharge 100 feet from the site boundary or to the installation's property boundary, whichever is less.

18.0	Overall Objectives of the District

18.1     Objectives

18.1.1 To obtain a permit for operation, maintenance, removal or abandonment of a

system, each applicant must give reasonable assurance that such activity will not:

(a)	Endanger life, health, or property;

(b)	Be inconsistent with the maintenance of minimum flows and levels established pursuant to chapter 40C-8, F.A.C.;

(c)	Adversely affect the availability of water for reasonable beneficial purposes;

(d)	Be incapable of being effectively operated;

(e)	Adversely affect the operation of a Work of the District established pursuant to section 373.086, F.S.

(f)	Adversely affect existing agricultural, commercial, industrial, or residential developments;

(g)	Cause adverse impacts to the quality of receiving waters;

(h)	Adversely affect natural resources, fish and wildlife;

(i)	Increase the potential for damages to off-site property or the public caused by:

(1)	Floodplain development, encroachment or other alteration;

(2)	Retardance, acceleration, displacement or diversion of surface water;

(3)	Reduction of natural water storage areas;

(4)	Facility failure;

(j)	Increase the potential for flood damages to residences, public buildings, or proposed and existing streets and roadways; and

(k)	Otherwise be inconsistent with the overall objectives of the District.

18.1.2 Because a system may result in both beneficial and harmful effects in terms of

various individual objectives, in determining whether the applicant has provided evidence of reasonable assurance of compliance with subparagraph 40C-44.301(l)(a), the District shall consider a balancing of specific effects to show the system is not inconsistent with the overall objectives of the District.

19.0	Harm to the Water Resources of the District

19.1	Harm to the Water Resources Standards

19.1.1	The Governing Board has delineated the following performance standards which must be met to demonstrate that the proposed activity will not be harmful to the water resources of the District and will not cause adverse impacts to the quality of the receiving waters:

(a)	Discharges from the agricultural surface water management system shall not

cause or contribute to a violation of water quality standards in waters of the

state, as set forth in chapters  62-4, 62-302, 62-520, and 62-550, F.A.C.

(incorporated by reference in 40C-4.091(1)(c)), including any

antidegradation provisions of sections 62-4.242(1)(a) and (b), 62-4.242(2)

and (3), and 62-302.300, F.A.C., and any special standards for Outstanding

Florida Waters and Outstanding National Resource Waters set forth in

sections 62-4.242(2) and (3), F.A.C.

(b)	The surface water management system shall be designed, operated, and maintained to provide a level of treatment so that discharges will not contain more than 20 mg/l BOD or 20 mg/l of total suspended solids.

(c)	In addition to paragraphs (a) and (b) above, the applicant is advised that discharges from the agricultural surface water management system will be required to comply with a waste load allocations developed pursuant to a Surface Water Improvement and Management Plan or other state or District program, or a pollutant load reduction goal, pursuant to chapter 62-40, F.A.C., when said allocation or goal is adopted by District rule [40C-44.065, F.A.C.]

19.1.2	 To obtain an individual permit for construction, alteration, operation, or maintenance of a system, each applicant must give reasonable assurance that such activity is not harmful to the water resources by meeting the following standards:

(a)	Adverse water quantity impacts will not be caused to receiving waters and adjacent lands;

(b)	Surface and ground water levels and surface water flow will not be adversely affected;

(c)	Existing surface water storage and conveyance capabilities will not be adversely affected;

(d)	The system must be capable of being effectively operated;

(e)	The activity must not result in adverse impacts to the operation of Works of the District established pursuant to section 373.086, F.S.; and

(f)	Hydrologically-related environmental functions will not be adversely affected;

19.2	Harm to the Water Resources Criteria

19.2.1	 It is presumed that a system meets the standards listed in subsection 19.1.2 if the system meets the criteria in sections 62-330.301 and 62-330.302, F.A.C.

19.2.2	Individual Permits

(a)	For the following types of systems qualifying for an individual permit pursuant to paragraph 40C-44.061(2), 	F.A.C., it is presumed that compliance with the criteria specified in section 19.1.2 will provide reasonable assurance that the system will comply with the performance standards described in section 19.1.1:

(1)	Small agricultural operations (greater than 2 acres, but less 	than 40 acres) that do not propose any work in wetlands or 	other surface waters that would require a permit pursuant to 	paragraph 62-330.020(2)(a), F.A.C., if they have 	obtained a Conservation Plan, implemented the Conservation 	Plan within 180 days of permit issuance, and maintained the 	Conservation Plan. [40C-44.055(1), F.A.C.]

(2)	Existing agricultural operations which are applying for a 			chapter 40C-44, F.A.C., permit prior to the expiration of a 			valid Industrial Waste permit or consent order (section

14.8.1), provided they:

(i.)	Continue to maintain and operate the surface water 			management system, and associated treatment 			system, as previously permitted or authorized by 			consent order, and

(ii.)	Demonstrate compliance with the performance 			standards described in subsections 40C-44.065(1) and 		(2), F.A.C., based upon data collected in compliance 			with monitoring conditions. If the District staff 			determines that the compliance monitoring data does 			not demonstrate compliance with the performance 			standards, staff will notify the applicant, in writing, of 		the specific pollutant or pollutants for which 				treatment will be required in order to obtain an 			individual permit. [40C-44.055(2), F.A.C.]

(3)	Minor alterations, described in section 14.1, provided 				the applicant provides reasonable assurance, through plans, 			test results or other information, that the activity is a minor 			alteration [40C-44.055(3), F.A.C.]

(4)	Surface water management systems which drain an 				agricultural operation of less than 120 acres, which do not 			contain a concentrated 	animal feeding operation, which 			implement a Conservation Plan within 180 days of permit 			issuance, and which maintain the Conservation Plan, 				provided the permittee satisfies the following 	monitoring 			conditions:

(i.)	The permittee must maintain hour meters, in 				operating order, on each drainage pump. If the hour 			meters are not installed at the time of permit issuance, 		they must be installed within 60 days of the issuance 			of the permit. Reports of pump operating hours for 			each pump must be submitted to the District 				quarterly, using forms provided in the handbook.

(ii.)	The permittee must maintain a surveyed staff gauge, 			(referenced to NGVD or NAVD), in each detention 			pond. If the staff gauges are not installed at the time 			of permit issuance, they must be installed within 60 			days of the issuance of the permit. Water levels must 			be recorded a minimum of 3 nonconsecutive days per 		week, or as an alternative, once a week and daily 			during pump operation. Reports of water levels for 			each pond must be submitted quarterly to the District 			using forms provided in this Volume and 				incorporated by reference in chapter 40C-44.

(iii.)	The permittee must monitor the water quality on a 			quarterly basis at each discharge point from pumps or 		pond outfalls to waters of the state. If no discharge 			has occurred during a particular quarter, no sampling 			is required. Water samples must be analyzed for the 			parameters listed in Table 1 (Appendix J). Samples 			must be analyzed by a laboratory certified by the 			Florida Department of Health.

(iv.)	If, after five years of water quality monitoring, the 			permittee demonstrates that the data collected 				represents steady state conditions and is adequate to 			project future compliance with state water quality 			standards, the District shall amend the monitoring 			conditions by reducing the frequency of monitoring 			or the number of parameters monitored, or 				eliminating such requirements.

(v.)	If, after five years of water quality monitoring, the 			District notifies the permittee in writing that 				discharges from the surface water management 			system have not complied with the performance 			standards described in subsections 40C-44.065 (1) 			and (2), F.A.C., then the permittee must apply for an 			individual permit in accordance with subsection 40C-			44.061(3), F.A.C.

(5)	Surface water management systems which drain an agricultural operation which do not contain a concentrated animal feeding operation, which have obtained a Conservation Plan, implemented the Conservation Plan within 180 days of permit issuance, maintain the Conservation Plan, and which have not been issued an Industrial Waste permit or consent Order, provided the permittee satisfies the monitoring conditions described below:

(i.)	The permittee must maintain hour meters, in 				operating Order, on each drainage pump. If the hour 			meters are not installed at the time of permit issuance, 		they must be installed within 60 days of the issuance 			of the permit. Reports of pump operating hours for 			each pump must be submitted to the District 				quarterly, using forms provided in the handbook.

(ii.)	The permittee must maintain a surveyed staff gauge, 			(referenced to NGVD or NAVD), in each detention 			pond. If the staff gauges are not installed at the time 			of permit issuance, they must be installed within 60 			days of the issuance of the permit. Water levels must 			be recorded a minimum of 3 nonconsecutive days per 		week, or as an alternative, once a week and daily 			during pump operation. Reports of water levels for 			each pond must be submitted quarterly to the District 			using forms provided in the handbook.

(iii.)	The permittee must monitor the water quality on a 			quarterly basis at each discharge point from pumps or 		pond outfalls to waters of the state following 				implementation of the Conservation Plan or within 			180 days of permit issuance, whichever occurs 			sooner. If no discharge has occurred during a 				particular quarter, no sampling is required. Water 			samples must be analyzed for the parameters listed in 			Table 1 (Appendix J). Samples must be analyzed by 			a laboratory certified by the Florida Department of 			Health.

(iv.)	If, after five years of water quality monitoring, the 			permittee demonstrates that the data collected 				represents steady state conditions and is adequate to 			project future compliance with state water quality 			standards, the District shall amend the monitoring 			conditions by reducing the frequency of monitoring 			or the number of parameters monitored, or 				eliminating such requirements.

(v.)	If, after one year of water quality monitoring, the 			District notifies the permittee in writing that 				discharges from the surface water management 			system have not complied with the performance 			standards described in sections 40C- 44.065 (1) and 			(2), F.A.C., then the permittee must apply for an 			individual permit in accordance with subsection 40C-			44.061(3), F.A.C.

(b)	For all other systems which are required to obtain an individual 			permit under section 40C-44.061, F.A.C., it is presumed that 				implementation of the water quality practices listed in section 			19.2.4 will provide reasonable 	assurance that the system will 				comply with the performance 	standards described in section 19.1.1.

The water quality practices or other alternatives shall be

implemented to the extent necessary to comply with the performance

standards described in 	section 19.1.1. In some cases, the

implementation of these practices may not result in compliance with

the performance standards for issuance of an individual permit. In

those cases, the applicant shall provide for implementation of such

additional water quality practices and/or treatment methodologies as

necessary to provide reasonable assurance that the discharge will

comply with the performance standards described in section 19.1.1.

19.2.3	Discharge to Class I, Class II, or Outstanding Florida Waters

New and existing systems which discharge to Class I, Class II or Outstanding Florida Waters shall be required to provide an additional level of treatment to provide reasonable assurance of compliance with section 19.1.1. Direct discharges to Outstanding Florida Waters shall provide an additional 50% of the applicable treatment volume.

19.2.4	Water Quality Practices

(a)	Reduce the volume of stormwater and associated wastewater discharged to waters of the state by:

(1)	Implementing management practices designed to reduce the volume of water discharged off-site, including Water Table Control in Open Channels, Irrigation Land Leveling and Irrigation Water Management, and

(2)	Maximizing on-site recycling to satisfy irrigation, freeze protection and pest control needs. The applicant may demonstrate maximum reuse by using all the practically available water from reservoir storage prior to using groundwater.

(b)	Implement and maintain a Conservation Plan, which includes a Nutrient Management Plan and Pesticide Management Plan.

(c)	Provide treatment of the pollutants generated by the agricultural operation. The treatment method required depends on the intensity of land use and associated pollutants.

(1)	Wet detention ponds, designed and operated in accordance with section 8.0 of this Volume, are presumed to satisfy the requirements of paragraphs (a)(2) and (c) for those portions of an agricultural operation described below:

a.	Citrus, row crop, sod, hayland or improved pasture which discharge to Class I, Class II, or Outstanding 	Florida Waters, or

b.	Citrus, row crop, sod, hayland or improved pasture on predominantly organic soils. For the purposes of this handbook, organic soils are listed as mucks, peats or mucky fine sands in the NRCS county Soil Surveys.

(2)	Other water quality practices in lieu of wet detention, such as overland flow, vegetative filters and detention in isolated wetlands, are presumed to satisfy the requirements in section (c) for low intensity agricultural operations such as rough or semi-improved pasture, when the practice(s) is designed, operated and maintained using accepted engineering principles.

In evaluating the design of overland flow systems or vegetative filters, District staff will use as guidelines the engineering standards and specifications adopted under the District's Best Management Practices Cost-Share Program. 	The criteria contained in section 10.0 of this Volume, will be used as guidelines for evaluating the design of isolated wetland treatment 	systems.

(3)	Agricultural surface water management systems may incorporate overland flow, vegetative filters and detention in isolated wetlands as water quality practices. Existing canals and conveyance systems may be incorporated into a wet detention treatment system, when appropriate. The applicant must provide reasonable assurance, through plans, test results or other information, that the practice will provide an adequate level of treatment to meet the performance standards in section 19.1.1.

(d)	Applicants who propose to satisfy the performance standards in section 19.1.1 by employing a treatment methodology or device other than those described in sections 19.2.4(a)-(c), may seek 	approval for an equivalent alternative through the District's permit process.

19.2.5   Agricultural surface water management systems requiring a permit which will be

located in the Lake Apopka Hydrologic Basin or which will discharge water to

Lake Apopka or its tributaries, must comply with the requirements of subsection

40C-41.063(8), F.A.C., and Section 13.7 of this Volume.

19.2.6	Agricultural surface water management systems requiring a permit that will 	be

located within the Wekiva Recharge Protection Basin must comply with the

requirements of paragraph 40C-41.063(3)(a), F.A.C., and Section 13.3 of this

Volume.