WUP Number:  	   DID Number:  	  SID Number:

Contact Information

Permittee:

Permittee Address:

Phone Number:  	  Mobile Number: 	  E-mail:

Is the property leased?  	    Yes      No	Will a lessee be responsible for meter installation?     Yes      No

Who will perform the flow meter installation?      property owner	    lessee	      irrigation contractor

Who will the reimbursement be directed to?  	 property owner	    lessee	      irrigation contractor

Contact (if different):

Contact Address (if different):

Phone Number:  	  Mobile Number:  	  E-mail:

Irrigation System Information

Is this a groundwater or surface water withdrawal?      Groundwater	     Surface Water

What is the mainline diameter of this withdrawal?

What is the pipe material and wall thickness (or pipe schedule)?

What is the flow meter model to be installed?

Is the meter to be installed above or below ground?     Above	    Below

What is the length of straight pipe run upstream of the meter installation location?

What is the length of straight pipe run downstream of the meter installation location?

Is there a minimum straight-line pipe distance of 5 pipe diameters upstream and 2 pipe diameters downstream of the meter installation location?             Yes	    No

If yes:  The existing irrigation system meets most flow meter manufacturer’s recommendations for minimum upstream and downstream straight-line flow paths and should not require re-plumbing for the installation of a meter with straightening vanes.  Attach a contractor or meter supplier cost estimate split out by: 1) cost of the meter with a pulse output 2) straightening vanes and any additional parts required and 3) labor for installation.  Submit the cost estimate with photographs of the existing irrigation system configuration with this completed form.

If no:  Plumbing modifications may be required prior to flow meter installation to meet most meter manufacturer’s recommendations for minimum upstream and downstream straight line flow paths.  Photographs and a sketch detailing proposed modifications with a parts list is required and must be attached to this form.  At the District’s discretion, increased flow meter reimbursement rates may be provided for alternative flow meters (such as magnetic meters) that would require less plumbing system modifications and result in a reduction to the total overall reimbursement amount.

FLOW METER PRE-INSTALLATION INFORMATION WORK SHEET