Table I

Water Quality Monitoring

TABLE 1

Water Quality Monitoring Program

(Class I Waters)

Parameters 					Storet# 			Unit

pH 						400				 s.u.

Water Temperature 				10 				Deg. C.

Total Suspended Solids 			530 				mg/l

Turbidity 					82079 				NTU

B.O.D. (5 day) 				310 				mg/l

Total Ammonia (as N) 			610				 mg/l

Nitrate-Nitrite (as N) 				630				 mg/l

Total Kjeldahl Nitrogen 			625				 mg/l

Total Phosphorus (as P) 			665 				mg/l

Dissolved Oxygen 				300 				mg/l

Chloride 					940 				mg/l

Total Dissolved Solids 			70300 				mg/l

TABLE 1

Water Quality Monitoring Program

(Class II or III Waters)

Parameters 					Storet# 			Unit

pH 						400 				s.u.

Water Temperature 				10	 			Deg. C.

Total Suspended Solids 			530 				mg/l

Turbidity 					82079 				NTU

B.O.D. (5 day) 				310				mg/l

Total Ammonia (as N) 			610 				mg/l

Nitrate-Nitrite (as N) 				630 				mg/l

Total Kjeldahl Nitrogen 			625 				mg/l

Total Phosphorus (as P) 			665 				mg/l

Dissolved Oxygen 				300				 mg/l