If you are a. . .

You must report.  .  . 1

- System monitoring monthly or quarterly for TOC under the   (i)  The  number  of  paired  (source  water  and  treated  water)

requirements of § 141.132(d) and required to meet the en-	samples taken during the last quarter.

hanced coagulation or enhanced softening requirements in   (ii) The location, date, and results of each paired sample and

§ 141.135(b)(2) or (3).	associated alkalinity taken during the last quarter.

  - For each month in the reporting period that paired samples were taken, the arithmetic average of the percent reduction of TOC for each paired sample and the required TOC per- cent removal.

  - Calculations for determining compliance with the TOC per- cent removal requirements, as provided in § 141.135(c)(1).

  - Whether the system is in compliance with the enhanced co- agulation or enhanced softening percent removal require- ments in § 141.135(b) for the last four quarters.

- System monitoring monthly or quarterly for TOC under the   (i)  The  alternative  compliance  criterion  that  the  system  is requirements of § 141.132(d) and meeting one or more of	using.

the alternative compliance criteria in § 141.135(a)(2) or (3).

(ii) The number of paired samples taken during the last quar- ter.

#### Environmental Protection Agency	§ 141.135

| If you are a. . . | You must report. . . 1 |
| --- | --- |
|  | The location, date, and result of each paired sample and associated alkalinity taken during the last quarter. The running annual arithmetic average based on monthly averages (or quarterly samples) of source water TOC for systems meeting a criterion in §§ 141.135(a)(2)(i) or (iii) or of treated water TOC for systems meeting the criterion in § 141.135(a)(2)(ii). The running annual arithmetic average based on monthly averages (or quarterly samples) of source water SUVA for systems meeting the criterion in § 141.135(a)(2)(v) or of treated water SUVA for systems meeting the criterion in § 141.135(a)(2)(vi). The running annual average of source water alkalinity for systems meeting the criterion in § 141.135(a)(2)(iii) and of treated water alkalinity for systems meeting the criterion in § 141.135(a)(3)(i). The running annual average for both TTHM and HAA5 for systems meeting the criterion in § 141.135(a)(2)(iii) or (iv). The running annual average of the amount of magnesium hardness removal (as CaCO3, in mg/L) for systems meeting the criterion in § 141.135(a)(3)(ii). Whether the system is in compliance with the particular al- ternative compliance criterion in § 141.135(a)(2) or (3). |

1 The State may choose to perform calculations and determine whether the treatment technique was met, in lieu of having the system report that information.

[63 FR 69466, Dec. 16, 1998, as amended at 66 FR 3778, Jan. 16, 2001; 66 FR 9903, Feb. 12, 2001]

##### § 141.135 Treatment technique for con- trol of disinfection byproduct (DBP) precursors.

- Applicability. (1) Subpart H sys- tems using conventional filtration treatment (as defined in § 141.2) must operate with enhanced coagulation or enhanced softening to achieve the TOC percent removal levels specified in paragraph (b) of this section unless the system meets at least one of the alter- native compliance criteria listed in paragraph (a)(2) or (a)(3) of this sec- tion.

  - Alternative compliance criteria for enhanced coagulation and enhanced soft- ening systems. Subpart H systems using conventional filtration treatment may use the alternative compliance  criteria in paragraphs (a)(2)(i) through (vi) of this section to comply with this sec- tion in lieu of complying with para- graph (b) of this section. Systems must still comply with monitoring require- ments in § 141.132(d).

    - The system’s source water TOC level,       measured       according       to

§ 141.131(d)(3), is less than 2.0 mg/L, cal- culated quarterly as a running annual average.

    - The system’s treated water TOC level,       measured       according       to

§ 141.131(d)(3), is less than 2.0 mg/L, cal-

culated quarterly as a running annual average.

    - The system’s source water TOC level,	measured	according	to

§ 141.131(d)(3), is less than 4.0 mg/L, cal- culated quarterly as a running annual average; the source water alkalinity, measured according to § 141.131(d)(1), is greater than 60 mg/L (as CaCO3), cal- culated quarterly as a running annual average;  and  either  the  TTHM  and HAA5 running annual averages are no greater than 0.040 mg/L and 0.030 mg/L, respectively; or prior  to  the  effective date for compliance in § 141.130(b), the system has made a clear and irrev- ocable financial commitment not  later than the effective date  for  compliance in § 141.130(b) to  use  of  technologies that will limit the levels of TTHMs and HAA5  to  no  more  than  0.040  mg/L  and

0.030 mg/L, respectively. Systems must submit evidence of a clear and irrev- ocable financial commitment, in addi- tion to a schedule containing mile- stones and periodic progress reports for installation and operation of appro- priate technologies, to the State for approval not later than the effective date for compliance in § 141.130(b). These technologies must be installed and operating not later than June 30, 2005. Failure to install and operate these  technologies  by  the  date  in  the

#### § 141.135

approved schedule will constitute a violation of National Primary Drink- ing Water Regulations.

    - The TTHM and HAA5 running an- nual averages are no greater than 0.040 mg/L and 0.030 mg/L, respectively, and the system uses only chlorine for pri- mary disinfection  and  maintenance  of a residual in the distribution system.

    - The system’s source water SUVA, prior to any treatment and measured monthly according to § 141.131(d)(4), is less than or equal to 2.0 L/mg-m, cal- culated quarterly as a running annual average.

    - The system’s finished water SUVA, measured monthly according to

§ 141.131(d)(4),  is  less  than  or  equal  to

2.0 L/mg-m, calculated quarterly as a running annual average.

  - Additional alternative compliance criteria for softening systems. Systems practicing enhanced softening  that cannot achieve  the  TOC removals  re- quired by paragraph (b)(2) of this sec- tion may use the alternative compli- ance criteria in paragraphs (a)(3)(i) and

(ii) of this section in lieu of complying with paragraph (b) of this section. Sys- tems must still comply with moni- toring requirements in § 141.132(d).

#### 40 CFR Ch. I (7–1–17 Edition)

- Softening that results in lowering the treated water alkalinity  to  less than 60 mg/L (as CaCO3), measured monthly according to § 141.131(d)(1) and calculated quarterly as a running an- nual  average.

- Softening that results in remov- ing at least 10 mg/L of magnesium hardness (as CaCO3), measured monthly according to § 141.131(d)(6) and cal- culated quarterly as a running annual average.

- Enhanced coagulation and en- hanced softening performance require- ments. (1) Systems must achieve the percent reduction of TOC specified in paragraph (b)(2) of this section between the source water and the combined fil- ter effluent,  unless  the  State  approves a system’s request for alternate min- imum TOC removal (Step 2) require- ments under paragraph (b)(3) of this section.

- Required Step 1 TOC reductions, indicated in the following table, are based upon specified source water pa- rameters measured in accordance with

§ 141.131(d). Systems practicing soft- ening are required to meet the Step 1 TOC reductions in the far-right column (Source water alkalinity >120 mg/L) for the specified source water TOC:

STEP 1 REQUIRED REMOVAL OF TOC BY ENHANCED COAGULATION AND ENHANCED SOFTENING FOR

SUBPART H SYSTEMS USING CONVENTIONAL TREATMENT 1 2

| Source-water TOC, mg/L | Source-water alkalinity, mg/L as CaCO 3 (in precentages) |
| --- | --- |
|  | 0–60 | >60–120 | >120 3 |
| >2.0–4.0 ........................................................................................................................ | 35.0 | 25.0 | 15.0 |
| >4.0–8.0 ........................................................................................................................ | 45.0 | 35.0 | 25.0 |
| >8.0. .............................................................................................................................. | 50.0 | 40.0 | 30.0 |

1 Systems meeting at least one of the conditions in paragraph (a)(2)(i)–(vi) of this section are not required to operate with en- hanced coagulation.

2 Softening system meeting one of the alternative compliance criteria in paragraph (a)(3) of this section are not required to op- erate with enhanced softening.

3 System practicing softening must meet the TOC removal requirements in this column.

- Subpart H conventional treatment systems that cannot achieve the Step 1 TOC removals required by paragraph (b)(2) of this section due to water qual- ity parameters  or operational  con- straints must apply to  the  State,  with- in  three  months  of  failure  to   achieve the TOC removals required by para- graph (b)(2) of this section, for approval of alternative minimum TOC (Step 2) removal   requirements   submitted    by the   system.   If   the   State   approves   the

alternative minimum TOC removal (Step 2) requirements, the State may make those requirements  retroactive for the purposes of determining compli- ance. Until the State approves the al- ternate  minimum  TOC  removal  (Step

2) requirements, the system must meet the Step 1 TOC removals contained in paragraph (b)(2) of this section.

- Alternate minimum TOC removal (Step 2) requirements. Applications made to  the  State  by  enhanced  coagulation

#### Environmental Protection Agency	§ 141.135

systems for approval of alternate min- imum TOC removal (Step 2) require- ments under paragraph (b)(3) of this section must include, at a minimum, results of bench- or pilot-scale testing conducted under paragraph (b)(4)(i) of this section. The submitted bench- or pilot-scale testing must be used to de- termine the alternate enhanced coagu- lation  level.

  - Alternate enhanced coagulation level is defined as coagulation at a coagulant dose and pH as determined by the method described in paragraphs (b)(4)(i) through (v) of this section such that an incremental addition of 10 mg/ L of alum (or equivalent amount of fer- ric  salt)  results  in  a  TOC  removal  of

0.3 mg/L. The percent removal of TOC at this point on the ‘‘TOC removal versus coagulant dose’’ curve is then defined as the minimum TOC removal required for the system. Once approved by the State, this minimum require- ment supersedes the minimum TOC re- moval required by the table in para- graph (b)(2) of this section. This re- quirement will be effective until such time as the State approves a new value based on the results of a new bench- and pilot-scale test. Failure to achieve State-set alternative minimum TOC removal levels is a violation of Na- tional Primary Drinking Water Regu- lations.

  - Bench- or pilot-scale testing of enhanced coagulation must be con- ducted by using representative water samples and adding 10 mg/L increments of alum (or equivalent amounts of fer- ric salt) until the pH is reduced to a level less than or equal to the enhanced coagulation Step 2 target pH shown in the following table:

ENHANCED COAGULATION STEP 2 TARGET PH

| Alkalinity (mg/L as CaCO3) | Target pH |
| --- | --- |
| 0–60 ................................................................... | 5.5 |
| >60–120 ............................................................. | 6.3 |
| >120–240 ........................................................... | 7.0 |
| >240 ................................................................... | 7.5 |

  - For waters with alkalinities of less than 60 mg/L for which addition of small amounts of alum or equivalent addition of iron coagulant drives the pH below 5.5 before significant TOC re- moval occurs, the system must add necessary  chemicals  to  maintain  the

pH between 5.3 and 5.7 in samples until the TOC removal of 0.3 mg/L per 10 mg/ L alum added (or  equivalant  addition of iron coagulant) is reached.

  - The system may operate at any coagulant dose or pH necessary (con- sistent with other NPDWRs) to achieve the minimum TOC percent removal ap- proved under paragraph (b)(3) of this section.

  - If the TOC removal is consistently less than 0.3 mg/L of TOC per 10 mg/L of incremental alum dose at all dosages of alum (or equivalant addition of iron coagulant), the water is deemed to con- tain TOC not amenable to enhanced co- agulation. The system may  then  apply to the State for a waiver of enhanced coagulation  requirements.

- Compliance calculations. (1) Sub- part H systems other than those identi- fied in paragraph (a)(2) or (a)(3) of this section must comply with  require- ments contained in paragraph (b)(2) or (b)(3) of this section. Systems must cal- culate compliance quarterly, beginning after the system has collected  12 months of data, by determining an an- nual average using the following meth- od:

- Determine actual monthly TOC percent removal, equal to:

(1¥(treated     water     TOC/source     water TOC)) 100

- Determine the required monthly TOC percent removal (from either the table in paragraph (b)(2) of this section or from paragraph (b)(3) of this sec- tion).

- Divide the  value  in  paragraph (c)(1)(i) of this section by the value in paragraph (c)(1)(ii) of this section.

- Add together the results of para- graph (c)(1)(iii) of this section for the last 12 months and divide by 12.

- If the value calculated in para- graph (c)(1)(iv) of this section is less than 1.00, the system is not in compli- ance with the TOC percent removal re- quirements.

- Systems may use the provisions in paragraphs (c)(2)(i) through (v) of this section in lieu of the calculations in paragraph (c)(1)(i) through (v) of this section to determine compliance with TOC percent removal requirements.

  - In any month that the system’s treated  or   source  water   TOC   level,

#### § 141.151

measured according to § 141.131(d)(3), is less than 2.0 mg/L, the system may as- sign a monthly value of 1.0  (in  lieu  of the value calculated in paragraph (c)(1)(iii) of this section) when calcu- lating compliance under the  provisions of paragraph (c)(1) of this section.

  - In any month that a system prac- ticing softening removes at least 10 mg/ L of magnesium hardness (as CaCO3), the  system  may  assign  a  monthly value of 1.0 (in lieu of the value cal- culated in paragraph (c)(1)(iii) of this section) when calculating compliance under the provisions of paragraph (c)(1) of this section.

  - In any month that the system’s source water SUVA, prior to any treat- ment    and    measured    according    to

§ 141.131(d)(4),  is 2.0 L/mg-m, the sys- tem may assign a monthly value  of  1.0 (in lieu of the value calculated in para- graph (c)(1)(iii) of this section) when calculating compliance under the pro- visions of paragraph (c)(1) of this sec- tion.

  - In any month that the system’s finished water SUVA,  measured  accord- ing to § 141.131(d)(4), is 2.0 L/mg-m, the system   may   assign   a   monthly   value   of

1.0 (in lieu of the value calculated in paragraph (c)(1)(iii) of this section) when calculating compliance under the provisions of paragraph (c)(1) of this section.

  - In any month that a system prac- ticing enhanced softening lowers alka- linity below 60 mg/L (as CaCO3), the system  may  assign  a  monthly  value  of

1.0 (in lieu of the value calculated in paragraph (c)(1)(iii) of this section) when calculating compliance under the provisions of paragraph (c)(1) of this section.

- Subpart H systems using conven- tional treatment may also comply with the requirements of this section by meeting the criteria in paragraph (a)(2) or (3) of this section.

- Treatment technique requirements for DBP precursors. The Administrator identifies the following as treatment techniques to control the level of dis- infection byproduct precursors in drinking water treatment and distribu- tion systems: For Subpart H systems using    conventional    treatment,    en-

#### 40 CFR Ch. I (7–1–17 Edition)

hanced coagulation or enhanced soft- ening.

[63 FR 69466, Dec. 16, 1998, as amended at 66

FR 3779, Jan. 16, 2001; 71 FR 482, Jan. 4, 2006]

# Subparts M–N [Reserved]

Subpart O—Consumer Confidence Reports

SOURCE:  63  FR  44526,  Aug.  19,  1998,  unless

otherwise noted.

##### § 141.151   Purpose  and  applicability  of this subpart.

- This subpart establishes the min- imum requirements for the content of annual reports that community water systems must deliver to their cus- tomers. These reports must contain in- formation on the quality of the water delivered by the systems and charac- terize the risks (if any) from exposure to contaminants detected in the drink- ing water in an accurate and under- standable manner.

- Notwithstanding the provisions of

§ 141.3, this subpart applies only to community   water   systems.

- For the purpose of this subpart, customers are defined as billing units or service connections to which water is delivered by a community water sys- tem.

- For the purpose of this subpart, detected means: at or above the levels prescribed by § 141.23(a)(4) for inorganic contaminants, at or above the levels prescribed by § 141.24(f)(7) for the con- taminants listed in § 141.61(a), at or above      the      levels      prescribed      by

§ 141.24(h)(18) for the contaminants list- ed in § 141.61(c), at or above the levels prescribed by § 141.131(b)(2)(iv) for the contaminants or contaminant groups listed in § 141.64,  and at  or above the levels prescribed by § 141.25(c) for radio- active     contaminants.

- A State that has primary enforce- ment responsibility may adopt by rule, after notice and comment, alternative requirements for the form and content of the reports. The alternative require- ments must provide the same type and amount of information as required by

§§ 141.153 and 141.154, and must be de- signed  to  achieve  an  equivalent  level  of

Environmental Protection Agency	§ 141.153

public  information  and  education  as would be achieved under this subpart.

- For purpose of §§ 141.154 and 141.155 of this subpart, the term ‘‘primacy agency’’ refers to the State or tribal government entity that has  jurisdic- tion over, and primary enforcement re- sponsibility for, public water systems, even if that government does not have interim or final primary enforcement responsibility for this rule. Where the State or tribe does not have primary enforcement responsibility for public water systems, the term ‘‘primacy agency’’ refers to the appropriate EPA regional  office.

[63 FR 44526, Aug. 19, 1998, as amended at 71

FR 483, Jan. 4, 2006]

##### § 141.152   Effective dates.

- The regulations in  this subpart shall take effect on September 18, 1998.

- Each existing community water system must deliver its first report by October 19, 1999, its second report by July 1, 2000, and subsequent reports by July 1 annually thereafter. The first report must contain data collected dur- ing, or prior to, calendar year 1998 as prescribed in § 141.153(d)(3). Each report thereafter must contain data collected during, or prior to, the  previous  cal- endar  year.

- A new community water system must deliver its first report by July 1 of the year after its first full calendar year in operation and annually there- after.

- A community water system that sells  water  to  another   community water system must deliver the applica- ble information required in § 141.153 to the  buyer  system:

  - No later than April 19, 1999, by April 1, 2000, and by April 1 annually thereafter  or

  - On a date mutually agreed  upon by the seller and the purchaser, and specifically included in a contract be- tween the parties.

##### § 141.153   Content of the reports.

    - Each community water system must provide to its customers an an- nual report that contains the informa- tion   specified   in   this   section   and

§ 141.154.

    - Information on the source of the water delivered:

- Each report must identify the source(s) of the water delivered by the community water system by providing information on:

- The type of the water: e.g., surface water, ground water; and

- The commonly used name (if any) and location of the body (or bodies) of water.

- If a source water assessment has been completed, the report must notify consumers of the availability of this information and the means  to  obtain it. In addition, systems are encouraged to highlight in the report significant sources of contamination in the source water area if they have readily avail- able information. Where a system has received a source water assessment from the primacy agency, the report must include a brief summary of the system’s susceptibility to potential sources of contamination, using lan- guage provided by the primacy agency or written by the operator.

    - Definitions. (1) Each report must include the following definitions:

- Maximum Contaminant Level Goal or MCLG: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

- Maximum Contaminant Level or MCL: The highest level of a contami- nant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treat- ment technology.

- A report for a community water system operating under a variance  or an exemption issued under § 1415 or 1416 of SDWA must include the following definition: Variances and Exemptions: State or EPA permission not  to  meet an MCL  or  a  treatment  technique under certain conditions.

- A report that contains data on contaminants that  EPA  regulates using any of the following terms must include the applicable definitions:

  - Treatment Technique: A required process intended to reduce the level of a contaminant in drinking water.

  - Action Level: The concentration of a contaminant which, if exceeded, trig- gers treatment or other requirements which a water system must follow.

  - Maximum residual disinfectant level goal or MRDLG: The  level  of  a

#### § 141.153

drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

  - Maximum residual disinfectant level or MRDL: The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addi- tion of a disinfectant is necessary for control of microbial contaminants.

- A report that contains informa- tion regarding a Level 1 or Level 2 As- sessment required under Subpart Y of this part must include the applicable definitions:

  - Level 1 Assessment: A Level 1 as- sessment is a study of the water sys- tem to identify potential problems and determine (if possible) why total coli- form bacteria have been found in our water system.

  - Level 2 Assessment: A Level 2 as- sessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has oc- curred and/or why total coliform bac- teria have been found in our water sys- tem on multiple occasions.

    - Information on detected contami- nants.

      - This sub-section specifies the re- quirements for information to be in- cluded in each report for contaminants subject to mandatory monitoring (ex- cept Cryptosporidium). It applies to:

        - Contaminants subject to a MCL, action level, maximum residual dis- infectant level, or treatment technique (regulated contaminants).

        - Contaminants for which moni- toring is required by § 141.40 (unregu- lated  contaminants);  and

        - Disinfection by-products or mi- crobial contaminants for which moni- toring is required by §§ 141.142 and 141.143, except as provided under para- graph (e)(1) of this section, and  which are  detected  in  the  finished  water.

      - The data relating to these con- taminants must be displayed in one table or in several adjacent tables. Any additional monitoring results which a community water system chooses to include in its report must be displayed separately.

      - The data must be derived from data collected to comply with EPA and

#### 40 CFR Ch. I (7–1–17 Edition)

State monitoring  and analytical  re- quirements during calendar year 1998 for the first report and subsequent cal- endar years thereafter except that:

- Where a system is allowed to mon- itor for regulated contaminants less often than  once  a year,  the  table(s) must include the date and results  of the most recent sampling and the re- port must include a brief statement in- dicating that the data presented in the report are from the most recent testing done in accordance with the regula- tions. No data older than 5 years need be included.

- Results of monitoring in compli- ance with §§ 141.142 and 141.143 need only be included for 5 years from the date of last sample or until any of the detected contaminants becomes regu- lated and  subject  to  routine  moni- toring requirements, whichever comes first.

      - For detected regulated contami- nants (listed in appendix A to this sub- part), the table(s) must contain:

- The MCL for that contaminant ex- pressed as a number equal to or greater than 1.0 (as provided in appendix A to this subpart);

- The MCLG for that contaminant expressed in the same units as the MCL;

- If there is no MCL for a detected contaminant, the table must indicate that there is a treatment technique, or specify the action level, applicable to that contaminant, and the report must include the definitions for treatment technique and/or action level, as appro- priate, specified in paragraph (c)(3) of this section;

- For contaminants subject to an MCL, except turbidity, total coliform, fecal coliform and E. coli, the highest contaminant level used to determine compliance with an NPDWR and the range of detected levels, as follows:

  - When compliance with  the  MCL is determined annually or less fre- quently: The highest detected level at any sampling point and the range of detected levels expressed in the same units as the MCL.

  - When compliance with the MCL is determined by calculating a running annual average of all samples taken at

#### Environmental Protection Agency	§ 141.153

a monitoring location: the highest av- erage of any of the monitoring loca- tions and the range of all monitoring locations expressed in the  same  units as the MCL. For the MCLs for  TTHM and HAA5 in § 141.64(b)(2), systems must include the highest locational running annual average for TTHM and HAA5 and the range of individual sample re- sults for all monitoring locations ex- pressed in the same units as the MCL. If more than one location exceeds the TTHM or HAA5 MCL, the system must include the locational running annual averages for all locations that exceed the  MCL.

  - When compliance with the MCL is determined on a system-wide basis by calculating a running annual  average of all samples at all monitoring loca- tions: the average and range of detec- tion expressed in the same units as the MCL. The system is required to include individual sample results for the IDSE conducted under subpart U of this part when determining the range of TTHM and HAA5 results to be reported in the annual consumer confidence report for the calendar year that the IDSE sam- ples were taken.

NOTE TO PARAGRAPH (d)(4)(iv): When round- ing of results to determine compliance with the MCL is allowed by the regulations, rounding should be done prior to multiplying the results by the factor listed in appendix A of this subpart.

- For turbidity.

- When it is reported pursuant   to

§ 141.13: The highest average monthly value.

- When it is reported pursuant to the requirements of § 141.71: the highest monthly value. The report should in- clude an explanation of the reasons for measuring    turbidity.

- When it is reported pursuant to

§ 141.73 or § 141.173 or § 141.551: the high- est single measurement and the lowest monthly percentage  of  samples  meet- ing    the    turbidity    limits    specified    in

§ 141.73 or § 141.173, or § 141.551 for the filtration technology being used. The report should include an explanation of the reasons for measuring turbidity;

- For lead and copper: the 90th per- centile value of the  most recent  round of sampling and the number of sam- pling sites exceeding the action level;

- For total coliform analytical re- sults until March 31, 2016:

  - The highest monthly number of positive samples for systems collecting fewer than 40 samples per month; or

  - The highest monthly percentage of positive samples for systems col- lecting at least 40 samples per  month;

- For fecal coliform and E.  coli until March 31, 2016:  The  total  number of  positive  samples;

- The likely source(s) of detected contaminants to the best of the opera- tor’s knowledge. Specific information regarding contaminants may be avail- able in sanitary surveys and source water assessments, and should be used when available to the operator. If the operator lacks specific information on the likely source, the report must in- clude one or more of the typical sources for that contaminant listed in appendix A to this subpart that is most applicable to the system.

- For E. coli analytical results under subpart Y: The total number of positive samples.

      - If a community water system dis- tributes water to its customers from multiple hydraulically independent distribution systems that are fed by different raw water sources, the table should contain a separate column for each service area and the report should identify each separate distribution sys- tem. Alternatively, systems could produce separate reports tailored to in- clude data for each service area.

      - The table(s) must clearly identify any  data  indicating  violations   of MCLs, MRDLs, or treatment tech- niques, and the report must contain a clear and readily understandable expla- nation of the violation including: the length of the violation, the potential adverse health effects,  and  actions taken by the system to address the vio- lation. To describe the potential health effects, the system must use the rel- evant language of appendix A to this subpart.

      - For detected unregulated con- taminants for which monitoring is re- quired (except Cryptosporidium), the table(s) must contain the average and range at which the contaminant was detected. The report may  include  a brief   explanation   of   the   reasons   for

#### § 141.153

monitoring for unregulated contami- nants.

    - Information   on   Cryptosporidium,

radon, and other contaminants:

      - If the system has performed any monitoring for Cryptosporidium, includ- ing  monitoring   performed   to   satisfy the requirements of § 141.143, which in- dicates that Cryptosporidium may be present in the source water or the fin- ished  water,  the  report  must  include:

        - A summary of the results of the monitoring; and

        - An explanation of the signifi- cance of the results.

      - If the system has performed any monitoring for radon which indicates that radon may be present in the fin- ished water, the report must include:

        - The results of the monitoring;  and

        - An explanation of the signifi- cance of the results.

      - If the system has performed addi- tional monitoring which indicates the presence of other contaminants in the finished water, EPA strongly  encour- ages systems  to  report  any  results which  may  indicate  a  health   concern. To determine if results may indicate a health concern, EPA recommends that systems find out if EPA  has  proposed an NPDWR or issued a health  advisory for  that  contaminant   by   calling   the Safe Drinking Water Hotline (800–426– 4791). EPA considers detects above a proposed MCL or health  advisory  level to  indicate  possible   health   concerns. For such contaminants, EPA rec- ommends  that  the  report  include:

        - The results of the monitoring;  and

        - An explanation of the signifi- cance of the results noting the exist- ence of a health advisory or a proposed regulation.

    - Compliance with NPDWR. In addi- tion      to      the      requirements      of

§ 141.153(d)(6), the report must note any violation that occurred during the year covered by the report of a requirement listed below, and include a clear and readily understandable explanation of the violation, any potential adverse health effects, and the steps the system has taken to correct the violation.

      - Monitoring and reporting of com- pliance data;

      - Filtration and disinfection pre- scribed by subpart H of this part. For systems  which  have  failed  to  install

#### 40 CFR Ch. I (7–1–17 Edition)

adequate filtration or disinfection equipment or processes, or have had a failure of such equipment or processes which constitutes a violation, the re- port must include the following lan- guage as part of the explanation of po- tential adverse health effects: Inad- equately treated water may contain disease-causing organisms. These orga- nisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diarrhea, and associated headaches.

      - Lead and copper control require- ments prescribed by subpart I of this part. For systems that fail to take one or     more     actions     prescribed     by

§§ 141.80(d), 141.81, 141.82, 141.83 or 141.84,

the report must include the applicable language of appendix A to this subpart for lead, copper, or both.

      - Treatment techniques for Acryl- amide and Epichlorohydrin prescribed by subpart K of this part. For systems that violate the requirements of sub- part K of this part, the report must in- clude the relevant language from ap- pendix A to this subpart.

      - Recordkeeping of compliance data.

      - Special monitoring requirements prescribed by §§ 141.40 and 141.41; and

      - Violation of the terms of a vari- ance, an exemption, or an administra- tive or judicial order.

    - Variances and Exemptions. If a system is operating under the terms of a variance or an exemption issued under § 1415 or 1416 of SDWA, the report must  contain:

      - An explanation of the reasons for the variance or exemption;

      - The date on which the variance or exemption was issued;

      - A brief status report on the steps the system is taking to install treat- ment, find alternative sources of water, or otherwise comply with the terms and schedules of the variance or ex- emption; and

      - A notice of any opportunity for public input in the review, or renewal, of the variance or exemption.

    - Additional information:

      - The report must contain a brief explanation regarding contaminants which may reasonably be expected to be found in drinking water including bottled  water.  This  explanation  may

#### Environmental Protection Agency	§ 141.153

include the language of paragraphs (h)(1) (i) through (iii) or systems may use their own  comparable  language. The report also must include the lan- guage of paragraph (h)(1)(iv) of this section.

        - The sources of drinking water (both tap water and bottled water) in- clude rivers, lakes, streams, ponds, res- ervoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves natu- rally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human ac- tivity.

        - Contaminants that may be present in source water include:

- Microbial contaminants, such as vi- ruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock oper- ations, and wildlife.

- Inorganic contaminants, such as salts and metals, which can be natu- rally-occurring or result from urban stormwater runoff, industrial or do- mestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

- Organic chemical contaminants, in- cluding synthetic and volatile organic chemicals, which are by-products of in- dustrial processes and petroleum pro- duction, and can also come from gas stations, urban stormwater runoff, and septic systems.

- Radioactive contaminants, which can be naturally-occurring or be the re- sult of oil and gas production and min- ing  activities.

        - In order to ensure that tap water is safe to drink, EPA prescribes regula- tions which limit the amount of cer- tain contaminants in water provided by public water systems. FDA regula- tions establish limits for contaminants in bottled water which must provide the same protection for public health.

        - Drinking water, including bot- tled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily in- dicate that water poses a health risk.

More information about contaminants and potential health effects can be ob- tained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (800–426–4791).

      - The report must include the tele- phone number of the  owner,  operator, or designee of the community water system as a source of additional infor- mation concerning the report.

      - In communities with a large pro- portion of non-English speaking resi- dents, as determined by the Primacy Agency, the report must contain infor- mation in the appropriate language(s) regarding the importance of the report or contain a telephone number or ad- dress where such residents may contact the system to obtain a translated copy of the report or assistance in the ap- propriate language.

      - The report must include informa- tion (e.g., time and place of regularly scheduled board meetings) about op- portunities for public participation in decisions that may affect the quality of the water.

      - The systems may include such ad- ditional information as they deem nec- essary for public education consistent with, and not detracting from, the pur- pose of the report.

      - Systems required to comply with sub- part S.  (i) Any ground water system that receives notice from the State of a significant deficiency or notice from a laboratory of a fecal indicator-positive ground water source sample that is not invalidated     by     the     State     under

§ 141.402(d) must inform its customers of any significant deficiency that is un- corrected at the time of the next report or of  any  fecal  indicator-positive ground water source sample in the next report. The system must continue to inform the public annually until  the State determines that particular sig- nificant deficiency is corrected or the fecal contamination in  the  ground water     source     is     addressed     under

§ 141.403(a). Each report must include the  following  elements.

- The nature of the particular sig- nificant deficiency or the source of the fecal contamination (if the source is known) and the date the significant de- ficiency was identified by the State or the dates of the fecal indicator-positive ground water source samples;

#### § 141.153

- If the fecal contamination in the ground water source has been ad- dressed under § 141.403(a) and the date of such action;

- For each significant deficiency or fecal contamination in  the  ground water source that has not been ad- dressed under § 141.403(a), the State-ap- proved plan and schedule for correc- tion, including interim measures, progress to date, and any interim measures completed; and

- If the system receives notice of a fecal indicator-positive ground water source  sample  that  is  not   invalidated by the State under § 141.402(d), the po- tential health effects using the health effects language of Appendix A of sub- part  O.

(ii) If directed by the State, a system with significant deficiencies that have been corrected before the next report is issued must  inform its customers of the significant deficiency, how the de- ficiency was corrected, and the date of correction under paragraph (h)(6)(i) of this  section.

      - Systems required to comply with sub- part Y. (i) Any system required to com- ply with the Level 1 assessment re- quirement or a Level 2 assessment re- quirement that is not due to an E. coli MCL violation must include in the re- port the text found in paragraph (h)(7)(i)(A) and paragraphs (h)(7)(i)(B) and (C) of this section as appropriate, filling  in  the  blanks  accordingly  and the text found in paragraphs (h)(7)(i)(D)(1) and (2) of this section if appropriate.

- Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, waterborne patho- gens may be present or that a potential pathway exists through which con- tamination may enter the  drinking water distribution system. We found coliforms indicating the need to look for potential problems in water treat- ment or distribution. When this occurs, we are required to conduct assess- ment(s) to identify problems and to correct any problems that were found during these assessments.

- During the past year we were re- quired  to  conduct  [INSERT  NUMBER OF LEVEL 1ASSESSMENTS] Level 1 assessment(s).   [INSERT   NUMBER   OF

#### 40 CFR Ch. I (7–1–17 Edition)

LEVEL  1  ASSESSMENTS]  Level  1  as-

sessment(s) were completed. In addi- tion, we were required to take [IN- SERT  NUMBER  OF  CORRECTIVE  AC-

TIONS] corrective actions and we com- pleted   [INSERT   NUMBER   OF   COR-

RECTIVE ACTIONS] of these actions.

- During the past year [INSERT NUMBER OF LEVEL 2  ASSESS- MENTS] Level 2 assessments were re- quired to be completed for our water system. [INSERT  NUMBER  OF  LEVEL 2 ASSESSMENTS] Level 2 assessments were completed. In addition, we were required  to  take  [INSERT  NUMBER OF CORRECTIVE ACTIONS] corrective actions and  we  completed  [INSERT NUMBER OF CORRECTIVE ACTIONS] of these actions.

- Any system that has failed to complete all the required assessments or correct all identified sanitary  de- fects, is in violation of the treatment technique requirement and must also include one or both of the following statements, as appropriate:

- During the past year we failed to conduct all of the required assess- ment(s).

- During the past year we failed to correct all identified defects that were found during the assessment.

- Any system required to conduct a Level 2 assessment due to an E. coli MCL violation must include in the re- port the text found  in paragraphs (h)(7)(ii)(A) and (B) of this section, fill- ing in the blanks accordingly and the text found in paragraphs (h)(7)(ii)(C)(1) and (2) of this section, if appropriate.

  - E. coli are bacteria whose pres- ence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, head- aches, or other symptoms. They may pose a greater health risk for infants, young children, the elderly, and people with severely compromised immune systems. We found E. coli bacteria, in- dicating the need to look for potential problems in water treatment or dis- tribution. When this occurs, we are re- quired to conduct assessment(s) to identify problems and to correct any problems that were found during these assessments.

#### Environmental Protection Agency	§ 141.154

  - We were required to complete a Level 2 assessment because we found E. coli in our water system. In  addition, we were required to take [INSERT NUMBER OF CORRECTIVE ACTIONS] corrective actions and we completed [INSERT NUMBER OF CORRECTIVE ACTIONS]  of  these  actions.

  - Any system that has failed to complete the required assessment or correct all identified  sanitary  defects, is in violation of the treatment tech- nique requirement and must also in- clude one or both of the following statements, as appropriate:

- We failed to conduct the required assessment.

- We failed to correct all sanitary defects that were identified during the assessment that we conducted.

- If a system detects E. coli and has violated the E. coli MCL, in addi- tion to completing the table as re- quired in paragraph (d)(4) of this sec- tion, the system must include one or more of the following statements to de- scribe any noncompliance, as applica- ble:

- We had an E. coli-positive repeat sample following a total coliform-posi- tive routine sample.

- We had a total coliform-positive repeat sample following an E. coli-posi- tive routine sample.

- We failed to take all required re- peat samples following an E. coli-posi- tive routine sample.

- We failed to test for E. coli when any repeat sample tests positive for total coliform.

- If a system detects E. coli and has not violated the E. coli MCL, in addi- tion to completing the table as re- quired in paragraph (d)(4) of this sec- tion, the system may include a state- ment that explains that although they have detected E. coli, they are not in violation of the E. coli MCL.

[63 FR 44526, Aug. 19, 1998, as amended at 63

FR 69516,  Dec. 16,  1998;  64  FR 34733,  June 29,

1999; 65 FR 26022, May 4, 2000; 67 FR 1836, Jan.

14, 2002; 71 FR 483, Jan. 4, 2006; 71 FR 65651,

Nov. 8, 2006; 78 FR 10348, Feb. 13, 2013]

##### § 141.154   Required   additional   health information.

- All reports must prominently dis- play the following language: Some peo- ple  may  be  more  vulnerable  to  con-

taminants in drinking water than the general population. Immuno-com- promised persons such as persons with cancer undergoing chemotherapy, per- sons who have undergone organ trans- plants, people with HIV/AIDS or other immune system disorders, some elder- ly,  and  infants  can  be  particularly  at risk  from  infections.  These  people should  seek  advice   about   drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants  are  available  from   the Safe Drinking Water Hotline (800–426– 4791).

- Ending in the  report  due  by  July 1, 2001, a system  which  detects  arsenic at levels above 0.025 mg/L, but  below the 0.05  mg/L, and  beginning in the  re- port due by July 1, 2002, a system that detects arsenic above 0.005 mg/L and up to and including 0.010 mg/L:

  - Must include in its report a short informational statement about arsenic, using language such as: While your drinking water meets EPA’s standard for arsenic, it does contain low levels of arsenic. EPA’s standard balances the current understanding of arsenic’s pos- sible health effects against the costs of removing arsenic from drinking water. EPA continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in hu- mans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.

  - May write its own educational statement, but only in consultation with the Primacy Agency.

- A system which detects nitrate at levels above 5 mg/l, but below the MCL:

- Must include a short informa- tional statement about the impacts of nitrate on children using language such as: Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause blue baby syndrome. Nitrate levels may rise quickly for short peri- ods of time because of rainfall or agri- cultural activity. If you are caring for an infant you should ask advice from your health care provider.

#### § 141.155

- May write its own educational statement, but only in consultation with the Primacy Agency.

- Every report must include the fol- lowing lead-specific information:

  - A short informational statement about lead in drinking water and its ef- fects on children. The statement must include the following information:

If present, elevated levels of lead can cause serious health problems, especially for preg- nant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. [NAME OF UTILITY] is responsible for providing high quality drink- ing water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 sec- onds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods,  and steps you can take to minimize exposure is available from the Safe Drinking Water Hot- line

  - A system may write its own edu- cational statement, but only in con- sultation with the State.

- Community water systems that detect TTHM above 0.080 mg/l, but below the MCL in § 141.12, as an annual average,  monitored  and   calculated under the provisions of § 141.30, must include health  effects  language  for TTHMs  prescribed  by  appendix  A.

- Beginning in the report due by July 1, 2002, and ending January 22, 2006, a community water system that detects arsenic above 0.010 mg/L and up to and including 0.05 mg/L must in- clude the arsenic health effects lan- guage prescribed by appendix A to sub- part O of this part.

[63 FR 44526, Aug. 19, 1998, as amended at 63

FR 69475,  Dec. 16,  1998;  64  FR 34733,  June 29,

1999; 65 FR 26023, May 4, 2000; 66 FR 7064, Jan.

22, 2001; 68 FR 14506, Mar. 25, 2003; 72 FR 57820,

Oct. 10, 2007]

##### § 141.155   Report  delivery  and  record- keeping.

- Except  as  provided  in   paragraph

- of this section, each community water system must mail or otherwise directly deliver one copy of the report to each customer.

#### 40 CFR Ch. I (7–1–17 Edition)

- The system must make a good faith effort to reach consumers who do not get water bills, using means rec- ommended by the primacy  agency. EPA expects that an adequate good faith effort will be tailored to the con- sumers who are served by the system but are not bill-paying customers, such as renters or workers. A good faith ef- fort to reach consumers would include a mix of methods appropriate to the particular system such as: Posting the reports on the Internet; mailing to postal patrons in metropolitan areas; advertising the availability of the re- port in the news media; publication in a local newspaper; posting in public places such as cafeterias or lunch rooms of public buildings; delivery of multiple copies for distribution by sin- gle-biller customers such as apartment buildings or large private employers; delivery to community organizations.

- No later than the date the system is required to distribute the report to its customers, each community water system must mail a copy of the report to the primacy agency, followed within 3 months by a certification that the re- port has been distributed to customers, and that the information is correct and consistent with the compliance moni- toring data previously submitted to the primacy agency.

- No later than the date the system is required to distribute the report to its customers, each community water system must deliver the report to any other agency or clearinghouse identi- fied by the primacy agency.

- Each community water system must make its reports available to the public upon request.

- Each community water system serving 100,000 or more persons must post its current year’s report to a pub- licly-accessible  site  on  the  Internet.

- The Governor of a State or his designee, or the Tribal Leader where the tribe has met the eligibility re- quirements contained in § 142.72 for the purposes of waiving the mailing re- quirement, can waive the  requirement of paragraph (a) of this section for community water  systems  serving fewer than 10,000 persons. In consulta- tion with the tribal government, the Regional Administrator may waive the requirement of § 141.155(a) in areas in

#### Environmental Protection Agency	§ 141.155

Indian country where no tribe has been deemed eligible.

  - Such systems must:

    - Publish the reports in one or more local newspapers serving the area in which the system is located;

    - Inform the customers that the re- ports will not be mailed, either in the newspapers in which the reports are published or by other means approved by the State; and

    - Make the reports available to the public upon request.

  - Systems serving 500 or fewer per- sons may forego the requirements of paragraphs (g)(1)(i) and (ii) of this sec- tion if they provide notice at least once per year to their customers by mail, door-to-door delivery or by posting  in an appropriate location that the report is available upon request.

- Any system subject to this sub- part must retain copies of its  Con- sumer Confidence Report for no less than 3 years.

[63 FR 44526, Aug. 19, 1998, as amended at 65

FR 26023, May 4, 2000]

40 CFR Ch. I (7–1–17 Edition)

560

Pt. 141, Subpt. O, App. A

APPENDIX A TO SUBPART O OF PART 141—REGULATED CONTAMINANTS

| Contaminant (units) | Traditional MCL in mg/L | To convert for CCR, multiply by | MCL in CCR units | MCLG | Major sources in drinking water | Health effects language |
| --- | --- | --- | --- | --- | --- | --- |
| Microbiological contaminants: Total Coliform Bacteria †. Total Coliform Bacteria ‡. Fecal coliform and E. coli † ....... | MCL (systems that collect 40 samples/month) 5% of monthly samples are positive; (sys- tems that collect <40 samples/ month) 1 posi- tive monthly sample. TT ........................ 0 ........................... | .............................. .............................. .............................. | MCL (systems that collect 40 samples/month) 5% of monthly samples are positive; (sys- tems that collect <40 samples/ month) 1 posi- tive monthly sample.. TT ........................ 0 ........................... | 0 ........................... N/A ....................... 0 ........................... | Naturally present in the environ- ment. Naturally present in the environ- ment. Human and animal fecal waste ... | Coliforms are bacteria that are naturally present in the envi- ronment and are used as an indicator that other, potentially- harmful, bacteria may be present. Coliforms were found in more samples than allowed and this was a warning of po- tential problems. Use language found in § 141.153(h)(7)(i)(A) Fecal coliforms and E. coli are bacteria whose presence indi- cates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short- term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems. |

E. coli ‡ .......................................   Routine and re-

peat samples are total coli- form-positive and either is E. coli-positive or system fails to take repeat samples fol- lowing E. coli- positive routine sample or sys- tem fails to ana- lyze total coli- form-positive re- peat sample for

E. coli.

..............................   Routine and re-

peat samples are total coli- form-positive and either is E. coli-positive or system fails to take repeat samples fol- lowing E. coli- positive routine sample or sys- tem fails to ana- lyze total coli- form-positive re- peat sample for

E. coli.

0 ...........................   Human and animal fecal waste ...   E. coli are bacteria whose pres-

Environmental Protection Agency

ence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea,  headaches, or other symptoms. They may pose a greater health risk for infants, young children, the el- derly, and people with se- verely-compromised immune systems.

Fecal Indicators (enterococci or coliphage).

TT ........................    ..............................   TT ........................   N/A .......................   Human and animal fecal waste ...   Fecal   indicators   are   microbes

whose presence indicates that the water may be contami- nated with human or animal wastes. Microbes in these wastes can cause short-term health effects, such as diar- rhea, cramps, nausea, head- aches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely com- promised immune systems.

Pt. 141, Subpt. O, App. A

Total organic carbon (ppm).

TT ........................    ..............................   TT ........................   N/A .......................   Naturally present in the environ-

ment.

Total organic carbon (TOC) has no health effects. However, total organic carbon provides a medium for the formation of disinfection by products. These byproducts	include trihalomethanes (THMs) and haloacetic acids (HAAs). Drink- ing water containing these by- products in excess of the MCL may lead to adverse health ef- fects, liver or kidney problems, or nervous system effects, and may lead to an increased risk of getting cancer.

561

Pt. 141, Subpt. O, App. A

40 CFR Ch. I (7–1–17 Edition)

562

| Contaminant (units) | Traditional MCL in mg/L | To convert for CCR, multiply by | MCL in CCR units | MCLG | Major sources in drinking water | Health effects language |
| --- | --- | --- | --- | --- | --- | --- |
| Turbidity (NTU) ............ Radioactive contaminants: Beta/photon emitters (mrem/yr). Alpha emitters (pCi/L) .. Combined radium (pCi/ L). Uranium (pCi/L) ............ | TT ........................ 4 mrem/yr ............ 15 pCi/L ............... 5 pCi/L ................. 30 g/L ................ | .............................. ¥ ......................... ¥ ......................... ¥ ......................... ¥ ......................... | TT ........................ 4 ........................... 15 ......................... 5 ........................... 30 ......................... | N/A ....................... 0 ........................... 0 ........................... 0 ........................... 0 ........................... | Soil runoff .................................... Decay of natural and man-made deposits. Erosion of natural deposits ......... Erosion of natural deposits ......... Erosion of natural deposits ......... | Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms. These organisms include bacteria, viruses, and parasites that can cause symp- toms such as nausea, cramps, diarrhea and associated head- aches. Certain minerals are radioactive and may emit forms of radi- ation known as photons and beta radiation. Some people who drink water containing beta particle and photon radio- activity in excess of the MCL over many years may have an increased risk of getting can- cer. Certain minerals are radioactive and may emit a form of radi- ation known as alpha radiation. Some people who drink water containing alpha emitters in ex- cess of the MCL over many years may have an increased risk of getting cancer. Some people who drink water containing radium-226 or -228 in excess of the MCL over many years may have an in- creased risk of getting cancer. Some people who drink water containing uranium in excess of the MCL over many years may have an increased risk of getting cancer and kidney tox- icity. |

Inorganic contaminants:

Antimony (ppb) .............   .006 ......................   1000 .....................   6 ...........................   6 ...........................   Discharge  from  petroleum  refin-

eries; fire retardants; ceramics; electronics; solder.

Arsenic (ppb) ................  1 0.010 .................  1000 .....................  1 10. .....................  1 0 ........................  Erosion of natural deposits; Run-

off from orchards; Runoff from glass and electronics produc- tion wastes.

Asbestos (MFL) ............   7 MFL ..................    ..............................   7 ...........................   7 ...........................   Decay of asbestos cement water

mains; Erosion of natural de- posits.

Barium (ppm) ...............   2 ...........................    ..............................   2 ...........................   2 ...........................   Discharge of drilling wastes; Dis-

charge from metal refineries; Erosion of natural deposits.

Beryllium (ppb) .............   .004 ......................   1000 .....................   4 ...........................   4 ...........................   Discharge  from  metal  refineries

and coal-burning factories; Dis- charge from electrical, aero- space, and defense industries.

Bromate (ppb) ..............   .010 ......................   1000 .....................   10 .........................   0 ...........................   By-product  of  drinkig  water  dis-

infection.

Cadmium (ppb) ............   .005 ......................   1000 .....................   5 ...........................   5 ...........................   Corrosion  of  galvanized  pipes;

Erosion of natural deposits; Discharge from metal refin- eries; Runoff from waste bat- teries and paints.

Environmental Protection Agency

Some people who drink water containing antimony well in ex- cess of the MCL over many years could experience in- creases in  blood  cholesterol and decreases in blood sugar.

Some people who drink water containing arsenic in excess of the MCL over many years could experience skin damage or problems with their cir- culatory system, and may have an increased risk of getting cancer.

Some people who drink water containing asbestos in excess of the MCL over many years may have an increased risk of developing benign intestinal polyps.

Some people who drink water containing barium in excess of the MCL over many years could experience an  increase in their blood pressure.

Some people who drink water containing beryllium well in ex- cess of the MCL over many years could develop intestinal lesions

Pt. 141, Subpt. O, App. A

Some people who drink water of containing bromate in  excess of the MCL over many years may have an increased risk of getting cancer.

Some people who drink water containing cadmium in excess of the MCL over many years could experience kidney dam- age.

563

Pt. 141, Subpt. O, App. A

40 CFR Ch. I (7–1–17 Edition)

564

| Contaminant (units) | Traditional MCL in mg/L | To convert for CCR, multiply by | MCL in CCR units | MCLG | Major sources in drinking water | Health effects language |
| --- | --- | --- | --- | --- | --- | --- |
| Chloramines (ppm) ...... Chlorine (ppm) ............. Chlorine dioxide (ppb) .. Chlorite (ppm) .............. Chromium (ppb) ........... | MRDL = 4 ............ MRDL = 4 ............ MRDL = .8 ........... 1 ........................... .1 .......................... | .............................. .............................. 1000 ..................... .............................. 1000 ..................... | MRDL = 4 ............ MRDL = 4 ............ MRDL = 800 ........ 1 ........................... 100 ....................... | MRDLG = 4 ......... MRDLG = 4 ......... MRDLG = 800 ..... 0.8 ........................ 100 ....................... | Water additive used to control microbes. Water additive used to control microbes. Water additive used to control micorbes. By-product of drinking water dis- infection. Discharge from steel and pulp mills; Erosion of natural depos- its. | Some people who use water containing chloramines well in excess of the MRDL could ex- perience irritating effects to their eyes and nose. Some people who drink water con- taining chloramines well in ex- cess of the MRDL could expe- rience stomach discomfort or anemia. Some people who use water containing chlorine well in ex- cess of the MRDL could expe- rience irritating effects to their eyes and nose. Some people who drink water containing chlorine well in excess of the MRDL could experience stom- ach discomfort. Some infants and young children who drink water chlorine diox- ide in excess of the MRDL could experience nervous sys- tem effects. Similar effects may occur in fetuses of preg- nant women who drink water containing chlorine dioxide in excess of the MRDL. Some people may experience ane- mia. Some infants and young children who drink water containing chlorite in excess of the MCL could experience nervous sys- tem effects. Similar effects may occur in fetuses of preg- nant women who drink water containing chlorite in excess of the MCL. Some people may experience anemia. Some people who use water containing chromium well in excess of the MCL over many years could experience allergic dermatitis. |

Copper (ppm) ...............   AL = 1.3 ...............    ..............................   AL = 1.3 ...............   1.3 ........................   Corrosion of household plumbing

systems; Erosion of natural de- posits.

Cyanide (ppb)  ..............   .2 ..........................   1000 .....................   200 .......................   200 .......................   Discharge  from  steel/metal  fac-

tories; Discharge from plastic and fertilizer factories.

Fluoride (ppm) ..............   4 ...........................    ..............................   4 ...........................   4 ...........................   Erosion    of    natural    deposits;

Water additive which promotes strong teeth; Discharge from fertilizer and aluminum fac- tories.

Lead (ppb) ....................   AL = .015 .............   1000 .....................   AL = 15 ................   0 ...........................   Corrosion of household plumbing

systems; Erosion of natural de- posits.

Copper is an essential nutrient, but some people who drink water containing copper in ex- cess of the action level over a relatively short amount of time could experience gastro- intestinal distress. Some peo- ple who drink water containing copper in excess of the action level over many years could suffer liver or kidney damage. People with Wilson’s disease should consult their personal doctor.

Environmental Protection Agency

Some people who drink water containing cyanide well in ex- cess of the MCL over many years could experience nerve damage or problems with their thyroid.

Pt. 141, Subpt. O, App. A

Some people who drink water containing fluoride in excess of the MCL over many years could get bone disease, includ- ing pain and tenderness of the bones. Fluoride in drinking water at half the MCL or more may cause mottling of chil- dren’s teeth, usually in children less than nine years old. Mot- tling, also known as dental flu- orosis, may  include brown staining and/or pitting of the teeth, and occurs only in de- veloping teeth before  they erupt from the gums.

Infants and children who drink water containing lead in ex- cess of the action level could experience delays in their physical or mental develop- ment. Children could show slight deficits in attention span and learning abilities. Adults who drink this water over many years could develop kidney problems or high blood pres- sure.

565

Pt. 141, Subpt. O, App. A

40 CFR Ch. I (7–1–17 Edition)

566

| Contaminant (units) | Traditional MCL in mg/L | To convert for CCR, multiply by | MCL in CCR units | MCLG | Major sources in drinking water | Health effects language |
| --- | --- | --- | --- | --- | --- | --- |
| Mercury [inorganic] (ppb). Nitrate (ppm) ................ Nitrite (ppm) ................. Selenium (ppb) ............. Thallium (ppb) .............. Synthetic organic contaminants including pesticides and herbi- cides: 2,4-D (ppb) ................... | .002 ...................... 10 ......................... 1 ........................... .05 ........................ .002 ...................... .07 ........................ | 1000 ..................... .............................. .............................. 1000 ..................... 1000 ..................... 1000 ..................... | 2 ........................... 10 ......................... 1 ........................... 50 ......................... 2 ........................... 70 ......................... | 2 ........................... 10 ......................... 1 ........................... 50 ......................... 0.5 ........................ 70 ......................... | Erosion of natural deposits; Dis charge from refineries and fac- tories; Runoff from landfills; Runoff from cropland. Runoff from fertilizer use; Leach- ing from septic tanks, sew age; Erosion of natural deposits. Runoff from fertilizer use; Leach- ing from septic tanks, sew age; Erosion of natural deposits. Discharge from petroleum and metal refineries; Erosion of natural deposits; Discharge from mines. Leaching from ore-processing sites; Discharge from elec- tronics, glass, and drug fac- tories. Runoff from herbicide used on row crops. | Some people who drink water containing inorganic mercury well in excess of the MCL over many years could experience kidney damage. Infants below the age of six months who drink water con- taining nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syn- drome. Infants below the age of six months who drink water con- taining nitrite in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syn- drome. Selenium is an essential nutrient. However, some people who drink water containing sele- nium in excess of the MCL over many years could experi- ence hair or fingernail losses, numbness in fingers or toes, or problems with their circulation. Some people who drink water containing thallium in excess of the MCL over many years could experience hair loss, changes in their blood, or problems with their kidneys, in- testines, or liver. Some people who drink water containing the weed killer 2,4- D well in excess of the MCL over many years could experi- ence problems with their kid- neys, liver, or adrenal glands. |

Environmental Protection Agency

Pt. 141, Subpt. O, App. A

567

| 2,4,5-TP [Silvex](ppb) .. | .05 ........................ | 1000 ..................... | 50 ......................... | 50 ......................... | Residue of banned herbicide ...... | Some people who drink water containing silvex in excess of the MCL over many years could experience liver prob- |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | lems. |
| Acrylamide ................... | TT ........................ | .............................. | TT ........................ | 0 ........................... | Added to water during sewage/ wastewater treatment. | Some people who drink water containing high levels of acryl- amide over a long period of time could have problems with their nervous system or blood, and may have an increased risk of getting cancer. |
| Alachlor (ppb) ............... | .002 ...................... | 1000 ..................... | 2 ........................... | 0 ........................... | Runoff from herbicide used on row crops. | Some people who drink water containing alachlor in excess of the MCL over many years could have problems with their eyes, liver, kidneys, or spleen, or experience anemia, and may have an increased risk of getting cancer. |
| Atrazine (ppb) .............. | .003 ...................... | 1000 ..................... | 3 ........................... | 3 ........................... | Runoff from herbicide used on row crops. | Some people who drink water containing atrazine well in ex- cess of the MCL over many years could experience prob- lems with their cardiovascular system or reproductive difficul- ties. |
| Benzo(a)pyrene [PAH] (nanograms/l). | .0002 .................... | 1,000,000 ............. | 200 ....................... | 0 ........................... | Leaching from linings of water storage tanks and distribution lines. | Some people who drink water containing benzo(a)pyrene in excess of the MCL over many years may experience repro- ductive difficulties and may have an increased risk of get- ting cancer. |
| Carbofuran (ppb) .......... | .04 ........................ | 1000 ..................... | 40 ......................... | 40 ......................... | Leaching of soil fumigant used on rice and alfalfa. | Some people who drink water containing carbofuran in ex- cess of the MCL over many years could experience prob- lems with their blood, or nerv- ous or reproductive systems. |
| Chlordane (ppb) ........... | .002 ...................... | 1000 ..................... | 2 ........................... | 0 ........................... | Residue of banned termiticide .... | Some people who drink water containing chlordane in excess of the MCL over many years could experience problems with their liver or nervous sys- tem, and may have an in- creased risk of getting cancer. |

Pt. 141, Subpt. O, App. A

40 CFR Ch. I (7–1–17 Edition)

568

| Contaminant (units) | Traditional MCL in mg/L | To convert for CCR, multiply by | MCL in CCR units | MCLG | Major sources in drinking water | Health effects language |
| --- | --- | --- | --- | --- | --- | --- |
| Dalapon (ppb) .............. Di(2-ethylhexyl) adipate (ppb). Di(2-ethylhexyl) phthal- ate (ppb). Dibromochloropropane (ppt). Dinoseb (ppb) .............. Diquat (ppb) ................. Dioxin [2,3,7,8-TCDD] (ppq). | .2 .......................... .4 .......................... .006 ...................... .0002 .................... .007 ...................... .02 ........................ .00000003 ............ | 1000 ..................... 1000 ..................... 1000 ..................... 1,000,000 ............. 1000 ..................... 1000 ..................... 1,000,000, 000 .... | 200 ....................... 400 ....................... 6 ........................... 200 ....................... 7 ........................... 20 ......................... 30 ......................... | 200 ....................... 400 ....................... 0 ........................... 0 ........................... 7 ........................... 20 ......................... 0 ........................... | Runoff from herbicide used on rights of way. Discharge from chemical fac- tories. Discharge from rubber and chemical factories. Runoff/leaching from soil fumi- gant used on soybeans, cot- ton, pineapples, and orchards. Runoff from herbicide used on soybeans and vegetables. Runoff from herbicide use ........... Emissions from waste inciner- ation and other combustion; Discharge from chemical fac- tories. | Some people who drink water containing dalapon well in ex- cess of the MCL over many years could experience minor kidney changes. Some people who drink water containing di(2-ethylhexyl) adi- pate well in excess of the MCL over many years could experi- ence toxic effects such as weight loss, liver enlargement or possible reproductive dif- ficulties. Some people who drink water containing di(2-ethylhexyl) phthalate well in excess of the MCL over many years may have problems with their liver, or experience reproductive dif- ficulties, and may have an in- creased risk of getting cancer. Some people who drink water containing DBCP in excess of the MCL over many years could experience reproductive problems and may have an in- creased risk of getting cancer. Some people who drink water containing dinoseb well in ex- cess of the MCL over many years could experience repro- ductive difficulties. Some people who drink water containing diquat in excess of the MCL over many years could get cataracts. Some people who drink water containing dioxin in excess of the MCL over many years could experience reproductive difficulties and may have an in- creased risk of getting cancer. |

Environmental Protection Agency

Endothall (ppb) .............   .1 ..........................   1000 .....................   100 .......................   100 .......................   Runoff from herbicide use ...........   Some  people  who  drink  water

containing endothall in excess of the MCL over many years could experience problems with their stomach or intes- tines.

Endrin (ppb) .................   .002 ......................   1000 .....................   2 ...........................   2 ...........................   Residue of banned insecticide ....   Some  people  who  drink  water

containing endrin in excess of the MCL over many years could experience liver prob- lems.

Epichlorohydrin  ............   TT ........................    ..............................   TT ........................   0 ...........................   Discharge  from  industrial  chem-

ical factories; An impurity of some water treatment chemi- cals.

Some people who drink water containing high levels of epichlorohydrin over a long pe- riod of time could experience stomach problems, and may have an increased risk of get- ting cancer.

Ethylene dibromide (ppt).

.00005 ..................   1,000,000 .............   50 .........................   0 ...........................   Discharge  from  petroleum  refin-

eries.

Some people who drink water containing ethylene dibromide in excess of the MCL over many years could experience problems with their liver, stom- ach, reproductive system, or kidneys, and may have an in- creased risk of getting cancer.

Glyphosate (ppb)  .........   .7 ..........................   1000 .....................   700 .......................   700 .......................   Runoff from herbicide use ...........   Some  people  who  drink  water

containing glyphosate in ex- cess of the MCL over many years could experience prob- lems with their kidneys or re- productive difficulties.

Heptachlor (ppt) ...........   .0004 ....................   1,000,000 .............   400 .......................   0 ...........................   Residue of banned pesticide .......   Some  people  who  drink  water

Pt. 141, Subpt. O, App. A

containing heptachlor in ex- cess of the MCL over many years could experience liver damage and may have an in- creased risk of getting cancer.

Heptachlor epoxide (ppt).

.0002 ....................   1,000,000 .............   200 .......................   0 ...........................   Breakdown of heptachlor  ............   Some  people  who  drink  water

containing heptachlor epoxide in excess of the MCL over many years could experience liver damage, and may  have an increased risk of getting cancer.

569

Pt. 141, Subpt. O, App. A

40 CFR Ch. I (7–1–17 Edition)

570

| Contaminant (units) | Traditional MCL in mg/L | To convert for CCR, multiply by | MCL in CCR units | MCLG | Major sources in drinking water | Health effects language |
| --- | --- | --- | --- | --- | --- | --- |
| Hexachlorobenzene (ppb). Hexachlorocyclopentad- iene (ppb). Lindane (ppt) ................ Methoxychlor (ppb) ...... Oxamyl [Vydate] (ppb) PCBs [Polychlorinated biphenyls] (ppt). | .001 ...................... .05 ........................ .0002 .................... .04 ........................ .2 .......................... .0005 .................... | 1000 ..................... 1000 ..................... 1,000,000 ............. 1000 ..................... 1000 ..................... 1,000,000 ............. | 1 ........................... 50 ......................... 200 ....................... 40 ......................... 200 ....................... 500 ....................... | 0 ........................... 50 ......................... 200 ....................... 40 ......................... 200 ....................... 0 ........................... | Discharge from metal refineries and agricultural chemical fac- tories. Discharge from chemical fac- tories. Runoff/leaching from insecticide used on cattle, lumber, gar- dens. Runoff/leaching from insecticide used on fruits, vegetables, al- falfa, livestock. Runoff/leaching from insecticide used on apples, potatoes and tomatoes. Runoff from landfills; Discharge of waste chemicals. | Some people who drink water containing hexachlorobenzene in excess of the MCL over many years could experience problems with their liver or kid- neys, or adverse reproductive effects, and may have an in- creased risk of getting cancer. Some people who drink water containing hexachlorocyclopentadiene well in excess of the MCL over many years could experience problems with their kidneys or stomach. Some people who drink water containing lindane in excess of the MCL over many years could experience problems with their kidneys or liver. Some people who drink water containing methoxychlor in ex- cess of the MCL over many years could experience repro- ductive difficulties. Some people who drink water containing oxamyl in excess of the MCL over many years could experience slight nerv- ous system effects. Some people who drink water containing PCBs in excess of the MCL over many years could experience changes in their skin, problems with their thymus gland, immune defi- ciencies, or reproductive or nervous system difficulties, and may have an increased risk of getting cancer. |

571

Environmental Protection Agency

Pt. 141, Subpt. O, App. A

| Pentachlorophenol (ppb). Picloram (ppb) .............. | .001 ...................... .5 .......................... | 1000 ..................... 1000 ..................... | 1 ........................... 500 ....................... | 0 ........................... 500 ....................... | Discharge from wood preserving factories. Herbicide runoff ........................... | Some people who drink water containing pentachlorophenol in excess of the MCL over many years could experience problems with their liver or kid- neys, and may have an in- creased risk of getting cancer. Some people who drink water |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | containing picloram in excess |
|  |  |  |  |  |  | of the MCL over many years |
|  |  |  |  |  |  | could experience problems |
|  |  |  |  |  |  | with their liver. |
| Simazine (ppb) ............. | .004 ...................... | 1000 ..................... | 4 ........................... | 4 ........................... | Herbicide runoff ........................... | Some people who drink water |
|  |  |  |  |  |  | containing simazine in excess |
|  |  |  |  |  |  | of the MCL over many years |
|  |  |  |  |  |  | could experience problems |
|  |  |  |  |  |  | with their blood. |
| Toxaphene (ppb) .......... | .003 ...................... | 1000 ..................... | 3 ........................... | 0 ........................... | Runoff/leaching from insecticide | Some people who drink water |
|  |  |  |  |  | used on cotton and cattle. | containing toxaphene in ex- |
|  |  |  |  |  |  | cess of the MCL over many |
|  |  |  |  |  |  | years could have problems |
|  |  |  |  |  |  | with their kidneys, liver, or thy- |
|  |  |  |  |  |  | roid, and may have an in- |
|  |  |  |  |  |  | creased risk of getting cancer. |
| Benzene (ppb) ............. | .005 ...................... | 1000 ..................... | 5 ........................... | 0 ........................... | Discharge from factories; Leach- | Some people who drink water |
|  |  |  |  |  | ing from gas storage tanks and | containing benzene in excess |
|  |  |  |  |  | landfills. | of the MCL over many years |
|  |  |  |  |  |  | could experience anemia or a |
|  |  |  |  |  |  | decrease in blood platelets, |
|  |  |  |  |  |  | and may have an increased |
|  |  |  |  |  |  | risk of getting cancer. |
| Carbon tetrachloride | .005 ...................... | 1000 ..................... | 5 ........................... | 0 ........................... | Discharge from chemical plants | Some people who drink water |
| (ppb). |  |  |  |  | and other industrial activities. | containing carbon tetrachloride |
|  |  |  |  |  |  | in excess of the MCL over |
|  |  |  |  |  |  | many years could experience |
|  |  |  |  |  |  | problems with their liver and |
|  |  |  |  |  |  | may have an increased risk of |
|  |  |  |  |  |  | getting cancer. |
| Chlorobenzene (ppb) ... | .1 .......................... | 1000 ..................... | 100 ....................... | 100 ....................... | Discharge from chemical and ag- | Some people who drink water |
|  |  |  |  |  | ricultural chemical factories. | containing chlorobenzene in |
|  |  |  |  |  |  | excess of the MCL over many |
|  |  |  |  |  |  | years could experience prob- |
|  |  |  |  |  |  | lems with their liver or kidneys. |
| o-Dichlorobenzene | .6 .......................... | 1000 ..................... | 600 ....................... | 600 ....................... | Discharge from industrial chem- | Some people who drink water |
| (ppb). |  |  |  |  | ical factories. | containing o-dichlorobenzene |
|  |  |  |  |  |  | well in excess of the MCL over |
|  |  |  |  |  |  | many years could experience |
|  |  |  |  |  |  | problems with their liver, kid- |
|  |  |  |  |  |  | neys, or circulatory systems. |

Volatile organic contaminants:

Pt. 141, Subpt. O, App. A

40 CFR Ch. I (7–1–17 Edition)

572

| Contaminant (units) | Traditional MCL in mg/L | To convert for CCR, multiply by | MCL in CCR units | MCLG | Major sources in drinking water | Health effects language |
| --- | --- | --- | --- | --- | --- | --- |
| p-Dichlorobenzene (ppb). 1,2-Dichloroethane (ppb). 1,1-Dichloroethylene (ppb). cis-1,2-Dichloroethylene (ppb). trans-1,2- Dichloroethylene (ppb). Dichloromethane (ppb) 1,2-Dichloropropane (ppb). Ethylbenzene (ppb) ...... | .075 ...................... .005 ...................... .007 ...................... .07 ........................ .1 .......................... .005 ...................... .005 ...................... .7 .......................... | 1000 ..................... 1000 ..................... 1000 ..................... 1000 ..................... 1000 ..................... 1000 ..................... 1000 ..................... 1000 ..................... | 75 ......................... 5 ........................... 7 ........................... 70 ......................... 100 ....................... 5 ........................... 5 ........................... 700 ....................... | 75 ......................... 0 ........................... 7 ........................... 70 ......................... 100 ....................... 0 ........................... 0 ........................... 700 ....................... | Discharge from industrial chem- ical factories. Discharge from industrial chem- ical factories. Discharge from industrial chem- ical factories. Discharge from industrial chem- ical factories. Discharge from industrial chem- ical factories. Discharge from pharmaceutical and chemical factories. Discharge from industrial chem- ical factories. Discharge from petroleum refin- eries. | Some people who drink water containing p-dichlorobenzene in excess of the MCL over many years could experience anemia, damage to their liver, kidneys, or spleen, or changes in their blood. Some people who drink water containing 1,2-dichloroethane in excess of the MCL over many years may have an in- creased risk of getting cancer. Some people who drink water containing 1,1-dichloroethylene in excess of the MCL over many years could experience problems with their liver. Some people who drink water containing cis-1,2- dichloroethylene in excess of the MCL over many years could experience problems with their liver. Some people who drink water containing trans-1,2- dichloroethylene well in excess of the MCL over many years could experience problems with their liver. Some people who drink water containing dichloromethane in excess of the MCL over many years could have liver prob- lems and may have an in- creased risk of getting cancer. Some people who drink water containing 1,2-dichloropropane in excess of the MCL over many years may have an in- creased risk of getting cancer. Some people who drink water containing ethylbenzene well in excess of the MCL over many years could experience prob- lems with their liver or kidneys. |

Haloacetic Acids (HAA) (ppb).

.060 ......................   1000 .....................   60 .........................   N/A .......................   By-product of drinking water dis-

infection.

Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer.

Styrene (ppb) ...............   .1 ..........................   1000 .....................   100 .......................   100 .......................   Discharge from rubber and plas-

tic   factories;   Leaching   from landfills.

Some people who drink water containing styrene well in ex- cess of the MCL over many years could have problems with their liver, kidneys, or cir- culatory system.

Tetrachloroethylene (ppb).

1,2,4-Trichlorobenzene (ppb).

1,1,1-Trichloroethane (ppb).

1,1,2-Trichloroethane (ppb).

.005 ......................   1000 .....................   5 ...........................   0 ...........................   Discharge from factories and dry

cleaners.

.07 ........................   1000 .....................   70 .........................   70 .........................   Discharge   from   textile-finishing

factories.

.2 ..........................   1000 .....................   200 .......................   200 .......................   Discharge from metal degreasing

sites and other factories.

.005 ......................   1000 .....................   5 ...........................   3 ...........................   Discharge  from  industrial  chem-

ical factories.

Some people who drink water containing tetrachloroethylene in excess of the MCL over many years could have prob- lems with their liver, and may have an increased risk of get- ting cancer.

Some people who drink water containing	1,2,4- trichlorobenzene well in excess of the MCL over many years could experience changes in their adrenal glands.

Some people who drink water containing 1,1,1-trichloroethane in excess of the MCL over many years could experience problems with their liver, nerv- ous system, or circulatory sys- tem.

Pt. 141, Subpt. O, App. A

Some people who drink water containing 1,1,2-trichloroethane well in excess of the MCL over many years could have prob- lems with their liver,  kidneys, or immune systems.

Trichloroethylene (ppb)     .005 ......................   1000 .....................   5 ...........................   0 ...........................   Discharge from metal degreasing

sites and other factories.

Some people who drink water containing trichloroethylene in excess of the MCL over many years could experience prob- lems with their liver and may have an increased risk of get- ting cancer.

Environmental Protection Agency

573

574

| Contaminant (units) | Traditional MCL in mg/L | To convert for CCR, multiply by | MCL in CCR units | MCLG | Major sources in drinking water | Health effects language |
| --- | --- | --- | --- | --- | --- | --- |
| TTHMs [Total trihalomethanes] (ppb). Toluene (ppm) .............. Vinyl Chloride (ppb) ..... Xylenes (ppm) .............. | 0.10/.080 .............. 1 ........................... .002 ...................... 10 ......................... | 1000 ..................... .............................. 1000 ..................... .............................. | 100/80 .................. 1 ........................... 2 ........................... 10 ......................... | N/A ....................... 1 ........................... 0 ........................... 10 ......................... | By-product of drinking water dis- infection. Discharge from petroleum fac- tories. Leaching from PVC piping; Dis- charge from plastics factories. Discharge from petroleum fac- tories; Discharge from chem- ical factories. | Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience prob- lems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer. Some people who drink water containing toluene well in ex- cess of the MCL over many years could have problems with their nervous system, kid- neys, or liver. Some people who drink water containing vinyl chloride in ex- cess of the MCL over many years may have an increased risk of getting cancer. Some people who drink water containing xylenes in excess of the MCL over many years could experience damage to their nervous system. |

Pt. 141, Subpt. O, App. A

† Until March 31, 2016.

‡ Beginning April 1, 2016.

1 These arsenic values are effective January 23, 2006. Until then, the MCL is 0.05 mg/L and there is no MCLG.

40 CFR Ch. I (7–1–17 Edition)

Key:

AL = Action Level

MCL = Maximum Contaminant Level

MCLG = Maximum Contaminant Level Goal MFL = million fibers per liter

MRDL = Maximum Residual Disinfectant Level MRDLG = Maximum Residual Disinfectant Level Goal

mrem/year = millirems per year (a measure of radiation absorbed by the body) N/A = Not Applicable

NTU = Nephelometric Turbidity Units (a measure of water clarity) pCi/l = picocuries per liter (a measure of radioactivity)

ppm = parts per million, or milligrams per liter (mg/l) ppb = parts per billion, or micrograms per liter (g/l) ppt = parts per trillion, or nanograms per liter

ppq = parts per quadrillion, or picograms per liter TT = Treatment Technique

[65 FR 26024, May 4, 2000, as amended at 65 FR 76749, Dec. 7, 2000; 66 FR 7064, Jan. 22, 2001; 67 FR 70855, Nov. 27, 2002; 67 FR 73011, Dec.

9, 2002; 68 FR 14506, Mar. 25, 2003; 71 FR 65652, Nov. 8, 2006; 78 FR 10349, Feb. 13, 2013]

#### Environmental Protection Agency	§ 141.171

Subpart P—Enhanced Filtration and Disinfection—Systems Serving 10,000 or More Peo- ple

SOURCE:  63  FR  69516,  Dec.  16,  1998,  unless

otherwise noted.

##### § 141.170   General requirements.

- The requirements of  this  subpart P constitute national primary drinking water regulations. These regulations establish   requirements   for   filtration and disinfection that are in addition to criteria under which filtration and dis- infection are required under  subpart  H of this part. The requirements of this subpart are applicable to subpart H systems serving at least 10,000 people, beginning January 1, 2002 unless other- wise specified in this subpart. The reg- ulations in this subpart establish or ex- tend treatment technique  requirements in lieu of maximum contaminant levels for the following contaminants: Giardia lamblia, viruses,  heterotrophic  plate count	bacteria,	Legionella, Cryptosporidium, and turbidity. Each subpart H system serving at least 10,000 people must provide treatment of its source water that complies with these treatment technique requirements  and are   in   addition   to   those   identified   in

§ 141.70. The treatment technique re- quirements consist of installing and properly operating water treatment processes  which  reliably  achieve:

  - At least 99 percent (2-log) removal of Cryptosporidium between a point where the raw water is not subject to recontamination by surface water run- off and a point downstream before or at the first customer for filtered  systems, or Cryptosporidium control under the watershed control plan for unfiltered systems.

  - Compliance with the profiling and benchmark requirements under the provisions of § 141.172.

- A public water system subject to the requirements of this subpart is con- sidered to be in compliance with the re- quirements of paragraph (a) of this sec- tion  if:

  - It meets the requirements for avoiding    filtration    in    §§ 141.71    and

141.171 and the disinfection require- ments in §§ 141.72 and 141.172; or

  - It meets the applicable filtration requirements    in    either    § 141.73    or

§ 141.173 and the disinfection require- ments in §§ 141.72 and 141.172.

- Systems are not permitted to begin construction of uncovered fin- ished water storage facilities beginning February 16, 1999.

- Subpart H systems that did not conduct   optional   monitoring   under

§ 141.172 because they served fewer than 10,000 persons when such  monitoring was required, but  serve  more  than 10,000  persons  prior  to  January  1,  2005

must    comply    with    §§ 141.170,    141.171,

141.173, 141.174, and 141.175. These sys-

tems must also consult  with  the  State to  establish  a   disinfection   benchmark. A system that decides to make a sig- nificant change to its disinfection practice, as described in § 141.172(c)(1)(i) through  (iv)  must  consult  with   the State  prior  to  making  such  change.

[63 FR 69516, Dec. 16, 1998, as amended at 66

FR  3779,  Jan.  16,  2001;  67  FR  1836,  Jan.  14,

2002; 69 FR 38856, June 29, 2004]

##### § 141.171   Criteria  for  avoiding  filtra- tion.

In  addition  to  the  requirements  of

§ 141.71, a public water system subject to the requirements  of  this  subpart that does not provide filtration must meet all of the conditions of para- graphs (a) and (b) of this section.

- Site-specific conditions. In  addition to site-specific conditions in § 141.71(b), systems must maintain the watershed control program under § 141.71(b)(2) to minimize the potential for  contamina- tion by Cryptosporidium oocysts in the source water. The watershed control program  must,  for  Cryptosporidium:

  - Identify watershed characteristics and activities which may have an ad- verse effect on source water quality; and

  - Monitor the occurrence of activi- ties which may have an  adverse  effect on source water quality.

- During the onsite inspection con- ducted     under     the     provisions     of

§ 141.71(b)(3), the State must determine whether the  watershed  control  pro- gram established under § 141.71(b)(2) is adequate to limit potential contamina- tion by Cryptosporidium oocysts. The adequacy of the program must be based

#### § 141.172

on the comprehensiveness of the water- shed review; the effectiveness of the system’s program  to  monitor and  con- trol detrimental activities occurring in the watershed; and the extent to which the water system has maximized land ownership and/or controlled land use within the watershed.

##### § 141.172   Disinfection	profiling	and benchmarking.

- Determination of systems required to profile. A public water  system  subject to the requirements of this  subpart must determine its TTHM annual aver- age using the procedure in paragraph (a)(1) of this section and its HAA5 an- nual average using the procedure in paragraph (a)(2) of this section. The an- nual average is the  arithmetic  average of the quarterly averages of four con- secutive quarters of monitoring.

  - The TTHM annual average must be the annual average during the same period as is used for the HAA5 annual average.

    - Those systems that collected data under the provisions of subpart M (In- formation Collection  Rule)  must  use the results of the samples collected during the last four quarters of re- quired monitoring under § 141.142.

    - Those   systems   that   use   ‘‘grand- fathered’’   HAA5   occurrence   data   that meet     the     provisions     of     paragraph (a)(2)(ii) of this section must use TTHM data  collected  at  the  same  time  under the provisions of §§ 141.12 and 141.30.

    - Those systems that use HAA5 oc- currence data that meet the provisions of paragraph (a)(2)(iii)(A) of this sec- tion must use TTHM data collected  at the same time under  the provisions  of

§§ 141.12 and 141.30.

  - The HAA5 annual average must be the annual average during the same pe- riod as is used for the TTHM annual average.

    - Those systems that collected data under the provisions of subpart M (In- formation Collection  Rule)  must  use the results of the samples collected during the last four quarters of re- quired monitoring under § 141.142.

    - Those systems that have  col- lected four quarters of HAA5 occur- rence data that meets the routine mon- itoring sample number and location re- quirements  for  TTHM  in  §§ 141.12  and

#### 40 CFR Ch. I (7–1–17 Edition)

141.30 and handling and  analytical method requirements of § 141.142(b)(1) may use those data to determine whether the requirements of this sec- tion  apply.

    - Those systems that have not col- lected  four  quarters  of  HAA5  occur- rence data that meets the provisions of either paragraph (a)(2)(i) or (ii) of this section  by  March  16,  1999  must  either:

      - Conduct monitoring for HAA5 that meets the routine monitoring sample number and location require- ments for TTHM in §§ 141.12 and 141.30 and handling and analytical method re- quirements of § 141.142(b)(1) to deter- mine the HAA5 annual average and whether the requirements of paragraph

- of this section apply. This moni- toring must be completed so that the applicability determination can be made no later than March 31, 2000, or

      - Comply with all other  provisions of this section as if the HAA5 moni- toring had been conducted and the re- sults required compliance with para- graph (b) of this section.

- The system may request that the State approve a more representative annual data set than the data set de- termined under paragraph (a)(1) or (2) of this section for the purpose of deter- mining applicability of the require- ments of this section.

- The State may require that a sys- tem use a more representative annual data set than the data set determined under paragraph (a)(1) or (2) of this sec- tion for the purpose of determining ap- plicability of the requirements of this section.

- The system must submit data to the State on the schedule in para- graphs (a)(5)(i) through (v) of this sec- tion.

- Those systems that  collected TTHM and HAA5 data under the provi- sions of subpart M (Information Collec- tion Rule), as required by paragraphs (a)(1)(i) and (a)(2)(i) of this  section, must submit the results of the samples collected during the last 12 months of required monitoring under § 141.142 not later than December 31, 1999.

- Those systems that have  col- lected four consecutive  quarters  of HAA5 occurrence data that meets the routine monitoring sample number and location for TTHM in §§ 141.12 and 141.30

#### Environmental Protection Agency	§ 141.172

and handling and analytical method re- quirements of § 141.142(b)(1), as allowed by paragraphs (a)(1)(ii) and (a)(2)(ii) of this section, must submit those data to the State not later than April 16, 1999. Until the State has approved the  data, the system  must conduct  monitoring for HAA5 using the monitoring require- ments specified  under  paragraph (a)(2)(iii) of this section.

- Those systems that conduct monitoring for HAA5 using the moni- toring requirements specified by para- graphs (a)(1)(iii) and (a)(2)(iii)(A) of this section, must submit TTHM and HAA5 data not later than March 31, 2000.

- Those systems that elect to com- ply with all other provisions of this section as if the HAA5 monitoring had been conducted and the results re- quired compliance with this section, as allowed under paragraphs (a)(2)(iii)(B) of this section, must  notify  the  State in writing of their election not later than December 31, 1999.

- If the system elects to request that the State approve a more rep- resentative annual data set than the data set determined under paragraph (a)(2)(i) of this section, the  system must  submit  this  request  in  writing not later than December 31, 1999.

- Any system having either a TTHM annual average 0.064 mg/L or an HAA5 annual average 0.048 mg/L during the period identified in paragraphs (a)(1) and (2) of this section must comply with paragraph (b) of this section.

- Disinfection profiling. (1) Any sys- tem that meets the criteria in para- graph (a)(6) of this section must de- velop a disinfection profile of its dis- infection practice for a period of up to three years.

- The system must monitor daily for a period of 12 consecutive calendar months to determine the total logs of inactivation for each day of operation, based on the CT99.9 values in Tables 1.1–1.6, 2.1, and 3.1 of § 141.74(b), as ap- propriate, through the entire treat- ment plant.  This  system  must  begin this monitoring not later than April 1, 2000. As a minimum, the system with a single point of disinfectant application prior to entrance to the distribution system must conduct the   monitoring in  paragraphs  (b)(2)(i)  through  (iv)  of

this section. A system with more than one point of disinfectant application must conduct the monitoring in para- graphs (b)(2)(i) through (iv) of this sec- tion for each disinfection segment. The system must monitor the parameters necessary to determine the total inac- tivation ratio, using  analytical  meth- ods in § 141.74(a), as follows:

- The temperature of the disinfected water must be measured once per day at each residual disinfectant con- centration sampling point during peak hourly flow.

- If the system uses chlorine, the pH of the disinfected water must be measured once per day at each chlorine residual disinfectant concentration sampling point during peak hourly flow.

- The disinfectant contact time(s) (‘‘T’’) must be determined for each day during peak hourly flow.

- The residual disinfectant con- centration(s) (‘‘C’’) of the water before or at the first customer and prior to each additional point of disinfection must be measured each day  during peak hourly flow.

- In lieu of the monitoring con- ducted under the provisions of para- graph (b)(2) of this section to develop the  disinfection  profile,  the   system may elect to meet the requirements of paragraph (b)(3)(i) of this section. In addition to the monitoring conducted under the provisions of paragraph (b)(2) of this  section to  develop the  disinfec- tion profile, the system may elect to meet the requirements of paragraph (b)(3)(ii) of this section.

- A PWS that has three years of ex- isting operational data may submit those data, a profile generated using those data, and a  request  that  the State approve use of those data in lieu of monitoring under the provisions of paragraph (b)(2) of this  section  not later than March 31, 2000. The State must determine whether these oper- ational data are substantially equiva- lent to  data collected under  the provi- sions of paragraph (b)(2) of this section. These data must also be representative of Giardia lamblia inactivation through the entire treatment plant and not just of certain  treatment  segments.  Until the   State   approves   this   request,   the

#### § 141.172

system is required to conduct moni- toring under the  provisions of para- graph (b)(2) of this section.

- In addition to the disinfection profile generated under paragraph (b)(2) of this section, a PWS that has existing operational data  may  use those data to develop a disinfection profile for additional years. Such sys- tems may use these additional yearly disinfection profiles to develop a benchmark under the provisions of paragraph (c) of this section. The State must determine whether these oper- ational data are substantially equiva- lent to  data collected under  the provi- sions of paragraph (b)(2) of this section. These data must also be representative of inactivation through the entire treatment plant and not just of certain treatment  segments.

- The system must calculate the total inactivation ratio as follows:

  - If the system uses only one point of disinfectant application, the system may determine the total inactivation ratio for the disinfection segment based on either of the methods in para- graph (b)(4)(i)(A) or (b)(4)(i)(B) of this section.

- Determine one inactivation ratio (CTcalc/CT99.9) before or at the first customer during peak hourly flow.

- Determine successive CTcalc/ CT99.9 values, representing sequential inactivation ratios, between the  point of disinfectant application and a point before or at the first customer during peak hourly flow. Under this alter- native, the system must calculate the total inactivation ratio by determining (CTcalc/CT99.9) for each sequence and then adding the (CTcalc/CT99.9) values together to determine (S (CTcalc/ CT99.9)).

  - If the system uses more than one point of disinfectant application before the first customer, the system must de- termine the CT value of each disinfec- tion segment immediately prior to the next point of disinfectant  application, or for the final segment, before  or  at the first customer, during peak hourly flow. The (CTcalc/CT99.9) value of each segment and (S(CTcalc/CT99.9)) must be calculated using the method in para- graph (b)(4)(i) of this section.

  - The system must determine the total   logs   of   inactivation   by   multi-

#### 40 CFR Ch. I (7–1–17 Edition)

plying the value calculated in para- graph (b)(4)(i) or (ii) of this section by 3.0.

- A system that uses either chloramines or ozone for primary dis- infection must also calculate  the  logs of inactivation for viruses using a method approved by the State.

- The system must retain disinfec- tion profile data in graphic form, as a spreadsheet, or in some other format acceptable to the State for review as part of sanitary surveys conducted by the   State.

- Disinfection benchmarking. (1) Any system required to develop a disinfec- tion profile under the provisions of paragraphs (a) and (b) of this section and that decides to make a significant change to  its  disinfection  practice must consult with the State prior to making such change. Significant changes to disinfection practice are:

- Changes to the point of disinfec- tion;

- Changes to the disinfectant(s) used in the treatment plant;

- Changes to the disinfection proc- ess; and

- Any other modification identi- fied by the State.

- Any system that is modifying its disinfection practice must calculate its disinfection benchmark using the pro- cedure specified in paragraphs (c)(2)(i) through (ii) of this section.

  - For each year of profiling data collected and calculated under para- graph (b) of this section, the system must determine the lowest average monthly Giardia lamblia inactivation in each year of profiling data. The system must determine the average Giardia lamblia inactivation for each calendar month for each year of profiling data by dividing the sum of daily Giardia lamblia of inactivation by the number of values calculated for that month.

  - The disinfection benchmark is the lowest monthly average value (for systems with one year of  profiling data) or average of lowest monthly av- erage values (for systems with more than one year of profiling data) of the monthly logs of Giardia lamblia inac- tivation in each year of profiling data.

#### Environmental Protection Agency	§ 141.175

- A system that uses either chloramines or ozone for primary dis- infection must also calculate the dis- infection benchmark  for  viruses  using a method approved by the State.

- The system must submit informa- tion in paragraphs (c)(4)(i) through (iii) of this section to the State as part of its consultation process.

- A description of the proposed change;

- The disinfection profile for Giardia lamblia (and, if necessary, vi- ruses) under paragraph (b) of this sec- tion and benchmark as required by paragraph (c)(2) of this section; and

- An analysis of how the proposed change will affect the current levels of disinfection.

[63 FR 69516, Dec. 16, 1998, as amended at 66

FR 3779, Jan. 16, 2001]

##### § 141.173   Filtration.

A public water system subject to the requirements of this subpart that does not meet all of the criteria in this  sub- part and subpart H of this part for avoiding filtration must provide treat- ment consisting of both disinfection, as specified in § 141.72(b), and filtration treatment which complies with the re- quirements of paragraph (a) or (b) of this section or § 141.73 (b) or (c) by De- cember 31, 2001.

- Conventional filtration treatment or direct filtration. (1) For systems using conventional filtration or direct filtra- tion, the turbidity level of representa- tive samples of a system’s filtered water must be less than or equal to 0.3 NTU in at least 95 percent of the meas- urements taken each month, measured as specified in § 141.74(a) and (c).

- The turbidity level of representa- tive  samples  of  a  system’s  filtered water must at no time exceed 1 NTU, measured as specified in § 141.74(a) and (c).

- A system that uses lime softening may acidify representative samples prior to analysis using a protocol ap- proved by the State.

- Filtration technologies other than conventional filtration treatment, direct filtration, slow sand filtration, or diato- maceous earth filtration. A public water system may use a filtration technology not listed in paragraph (a) of this sec- tion  or  in  § 141.73(b)  or  (c)  if  it  dem-

onstrates to the State, using  pilot plant studies or other means, that the alternative filtration technology, in combination with disinfection treat- ment that meets the requirements of

§ 141.72(b), consistently achieves 99.9 percent removal and/or inactivation of Giardia lamblia cysts and 99.99 percent removal and/or inactivation of viruses, and 99 percent removal of Cryptosporidium oocysts, and the State approves the use of the filtration tech- nology. For  each  approval,  the  State will set turbidity performance require- ments that the system must meet at least 95 percent of the time  and  that the system may not exceed at any time at   a   level   that   consistently   achieves

  - percent removal and/or inactiva- tion of Giardia lamblia cysts, 99.99 per- cent removal and/or inactivation of vi- ruses, and 99 percent removal of Cryptosporidium oocysts.

[63 FR 69516, Dec. 16, 1998, as amended at 65

FR 20313,  Apr. 14,  2000;  66  FR 3779,  Jan. 16,

2001]

##### § 141.174   Filtration  sampling  require- ments.

    - Monitoring requirements for sys- tems using filtration treatment. In ad- dition    to    monitoring    required    by

§ 141.74, a public water system subject to the requirements  of  this  subpart that provides conventional filtration treatment or direct filtration must conduct continuous monitoring of tur- bidity for each individual filter  using an approved method in § 141.74(a) and must calibrate turbidimeters using the procedure specified by the manufac- turer. Systems must record  the  results of individual filter monitoring every 15 minutes.

    - If there is a failure in the contin- uous turbidity monitoring equipment, the system must conduct grab sam- pling every four hours in lieu of contin- uous monitoring, but for no more than five working days following the failure of the equipment.

##### § 141.175   Reporting and recordkeeping requirements.

In addition to the reporting and rec- ordkeeping requirements in § 141.75, a public water system subject to the re- quirements of this subpart that pro- vides  conventional  filtration  treatment

#### § 141.175

or direct filtration must report month- ly to the State the information speci- fied in paragraphs (a) and (b) of this section beginning January 1, 2002. In addition to the reporting and record- keeping requirements in § 141.75, a pub- lic water system subject to the require- ments of this subpart that provides fil- tration approved under § 141.173(b) must report monthly to the State the infor- mation specified in paragraph (a) of this section beginning January 1, 2002. The reporting in paragraph (a) of this section is in lieu of the reporting speci- fied in § 141.75(b)(1).

      - Turbidity measurements as re- quired by § 141.173 must be reported within 10 days after the end of each month the system serves water to the public. Information that must be re- ported  includes:

- The total number of filtered water turbidity measurements taken  during the  month.

- The number and percentage of fil- tered water turbidity measurements taken during the month which are less than or equal to the turbidity limits specified in § 141.173(a) or (b).

- The date and value of any tur- bidity measurements taken during the month which exceed 1 NTU for systems using  conventional  filtration  treat- ment or direct filtration, or which ex- ceed the maximum  level  set  by  the State under § 141.173(b).

      - Systems must maintain the re- sults of individual filter monitoring taken under § 141.174 for at least three years. Systems must report that they have conducted individual filter tur- bidity monitoring under § 141.174 within 10 days after the end of each month the system serves water to the public. Sys- tems must report individual filter tur- bidity measurement results  taken under § 141.174 within 10 days after the end of each month the system serves water to the public only if measure- ments demonstrate one or more of the conditions in paragraphs (b)(1) through

- of this section. Systems  that  use lime softening may apply to the  State for alternative  exceedance  levels  for the levels specified in paragraphs (b)(1) through (4) of this section if they can demonstrate that higher turbidity lev- els in individual filters are due to lime

#### 40 CFR Ch. I (7–1–17 Edition)

carryover only and not due to degraded filter  performance.

- For any  individual  filter  that  has a measured turbidity level  of  greater than 1.0 NTU in two consecutive meas- urements taken 15 minutes apart, the system must report the filter number, the turbidity measurement, and the date(s) on which the exceedance oc- curred. In addition, the system must either produce a filter  profile  for  the filter within 7 days  of  the  exceedance (if the system is not able to identify an obvious reason for the abnormal filter performance) and report that the pro- file has been produced or report the ob- vious  reason  for  the  exceedance.

- For any  individual  filter  that  has a measured turbidity level  of  greater than 0.5 NTU in two consecutive meas- urements  taken  15  minutes  apart  at the end of the first four hours of con- tinuous filter operation after the filter has been backwashed  or  otherwise taken  offline,  the  system  must  report the  filter  number,  the  turbidity,  and the date(s) on which the exceedance oc- curred. In addition, the system must either produce a filter  profile  for  the filter within 7 days  of  the  exceedance (if the system is not able to identify an obvious reason for the abnormal filter performance) and report that the pro- file has been produced or report the ob- vious  reason  for  the  exceedance.

- For any  individual  filter  that  has a measured turbidity level of greater than 1.0 NTU in two consecutive meas- urements taken 15 minutes apart at any time in each of three consecutive months, the  system  must  report  the filter number, the turbidity measure- ment, and the date(s) on which the ex- ceedance occurred. In addition, the sys- tem must conduct a self-assessment of the filter within 14 days of the exceed- ance and report that the self-assess- ment was conducted. The self assess- ment must consist of at least the fol- lowing components: assessment of fil- ter performance; development of a fil- ter profile; identification and prioritization of factors limiting filter performance; assessment of the appli- cability of corrections; and preparation of a filter self-assessment report.

- For any individual filter that has a  measured  turbidity  level  of  greater

#### Environmental Protection Agency	§ 141.201

than 2.0 NTU in two consecutive meas- urements taken 15 minutes apart at any time in each of two consecutive months, the  system  must  report  the filter number, the turbidity measure- ment, and the date(s) on which the ex- ceedance occurred. In addition, the sys- tem must arrange for the conduct of a comprehensive performance evaluation by the State or a third party approved by the State no later than 30 days fol- lowing the exceedance and have the evaluation completed and submitted to the State no later than 90 days fol- lowing the exceedance.

      - Additional  reporting  requirements.

- If at any time the turbidity exceeds 1 NTU in representative samples of fil- tered water in a system using conven- tional filtration treatment or direct filtration, the system must inform the State as soon as possible, but no later than the end of the next business day.

- If at any time the turbidity in representative samples of  filtered water exceeds the maximum level  set by the State under § 141.173(b) for filtra- tion technologies  other  than conven- tional filtration treatment, direct fil- tration, slow sand filtration, or diato- maceous earth filtration, the system must inform  the State  as soon  as pos- sible, but no later than the end of the next business day.

[63 FR 69516, Dec. 16, 1998, as amended at 66

FR 3779, Jan. 16, 2001]

# Subpart Q—Public Notification of Drinking Water Violations

SOURCE:  65  FR  26035,  May  4,  2000,  unless

otherwise noted.

##### § 141.201   General   public   notification requirements.

Public water systems in States with primacy for the public water system supervision (PWSS) program must comply with the requirements in this subpart no later than May 6, 2002 or on the date the State-adopted rule be- comes effective, whichever comes first. Public water systems in jurisdictions where EPA directly implements the PWSS program must comply with the requirements in this subpart on Octo- ber 31, 2000. Prior to these dates, public water  systems  must  continue  to  com-

ply with the public notice require- ments in § 141.32 of this part. The term ‘‘primacy agency’’ is used in this sub- part to refer to either EPA or the State or the Tribe in cases where EPA, the State, or the Tribe exercises primary enforcement responsibility for this sub- part.

- Who must give public notice? Each owner or operator of a public water system (community water systems, non-transient non-community water systems, and transient non-community water systems) must give notice for all violations of national primary drink- ing water regulations (NPDWR) and for other situations, as listed in Table 1. The term ‘‘NPDWR violations’’ is used in this subpart to include violations of the maximum contaminant level (MCL), maximum residual disinfection level (MRDL), treatment technique (TT), monitoring requirements, and testing procedures in this part 141. Ap- pendix A to this subpart identifies the tier assignment for each specific viola- tion or situation requiring a public no- tice.

TABLE 1 TO § 141.201—VIOLATION CATEGORIES AND OTHER SITUATIONS REQUIRING A PUBLIC NOTICE

- NPDWR violations:

  - Failure to comply with an applicable maximum contaminant level (MCL) or maximum residual disinfectant level (MRDL).

  - Failure to comply with a prescribed treatment technique (TT).

  - Failure to perform water quality mon- itoring, as required by the drinking water regulations.

  - Failure to comply with testing proce- dures as prescribed by a drinking water regulation.

- Variance and exemptions under sections 1415 and 1416 of SDWA:

  - Operation under a variance or an ex- emption.

  - Failure to comply with the require- ments of any schedule that has been set under a variance or exemption.

- Special public notices:

  - Occurrence of a waterborne disease outbreak or other waterborne emer- gency.

§ 141.202

TABLE 1 TO § 141.201—VIOLATION CATEGORIES AND OTHER SITUATIONS REQUIRING A PUBLIC

NOTICE—Continued

  - Exceedance of the nitrate MCL by non-community water systems (NCWS), where granted permission by the primacy agency under 141.11(d) of this part.

  - Exceedance of the secondary max- imum contaminant level (SMCL) for fluoride.

  - Availability of unregulated contami- nant monitoring data.

  - Other violations and situations deter- mined by the primacy agency to re- quire a public notice under this sub- part, not already listed in Appendix A.

- What type of public notice is re- quired for each violation or situation? Public notice requirements are divided into three tiers, to take into  account the seriousness of the violation or situ- ation and of any potential adverse health effects  that  may  be  involved. The public notice requirements for each violation or situation listed in Table 1 of this section are determined by the tier to  which  it  is  assigned. Table 2 of this section provides the def- inition of each tier. Appendix A of this part identifies the tier assignment for each specific violation or situation.

TABLE 2 TO § 141.201—DEFINITION OF PUBLIC NOTICE TIERS

- Tier 1 public notice—required for NPDWR violations and situations with significant po- tential to have serious adverse effects on human health as a result of short-term ex- posure.

- Tier 2 public notice—required for all other NPDWR violations and situations with po- tential to have serious adverse effects on human health.

- Tier 3 public notice—required for all other NPDWR violations and situations not in- cluded in Tier 1 and Tier 2.

- Who must be notified? (1) Each pub- lic water system must provide public notice to persons served by the water system, in accordance with this sub- part. Public water systems that sell or otherwise provide drinking water to other public water systems (i.e., to con- secutive  systems)  are  required  to  give

#### 40 CFR Ch. I (7–1–17 Edition)

public notice to the owner or operator of the consecutive system; the consecu- tive system is responsible for providing public notice to the persons it serves.

- If a public water system has a vio- lation in a portion of the distribution system that is physically or hydrau- lically isolated from other parts of the distribution system, the primacy agen- cy may allow the system to limit dis- tribution of the public notice to only persons served by that portion of the system which is out of compliance. Permission by the primacy agency for limiting distribution of the notice must be granted in writing.

- A copy of the notice must also be sent to  the primacy  agency, in  accord- ance    with    the    requirements    under

§ 141.31(d).

§ 141.202   Tier  1  Public  Notice—Form, manner, and frequency of notice.

  - Which violations or situations re- quire a Tier 1 public notice? Table 1 of this section lists the violation cat- egories and  other  situations  requiring a Tier 1 public notice. Appendix A  to this subpart identifies the tier assign- ment for each specific violation or sit- uation.

TABLE 1 TO § 141.202—VIOLATION CATEGORIES AND OTHER SITUATIONS REQUIRING A TIER 1 PUBLIC NOTICE

- Violation of the MCL for total coliforms when fecal coliform or E. coli are present in the water distribution system (as speci- fied in § 141.63(b)), or when the water sys- tem fails to test for fecal coliforms or E. coli when any repeat sample tests positive for coliform (as specified in § 141.21(e)); Violation of the MCL for E. coli (as speci- fied in § 141.63(c));

- Violation of the MCL for nitrate, nitrite, or total   nitrate   and   nitrite,   as   defined   in

§ 141.62, or when the water system fails to take a confirmation sample within 24 hours of the system’s receipt of the first sample showing an exceedance of the nitrate or nitrite MCL, as specified in § 141.23(f)(2);

- Exceedance of the nitrate MCL by non- community water systems, where permitted to exceed the MCL by the primacy agency under   § 141.11(d),   as   required   under

§ 141.209;

#### Environmental Protection Agency	§ 141.203

TABLE 1 TO § 141.202—VIOLATION CATEGORIES AND OTHER SITUATIONS REQUIRING A TIER 1

PUBLIC NOTICE—Continued

- Violation of the MRDL for chlorine diox- ide, as defined in § 141.65(a), when one or more samples taken in the distribution sys- tem the day following an  exceedance  of the MRDL at the entrance of the distribu- tion system exceed the MRDL,  or  when the water system does not take the re- quired samples in the distribution system, as specified in § 141.133(c)(2)(i);

- Violation   of   the   turbidity   MCL   under

§ 141.13(b), where the primacy agency de- termines after consultation that a Tier 1 no- tice is required or where consultation does not take place within 24 hours after the system learns of the violation;

- Violation of the Surface Water Treatment Rule (SWTR), Interim Enhanced Surface Water Treatment Rule (IESWTR) or Long Term 1 Enhanced Surface Water Treat- ment Rule (LT1ESWTR) treatment tech- nique requirement resulting from a single exceedance of the maximum allowable tur- bidity limit (as identified in appendix A), where the primacy agency determines after consultation that a Tier 1 notice is required or where consultation does not take place within 24 hours after the system learns of the violation;

- Occurrence of a waterborne disease out- break, as defined in § 141.2, or other wa- terborne emergency (such as a failure or significant interruption in key water treat- ment processes, a natural disaster that dis- rupts the water supply or distribution sys- tem, or a chemical spill or unexpected loading of possible pathogens into the source water that significantly increases the potential for drinking water contamina- tion);

- Detection of E. coli, enterococci, or coliphage in source water samples  as specified in § 141.402(a) and § 141.402(b);

- Other violations or situations with signifi- cant potential to have serious adverse ef- fects on human health as a result of short- term exposure, as determined by the pri- macy agency either in its regulations or on a case-by-case basis.

after  the  system  learns  of  the  viola- tion;

- Initiate consultation with the pri- macy agency as soon as  practical,  but no later than 24 hours after the public water system learns of the violation or situation, to determine additional pub- lic notice requirements; and

- Comply with any additional public notification  requirements  (including any repeat notices or direction on the duration of the posted notices) that are established as a result of the consulta- tion with the primacy agency. Such re- quirements may include the timing, form, manner, frequency, and  content of repeat notices (if any) and other ac- tions designed to reach all persons served.

(c) What is the form and manner of the public notice? Public water systems must provide the notice within 24 hours in a form and manner reasonably calculated to reach all persons served. The form and manner used by the pub- lic water system are to fit the specific situation, but must be designed to reach residential, transient, and non- transient users of the water system. In order to reach all persons served, water systems are to use, at a minimum, one or more of the following forms of deliv- ery:

- Appropriate broadcast media (such as radio and television);

- Posting of the notice in con- spicuous locations throughout the area served by the water system;

- Hand delivery of the notice to per- sons served by the water system; or

- Another delivery method approved in writing by the primacy agency.

[65 FR 26035, May 4, 2000, as amended at 67

FR  1836,  Jan.  14,  2002;  71  FR  65652,  Nov.  8,

2006; 78 FR 10350, Feb. 13, 2013]

§ 141.203   Tier  2  Public  Notice—Form, manner, and frequency of notice.

- Which  violations  or  situations  re-

quire  a  Tier  2  public  notice?  Table  1  of

- When is the Tier 1 public notice to be provided? What additional steps are required? Public water systems must:

  - Provide a public notice as soon as practical  but  no  later  than  24  hours

this section lists the violation cat- egories and  other  situations  requiring a Tier 2 public notice. Appendix A  to this subpart identifies the tier assign- ment for each specific violation or sit- uation.

#### § 141.203

TABLE 1 TO § 141.203—VIOLATION CATEGORIES AND OTHER SITUATIONS REQUIRING A TIER 2 PUBLIC NOTICE

- All violations of the MCL, MRDL, and treatment technique requirements, except where  a  Tier  1  notice  is  required  under

§ 141.202(a) or where the primacy agency determines that a Tier 1 notice is required;

- Violations of the monitoring and testing procedure requirements, where the pri- macy agency determines that a Tier 2 rath- er than a Tier 3 public notice is required, taking into account potential health impacts and persistence of the violation; and

- Failure to comply with the terms and con- ditions of any variance or exemption in place.

- Failure to take corrective action or failure to maintain at least 4-log treatment of vi- ruses (using inactivation, removal, or a State-approved combination of 4-log virus inactivation and removal) before or at the first customer under § 141.403(a).

- When is the Tier 2 public notice to be provided? (1) Public water systems must provide the public notice as soon as practical,  but  no later than 30  days after the system learns of the viola- tion. If the public notice is posted, the notice must remain in place for as long as the violation or situation persists, but in no case for less than seven days, even if the violation or situation is re- solved. The primacy agency may, in ap- propriate circumstances, allow addi- tional time for the  initial  notice  of  up to three months from the date the sys- tem learns of the violation. It is not appropriate for the primacy agency to grant an extension to the 30-day dead- line for any unresolved violation or to allow across-the-board extensions by rule or policy for other violations or situations requiring a Tier 2 public no- tice. Extensions granted by the  pri- macy agency must be in writing.

  - The public water system must re- peat the notice every three months as long as the violation or situation per- sists, unless the primacy agency deter- mines that appropriate circumstances warrant a different repeat notice fre- quency. In no circumstance may the repeat notice be given less frequently than once per year. It is not appro- priate for the primacy agency to allow less frequent repeat notice for an MCL

#### 40 CFR Ch. I (7–1–17 Edition)

or treatment technique violation under the Total Coliform Rule  or  subpart  Y of this part or a treatment technique violation under the Surface Water Treatment Rule or Interim Enhanced Surface Water Treatment Rule. It is also not appropriate for the primacy agency to allow through its rules or policies across-the-board reductions in the repeat notice frequency for other ongoing violations requiring a Tier 2 repeat notice. Primacy agency deter- minations allowing repeat notices to be given less frequently than once every three months must be in writing.

  - For the turbidity violations speci- fied in this paragraph, public water systems must consult with the primacy agency as soon  as  practical  but  no later than 24 hours after the public water system learns of the violation, to determine whether a Tier 1 public no- tice under § 141.202(a) is required to pro- tect public health. When consultation does not take place within the 24-hour period, the water system must dis- tribute a Tier 1 notice of the violation within the next 24 hours (i.e., no later than 48 hours after the system learns of the violation), following the require- ments under § 141.202(b) and (c). Con- sultation with the primacy agency is required for:

    - Violation of the turbidity  MCL under § 141.13(b); or

    - Violation of the SWTR,  IESWTR or LT1ESWTR treatment technique re- quirement resulting from a single ex- ceedance of the maximum allowable turbidity  limit.

- What is the form and manner of the Tier 2 public notice? Public water sys- tems must provide the initial public notice and any repeat notices in a form and manner that is reasonably cal- culated to reach persons served in the required time period. The form and manner of the public notice may vary based on the specific situation and type of water system, but it must at a min- imum meet the following require- ments:

  - Unless directed otherwise by the primacy agency in writing, community water systems must provide notice by:

    - Mail or other direct delivery to each customer receiving a bill and to other   service   connections   to   which

#### Environmental Protection Agency	§ 141.204

water is delivered by the public water system; and

    - Any other method reasonably cal- culated to reach other persons regu- larly served by the system, if they would not normally be reached by the notice required in paragraph (c)(1)(i) of this section. Such persons may include those who do not pay water bills or do not have service connection addresses (e.g., house renters, apartment dwell- ers, university students, nursing home patients, prison inmates, etc.). Other methods may include: Publication in a local newspaper; delivery of multiple copies for distribution by customers that provide their drinking water to others (e.g., apartment building owners or large private employers); posting in public places served by the system or on the Internet; or delivery to commu- nity organizations.

  - Unless directed otherwise by the primacy agency in writing, non-com- munity water systems must provide notice by:

    - Posting the notice in conspicuous locations throughout the distribution system frequented by persons served by the system, or by mail or direct deliv- ery to each customer and service con- nection (where known); and

    - Any other method reasonably cal- culated to reach other persons served by the system if they would not nor- mally be reached by the notice re- quired in paragraph (c)(2)(i) of this sec- tion. Such persons may include those served who may not see a posted notice because the posted notice is not in a lo- cation they routinely pass by. Other methods may include: Publication in a local newspaper or newsletter distrib- uted to customers; use of E-mail to no- tify employees or students; or, delivery of multiple copies in central locations (e.g., community centers).

[65 FR 26035, May 4, 2000, as amended at 67

FR  1836,  Jan.  14,  2002;  71  FR  65652,  Nov.  8,

2006; 78 FR 10350, Feb. 13, 2013]

§ 141.204   Tier  3  Public  Notice—Form, manner, and frequency of notice.

- Which violations or situations re- quire a Tier 3 public notice? Table 1 of this section lists the violation cat- egories and  other  situations  requiring a Tier 3 public notice. Appendix A  to this  subpart  identifies  the  tier  assign-

ment for each specific violation or sit- uation.

TABLE 1 TO § 141.204—VIOLATION CATEGORIES AND OTHER SITUATIONS REQUIRING A TIER 3 PUBLIC NOTICE

- Monitoring violations under 40 CFR part 141, except where a Tier 1 notice is re- quired under § 141.202(a) or where the pri- macy agency determines that a Tier 2 no- tice is required;

- Failure to comply with a testing procedure established in 40 CFR part 141, except where  a  Tier  1  notice  is  required  under

§ 141.202(a)) or where the primacy agency determines that a Tier 2 notice is required;

- Operation under a variance granted under Section 1415 or an exemption granted under Section 1416 of the Safe Drinking Water Act;

- Availability of unregulated contaminant monitoring   results,   as   required   under

§ 141.207;

- Exceedance of the fluoride secondary maximum contaminant level (SMCL), as required under § 141.208; and

- Reporting and Recordkeeping violations under subpart Y of 40 CFR part 141.

- When is the Tier 3 public notice to be provided? (1) Public water systems must provide the public notice not later than one year after the public water system learns of the violation or situation or begins operating under a variance or exemption. Following  the initial notice, the public water system must repeat the notice annually for as long as the violation, variance, exemp- tion, or other situation persists. If the public notice is posted, the notice must remain in place for as long as the viola- tion, variance, exemption, or other sit- uation persists, but in no case less than seven days (even if the violation or sit- uation is resolved).

(2) Instead of individual Tier 3 public notices, a public water  system  may  use an annual report detailing all  viola- tions and situations that occurred dur- ing  the  previous   twelve   months,   as long as the timing requirements of paragraph (b)(1) of this section are met.

- What is the form and manner of the Tier 3 public notice? Public water sys- tems must  provide  the  initial  notice and any repeat notices in a form and manner  that  is  reasonably  calculated

#### § 141.205

to reach persons served in the required time period. The form and manner of the public notice may vary based  on the specific situation and type of water system, but it must  at  a  minimum meet the following requirements:

  - Unless directed otherwise by the primacy agency in writing, community water systems must provide notice by:

    - Mail or other direct delivery to each customer receiving a bill and to other service connections to which water is delivered by the public water system; and

    - Any other method reasonably cal- culated to reach other persons regu- larly served by the system, if they would not normally be reached by the notice required in paragraph (c)(1)(i) of this section. Such persons may include those who do not pay water bills or do not have service connection addresses (e.g., house renters, apartment dwell- ers, university students, nursing home patients, prison inmates, etc.). Other methods may include: Publication in a local newspaper; delivery of multiple copies for distribution by customers that provide their drinking water to others (e.g., apartment building owners or large private employers); posting in public places or on the Internet; or de- livery to community organizations.

  - Unless directed otherwise by the primacy agency in writing, non-com- munity water systems must provide notice by:

    - Posting the notice in conspicuous locations throughout the distribution system frequented by persons served by the system, or by mail or direct deliv- ery to each customer and service con- nection (where known); and

    - Any other method reasonably cal- culated to reach other persons  served by the system, if they would not nor- mally be reached by the notice re- quired in paragraph (c)(2)(i) of this sec- tion. Such persons may include those who may not see a posted notice be- cause the notice is not in a location they routinely pass by. Other methods may include: Publication in a local newspaper or newsletter distributed to customers; use of E-mail to notify em- ployees or students; or, delivery of multiple copies in central locations (e.g.,  community  centers).

#### 40 CFR Ch. I (7–1–17 Edition)

- In what situations may the Con- sumer Confidence Report be used to meet the Tier 3 public notice requirements? For community water systems, the Con- sumer Confidence Report (CCR) re- quired under Subpart O of this part may be used as a vehicle for the initial Tier 3 public notice and all required re- peat notices, as long as:

  - The CCR is provided to persons served no later than 12 months  after the system learns of the violation or situation as required under § 141.204(b);

  - The Tier 3 notice contained in the CCR follows the content requirements under § 141.205; and

  - The CCR is distributed following the      delivery      requirements      under

§ 141.204(c).

[65 FR 26035, May 4, 2000; 65 FR 38629, June 21,

2000, as amended at 78 FR 10350, Feb. 13, 2013]

##### § 141.205   Content of the public notice.

- What elements must be included in the public notice for violations of National Primary Drinking Water Regulations (NPDWR) or other situations requiring a public notice? When a public water sys- tem violates a NPDWR or has a situa- tion requiring public notification, each public notice must include the fol- lowing elements:

  - A description of the violation or situation, including the contaminant(s) of concern, and (as applicable) the con- taminant  level(s);

  - When the violation or situation occurred;

  - Any potential adverse health ef- fects from the violation or situation, including the standard language under paragraph (d)(1) or (d)(2) of this sec- tion, whichever is applicable;

  - The population at risk, including subpopulations particularly vulnerable if exposed to the contaminant in their drinking water;

  - Whether alternative water sup- plies should be used;

  - What actions consumers should take, including when they should seek medical help, if known;

  - What the system is doing to cor- rect the violation or situation;

  - When the water system expects to return to compliance or resolve the sit- uation;

  - The name, business address, and phone   number   of   the   water   system

#### Environmental Protection Agency	§ 141.205

owner, operator, or designee of the pub- lic water system as a source of addi- tional information concerning the no- tice; and

  - A statement to encourage the no- tice recipient to distribute the public notice to other persons served, using the standard language under paragraph (d)(3) of this section, where applicable.

- What elements must be included in the public notice for public water systems operating under a variance or exemption?

- If a public water system has been granted a variance or an exemption, the public notice must contain:

  - An explanation of the reasons for the variance or exemption;

  - The date on which the variance or exemption was issued;

  - A brief status report on the steps the system is taking to install treat- ment, find alternative sources of water, or otherwise comply with the terms and schedules of the variance or ex- emption; and

  - A notice of any opportunity for public input in the review of the vari- ance or exemption.

- If a public water system violates the conditions of a variance or exemp- tion, the public notice must contain the ten elements listed in paragraph (a) of this section.

- How is the public notice to be pre- sented? (1) Each public notice required by this section:

- Must be displayed in a con- spicuous way when printed or posted;

- Must not contain overly technical language or very small print;

- Must not be formatted in a way that defeats the purpose of the notice;

- Must not contain language which nullifies the purpose of the notice.

- Each public notice required by this section must comply with multi- lingual requirements, as follows:

  - For public water systems serving a large proportion of non-English speaking consumers, as determined by the primacy agency, the public notice must contain information in the appro- priate language(s) regarding the impor- tance of the notice or contain a tele- phone number or address where persons served may contact the water system to obtain a translated copy of the no- tice or to request assistance in the ap- propriate language.

  - In cases where the primacy agen- cy has not determined what con- stitutes a large proportion of non- English speaking consumers, the public water system must include in the pub- lic notice  the  same information  as  in paragraph (c)(2)(i) of this section, where appropriate to reach a large pro- portion of non-English speaking per- sons served by the water system.

- What standard language must pub- lic water systems include in  their public notice? Public water systems are re- quired to include the following stand- ard language in their public notice:

  - Standard health effects language for MCL or MRDL violations, treat- ment technique violations, and viola- tions of the condition of a variance or exemption. Public water systems must include in each public notice the health effects language specified in ap- pendix B to this subpart corresponding to each MCL, MRDL, and treatment technique violation listed in appendix A to this subpart, and for each viola- tion of a condition of a variance or ex- emption.

  - Standard language for monitoring and testing procedure violations. Pub- lic water systems must include the fol- lowing language in their notice, includ- ing the language necessary to fill in the blanks, for all monitoring and test- ing procedure violations listed in ap- pendix A to this subpart:

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not your drinking water meets health standards. During [com- pliance period], we ‘‘did not monitor or test’’ or ‘‘did not  complete all  monitoring or  test- ing’’ for [contaminant(s)], and therefore can- not be sure of the quality of your drinking water during that time.

  - Standard language to encourage the distribution of the public notice to all persons served. Public water sys- tems must include in their notice the following language (where applicable):

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

#### § 141.206

##### § 141.206 Notice to new billing units or new customers.

    - What is the requirement for commu- nity water systems? Community water systems must give a copy of the most recent public notice for any continuing violation, the existence of  a  variance or exemption, or other ongoing situa- tions requiring a public notice to all new billing units or new customers prior to or at the time service begins.

    - What is the requirement for non- community water systems? Non-commu- nity water systems must continuously post the public notice in conspicuous locations in order to inform new con- sumers of any continuing violation, variance or exemption, or other situa- tion requiring a public notice for as long as the violation, variance, exemp- tion, or other situation persists.

##### § 141.207 Special notice of the avail- ability of unregulated contaminant monitoring results.

- When is the special notice to be given? The owner or operator of a com- munity water system or non-transient, non-community water system required to monitor under § 141.40 must notify persons served by the system of the availability of the results of such sam- pling no later than 12 months after the monitoring results are known.

- What is the form and manner of the special notice? The form and manner of the public notice must follow the re- quirements for a Tier 3 public notice prescribed in §§ 141.204(c), (d)(1), and (d)(3). The notice must also identify a person and provide the telephone num- ber to contact for information on the monitoring  results.

##### § 141.208 Special notice for exceedance of the SMCL for fluoride.

- When is the special notice to be given? Community water systems that exceed the fluoride secondary  max- imum contaminant level (SMCL) of  2 mg/l as specified in § 143.3 (determined by the last single sample taken in ac- cordance with § 141.23), but do not ex- ceed the maximum contaminant level (MCL) of 4 mg/l for fluoride (as speci- fied in § 141.62), must provide the public notice in paragraph (c)  of  this  section to  persons  served.  Public  notice   must be  provided  as  soon  as  practical  but  no

#### 40 CFR Ch. I (7–1–17 Edition)

later than 12 months from the day the water system learns of the exceedance. A copy of the notice must also be sent to all new billing units and new cus- tomers at the time  service  begins  and to the State public health officer. The public water system must repeat the notice at least annually for as  long  as the SMCL is exceeded. If the public no- tice is posted, the  notice  must  remain in place for as long as the SMCL is ex- ceeded, but in no case less than seven days (even if the exceedance is elimi- nated). On a case-by-case basis, the pri- macy agency may require an initial no- tice sooner than 12 months and repeat notices  more  frequently  than  annually.

- What is the form and manner of the special notice? The form and manner of the public notice (including repeat no- tices) must follow the requirements for a Tier 3 public notice in § 141.204(c) and (d)(1) and (d)(3).

- What mandatory language must be contained in the special notice? The no- tice must contain the following lan- guage, including the language nec- essary to fill in the blanks:

This is an alert about your drinking water and a cosmetic dental problem that might affect children under nine years of age.  At low levels, fluoride can help prevent cavities, but children drinking water containing more than 2 milligrams per liter (mg/l) of fluoride may develop cosmetic discoloration of their permanent teeth (dental fluorosis). The drinking water provided by your community water system [name] has a fluoride con- centration of [insert value] mg/l.

Dental fluorosis, in its moderate or severe forms, may result in a brown staining and/or pitting of the permanent teeth. This problem occurs only in developing teeth, before they erupt from the gums. Children under nine should be provided with alternative sources of drinking water or water that has been treated to remove the fluoride to avoid the possibility of staining and pitting of their permanent teeth. You may also want to con- tact your dentist about proper use by young children of fluoride-containing products. Older children and adults may safely drink the water.

Drinking water containing more than 4 mg/L of fluoride (the U.S. Environmental Protection Agency’s drinking water  stand- ard) can increase your risk of developing bone disease. Your drinking water does not contain more than 4 mg/l of fluoride, but we’re required to notify you when we dis- cover that the fluoride levels in  your  drink- ing water exceed 2 mg/l because of this cos- metic dental problem.

#### Environmental Protection Agency	§ 141.211

For more information, please call [name of water system contact] of [name of commu- nity water system] at [phone number]. Some home water treatment units are also avail- able to remove fluoride from drinking water. To learn more about available home water treatment units, you may call NSF Inter- national at 1–877–8–NSF–HELP.’’

##### § 141.209 Special notice for nitrate exceedances above MCL by non- community water systems  (NCWS), where granted permission by the primacy agency under § 141.11(d).

  - When is the special notice to be given? The owner or operator of a non- community water system granted per- mission  by  the  primacy  agency  under

§ 141.11(d) to exceed the nitrate MCL must provide notice to persons served according to the  requirements  for  a Tier 1 notice under § 141.202(a) and (b).

  - What is the form and manner of the special notice? Non-community water systems granted permission by the pri- macy  agency  to  exceed   the   nitrate MCL under § 141.11(d) must provide con- tinuous posting of the fact that nitrate levels exceed 10 mg/l and the potential health effects of exposure, according to the requirements for Tier 1 notice de- livery under § 141.202(c) and the content requirements under § 141.205.

##### § 141.210 Notice by primacy agency on behalf of the public water system.

- May the primacy agency give the notice on behalf of the public water sys- tem? The primacy agency may give the notice required by this subpart on be- half of the owner and operator of the public water system if the primacy agency complies with the requirements of this subpart.

- What is the responsibility of the public water system when notice is given by the primacy agency? The owner or op- erator of the public water system re- mains responsible for ensuring that the requirements of this subpart are met.

##### § 141.211 Special notice for repeated failure to conduct monitoring of the source water for Cryptosporidium and for failure to determine bin classification	or	mean Cryptosporidium level.

- When is the special notice for re- peated failure to monitor to be given? The owner or operator of a community or non-community  water   system   that  is

required to monitor source water under

§ 141.701 must notify persons served by the water system that monitoring has not been completed as  specified  no later than 30 days after the system has failed to collect any 3 months of moni- toring as specified in § 141.701(c). The notice  must  be  repeated  as  specified  in

§ 141.203(b).

- When is the special notice for failure to determine bin classification or mean Cryptosporidium level to be given? The owner or operator of a community or non-community water system that is required to determine a bin classifica- tion under § 141.710, or to determine mean      Cryptosporidium     level      under

§ 141.712, must notify persons served by the water system that the determina- tion has not been made as required no later than 30 days after the system has failed report the determination as specified in § 141.710(e) or § 141.712(a), re- spectively. The notice must be re- peated as specified in § 141.203(b). The notice is not required if the system is complying with a State-approved schedule to address the violation.

- What is the form and manner of the special notice? The form and manner of the public notice must follow the re- quirements for a Tier 2 public notice prescribed in § 141.203(c). The public no- tice  must  be  presented  as  required  in

§ 141.205(c).

- What mandatory language must be contained in the special notice? The no- tice must contain the following lan- guage, including the language nec- essary to fill in the blanks.

  - The special notice for repeated failure to conduct monitoring must contain the following language:

We are required to monitor the source of your drinking water for Cryptosporidium. Re- sults of the monitoring are to be used to de- termine whether water treatment at the (treatment plant name) is sufficient to ade- quately remove Cryptosporidium from your drinking water. We are required to complete this monitoring and make this determina- tion by (required bin determination date). We ‘‘did not monitor or test’’ or ‘‘did not complete all monitoring or testing’’ on schedule and, therefore, we may not be able to determine by the required date what treatment modifications, if any, must be made to ensure adequate Cryptosporidium re- moval. Missing this deadline may, in turn, jeopardize  our  ability  to  have  the  required

#### § 141.211

treatment  modifications,  if  any,  completed by the deadline required, (date).

For more information, please call (name of water system contact) of (name of water sys- tem) at (phone number).

  - The special notice for failure to determine bin classification or mean Cryptosporidium level must contain the following  language:

We are required to monitor the source of your drinking water for Cryptosporidium in order to determine by (date) whether water treatment at the (treatment plant name) is sufficient	to	adequately	remove Cryptosporidium  from   your   drinking   water.

#### 40 CFR Ch. I (7–1–17 Edition)

We have not made this determination by the required date. Our failure to do this may jeopardize our ability to have the required treatment modifications, if any, completed by the required deadline of (date). For more information, please call (name of water sys- tem contact) of (name of water system) at (phone number).

  - Each special notice must also in- clude a description of what the system is doing to correct the violation and when the system expects to return to compliance or resolve the situation.

[71 FR 768, Jan. 5, 2006]

Pt. 141, Subpt. Q, App. A

591

Environmental Protection Agency

APPENDIX A TO SUBPART Q OF PART 141—NPDWR VIOLATIONS AND OTHER SITUATIONS REQUIRING PUBLIC NOTICE 1

| Contaminant | MCL/MRDL/TT violations 2 | Monitoring & testing procedure viola- tions |
| --- | --- | --- |
|  | Tier of public no- tice required | Citation |  |
|  |  |  | Tier of public no- tice required | Citation |
| I. Violations of National Primary Drinking Water Regulations (NPDWR): 3. | 2 | 141.63(a) | 3 | 141.21(a)–(e). |
| A. Microbiological Contaminants. |  |  |  |  |
| 1.a Total coliform bacteria † ............................................................................................................. |  |  |  |  |
| 1.b Total coliform (TT violations resulting from failure to perform assessments or corrective ac- |  |  |  |  |
| tions, monitoring violations, and reporting violations) ‡ ............................................................... | 2 | 141.860(b)(1) | 3 | 141.860(c)(1). |
|  |  |  |  | 141.860(d)(1). |
| 1.c Seasonal system failure to follow State-approved start-up plan prior to serving water to the |  |  |  |  |
| public or failure to provide certification to State ‡ ........................................................................ | 2 | 141.860(b)(2) | 3 | 141.860(d)(3). |
| 2.a Fecal coliform/E. coli † ............................................................................................................... | 1 | 141.63(b) | 4 1,3 | 141.21(e) |
| 2.b E. coli (MCL, monitoring, and reporting violations) ‡ ................................................................. | 1 | 141.860 (a) | 3 | 141.860(c)(2) |
|  |  |  |  | 141.860(d)(1). |
|  |  |  |  | 141.860(d)(2). |
| 2.c E. coli (TT violations resulting from failure to perform level 2 Assessments or corrective ac- |  |  |  |  |
| tion) ‡ ............................................................................................................................................ | 2 | 141.860(b)(1) |  |  |
| 3. Turbidity MCL .............................................................................................................................. | 2 | 141.13(a) | 3 | 141.22 |
| 4. Turbidity MCL (average of 2 days’ samples >5 NTU) ................................................................ | 5 2, 1 | 141.13(b) | 3 | 141.22 |
| 5. Turbidity (for TT violations resulting from a single exceedance of maximum allowable turbidity |  |  |  |  |
| level) ............................................................................................................................................. | 6 2, 1 | 141.71(a)(2), | 3 | 141.74(a)(1), |
|  |  | 141.71(c)(2)(i), |  | 141.74(b)(2), |
|  |  | 141.73(a)(2), |  | 141.74(c)(1), |
|  |  | 141.73 (b)(2), |  | 141.174, |
|  |  | 141.73 (c)(2), |  | 141.560(a)–(c), |
|  |  | 141.73(d), |  | 141.561. |
|  |  | 141.173(a)(2), |  |  |
|  |  | 141.173(b), |  |  |
|  |  | 141.551(b) |  |  |
| 6. Surface Water Treatment Rule violations, other than violations resulting from single exceed- |  |  |  |  |
| ance of max. allowable turbidity level (TT) .................................................................................. | 2 | 141.70–141.73 | 3 | 141.74 |
| 7. Interim Enhanced Surface Water Treatment Rule violations, other than violations resulting |  |  |  |  |
| from single exceedance of max. turbidity level (TT) .................................................................... | 7 2 | 141.170–141.173, | 3 | 141.172, 141.174, |
|  |  | 141.500–141.553 |  | 141.530–141.544, |
|  |  |  |  | 141.560–141.564. |
| 8. Filter Backwash Recycling Rule violations .................................................................................. | 2 | 141.76(c) | 3 | 141.76(b), (d) |
| 9. Long Term 1 Enhanced Surface Water Treatment Rule violations ............................................ | 2 | 141.500–141.553 | 3 | 141.530–141.544, |
|  |  |  |  | 141.560–141.564. |
| 10. LT2ESWTR violations ................................................................................................................ | 2 | 141.710–141.720 | 22 2, 3 | 141.701–141.705 |
|  |  |  |  | and 141.708– |
|  |  |  |  | 141.709. |
| 11. Ground Water Rule violations ................................................................................................... | 2 | 141.404 | 3 | 141.402(h), |
|  |  |  |  | 141.403(d). |
| B. Inorganic Chemicals (IOCs) |  |  |  |  |
| 1. Antimony ...................................................................................................................................... | 2 | 141.62(b) | 3 | 141.23(a), (c) |

Pt. 141, Subpt. Q, App. A

40 CFR Ch. I (7–1–17 Edition)

592

| Contaminant | MCL/MRDL/TT violations 2 | Monitoring & testing procedure viola- tions |
| --- | --- | --- |
|  | Tier of public no- tice required | Citation |  |
|  |  |  | Tier of public no- tice required | Citation |
| 2. Arsenic ......................................................................................................................................... | 2 | 8 141.62(b) | 3 | 11 141.23(a), (c) |
| 3. Asbestos (fibers >10 m) ............................................................................................................ | 2 | 141.62(b) | 3 | 141.23(a)–(b) |
| 4. Barium .......................................................................................................................................... | 2 | 141.62(b) | 3 | 141.23(a), (c) |
| 5. Beryllium ...................................................................................................................................... | 2 | 141.62(b) | 3 | 141.23(a), (c) |
| 6. Cadmium ...................................................................................................................................... | 2 | 141.62(b) | 3 | 141.23(a), (c) |
| 7. Chromium (total) .......................................................................................................................... | 2 | 141.62(b) | 3 | 141.23(a), (c) |
| 8. Cyanide ........................................................................................................................................ | 2 | 141.62(b) | 3 | 141.23(a), (c) |
| 9. Fluoride ........................................................................................................................................ | 2 | 141.62(b) | 3 | 141.23(a), (c) |
| 10. Mercury (inorganic) .................................................................................................................... | 2 | 141.62(b) | 3 | 141.23(a), (c) |
| 11. Nitrate ........................................................................................................................................ | 1 | 141.62(b) | 12 1, 3 | 141.23(a), (d), |
|  |  |  |  | 141.23(f)(2) |
| 12. Nitrite .......................................................................................................................................... | 1 | 141.62(b) | 12 1, 3 | 141.23(a), (e), |
|  |  |  |  | 141.23(f)(2) |
| 13. Total Nitrate and Nitrite ............................................................................................................. | 1 | 141.62(b) | 3 | 141.23(a) |
| 14. Selenium .................................................................................................................................... | 2 | 141.62(b) | 3 | 141.23(a), (c) |
| 15. Thallium ..................................................................................................................................... | 2 | 141.62(b) | 3 | 141.23(a), (c) |
| C. Lead and Copper Rule (Action Level for lead is 0.015 mg/L, for copper is 1.3 mg/L) |  |  |  |  |
| 1. Lead and Copper Rule (TT) ........................................................................................................ | 2 | 141.80–141.85 | 3 | 141.86–141.89 |
| D. Synthetic Organic Chemicals (SOCs) |  |  |  |  |
| 1. 2,4–D ........................................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 2. 2,4,5–TP (Silvex) ......................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 3. Alachlor ........................................................................................................................................ | 2 | 141.61(c) | 3 | 141.24(h) |
| 4. Atrazine ........................................................................................................................................ | 2 | 141.61(c) | 3 | 141.24(h) |
| 5. Benzo(a)pyrene (PAHs) ............................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 6. Carbofuran ................................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 7. Chlordane .................................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 8. Dalapon ........................................................................................................................................ | 2 | 141.61(c) | 3 | 141.24(h) |
| 9. Di (2-ethylhexyl) adipate .............................................................................................................. | 2 | 141.61(c) | 3 | 141.24(h) |
| 10. Di (2-ethylhexyl) phthalate ......................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 11. Dibromochloropropane .............................................................................................................. | 2 | 141.61(c) | 3 | 141.24(h) |
| 12. Dinoseb ...................................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 13. Dioxin (2,3,7,8-TCDD) ............................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 14. Diquat ......................................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 15. Endothall .................................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 16. Endrin ......................................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 17. Ethylene dibromide .................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 18. Glyphosate ................................................................................................................................. | 2 | 141.61(c) | 3 | 141.24(h) |
| 19. Heptachlor .................................................................................................................................. | 2 | 141.61(c) | 3 | 141.24(h) |
| 20. Heptachlor epoxide .................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 21. Hexachlorobenzene ................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 22. Hexachlorocyclo-pentadiene ...................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 23. Lindane ...................................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 24. Methoxychlor .............................................................................................................................. | 2 | 141.61(c) | 3 | 141.24(h) |
| 25. Oxamyl (Vydate) ........................................................................................................................ | 2 | 141.61(c) | 3 | 141.24(h) |
| 26. Pentachlorophenol ..................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |

593

- Environmental Protection Agency

| 27. Picloram ..................................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| --- | --- | --- | --- | --- |
| 28. Polychlorinated biphenyls (PCBs) ............................................................................................. | 2 | 141.61(c) | 3 | 141.24(h) |
| 29. Simazine .................................................................................................................................... | 2 | 141.61(c) | 3 | 141.24(h) |
| 30. Toxaphene ................................................................................................................................. | 2 | 141.61(c) | 3 | 141.24(h) |
| 1. Benzene ....................................................................................................................................... | 2 | 141.61(a) | 3 | 141.24(f) |
| 2. Carbon tetrachloride .................................................................................................................... | 2 | 141.61(a) | 3 | 141.24(f) |
| 3. Chlorobenzene (monochlorobenzene) ........................................................................................ | 2 | 141.61(a) | 3 | 141.24(f) |
| 4. o-Dichlorobenzene ....................................................................................................................... | 2 | 141.61(a) | 3 | 141.24(f) |
| 5. p-Dichlorobenzene ....................................................................................................................... | 2 | 141.61(a) | 3 | 141.24(f) |
| 6. 1,2-Dichloroethane ....................................................................................................................... | 2 | 141.61(a) | 3 | 141.24(f) |
| 7. 1,1-Dichloroethylene .................................................................................................................... | 2 | 141.61(a) | 3 | 141.24(f) |
| 8. cis-1,2-Dichloroethylene .............................................................................................................. | 2 | 141.61(a) | 3 | 141.24(f) |
| 9. trans-1,2-Dichloroethylene ........................................................................................................... | 2 | 141.61(a) | 3 | 141.24(f) |
| 10. Dichloromethane ........................................................................................................................ | 2 | 141.61(a) | 3 | 141.24(f) |
| 11. 1,2-Dichloropropane .................................................................................................................. | 2 | 141.61(a) | 3 | 141.24(f) |
| 12. Ethylbenzene ............................................................................................................................. | 2 | 141.61(a) | 3 | 141.24(f) |
| 13. Styrene ....................................................................................................................................... | 2 | 141.61(a) | 3 | 141.24(f) |
| 14. Tetrachloroethylene ................................................................................................................... | 2 | 141.61(a) | 3 | 141.24(f) |
| 15. Toluene ...................................................................................................................................... | 2 | 141.61(a) | 3 | 141.24(f) |
| 16. 1,2,4-Trichlorobenzene .............................................................................................................. | 2 | 141.61(a) | 3 | 141.24(f) |
| 17. 1,1,1-Trichloroethane ................................................................................................................. | 2 | 141.61(a) | 3 | 141.24(f) |
| 18. 1,1,2-Trichloroethane ................................................................................................................. | 2 | 141.61(a) | 3 | 141.24(f) |
| 19. Trichloroethylene ....................................................................................................................... | 2 | 141.61(a) | 3 | 141.24(f) |
| 20. Vinyl chloride ............................................................................................................................. | 2 | 141.61(a) | 3 | 141.24(f) |
| 21. Xylenes (total) ............................................................................................................................ | 2 | 141.61(a) | 3 | 141.24(f) |

Volatile Organic Chemicals (VOCs)

- Radioactive Contaminants

1. Beta/photon emitters ....................................................................................................................	2	141.66(d)	3	141.25(a)

141.26(b)

2. Alpha emitters ..............................................................................................................................	2	141.66(c)	3	141.25(a)

141.26(a)

3. Combined radium (226 and 228)  ................................................................................................	2	141.66(b)	3	141.25(a)

141.26(a)

4. Uranium  .......................................................................................................................................	9 2	141.66(e)	10 3	141.25(a)

Pt. 141, Subpt. Q, App. A

141.26(a)

- Disinfection Byproducts (DBPs), Byproduct Precursors, Disinfectant Residuals. Where disinfection is used in the treatment of drinking water, disinfectants combine with organic and inorganic matter present in water to form chemicals called disinfection byproducts (DBPs). EPA sets standards for con- trolling the levels of disinfectants and DBPs in drinking water, including trihalomethanes (THMs) and haloacetic acids (HAAs). 13

| 1. Total trihalomethanes (TTHMs) ................................................................................................... | 2 | 14 141.64(b) | 3 | 141.132(a)–(b), |
| --- | --- | --- | --- | --- |
|  |  |  |  | 141.600–141.605, |
|  |  |  |  | 141.620–141.629 |
| 2. Haloacetic Acids (HAA5) ............................................................................................................. | 2 | 141.64(b) | 3 | 141.132(a)–(b), |
|  |  |  |  | 141.600–141.605, |
|  |  |  |  | 141.620–141.629 |
| 3. Bromate ....................................................................................................................................... | 2 | 141.64(a) | 3 | 141.132(a)–(b) |
| 4. Chlorite ......................................................................................................................................... | 2 | 141.64(a) | 3 | 141.132(a)–(b) |
| 5. Chlorine (MRDL) .......................................................................................................................... | 2 | 141.65(a) | 3 | 141.132(a), (c) |
| 6. Chloramine (MRDL) ..................................................................................................................... | 2 | 141.65(a) | 3 | 141.132(a), (c) |

Pt. 141, Subpt. Q, App. A

40 CFR Ch. I (7–1–17 Edition)

594

| Contaminant | MCL/MRDL/TT violations 2 | Monitoring & testing procedure viola- tions |
| --- | --- | --- |
|  | Tier of public no- tice required | Citation |  |
|  |  |  | Tier of public no- tice required | Citation |
| 7. Chlorine dioxide (MRDL), where any 2 consecutive daily samples at entrance to distribution | 2 | 141.65(a), | 2 15, 3 | 141.132(a), (c), |
| system only are above MRDL ...................................................................................................... |  |  |  |  |
|  |  | 141.133(c)(3) |  | 141.133(c)(2) |
| 8. Chlorine dioxide (MRDL), where sample(s) in distribution system the next day are also above |  |  |  |  |
| MRDL ........................................................................................................................................... | 16 1 | 141.65(a), | 1 | 141.132(a), (c), |
|  |  | 141.133(c)(3) |  | 141.133(c)(2) |
| 9. Control of DBP precursors—TOC (TT) ....................................................................................... | 2 | 141.135(a)–(b) | 3 | 141.132(a), (d) |
| 10. Bench marking and disinfection profiling ................................................................................... | N/A | N/A | 3 | 141.172 141.530– |
|  |  |  |  | 141.544. |
| 11. Development of monitoring plan ................................................................................................ | N/A | N/A | 3 | 141.132(f) |
| H. Other Treatment Techniques |  |  |  |  |
| 1. Acrylamide (TT) ........................................................................................................................... | 2 | 141.111 | N/A | N/A |
| 2. Epichlorohydrin (TT) .................................................................................................................... | 2 | 141.111 | N/A | N/A |
| II. Unregulated Contaminant Monitoring: 17 |  |  |  |  |
| A. Unregulated contaminants ......................................................................................................................... | N/A | N/A | 3 | 141.40 |
| B. Nickel ......................................................................................................................................................... | N/A | N/A | 3 | 141.23(c), (k) |
| III. Public Notification for Variances and Exemptions: |  |  |  |  |
| A. Operation under a variance or exemption ................................................................................................. | 3 | 18 1415, 1416, | N/A | N/A |
| B. Violation of conditions of a variance or exemption ................................................................................... | 2 | 1415, 1416, | N/A | N/A |
|  |  | 19 142.307 |  |  |
| IV. Other Situations Requiring Public Notification: |  |  |  |  |
| A. Fluoride secondary maximum contaminant level (SMCL) exceedance .................................................... | 3 | 143.3 | N/A | N/A |
| B. Exceedance of nitrate MCL for non-community systems, as allowed by primacy agency ...................... | 1 | 141.11(d) | N/A | N/A |
| C. Availability of unregulated contaminant monitoring data .......................................................................... | 3 | 141.40 | N/A | N/A |
| D. Waterborne disease outbreak ................................................................................................................... | 1 | 141.2, | N/A | N/A |
|  |  | 141.71(c)(2)(ii) |  |  |
| E. Other waterborne emergency 20 ................................................................................................................ | 1 | N/A | N/A | N/A |
| F. Source Water Sample Positive for GWR Fecal indicators: E. coli, enterococci, or coliphage ................. | 1 | 141.402(g) | N/A | N/A |
| G. Other situations as determined by primacy agency ................................................................................. | 21 1, 2, 3 | N/A | N/A | N/A |

Environmental Protection Agency	Pt. 141, Subpt. Q, App. A

APPENDIX A—ENDNOTES

† Until March 31, 2016.

‡ Beginning April 1, 2016.

  - Violations and other situations not  list- ed in this table (e.g., failure to prepare Con- sumer Confidence Reports), do not require notice, unless otherwise determined by the primacy agency. Primacy agencies may, at their option, also require a more stringent public notice tier (e.g., Tier 1 instead of Tier 2 or Tier 2 instead of Tier 3) for specific vio- lations and situations listed in this Appen- dix,   as   authorized   under   § 141.202(a)   and

§ 141.203(a).

  - MCL—Maximum contaminant level, MRDL—Maximum residual  disinfectant level, TT—Treatment technique

  - The term Violations of National Pri- mary Drinking Water Regulations (NPDWR) is used here to include violations of MCL, MRDL, treatment technique, monitoring, and testing procedure requirements.

  - Failure to test for fecal coliform or  E. coli is a Tier 1 violation if testing is not done after any repeat sample tests positive for coliform. All  other  total  coliform  moni- toring and testing procedure violations are Tier 3.

  - Systems that violate the  turbidity  MCL of 5 NTU based on an average of measure- ments over two consecutive days must con- sult with the primacy agency within 24 hours after learning of the violation. Based on this consultation, the primacy agency may subse- quently decide to elevate the violation to Tier 1. If a system is unable to make contact with the primacy agency  in the 24-hour pe- riod, the violation is  automatically  elevated to Tier 1.

  - Systems with treatment technique viola- tions involving a single exceedance of a max- imum turbidity  limit  under  the  Surface Water Treatment Rule (SWTR), the Interim Enhanced Surface Water Treatment Rule (IESWTR), or the Long Term 1 Enhanced Surface Water Treatment Rule (LT1ESWTR) are required to consult with the primacy agency within 24 hours after learning of the violation. Based on this consultation, the primacy agency may subsequently decide to elevate the violation to Tier 1. If a system is unable to make contact with the primacy agency in the 24-hour period, the violation is automatically elevated to Tier 1.

  - Most of the requirements of the Interim Enhanced Surface Water Treatment Rule  (63 FR 69477) (§§ 141.170–141.171, 141.173–141.174) be- come effective January 1, 2002 for Subpart H systems (surface water systems and ground water systems under the direct influence of surface water) serving at least 10,000 persons. However, § 141.172 has some  requirements that become  effective  as  early  as  April  16, 1999. The Surface Water Treatment Rule re- mains in effect for systems serving at least 10,000  persons  even  after  2002;  the  Interim

Enhanced Surface Water Treatment Rule adds additional requirements and does not in many cases supercede the SWTR.

  - The arsenic MCL citations are effective January 23, 2006. Until  then,  the  citations are § 141.11(b) and § 141.23(n).

  - The uranium MCL Tier 2 violation cita- tions are effective December 8, 2003 for all community  water  systems.

  - The uranium Tier 3 violation citations are effective December 8, 2000 for all commu- nity water systems.

  - The arsenic Tier 3 violation MCL cita- tions are effective January 23, 2006. Until then, the citations are § 141.23(a), (l).

  - Failure to take a confirmation sample within 24 hours for nitrate or nitrite after an initial sample exceeds the MCL is a Tier 1 violation. Other monitoring violations for nitrate are Tier 3.

  - Subpart H  community  and  non-tran- sient non-community systems serving 10,000 must comply with new DBP MCLs,  disinfect- ant MRDLs, and related monitoring require- ments beginning January 1, 2002. All other community and  non-transient  non-commu- nity systems  must  meet  the  MCLs  and MRDLs beginning January 1, 2004. Subpart H transient non-community systems serving 10,000 or more persons and using chlorine di- oxide as a disinfectant or oxidant  must  com- ply with the  chlorine  dioxide  MRDL  begin- ning January 1, 2002. Subpart H transient non-community systems serving fewer than 10,000 persons and using only ground  water not under the direct influence  of  surface water and using chlorine dioxide as a dis- infectant or oxidant must comply with the chlorine dioxide MRDL beginning January 1, 2004.

14.  §§ 141.64(b)(1)  141.132(a)–(b)  apply  until

§§ 141.620–141.630 take effect under the sched- ule in § 141.620(c).

- Failure to monitor for  chlorine  dioxide at the entrance to the distribution  system the day after exceeding the MRDL at the en- trance to the distribution system is a Tier 2 violation.

- If any daily sample taken at the en- trance  to  the  distribution  system  exceeds the MRDL for chlorine dioxide and one or more samples taken in the distribution sys- tem the next day exceed the MRDL, Tier 1 notification is required. Failure to take the required samples in the distribution system after the MRDL  is  exceeded  at  the  entry point also triggers Tier 1 notification.

- Some water systems must monitor for certain  unregulated  contaminants  listed  in

§ 141.40.

- This citation refers to §§ 1415 and 1416 of the Safe Drinking Water Act. §§ 1415 and 1416 require that ‘‘a schedule prescribed. . . for a public water system granted a variance [or exemption] shall require compliance by the system.  . .’’

595

#### Pt. 141, Subpt. Q, App. A

- In addition to §§ 1415 and 1416 of the Safe Drinking Water Act, 40 CFR 142.307 specifies the items and schedule milestones that must be included in a variance for small systems.

- Other waterborne emergencies require a Tier 1 public notice under § 141.202(a) for situ- ations that do not meet the definition of a waterborne disease  outbreak given  in  40 CFR

141.2 but that still have the potential to have serious adverse effects on health as a result of short-term exposure. These could include outbreaks not related to treatment defi- ciencies, as well as situations that have the potential to cause outbreaks, such as fail- ures or significant interruption in water treatment processes, natural disasters that disrupt the water supply or distribution sys-

#### 40 CFR Ch. I (7–1–17 Edition)

tem,  chemical  spills,  or  unexpected  loading of possible pathogens into the source water.

- Primacy agencies may place other situ- ations in any tier they believe appropriate, based on threat to public health.

- Failure to  collect  three  or  more  sam- ples for Cryptosporidium analysis is a Tier 2 violation requiring  special  notice  as  speci- fied in § 141.211. All other monitoring and testing  procedure  violations  are  Tier  3.

[65 FR 26035, May 4, 2000, as amended at 65

FR  76750,  Dec.  7,  2000;  66  FR  7065,  Jan.  22,

2001; 66 FR 31104, June 8, 2001; 67 FR 1836, Jan.

14, 2002; 69 FR 38856, June 29, 2004; 71 FR 483,

Jan.  4,  2006;  71  FR  768,  Jan.  5,  2006;  71  FR

65652, Nov. 8, 2006; 78 FR 10350, Feb. 13, 2013;

79 FR 10669, Feb. 26, 2014]

## 596

Pt. 141, Subpt. Q, App. B

597

Environmental Protection Agency

APPENDIX B TO SUBPART Q OF PART 141—STANDARD HEALTH EFFECTS LANGUAGE FOR PUBLIC NOTIFICATION

| Contaminant | MCLG 1 mg/L | MCL 2 mg/L | Standard health effects language for public notification |
| --- | --- | --- | --- |

National Primary Drinking Water Regulations (NPDWR)

  - Microbiological Contaminants

1a. Total coliform † ...............................................   Zero

See footnote 3

1b. Fecal coliform/E. coli † ...................................   Zero

Zero

1c. Fecal indicators (GWR):  .................................

i. E. coli ...................................................

ii. enterococci ..........................................

iii. coliphage ............................................

Zero

None None

TT

TT TT

1d. Ground Water Rule (GWR) TT violations  ......   None

TT

1e. Subpart Y Coliform Assessment and/or Cor-

rective Action Violations ‡.

N/A

TT

1f. Subpart Y E.coli Assessment and/or Correc-

tive Action Violations ‡.

N/A

TT

Coliforms are bacteria that are naturally present in the environment and are used as an indi-

cator that other, potentially-harmful, bacteria may be present. Coliforms were found in more samples than allowed and this was a warning of potential problems.

Fecal coliforms and E. coli are bacteria whose presence indicates that the water may be con- taminated with human or animal wastes. Microbes in these wastes can cause short-term ef- fects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems.

Fecal indicators are microbes whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term health effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely com- promised immune systems.

Inadequately treated or inadequately protected water may contain disease-causing organisms. These organisms can cause symptoms such as diarrhea, nausea, cramps, and associated headaches.

Coliforms are bacteria that are naturally present in the environment and are used as an indi- cator that other, potentially harmful, waterborne pathogens may be present or that a poten- tial pathway exists through which contamination may enter the drinking water distribution system. We found coliforms indicating the need to look for potential problems in water treat- ment or distribution. When this occurs, we are required to conduct assessments to identify problems and to correct any problems that are found.

[THE SYSTEM MUST USE THE FOLLOWING APPLICABLE SENTENCES.]

We failed to conduct the required assessment.

We failed to correct all identified sanitary defects that were found during the assessment(s).

E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a greater health risk for infants, young children, the elderly, and people with severely compromised immune systems. We violated the standard for E. coli, indicating the need to look for potential prob- lems in water treatment or distribution. When this occurs, we are required to conduct a de- tailed assessment to identify problems and to correct any problems that are found.

[THE SYSTEM MUST USE THE FOLLOWING APPLICABLE SENTENCES.]

We failed to conduct the required assessment.

We failed to correct all identified sanitary defects that were found during the assessment that we conducted.

Pt. 141, Subpt. Q, App. B

40 CFR Ch. I (7–1–17 Edition)

598

| Contaminant | MCLG 1 mg/L | MCL 2 mg/L | Standard health effects language for public notification |
| --- | --- | --- | --- |
| 1g. E. coli ‡ ........................................................... 1h. Subpart Y Seasonal System TT Violations ‡ 2a. Turbidity (MCL) 4 ............................................. 2b. Turbidity (SWTR TT) 6 .................................... | Zero N/A None None | In compliance un- less one of the following condi- tions occurs: The system has an E. coli- positive repeat sample fol- lowing a total coliform-positive routine sample. The system has a total coli- form-positive re- peat sample fol- lowing an E. coli-positive rou- tine sample. The system fails to take all required repeat samples fol- lowing an E. coli-positive rou- tine sample. The system fails to test for E. coli when any repeat sam- ple tests posi- tive for total coliform. TT 1 NTU 5/5 NTU TT 7 | E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a greater health risk for infants, young children, the elderly, and people with severely compromised immune systems. When this violation includes the failure to monitor for total coliforms or E. coli prior to serving water to the public, the mandatory language found at 141.205(d)(2) must be used. When this violation includes failure to complete other actions, the appropriate elements found in 141.205(a) to describe the violation must be used. Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing orga- nisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea and associated headaches. Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing orga- nisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea and associated headaches. |

Pt. 141, Subpt. Q, App. B

599

2c. Turbidity (IESWTR TT and LT1ESWTR TT) 8      None

TT

Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a

medium for microbial growth. Turbidity may indicate the presence of disease-causing orga- nisms. These organisms include bacteria, viruses, and parasites that can cause symptoms such as nausea, cramps, diarrhea and associated headaches.

  - Environmental Protection Agency

Surface Water Treatment Rule (SWTR), Interim Enhanced Surface Water Treatment Rule (IESWTR), Long Term 1 Enhanced Surface Water Treatment Rule (LT1ESWTR) and the Filter Backwash Recycling Rule (FBRR) violations

| Giardia lamblia (SWTR/IESWTR/LT1ESWTR) Viruses (SWTR/IESWTR/LT1ESWTR). Heterotrophic plate count (HPC) bacteria 9 (SWTR/IESWTR/LT1ESWTR). Legionella (SWTR/IESWTR/LT1ESWTR). Cryptosporidium (IESWTR/FBRR/LT1ESWTR). | Zero | TT 10 | Inadequately treated water may contain disease-causing organisms. These organisms include bacteria, viruses, and parasites which can cause symptoms such as nausea, cramps, diar- rhea, and associated headaches. |
| --- | --- | --- | --- |

  - Inorganic Chemicals (IOCs)

8. Antimony	0.006

0.006

9. Arsenic 11	0

0.010

10. Asbestos (10 m) ...........................................  7 MFL 12

7 MFL

11. Barium	2

2

12. Beryllium	0.004

0.004

13. Cadmium	0.005

0.005

14. Chromium (total)	0.1

0.1

15. Cyanide	0.2

0.2

16. Fluoride	4.0

4.0

17. Mercury (inorganic)	0.002

0.002

18. Nitrate	10

10

19. Nitrite	1

1

Some people who drink water containing antimony well in excess of the MCL over many years

could experience increases in blood cholesterol and decreases in blood sugar.

Some people who drink water containing arsenic in excess of the MCL over many years could experience skin damage or problems with their circulatory system, and may have an in- creased risk of getting cancer.

Some people who drink water containing asbestos in excess of the MCL over many years may have an increased risk of developing benign intestinal polyps.

Some people who drink water containing barium in excess of the MCL over many years could experience an increase in their blood pressure.

Some people who drink water containing beryllium well in excess of the MCL over many years could develop intestinal lesions.

Some people who drink water containing cadmium in excess of the MCL over many years could experience kidney damage.

Some people who use water containing chromium well in excess of the MCL over many years could experience allergic dermatitis.

Some people who drink water containing cyanide well in excess of the MCL over many years could experience nerve damage or problems with their thyroid.

Some people who drink water containing fluoride in excess of the MCL over many years could get bone disease, including pain and tenderness of the bones. Fluoride in drinking water at half the MCL or more may cause mottling of children’s teeth, usually in children less than nine years old. Mottling, also known as dental fluorosis, may include brown staining and/or pitting of the teeth, and occurs only in developing teeth before they erupt from the gums.

Some people who drink water containing inorganic mercury well in excess of the MCL over many years could experience kidney damage.

Infants below the age of six months who drink water containing nitrate in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome.

Infants below the age of six months who drink water containing nitrite in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome.

600

| Contaminant | MCLG 1 mg/L | MCL 2 mg/L | Standard health effects language for public notification |
| --- | --- | --- | --- |
| 20. Total Nitrate and Nitrite .................................. 21. Selenium ......................................................... 22. Thallium .......................................................... | 10 0.05 0.0005 | 10 0.05 0.002 | Infants below the age of six months who drink water containing nitrate and nitrite in excess of the MCL could become seriously ill and, if untreated, may die. Symptoms include shortness of breath and blue baby syndrome. Selenium is an essential nutrient. However, some people who drink water containing selenium in excess of the MCL over many years could experience hair or fingernail losses, numbness in fingers or toes, or problems with their circulation. Some people who drink water containing thallium in excess of the MCL over many years could experience hair loss, changes in their blood, or problems with their kidneys, intestines, or liver. |

  - Pt. 141, Subpt. Q, App. B

Lead and Copper Rule

| 23. Lead ................................................................ 24. Copper ............................................................ | Zero 1.3 | TT 13 TT 14 | Infants and children who drink water containing lead in excess of the action level could experi- ence delays in their physical or mental development. Children could show slight deficits in attention span and learning abilities. Adults who drink this water over many years could de- velop kidney problems or high blood pressure. Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level over a relatively short amount of time could experience gastrointestinal distress. Some people who drink water containing copper in excess of the action level over many years could suffer liver or kidney damage. People with Wilson’s Disease should con- sult their personal doctor. |
| --- | --- | --- | --- |

  - 40 CFR Ch. I (7–1–17 Edition)

Synthetic Organic Chemicals (SOCs)

25. 2,4–D	0.07

0.07

26. 2,4,5–TP (Silvex)	0.05

0.05

27. Alachlor ...........................................................   Zero

0.002

28. Atrazine	0.003

0.003

29. Benzo(a)pyrene (PAHs) ..................................   Zero

0.0002

30. Carbofuran	0.04

0.04

31. Chlordane  .......................................................   Zero

0.002

32. Dalapon	0.2

0.2

33. Di(2-ethylhexyl) adipate	0.4

0.4

Some people who drink water containing the weed killer 2,4–D well in excess of the MCL over

many years could experience problems with their kidneys, liver, or adrenal glands.

Some people who drink water containing silvex in excess of the MCL over many years could experience liver problems.

Some people who drink water containing alachlor in excess of the MCL over many years could have problems with their eyes, liver, kidneys, or spleen, or experience anemia, and may have an increased risk of getting cancer.

Some people who drink water containing atrazine well in excess of the MCL over many years could experience problems with their cardiovascular system or reproductive difficulties.

Some people who drink water containing benzo(a)pyrene in excess of the MCL over many years may experience reproductive difficulties and may have an increased risk of getting cancer.

Some people who drink water containing carbofuran in excess of the MCL over many years could experience problems with their blood, or nervous or reproductive systems.

Some people who drink water containing chlordane in excess of the MCL over many years could experience problems with their liver or nervous system, and may have an increased risk of getting cancer.

Some people who drink water containing dalapon well in excess of the MCL over many years could experience minor kidney changes.

Some people who drink water containing di(2-ethylhexyl) adipate well in excess of the MCL over many years could experience toxic effects such as weight loss, liver enlargement or possible reproductive difficulties.

601

- Environmental Protection Agency

Di(2-ethylhexyl) phthalate ...............................   Zero	0.006	Some people who drink water containing di(2-ethylhexyl) phthalate well in excess of the MCL

over many years may have problems with their liver, or experience reproductive difficulties, and may have an increased risk of getting cancer.

- Dibromochloropropane (DBCP) ......................   Zero	0.0002	Some people who drink water containing DBCP in excess of the MCL over many years could

experience reproductive difficulties and may have an increased risk of getting cancer.

- Dinoseb ...........................................................   0.007	0.007	Some people who drink water containing dinoseb well in excess of the MCL over many years

could experience reproductive difficulties.

- Dioxin (2,3,7,8-TCDD) .................................... Zero	3 10 ¥8	Some people who drink water containing dioxin in excess of the MCL over many years could

experience reproductive difficulties and may have an increased risk of getting cancer.

- Diquat ..............................................................   0.02	0.02	Some people who drink water containing diquat in excess of the MCL over many years could

get cataracts.

- Endothall .........................................................   0.1	0.1	Some people who drink water containing endothall in excess of the MCL over many years

could experience problems with their stomach or intestines.

- Endrin ..............................................................   0.002	0.002	Some people who drink water containing endrin in excess of the MCL over many years could

experience liver problems.

- Ethylene dibromide .........................................   Zero	0.00005	Some people who drink water containing ethylene dibromide in excess of the MCL over many

years could experience problems with their liver, stomach, reproductive system, or kidneys, and may have an increased risk of getting cancer.

- Glyphosate ......................................................   0.7	0.7	Some people who drink water containing glyphosate in excess of the MCL over many years

could experience problems with their kidneys or reproductive difficulties.

- Heptachlor .......................................................   Zero	0.0004	Some people who drink water containing heptachlor in excess of the MCL over many years

could experience liver damage and may have an increased risk of getting cancer.

- Heptachlor epoxide .........................................   Zero	0.0002	Some people who drink water containing heptachlor epoxide in excess of the MCL over many

years could experience liver damage, and may have an increased risk of getting cancer.

- Hexachlorobenzene ........................................   Zero	0.001	Some people who drink water containing hexachlorobenzene in excess of the MCL over many

years could experience problems with their liver or kidneys, or adverse reproductive effects, and may have an increased risk of getting cancer.

- Hexachlorocyclo-pentadiene ...........................   0.05	0.05	Some people who drink water containing hexachlorocyclopentadiene well in excess of the MCL

over many years could experience problems with their kidneys or stomach.

- Lindane ...........................................................   0.0002	0.0002	Some people who drink water containing lindane in excess of the MCL over many years could

experience problems with their kidneys or liver.

- Methoxychlor ...................................................   0.04	0.04	Some people who drink water containing methoxychlor in excess of the MCL over many years

could experience reproductive difficulties.

- Oxamyl (Vydate) .............................................   0.2	0.2	Some people who drink water containing oxamyl in excess of the MCL over many years could

Pt. 141, Subpt. Q, App. B

experience slight nervous system effects.

- Pentachlorophenol ..........................................   Zero	0.001	Some people who drink water containing pentachlorophenol in excess of the MCL over many

years could experience problems with their liver or kidneys, and may have an increased risk of getting cancer.

- Picloram ..........................................................   0.5	0.5	Some people who drink water containing picloram in excess of the MCL over many years

could experience problems with their liver.

- Polychlorinated biphenyls (PCBs) ..................   Zero	0.0005	Some people who drink water containing PCBs in excess of the MCL over many years could

experience changes in their skin, problems with their thymus gland, immune deficiencies, or reproductive or nervous system difficulties, and may have an increased risk of getting can- cer.

- Simazine .........................................................   0.004	0.004	Some people who drink water containing simazine in excess of the MCL over many years

could experience problems with their blood.

- Toxaphene ......................................................   Zero	0.003	Some people who drink water containing toxaphene in excess of the MCL over many years

could have problems with their kidneys, liver, or thyroid, and may have an increased risk of getting cancer.

602

| Contaminant | MCLG 1 mg/L | MCL 2 mg/L | Standard health effects language for public notification |
| --- | --- | --- | --- |

  - Pt. 141, Subpt. Q, App. B

Volatile Organic Chemicals (VOCs)

- Benzene ..........................................................   Zero	0.005	Some people who drink water containing benzene in excess of the MCL over many years

could experience anemia or a decrease in blood platelets, and may have an increased risk of getting cancer.

- Carbon tetrachloride .......................................   Zero	0.005	Some people who drink water containing carbon tetrachloride in excess of the MCL over many

years could experience problems with their liver and may have an increased risk of getting cancer.

- Chlorobenzene (monochloro- benzene) .........   0.1	0.1	Some people who drink water containing chlorobenzene in excess of the MCL over many

years could experience problems with their liver or kidneys.

- o-Dichlorobenzene ..........................................   0.6	0.6	Some people who drink water containing o-dichlorobenzene well in excess of the MCL over

many years could experience problems with their liver, kidneys, or circulatory systems.

- p-Dichlorobenzene ..........................................   0.075	0.075	Some people who drink water containing p-dichlorobenzene in excess of the MCL over many

years could experience anemia, damage to their liver, kidneys, or spleen, or changes in their blood.

- 1,2-Dichloroethane ..........................................   Zero	0.005	Some people who drink water containing 1,2-dichloroethane in excess of the MCL over many

years may have an increased risk of getting cancer.

- 1,1-Dichloroethylene .......................................   0.007	0.007	Some people who drink water containing 1,1-dichloroethylene in excess of the MCL over many

years could experience problems with their liver.

- cis-1,2-Dichloroethylene  .................................   0.07	0.07	Some people who drink water containing cis-1,2-dichloroethylene in excess of the MCL over

many years could experience problems with their liver.

- trans-1,2-Dichloroethylene ..............................   0.1	0.1	Some people who drink water containing trans-1,2-dichloroethylene well in excess of the MCL

over many years could experience problems with their liver.

- Dichloromethane .............................................   Zero	0.005	Some people who drink water containing dichloromethane in excess of the MCL over many

years could have liver problems and may have an increased risk of getting cancer.

- 1,2-Dichloropropane  .......................................   Zero	0.005	Some people who drink water containing 1,2-dichloropropane in excess of the MCL over many

years may have an increased risk of getting cancer.

- Ethylbenzene ..................................................   0.7	0.7	Some people who drink water containing ethylbenzene well in excess of the MCL over many

years could experience problems with their liver or kidneys.

- 40 CFR Ch. I (7–1–17 Edition)

Styrene ............................................................   0.1	0.1	Some people who drink water containing styrene well in excess of the MCL over many years

could have problems with their liver, kidneys, or circulatory system.

- Tetrachloroethylene ........................................   Zero	0.005	Some people who drink water containing tetrachloroethylene in excess of the MCL over many

years could have problems with their liver, and may have an increased risk of getting can- cer.

- Toluene ...........................................................   1	1	Some people who drink water containing toluene well in excess of the MCL over many years

could have problems with their nervous system, kidneys, or liver.

- 1,2,4-Trichlorobenzene ...................................   0.07	0.07	Some people who drink water containing 1,2,4-trichlorobenzene well in excess of the MCL

over many years could experience changes in their adrenal glands.

- 1,1,1-Trichloroethane ......................................   0.2	0.2	Some people who drink water containing 1,1,1-trichloroethane in excess of the MCL over many

years could experience problems with their liver, nervous system, or circulatory system.

- 1,1,2-Trichloroethane ......................................   0.003	0.005	Some people who drink water containing 1,1,2-trichloroethane well in excess of the MCL over

many years could have problems with their liver, kidneys, or immune systems.

- Trichloroethylene  ............................................   Zero	0.005	Some people who drink water containing trichloroethylene in excess of the MCL over many

years could experience problems with their liver and may have an increased risk of getting cancer.

- Vinyl chloride  ..................................................   Zero	0.002	Some people who drink water containing vinyl chloride in excess of the MCL over many years

may have an increased risk of getting cancer.

Pt. 141, Subpt. Q, App. B

603

75. Xylenes (total)	10

10

Some people who drink water containing xylenes in excess of the MCL over many years could

experience damage to their nervous system.

  - Environmental Protection Agency

Radioactive Contaminants

| 76. Beta/photon emitters ....................................... 77. Alpha emitters ................................................. 78. Combined radium (226 & 228) ....................... 79. Uranium 16 ....................................................... | Zero Zero Zero Zero | 4 mrem/yr 15 17 pCi/L 17 5 pCi/L 30 g/L | Certain minerals are radioactive and may emit forms of radiation known as photons and beta radiation. Some people who drink water containing beta and photon emitters in excess of the MCL over many years may have an increased risk of getting cancer. Certain minerals are radioactive and may emit a form of radiation known as alpha radiation. Some people who drink water containing alpha emitters in excess of the MCL over many years may have an increased risk of getting cancer. Some people who drink water containing radium 226 or 228 in excess of the MCL over many years may have an increased risk of getting cancer. Some people who drink water containing uranium in excess of the MCL over many years may have an increased risk of getting cancer and kidney toxicity. |
| --- | --- | --- | --- |

  - Disinfection Byproducts (DBPs), Byproduct Precursors, and Disinfectant Residuals: Where disinfection is used in the treatment of drinking water, disinfectants combine with organic and inorganic matter present in water to form chemicals called disinfection byproducts (DBPs). EPA sets standards for controlling the levels of disinfectants and DBPs in drinking water, in- cluding trihalomethanes (THMs) and haloacetic acids (HAAs) 18

80. Total trihalomethanes (TTHMs) ......................   N/A

0.080 19 20

81. Haloacetic Acids (HAA) ..................................   N/A

0.060 21

82. Bromate  ..........................................................   Zero

0.010

83. Chlorite	0.08

1.0

84. Chlorine ...........................................................    4 (MRDLG) 22	4.0 (MRDL) 23

85. Chloramines ....................................................   4 (MRDLG)

4.0 (MRDL)

86a. Chlorine dioxide, where any 2 consecutive

daily samples taken at the entrance to the dis- tribution system are above the MRDL.

0.8 (MRDLG)

0.8 (MRDL)

86b.  Chlorine  dioxide,  where  one  or  more  dis-

tribution system samples are above the MRDL.

0.8 (MRDLG)

0.8 (MRDL)

Some people who drink water containing trihalomethanes in excess of the MCL over many

years may experience problems with their liver, kidneys, or central nervous system, and may have an increased risk of getting cancer.

Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer.

Some people who drink water containing bromate in excess of the MCL over many years may have an increased risk of getting cancer.

Some infants and young children who drink water containing chlorite in excess of the MCL could experience nervous system effects. Similar effects may occur in fetuses of pregnant women who drink water containing chlorite in excess of the MCL. Some people may experi- ence anemia.

Some people who use water containing chlorine well in excess of the MRDL could experience irritating effects to their eyes and nose. Some people who drink water containing chlorine well in excess of the MRDL could experience stomach discomfort.

Some people who use water containing chloramines well in excess of the MRDL could experi- ence irritating effects to their eyes and nose. Some people who drink water containing chloramines well in excess of the MRDL could experience stomach discomfort or anemia.

Some infants and young children who drink water containing chlorine dioxide in excess of the MRDL could experience nervous system effects. Similar effects may occur in fetuses of pregnant women who drink water containing chlorine dioxide in excess of the MRDL. Some people may experience anemia.

Add for public notification only: The chlorine dioxide violations reported today are the result of exceedances at the treatment facility only, not within the distribution system which delivers water to consumers. Continued compliance with chlorine dioxide levels within the distribution system minimizes the potential risk of these violations to consumers.

Some infants and young children who drink water containing chlorine dioxide in excess of the MRDL could experience nervous system effects. Similar effects may occur in fetuses of pregnant women who drink water containing chlorine dioxide in excess of the MRDL. Some people may experience anemia.

40 CFR Ch. I (7–1–17 Edition)

604

| Contaminant | MCLG 1 mg/L | MCL 2 mg/L | Standard health effects language for public notification |
| --- | --- | --- | --- |
| 87. Control of DBP precursors (TOC) .................. | None | TT | Add for public notification only: The chlorine dioxide violations reported today include exceedances of the EPA standard within the distribution system which delivers water to con- sumers. Violations of the chlorine dioxide standard within the distribution system may harm human health based on short-term exposures. Certain groups, including fetuses, infants, and young children, may be especially susceptible to nervous system effects from excessive chlorine dioxide exposure. Total organic carbon (TOC) has no health effects. However, total organic carbon provides a medium for the formation of disinfection byproducts. These byproducts include trihalomethanes (THMs) and haloacetic acids (HAAs). Drinking water containing these by- products in excess of the MCL may lead to adverse health effects, liver or kidney problems, or nervous system effects, and may lead to an increased risk of getting cancer. |

  - Pt. 141, Subpt. Q, App. B

Other Treatment Techniques

| 88. Acrylamide ...................................................... 89. Epichlorohydrin ............................................... | Zero Zero | TT TT | Some people who drink water containing high levels of acrylamide over a long period of time could have problems with their nervous system or blood, and may have an increased risk of getting cancer. Some people who drink water containing high levels of epichlorohydrin over a long period of time could experience stomach problems, and may have an increased risk of getting cancer. |
| --- | --- | --- | --- |

#### Environmental Protection Agency	Pt. 141, Subpt. Q, App. B

APPENDIX B—ENDNOTES

† Until March 31, 2016.

‡ Beginning April 1, 2016.

- MCLG—Maximum contaminant level goal

- MCL—Maximum contaminant level

- For water systems analyzing at least 40 samples per month, no more than 5.0 percent of the monthly samples may be positive for total coliforms. For systems analyzing fewer than 40 samples per month, no more than one sample per month may be positive for total coliforms.

- There are various regulations that set turbidity standards for different types of sys- tems, including 40 CFR 141.13, and the 1989 Surface Water Treatment Rule, the 1998 In- terim Enhanced Surface Water Treatment Rule and the 2002 Long Term 1 Enhanced Surface Water Treatment Rule. The MCL for the monthly turbidity average is 1 NTU; the MCL for the 2-day average is 5 NTU for sys- tems that are required to filter but have not yet installed filtration (40 CFR 141.13).

- NTU—Nephelometric turbidity unit

- There are various regulations that set turbidity standards for different types of sys- tems, including 40 CFR 141.13, and the 1989 Surface Water Treatment Rule, the 1998 In- terim  Enhanced  Surface  Water   Treatment Rule and the 2001 Long Term 1 Enhanced Surface Water Treatment Rule. Systems sub- ject to the Surface  Water  Treatment  Rule (both  filtered  and  unfiltered)  may  not  exceed

5 NTU. In addition, in filtered systems, 95 percent of samples each month must not ex- ceed 0.5 NTU in  systems  using  conventional or direct filtration and must not exceed 1 NTU in systems using slow sand or diatoma- ceous earth filtration or other filtration technologies approved by the primacy agen- cy.

- TT—Treatment  technique

- There are various regulations that set turbidity standards for different types of sys- tems, including 40 CFR 141.13, the 1989 Sur- face Water Treatment Rule (SWTR), the 1998 Interim Enhanced Surface Water  Treatment Rule (IESWTR) and the 2002 Long Term 1 En- hanced Surface Water Treatment Rule (LT1ESWTR). For systems subject to the IESWTR (systems serving at least 10,000 peo- ple, using surface water or ground  water under the direct influence of surface water), that use conventional filtration or direct fil- tration, after January 1, 2002, the turbidity level of  a  system’s  combined  filter  effluent may not exceed 0.3 NTU in at least  95  per- cent of monthly measurements, and the tur- bidity level of a system’s combined filter ef- fluent must not exceed 1 NTU at any time. Systems subject to the IESWTR using tech- nologies   other   than   conventional,   direct, slow sand, or diatomaceous earth  filtration must meet turbidity  limits  set  by  the  pri- macy   agency.   For   systems   subject   to   the

LT1ESWTR (systems serving fewer than 10,000 people, using surface water or ground water under the direct influence of surface water) that use conventional filtration or di- rect filtration, after January 1, 2005, the tur- bidity level of a system’s combined filter ef- fluent may not exceed 0.3 NTU in at least 95 percent of monthly measurements, and the turbidity level of a system’s combined filter effluent must not exceed 1 NTU at any time. Systems subject to the LT1ESWTR using technologies other  than conventional,  direct, slow sand, or diatomaceous earth filtration must meet turbidity limits set by the pri- macy  agency.

- The bacteria detected by heterotrophic plate count (HPC) are not necessarily harm- ful. HPC is simply an alternative method of determining disinfectant residual levels. The number of such bacteria is an indicator of whether there is enough disinfectant in the distribution  system.

- SWTR, IESWTR, and LT1ESWTR treat- ment technique violations that involve tur- bidity exceedances may use the health ef- fects language for turbidity instead.

- These arsenic values are effective Janu- ary 23, 2006. Until then, the MCL is 0.05 mg/ L  and  there  is  no  MCLG.

- Millions fibers per liter.

- Action Level = 0.015 mg/L

- Action Level = 1.3 mg/L

- Millirems per years

- The uranium MCL is effective Decem- ber 8, 2003 for all community water systems.

- Picocuries per liter

- Surface water systems  and  ground water systems under the direct influence of surface water are regulated  under  subpart  H of 40 CFR 141. Subpart H community and non-transient non-community systems  serv- ing 10,000 must comply with subpart L DBP MCLs and disinfectant maximum residual disinfectant levels  (MRDLs)  beginning  Janu- ary 1, 2002. All other community and non- transient non-community  systems  must comply with subpart L DBP MCLs and dis- infectant MRDLs beginning January 1, 2004. Subpart H transient non-community systems serving 10,000 that use chlorine dioxide as a disinfectant  or  oxidant  must  comply  with the  chlorine  dioxide  MRDL  beginning  Janu- ary 1, 2002. All other transient non-commu- nity systems that use chlorine dioxide as a disinfectant  or  oxidant  must  comply  with the  chlorine  dioxide  MRDL  beginning  Janu- ary 1, 2004.

- Community and non-transient non-com- munity systems must comply with subpart V TTHM and HAA5 MCLs of 0.080 mg/L and

0.060 mg/L, respectively (with compliance calculated as a locational running annual av- erage) on the schedule in § 141.620.

- The MCL for total trihalomethanes is the sum of the concentrations of the indi- vidual trihalomethanes.

#### Pt. 141, Subpt. Q, App. C

- The MCL for haloacetic acids is the sum of the concentrations of the individual haloacetic acids.

- MRDLG—Maximum residual disinfect- ant level goal.

- MRDL—Maximum residual disinfectant level.

[65 FR 26043, May 4, 2000; 65 FR 38629, June 21,

2000;  65  FR  40521,   40522,  June  30,  2000,   as

amended  at  65  FR  76751,  Dec.  7,  2000;  66  FR

7065, Jan. 22, 2001; 66 FR 31104, June 8, 2001; 67

FR 1838,  Jan. 14,  2002;  67  FR 70857,  Nov. 27,

2002; 68 FR 14507, Mar. 25, 2003; 69 FR 38856,

June 29,  2004;  71  FR 483,  Jan. 4,  2006;  71  FR

65653, Nov. 8, 2006; 78 FR 10351, Feb. 13, 2013]

APPENDIX C TO SUBPART Q OF PART 141—LIST OF ACRONYMS USED IN PUBLIC  NOTIFICATION  REGULATION

CCR  Consumer Confidence Report CWS   Community Water System DBP   Disinfection Byproduct

EPA    Environmental Protection Agency GWR   Ground Water Rule

HPC   Heterotrophic Plate Count

IESWTR   Interim  Enhanced  Surface  Water Treatment Rule

IOC   Inorganic Chemical LCR   Lead and Copper Rule

MCL    Maximum Contaminant Level  MCLG    Maximum Contaminant Level Goal

MRDL    Maximum	Residual	Disinfectant Level

MRDLG   Maximum    Residual    Disinfectant Level Goal

NCWS   Non-Community Water System NPDWR   National  Primary  Drinking  Water

Regulation

NTNCWS   Non-Transient	Non-Community Water System

NTU   Nephelometric Turbidity Unit OGWDW  Office of Ground Water and Drink-

ing Water

OW   Office of Water

PN    Public Notification PWS   Public Water System

SDWA   Safe Drinking Water Act

SMCL   Secondary   Maximum   Contaminant Level

SOC    Synthetic Organic Chemical SWTR   Surface Water Treatment Rule TCR    Total Coliform Rule

TT   Treatment Technique

TWS   Transient Non-Community Water Sys- tem

VOC    Volatile Organic Chemical

[65 FR 26035, May 4, 2000, as amended at 71

FR 65653, Nov. 8, 2006]

# Subpart R [Reserved]

#### 40 CFR Ch. I (7–1–17 Edition)

Subpart S—Ground Water Rule

SOURCE:  71  FR  65653,  Nov.  8,  2006,  unless

otherwise noted.

##### § 141.400   General    requirements    and applicability.

- Scope of this subpart. The require- ments of this subpart S constitute Na- tional Primary Drinking Water Regu- lations.

- Applicability. This subpart applies to all public water systems that use ground water except that it does not apply to public water systems that combine all of their ground water with surface water or with ground water under the direct influence of surface water prior to treatment under subpart

H. For the purposes of this subpart, ‘‘ground water system’’ is defined as any public water system meeting this applicability statement, including con- secutive systems receiving finished ground water.

- General requirements. Systems sub- ject to this subpart must comply  with the following requirements:

  - Sanitary survey information re- quirements for all ground water sys- tems as described in § 141.401.

  - Microbial source water moni- toring requirements for ground water systems that do not treat all of their ground water to at least 99.99 percent (4-log) treatment of viruses (using in- activation, removal, or a State-ap- proved combination of 4-log virus inac- tivation and removal) before or at the first customer as described in § 141.402.

  - Treatment technique require- ments, described in § 141.403, that apply to ground water  systems  that  have fecally contaminated source waters, as determined by source water monitoring conducted under § 141.402, or that have significant deficiencies  that are identi- fied by the State  or  that  are  identified by EPA under SDWA section 1445. A ground water system with fecally con- taminated source water or with signifi- cant deficiencies subject to the  treat- ment technique requirements of this subpart must implement one  or  more of the following corrective action op- tions:  correct  all  significant  defi- ciencies; provide an alternate source of water; eliminate the source of con- tamination;   or   provide   treatment   that

#### Environmental Protection Agency	§ 141.402

reliably achieves at least 4-log treat- ment of viruses (using inactivation, re- moval, or a State-approved combina- tion of 4-log virus inactivation and re- moval) before or at the first customer.

  - Ground water systems that pro- vide at least 4-log treatment of viruses (using inactivation, removal, or a State-approved combination of 4-log virus inactivation and removal)  before or at the first customer are required to conduct compliance monitoring to demonstrate  treatment   effectiveness, as described in § 141.403(b).

  - If requested by the State, ground water systems must provide the State with any existing information that will enable the  State to  perform  a hydrogeologic sensitivity assessment. For the purposes of this subpart, ‘‘hydrogeologic sensitivity assess- ment’’ is a determination of whether ground water systems obtain water from hydrogeologically sensitive set- tings.

- Compliance date. Ground water systems must comply, unless otherwise noted, with the requirements of this subpart beginning December 1, 2009.

##### § 141.401   Sanitary  surveys  for  ground water systems.

- Ground water systems must pro- vide the State, at the State’s request, any existing information that will en- able the State to conduct a sanitary survey.

- For the purposes of this subpart, a ‘‘sanitary survey,’’ as conducted by the State, includes but is not limited to, an onsite review of the water source(s) (identifying sources of contamination by using results of source water assess- ments or other relevant information where available), facilities, equipment, operation, maintenance, and moni- toring compliance of a public water system to evaluate the adequacy of the system, its sources and operations and the distribution of safe drinking water.

- The sanitary survey must include an evaluation of the applicable compo- nents listed in paragraphs  (c)(1) through (8) of this section:

  - Source,

  - Treatment,

  - Distribution system,

  - Finished water storage,

  - Pumps, pump facilities, and con- trols,

  - Monitoring, reporting, and data verification,

  - System management and oper- ation,  and

  - Operator compliance with State requirements.

##### § 141.402 Ground water source micro- bial monitoring and analytical methods.

    - Triggered source water monitoring—

- General requirements.  A ground water system must conduct triggered source water monitoring if the condi- tions identified in paragraphs (a)(1)(i) and either (a)(1)(ii) or (a)(1)(iii) of this section  exist.

- The system does not provide at least 4-log treatment of viruses (using inactivation, removal, or a State-ap- proved combination of 4-log virus inac- tivation and removal) before or at the first customer for each ground water source; and either

- The system is notified that a sample collected under § 141.21(a) is total  coliform-positive  and   the   sample is not invalidated under § 141.21(c) until March 31, 2016, or

- The system is notified that a sample collected under §§ 141.854 through 141.857 is total coliform-posi- tive and the sample is not invalidated under § 141.853(c) beginning April 1, 2016.

- Sampling requirements. A ground water system must collect, within 24 hours of notification of the total coli- form-positive sample,  at  least  one ground water source sample from each ground water source in use at  the  time the total coliform-positive sample was collected under § 141.21(a) until March 31, 2016, or collected under §§ 141.854 through 141.857 beginning April 1, 2016, except as  provided  in  paragraph (a)(2)(ii) of this section.

- The State may extend the 24-hour time limit on a case-by-case basis  if the system cannot collect the ground water source water sample within 24 hours due to circumstances beyond its control. In the case of an  extension, the State must specify how much time the system has to collect the sample.

- If approved by the State, systems with   more   than   one   ground   water

#### § 141.402

source may meet the requirements of this paragraph (a)(2) by sampling a rep- resentative ground water source or sources. If directed  by  the  State,  sys- tems must submit for State approval a triggered source water monitoring plan that  identifies  one  or  more  ground water  sources  that  are   representative of each monitoring site in the system’s sample siting plan under § 141.21(a) until March 31, 2016, or under § 141.853 beginning April 1, 2016, and that the system intends  to  use  for  representa- tive  sampling  under  this  paragraph.

- Until March 31, 2016, a ground water system serving 1,000 or fewer people may use a repeat sample col- lected from a ground water source to meet     both     the     requirements     of

§ 141.21(b) and to satisfy the monitoring requirements of paragraph (a)(2) of this section for that ground water source only if the State approves the use of E. coli as a fecal indicator  for  source water monitoring under this paragraph (a). If the repeat sample collected from the ground water source is E. coli-posi- tive, the system must comply with paragraph (a)(3) of this section.

- Beginning April 1, 2016, a ground water system serving 1,000 or fewer people may use a repeat sample col- lected from a ground water source to meet both the requirements of subpart Y and to satisfy the monitoring re- quirements of paragraph (a)(2) of this section for that ground water source only if the State approves the use of E. coli as a fecal indicator  for  source water monitoring under this paragraph

- and approves the use of a single sample for meeting both the triggered source water monitoring requirements in this paragraph (a) and the repeat monitoring requirements in § 141.858. If the repeat sample collected from the ground water source is E. coli- positive, the system must comply with para- graph (a)(3) of this section.

- Additional requirements.  If  the State does not  require  corrective  ac- tion under § 141.403(a)(2) for a fecal indi- cator-positive source water sample col- lected under paragraph (a)(2) of this section that is not invalidated under paragraph (d) of this section, the sys- tem must collect five additional source water   samples   from   the   same   source

#### 40 CFR Ch. I (7–1–17 Edition)

within 24 hours of being notified of the fecal  indicator-positive  sample.

- Consecutive and wholesale systems.

- In addition to the other require- ments of this paragraph (a), a consecu- tive ground water  system  that  has  a total  coliform-positive  sample   col- lected under § 141.21(a) until March 31, 2016, or under §§ 141.854 through 141.857 beginning April 1, 2016, must notify the wholesale system(s) within 24 hours of being notified of the total coliform- positive   sample.

- In addition to the other require- ments of this paragraph (a), a whole- sale ground water system must comply with paragraphs (a)(4)(ii)(A) and (a)(4)(ii)(B) of this section.

  - A wholesale ground water system that receives notice from a consecutive system it serves that a sample  col- lected under § 141.21(a) until March 31, 2016, or collected under §§ 141.854 through 141.857 beginning April 1, 2016, is   total   coliform-positive   must,   within

24 hours of being notified, collect a sample from its ground water source(s) under paragraph (a)(2) of this section and analyze it for a fecal  indicator under paragraph (c) of this section.

  - If the sample collected under paragraph (a)(4)(ii)(A) of this section is fecal indicator-positive, the wholesale ground water system must notify all consecutive systems served by that ground water source of the fecal indi- cator source water positive within 24 hours of being notified of the ground water source sample monitoring result and must meet the requirements of paragraph (a)(3) of this section.

- Exceptions to the triggered source water monitoring requirements. A ground water system is not required to comply with the source water monitoring re- quirements of paragraph (a) of this sec- tion if either of the following condi- tions  exists:

  - The State determines, and docu- ments in writing, that the total coli- form-positive  sample  collected  under

§ 141.21(a) until March 31, 2016, or under

§§ 141.854 through 141.857 beginning April 1, 2016, is caused by a distribution system  deficiency;  or

  - The total coliform-positive  sam- ple collected under § 141.21(a)  until March 31, 2016, or under §§ 141.854 through 141.857 beginning April 1, 2016,

#### Environmental Protection Agency	§ 141.402

is collected at a location that meets State criteria for distribution system conditions that will cause total coli- form-positive samples.

- Assessment source water monitoring. If directed by the State, ground water systems must conduct assessment source water monitoring that meets State-determined requirements  for such monitoring. A ground water sys- tem conducting assessment source water monitoring may use a triggered source water sample collected under paragraph (a)(2) of this section to meet the requirements of paragraph (b) of this section. State-determined assess- ment source water monitoring require- ments may include:

  - Collection of a total of 12 ground water source samples that represent each month  the  system  provides ground water to the public,

  - Collection of samples from each well unless the system obtains written State approval to conduct  monitoring at one or more wells within the ground water system that are  representative of multiple wells used by that system and that draw water from the same hydrogeologic  setting,

  - Collection of a standard sample volume of at least 100 mL for fecal in- dicator analysis regardless of the fecal indicator or analytical method used,

  - Analysis of all ground water source samples using one of the analyt- ical methods listed in the in paragraph (c)(2) of this section for the presence of

E. coli, enterococci, or coliphage,

  - Collection of ground water source samples at a location prior to any treatment of the ground water source unless the State approves a sampling location after treatment, and

  - Collection of ground water source samples at the well itself unless the system’s configuration does not allow for sampling at the well itself and the State approves an alternate sampling location that is representative of the water quality of that well.

- Analytical methods. (1) A ground water system subject to the source water monitoring requirements of paragraph (a) of this section must col- lect a standard sample volume of at least 100 mL for fecal indicator anal- ysis regardless of the fecal indicator or analytical  method  used.

(2) A ground water system must ana- lyze all ground water source samples collected under paragraph (a) of this section using one of the analytical methods listed in the following table in paragraph (c)(2) of this section or one of the alternative methods listed in ap- pendix A to subpart C of  this  part  for the presence of E. coli, enterococci, or coliphage:

ANALYTICAL METHODS FOR SOURCE WATER MONITORING

| Fecal indicator 1 | Methodology | Method citation |
| --- | --- | --- |
| E. coli ............................................................... | Colilert 3 ......................................................... | 9223 B.2 |
|  | Colisure 3 ....................................................... | 9223 B.2 |
|  | Membrane Filter Method with MI Agar ......... | EPA Method 1604.4 |
|  | m-ColiBlue24 Test 5. |  |
|  | E*Colite Test 6. |  |
|  | EC–MUG 7 ..................................................... | 9221 F.2 |
|  | NA–MUG 7 ..................................................... | 9222 G.2 |
| Enterococci | Multiple-Tube Technique ............................... | 9230B.2 |
|  | Membrane Filter Technique .......................... | 9230C.2 |
|  | Membrane Filter Technique .......................... | EPA Method 1600.8 |
|  | Enterolert 9. |  |
| Coliphage ........................................................ | Two-Step Enrichment Presence-Absence | EPA Method 1601.10 |
|  | Procedure. |  |
|  | Single Agar Layer Procedure ........................ | EPA Method 1602.11 |

Analyses must be conducted in accordance with the documents listed below. The Director of the Federal Register approves the incorporation by reference of the documents listed in footnotes 2–11 in accordance with 5 U.S.C. 552(a) and 1 CFR part 51. Copies of the documents may be obtained from the sources listed below. Copies may be inspected at EPA’s Drinking Water Docket, EPA West, 1301 Constitution Avenue, NW., EPA West, Room B102, Washington DC 20460 (Telephone: 202–566– 2426); or at the National Archives and Records Administration (NARA). For information on the availability of this material at NARA, call 202–741–6030 1 The time from sample collection to initiation of analysis may not exceed 30 hours. The ground water system is encouraged

but is not required to hold samples below 10 C during transit.

2 Methods are described in Standard Methods for the Examination of Water and Wastewater 20th edition (1998) and copies may be obtained from the American Public Health Association, 1015 Fifteenth Street, NW., Washington, DC 20005–2605.

3 Medium is available through IDEXX Laboratories, Inc., One IDEXX Drive, Westbrook, Maine 04092.

#### § 141.402

40 CFR Ch. I (7–1–17 Edition)

4 EPA Method 1604: Total Coliforms and Escherichia coli in Water by Membrane Filtration Using a Simultaneous Detection Technique (MI Medium); September 2002, EPA 821–R–02–024. Method is available 1604sp02.pdf or from EPA’s Water Resource Center (RC–4100T), 1200 Pennsylvania Avenue, NW., Washington, DC 20460.

5 A description of the m-ColiBlue24 Test, ‘‘Total Coliforms and E. coli Membrane Filtration Method with m-ColiBlue24   Broth,’’ Method No. 10029 Revision 2, August 17, 1999, is available from Hach Company, 100 Dayton Ave., Ames, IA 50010  or from EPA’s Water Resource Center (RC–4100T), 1200 Pennsylvania Avenue, NW., Washington, DC 20460.

6 A description of the E*Colite Test, ‘‘Charm E*Colite Presence/Absence Test for Detection and Identification of Coliform Bac- teria and Escherichia coli in Drinking Water, January 9, 1998, is available from Charm Sciences, Inc., 659 Andover St., Law- rence, MA 01843–1032 or from EPA’s Water Resource Center (RC–4100T), 1200 Pennsylvania Avenue, NW., Washington, DC 20460.

7 EC–MUG (Method 9221F) or NA–MUG (Method 9222G) can be used for E. coli testing step as described in § 141.21(f)(6)(i) or (ii) after use of Standard Methods 9221 B, 9221 D, 9222 B, or 9222 C.

8 EPA Method 1600: Enterococci in Water by Membrane Filtration Using membrane-Enterococcus Indoxyl–b–D–Glucoside Agar (mEI) EPA 821–R–02–022 (September 2002) is an approved variation of Standard Method 9230C. The method is available or from EPA’s Water Resource Center (RC–4100T), 1200 Pennsylvania Avenue, NW., Washington, DC 20460. The holding time and temperature for ground water samples are specified in footnote 1 above, rather than as specified in Section 8 of EPA Method 1600.

9 Medium is available through IDEXX Laboratories, Inc., One IDEXX Drive, Westbrook, Maine 04092. Preparation and use of the medium is set forth in the article ‘‘Evaluation of Enterolert for Enumeration of Enterococci in Recreational Waters,’’ by Budnick, G.E., Howard, R.T., and Mayo, D.R., 1996, Applied and Environmental Microbiology, 62:3881–3884.

10 EPA Method 1601: Male-specific (F + ) and Somatic Coliphage in Water by Two-step Enrichment Procedure; April 2001, EPA 821–R–01–030. Method is available or from EPA’s Water Resource Center (RC–4100T), 1200 Pennsylvania Avenue, NW., Washington, DC 20460.

11 EPA Method 1602: Male-specific (F + ) and Somatic Coliphage in Water by Single Agar Layer (SAL) Procedure; April 2001, EPA 821–R–01–029. Method is available or from EPA’s Water Resource Center (RC–4100T), 1200 Pennsylvania Avenue, NW., Washington, DC 20460.

- Invalidation of a fecal indicator- positive ground water source sample. (1) A ground water system may obtain State invalidation of a fecal indicator-posi- tive ground water source sample col- lected under paragraph (a) of this sec- tion only under the conditions speci- fied in paragraphs (d)(1)(i) and (ii) of this  section.

- The system provides the State with written notice from the labora- tory that improper sample analysis oc- curred; or

- The State determines and docu- ments in writing that there is substan- tial evidence that a fecal indicator- positive ground water source sample is not related to source water quality.

(2) If the State invalidates a fecal in- dicator-positive ground water source sample, the ground water system must collect another source water sample under paragraph (a) of this section within 24 hours of being notified by the State of its invalidation decision and have it analyzed for the same fecal in- dicator using the analytical methods in paragraph (c) of this section. The State may extend the 24-hour time limit on a case-by-case basis if the system cannot collect the source water sample within

24 hours due to circumstances beyond its control. In the case of an extension, the State must specify how much time the system has to collect the sample.

- Sampling location. (1) Any ground water source sample required under paragraph (a) of this section must be collected at a location prior to any treatment  of  the  ground  water  source

unless the State approves a sampling location after treatment.

- If the system’s configuration does not allow for sampling at  the  well itself, the system may collect a sample at a State-approved location to meet the requirements of paragraph (a) of this section if the sample is representa- tive of the water quality of that well.

- New sources. If directed  by the State, a ground water system that places a new ground water source into service after November 30, 2009, must conduct assessment source water moni- toring under paragraph (b) of this sec- tion. If directed by the State, the  sys- tem must begin monitoring before the ground water source is used to provide water to the public.

- Public notification. A ground water system with a ground water source sample collected under paragraph (a) or (b) of this section that is fecal indi- cator-positive and that is not invali- dated under paragraph (d) of this sec- tion, including consecutive systems served by the ground water source, must conduct public notification under

§ 141.202.

- Monitoring violations. Failure to meet the requirements of paragraphs (a)–(f) of this section is a monitoring violation  and  requires  the   ground water system to provide public notifi- cation under § 141.204.

[71 FR 65653, Nov. 8, 2006; 71 FR 67427, Nov. 21,

2006, as amended at 74 FR 30958, June 29, 2009;

78 FR 10353, Feb. 13, 2013]

#### Environmental Protection Agency	§ 141.403

##### § 141.403   Treatment technique require- ments for ground water systems.

- Ground water systems with signifi- cant deficiencies or source water fecal contamination. (1) The treatment tech- nique  requirements   of   this   section must be met by ground water systems when a significant deficiency is identi- fied or when a ground water source sample collected under § 141.402(a)(3) is fecal     indicator-positive.

  - If directed by the State, a ground water system with a ground water source      sample      collected      under

§ 141.402(a)(2),	§ 141.402(a)(4),	or

§ 141.402(b) that is fecal indicator-posi- tive must comply with the treatment technique  requirements  of  this  section.

  - When a significant deficiency is identified at a Subpart H public water system that uses both ground water and surface water or ground water under the direct influence of surface water, the system must comply with provisions of this paragraph except in cases where the State determines that the significant deficiency is in a por- tion of the distribution system that is served solely by surface water or ground water under the direct influ- ence of surface water.

  - Unless the State directs the ground water system to implement a specific corrective action, the ground water system must consult with  the State regarding the appropriate correc- tive action within 30 days of receiving written notice from the State of a sig- nificant  deficiency,  written  notice from a laboratory that a ground water source       sample       collected       under

§ 141.402(a)(3) was found to be fecal indi- cator-positive, or  direction  from  the State that a fecal indicator’positive collected	under	§ 141.402(a)(2),

§ 141.402(a)(4), or § 141.402(b) requires corrective action.  For  the  purposes  of this subpart, significant deficiencies include, but are not  limited  to,  defects in  design,  operation,  or   maintenance, or a failure or  malfunction  of  the sources, treatment, storage, or dis- tribution system that the State deter- mines to be causing, or have  potential for causing, the introduction of con- tamination into the water delivered to consumers.

  - Within 120 days (or earlier if di- rected  by  the  State)  of  receiving  writ-

ten notification from the State of a significant deficiency, written notice from a laboratory that a ground water source      sample      collected      under

§ 141.402(a)(3) was found to be fecal indi- cator-positive, or  direction  from  the State that a fecal indicator-positive sample  collected  under  § 141.402(a)(2),

§ 141.402(a)(4), or § 141.402(b) requires corrective action,  the  ground  water system   must   either:

- Have completed corrective action in accordance with applicable State plan review processes or other State guidance or direction, if any, including State-specified interim measures; or

- Be in compliance with a State-ap- proved corrective action plan and schedule subject to the conditions spec- ified in paragraphs (a)(5)(ii)(A) and (a)(5)(ii)(B) of this section.

  - Any subsequent  modifications  to a  State-approved  corrective   action plan and schedule must also be ap- proved by the State.

  - If the State specifies interim measures for protection of the public health pending State approval of the corrective action plan and schedule or pending completion of the corrective action plan, the system must comply with these interim measures as well as with any schedule specified by the State.

  - Corrective action alternatives. Ground water systems that meet the conditions of paragraph (a)(1) or (a)(2) of this section must implement one or more of the following corrective action alternatives:

    - Correct all significant defi- ciencies;

    - Provide an alternate source of water;

    - Eliminate the source of contami- nation; or

    - Provide treatment that reliably achieves at least 4-log treatment of vi- ruses (using inactivation, removal, or a State-approved combination of 4-log virus inactivation and removal)  before or at the first customer for the ground water source.

  - Special notice to the public of sig- nificant deficiencies or source water fecal contamination. (i) In addition to the ap- plicable public notification  require- ments of § 141.202, a community ground water  system  that  receives  notice  from

#### § 141.403

the State of a significant deficiency or notification of a fecal indicator-posi- tive ground water source sample that is  not  invalidated  by  the  State  under

§ 141.402(d) must inform the public served     by     the     water     system     under

§ 141.153(h)(6) of the fecal indicator- positive source sample or of any sig- nificant deficiency that has not been corrected. The system must  continue to inform the public annually until the significant deficiency  is  corrected  or the fecal contamination in the ground water source is determined by  the State to be corrected under paragraph (a)(5) of this section.

- In addition to the applicable pub- lic       notification       requirements       of

§ 141.202, a non-community ground water system that receives notice from the State of a significant  deficiency must inform the public served by the water system in a manner approved by the State of any significant deficiency that has not been corrected within 12 months of being notified  by  the  State, or earlier if  directed by the State. The system must continue to inform the public annually until the significant deficiency is corrected. The  informa- tion must include:

  - The nature of the significant defi- ciency and the date the significant de- ficiency was identified by the State;

  - The State-approved plan and schedule for correction of the signifi- cant deficiency, including interim measures, progress to date, and any in- terim measures completed; and

  - For systems with a large propor- tion of non-English speaking con- sumers, as determined by the State, in- formation in the appropriate lan- guage(s) regarding the importance of the notice or a telephone number or ad- dress where consumers may contact the system to obtain a translated copy of the notice or assistance in the ap- propriate language.

- If directed by the State, a non- community water system with signifi- cant deficiencies that have been cor- rected must inform its customers of the significant deficiencies, how the deficiencies were corrected, and the dates of correction under paragraph (a)(7)(ii) of this section.

- Compliance monitoring—(1) Existing ground  water  sources.  A  ground  water

#### 40 CFR Ch. I (7–1–17 Edition)

system that is not required to meet the source water monitoring requirements of this subpart for any ground water source because it provides at least 4-log treatment of viruses (using inactiva- tion, removal, or a State-approved combination of 4-log virus inactivation and removal) before or at the first cus- tomer for any ground water source be- fore December 1, 2009, must notify the State in writing  that  it  provides  at least 4-log treatment of viruses (using inactivation, removal, or a State-ap- proved combination of 4-log virus inac- tivation and removal) before or at the first customer for the specified ground water source and begin compliance monitoring in accordance with para- graph (b)(3) of this section by Decem- ber 1, 2009. Notification to the State must include engineering, operational, or other information that the State re- quests to evaluate the submission. If the system subsequently discontinues 4-log treatment of viruses (using inac- tivation, removal, or a State-approved combination of 4-log virus inactivation and removal) before or at the first cus- tomer for a ground water source, the system must conduct ground water source  monitoring  as  required  under

§ 141.402.

- New ground water sources. A ground water system that places a ground water source in service after November 30, 2009, that is not required to meet the source water monitoring requirements of this subpart because the system provides at least 4-log treatment of viruses (using inactiva- tion, removal, or a State-approved combination of 4-log virus inactivation and removal) before or at the first cus- tomer for the ground water  source must comply with the requirements of paragraphs (b)(2)(i), (b)(2)(ii) and (b)(2)(iii) of this section.

- The system must notify  the  State in writing that it provides at  least  4- log treatment of viruses (using inac- tivation, removal, or a State-approved combination of 4-log virus inactivation and removal) before or at the first cus- tomer for the ground water source. No- tification to the State must include en- gineering, operational, or other infor- mation that the State requests to evaluate the submission.

#### Environmental Protection Agency	§ 141.403

- The system must conduct compli- ance   monitoring   as   required   under

§ 141.403(b)(3)  of  this  subpart  within  30 days  of  placing  the  source  in  service.

- The system must conduct ground water source monitoring under § 141.402 if the system subsequently  discon- tinues 4-log treatment of viruses (using inactivation, removal, or a State-ap- proved combination of 4-log virus inac- tivation and removal) before or at the first customer for the ground water source.

- Monitoring requirements. A ground water system subject to the require- ments of paragraphs (a), (b)(1) or (b)(2) of this section must monitor the effec- tiveness and  reliability  of  treatment for that ground water source before or at the first customer as follows:

  - Chemical disinfection—(A) Ground water systems serving greater than 3,300 people. A ground water system that serves greater than 3,300 people must continuously monitor the residual dis- infectant  concentration  using  analyt- ical methods specified in  § 141.74(a)(2) at a location approved by the State and must record the lowest residual dis- infectant concentration each day that water from the ground water source is served to the public. The ground water system must  maintain the State-deter- mined residual disinfectant concentra- tion every day the ground water sys- tem serves  water  from  the  ground water source to the public. If there is a failure in the continuous monitoring equipment, the ground water system must conduct grab sampling every four hours until the continuous monitoring equipment is  returned to service. The system must resume continuous resid- ual disinfectant monitoring within 14 days.

(B) Ground water systems serving 3,300 or fewer people. A ground water system that serves 3,300 or fewer people must monitor the residual disinfectant con- centration using analytical methods specified in § 141.74(a)(2) at a location approved by the State and record the residual    disinfection    concentration each day that water from the ground water  source  is  served  to  the  public. The ground water system must main- tain the State-determined residual dis- infectant concentration every day the ground  water  system  serves  water  from

the ground water source to the public. The ground water system must take a daily grab sample during the hour of peak flow or at another time specified by the State. If any daily grab sample measurement falls below the State-de- termined residual disinfectant con- centration, the ground water system must take follow-up samples every four hours until the residual disinfectant concentration is restored to the State- determined level. Alternatively, a ground water system that serves 3,300 or fewer people may monitor continu- ously and meet the requirements of paragraph (b)(3)(i)(A) of this section.

  - Membrane filtration. A ground water system that uses membrane fil- tration to meet the requirements of this subpart must monitor the mem- brane filtration process in accordance with all State-specified monitoring re- quirements and must operate the mem- brane filtration in accordance with all State-specified compliance require- ments. A ground water system that uses membrane filtration is in compli- ance with the requirement to achieve at least 4-log removal of viruses when:

    - The membrane has an absolute molecular weight cut-off (MWCO), or an alternate parameter that describes the exclusion characteristics of the membrane, that can reliably achieve at least 4-log removal of viruses;

    - The membrane process is oper- ated in accordance with State-specified compliance requirements; and

    - The integrity of the membrane is intact.

  - Alternative treatment. A ground water system that uses a State-ap- proved alternative treatment to meet the requirements of this subpart by providing at least 4-log treatment of viruses (using inactivation, removal, or a State-approved combination of 4-log virus inactivation and removal)  before or at the first customer must:

    - Monitor the alternative treat- ment in accordance with all State- specified monitoring requirements; and

    - Operate the alternative treat- ment in accordance with all compli- ance requirements that the State de- termines to be necessary to achieve at least 4-log treatment of viruses.

- Discontinuing treatment. A ground water   system   may   discontinue   4-log

#### § 141.404

treatment of viruses (using inactiva- tion, removal, or a State-approved combination of 4-log virus inactivation and removal) before or at the first cus- tomer for a ground water source if the State determines and documents in writing that 4-log treatment of viruses is no longer necessary for that ground water source. A system that discon- tinues 4-log treatment of viruses is subject to the source water monitoring and  analytical  methods  requirements of § 141.402 of this subpart.

- Failure to meet the monitoring requirements of paragraph (b) of this section is a monitoring violation and requires the ground water system to provide      public      notification      under

§ 141.204.

##### § 141.404   Treatment   technique   viola- tions for ground water systems.

- A ground water system with a sig- nificant  deficiency  is  in  violation  of the  treatment  technique  requirement if, within 120 days (or earlier if directed by the State) of receiving written no- tice from the State of the significant deficiency,  the  system:

  - Does not complete corrective ac- tion in accordance with any applicable State plan review processes or other State guidance and direction, including State specified interim actions and measures, or

  - Is not in compliance with a State- approved corrective action plan and schedule.

- Unless  the  State  invalidates  a fecal indicator-positive ground water source sample under § 141.402(d), a ground water system is in violation  of the   treatment   technique   requirement if, within 120 days (or earlier if directed by the State) of  meeting  the  conditions of § 141.403(a)(1) or § 141.403(a)(2), the system:

- Does not complete corrective ac- tion in accordance with any applicable State plan review processes or other State guidance and direction, including State-specified interim measures, or

- Is not in compliance with a State- approved corrective action plan and schedule.

- A ground water system subject to the requirements of § 141.403(b)(3) that fails to maintain at least 4-log treat- ment of viruses (using inactivation, re-

#### 40 CFR Ch. I (7–1–17 Edition)

moval, or a State-approved combina- tion of 4-log virus inactivation and re- moval) before or at the first  customer for a ground water source is in viola- tion of the treatment technique re- quirement if the failure is not  cor- rected within four hours of deter- mining the system is  not  maintaining at least 4-log treatment of viruses be- fore or at the first customer.

- Ground water system must give public notification under § 141.203 for the treatment technique violations specified in paragraphs (a),  (b)  and  (c) of  this  section.

##### § 141.405   Reporting and recordkeeping for ground water systems.

- Reporting. In addition to the re- quirements of § 141.31, a ground water system regulated under this subpart must provide the following information to  the  State:

  - A ground water system con- ducting  compliance  monitoring  under

§ 141.403(b) must notify the State any time the system fails to meet any State-specified requirements including, but not limited to, minimum residual disinfectant concentration, membrane operating criteria or membrane integ- rity, and alternative treatment oper- ating criteria, if operation in accord- ance with the criteria or requirements is not restored within four hours. The ground water system must notify the State as soon as possible, but in no case later than the end of the next business day.

  - After completing any corrective action under § 141.403(a), a ground water system must notify the State within 30 days of completion of the cor- rective  action.

  - If a ground water  system  subject to the requirements of § 141.402(a) does not conduct source water monitoring under § 141.402(a)(5)(ii), the system must provide  documentation  to  the State within 30 days of the total coli- form positive sample that  it  met  the State    criteria.

- Recordkeeping. In addition to the requirements of § 141.33, a ground water system regulated  under  this  subpart must maintain the  following  informa- tion  in  its  records:

#### Environmental Protection Agency	§ 141.502

  - Documentation of corrective ac- tions. Documentation shall be kept for a period of not less than ten years.

  - Documentation of notice to the public as required under § 141.403(a)(7). Documentation shall be kept for a pe- riod of not less than three years.

  - Records	of	decisions	under

§ 141.402(a)(5)(ii) and records of invali- dation of  fecal  indicator-positive ground   water   source   samples   under

§ 141.402(d). Documentation shall be kept for a period of not less than five years.

  - For consecutive systems, docu- mentation of notification to the whole- sale system(s) of  total  coliform-posi- tive samples that are not invalidated under § 141.21(c) until March 31, 2016, or under § 141.853 beginning April 1, 2016. Documentation shall be kept for a pe- riod of not less than five years.

  - For systems, including wholesale systems, that are required to perform compliance	monitoring	under

§ 141.403(b):

    - Records of the State-specified minimum disinfectant residual. Docu- mentation shall be kept for a period of not less than ten years.

    - Records of the lowest daily resid- ual disinfectant concentration and records of the date and duration of any failure to maintain the State-pre- scribed minimum residual disinfectant concentration for a period of more than four hours. Documentation shall be kept for a period of not less than five years.

    - Records of State-specified com- pliance requirements for membrane fil- tration and of parameters specified by the State for State-approved  alter- native treatment and records  of  the date and duration of  any  failure  to meet the membrane operating, mem- brane integrity, or alternative treat- ment operating requirements for more than four hours. Documentation shall be kept for a period of not  less  than five  years.

[71  FR  65653,  Nov.  8,  2006,  as  amended  at  78

FR 10353, Feb. 13, 2013]

# Subpart T—Enhanced Filtration and Disinfection—Systems Serving Fewer Than 10,000 People

SOURCE: 67  FR 1839,  Jan. 14,  2002,  unless

otherwise noted.

GENERAL REQUIREMENTS

##### § 141.500   General requirements.

The requirements of this subpart constitute national primary drinking water regulations. These regulations establish  requirements  for  filtration and disinfection that are in addition to criteria under which filtration and dis- infection are required under subpart H of this part. The regulations in this subpart establish or extend treatment technique requirements in lieu of max- imum contaminant levels for the fol- lowing contaminants: Giardia lamblia, viruses, heterotrophic plate count bac- teria, Legionella, Cryptosporidium and turbidity. The treatment technique re- quirements consist of installing and properly operating water treatment processes which reliably achieve:

- At least 99 percent (2 log) removal of Cryptosporidium between a point where the raw water is not subject to recontamination by surface water run- off and a point downstream before or at the first customer for filtered  systems, or Cryptosporidium control under the watershed control plan for unfiltered systems; and

- Compliance with the profiling and benchmark requirements in §§ 141.530 through 141.544.

##### § 141.501 Who is subject to the require- ments of subpart T?

You are subject to these require- ments if your system:

- Is a public water system;

- Uses surface water or GWUDI as a source; and

- Serves fewer than 10,000 persons.

##### § 141.502 When must my system  com- ply with these requirements?

You must comply with these require- ments in this subpart beginning Janu- ary 1, 2005, except where otherwise noted.

[69 FR 38856, June 29, 2004]

§ 141.503

##### § 141.503   What does subpart T require?

There are seven requirements of this subpart, and you must comply with all requirements that are applicable to your system. These requirements are:

  - You  must  cover   any   finished water reservoir that you began to con- struct on or after March 15, 2002 as de- scribed in §§ 141.510 and 141.511;

  - If your system is an unfiltered system, you must comply with the up- dated watershed control requirements described in §§ 141.520–141.522;

  - If your system is a community or non-transient non-community water systems you must  develop  a  disinfec- tion profile as described in §§ 141.530– 141.536;

  - If your system is considering making a significant change to its dis- infection practices, you must develop a disinfection  benchmark  and   consult with the  State  for  approval  of  the change as described in §§ 141.540–141.544;

  - If your  system is a filtered sys- tem, you must comply with the com- bined filter effluent requirements as described in §§ 141.550–141.553;

  - If your system is a filtered system that uses conventional or direct filtra- tion, you must comply with the indi- vidual filter turbidity requirements as described in §§ 141.560–141.564; and

  - You must comply with the appli- cable reporting and recordkeeping re- quirements as described  in  §§ 141.570 and 141.571.

FINISHED WATER RESERVOIRS

##### § 141.510 Is my system subject to the new finished water reservoir re- quirements?

All subpart H systems which serve fewer than 10,000 are subject to this re- quirement.

##### § 141.511 What is required of new fin- ished water reservoirs?

If your  system  begins  construction  of a finished water reservoir on or after March 15, 2002 the reservoir must be covered. Finished water reservoirs for which your system began construction prior to March 15, 2002 are not subject to  this  requirement.

#### 40 CFR Ch. I (7–1–17 Edition)

ADDITIONAL WATERSHED CONTROL RE- QUIREMENTS FOR UNFILTERED SYS- TEMS

##### § 141.520 Is my system subject to the updated watershed control require- ments?

If you are a subpart H system serving fewer than 10,000 persons which does not provide filtration, you must con- tinue to comply with all of the filtra- tion avoidance criteria in § 141.71, as well as the additional watershed con- trol requirements in § 141.521.

##### § 141.521 What updated watershed control requirements must my unfiltered system implement to con- tinue to avoid filtration?

Your system must take any addi- tional steps necessary to minimize the potential for contamination by Cryptosporidium oocysts in the source water. Your system’s watershed con- trol program must, for Cryptosporidium:

- Identify watershed characteristics and activities which may have an ad- verse effect on source water quality; and

- Monitor the occurrence of activi- ties which may have an  adverse  effect on source water quality.

##### § 141.522 How does the State deter- mine whether my system’s water- shed control requirements are ade- quate?

During an onsite inspection con- ducted     under     the     provisions     of

§ 141.71(b)(3), the State must determine whether your watershed control pro- gram is adequate to limit potential contamination by Cryptosporidium oocysts. The adequacy of the program must be based on the comprehensive- ness of the watershed review; the effec- tiveness of your program to monitor and control detrimental activities oc- curring in the watershed; and the ex- tent to which your system has maxi- mized land ownership and/or controlled land use within the watershed.

DISINFECTION PROFILE

##### § 141.530 What is a disinfection profile and who must develop one?

A disinfection profile is a graphical representation of your system’s level of Giardia  lamblia  or   virus   inactivation

#### Environmental Protection Agency	§ 141.534

measured during the  course  of  a  year. If you are a subpart H community or non-transient non-community water system which serves fewer than 10,000 persons, your system must develop a disinfection profile unless your State determines  that  your   system’s   profile is  unnecessary.  Your  State  may  ap- prove the use of a more representative data set for disinfection profiling than the data set required under §§ 141.532– 141.536.

[67  FR 1839,  Jan. 14,  2002,  as  amended  at 69

FR 38856, June 29, 2004]

##### § 141.531 What criteria must a  State use to determine that a profile is unnecessary?

States may only determine that a system’s profile is unnecessary if a sys- tem’s TTHM and HAA5 levels are below

0.064 mg/L and 0.048 mg/L, respectively. To determine these levels, TTHM and HAA5 samples must be collected after January 1, 1998, during the month with the warmest water temperature, and at the point of maximum  residence  time in your  distribution  system.  Your State may approve a more representa- tive TTHM and HAA5 data set to deter- mine these levels.

[67  FR 1839,  Jan. 14,  2002,  as  amended  at 69

FR 38856, June 29, 2004]

##### § 141.532 How does my system develop a disinfection profile and when must it begin?

A disinfection profile consists of three steps:

- First, your system must collect data  for  several  parameters  from  the

plant as discussed in § 141.533 over the course of 12 months. If your system serves between 500 and 9,999 persons you must begin to collect data no later than July 1, 2003. If your system serves fewer than 500 persons you must begin to collect data no later than January 1, 2004.

- Second, your system  must  use this data to calculate weekly log inac- tivation as discussed in §§ 141.534 and 141.535; and

- Third, your  system  must  use these weekly log inactivations to de- velop a disinfection  profile  as  specified in § 141.536.

##### § 141.533 What data must my system collect to calculate a disinfection profile?

Your system must monitor the fol- lowing parameters to determine the total log inactivation using the analyt- ical methods in § 141.74 (a), once per week on the same calendar day, over 12 consecutive  months:

- The temperature of the dis- infected water at each residual dis- infectant concentration sampling point during peak hourly flow;

- If your system uses chlorine, the pH of the disinfected water at each re- sidual disinfectant concentration sam- pling point during peak hourly flow;

- The disinfectant contact time(s) (‘‘T’’) during peak hourly flow; and

- The residual disinfectant con- centration(s) (‘‘C’’) of the water before or at the first customer and prior to each additional point of disinfection during peak hourly flow.

##### § 141.534   How does my system use this data to calculate an inactivation ratio?

Use the tables in § 141.74(b)(3)(v) to determine the appropriate CT99.9 value. Cal- culate the total inactivation ratio as follows, and multiply the value by 3.0 to de- termine log inactivation of Giardia lamblia:

| If your system * * * | Your system must determine * * * |
| --- | --- |
| Uses only one point of dis- infectant application. Uses more than one point of disinfectant application be- fore the first customer. | One inactivation ratio (CTcalc/CT99.9) before or at the first customer during peak hourly flow or Successive CTcalc/CT99.9 values, representing sequential inactivation ratios, between the point of disinfectant application and a point before or at the first customer during peak hourly flow. Under this alternative, your system must calculate the total inactivation ratio by deter- mining (CTcalc/CT99.9) for each sequence and then adding the (CTcalc/CT99.9) values to- gether to determine (SCTcalc/CT99.9). The (CTcalc/CT99.9) value of each disinfection segment immediately prior to the next point of disinfectant application, or for the final segment, before or at the first customer, during peak hourly flow using the procedure specified in paragraph (a)(2) of this section. |

#### § 141.535

40 CFR Ch. I (7–1–17 Edition)

[67 FR 1839, Jan. 14, 2002, as amended at 69 FR 38856, June 29, 2004]

##### § 141.535 What if my system uses chloramines, ozone, or chlorine di- oxide for primary disinfection?

If your system uses chloramines, ozone, or chlorine dioxide for primary disinfection, you must also calculate the logs of inactivation for viruses and develop an additional disinfection pro- file for viruses using methods approved by the State.

##### § 141.536 My system has developed an inactivation ratio; what must we do now?

Each log inactivation  serves  as  a data point in your disinfection profile. Your system will have obtained 52 measurements (one for every week of the year). This will allow your system and the State the opportunity to evalu- ate how microbial inactivation varied over the course of the year by looking at all 52 measurements (your Disinfec- tion Profile). Your system must retain the Disinfection Profile data in graphic form, such as a spreadsheet,  which must be available for review by the State as part of  a  sanitary  survey. Your system must use this data to cal- culate a benchmark if you are consid- ering changes  to  disinfection  practices.

DISINFECTION  BENCHMARK

##### § 141.540 Who has to develop a dis- infection benchmark?

If you are a subpart H system re- quired to develop a disinfection profile under §§ 141.530 through 141.536, your system must develop a Disinfection Benchmark if you decide to make a significant change to your disinfection practice.   Your   system   must   consult

with the State for approval before you can implement a significant disinfec- tion practice change.

##### § 141.541 What are significant changes to disinfection practice?

Significant changes to disinfection practice include:

- Changes to the point of disinfec- tion;

- Changes to the disinfectant(s) used in the treatment plant;

- Changes to the disinfection proc- ess; or

- Any other modification identified by the State.

##### § 141.542 What must my system  do  if we are considering a significant change to disinfection practices?

If your system is considering a sig- nificant change to its disinfection practice, your system must calculate a disinfection benchmark(s) as described in §§ 141.543 and 141.544 and provide the benchmark(s) to your State. Your sys- tem may  only  make  a  significant  dis- infection practice change after con- sulting  with  the  State  for   approval. Your system must  submit  the  fol- lowing information to the  State  as  part of the consultation and approval proc- ess:

- A description of the proposed change;

- The disinfection profile for Giardia lamblia (and, if necessary, vi- ruses) and disinfection benchmark;

- An analysis of how the proposed change will affect the current levels of disinfection; and

- Any additional information re- quested by the State.

##### § 141.543   How is the disinfection benchmark calculated?

If your system is making a significant change to its disinfection practice, it must calculate a disinfection benchmark using the procedure specified in the fol- lowing table.

To calculate a disinfection benchmark your system must perform the following steps

Step 1: Using the data your system collected to develop the Disinfection Profile, determine the average Giardia lamblia inactiva- tion for each calendar month by dividing the sum of all Giardia lamblia inactivations for that month by the number of values calculated for that month.

Step 2: Determine the lowest monthly average value out of the twelve values. This value becomes the disinfection benchmark.

#### Environmental Protection Agency	§ 141.552

##### § 141.544 What if my system uses chloramines, ozone, or chlorine di- oxide for primary disinfection?

If your system uses  chloramines, ozone or chlorine dioxide for primary disinfection  your  system  must   cal- culate   the   disinfection   benchmark from  the  data  your  system  collected for viruses to develop the disinfection profile  in  addition  to   the   Giardia lamblia disinfection benchmark cal- culated under § 141.543. This viral benchmark must be calculated in  the same manner used to calculate  the Giardia lamblia  disinfection  benchmark in § 141.543.

COMBINED FILTER EFFLUENT REQUIREMENTS

##### § 141.550 Is my system  required  to meet subpart T combined filter ef- fluent turbidity limits?

All subpart H systems which serve populations fewer than 10,000, are re- quired to filter, and utilize filtration other than slow sand filtration or dia- tomaceous earth filtration must meet the combined filter effluent turbidity requirements of §§ 141.551–141.553 . If your system uses slow sand or diato- maceous earth filtration you are not required to meet the combined filter effluent turbidity limits of subpart T, but you must continue to meet the combined filter effluent turbidity lim- its in § 141.73.

##### § 141.551 What strengthened combined filter effluent turbidity limits must my system meet?

Your system must meet two strengthened combined filter effluent turbidity   limits.

  - The first combined filter effluent turbidity limit is a ‘‘95th percentile’’ turbidity limit that your system must meet in at least 95 percent of the tur- bidity measurements  taken  each month.  Measurements  must  continue to be taken as described in § 141.74(a) and (c). Monthly reporting must be completed according to § 141.570. The following table describes the required limits for specific filtration tech- nologies.

| If your system consists of * * * | Your 95th per- centile turbidity value is * * * |
| --- | --- |
| Conventional Filtration or Direct Fil- tration. All other ‘‘Alternative’’ Filtration ........ | 0.3 NTU. A value determined by the State (not to exceed 1 NTU) based on the demonstra- tion described in § 141.552. |

  - The second combined filter efflu- ent turbidity limit is a ‘‘maximum’’ turbidity limit which your system may at no time exceed during the month. Measurements must continue to be taken as described in § 141.74(a) and (c). Monthly reporting must be completed according to § 141.570. The following table describes the required limits for specific  filtration  technologies.

| If your system consists of * * * | Your maximum tur- bidity value is * * * |
| --- | --- |
| Conventional Filtration or Direct Fil- tration. All other ‘‘Alternative Filtration’’ ........ | 1 NTU. A value determined by the State (not to exceed 5 NTU) based on the demonstra- tion as described in § 141.552. |

[67  FR 1839,  Jan. 14,  2002,  as  amended  at 69

FR 38856, June 29, 2004]

##### § 141.552 My system consists of ‘‘alter- native filtration’’ and is required to conduct a demonstration—what is required of my system and how does the State establish my tur- bidity limits?

- If your system consists of alter- native filtration(filtration other than slow  sand  filtration,  diatomaceous earth filtration, conventional  filtra- tion, or direct filtration) you are re- quired to conduct a demonstration (see tables in § 141.551). Your system must demonstrate to the State, using pilot plant studies or other means, that your system’s  filtration,  in   combination with disinfection treatment, consist- ently  achieves:

- 99	percent	removal	of

Cryptosporidium oocysts;

- 99.9 percent removal and/or inac- tivation of Giardia lamblia cysts; and

- 99.99 percent removal and/or inac- tivation  of  viruses.

#### § 141.553

- [Reserved]

##### § 141.553 My system practices lime softening—is there any special pro- vision regarding my combined filter effluent?

If your system practices lime soft- ening, you may acidify representative combined filter effluent turbidity sam- ples prior to analysis using a protocol approved by the State.

INDIVIDUAL FILTER TURBIDITY REQUIREMENTS

##### § 141.560 Is my system subject to indi- vidual filter turbidity require- ments?

| If a system was re- quired to report to the State * * * | Your system must * * * |
| --- | --- |
| For three months in a row and turbidity ex- ceeded 1.0 NTU in two consecu- tive recordings 15 minutes apart at the same filter (or CFE for systems with 2 filters that monitor CFE in lieu of individual filters). For two months in a row and tur- bidity exceeded 2.0 NTU in 2 con- secutive record- ings 15 minutes apart at the same filter (or CFE for systems with 2 fil- ters that monitor CFE in lieu of in- dividual filters). | Conduct a self-assessment of the fil- ter(s) within 14 days of the day the filter exceeded 1.0 NTU in two con- secutive measurements for the third straight month unless a CPE as specified in paragraph (c) of this sec- tion was required. Systems with 2 fil- ters that monitor CFE in lieu of indi- vidual filters must conduct a self as- sessment on both filters. The self-as- sessment must consist of at least the following components: assessment of filter performance; development of a filter profile; identification and prioritization of factors limiting filter performance; assessment of the ap- plicability of corrections; and prepa- ration of a filter self-assessment re- port. Arrange to have a comprehensive per- formance evaluation (CPE) con- ducted by the State or a third party approved by the State not later than 60 days following the day the filter exceeded 2.0 NTU in two consecu- tive measurements for the second straight month. If a CPE has been completed by the State or a third party approved by the State within the 12 prior months or the system and State are jointly participating in an ongoing Comprehensive Tech- nical Assistance (CTA) project at the system, a new CPE is not required. If conducted, a CPE must be com- pleted and submitted to the State no later than 120 days following the day the filter exceeded 2.0 NTU in two consecutive measurements for the second straight month. |

If your system is a subpart H system serving fewer than 10,000 people and utilizing conventional filtration or di- rect filtration, you must conduct con- tinuous monitoring of turbidity for each individual filter at your system. The following requirements apply to continuous turbidity monitoring:

- Monitoring must be conducted using an approved method in § 141.74(a);

- Calibration of turbidimeters must be conducted using procedures speci- fied by the manufacturer;

- Results of turbidity monitoring must be recorded at least every 15 min- utes;

- Monthly reporting must be com- pleted according to § 141.570; and

- Records must be maintained ac- cording to § 141.571.

##### § 141.561 What happens if my system’s turbidity monitoring equipment fails?

If there is a failure in the continuous turbidity monitoring equipment, your system must conduct grab sampling every four hours in lieu of continuous monitoring until the turbidimeter is back on-line. Your system has 14 days to resume continuous monitoring be- fore a violation is incurred.

##### § 141.562 My system only has two or fewer filters—is there any special provision regarding individual fil- ter turbidity monitoring?

Yes, if your system only consists of two or fewer filters, you may conduct continuous monitoring of combined fil- ter effluent turbidity in lieu of indi- vidual  filter  effluent  turbidity  moni-

#### 40 CFR Ch. I (7–1–17 Edition)

toring.  Continuous  monitoring  must meet the same  requirements  set  forth in § 141.560(a) through (d) and § 141.561.

##### § 141.563 What follow-up action is my system required to take based on continuous turbidity monitoring?

| If * * * | Your system must * * * |
| --- | --- |
| (a) The turbidity of an individual filter (or the turbidity of combined filter ef- fluent (CFE) for systems with 2 fil- ters that monitor CFE in lieu of in- dividual filters) exceeds 1.0 NTU in two consecu- tive recordings 15 minutes apart. | Report to the State by the 10th of the following month and include the filter number(s), corresponding date(s), turbidity value(s) which exceeded 1.0 NTU, and the cause (if known) for the exceedance(s). |

Follow-up action is required accord- ing to the following tables:

#### Environmental Protection Agency	§ 141.571

[67  FR 1839,  Jan. 14,  2002,  as  amended  at 69

FR 38856, June 29, 2004]

##### § 141.564 My system practices lime softening—is there any special pro- vision regarding my individual fil- ter turbidity monitoring?

If   your   system   utilizes   lime   soft- ening, you may apply to the State for

alternative turbidity exceedance levels for the levels specified in the table in

§ 141.563. You must be able to dem- onstrate to the State that  higher  tur- bidity levels are due to lime carryover only, and not due to degraded filter performance.

REPORTING AND RECORDKEEPING REQUIREMENTS

##### § 141.570   What does subpart T require that my system report to the State?

This subpart T requires your system to report several items to the State. The following table describes the items which must be reported and the frequency of reporting. Your system is required to report the information described in the fol- lowing table, if it is subject to the specific requirement shown in the first col- umn.

| Corresponding requirement | Description of information to report | Frequency |
| --- | --- | --- |
| Combined Filter Effluent Requirements. (§§ 141.550–141.553) Individual Turbidity Re- quirements. (§§ 141.560–141.564) Disinfection Profiling ...... (§§ 141.530–141.536) Disinfection Benchmarking. (§§ 141.540–141.544) | The total number of filtered water turbidity meas- urements taken during the month. The number and percentage of filtered water tur- bidity measurements taken during the month which are less than or equal to your system’s required 95th percentile limit. The date and value of any turbidity measurements taken during the month which exceed the maximum turbidity value for your filtration system. That your system conducted individual filter tur- bidity monitoring during the month. The filter number(s), corresponding date(s), and the turbidity value(s) which exceeded 1.0 NTU dur- ing the month, and the cause (if known) for the ex- ceedance(s), but only if 2 consecutive measure- ments exceeded 1.0 NTU. If a self-assessment is required, the date that it was triggered and the date that it was completed. If a CPE is required, that the CPE is required and the date that it was triggered. (5) Copy of completed CPE report ................................ (1) Results of optional monitoring which show TTHM levels <0.064 mg/l and HAA5 levels <0.048 mg/l (Only if your system wishes to forgo profiling) or that your system has begun disinfection profiling. (1) A description of the proposed change in disinfec- tion, your system’s disinfection profile for Giardia lamblia (and, if necessary, viruses) and disinfection benchmark, and an analysis of how the proposed change will affect the current levels of disinfection. | By the 10th of the following month. By the 10th of the following month. By the 10th of the following month. By the 10th of the following month. By the 10th of the following month. By the 10th of the following month (or 14 days after the self-assessment was triggered only if the self-assessment was triggered during the last four days of the month) By the 10th of the following month. Within 120 days after the CPE was trig- gered. For systems serving 500–9,999 by July 1, 2003; For systems serving fewer than 500 by January 1, 2004. Anytime your system is considering a significant change to its disinfection practice. |

[67 FR 1839, Jan. 14, 2002, as amended at 69 FR 38857, June 29, 2004]

##### § 141.571   What records does subpart T require my system to keep?

Your system must keep several types of records based on the requirements of subpart T, in addition to recordkeeping

requirements under § 141.75. The fol- lowing table describes the necessary records,  the  length  of  time   these records must be kept, and for which re- quirement    the    records    pertain.    Your

#### § 141.600

system is required to maintain records described in this table, if it is subject

#### 40 CFR Ch. I (7–1–17 Edition)

to  the  specific  requirement  shown  in the  first  column.

| Corresponding requirement | Description of necessary records | Duration of time records must be kept |
| --- | --- | --- |
| (a) Individual Filter Turbidity Requirements ................... (§§ 141.560–141.564) (b) Disinfection Profiling ................................................. (§§ 141.530–141.536) (c) Disinfection Benchmarking ....................................... (§§ 141.540–141.544) | Results of individual filter monitoring ........................... Results of Profile (including raw data and analysis) .... Benchmark (including raw data and analysis) ............. | At least 3 years. Indefinitely. Indefinitely. |

# Subpart U—Initial Distribution System Evaluations

SOURCE: 71 FR 483, Jan. 4, 2006, unless oth- erwise noted.

##### § 141.600   General requirements.

- The requirements of subpart U of this part constitute national primary drinking water regulations. The regu- lations in this subpart establish moni- toring and other requirements for iden- tifying subpart V compliance moni- toring locations for determining com- pliance with maximum contaminant levels for total trihalomethanes (TTHM) and haloacetic acids (five)(HAA5). You must use an Initial Distribution System Evaluation (IDSE) to determine locations with represent- ative high TTHM and HAA5 concentra- tions throughout your distribution sys- tem.  IDSEs  are  used  in  conjunction

with, but separate from, subpart L compliance monitoring, to identify and select subpart V compliance moni- toring locations.

- Applicability. You are subject to these requirements if your system is a community water system that uses a primary or residual disinfectant other than ultraviolet light or delivers water that has been treated  with  a  primary or residual disinfectant other than ul- traviolet light; or if your system is a nontransient noncommunity water sys- tem that serves at least 10,000 people and uses a primary or residual dis- infectant   other   than   ultraviolet    light or delivers water that has been treated with a primary or residual disinfectant other   than   ultraviolet   light.

- Schedule. (1) You must comply with the requirements of this  subpart on the schedule in the table in this paragraph (c)(1).

| If you serve this population | You must submit your standard monitoring plan or system specific study plan 1 or 40/30 certification 2 to the State by or receive very small system waiver from State | You must complete your standard monitoring or system specific study by | You must submit your IDSE report to the State by 3 |
| --- | --- | --- | --- |

Systems that are not part of a combined distribution system and systems that serve the largest population in the combined distribution system

| (i) 100,000 ........ | October 1, 2006 ............................ | September 30, 2008 ..................... | January 1, 2009. |
| --- | --- | --- | --- |
| (ii) 50,000–99,999 | April 1, 2007 .................................. | March 31, 2009 ............................. | July 1, 2009. |
| (iii) 10,000– | October 1, 2007 ............................ | September 30, 2009 ..................... | January 1, 2010. |
| 49,999. |  |  |  |
| (iv) <10,000 | April 1, 2008 .................................. | March 31, 2010 ............................. | July 1, 2010. |
| (CWS Only). |  |  |  |

Other systems that are part of a combined distribution system

| (v) Wholesale system or con- secutive sys- tem. | —at the same time as the system with the earliest compliance date in the combined distribu- tion system. | —at the same time as the system with the earliest compliance date in the combined distribu- tion system. | —at the same time as the system with the earliest compliance date in the combined distribu- tion system. |
| --- | --- | --- | --- |

1 If, within 12 months after the date identified in this column, the State does not approve your plan or notify you that it has not yet completed its review, you may consider the plan that you submitted as approved. You must implement that plan and you must complete standard monitoring or a system specific study no later than the date identified in the third column.

2 You must submit your 40/30 certification under § 141.603 by the date indicated.

3 If, within three months after the date identified in this column (nine months after the date identified in this column if you must comply on the schedule in paragraph (c)(1)(iii) of this section), the State does not approve your IDSE report or notify you that it has not yet completed its review, you may consider the report that you submitted as approved and you must implement the rec- ommended subpart V monitoring as required.

Environmental Protection Agency	§ 141.601

(2) For the purpose of the schedule in paragraph (c)(1) of this section,  the State may determine that the com- bined distribution system does not in- clude certain consecutive  systems based on factors such as receiving water from a wholesale system only on an emergency basis or receiving only a small percentage and small volume of water from a wholesale system. The State may also determine that the combined distribution system does not include certain  wholesale  systems based on factors such as delivering water to a consecutive system only on an emergency basis or delivering only a small percentage and small volume of water to a consecutive system.

- You must conduct standard moni- toring  that  meets  the  requirements  in

§ 141.601, or a system specific study that meets the requirements in § 141.602, or certify to the State that you meet 40/30 certification criteria under § 141.603, or qualify for a very small system waiver under § 141.604.

  - You must have taken the full complement of routine  TTHM  and HAA5 compliance samples required of a system with your population and source water under subpart L of this part (or you must have taken the full complement of reduced TTHM and HAA5 compliance samples required of a system with your population and source water under subpart L if you meet reduced monitoring  criteria under subpart L of this part) during the period specified in § 141.603(a) to meet the     40/30     certification     criteria     in

§ 141.603.  You must have taken TTHM and  HAA5  samples  under  §§ 141.131  and

141.132 to be eligible for the very small system waiver in § 141.604.

  - If you have not taken the required samples, you must conduct standard monitoring that meets the  require- ments in § 141.601, or a system specific study   that   meets   the   requirements   in

§ 141.602.

- You must use only the analytical methods specified in § 141.131, or other- wise approved by EPA for monitoring under this subpart, to demonstrate compliance with the requirements of this  subpart.

- IDSE results will not be used  for the purpose of determining compliance with MCLs in § 141.64.

##### § 141.601   Standard monitoring.

- Standard monitoring plan. Your standard monitoring plan must comply with paragraphs (a)(1) through (a)(4) of this section. You must prepare and submit your standard monitoring  plan to the State  according  to  the  schedule in § 141.600(c).

  - Your standard monitoring plan must include a schematic of your dis- tribution system (including distribu- tion system entry points and their sources, and storage facilities), with notes indicating locations and dates of all projected standard monitoring, and all projected subpart L compliance monitoring.

  - Your standard monitoring plan must include justification of standard monitoring location selection and a summary of data you relied on to jus- tify standard monitoring location se- lection.

  - Your standard monitoring plan must specify the population served and system type (subpart H or ground water).

  - You must retain a complete copy of your standard monitoring plan sub- mitted under this paragraph (a), in- cluding any State modification of your standard monitoring plan, for as long as you are required to retain your IDSE report under paragraph (c)(4) of this section.

- Standard monitoring. (1) You must monitor as indicated in the table in this paragraph (b)(1). You must collect dual sample sets at each monitoring lo- cation. One  sample  in  the dual sample set must be analyzed for TTHM. The other sample in the dual sample set must be analyzed for HAA5. You must conduct one monitoring period during the peak historical month for TTHM levels or HAA5 levels or the month of warmest water temperature. You must review available compliance, study, or operational data to determine the peak historical month for TTHM or HAA5 levels or warmest water temperature.

#### § 141.601

40 CFR Ch. I (7–1–17 Edition)

| Source water type | Population size category | Monitoring periods and frequency of sampling | Distribution system monitoring locations 1 |
| --- | --- | --- | --- |
|  |  |  | Total per moni- toring period | Near entry points | Average residence time | High TTHM locations | High HAA5 locations |
| Subpart H | <500 consecutive sys- | one (during peak histor- | 2 | 1 | ................ | 1 | 1 |
|  | tems. | ical month) 2. |  |  |  |  |  |
|  | <500 non-consecutive | ....................................... | 2 | ................ | ................ | 1 |  |
|  | systems. |  |  |  |  |  |  |
|  | 500–3,300 consecutive | four (every 90 days) ...... | 2 | 1 | ................ | 1 |  |
|  | systems. |  |  |  |  |  |  |
|  | 500–3,300 non-con- | ....................................... | 2 | ................ | ................ | 1 | 1 |
|  | secutive systems. |  |  |  |  |  |  |
|  | 3,301–9,999 .................. | ....................................... | 4 | ................ | 1 | 2 | 1 |
|  | 10,000–49,999 .............. | six (every 60 days) ....... | 8 | 1 | 2 | 3 | 2 |
|  | 50,000–249,999 ............ | ....................................... | 16 | 3 | 4 | 5 | 4 |
|  | 250,000–999,999 .......... | ....................................... | 24 | 4 | 6 | 8 | 6 |
|  | 1,000,000–4,999,999 .... | ....................................... | 32 | 6 | 8 | 10 | 8 |
|  | 5,000,000 .................... | ....................................... | 40 | 8 | 10 | 12 | 10 |
| Ground |  |  |  |  |  |  |  |
| Water |  |  |  |  |  |  |  |
|  | <500 consecutive sys- | one (during peak histor- | 2 | 1 | ................ | 1 |  |
|  | tems. | ical month) 2. |  |  |  |  |  |
|  | <500 non-consecutive | ....................................... | 2 | ................ | ................ | 1 | 1 |
|  | systems. |  |  |  |  |  |  |
|  | 500–9,999 ..................... | four (every 90 days) ...... | 2 | ................ | ................ | 1 | 1 |
|  | 10,000–99,999 .............. | ....................................... | 6 | 1 | 1 | 2 | 2 |
|  | 100,000–499,999 .......... | ....................................... | 8 | 1 | 1 | 3 | 3 |
|  | 500,000 ....................... | ....................................... | 12 | 2 | 2 | 4 | 4 |

1 A dual sample set (i.e., a TTHM and an HAA5 sample) must be taken at each monitoring location during each monitoring pe- riod.

2 The peak historical month is the month with the highest TTHM or HAA5 levels or the warmest water temperature.

- You must take samples at loca- tions other than the existing subpart L monitoring locations. Monitoring loca- tions must be distributed throughout the distribution system.

- If the number of entry points to the distribution system is fewer than the specified number of entry point monitoring locations, excess entry point samples must be replaced equally at high TTHM and HAA5 locations. If there is an odd extra location number, you must take a sample at a high TTHM location. If the number of entry points to the distribution system is more than the specified number of entry point monitoring locations, you must take samples at entry points to the distribution system having the highest annual water flows.

- Your monitoring under this para- graph (b) may not be reduced under the provisions of § 141.29 and the State may not reduce your monitoring using the provisions of § 142.16(m).

- IDSE report. Your IDSE report must include the elements required in paragraphs (c)(1) through (c)(4) of this section.   You   must   submit   your   IDSE

report to the State according to the schedule in § 141.600(c).

- Your IDSE report must include all TTHM and HAA5 analytical results from subpart L compliance monitoring and all standard monitoring conducted during the period of the IDSE as indi- vidual analytical results and LRAAs presented in a tabular or spreadsheet format acceptable to the State. If changed from your standard moni- toring plan submitted under paragraph

(a) of this section, your report must also include a schematic of your dis- tribution system,  the  population served, and system type (subpart H or ground water).

- Your IDSE report must include an explanation of any deviations from your approved standard monitoring plan.

- You must recommend and justify subpart V compliance monitoring loca- tions and timing based on the protocol in § 141.605.

- You must retain a  complete  copy of your IDSE report submitted under this section for 10 years after the date that  you  submitted  your  report.  If  the

#### Environmental Protection Agency	§ 141.602

State modifies the subpart V moni- toring requirements that you rec- ommended in your IDSE report or  if the State approves alternative moni- toring locations, you must keep a copy of the State’s notification on file for 10 years after the date of the State’s noti- fication. You must make the IDSE re- port and any State notification avail- able for review by the State or the pub- lic.

##### § 141.602   System specific studies.

  - System specific study plan. Your system specific study plan must be based on either existing monitoring re- sults as required under paragraph (a)(1) of this section or modeling as required under paragraph (a)(2) of this section. You must prepare and submit your sys- tem specific study plan to the State ac- cording to the schedule in § 141.600(c).

    - Existing monitoring results. You may comply by submitting monitoring results  collected  before  you  are  re-

quired   to   begin   monitoring   under

§ 141.600(c). The monitoring results and analysis must meet the criteria in paragraphs (a)(1)(i) and (a)(1)(ii) of this section.

- Minimum requirements. (A) TTHM and HAA5 results must be based on samples collected and analyzed in ac- cordance with § 141.131. Samples must be collected no earlier than five years prior  to  the  study   plan   submission date.

(B) The monitoring locations and fre- quency must meet the conditions iden- tified in this paragraph (a)(1)(i)(B). Each location must be sampled once during the peak historical month for TTHM levels or HAA5 levels or the month of warmest water temperature for every 12 months of data submitted for that location. Monitoring results must include all subpart L compliance monitoring results plus additional monitoring results  as  necessary  to meet minimum sample requirements.

| System Type | Population size category | Number of monitoring locations | Number of samples |
| --- | --- | --- | --- |
|  |  |  | TTHM | HAA5 |
| Subpart H: | <500 | 3 | 3 | 3 |
|  | 500–3,300 | 3 | 9 | 9 |
|  | 3,301–9,999 | 6 | 36 | 36 |
|  | 10,000–49,999 | 12 | 72 | 72 |
|  | 50,000– | 24 | 144 | 144 |
|  | 249,999 |  |  |  |
|  | 250,000– | 36 | 216 | 216 |
|  | 999,999 |  |  |  |
|  | 1,000,000– | 48 | 288 | 288 |
|  | 4,999,999 |  |  |  |
|  | 5,000,000 | 60 | 360 | 360 |
| Ground Water: |  |  |  |  |
|  | <500 | 3 | 3 | 3 |
|  | 500–9,999 | 3 | 9 | 9 |
|  | 10,000–99,999 | 12 | 48 | 48 |
|  | 100,000– | 18 | 72 | 72 |
|  | 499,999 |  |  |  |
|  | 500,000 | 24 | 96 | 96 |

- Reporting monitoring results. You must report the information in this paragraph (a)(1)(ii).

  - You must report previously col- lected monitoring results and  certify that the reported monitoring results include all compliance and non-compli- ance results generated during the time period beginning with the first re- ported result and ending with the most recent subpart L results.

  - You must certify that the sam- ples  were  representative  of  the  entire

distribution system and that treat- ment, and distribution system have not changed significantly since the sam- ples were collected.

  - Your study monitoring plan must include a schematic of your distribu- tion system (including distribution system entry points and their sources, and storage facilities), with notes indi- cating the locations and dates of all completed or planned system specific study monitoring.

#### § 141.602

  - Your system specific study plan must specify the population served and system type (subpart H or ground water).

  - You must retain a complete copy of your system specific study plan sub- mitted under this paragraph (a)(1), in- cluding any State modification of your system specific study plan, for as long as you are required to retain your IDSE report under paragraph (b)(5) of this section.

  - If you submit previously col- lected data that fully meet the number of samples required under paragraph (a)(1)(i)(B) of this section and the State rejects some of the data, you must ei- ther conduct additional monitoring to replace rejected data on a schedule the State approves or conduct standard monitoring under § 141.601.

    - Modeling. You may comply through analysis of an extended period simulation hydraulic model. The ex- tended period simulation hydraulic model and analysis must meet the cri- teria in this paragraph (a)(2).

- Minimum requirements. (A) The model must simulate 24 hour variation in demand and show a consistently re- peating 24 hour pattern of residence time.

- The model must represent the cri- teria listed in paragraphs (a)(2)(i)(B)(1) through (9) of this section.

  - 75% of pipe volume;

  - 50% of pipe length;

  - All pressure zones;

  - All 12-inch diameter and larger pipes;

  - All 8-inch and larger pipes that connect pressure zones, influence zones from different sources, storage facili- ties, major demand areas, pumps, and control valves, or are known or ex- pected to be significant conveyors of water;

  - All 6-inch and larger pipes that connect remote areas of a distribution system to the main portion of the sys- tem;

  - All storage facilities with stand- ard operations represented in the model; and

  - All active pump stations with con- trols represented in the model; and

  - All active control valves.

- The model must be calibrated, or have calibration plans, for the current

#### 40 CFR Ch. I (7–1–17 Edition)

configuration of the distribution  sys- tem during the period of high TTHM formation potential. All storage facili- ties must be evaluated as part of the calibration process. All required cali- bration must be completed  no  later than 12 months after plan submission.

- Reporting modeling. Your system specific study plan must include the in- formation in this paragraph (a)(2)(ii).

  - Tabular or spreadsheet data dem- onstrating that the model meets re- quirements in paragraph (a)(2)(i)(B) of this  section.

  - A description of all calibration activities undertaken, and if calibra- tion is complete, a graph of predicted tank levels versus measured tank lev- els for the storage facility with the highest residence time in each pressure zone, and a time series graph of the residence time at the longest residence time storage facility in the distribu- tion system showing the predictions for the entire simulation period (i.e., from time zero until the time it takes to for the model to reach a consist- ently repeating pattern of residence time).

  - Model output showing prelimi- nary 24 hour average residence time predictions throughout the distribu- tion  system.

  - Timing and number of samples representative of the  distribution  sys- tem planned for at least one  moni- toring period of TTHM and HAA5 dual sample monitoring at a number of loca- tions no less than would be required for the system under standard  monitoring in § 141.601 during the historical month of high TTHM. These samples must be taken at locations other than existing subpart L compliance monitoring loca- tions.

  - Description of how all require- ments will be completed no later than

12 months after you submit your sys- tem specific study plan.

  - Schematic of your distribution system (including distribution system entry points and their sources, and storage facilities), with notes indi- cating the locations and dates of all completed system specific study moni- toring (if calibration is complete) and all subpart L compliance monitoring.

  - Population served and system type (subpart H or ground water).

#### Environmental Protection Agency	§ 141.603

  - You must retain a complete copy of your system specific study plan sub- mitted under this paragraph (a)(2), in- cluding any State modification of your system specific study plan, for as long as you are required to retain your IDSE report under paragraph (b)(7) of this section.

- If you submit a model that does not fully meet the requirements under paragraph (a)(2) of this section, you must correct the deficiencies and re- spond to State inquiries concerning the model. If you fail to correct defi- ciencies or respond to inquiries to the State’s satisfaction, you must conduct standard monitoring under § 141.601.

  - IDSE report.  Your IDSE report must include the elements required in paragraphs (b)(1) through (b)(6) of this section. You must submit your IDSE report   according   to   the   schedule   in

§ 141.600(c).

- Your IDSE report must include all TTHM and HAA5 analytical results from subpart L compliance monitoring and all system specific study moni- toring conducted during the period of the system specific study presented in a tabular or spreadsheet format accept- able to the State. If changed from your system specific study plan submitted under paragraph (a) of this section, your IDSE report must also include a schematic of your distribution system, the population served, and system type (subpart H or ground water).

- If you used the modeling provision under paragraph (a)(2) of this section, you must include final information for the elements described in paragraph (a)(2)(ii) of this section, and a 24-hour time series graph of residence time for each subpart V compliance monitoring location selected.

- You must recommend and justify subpart V compliance monitoring loca- tions and timing based on the protocol in § 141.605.

- Your IDSE report must include an explanation of any deviations from your approved system specific study plan.

- Your IDSE report must include the basis (analytical and modeling re- sults) and justification you used to se- lect the recommended subpart V moni- toring locations.

- You may submit your IDSE report in lieu of your system specific study plan   on   the   schedule   identified   in

§ 141.600(c) for submission of the system specific study plan if you believe that you have the necessary information by the time that the system specific study plan is due. If you elect this approach, your IDSE report must also include all information  required  under  paragraph

(a) of this section.

- You must retain a  complete  copy of your IDSE report submitted under this section for 10 years after the date that you submitted  your  IDSE  report. If the State modifies the subpart V monitoring requirements  that you  rec- ommended in your IDSE report or  if the State approves alternative moni- toring locations, you must keep a copy of the State’s notification on file for 10 years after the date of the State’s noti- fication. You must make the IDSE re- port and any State notification avail- able for review by the State or the pub- lic.

##### § 141.603   40/30 certification.

  - Eligibility. You are eligible for 40/ 30 certification if you had no TTHM or HAA5 monitoring violations under sub- part L of this part and no individual sample exceeded 0.040 mg/L  for  TTHM or 0.030 mg/L for HAA5 during an eight consecutive calendar quarter period be- ginning no earlier than the date speci- fied in this paragraph (a).

| If your 40/30 certifi- cation is due | Then your eligibility for 40/30 certifi- cation is based on eight consecutive calendar quarters of subpart L compli- ance monitoring results beginning no earlier than 1 |
| --- | --- |
| (1) October 1, 2006 | January 2004. |
| (2) April 1, 2007 ..... | January 2004. |
| (3) October 1, 2007 | January 2005. |
| (4) April 1, 2008 ..... | January 2005. |

1 Unless you are on reduced monitoring under subpart L of this part and were not required to monitor during the specified period. If you did not monitor during the specified period, you must base your eligibility on compliance samples taken during the 12 months preceding the specified period.

  - 40/30 certification. (1) You must certify to your State that every indi- vidual compliance sample taken under subpart L of this part during the peri- ods specified in paragraph (a) of this section were 0.040 mg/L for TTHM and

0.030 mg/L for HAA5, and that you have not had any TTHM or HAA5 moni- toring    violations    during    the    period

#### § 141.604

specified  in  paragraph  (a)  of  this  sec- tion.

- The State may require you to sub- mit compliance monitoring results, distribution system schematics, and/or recommended subpart V compliance monitoring locations in addition to your certification. If you fail to submit the requested information, the State may require standard  monitoring under § 141.601 or a system specific study under § 141.602.

- The State may still require stand- ard monitoring under § 141.601 or a sys- tem specific study under § 141.602 even if  you  meet  the  criteria  in  paragraph

    - of this section.

- You must retain a complete copy of your certification submitted under this section for 10 years after the date that you submitted your certification. You must make the certification, all data upon which the certification is based, and any State notification avail- able for review by the State or the pub- lic.

##### § 141.604   Very small system waivers.

  - If you serve fewer than 500 people and you have taken TTHM and HAA5 samples under subpart L of this part, you  are  not  required  to  comply  with

#### 40 CFR Ch. I (7–1–17 Edition)

this subpart  unless  the  State  notifies you that you must conduct standard monitoring under  § 141.601 or a  system specific study under § 141.602.

  - If you have not taken TTHM and HAA5 samples under subpart L of this part or if the State notifies you  that you must  comply  with  this  subpart, you must conduct standard monitoring under § 141.601 or a system specific study under § 141.602.

##### § 141.605   Subpart  V  compliance  moni- toring location recommendations.

- Your IDSE report must include your recommendations and justifica- tion for where and during what month(s) TTHM and HAA5 monitoring for subpart V of this part should be conducted. You must base your rec- ommendations on the criteria in para- graphs (b) through (e) of this section.

- You must select the number of monitoring locations specified in the table in this paragraph (b). You will use these recommended locations as subpart V routine compliance moni- toring locations, unless State requires different or additional locations. You should distribute locations throughout the distribution system to the extent possible.

| Source water type | Population size category | Monitoring fre- quency 1 | Distribution system monitoring location |
| --- | --- | --- | --- |
|  |  |  | Total per monitoring period 2 | Highest TTHM loca- tions | Highest HAA5 loca- tions | Existing subpart L compliance locations |
| Subpart H: | <500 | per year | 2 | 1 | 1 | 1 |
|  | 500–3,300 | per quarter | 2 | 1 | 1 |  |
|  | 3,301–9,999 | per quarter | 2 | 1 | 1 |  |
|  | 10,000–49,999 | per quarter | 4 | 2 | 1 |  |
|  | 50,000–249,999 | per quarter | 8 | 3 | 3 | 2 |
|  | 250,000–999,999 | per quarter | 12 | 5 | 4 | 3 |
|  | 1,000,000– | per quarter | 16 | 6 | 6 | 4 |
|  | 4,999,999 |  |  |  |  |  |
|  | 5,000,000 | per quarter | 20 | 8 | 7 | 5 |
| Ground water: |  |  |  |  |  |  |
|  | <500 | per year | 2 | 1 | 1 |  |
|  | 500–9,999 | per year | 2 | 1 | 1 |  |
|  | 10,000–99,999 | per quarter | 4 | 2 | 1 | 1 |
|  | 100,000–499,999 | per quarter | 6 | 3 | 2 | 1 |
|  | 500,000 | per quarter | 8 | 3 | 3 | 2 |

1 All systems must monitor during month of highest DBP concentrations.

2 Systems on quarterly monitoring must take dual sample sets every 90 days at each monitoring location, except for subpart H systems serving 500–3,300. Ground water systems serving 500–9,999 on annual monitoring must take dual sample sets at each monitoring location. All other systems on annual monitoring and subpart H systems serving 500–3,300 are required to take indi- vidual TTHM and HAA5 samples (instead of a dual sample set) at the locations with the highest TTHM and HAA5 concentra- tions, respectively. For systems serving fewer than 500 people, only one location with a dual sample set per monitoring period is needed if the highest TTHM and HAA5 concentrations occur at the same location and month.

#### Environmental Protection Agency	§ 141.620

- You must recommend subpart V compliance monitoring locations based on standard monitoring results, system specific study results, and subpart L compliance monitoring results. You must follow the protocol in paragraphs (c)(1) through (c)(8) of this section. If required to monitor at more than eight locations, you must repeat the protocol as necessary. If you do not have exist- ing subpart L compliance monitoring results or if you do not have enough ex- isting subpart L compliance moni- toring results, you must repeat the protocol, skipping the provisions of paragraphs (c)(3) and (c)(7) of this sec- tion as necessary, until you have iden- tified the required total number of monitoring locations.

  - Location with the highest TTHM LRAA not previously selected as a sub- part V monitoring location.

  - Location with the highest HAA5 LRAA not previously selected as a sub- part V monitoring location.

  - Existing subpart L average resi- dence time compliance monitoring lo- cation (maximum residence time com- pliance monitoring location for ground water systems) with the highest HAA5 LRAA not previously selected as a sub- part V monitoring location.

  - Location with the highest TTHM LRAA not previously selected as a sub- part V monitoring location.

  - Location with the highest TTHM LRAA not previously selected as a sub- part V monitoring location.

  - Location with the highest HAA5 LRAA not previously selected as a sub- part V monitoring location.

  - Existing subpart L average resi- dence time compliance monitoring lo- cation (maximum residence time com- pliance monitoring location for ground water systems) with the highest TTHM LRAA not previously selected as a sub- part V monitoring location.

  - Location with the highest HAA5 LRAA not previously selected as a sub- part V monitoring location.

- You may recommend locations other than those specified in paragraph

(c) of this section if you include a ra-

tionale for selecting other locations. If the State approves the alternate loca- tions, you must monitor at these loca- tions to determine compliance under subpart V of this part.

- Your recommended schedule must include subpart  V  monitoring  during the peak historical month for TTHM and HAA5 concentration, unless the State approves another  month.  Once you have identified the peak historical month, and if you are required to con- duct routine monitoring at least quar- terly, you must schedule subpart V compliance monitoring at a regular frequency of every 90 days or fewer.

[71 FR 483, Jan. 4, 2006, as amended at 74 FR

30958, June 29, 2009]

# Subpart V—Stage 2 Disinfection Byproducts Requirements

SOURCE: 71 FR 488, Jan. 4, 2006, unless oth- erwise noted.

##### § 141.620   General requirements.

- General. The requirements of sub- part V of this part constitute national primary drinking water regulations. The regulations in this subpart estab- lish monitoring and other require- ments for achieving compliance with maximum contaminant levels based on locational running annual averages (LRAA) for total trihalomethanes (TTHM) and haloacetic acids (five)(HAA5), and for achieving compli- ance with maximum residual disinfect- ant residuals for chlorine and chlor- amine for certain consecutive systems.

- Applicability. You are subject to these requirements if your system is a community water system or a nontran- sient noncommunity water system that uses a primary or residual dis- infectant other than ultraviolet  light or delivers water that has been treated with a primary or residual disinfectant other than ultraviolet light.

- Schedule. You must comply with the requirements in this subpart on the schedule in the following table  based on your system type.

§ 141.620

40 CFR Ch. I (7–1–17 Edition)

If you are this type of system

You must comply with subpart V monitoring by: 1

Systems that are not part of a combined distribution system and systems that serve the largest population in the combined distribution system

(1) System serving 100,000 ..................................   April 1, 2012.

(2) System serving 50,000–99,999 .........................   October 1, 2012.

(3) System serving 10,000–49,999 .........................   October 1, 2013.

(4) System serving <10,000 ....................................   October  1,  2013  if  no  Cryptosporidium  monitoring  is  required  under

§ 141.701(a)(4) or

October   1,   2014   if   Cryptosporidium   monitoring   is   required   under

§ 141.701(a)(4) or (a)(6)

Other systems that are part of a combined distribution system

(5) Consecutive system or wholesale system ........   —at the same time as the system with the earliest compliance date in the

combined distribution system.

1 The State may grant up to an additional 24 months for compliance with MCLs and operational evaluation levels if you require capital improvements to comply with an MCL.

- Your monitoring frequency is specified in § 141.621(a)(2).

  - If you are required to conduct quarterly monitoring, you must begin monitoring in the first full calendar quarter that includes the compliance date in the table in this paragraph (c).

  - If you are required to conduct monitoring at a frequency that is less than quarterly, you must begin moni- toring in the calendar month rec- ommended in the IDSE report prepared under § 141.601 or § 141.602 or the cal- endar month identified  in  the  subpart V    monitoring    plan    developed    under

§ 141.622 no  later than  12 months after the  compliance  date  in  this  table.

- If you are required to conduct quarterly monitoring, you must make compliance calculations at the end of the fourth calendar quarter that fol- lows the compliance date and at the end of each subsequent quarter (or ear- lier if the LRAA calculated based on fewer than four quarters of data would cause the MCL to be exceeded regard- less of the monitoring results of subse- quent quarters). If you are required to conduct monitoring at a  frequency that is less than quarterly, you must make compliance calculations begin- ning with the first compliance sample taken after the compliance date.

- For the purpose of the schedule in this paragraph (c), the State may de- termine that the combined distribution system does not include certain con- secutive systems based on factors such as receiving water from a wholesale system only on an emergency basis or receiving only a small percentage and small volume of water from a whole-

sale system. The State may also deter- mine that the combined distribution system does not include certain whole- sale systems based on factors such as delivering water to a consecutive sys- tem only on an emergency basis or de- livering only a small percentage and small volume of water to a consecutive system.

- Monitoring and compliance—(1) Sys- tems required to monitor quarterly. To comply    with    subpart    V    MCLs    in

§ 141.64(b)(2), you must calculate LRAAs for TTHM and HAA5 using monitoring results collected under this subpart and determine that each LRAA does not exceed the MCL. If you fail to complete four consecutive quarters of monitoring, you must calculate com- pliance with the MCL based on the av- erage of the available data from the most recent four quarters. If you take more than one sample per quarter at a monitoring location, you must average all samples  taken  in  the  quarter  at that location to determine a quarterly average to be used in the LRAA cal- culation.

(2) Systems required to monitor yearly or less frequently. To determine compli- ance     with     subpart     V     MCLs     in

§ 141.64(b)(2), you must determine that each sample taken is  less  than  the MCL. If any sample exceeds the MCL, you must comply with the require- ments of § 141.625. If no sample exceeds the MCL, the sample result for each monitoring location is considered the LRAA  for  that  monitoring  location.

- Violation. You are in violation of the monitoring requirements for each quarter that a monitoring result would

#### Environmental Protection Agency	§ 141.622

be used in calculating an LRAA if you fail to monitor.

[71  FR 488,  Jan. 4,  2006;  71  FR 4645,  Jan. 27,

2006]

##### § 141.621   Routine monitoring.

  - Monitoring. (1) If you submitted an IDSE report,  you  must  begin  moni- toring at the locations and months you have recommended in your IDSE report submitted under § 141.605 following the schedule in § 141.620(c), unless the State requires   other   locations   or   additional

locations after its review. If you sub- mitted    a    40/30    certification    under

§ 141.603 or you qualified  for  a  very small system waiver under § 141.604 or you are a nontransient noncommunity water system serving <10,000, you must monitor at the location(s) and dates identified   in   your   monitoring   plan   in

§ 141.132(f),    updated    as    required    by

§ 141.622.

- You must monitor at no fewer than the number of locations identified in this paragraph (a)(2).

| Source water type | Population size category | Monitoring Fre- quency 1 | Distribution system moni- toring location total per moni- toring period 2 |
| --- | --- | --- | --- |
| Subpart H: | <500 ........................................................... | per year ................... | 2 |
|  | 500–3,300 .................................................. | per quarter ............... | 2 |
|  | 3,301–9,999 ............................................... | per quarter ............... | 2 |
|  | 10,000–49,999 ........................................... | per quarter ............... | 4 |
|  | 50,000–249,999 ......................................... | per quarter ............... | 8 |
|  | 250,000–999,999 ....................................... | per quarter ............... | 12 |
|  | 1,000,000–4,999,999 ................................. | per quarter ............... | 16 |
|  | 5,000,000 ................................................. | per quarter ............... | 20 |
| Ground Water: |  |  |  |
|  | <500 ........................................................... | per year ................... | 2 |
|  | 500–9,999 .................................................. | per year ................... | 2 |
|  | 10,000–99,999 ........................................... | per quarter ............... | 4 |
|  | 100,000–499,999 ....................................... | per quarter ............... | 6 |
|  | 500,000 .................................................... | per quarter ............... | 8 |

1 All systems must monitor during month of highest DBP concentrations.

2 Systems on quarterly monitoring must take dual sample sets every 90 days at each monitoring location, except for subpart H systems serving 500–3,300. Ground water systems serving 500–9,999 on annual monitoring must take dual sample sets at each monitoring location. All other systems on annual monitoring and subpart H systems serving 500–3,300 are required to take indi- vidual TTHM and HAA5 samples (instead of a dual sample set) at the locations with the highest TTHM and HAA5 concentra- tions, respectively. For systems serving fewer than 500 people, only one location with a dual sample set per monitoring period is needed if the highest TTHM and HAA5 concentrations occur at the same location and month.

- If you are an undisinfected system that begins using a  disinfectant  other than  UV  light  after  the  dates  in  sub- part U of this part for  complying  with the Initial Distribution System  Eval- uation requirements, you must consult with the State to identify compliance monitoring locations for  this  subpart. You must then develop  a  monitoring plan under § 141.622 that includes those monitoring    locations.

  - Analytical methods. You must use an approved method listed in § 141.131 for TTHM and HAA5 analyses in this subpart. Analyses must be conducted by laboratories that have received cer- tification by EPA or the State as speci- fied in § 141.131.

[71 FR 488, Jan. 4, 2006, as amended at 74 FR

30958, June 29, 2009]

##### § 141.622   Subpart V monitoring plan.

(a)(1) You must develop and imple- ment a monitoring plan to be kept on file for State and public review. The monitoring plan must contain the ele- ments in paragraphs (a)(1)(i) through (a)(1)(iv) of this section and be com- plete no later than the date you con- duct your initial monitoring under this subpart.

- Monitoring locations;

- Monitoring dates;

- Compliance calculation proce- dures; and

- Monitoring plans for any other systems in the combined distribution system if the State has reduced moni- toring requirements under the State authority in § 142.16(m).

- If you were not required to submit an IDSE report under either § 141.601 or

#### § 141.623

§ 141.602, and you do not have sufficient subpart L monitoring  locations  to identify the required  number  of  sub- part V  compliance  monitoring  loca- tions indicated in § 141.605(b), you must identify additional locations by alter- nating selection of locations rep- resenting high TTHM levels and high HAA5 levels until the  required  number of  compliance  monitoring   locations have been identified. You must also provide  the   rationale   for   identifying the locations as having high levels of TTHM or HAA5. If you have more sub- part L monitoring locations than re- quired for subpart V compliance moni- toring in § 141.605(b), you must identify which locations you will use for sub- part V compliance monitoring by alter- nating selection of locations rep- resenting high TTHM levels and high HAA5 levels until the  required  number of subpart V compliance monitoring lo- cations  have  been  identified.

- If you are a subpart H system serving >3,300 people, you must submit a copy of your monitoring plan to the State prior  to the  date you  conduct your initial monitoring under this sub- part, unless your IDSE report sub- mitted under subpart U of this part contains all the information required by this section.

- You may revise your monitoring plan to reflect changes in treatment, distribution system operations and lay- out  (including  new  service  areas),  or

#### 40 CFR Ch. I (7–1–17 Edition)

other factors that may affect TTHM or HAA5 formation, or for State-approved reasons, after consultation with the State regarding the need for changes and the appropriateness of changes. If you change monitoring locations, you must replace existing compliance mon- itoring  locations  with   the   lowest LRAA with new locations that reflect the current  distribution system  loca- tions with expected high TTHM or HAA5 levels. The State may also re- quire modifications in your monitoring plan. If you are a subpart H system serving >3,300 people, you must submit a copy of your  modified  monitoring plan to the State prior to the date you are required to comply with the revised monitoring  plan.

##### § 141.623   Reduced monitoring.

- You may reduce monitoring to the level specified in the table in this paragraph  (a)  any  time  the  LRAA  is

0.040 mg/L for TTHM and 0.030 mg/L for HAA5 at all monitoring locations. You may only use data collected under the provisions of this subpart or sub- part L of this part to qualify for re- duced monitoring. In addition, the source water annual average TOC level, before any treatment, must be 4.0 mg/ L at each treatment plant treating sur- face water or ground water under the direct influence of surface water, based on  monitoring  conducted  under  either

§ 141.132(b)(1)(iii) or § 141.132(d).

| Source water type | Population size category | Monitoring frequency 1 | Distribution system monitoring location per monitoring period |
| --- | --- | --- | --- |
| Subpart H: | <500 500–3,300 3,301–9,999 10,000–49,999 50,000– 249,999 250,000– 999,999 | ................................................ per year .................................. per year .................................. per quarter ............................. per quarter ............................. per quarter ............................. | monitoring may not be reduced. TTHM and 1 HAA5 sample: one at the lo- cation and during the quarter with the highest TTHM single measurement, one at the location and during the quarter with the highest HAA5 single measurement; 1 dual sample set per year if the highest TTHM and HAA5 measurements occurred at the same location and quarter. dual sample sets: one at the location and during the quarter with the highest TTHM single measurement, one at the location and during the quarter with the highest HAA5 single measurement. 2 dual sample sets at the locations with the highest TTHM and highest HAA5 LRAAs. 4 dual sample sets—at the locations with the two highest TTHM and two highest HAA5 LRAAs. 6 dual sample sets—at the locations with the three highest TTHM and three highest HAA5 LRAAs. |

#### Environmental Protection Agency	§ 141.625

| Source water type | Population size category | Monitoring frequency 1 | Distribution system monitoring location per monitoring period |
| --- | --- | --- | --- |
| Ground Water: | 1,000,000– 4,999,999 5,000,000 <500 500–9,999 10,000–99,999 100,000– 499,999 500,000 | per quarter ............................. per quarter ............................. every third year ...................... per year .................................. per year .................................. per quarter ............................. per quarter ............................. | 8 dual sample sets—at the locations with the four highest TTHM and four highest HAA5 LRAAs. 10 dual sample sets—at the locations with the five highest TTHM and five highest HAA5 LRAAs. 1 TTHM and 1 HAA5 sample: one at the lo- cation and during the quarter with the highest TTHM single measurement, one at the location and during the quarter with the highest HAA5 single measurement; 1 dual sample set per year if the highest TTHM and HAA5 measurements occurred at the same location and quarter. TTHM and 1 HAA5 sample: one at the lo- cation and during the quarter with the highest TTHM single measurement, one at the location and during the quarter with the highest HAA5 single measurement; 1 dual sample set per year if the highest TTHM and HAA5 measurements occurred at the same location and quarter. dual sample sets: one at the location and during the quarter with the highest TTHM single measurement, one at the location and during the quarter with the highest HAA5 single measurement. 2 dual sample sets; at the locations with the highest TTHM and highest HAA5 LRAAs. 4 dual sample sets at the locations with the two highest TTHM and two highest HAA5 LRAAs. |

1 Systems on quarterly monitoring must take dual sample sets every 90 days.

- You may remain on reduced moni- toring   as   long   as   the   TTHM   LRAA

0.040 mg/L and the HAA5 LRAA 0.030 mg/L at each monitoring location (for systems with quarterly reduced moni- toring) or each TTHM sample 0.060 mg/L and each HAA5 sample 0.045 mg/ L (for systems with annual or less fre- quent monitoring).  In addition,  the source water annual average TOC level, before any treatment, must be 4.0 mg/ L at each treatment plant treating sur- face water or ground water under the direct influence of surface water, based on  monitoring  conducted  under  either

§ 141.132(b)(1)(iii) or § 141.132(d).

- If the LRAA based on quarterly monitoring at any monitoring location exceeds either 0.040 mg/L for TTHM or

0.030 mg/L for HAA5 or if the annual (or less frequent) sample at any location exceeds either 0.060 mg/L for TTHM or

0.045 mg/L for HAA5, or if the source water annual average TOC level, before any treatment, >4.0 mg/L at any treat- ment plant treating surface water or ground water under the direct influ- ence of surface water, you must resume

routine monitoring under § 141.621 or begin increased monitoring if § 141.625 applies.

- The State may return your sys- tem to routine monitoring at the State’s  discretion.

##### § 141.624   Additional  requirements  for consecutive systems.

If you are a consecutive system that does not add a disinfectant but delivers water that has been treated with a pri- mary or residual disinfectant other than ultraviolet light, you must com- ply with analytical and monitoring re- quirements	for	chlorine	and chloramines     in     § 141.131     (c)     and

§ 141.132(c)(1) and the compliance re- quirements in § 141.133(c)(1) beginning April 1, 2009, unless required earlier  by the  State,  and  report   monitoring   re- sults under § 141.134(c).

##### § 141.625   Conditions	requiring	in- creased monitoring.

- If you  are  required  to  monitor  at a particular location annually or less frequently than annually under § 141.621

#### § 141.626

or § 141.623, you must increase moni- toring to dual sample sets once per quarter (taken every 90 days) at all lo- cations if a TTHM sample is >0.080 mg/ L or a HAA5 sample is >0.060 mg/L at any  location.

- You are in violation of the MCL when the LRAA exceeds the subpart V MCLs in § 141.64(b)(2), calculated based on four consecutive quarters of moni- toring (or the LRAA calculated  based on fewer than four quarters of  data  if the MCL would be exceeded regardless of the monitoring results of subsequent quarters). You are in violation of the monitoring requirements for each quarter that a monitoring result would be used in calculating an LRAA  if  you fail  to  monitor.

- You may return to routine moni- toring once you have conducted in- creased monitoring for at least four consecutive quarters and the LRAA for every monitoring location is 0.060 mg/ L for TTHM and 0.045 mg/L for HAA5.

##### § 141.626   Operational   evaluation   lev- els.

(a) You have  exceeded  the  oper- ational evaluation level at any moni- toring location  where  the  sum  of  the two previous quarters’ TTHM  results plus twice the current quarter’s TTHM result, divided by 4 to determine an av- erage, exceeds 0.080 mg/L, or where the sum of  the  two  previous  quarters’ HAA5 results plus twice the current quarter’s HAA5 result, divided by 4 to determine an average, exceeds 0.060 mg/ L.

(b)(1) If you exceed the operational evaluation level, you must conduct an operational evaluation and submit a written report of the evaluation to the State no later than 90 days after being notified of the analytical result that causes you to exceed the operational evaluation level. The written report must be made available to the public upon request.

(2) Your operational evaluation must include an examination of system treatment and distribution operational practices, including storage tank oper- ations, excess storage capacity, dis- tribution system flushing, changes in sources or source water quality, and treatment changes or problems that may  contribute  to  TTHM  and  HAA5

#### 40 CFR Ch. I (7–1–17 Edition)

formation and what steps could be con- sidered	to	minimize	future exceedences.

  - You may request and the State may allow you to limit the scope of your evaluation if you are able to iden- tify the cause of the operational eval- uation level exceedance.

  - Your request to limit the scope of the evaluation does not extend the schedule in paragraph (b)(1) of this sec- tion for submitting the written report. The State must approve this limited scope of evaluation in writing and you must keep that approval with the com- pleted report.

##### § 141.627 Requirements for remaining on reduced TTHM and HAA5 moni- toring based on subpart L results.

You may remain on reduced moni- toring   after   the   dates   identified   in

§ 141.620(c) for compliance with this subpart only if you qualify for a 40/30 certification under § 141.603 or have re- ceived a  very  small  system  waiver under § 141.604, plus you meet the re- duced          monitoring          criteria          in

§ 141.623(a), and you do not change or add monitoring locations from those used for compliance monitoring under subpart L of this part. If your moni- toring locations under this subpart dif- fer from your monitoring locations under subpart L of this part, you  may not  remain  on  reduced  monitoring after the dates identified in § 141.620(c) for compliance with this subpart.

##### § 141.628 Requirements for remaining on increased TTHM and HAA5 mon- itoring based on subpart L results.

If you were on increased monitoring under § 141.132(b)(1), you must remain on  increased  monitoring  until  you qualify for a return to routine  moni- toring under § 141.625(c). You must con- duct       increased       monitoring       under

§ 141.625 at the monitoring locations in the   monitoring   plan   developed   under

§ 141.622 beginning at the date identi- fied in § 141.620(c) for compliance with this subpart and remain on increased monitoring until you qualify for a re- turn     to     routine     monitoring     under

§ 141.625(c).

#### Environmental Protection Agency	§ 141.700

##### § 141.629   Reporting and recordkeeping requirements.

    - Reporting. (1) You must report the following information for each moni- toring location to the State within 10 days of the end of any quarter in which monitoring is required:

- Number of samples taken during the last quarter.

- Date and results of each sample taken during the last quarter.

- Arithmetic average of quarterly results for the  last  four  quarters  for each monitoring location (LRAA), be- ginning at the end of  the  fourth  cal- endar quarter that follows the compli- ance date and at the end of each subse- quent quarter. If the LRAA calculated based on fewer than four quarters of data would cause the MCL to be  ex- ceeded regardless of the monitoring re- sults of subsequent quarters, you must report this information to the State as part  of  the  first  report  due   following the compliance date or anytime there- after  that  this   determination   is   made. If you are required to conduct  moni- toring at a frequency that is less than quarterly, you must make compliance calculations beginning with the first compliance sample  taken  after the compliance date, unless you are re- quired to conduct increased monitoring under § 141.625.

- Whether, based on § 141.64(b)(2) and this subpart, the MCL was violated at  any  monitoring  location.

- Any operational evaluation levels that were exceeded during the quarter and, if so, the location and date,  and the calculated TTHM and HAA5 levels.

- If you are a subpart H system seeking to qualify for or remain on re- duced TTHM/HAA5 monitoring, you must report the following source water TOC information for each treatment plant that treats surface  water  or ground water under the direct influ- ence of surface water to the State within 10 days of the end of any quarter in which monitoring is required:

  - The number of source water TOC samples taken each month during last quarter.

  - The date and result of each sam- ple taken during last quarter.

  - The quarterly average of month- ly samples taken during last quarter or the result of the quarterly sample.

  - The running annual average (RAA) of quarterly averages from the past four quarters.

  - Whether the RAA exceeded 4.0 mg/ L.

- The State may choose to perform calculations and determine whether the MCL was exceeded or the system is eligible for reduced monitoring in lieu of having the system report that infor- mation

    - Recordkeeping. You  must  retain any subpart V monitoring  plans  and your subpart V monitoring results as required by § 141.33.

Subpart W—Enhanced Treatment for Cryptosporidium

SOURCE: 71 FR 769, Jan. 5, 2006, unless oth- erwise noted.

GENERAL REQUIREMENTS

##### § 141.700   General requirements.

- The requirements of this  subpart W are national primary drinking water regulations. The regulations in this subpart establish or extend treatment technique requirements in lieu of max- imum contaminant levels for Cryptosporidium. These requirements are in addition to requirements for fil- tration and disinfection in  subparts  H, P, and T of this part.

- Applicability. The requirements of this subpart apply to all subpart H sys- tems, which are public water systems supplied by a surface water source and public water systems supplied by a ground water source under the direct influence of surface water.

  - Wholesale  systems,  as  defined  in

§ 141.2, must comply with the require- ments of this subpart based on the pop- ulation of the largest system in the combined   distribution   system.

  - The requirements of this subpart for filtered systems apply to systems required by National Primary Drinking Water Regulations to provide filtration treatment, whether or not the system is currently operating a filtration sys- tem.

  - The requirements of this subpart for unfiltered systems apply only to unfiltered systems that timely met and

#### § 141.701

continue to meet the filtration avoid- ance criteria in subparts H, P, and T of this part, as applicable.

- Requirements. Systems subject to this subpart must comply with the fol- lowing requirements:

  - Systems must conduct  an  initial and a second round of source water monitoring for each plant that treats a surface water or GWUDI source. This monitoring may include sampling for Cryptosporidium,  E.  coli,  and   turbidity as described in §§ 141.701 through 141.706, to determine what level, if any, of  additional  Cryptosporidium  treat- ment  they  must  provide.

  - Systems that plan to make a sig- nificant change to their disinfection practice must develop disinfection pro- files and calculate disinfection bench- marks, as described  in  §§ 141.708 through 141.709.

  - Filtered systems must determine their Cryptosporidium treatment bin classification as described in § 141.710 and provide  additional  treatment for Cryptosporidium, if  required,  as  de- scribed in § 141.711. All unfiltered sys- tems must provide treatment for Cryptosporidium as described in § 141.712. Filtered and unfiltered systems must implement Cryptosporidium treatment according to the schedule in § 141.713.

  - Systems with uncovered finished water storage facilities must comply with the requirements to cover the fa- cility or treat the discharge from the facility as described in § 141.714.

  - Systems required to provide addi- tional  treatment  for  Cryptosporidium must implement microbial toolbox op- tions that are designed and operated as described in §§ 141.715 through 141.720.

  - Systems must comply with the applicable recordkeeping and reporting requirements described in §§ 141.721 through 141.722.

  - Systems must address significant deficiencies identified in sanitary sur- veys performed by EPA as described in

§ 141.723.

SOURCE WATER MONITORING REQUIREMENTS

##### § 141.701   Source water monitoring.

    - Initial round of source water moni- toring. Systems must conduct the fol- lowing monitoring on the schedule in

#### 40 CFR Ch. I (7–1–17 Edition)

paragraph (c) of this section unless they meet the monitoring exemption criteria in paragraph (d) of this sec- tion.

- Filtered systems serving at least 10,000 people must sample their  source water for Cryptosporidium, E. coli, and turbidity  at  least  monthly  for  24 months.

- Unfiltered  systems  serving   at least 10,000 people must sample their source water  for  Cryptosporidium  at least  monthly  for  24  months.

(3)(i) Filtered systems serving fewer than 10,000 people must sample their source water for E. coli at least once every two weeks for 12 months.

(ii) A filtered system  serving  fewer than 10,000 people may avoid E. coli monitoring if the system notifies  the State that it will monitor for Cryptosporidium as described in para- graph (a)(4) of this section. The system must notify the State no later than 3 months prior to the date the system is otherwise required to start E. coli mon- itoring under § 141.701(c).

- Filtered systems serving  fewer than 10,000 people must sample their source water  for  Cryptosporidium  at least twice per month for 12 months or at least monthly for 24 months if they meet one of the following, based on monitoring conducted under paragraph (a)(3) of this section:

  - For systems using lake/reservoir sources, the annual mean E. coli con- centration is greater than 10 E. coli/100 mL.

  - For systems using flowing stream sources, the annual mean E. coli con- centration is greater than 50 E. coli/100 mL.

  - The system does not conduct E. coli monitoring as described in para- graph (a)(3) of this section.

  - Systems using ground water under the direct influence of surface water (GWUDI) must comply with the requirements of paragraph (a)(4) of this section based on the E. coli level that applies to the nearest surface water body. If no surface water body is near- by, the system must comply based  on the requirements that apply to systems using lake/reservoir sources.

- For filtered systems serving fewer than 10,000 people, the State may ap- prove     monitoring     for     an     indicator

#### Environmental Protection Agency	§ 141.701

other than E.  coli  under  paragraph (a)(3) of  this  section.  The  State  also may  approve  an  alternative  to  the  E. coli  concentration  in   paragraph (a)(4)(i), (ii) or (iv) of this section to trigger   Cryptosporidium   monitoring. This approval by the State must be provided to the system in writing and must include the basis for the State’s determination that the alternative in- dicator and/or trigger level will provide a more accurate identification  of whether a system will exceed the Bin 1 Cryptosporidium level in § 141.710.

- Unfiltered systems serving fewer than 10,000 people must sample their source water  for  Cryptosporidium  at least twice per month for 12 months or at  least  monthly  for  24  months.

- Systems may sample more fre- quently  than  required  under  this  sec-

tion if the sampling frequency is even- ly spaced throughout the monitoring period.

    - Second round of source water moni- toring. Systems must conduct a second round of source water monitoring that meets the requirements for monitoring parameters, frequency, and duration described in paragraph (a) of this sec- tion, unless they meet the monitoring exemption criteria in paragraph (d) of this section. Systems  must  conduct this monitoring on the schedule in paragraph (c) of this section.

    - Monitoring schedule. Systems must begin the monitoring required in para- graphs (a) and (b) of this section no later than the month beginning with the date listed in this table:

SOURCE WATER MONITORING STARTING DATES TABLE

| Systems that serve . . . | Must begin the first round of source water monitoring no later than the month beginning . . . | And must begin the second round of source water monitoring no later than the month beginning . . . |
| --- | --- | --- |
| (1) At least 100,000 people ....................... | (i) October 1, 2006 .................................. | (ii) April 1, 2015. |
| (2) From 50,000 to 99,999 people ............ | (i) April 1, 2007 ........................................ | (ii) October 1, 2015. |
| (3) From 10,000 to 49,999 people ............ | (i) April 1, 2008 ........................................ | (ii) October 1, 2016. |
| (4) Fewer than 10,000 and monitor for E. | (i) October 1, 2008 .................................. | (ii) October 1, 2017. |
| coli a. |  |  |
| (5) Fewer than 10,000 and monitor for | (i) April 1, 2010 ........................................ | (ii) April 1, 2019. |
| Cryptosporidium b. |  |  |

a Applies only to filtered systems.

b Applies to filtered systems that meet the conditions of paragraph (a)(4) of this section and unfiltered systems.

    - Monitoring avoidance. (1) Filtered systems are not required to conduct source water monitoring under this subpart if the system will provide a total of at least 5.5-log of treatment for Cryptosporidium, equivalent to meeting the treatment requirements of Bin 4 in

§ 141.711.

- Unfiltered systems are not re- quired to conduct source water moni- toring under this subpart if the system will provide a total of at least 3-log Cryptosporidium inactivation, equiva- lent to meeting the treatment require- ments for unfiltered systems with a mean Cryptosporidium concentration of greater than 0.01 oocysts/L in § 141.712.

- If a system chooses to provide the level of treatment in paragraph  (d)(1) or (2)  of  this section, as applicable, rather than start source water moni- toring, the system must notify  the State in writing no later than the date the   system   is   otherwise   required   to

submit a sampling schedule for moni- toring under § 141.702. Alternatively, a system may choose to stop sampling at any point after it has initiated moni- toring if it notifies the State in writing that it will provide this level of treat- ment. Systems must install and oper- ate technologies to provide this level of treatment by the applicable treatment compliance date in § 141.713.

    - Plants operating only  part of  the year. Systems with subpart H plants that operate for only part of the year must conduct source water monitoring in accordance with this subpart, but with the following modifications:

      - Systems must sample their source water only during the months that the plant operates unless the State speci- fies another monitoring period based on plant operating practices.

      - Systems with plants that operate less than six months per year and that

#### § 141.702

monitor for Cryptosporidium must col- lect at least six Cryptosporidium sam- ples per year during each of two years of monitoring. Samples must be evenly spaced throughout the period the plant operates.

(f)(1) New sources. A system that be- gins using a new source of  surface water or GWUDI after the system is re- quired to begin monitoring under para- graph (c) of this section must  monitor the new source on a schedule the State approves.  Source  water  monitoring must meet the requirements of this subpart.  The  system  must  also  meet the	bin	classification	and Cryptosporidium  treatment   require- ments   of   §§ 141.710   and   141.711   or

§ 141.712, as applicable, for the new source on a schedule the State ap- proves.

        - The requirements of § 141.701(f) apply to subpart H systems that begin operation  after  the  monitoring   start date applicable to the system’s size under paragraph  (c) of  this section.

        - The system must begin a second round of source water  monitoring  no later than 6 years following initial bin classification under § 141.710 or deter- mination of the mean Cryptosporidium level under § 141.712, as applicable.

- Failure to collect any  source water sample required under this sec- tion in accordance with the sampling schedule, sampling location, analytical method, approved laboratory, and re- porting requirements of §§ 141.702 through 141.706 is a monitoring viola- tion.

- Grandfathering monitoring data. Systems may use (grandfather) moni- toring data collected prior to the appli- cable monitoring start date in para- graph (c) of this section to meet the initial source water monitoring re- quirements in paragraph (a) of this sec- tion. Grandfathered data may sub- stitute for an equivalent number of months at the end of the monitoring period. All data submitted under this paragraph must meet the requirements in § 141.707.

##### § 141.702   Sampling schedules.

- Systems required to conduct source water monitoring under § 141.701 must submit a sampling schedule that specifies   the   calendar   dates   when   the

#### 40 CFR Ch. I (7–1–17 Edition)

system will collect each required sam- ple.

(1) Systems must submit sampling schedules no later than  3  months  prior to     the     applicable     date     listed     in

§ 141.701(c)  for  each  round  of  required monitoring.

(2)(i) Systems serving at least 10,000 people must submit their sampling schedule for the initial round of source water monitoring under § 141.701(a) to EPA electronically at https:// intranet.epa.gov/lt2/.

(ii) If a system is unable to submit the sampling schedule electronically, the system may use an alternative ap- proach for submitting the sampling schedule that EPA approves.

- Systems serving fewer than 10,000 people must submit their sampling schedules for the  initial  round  of source water monitoring § 141.701(a) to the   State.

- Systems must submit sampling schedules for the second round of source water monitoring § 141.701(b) to the   State.

- If EPA or the State does not re- spond to a system regarding its sam- pling schedule, the system must sam- ple at the reported schedule.

- Systems must collect samples within two days before or two days after the dates indicated in their sam- pling schedule (i.e., within a five-day period around the schedule date) unless one of the conditions of paragraph (b)(1) or (2) of this section applies.

- If an extreme condition or situa- tion exists that may pose danger to the sample collector, or that cannot be avoided and causes the system to be unable to sample in the scheduled five- day period, the system must sample as close to the scheduled date as is fea- sible unless the State approves an al- ternative sampling date. The system must submit an explanation for the de- layed sampling date to the State con- current with the shipment of the sam- ple to the laboratory.

(2)(i) If a system is unable to report a valid analytical result for a scheduled sampling date due to equipment fail- ure, loss of or damage to the sample, failure to comply with the analytical method requirements, including the quality       control       requirements       in

§ 141.704,  or  the  failure  of  an  approved

#### Environmental Protection Agency	§ 141.703

laboratory to analyze the sample, then the system must collect a replacement sample.

(ii) The system must collect the re- placement sample not later  than  21 days after receiving information that an analytical result cannot be reported for the scheduled date unless the sys- tem demonstrates that collecting a re- placement sample within this  time frame is not feasible or the State ap- proves an alternative resampling date. The system must submit an expla- nation for the delayed sampling date to the State concurrent with the  ship- ment of the sample to the laboratory.

- Systems that fail to meet the cri- teria of paragraph (b) of this  section for any source water sample required under § 141.701 must revise their sam- pling schedules to add dates for col- lecting all missed samples. Systems must submit the revised schedule to the State for approval prior to  when the system  begins  collecting  the missed samples.

##### § 141.703   Sampling locations.

(a) Systems required to conduct source water monitoring under § 141.701 must collect samples  for  each  plant that treats a surface water or GWUDI source. Where multiple plants draw water from the same influent, such  as the same pipe or intake, the State may approve one set of  monitoring  results to be used to satisfy the requirements of § 141.701 for all plants.

(b)(1) Systems must collect source water samples prior to chemical treat- ment, such as coagulants, oxidants and disinfectants, unless the system meets the condition of paragraph (b)(2) of this section.

- The State may approve a system to collect a source water sample after chemical treatment. To grant this ap- proval, the State must determine that collecting a sample prior to chemical treatment is not feasible for the sys- tem and that  the  chemical  treatment is unlikely to have a significant ad- verse effect on the analysis of the sam- ple.

- Systems that recycle filter back- wash water must collect source water samples prior to the point of filter backwash water addition.

- Bank filtration. (1) Systems that receive Cryptosporidium  treatment credit     for     bank     filtration     under

§ 141.173(b) or § 141.552(a), as applicable, must collect source water samples in the surface water prior to bank filtra- tion.

- Systems that use bank  filtration as pretreatment to a filtration plant must collect source water samples from the well (i.e., after bank filtra- tion). Use of bank filtration during monitoring must be consistent with routine operational practice. Systems collecting samples after a bank filtra- tion process may not receive treatment credit  for  the  bank  filtration  under

§ 141.717(c).

- Multiple sources. Systems with plants that use multiple water sources, including multiple surface  water sources and blended surface water and ground water sources, must collect samples as specified in paragraph (e)(1) or (2) of this section. The use of mul- tiple sources during monitoring must be consistent with routine operational practice.

  - If a sampling tap is available where the sources are combined prior to treatment, systems must collect samples from the tap.

  - If a sampling tap where the sources are combined prior to treat- ment is not available, systems must collect samples at each source near the intake on the same day and must  fol- low either paragraph (e)(2)(i) or (ii) of this section for sample analysis.

- Systems may composite samples from each source into one sample prior to analysis. The volume of sample from each source must be weighted accord- ing to the proportion of the  source  in the total plant flow at the time the sample is collected.

- Systems may analyze samples from each source separately and cal- culate a weighted average of the anal- ysis results for each sampling date. The weighted average must be cal- culated by multiplying the analysis re- sult for each source by the fraction the source contributed to total plant flow at the time the sample  was collected and then summing these values.

- Additional Requirements. Systems must submit a description of their sampling   location(s)   to   the   State   at

#### § 141.704

the same time as the sampling  sched- ule required under § 141.702. This de- scription must address the position of the   sampling   location   in   relation   to the system’s water source(s) and treat- ment	processes,	including pretreatment, points of chemical treat- ment,  and  filter  backwash  recycle.  If the State does not respond to a system regarding sampling location(s), the sys- tem must sample at the reported loca- tion(s).

##### § 141.704   Analytical methods.

(a)   Cryptosporidium.   Systems   must analyze for Cryptosporidium using Meth- od 1623: Cryptosporidium and Giardia in Water by Filtration/IMS/FA, 2005, United States	Environmental	Protection Agency,  EPA–815–R–05–002  or  Method 1622: Cryptosporidium in Water by Filtra- tion/IMS/FA,  2005,  United  States  Envi- ronmental    Protection    Agency,    EPA– 815–R–05–001, which are incorporated by reference,  or  alternative  methods  list- ed  in  appendix  A  to  subpart  C  of  this part.  The  Director  of  the  Federal  Reg- ister   approves   this   incorporation   by reference  in  accordance  with  5  U.S.C. 552(a) and 1 CFR part 51. You may ob- tain  a  copy  of  these  methods  onlineor  from  the  United  States Environmental   Protection   Agency,   Of- fice   of   Ground   Water   and   Drinking Water,   1201   Constitution   Ave.,   NW., Washington, DC 20460 (Telephone: 800– 426–4791).  You  may  inspect  a  copy  at the  Water  Docket  in  the  EPA  Docket Center,   1301   Constitution   Ave.,   NW., Washington,  DC  (Telephone:  202–566– 2426)  or  at  the  National  Archives  and Records   Administration   (NARA).   For information  on  the  availability  of  this material at NARA, call 202–741–6030.

(1) Systems must analyze at  least  a 10 L sample or a packed pellet volume of at least 2 mL as generated by the methods listed in paragraph (a) of this section. Systems unable to process a 10 L sample must analyze as much sample volume as can be filtered by two filters approved by EPA for the methods list- ed in paragraph (a) of this section, up

#### 40 CFR Ch. I (7–1–17 Edition)

to a packed pellet volume of at least 2 mL.

(2)(i) Matrix spike (MS) samples, as required  by  the  methods  in  paragraph

- of this section, must be spiked and filtered by a laboratory approved for Cryptosporidium analysis under § 141.705.

(ii) If the volume of the MS sample is greater than 10 L, the system may fil- ter all but 10 L of the MS sample in the field, and ship the filtered sample and the remaining 10 L of source water to the laboratory. In this case, the labora- tory must spike the remaining 10 L of water and filter it through the filter used to collect the balance of the sam- ple in the field.

- Flow cytometer-counted spiking suspensions must be used for MS sam- ples and ongoing precision and recov- ery (OPR) samples.

- E. coli. System must use  methods for enumeration of E. coli  in  source water approved in § 136.3(a) of this chapter  or  alternative  methods   listed in  appendix  A  to  subpart  C  of  this  part.

  - The time from sample  collection to initiation of analysis may not ex- ceed 30 hours unless the system meets the condition of paragraph (b)(2) of this section.

  - The State may approve on a case- by-case basis the holding of an E. coli sample for up to 48 hours between sam- ple collection and initiation of analysis if the State determines that  analyzing an E. coli sample within 30 hours is not feasible. E. coli samples held between 30 to 48 hours must be analyzed by the Colilert reagent version of Standard Method 9223B as listed in § 136.3(a) of this   title.

  - Systems must maintain samples between 0 C and 10 C during storage and transit to the laboratory.

- Turbidity. Systems must use methods for turbidity measurement ap- proved in § 141.74(a)(1).

[71 FR 769, Jan. 5, 2006, as amended at 74 FR

30959, June 29, 2009]

##### § 141.705   Approved laboratories.

- Cryptosporidium. Systems must have Cryptosporidium samples analyzed by a laboratory that is approved under EPA’s Laboratory Quality Assurance Evaluation Program for Analysis of Cryptosporidium in Water or a labora- tory     that     has     been     certified     for

#### Environmental Protection Agency	§ 141.707

Cryptosporidium analysis by an equiva- lent State laboratory certification pro- gram.

- E.  coli.  Any  laboratory  certified by the EPA,  the  National  Environ- mental Laboratory Accreditation Con- ference or the State  for  total  coliform or fecal coliform analysis under § 141.74 is approved for E. coli analysis under this subpart when the laboratory uses the same technique for E. coli that the laboratory uses for § 141.74.

- Turbidity. Measurements of tur- bidity must be made by a party ap- proved by the State.

##### § 141.706   Reporting source water mon- itoring results.

- Systems must report results from the source water monitoring required under § 141.701 no later than 10 days after the end of the first  month  fol- lowing the month when the sample is collected.

(b)(1) All systems serving at least 10,000 people must report the results from the initial source water moni- toring required under § 141.701(a) to EPA electronically at https:// intranet.epa.gov/lt2/.

(2) If a system is unable to report monitoring results electronically, the system may use an alternative ap- proach for reporting monitoring results that EPA approves.

- Systems serving fewer than 10,000 people must  report results  from the initial source water monitoring re- quired under § 141.701(a) to the State.

- All systems must report results from the second round of source water monitoring required under § 141.701(b) to  the  State.

- Systems must report the applica- ble information in  paragraphs  (e)(1) and (2) of this section for the source water     monitoring     required     under

§ 141.701.

- Systems must report the fol- lowing data elements for each Cryptosporidium analysis:

  - PWS ID.

  - Facility ID.

  - Sample collection date.

  - Sample type (field or matrix spike).

  - Sample volume filtered (L), to nearest 1⁄4 L.

  - Was 100% of filtered volume examined.

  - Number of oocysts counted.

    - For matrix spike samples, systems must  also  report  the  sample  volume

spiked and estimated  number  of oocysts spiked. These data are not re- quired for field samples.

    - For samples in which less than 10 L is filtered or less than 100% of the sample volume is examined, systems must also report the number of filters used  and  the  packed  pellet  volume.

    - For samples in which less than 100% of sample volume is examined, systems must also report the volume of resuspended concentrate and volume of this resuspension processed through immunomagnetic  separation.

- Systems must report the fol- lowing data elements for each E. coli analysis:

Data element.

- PWS ID.

- Facility ID.

- Sample collection date.

- Analytical method number.

- Method type.

- Source  type  (flowing  stream,  lake/res- ervoir, GWUDI).

- E. coli/100 mL.

- Turbidity. 1

1 Systems  serving  fewer  than  10,000  people   that are   not   required   to   monitor   for   turbidity   under

§ 141.701  are  not  required  to  report  turbidity  with their  E.  coli  results.

##### § 141.707   Grandfathering	previously collected data.

(a)(1) Systems may comply with the initial source water monitoring re- quirements	of	§ 141.701(a)	by grandfathering sample results  col- lected before the system is required to begin monitoring (i.e., previously col- lected data). To be grandfathered, the sample results and analysis must meet the criteria in this  section  and  the State must approve.

(2) A filtered system may grandfather Cryptosporidium samples to meet the requirements of § 141.701(a) when the system does not have corresponding E. coli and  turbidity  samples.  A  system that grandfathers  Cryptosporidium sam- ples without E. coli and turbidity sam- ples is not required to collect E.  coli and turbidity samples when the system completes the requirements for Cryptosporidium        monitoring         under

§ 141.701(a).

- E. coli sample analysis. The anal- ysis of E. coli samples must meet the analytical method and approved lab- oratory requirements of §§ 141.704 through 141.705.

#### § 141.707

- Cryptosporidium sample analysis. The analysis of Cryptosporidium sam- ples must meet the criteria in this paragraph.

- Laboratories	analyzed Cryptosporidium samples using one of the  analytical  methods  in  paragraphs (c)(1)(i)  through  (vi)  of  this  section, which  are  incorporated  by  reference. The  Director  of  the  Federal  Register approves   this   incorporation   by   ref- erence   in   accordance   with   5   U.S.C. 552(a) and 1 CFR part 51. You may ob- tain  a  copy  of  these  methods  on-line from the United States Environmental Protection  Agency,  Office  of  Ground Water and Drinking Water, 1201 Con- stitution   Ave,   NW,   Washington,   DC 20460 (Telephone: 800–426–4791). You may inspect a copy at the Water Dock- et in the EPA Docket Center, 1301 Con- stitution  Ave.,  NW,  Washington,  DC, (Telephone: 202–566–2426) or at the Na- tional Archives and Records Adminis- tration  (NARA).  For  information  on the   availability   of   this   material   at NARA, call 202–741–6030.

- Method 1623: Cryptosporidium and Giardia in Water by Filtration/IMS/FA, 2005, United States Environmental Pro- tection Agency, EPA–815–R–05–002.

- Method 1622: Cryptosporidium in Water by Filtration/IMS/FA, 2005, United States   Environmental   Protection Agency, EPA–815–R–05–001.

- Method 1623: Cryptosporidium and Giardia in Water by Filtration/IMS/FA, 2001, United States Environmental Pro- tection Agency, EPA–821–R–01–025.

- Method 1622: Cryptosporidium in Water by Filtration/IMS/FA, 2001, United States   Environmental   Protection Agency,  EPA–821–-R–01–026.

- Method 1623: Cryptosporidium and Giardia in Water by Filtration/IMS/FA, 1999, United States Environmental Pro- tection Agency, EPA–821–R–99–006.

- Method 1622: Cryptosporidium in Water by Filtration/IMS/FA, 1999, United States   Environmental   Protection Agency, EPA–821–R–99–001.

- For each Cryptosporidium sample, the laboratory analyzed at least 10 L of sample or at least 2 mL of packed pel- let or as much volume as could be fil- tered  by  2  filters  that  EPA  approved

#### 40 CFR Ch. I (7–1–17 Edition)

for the methods listed in paragraph (c)(1) of this section.

- Sampling location. The sampling location  must  meet  the  conditions  in

§ 141.703.

- Sampling	frequency. Cryptosporidium samples were collected no less frequently than each calendar month on a regular schedule,  beginning no earlier than January 1999. Sample collection intervals may vary for the conditions specified in § 141.702(b)(1) and (2) if the system provides docu- mentation of the condition when re- porting   monitoring   results.

- The State may approve grandfathering of previously collected data where  there are  time gaps  in the sampling frequency if the system con- ducts additional monitoring the State specifies to ensure that  the  data  used to comply with the initial source water monitoring requirements of § 141.701(a) are seasonally representative and unbi- ased.

- Systems may grandfather pre- viously collected data where the sam- pling frequency within each month var- ied. If the Cryptosporidium sampling frequency varied, systems must follow the   monthly   averaging   procedure   in

§ 141.710(b)(5) or § 141.712(a)(3), as appli- cable, when calculating the bin classi- fication  for  filtered  systems  or  the mean    Cryptosporidium    concentration for  unfiltered  systems.

- Reporting monitoring results for grandfathering. Systems that request to grandfather previously collected moni- toring results must  report  the  fol- lowing information by the applicable dates listed in this paragraph. Systems serving at least 10,000 people must re- port  this  information  to  EPA  unless the State approves reporting to  the State  rather  than  EPA.  Systems  serv- ing fewer than 10,000 people must re- port  this  information  to  the  State.

- Systems must report that they in- tend to submit previously collected monitoring results for grandfathering. This report must specify the number of previously collected results the system will submit, the dates of the first and last sample, and whether a system will conduct additional source water moni- toring  to  meet  the  requirements  of

§ 141.701(a). Systems must report this information  no  later  than  the  date  the

#### Environmental Protection Agency	§ 141.708

sampling schedule under § 141.702 is re- quired.

- Systems must report previously collected monitoring results for grandfathering, along with the associ- ated documentation listed in para- graphs (f)(2)(i) through (iv) of this sec- tion, no later than two months  after the applicable date listed in § 141.701(c).

  - For each sample result, systems must report the applicable data ele- ments in § 141.706.

  - Systems must certify that the re- ported monitoring results include all results the system generated during the time period beginning with the first reported result and ending with the final reported result. This applies to samples that were collected from the sampling location specified for source water monitoring under this subpart, not spiked, and analyzed using the laboratory’s routine process for the analytical methods listed in this sec- tion.

  - Systems must certify that the samples were representative of a plant’s source water(s) and the source water(s) have not changed. Systems must report a description of the sam- pling location(s), which must address the position of the sampling location in relation to the  system’s  water source(s) and treatment processes, in- cluding points of chemical addition and filter  backwash  recycle.

  - For Cryptosporidium samples, the laboratory or laboratories that ana- lyzed the samples must provide a letter certifying that the quality control cri- teria specified in the methods listed in paragraph (c)(1) of this section were met for each sample batch associated with the reported results. Alter- natively, the laboratory may provide bench sheets and sample examination report forms for each field, matrix spike, IPR, OPR, and method blank sample associated with the reported re- sults.

- If the State determines that a previously collected data set submitted for grandfathering was generated dur- ing source water conditions that were not normal for the system, such as a drought, the State may disapprove the data. Alternatively, the State may ap- prove the previously collected data if the  system  reports  additional  source

water  monitoring  data,  as  determined by the State, to ensure that  the  data set used under § 141.710 or § 141.712 rep- resents average  source  water  condi- tions  for  the  system.

- If a system submits previously collected data that fully meet the num- ber of samples required for initial source      water      monitoring      under

§ 141.701(a) and some of the data are re- jected due to not meeting the require- ments of this section, systems must conduct additional monitoring to re- place rejected data on a schedule the State approves. Systems are not re- quired to begin this additional moni- toring until two months after notifica- tion that data have been rejected and additional monitoring is necessary.

DISINFECTION PROFILING AND

BENCHMARKING  REQUIREMENTS

##### § 141.708 Requirements  when  making a significant change in disinfection practice.

- Following the completion of ini- tial  source   water   monitoring   under

§ 141.701(a), a system that plans to make a significant change to its dis- infection practice, as defined in para- graph (b) of this section, must develop disinfection profiles and calculate dis- infection benchmarks  for  Giardia lamblia  and   viruses   as   described   in

§ 141.709. Prior to changing the disinfec- tion practice, the system must notify the State and must include in this  no- tice the information in  paragraphs (a)(1) through (3) of this section.

  - A completed disinfection profile and disinfection benchmark for Giardia lamblia  and  viruses  as  described  in

§ 141.709.

  - A description of the proposed change in disinfection practice.

  - An analysis of how the proposed change will affect the current level of disinfection.

- Significant changes to disinfec- tion practice are defined as follows:

  - Changes to the point of disinfec- tion;

  - Changes to the disinfectant(s) used in the treatment plant;

  - Changes to the disinfection proc- ess; or

  - Any other modification identified by the State as a significant change to disinfection practice.

#### § 141.709

##### § 141.709   Developing   the   disinfection profile and benchmark.

    - Systems required to develop dis- infection profiles under § 141.708 must follow the requirements of this section. Systems must monitor at least weekly for a period of  12  consecutive  months to determine the total log inactivation for Giardia lamblia and viruses. If sys- tems monitor more frequently, the monitoring frequency must be evenly spaced. Systems that operate for fewer than 12 months per year must monitor weekly during the period of operation. Systems must determine log inactiva- tion for Giardia lamblia through the en- tire plant, based on CT99.9 values in Ta- bles  1.1   through  1.6,  2.1   and  3.1   of

§ 141.74(b) as applicable. Systems must determine log inactivation for viruses through the entire  treatment  plant based on a protocol approved  by  the State.

    - Systems with a  single point  of disinfectant application prior to the entrance to the distribution system must conduct the monitoring in para- graphs (b)(1) through (4) of this section. Systems with more than one point of disinfectant application must  conduct the monitoring in paragraphs (b)(1) through (4) of this section for each dis- infection segment. Systems must mon- itor the parameters necessary to deter- mine the total inactivation ratio, using analytical methods in § 141.74(a).

      - For systems using a disinfectant other than UV, the temperature of the disinfected water must be measured at each residual disinfectant concentra- tion sampling point during peak hourly flow or at an alternative location ap- proved by the State.

      - For systems using chlorine, the pH of the disinfected water must be measured at each chlorine residual dis- infectant concentration sampling point during peak hourly flow or at an alter- native location approved by the State.

      - The  disinfectant  contact  time(s)

(t) must be determined during peak hourly flow.

      - The residual disinfectant con- centration(s) (C) of the water before or at the first customer and prior to each additional point of disinfectant appli- cation must be measured during peak hourly flow.

#### 40 CFR Ch. I (7–1–17 Edition)

    - In lieu of conducting new moni- toring under paragraph (b) of this sec- tion, systems may elect to meet the re- quirements of paragraphs (c)(1) or (2) of this  section.

      - Systems that have at least one year of existing data that are substan- tially equivalent to data  collected under the provisions of paragraph (b) of this section may use these data to de- velop disinfection profiles as specified in this section if the system has nei- ther made a significant change to its treatment practice nor changed sources since the data were collected. Systems may develop disinfection pro- files using up to three years of existing data.

      - Systems may use disinfection pro- file(s)    developed    under    § 141.172    or

§§ 141.530 through 141.536 in lieu of de- veloping a new profile if the system has neither made a significant change  to its treatment practice nor changed sources since the profile was developed. Systems that have not developed  a virus profile under § 141.172 or §§ 141.530 through 141.536 must develop a virus profile using the same monitoring data on which the Giardia lamblia profile is based.

    - Systems must calculate the total inactivation ratio for Giardia lamblia as specified  in  paragraphs  (d)(1)  through

- of this section.

- Systems using only one point of disinfectant application may deter- mine the total inactivation ratio for the disinfection segment based on ei- ther of the methods in paragraph (d)(1)(i) or (ii) of this section.

  - Determine one inactivation ratio (CTcalc/CT99.9) before or at the first customer during peak hourly flow.

  - Determine successive CTcalc/ CT99.9 values, representing sequential inactivation ratios, between the  point of disinfectant application and a point before or at the first customer during peak hourly flow. The system must cal- culate the total inactivation ratio by determining (CTcalc/CT99.9) for each se- quence and then adding the (CTcalc/ CT99.9) values together to determine (S (CTcalc/CT99.9)).

- Systems using more than one point of disinfectant application before the first customer must determine the CT value of each disinfection segment

#### Environmental Protection Agency	§ 141.710

immediately prior to the next point of disinfectant  application,  or  for  the final segment, before or at the first customer, during peak hourly flow. The (CTcalc/CT99.9) value of each segment and (S (CTcalc/CT99.9)) must be cal- culated using the method in paragraph (d)(1)(ii) of this section.

- The system must determine the total logs of inactivation by multi- plying the value calculated in para- graph (d)(1) or (d)(2) of this section by 3.0.

- Systems must calculate the log of inactivation for viruses using a pro- tocol approved by the State.

    - Systems must use the procedures specified in paragraphs (e)(1) and (2) of this section to calculate a disinfection benchmark.

      - For each year of profiling data collected and calculated under para- graphs (a) through (d) of this section, systems must determine the lowest mean monthly level of both Giardia lamblia and virus inactivation. Systems must determine the mean Giardia lamblia and virus inactivation for each calendar month for each year of profiling data by dividing the sum of daily or weekly Giardia lamblia and virus log inactivation by the number of values calculated for that month.

      - The disinfection benchmark is the lowest monthly mean value (for sys- tems with one year of profiling data) or the mean of the lowest monthly mean values (for systems with more than one year of profiling data) of Giardia lamblia and virus log inactivation in each year of profiling data.

TREATMENT TECHNIQUE REQUIREMENTS

##### § 141.710   Bin classification for filtered systems.

        - Following completion of the ini- tial round of source water monitoring required under § 141.701(a), filtered sys- tems      must      calculate      an      initial

Cryptosporidium bin concentration for each plant for which monitoring was required. Calculation of the bin con- centration	must	use	the Cryptosporidium results  reported  under

§ 141.701(a) and must follow the proce- dures in paragraphs (b)(1) through (5) of this   section.

(b)(1) For systems that collect a total of at least 48 samples, the bin con- centration is equal to the arithmetic mean of all sample concentrations.

- For systems that collect a total of at least 24 samples, but not more than

47 samples, the bin concentration is equal to the highest  arithmetic  mean of all  sample  concentrations  in  any  12 consecutive months during which Cryptosporidium samples were collected.

- For systems that serve fewer than 10,000 people and monitor for Cryptosporidium for only one year (i.e., collect 24 samples in 12 months),  the bin concentration is equal to the arith- metic mean of all sample concentra- tions.

- For systems with plants operating only part of the year  that  monitor fewer  than  12  months  per  year  under

§ 141.701(e), the bin concentration is equal to the highest  arithmetic  mean of all sample  concentrations  during any year of Cryptosporidium moni- toring.

- If the monthly Cryptosporidium sampling frequency varies, systems must first calculate a monthly average for each month of monitoring. Systems must then use these monthly average concentrations, rather than individual sample concentrations, in the applica- ble calculation for bin classification in paragraphs (b)(1) through (4) of this section.

- Filtered systems must determine their initial bin classification from the following table and using the Cryptosporidium bin concentration cal- culated under paragraphs (a)–(b) of this section:

BIN CLASSIFICATION TABLE FOR FILTERED SYSTEMS

| For systems that are: | With a Cryptosporidium bin concentration of . . . 1 | The bin classification is . . . |
| --- | --- | --- |
| . . . required to monitor for Cryptosporidium under § 141.701. | Cryptosporidium <0.075 oocyst/L ................... 0.075 oocysts/L Cryptosporidium <1.0 oocysts/L. | Bin 1. Bin 2. |

#### § 141.711

40 CFR Ch. I (7–1–17 Edition)

BIN CLASSIFICATION TABLE FOR FILTERED SYSTEMS—Continued

| For systems that are: | With a Cryptosporidium bin concentration of . . . 1 | The bin classification is . . . |
| --- | --- | --- |
| . . . serving fewer than 10,000 people and NOT required to monitor for Cryptosporidium under § 141.701(a)(4). | 1.0 oocysts/L Cryptosporidium <3.0 oocysts/L. Cryptosporidium 3.0 oocysts/L ................. NA ................................................................... | Bin 3. Bin 4. Bin 1. |

1 Based on calculations in paragraph (a) or (d) of this section, as applicable.

- Following completion of the  sec- ond round of source water monitoring required under § 141.701(b), filtered sys- tems	must	recalculate	their Cryptosporidium    bin    concentration using the Cryptosporidium results re- ported under § 141.701(b) and following the procedures in paragraphs (b)(1) through (4) of this section.  Systems must then redetermine their bin classi- fication  using  this   bin   concentration and the table in paragraph (c) of this section.

(e)(1) Filtered systems must report their initial bin classification under paragraph (c) of this  section  to  the State for approval  no  later  than  6 months after the system is required to complete initial source water  moni- toring     based     on     the     schedule     in

§ 141.701(c).

  - Systems must report their bin classification under paragraph (d) of this  section  to  the  State  for  approval

no later than 6 months after the sys- tem is required to complete the second round of source water  monitoring based on the schedule in § 141.701(c).

  - The bin classification report to the State must include a summary of source water monitoring data and the calculation procedure used to deter- mine bin classification.

(f) Failure to comply with the condi- tions of paragraph (e) of this section is a violation of the treatment technique requirement.

§ 141.711 Filtered system additional Cryptosporidium treatment require- ments.

(a) Filtered systems must provide the level of additional treatment for Cryptosporidium specified in this para- graph based on their  bin  classification as determined under § 141.710 and ac- cording to the schedule in § 141.713.

| If the system bin classification is . . . | And the system uses the following filtration treatment in full compliance with subparts H, P, and T of this part (as applicable), then the additional Cryptosporidium treatment requirements are . . . |
| --- | --- |
|  | Conventional filtration treatment (including softening) | Direct filtration | Slow sand or diatoma- ceous earth filtration | Alternative filtration tech- nologies |
| Bin 1 ................... | No additional treatment .. | No additional treatment .. | No additional treatment .. | No additional treatment. |
| Bin 2 ................... | 1-log treatment ............... | 1.5-log treatment ............ | 1-log treatment ............... | (1) |
| Bin 3 ................... | 2-log treatment ............... | 2.5-log treatment ............ | 2-log treatment ............... | (2) |
| Bin 4 ................... | 2.5-log treatment ............ | 3-log treatment ............... | 2.5-log treatment ............ | (3) |

1 As determined by the State such that the total Cryptosporidium removal and inactivation is at least 4.0-log. 2 As determined by the State such that the total Cryptosporidium removal and inactivation is at least 5.0-log. 3 As determined by the State such that the total Cryptosporidium removal and inactivation is at least 5.5-log.

(b)(1) Filtered systems must  use  one or more of the treatment and manage- ment options listed in § 141.715, termed the  microbial  toolbox,  to  comply  with the additional Cryptosporidium treat- ment required in paragraph (a) of this section.

(2) Systems classified in Bin 3 and Bin 4 must achieve at least 1-log of the additional    Cryptosporidium    treatment

required under paragraph (a) of this section using either one or a combina- tion of the following: bag filters, bank filtration, cartridge filters, chlorine di- oxide, membranes, ozone, or UV, as de- scribed in §§ 141.716 through 141.720.

- Failure by a system  in  any  month to achieve treatment credit by meeting criteria in §§ 141.716 through 141.720 for microbial    toolbox    options    that    is    at

#### Environmental Protection Agency	§ 141.712

least equal to the level of treatment re- quired in paragraph (a) of this section is a violation of the treatment tech- nique requirement.

- If the State determines during a sanitary  survey  or  an  equivalent source water assessment that after a system completed the monitoring con- ducted under § 141.701(a) or § 141.701(b), significant changes occurred in the sys- tem’s watershed that could lead to in- creased contamination of the source water by Cryptosporidium, the system must take actions specified by  the State to address the contamination. These actions may include additional source water monitoring and/or imple- menting microbial toolbox options list- ed in § 141.715.

§ 141.712   Unfiltered	system Cryptosporidium treatment require- ments.

- Determination	of	mean Cryptosporidium level. (1) Following completion of the initial source water monitoring required under § 141.701(a), unfiltered systems must calculate the arithmetic mean of all Cryptosporidium sample  concentrations  reported  under

§ 141.701(a). Systems must report this value to the State for approval no later than 6 months after the month the sys- tem is required to complete initial source water monitoring based on the schedule in § 141.701(c).

- Following completion of the sec- ond round of source water monitoring required under § 141.701(b), unfiltered systems must calculate the arithmetic mean of all Cryptosporidium sample concentrations	reported	under

§ 141.701(b). Systems must report this value to the State for approval no later than 6 months after the month the sys- tem is required to complete the second round of source water  monitoring based on the schedule in § 141.701(c).

- If the monthly Cryptosporidium sampling frequency varies, systems must first calculate a monthly average for each month of monitoring. Systems must then use these monthly average concentrations, rather than individual sample concentrations, in the calcula- tion of the mean  Cryptosporidium level in paragraphs (a)(1) or (2) of this sec- tion.

- The report to the State  of  the mean Cryptosporidium levels calculated under paragraphs (a)(1) and (2) of this section must include a summary of the source water monitoring data used for the   calculation.

- Failure to comply with the condi- tions of paragraph (a) of this section is a violation of the treatment technique requirement.

- Cryptosporidium inactivation re- quirements. Unfiltered systems must provide the level of inactivation for Cryptosporidium specified in this para- graph, based on their mean Cryptosporidium levels as determined under paragraph (a) of this section and according to the schedule in § 141.713.

- Unfiltered systems with a mean Cryptosporidium level of 0.01 oocysts/L or less must provide at least 2-log Cryptosporidium  inactivation.

- Unfiltered  systems  with  a  mean

Cryptosporidium  level  of  greater  than

0.01 oocysts/L must provide at least 3- log  Cryptosporidium  inactivation.

- Inactivation treatment technology requirements. Unfiltered  systems  must use chlorine dioxide, ozone, or UV as described in § 141.720 to meet the Cryptosporidium inactivation require- ments  of  this  section.

- Systems that use chlorine  dioxide or ozone and fail to achieve the Cryptosporidium  inactivation  required in paragraph (b) of this section on more than one day in the calendar month are in violation of the treatment technique requirement.

- Systems  that  use  UV  light  and fail to achieve the Cryptosporidium in- activation required in paragraph (b) of this  section  by  meeting  the  criteria  in

§ 141.720(d)(3)(ii) are in violation of the treatment   technique   requirement.

- Use of two disinfectants. Unfiltered systems must meet the combined Cryptosporidium inactivation require- ments of this section  and  Giardia lamblia and virus inactivation require- ments of § 141.72(a) using a minimum of two disinfectants, and each of two dis- infectants must separately achieve the total inactivation required for either Cryptosporidium, Giardia lamblia, or vi- ruses.

#### § 141.713

##### § 141.713 Schedule for compliance with Cryptosporidium treatment require- ments.

  - Following initial  bin  classifica- tion under § 141.710(c), filtered systems must provide the level of treatment for Cryptosporidium required under § 141.711 according  to  the  schedule  in  paragraph

- of this section.

  - Following   initial    determination of  the  mean  Cryptosporidium  level under § 141.712(a)(1), unfiltered systems must provide the level of treatment for Cryptosporidium required under § 141.712 according  to  the  schedule  in  paragraph

  - of this section.

    - Cryptosporidium treatment compli- ance dates.

CRYPTOSPORIDIUM TREATMENT COMPLIANCE DATES TABLE

| Systems that serve . . . | Must comply with Cryptosporidium treatment re- quirements no later than . . . a |
| --- | --- |
| (1) At least 100,000 people ... | (i) April 1, 2012. |
| (2) From 50,000 to 99,999 | (i) October 1, 2012. |
| people. |  |
| (3) From 10,000 to 49,999 | (i) October 1, 2013. |
| people. |  |
| (4) Fewer than 10,000 people | (i) October 1, 2014. |

a States may allow up to an additional two years for com- plying with the treatment requirement for systems making cap- ital improvements.

    - If the bin classification for a fil- tered system changes following the sec- ond round of source  water  monitoring, as determined  under  § 141.710(d),  the system must provide the level of treat- ment  for  Cryptosporidium   required under § 141.711 on a schedule the State approves.

    - If the mean Cryptosporidium level for an unfiltered system changes fol- lowing the second round  of  monitoring, as determined under § 141.712(a)(2), and if the system must provide a different level  of  Cryptosporidium   treatment under § 141.712 due to this change, the system must meet this treatment re- quirement on a schedule the State ap- proves.

#### 40 CFR Ch. I (7–1–17 Edition)

##### § 141.714 Requirements for uncovered finished water storage facilities.

- Systems using uncovered finished water storage facilities must comply with the conditions of this section.

- Systems must notify the State of the use of each uncovered finished water storage facility no  later  than April 1, 2008.

- Systems must meet the condi- tions of paragraph (c)(1) or (2) of this section for each uncovered finished water storage facility or be in compli- ance with a State-approved schedule to meet these conditions no later  than April 1, 2009.

  - Systems must cover any uncov- ered finished water storage facility.

  - Systems must treat the discharge from the uncovered finished water stor- age facility to the  distribution  system to achieve inactivation and/or removal of at least 4-log virus, 3-log Giardia lamblia, and 2-log Cryptosporidium using a protocol approved by the State.

- Failure to comply with the re- quirements of this section is a viola- tion of the treatment technique re- quirement.

REQUIREMENTS FOR MICROBIAL TOOLBOX COMPONENTS

##### § 141.715 Microbial toolbox options for meeting Cryptosporidium treatment requirements.

(a)(1) Systems receive the treatment credits listed in the table in paragraph

- of this section by meeting the con- ditions for microbial toolbox options described in §§ 141.716 through 141.720. Systems  apply  these  treatment   credits to  meet  the  treatment  requirements  in

§ 141.711 or § 141.712, as applicable.

(2) Unfiltered systems are eligible for treatment credits for the microbial toolbox options described in § 141.720 only.

  - The following  table summarizes options in the microbial toolbox:

MICROBIAL TOOLBOX SUMMARY TABLE: OPTIONS, TREATMENT CREDITS AND CRITERIA

Toolbox Option

Cryptosporidium treatment credit with design and implementation criteria

Source Protection and Management Toolbox Options

(1) Watershed control program ...................   0.5-log credit for State-approved program comprising required elements, annual

program status report to State, and regular watershed survey. Unfiltered systems are not eligible for credit. Specific criteria are in § 141.716(a).

#### Environmental Protection Agency	§ 141.716

MICROBIAL TOOLBOX SUMMARY TABLE: OPTIONS, TREATMENT CREDITS AND CRITERIA—Continued

| Toolbox Option | Cryptosporidium treatment credit with design and implementation criteria |
| --- | --- |
| (2) Alternative source/intake management | No prescribed credit. Systems may conduct simultaneous monitoring for treatment bin classification at alternative intake locations or under alternative intake man- agement strategies. Specific criteria are in § 141.716(b). |

Pre Filtration Toolbox Options

- Presedimentation  basin  with  coagula-   0.5-log credit during any month that presedimentation basins achieve a monthly tion.	mean reduction of 0.5-log or greater in turbidity or alternative State-approved performance criteria. To be eligible, basins must be operated continuously with

coagulant addition and all plant flow must pass through basins. Specific criteria are in § 141.717(a).

- Two-stage lime softening  ......................   0.5-log credit for two-stage softening where chemical addition and hardness pre-

cipitation occur in both stages. All plant flow must pass through both stages. Sin- gle-stage softening is credited as equivalent to conventional treatment. Specific criteria are in § 141.717(b).

- Bank filtration .........................................   0.5-log credit for 25-foot setback; 1.0-log credit for 50-foot setback; aquifer must be

unconsolidated sand containing at least 10 percent fines; average turbidity in wells must be less than 1 NTU. Systems using wells followed by filtration when conducting source water monitoring must sample the well to determine bin clas- sification  and  are  not  eligible  for  additional  credit.  Specific  criteria  are  in

§ 141.717(c).

Treatment Performance Toolbox Options

- Combined filter performance .................   0.5-log credit for combined filter effluent turbidity less than or equal to 0.15 NTU in

at  least  95  percent  of  measurements  each  month.  Specific  criteria  are  in

§ 141.718(a).

- Individual filter performance ..................   0.5-log credit (in addition to 0.5-log combined filter performance credit) if individual

filter effluent turbidity is less than or equal to 0.15 NTU in at least 95 percent of samples each month in each filter and is never greater than 0.3 NTU in two con- secutive measurements in any filter. Specific criteria are in § 141.718(b).

- Demonstration of performance ..............   Credit awarded to unit process or treatment train based on a demonstration to the

State with a State- approved protocol. Specific criteria are in § 141.718(c).

Additional Filtration Toolbox Options

- Bag or cartridge filters (individual filters)    Up to 2-log credit based on the removal efficiency demonstrated during challenge

testing with a 1.0-log factor of safety. Specific criteria are in § 141.719(a).

- Bag or cartridge filters (in series) ........   Up to 2.5-log credit based on the removal efficiency demonstrated during challenge

testing with a 0.5-log factor of safety. Specific criteria are in § 141.719(a).

- Membrane filtration ..............................   Log credit equivalent to removal efficiency demonstrated in challenge test for de-

vice if supported by direct integrity testing. Specific criteria are in § 141.719(b).

- Second stage filtration .........................   0.5-log credit for second separate granular media filtration stage if treatment train

includes coagulation prior to first filter. Specific criteria are in § 141.719(c)

- Slow sand filters ..................................   2.5-log credit as a secondary filtration step; 3.0-log credit as a primary filtration

process.   No   prior   chlorination   for   either   option.   Specific   criteria   are   in

§ 141.719(d).

Inactivation Toolbox Options

- Chlorine dioxide ...................................   Log  credit  based  on  measured  CT  in  relation  to  CT  table.  Specific  criteria  in

§ 141.720(b)

- Ozone ..................................................   Log  credit  based  on  measured  CT  in  relation  to  CT  table.  Specific  criteria  in

§ 141.720(b).

- UV ........................................................   Log credit based on validated UV dose in relation to UV dose table; reactor valida-

tion testing required to establish UV dose and associated operating conditions. Specific criteria in § 141.720(d).

##### § 141.716   Source toolbox components.

    - Watershed control program. Sys- tems receive 0.5-log Cryptosporidium treatment credit for implementing a watershed control program that meets the requirements of this section.

- Systems that intend to apply for the watershed control program credit

must notify the State of this intent no later than two years prior to the treat- ment compliance date applicable to the system in § 141.713.

- Systems must submit to the State a proposed watershed control plan no later than one year before the applica- ble    treatment    compliance    date    in

§ 141.713.  The  State  must  approve  the

#### § 141.716

watershed control plan for  the  system to receive watershed control program treatment credit. The watershed con- trol plan must include the elements in paragraphs (a)(2)(i) through (iv) of this section.

  - Identification of an  ‘‘area of influ- ence’’ outside of which  the  likelihood of Cryptosporidium or fecal contamina- tion affecting the treatment plant in- take is not significant. This is the area to be evaluated in future watershed surveys under paragraph (a)(5)(ii) of this  section.

  - Identification of both potential and actual sources of Cryptosporidium contamination and  an  assessment  of the relative impact of these sources on the system’s source water quality.

  - An analysis of the effectiveness and  feasibility  of  control   measures that could reduce Cryptosporidium load- ing from sources of contamination to the system’s source water.

  - A statement of goals and specific actions the system will undertake to reduce source water Cryptosporidium levels. The plan must explain how the actions are expected to contribute to specific goals, identify watershed part- ners and their roles, identify resource requirements and commitments, and include a schedule for plan implemen- tation with deadlines for completing specific actions identified in the plan.

- Systems with existing watershed control programs (i.e., programs in place on January 5, 2006) are eligible to seek this credit. Their watershed con- trol plans must meet the criteria in paragraph (a)(2) of this section  and must specify ongoing and future  ac- tions that will reduce source water Cryptosporidium levels.

- If the State does not respond to a system regarding approval of a water- shed control plan submitted under this section and the system meets the other requirements of this section, the wa- tershed control program will be consid- ered approved and 0.5 log Cryptosporidium treatment credit  will be awarded unless and until the State subsequently withdraws such approval.

- Systems must complete the ac- tions  in  paragraphs  (a)(5)(i)  through

(iii) of this section to maintain the 0.5- log credit.

#### 40 CFR Ch. I (7–1–17 Edition)

- Submit an annual watershed con- trol program status report to the State. The annual watershed control program status report must describe the system’s implementation of the ap- proved plan and assess the adequacy of the plan to meet its goals. It must ex- plain how the system is addressing any shortcomings in plan implementation, including those previously identified by the State or as the result of the wa- tershed survey conducted under para- graph (a)(5)(ii) of this section. It must also describe any significant changes that have occurred in the watershed since the last watershed sanitary sur- vey. If a system determines during im- plementation that making a signifi- cant change to its approved watershed control program is necessary, the sys- tem must notify the State prior to making any such changes. If any change is likely to reduce the level of source water protection, the system must also list in its notification the ac- tions the system will take to mitigate this effect.

- Undergo a watershed sanitary survey every three years for commu- nity water systems and every five years for noncommunity water systems and submit the survey report to the State. The survey must be conducted according to State guidelines and by persons the State approves.

  - The watershed sanitary survey must meet the following criteria: en- compass the region identified in the State-approved watershed control plan as the area of influence; assess the im- plementation of actions to reduce source water Cryptosporidium levels; and identify any  significant  new sources of Cryptosporidium.

  - If the State determines that sig- nificant changes may have occurred in the watershed since the previous wa- tershed sanitary survey, systems must undergo another watershed sanitary survey by a date the State requires, which may be earlier than the regular date in paragraph (a)(5)(ii) of this sec- tion.

- The system must make the wa- tershed control plan, annual status re- ports, and watershed sanitary survey reports available to the public upon re- quest.  These  documents  must  be  in  a

#### Environmental Protection Agency	§ 141.717

plain language style and include cri- teria by which to evaluate the success of the program in achieving plan goals. The State may approve systems to withhold from the public portions of the annual status report, watershed control plan, and watershed sanitary survey based on water supply security considerations.

- If the State determines that a sys- tem is not carrying out the approved watershed control plan, the State may withdraw the  watershed  control  pro- gram treatment credit.

    - Alternative source. (1) A system may conduct source water monitoring that reflects a different intake location (either in the same source or for an al- ternate source) or a different procedure for the timing or level of withdrawal from the source (alternative source monitoring). If the State approves, a system may determine its bin classi- fication under § 141.710 based on the al- ternative source monitoring results.

- If systems conduct alternative source monitoring under  paragraph (b)(1) of this section, systems must also monitor their current plant intake concurrently as described in § 141.701.

- Alternative source monitoring under paragraph (b)(1) of this section must meet the requirements for source monitoring to determine bin classifica- tion, as described in §§ 141.701 through 141.706. Systems must report the alter- native source monitoring results to the State, along with  supporting  informa- tion documenting the operating condi- tions under which the samples were collected.

- If a system determines its bin classification under § 141.710 using al- ternative  source   monitoring   results that  reflect  a  different   intake   location or a different procedure for managing the timing or level of withdrawal  from the  source,  the  system  must  relocate the intake or permanently adopt the withdrawal procedure, as applicable, no later than the applicable treatment compliance date in § 141.713.

##### § 141.717   Pre-filtration treatment tool- box components.

  - Presedimentation. Systems receive 0.5-log Cryptosporidium treatment cred- it  for  a  presedimentation  basin  during

any month the process meets the cri- teria in this paragraph.

- The presedimentation basin must be in continuous operation and must treat the  entire  plant  flow  taken  from a surface water or GWUDI source.

- The system must continuously add	a	coagulant	to	the presedimentation basin.

- The presedimentation basin must achieve the performance criteria in paragraph (3)(i) or (ii) of this section.

- Demonstrates at least 0.5-log mean reduction of influent turbidity. This reduction must be determined using daily turbidity measurements in the presedimentation process influent and effluent and must be calculated as follows: log10(monthly mean of daily influent	turbidity)¥log10(monthly mean of daily effluent turbidity).

- Complies with State-approved performance criteria that demonstrate at least 0.5-log mean removal of mi- cron-sized	particulate	material through the presedimentation process.

  - Two-stage lime softening. Systems receive	an	additional	0.5-log Cryptosporidium treatment credit for a two-stage lime softening plant if chem- ical addition and hardness  precipita- tion occur in two separate and sequen- tial softening stages prior to filtration. Both softening stages must treat the entire plant flow taken from a surface water or GWUDI source.

  - Bank filtration. Systems receive Cryptosporidium treatment credit for bank filtration that serves as pretreatment to a filtration plant by meeting the criteria in this paragraph. Systems using bank filtration when they begin source water monitoring under § 141.701(a) must collect samples as described in § 141.703(d) and are not eligible for this credit.

    - Wells with a ground water flow path of at least 25 feet receive 0.5-log treatment credit; wells with a ground water flow  path of  at least 50  feet re- ceive 1.0-log treatment credit. The ground water flow path must be deter- mined as specified in paragraph (c)(4) of this section.

    - Only wells in granular aquifers are eligible for treatment credit. Granular aquifers are those comprised

#### § 141.718

of sand, clay, silt, rock fragments, peb- bles or larger particles, and minor ce- ment. A system must characterize the aquifer at the well site to determine aquifer properties. Systems must ex- tract a core from the aquifer and dem- onstrate that in at least 90 percent of the core length, grains less than 1.0 mm in diameter constitute at least 10 percent of the core material.

    - Only horizontal and vertical wells are eligible for treatment credit.

    - For vertical wells, the ground water flow path is the measured dis- tance from the edge of  the  surface water body under high flow conditions (determined by the 100 year floodplain elevation boundary or by the floodway, as defined  in  Federal Emergency Man- agement Agency flood hazard maps) to the well screen. For horizontal wells, the ground water flow path is the measured distance from the bed of the river under normal flow conditions to the closest horizontal well lateral screen.

    - Systems must monitor each well- head for turbidity at least once every four hours while the bank filtration process is in operation. If monthly av- erage turbidity levels, based on daily maximum values in the well, exceed 1 NTU, the system must report this re- sult to the State and conduct an as- sessment within 30 days to determine the cause of the high turbidity levels in the well. If the State determines that microbial removal has been com- promised, the State may revoke treat- ment credit until the system imple- ments corrective actions approved by the State to remediate the problem.

    - Springs and infiltration galleries are not eligible for treatment credit under this section, but are eligible for credit under § 141.718(c).

    - Bank filtration demonstration of performance. The State may approve Cryptosporidium treatment credit for bank filtration based on a demonstra- tion of performance study that meets the criteria in this paragraph. This treatment credit may be greater than 1.0-log and may be awarded to bank fil- tration that does not meet the criteria in paragraphs (c)(1)–(5) of this section.

- The study must follow a State-ap- proved protocol and must involve the collection  of  data  on  the  removal  of

#### 40 CFR Ch. I (7–1–17 Edition)

Cryptosporidium or a surrogate for Cryptosporidium	and	related hydrogeologic and water quality pa- rameters during the full range of oper- ating  conditions.

- The study must include sampling both from the production well(s) and from monitoring wells that are screened and located along the shortest flow path between the surface water source and the production well(s).

##### § 141.718   Treatment performance tool- box components.

- Combined filter performance. Sys- tems using conventional filtration treatment or  direct  filtration  treat- ment receive an additional 0.5-log Cryptosporidium  treatment  credit  dur- ing any month the system meets the criteria in  this  paragraph.  Combined filter effluent (CFE) turbidity  must be less than or equal to 0.15 NTU in at least 95 percent of the measurements. Turbidity must be measured as de- scribed in § 141.74(a) and (c).

- Individual filter performance. Sys- tems using conventional filtration treatment or  direct  filtration  treat- ment receive 0.5-log Cryptosporidium treatment credit, which can be in addi- tion to the 0.5-log credit under para- graph (a) of this section, during any month the system meets the criteria in this paragraph. Compliance with these criteria must be based on  individual filter turbidity monitoring as  described in § 141.174 or § 141.560, as applicable.

  - The filtered water turbidity for each individual filter must  be  less  than or equal to 0.15 NTU in at least 95 per- cent  of  the  measurements  recorded each   month.

  - No individual filter may have a measured  turbidity  greater  than  0.3 NTU in two consecutive measurements taken  15  minutes  apart.

  - Any system that has received treatment credit for individual filter performance and fails to meet the re- quirements of paragraph (b)(1) or (2) of this section during any month does not receive  a  treatment  technique   viola- tion under § 141.711(c) if the State de- termines  the  following:

    - The failure was due to unusual and short-term circumstances that could   not   reasonably   be   prevented

#### Environmental Protection Agency	§ 141.719

through   optimizing   treatment   plant design, operation, and maintenance.

    - The system has experienced no more than two such failures in any cal- endar year.

- Demonstration of performance. The State may approve Cryptosporidium treatment credit for drinking water treatment processes based on a dem- onstration of performance study that meets the criteria  in  this  paragraph. This treatment credit may  be  greater than or less than the prescribed treat- ment credits in § 141.711 or §§ 141.717 through 141.720 and may be awarded to treatment processes that do not meet the  criteria  for  the  prescribed  credits.

  - Systems cannot receive the pre- scribed treatment  credit  for  any  tool- box box option in §§ 141.717 through 141.720 if that toolbox option is in- cluded in a demonstration of perform- ance study for  which  treatment  credit is awarded under this paragraph.

  - The demonstration of performance study must follow a State-approved protocol and must demonstrate the level of Cryptosporidium reduction the treatment process will achieve under the full range of expected operating conditions for the system.

  - Approval by the State must be in writing and may  include  monitoring and treatment  performance  criteria that the system must demonstrate and report on an ongoing basis to remain eligible for the treatment credit. The State may designate such  criteria where necessary to verify that the con- ditions under which the demonstration of performance credit was approved are maintained during routine operation.

##### § 141.719   Additional  filtration  toolbox components.

- Bag and cartridge filters. Systems receive Cryptosporidium  treatment credit of up to 2.0-log for individual bag or cartridge filters and up to 2.5-log for bag or cartridge filters operated in se- ries by meeting the criteria in para- graphs (a)(1) through (10) of this sec- tion. To be eligible for this credit, sys- tems must report the results of chal- lenge testing that meets the require- ments of paragraphs (a)(2) through (9) of this section to the State. The filters must treat the entire plant flow taken from a subpart H source.

- The Cryptosporidium treatment credit awarded to bag or cartridge fil- ters must be based on the removal effi- ciency demonstrated during challenge testing that is conducted according to the criteria in paragraphs  (a)(2) through (a)(9) of this section. A factor of safety equal to 1-log for individual bag or cartridge filters and 0.5-log for bag or cartridge filters in  series  must be applied to challenge  testing  results to determine removal credit. Systems may use results from challenge testing conducted prior to January 5, 2006  if the prior testing was consistent with the criteria specified in paragraphs (a)(2) through (9) of this section.

- Challenge testing must be per- formed on full-scale bag or cartridge filters, and the associated filter hous- ing or pressure vessel, that are iden- tical in material and construction to the filters and housings the system will use for removal of Cryptosporidium. Bag or cartridge filters must be challenge tested in the same configuration that the system will use, either as  indi- vidual filters or as a series configura- tion  of  filters.

- Challenge testing must be con- ducted using Cryptosporidium or a sur- rogate that is removed no more effi- ciently than Cryptosporidium. The microorganism or surrogate used dur- ing challenge testing is referred to  as the challenge particulate. The con- centration of the challenge particulate must be determined using a method ca- pable of discreetly quantifying the spe- cific microorganism or surrogate  used in the test; gross  measurements  such as turbidity may not be used.

- The maximum feed water con- centration that can be used during a challenge test must be based on the de- tection limit of the challenge particu- late in the filtrate (i.e., filtrate detec- tion limit) and must be calculated using the following equation:

Maximum Feed Concentration = 1 10 4

- (Filtrate Detection Limit)

- Challenge testing must be con- ducted at the maximum design flow rate for the filter as specified by the manufacturer.

- Each filter evaluated must be tested for a duration sufficient to reach

100   percent   of   the   terminal   pressure

#### § 141.719

drop, which establishes the maximum pressure drop under which the filter may be used to comply with the re- quirements of this subpart.

- Removal efficiency of a filter must be determined from the results of the challenge test and expressed in terms of log removal values using the following equation:

LRV = LOG10(Cf)¥LOG10(Cp)

Where:

LRV = log removal value demonstrated dur- ing challenge testing; Cf = the feed con- centration measured during the chal- lenge test; and Cp = the filtrate con- centration measured during the chal- lenge test. In applying this equation, the same units must be used for the feed and filtrate concentrations. If the challenge particulate is not detected in the fil- trate, then the term Cp must be set equal to the detection limit.

- Each filter tested must be chal- lenged with the challenge particulate during three periods over the filtration cycle: within two hours of start-up of a new filter; when the pressure drop is between 45 and 55 percent of the ter- minal pressure drop; and at the end of the cycle after the pressure drop has reached 100 percent of the terminal pressure drop. An LRV must be cal- culated for each of these challenge pe- riods for each filter tested. The  LRV for the filter (LRVfilter) must be as- signed the value of the minimum LRV observed during the three challenge pe- riods for that filter.

- If fewer than 20 filters are tested, the overall removal efficiency for the filter product line must be set equal to the lowest LRVfilter among the filters tested. If 20 or more filters are tested, the overall removal efficiency for the filter product line must be set equal to the 10th percentile of the set of LRVfilter values for the various filters tested. The percentile is defined by (i/(n + 1)) where i is the rank of n individual data points ordered lowest to highest. If necessary, the 10th percentile may be calculated using linear interpolation.

- If a previously tested filter is modified in a manner  that  could change the removal efficiency of the filter product line, challenge testing to demonstrate the removal efficiency of the modified filter must be conducted and submitted to the State.

#### 40 CFR Ch. I (7–1–17 Edition)

- Membrane filtration. (1) Systems receive Cryptosporidium  treatment credit for  membrane filtration  that meets the criteria of this paragraph. Membrane cartridge filters that meet the definition  of membrane  filtration in § 141.2 are eligible for this credit. The level of treatment credit a system re- ceives is equal to the lower of the val- ues determined under paragraph (b)(1)(i) and (ii) of this section.

- The removal efficiency dem- onstrated during challenge testing con- ducted under the conditions in para- graph (b)(2) of this section.

- The maximum removal efficiency that can be verified through direct in- tegrity testing used with the mem- brane filtration process under the con- ditions in paragraph (b)(3) of this sec- tion.

- Challenge testing. The membrane used by the system must undergo chal- lenge testing to evaluate removal effi- ciency, and the system must report the results  of  challenge  testing  to  the State. Challenge testing must be con- ducted according to the criteria in paragraphs (b)(2)(i) through (vii) of this section. Systems may use data from challenge testing conducted prior to January 5, 2006 if the prior testing was consistent with the criteria in para- graphs (b)(2)(i) through (vii) of this sec- tion.

  - Challenge testing must be con- ducted on either a full-scale membrane module, identical in material and con- struction to the membrane modules used in the system’s treatment facil- ity, or a smaller-scale membrane mod- ule, identical in material  and  similar in construction to the full-scale mod- ule. A module is defined as the smallest component of a membrane unit in which a specific membrane surface area is housed in a device with a fil- trate outlet structure.

  - Challenge testing must be con- ducted using Cryptosporidium oocysts or a surrogate that is removed no more ef- ficiently than Cryptosporidium oocysts. The organism or surrogate used during challenge testing is referred to as the challenge particulate. The concentra- tion of the challenge  particulate,  in both the feed and filtrate  water,  must be determined using a method capable of   discretely   quantifying   the   specific

#### Environmental Protection Agency	§ 141.719

challenge particulate used in the test; gross measurements such as turbidity may not be used.

  - The maximum feed water con- centration that can be used during a challenge test is based on the detection limit of the challenge particulate in the filtrate and must be determined ac- cording to the following equation:

Maximum  Feed  Concentration  =  3.16  

106  (Filtrate Detection Limit)

  - Challenge testing must be con- ducted under representative hydraulic conditions at the maximum design flux and maximum design process recovery specified by the manufacturer for the membrane module. Flux is defined as the throughput of a pressure driven membrane process expressed as flow per unit of membrane area. Recovery is defined as the volumetric percent of feed water that is converted to filtrate over the course of an operating cycle uninterrupted by events such as chem- ical cleaning or a solids removal  proc- ess (i.e., backwashing).

  - Removal efficiency of a mem- brane module must be calculated from the challenge test results and ex- pressed as a log removal value accord- ing to the following equation:

LRV = LOG10(Cf) ¥ LOG10(Cp)

Where:

LRV = log removal value demonstrated dur- ing the challenge test; Cf = the feed con- centration measured during the chal- lenge test; and Cp = the filtrate con- centration measured during the chal- lenge test. Equivalent units must be used for the feed and filtrate concentrations. If the challenge particulate is not de- tected in the filtrate, the term Cp is set equal to the detection limit for the pur- pose of calculating the LRV. An LRV must be calculated for each membrane module evaluated during the challenge test.

  - The removal efficiency of a mem- brane filtration process demonstrated during challenge testing must be ex- pressed as a log removal  value (LRVC-Test). If fewer than 20 modules are tested, then LRVC-Test is equal to the lowest of the representative LRVs among the modules tested.  If  20  or more modules are tested, then LRVC-Test is equal to the 10th percentile of the representative  LRVs  among  the  mod-

ules tested. The percentile is  defined by (i/(n + 1)) where i is the rank of n in- dividual data points ordered lowest to highest. If necessary, the 10th per- centile may be calculated using linear interpolation.

  - The challenge test must estab- lish a quality control release value (QCRV) for a non-destructive perform- ance test that demonstrates the Cryptosporidium removal capability of the membrane filtration module. This performance test must be applied to each production membrane  module used by the system that was not di- rectly challenge tested in order to verify Cryptosporidium removal capa- bility. Production modules that do not meet the established QCRV are not eli- gible for the treatment credit dem- onstrated during the challenge test.

  - If a previously tested mem- brane is modified in a  manner  that could change the removal efficiency of the membrane or the applicability of the non-destructive performance test and associated QCRV, additional chal- lenge testing to demonstrate the re- moval efficiency of, and determine a new QCRV for, the modified membrane must be conducted and submitted to the   State.

- Direct integrity testing. Systems must  conduct  direct  integrity   testing in a manner that demonstrates a re- moval efficiency equal to  or  greater than the removal credit awarded to the membrane filtration process and meets the requirements described in para- graphs (b)(3)(i) through (vi) of this sec- tion. A direct integrity  test  is  defined as a physical test applied to a mem- brane unit in order to identify and iso- late integrity breaches (i.e., one  or more leaks that could result in con- tamination  of  the  filtrate).

- The direct integrity test must be independently applied to each mem- brane unit in service. A membrane unit is defined as a group of membrane mod- ules that share common valving that allows the unit to be isolated from the rest of the system for the purpose of in- tegrity testing or other maintenance.

- The direct integrity method must have a resolution of 3 micrometers or less, where resolution is defined as the size   of   the   smallest   integrity   breach

#### § 141.719

that contributes to a response from the direct integrity test.

- The direct integrity test must have a sensitivity sufficient to verify the log treatment credit awarded to the membrane filtration process by the State, where sensitivity is defined as the maximum log removal value that can be reliably verified by a direct in- tegrity test. Sensitivity must be deter- mined using the approach in either paragraph (b)(3)(iii)(A) or (B) of this section as applicable to the type of di- rect integrity test the system uses.

  - For direct integrity tests that use an applied pressure or vacuum, the direct integrity test sensitivity must be calculated according to the fol- lowing equation:

LRVDIT = LOG10  (Qp  /(VCF Qbreach))

Where:

LRVDIT = the sensitivity of the direct integ- rity test;  Qp = total design filtrate  flow from the membrane unit; Qbreach = flow of water from an integrity breach associ- ated with the smallest integrity test re- sponse that can be reliably measured, and VCF = volumetric concentration fac- tor. The volumetric concentration factor is the ratio of the suspended solids con- centration on the high pressure side of the membrane relative to that in the feed water.

  - For direct integrity tests that use a particulate or molecular marker, the direct integrity test sensitivity must be calculated according to the fol- lowing equation:

LRVDIT = LOG10(Cf)¥LOG10(Cp)

Where:

LRVDIT = the sensitivity of the direct integ- rity test; Cf = the typical feed concentra- tion of the marker used in the test; and Cp = the filtrate concentration of the marker from an integral membrane unit.

- Systems must establish a control limit within the sensitivity limits of the direct integrity test that is indic- ative of an integral membrane unit ca- pable of meeting the removal credit awarded by the State.

- If the result of a direct integrity test exceeds the control limit estab- lished under paragraph (b)(3)(iv) of this section, the system must remove the membrane unit from service. Systems must conduct a direct integrity test to verify any repairs, and may return the

#### 40 CFR Ch. I (7–1–17 Edition)

membrane unit to  service only if  the direct integrity test is within the es- tablished control limit.

- Systems must conduct direct in- tegrity testing on each  membrane  unit at a frequency of not less than once each day that the membrane unit is in operation. The State may approve less frequent testing, based on dem- onstrated process reliability, the use of multiple barriers effective for Cryptosporidium, or reliable process safeguards.

- Indirect integrity monitoring. Sys- tems must conduct continuous indirect integrity monitoring on each mem- brane unit according to the criteria in paragraphs (b)(4)(i) through (v) of this section. Indirect integrity  monitoring is defined as monitoring some aspect of filtrate water quality that is indicative of the removal of particulate matter. A system that implements continuous di- rect integrity testing of membrane units in accordance with the criteria in paragraphs (b)(3)(i) through (v) of this section is not subject to the require- ments for continuous indirect integrity monitoring. Systems must submit a monthly report to the State summa- rizing all continuous indirect integrity monitoring results triggering direct in- tegrity testing and the corrective ac- tion that was taken in each case.

  - Unless the State approves an al- ternative parameter, continuous indi- rect integrity monitoring must include continuous filtrate turbidity moni- toring.

  - Continuous monitoring must be conducted at a frequency of no less than once every 15 minutes.

  - Continuous monitoring must be separately conducted on each mem- brane unit.

  - If indirect integrity monitoring includes turbidity and if the filtrate turbidity readings are above 0.15 NTU for a period greater than 15 minutes (i.e., two consecutive 15-minute read- ings above 0.15 NTU), direct integrity testing must immediately be per- formed on the associated  membrane unit as specified in paragraphs (b)(3)(i) through (v) of this section.

  - If indirect integrity monitoring includes  a  State-approved  alternative

#### Environmental Protection Agency	§ 141.720

parameter and if the alternative pa- rameter exceeds a State-approved con- trol limit for a period greater than 15 minutes, direct integrity testing must immediately be performed on the asso- ciated membrane units as specified in paragraphs (b)(3)(i) through (v) of this section.

- Second stage filtration. Systems re- ceive 0.5-log Cryptosporidium treatment credit for a separate second stage of fil- tration that consists of sand, dual media, GAC, or other fine grain media following granular media filtration if the State approves. To be eligible for this credit, the first stage of filtration must be preceded by a coagulation step and both filtration stages must treat the entire plant flow taken from a sur- face water or GWUDI source. A cap, such as GAC, on a single stage of filtra- tion is not eligible for this credit. The State must approve the treatment credit based on an assessment of the design characteristics of the filtration process.

- Slow sand filtration (as secondary filter). Systems are eligible to receive 2.5-log Cryptosporidium treatment cred- it for  a  slow  sand  filtration  process that follows a separate stage of filtra- tion if both filtration stages treat en- tire plant flow taken from a surface water or GWUDI source and no dis- infectant residual is present in the in- fluent water to the slow sand filtration process. The State must approve the treatment credit based on an assess- ment  of  the  design  characteristics  of

the filtration process. This paragraph does not apply to treatment credit awarded to slow sand filtration used as a primary filtration process.

[71  FR 769,  Jan. 5,  2006;  71  FR  6136,  Feb. 6,

2006]

##### § 141.720   Inactivation  toolbox  compo- nents.

- Calculation of CT values. (1) CT is the product of the disinfectant contact time (T, in minutes) and disinfectant concentration (C, in milligrams per liter). Systems  with  treatment  credit for chlorine dioxide or ozone under paragraph (b) or (c)  of  this  section must calculate CT at least once each day, with both C and T measured dur- ing  peak  hourly  flow  as  specified  in

§§ 141.74(a) through (b).

(2) Systems with several disinfection segments  in  sequence  may  calculate CT for each segment, where a disinfec- tion segment is defined as a treatment unit process with a measurable dis- infectant residual level and a liquid volume. Under this approach, systems must add the Cryptosporidium CT values in each segment to determine the total CT for the treatment plant.

- CT values for chlorine dioxide and ozone. (1) Systems receive the Cryptosporidium treatment credit listed in this table by meeting the cor- responding chlorine dioxide CT value for the applicable water  temperature, as described in paragraph (a) of this section.

CT VALUES (MG·MIN/L) FOR Cryptosporidium INACTIVATION BY CHLORINE DIOXIDE 1

| Log credit | Water Temperature, C |
| --- | --- |
|  | 0.5 | 1 | 2 | 3 | 5 | 7 | 10 | 15 | 20 | 25 | 30 |
| (i) 0.25 ......................................... | 159 | 153 | 140 | 128 | 107 | 90 | 69 | 45 | 29 | 19 | 12 |
| (ii) 0.5 .......................................... | 319 | 305 | 279 | 256 | 214 | 180 | 138 | 89 | 58 | 38 | 24 |
| (iii) 1.0 ......................................... | 637 | 610 | 558 | 511 | 429 | 360 | 277 | 179 | 116 | 75 | 49 |
| (iv) 1.5 ......................................... | 956 | 915 | 838 | 767 | 643 | 539 | 415 | 268 | 174 | 113 | 73 |
| (v) 2.0 ......................................... | 1275 | 1220 | 1117 | 1023 | 858 | 719 | 553 | 357 | 232 | 150 | 98 |
| (vi) 2.5 ......................................... | 1594 | 1525 | 1396 | 1278 | 1072 | 899 | 691 | 447 | 289 | 188 | 122 |
| (vii) 3.0 ........................................ | 1912 | 1830 | 1675 | 1534 | 1286 | 1079 | 830 | 536 | 347 | 226 | 147 |

1 Systems  may  use  this  equation  to  determine  log  credit  between  the  indicated  values:  Log  credit  =  (0.001506  

(1.09116)Temp) CT.

(2)	Systems	receive	the Cryptosporidium treatment credit listed in this table by meeting the cor- responding ozone CT values for the ap-

plicable    water    temperature,    as    de- scribed in paragraph (a) of this section.

#### § 141.720

40 CFR Ch. I (7–1–17 Edition)

CT VALUES (MG·MIN/L) FOR Cryptosporidium INACTIVATION BY OZONE 1

| Log credit | Water Temperature, C |
| --- | --- |
|  | 0.5 | 1 | 2 | 3 | 5 | 7 | 10 | 15 | 20 | 25 | 30 |
| (i) 0.25 ......................................... | 6.0 | 5.8 | 5.2 | 4.8 | 4.0 | 3.3 | 2.5 | 1.6 | 1.0 | 0.6 | 0.39 |
| (ii) 0.5 .......................................... | 12 | 12 | 10 | 9.5 | 7.9 | 6.5 | 4.9 | 3.1 | 2.0 | 1.2 | 0.78 |
| (iii) 1.0 ......................................... | 24 | 23 | 21 | 19 | 16 | 13 | 9.9 | 6.2 | 3.9 | 2.5 | 1.6 |
| (iv) 1.5 ......................................... | 36 | 35 | 31 | 29 | 24 | 20 | 15 | 9.3 | 5.9 | 3.7 | 2.4 |
| (v) 2.0 ......................................... | 48 | 46 | 42 | 38 | 32 | 26 | 20 | 12 | 7.8 | 4.9 | 3.1 |
| (vi) 2.5 ......................................... | 60 | 58 | 52 | 48 | 40 | 33 | 25 | 16 | 9.8 | 6.2 | 3.9 |
| (vii) 3.0 ........................................ | 72 | 69 | 63 | 57 | 47 | 39 | 30 | 19 | 12 | 7.4 | 4.7 |

1 Systems may use this equation to determine log credit between the indicated values: Log credit = (0.0397 (1.09757)Temp) 

CT.

- Site-specific study. The State may approve alternative chlorine dioxide or ozone CT values to those listed in para- graph (b) of this section on a site-spe- cific basis. The State must base this approval on a site-specific study a sys- tem conducts that follows a State-ap- proved protocol.

- Ultraviolet light. Systems receive Cryptosporidium, Giardia lamblia, and virus treatment credits for ultraviolet (UV) light reactors by achieving the corresponding UV dose values shown in paragraph (d)(1) of this section. Sys- tems must validate and monitor UV re- actors as described in paragraphs (d)(2)

and (3) of this section to demonstrate that  they  are  achieving  a  particular UV dose value for treatment credit.

- UV dose table. The treatment cred- its listed in this  table  are  for  UV  light at a wavelength of 254 nm as produced by a low pressure mercury  vapor  lamp. To receive treatment credit for  other lamp types, systems must  demonstrate an equivalent germicidal dose through reactor validation testing, as  described in paragraph (d)(2) of this section.  The UV dose values in this table are appli- cable only to post-filter applications  of UV  in  filtered  systems   and   to unfiltered    systems.

UV DOSE TABLE FOR Cryptosporidium, Giardia lamblia, AND VIRUS INACTIVATION CREDIT

| Log credit | Cryptosporidium UV dose (mJ/ cm 2) | Giardia lamblia UV dose (mJ/ cm 2) | Virus UV dose (mJ/ cm 2) |
| --- | --- | --- | --- |
| (i) 0.5 ............................................................................................... | 1.6 | 1.5 | 39 |
| (ii) 1.0 .............................................................................................. | 2.5 | 2.1 | 58 |
| (iii) 1.5 .............................................................................................. | 3.9 | 3.0 | 79 |
| (iv) 2.0 ............................................................................................. | 5.8 | 5.2 | 100 |
| (v) 2.5 .............................................................................................. | 8.5 | 7.7 | 121 |
| (vi) 3.0 ............................................................................................. | 12 | 11 | 143 |
| (vii) 3.5 ............................................................................................. | 15 | 15 | 163 |
| (viii) 4.0 ............................................................................................ | 22 | 22 | 186 |

- Reactor validation testing. Systems must use UV reactors that have under- gone validation testing to determine the operating conditions under which the reactor delivers the UV dose re- quired in paragraph (d)(1) of this sec- tion (i.e., validated operating condi- tions). These operating conditions must include flow rate, UV intensity as measured by a UV sensor, and UV lamp status.

  - When determining validated oper- ating conditions, systems  must  ac- count for the following factors: UV ab- sorbance of the water; lamp fouling and

aging; measurement uncertainty of on- line sensors; UV dose distributions arising from the velocity profiles through the reactor; failure of UV lamps or other critical system compo- nents; and inlet and outlet piping or channel configurations of the UV reac- tor.

  - Validation testing must include the following: Full scale testing of a re- actor that conforms uniformly to the UV reactors used by the system and in- activation of a test microorganism whose  dose  response  characteristics

#### Environmental Protection Agency	§ 141.721

have  been  quantified  with  a  low  pres- sure mercury vapor lamp.

  - The State may approve an alter- native approach to validation testing.

- Reactor monitoring. (i) Systems must monitor their UV reactors to de- termine if the reactors are operating within validated  conditions,  as  deter- mined under paragraph (d)(2) of this section. This monitoring must include UV intensity as measured by a UV sen- sor, flow rate, lamp status, and other parameters the State designates based on UV reactor operation. Systems must verify the calibration of UV sen- sors and must recalibrate sensors in ac- cordance with a protocol the State ap- proves.

(ii) To receive treatment credit for UV light, systems must treat  at  least 95 percent of the water delivered to the public during each month by UV reac- tors operating within validated condi- tions for the required UV dose, as de- scribed in paragraphs (d)(1) and (2) of this section. Systems must dem- onstrate compliance with this  condi- tion by the monitoring required under paragraph (d)(3)(i) of this section.

REPORTING AND RECORDKEEPING REQUIREMENTS

##### § 141.721   Reporting requirements.

- Systems must report sampling schedules   under   § 141.702   and   source

water monitoring results under § 141.706 unless they notify the State that they will not conduct source water moni- toring  due  to  meeting  the  criteria  of

§ 141.701(d).

- Systems must report the use of uncovered finished water storage facili- ties   to   the   State   as   described   in

§ 141.714.

- Filtered  systems  must  report their  Cryptosporidium  bin  classification as described in § 141.710.

- Unfiltered systems must report their	mean	source	water Cryptosporidium  level   as   described   in

§ 141.712.

- Systems must report disinfection profiles  and  benchmarks  to   the   State as described in §§ 141.708 through 141.709 prior to making a significant change in disinfection    practice.

- Systems must report to  the  State in accordance with the following table for any microbial toolbox options used to comply with treatment  require- ments under § 141.711 or § 141.712. Alter- natively, the State may approve a sys- tem to certify operation within re- quired parameters for treatment credit rather than reporting monthly oper- ational data for toolbox options.

MICROBIAL TOOLBOX REPORTING REQUIREMENTS

| Toolbox option | Systems must submit the following infor- mation | On the following schedule |
| --- | --- | --- |
| Watershed control program (WCP). Alternative source/intake manage- ment. | (i) Notice of intention to develop a new or continue an existing watershed control program. (ii) Watershed control plan .......................... Annual watershed control program sta- tus report. Watershed sanitary survey report ........ Verification that system has relocated the intake or adopted the intake withdrawal procedure reflected in monitoring results. | No later than two years before the applica- ble treatment compliance date in § 141.713 No later than one year before the applica- ble treatment compliance date in § 141.713. Every 12 months, beginning one year after the applicable treatment compliance date in § 141.713. For community water systems, every three years beginning three years after the ap- plicable treatment compliance date in § 141.713. For noncommunity water sys- tems, every five years beginning five years after the applicable treatment compliance date in § 141.713. No later than the applicable treatment compliance date in § 141.713. |

#### § 141.721

40 CFR Ch. I (7–1–17 Edition)

MICROBIAL TOOLBOX REPORTING REQUIREMENTS—Continued

| Toolbox option | Systems must submit the following infor- mation | On the following schedule |
| --- | --- | --- |
| (3) Presedimentation .......................... (4) Two-stage lime softening .............. (5) Bank filtration ................................ Combined filter performance ........ Individual filter performance ......... Demonstration of performance ..... Bag filters and cartridge filters ...... (10) Membrane filtration ..................... (11) Second stage filtration ................ | Monthly verification of the following: (i) Continuous basin operation (ii) Treat- ment of 100% of the flow (iii) Continuous addition of a coagulant (iv) At least 0.5- log mean reduction of influent turbidity or compliance with alternative State-ap- proved performance criteria. Monthly verification of the following: (i) Chemical addition and hardness precipi- tation occurred in two separate and se- quential softening stages prior to filtra- tion (ii) Both stages treated 100% of the plant flow. Initial demonstration of the following: (A) Unconsolidated, predominantly sandy aquifer (B) Setback distance of at least 25 ft. (0.5-log credit) or 50 ft. (1.0-log credit). If monthly average of daily max turbidity is greater than 1 NTU then system must report result and submit an assessment of the cause.. Monthly verification of combined filter efflu- ent (CFE) turbidity levels less than or equal to 0.15 NTU in at least 95 percent of the 4 hour CFE measurements taken each month. Monthly verification of the following: (i) In- dividual filter effluent (IFE) turbidity lev- els less than or equal to 0.15 NTU in at least 95 percent of samples each month in each filter (ii) No individual filter great- er than 0.3 NTU in two consecutive readings 15 minutes apart. Results from testing following a State approved protocol. As required by the State, monthly verification of operation within conditions of State approval for demonstration of performance credit. Demonstration that the following criteria are met: (A) Process meets the defini- tion of bag or cartridge filtration; (B) Re- moval efficiency established through challenge testing that meets criteria in this subpart. Monthly verification that 100% of plant flow was filtered. Results of verification testing dem- onstrating the following: (A) Removal ef- ficiency established through challenge testing that meets criteria in this subpart; (B) Integrity test method and param- eters, including resolution, sensitivity, test frequency, control limits, and associ- ated baseline. Monthly report summarizing the fol- lowing: (A) All direct integrity tests above the control limit; (B) If applicable, any turbidity or alternative state-approved in- direct integrity monitoring results trig- gering direct integrity testing and the corrective action that was taken. Monthly verification that 100% of flow was filtered through both stages and that first stage was preceded by coagulation step. | Monthly reporting within 10 days following the month in which the monitoring was conducted, beginning on the applicable treatment compliance date in § 141.713. Monthly reporting within 10 days following the month in which the monitoring was conducted, beginning on the applicable treatment compliance date in § 141.713. No later than the applicable treatment compliance date in § 141.713. Report within 30 days following the month in which the monitoring was conducted, beginning on the applicable treatment compliance date in § 141.713. Monthly reporting within 10 days following the month in which the monitoring was conducted, beginning on the applicable treatment compliance date in § 141.713. Monthly reporting within 10 days following the month in which the monitoring was conducted, beginning on the applicable treatment compliance date in § 141.713.] No later than the applicable treatment compliance date in § 141.713. Within 10 days following the month in which monitoring was conducted, begin- ning on the applicable treatment compli- ance date in § 141.713. No later than the applicable treatment compliance date in § 141.713. Within 10 days following the month in which monitoring was conducted, begin- ning on the applicable treatment compli- ance date in § 141.713. No later than the applicable treatment compliance date in § 141.713. Within 10 days following the month in which monitoring was conducted, begin- ning on the applicable treatment compli- ance date in § 141.713. Within 10 days following the month in which monitoring was conducted, begin- ning on the applicable treatment compli- ance date in § 141.713. |

#### Environmental Protection Agency	§ 141.723

MICROBIAL TOOLBOX REPORTING REQUIREMENTS—Continued

| Toolbox option | Systems must submit the following infor- mation | On the following schedule |
| --- | --- | --- |
| (12) Slow sand filtration (as sec- ondary filter). (13) Chlorine dioxide .......................... (14) Ozone ......................................... (15) UV ............................................... | Monthly verification that both a slow sand filter and a preceding separate stage of filtration treated 100% of flow from sub- part H sources.. Summary of CT values for each day as described in § 141.720.. Summary of CT values for each day as described in § 141.720.. Validation test results demonstrating op- erating conditions that achieve required UV dose. Monthly report summarizing the per- centage of water entering the distribution system that was not treated by UV reac- tors operating within validated conditions for the required dose as specified in 141.720(d).. | Within 10 days following the month in which monitoring was conducted, begin- ning on the applicable treatment compli- ance date in § 141.713. Within 10 days following the month in which monitoring was conducted, begin- ning on the applicable treatment compli- ance date in § 141.713. Within 10 days following the month in which monitoring was conducted, begin- ning on the applicable treatment compli- ance date in § 141.713. No later than the applicable treatment compliance date in § 141.713. Within 10 days following the month in which monitoring was conducted, begin- ning on the applicable treatment compli- ance date in § 141.713. |

##### § 141.722   Recordkeeping requirements.

- Systems must keep results from the initial round of source water moni- toring under § 141.701(a) and the second round of source water  monitoring under § 141.701(b) until 3 years after bin classification under § 141.710 for filtered systems or determination of the mean Cryptosporidium level under § 141.710 for unfiltered systems for the particular round of monitoring.

- Systems must keep any notifica- tion to the State that they will not conduct source water monitoring  due to meeting the criteria of § 141.701(d) for 3 years.

- Systems must keep the results of treatment monitoring associated with microbial     toolbox     options     under

§§ 141.716 through 141.720 and with un- covered  finished  water  reservoirs  under

§ 141.714, as applicable, for 3 years.

REQUIREMENTS FOR SANITARY SURVEYS PERFORMED BY EPA

##### § 141.723 Requirements to respond to significant deficiencies identified in sanitary surveys performed by EPA.

- A sanitary survey is an onsite re- view of the water source (identifying sources of contamination by using re- sults of source water assessments where available), facilities, equipment, operation, maintenance, and moni- toring compliance of a PWS to evalu-

ate the adequacy of the PWS, its sources and operations, and the dis- tribution of safe drinking water.

- For the purposes of this section, a significant deficiency includes a defect in design, operation, or  maintenance, or a failure or malfunction of the sources, treatment, storage, or dis- tribution system that EPA determines to be causing, or has the potential for causing the introduction of contamina- tion into the water delivered to con- sumers.

- For sanitary  surveys  performed by EPA, systems must respond in writ- ing to significant  deficiencies  identi- fied in sanitary survey reports no later than 45 days after receipt of the report, indicating how and on what schedule the system will address significant de- ficiencies noted in the survey.

- Systems must correct significant deficiencies identified in sanitary sur- vey reports according to the schedule approved by EPA, or if there is no ap- proved schedule, according to the schedule reported under paragraph (c) of this section if such deficiencies are within the control of the system.

# Subpart X—Aircraft Drinking Water Rule

SOURCE:  74  FR  53618,  Oct.  19,  2009,  unless

otherwise noted.

#### § 141.800

##### § 141.800   Applicability and compliance date.

  - Applicability. The requirements of this subpart constitute the National Primary Drinking Water Regulations for aircraft that are public water sys- tems and that board only finished water for human consumption. Aircraft public water systems are considered transient non-community water sys- tems (TNCWS). To the extent there is a conflict between the requirements in this subpart and the regulatory re- quirements established elsewhere in this part, this subpart governs.

  - Compliance date. Aircraft public water systems must comply, unless otherwise noted, with the requirements of this subpart beginning October 19, 2011. Until this compliance date, air carriers remain subject to existing na- tional primary drinking water regula- tions.

##### § 141.801   Definitions.

As used in this subpart, the term:

Administrator means the Adminis- trator of the United States Environ- mental Protection Agency or his/her authorized  representative.

Air carrier means a person who under- takes directly by lease, or other ar- rangement, to engage in air transpor- tation. The air carrier is responsible for ensuring all of the aircraft it owns or operates that are public water sys- tems comply with all provisions of this subpart.

Aircraft means a device that is used or intended to be used for flight in the air.

Aircraft water system means an air- craft that qualifies as a public water system under the Safe Drinking Water Act and the national primary drinking water regulations. The components of an aircraft water system include the water service panel, the filler neck of the aircraft finished water storage tank, and all finished water storage tanks, piping, treatment equipment, and plumbing fixtures within the air- craft that supply water for human con- sumption to passengers or crew.

Aircraft water system operations and maintenance plan means the schedules and procedures for operating, moni- toring, and maintaining an aircraft water system that is included in an air-

#### 40 CFR Ch. I (7–1–17 Edition)

craft operation and maintenance pro- gram accepted by the Federal Aviation Administration.   (14   CFR   part   43,   14

CFR part 91, 14 CFR part 121)

Finished water means water that is introduced  into  the   distribution   sys- tem of a  public water  system and  is in- tended for distribution and  consump- tion  without  further  treatment,   except as treatment necessary to  maintain water quality  in  the  distribution  sys- tem (e.g., supplemental disinfection, addition of  corrosion  control  chemi- cals). (40 CFR 141.2)

Human  consumption  means  drinking, bathing,     showering,     hand     washing, teeth  brushing,  food  preparation,  dish- washing, and maintaining oral hygiene. Self inspection means an onsite review of  the  aircraft  water  system,  including the water service panel, the filler neck of  the  aircraft  finished  water  storage tank;  all  finished  water  storage  tanks, piping,	treatment	equipment,	and plumbing fixtures; and a review of the aircraft  operations,  maintenance,  mon- itoring, and recordkeeping for the pur- pose of evaluating the adequacy of such water   system   components   and   prac- tices for providing safe drinking water

to passengers and crew.

Watering point means the water sup- ply, methods, and facilities used for the delivery of finished water to the air- craft. These facilities may include water trucks, carts, cabinets,  and hoses.

##### § 141.802   Coliform sampling plan.

- Each air carrier under this sub- part must develop a coliform sampling plan covering each aircraft water sys- tem owned or operated by the air car- rier that identifies the following:

  - Coliform sample collection proce- dures that are consistent with the re- quirements of § 141.803(a) and (b).

  - Sample tap location(s) representa- tive of the aircraft water  system  as specified in § 141.803(b)(2) and (b)(4).

  - Frequency and number of routine coliform samples to be collected as specified in § 141.803(b)(3).

  - Frequency of routine disinfection and flushing as specified in the oper- ations  and  maintenance  plan  under

§ 141.804.

  - Procedures for communicating sample  results  promptly  so  that  any

#### Environmental Protection Agency	§ 141.803

required actions, including repeat and follow-up sampling, corrective action, and notification of passengers and crew, will be conducted in a timely manner.

- Each air carrier must develop a coliform sampling plan for  each  air- craft with  a water  system meeting  the definition of a public water system by April 19, 2011.

- The coliform sampling plan must be included in the Aircraft Water Sys- tem Operations and Maintenance Plan required in § 141.804. Any subsequent changes to the coliform sampling plan must also be included in the  Aircraft Water System Operations and Mainte- nance Plan required in § 141.804.

##### § 141.803   Coliform sampling.

- Analytical methodology. Air car- riers must follow the sampling and analysis requirements under this sec- tion.

  - The standard sample volume re- quired for total coliform analysis, re- gardless of analytical method used, is 100 mL.

  - Air carriers need determine only the presence or absence of total coli- forms and/or E. coli; a determination of density of these organisms is not re- quired.

  - Air  carriers  must  conduct   anal- yses for total coliform and E. coli in ac- cordance with the analytical methods approved in § 141.21(f)(3) and 141.21(f)(6)) until March 31, 2016, and in accordance with  the  analytical  methods   approved in § 141.852 beginning April 1, 2016.

  - The time from sample  collection to initiation of analysis may not ex- ceed 30 hours. Systems are encouraged but not required to hold samples below 10 C during transit.

  - The invalidation of a  total  coli- form sample result can be  made  only by  the  Administrator  in  accordance with § 141.21(c)(1)(i), (ii), or (iii) or  by the certified laboratory in accordance with § 141.21(c)(2) until March 31, 2016, or in accordance with § 141.853(c) begin- ning April 1, 2016, with the Adminis- trator  acting  as  the  State.

  - Certified laboratories. For the pur- pose of determining compliance with this subpart, samples may be consid- ered only if they have been analyzed by a laboratory certified  by  a  State  or EPA. For the purposes of this para- graph, ‘‘State’’ refers to a  State  or Tribe that has received primacy for public water systems (other than air- craft water systems) under section 1413 of  SDWA.

- Routine monitoring. For each air- craft water system, the sampling fre- quency must be determined by the dis- infection and flushing frequency rec- ommended by the  aircraft  water  sys- tem manufacturer, when available,  and as identified in the operations and maintenance plan in § 141.804.

  - Except as provided in paragraph (b)(2) of this section, the air carrier must collect two 100 mL total coliform routine samples at the frequency speci- fied in the sampling plan in § 141.802 and in accordance with paragraph (b)(3) of this section;

  - The air carrier may collect one 100 mL  total  coliform  routine  sample  at the frequency specified in the sampling plan in § 141.802 for aircraft with a re- movable or portable tank that  is drained every day of passenger service, and the aircraft has only one tap. Air- craft meeting the requirements of this paragraph do not have to comply with paragraph (b)(4) of this section.

  - Air carriers must perform routine monitoring for total coliform at a fre- quency corresponding to the frequency of routine disinfection and flushing as specified in the Table b–1 (Routine Dis- infection and Flushing and Routine Sample Frequencies). Air carriers must follow the disinfection and flushing fre- quency recommended by the aircraft water system manufacturer, when available. Where the aircraft water sys- tem manufacturer does not specify a recommended routine disinfection and flushing frequency,  the  air  carrier must choose a frequency from Table b–

1   (Routine   Disinfection   and   Flushing and Routine Sample Frequencies):

#### § 141.803

40 CFR Ch. I (7–1–17 Edition)

TABLE B–1—ROUTINE DISINFECTION AND FLUSHING AND ROUTINE SAMPLE FREQUENCIES

| Minimum routine disinfection & flushing per aircraft | Minimum frequency of routine samples per aircraft |
| --- | --- |
| At least 4 times per year = At least once within every three- month period (quarterly). At least 3 times per year = At least once within every four- month period. At least 2 times per year = At least once within every six- month period (semi-annually). At least 1 time per year or less = At least once within every twelve-month period (annually) or less. | At least 1 time per year = At least once within every twelve- month period (annually). At least 2 times per year = At least once within every six- month period (semi-annually). At least 4 times per year = At least once within every three- month period (quarterly). At least 12 times per year = At least once every month (month- ly). |

  - One sample must be taken from a lavatory and one from a galley; each sample must be analyzed for total coli- form. If only one  water  tap  is  located in the aircraft water system due to air- craft  model  type  and  construction, then a single tap may be used  to  col- lect two separate 100 mL samples.

  - If any routine, repeat, or follow- up coliform sample is total coliform- positive, the air carrier must analyze that total coliform-positive culture medium to determine if E. coli is present.

  - Routine total coliform samples must not be collected within 72 hours after completing routine disinfection and flushing procedures.

- Routine coliform sample results—(1) Negative routine coliform  sample  results. If all routine sample results are total coliform-negative, then the air carrier must maintain the routine monitoring frequency for total  coliform  as  speci- fied in the sampling plan in § 141.802.

- Positive routine E. coli sample re- sults. If any routine sample is E. coli- positive, the air carrier must perform all of the following:

  - Restrict public access. Restrict pub- lic access to the  aircraft  water  system in accordance with paragraph (d) of this section as expeditiously as  pos- sible, but in no case later than 24 hours after the laboratory notifies the air carrier of the E. coli-positive result or discovery of the applicable failure as specified in paragraphs (g) and (h) of this section. All public access restric- tions, including applicable public noti- fication requirements, must remain in- place until the aircraft water system has been disinfected and flushed and a complete set of follow-up samples is total  coliform-negative;  and

  - Disinfect and flush. Conduct dis- infection  and  flushing  in  accordance

with § 141.804(b)(2). If the aircraft water system cannot be physically discon- nected or shut-off, or the flow of water otherwise prevented through the tap(s), then the air carrier must disinfect and flush the system no later than 72 hours after the laboratory notifies the air carrier of the E. coli-positive result or discovery of the applicable failure as specified in paragraphs (g) and (h) of this section; and

  - Follow-up sampling. Collect fol- low-up samples in accordance with paragraph (e) of this section. A com- plete set of follow-up sample results must be total coliform-negative before the air carrier provides water for human consumption from the aircraft water system and returns to the rou- tine monitoring frequency as specified in   the   sampling   plan   required   by

§ 141.802.

- Positive routine total coliform sample results. If any routine sample is total coliform-positive and E. coli-negative, then the air carrier must perform at least one of the following three correc- tive actions and continue through with that action until a complete set of fol- low-up or repeat samples is total coli- form-negative:

  - Disinfect and flush. In accordance with § 141.804(b)(2), conduct disinfection and flushing of  the  system  no  later than 72 hours after the laboratory noti- fies the air carrier of the total coli- form-positive and E. coli-negative re- sult. After disinfection and flushing is completed, the air carrier must collect follow-up samples in accordance with paragraph (e) of this section prior to providing water for human consump- tion from the aircraft water system. A complete set of follow-up sample re- sults must be total coliform-negative before  the  air  carrier  returns  to  the

#### Environmental Protection Agency	§ 141.803

routine monitoring frequency as speci- fied in the sampling plan required by

§ 141.802; or

  - Restrict public access. In accord- ance with paragraph (d) of this section, restrict public access to the aircraft water system as expeditiously as pos- sible, but in no case later than 72 hours after the laboratory  notifies  the  air carrier  of  the   total   coliform-positive and E. coli-negative result  or  discovery of the applicable failure as specified in paragraphs (f), (g), and, (i) of this sec- tion. All public access restrictions, in- cluding applicable public notification requirements,  must  remain   in-place until  the  aircraft  water  system   has been disinfected and flushed, and a complete set of follow-up samples has been collected. The air carrier must conduct disinfection and flushing in ac- cordance with § 141.804(b)(2). After dis- infection  and   flushing   is   completed, the air carrier must collect follow-up samples   in   accordance   with   paragraph

(e) of this section prior  to  providing water for human consumption from the aircraft  water  system.  A   complete   set of follow-up sample results  must  be total coliform-negative before the air carrier returns to the routine moni- toring frequency as specified in the sampling plan required by § 141.802; or

  - Repeat sampling. Collect three 100 mL repeat samples no later than 24 hours after the laboratory notifies  the air carrier of the routine total coli- form-positive and E. coli-negative re- sult. Repeat samples must be collected and analyzed from three taps within the aircraft as follows: The tap which resulted in the total coliform-positive sample, one  other  lavatory  tap,  and one other galley tap.  If  fewer  than three taps exist, then a total of three 100 mL samples must be collected and analyzed from the available  taps  with- in the aircraft water system.

    - If all repeat samples are total coliform-negative, then the air carrier must maintain the routine monitoring frequency for total  coliform  as  speci- fied in the sampling plan in § 141.802.

    - If any repeat sample is E. coli- positive, the air carrier must perform all the  corrective  actions as  specified in paragraphs (c)(2)(i), (c)(2)(ii), and (c)(2)(iii) of this section.

    - If any repeat sample is total coli- form-positive and E. coli-negative, then the air carrier must perform the cor- rective actions specified in paragraphs (c)(3)(i) or (c)(3)(ii) of this section, and continue through with that action until a complete set of follow-up sam- ples is total coliform-negative.

- Restriction of public access. Restric- tion of public access to  the  aircraft water system includes, but need not be limited to, the following:

  - Physically disconnecting or shut- ting off the aircraft water system, where feasible, or otherwise preventing the flow of water through the tap(s);

  - Providing public notification to passengers and crew in accordance with

§ 141.805.

  - Providing alternatives to water from the aircraft water system, such as bottled water for drinking and coffee or tea preparation; antiseptic hand gels or wipes in accordance with 21 CFR part 333—‘‘Topical Anti-microbial Drug Products for Over-the-Counter Human Use’’ in the galleys and lavatories; and other feasible measures that reduce or eliminate the need to use the aircraft water system during the limited period before public use of the aircraft water system is unrestricted.

- Post disinfection and flushing fol- low-up sampling. Following corrective action disinfection and flushing, air carriers must comply with post dis- infection and  flushing  follow-up  sam- pling procedures that, at a minimum, consist of the following:

  - For each aircraft  water  system, the air carrier must collect a complete set of total coliform follow-up samples consisting of two 100 mL total coliform samples at the same routine sample lo- cations as identified in  paragraphs (b)(2) and (b)(4) of this section.

  - Follow-up samples must be col- lected prior to providing water to the public for  human  consumption  from the aircraft water system.

  - If a complete set of follow-up sam- ples is total coliform-negative, the air carrier must return to the routine monitoring frequency  for  total  coli- form as specified in the sampling plan required by § 141.802.

  - If any follow-up sample is E. coli- positive, the air carrier must perform all the  corrective actions  as specified

#### § 141.804

in paragraphs (c)(2)(i), (c)(2)(ii), and (c)(2)(iii) of this section.

  - If any follow-up sample is total coliform-positive  and  E.  coli-negative the air carrier must restrict public ac- cess to the aircraft water system in ac- cordance with paragraph (d) of this sec- tion as expeditiously as possible,  but  in no case later than 72 hours after the laboratory  notifies  the  air  carrier  of the total coliform-positive and E. coli- negative result. All public access re- strictions, including applicable public notification  requirements,  must  re- main in-place until the aircraft water system  has   been   disinfected   and flushed	in	accordance	with

§ 141.804(b)(2) and a complete set of fol- low-up samples is total  coliform-nega- tive. The air carrier must collect fol- low-up samples in accordance with paragraph (e) of this  section.  A  com- plete set of follow-up sample  results must be  total  coliform-negative  before the air carrier provides  water  for human consumption from the aircraft water system and returns to the rou- tine monitoring frequency for  coliform as specified in § 141.802.

- Failure to perform required routine disinfection and flushing or failure to col- lect required routine samples. If the air carrier fails to perform routine dis- infection and flushing or fails to col- lect and analyze the required number of routine coliform samples, the air carrier must perform all the corrective actions as specified in paragraph (c)(3)(ii) of this section.

- Failure to collect repeat or follow-up samples. If the air carrier fails to col- lect and analyze the required follow-up samples as a result of an E. coli-posi- tive result, then the air carrier must perform all the corrective actions as specified in paragraphs (c)(2)(i), (c)(2)(ii), and (c)(2)(iii) of this section. If the air carrier fails to collect and analyze the required repeat samples or follow-up samples as a result of a total coliform-positive and E. coli-negative result, then the air carrier must per- form all the corrective actions as spec- ified in paragraph (c)(3)(ii) of this sec- tion.

- Failure to board water from a safe watering point (E. coli-positive). For the aircraft water system, the air carrier must perform all the corrective actions

#### 40 CFR Ch. I (7–1–17 Edition)

specified in paragraphs (c)(2)(i), (c)(2)(ii), and (c)(2)(iii) of  this section when it becomes aware of an E. coli- positive event resulting from:

- Boarding water from a watering point not in accordance with FDA reg- ulations (21 CFR part 1240 subpart E), or

- Boarding water  that  does  not meet NPDWRs applicable to transient non-community water systems (§§ 141.62 and 141.63, as applied to TNCWS),

- Boarding water that is otherwise determined to be unsafe due to non- compliance with the  procedures  speci- fied in § 141.804(b)(6).

  - Failure to board water from a safe watering point (non-E. coli-positive). For the aircraft water system, the air car- rier must perform all the corrective ac- tions specified in paragraphs  (c)(3)(ii) of this section when it becomes aware of a non-E. coli-positive event resulting from:

    - Boarding water from a watering point not in accordance with FDA reg- ulations  (21  CFR  part  1240,  subpart  E),

    - Boarding water  that  does  not meet NPDWRs applicable to transient non-community water systems (§§ 141.62 and 141.63, as applied to TNCWS), or

    - Boarding water that is otherwise determined to be unsafe due to non- compliance with the  procedures  speci- fied in § 141.804(b)(6).

[74 FR 53618, Oct. 19, 2009, as amended at 78

FR 10354, Feb. 13, 2013]

##### § 141.804   Aircraft  water  system  oper- ations and maintenance plan.

      - Each air carrier must develop and implement an aircraft water system operations and maintenance plan for each  aircraft  water  system  that   it owns or operates. This plan must be in- cluded in a Federal Aviation Adminis- tration (FAA)-accepted air carrier op- erations and maintenance program (14 CFR part 43, 14 CFR part 91, 14  CFR part 121).

      - Each aircraft water system oper- ations and maintenance plan must in- clude the following:

        - Watering point selection require- ment. All watering points must be se- lected in accordance with Food  and Drug Administration (FDA) regula- tions (21 CFR part 1240, subpart E).

#### Environmental Protection Agency	§ 141.805

        - Procedures for disinfection and flushing. The plan must include the fol- lowing requirements for procedures for disinfection and flushing of aircraft water system.

- The air carrier must conduct dis- infection and flushing of the aircraft water system in accordance with, or is consistent with, the water system manufacturer’s recommendations. The air carrier may conduct disinfection and flushing more frequently, but not less frequently, than the manufacturer recommends.

- The operations and maintenance plan must identify the disinfection fre- quency, type of disinfecting agent, dis- infectant concentration to be used, and the disinfectant contact time, and flushing volume or flushing time.

- In cases where a recommended routine disinfection  and  flushing fre- quency is not specified by the aircraft water system manufacturer, the air carrier must choose a disinfection and flushing, and corresponding monitoring frequency specified in § 141.803(b)(3).

        - Follow-up sampling. The plan must include the procedures for follow-up sampling        in         accordance        with

§ 141.803(e).

        - Training requirements. Training for all personnel involved with the aircraft water system operation and mainte- nance provisions  of  this  regulation must include, but is not limited to the following:

          - Boarding water procedures;

          - Sample collection procedures;

          - Disinfection and flushing proce- dures;

          - Public health and safety reasons for the requirements of this subpart.

        - Procedures for conducting self-in- spections of the aircraft water system. Procedures must include, but are not limited to, inspection of storage tank, distribution system, supplemental treatment, fixtures, valves, and back- flow prevention devices.

        - Procedures for boarding water. The plan must include the following re- quirements and procedures for board- ing water:

          - Within the United States, the air carrier must board water from water- ing points in accordance with Food and Drug Administration (FDA) regula- tions (21 CFR part 1240, subpart E).

          - A description of how the water will be transferred from the watering point to the aircraft in a manner that ensures it will not become contami- nated during the transfer.

          - A description of how the carrier will ensure that water boarded outside the United States is safe for human consumption.

          - A description of emergency pro- cedures that meet the requirements in

§ 141.803(h) and (i) that must be used in the event that the air carrier becomes aware that water was boarded to oper- ate essential systems, such as toilets, but was boarded from a watering point not in accordance with FDA regula- tions, does  not  meet NPDWRs applica- ble to transient non-community water systems (§§ 141.62 and 141.63, as applied to TNCWSs), or is otherwise unsafe.

        - Coliform sampling plan. The air carrier must include the coliform sam- pling plan prepared in accordance with

§ 141.802.

        - Aircraft water system disconnect/ shut-off, or prevent flow of water through the tap(s) statement. An explanation of whether the aircraft water system  can be physically disconnected/shut-off, or the flow of water otherwise prevented through the tap(s) to the crew and pas- sengers.

      - For existing  aircraft,  the  air  car- rier must develop the water system op- erations  and  maintenance  plan  re- quired by this section by April 19, 2011;

      - For new aircraft, the air carrier must develop the operations and main- tenance plan required in this section within the first calendar quarter of ini- tial operation of the aircraft.

      - Any changes to the aircraft water system operations and maintenance plan must be included in the FAA-ac- cepted air carrier operations and main- tenance program.

##### § 141.805   Notification	to	passengers and crew.

- Air carriers must give public no- tice for each aircraft in all of the fol- lowing situations:

  - Public access to the aircraft water system is restricted in response to a routine, repeat or follow-up total coli- form-positive or E. coli-positive sample result in accordance with § 141.803(d);

#### § 141.805

  - Failure to perform required rou- tine disinfection and flushing or failure to collect required routine samples in accordance with § 141.803(f);

  - Failure to collect the required fol- low-up samples in response to a sample result that is E. coli-positive in accord- ance with § 141.803(g);

  - Failure to collect the required re- peat samples or failure to collect the required follow-up samples in response to a sample result that is total coli- form-positive and E. coli-negative in accordance with § 141.803(g);

  - In accordance with § 141.803(h), the air carrier  becomes aware  of an E. coli- positive  event  resulting  from   water that has been boarded from a watering point not in accordance with FDA reg- ulations (21 CFR part  1240,  subpart  E), or that does not meet NPDWRs appli- cable  to  transient   non-community water systems, or that is otherwise de- termined to be unsafe due to non-com- pliance  with  the  procedures  specified  in

§ 141.804(b)(6);

  - In accordance with § 141.803(i), the air carrier becomes aware of a non-E. coli-positive event resulting from water that has been boarded from a watering point not in accordance with FDA reg- ulations (21 CFR part  1240,  subpart  E), or that does not meet NPDWRs appli- cable  to  transient   non-community water systems, or that is otherwise de- termined to be unsafe due to non-com- pliance  with  the  procedures  specified  in

§ 141.804(b)(6).

  - The Administrator, the carrier, or the crew otherwise determines that no- tification is necessary to protect public health.

- Public notification: (1) Must be dis- played in a conspicuous way when printed or posted;

- Must not contain overly technical language or very small print;

- Must not be formatted in a way that defeats the purpose of the notice;

- Must not contain language that nullifies the purpose of the notice;

- Must contain information in the appropriate language(s) regarding the importance of the notice, reflecting a good faith effort to reach the non- English speaking population served, in- cluding, where applicable, an easily recognized symbol for non-potable water.

#### 40 CFR Ch. I (7–1–17 Edition)

- Public notification for paragraph (a)(1) of this section must meet the re- quirements of paragraph (b) of this sec- tion in addition to the following:

  - Public notification must include a prominently displayed, clear statement in each lavatory indicating that the water is non-potable and should not be used for drinking, food or beverage preparation, hand washing, teeth brushing, or any other  consumptive use; and

  - A prominent notice in the galley directed at the crew which includes:

    - A clear statement  that  the  water is non-potable and should not be used for drinking, food or beverage prepara- tion, hand washing, teeth brushing, or any other consumptive use;

    - A description of the violation or situation triggering the notice, includ- ing the contaminant(s) of concern;

    - When the violation or situation occurred;

    - Any potential adverse health ef- fects from the violation or situation, as appropriate, under paragraph (g) of this section;

    - The population at risk, including sensitive subpopulations particularly vulnerable if exposed to the contami- nant in the drinking water;

    - What the air carrier is doing to correct the violation or situation; and

    - When the air carrier expects to return the system to unrestricted pub- lic access.

  - If passenger access to the water system is physically prevented through disconnecting or shutting off the water, or the flow of water prevented through the tap(s), or if water is sup- plied only to lavatory toilets, and not to any lavatory or galley taps, then only the notice specified in paragraph (c)(2) of this section is required.

  - Air carriers must initiate public notification when restriction of public access is initiated in accordance with

§ 141.803(d) and must continue until the aircraft water system is returned to unrestricted public access.

- Public notification for paragraphs (a)(2), (a)(4), and (a)(6) of this section must meet the requirements of para- graph (b) of this section in addition to the following:

  - Public notification must include a prominently displayed, clear statement

#### Environmental Protection Agency	§ 141.805

in each lavatory indicating that the water is non-potable and should not be used for drinking, food or beverage preparation, hand washing, teeth brushing, or any other  consumptive use; and

  - A prominent notice in the galley directed at the crew which includes:

    - A clear statement  that  the  water is non-potable and should not be used for drinking, food or beverage prepara- tion, hand washing, teeth brushing, or any other consumptive use;

    - A clear statement that it is not known whether the water is contami- nated because there was a failure to perform required routine disinfection and flushing; or a failure to perform re- quired monitoring; or water was boarded from a watering point not in accordance with FDA regulations, or that does not meet NPDWRs applicable to transient noncommunity water sys- tems, or that is otherwise determined to be unsafe due to noncompliance with the	procedures	specified	in

§ 141.804(b)(6);

    - When and where the unsafe water was boarded or when the specific monitoring or disinfection and flushing requirement was not met;

    - Any potential adverse health ef- fects from  exposure  to  waterborne pathogens that might be  in  the  water, as appropriate, under paragraph (g) of this  section;

    - The population at risk, including sensitive subpopulations particularly vulnerable if exposed to the contami- nant in the drinking water; and

    - A statement indicating when the system will be disinfected and flushed and returned to unrestricted public ac- cess.

  - If passenger access to the water system is physically prevented through disconnecting or shutting off the water, or the flow of water prevented through the tap(s), or if water is sup- plied only to lavatory toilets, and not to any lavatory or galley taps, then only the notice specified in paragraph (d)(2) of this section is required.

  - Air carriers must initiate public notification when restriction of public access is initiated in accordance with

§ 141.803(d) and must continue until the aircraft water system is returned to unrestricted public access.

- Public notification for paragraphs (a)(3) and (a)(5) of this section must meet the requirements of paragraph (b) of this section in addition to the fol- lowing:

  - Public notification must include a prominently displayed, clear statement in each lavatory indicating that the water is non-potable and should not be used for drinking, food or beverage preparation, hand washing, teeth brushing, or any other  consumptive use; and

  - A prominent notice in the galley directed at the crew which includes:

    - A clear statement  that  the  water is non-potable and should not be used for drinking, food or beverage prepara- tion, hand washing, teeth brushing, or any other consumptive use;

    - A clear statement  that  the  water is contaminated and there was a failure to conduct required monitoring; or a clear statement that water is contami- nated because water was boarded from a watering point not  in  accordance with FDA regulations, or that does not meet NPDWRs applicable to transient noncommunity water systems,  or  that is otherwise determined to be unsafe due to noncompliance with the proce- dures specified in § 141.804(b)(6);

    - A description of the contami- nant(s) of concern;

    - When and where the unsafe water was boarded or when the specific moni- toring requirement was not met;

    - Any potential adverse health ef- fects from the situation, as appro- priate, under paragraph (g) of this sec- tion;

    - The population at risk, including sensitive subpopulations particularly vulnerable if exposed to the contami- nant in the drinking water;

    - A statement indicating what the air carrier is doing to correct the situa- tion; and

    - When the air carrier expects to return the system to unrestricted pub- lic access.

  - If passenger access to the water system is physically prevented through disconnecting or shutting off the water, or the flow of water prevented through the tap(s), or if water is sup- plied only to lavatory toilets, and not to  any  lavatory  or  galley  taps,  then

#### § 141.805

only the notice specified in paragraph (e)(2) of this section is required.

  - Air carriers must initiate public notification when restriction of public access is initiated in accordance with

§ 141.803(d) and must continue public notification until a complete set of re- quired follow-up samples are total coli- form-negative.

- Public notification for paragraph (a)(7) of this section must meet the re- quirements of paragraph (b) of this sec- tion in addition to the following:

  - Notification must  be  in  a  form and manner reasonably calculated to reach all passengers and crew while on board the aircraft by using one or more of the following forms of delivery:

    - Broadcast over public announce- ment system on aircraft;

    - Posting of the  notice in con- spicuous locations throughout the area served by the water system. These lo- cations would normally be the galleys and in the lavatories of each aircraft requiring posting;

    - Hand delivery of the notice to passengers and crew;

    - Another delivery method ap- proved in writing by the Adminis- trator.

  - Air carriers must initiate public notification within 24 hours of being informed by EPA to perform notifica- tion and must continue notification for the duration determined by EPA.

- In each public notice to the crew, air carriers must use the following standard health effects language that corresponds to the situations in para- graphs (a)(1) through (a)(6) of this sec- tion.

  - Health effects language to be used when public notice is initiated due  to the detection of  total  coliforms  only (not E. coli) in accordance with para- graph (a)(1) of this section:

Coliform are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, bacteria may be present. Coliforms were found   in   [INSERT   NUMBER   OF   SAMPLES

DETECTED] samples collected and this is a warning of potential problems. If human pathogens are present, they can cause short- term health effects, such as  diarrhea, cramps, nausea, headaches, or other symp- toms. They may pose a special  health  risk for  infants,  young  children,  some  of  the  el-

#### 40 CFR Ch. I (7–1–17 Edition)

derly, and people with severely compromised immune  systems.

  - Health effects language to be used when public notice is initiated due to any E. coli-positive routine, repeat, or follow-up sample  in  accordance  with paragraph (a)(1) of this section:

E. coli are bacteria whose presence indi- cates that the water  may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term health ef- fects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems.

  - Health effects language to be used when public notice is initiated due to a failure  to  conduct  routine   monitoring or routine disinfection and flushing in accordance  with  paragraph   (a)(2)   of this section; or when  there  is  a  failure to conduct repeat or follow-up  sam- pling in accordance with  paragraph (a)(4) of this section; or in accordance with paragraph (a)(6) of this section, when the  air  carrier  becomes  aware  of a non-E. coli-positive event that is the result of  water  that  was  boarded  from a  watering  point  not   in   accordance with  FDA  regulations  (21  CFR  part 1240, subpart E), or that does not meet NPDWRs applicable to transient non- community water systems, or that is otherwise determined to be  unsafe  due to non-compliance with the procedures specified in § 141.804(b)(6):

Because [REQUIRED MONITORING AND ANALYSIS WAS NOT CONDUCTED], [RE- QUIRED DISINFECTION AND  FLUSHING WAS NOT CONDUCTED] [WATER WAS BOARDED FROM A WATERING POINT NOT IN ACCORDANCE WITH FDA REGULA- TIONS (21 CR 1240 SUBPART E)], or [OTHER APPROPRIATE  EXPLANATION],  we  cannot

be sure of the quality of the drinking water at this time. However, drinking water con- taminated with human pathogens can cause short-term health effects, such as diarrhea, cramps, nausea, headaches, or other symp- toms. They may pose a special  health  risk for infants, young children, some of the el- derly, and people with severely compromised immune  systems.

  - Health effects language to be used when public notice is initiated due to a failure  to  conduct  required  follow-up

#### Environmental Protection Agency	§ 141.806

monitoring in response to a sample re- sult that is E.  coli-positive  in  accord- ance with paragraph (a)(3) of this sec- tion; or in accordance with paragraph (a)(5) of this section, when the air  car- rier becomes aware of an E. coli-posi- tive event that is the result of water that was boarded from a watering point not in accordance with FDA  regula- tions (21 CFR part 1240, subpart E), or that does not meet  NPDWRs  applicable to transient non-community water sys- tems, or that is  otherwise  determined to be unsafe due  to  non-compliance with      the      procedures      specified      in

§ 141.804(b)(6):

Because required follow-up monitoring and analysis was not conducted after the aircraft water system tested positive for E. coli, we cannot be sure of the quality of the drinking water at this time. E. coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in  these  wastes  can  cause short- term health effects, such as  diarrhea, cramps, nausea, headaches, or other symp- toms. They  may pose  a special health  risk for infants, young children, some of the el- derly, and people with severely compromised immune systems.

OR

Water was boarded that is contaminated with E. coli because [WATER WAS BOARDED FROM A WATERING POINT NOT IN ACCORDANCE WITH FDA REGULA- TIONS (21 CR 1240 SUBPART E)], or [OTHER APPROPRIATE  EXPLANATION].  E.  coli  are

bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term health effects, such as diar- rhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely com- promised immune systems.

##### § 141.806   Reporting requirements.

- The air carrier must comply with the following requirements regarding reporting of the development of the coliform sampling plan, the operations and maintenance plan, and the dis- infection and flushing and coliform sampling frequencies.

  - The air carrier must report to the Administrator that it has developed the coliform sampling plan required by

§ 141.802, which covers each existing air- craft  water  system,  as  well  as   report the     frequency     for     routine     coliform

sampling identified in the coliform sampling plan by April 19, 2011. The air carrier must report to the Adminis- trator that it has developed its oper- ations  and  maintenance  plan  required by § 141.804 and report the frequency for routine  disinfection  and  flushing  by April 19, 2011;

  - For each new aircraft meeting the definition of an aircraft water system, which becomes operational after publi- cation of this subpart, the air carrier must report to  the  Administrator  that it has developed the coliform sampling plan required by § 141.802, as well as re- port the frequency for routine coliform sampling identified in the coliform sampling plan, within the first cal- endar  quarter  of  initial  operation  of the aircraft. The air carrier must re- port to the Administrator that it has developed the aircraft water system op- erations and maintenance plan re- quired by § 141.804, and report the fre- quency for routine disinfection and flushing within the first calendar quar- ter  of  initial  operation  of  the  aircraft.

- The air carrier must report the following information to the Adminis- trator:

  - A complete inventory of aircraft that are public water systems by April 19, 2011. Inventory information in- cludes, at a minimum, the following:

- The unique aircraft identifier number;

- The status (active or inactive) of any aircraft as an aircraft water sys- tem as defined in § 141.801;

- The type and location of any supplemental treatment equipment in- stalled on the water system; and

- Whether the aircraft water sys- tem can be physically disconnected or shut-off, or the flow of water prevented through the tap(s).

  - Changes in aircraft inventory no later than 10 days following the cal- endar month in which the change oc- curred. Changes in inventory informa- tion include, at a minimum, the fol- lowing:

    - Change in the unique identifier number for any new aircraft, or any aircraft removed from the carrier’s fleet;

    - Change in status (active or inac- tive) of any aircraft as an  aircraft water system as defined in § 141.801; and

#### § 141.807

    - Change to the type  and  location of any supplemental treatment equip- ment added to or removed from the water system.

    - Change to whether the aircraft water system can be physically discon- nected or shut-off, or the flow of water prevented through the tap(s).

  - All sampling results no later than

10 calendar days following the moni- toring period in which the sampling oc- curred. The monitoring period is  based on the monitoring frequency  identified in the coliform sampling plan required under  § 141.802.  Routine  disinfection and  flushing  events  must  be   reported no later than 10 calendar days fol- lowing the disinfection and flushing pe- riod in which the disinfection and flushing occurred. The disinfection and flushing period is based on the fre- quency identified in the operations and maintenance      plan      required      under

§ 141.804.

  - All  events  requiring  notification to passengers or crew, or non-routine disinfection and flushing, or non-rou- tine sampling, within 10 days of the event (e.g., notification of positive sample result by laboratory), including information on whether required noti- fication was provided to passengers or crew or both.

  - Failure to comply with the moni- toring or disinfection and flushing re- quirements of this subpart within 10 calendar days of discovery of the fail- ure.

  - Changes in disinfection and flush- ing  and  coliform  sampling  frequencies no later than 10 days following the cal- endar month in which the change oc- curred. Changes to an aircraft’s routine coliform sampling frequency and  rou- tine disinfection  and  flushing  fre- quency must be included in the aircraft water system operation and  mainte- nance plan that is included in the air carrier operations and maintenance program accepted by FAA  in  accord- ance with § 141.804.

- The air carrier must provide evi- dence of a self-inspection to the Ad- ministrator within 90 days of comple- tion of the self-inspection  required under § 141.808(b), including reporting whether all deficiencies were addressed in accordance with § 141.808(c). The air carrier must also report to the Admin-

#### 40 CFR Ch. I (7–1–17 Edition)

istrator within 90 days that any defi- ciency identified during a compliance audit   conducted   in   accordance   with

§ 141.808(a) has been addressed. If any deficiency has not been addressed with- in 90 days of identification of the defi- ciency, the report must also include a description of the deficiency, an expla- nation as to why it has not yet been addressed, and a schedule for address- ing it as expeditiously as possible.

- All information required to be re- ported to the Administrator under this subpart must be in an electronic for- mat established or approved by the Ad- ministrator. If an air carrier is unable to report electronically, the air carrier may use an alternative approach that the Administrator approves.

##### § 141.807   Recordkeeping requirements.

- The air carrier must keep records of bacteriological analyses  for  at  least 5 years and must include the following information:

  - The date, time, and place of sam- pling, and the name of the person who collected the sample;

  - Identification of the sample as a routine, repeat, follow-up, or other spe- cial purpose sample;

  - Date of the analysis;

  - Laboratory and person responsible for performing the analysis;

  - The analytical technique/method used; and

  - The results of the analysis.

- The air carrier must keep records of any disinfection and flushing for at least 5 years and must include the fol- lowing  information:

  - The date and time of the disinfec- tion and flushing; and

  - The type of disinfection and flush- ing (i.e., routine or corrective action).

- The air carrier must keep records of a self-inspection for at least 10 years and must include the following infor- mation:

  - The completion date of the self-in- spection; and

  - Copies of any written reports, summaries, or communications related to the self-inspection.

- The air carrier must maintain sampling plans and make such plans available for review by the Adminis- trator upon request, including during compliance  audits.

#### Environmental Protection Agency	§ 141.851

- The air carrier must maintain air- craft water system operations and maintenance plans in accordance with FAA requirements, and  make  such plans available for review by the Ad- ministrator upon request, including during compliance audits.

- The air carrier must  keep  copies of public notices to passengers  and crew issued as required by this subpart for at least 3 years after issuance.

##### § 141.808   Audits and inspections.

- The Administrator may conduct routine compliance audits as deemed necessary in providing regulatory over- sight to ensure proper implementation of the requirements in this subpart. Compliance audits may include, but are not limited to:

  - Bacteriological sampling of air- craft water system;

  - Reviews and audits of records as they pertain to water system oper- ations and maintenance such as log en- tries, disinfection and flushing proce- dures, and sampling results; and

  - Observation of procedures involv- ing the handling of finished water, wa- tering point selection, boarding of water, operation, disinfection and flushing, and general maintenance and self-inspections of aircraft water sys- tem.

- Air carriers or their representa- tives must perform a self-inspection of all water system components for each aircraft water system no less  fre- quently than once every 5 years.

- The air carrier must address any deficiency identified during compliance audits or routine self-inspections with- in 90 days of identification of the defi- ciency, or where such deficiency is identified during extended or heavy maintenance, before the aircraft is put back into service. This includes any de- ficiency in the water system’s design, construction, operation,  maintenance, or administration, as well as any fail- ure or malfunction of any system com- ponent that has the potential  to  cause an unacceptable risk to health or that could affect the  reliable  delivery  of safe drinking water.

##### § 141.809   Supplemental treatment.

- Any supplemental drinking water treatment  units  installed  onboard  ex-

isting or new aircraft must be accept- able to FAA and FDA; and must be in- stalled, operated, and maintained in accordance with the manufacturer’s plans and specifications and FAA re- quirements.

- Water supplemental treatment and production equipment must produce water that meets the stand- ards prescribed in this part.

##### § 141.810   Violations.

An air carrier is in violation of this subpart when, for any aircraft water system it owns or operates, any of the following occur:

- It fails to perform any of the re- quirements in accordance with § 141.803 or § 141.804.

- It has an E. coli-positive sample in any monitoring period (routine and re- peat samples are used in this deter- mination).

- It fails to provide notification to passengers and crew in accordance with

§ 141.805.

- It fails to comply with the report- ing and recordkeeping requirements of this subpart.

- It fails to  conduct  a  self-inspec- tion or address a deficiency in accord- ance with § 141.808.

- It fails to develop a coliform sam- pling plan in accordance with § 141.802, or fails to have and  follow  an  oper- ations and maintenance plan, which is included in a FAA accepted program in accordance with § 141.804.

# Subpart Y—Revised Total Coliform Rule

SOURCE:  78  FR  10354,  Feb.  13,  2013,  unless

otherwise noted.

##### § 141.851   General.

- General. The provisions of this subpart include both maximum con- taminant level and treatment tech- nique requirements.

- Applicability. The provisions of this subpart apply to all public water systems.

- Compliance date. Systems must comply with the provisions of this sub- part beginning April 1, 2016, unless oth- erwise specified in this subpart.

- Implementation with EPA as State.

Systems falling under direct oversight

§ 141.852

of EPA,  where  EPA  acts as  the  State, must comply with decisions made by EPA for implementation of subpart Y. EPA has authority to establish such procedures and criteria as are nec- essary to implement subpart Y.

- Violations of national primary drinking water regulations. Failure to comply with the applicable require- ments of §§ 141.851 through 141.861, in- cluding requirements established  by the State pursuant to these provisions, is a violation of the national primary drinking water regulations under sub- part  Y.

##### § 141.852   Analytical  methods  and  lab- oratory certification.

- Analytical methodology. (1) The standard sample volume required for analysis, regardless of analytical meth- od used, is 100 ml.

- Systems need only determine the presence  or  absence  of  total  coliforms

#### 40 CFR Ch. I (7–1–17 Edition)

and E. coli; a determination of density is not required.

- The time from sample  collection to initiation of test medium incubation may not exceed 30 hours. Systems are encouraged but not required to hold samples below 10 deg. C during transit.

- If water having residual chlorine (measured as free, combined, or total chlorine) is to be analyzed, sufficient sodium thiosulfate (Na2S2O3) must be added to the sample bottle before steri- lization to neutralize any residual chlorine in the water sample. Dechlorination procedures are ad- dressed in Section 9060A.2 of Standard Methods for the Examination of Water and Wastewater (20th and 21st editions).

- Systems must conduct total coli- form and E. coli analyses in accordance with one of the analytical methods  in the following table or one of the alter- native methods listed in Appendix A to subpart C of part 141.

Environmental Protection Agency

675

| Organism | Methodology category | Method 1 | Citation 1 |
| --- | --- | --- | --- |
| Total Coliforms Escherichia coli. | Lactose Fermentation Methods ......................... ............................................................................. ............................................................................. ............................................................................. Membrane Filtration Methods ............................ ............................................................................. ............................................................................. ............................................................................. ............................................................................. Enzyme Substrate Methods ............................... ............................................................................. ............................................................................. ............................................................................. ............................................................................. ............................................................................. ............................................................................. Escherichia coli Procedure (following Lactose Fermentation Methods). Escherichia coli Partition Method ....................... Membrane Filtration Methods ............................ Enzyme Substrate Methods ............................... | Standard Total Coliform Fermentation Tech- nique. ............................................................................. Presence-Absence (P–A) Coliform Test ............ ............................................................................. Standard Total Coliform Membrane Filter Pro- cedure. ............................................................................. Membrane Filtration using MI medium .............. m-ColiBlue24Test 24. Chromocult 24. Colilert .............................................................. ............................................................................. Colisure ............................................................ ............................................................................. E*ColiteTest 2. ReadycultTest 2. modified Colitag Test 2. EC–MUG medium .............................................. EC broth with MUG (EC–MUG) ......................... NA–MUG medium .............................................. Membrane Filtration using MI medium .............. m-ColiBlue24Test 2 4 ....................................... Chromocult 2 4. Colilert .............................................................. Colisure ............................................................ E*ColiteTest 2. ReadycultTest 2. modified Colitag Test 2. | Standard Methods 9221 B.1, B.2 (20th ed.; 21st ed.).23 Standard Methods Online 9221 B.1, B.2–99.23 Standard Methods 9221 D.1, D.2 (20th ed.; 21st ed.).27 Standard Methods Online 9221 D.1, D.2–99.27 Standard Methods 9222 B, C (20th ed.; 21st ed.).24 Standard Methods Online 9222 B–97 24, 9222 C–97.24 EPA Method 1604.2 Standard Methods 9223 B (20th ed.; 21st ed.).25 Standard Methods Online 9223 B–97.25 Standard Methods 9223 B (20th ed.; 21st ed.).256 Standard Methods Online 9223 B–97.256 Standard Methods 9221 F.1 (20th ed.; 21st ed.) 2 Standard Methods 9222 G.1c(2) (20th ed.; 21st ed.) 2 8 Standard Methods 9222 G.1c(1) (20th ed.; 21st ed.) 2 EPA Method 1604 2 Standard Methods 9223 B (20th ed.; 21st ed.) 2 5 Standard Methods Online 9223 B–97 2 5 6 Standard Methods 9223 B (20th ed.; 21st ed.) 2 5 6 Standard Methods Online 9223 B–97 2 5 6 |

§ 141.852

1 The procedures must be done in accordance with the documents listed in paragraph (c) of this section. For Standard Methods, either editions, 20th (1998) or 21st (2005), may be used. For the Standard Methods Online, the year in which each method was approved by the Standard Methods Committee is designated by the last two digits following the hyphen in the method number. The methods listed are the only online versions that may be used. For vendor methods, the date of the method listed in paragraph (c) of this section is the date/version of the ap- proved method. The methods listed are the only versions that may be used for compliance with this rule. Laboratories should be careful to use only the approved versions of the methods, as product package inserts may not be the same as the approved versions of the methods.

40 CFR Ch. I (7–1–17 Edition)

676

§ 141.852

2 Incorporated by reference. See paragraph (c) of this section.

3 Lactose broth, as commercially available, may be used in lieu of lauryl tryptose broth, if the system conducts at least 25 parallel tests between lactose broth and lauryl tryptose broth using the water normally tested, and if the findings from this comparison demonstrate that the false-positive rate and false-negative rate for total coliforms, using lactose broth, is less than 10 percent.

4 All filtration series must begin with membrane filtration equipment that has been sterilized by autoclaving. Exposure of filtration equipment to UV light is not adequate to ensure steriliza- tion. Subsequent to the initial autoclaving, exposure of the filtration equipment to UV light may be used to sanitize the funnels between filtrations within a filtration series. Alternatively, mem- brane filtration equipment that is pre-sterilized by the manufacturer (i.e., disposable funnel units) may be used.

5 Multiple-tube and multi-well enumerative formats for this method are approved for use in presence-absence determination under this regulation.

6 Colisureresults may be read after an incubation time of 24 hours.

7 A multiple tube enumerative format, as described in Standard Methods for the Examination of Water and Wastewater 9221, is approved for this method for use in presence-absence de- termination under this regulation.

8 The following changes must be made to the EC broth with MUG (EC–MUG) formulation: Potassium dihydrogen phosphate, KH 2PO 4, must be 1.5g, and 4-methylumbelliferyl-Beta-D-glu- curonide must be 0.05 g.

#### Environmental Protection Agency	§ 141.852

- Laboratory certification. Systems must have all compliance samples re- quired under this subpart analyzed by a laboratory certified by the EPA or a primacy State to analyze  drinking water samples. The laboratory used by the system must be certified for each method (and associated contami- nant(s)) used for compliance moni- toring analyses under this rule.

- Incorporation by reference. The standards required in this section are incorporated by reference into this sec- tion with the approval  of  the  Director of the Federal Register under 5 U.S.C. 552(a) and 1 CFR part 51. To  enforce any edition other than that specified in this  section,  EPA  must   publish   notice of change in the  FEDERAL  REGISTER  and the material must be available to the public. All approved material  is  avail- able  for  inspection  either  electroni- cally  in  hard copy at the Water Docket, or from the sources indicated below.  The  Docket  ID is EPA–HQ–OW–2008–0878. Hard copies of these documents may be viewed  at the Water Docket in the EPA Docket Center, (EPA/DC) EPA  West,  Room 3334, 1301 Constitution Ave. NW., Wash- ington, DC.  The  EPA  Docket  Center Public  Reading  Room  is  open  from  8:30

a.m. to 4:30 p.m., Monday through Fri- day, excluding legal holidays. The tele- phone number for the Public Reading Room is 1–202–566–1744, and the tele- phone number for the Water Docket is 1–202–566–2426. Copyrighted materials are only available for viewing in hard copy. These documents are also avail- able for inspection at the National Ar- chives  and  Records  Administration (NARA). For information on the avail- ability of this material at NARA, call 1–202–741–6030.

- American Public Health Associa- tion, 800 I Street, NW., Washington, DC 20001.

  - ‘‘Standard Methods for the Exam- ination of Water and Wastewater,’’ 20th edition (1998):

- Standard Methods 9221, ‘‘Mul- tiple-Tube Fermentation Technique for Members of the Coliform Group,’’ B.1, B.2,   ‘‘Standard   Total   Coliform   Fer- mentation Technique.’’

- Standard  Methods  9221,  ‘‘Mul- tiple-Tube  Fermentation  Technique  for Members  of  the  Coliform  Group,’’  D.1, D.2,  ‘‘Presence-Absence  (P–A)  Coliform Test.’’

- Standard  Methods  9222,  ‘‘Mem- brane Filter Technique for Members of the    Coliform    Group,’’    B,    ‘‘Standard Total Coliform Membrane Filter  Proce- dure.’’

- Standard Methods 9222, ‘‘Mem- brane Filter Technique for Members of the  Coliform  Group,’’  C,  ‘‘Delayed-In- cubation Total Coliform Procedure.’’

- Standard Methods 9223, ‘‘Enzyme Substrate Coliform Test,’’ B, ‘‘Enzyme Substrate         Test,’’         Colilert	and Colisure.

- Standard Methods 9221, ‘‘Multiple Tube Fermentation Technique for Members of the Coliform Group,’’ F.1, ‘‘Escherichia coli Procedure: EC–MUG medium.’’

- Standard  Methods  9222,  ‘‘Mem- brane Filter Technique for Members of the	Coliform	Group,’’	G.1.c(2), ‘‘Escherichia  coli  Partition  Method:  EC broth with MUG (EC–MUG).’’

- Standard  Methods  9222,  ‘‘Mem- brane Filter Technique for Members of the	Coliform	Group,’’	G.1.c(1), ‘‘Escherichia coli Partition Method: NA– MUG  medium.’’

  - ‘‘Standard Methods for the Exam- ination of Water and Wastewater,’’ 21st edition (2005):

- Standard Methods 9221, ‘‘Mul- tiple-Tube Fermentation Technique for Members of the Coliform Group,’’ B.1, B.2,   ‘‘Standard   Total   Coliform   Fer- mentation Technique.’’

- Standard  Methods  9221,  ‘‘Mul- tiple-Tube  Fermentation  Technique  for Members  of  the  Coliform  Group,’’  D.1, D.2,  ‘‘Presence-Absence  (P–A)  Coliform Test.’’

- Standard  Methods  9222,  ‘‘Mem- brane Filter Technique for Members of the    Coliform    Group,’’    B,    ‘‘Standard Total Coliform Membrane Filter  Proce- dure.’’

- Standard Methods 9222, ‘‘Mem- brane Filter Technique for Members of the  Coliform  Group,’’  C,  ‘‘Delayed-In- cubation Total Coliform Procedure.’’

- Standard Methods 9223, ‘‘Enzyme Substrate Coliform Test,’’ B, ‘‘Enzyme Substrate         Test,’’         Colilert	and Colisure.

#### § 141.853

- Standard Methods 9221, ‘‘Multiple Tube Fermentation Technique for Members of the Coliform Group,’’ F.1, ‘‘Escherichia coli Procedure: EC–MUG medium.’’

- Standard  Methods  9222,  ‘‘Mem- brane Filter Technique for Members of the	Coliform	Group,’’	G.1.c(2), ‘‘Escherichia  coli  Partition  Method:  EC broth with MUG (EC–MUG).’’

- Standard  Methods  9222,  ‘‘Mem- brane Filter Technique for Members of the	Coliform	Group,’’	G.1.c(1), ‘‘Escherichia coli Partition Method: NA– MUG  medium.’’

  - ‘‘Standard Methods Online’’ available

- Standard Methods Online 9221, ‘‘Multiple-Tube Fermentation Tech- nique for Members of the Coliform Group’’ (1999), B.1, B.2–99, ‘‘Standard Total Coliform Fermentation Tech- nique.’’

- Standard Methods Online 9221, ‘‘Multiple-Tube Fermentation Tech- nique for Members of the Coliform Group’’ (1999), D.1, D.2–99, ‘‘Presence- Absence (P–A) Coliform Test.’’

- Standard Methods Online 9222, ‘‘Membrane Filter Technique for Mem- bers of the Coliform Group’’ (1997), B– 97, ‘‘Standard Total Coliform Mem- brane  Filter  Procedure.’’

- Standard Methods Online 9222, ‘‘Membrane Filter Technique for Mem- bers of the Coliform Group’’ (1997), C– 97, ‘‘Delayed-Incubation Total Coliform Procedure.’’

- Standard Methods Online 9223, ‘‘Enzyme Substrate Coliform Test’’ (1997), B–97, ‘‘Enzyme Substrate Test’’, Colilertand  Colisure.

- Charm Sciences, Inc., 659 Andover Street, Lawrence, MA 01843–1032, tele- phone 1–800–343–2170:

- E*Colite—‘‘Charm      E*Colite TM Presence/Absence  Test    for Detection and Identification of  Coliform Bacteria and  Escherichia      coli in Drinking Water,’’ January 9,  1998.

- [Reserved]

- CPI International, Inc., 5580 Skylane Blvd., Santa Rosa, CA, 95403, telephone  1–800–878–7654:

- modified Colitag, ATP  D05–0035— ‘‘Modified Colitag TM Test   Method for the Simultaneous   Detection of E. coli

#### 40 CFR Ch. I (7–1–17 Edition)

and  other  Total  Coliforms  in  Water,’’ August 28, 2009.

- [Reserved]

- EMD  Millipore  (a  division   of Merck KGaA, Darmstadt Germany), 290 Concord Road, Billerica, MA 01821, tele- phone 1–800–645–5476:

  - Chromocult—‘‘Chromocult     Coli- form Agar Presence/Absence  Membrane Filter Test Method for   Detection  and Identification of  Coliform Bacteria and Escherichia coli   for Finished Waters,’’ November 2000,  Version 1.0.

  - Readycult—‘‘Readycult       Coli- forms  100  Presence/Absence    Test  for Detection  and   Identification   of   Coli- form   Bacteria   and   Escherichia    coli    in   Finished        Waters,’’      January      2007, Version 1.1.

- EPA’s Water Resource Center (MC–4100T), 1200 Pennsylvania Avenue NW., Washington, DC 20460, telephone 1–202–566–1729:

- EPA Method 1604, EPA 821–R–02– 024—‘‘EPA Method 1604: Total Coli- forms and Escherichia coli in Water by Membrane Filtration Using a Simulta- neous Detection Technique (MI Me- dium),’’ September 2002,

- [Reserved]

- Hach Company, P.O. Box 389, Loveland, CO 80539, telephone 1–800– 604–3493:

  - m-ColiBlue24—‘‘Membrane     Fil- tration Method m-ColiBlue24   Broth,’’ Revision 2, August 17, 1999.

  - [Reserved]

[78 FR 10354, Feb. 13, 2013, as amended at 79

FR 10669, Feb. 26, 2014]

##### § 141.853   General  monitoring  require- ments for all public water systems.

- Sample siting plans. (1) Systems must develop a written  sample  siting plan that  identifies  sampling  sites  and a sample collection schedule that are representative of water throughout the distribution  system  not  later   than March 31, 2016. These plans are subject to State review and revision.  Systems must collect total coliform samples ac- cording to the written  sample  siting plan. Monitoring required by §§ 141.854 through 141.858 may take place at a customer’s  premise,  dedicated  sam- pling station, or other designated com- pliance sampling location. Routine and repeat   sample   sites   and   any   sampling

#### Environmental Protection Agency	§ 141.853

points necessary to meet the require- ments of subpart S must be reflected in the sampling plan.

- Systems must collect samples at regular time intervals throughout the month, except that systems that use only ground water and serve 4,900 or fewer people may collect all required samples on a single day if they are taken from different sites.

- Systems must take  at least the minimum number of required samples even if the system has had an E. coli MCL violation or has exceeded the coli- form   treatment   technique   triggers   in

§ 141.859(a).

- A system may conduct more com- pliance monitoring than is required by this subpart to investigate potential problems  in  the   distribution   system and use monitoring as  a  tool  to  assist in uncovering problems. A system may take more than the  minimum  number of required routine samples and must include the results in calculating whether the coliform treatment tech- nique trigger in § 141.859(a)(1)(i) and (ii) has been exceeded only if the  samples are taken in accordance with the  exist- ing sample siting plan and are rep- resentative of water throughout the distribution    system.

- Systems must identify repeat monitoring locations in the sample siting plan. Unless the provisions of paragraphs (a)(5)(i) or (a)(5)(ii) of this section are met, the system must col- lect at least one repeat sample  from the sampling tap where the original total coliform-positive sample was taken, and at least one repeat sample at a tap within five service connections upstream and at least one repeat sam- ple at a tap within five service connec- tions downstream of the original sam- pling site. If a total coliform-positive sample is at the end of the distribution system, or one service connection away from the end of the distribution sys- tem, the system must still take all re- quired repeat samples. However, the State may allow an alternative sam- pling location in lieu of the require- ment to collect at least one repeat sample upstream or downstream of the original sampling site. Except as pro- vided for in paragraph (a)(5)(ii) of this section, systems required to conduct triggered   source   water   monitoring

under § 141.402(a) must take  ground water source sample(s) in addition to repeat samples required under this sub- part.

- Systems may propose repeat mon- itoring locations to the State that the system believes to be representative of a pathway for contamination of the distribution system. A system may elect to specify either alternative fixed locations or criteria for selecting re- peat sampling sites on a situational basis in a standard operating procedure (SOP) in its sample siting plan. The system must design its SOP to  focus the repeat samples at locations that best verify and determine the extent of potential contamination of the dis- tribution system area based on specific situations. The State may modify the SOP or require alternative monitoring locations as needed.

- Ground water systems serving 1,000 or fewer people may propose re- peat sampling locations  to  the  State that  differentiate   potential   source water and distribution system con- tamination (e.g., by sampling at entry points to the distribution system). A ground water system with a single well required to conduct triggered source water monitoring  may,  with  written State approval, take one of its repeat samples at the monitoring location re- quired for triggered source water moni- toring under § 141.402(a) if the system demonstrates  to  the  State’s   satisfac- tion that the sample siting plan  re- mains  representative  of  water   quality in the distribution system. If  approved by the State, the system may use that sample result to meet the monitoring requirements in both § 141.402(a) and this   section.

  - If a repeat sample taken at the monitoring location required for trig- gered source water monitoring is E. coli-positive, the  system  has  violated the E. coli MCL and must also comply with § 141.402(a)(3). If a system takes more than one repeat sample at the monitoring location required for trig- gered source water monitoring, the system may reduce the number of addi- tional source water samples required under § 141.402(a)(3) by the number of repeat samples taken at that location that were not E. coli-positive.

#### § 141.853

  - If a system takes more than one repeat sample at the monitoring loca- tion required for  triggered  source water monitoring under § 141.402(a), and more than one repeat sample is E. coli- positive, the system has violated the E. coli  MCL  and  must  also  comply  with

§ 141.403(a)(1).

  - If all repeat samples taken at the monitoring location required for trig- gered source water monitoring are E. coli-negative and a repeat sample taken at  a  monitoring  location  other  than the one required for triggered source water monitoring is E. coli-positive, the system has violated the E. coli  MCL, but   is   not   required   to   comply   with

§ 141.402(a)(3).

- States may review, revise, and ap- prove, as appropriate, repeat sampling proposed by systems under paragraphs (a)(5)(i) and (ii) of this section. The sys- tem must demonstrate that the sample siting plan remains representative of the water quality in the distribution system. The State may determine that monitoring at the entry point to the distribution system (especially for undisinfected ground water systems) is effective to differentiate between po- tential source water and distribution system problems.

- Special purpose samples. Special purpose  samples,  such  as   those   taken to determine whether disinfection practices are sufficient following pipe placement,   replacement,   or   repair, must not be  used to  determine whether the coliform  treatment  technique  trig- ger has been exceeded. Repeat samples taken pursuant to § 141.858 are not con- sidered special purpose samples, and must be used to determine whether the coliform  treatment  technique  trigger has been exceeded.

- Invalidation of total coliform sam- ples. A total coliform-positive sample invalidated under this paragraph (c) of this section does not count toward meeting the minimum monitoring re- quirements of this subpart.

  - The State may invalidate a total coliform-positive sample only if the conditions of paragraph (c)(1)(i), (ii), or

- of this section are met.

- The laboratory establishes that improper sample analysis caused the total coliform-positive result.

#### 40 CFR Ch. I (7–1–17 Edition)

- The State, on the basis of the re- sults of repeat samples collected as re- quired under § 141.858(a), determines that the total coliform-positive sample resulted from a domestic or other non- distribution system plumbing problem. The  State  cannot  invalidate  a   sample on the basis of  repeat sample results unless all repeat sample(s) collected at the same tap as the original total coli- form-positive sample are also total coliform-positive, and all repeat  sam- ples collected at a location other  than the original tap are total coliform-neg- ative (e.g., a State cannot invalidate a total coliform-positive sample on the basis of repeat samples if all the repeat samples are  total  coliform-negative,  or if the system has only one service con- nection).

- The State has substantial grounds to believe that a total coli- form-positive result is due to a cir- cumstance or condition that does not reflect water quality  in  the  distribu- tion system. In this  case,  the  system must still collect all repeat samples re- quired under § 141.858(a), and use them to determine whether a coliform treat- ment technique trigger in § 141.859 has been exceeded. To invalidate a total coliform-positive sample under this paragraph, the decision and supporting rationale must be documented in writ- ing, and approved and signed by the su- pervisor of the State official who rec- ommended  the   decision.   The   State must make this document available to EPA and the public. The written docu- mentation  must  state   the   specific cause of the total coliform-positive sample, and  what  action  the  system has taken, or will take, to correct this problem. The  State  may  not  invalidate a  total  coliform-positive  sample  solely on the grounds that all repeat  samples are   total   coliform-negative.

  - A laboratory must invalidate a total coliform sample (unless total coliforms are detected) if the sample produces a turbid culture in the ab- sence of gas production using an ana- lytical method where gas formation is examined (e.g., the Multiple-Tube Fer- mentation Technique), produces  a turbid culture in the absence of an acid reaction in the Presence-Absence (P–A) Coliform   Test,   or   exhibits   confluent

#### Environmental Protection Agency	§ 141.854

growth or produces colonies too numer- ous to count with an analytical method using a membrane filter (e.g., Mem- brane Filter Technique).  If  a  labora- tory invalidates a sample because of such interference, the system must col- lect another  sample from the  same lo- cation as the original sample within 24 hours of being notified of the inter- ference problem, and have it analyzed for the presence of total coliforms. The system must continue to re-sample within 24 hours and have the samples analyzed until it obtains a valid result. The State may waive the 24-hour time limit on a case-by-case basis. Alter- natively, the State may implement cri- teria for waiving the 24-hour sampling time limit to use in lieu of case-by-case extensions.

##### § 141.854 Routine monitoring require- ments for non-community water systems serving 1,000 or fewer peo- ple using only ground water.

    - General. (1) The provisions of this section apply to non-community water systems using only ground water (ex- cept ground water under the direct in- fluence of surface water, as defined in

§ 141.2) and serving 1,000 or fewer peo- ple.

- Following any total coliform-posi- tive sample taken under the provisions of this section, systems must comply with the repeat monitoring require- ments and E. coli analytical require- ments in § 141.858.

- Once all monitoring  required  by this section and § 141.858 for a calendar month has  been  completed,  systems must determine whether any coliform treatment  technique  triggers  specified in § 141.859 have been exceeded. If any trigger has  been  exceeded,  systems must complete assessments as  required by § 141.859.

- For the purpose of determining eligibility for remaining on or quali- fying for quarterly monitoring under the provisions of paragraphs (f)(4) and (g)(2), respectively, of this section for transient non-community water sys- tems, the State may elect to not count monitoring	violations	under

§ 141.860(c)(1) of this part if the missed sample is collected no later than the end of the monitoring period following the   monitoring   period   in   which   the

sample was missed. The system must collect the make-up sample in a dif- ferent week than the routine sample for that monitoring period and should collect the sample as soon as possible during the  monitoring  period.  The State may not use this provision under paragraph (h) of this section. This au- thority does not affect  the  provisions of §§ 141.860(c)(1) and 141.861(a)(4) of this part.

    - Monitoring frequency for total coli- forms. Systems must monitor each cal- endar quarter that the system provides water to the public, except for seasonal systems or as provided under para- graphs (c) through (h) and (j) of this section. Seasonal systems must meet the monitoring requirements of para- graph (i) of this section.

    - Transition to subpart Y. (1) Sys- tems, including seasonal systems, must continue to monitor according  to  the total coliform monitoring  schedules under § 141.21 that were in effect on March 31, 2016, unless any of the condi- tions for increased monitoring in para- graph (f) of this section  are  triggered on or after April 1, 2016, or unless oth- erwise  directed  by  the  State.

(2) Beginning April 1, 2016, the State must perform a special monitoring evaluation during each sanitary survey to review the status of the system, in- cluding the distribution system, to de- termine whether the system is on an appropriate monitoring schedule. After the State has performed the special monitoring evaluation during each san- itary survey, the State may modify the system’s monitoring schedule, as nec- essary, or it may allow the system to stay on its existing monitoring sched- ule, consistent with the provisions of this section. The State may not allow systems to begin less frequent moni- toring under the special monitoring evaluation unless the system has al- ready met the applicable criteria for less frequent monitoring in this sec- tion. For seasonal systems on quar- terly or annual monitoring, this eval- uation must include review of the ap- proved sample siting plan, which must designate the time period(s) for moni- toring based on site-specific consider- ations (e.g., during periods of highest demand or highest vulnerability to contamination).  The  seasonal  system

#### § 141.854

must collect compliance samples dur- ing these time periods.

    - Annual site visits. Beginning no later than calendar year 2017,  systems on annual monitoring, including sea- sonal systems,  must  have  an  initial and recurring annual site visit by the State that is equivalent to a Level 2 as- sessment or an annual voluntary Level 2 assessment that meets the criteria in

§ 141.859(b) to remain on annual moni- toring. The periodic required sanitary survey may be used to meet the re- quirement for an annual site visit  for the year in which the sanitary survey was  completed.

    - Criteria for annual monitoring. Be- ginning April 1, 2016, the State may re- duce the monitoring frequency for a well-operated ground water system from quarterly routine monitoring to no less than annual monitoring, if the system demonstrates that it meets the criteria for reduced monitoring in paragraphs (e)(1) through (e)(3) of this section, except for a system that has been on  increased  monitoring  under the provisions of paragraph (f) of this section. A system on increased moni- toring under paragraph (f) of this sec- tion must meet the provisions of para- graph (g) of this section to go to quar- terly monitoring and must meet the provisions of paragraph (h) of this sec- tion to go to annual monitoring.

      - The system has a clean compli- ance history for a minimum of 12 months;

      - The most recent sanitary survey shows that the system is free of sani- tary defects or has corrected all identi- fied sanitary defects, has a protected water source, and meets approved con- struction standards; and

      - The State has conducted an an- nual site visit  within  the  last  12 months and the system has  corrected all identified sanitary defects.  The sys- tem may substitute a Level 2 assess- ment     that     meets     the     criteria     in

§ 141.859(b) for the State annual  site visit.

    - Increased monitoring requirements for systems on quarterly or annual moni- toring. A system on quarterly or annual monitoring that experiences any of the events identified in paragraphs (f)(1) through (f)(4) of this section must begin  monthly  monitoring  the  month

#### 40 CFR Ch. I (7–1–17 Edition)

following the  event. A  system on  an- nual monitoring that experiences the event identified in paragraphs (f)(5) of this section must begin quarterly mon- itoring the quarter following the event. The system must continue monthly or quarterly monitoring until the require- ments in paragraph (g) of this section for quarterly monitoring or paragraph

- of this section for annual moni- toring are met. A system on monthly monitoring for reasons  other  than those identified in paragraphs (f)(1) through (f)(4) of this section is not con- sidered to be on increased monitoring for the purposes of paragraphs (g) and

- of this section.

  - The system triggers a Level 2 as- sessment or two Level 1 assessments under the provisions of § 141.859 in a rolling  12-month  period.

  - The system has an E. coli MCL violation.

  - The system has a coliform treat- ment technique violation.

  - The system has two subpart Y monitoring violations or one subpart Y monitoring violation and one Level 1 assessment  under  the  provisions  of

§ 141.859 in a rolling 12-month period for a  system  on  quarterly  monitoring.

  - The system has one subpart Y monitoring violation for a system on annual monitoring.

- Requirements for returning to quar- terly monitoring. The State may reduce the monitoring  frequency for  a system on monthly monitoring triggered under paragraph (f) of this section to quar- terly monitoring if the system meets the criteria in paragraphs (g)(1) and (g)(2) of this section.

  - Within the last 12 months, the system must have a completed sani- tary survey or a site visit by the State or a voluntary Level 2 assessment by a party approved by the State, be free of sanitary defects, and have a protected water source; and

  - The system must have a clean compliance history for a minimum  of 12 months.

- Requirements for systems on in- creased monitoring to qualify for annual monitoring. The State may reduce the monitoring frequency for a system on increased  monitoring  under  paragraph

- of this section if the system meets

#### Environmental Protection Agency	§ 141.854

the criteria in paragraph (g) of this sec- tion plus the criteria in paragraphs (h)(1) and (h)(2) of this section.

  - An annual site visit by the State and correction of  all  identified  sani- tary defects. The system may sub- stitute a voluntary Level 2  assessment by a party approved by the  State  for the State annual site visit in any given year.

  - The system must have in place or adopt one or more additional enhance- ments to the water system barriers to contamination in paragraphs (h)(2)(i) through (h)(2)(v) of this section.

    - Cross connection control, as ap- proved by the State.

    - An operator certified by an appro- priate State certification program or regular visits by a circuit rider cer- tified by an appropriate State certifi- cation program.

    - Continuous disinfection entering the distribution system and a residual in the distribution system in accord- ance with criteria specified by the State.

    - Demonstration of maintenance of at least a 4-log removal or inactivation of   viruses   as   provided   for   under

§ 141.403(b)(3).

    - Other equivalent enhancements to water system barriers as approved by the   State.

(i) Seasonal systems. (1) Beginning April 1, 2016, all seasonal systems must demonstrate completion of a State-ap- proved start-up procedure, which may include a requirement for startup sam- pling prior to serving water to the pub- lic.

- A seasonal system must monitor every month that it is in operation un- less it meets the criteria in paragraphs (i)(2)(i) through (iii) of this section to be eligible for monitoring less fre- quently than monthly beginning  April 1, 2016, except as provided under para- graph (c) of this section.

  - Seasonal systems monitoring less frequently than monthly must have an approved sample siting plan that des- ignates the time period for monitoring based on site-specific considerations (e.g., during periods of highest demand or highest vulnerability to contamina- tion). Seasonal systems must collect compliance samples during this time period.

  - To be eligible for quarterly moni- toring, the system must meet the cri- teria in paragraph (g) of this section.

  - To be eligible for annual moni- toring, the system must meet the cri- teria under paragraph (h) of this sec- tion.

- The State may exempt any sea- sonal system from some or all of the requirements for seasonal systems if the entire distribution system remains pressurized during the entire period that the system is not operating, ex- cept that systems that monitor less frequently than monthly must still monitor during the vulnerable period designated by the State.

- Additional routine monitoring the month following a total coliform-positive sample. Systems  collecting  samples  on a quarterly or annual frequency must conduct additional routine monitoring the month following one or more total coliform-positive samples (with or without a Level 1 treatment technique trigger). Systems must collect at least three routine samples during the next month, except  that  the  State  may waive this requirement if the condi- tions of paragraph (j)(1), (2), or (3) of this section are met. Systems may ei- ther collect samples at regular time in- tervals throughout the month or may collect all required routine samples on a single day if samples are taken from different sites. Systems must use the results of additional routine samples in coliform treatment technique trigger calculations under § 141.859(a).

  - The State may waive the require- ment to collect three routine samples the next month in which the system provides water to the public if the State, or an agent approved by the State, performs a site visit before the end of the next month in which the system provides water to the public. Although a sanitary survey need not be performed, the site visit must be suffi- ciently detailed to allow the State to determine whether additional moni- toring and/or any corrective action is needed. The State cannot approve an employee of the system to perform this site visit, even if the employee is an agent approved by the State to perform sanitary surveys.

  - The State may waive the require- ment to collect three routine samples

#### § 141.855

the next month in which the system provides water to the public if the State has determined why the sample was total coliform-positive and has es- tablished that the system has cor- rected the problem or will correct the problem before the end of the next month in which the system serves water to the public. In this case, the State must document this decision to waive the following month’s additional monitoring requirement in writing, have it approved and signed by the su- pervisor of the State official who rec- ommends such a decision, and make this document available to the EPA and public. The written documentation must describe the specific cause of the total coliform-positive sample and what action the system has taken and/ or will take to correct this problem.

  - The State may not waive the re- quirement to collect three additional routine samples the next month in which the system provides water to the public solely on the grounds that all repeat samples are total coliform-nega- tive. If the State determines that the system has corrected the contamina- tion problem before the system takes the set of repeat samples required in

§ 141.858, and all repeat samples were total coliform-negative, the State may waive the requirement for additional routine  monitoring  the  next  month.

##### § 141.855 Routine monitoring require- ments for community water systems serving 1,000 or fewer people using only ground water.

    - General. (1) The provisions of this section apply to community water sys- tems using only ground water (except ground water under the direct influ- ence  of  surface  water,  as  defined  in

§ 141.2) and serving 1,000 or fewer peo- ple.

- Following any total coliform-posi- tive sample taken under the provisions of this section, systems must comply with the repeat monitoring require- ments and E. coli analytical require- ments in § 141.858.

- Once all monitoring  required  by this section and § 141.858 for a calendar month has  been  completed,  systems must determine whether any coliform treatment  technique  triggers  specified in  § 141.859  have  been  exceeded.  If  any

#### 40 CFR Ch. I (7–1–17 Edition)

trigger has  been  exceeded,  systems must complete assessments as  required by § 141.859.

    - Monitoring frequency for total coli- forms. The monitoring frequency for total coliforms is one sample/month, except as provided for under para- graphs (c) through (f) of this section.

    - Transition to subpart Y. (1) All sys- tems must continue to monitor accord- ing to the total coliform monitoring schedules under § 141.21 that were in ef- fect on March 31, 2016, unless any of the conditions in paragraph (e) of this sec- tion are triggered on or after April 1, 2016, or unless otherwise directed by the   State.

(2) Beginning April 1, 2016, the State must perform a special monitoring evaluation during each sanitary survey to review the status of the system, in- cluding the distribution system, to de- termine whether the system is on an appropriate monitoring schedule. After the State has performed the special monitoring evaluation during each san- itary survey, the State may modify the system’s monitoring schedule, as nec- essary, or it may allow the system to stay on its existing monitoring sched- ule, consistent with the provisions of this section. The State may not allow systems to begin less frequent moni- toring under the special monitoring evaluation unless the system has al- ready met the applicable criteria for less frequent monitoring in this sec- tion.

    - Criteria for reduced monitoring. (1) The State may reduce the monitoring frequency from monthly monitoring to no  less  than  quarterly  monitoring  if the system is in compliance with State-certified operator provisions and demonstrates that it meets the criteria in paragraphs (d)(1)(i) through (d)(1)(iii) of this section. A system that loses its certified operator must return to monthly monitoring the month fol- lowing that loss.

- The system has a clean compli- ance history for a minimum of 12 months.

- The most recent sanitary survey shows the system is free of sanitary de- fects (or has an approved plan and schedule to correct them and is in com- pliance with the plan and the sched- ule), has a protected water source and

#### Environmental Protection Agency	§ 141.855

meets   approved    construction    stand- ards.

- The system meets at least one of the following criteria:

  - An annual site visit by the State that is equivalent to a Level 2 assess- ment or an annual Level 2 assessment by a party approved by the State and correction of all identified sanitary de- fects (or an approved plan and schedule to correct them and is in compliance with the plan and schedule).

  - Cross connection control, as ap- proved by the State.

  - Continuous disinfection entering the distribution system and a residual in the distribution system in accord- ance with criteria specified by the State.

  - Demonstration of maintenance of at least a 4-log removal or inactivation of   viruses   as   provided   for   under

§ 141.403(b)(3).

  - Other equivalent  enhancements to water system barriers as  approved by  the  State.

(2)  [Reserved]

    - Return to routine monthly moni- toring requirements. Systems on quar- terly monitoring that experience  any of the events in paragraphs (e)(1) through (e)(4) of this section must begin monthly monitoring the month following the event. The system must continue monthly monitoring until it meets the reduced monitoring require- ments in paragraph (d) of this section.

      - The system triggers a Level 2 as- sessment or two Level 1 assessments in a rolling 12-month period.

      - The system has an E. coli MCL violation.

      - The system has a coliform treat- ment technique violation.

      - The system has two subpart Y monitoring violations in a rolling 12- month period.

    - Additional routine monitoring the month following a total coliform-positive sample. Systems  collecting  samples  on a quarterly frequency must conduct ad- ditional routine monitoring the month following one or more total coliform- positive samples (with or without a Level 1 treatment technique trigger). Systems must collect at least three routine samples  during  the  next month, except  that  the  State  may waive  this  requirement  if  the  condi-

tions of paragraph (f)(1), (2), or (3) of this section are met. Systems may ei- ther collect samples at regular time in- tervals throughout the month or may collect all required routine samples on a single day if samples are taken from different sites. Systems must use the results of additional routine samples in coliform treatment technique trigger calculations.

- The State may waive the require- ment to collect three routine samples the next month in which the system provides water to the public if the State, or an agent approved by the State, performs a site visit before the end of the next month in which the system provides water to the public. Although a sanitary survey need not be performed, the site visit must be suffi- ciently detailed to allow the State to determine whether additional moni- toring and/or any corrective action is needed. The State cannot approve an employee of the system to perform this site visit, even if the employee is an agent approved by the State to perform sanitary surveys.

- The State may waive the require- ment to collect three routine samples the next month in which the system provides water to the public if the State has determined why the sample was total coliform-positive and has es- tablished that the system has cor- rected the problem or will correct the problem before the end of the next month in which the system serves water to the public. In this case, the State must document this decision to waive the following month’s additional monitoring requirement in writing, have it approved and signed by the su- pervisor of the State official who rec- ommends such a decision, and make this document available to the EPA and the public. The written docu- mentation must describe the specific cause of the total coliform-positive sample and what action the system has taken and/or will take to correct this problem.

- The State may not waive the re- quirement to collect three additional routine samples the next month in which the system provides water to the public solely on the grounds that all repeat samples are total coliform-nega- tive.  If  the  State  determines  that  the

#### § 141.856

system has corrected the contamina- tion problem before the system takes the set of repeat samples required in

§ 141.858, and all repeat samples were total coliform-negative, the State may waive the requirement for additional routine  monitoring  the  next  month.

##### § 141.856 Routine monitoring require- ments for subpart H public water systems serving 1,000 or fewer peo- ple.

  - General. (1) The provisions of this section apply to subpart H public water systems of this part serving 1,000 or fewer people.

- Following any total coliform-posi- tive sample taken under the provisions of this section, systems must comply with the repeat monitoring require- ments and E. coli analytical require- ments in § 141.858.

- Once all monitoring  required  by this section and § 141.858 for a calendar month has  been  completed,  systems must determine whether any coliform treatment  technique  triggers  specified in § 141.859 have been exceeded. If any trigger has  been  exceeded,  systems must complete assessments as  required by § 141.859.

- Seasonal systems. (i) Beginning April 1, 2016, all seasonal systems must demonstrate completion of a State-ap- proved start-up procedure, which may include a requirement for start-up sam- pling prior to serving water to the pub- lic.

(ii) The State may exempt any sea- sonal system from some or all of the requirements for seasonal systems if the entire distribution system remains pressurized during the entire period that the system is not operating.

  - Routine monitoring frequency for total coliforms. Subpart H systems of this part (including consecutive sys- tems) must monitor monthly. Systems may not reduce monitoring.

  - Unfiltered subpart H systems. A sub- part H system of this part that  does not practice filtration in compliance with subparts H, P, T, and W must col- lect at least one total coliform sample near the first service connection each day the turbidity level of the source water,    measured    as    specified    in

§ 141.74(b)(2),  exceeds  1  NTU.  When  one

#### 40 CFR Ch. I (7–1–17 Edition)

or more turbidity measurements in any day exceed 1 NTU, the system must collect this coliform sample within 24 hours  of  the  first  exceedance,  unless the  State  determines  that  the   system, for logistical reasons outside the  sys- tem’s control, cannot have the sample analyzed within 30 hours of collection and identifies an alternative sample collection   schedule.   Sample   results from this coliform monitoring must be included in determining whether the coliform   treatment   technique   trigger in § 141.859 has been exceeded.

##### § 141.857 Routine monitoring require- ments for public water systems serving more than 1,000 people.

- General. (1) The provisions of this section apply to public water systems serving more than 1,000 persons.

- Following any total coliform-posi- tive sample taken under the provisions of this section, systems must comply with the repeat monitoring require- ments and E. coli analytical require- ments in § 141.858.

- Once all monitoring  required  by this section and § 141.858 for a calendar month has  been  completed,  systems must determine whether any coliform treatment  technique  triggers  specified in § 141.859 have been exceeded. If any trigger has  been  exceeded,  systems must complete assessments as  required by § 141.859.

- Seasonal systems. (i) Beginning April 1, 2016, all seasonal systems must demonstrate completion of a State-ap- proved start-up procedure, which may include a requirement for start-up sam- pling prior to serving water to the pub- lic.

(ii) The State may exempt any sea- sonal system from some or all of the requirements for seasonal systems if the entire distribution system remains pressurized during the entire period that the system is not operating.

- Monitoring frequency for total coli- forms. The monitoring frequency for total coliforms is based on the popu- lation served by the system, as follows:

#### Environmental Protection Agency	§ 141.858

TOTAL COLIFORM MONITORING FREQUENCY FOR PUBLIC WATER SYSTEMS SERVING MORE THAN 1,000 PEOPLE

| Population served | Minimum number of samples per month |
| --- | --- |
| 1,001 to 2,500 ......................................... | 2 |
| 2,501 to 3,300 ......................................... | 3 |
| 3,301 to 4,100 ......................................... | 4 |
| 4,101 to 4,900 ......................................... | 5 |
| 4,901 to 5,800 ......................................... | 6 |
| 5,801 to 6,700 ......................................... | 7 |
| 6,701 to 7,600 ......................................... | 8 |
| 7,601 to 8,500 ......................................... | 9 |
| 8,501 to 12,900 ....................................... | 10 |
| 12,901 to 17,200 ..................................... | 15 |
| 17,201 to 21,500 ..................................... | 20 |
| 21,501 to 25,000 ..................................... | 25 |
| 25,001 to 33,000 ..................................... | 30 |
| 33,001 to 41,000 ..................................... | 40 |
| 41,001 to 50,000 ..................................... | 50 |
| 50,001 to 59,000 ..................................... | 60 |
| 59,001 to 70,000 ..................................... | 70 |
| 70,001 to 83,000 ..................................... | 80 |
| 83,001 to 96,000 ..................................... | 90 |
| 96,001 to 130,000 ................................... | 100 |
| 130,001 to 220,000 ................................. | 120 |
| 220,001 to 320,000 ................................. | 150 |
| 320,001 to 450,000 ................................. | 180 |
| 450,001 to 600,000 ................................. | 210 |
| 600,001 to 780,000 ................................. | 240 |
| 780,001 to 970,000 ................................. | 270 |
| 970,001 to 1,230,000 .............................. | 300 |
| 1,230,001 to 1,520,000 ........................... | 330 |
| 1,520,001 to 1,850,000 ........................... | 360 |
| 1,850,001 to 2,270,000 ........................... | 390 |
| 2,270,001 to 3,020,000 ........................... | 420 |
| 3,020,001 to 3,960,000 ........................... | 450 |
| 3,960,001 or more ................................... | 480 |

- Unfiltered subpart H systems. A sub- part H system of this part that  does not practice filtration in compliance with subparts H, P, T, and W must col- lect at least one total coliform sample near the first service connection each day the turbidity level of the source water,    measured    as    specified    in

§ 141.74(b)(2), exceeds 1 NTU. When one or more turbidity measurements in any day exceed 1 NTU, the system must collect this coliform sample within 24 hours  of  the  first  exceedance,  unless the  State  determines  that  the   system, for logistical reasons outside the  sys- tem’s control, cannot have the sample analyzed within 30 hours of collection and identifies an alternative sample collection   schedule.   Sample   results from this coliform monitoring must be included in determining whether the coliform   treatment   technique   trigger in § 141.859 has been exceeded.

- Reduced monitoring. Systems may not reduce monitoring, except for non- community  water  systems  using  only

ground water (and not ground water under the direct influence of surface water) serving 1,000 or fewer people in some months and more than 1,000 per- sons in other months. In months when more than 1,000 persons are served, the systems must monitor at the frequency specified in paragraph (a) of this sec- tion. In months when 1,000 or fewer people are served, the State may re- duce the monitoring frequency, in writ- ing,   to   a   frequency   allowed   under

§ 141.854 for a similarly situated system that always serves 1,000 or fewer peo- ple, taking into account  the  provisions in § 141.854(e) through (g).

##### § 141.858   Repeat   monitoring   and   E. coli requirements.

- Repeat monitoring. (1) If a sample taken under §§ 141.854 though 141.857 is total   coliform-positive,   the   system must collect a set of repeat samples within 24 hours of being notified of the positive result.  The  system  must  col- lect no fewer than three repeat samples for each total coliform-positive sample found. The State  may  extend  the  24- hour  limit  on  a  case-by-case  basis   if the system has a logistical problem in collecting the repeat samples within 24 hours that is beyond its control. Alter- natively, the State may implement cri- teria for the system to use in lieu of case-by-case extensions. In the case  of an extension, the  State  must  specify how much time the system has to  col- lect the repeat samples. The State can- not waive the requirement  for  a  system to collect repeat samples in paragraphs (a)(1) through (a)(3) of this section.

- The system must collect all re- peat samples on the same day, except that the State  may  allow  a  system with a single service connection to col- lect the required set of repeat samples over a three-day period or to collect a larger volume repeat sample(s)  in  one or more sample containers of any size, as long as the total volume collected is at least 300 ml.

- The system must collect an addi- tional set of repeat samples in the manner specified in paragraphs (a)(1) through (a)(3) of this section if one or more repeat samples in the current set of repeat samples is total coliform- positive. The system must collect the additional set of repeat samples within

#### § 141.859

24 hours of being notified of the posi- tive  result,  unless  the  State  extends the limit as provided in paragraph (a)(1) of this section. The system must continue to collect additional sets of repeat samples until either total coli- forms are not detected in one complete set of repeat samples or the system de- termines that a coliform treatment technique        trigger        specified        in

§ 141.859(a) has been  exceeded as  a re- sult of a repeat sample being total coli- form-positive and  notifies  the  State.  If a trigger identified in § 141.859 is ex- ceeded as a result of a routine sample being  total  coliform-positive,   systems are required to conduct  only  one  round of repeat monitoring for each total coliform-positive   routine   sample.

- After a system collects a routine sample and before it learns the results of the analysis of that sample, if it col- lects another routine sample(s) from within five adjacent service connec- tions of the initial sample, and the ini- tial sample, after analysis, is found to contain total coliforms, then the sys- tem may count the subsequent sam- ple(s) as a repeat sample instead of as a routine sample.

- Results of all routine and repeat samples taken under §§ 141.854 through 141.858 not invalidated by the  State must be used to determine whether a coliform treatment technique trigger specified in § 141.859 has been exceeded.

- Escherichia coli (E. coli) testing. (1) If any routine or repeat sample is total coliform-positive, the system must analyze that total coliform-positive culture medium to determine if E. coli are present. If E. coli are present, the system must notify the State by the end of the day when the system is noti- fied of the test result, unless the sys- tem is notified of the result after the State office is closed and the State does not have either an after-hours phone line or an alternative notifica- tion procedure, in which case the sys- tem must notify the State before the end of the next business day.

(2) The State has the discretion to allow a system, on a case-by-case basis, to forgo E. coli testing on a total coli- form-positive sample if that system as- sumes that the total coliform-positive sample is E. coli-positive. Accordingly, the  system  must  notify  the  State  as

#### 40 CFR Ch. I (7–1–17 Edition)

specified in paragraph (b)(1) of this sec- tion and the provisions of § 141.63(c) apply.

##### § 141.859 Coliform treatment tech- nique triggers and assessment re- quirements for protection against potential fecal contamination.

- Treatment technique triggers. Sys- tems must conduct assessments in ac- cordance with paragraph (b) of this sec- tion after exceeding treatment tech- nique triggers in paragraphs (a)(1) and (a)(2) of this section.

  - Level 1 treatment technique trig- gers.

    - For systems taking 40 or more samples per month, the system exceeds 5.0%  total  coliform-positive   samples for  the  month.

    - For systems taking fewer than 40 samples per month, the system has two or more total coliform-positive  sam- ples in the same month.

    - The system fails to take every required repeat sample after any single total coliform-positive sample.

  - Level 2 treatment technique trig- gers.

    - An E. coli MCL violation, as speci- fied in § 141.860(a).

    - A second Level 1 trigger as de- fined in paragraph (a)(1) of this section, within a rolling  12-month  period,  un- less the State has determined a likely reason  that  the  samples  that  caused the first Level 1 treatment technique trigger   were   total   coliform-positive and  has  established  that  the  system has  corrected  the  problem.

    - For systems with approved an- nual monitoring, a Level 1 trigger in two consecutive years.

- Requirements for assessments. (1) Systems must ensure  that  Level  1  and 2 assessments are conducted in order to identify the possible presence of sani- tary defects and defects in distribution system coliform monitoring practices. Level 2 assessments must be conducted by parties approved by the State.

- When conducting assessments, systems must ensure that the assessor evaluates minimum elements that in- clude review and identification of inad- equacies in sample sites; sampling pro- tocol; sample processing; atypical events that could affect distributed water quality or indicate that distrib- uted    water    quality    was    impaired;

#### Environmental Protection Agency	§ 141.859

changes in distribution system mainte- nance and operation that could affect distributed water quality (including water storage); source and treatment considerations that bear on distributed water quality, where appropriate (e.g., small ground water systems); and ex- isting water quality monitoring data. The system must conduct the assess- ment consistent with any State direc- tives that tailor specific assessment elements with respect to the size and type of the system and the size, type, and characteristics of the distribution system.

- Level 1 assessments. A system must conduct a Level 1 assessment con- sistent with State requirements if the system exceeds one of the treatment technique triggers in paragraph  (a)(1) of this section.

  - The system must complete a Level 1 assessment as soon as practical after any trigger in paragraph (a)(1) of this section. In the completed assessment form, the system must describe sani- tary defects detected, corrective ac- tions completed, and a proposed time- table for any corrective actions not al- ready completed. The assessment form may also note that no sanitary defects were identified. The system must sub- mit the completed Level 1 assessment form to the State within 30 days after the system learns that it has exceeded a  trigger.

  - If the State reviews the com- pleted Level 1 assessment and deter- mines that the assessment is not suffi- cient (including any proposed time- table for any corrective actions not al- ready completed), the State must con- sult with the system. If the State re- quires revisions after consultation, the system must submit a revised assess- ment form to the State on an agreed- upon schedule not to exceed 30 days from the date of the consultation.

  - Upon completion and submission of the assessment form by the system, the State must determine if the system has identified a likely  cause  for  the Level 1 trigger and, if so, establish that the system has corrected  the  problem, or has included a  schedule  acceptable to the State for correcting the prob- lem.

- Level 2 assessments. A system must ensure  that  a  Level  2  assessment  con-

sistent with State requirements is con- ducted if the system exceeds one of the treatment technique triggers in para- graph (a)(2) of this section. The system must comply with any expedited ac- tions or additional actions required by the State in the case of an E. coli MCL violation.

- The system must ensure that a Level 2 assessment is completed by the State or by a party approved by the State as soon as practical after any trigger in paragraph (a)(2) of this sec- tion. The system must submit a com- pleted Level 2  assessment form  to the State within 30 days after the system learns that it has exceeded a trigger. The assessment form must describe sanitary defects detected, corrective actions completed, and a  proposed timetable for any  corrective  actions not already completed. The assessment form may also note that no sanitary defects were identified.

- The system may conduct Level 2 assessments if the system has staff or management with the certification or qualifications specified by the State unless otherwise directed by the State.

- If the State reviews the com- pleted Level 2 assessment and deter- mines that the assessment is not suffi- cient (including any proposed time- table for any corrective actions not al- ready completed), the State must con- sult with the system. If the State re- quires revisions after consultation, the system must submit a revised assess- ment form to the State on an agreed- upon schedule not to exceed 30 days.

- Upon completion and submission of the assessment form by the system, the State must determine if the system has identified a likely  cause  for  the Level 2 trigger and determine whether the system has corrected  the  problem, or has included a  schedule  acceptable to the State for correcting the prob- lem.

- Corrective action. Systems must correct sanitary defects found through either Level 1 or 2 assessments con- ducted under paragraph (b) of this sec- tion. For corrections not completed by the time of submission of the assess- ment form, the system must complete the corrective action(s) in compliance with a timetable approved by the State in  consultation  with  the  system.  The

#### § 141.860

system must notify the State when each scheduled corrective action is completed.

- Consultation. At any time during the assessment or corrective action phase, either the water system or the State may request a consultation with the other party to determine the ap- propriate actions to be taken. The sys- tem may consult with the State on all relevant information that may impact on its ability to comply with a require- ment of this subpart, including the method of accomplishment, an appro- priate timeframe, and other relevant information.

##### § 141.860   Violations.

- E. coli MCL Violation. A system is in violation of the MCL for E. coli when any of the conditions identified in paragraphs (a)(1) through (a)(4) of this section occur.

  - The system has an E. coli-positive repeat sample following a total coli- form-positive routine sample.

  - The system has a total coliform- positive repeat sample following an E. coli-positive routine sample.

  - The system fails to take all re- quired repeat samples following an E. coli-positive routine sample.

  - The system fails to test for E. coli when any repeat sample tests positive for total coliform.

- Treatment technique violation. (1) A treatment technique violation occurs when a system exceeds a treatment technique        trigger        specified        in

§ 141.859(a) and then fails to conduct the required assessment or corrective ac- tions within the timeframe specified in

§ 141.859(b) and (c).

(2) A treatment technique violation occurs when a seasonal system fails to complete a State-approved start-up procedure prior to serving water to the public.

- Monitoring violations. (1) Failure to take every required routine or addi- tional routine sample in a compliance period is a monitoring violation.

(2) Failure to analyze for E. coli fol- lowing a total coliform-positive rou- tine sample is a monitoring violation.

- Reporting violations. (1) Failure to submit a monitoring report or com- pleted assessment form after a system properly   conducts   monitoring   or   as-

#### 40 CFR Ch. I (7–1–17 Edition)

sessment in a timely manner is a re- porting violation.

- Failure to notify the State fol- lowing an E. coli-positive sample as re- quired by § 141.858(b)(1) in a timely manner is a reporting violation.

- Failure to submit certification of completion of State-approved start-up procedure by a seasonal system is a re- porting violation.

##### § 141.861   Reporting	and	record- keeping.

  - Reporting—(1) E. coli. (i) A system must notify the State by the end of the day when the system learns of an  E. coli MCL violation, unless the system learns of the violation after the State office is closed  and the State  does not have either an after-hours  phone  line or an alternative notification proce- dure, in which case the system must notify the State before the end of the next business day, and notify the pub- lic in accordance with subpart Q of this part.

(ii) A system must notify  the  State by the end of the day when the system is notified of an E. coli-positive routine sample, unless the system is notified of the result after the State office  is closed and the State does not have ei- ther an after-hours phone line or an al- ternative notification procedure, in which case the system must notify the State before the end of the next busi- ness day.

- A system that has violated the treatment  technique  for  coliforms  in

§ 141.859 must report the violation to the State no later than the end of the next business day after it learns of the violation, and notify the public in ac- cordance with subpart Q of this part.

- A system required to conduct an assessment   under   the   provisions   of

§ 141.859 of this part must submit the assessment report within 30 days. The system must notify the State in ac- cordance with § 141.859(c) when each scheduled corrective action is  com- pleted for corrections not completed by the time of submission of the assess- ment  form.

- A system that has failed to  com- ply with a coliform monitoring re- quirement must report the monitoring violation  to  the  State  within  10  days

#### Environmental Protection Agency	Pt. 142

after the system discovers the viola- tion, and notify the public in accord- ance with subpart Q of this part.

- A seasonal system must certify, prior to serving water to the public, that it has complied with the State-ap- proved start-up procedure.

  - Recordkeeping. (1) The system must maintain any assessment form, regardless of who conducts the assess- ment, and  documentation  of  corrective actions completed as a result of those assessments, or other available sum- mary documentation of the sanitary defects and corrective actions taken under § 141.859 for State review. This record must be maintained by the sys- tem for a period  not  less  than  five years after completion of the assess- ment or corrective action.

(2) The system must maintain a record of any repeat sample taken that meets State criteria for an extension of the 24-hour period for collecting repeat samples      as      provided      for      under

§ 141.858(a)(1) of this part.

[78 FR 10354, Feb. 13, 2013, as amended at 79

FR 10670, Feb. 26, 2014]

# PART 142—NATIONAL PRIMARY DRINKING WATER REGULATIONS IMPLEMENTATION

##### Subpart A—General Provisions

Sec.

  - Applicability.

  - Definitions.

  - Scope.

  - State and local authority.

##### Subpart C—Review of State-Issued Variances and Exemptions

  - State-issued  variances  and  exemp- tions under Section 1415(a) and Section 1416 of the Act.

  - State  consideration  of  a  variance  or exemption request.

  - Review  of  State  variances,  exemp- tions and schedules.

  - Notice to State.

  - Administrator’s rescission.

##### Subpart D—Federal Enforcement

  - Failure  by  State  to  assure  enforce- ment.

  - [Reserved]

  - Petition for public hearing.

  - Public hearing.

  - Entry and inspection of public water systems.

##### Subpart E—Variances Issued by the Ad- ministrator Under Section 1415(a) of the Act

  - Requirements for a variance.

  - Variance request.

  - Consideration of a variance request.

  - Disposition of a variance request.

  - Public    hearings    on    variances    and schedules.

  - Action after hearing.

  - Alternative treatment techniques.

##### Subpart F—Exemptions Issued by the Administrator

  - Requirements for an exemption.

  - Exemption request.

  - Consideration   of   an   exemption   re- quest.

  - Disposition of an exemption request.

  - Public  hearings  on  exemption  sched- ules.

| Subpart B—Primary Enforcement | 142.55 | Final schedule. |
| --- | --- | --- |
| Responsibility | 142.56 | Extension of date for compliance. |
|  | 142.57 | Bottled water, point-of-use, and |

  - Requirements for a determination of primary enforcement responsibility.

  - Initial determination of primary en- forcement responsibility.

  - Revision of State programs.

  - Public hearing.

  - Records kept by States.

  - Reports by States.

  - Special primacy requirements.

  - Review of State programs and proce- dures for withdrawal of approved pri- macy programs.

  - EPA review of State monitoring de- terminations.

  - EPA review of State implementation of national primary drinking water regu- lations for lead and copper.

point-of-entry  devices.

##### Subpart G—Identification of Best Tech- nology, Treatment Techniques or Other Means Generally Available

  - Variances from the maximum con- taminant	level	for	total trihalomethanes.

  - Variances from the maximum con- taminant level for fluoride.

  - Variances and exemptions from the maximum contaminant levels for organic and inorganic chemicals.

  - Variances and exemptions from the maximum contaminant level for total coliforms.

§ 142.1

  - Variances and exemptions from the requirements of part 141, subpart H—Fil- tration  and  Disinfection.

  - Variances and exemptions from the maximum contaminant levels for radio- nuclides.

##### Subpart H—Indian Tribes

142.72    Requirements for Tribal eligibility.

142.76 Request by an Indian Tribe for a de- termination of eligibility.

142.78 Procedure for processing an Indian Tribe’s    application.

##### Subpart I—Administrator’s Review of State Decisions that Implement Criteria Under Which Filtration Is Required

  - Review procedures.

  - Notice to the State.

##### Subpart J [Reserved]

Subpart K—Variances for Small System

GENERAL PROVISIONS

  - What is a small system variance?

  - Who can issue a small system vari- ance?

  - Which size public water systems can receive a small system variance?

  - For which of the regulatory require- ments is a small system variance avail- able?

  - When can a small system  variance be granted by a State?

REVIEW OF SMALL SYSTEM VARIANCE APPLICATION

  - What are the responsibilities of the public water system, State and the Ad- ministrator in ensuring that sufficient information is available and for evalua- tion of a small system variance applica- tion?

  - What terms and conditions must be included in a small system variance?

PUBLIC PARTICIPATION

  - What public notice is required before a State or the Administrator proposes to issue a small system variance?

  - What are the public meeting require- ments associated with the proposal of a small system variance?

  - How can a person served by the pub- lic water system obtain EPA review of a State proposed small system variance?

EPA REVIEW AND APPROVAL OF SMALL SYSTEM VARIANCES

  - What procedures allow for the Ad- ministrator to object to a proposed small system  variance  or  overturn  a  granted

#### 40 CFR Ch. I (7–1–17 Edition)

small  system  variance  for  a  public  water system serving 3,300 or fewer persons?

  - What EPA  action  is  necessary  when a State proposes to grant a small system variance to a public water system  serv- ing a population of more than 3,300 and fewer than 10,000 persons?

  - How will the Administrator review a State’s program under this subpart?

AUTHORITY: 42 U.S.C. 300f,  300g–1, 300g–2, 300g–3, 300g–4, 300g–5, 300g–6, 300j–4, 300j–9,

and 300j–11.

SOURCE: 41  FR 2918,  Jan. 20,  1976,  unless

otherwise noted.

# Subpart A—General Provisions

##### § 142.1   Applicability.

This part sets forth, pursuant to sec- tions 1413 through 1416, 1445, and 1450 of the Public Health  Service  Act,  as amended by  the  Safe  Drinking  Water Act, Public Law 93–523, regulations for the   implementation   and   enforcement of the national primary drinking water regulations contained  in  part  141  of this   chapter.

##### § 142.2   Definitions.

As used in this part, and except as otherwise specifically provided:

Act means the Public Health Service Act.

Administrator means the Adminis- trator of the United States Environ- mental Protection Agency or his au- thorized representative.

Agency means the United States En- vironmental Protection Agency.

Approved State primacy program con- sists of those program  elements  listed in § 142.11(a) that were submitted with the initial State application for  pri- mary enforcement authority and ap- proved by the EPA Administrator  and all State program revisions thereafter that were approved by the EPA Admin- istrator.

Contaminant means any physical, chemical, biological, or radiological substance or matter in water.

Federal agency means any depart- ment, agency,  or  instrumentality  of the United States.

Indian Tribe means any Indian Tribe having a Federally recognized gov- erning body carrying out substantial governmental duties and powers over a defined area.

Environmental Protection Agency	§ 142.2

Interstate Agency means an agency of two or more States established by or under an agreement or compact ap- proved by the Congress, or any other agency of two or more States or Indian Tribes having substantial powers or du- ties pertaining to the control of pollu- tion as determined and approved by the Administrator.

Maximum contaminant level means the maximum permissible level of a con- taminant in water which is delivered to the free flowing outlet of the ultimate user of a public water system; except in the case of turbidity where the max- imum permissible level is measured at the point of entry to the distribution system. Contaminants added to the water under circumstances controlled by the user, except for those resulting from corrosion of piping and plumbing caused by water quality are excluded from this definition.

Municipality means a city, town, or other public body created by or pursu- ant to State law, or an Indian Tribe which does not meet the requirements of subpart H of this part.

National primary drinking water regu- lation means any primary  drinking water regulation contained in part 141 of this chapter.

Person means an individual; corpora- tion; company; association; partner- ship; municipality; or State, federal, or Tribal agency.

Primary enforcement responsibility means the primary responsibility for administration and enforcement of pri- mary drinking water regulations and related requirements applicable to pub- lic water systems within a State.

Public water system or PWS means a system for the provision  to  the  public of water for human consumption through pipes or, after August 5, 1998, other constructed  conveyances,  if such system has at least fifteen service con- nections or regularly serves an average of at  least  twenty-five  individuals daily at least 60 days out of the year. Such term includes:

Any collection, treatment, storage, and distribution facilities under con- trol of the operator of such system and used primarily in connection with such system; and any collection or pretreatment storage facilities not under such control which are used pri-

marily in connection with such system. Such  term  does  not  include  any  ‘‘spe- cial  irrigation  district.’’  A  public  water system  is  either  a  ‘‘community  water system’’   or   a   ‘‘noncommunity   water system’’ as defined in § 141.2.

Sanitary survey means an onsite re- view of the water source, facilities, equipment, operation and maintenance of a public water system for the pur- pose of evaluating the adequacy of such source, facilities, equipment, operation and maintenance for producing and dis- tributing safe drinking water.

Service connection, as used in the defi- nition of public water system, does not include a connection to a system that delivers water by a constructed con- veyance other than a pipe if:

    - The water is used exclusively for purposes other than residential uses (consisting of drinking, bathing, and cooking, or other similar uses);

    - The Administrator or the State exercising primary enforcement re- sponsibility for public water systems, determines that alternative water to achieve the equivalent level of public health protection provided by the ap- plicable national primary drinking water regulation is provided for resi- dential or similar uses for drinking and cooking; or

    - The Administrator or the State exercising primary enforcement re- sponsibility for public water systems, determines that the water provided for residential or similar uses for drinking, cooking, and bathing is centrally treat- ed or treated at the point of entry by the provider, a pass-through entity, or the user to achieve the equivalent level of protection provided by the applica- ble national primary drinking water regulations.

Special irrigation district means an ir- rigation district in  existence  prior  to May 18, 1994 that provides primarily agricultural service through  a  piped water system with only incidental resi- dential or similar use  where  the  system or  the  residential  or  similar  users   of the system comply with the exclusion provisions in section 1401(4)(B)(i)(II) or (III).

State means one of the States of the United States, the District of Colum- bia, the Commonwealth of Puerto Rico, the   Virgin   Islands,   Guam,   American

#### § 142.3

Samoa, the Commonwealth of the Northern Mariana Islands, the Trust Territory of the Pacific Islands, or an eligible  Indian  tribe.

State primary drinking water regulation means a drinking water regulation of a State which is comparable to a na- tional primary drinking water regula- tion.

State program revision means a change in an approved State primacy program. Supplier  of  water  means  any  person who  owns  or  operates  a  public  water

system.

Treatment  technique  requirement means a requirement of the national primary drinking water regulations which specifies for a contaminant a specific treatment technique(s) known to the Administrator which leads to a reduction in the level of such contami- nant sufficient to comply with the re- quirements of part 141 of this chapter.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 53

FR 37410, Sept. 26, 1988; 54 FR 52137, Dec. 20,

1989; 59 FR 64344, Dec. 14, 1994; 63 FR 23367,

Apr. 28, 1998]

##### § 142.3   Scope.

      - Except where otherwise provided, this part applies to each public water system in each State; except that this part shall not apply to a public water system which meets all of the fol- lowing conditions:

        - Which consists only of distribu- tion and storage facilities (and does not have any collection and treatment facilities);

        - Which obtains all of its water from, but is not owned or operated by, a public water system to which such regulations apply;

        - Which does not sell water to any person; and

        - Which is not a carrier which con- veys passengers in interstate com- merce.

      - In order to qualify for primary en- forcement responsibility, a State’s pro- gram for  enforcement  of  primary drinking water regulations must apply to all other public water systems in the State, except for:

        - Public water systems on carriers which convey passengers in interstate commerce;

        - Public water systems on Indian land  with  respect  to  which  the  State

#### 40 CFR Ch. I (7–1–17 Edition)

does not have the necessary jurisdic- tion or its jurisdiction is in question; or

      - Section 1451 of the SDWA author- izes the Administrator to delegate pri- mary enforcement responsibility for public water systems to Indian Tribes. An Indian Tribe must meet the statu- tory criteria at 42 U.S.C. 300j–11(b)(1) before it is eligible to apply for Public Water System Supervision grants and primary enforcement responsibility. All primary enforcement responsibility requirements of parts 141 and 142 apply to Indian Tribes except where specifi- cally noted.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 53

FR 37410, Sept. 26, 1988; 59 FR 64344, Dec. 14,

1994; 67 FR 70858, Nov. 27, 2002]

##### § 142.4   State and local authority.

Nothing in this part shall diminish any authority of a State or political subdivision to adopt or enforce any law or regulation respecting drinking water regulations or public water sys- tems, but no such law or regulation shall relieve any person of any require- ments otherwise applicable under this part.

# Subpart B—Primary Enforcement Responsibility

##### § 142.10 Requirements for a determina- tion of primary enforcement re- sponsibility.

A State has primary enforcement re- sponsibility for public water systems in the State during any period for which the Administrator determines, based upon a submission made pursuant to

§ 142.11, and submission under § 142.12, that such State, pursuant to appro- priate   State   legal   authority:

- Has adopted drinking water regu- lations which are no  less  stringent than the national primary drinking water regulations (NPDWRs) in effect under part 141 of this chapter;

- Has adopted and is implementing adequate procedures for the enforce- ment of such State regulations, such procedures to include:

  - Maintenance of an inventory of public water systems.

  - A systematic program for con- ducting   sanitary   surveys   of   public

Environmental Protection Agency	§ 142.10

water systems in the State, with pri- ority given to sanitary surveys of pub- lic water systems not in compliance with State primary drinking water reg- ulations.

(3)(i) The establishment and mainte- nance of a State program for the cer- tification of laboratories conducting analytical measurements of drinking water contaminants pursuant to the requirements of the State primary drinking water regulations including the designation by the State of a lab- oratory officer, or officers, certified by the Administrator, as the official(s) re- sponsible for the State’s certification program. The requirements of this paragraph may be waived by the Ad- ministrator for any State where all an- alytical measurements required by the State’s primary drinking water regula- tions are conducted at laboratories op- erated by the State and certified by the Agency. Until such time as the Agency establishes a National quality assur- ance program for laboratory certifi- cation the State shall maintain an in- terim program for the purpose of ap- proving those laboratories from which the required analytical measurements will be acceptable.

(ii) Upon a showing by an Indian Tribe of an intergovernmental or other agreement to have all analytical tests performed by a certified laboratory, the Administrator may waive this re- quirement.

    - Assurance of the availability to the State of laboratory facilities cer- tified by the Administrator and capa- ble of performing analytical measure- ments of all contaminants specified in the State primary drinking water regu- lations. Until such time as the Agency establishes a National quality assur- ance program for laboratory certifi- cation the Administrator will approve such State laboratories on an interim basis.

    - The establishment and mainte- nance of an activity to assure that the design and construction of new or sub- stantially modified public water sys- tem facilities will be capable of compli- ance with the State primary drinking water regulations.

    - Statutory or regulatory enforce- ment authority adequate to compel compliance   with   the   State   primary

drinking  water  regulations  in  appro- priate cases, such authority to include:

- Authority to apply State primary drinking water regulations to all pub- lic water systems in the State covered by the national primary  drinking water regulations, except for interstate carrier conveyances and systems on In- dian land with respect to which the State does not have the necessary ju- risdiction or its jurisdiction is in ques- tion.

- Authority to sue in courts of competent jurisdiction to enjoin any threatened or continuing violation of the State primary drinking water regu- lations.

- Right of entry and inspection of public water systems, including the right to take water samples, whether or not the State has evidence that the system is in violation of an applicable legal requirement.

- Authority to require suppliers of water to keep appropriate records and make appropriate reports to the State.

- Authority to require public water systems to give public notice that is no less stringent than the EPA require- ments in subpart Q of part 141 of this chapter and § 142.16(a).

- Authority to assess civil or criminal penalties for violation of the State’s primary drinking water regula- tions and public notification require- ments, including the authority to as- sess daily penalties or multiple pen- alties when a violation continues;

- Authority to require community water systems to provide consumer confidence reports as required under 40 CFR part 141, subpart O.

- Has established and will maintain record keeping and reporting of its ac- tivities  under  paragraphs  (a),  (b)  and

- in    compliance    with    §§ 142.14    and 142.15;

- Variances and exemptions. (1) If it permits small system variances pursu- ant to Section 1415(e) of the Act, it must provide procedures no less strin- gent than the Act and Subpart K  of this part.

- If it permits variances (other than small system variances) or exemptions, or both, from the requirements of the State primary drinking water regula- tions, it shall do so under conditions and in a manner no less stringent than

#### § 142.11

the requirements of Sections 1415 and 1416 of the Act. In granting these variances, the State must adopt the Administrator’s findings of best avail- able technology, treatment techniques, or other means available as specified in Subpart G of this part. (States with primary enforcement responsibility may adopt procedures different from those set forth in Subparts E and F of this part, which apply to the issuance of variances (other than small system variances) and exemptions by the Ad- ministrator in States that do not have primary enforcement responsibility, provided that the State procedures meet the requirements of this para- graph); and

- Has adopted and can implement an adequate plan for the provision of safe drinking water under emergency circumstances including, but not lim- ited to, earthquakes, floods, hurri- canes, and other natural disasters.

(f)(1) Has  adopted authority  for as- sessing administrative penalties  unless the  constitution  of  the  State  prohibits the adoption  of  such  authority.  For public water systems serving a popu- lation of more than 10,000 individuals, States must have the authority to im- pose a penalty of at least $1,000 per day per violation. For public water systems serving a population of 10,000 or fewer individuals, States must have penalties that are adequate to ensure compliance with the State regulations as deter- mined  by  the  State.

(2) As long as criteria in paragraph (f)(1) of this section are met, States may establish a maximum administra- tive penalty per violation that may be assessed on a public water system.

- Has adopted regulations con- sistent with 40 CFR part 3—(Electronic reporting) if the state receives elec- tronic  documents.

- An Indian Tribe shall not be re- quired to exercise criminal enforce- ment jurisdiction to meet the require- ments for primary enforcement respon- sibility.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 43

FR 5373, Feb. 8, 1978; 52 FR 20675, June 2, 1987;

52  FR 41550,  Oct. 28,  1987;  53  FR 37410,  Sept.

26, 1988; 54 FR 15188, Apr. 17, 1989; 54 FR 52138,

Dec. 20, 1989; 63 FR 23367, Apr. 28, 1998; 63 FR

43846, Aug. 14, 1998; 63 FR 44535, Aug. 19, 1998;

65 FR 26048, May 4, 2000; 70 FR 59888, Oct. 13,

2005]

#### 40 CFR Ch. I (7–1–17 Edition)

##### § 142.11   Initial  determination  of  pri- mary enforcement responsibility.

  - A State may apply to the Admin- istrator for a determination that the State has primary enforcement respon- sibility for public water systems in the State pursuant to section 1413 of the Act. The application shall be as concise as possible and include a side-by-side comparison of the Federal require- ments and the corresponding State au- thorities, including citations to the specific statutes and administrative regulations or ordinances and, wher- ever appropriate, judicial decisions which demonstrate adequate authority to meet the requirements of § 142.10. The following information is to be in- cluded with the State application.

    - The text of the State’s primary drinking water  regulations,  with ref- erences to those State regulations that vary from comparable regulations set forth in part 141 of this chapter, and a demonstration that any different State regulation  is  at  least  as  stringent   as the comparable regulation contained in part 141.

    - A description, accompanied by ap- propriate documentation, of the State’s procedures for the enforcement of the State primary drinking water regulations. The submission shall in- clude:

      - A brief description of the State’s program to maintain a current inven- tory of public water systems.

      - A brief description of the State’s program for conducting sanitary sur- veys, including an explanation of the priorities given to various classes of public water systems.

      - A brief description of the State’s laboratory approval or certification program, including the name(s) of the responsible State laboratory officer(s) certified by the Administrator.

      - Identification of laboratory fa- cilities, available to the State,  cer- tified or approved by the Adminis- trator and capable of performing ana- lytical measurements of all contami- nants specified in the State’s primary drinking water regulations.

#### Environmental Protection Agency	§ 142.11

      - A brief description of the State’s program activity to assure that the de- sign and construction of new or sub- stantially modified public water sys- tem facilities will be capable of compli- ance with the requirements of  the State primary drinking water regula- tions.

      - Copies of State statutory and regulatory provisions authorizing the adoption and enforcement of State pri- mary drinking water regulations, and a brief description of State procedures for administrative or judicial action with respect to public water systems not in compliance with such regula- tions.

    - A statement that the State will make such reports and will keep such records as may be required pursuant to

§§ 142.14 and 142.15.

    - If the State permits variances or exemptions from its primary drinking water regulations, the text of the State’s statutory and regulatory provi- sions concerning variances and exemp- tions.

    - A brief description of the State’s plan for the provision of safe drinking water under emergency conditions.

NOTE: In satisfaction of this requirement, for public water supplies from groundwater sources, EPA will  accept  the  contingency plan for providing alternate drinking water supplies that is part of a State’s Wellhead Protection Program, where  such  program has been approved by EPA pursuant to sec- tion 1428 of the SDWA.

(6)(i)  A  copy  of  the  State  statutory and regulatory  provisions   authorizing the executive branch of the State gov- ernment to impose an administrative penalty on  all  public  water  systems, and a brief description of the State’s authority  for  administrative  penalties that  will  ensure  adequate   compliance of systems serving a  population  of 10,000 or fewer individuals.

(ii) In instances where the State con- stitution prohibits the executive branch of the State government from assessing any penalty, the State shall submit a copy of the applicable part of its constitution and a statement from its Attorney General confirming this interpretation.

(7)(i) A statement by the State Attor- ney General (or the attorney for the State  primacy  agency  if  it  has  inde-

pendent legal counsel) or the attorney representing the Indian tribe that cer- tifies that the laws and regulations adopted by the State or tribal ordi- nances to carry out  the program  were duly adopted and are enforceable. State statutes and regulations cited by the State Attorney General and tribal ordi- nances cited by the attorney rep- resenting the Indian tribe shall be  in the form of lawfully adopted State statutes and regulations or tribal ordi- nances at the time the certification is made and shall be fully effective by the time the program is approved by EPA. To qualify as ‘‘independent legal coun- sel,’’ the attorney signing the  state- ment required by this  section  shall have full authority to independently represent the State primacy agency or Indian tribe in court on all matters pertaining to the State or tribal pro- gram.

(ii) After EPA has received the docu- ments required under paragraph (a) of this section, EPA may selectively re- quire supplemental statements by the State Attorney General (or the attor- ney for the State primacy agency if  it has independent legal counsel) or the attorney representing the Indian tribe. Each supplemental statement shall ad- dress all issues concerning the ade- quacy of State authorities to meet the requirements of § 142.10 that have been identified by EPA after thorough ex- amination as unresolved by the docu- ments submitted under paragraph  (a) of this section.

(b)(1) The administrator shall act on an  application  submitted  pursuant  to

§ 142.11 within 90 days after receiving such application, and shall promptly inform the State in writing of this ac- tion. If he denies the application, his written notification to the State shall include a statement of reasons for the denial.

- A final determination by the Ad- ministrator  that  a  State  has  met  or has not met the requirements for pri- mary enforcement responsibility shall take effect in accordance  with  the  pub- lic notice requirements and related procedures under § 142.13.

- When the Administrator’s deter- mination  becomes  effective  pursuant

#### § 142.12

to  § 142.13,  it  shall  continue  in  effect unless terminated pursuant to § 142.17.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 54

FR 52138,  Dec. 20,  1989;  60  FR 33661,  June 28,

1995; 63 FR 23367, Apr. 28, 1998]

##### § 142.12   Revision of State programs.

  - General requirements. Either EPA or the primacy State  may initiate ac- tions that require the State  to  revise its approved State primacy program. To retain primary enforcement respon- sibility, States must adopt all new and revised national primary drinking water regulations promulgated in part

141  of  this  chapter  and  any  other  re- quirements specified in this part.

- Whenever a State revises its ap- proved primacy program to adopt new or revised Federal regulations, the State must submit a request to the Ad- ministrator for approval of the pro- gram revision, using the procedures de- scribed in paragraphs (b), (c), and (d) of this section. The Administrator shall approve or disapprove each State re- quest for approval of a program revi- sion based on the requirements of the Safe Drinking Water Act and of this part.

- For all  State  program  revisions not covered under § 142.12(a)(1), the re- view procedures outlined in § 142.17(a) shall   apply.

  - Timing of State requests for ap- proval of program revisions  to  adopt  new or revised Federal regulations. (1) Com- plete and final State requests for ap- proval of program  revisions  to  adopt new  or  revised  EPA  regulations   must be submitted to the Administrator not later  than  2  years   after   promulgation of the new or revised EPA regulations, unless the State requests an extension and  the   Administrator   has   approved the request pursuant to  paragraph (b)(2) of this section. If the State ex- pects  to  submit  a  final  State   request for approval of a program revision to EPA more than 2 years after promulga- tion of the new or revised EPA regula- tions, the State shall request an exten- sion of the deadline before the expira- tion of the 2-year period.

- The final date for submission of a complete and final State request for a program revision may be extended by EPA for up to a two-year period upon a written application by the State to the

#### 40 CFR Ch. I (7–1–17 Edition)

Administrator. In the extension appli- cation  the  State  must  demonstrate  it is requesting the extension because it cannot meet the original deadline for reasons  beyond  its  control  despite  a good faith effort to do so. The applica- tion  must  include  a  schedule  for  the submission of a final request by a cer- tain time and provide sufficient infor- mation to demonstrate that the State: (i)(A) Currently lacks the legislative or regulatory authority to enforce the

new or revised requirements, or

- Currently lacks the program ca- pability adequate to implement  the new or revised requirements; or

- Is requesting the extension to group two or more  program  revisions in a single legislative or regulatory ac- tion; and

(ii) Is implementing the EPA require- ments to be adopted by the State in its program revision pursuant to para- graph (b)(3) of this section within the scope of its current authority and ca- pabilities.

- To be granted an extension, the State must agree with EPA to meet certain requirements during the exten- sion period, which may include the fol- lowing types of activities as deter- mined appropriate by the Adminis- trator on a case-by-case basis:

  - Informing public water systems of the new EPA (and upcoming State) re- quirements and that EPA will be over- seeing implementation of the require- ments until the State, if eligible for in- terim primacy, submits a complete and final primacy revision request to EPA, or in all other cases, until EPA ap- proves the State program revision;

  - Collecting, storing and managing laboratory results, public notices, and other compliance and operation data required by the EPA regulations;

  - Assisting EPA in the develop- ment of the technical aspects of en- forcement actions and conducting in- formal follow-up on violations (tele- phone calls, letters, etc.);

  - Providing technical assistance to public water systems;

  - Providing EPA with all  informa- tion prescribed by § 142.15 of  this  part on  State  reporting;  and

  - For States whose request for an extension is based on a current lack of

#### Environmental Protection Agency	§ 142.12

program capability adequate to imple- ment the new requirements, taking steps agreed to by EPA and the State during the extension period to remedy the  deficiency.

  - Contents of a State request for ap- proval of a program revision. (1) The State request for EPA approval of a program revision shall be concise and must include:

- The documentation necessary (pursuant to § 142.11(a)) to update the approved State primacy program, and identification of those elements of the approved State primacy program that have not changed because of the pro- gram   revision.   The    documentation shall include a side-by-side  comparison of the Federal requirements and the corresponding State authorities, in- cluding citations to  the  specific  stat- utes and  administrative regulations  or ordinances and, wherever appropriate, judicial decisions which demonstrate adequate authority to meet the re- quirements of § 142.10 as they apply  to the  program  revision.

- Any additional materials that are listed in § 142.16 of this part for a  spe- cific  EPA  regulation,   as   appropriate; and

- For a complete and final State request only, unless one of the condi- tions listed in paragraph (c)(2) of this section are met, a statement by the State Attorney General (or the attor- ney for the State primacy agency if it has independent legal counsel) or the attorney representing the Indian tribe that certifies that the laws and regula- tions adopted by the State or tribal or- dinances to carry out the program revi- sion were duly adopted and are enforce- able. State statutes and regulations cited by the State Attorney General and tribal ordinances cited by the at- torney for the Indian tribe shall be in the form of lawfully adopted State statutes and regulations or tribal ordi- nances at the time the certification is made and shall be fully effective by the time the request for program revision is approved by EPA. To  qualify as ‘‘independent legal counsel,’’ the attor- ney signing the statement required by this section shall have full authority to independently represent the State pri- macy  agency  or  tribe  in  court  on  all

matters pertaining to the State or trib- al program.

- An Attorney General’s statement will be required as part of the State re- quest for EPA approval of a program revision unless EPA specifically waives this requirement for a specific regula- tion at the time EPA promulgates the regulation, or by later written notice from the Administrator to the State.

- After EPA has received the docu- ments required under paragraph (c)(1) of this section, EPA may selectively require supplemental statements  by the State Attorney General (or the at- torney for the  State  primacy  agency  if it has independent legal counsel) or the attorney representing the Indian tribe. Each supplemental statement shall ad- dress all issues concerning the ade- quacy of State authorities to meet the requirements of § 142.10 that have been identified by EPA after thorough ex- amination as unresolved by the docu- ments submitted under paragraph (c)(1) of this section.

  - Procedures for review of a State re- quest for approval of a program revision—

  - Preliminary request. (i) The State may submit to the Administrator for his or her review a preliminary request for approval of each program revision, containing the information listed in paragraph (c)(1) of this section, in draft form. The preliminary request does not require an Attorney General’s state- ment in draft form, but does require draft State statutory or regulatory changes and a side-by-side comparison of State authorities with EPA require- ments to demonstrate that the State program revision meets EPA require- ments under § 142.10 of this part. The preliminary request should be sub- mitted to the Administrator as soon as practicable after the promulgation of the  EPA  regulations.

- The Administrator will review the preliminary request submitted in accordance with paragraph (d)(1)(i) of this section and make a tentative de- termination on the request. The Ad- ministrator will send the tentative de- termination and other comments or suggestions to the State for its use in developing the State’s final request under paragraph (d)(2) of this section.

  - Final request. The State must sub- mit  a  complete  and  final  request  for

#### § 142.13

approval of a program revision to the Administrator for his or her review and approval. The request must contain the information listed in paragraph (c)(1) of this section in complete and final form, in accordance with any tentative determination EPA may have issued. Complete and final State requests for program revisions shall be submitted within two years of the promulgation of the new or revised EPA regulations, as specified in paragraph (b) of this sec- tion.

  - EPA’s determination on a complete and final request. (i) The Administrator shall act on a State’s request for ap- proval of a program revision within 90 days after determining that the State request is complete and final and shall promptly notify the State of his/her de- termination.

  - If the Administrator disapproves a final request for approval of a pro- gram revision, the Administrator  will notify the State in writing. Such noti- fication will include a statement of the reasons for disapproval.

  - A final determination by the Ad- ministrator on a State’s request for ap- proval of a program revision shall take effect in accordance with the public no- tice requirements and related proce- dures under § 142.13.

  - Interim primary enforcement author- ity. A State with an approved primacy program for each existing national pri- mary drinking water regulation shall be considered to have interim primary enforcement authority with respect to each new or revised national drinking water regulation that it adopts begin- ning when the new or revised State regulation becomes effective or when the complete primacy revision applica- tion is submitted to the Administrator, whichever is later, and shall end when the Administrator approves or dis- approves the State’s revised primacy program.

[54 FR 52138, Dec. 20, 1989, as amended at 63

FR 23367,  Apr. 28,  1998;  66  FR 3780,  Jan. 16,

2001]

##### § 142.13   Public hearing.

- The Administrator shall provide an opportunity for a public hearing be- fore a final determination pursuant to

§ 142.11 that the State meets or does not meet   the   requirements   for   obtaining

#### 40 CFR Ch. I (7–1–17 Edition)

primary enforcement responsibility, or a   final   determination   pursuant   to

§ 142.12(d)(3) to approve or disapprove a State request for  approval of  a program revision, or a final determination pur- suant to § 142.17 that a State no longer meets the  requirements for  primary en- forcement    responsibility.

- The Administrator shall publish notice  of  any  determination   specified in paragraph (a) of this section in the FEDERAL  REGISTER  and  in  a   newspaper or newspapers of general circulation in the State involved within 15 days after making such determination, with a statement of his reasons for the deter- mination. Such notice shall inform in- terested persons  that  they  may  request a public hearing on  the  Administra- tor’s determination. Such notice  shall also indicate one or more locations  in the State where information submitted by the State pursuant to § 142.11 is available for inspection by the general public. A public hearing may be re- quested by any interested person other than a Federal agency. Frivolous or in- substantial  requests  for  hearing  may be  denied  by  the  Administrator.

- Requests for hearing submitted pursuant to paragraph (b) of this sec- tion shall be submitted to the Adminis- trator within 30 days after publication of notice of opportunity for hearing in the FEDERAL REGISTER. Such requests shall include the following informa- tion:

  - The name, address and telephone number of the individual, organization or other entity requesting a hearing.

  - A brief statement of the request- ing person’s interest in the Adminis- trator’s determination and of informa- tion that the requesting person intends to submit at such hearing.

  - The signature of the individual making the request; or, if the request is made on behalf of an organization or other entity, the signature of a respon- sible official of the organization or other entity.

- The Administrator shall give no- tice in the FEDERAL REGISTER and in a newspaper or newspapers of general cir- culation in the State involved of any hearing to be held pursuant to a re- quest submitted by an interested per- son or on his own motion. Notice of the hearing shall also be sent to the person

#### Environmental Protection Agency	§ 142.14

requesting a hearing, if any, and to the State involved. Notice of the hearing shall include a statement of the pur- pose of the hearing, information re- garding the time and location or loca- tions for the hearing and the address and telephone number of an office at which interested persons may obtain further information concerning the hearing. At least one hearing location specified in the public notice shall be within the involved State. Notice of hearing shall be given not less than 15 days prior to the time scheduled  for the  hearing.

- Hearings convened pursuant to paragraph (d) of this section shall be conducted before a hearing officer to be designated by the Administrator. The hearing shall be conducted by the hear- ing officer in an informal, orderly and expeditious manner. The hearing offi- cer shall have authority to call wit- nesses, receive oral and written testi- mony and take such other action as may be necessary to assure the fair and efficient conduct of the hearing. Fol- lowing the conclusion of the hearing, the hearing officer shall forward the record of the hearing to the Adminis- trator.

- After reviewing the record of the hearing, the Administrator shall issue an order affirming the determination referred to in paragraph (a) of this sec- tion or rescinding such determination. If the determination is  affirmed,  it shall become effective as of the date of the Administrator’s order.

- If no timely request for hearing is received and  the  Administrator  does not determine to hold a hearing on his own motion, the Administrator’s deter- mination shall become effective 30 days after notice is issued pursuant to para- graph (b) of this section.

- If a determination of the Admin- istrator that a State no longer  meets the requirements for primary enforce- ment responsibility becomes effective, the State may subsequently apply for a determination that it meets such re- quirements by submitting to the Ad- ministrator information demonstrating that it has remedied the deficiencies found by the Administrator without adversely  sacrificing  other  aspects  of

its program required for primary en- forcement responsibility.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 54

FR 52140,  Dec. 20,  1989;  60  FR 33661,  June 28,

1995]

##### § 142.14   Records kept by States.

- Each State which has primary en- forcement responsibility shall main- tain records of tests, measurements, analyses, decisions, and determinations performed on each public water system to determine compliance with applica- ble provisions of State primary drink- ing water regulations.

  - Records of microbiological anal- yses shall be retained for not less than

1 year. Actual laboratory reports  may be kept or data  may be  transferred to tabular summaries, provided that the information retained includes:

- The analytical method used;

- The number of samples analyzed each month;

- The analytical results, set  forth in a form that makes possible compari- son with the limits specified in §§ 141.63, 141.71, and 141.72 of this chapter and with the limits specified  in  subpart  Y of this chapter.

  - Records of microbiological anal- yses of repeat or special samples shall be retained for not less than one year in the form of actual laboratory re- ports or in an appropriate summary form.

  - Records of turbidity measure- ments must be kept for not less  than one year. The information retained must be set forth in a  form  which makes possible comparison with the limits specified in §§ 141.71, 141.73, 141.173 and 141.175, 141.550–141.553 and 141.560–141.564 of this chapter. Until June 29, 1993, for any public water sys- tem which is providing filtration treat- ment and until December 30, 1991, for any public water system not providing filtration treatment and not required by the State to provide filtration treat- ment, records kept must be set forth in a form which makes possible compari- son with the limits contained in § 141.13 of this chapter.

(4)(i) Records of disinfectant residual measurements and other parameters necessary to document disinfection ef- fectiveness in accordance with §§ 141.72

#### § 142.14

and 141.74 of this chapter and the re- porting requirements of §§ 141.75, 141.175, and 141.570, of this chapter must be kept for not less than one year.

  - Records of decisions made on a system-by-system and case-by-case basis under provisions of part 141, sub- part H, subpart P, or subpart T of this chapter, must be made in writing and kept by the State.

    - Records of decisions made under the following provisions shall be kept for 40 years (or until one year after the decision is reversed or revised) and a copy of the decision must be provided to the system:

      - Section 141.73(a)(1)—Any decision to allow a public water system using conventional filtration treatment or direct filtration to substitute a tur- bidity limit greater than 0.5 NTU;

      - Section 141.73(b)(1)—Any decision to allow a  public  water  system  using slow sand filtration to substitute a tur- bidity  limit  greater  than  1  NTU;

      - Section 141.74(b)(2)—Any decision to allow an unfiltered public water sys- tem to use continuous turbidity moni- toring;

      - Section 141.74(b)(6)(i)—Any deci- sion to allow an unfiltered public water system to sample residual disinfectant concentration at alternate locations if it also has ground water source(s);

      - Section 141.74(c)(1)—Any decision to allow a public water system using filtration treatment to use continuous turbidity monitoring; or a public water system using slow sand filtration or fil- tration treatment other than conven- tional treatment, direct filtration or diatomaceous  earth  filtration  to  re- duce turbidity sampling  to  once  per day; or for systems  serving  500  people or fewer to reduce  turbidity  sampling to once per day;

      - Section 141.74(c)(3)(i)—Any deci- sion to allow a filtered public water system to sample disinfectant residual concentration at alternate locations if it also has ground water source(s);

      - Section 141.75(a)(2)(ix)—Any deci- sion to allow reduced reporting by an unfiltered public water system;

      - Section 141.75(b)(2)(iv)—Any deci- sion to allow reduced reporting by a fil- tered public water system; and

      - Section 141.76—Any decisions made  to  approve  alternate  recycle  lo-

#### 40 CFR Ch. I (7–1–17 Edition)

cations, require modifications to recy- cle return locations, or require modi- fications to recycle practices.

    - Records of decisions made under the following provisions shall be kept for one year after the decision is made:

      - Section 141.71(b)(1)(i)—Any deci- sion that a violation of monthly CT compliance requirements  was  caused by circumstances that  were  unusual and unpredictable.

      - Section 141.71(b)(1)(iv)—Any deci- sion that a violation of the disinfection effectiveness criteria was not caused by a deficiency in treatment of the source water;

      - Section 141.71(b)(5)—Any decision that a violation of the total coliform MCL was not caused by a deficiency in treatment of the source water;

      - Section 141.74(b)(1)—Any decision that total coliform monitoring other- wise required because the turbidity of the source water exceeds 1 NTU is not feasible, except that if such decision al- lows a system to avoid  monitoring without  receiving  State  approval  in each instance, records of  the  decision shall be kept until one year after the decision is rescinded or revised.

    - Records of decisions made under the following provisions shall be kept for the specified period or 40 years, whichever is less.

      - Section 141.71(a)(2)(i)—Any deci- sion that an event in which the source water turbidity which exceeded 5 NTU for an unfiltered public water system was unusual and unpredictable shall be kept for 10 years.

      - Section 141.71(b)(1)(iii)—Any deci- sion by the State that failure  to  meet the disinfectant residual concentration requirements of § 141.72(a)(3)(i) was caused by circumstances that were un- usual and unpredictable, shall be kept unless filtration is installed. A copy  of the decision must be provided to the system.

      - Section 141.71(b)(2)—Any decision that a public water system’s watershed control program meets the require- ments of this  section  shall  be  kept until the next decision is available and filed.

      - Section 141.70(c)—Any decision that an individual is a qualified oper- ator for a public water system using a surface water source or a ground water

#### Environmental Protection Agency	§ 142.14

source under the direct influence of surface water shall be maintained until the qualification is withdrawn. The State may keep this information in the form of a list which is updated periodi- cally. If such qualified operators are classified by category, the decision shall include that classification.

      - Section 141.71(b)(3)—Any decision that a party other than the State is ap- proved by the State to conduct on-site inspections shall be maintained until withdrawn. The State may keep this information in the form of a list which is updated periodically.

      - Section 141.71(b)(4)—Any decision that an unfiltered public  water system has been identified as the source of a waterborne disease outbreak, and, if applicable, that it has been modified sufficiently to prevent another such oc- currence shall be kept until filtration treatment is installed. A copy of the decision must be provided to the sys- tem.

      - Section 141.72—Any decision that certain interim disinfection require- ments are necessary for an unfiltered public water system for which  the State has determined that filtration is necessary, and a list of those require- ments, shall be kept until filtration treatment is installed. A copy of the requirements must be provided to the system.

      - Section 141.72(a)(2)(ii)—Any  deci- sion that automatic shut-off of deliv- ery of water to the distribution system of an unfiltered public water system would cause an unreasonable risk to health or interfere with fire protection shall be kept until rescinded.

      - Section 141.72(a)(4)(ii)—Any  deci- sion by the State, based on site-specific considerations, that an  unfiltered  sys- tem has no means for having a sample transported and analyzed for HPC by a certified laboratory under the requisite time and temperature conditions speci- fied by § 141.74(a)(3) and that the sys- tem is providing adequate  disinfection in the distribution system, so that the disinfection   requirements   contained   in

§ 141.72(a)(4)(i) do not apply, and the basis for the  decision,  shall  be  kept until the decision is reversed  or  re- vised. A copy of the decision must be provided  to  the  system.

      - Section 141.72(b)(3)(ii)—Any deci- sion by the State, based on site-specific conditions,  that  a  filtered  system   has no means for having a sample trans- ported and analyzed for HPC by a cer- tified  laboratory  under  the  requisite time and temperature conditions speci- fied by § 141.74(a)(3) and that the sys- tem is providing adequate  disinfection in the distribution system, so that the disinfection   requirements   contained   in

§ 141.72(b)(3)(i) do not apply, and the basis for the  decision,  shall  be  kept until the decision is reversed  or  re- vised. A copy of the decision must be provided  to  the  system.

      - Section 141.73(d)—Any decision that a public water system, having demonstrated to the State that an al- ternative filtration technology, in combination with disinfection treat- ment, consistently achieves 99.9 per- cent removal and/or inactivation of Giardia lamblia cysts and 99.99 percent removal and/or inactivation of viruses, may use such alternative filtration technology, shall be kept until the de- cision is reversed or revised. A copy of the decision must be provided to the system.

      - Section 141.74(b), table 3.1—Any decision that a system using either preformed chloramines or chloramines formed by the addition of  ammonia prior to the addition of chlorine has demonstrated that 99.99 percent re- moval and/or inactivation  of  viruses has been achieved at particular CT val- ues, and a list of those values, shall be kept until the decision is reversed or revised. A copy of the list of required values must be provided to the system.

      - Section 141.74(b)(3)(v)—Any deci- sion that a system using a disinfectant other than chlorine may use CT99.9  val- ues other than those in tables 2.1 or 3.1 and/or other operational parameters to determine if the minimum total inac- tivation rates required by § 141.72(a)(1) are being met, and  what  those  values or parameters are, shall be kept  until the decision is reversed or revised. A copy of the list of required values or parameters must be provided to the system.

(14) Section 142.16(b)(2)(i)(B)—Any de- cision that a system using a ground water source is under the direct influ- ence of surface water.

#### § 142.14

  - Records of any determination that a public water system supplied by a surface water source or a  ground water source under the direct influence of surface water is not required to pro- vide filtration treatment shall be kept for 40 years or until withdrawn, which- ever is earlier. A copy of the deter- mination must be provided to the sys- tem.

        - Records of each of the following decisions made pursuant to the total coliform provisions of part 141 shall be made in writing and retained by the State.

          - Records of the following decisions must be retained for 5 years.

- Section 141.21(b)(1)—Any decision to waive the 24-hour time limit for col- lecting repeat samples after a total coliform-positive routine sample if the public water system has a logistical problem in collecting the repeat sam- ple that is beyond the system’s control, and what alternative time limit the system must meet.

- Section 141.21(b)(5)—Any decision to allow a system to waive the require- ment for five  routine  samples  the month following a  total  coliform-posi- tive sample. If the waiver  decision  is made as provided in § 141.21(b)(5), the record of the decision must contain  all the  items  listed  in  that  paragraph.

- Section 141.21(c)—Any decision to invalidate a total  coliform-positive sample. If the decision to invalidate a total coliform-positive sample as pro- vided in § 141.21(c)(1)(iii) is made, the record of the decision must contain  all the  items  listed  in  that  paragraph.

          - Records of each of the following decisions must be retained in such a manner so that each system’s current status may be determined.

            - Section 141.21(a)(2)—Any decision to reduce  the  total  coliform  moni- toring  frequency  for  a   community water system serving 1,000 persons or fewer, that has no history of total coli- form contamination in its current con- figuration and had a sanitary survey conducted within the past five years showing that the system is supplied solely by  a protected groundwater source and is free  of  sanitary  defects, to less than once per month, as pro- vided in § 141.21(a)(2); and what the re- duced  monitoring  frequency  is.  A  copy

#### 40 CFR Ch. I (7–1–17 Edition)

of the reduced monitoring frequency must be provided to the system.

            - Section 141.21(a)(3)(i)—Any deci- sion to reduce the total coliform moni- toring frequency for a non-community water system using only ground water and serving 1,000 persons or fewer to less than once per  quarter,  as  provided in § 141.21(a)(3)(i), and what the reduced monitoring frequency is. A copy of the reduced monitoring frequency must be provided  to  the  system.

            - Section 141.21(a)(3)(ii)—Any deci- sion to reduce the total coliform moni- toring frequency for a non-community water system using only ground water and serving more than 1,000 persons during any month the system serves 1,000 persons or fewer, as provided in

§ 141.21(a)(3)(ii). A copy of the reduced monitoring frequency must be  provided to  the  system.

            - Section 141.21(a)(5)—Any decision to waive the 24-hour limit for taking a total  coliform  sample  for  a  public water system which uses  surface  water, or ground water under the direct influ- ence of surface water, and which does not  practice  filtration  in  accordance with part 141, subpart H, and which measures a source water turbidity level exceeding 1 NTU near the first service connection as provided in § 141.21(a)(5).

            - Section 141.21(d)(1)—Any decision that a non-community water system is using only protected and disinfected ground water and therefore may reduce the frequency of its sanitary survey to less than once every five years, as pro- vided in § 141.21(d), and what that fre- quency is. A copy of the reduced fre- quency must be  provided  to  the  sys- tem.

            - Section 141.21(d)(2)—A list of agents other than the State, if any, ap- proved by the State to conduct sani- tary  surveys.

            - Section 141.21(e)(2)—Any decision to allow a public water system to forgo fecal coliform or E.  coli  testing  on  a total coliform-positive sample if that system assumes that the total coli- form-positive sample is fecal coliform- positive or E. coli- positive,  as  provided in § 141.21(e)(2).

        - Records of analysis for other than microbiological contaminants (includ- ing total coliform, fecal coliform, and heterotrophic   plate   count),   residual

#### Environmental Protection Agency	§ 142.14

disinfectant concentration, other pa- rameters necessary to determine dis- infection effectiveness (including tem- perature and pH measurements), and turbidity shall be retained for not less than 12 years and shall include at least the following information:

          - Date and place of sampling.

          - Date and results of analyses.

        - Any decisions made pursuant to the provisions of part 141, subpart P or subpart T of this chapter.

          - Records of systems consulting with the State concerning a modifica- tion   to   disinfection   practice   under

§§ 141.170(d),    141.172(c),    and    141.542    of

this chapter, including the status of the consultation.

          - Records of decisions that a sys- tem using alternative filtration tech- nologies, as allowed under §§ 141.173(b) and § 141.552 of this chapter, can con- sistently achieve a 99.9  percent re- moval and/or inactivation of Giardia lamblia cysts, 99.99 percent removal and/or inactivation of viruses, and 99 percent removal of Cryptosporidium oocysts. The decisions must include State-set  enforceable   turbidity   limits for each system. A copy of the decision must be kept until the decision is re- versed or revised. The State must pro- vide a copy of the decision to the  sys- tem.

          - Records  of  systems  required  to do filter self-assessment, CPE, or CCP under the requirements of §§ 141.175 and

141.563 of this chapter.

        - Any decisions  made  pursuant  to the provisions of 40 CFR part 141, sub- parts U and V of this part.

          - IDSE monitoring plans, plus any modifications required by the State, must be kept until replaced by ap- proved IDSE reports.

          - IDSE reports and 40/30 certifi- cations, plus any modifications re- quired by the State, must be kept until replaced or revised in their entirety.

          - Operational evaluations sub- mitted by a system must be kept for 10 years following submission.

        - Any decisions made pursuant to the provisions of part 141, subpart W of this  chapter.

          - Results of source water E. coli  and

Cryptosporidium monitoring.

          - The bin classification after the initial  and  after  the  second  round  of

source water monitoring for each  fil- tered system, as described in § 141.710 of this   chapter.

          - Any change in treatment re- quirements for  filtered systems  due to watershed assessment during sanitary surveys, as described in § 141.711(d) of this  chapter.

          - The determination of  whether the mean Cryptosporidium level is greater than 0.01 oocysts/L after the initial and after the second round of source water monitoring for each unfiltered    system,    as    described    in

§ 141.712(a) of this chapter.

          - The treatment processes or con- trol measures that systems use to meet their Cryptosporidium treatment re- quirements under § 141.711 or § 141.712 of this   chapter.

          - A list of systems required to cover or treat the effluent of an uncov- ered finished water storage facility, as specified in § 141.714 of this chapter.

        - Records of each of the following decisions made pursuant to the provi- sions of subpart Y of part 141 must be made in writing and retained by the State.

- Records of the following decisions or activities must be retained for five years.

(A)  Sections  141.858(a),  141.853(c)(2),

141.856(c), and 141.857(c) of this chap- ter—Any case-by-case decision  to waive the 24-hour time limit for col- lecting repeat samples after a total coliform-positive routine sample, or to extend the 24-hour limit  for  collection of samples  following  invalidation,  or for an unfiltered subpart H system of this part to collect a total coliform sample following a turbidity measure- ment exceeding 1 NTU.

(B) Sections 141.854(j) and 141.855(f) of this chapter—Any decision to allow a system to waive the requirement for three routine samples the month fol- lowing a total  coliform-positive sam- ple. The record of the waiver decision must contain all the items  listed  in those  sections.

- Section 141.853(c) of this chapter— Any decision to invalidate a total coli- form-positive sample. If the decision to invalidate a  total  coliform-positive sample as provided in § 141.853(c)(1) of this  chapter  is  made,  the  record  of  the

#### § 142.14

decision  must  contain  all  the  items listed in that section.

- Section 141.859 of this chapter— Completed and approved subpart Y as- sessments, including reports from the system that corrective action has been completed as required by § 141.861(a)(2) of this chapter.

- Records of each of the following decisions must be retained in such a manner so that each system’s current status may be determined:

  - Section 141.854(e) of this chap- ter—Any decision to reduce the total coliform monitoring frequency for a non-community  water  system   using only ground water and serving 1,000 or fewer people to less than once per quar- ter, as provided in § 141.854(e) of this chapter, including what the reduced monitoring frequency is. A copy of the reduced monitoring frequency must be provided  to  the  system.

  - Section 141.855(d) of this chap- ter—Any decision to reduce the total coliform monitoring frequency for a community water system serving 1,000 or fewer people to less than once per month, as provided in § 141.855(d) of this chapter, including what the reduced monitoring frequency is. A copy of the reduced monitoring frequency must be provided to the system.

  - Section 141.857(d) of this chap- ter—Any decision to reduce the total coliform monitoring frequency for a non-community  water  system   using only ground water and  serving  more than 1,000 persons during any month the system serves 1,000 or fewer people, as provided in § 141.857(d) of this chap- ter. A copy of the reduced monitoring frequency must be provided to the sys- tem.

  - Section 141.858(b)(2) of this chap- ter—Any decision to allow a system to forgo E. coli testing of a total coliform- positive sample if that system assumes that the total coliform-positive sample is E. coli-positive.

- Records required to be kept pur- suant to paragraph (a) of this section must be in a form admissible as evi- dence in State enforcement pro- ceedings.

- Each State which has primary en- forcement responsibility shall main- tain current inventory information for every public water system in the State

#### 40 CFR Ch. I (7–1–17 Edition)

and shall retain inventory records of public water systems for not less than 12 years.

- Each State which has primary en- forcement responsibility shall  retain, for not less than 12 years, files which shall include for each such public water system in the State:

  - Reports of sanitary surveys;

  - Records of any State approvals;

  - Records of any enforcement ac- tions.

  - A record of the most recent vul- nerability determination, including the monitoring results and other data sup- porting the determination, the State’s findings based on the supporting data and any additional bases for such de- termination; except that it shall be kept in perpetuity or until a more cur- rent vulnerability determination has been issued.

  - A record of all current monitoring requirements and the most recent mon- itoring  frequency  decision  pertaining to each contaminant, including the monitoring results and other data sup- porting the decision, the State’s find- ings based on the supporting data and any additional bases for such decision; except that the record shall be kept in perpetuity or until a more recent mon- itoring frequency decision has been issued.

  - A record of the most recent asbes- tos repeat monitoring determination, including the monitoring results and other data supporting the determina- tion, the State’s findings based on the supporting data and any additional bases for the determination and the re- peat monitoring frequency; except that these records shall be maintained in perpetuity or until a more current re- peat monitoring determination has been issued.

  - Records of annual certifications received from systems pursuant to part 141, subpart K demonstrating the sys- tem’s compliance with the treatment techniques for acrylamide and/or epichlorohydrin in § 14.111.

  - Records of the currently applica- ble or most recent State determina- tions, including all supporting informa- tion and an explanation of the tech- nical basis for each decision, made under  the  following  provisions  of  40

#### Environmental Protection Agency	§ 142.14

CFR, part 141, subpart I for the control of lead and copper:

    - Section 141.81(b)—for any water system  deemed  to  be  optimized  under

§ 141.81(b)(1) or (b)(3) of this chapter, any conditions imposed by the State on specific water systems to ensure the continued  operation  and  maintenance of  corrosion  control  treatment   in place;

    - Section 141.82(b)—decisions to re- quire a water system to conduct corro- sion control treatment studies;

    - Section 141.82(d)—designations of optimal corrosion  control treatment;

    - Section 141.82(f)—designations of optimal water quality parameters;

    - Section 141.82(h)—decisions to modify a public water system’s optimal corrosion control treatment or water quality parameters;

    - Section 141.83(b)(2)—determina- tions of source water treatment;

    - Section 141.83(b)(4)—designa- tions of maximum permissible con- centrations of lead  and  copper  in source water;

    - Section 141.84(e)—determina- tions establishing shorter  lead  service line service line replacement schedules under § 141.84;

    - Sections	141.81(b)(3)(iii), 141.86(d)(4)(vii), and 141.86(g)(4)(iii)—de- terminations of additional monitoring requirements and/or other actions re- quired to maintain optimal corrosion control by systems monitoring for lead and copper at the tap less frequently than once every six  months  that change treatment or add a new source of water;

    - Section 141.85—system-specific de- cisions regarding the content of writ- ten public education materials and/or the distribution of these materials;

    - Section 141.86(b)(5)—system-spe- cific determinations regarding use of non-first-draw  samples  at  non-tran- sient  non-community  water  systems, and community water systems meeting the criteria of § 141.85(b)(7)(i) and (ii) of this chapter,  that  operate  24  hours  a day;

    - Section 141.86(c)—system-spe- cific designations of sampling locations for systems subject to reduced moni- toring;

    - Section 141.86(d)(iv)(A)—sys- tem-specific  determinations  pertaining

to alternative sample collection peri- ods for systems subject to reduced monitoring;

    - Section 141.86(g)—determina- tions of small system monitoring waiv- ers, waiver recertifications, and waiver revocations;

    - Section 141.87(c)(3)—determina- tions regarding representative entry point locations at ground water sys- tems;

    - Section 141.90(e)(4)—system-spe- cific determinations regarding the sub- mission of information to demonstrate compliance with partial  lead  service line replacement requirements; and

    - Section 141.90(f)—system-spe- cific decisions regarding the resubmis- sion of detailed documentation dem- onstrating completion of public edu- cation  requirements.

  - Records of reports and any other information  submitted  by  PWSs  under

§ 141.90 of this  chapter,  including records of any 90th percentile values calculated by the State under § 141.90(h) of  this  chapter.

  - Records of State activities, and the results thereof, to:

- Verify compliance with State de- terminations issued under §§ 141.82(f) of this chapter, 141.82(h) of this chapter, 141.83(b)(2) of this chapter, and 141.83(b)(4) of this chapter;

- Verify compliance with the re- quirements related to partial lead  serv- ice line replacement under § 141.84(d) of this chapter and compliance with lead service  line  replacement   schedules under § 141.84(e) of this chapter; and

- Invalidate tap water lead and copper samples under § 141.86(f) of this chapter.

  - Records of each system’s cur- rently applicable or most recently des- ignated monitoring requirements.  If, for the records identified in paragraphs (d)(8)(i) through (d)(8)(xvii) of this sec- tion, no change is made to State deter- minations during a 12-year retention period, the State  shall  retain  the record until a new decision, determina- tion, or designation has been issued.

  - Records of the currently applica- ble or most recent State determina- tions, including all supporting informa- tion and an explanation of the tech- nical basis for each decision, made under  the  following  provisions  of  40

#### § 142.14

CFR part 141, subpart L for the control of disinfectants and disinfection by- products. These records must also in- clude interim measures toward instal- lation.

    - States must keep records of sys- tems that are installing GAC or mem- brane  technology  in  accordance  with

§ 141.64(b)(2) of this chapter. These records must include the date by which the system is required to have com- pleted   installation.

    - States must keep records of sys- tems that are required, by the State, to meet alternative minimum TOC re- moval requirements or for whom the State has determined that the source water is not amenable to enhanced co- agulation        in        accordance        with

§ 141.135(b)(3) and (4) of this chapter, re- spectively. These records must include the alternative limits and rationale for establishing  the  alternative  limits.

    - States must keep records of sub- part H systems using conventional treatment meeting any of the alter- native       compliance       criteria       in

§ 141.135(a)(2) or (3) of this chapter.

    - States must keep a register of qualified operators that have met the State   requirements   developed   under

§ 142.16(h)(2).

  - Records of systems with multiple wells considered to be one  treatment plant in accordance with  § 141.132(a)(2) of this chapter and § 142.16(h)(5).

  - Monitoring plans for subpart H systems serving more than 3,300 per- sons in accordance with § 141.132(f) of this   chapter.

  - List of laboratories approved for analyses in accordance with § 141.131(b) of this chapter.

  - List of systems required to mon- itor for disinfectants and disinfection byproducts in accordance with part 141, subpart L of this  chapter.  The  list must indicate what disinfectants and DBPs, other than chlorine, TTHM, and HAA5, if any, are measured.

  - Records of the currently applica- ble or most recent State determina- tion, including all supporting informa- tion and an explanation of the tech- nical basis of each decision, made under the following provisions of 40 CFR part 141, subpart S and 40 CFR part 142.

#### 40 CFR Ch. I (7–1–17 Edition)

- Section 142.16(o)(2)(v). Records of written notices of significant defi- ciencies.

- Section 141.403(a)(5)(ii) of this chapter. Records of corrective action plans, schedule approvals, and State- specified interim measures.

- Section 142.16(o)(4). Records of confirmations under § 141.403(a) of this chapter that a  significant  deficiency has been corrected or the fecal con- tamination in the ground water source has been addressed.

- Section 141.402(a)(5) of this chap- ter. Records of State determinations and records of ground water system’s documentation for not conducting trig- gered source water monitoring.

- Section 141.402(d) of this chapter. Records of invalidations of fecal indi- cator-positive ground water source samples.

- Section 141.402(a)(2)(ii) of this chapter. Records of State approvals of source water monitoring plans.

- Section 142.16(o)(4)(ii). Records of notices of the minimum residual dis- infection concentration  (when using chemical disinfection) needed  to achieve at least 4-log virus inactiva- tion before or at the first customer.

- Sections 142.16(o)(4)(iv) and 142.16(o)(4)(v) Records of notices of the State-specified monitoring and compli- ance requirements (when using mem- brane filtration or alternative treat- ment) needed to achieve at least 4-log treatment of viruses (using inactiva- tion, removal, or a State-approved combination of 4-log inactivation and removal) before or at the first cus- tomer.

- Sections 141.403(b)(1) and 141.403(b)(2) of this chapter. Records of written notices from the ground water system that  it provides  at  least  4-log treatment  of  viruses  (using  inactiva- tion, removal, or a State-approved combination of 4-log virus inactivation and removal) before or at the first cus- tomer for a ground water source.

- Section 142.16(o)(4)(vi). Records of written determinations that the ground water system may discontinue 4-log treatment of viruses (using inac- tivation, removal, or a State-approved combination of 4-log inactivation and removal).

#### Environmental Protection Agency	§ 142.15

- Each State which has primary en- forcement responsibility shall retain records pertaining to each variance and exemption granted by it for a period of not less than 5 years following the ex- piration of such variance or exemption.

- Public notification records under subpart Q of part 141 of this chapter re- ceived from public water systems (in- cluding  certifications  of  compliance and copies of public notices) and any state determinations establishing al- ternative public notification require- ments for the water systems must be retained for three years.

- Records required to be kept under this section shall be available to the Regional Administrator upon request. The records required to be kept under this section shall be maintained and made available for public inspection by the State, or, the State at its option may require suppliers of water to make available for public inspection those records maintained in accordance with

§ 141.33.

[41 FR 2918, Jan. 20, 1976]

EDITORIAL NOTE: For FEDERAL REGISTER ci-

tations affecting § 142.14, see the List of CFR Sections Affected, which appears in  the Finding Aids  section of  the printed volume

##### § 142.15   Reports by States.

Each State which has primary en- forcement responsibility shall submit to the Administrator the following in- formation:

- Each State which has primary en- forcement responsibility shall submit quarterly reports to the Administrator on a schedule and in a format pre- scribed by the Administrator, con- sisting of the following information:

  - New violations by public water systems in the State during the pre- vious quarter of State regulations adopted to incorporate the require- ments of national primary drinking water regulations, including violations of the public notification requirements under subpart Q of part 141 of this chapter;

  - New enforcement actions taken by the State during the previous quarter against public water systems with re- spect to State regulations adopted to incorporate   the   requirements   of   na-

tional primary drinking water regula- tions;

  - Notification of any new variance or exemption granted during the pre- vious quarter. The notice shall include a statement of reasons for the granting of the variance or exemption, including documentation of the need for the vari- ance or exemption and the finding that the granting of the variance or exemp- tion will not result in an unreasonable risk to health. The State may use a single notification statement to report two or more similar variances or ex- emptions.

- Each State which has primary en- forcement responsibility shall submit annual reports to the Administrator on a schedule and in a format prescribed by the Administrator, consisting of the following information:

  - All additions or corrections to the State’s inventory of public water sys- tems;

  - A summary of the status of each variance and exemption currently in effect.

- Special reports—(1) Surface Water Treatment Rule. (i)(A) A list identifying the name, PWS identification number and date of the determination for each public water system supplied by a sur- face water  source  or a  ground  water source under the direct influence of surface water, which the State has de- termined is not required to provide fil- tration  treatment.

(B) A list  identifying  the  name  and PWS identification number of  each public water system supplied by a sur- face water source  or  ground  water source under the direct influence of surface water, which the State has de- termined, based on an evaluation of site-specific  considerations,  has  no means of having a sample transported and analyzed for HPC by a certified laboratory  under  the   requisite   time and   temperature   conditions   specified in § 141.74(a)(3) and is providing ade- quate disinfection in the distribution system, regardless of whether the sys- tem is in compliance  with  the  criteria of § 141.72 (a)(4)(i) or (b)(3)(i) of this chapter, as allowed by § 141.72 (a)(4)(ii) and (b)(3)(ii). The list must include the effective  date  of  each  determination.

#### § 142.15

(ii) Notification within 60 days of the end of the calendar quarter of any de- termination that a public water system using a surface water source or a ground water source under the direct influence of surface water is not re- quired to provide filtration treatment. The notification must include a state- ment describing the system’s compli- ance with each requirement of the State’s     regulations     that     implement

§ 141.71 and a summary of comments, if any, received from the public on the determination. A  single  notification may be used to report two or more such  determinations.

- Total coliforms. A list of public water systems which the State is al- lowing to monitor less frequently than once per month for community water systems or less frequently than once per quarter for non-community water systems as provided in § 141.21(a), in- cluding the effective date of the  re- duced monitoring requirement for each system.

- Total coliforms under subpart Y.  A list of systems that the State  is  allow- ing  to  monitor  less   frequently   than once per month for community water systems or  less  frequently  than  once per quarter for non-community water systems as provided in §§ 141.855 and 141.854 of this chapter, including the applicable date of the reduced moni- toring  requirement  for  each  system.

- States shall report quarterly, in a format and on a schedule prescribed by the Administrator, the following infor- mation related to each system’s com- pliance with the treatment techniques for lead and copper under 40 CFR part 141, subpart I during the preceding cal- endar  quarter.  Specifically,   States shall report as follows:

  - For any reports provided prior to May 15, 2000, States shall report the name and PWS identification number:

- Each public water system which exceeded the lead and copper action levels and the date upon which the ex- ceedance occurred;

- Each public water system re- quired to complete the corrosion con- trol evaluation specified in § 141.82(c) and the date the State received the re- sults of the evaluations from each sys- tem;

#### 40 CFR Ch. I (7–1–17 Edition)

- Each public water system for which the State has designated optimal corrosion     control     treatment     under

§ 141.82(d), the date of the determina- tion, and each system that completed installation of treatment  as  certified under § 141.90(c)(3);

- Each public water system for which the State has designated optimal water      quality      parameters      under

§ 141.82(f) and the date of the deter- mination;

- Each public water system which the State has required to install source water treatment under § 141.83(b)(2), the date of the determination, and each system that completed installation of treatment	as	certified	under

§ 141.90(d)(2);

- Each public water system  for which  the  State  has  specified  max- imum permissible source  water  levels under § 141.83(b)(4); and

- Each public water system re- quired to begin replacing lead service lines as specified in § 141.84, each public water system for which the State has established a replacement  schedule under § 141.84(f), and each system re- porting compliance  with  its  replace- ment schedule under § 141.90(e)(2).

  - For any reports provided after May 14, 2000 and before January 14, 2002, States may report in accordance with either paragraph (c)(4)(i) or (c)(4)(iii) of this section.

  - For all reports submitted on or after January 14, 2002, States shall re- port the PWS identification number of each public water system identified in paragraphs (c)(4)(iii)(A) through (F) of this  section.

    - For each  large  and  medium-size public water system, all 90th percentile lead levels calculated during each mon- itoring period  specified  in  § 141.86  of this chapter, and the  first  and  last  day of the monitoring period for which the 90th percentile lead level was cal- culated;

    - For each small public water sys- tem, the 90th percentile lead level cal- culated during each monitoring period in which the system exceeds the lead action level, and the first and last day of each monitoring period in which an exceedance occurred;

    - For each public water system (re- gardless  of  size),  the  90th  percentile

#### Environmental Protection Agency	§ 142.16

copper level calculated during each monitoring period in which the system exceeds the copper action level, and the first and last day of each moni- toring period in which an exceedance occurred;

    - For each public water system for which the State has designated optimal water      quality      parameters      under

§ 141.82(f) of this chapter, or which the State has deemed to have optimized corrosion control under § 141.81(b)(1) or (b)(3) of this chapter, the date of the determination and the  paragraph(s) under which the State made its deter- mination;

    - For each public water system re- quired to begin replacing lead service lines as specified in § 141.84 of this chap- ter and the date each  system  must begin  replacement;  and

    - For each public water  system that has implemented optimal corro- sion control, completed applicable source water treatment requirements pursuant to § 141.83 of this chapter and/ or completed lead service line replace- ment requirements pursuant to § 141.84 of this chapter, and the date of the State’s determination that these re- quirements have been met. The date re- ported shall be the latest of the fol- lowing events:

- The date the State designates op- timal water quality parameters under

§ 141.82(f) of this chapter or deems the system to  have  optimized  corrosion control pursuant to § 141.81(b)(1)  or (b)(3)  of  this  chapter;

- For systems triggered into source water treatment, the date the State designates  maximum  permissible source water levels under § 141.83(b)(4) of this chapter or determines pursuant to § 141.83(b)(2) of this chapter that source water treatment is not required; or

- For systems triggered into lead service line replacement, the date the system completes lead service line re- placement or becomes eligible to cease lead service line replacement pursuant to § 141.84(f) of this chapter.

- Sanitary surveys. A list of subpart H systems that have had a sanitary survey completed during the previous year and an annual evaluation of the State’s  program  for  conducting  sani-

tary surveys under § 142.16(b)(3) of this chapter.

- Subpart W. (i) The bin classifica- tion after the initial and after the  sec- ond round of source water monitoring for each filtered system,  as  described in § 141.710 of this chapter.

- Any change in treatment require- ments for these systems due to water- shed assessment during sanitary sur- veys, as described in § 141.711(d) of this chapter.

- The determination of  whether the mean Cryptosporidium level is greater than 0.01 oocysts/L both after the initial and after  the  second  round of source water monitoring for each unfiltered    system,    as    described    in

§ 141.712(a) of this chapter.

- Ground water rule—(i) Sanitary sur- veys. The month and year in which the most recent sanitary survey was com- pleted or, for a State that uses  a phased review process, the date the last element of the applicable eight ele- ments was evaluated under § 142.16(o)(2) for each ground water system.

- Corrective action requirements. For any corrective action under § 141.403(a) of this chapter, the date  the  ground water system completed corrective ac- tion.

- Compliance monitoring. All ground water systems providing at least 4-log treatment of viruses (using inactiva- tion, removal, or a State-approved combination of 4-log virus inactivation and removal) before or at the first cus- tomer for any ground water source(s).

- The reports submitted pursuant to this section shall be made available by the State to the public for inspec- tion at one or more locations  within the  State.

[41 FR 2918, Jan. 20, 1976]

EDITORIAL NOTE: For FEDERAL REGISTER ci-

tations affecting § 142.15, see the List of CFR Sections Affected, which appears in  the Finding Aids  section of  the printed volume

##### § 142.16   Special primacy requirements.

- State public notification require- ments. (1) Each State that has primary enforcement authority under this part must submit complete and final re- quests for approval of program revi- sions to adopt the requirements of sub- part Q of part 141 of this chapter, using

#### § 142.16

the procedures in § 142.12(b) through (d). At its option, a State may, by rule, and after notice and comment, establish al- ternative public notification require- ments with respect to the form and content of the public notice required under subpart Q of part 141 of this chapter. The alternative requirements must  provide  the  same  type   and amount of information required under subpart Q and must meet the primacy requirements under § 142.10.

  - As part of the revised primacy program, a State must also establish enforceable requirements and proce- dures when the State adds to or changes the requirements under:

    - Table 1 to 40 CFR 141.201(a)(Item (3)(v))—To require public water sys- tems to give a public notice for viola- tions or situations other than those listed in appendix A of subpart Q of part 141 of this chapter;

    - 40 CFR 141.201(c)(2)—To allow pub- lic water systems, under the specific circumstances listed in § 141.201(c)(2), to limit the distribution of the public no- tice to persons served by the portion of the distribution system that is out of compliance;

    - Table 1 of 40 CFR 141.202(a) (Items (5), (6), and (9))—To require public water systems to give a Tier 1 public notice (rather than a Tier 2 or Tier 3 notice) for violations or situations list- ed in appendix A of subpart Q of  part 141 of this chapter;

    - 40 CFR 141.202(b)(3)—To require public water systems to comply with additional Tier 1 public notification re- quirements set by the  State  subsequent to the  initial  24-hour  Tier  1  notice,  as a result of their consultation with the State required under §§ 141.202(b)(2);

(v)  40  CFR  141.202(c),  141.203(c)  and

141.204(c)—To require a different form and manner of delivery for Tier 1, 2 and 3  public  notices.

- Table 1 to 40 CFR 141.203(a) (Item (2))—To require the public water sys- tems to provide a Tier 2 public notice (rather than Tier (3)) for monitoring or testing  procedure   violations   specified by  the  State;

- 40 CFR 141.203(b)(1)—To grant public water systems an  extension  up to three months  for  distributing  the Tier 2 public notice in appropriate cir-

#### 40 CFR Ch. I (7–1–17 Edition)

cumstances (other than those specifi- cally excluded in the rule);

- 40 CFR 141.203(b)(2)—To grant a different repeat  notice  frequency  for the Tier 2 public notice in appropriate circumstances (other than those spe- cifically excluded in the rule), but no less frequently than once per year;

- 40 CFR 141.203(b)(3)—To respond within 24 hours to a request for con- sultation by the public water system to determine whether a Tier  1  (rather than a Tier 2) notice is required for a turbidity        MCL        violation        under

§ 141.13(b) or a SWTR/IESWTR TT vio- lation due to a single exceedance of the maximum  allowable  turbidity  limit;

- 40 CFR 141.205(c)—To determine the specific multilingual requirement for a public water system, including de- fining ‘‘large proportion of non- English-speaking consumers.’’

- Requirements for States to adopt 40 CFR part  141, subpart H  Filtration  and Disinfection. In addition to the general primacy requirements enumerated elsewhere in this part, including the re- quirement that State provisions are no less stringent than the federal require- ments, an application for approval of a State program revision that adopts 40 CFR part 141, subpart H Filtration and Disinfection, must contain the infor- mation specified in this paragraph (b), except that States which require with- out exception all  public water systems using a surface water source or a ground water source under the direct influence of surface water to provide filtration need  not  demonstrate  that the State program has provisions that apply to systems which do not provide filtration treatment. However, such States must provide the  text  of  the State statutes or regulations which specifies that all public water systems using a surface water source or a ground water source under the direct influence of surface water must provide filtration.

  - Enforceable requirements. (i) In ad- dition to adopting criteria  no less stringent than those specified in part 141, subpart H of this chapter, the State’s application must include en- forceable design  and operating  criteria

#### Environmental Protection Agency	§ 142.16

for each filtration treatment tech- nology allowed or a procedure for es- tablishing design and operating condi- tions on a system-by-system basis (e.g., a permit system).

  - States must have the appropriate rules or other authority to assure that PWSs respond  in  writing  to  significant deficiencies outlined in sanitary survey reports required under paragraph (b)(3) of this section no later than 45 days after receipt of the report, indicating how and on what schedule the system will address significant deficiencies noted in the survey.

  - States must have the appro- priate rules or other authority to as- sure that PWSs take necessary steps to address significant deficiencies identi- fied in sanitary survey reports required under paragraph (b)(3) of this section, if such deficiencies are within the con- trol of the PWS and its governing body.

  - State practices or procedures. (i) A State application for program revision approval must include a description of how the State will accomplish the fol- lowing:

    - Section 141.70(c) (qualification of operators)—Qualify operators of sys- tems using a surface water source or a ground water source under the direct influence of surface water.

    - Determine which systems using a ground water source are under the di- rect influence of surface water by  June 29, 1994 for community water systems and by June 29, 1999 for non-community water   systems.

    - Section 141.72(b)(1) (achieving re- quired Giardia lamblia and virus re- moval in filtered systems)—Determine that the combined treatment process incorporating  disinfection  treatment and filtration  treatment  will  achieve the required removal and/or inactiva- tion of Giardia lamblia and viruses.

    - Section 141.74(a) (State approval of parties to conduct analyses)—ap- prove parties to conduct pH, tempera- ture, turbidity, and residual disinfect- ant  concentration  measurements.

    - Determine appropriate filtration treatment technology for source waters of various qualities.

- For a State which does not re- quire all public water systems using a surface water source or ground water source  under  the  direct  influence  of

surface water to provide filtration treatment, a State application for pro- gram revision approval must include a description of how the State will ac- complish the following:

- Section 141.71(b)(2) (watershed control program)—Judge the adequacy of watershed control programs.

- Section 141.71(b)(3) (approval of on-site inspectors)—Approve on-site in- spectors other than  State  personnel and evaluate the results of on-site in- spections.

- For a State which adopts any of the following discretionary elements of part 141 of this chapter, the application must describe how the State will:

  - Section 141.72 (interim disinfec- tion requirements)—Determine interim disinfection	requirements	for unfiltered systems which the State has determined must filter which will be in effect  until  filtration  is  installed.

  - Section 141.72 (a)(4)(ii) and (b)(3)(ii) (determination of adequate disinfection in system without dis- infectant residual)—Determine that a system is unable  to  measure  HPC  but is  still  providing  adequate   disinfection in  the  distribution  system,  as   allowed by § 141.72(a)(4)(ii) for systems which do not    provide    filtration    treatment    and

§ 141.72(b)(3)(ii) for systems which do provide   filtration   treatment.

(C) Section 141.73 (a)(1) and (b)(1) (al- ternative turbidity limit)—Determine whether  an  alternative   turbidity   limit is appropriate and  what  the  level should be as allowed by § 141.73(a)(1) for a system using conventiona1 filtration treatment   or   direct   filtration   and   by

§ 141.73(b)(1) for a system  using  slow sand    filtration.

- Section 141.73(d) (alternative fil- tration  technologies)—Determine   that a public water system has dem- onstrated that an alternate filtration technology, in combination with dis- infection treatment, achieves adequate removal and/or disinfection of Giardia lamblia and viruses.

- Section 141.74(a)(5) (alternate an- alytical method for chlorine)—Approve DPD colorimetric test kits for free and combined chlorine measurement or ap- prove calibration of automated meth- ods by the Indigo Method for ozone de- termination.

#### § 142.16

(F) Section 141.74 (b)(2) and (c)(1) (ap- proval of continuous turbidity moni- toring)—Approve continuous turbidity monitoring, as allowed by § 141.74(b)(2) for a public water system which  does not    provide    filtration    treatment    and

§ 141.74(c)(1) for a system which does provide  filtration  treatment.

(G) Section 141.74 (b)(6)(i) and (c)(3)(i) (approval of alternate disinfectant re- sidual concentration sampling plans)— Approve alternate disinfectant residual concentration sampling plans for sys- tems which have a combined ground water  and  surface  water  or  ground water and ground water under the di- rect influence of a surface water dis- tribution      system,      as      allowed      by

§ 141.74(b)(6)(i) for a public water sys- tem which does not provide filtration treatment and § 141.74(c)(3)(i) for a pub- lic water system which does provide filtration     treatment.

  - Section 141.74(c)(1) (reduction of turbidity monitoring)—Decide  whether to allow reduction of turbidity moni- toring for systems using slow sand fil- tration,  an  approved  alternate   filtra- tion technology or serving 500 people or fewer.

  - Section 141.75 (a)(2)(ix) and (b)(2)(iv) (reduced reporting)—Deter- mine whether reduced reporting is ap- propriate, as allowed by § 141.75(a)(2)(ix) for a public water system which  does not    provide    filtration    treatment    and

§ 141.75(b)(2)(iv) for a public water sys- tem which does provide filtration treatment.

- For a State which does not re- quire all public water systems using a surface water source or ground water source under the direct influence of surface water to provide filtration treatment and which uses any of the following discretionary provisions, the application must describe how the State  will:

- Section 141.71(a)(2)(i) (source water turbidity requirements)—Deter- mine that an exceedance of turbidity limits in source water was caused by circumstances that were unusual and unpredictable.

- Section 141.71(b)(1)(i) (monthly CT compliance requirements)—Deter- mine whether failure to meet the re- quirements for monthly CT  compliance in   § 141.72(a)(1)   was   caused   by   cir-

#### 40 CFR Ch. I (7–1–17 Edition)

cumstances that were unusual and un- predictable.

- Section 141.71(b)(1)(iii) (residual disinfectant concentration require- ments)—Determine whether failure to meet the requirements for residual dis- infectant concentration entering the distribution system in § 141.72(a)(3)(i) was caused by circumstances that were unusual and unpredictable.

- Section 141.71(b)(1)(iv) (distribu- tion system disinfectant residual con- centration requirements)—Determine whether failure to meet the require- ments for distribution system residual disinfectant	concentration	in

§ 141.72(a)(4) was related to a deficiency in   treatment.

- Section 141.71(b)(4) (system modi- fication to prevent waterborne disease outbreak)—Determine that a system, after having been identified as the source of a waterborne disease out- break, has been modified  sufficiently to prevent another such occurrence.

- Section 141.71(b)(5) (total coliform MCL)—Determine whether a total coli- form MCL violation was caused by a deficiency  in  treatment.

- Section 141.72(a)(1) (disinfection requirements)—Determine that dif- ferent ozone, chloramine, or chlorine dioxide CT99.9 values or conditions are adequate to achieve required disinfec- tion.

- Section 141.72(a)(2)(ii) (shut-off of water to distribution system)—Deter- mine whether a shut-off of water to the distribution system when the disinfect- ant residual concentration entering the distribution system is less than 0.2 mg/

1 will cause an unreasonable risk to health or interfere with fire protection.

- Section 141.74(b)(1) (coliform mon- itoring)—Determine that coliform monitoring which otherwise might be required is not feasible for a system.

(J) Section 141.74(b), table 3.1 (dis- infection with chloramines)—Deter- mine the conditions to be met to insure

99.99 percent removal and/or inactiva- tion of viruses in systems which use ei- ther preformed chloramines or chloramines for which ammonia  is added to the water before chlorine, as allowed by table 3.1.

#### Environmental Protection Agency	§ 142.16

  - Sanitary survey. In addition to the general requirements for sanitary sur- veys contained in § 142.10(b)(2), an ap- plication must describe how the State will implement a sanitary survey pro- gram that meets the requirements in paragraphs (b)(3)(i) through (v) of this section. For the  purposes of this para- graph, ‘‘sanitary survey’’ means an on- site review of the water source (identi- fying sources of contamination using results of source water assessments where available), facilities, equipment, operation, maintenance, and moni- toring compliance of a public water system to evaluate the adequacy of the system, its sources and operations and the distribution of safe drinking water.

- The State must conduct sanitary surveys for all surface water systems (including groundwater under the in- fluence) that address the eight sanitary survey components listed in para- graphs (b)(3)(i)(A) through (H) of this section no less frequently than every three years for  community  systems and no less frequently than every five years for noncommunity systems. The State may allow sanitary surveys con- ducted after December 1995 to serve as the first set of required sanitary sur- veys if the surveys address the eight sanitary survey components listed in paragraphs (b)(3)(i)(A) through (H) of this  section.

  - Source.

  - Treatment.

  - Distribution system.

  - Finished water storage.

  - Pumps, pump facilities, and con- trols.

  - Monitoring and reporting and data verification.

  - System management and oper- ation.

  - Operator compliance with State requirements.

- For community systems deter- mined by the State to have out- standing performance based on prior sanitary surveys, subsequent sanitary surveys may be conducted no less than every five years. In its primacy appli- cation, the State must describe how it will decide whether a system has out- standing performance and is thus eligi- ble for sanitary surveys at a reduced frequency.

- Components of a sanitary survey may be completed as  part  of  a  staged or phased state review process within the established frequency.

- When conducting sanitary sur- veys for systems required  to  comply with the disinfection profiling require- ments in § 141.172 of this chapter, the State must also review the disinfection profile  as  part  of  the  sanitary  survey.

- In its primacy application, the State must describe how it will decide whether a deficiency identified during a sanitary survey is significant for the purposes of paragraph (b)(1)(ii) of this section.

- Total coliform requirements. In addi- tion to meeting the general primacy requirements of this part, an applica- tion for approval of a State program revision that adopts the requirements of the national primary drinking water regulation for total coliforms must contain the following information:

  - The application must describe the State’s plan for determining whether sample siting plans are acceptable (in- cluding  periodic  reviews),  as   required by § 141.21(a)(1).

  - The national primary drinking water regulation for total coliforms in part 141 gives States the option to im- pose lesser requirements in certain cir- cumstances, which  are  listed  below.  If a State chooses to exercise any of these options, its  application  for  approval  of a program revision must include the information listed below (the State need only provide the information list- ed for those options it has chosen to use).

- Section 141.21(a)(2) (Reduced moni- toring requirements for community water systems serving 1,000 or fewer persons)—A description of how the State will determine whether it is ap- propriate to reduce the total coliform monitoring frequency for such systems using the criteria in § 141.21(a)(2) and how it will determine the revised fre- quency.

- Section 141.21(a)(3)(i) (Reduced monitoring requirements for non-com- munity water systems using ground water and serving 1,000 persons or fewer)—A description of how the State will determine whether it is appro- priate to reduce the total coliform monitoring frequency for such systems

#### § 142.16

using the criteria in § 141.21(a)(3)(i) and how it will determine the revised fre- quency.

- Section 141.21(a)(3)(ii) (Reduced monitoring for non-community water systems using ground water and serv- ing more than 1,000 persons)—A de- scription of how the State will deter- mine whether it is appropriate to re- duce the total coliform monitoring fre- quency for non-community water sys- tems using only ground water and serv- ing more than 1,000 persons during any month the system serves 1,000 persons or fewer and how it will determine the revised frequency.

- Section 141.21(a)(5) (Waiver of time limit for sampling after a  tur- bidity sampling  result  exceeds  1 NTU)—A description of how the State will determine whether it is appro- priate  to  waive  the  24-hour  time  limit.

- Section 141.21(b)(1) (Waiver of time limit for repeat samples)—A de- scription of how the State will deter- mine whether it is appropriate to waive the 24-hour time limit and how it will determine what the revised time limit will  be.

- Section 141.21(b)(3) (Alternative repeat monitoring requirements for systems with a single service connec- tion)—A description of how the State will determine whether it is appro- priate to allow a system with a single service connection to use an alter- native repeat monitoring scheme, as provided in § 141.21(b)(3), and what the alternative requirements will be.

- Section 141.21(b)(5) (Waiver of re- quirement to take five routine samples the month after a system has a total coliform-positive sample)—A descrip- tion of how the State will determine whether it is appropriate to waive the requirement for certain systems to col- lect five routine samples  during  the next month it serves water to the pub- lic, using the criteria in § 141.21(b)(5).

- Section 141.21(c) (Invalidation of total coliform-positive samples)—A description of how the State will deter- mine whether it is appropriate to in- validate a total coliform-positive sam- ple, using the criteria in § 141.21(c).

- Section 141.21(d) (Sanitary sur- veys)—A description of the State’s cri- teria   and   procedures   for   approving

#### 40 CFR Ch. I (7–1–17 Edition)

agents  other  than  State  personnel  to conduct sanitary surveys.

- Section 141.21(e)(2) (Waiver of fecal coliform or E. coli testing on a total coliform-positive sample)—A de- scription of how the State will deter- mine whether it is appropriate to waive fecal coliform or E. coli testing on a total  coliform-positive  sample.

- Requirements for States to adopt 40 CFR part 141, subpart I—Control of Lead and Copper. An application for approval of a State  program  revision  which adopts the requirements specified in 40 CFR part 141, subpart I, must  contain (in addition to the general primacy re- quirements  enumerated  elsewhere  in this  part,  including  the   requirement that State regulations be at least as stringent  as   the   federal   requirements) a description of how the State will ac- complish the following program re- quirements:

  - Section 141.82—State designation of optimal corrosion control.

(i) Sections 141.82(d), 141.82(f), and 141.82(h)—Designating optimal corro- sion control treatment methods, opti- mal water quality parameters, and modifications  thereto.

(ii) Section 141.82(g)—Designating an alternative approach for aggregating multiple measurements collected dur- ing the same day for a water quality parameter  at  a  sampling  location,  if the State elects to adopt  a  formula other     than     the     one     specified     in

§ 141.82(g)(1) of this chapter.

  - Sections 141.83(b)(2) and 141.83(b)(4)—Designating source water treatment methods, maximum permis- sible source water levels for lead and copper and modifications thereto.

  - Section 141.90(e)—Verifying com- pliance with lead service line replace- ment schedules and completion of all partial lead service line replacement activities.

(4) Section 141.86(d)(4)(iv)(A)—Desig- nating an alternative period for sample collection for  community  water  sys- tems  subject  to  reduced  monitoring.

- An application for approval of  a State program  revision  which  adopts the requirements specified in §§ 141.11, 141.23, 141.24, 141.32, 141.61, and 141.62 for a newly regulated contaminant must contain   the   following   (in   addition   to

#### Environmental Protection Agency	§ 142.16

the general primacy requirements enu- merated elsewhere in this part, includ- ing the requirement that State regula- tions be at least as stringent as the Federal requirements):

  - If a State chooses to issue waivers from  the  monitoring  requirements  in

§§ 141.23 and 141.24, the State shall de- scribe  the  procedures  and   criteria which it will use to review waiver ap- plications and issue waiver determina- tions.

- The procedures for each contami- nant or class of contaminants shall in- clude a description of:

- The waiver application require- ments;

- The State review process for ‘‘use’’ waivers and for ‘‘susceptibility’’ waivers; and

- The State decision criteria, in- cluding the factors that will be consid- ered in deciding to grant or deny  waiv- ers. The  decision  criteria  must  include the factors  specified   in   §§ 141.24(f)(8) and 141.24(h)(6).

- The State must specify the moni- toring data and other documentation required to demonstrate that the con- taminant is eligible for a ‘‘use’’ and/or ‘‘susceptibility’’  waiver.

  - A monitoring plan for the initial monitoring period by which the State will assure all systems complete the required initial monitoring within the regulatory deadlines.

NOTE: States may update their monitoring plan submitted under the Phase II Rule or simply note in their application that they will use the same monitoring plan for the Phase V Rule.

- The initial monitoring plan must describe how systems will be scheduled during the initial monitoring period and demonstrate that the analytical workload on certified laboratories for each of the three years has been taken into account, to assure that the State’s plan will result in a high degree of monitoring compliance and that as a result there is a high probability of compliance and will be updated as nec- essary.

- The State must demonstrate that the initial monitoring plan is enforce- able under State law.

- Consumer Confidence Report require- ments. (1) Each State that has primary enforcement responsibility must  adopt the  requirements  of  40  CFR  part  141,

subpart O no later than August 21, 2000. States  must  submit  revised   programs to EPA for approval using  the  proce- dures in § 142.12(b) through (d).

- Each State that has primary en- forcement responsibility must make reports submitted to the States in compliance with 40 CFR 141.155(c) available to the public upon request.

- Each State that has primary en- forcement responsibility must main- tain a copy of the reports for a period of one year and the certifications ob- tained pursuant to 40 CFR 141.155(c) for a period of 5 years.

- Each State that has primary en- forcement responsibility must report violations of this subpart in accordance with the requirements of § 142.15(a)(1).

- Requirements for States to adopt 40 CFR part 141, Subpart P—Enhanced Fil- tration and Disinfection—Systems Serving 10,000 or More People. In addition to the general primacy requirements enumer- ated elsewhere in this part, including the requirement that State provisions are no less stringent than the Federal requirements, an application for ap- proval of a State program revision that adopts 40 CFR part 141, Subpart P En- hanced Filtration and Disinfection— Systems Serving 10,000 or More People, must contain  the  information specified in this paragraph:

  - Enforceable requirements. States must have the appropriate rules or other authority to require PWSs to conduct a Composite Correction Pro- gram (CCP) and to assure that PWSs implement any followup recommenda- tions that result as part of the CCP. The CCP consists of two elements—a Comprehensive Performance Evalua- tion (CPE) and Comprehensive Tech- nical Assistance (CTA). A  CPE is a thorough review and analysis of a plant’s performance-based capabilities and associated administrative, oper- ation and maintenance practices. It is conducted to identify factors that may be adversely impacting a plant’s capa- bility to achieve compliance and em- phasizes approaches that can be imple- mented without significant capital im- provements. A CTA is the performance improvement phase that is imple- mented if the CPE results indicate im- proved performance potential. During

#### § 142.16

the CTA phase, the system must iden- tify and systematically address plant- specific factors. The CTA is a combina- tion of utilizing CPE results as a basis for followup, implementing process control priority-setting techniques and maintaining long-term involvement to systematically train staff and adminis- trators.

  - State practices or procedures. (i) Section 141.172(a)(3) of  this chapter— How the State will approve a more rep- resentative annual data set than the data set determined under § 141.172 (a)(1) or (2) of this chapter for the pur- pose of determining applicability of the requirements of § 141.172 of this chap- ter.

- Section 141.172(b)(5) of this chap- ter—How the State will approve a method to calculate the logs of inac- tivation for viruses for a system that uses either chloramines or ozone for primary disinfection.

- Section 141.172(c) of this chap- ter—How the State will consult with PWSs to evaluate modifications to dis- infection   practice.

- Section 141.173(b) of this chap- ter—For filtration technologies other than conventional filtration treat- ment, direct filtration, slow sand fil- tration, or diatomaceous earth filtra- tion, how the State will determine that a public water system may use a filtra- tion technology if the PWS dem- onstrates to the State, using  pilot plant studies or other means, that the alternative filtration technology, in combination with disinfection treat- ment that meets the requirements of

§ 141.172(b) of this chapter, consistently achieves 99.9 percent removal and/or in- activation  of  Giardia  lamblia  cysts  and

99.99 percent removal and/or inactiva- tion of viruses, and  99  percent  removal of Cryptosporidium oocysts.  For  a  sys- tem  that  makes  this   demonstration, how the State will set turbidity per- formance requirements that  the  sys- tem must meet 95 percent of the  time and that the system may not exceed  at any time at a level that consistently achieves 99.9 percent removal and/or in- activation of Giardia lamblia cysts, 99.99 percent removal and/or inactivation of viruses, and 99 percent removal of Cryptosporidium   oocysts.

#### 40 CFR Ch. I (7–1–17 Edition)

- Requirements for States to adopt 40 CFR part 141, subpart L. In  addition  to the general primacy requirements else- where in this part, including the re- quirement that State regulations be at least as stringent as federal require- ments, an application for approval of a State program revision that adopts 40 CFR part  141,  subpart  L,  must  contain a description of how the State will ac- complish the following program re- quirements:

  - Section 141.64(b)(2) of this chapter (interim treatment requirements). De- termine any interim treatment re- quirements for those systems  electing to install GAC or membrane filtration and granted additional time to comply with § 141.64 of this chapter.

  - Section 141.130(c) of this chapter (qualification of operators). Qualify op- erators of public water  systems  subject to 40 CFR part 141, subpart L. Quali- fication requirements established for operators of systems subject to 40 CFR part 141, subpart H—Filtration and Dis- infection may be used in whole or in part to establish operator qualification requirements for meeting 40 CFR part 141,  subpart  L  requirements  if   the State determines that the 40 CFR part 141, subpart H requirements are appro- priate and applicable for meeting sub- part  L  requirements.

  - Section 141.131(c)(2) of this chap- ter (DPD colorimetric test kits). Ap- prove DPD colorimetric  test  kits  for free and total  chlorine measurements. State         approval         granted         under

§ 141.74(a)(2) of this chapter for the use of DPD colorimetric test kits for free chlorine testing  is  acceptable  for  the use of DPD test kits in measuring free chlorine residuals as  required  in  40 CFR part 141, subpart L.

  - Sections 141.131(c)(3) and (d) of this chapter (State approval  of  parties to conduct analyses). Approve  parties to conduct pH, bromide, alkalinity, and residual disinfectant concentration measurements. The State’s process for approving parties performing water quality measurements for systems sub- ject to 40 CFR part 141, subpart H re- quirements in paragraph (b)(2)(i)(D) of this section may be used for approving

#### Environmental Protection Agency	§ 142.16

parties measuring water quality pa- rameters for systems subject to sub- part L requirements, if the State deter- mines the process is appropriate and applicable.

  - Section 141.132(a)(2) of this chap- ter (multiple wells as a single source). Define the criteria  to  use  to  determine if multiple  wells  are  being  drawn  from a single aquifer and therefore be con- sidered a single source for compliance with   monitoring   requirements.

  - Approve alternate minimum TOC removal (Step 2) requirements, as al- lowed      under      the      provisions      of

§ 141.135(b) of this chapter.

- Requirements for States to adopt 40 CFR part 141, § 141.76 Recycle provisions. In addition to the general primacy re- quirements  enumerated  elsewhere  in this  part,  including  the   requirement that the State provisions are no less stringent  than  the  federal  require- ments, an application for approval of a State program revision that adopts 40 CFR part 141, § 141.76 Recycle  Provi- sions must contain the information specified  in  this  paragraph:

- State practices or procedures. (i) Section 141.76(d) of this chapter— States must have the proper rules and authority to use Sanitary Surveys, comprehensive performance evalua- tions (CPEs), other  inspections,  or other  activities  to  evaluate  recycle data    maintained    by    systems    under

§ 141.76(d) of this chapter and require modifications   to   recycle   practices.

- [Reserved]

- [Reserved]

- An application for approval of  a State program  revision  which  adopts the requirements specified in §§ 141.11, 141.23, 141.24, 141.32, 141.61 and 141.62 for an   existing   regulated   contaminant must contain the following  (in  addition to the general primacy requirements enumerated elsewhere in this part, in- cluding the  requirement  that  State regulations be at least as stringent  as the  federal  requirements):

  - If a State chooses to issue waivers from  the  monitoring  requirements  in

§§ 141.23 and 141.24, the State shall de- scribe the procedures  and  criteria,  that it will use to  review  waiver  applica- tions and issue waiver determinations. The State shall provide the same infor- mation  required  in  paragraph  (e)(1)(i)

and (ii) of this section. States may up- date their existing waiver criteria or use the requirements submitted under the National Primary Drinking Water Regulations for the inorganic and or- ganic contaminants (i.e., Phase II/V rule) in 16(e) of this section. States may simply note in their application any revisions to existing waiver cri- teria or note that the same procedures to issue waivers will be used.

  - A monitoring plan by which the State will ensure all systems complete the required monitoring by the regu- latory deadlines. States may update their existing monitoring plan or use the same monitoring plan submitted under the National Primary Drinking Water Regulations for the inorganic and organic contaminants (i.e., Phase II/V rule) in 16(e) of this section. States may simply note in their application any revisions to an existing monitoring plan or note that the same monitoring plan will be used. The State must dem- onstrate that the monitoring plan is enforceable under State law.

- States establish the initial moni- toring requirements for new systems and new sources. States must explain their initial monitoring schedules and how these monitoring schedules ensure that public water systems and sources comply with MCL’s and monitoring re- quirements. States must also specify the time frame in which new systems will demonstrate compliance with the MCLs.

- An application for approval of  a State program revision for  radio- nuclides which adopts the  require- ments specified in § 141.26(a)(2)(ii)(C) of this chapter must  contain  the  fol- lowing (in addition to the general pri- macy requirements enumerated in this part,  including  that  State  regulations be at least as stringent as the Federal requirements):

  - If a State chooses to use grand- fathered data in the  manner  described in § 141.26(a)(2)(ii)(C)  of  this  chapter, then the State must describe the proce- dures and criteria which it will use to make these determinations (whether distribution system or entry point sampling  points  are  used).

    - The decision criteria that the State will  use to  determine that  data collected in the distribution system are

#### § 142.16

representative of the drinking water supplied from each entry point to the distribution system. These determina- tions must consider:

      - All previous monitoring data.

      - The variation in reported activity levels.

      - Other factors affecting the rep- resentativeness of the data (e.g. geol- ogy).

    - [Reserved]

  - A monitoring plan by which the State will assure all systems complete the required monitoring within the regulatory deadlines. States may up- date their existing monitoring plan or use the same monitoring plan sub- mitted      for      the      requirements      in

§ 142.16(e)(2) under the national primary drinking water regulations for the in- organic and organic contaminants (i.e. the phase II/V rules).  States  may  note in their application any revision to an existing monitoring plan or note that the same monitoring plan will be used. The State must demonstrate that the monitoring plan is enforceable under State  law.

- Requirements for States to adopt 40 CFR part 141, subparts U and V. In addi- tion to the general primacy require- ments elsewhere in this part, including the requirements that State regula- tions be at least as stringent as federal requirements, an application for ap- proval of a State program revision that adopts 40 CFR part 141, subparts U and V, must contain a description of  how the State will implement a procedure for addressing modification of whole- sale system and consecutive system monitoring on a case-by-case basis for part 141 subpart V outside the provi- sions of § 141.29 of this chapter, if the State elects to use such an authority. The procedure must ensure that all systems have at least one compliance monitoring   location.

- Requirements for States to adopt 40 CFR part 141, subpart W. In addition to the general primacy requirements else- where in this part, including the re- quirements  that  State  regulations   be at least as stringent as Federal re- quirements, an application for  approval of a State program revision  that  adopts 40 CFR part 141, subpart W, must con- tain a description of how the State will accomplish   the   following   program   re-

#### 40 CFR Ch. I (7–1–17 Edition)

quirements where allowed in State pro- grams.

- Approve an alternative to the E. coli levels that trigger Cryptosporidium monitoring by filtered systems serving fewer than 10,000 people, as described in

§ 141.701(a)(5).

- Assess significant changes in the watershed and source water as part of the sanitary survey process and deter- mine appropriate follow-up action for systems, as described in § 141.711(d) of this  chapter.

- Approve watershed control pro- grams for the 0.5-log  treatment  credit in the microbial toolbox,  as  described in § 141.716(a) of this chapter.

- Approve protocols for demonstra- tion  of  performance  treatment   credits in the microbial toolbox, as allowed under § 141.718(c) of this chapter.

- Approve protocols for alternative ozone and chlorine dioxide CT values in the microbial toolbox, as allowed under

§ 141.720(c) of this chapter.

- Approve an alternative approach to UV reactor validation testing in the microbial  toolbox,  as  allowed  under

§ 141.720(d)(2)(iii) of this chapter.

- Requirements for States to adopt 40 CFR part 141, subpart S. In  addition  to the general primacy requirements specified elsewhere in this part, includ- ing the requirement that State regula- tions are no less stringent than the Federal  requirements,  an   application for approval of a State program revi- sion that adopts 40 CFR part 141, sub- part S, must contain the information specified  in  this  paragraph  (o).

  - Legal authority. The application for primacy must demonstrate the State has:

    - The authority  contained  in  stat- ute or regulation to ensure that ground water systems conduct source water monitoring under §§ 141.402(a)(2), 141.402(a)(3) and 141.402(a)(4)(ii)(A) of this   chapter.

    - The authority contained in stat- ute or regulation to ensure that ground water systems take the appropriate corrective actions including interim measures, if necessary, needed to ad- dress significant deficiencies.

    - The authority contained in stat- ute or regulation to ensure that ground water systems take the appropriate corrective   actions,   including   interim

#### Environmental Protection Agency	§ 142.16

measures if necessary, to address any source water fecal contamination iden- tified during source water monitoring under § 141.402 of this chapter.

    - The authority contained in stat- ute or regulation to ensure that ground water systems  consult  with  the  State regarding corrective action(s).

  - State practices or procedures for san- itary surveys. In addition to the general requirements for sanitary surveys con- tained in § 142.10(b)(2), a primacy appli- cation must  describe  how  the  State will implement a sanitary survey pro- gram that meets the requirements of paragraph (o)(2)(i) of this section. A ‘‘sanitary survey,’’ as conducted by the State, includes but is not limited to, an onsite review of the water source(s) (identifying sources  of  contamination by using results of source water assess- ments or other relevant information where available), facilities, equipment, operation, maintenance, and moni- toring compliance of a public water system to evaluate the adequacy of the system, its sources and operations and the distribution of safe drinking water.

    - The State must conduct sanitary surveys that address the eight sanitary survey components listed in this sec- tion no less frequently than every three years for community water sys- tems, except as provided in paragraph (o)(2)(iii) of this section, and every five years for non-community water sys- tems. The State may conduct more fre- quent sanitary surveys for any system. The initial sanitary survey for each community water system must be con- ducted by December 31, 2012, unless the system meets the requirements of paragraph (o)(2)(iii) of this section. The initial sanitary survey for each com- munity water system that meets the requirements of paragraph (o)(2)(iii) of this section and for each non-commu- nity water system must be conducted by December 31, 2014. The sanitary sur- vey must include an evaluation of each of the following elements as applicable:

      - Source,

      - Treatment,

      - Distribution system,

      - Finished water storage,

      - Pumps, pump facilities, and con- trols,

      - Monitoring, reporting, and data verification,

      - System management and oper- ation,  and

      - Operator compliance with State requirements.

    - The State may use a phased re- view process to meet the requirements of (o)(2)(i) of this section if all the ap- plicable elements of paragraphs (o)(2)(i)(A) through (o)(2)(i)(H) of this section are evaluated within the re- quired  interval.

    - The State may conduct sanitary surveys once every five years for com- munity water systems if the system ei- ther provides at least  4-log  treatment of viruses  (using  inactivation, removal, or a State-approved combination of 4- log inactivation and removal) before or at the first customer for all its ground water sources, or if it has an out- standing performance record, as deter- mined by the State and documented in previous sanitary surveys and has no history of total coliform MCL or moni- toring violations under  § 141.21 of this chapter since the last  sanitary  survey. In its primacy application, the  State must describe how it will determine whether a community  water  system has an  outstanding  performance record.

    - The State must define and de- scribe in its primacy application at least one specific significant deficiency in each of the eight sanitary survey elements in paragraphs (o)(2)(i)(A) through (o)(2)(i)(H) of this section. Sig- nificant deficiencies include, but are not limited to, defects in design, oper- ation, or maintenance, or a failure or malfunction of the sources, treatment, storage, or distribution system that the State determines to be causing, or have potential for causing, the intro- duction of contamination into the water delivered to consumers.

    - As a  condition of  primacy,  the State must provide ground water sys- tems with written  notice  describing any significant deficiencies no later than 30 days after the State  identifies the significant deficiency. The  notice may specify corrective actions and deadlines for completion of corrective actions. The State may provide the written notice at the time of the sani- tary  survey.

  - State practices or procedures for source  water  microbial  monitoring.  The

#### § 142.16

State’s primacy application must in- clude a description of the following:

    - The criteria the  State  will  use under §§ 141.402(a)(2)(i) and 141.402(d)(2) of this chapter  for  extending  the  24- hour time  limit  for  a  system  to  collect a ground water source sample to  com- ply with the source water monitoring requirements.

    - The criteria the State will use under	§§ 141.402(a)(5)(i)	and 141.402(a)(5)(ii) of this chapter to deter- mine whether the cause of the total coliform-positive    sample    taken    under

§ 141.21(a) of this chapter is directly re- lated to the distribution system.

    - The criteria the State will use for determining  whether  to  invalidate a fecal indicator-positive ground water source sample under § 141.402(d)(1)(ii) of this  chapter.

    - The criteria the State will use to allow source water microbial moni- toring at a location after treatment under § 141.402(e)(1) of this chapter.

  - State practices or procedures for treatment technique requirements. As a condition of primacy, the State must verify that significant deficiencies or source water fecal contamination have been addressed. The State must verify within 30 days after the ground water system has reported to the State that it has completed corrective action. The State must verify either through writ- ten confirmation from the ground water system or a site visit by the State. Written notice from the ground water system under § 141.405(a)(2) of this chapter may serve as this verification. The State’s primacy ap- plication must include the following:

- The process the State will use to determine that a ground water system achieves at least a 4-log treatment of viruses (using inactivation, removal, or a combination of inactivation and re- moval) before or at the first customer for a ground water source for systems that are not subject to the  source water    monitoring    requirements    of

§ 141.402(a) of this chapter because the ground water system has informed the State that it provides at least 4-log treatment of viruses.

- The process the State will use to determine the minimum residual dis- infectant concentration the system must  provide  prior  to  the  first  cus-

#### 40 CFR Ch. I (7–1–17 Edition)

tomer for systems using chemical dis- infection.

- The State-approved alternative technologies that ground water sys- tems may use alone or in combination with other approved technologies to achieve at least 4-log treatment of vi- ruses (using inactivation, removal, or a State-approved combination of 4-log inactivation and removal) before or at the first customer for a ground water source.

- The monitoring and compliance requirements the State will require for ground water systems treating  to at least 4-log treatment of viruses (using inactivation, removal, or a State-ap- proved combination of inactivation and removal) before or at the first  cus- tomer for State-approved alternative treatment   technologies.

- The monitoring, compliance and membrane integrity  testing  require- ments the State will require to dem- onstrate virus removal for ground water systems using membrane filtra- tion technologies.

- The criteria, including public health-based considerations and incor- porating on-site investigations and source water monitoring results the State will use to determine if a ground water system may discontinue 4-log treatment of viruses (using inactiva- tion, removal, or a State-approved combination of inactivation and re- moval) before or at the first customer.

- Requirements for States to adopt 40 CFR part 141, Subpart T—Enhanced Fil- tration and Disinfection—Systems Serving Fewer Than 10,000 People. In addition to the general primacy requirements enu- merated elsewhere in this part, includ- ing the requirement that State  provi- sions are no less stringent than the Federal  requirements,  an   application for approval of a State program revi- sion that adopts 40 CFR part 141, Sub- part T—Enhanced Filtration and Dis- infection—Systems Serving Fewer than 10,000 People, must contain the infor- mation  specified  in  this  paragraph:

  - Enforceable requirements. States must have rules or other authority to require systems to participate in a Comprehensive Technical Assistance (CTA) activity, the performance im- provement phase of the Composite Cor- rection    Program    (CCP).    The    State

#### Environmental Protection Agency	§ 142.16

must determine whether a CTA must be conducted based on results of a CPE which indicate the potential for im- proved performance, and a finding by the State that the system is able to re- ceive and implement technical assist- ance provided through the CTA. A CPE is a thorough review and analysis of a system’s performance-based capabili- ties and associated administrative, op- eration and maintenance  practices.  It is conducted to identify factors that may be adversely impacting a plant’s capability to achieve compliance. Dur- ing the CTA phase, the system must identify and systematically address factors limiting performance. The CTA is a combination of utilizing CPE re- sults as a basis for follow-up, imple- menting process control priority-set- ting techniques and maintaining long- term involvement to systematically train staff and administrators.

  - State practices or procedures. (i) Section 141.530–141.536—How the State will  approve  a  more  representative data set for optional TTHM and HAA5 monitoring  and  profiling.

  - Section 141.535 of this chapter— How the State will  approve  a  method to calculate the logs of inactivation for viruses for a system that uses either chloramines, ozone, or chlorine dioxide for   primary   disinfection.

  - Section 141.542 of this chapter— How the State will consult with the system and approve significant  changes to   disinfection   practices.

  - Section 141.552 of this chapter— For filtration technologies other than conventional filtration treatment, di- rect filtration, slow sand filtration, or diatomaceous earth filtration, how the State will determine that  a public water system may use a filtration technology if the PWS demonstrates to the State, using pilot plant studies or other means, that the alternative fil- tration  technology,  in   combination with disinfection treatment that meets the requirements of § 141.72(b) of this chapter, consistently achieves 99.9 per- cent removal and/or inactivation of Giardia lamblia cysts and 99.99 percent removal and/or inactivation of viruses, and 99 percent removal of Cryptosporidium oocysts. For a system that makes  this  demonstration,  how the   State   will   set   turbidity   perform-

ance requirements that the system must meet 95 percent of the time and that the system may not exceed at any time at a level that consistently achieves 99.9 percent removal and/or in- activation of Giardia lamblia cysts, 99.99 percent removal and/or inactivation of viruses, and 99 percent removal of Cryptosporidium oocysts.

- Requirements for States to adopt 40 CFR part 141 subpart Y—Revised Total Coliform Rule. In addition to the gen- eral   primacy   requirements   elsewhere in this  part,  including  the  require- ments  that  State  regulations   be   at least as stringent as federal require- ments, an application for approval of a State program revision that adopts 40 CFR part 141, subpart Y, must  contain the information specified in this para- graph (q).

  - In their application to EPA for ap- proval to implement the federal re- quirements, the primacy application must indicate what baseline and re- duced monitoring provisions of 40 CFR part 141, subpart Y the State will adopt and must describe how they will imple- ment 40 CFR part 141, subpart Y in these areas so that EPA can be assured that implementation plans meet the minimum requirements of the rule.

  - The State’s application for pri- macy for subpart Y must include a written description for each provision included in paragraphs (q)(2)(i) through

- of this section.

  - Sample Siting Plans—The fre- quency and process used to review and revise sample siting plans  in  accord- ance with 40 CFR part 141, subpart Y to determine   adequacy.

  - Reduced Monitoring Criteria—An indication of whether the State will adopt the reduced  monitoring  provi- sions of 40 CFR part 141,  subpart  Y.  If the State  adopts  the  reduced  moni- toring provisions, it must describe the specific types or categories of water systems that will be covered  by  re- duced monitoring and   whether  the State will  use all or  a   reduced   set   of the criteria specified in §§ 141.854(h)(2) and 141.855(d)(1)(iii) of this chapter. For each of the reduced monitoring cri- teria, the State must describe how the criterion will be evaluated  to  deter- mine  when  systems  qualify.

#### § 142.17

  - Assessments and Corrective Ac- tions—The process for  implementing the new assessment and corrective ac- tion phase of the rule, including the elements in paragraphs (q)(2)(iii)(A) through (D) of this section.

    - Elements of Level 1 and Level 2 assessments. This must include an ex- planation of how the State will ensure that Level 2 assessments provide  a more detailed examination of the sys- tem (including the system’s  moni- toring and operational practices) than do Level 1 assessments through the use of more comprehensive investigation and review of available information, additional internal and external re- sources, and other relevant practices.

    - Examples of sanitary defects.

    - Examples of assessment forms or formats.

    - Methods that systems may use to consult with the State on appropriate corrective actions.

  - Invalidation of routine and re- peat samples collected under 40 CFR part 141, subpart Y—The criteria and process for invalidating total coliform and E. coli-positive samples under 40 CFR part 141, subpart Y. This descrip- tion must include criteria to determine if a sample was improperly processed by the laboratory, reflects a domestic or other non-distribution system plumbing problem or reflects cir- cumstances or conditions that do not reflect water quality in the distribu- tion system.

  - Approval of individuals allowed to conduct Level 2 assessments under 40 CFR part 141, subpart Y—The criteria and process for approval of individuals allowed to conduct Level 2 assessments under 40 CFR part 141, subpart Y.

  - Special monitoring evaluation— The procedure for performing special monitoring evaluations  during  sani- tary surveys for ground water systems serving 1,000 or fewer people to deter- mine whether systems are on an appro- priate monitoring schedule.

  - Seasonal systems—How the State will identify seasonal systems, how the State will determine when sys- tems on less than monthly monitoring must monitor, and what start-up provi- sions seasonal system must meet under 40 CFR part 141, subpart Y.

#### 40 CFR Ch. I (7–1–17 Edition)

  - Additional criteria for reduced monitoring—How the State will re- quire systems on reduced  monitoring to demonstrate:

- Continuous disinfection entering the distribution system and a residual in the distribution system.

- Cross connection control.

- Other enhancements to water sys- tem barriers.

  - Criteria for extending the 24-hour period for collecting repeat samples.— Under §§ 141.858(a) and 141.853(c)(2) of this chapter,  criteria  for  systems  to use in lieu of case-by-case decisions to waive the 24-hour time limit for col- lecting repeat samples after a total coliform-positive routine sample, or to extend the 24-hour limit  for  collection of samples  following  invalidation.  If the State elects to use only case-by- case waivers, the State  does  not  need to develop and submit criteria.

[54 FR 15188, Apr. 17, 1989]

EDITORIAL NOTE: For FEDERAL REGISTER ci-

tations affecting § 142.16, see the List of CFR Sections Affected, which appears in  the Finding Aids  section of  the printed volume

##### § 142.17 Review of State programs and procedures for withdrawal of ap- proved primacy programs.

(a)(1) At least annually the Adminis- trator shall review, with respect to each State determined to have primary enforcement responsibility, the compli- ance of the State with the require- ments set forth in 40 CFR part 142, sub- part B, and the approved State primacy program. At the time of this  review, the State shall notify the Adminis- trator of any State-initiated program changes (i.e., changes other than those to adopt new or revised EPA regula- tions), and of any transfer of all or part of its program from the approved State agency to any other State agency.

- When, on the basis of the Admin- istrator’s review or other available in- formation, the Administrator  deter- mines that a State no longer meets the requirements set forth in 40 CFR part 142, subpart B, the Administrator shall initiate proceedings to withdraw pri- macy approval. Among the factors the Administrator intends to consider as relevant to this determination are the following,   where   appropriate:   whether

#### Environmental Protection Agency	§ 142.18

the State has requested and has been granted, or is awaiting EPA’s decision on, an extension under § 142.12(b)(2) of the deadlines for meeting those re- quirements; and whether the State is taking  corrective  actions  that  may have been required by the Adminis- trator. The Administrator shall notify the State in writing that EPA is initi- ating primacy withdrawal proceedings and shall summarize in the notice the information available  that  indicates that the State no longer meets such re- quirements.

- The State notified pursuant to paragraph (a)(2) of this section may, within 30 days of receiving the Admin- istrator’s notice, submit to the Admin- istrator  evidence  demonstrating   that the State continues to meet the re- quirements for primary enforcement responsibility.

- After reviewing the submission of the State, if any, made pursuant to paragraph (a)(3) of this section, the Ad- ministrator shall make a final deter- mination either that  the  State  no longer meets the requirements of 40 CFR part 142, subpart B, or that the State continues to meet those require- ments, and shall notify the State of his or her determination. Any final deter- mination that  the  State  no  longer meets the requirements of 40 CFR part 142, subpart B, shall not become effec- tive except as provided in § 142.13.

(b) If a State which has primary en- forcement responsibility decides to re- linquish that authority, it may  do  so by notifying the Administrator in writ- ing of the State’s decision at least 90 days before the effective date of the de- cision.

[54 FR 52140, Dec. 20, 1989, as amended at 60

FR 33661, June 28, 1995]

##### § 142.18   EPA   review   of   State   moni- toring determinations.

- A Regional Administrator may annul a State monitoring  determina- tion for the types of determinations identified in §§ 141.23(b), 141.23(c), 141.24(f), 141.24(h), and 141.40(n) in ac- cordance with the procedures in para- graph (b) of this section.

- When information available to a Regional Administrator, such as the results of an annual review, indicate a State determination fails to apply the

standards of the approved State pro- gram, he may propose to annul the State monitoring determination by sending the State and the affected PWS a draft Rescission Order. The draft order shall:

- Identify the PWS, the State deter- mination, and the provisions at issue;

- Explain why the State determina- tion is not in  compliance  with  the State program and must be changed; and

- Describe the actions and terms of operation the PWS will be required to implement.

- The State and PWS shall have 60 days to comment on the draft Rescis- sion Order.

- The Regional Administrator may not issue a Rescission Order to impose conditions less stringent than those imposed by the State.

- The Regional Administrator shall also provide an opportunity for com- ment upon the draft Rescission Order, by

  - Publishing a notice in a news- paper in general circulation in commu- nities served by the affected system; and

  - Providing 30 days for public com- ment on the draft order.

- The State shall demonstrate that the determination is reasonable, based on its approved State program.

- The Regional Administrator shall decide within 120 days after issuance of the draft Rescission Order to:

- Issue the Rescission Order as drafted;

- Issue a modified Rescission Order; or

- Cancel the Rescission Order.

- The Regional Administrator shall set forth the reasons for his decision, including a responsiveness summary addressing significant comments from the State, the PWS and the public.

- The Regional Administrator shall send a notice of his final  decision  to the State, the PWS and all parties who commented upon the draft Rescission Order.

- The Rescission Order shall remain in effect until cancelled by the Re- gional Administrator. The Regional Administrator may cancel a Rescission

#### § 142.19

Order at any time, so long as  he  noti- fies those who commented on the draft order.

- The Regional Administrator may not delegate the signature authority for a final Rescission Order or the can- cellation of an order.

- Violation of the actions, or terms of operation, required by a Rescission Order is a violation of the Safe Drink- ing Water Act.

[56 FR 3595, Jan. 30, 1991]

##### § 142.19 EPA review of State imple- mentation of national primary drinking water regulations for lead and copper.

- Pursuant to the procedures in this section, the Regional Administrator may review state determinations es- tablishing corrosion control or source water treatment requirements for lead or copper and may issue an order estab- lishing federal treatment requirements for a public water system pursuant to

§ 141.82 (d) and (f) and § 141.83(b) (2) and

- where the  Regional Administrator finds that:

  - A State has failed to issue a treat- ment determination by the applicable deadline;

  - A State has abused its discretion in making corrosion control or source water treatment determinations in a substantial number of cases or in cases affecting a substantial population, or

  - The technical aspects of State’s determination would be indefensible in an expected federal enforcement action taken against a system.

- If the Regional Administrator de- termines that review of state deter- mination(s) under this section may be appropriate, he shall request  the  State to forward to EPA the state determina- tion and all information that was con- sidered by the State in making its de- termination, including public com- ments, if any, within 60 days of the Re- gional  Adminstrator’s  request.

- Proposed review of state deter- minations:

- Where the Regional Administrator finds that review of a state determina- tion under paragraph (a) of this section is appropriate, he shall issue a pro- posed review order which shall:

- Identify the public water sys- tem(s)   affected,   the   State   determina-

#### 40 CFR Ch. I (7–1–17 Edition)

tion being reviewed and the provisions of state and/or federal law at issue;

- Identify the determination that the State failed to carry out by the ap- plicable deadline, or identify the par- ticular provisions of the State deter- mination which, in the Regional Ad- ministrator’s judgment, fail to carry out properly applicable treatment re- quirements, and explain the basis for the Regional Administrator’s conclu- sion;

- Identify the treatment require- ments which the Regional Adminis- trator proposes to apply to the affected system(s), and explain the basis for the proposed requirements;

- Request public comment on the proposed order and the supporting record.

- The Regional Administrator shall provide notice of the proposed review order by:

  - Mailing the proposed order to the affected public water system(s), the state agency whose order is being re- viewed, and any other parties of inter- est known to the Regional Adminis- trator; and

  - Publishing a copy of the proposed order in a newspaper of general circula- tion in the affected communities.

- The Regional Administrator shall make available for public inspection during the comment period the record supporting the proposed order, which shall include all of the information submitted by the State to EPA under paragraph (b) of this section, all other studies, monitoring data and other in- formation considered by the Agency in developing the proposed order.

- Final review order:

  - Based upon review of all informa- tion obtained regarding the proposed review order, including public com- ments,  the  Regional   Administrator shall issue a final review order within 120 days after issuance of the proposed order which affirms, modifies, or with- draws the proposed order. The Regional Administrator may extend the time pe- riod for issuing the final order for good cause. If the final order modifies or withdraws the proposed order, the final order shall explain the reasons sup- porting the change.

  - The record of the final order shall consist  of   the  record  supporting  the

#### Environmental Protection Agency	§ 142.20

proposed order, all public comments, all other information considered by the Regional Administrator in issuing the final order and a document responding to all significant public comments sub- mitted on the proposed order. If new points are raised or new material sup- plied during the public comment pe- riod, the Regional Administrator may support the responses on those matters by adding new materials to the record. The record shall be complete when the final order is issued.

  - Notice of the final order shall be provided by mailing the final order  to the affected system(s), the State,  and all parties who commented on the pro- posed order.

  - Upon issuance of the final  order, its terms  constitute  requirements  of the national primary drinking water regulation for lead and/or copper until such time as the Regional Adminis- trator issues a new order (which may include recision of the previous order) pursuant to the procedures in this sec- tion. Such requirements shall super- sede any inconsistent treatment re- quirements established by the State pursuant to the national primary drinking water regulations for lead and copper.

  - The Regional Administrator may not issue a final order to impose condi- tions less stringent than those imposed by the State.

- The Regional Administrator may not delegate authority to sign the final order under this section.

- Final action of the Regional Ad- ministrator under paragraph (d) of this section shall constitute action of the Administrator for purposes of 42 U.S.C.

§ 300j–7(a)(2).

[56 FR 26563, June 7, 1991]

# Subpart C—Review of State-Issued Variances and Exemptions

##### § 142.20 State-issued variances and ex- emptions under Section 1415(a) and Section 1416 of the Act.

- States with primary enforcement responsibility may issue variances to public water systems (other than small system variances) from the require- ments of primary drinking water regu- lations under conditions and in a man- ner which are not less stringent than

the requirements under Section 1415(a) of the Act. In States that do not have primary enforcement responsibility, variances may be granted by the Ad- ministrator pursuant to Subpart E of this  part.

- A State must document all find- ings that are required under Section 1415(a) of the Act.

- If a State prescribes a schedule pursuant to section 1415(a) of the Act requiring compliance with a contami- nant level for which the variance is granted later than five years from the date of issuance of the variance the State must—

  - Document its rationale for the ex- tended compliance schedule;

  - Discuss the rationale for the ex- tended compliance schedule in the re- quired public notice and opportunity for public hearing; and

  - Provide the shortest practicable time schedule feasible under the cir- cumstances.

- States with primary enforcement responsibility may issue exemptions from the requirements of primary drinking water regulations under con- ditions and in a manner which are not less stringent than the requirements under Section 1416 of the Act. In States that do not have primary enforcement responsibility, exemptions may be granted by the Administrator pursuant to Subpart F of this part.

  - A State must document all find- ings that are required under Section 1416 of the Act:

    - Before finding that management and restructuring changes cannot be made, a State must consider the fol- lowing measures, and the  availability of State Revolving Loan Fund assist- ance, or any other Federal or State program, that is reasonably likely  to be available within the period of the exemption to implement these meas- ures:

- Consideration of rate increases, accounting  changes,  the  appointment of a State-certified operator under the State’s Operator  Certification  pro- gram, contractual agreements for joint operation with one or more public water systems;

§ 142.21

- Activities consistent with the State’s Capacity Development Strat- egy to help the public water system ac- quire and maintain technical, finan- cial, and managerial capacity to come into compliance with the Act; and

- Ownership changes, physical con- solidation with another public water system, or other feasible and appro- priate means of consolidation which would result in compliance with the Act;

    - The State must consider the availability of an alternative source of water, including  the feasibility of  part- nerships with neighboring public water systems, as identified by the public water system or by the State con- sistent with the Capacity Development Strategy.

  - In the case of a public water  sys- tem serving a population of not more than 3,300 persons and which needs fi- nancial assistance for the necessary improvements under the initial compli- ance  schedule,  an  exemption  granted by the State under section 1416(b)(2)(B)(i) or (ii) of the Act may be renewed for one or more additional 2- year periods, but not  to  exceed  a  total of 6 additional years, only if the State establishes that  the  public  water  sys- tem is taking all  practicable  steps  to meet the requirements of Section 1416(b)(2)(B) of the Act and the estab- lished compliance  schedule  to  achieve full compliance with the contaminant level or treatment technique for which the exemption was granted. A  State must document its findings in  granting an  extension  under  this  paragraph.

[63 FR 43847, Aug. 14, 1998]

##### § 142.21   State consideration of a vari- ance or exemption request.

A State with primary enforcement responsibility shall act on any variance or exemption request submitted to it, within 90 days of receipt of the request.

##### § 142.22   Review of State variances, ex- emptions and schedules.

- Not later than 18 months after the effective date of the interim national primary drinking water regulations the Administrator shall complete a com- prehensive review of the variances and exemptions granted (and schedules pre-

#### 40 CFR Ch. I (7–1–17 Edition)

scribed pursuant thereto) by the States with primary enforcement responsi- bility during the one-year period begin- ning on such effective date. The Ad- ministrator shall conduct such subse- quent reviews of exemptions and sched- ules as he deems necessary to carry out the purposes of this title, but at  least one review shall be completed within each 3–year period following the com- pletion of the first review under this paragraph.

- Notice of a proposed review shall be published in the FEDERAL REGISTER. Such notice shall (1) provide informa- tion respecting the location of data and other information respecting the variances and exemptions to be re- viewed (including data and other infor- mation concerning new scientific mat- ters bearing on such variances and ex- emptions), and (2) advise of the oppor- tunity to submit comments on the variances and exemptions reviewed and on the need for continuing them. Upon completion of any such review, the Ad- ministrator shall publish in the FED- ERAL REGISTER the results of his re- view, together with findings responsive to any comments submitted in connec- tion with such review.

##### § 142.23   Notice to State.

- If the Administrator finds that a State has, in a substantial number of instances, abused its discretion in granting variances or  exemptions under section 1415(a) or section 1416(a) of the Act or failed to prescribe sched- ules in accordance with section 1415(a) or section 1416(b) of the Act, he shall notify the State of his findings. Such notice  shall:

  - Identify each public water system for which the finding was made;

  - Specify the reasons for the find- ing; and

  - As appropriate, propose revoca- tion of specific variances or exemp- tions, or propose revised schedules for specific public water systems.

- The Administrator shall also no- tify the State of a public hearing to be held on the provisions of the notice re- quired by paragraph (a) of this section. Such notice shall specify the time and

#### Environmental Protection Agency	§ 142.32

location for the hearing. If, upon noti- fication of a finding by the Adminis- trator, the State takes adequate cor- rective action, the Administrator shall rescind his notice to the State of a pub- lic hearing, provided that the Adminis- trator is notified of the corrective ac- tion prior to the hearing.

- The Administrator shall publish notice of the public hearing in the FED- ERAL REGISTER and in a newspaper or newspapers of general circulation in the involved State including a sum- mary of the findings made pursuant to paragraph (a) of this section, a state- ment of the time and location for the hearing, and the address and telephone number of an office at which interested persons may obtain further informa- tion concerning the hearing.

- Hearings convened pursuant to paragraphs (b) and (c) of this section shall be conducted before a hearing of- ficer to be designated by the Adminis- trator. The hearing shall be  conducted by the hearing officer in an informal, orderly and expeditious manner. The hearing officer shall have authority to call witnesses, receive oral and written testimony and take such  other  action as may be necessary to assure the fair and efficient conduct of the hearing. Following the conclusion of the hear- ing, the hearing officer shall forward the record of the hearing to the Admin- istrator.

- Within 180 days after the date no- tice is given pursuant to paragraph (b) of this  section,  the  Administrator shall:

  - Rescind the finding for which the notice was given and promptly notify the State of such rescission, or

  - Promulgate with any modifica- tions as appropriate such revocation and revised schedules proposed in such notice and promptly notify the State of such action.

- A revocation or revised schedule shall take effect 90 days after the State is notified under paragraph (e)(2) of this  section.

##### § 142.24   Administrator’s rescission.

If, upon notification of a finding by the Administrator under § 142.23, the State takes adequate corrective action before the effective date of the revoca- tion or revised schedule, the Adminis-

trator shall rescind the application of his finding to that variance, exemption or schedule.

# Subpart D—Federal Enforcement

##### § 142.30   Failure by State to assure en- forcement.

- The Administrator shall notify a State and the appropriate supplier of water whenever he finds during a pe- riod in which the State has primary en- forcement responsibility for public water systems that a public water sys- tem within such State is not in compli- ance with any primary drinking water regulation contained in part 141 of this chapter or with any schedule or other requirements imposed pursuant to a variance or exemption granted under section 1415 or 1416 of the Act: Provided, That the State will be deemed to have been notified of a violation referred to in a report submitted by the State.

- The Administrator shall provide advice and technical assistance to such State and public water system as may be appropriate to bring the system into compliance by the earliest feasible time.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 52

FR 20675, June 2, 1987]

##### § 142.31   [Reserved]

§ 142.32   Petition for public hearing.

- If the Administrator makes a finding of noncompliance pursuant to

§ 142.30 with respect to a public water system in a State which has primary enforcement responsibility, the Admin- istrator may, for the purpose of  assist- ing that State in carrying out such re- sponsibility and upon the  petition  of such State  or public water system  or persons served by such  system,  hold, after appropriate notice, public  hear- ings for the purpose of gathering infor- mation as described in § 142.33.

- A petition for a public hearing pursuant to paragraph (a) of this sec- tion shall be filed with the Adminis- trator and shall include the following information:

  - The name, address and telephone number of the individual or other enti- ty requesting a hearing.

  - If the petition is filed by a person other  than  the  State  or  public  water

§ 142.33

system, a statement that the person is served by the system.

  - A brief statement of information that the requesting person intends to submit at the requested hearing.

  - The signature of the individual submitting the petition; or, if the peti- tion is filed on behalf of a State, public water system or other entity, the sig- nature of a responsible official of the State or other entity.

##### § 142.33   Public hearing.

    - If the Administrator grants the petition for public hearing, he shall give appropriate public notice of such hearing. Such notice shall be by publi- cation in the FEDERAL REGISTER  and in a newspaper of general circulation or by other appropriate communications media covering the area served by such public water system.

    - A hearing officer designated by the Administrator shall gather during the public hearing information from technical or other experts, Federal, State, or other public officials, rep- resentatives of the public water sys- tem, persons served by the system, and other interested persons on:

- The ways in which the system can within the earliest feasible time be brought into compliance, and

- The means for the maximum fea- sible protection of the public health during any period in which such sys- tem is not in compliance.

    - On the basis of the hearing and other available information the Ad- ministrator shall issue recommenda- tions which shall be sent to the State and public water system and shall be made available to the public and com- munications media.

##### § 142.34   Entry and inspection of public water systems.

- Any supplier of water or other person subject to a national primary drinking water regulation shall, at any time, allow the Administrator, or a designated representative of the Ad- ministrator, upon presenting appro- priate credentials and  a written notice of inspection, to enter any establish- ment, facility or other property of such supplier or other person to determine whether such supplier or other person has  acted  or  is  acting  in  compliance

#### 40 CFR Ch. I (7–1–17 Edition)

with the requirements of the Act or subchapter D of this chapter. Such in- spection may include inspection, at reasonable times, of records, files, pa- pers, processes, controls and facilities, or testing of any feature of a public water system, including its raw water source.

- Prior to entry into any establish- ment, facility or other property within a State which has primary enforcement responsibility, the Administrator shall notify, in writing, the State agency charged with responsibility for safe drinking water of his intention to make such entry and shall include in his notification a statement of reasons for such entry. The Administrator shall, upon a showing by the State agency that such an entry will be det- rimental to the administration of the State’s program of primary enforce- ment responsibility, take such showing into consideration in determining whether to make such entry. The Ad- ministrator shall in any event offer the State agency the opportunity of having a representative accompany the Ad- ministrator or his representative on such entry.

- No State agency which receives notice under paragraph (b) of this sec- tion may use the information con- tained in the notice to inform the per- son whose property is proposed to be entered of the proposed entry; if a State so uses such information, notice to the agency under paragraph (b) of this section is not required for subse- quent inspections of public water sys- tems until such time as the Adminis- trator determines that the agency has provided him satisfactory assurances that it will no longer so use informa- tion contained in a notice received under paragraph (b) of this section.

# Subpart E—Variances Issued by the Administrator Under Sec- tion 1415(a) of the Act

##### § 142.40   Requirements for a variance.

- The Administrator may grant one or more variances to any public water system within a State that does not have primary enforcement responsi- bility from any requirement respecting a  maximum  contaminant  level  of  an

Environmental Protection Agency	§ 142.42

applicable  national  primary  drinking water regulation upon a finding that:

  - Because of characteristics of the raw water sources which are reason- ably available to the system, the sys- tem cannot meet the requirements re- specting the maximum contaminant levels of such drinking water regula- tions despite application of the best technology, treatment techniques, or other means, which the Administrator finds are generally available (taking costs into consideration); and

  - The granting of a variance will not result in an unreasonable risk  to the health of persons served by the sys- tem.

- The Administrator may grant one or more variances to any public water system within a State that does not have primary enforcement responsi- bility from any requirement of a speci- fied treatment technique of an applica- ble national primary drinking water regulation upon a finding that the pub- lic water system applying for the vari- ance has demonstrated that such treat- ment technique is not necessary to pro- tect the health of persons because of the nature of the raw water source of such system.

##### § 142.41   Variance request.

A supplier of water may request the granting of a variance pursuant to this subpart for a public water system with- in a State that does not have primary enforcement responsibility by submit- ting a request for a variance in writing to the Administrator. Suppliers of water may submit a joint request for variances when they seek similar variances under similar circumstances. Any written request for a variance or variances shall include the following information:

- The nature and duration of vari- ance requested.

- Relevant analytical results of water quality sampling of the system, including results of relevant tests con- ducted pursuant to the requirements of the national primary drinking water regulations.

- For   any   request   made   under

§ 142.40(a):

- Explanation in full and evidence of the best available treatment tech- nology and techniques.

- Economic and legal factors rel- evant to ability to comply.

- Analytical results of raw water quality relevant to the variance re- quest.

- A proposed compliance schedule, including the date each step toward compliance will be achieved. Such schedule shall include as a minimum the following dates:

  - Date by which arrangement for al- ternative raw water source or improve- ment of existing raw water source will be completed.

  - Date of initiation of the connec- tion of the  alternative  raw  water source or improvement of existing raw water source.

  - Date by which  final  compliance is to be achieved.

- A plan for the provision of safe drinking water in the case of an exces- sive rise in the contaminant level for which the variance is requested.

- A plan for additional interim con- trol measures during the effective pe- riod of variance.

- For   any   request   made   under

§ 142.40(b), a statement that the system will perform monitoring and other rea- sonable requirements prescribed by the Administrator as a condition to the variance.

- Other information, if any, be- lieved to be pertinent by the applicant.

- Such other information as the Ad- ministrator may require.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 52

FR 20675, June 2, 1987]

##### § 142.42   Consideration   of   a   variance request.

- The Administrator shall  act  on any variance request submitted pursu- ant to § 142.41 within 90 days of receipt of  the  request.

- In his consideration of whether the public water system is unable to comply with a contaminant level re- quired by the national primary drink- ing water regulations because of the nature of the raw water source, the Ad- ministrator shall consider such  factors as the following:

  - The availability and effectiveness of treatment methods for the contami- nant for which the variance is re- quested.

#### § 142.43

  - Cost and other economic consider- ations such as implementing treat- ment, improving the quality of the source water or using an alternate source.

- A variance may be issued to a public water system on the condition that the public water system install the best technology, treatment tech- niques, or other means, which the Ad- ministrator finds are available (taking costs into consideration) and based upon an evaluation satisfactory to the Administrator that indicates that al- ternative sources of water are not rea- sonably available to the public water system.

- In his consideration of whether a public water system should be granted a variance to a required treatment technique because such treatment is unnecessary to protect the public health, the Administrator shall con- sider such factors as the following:

  - Quality of the water source in- cluding water quality data and perti- nent sources of pollution.

  - Source protection measures em- ployed by the public water system.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 52

FR  20675,  June  2,  1987;  63  FR  43847,  Aug.  14,

1998]

##### § 142.43   Disposition  of  a  variance  re- quest.

    - If the  Administrator decides  to deny the application for a variance, he shall notify the applicant of his inten- tion to issue a denial. Such notice shall include a statement of reasons for the proposed denial, and shall offer the ap- plicant an opportunity to present, within 30 days of receipt of the notice, additional information or argument to the Administrator. The Administrator shall  make  a  final  determination  on the request within 30 days after receiv- ing any such additional information or argument. If no additional  information or argument is submitted by the appli- cant the application shall be denied.

    - If the Administrator proposes to grant a variance request submitted pursuant to § 142.41, he shall notify the applicant of his decision  in  writing. Such notice shall identify the variance, the facility covered, and shall specify the period of time for which the vari- ance will be effective.

#### 40 CFR Ch. I (7–1–17 Edition)

- For the type of  variance  specified in § 142.40(a) such notice shall provide that the variance will be terminated when the system comes  into  compli- ance  with  the   applicable   regulation, and may be terminated upon  a  finding by  the  Administrator  that  the  system has failed to comply with any require- ments of a final schedule issued  pursu- ant to § 142.44.

- For the type of  variance  specified in § 142.40(b) such notice shall provide that  the  variance  may   be   terminated at any time upon a finding that the  na- ture of the raw water source is such that  the  specified  treatment  technique for which the variance was granted is necessary to protect the health of per- sons or upon a finding that the public water system has failed to comply with monitoring and other requirements prescribed by the Administrator as a condition to the granting  of  the  vari- ance.

    - For    a    variance    specified    in

§ 142.40(a)(1)   the   Administrator   shall propose a schedule for:

- Compliance (including increments of progress) by the public water system with each contaminant level require- ment covered by the variance; and,

- Implementation by the public water system of such additional con- trol measures as the  Administrator may require for each contaminant cov- ered by the variance.

    - The proposed schedule for compli- ance shall specify dates by which steps towards compliance are to be taken, in- cluding at the minimum, where appli- cable:

      - Date by which arrangement for an alternative raw water source or im- provement of existing raw water source will be completed.

      - Date of initiation of the connec- tion for the alternative raw water source or improvement of the existing raw water source.

      - Date by which final compliance is to be achieved.

    - The proposed schedule may, if the public water system has no  access  to an alternative raw water source, and can effect or anticipate no adequate improvement of the existing raw water

#### Environmental Protection Agency	§ 142.44

source, specify an indefinite time pe- riod for compliance until a new and ef- fective treatment technology is devel- oped at which time a new compliance schedule shall be prescribed by the Ad- ministrator.

    - The proposed schedule for imple- mentation of additional interim con- trol measures during the period of vari- ance shall specify interim treatment techniques, methods and equipment, and dates by which steps toward meet- ing the additional interim control measures are to be met.

    - The schedule shall be prescribed by the Administrator at the time of granting of the variance, subsequent to provision of opportunity for hearing pursuant to § 142.44.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 52

FR 20675, June 2, 1987]

##### § 142.44   Public  hearings  on  variances and schedules.

- Before a variance and schedule proposed by  the  Administrator  pursu- ant to § 142.43 may take effect, the Ad- ministrator shall provide notice and opportunity for public hearing on the variance and schedule. A notice given pursuant  to  the  preceding   sentence may cover the granting  of more than one variance and a hearing held  pursu- ant to such notice shall include  each  of the  variances  covered  by  the  notice.

- Public notice of an opportunity for hearing on a variance and schedule shall be circulated in a manner de- signed to inform interested and poten- tially interested persons of the pro- posed variance and schedule, and shall include at least the following:

  - Posting of a notice in the prin- cipal post office of  each  municipality or area served by the public water sys- tem, and publishing of a notice in a newspaper or newspapers of general cir- culation in the area served by the pub- lic water system; and

  - Mailing of a notice to the agency of the State in which the system is lo- cated which is responsible for the State’s water supply program, and to other appropriate State or local agen- cies at the Administrator’s discretion.

  - Such notice shall include a sum- mary of the proposed variance and schedule and shall inform interested persons that they may request a public

hearing  on  the  proposed  variance  and schedule.

- Requests for hearing may be sub- mitted by any interested person other than a Federal agency. Frivolous or in- substantial  requests  for  hearing  may be denied by the Administrator. Re- quests must be submitted to the Ad- ministrator within 30 days after issuance of the public notices provided for in paragraph (b) of this section. Such requests shall include the fol- lowing  information:

  - The name, address and telephone number of the individual, organization or other entity requesting a hearing;

  - A brief statement of the interest of the person making the request in the proposed variance and schedule, and of information that the requester intends to submit at such hearing;

  - The signature of the individual making the request, or, if the request is made on behalf of an organization or other entity, the signature of a respon- sible official of the organization or other entity.

- The Administrator shall give no- tice in the manner set forth in para- graph (b) of this section of any hearing to be held pursuant to a request sub- mitted by an interested person or  on his own motion. Notice of the hearing shall also be sent to the persons re- questing the hearing, if any. Notice  of the hearing shall include  a  statement of the purpose of the hearing, informa- tion regarding the time and location for the hearing, and the address and telephone number of an office at which interested persons may obtain further information concerning the hearing. At least one hearing location specified in the public notice shall be within the in- volved State. Notice of hearing shall be given not less than 15 days prior to the time scheduled for the hearing.

- A hearing convened pursuant to paragraph (d) of this section shall be conducted before a hearing officer to be designated by the Administrator. The hearing shall be conducted by the hear- ing officer in an informal, orderly and expeditious manner. The hearing offi- cer shall have authority to call wit- nesses, receive oral and written testi- mony and take such other action as may be necessary to assure the fair and

#### § 142.45

efficient conduct of the hearing. Fol- lowing the conclusion of the hearing, the hearing officer shall forward the record of the hearing to the Adminis- trator.

- The variance and schedule shall become effective 30 days after notice of opportunity for hearing is given pursu- ant to paragraph (b) of  this  section  if no timely request for hearing is sub- mitted and the Administrator does not determine to hold a public hearing  on his own motion.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 52

FR 20675, June 2, 1987]

##### § 142.45   Action after hearing.

Within 30 days after the termination of  the  public  hearing  held  pursuant  to

§ 142.44, the Administrator shall, taking into  consideration  information   ob- tained during such hearing and rel- evant information, confirm, revise or rescind the proposed variance and schedule.

[52 FR 20675, June 2, 1987]

##### § 142.46   Alternative	treatment	tech- niques.

The Administrator may grant a vari- ance from any treatment technique re- quirement of a national primary drink- ing water regulation to a supplier of water, whether or not the public water system for which the variance is re- quested is located in a State which has primary enforcement responsibility, upon a showing from any person that an alternative treatment technique not included in such requirement  is  at least as efficient in lowering the level of the contaminant with respect to which such requirements was pre- scribed. A variance under this para- graph shall be conditioned on the use of the alternative treatment technique which is the basis of the variance.

# Subpart F—Exemptions Issued by the Administrator

##### § 142.50   Requirements  for  an  exemp- tion.

- The Administrator may exempt any public water system within a State that does not have primary enforce- ment responsibility from any require- ment regarding a maximum contami-

40 CFR Ch. I (7–1–17 Edition)

nant level or any treatment technique requirement, or from both, of an appli- cable national primary drinking water regulation upon a finding that—

- Due to compelling factors (which may include economic factors, includ- ing qualification of the public water system as a system serving a disadvan- taged community pursuant to section 1452(d) of the Act), the public water system is unable to comply with such contaminant level  or treatment tech- nique requirement or to implement measures to develop an alternative source of water supply;

- The public water system was in operation on the effective date of such contaminant level  or treatment tech- nique requirement, or for a public water system that was not in operation by that date, no reasonable alternative source of drinking water is available to such new public water system;

- The granting of  the  exemption will not result in an unreasonable risk to health; and

- Management or restructuring changes    (or    both),    as    provided    in

§ 142.20(b)(1)(i), cannot reasonably be made that will result  in  compliance with the applicable national primary drinking water regulation or, if com- pliance cannot  be  achieved,  improve the  quality  of  the  drinking  water.

- No exemption shall be granted un- less the public water system estab- lishes that the public water system is taking all practicable steps to meet the standard; and

  - The public water system cannot meet the standard without capital im- provements which cannot be completed prior to the date  established  pursuant to Section 1412(b)(10) of the Act;

  - In the case of a public water sys- tem which  needs financial  assistance for the necessary improvements, the public water system has entered  into an agreement to obtain such financial assistance or assistance pursuant to Section 1452 of the Act, or any other Federal or State program that is rea- sonably likely to be available within the period of the exemption; or

  - The public water system has en- tered into an enforceable agreement to become a part of a regional  public water system.

#### Environmental Protection Agency	§ 142.53

- A public water system may not receive an exemption under this sub- part if the public water system was granted a variance under Section 1415(e) of the Act.

[63 FR 43847, Aug. 14, 1998]

##### § 142.51   Exemption request.

A supplier of water may request the granting of an exemption pursuant to this subpart for a public water system within a State that does not have pri- mary enforcement responsibility by submitting a request for exemption in writing to the Administrator. Sup- pliers of water may submit a joint re- quest for exemptions when they seek similar exemptions under similar cir- cumstances. Any written request for an exemption or exemptions shall include the following information:

- The nature and duration of ex- emption requested.

- Relevant analytical results of water quality sampling of the system, including results of relevant tests con- ducted pursuant to the requirements of the national primary drinking water regulations.

- Explanation of the compelling factors such as time or economic fac- tors which prevent such system from achieving compliance.

- Other information, if any, be- lieved by the applicant to be pertinent to the application.

- A proposed compliance schedule, including the date when each step to- ward compliance will be achieved.

- Such other information as the Ad- ministrator may require.

##### § 142.52   Consideration of an exemption request.

- The Administrator shall  act  on any exemption request submitted pur- suant to § 142.51 within 90 days of re- ceipt  of  the  request.

- In his consideration of whether the public water system is unable to comply due to compelling factors, the Administrator shall consider such fac- tors as the following:

- Construction, installation, or modification of the treatment equip- ment or systems.

- The time needed to put into oper- ation  a  new  treatment  facility  to  re-

place an existing system which is not in compliance.

- Economic feasibility of compli- ance.

##### § 142.53   Disposition  of  an  exemption request.

  - If the  Administrator decides  to deny the application for an exemption, he shall notify the applicant of his in- tention to issue a denial. Such notice shall include a statement of reasons for the proposed denial, and shall offer the applicant an opportunity to present, within 30 days of receipt of the notice, additional information or argument to the Administrator. The Administrator shall  make  a  final  determination  on the request within 30 days after receiv- ing any such additional information or argument. If no additional  information or argument is submitted by the appli- cant, the application shall be denied.

  - If the Administrator grants an ex- emption request submitted pursuant to

§ 142.51, he shall notify the applicant of his  decision  in  writing.   Such   notice shall identify the facility  covered,  and shall  specify  the  termination  date  of the exemption. Such  notice  shall  pro- vide that the exemption will be termi- nated when the system comes into compliance with the applicable regula- tion, and may be terminated upon a finding by the Administrator that the system has failed to comply with any requirements of a final schedule issued pursuant to § 142.55.

  - The Administrator shall propose a schedule for:

    - Compliance (including increments of progress or measures to develop an alternative source of water supply) by the public water system with each con- taminant level requirement or treat- ment technique requirement with re- spect to which the exemption was granted; and

    - Implementation by the public water system of such control measures as the Administrator may require for each contaminant covered by the ex- emption.

  - The schedule shall be prescribed by the Administrator at the time the exemption  is  granted,  subsequent  to

#### § 142.54

provision    of    opportunity    for    hearing pursuant to § 142.54.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 52

FR  20675,  June  2,  1987;  63  FR  43848,  Aug.  14,

1998]

##### § 142.54   Public hearings on exemption schedules.

- Before a schedule proposed by the Administrator pursuant to § 142.53 may take effect, the Administrator shall provide notice and opportunity for pub- lic hearing on the  schedule.  A  notice given pursuant to the preceding  sen- tence may cover the proposal of more than one such schedule and a hearing held pursuant to such notice shall in- clude each of the schedules covered  by the   notice.

- Public notice of an opportunity for hearing on an exemption schedule shall be circulated in a manner de- signed to inform interested and poten- tially interested persons of the pro- posed schedule, and shall include at least the following:

  - Posting of a notice in the prin- cipal post office of  each  municipality or area served by the public water sys- tem, and publishing of a notice in a newspaper or newspapers of general cir- culation in the area served by the pub- lic water system.

  - Mailing of a notice to the agency of the State in which the system is lo- cated which is responsible for the State’s water supply program and to other appropriate State or local agen- cies at the Administrator’s discretion.

  - Such notices shall include a sum- mary of the proposed  schedule  and shall inform interested persons that they may request a public hearing  on the proposed schedule.

- Requests for hearing may be sub- mitted by any interested person other than a Federal agency. Frivolous or in- substantial  requests  for  hearing  may be denied by the Administrator. Re- quests must be submitted to the Ad- ministrator within 30 days after issuance of the public notices provided for in paragraph (b) of this section. Such requests shall include the fol- lowing  information:

  - The name, address and telephone number of the individual, organization or other entity requesting a hearing;

#### 40 CFR Ch. I (7–1–17 Edition)

  - A brief statement of the interest of the person making the request in the proposed schedule and of information that the requesting person intends to submit at such hearing; and

  - The signature of the individual making the request, or, if the request is made on behalf of an organization or other entity, the signature of a respon- sible official of the organization or other entity.

- The Administrator shall give no- tice in the manner set forth in para- graph (b) of this section of any hearing to be held pursuant to a request sub- mitted by an interested person or  on his own motion. Notice of the hearing shall also be sent to the person re- questing the hearing, if any. Notice  of the hearing shall include  a  statement of the purpose of the hearing, informa- tion regarding the time and location of the hearing, and the address and tele- phone number of an office at which in- terested persons may obtain further in- formation concerning the hearing. At least one hearing location specified in the public notice shall be within the in- volved State. Notice of  the  hearing shall be given not less than 15 days prior to the time scheduled for the hearing.

- A hearing convened pursuant to paragraph (d) of this section shall be conducted before a hearing officer to be designated by the Administrator. The hearing shall be conducted by the hear- ing officer in an informal, orderly and expeditious manner. The hearing offi- cer shall have authority to call wit- nesses, receive oral and written testi- mony and take such action as may be necessary to assure the fair and effi- cient conduct of the hearing. Following the conclusion of the hearing, the hear- ing officer shall forward the record of the hearing to the Administrator.

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 52

FR 20675, June 2, 1987]

##### § 142.55   Final schedule.

- Within 30 days after the termi- nation  of  the  public   hearing   pursuant to § 142.54, the Administrator  shall, taking into consideration information obtained during  such  hearing,   revise the  proposed  schedule  as  necessary  and

#### Environmental Protection Agency	§ 142.60

prescribe the final schedule for compli- ance and interim measures  for  the  pub- lic water system granted an exemption under § 142.52.

- Such schedule must  require com- pliance with each  contaminant  level and treatment technique requirement with respect to which the exemption was granted as expeditiously as prac- ticable but not later than 3 years after the otherwise applicable compliance date established in section 1412(b)(10) of the  Act.

- [Reserved]

[41  FR 2918,  Jan. 20,  1976,  as  amended  at 52

FR  20675,  June  2,  1987;  63  FR  43848,  Aug.  14,

1998]

##### § 142.56   Extension  of  date  for  compli- ance.

In the case of a public water system which serves a population of not more than 3,300 persons and which needs fi- nancial assistance for the necessary improvements, an exemption granted under § 142.50(b)  (1) or  (2) may be  re- newed for one  or  more  additional  2- year periods, but not  to  exceed  a  total of  6  additional  years,  if   the   public water system establishes that  the  pub- lic water system is taking all prac- ticable steps to  meet  the  requirements of section 1416(b)(2)(B) of the Act  and the  established  compliance  schedule.

[63 FR 43848, Aug. 14, 1998]

##### § 142.57   Bottled	water,	point-of-use, and point-of-entry devices.

- A State may require a public water system to use bottled water, point-of-use devices, or point-of-entry devices as a condition of granting an exemption  from  the  requirements  of

§§ 141.61  (a)  and  (c),  and 141.62  of  this chapter.

- Public water systems using bot- tled water as a condition  of  obtaining an exemption from the requirements of

§§ 141.61  (a)  and  (c)  and  141.62(b)  must meet  the  requirements  in  § 142.62(g).

- Public water systems that use point-of-use or point-of-entry devices as a condition for receiving an exemp- tion  must  meet  the  requirements  in

§ 141.62(h).

[56  FR 3596,  Jan. 30,  1991,  as  amended  at 56

FR 30280, July 1, 1991]

# Subpart G—Identification of Best Technology, Treatment Tech- niques or Other Means Gen- erally Available

##### § 142.60 Variances from the maximum contaminant level for total trihalomethanes.

- The Administrator, pursuant to section 1415(a)(1)(A) of the Act, hereby identifies the following as the best technology, treatment techiques or other means generally available for achieving compliance with the max- imum contaminant level for total trihalomethanes (§ 141.12(c)):

- Use of chloramines as an alternate or supplemental disinfectant or oxi- dant.

- Use of chlorine dioxide as an al- ternate or supplemental disinfectant or oxidant.

- Improved existing clarification for THM precursor reduction.

- Moving the point of chlorination to reduce TTHM formation and, where necessary, substituting for the use of chlorine as a pre-oxidant chloramines, chlorine dioxide or potassium per- manganate.

- Use of powdered activated carbon for THM precursor or TTHM reduction seasonally or intermittently at dosages not to exceed 10 mg/L on an annual av- erage basis.

- The Administrator in a state that does not have primary enforcement re- sponsibility or a state with primary en- forcement  responsibility  (primacy state) that issues variances shall re- quire a community water system to in- stall and/or use any treatment method identified in § 142.60(a) as a condition for granting a variance unless the Ad- ministrator or primacy state deter- mines that such treatment method identified in § 142.60(a) is not available and effective for TTHM control for the system. A treatment method shall  not be considered to be ‘‘available and ef- fective’’ for an individual system if the treatment method would not be tech- nically appropriate and technically feasible for  that system  or would  only result in  a  marginal  reduction  in TTHM for the system. If, upon applica- tion by a system for a variance, the Administrator or primacy state that issues  variances  determines  that  none

§ 142.61

of the treatment methods identified in

§ 142.60(a) is available and effective for the system, that system shall be enti- tled to a variance under the provisions of section 1415(a)(1)(A) of the Act. The Administrator’s or primacy state’s de- termination as to the availability and effectiveness of such treatment meth- ods shall be based upon studies by the system and other relevant information. If a system submits information in- tending to demonstrate that a treat- ment method is not available and effec- tive for TTHM control for that system, the Administrator or primacy state shall make a finding whether this in- formation  supports  a  decision  that such treatment method is not available and effective for that system before re- quiring installation and/or use of such treatment  method.

- Pursuant to § 142.43 (c) through (g) or corresponding state regulations, the Administrator or primacy state that issues variances shall issue  a  schedule of compliance that may require the system being granted the variance to examine the following treatment meth- ods (1) to determine the probability that any of these methods will signifi- cantly reduce the level of TTHM for that system, and (2) if such probability exists, to determine whether any of these methods are technically feasible and economically reasonable, and that the TTHM reductions obtained will be commensurate with the costs incurred with the installation and use of such treatment methods for that system:

Introduction of off-line water storage for THM precursor reduction.

Aeration for TTHM reduction, where geo- graphically and environmentally appro- priate.

Introduction of clarification where not currently practiced.

Consideration of alternative sources of raw water.

Use of ozone as an alternate or supple- mental disinfectant or oxidant.

- If the Administrator or primacy state that issues variances determines that a treatment method identified in

§ 142.60(c) is technically feasible, eco- nomically reasonable and will achieve TTHM reductions commensurate with the costs incurred with the installation and/or use of such treatment method for  the  system,  the  Administrator  or

#### 40 CFR Ch. I (7–1–17 Edition)

primacy state shall require  the  system to install and/or use that treatment method in connection with  a  compli- ance schedule issued under the provi- sions of section 1415(a)(1)(A) of the Act. The Administrator’s or primacy  state’s determination shall be based upon studies by the system and  other  rel- evant  information.  In  no  event  shall the Administrator require a system to install and/or use a treatment method not described in § 142.60 (a) or (c) to ob- tain or maintain a variance from  the TTHM Rule or in connection with any variance   compliance   schedule.

[48 FR 8414, Feb. 28, 1983]

##### § 142.61   Variances from the maximum contaminant level for fluoride.

- The Administrator, pursuant to section 1415(a)(1)(A) of the Act, hereby identifies the following as the best technology, treatment techniques or other means generally available for achieving compliance with the Max- imum Contaminant Level for fluoride.

  - Activated alumina absorption, centrally applied

  - Reverse osmosis, centrally applied

- The Administrator in a state that does not have primary enforcement re- sponsibility or a state with primary en- forcement  responsibility  (primacy state) that issues variances shall re- quire a community water system to in- stall and/or use any treatment method identified in § 142.61(a) as a condition for granting a variance unless the Ad- ministrator or the primacy state deter- mines that such treatment method identified in § 142.61(a) as a condition for granting a variance is not available and effective for fluoride control for the system. A treatment method shall not be considered to be ‘‘available and effective’’ for an individual system if the treatment method would not be technically appropriate  and tech- nically feasible for that system.  If, upon application by a system for a variance, the  Administrator  or  pri- macy state that issues variances deter- mines that none of the treatment methods identified in § 142.61(a) are available and effective for the system, that system shall be entitled to a vari- ance  under  the  provisions  of  section

#### Environmental Protection Agency	§ 142.62

1415(a)(1)(A) of the Act. The Adminis- trator’s or primacy state’s determina- tion as to the availability and effec- tiveness of such treatment methods shall be based upon studies by the sys- tem and  other  relevant  information.  If a system submits information to dem- onstrate that  a  treatment  method  is not available and effective for fluoride control for that system, the Adminis- trator or primacy state shall make a finding whether this information sup- ports a decision that such treatment method is not available and effective for that system before requiring instal- lation and/or use of such treatment method.

- Pursuant to § 142.43 (c)–(g) or cor- responding state regulations, the Ad- ministrator or primacy state  that issues variances shall issue  a  schedule of compliance that may require the system being granted the variance to examine the following treatment meth- ods (1) to determine the probability that any of these methods will signifi- cantly reduce the level of fluoride for that system, and (2) if such probability exists, to determine whether any of these methods are technically feasible and economically reasonable, and that the fluoride reductions obtained will be commensurate with the costs incurred with the installation and use of such treatment methods for that system:

  - Modification of lime softening;

  - Alum coagulation;

  - Electrodialysis;

  - Anion exchange resins;

  - Well field management;

  - Alternate source;

  - Regionalization.

- If the Administrator or primary state that issues variances determines that a treatment method identified in

§ 142.61(c) or other treatment method is technically feasible, economically rea- sonable, and will achieve fluoride re- ductions commensurate with the costs incurred with the installation and/or use of such treatment method for the system, the Administrator or primacy state shall require the system to in- stall and/or use that treatment method in connection with a compliance sched- ule issued under the provisions of sec- tion 1415(a)(1)(A) of the Act. The Ad- ministrator’s or primacy state’s deter- mination shall be based upon  studies by the system and other relevant infor- mation.

[51 FR 11411, Apr. 2, 1986]

##### § 142.62 Variances  and  exemptions from the maximum contaminant levels for organic and inorganic chemicals.

- The Administrator, pursuant to section 1415(a)(1)(A) of the Act hereby identifies the technologies listed in paragraphs (a)(1) through (a)(54) of this section as the best technology,  treat- ment techniques, or other means avail- able for achieving compliance with the maximum contaminant levels for or- ganic chemicals listed in § 141.61 (a) and (c):

| Contaminant | Best available technologies |
| --- | --- |
|  | PTA 1 | GAC 2 | OX 3 |
| (1) Benzene ........................................................................................ | X | X |  |
| (2) Carbon tetrachloride ...................................................................... | X | X |  |
| (3) 1,2-Dichloroethane ........................................................................ | X | X |  |
| (4) Trichloroethylene ........................................................................... | X | X |  |
| (5) para-Dichlorobenzene ................................................................... | X | X |  |
| (6) 1,1-Dichloroethylene ...................................................................... | X | X |  |
| (7) 1,1,1-Trichloroethane .................................................................... | X | X |  |
| (8) Vinyl chloride ................................................................................. | X |  |  |
| (9) cis-1,2-Dichloroethylene ................................................................ | X | X |  |
| (10) 1,2-Dichloropropane .................................................................... | X | X |  |
| (11) Ethylbenzene ............................................................................... | X | X |  |
| (12) Monochlorobenzene .................................................................... | X | X |  |
| (13) o-Dichlorobenzene ...................................................................... | X | X |  |
| (14) Styrene ........................................................................................ | X | X |  |
| (15) Tetrachloroethylene ..................................................................... | X | X |  |
| (16) Toluene ........................................................................................ | X | X |  |
| (17) trans-1,2-Dichloroethylene .......................................................... | X | X |  |
| (18) Xylense (total) ............................................................................. | X | X |  |
| (19) Alachlor ........................................................................................ |  | X |  |
| (20) Aldicarb ........................................................................................ |  | X |  |
| (21) Aldicarb sulfoxide ........................................................................ |  | X |  |
| (22) Aldicarb sulfone ........................................................................... |  | X |  |

#### § 142.62

40 CFR Ch. I (7–1–17 Edition)

| Contaminant | Best available technologies |
| --- | --- |
|  | PTA 1 | GAC 2 | OX 3 |
| (23) Atrazine ....................................................................................... | X | X | X |
| (24) Carbofuran ................................................................................... |  | X |  |
| (25) Chlordane .................................................................................... |  | X |  |
| (26) Dibromochloropropane ................................................................ |  | X |  |
| (27) 2,4-D ............................................................................................ |  | X |  |
| (28) Ethylene dibromide ...................................................................... | X | X |  |
| (29) Heptachlor ................................................................................... |  | X |  |
| (30) Heptachlor epoxide ..................................................................... |  | X |  |
| (31) Lindane ........................................................................................ |  | X |  |
| (32) Methoxychlor ............................................................................... |  | X |  |
| (33) PCBs ........................................................................................... |  | X |  |
| (34) Pentachlorophenol ....................................................................... |  | X |  |
| (35) Toxaphene ................................................................................... |  | X |  |
| (36) 2,4,5-TP ....................................................................................... |  | X |  |
| (37) Benzo[a]pyrene ........................................................................... |  | X |  |
| (38) Dalapon ....................................................................................... |  | X |  |
| (39) Dichloromethane ......................................................................... | X |  |  |
| (40) Di(2-ethylhexyl)adipate ................................................................ | X | X |  |
| (41) Di(2-ethylhexyl)phthalate ............................................................. |  | X |  |
| (42) Dinoseb ....................................................................................... |  | X |  |
| (43) Diquat .......................................................................................... |  | X |  |
| (44) Endothall ...................................................................................... |  | X |  |
| (45) Endrin .......................................................................................... |  | X |  |
| (46) Glyphosate .................................................................................. |  |  |  |
| (47) Hexachlorobenzene ..................................................................... |  | X |  |
| (48) Hexachlorocyclopentadiene ........................................................ | X | X |  |
| (49) Oxamyl (Vydate) .......................................................................... |  | X |  |
| (50) Picloram ....................................................................................... |  | X |  |
| (51) Simazine ...................................................................................... |  | X |  |
| (52) 1,2,4-Trichlorobenzene ................................................................ | X | X |  |
| (53) 1,1,2-Trichloroethane .................................................................. | X | X |  |
| (54) 2,3,7,8-TCDD (Dioxin) ................................................................. |  | X |  |

1 Packed Tower Aeration

2 Granular Activated Carbon

3 Oxidation (Chlorination or Ozonation)

- The Administrator, pursuant to section 1415(a)(1)(A) of the Act, hereby identifies the following as the best technology, treatment techniques, or other means available for achieving compliance with the maximum con- taminant levels for the inorganic chemicals listed in § 141.62:

BAT FOR INORGANIC COMPOUNDS LISTED IN

§ 141.62(b)

| Chemical name | BAT(s) |
| --- | --- |
| Antimony ........................................................ | 2,7 |
| Arsenic 4 ......................................................... | 5 1, 2, 5, 6, 7, |
|  | 9, 12 |
| Asbestos ........................................................ | 2,3,8 |
| Barium ........................................................... | 5,6,7,9 |
| Beryllium ........................................................ | 1,2,5,6,7 |
| Cadmium ....................................................... | 2,5,6,7 |
| Chromium ...................................................... | 2,5,6 2,7 |
| Cyanide .......................................................... | 5,7,10 |
| Mercury .......................................................... | 2 1,4,6 1,7 1 |
| Nickel ............................................................. | 5,6,7 |
| Nitrite ............................................................. | 5,7,9 |
| Nitrate ............................................................ | 5,7 |
| Selenium ........................................................ | 1,2 3,6,7,9 |
| Thallium ......................................................... | 1,5 |

1 BAT only if influent Hg concentrations 10g/1.

2 BAT for Chromium III only.

3 BAT for Selenium IV only.

4 BATs for Arsenic V. Pre-oxidation may be required to con- vert Arsenic III to Arsenic V.

5 To obtain high removals, iron to arsenic ratio must be at

least 20:1.

Key to BATS in Table

1  =  Activated  Alumina

2 = Coagulation/Filtration  (not BAT for  sys- tems <500 service connections)

3 = Direct and Diatomite Filtration 4 = Granular Activated Carbon

5 = Ion Exchange

6  =  Lime  Softening  (not  BAT  for  systems

<500 service connections) 7 = Reverse Osmosis

8 = Corrosion Control 9  =  Electrodialysis

10 = Chlorine

11  =  Ultraviolet

12  =  Oxidation/Filtration

- A State shall require community water systems and non-transient, non- community water systems to install and/or use any treatment method iden- tified in § 142.62 (a) and (b) as a condi- tion for granting a variance except as provided in paragraph (d) of this sec- tion.  If,  after  the  system’s  installation

#### Environmental Protection Agency	§ 142.62

of the treatment method, the system cannot meet the MCL,  that  system shall be eligible for a variance  under the provisions of section 1415(a)(1)(A) of the  Act.

- If a system can demonstrate through comprehensive engineering as- sessments, which  may  include  pilot plant studies, that the treament meth- ods identified in § 142.62 (a) and  (b) would only achieve a de minimis reduc- tion in contaminants, the State  may issue a schedule of compliance that re- quires the system being granted the variance to examine other treatment methods  as  a  condition  of  obtaining the   variance.

- If the State determines that a treatment method identified in para- graph (d) of this section is technically feasible, the Administrator or primacy State may require the system to in- stall and/or use that treatment method in connection with a compliance sched- ule issued under the provisions of sec- tion 1415(a)(1)(A) of the Act. The State’s determination shall be based upon studies by the system and other relevant  information.

- The State may require a public water system to use bottled water, point-of-use devices, point-of-entry de- vices or other means as a condition of granting a variance or  an  exemption from the requirements of §§ 141.61 (a) and (c) and 141.62, to avoid an unrea- sonable risk to health. The State may require a public water system to use bottled water and point-of-use  devices or other means, but not point-of-entry devices, as a condition for granting an exemption from corrosion control treatment requirements for lead and copper in §§ 141.81 and 141.82 to avoid an unreasonable risk to health. The State may require a public water system to use point-of-entry devices  as  a  condi- tion  for  granting  an  exemption  from the source water and lead service line replacement requirements for lead and copper under §§ 141.83 or 141.84 to avoid an  unreasonable  risk  to  health.

- Public water systems that use bottled water as a condition for  receiv- ing  a  variance  or  an  exemption   from the requirements of §§ 141.61 (a) and (c) and 141.62, or an exemption from the requirements of §§ 141.81–141.84 must meet  the  requirements  specified  in  ei-

ther paragraph (g)(1) or (g)(2) and para- graph (g)(3) of this section:

- The Administrator or primacy State must require and approve a mon- itoring program for bottled water. The public water system must develop and put in place a monitoring program that provides reasonable assurances  that the bottled water meets all MCLs. The public water system must monitor a representative sample of the bottled water for all contaminants regulated under §§ 141.61 (a) and (c) and 141.62 dur- ing the first three-month period that it supplies the bottled water to the  pub- lic, and annually thereafter. Results of the monitoring program shall be pro- vided to the State annually.

- The public water system must re- ceive  a  certification  from  the  bottled water  company  that  the  bottled  water supplied has been taken from an ‘‘ap- proved  source’’  as  defined  in  21  CFR 129.3(a); the bottled water company has conducted   monitoring   in   accordance with 21 CFR 129.80(g) (1) through (3); and the bottled water does not exceed any  MCLs  or  quality  limits  as  set  out in 21 CFR 165.110, part 110, and part 129. The  public  water  system  shall  provide the  certification  to  the  State  the  first quarter  after  it  supplies  bottled  water and  annually  thereafter.  At  the  State’s option a public water system may sat- isfy    the    requirements    of    this    sub- section if an approved monitoring pro- gram   is   already   in   place   in   another State.

- The public water system is fully responsible for the provision of suffi- cient quantities of bottled water to every person  supplied  by the  public water system via door-to-door bottled water delivery.

- Public water systems that use point-of-use or point-of-entry devices as a condition for obtaining a variance or an exemption from NPDWRs must meet the following requirements:

- It is the responsibility of the pub- lic water system to operate and main- tain the point-of-use and/or point-of- entry treatment system.

- Before point-of-use or point-of- entry devices are installed, the public water system must obtain the approval of   a   monitoring   plan   which   ensures

#### § 142.63

that the devices provide health protec- tion equivalent to that provided by central water treatment.

- The public water system must apply effective technology under a State-approved plan. The micro- biological safety of the water must be maintained at all times.

- The State must require adequate certification of performance, field test- ing, and, if not included in the certifi- cation process, a rigorous engineering design review of the point-of-use and/or point-of-entry  devices.

- The design and application of the point-of-use and/or point-of-entry de- vices must consider the potential for increasing	concentrations		of heterotrophic bacteria in water treated with activated carbon. It may be nec- essary to use frequent backwashing, post-contactor		disinfection,	and Heterotrophic Plate Count monitoring to ensure that the microbiological safety of the water is not compromised.

- The State must be assured that buildings connected to the system have sufficient point-of-use or point-of-entry devices that are properly installed, maintained, and monitored such that all consumers will be protected.

- In requiring the use of a point-of- entry device as a condition for  grant- ing an exemption from the treatment requirements for lead and copper under

§§ 141.83 or 141.84, the State must be as- sured that use of the device will not cause increased corrosion of lead and copper bearing materials located be- tween the device and the tap that could increase  contaminant  levels  at  the  tap.

[56  FR 3596,  Jan. 30,  1991,  as  amended  at 56

FR 26563,  June 7,  1991;  57  FR 31848,  July 17,

1992; 59 FR 33864, June 30, 1994; 59 FR 34325,

July  1,  1994;  66FR  7066,  Jan.  22,  2001;  69  FR

38857, June 29, 2004]

##### § 142.63 Variances  and  exemptions from the maximum contaminant level for total coliforms.

  - No variances or exemptions from the   maximum   contaminant   level   in

§ 141.63 of this chapter are permitted.

  - EPA has stayed this section as it relates  to  the  total  coliform  MCL  of

§ 141.63(a) of this chapter for systems that demonstrate to the State that the violation of the total coliform MCL is due to  a persistent  growth of  total coli-

#### 40 CFR Ch. I (7–1–17 Edition)

forms in the distribution system rather than fecal or pathogenic contamina- tion, a treatment lapse  or  deficiency, or a problem in the operation or main- tenance  of  the  distribution  system. This stay is applicable until March 31, 2016, at which time the total coliform MCL is no longer applicable.

[54 FR 27568, June 29, 1989, as amended at 56

FR 1557,  Jan. 15,  1991;  78  FR 10365,  Feb. 13,

2013]

##### § 142.64 Variances  and  exemptions from the requirements of part 141, subpart H—Filtration and Disinfec- tion.

- No variances from the require- ments in part 141, subpart H are per- mitted.

- No exemptions from the require- ments in § 141.72 (a)(3) and (b)(2) to pro- vide  disinfection  are  permitted.

[54 FR 27540, June 29, 1989]

##### § 142.65 Variances  and  exemptions from the maximum contaminant levels for radionuclides.

(a)(1) Variances and exemptions from the maximum contaminant levels for combined radium-226 and radium-228, uranium, gross alpha particle activity (excluding Radon and Uranium), and beta  particle  and  photon  radioactivity.

- The Administrator, pursuant to section 1415(a)(1)(A) of the Act, hereby identifies the following as the best available technology, treatment tech- niques, or other means available for achieving compliance with the max- imum contaminant levels for the radio- nuclides listed in § 141.66(b), (c), (d), and

- of this chapter, for the purposes of issuing variances and exemptions, as shown in Table A to this paragraph.

TABLE A—BAT FOR RADIONUCLIDES LISTED IN

| Contaminant | BAT |
| --- | --- |
| Combined radium-226 and ra- dium-228. Uranium ................................. Gross alpha particle activity (excluding radon and ura- nium). Beta particle and photon ra- dioactivity. | Ion exchange, reverse osmo- sis, lime softening. Ion exchange, reverse osmo- sis, lime softening, coagu- lation/filtration. Reverse osmosis. Ion exchange, reverse osmo- sis. |

§ 141.66

#### Environmental Protection Agency	§ 142.65

- In addition, the Administrator hereby identifies the following as the best available technology, treatment techniques, or  other  means  available for achieving compliance with the maximum contaminant levels for the radionuclides  listed  in  § 141.66(b),  (c),

(d), and (e) of this chapter, for the pur- poses of issuing variances and exemp- tions to small drinking water systems, defined here as those serving 10,000 per- sons or fewer, as shown in Table  C  to this   paragraph.

TABLE B—LIST OF SMALL SYSTEMS COMPLIANCE TECHNOLOGIES FOR RADIONUCLIDES AND

LIMITATIONS TO USE

| Unit technologies | Limitations (see foot- notes) | Operator skill level required 1 | Raw water quality range & considerations 1 |
| --- | --- | --- | --- |
| 1. Ion exchange (IE) ............................... 2. Point of use (POU 2 ) IE ..................... 3. Reverse osmosis (RO) ....................... 4. POU 2 RO ........................................... 5. Lime softening .................................... 6. Green sand filtration ........................... Co-precipitation with barium sulfate ... Electrodialysis/electrodialysis reversal Pre-formed hydrous manganese oxide filtration. 10. Activated alumina ............................. 11. Enhanced coagulation/filtration ........ | (a) (b) (c) (b) (d) (e) (f) (g) (a), (h) (i) | Intermediate .......................... Basic ..................................... Advanced .............................. Basic ..................................... Advanced .............................. Basic. Intermediate to Advanced ..... Basic to Intermediate ............ Intermediate .......................... Advanced .............................. Advanced .............................. | All ground waters. All ground waters. Surface waters usually require pre-fil- tration. Surface waters usually require pre-fil- tration. All waters. Ground waters with suitable water quality. All ground waters. All ground waters. All ground waters; competing anion concentrations may affect regenera- tion frequency. Can treat a wide range of water quali- ties. |

1 National Research Council (NRC). Safe Water from Every Tap: Improving Water Service to Small Communities. National Academy Press. Washington, D.C. 1997.

2 A POU, or ‘‘point-of-use’’ technology is a treatment device installed at a single tap used for the purpose of reducing contami- nants in drinking water at that one tap. POU devices are typically installed at the kitchen tap. See the April 21, 2000 NODA for more details.

Limitations Footnotes: Technologies for Radionuclides:

a The regeneration solution contains high concentrations of the contaminant ions. Disposal options should be carefully consid- ered before choosing this technology.

b When POU devices are used for compliance, programs for long-term operation, maintenance, and monitoring must be pro- vided by water utility to ensure proper performance.

c Reject water disposal options should be carefully considered before choosing this technology. See other RO limitations de- scribed in the SWTR compliance technologies table.

d The combination of variable source water quality and the complexity of the water chemistry involved may make this tech- nology too complex for small surface water systems.

e Removal efficiencies can vary depending on water quality.

f This technology may be very limited in application to small systems. Since the process requires static mixing, detention ba- sins, and filtration, it is most applicable to systems with sufficiently high sulfate levels that already have a suitable filtration treat- ment train in place.

g This technology is most applicable to small systems that already have filtration in place.

h Handling of chemicals required during regeneration and pH adjustment may be too difficult for small systems without an ade- quately trained operator.

i Assumes modification to a coagulation/filtration process already in place.

TABLE C—BAT FOR SMALL COMMUNITY WATER SYSTEMS FOR THE RADIONUCLIDES LISTED IN

§ 141.66

| Contaminant | Compliance technologies 1 for system size categories (population served) |
| --- | --- |
|  | 25–500 | 501–3,300 | 3,300–10,000 |
| Combined radium-226 and radium-228 ............... | 1, 2, 3, 4, 5, 6, 7, 8, 9 .. | 1, 2, 3, 4, 5, 6, 7, 8, 9 .. | 1, 2, 3, 4, 5, 6, 7, 8, 9. |
| Gross alpha particle activity ................................. | 3, 4 ............................... | 3, 4 ............................... | 3, 4. |
| Beta particle activity and photon activity .............. | 1, 2, 3, 4 ....................... | 1, 2, 3, 4 ....................... | 1, 2, 3, 4. |
| Uranium ................................................................ | 1, 2, 4, 10, 11 ............... | 1, 2, 3, 4, 5, 10, 11 ...... | 1, 2, 3, 4, 5, 10, 11. |

1 NOTE: Numbers correspond to those technologies found listed in the table B to this paragraph.

- A State shall require community water systems to install and/or use any treatment    technology    identified    in

Table A to this  section,  or  in  the  case of small water systems (those serving 10,000  persons  or  fewer),  Table  B  and

#### § 142.72

Table C of this section, as  a  condition for granting a variance except as pro- vided in paragraph (a)(3) of this sec- tion. If, after the  system’s  installation of the treatment technology, the sys- tem cannot meet the MCL, that system shall be eligible for a variance  under the provisions of section 1415(a)(1)(A) of the  Act.

- If a community water system can demonstrate through comprehensive engineering assessments, which may include pilot plant studies, that the treatment  technologies  identified  in this section would only achieve a de minimus reduction in the contaminant level, the State may issue a schedule of compliance that requires the system being granted the variance to examine other treatment technologies as a con- dition of obtaining the variance.

- If the State determines that a treatment technology identified under paragraph (a)(3) of this section is tech- nically feasible, the Administrator or primacy State may require  the  system to install and/or use that treatment technology in connection with a com- pliance schedule issued under the pro- visions of section 1415(a)(1)(A) of the Act. The State’s determination shall be based upon studies by the system and other  relevant  information.

- The State may require a commu- nity water system to use bottled water, point-of-use devices, point-of-entry de- vices or other means as a condition of granting a variance or  an  exemption from the requirements of § 141.66 of this chapter, to avoid an  unreasonable  risk to   health.

- Community  water  systems  that use bottled water as a condition for re- ceiving  a  variance  or   an   exemption from the requirements of § 141.66 of this chapter must meet the requirements specified    in    either    § 142.62(g)(1)    or

§ 142.62(g)(2) and (g)(3).

- Community water systems that use point-of-use or point-of-entry de- vices as a condition for obtaining a variance or an exemption from the radionuclides NPDWRs must meet the conditions in § 142.62(h)(1) through (h)(6).

(b) [Reserved]

[65 FR 76751, Dec. 7, 2000]

#### 40 CFR Ch. I (7–1–17 Edition)

Subpart H—Indian Tribes

SOURCE: 53 FR 37411, Sept. 26, 1988, unless

otherwise noted.

##### § 142.72   Requirements for Tribal eligi- bility.

The Administrator is authorized to treat an Indian tribe as  eligible  to apply for primary enforcement for the Public Water System Program and the authority to waive the mailing require- ments of § 141.155(a) if it meets the fol- lowing  criteria:

  - The Indian Tribe is recognized by the Secretary of the Interior.

  - The Indian Tribe has a tribal gov- erning  body  which  is  currently  ‘‘car- rying out substantial governmental du- ties  and  powers’’  over  a  defined  area, (i.e.,  is   currently   performing   govern- mental	functions	to	promote	the health,  safety,  and  welfare  of  the  af- fected population within a defined geo- graphic area).

  - The Indian Tribe demonstrates that the functions to be performed in regulating the public water  systems that the applicant intends to regulate are within the area of the Indian Tribal government’s   jurisdiction.

  - The Indian Tribe is reasonably ex- pected to be capable, in the Adminis- trator’s judgment, of administering (in a manner consistent with the terms and purposes of the Act and all applica- ble regulations) an effective Public Water System program.

[53 FR 37411, Sept. 26, 1988, as amended at 59

FR 64344,  Dec. 14,  1994;  63  FR 44535,  Aug. 19,

1998]

##### § 142.76   Request  by  an  Indian  Tribe for a determination of eligibility.

An Indian Tribe may apply to the Ad- ministrator for a determination that it meets the criteria of section 1451 of the Act. The application shall be concise and describe how the Indian Tribe will meet   each   of   the   requirements   of

§ 142.72. The application shall consist of the   following   information:

- A statement that the Tribe is rec- ognized by the Secretary of the  Inte- rior.

- A descriptive statement dem- onstrating that the Tribal governing body is currently carrying out substan- tial  governmental   duties  and   powers

#### Environmental Protection Agency	§ 142.78

over  a  defined  area.  The  statement should:

  - Describe the form of the Tribal government;

  - Describe the types of govern- mental functions currently performed by the Tribal governing body such as, but not limited to, the exercise of  po- lice powers affecting (or relating to) the health, safety, and welfare of the affected population; taxation; and the exercise of the power of eminent do- main; and

  - Identify the sources of the Tribal government’s authority to carry out the governmental functions currently being performed.

- A map or legal description of the area over  which  the  Indian  Tribe  as- serts jurisdiction; a statement by the Tribal Attorney General (or equivalent official) which describes the basis for the Tribe’s jurisdictional assertion (in- cluding the nature or subject matter of the asserted jurisdiction); a copy of those documents such as Tribal con- stitutions, by-laws, charters, executive orders, codes, ordinances, and/or reso- lutions which the Tribe believes are relevant to its assertions regarding ju- risdiction; and a description of the lo- cations of the public water systems the Tribe proposes to regulate.

- A narrative statement describing the capability of the Indian Tribe to administer an effective Public Water System program. The narrative state- ment should include:

  - A description of the Indian Tribe’s previous management experience which may include, the administration of programs and services authorized by the Indian Self-Determination and Education Assistance Act (25 U.S.C. 450 et seq.), the Indian Mineral Develop- ment Act (25 U.S.C. 2101 et seq.), or the Indian Sanitation Facilities Construc- tion Activity Act (42 U.S.C. 2004a).

  - A list of existing environmental or public health programs adminis- tered by the Tribal governing body and a copy of related Tribal laws, regula- tions and policies.

  - A description of the Indian Tribe’s accounting and procurement systems.

  - A description of the entity (or en- tities) which exercise the executive, legislative, and judicial  functions of the Tribal government.

  - A description of the existing, or proposed, agency of the Indian Tribe which will assume primary enforce- ment responsibility, including a de- scription of the relationship between owners/operators of the public water systems and the agency.

  - A description of the technical and administrative capabilities of the staff to administer and manage an effective Public Water System Program or a plan which proposes how the Tribe will acquire additional administrative and/ or technical expertise. The plan must address how the Tribe will obtain the funds to acquire the additional admin- istrative and technical expertise.

- The Administrator may, in his discretion, request further documenta- tion necessary to support a Tribe’s eli- gibility.

- If the Administrator has pre- viously determined that  a  Tribe  has met the  prerequisites that  make it  eli- gible to assume a  role  similar  to  that of a state as provided by statute under the Safe Drinking Water Act, the Clean Water Act, or the Clean Air Act, then that Tribe need provide only that in- formation unique to the Public Water System program (paragraphs (c), (d)(5) and (6) of this section).

[53 FR 37411, Sept. 26, 1988, as amended at 59

FR 64344, Dec. 14, 1994]

##### § 142.78   Procedure  for  processing  an Indian Tribe’s application.

- The Administrator shall process a completed application of an Indian Tribe in a timely manner. He shall promptly notify the Indian Tribe of re- ceipt of the application.

- A tribe that meets the require- ments of § 141.72 of this chapter is eligi- ble to  apply for development  grants and primacy enforcement responsi- bility for a Public Water System Pro- gram and associated funding under sec- tion 1443(a) of the Act and for primary enforcement responsibility for public water systems under section 1413 of the Act and for the authority to waive the mailing requirement of § 141.155(a) of this  chapter.

[53 FR 37411 Sept. 26, 1988, as amended at 59

FR 64345,  Dec. 14,  1994;  63  FR 71376,  Dec. 28,

1998]

#### § 142.80

Subpart I—Administrator’s Review of State Decisions that Imple- ment Criteria Under Which Fil- tration Is Required

SOURCE:  54  FR  27540,  June  29,  1989,  unless

otherwise noted.

##### § 142.80   Review procedures.

  - The Administrator may initiate a comprehensive review of the decisions made by States with primary enforce- ment responsibility to determine, in accordance with § 141.71 of this chapter, if public water systems using surface water sources must provide filtration treatment. The Administrator shall complete this review within one year of its initiation and shall schedule subse- quent reviews as (s)he deems necessary.

  - EPA shall publish notice of a pro- posed review in the FEDERAL REGISTER. Such notice must:

    - Provide information regarding the location of data and other information pertaining to the review to be con- ducted and other information including new scientific matter bearing on the application of the criteria for avoiding filtration; and

    - Advise the public of the oppor- tunity to submit comments.

  - Upon completion of any such re- view, the Administrator shall notify each State affected by the results  of the review and shall make the results available to the public.

##### § 142.81   Notice to the State.

- If the Administrator finds through periodic review or other avail- able information that a State (1) has abused its discretion in applying the criteria  for  avoiding  filtration  under

§ 141.71 of this chapter in determining that a system does not have to provide filtration treatment, or (2) has failed to prescribe compliance  schedules  for those systems which must provide fil- tration in accordance with section 1412(b)(7)(C)(ii) of the Act, (s)he shall notify the State of these findings. Such notice   shall:

- Identify each public water system for which the Administrator finds the State has abused its discretion;

- Specify the reasons for the find- ing;

#### 40 CFR Ch. I (7–1–17 Edition)

- As appropriate, propose that the criteria of § 141.71 of this chapter be ap- plied properly to determine the need for a public water system to provide filtration treatment or propose a re- vised schedule for compliance by the public water system with the filtration treatment  requirements;

- The Administrator shall also no- tify the State that a public hearing is to be held on the provisions of the no- tice required by paragraph (a) of this section. Such notice shall specify the time and location of the hearing. If, upon notification of a finding by the Administrator that the State has abused its discretion under § 141.71 of this chapter, the State takes corrective action satisfactory to the Adminis- trator, the Administrator may rescind the notice to the State of a public hearing.

- The Administrator shall publish notice of the public hearing in the FED- ERAL REGISTER and in a newspaper of general circulation in the involved State, including a summary of the find- ings made pursuant to paragraph (a) of this section, a statement of the time and location for the hearing, and the address and telephone number of an of- fice at which interested persons may obtain further information concerning the hearing.

- Hearings convened pursuant to paragraphs (b) and (c) of this section shall be conducted before a hearing of- ficer to be designated by the Adminis- trator. The hearing shall be  conducted by the hearing officer in an informal, orderly, and expeditious manner. The hearing officer shall have the authority to call witnesses, receive oral and writ- ten testimony, and take such other ac- tion as may be necessary to ensure the fair and efficient conduct of the hear- ing. Following the conclusion of the hearing, the  hearing  officer  may  make a recommendation to the Adminis- trator based on the testimony pre- sented at the hearing and shall forward any such recommendation and the record of the hearing to the Adminis- trator.

- Within 180 days after the date no- tice is given pursuant to paragraph (b) of this  section,  the  Administrator shall:

#### Environmental Protection Agency	§ 142.304

  - Rescind the notice to the State of a public hearing if the State takes cor- rective action satisfactory to the Ad- ministrator; or

  - Rescind the finding for which the notice was given and promptly notify the State of such rescission; or

  - Uphold the finding for which the notice was given. In this event, the Ad- ministrator shall revoke the State’s decision that filtration was not re- quired or revoke the compliance sched- ule approved by the State, and promul- gate, as appropriate, with any appro- priate modifications, a revised filtra- tion decision or compliance schedule and promptly notify the State of such action.

- Revocation of a State’s filtration decision or compliance schedule and/or promulgation of a revised filtration de- cision or compliance schedule  shall take effect 90 days after the State is notified under paragraph (e)(3) of this section.

# Subpart J [Reserved]

Subpart K—Variances for Small System

SOURCE:  63  FR  43848,  Aug.  14,  1998,  unless

otherwise noted.

GENERAL PROVISIONS

##### § 142.301   What is a small system vari- ance?

Section 1415(e) of the Act authorizes the issuance of variances from the re- quirement to comply with a maximum contaminant level or treatment tech- nique to systems serving fewer than 10,000 persons. The purpose of this sub- part is to provide the procedures and criteria for obtaining  these  variances. The regulations in  this  subpart  shall take effect on September 14, 1998.

##### § 142.302   Who can issue a small system variance?

A small system variance under this subpart may only be issued by either:

- A State that is exercising primary enforcement responsibility under Sub- part B for public water systems under the State’s jurisdiction; or

- The Administrator, for a public water system in a State which does not

have   primary   enforcement   responsi- bility.

##### § 142.303 Which size public water sys- tems can receive a small system variance?

- A State exercising primary en- forcement responsibility for public water systems (or the Administrator for other systems) may grant a small system variance to public water sys- tems serving 3,300 or fewer persons.

- With the approval of the Adminis- trator pursuant to § 142.312, a State ex- ercising primary enforcement responsi- bility for public water systems  may grant a small system  variance  to  pub- lic water systems serving more than 3,300 persons but fewer than 10,000 per- sons.

- In determining the number of per- sons served by the public water system, the State or Administrator must in- clude persons served by consecutive systems. A small system variance granted to a public water system would also apply to any consecutive system served by it.

##### § 142.304 For which of the regulatory requirements is a small system vari- ance available?

- A small system variance is not available under this subpart for a na- tional primary drinking water regula- tion for a microbial contaminant (in- cluding a bacterium, virus, or other or- ganism) or an indicator or treatment technique for a microbial contaminant.

- A small system variance under this subpart is otherwise only available for compliance with a requirement specifying a maximum contaminant level or treatment technique for a con- taminant with respect to which;

- a national primary drinking water regulation was promulgated on or after January 1, 1986; and

- the  Administrator  has  published  a small  system   variance  technology   pur- suant to Section 1412(b)(15) of the Act.

NOTE TO PARAGRAPH (b)(1): Small system variances are not available for public water systems above the pre-1986 maximum con- taminant level even  if  subsequently  revised. If the Agency revises a pre-1986 maximum contaminant level and makes it more strin- gent, then a variance would be available for that contaminant, but only up to the pre- 1986 maximum contaminant level.

§ 142.305

##### § 142.305 When can a small system variance be granted by a State?

No small system variance can be granted by a State until the later  of the following:

  - 90 days after the State proposes to grant the small system variance;

  - If a State is proposing to grant a small system variance to a public water system serving 3,300 or fewer per- sons and the Administrator objects to the small system variance, the date on which the State makes the rec- ommended modifications or responds in writing to each objection; or

  - If a State is proposing to grant a small system variance to a public water system serving a population more than 3,300 and fewer than 10,000 persons, the date the Administrator ap- proves the small system variance. The Administrator must approve or dis- approve the variance within 90 days after it is submitted to the Adminis- trator for review.

REVIEW OF SMALL SYSTEM VARIANCE APPLICATION

##### § 142.306 What are the responsibilities of the public water system, State and the Administrator in ensuring that sufficient information is avail- able and for evaluation of a small system variance application?

- A public water system requesting a small system variance must provide accurate and correct information to the State or the Administrator to issue a small system variance in accordance with this subpart. A State may assist a public water system in compiling infor- mation required for the State or the Administrator to issue a small system variance in accordance with this sub- part.

- Based upon an application for a small system variance and other infor- mation, and before a small system variance may be proposed under this subpart, the State or the Adminis- trator must find and document the fol- lowing:

  - The public water system is eligi- ble for a small system variance  pursu- ant to §§ 142.303 (i.e., the system serves a population of fewer than 10,000 per- sons) and 142.304 (i.e., the contaminant for  which  the  small  system  variance  is

#### 40 CFR Ch. I (7–1–17 Edition)

sought is not excluded from variance eligibility);

  - The public water system cannot afford to comply, in accordance with the affordability  criteria  established by the State (or by the Administrator in States which do not have primary enforcement responsibility), with the national primary drinking water regu- lation for which a small  system vari- ance is sought, including by:

- Treatment;

- Alternative sources of water sup- ply;

- Restructuring or consolidation changes, including ownership change and/or physical consolidation with an- other public water system; or

- Obtaining financial assistance pursuant to Section 1452 of the Act or any other Federal or State program;

  - The public  water  system  meets the source water quality requirements for installing the small  system  vari- ance technology developed pursuant to guidance published under section 1412(b)(15) of the Act;

  - The public water system is finan- cially and technically capable of in- stalling, operating and maintaining the applicable small system variance tech- nology; and

  - The terms and conditions of the small system variance, as developed through compliance with § 142.307, en- sure adequate protection of human health,  considering  the  following:

    - The quality of the source water for the public water system; and

    - Removal efficiencies and expected useful life of the small system variance technology.

##### § 142.307 What terms and conditions must be included in a small system variance?

- A State or the Administrator must clearly specify enforceable terms and conditions of a small system vari- ance.

- The terms  and conditions  of a small system variance  issued  under this subpart must include, at a min- imum, the following requirements:

  - Proper and effective installation, operation and maintenance of the ap- plicable small system variance tech- nology  in  accordance  with  guidance

#### Environmental Protection Agency	§ 142.308

published by the Administrator pursu- ant to section 1412(b)(15) of the Act, taking into consideration any relevant source water characteristics and any other site-specific conditions that may affect proper and  effective  operation and  maintenance  of  the  technology;

  - Monitoring requirements, for the contaminant for which a small system variance is sought, as specified in 40 CFR part 141; and

  - Any other terms or conditions that are necessary to ensure adequate protection of public health, which may include:

    - Public education requirements; and

    - Source water protection require- ments.

- The State or the Administrator must establish a schedule for the pub- lic water system to comply with the terms and conditions of the small sys- tem variance which must include, at a minimum, the following requirements:

  - Increments of progress, such as milestone dates for the public water system to apply for  financial  assist- ance and begin capital improvements;

  - Quarterly reporting to the State or Administrator of the public water system’s compliance with the terms and conditions of the small system variance;

  - Schedule for the State or the Ad- ministrator to review the small system variance under paragraph (d) of this section; and

  - Compliance with the terms and conditions of the small  system  vari- ance as  soon  as  practicable but  not later than 3 years after the date on which the small system variance is granted. The Administrator or  State may allow up to 2 additional  years  if the Administrator or State determines that additional time is necessary for the public water system to:

    - Complete necessary capital im- provements to comply with the small system variance technology, secure an alternative source of water, or restruc- ture or consolidate; or

    - Obtain financial assistance pro- vided pursuant to section 1452 of the Act or any other Federal or State pro- gram.

- The State or the Administrator must  review  each  small  system  vari-

ance granted not less often than every

5 years after the compliance date es- tablished in the small  system  variance to determine whether the public water system continues to meet the  eligi- bility criteria and remains eligible for the small system variance and is com- plying with the terms and conditions of the small system variance.  If  the  pub- lic water system would no longer be el- igible for a small system variance, the State or the Administrator must deter- mine whether continuing  the  variance is in the public interest. If the State or the Administrator finds that con- tinuing the variance is not in the pub- lic interest, the variance must be with- drawn.

PUBLIC PARTICIPATION

##### § 142.308 What public notice is re- quired before a State or the Admin- istrator proposes to issue a small system variance?

- At least fifteen (15) days before the date of proposal, and at least thirty

- days prior to a public meeting to discuss the proposed small system vari- ance, the State, Administrator, or pub- lic water system as directed by the State or Administrator, must provide notice to all persons served by the pub- lic water system. For billed customers, identified in paragraph (a)(1) of this section, this notice must include the information listed in paragraph (c) of this section. For other persons regu- larly served by the system, identified in paragraph (a)(2) of this section, the notice shall include the information identified in paragraph (d) of this sec- tion. Notice must be provided to all persons served by:

  - Direct mail or other home deliv- ery to billed customers or other service connections, and

  - Any other method reasonably cal- culated to notify, in a brief and concise manner, other persons regularly served by the system. Such methods may in- clude publication in a local newspaper, posting in public places or delivery to community organizations.

- At the time of proposal, the State must publish a notice in the State equivalent to the FEDERAL REGISTER  or a newspaper or newspapers of wide cir- culation in the State, or, in the case of the   Administrator,   in   the   FEDERAL

#### § 142.309

REGISTER. This notice shall include the information listed in paragraph (c) of this section.

- The notice in paragraphs (a)(1) and (b) of this section must include, at a minimum, the following:

- Identification	of	the contaminant[s] for which a small sys- tem variance is sought;

- A brief statement of the health ef- fects	associated	with	the contaminant[s] for which a small sys- tem variance is sought  using  language in appendix C of part 141 subpart O of this  chapter;

- The address and telephone number at which interested persons may obtain further information concerning the contaminant and the small system variance;

- A brief summary, in easily under- standable terms, of the terms and con- ditions of the small system variance;

- A description of the consumer pe- tition process under § 142.310 and infor- mation on contacting the EPA Re- gional  Office;

- a brief statement announcing the public       meeting       required       under

§ 142.309(a), including a statement of the purpose of the meeting, informa- tion regarding the time and location for the meeting, and the address and telephone number at which interested persons may obtain further informa- tion concerning the meeting; and

- In communities with a large pro- portion of non-English-speaking resi- dents, as determined by the primacy agency, information in the appropriate language regarding the content and im- portance of the notice.

- The notice in paragraph (a)(2) of this section must provide sufficient in- formation to alert readers to the pro- posed variance and direct them where to receive additional information.

- At its option, the State or the Ad- ministrator may choose to issue sepa- rate notices or additional notices re- lated to the proposed small system variance, provided that the require- ments in paragraphs (a) through (d) of this section are satisfied.

- Prior to promulgating the final variance, the State or the Adminis- trator must respond in writing to all significant public comments received relating to the small system variance.

#### 40 CFR Ch. I (7–1–17 Edition)

Response to public comment and any other documentation supporting the issuance of a variance must be made available to the public after final pro- mulgation.

##### § 142.309 What are the public meeting requirements associated with the proposal of a small system vari- ance?

- A State or the Administrator must provide for at least one (1) public meeting on the small system  variance no later than 15 days after the small system variance is proposed.

- At the time of the public meeting, the State or Administrator must pre- pare and make publicly available, in addition  to  the  information  listed  in

§ 142.308(c),  either:

  - The proposed small system vari- ance, if the public meeting occurs after proposal of the small system variance; or

  - A draft of the proposed small sys- tem variance, if the public meeting oc- curs prior to proposal of the proposed small system variance.

- Notice of the public meeting  must be provided in the manner required under § 142.308 at least 30 days in ad- vance of the public meeting. This no- tice must be provided by the State, the Administrator, or the public water sys- tem as directed by the State or Admin- istrator.

##### § 142.310 How can a person served by the public water system obtain EPA review of a State proposed small system variance?

- Any person served by the public water system may petition the Admin- istrator to object to the granting of a small system variance within 30 days after a State proposes to grant a small system variance for a public water sys- tem.

- The  Administrator  must  respond to a petition filed by  any  person  served by the public water system and deter- mine whether to object to the small system variance under § 142.311, no later than 60 days after the  receipt  of the   petition.

#### Environmental Protection Agency	§ 143.1

EPA REVIEW AND APPROVAL OF SMALL SYSTEM  VARIANCES

##### § 142.311 What procedures allow the Administrator to object to a pro- posed small system variance or overturn a granted small system variance for a public water system serving 3,300 or fewer persons?

  - At the time a  State  proposes  to grant a small system variance under this subpart, the State must submit to the Administrator the proposed small system variance and all supporting in- formation, including any written pub- lic comments received prior to pro- posal.

  - The Administrator may review and object to any proposed small sys- tem variance within 90 days of receipt of the proposed small system variance. The Administrator  must  notify  the State in writing of each basis for the objection and propose a  modification to the small system variance to resolve the concerns of the Administrator. The State must make the recommended modification, respond in writing to each objection, or withdraw the pro- posal to grant the small system vari- ance.

  - If the State issues the small sys- tem variance without resolving the concerns of the Administrator, the Ad- ministrator may overturn the State de- cision to grant the variance if the Ad- ministrator determines that the State decision does not comply with the Act or this rule.

##### § 142.312 What EPA action is necessary when a State proposes to grant a small system variance to a public water system serving a population of more than 3,300 and fewer than 10,000 persons?

- At the time a State proposes to grant a small system variance to  a public water system serving a popu- lation of more  than  3,300  and  fewer than 10,000 persons, the State must submit the proposed small system vari- ance and all supporting information, including  public  comments  received prior to  proposal,  to  the  Adminis- trator.

- The Administrator must approve or disapprove the small system vari- ance within 90 days of receipt of the proposed   small   system   variance   and

supporting information. The Adminis- trator must approve the small system variance if it meets each requirement within the Act and this rule.

- If the Administrator disapproves the small system variance, the Admin- istrator must notify the State in writ- ing of the reasons for disapproval and the small system variance does not be- come effective. The State may resub- mit the small system variance for re- view and approval with modifications to address the objections stated by the Administrator.

##### § 142.313 How will the Administrator review a State’s program under this subpart?

- The Administrator must periodi- cally review each State program under this subpart to determine whether small system variances granted by the State comply with the requirements of the Act, this rule and the affordability criteria developed by the State.

- If the Administrator determines that small system variances granted by a State are not in compliance with the requirements of the Act, this rule  or the affordability criteria developed by the State, the Administrator shall no- tify the State in writing of the defi- ciencies and make public the deter- minations.

- The Administrator’s review will be based in part on quarterly reports prepared  by  the  States  pursuant  to

§ 142.15(a)(1) relating to violations of in- crements of progress or other violated terms or conditions of small system variances.

# PART 143—NATIONAL SECONDARY DRINKING WATER REGULATIONS

Sec.

  - Purpose.

  - Definitions.

  - Secondary maximum contaminant lev- els.

  - Monitoring.

AUTHORITY: 42 U.S.C. 300f et seq.

SOURCE: 44 FR 42198, July 19, 1979, unless

otherwise noted.

##### § 143.1   Purpose.

This part establishes National Sec- ondary Drinking Water Regulations pursuant  to  section  1412  of  the  Safe

§ 143.2

Drinking  Water  Act,  as  amended  (42

    - 300g–1). These regulations con- trol contaminants in drinking  water that primarily affect the aesthetic qualities relating to the public accept- ance of drinking water. At consider- ably higher concentrations of these contaminants,   health    implications may also exist as well as aesthetic deg- radation. The regulations are not Fed- erally enforceable but are intended as guidelines for the States.

##### § 143.2   Definitions.

      - Act means the Safe Drinking Water Act as amended (42 U.S.C. 300f et seq.).

      - Contaminant means any physical, chemical, biological, or radiological substance or matter in water.

      - Public water system means a sys- tem for the provision to the public of piped water for human consumption, if such a system has at least fifteen serv- ice connections or regularly serves an average of at least twenty-five individ- uals daily at least 60 days out of the year. Such term includes (1) any collec- tion, treatment, storage, and distribu- tion facilities under control of the op- erator of such system and used pri- marily in connection with such system, and (2) any collection or pretreatment storage facilities not under such con- trol which are used primarily in con- nection with such system. A public water system is either a ‘‘community water system’’ or a ‘‘non-community water  system.’’

      - State means the agency of the State or Tribal government which has jurisdiction over public water systems. During any period when a State does not have responsibi1ity pursuant to section 1443 of the Act, the term ‘‘State’’ means the Regional Adminis- trator, U.S. Environmental Protection Agency.

      - Supplier of water means any person who owns or operates a public water system.

      - Secondary maximum contaminant levels means SMCLs which apply to public water systems and which, in the judgement of the Administrator, are requisite to protect the public welfare. The SMCL means the maximum per- missible level of a contaminant in water  which  is  delivered  to  the  free

#### 40 CFR Ch. I (7–1–17 Edition)

flowing outlet of the ultimate user of public water system. Contamimants added to the water under cir- cumstances controlled by the user, ex- cept those resulting from corrosion of piping and plumbing caused by water quality, are excluded from this defini- tion.

[44 FR 42198, July 19, 1979, as amended at 53

FR 37412, Sept. 26, 1988]

##### § 143.3   Secondary  maximum  contami- nant levels.

The secondary maximum contami- nant levels for public water systems are as follows:

| Contaminant | Level |
| --- | --- |
| Aluminum .............................. | 0.05 to 0.2 mg/l. |
| Chloride ................................. | 250 mg/l. |
| Color ...................................... | 15 color units. |
| Copper ................................... | 1.0 mg/l. |
| Corrosivity ............................. | Non-corrosive. |
| Fluoride ................................. | 2.0 mg/l. |
| Foaming agents .................... | 0.5 mg/l. |
| Iron ........................................ | 0.3 mg/l. |
| Manganese ............................ | 0.05 mg/l. |
| Odor ...................................... | 3 threshold odor number. |
| pH .......................................... | 6.5–8.5. |
| Silver ..................................... | 0.1 mg/l. |
| Sulfate ................................... | 250 mg/l. |
| Total dissolved solids (TDS) | 500 mg/l. |
| Zinc ........................................ | 5 mg/l. |

These levels represent reasonable goals for drinking water quality. The States may establish higher or lower levels which may be appropriate dependent upon local conditions such as unavail- ability of alternate source waters or other compelling factors, provided that public health and welfare are not ad- versely  affected.

[44 FR 42198, July 19, 1979, as amended at 51

FR  11412,  Apr.  2,  1986;  56  FR  3597,  Jan.  30,

1991]

##### § 143.4   Monitoring.

    - It is recommended that the pa- rameters in these regulations should be monitored at intervals no less frequent than the monitoring performed for in- organic chemical contaminants listed in the National Interim Primary Drinking Water Regulations as applica- ble to community water systems. More frequent monitoring would be appro- priate for specific parameters such as pH, color, odor or others under certain circumstances as directed by the State.

    - Measurement of pH, copper and fluoride to determine compliance under

#### Environmental Protection Agency	§ 143.4

§ 143.3 may be conducted with one  of the methods in § 141.23(k)(1).  Analyses of aluminum, chloride, foaming agents, iron, manganese, odor, silver, sulfate, total dissolved solids (TDS) and zinc to determine compliance under § 143.3 may be conducted with the methods in the following table or alternative  methods listed  in  appendix  A  to  subpart  C  of part 141. Criteria for analyzing alu- minum,  copper,  iron,  manganese,  silver

and zinc samples with digestion or di- rectly without digestion, and other an- alytical  test  procedures  are   contained in Technical Notes on Drinking Water Methods, EPA–600/R–94–173, October 1994. This document is available from the National Service Center for Envi- ronmental  Publications  (NSCEP),  P.O. Box 42419, Cincinnati, OH 45242–0419

§ 143.4

754

| Contaminant | EPA | ASTM 3 | SM 4 18th and 19th ed. | SM 4 20th ed. | SM 7 Online | Other |
| --- | --- | --- | --- | --- | --- | --- |
| 1. Aluminum .................... | 200.7 2 | ......................... | 3120 B ............................ | 3120 B ............................ | 3120 B–99. | D6508, Rev. 2 8 |
|  | 200.8 2 | ......................... | 3113 B ............................ | ......................................... | 3113 B–99. |  |
|  | 200.9 2 | ......................... | 3111 D ............................ | ......................................... | 3111 D–99. |  |
| 2. Chloride ....................... | 300.0 1, | D4327–97, 03 | 4110 B ............................ | 4110 B ............................ | 4110 B–00. |  |
|  | 300.1 6 |  |  |  |  |  |
|  |  |  | 4500–Cl– D ..................... | 4500–Cl– D ..................... | 4500–Cl– D–97. |  |
|  |  | D512–89 (Re- | 4500–Cl– B ..................... | 4500–Cl– B ..................... | 4500–Cl– B–97. |  |
|  |  | approved |  |  |  |  |
|  |  | 1999) B. |  |  |  |  |
| 3. Color ............................ | ................ | ......................... | 2120 B ............................ | 2120 B ............................ | 2120 B–01. |  |
| 4. Foaming Agents .......... | ................ | ......................... | 5540 C ............................ | 5540 C ............................ | 5540 C–00. |  |
| 5. Iron .............................. | 200.7 2 | ......................... | 3120 B ............................ | 3120 B ............................ | 3120 B–99. |  |
|  | 200.9 2 | ......................... | 3111 B ............................ | ......................................... | 3111 B–99. |  |
|  |  | ......................... | 3113 B ............................ | ......................................... | 3113 B–99. |  |
| 6. Manganese ................. | 200.7 2 | ......................... | 3120 B ............................ | 3120 B ............................ | 3120 B–99. |  |
|  | 200.8 2 | ......................... | 3111 B ............................ | ......................................... | 3111 B–99. |  |
|  | 200.9 2 | ......................... | 3113 B ............................ | ......................................... | 3113 B–99. |  |
| 7. Odor ............................ |  | ......................... | 2150 B ............................ | 2150 B ............................ | 2150 B–97. |  |
| 8. Silver ........................... | 200.7 2 | ......................... | 3120 B ............................ | 3120 B ............................ | 3120 B–99. | I–3720–85 5 |
|  | 200.8 2 | ......................... | 3111 B ............................ | ......................................... | 3111 B–99. |  |
|  | 200.9 2 | ......................... | 3113 B ............................ | ......................................... | 3113 B–99. |  |
| 9. Sulfate ......................... | 300.0 1, | D4327–97, 03 | 4110 B ............................ | 4110 B ............................ | 4110 B–00. |  |
|  | 300.1 6 |  |  |  |  |  |
|  | 375.2 1 | ......................... | 4500–SO4 2– F ................ | 4500–SO4 2– F. |  |  |
|  |  |  | 4500–SO4 2– C, D ........... | 4500–SO4 2– C, D. |  |  |
|  |  | D516–90, 02 ... | 4500–SO4 2– E ................ | 4500–SO4 2– E. |  |  |
|  |  |  |  |  |  | D6508, Rev. 2 8 |
| 10. Total Dissolved Solids |  | ......................... | 2540 C ............................ | 2540 C ............................ | 2540 C–97. |  |
| 11. Zinc ........................... | 200.7 2 | ......................... | 3120 B ............................ | 3120 B ............................ | 3120 B–99. |  |
|  | 200.8 2 | ......................... | 3111 B ............................ | ......................................... | 3111 B–99. |  |

40 CFR Ch. I (7–1–17 Edition)

The procedures shall be done in accordance with the documents listed below. The incorporation by reference of the following documents was approved by the Director of the Federal Register in accordance with 5 U.S.C. 552(a) and 1 CFR part 51. Copies of the documents may be obtained from the sources listed below. Information regarding obtaining these docu- ments can be obtained from the Safe Drinking Water Hotline at 800–426–4791. Documents may be inspected at EPA’s Drinking Water Docket, EPA West, 1301 Constitution Avenue, NW., Room 3334, Washington, DC (Telephone: 202–566–2426); or at the National Archives and Records Administration (NARA). For information on the availability of this material at NARA,   call   202–741–6030

1 ‘‘Methods for the Determination of Inorganic Substances in Environmental Samples,’’ EPA/600/R–93–100, August 1993. Available at NTIS, PB94–120821.

2 ‘‘Methods for the Determination of Metals in Environmental Samples—Supplement I,’’ EPA/600/R–94–111, May 1994. Available at NTIS, PB 95–125472.

3 Annual Book of ASTM Standards, 1994, 1996, 1999, or 2004, Vols. 11.01 and 11.02, ASTM International; any year containing the cited version of the method may be used. Copies may be obtained from the ASTM International, 100 Barr Harbor Drive, West Conshohocken, PA 19428.

4 Standard Methods for the Examination of Water and Wastewater, 18th edition (1992), 19th edition (1995), or 20th edition (1998). American Public Health Association, 1015 Fifteenth Street, NW., Washington, DC 20005. The cited methods published in any of these three editions may be used, except that the versions of 3111 B, 3111 D, and 3113 B in the 20th edi- tion may not be used.

5 Method I–3720–85, Techniques of Water Resources Investigation of the U.S. Geological Survey, Book 5, Chapter A–1, 3rd ed., 1989. Available from Information Services, U.S. Geo- logical Survey, Federal Center, Box 25286, Denver, CO 80225–0425.

§ 143.4

755

Environmental Protection Agency

6 ‘‘Methods for the Determination of Organic and Inorganic Compounds in Drinking Water,’’ Vol. 1, EPA 815R–00–014, August 2000. Available at NTIS, PB2000–106981.

7 Standard Methods Online are available The year in which each method was approved by the Standard Methods Committee is designated by the last two digits in the method number. The methods listed are the only online versions that may be used.

8 Method D6508, Rev. 2, ‘‘Test Method for Determination of Dissolved Inorganic Anions in Aqueous Matrices Using Capillary Ion Electrophoresis and Chromate Electrolyte,’’ available from Waters Corp, 34 Maple St., Milford, MA, 01757, Telephone: 508/482–2131, Fax: 508/482–3625.

[44 FR 42198, July 19, 1979, as amended at 53 FR 5147, Feb. 19, 1988; 56 FR 30281, July 1, 1991; 59 FR 62470, Dec. 5, 1994; 64 FR 67466, Dec.

1, 1999; 67 FR 65252, Oct. 23, 2002; 69 FR 18803, Apr. 9, 2004; 72 FR 11248, Mar. 12, 2007; 74 FR 30959, June 29, 2009]

| Pt. 144 PART 144—UNDER | GROUND | 40 CFR Ch. I (7–1–17 Edition) Subpart E—Permit Conditions |
| --- | --- | --- |
| INJECTION CONTROL PROGRAM 144.51 | Conditions applicable to all permits. |
|  | 144.52 | Establishing permit conditions. |
| Subpart A—General | Provisions 144.53 | Schedule of compliance. |
| Sec. | 144.54 | Requirements for recording and re- |

  - Purpose and scope of part 144.

  - Promulgation of Class II programs for Indian lands.

  - Definitions.

  - Considerations under Federal law.

  - Confidentiality of information.

  - Classification of wells.

  - Identification  of  underground  sources of drinking water and exempted aquifers.

  - Noncompliance and program reporting by the Director.

##### Subpart B—General Program Requirements

  - Prohibition   of   unauthorized   injec- tion.

  - Prohibition of movement of fluid into underground sources of drinking water.

  - Prohibition of Class IV wells.

  - Requirements for wells injecting haz- ardous waste.

  - Prohibition	of	non-experimental Class V wells for geologic sequestration.

  - Waiver of requirement by Director.

  - Records.

  - Requirements for Class VI wells.

  - Transitioning from Class II to Class VI.

##### Subpart C—Authorization of Underground Injection by Rule

  - Existing Class I, II (except enhanced recovery and hydrocarbon storage) and III wells.

  - Existing  Class  II  enhanced  recovery and hydrocarbon storage wells.

  - Class IV wells.

  - Class V wells.

  - Requiring a permit.

  - Inventory  requirements.

  - Requiring other information.

  - Requirements for Class I, II, and III wells authorized by rule.

##### Subpart D—Authorization by Permit

  - Application  for  a  permit;  authoriza- tion by permit.

  - Signatories   to   permit   applications and reports.

  - Area permits.

  - Emergency permits.

  - Effect of a permit.

  - Duration of permits.

  - Continuation of expiring permits.

  - Transfer of permits.

  - Modification	or	revocation	and reissuance of permits.

  - Termination of permits.

  - Minor modifications of permits.

porting of monitoring results.

144.55    Corrective action.

##### Subpart F—Financial Responsibility: Class I Hazardous Waste Injection Wells

  - Applicability.

  - Definitions  of  terms  as  used  in  this subpart.

  - Cost  estimate  for  plugging  and  aban- donment.

  - Financial  assurance  for  plugging  and abandonment.

  - Incapacity   of   owners   or   operators, guarantors,  or  financial  institutions.

  - Use of State-required mechanisms.

  - State assumption of responsibility.

144.70    Wording of the instruments.

##### Subpart G—Requirements for Owners and Operators of Class V Injection Wells

  - General.

DEFINITION OF CLASS V INJECTION WELLS

  - What is a Class V injection well?

  - Does this subpart apply to me?

REQUIREMENTS FOR ALL CLASS V INJECTION WELLS

  - What  must  I  do  to  protect  under- ground sources of drinking water?

  - Do I need to notify anyone about my Class V injection well?

  - Do I need to get a permit?

ADDITIONAL REQUIREMENTS FOR CLASS V LARGE-CAPACITY CESSPOOLS AND MOTOR VEHICLE WASTE DISPOSAL WELLS

  - Do    these    additional    requirements apply to me?

  - What  are  the  definitions  I  need  to know?

  - How does the identification of ground water protection areas and other sen- sitive areas affect me?

  - What    are    the    additional    require- ments?

  - How do I close my Class V injection well?

AUTHORITY:  Safe  Drinking  Water  Act,  42

    - 300f et seq.; Resource Conservation and Recovery Act, 42 U.S.C. 6901 et seq.

SOURCE:  48  FR  14189,  Apr.  1,  1983,  unless

otherwise noted.

Environmental Protection Agency	§ 144.1

Subpart A—General Provisions

##### § 144.1   Purpose and scope of part 144.

      - Contents of part 144. The regula- tions in this part set forth  require- ments for the Underground Injection Control (UIC) program promulgated under Part C of the Safe  Drinking Water Act (SDWA) (Pub. L. 93–523, as amended; 42 U.S.C. 300f et seq.) and, to the extent that they deal with haz- ardous waste, the Resource Conserva- tion and Recovery Act (RCRA) (Pub. L. 94–580 as amended; 42 U.S.C. 6901 et seq.).

      - Applicability. (1) The regulations in this part establish minimum re- quirements for UIC programs. To the extent set forth in part 145, each State must meet these requirements in order to obtain primary enforcement author- ity for the UIC program in that State.

(2) In addition to serving as min- imum requirements for UIC programs, the regulations  in  this  part  constitute a part of the UIC program for States listed in part 147 to be administered di- rectly  by  EPA.

      - The information requirements lo- cated in the following  sections  have been cleared by the Office of Manage- ment and Budget: Sections 144.11, 144.28(c)(d)(i), 144.31, 14.33, 144.51(j)(m) (n), 144.52(a), 144.54, 144.55, 144.15, 144.23, 144.26,  144.27,  144.28(i)(k),  144.51(o),

146.52.   The   OMB   clearance   number   is 2040–0042.

      - Authority. (1) Section 1421 of SDWA requires the Administrator to promulgate regulations establishing minimum requirements for effective UIC programs.

- Section 1422 of SDWA requires the Administrator to list in the FEDERAL REGISTER ‘‘each State for which in his judgment a State underground  injec- tion control program may be necessary to assure that underground injection will not endanger drinking water sources’’ and to establish by regulation a program for EPA administration of UIC programs in the absence of an ap- proved State program in a listed State.

- Section 1423 of SDWA provides procedures for EPA enforcement of UIC requirements.

- Section 1431 authorizes the Ad- ministrator to take action to protect the health of persons when a contami-

nant which is present in or may enter a public water system or underground source of drinking water may  present an imminent and  substantial endangerment to the health of persons.

- Section 1445 of SDWA authorizes the promulgation of regulations for such recordkeeping, reporting, and monitoring requirements ‘‘as the Ad- ministrator    may    reasonably    require

* * * to assist him in establishing regu- lations under this title,’’  and  a  ‘‘right of entry and inspection to determine compliance with this title, including for this purpose, inspection, at reason- able time, or records, files, papers, processes,     controls,     and     facilities

* * *.’’

- Section 1450 of SDWA authorizes the Administrator ‘‘to prescribe such regulations as are necessary or appro- priate to  carry  out  his  functions’’ under SDWA.

      - Overview of the UIC program. An UIC program is necessary in any State listed by EPA under section 1422 of the SDWA. Because all States have been listed, the SDWA requires all States to submit an UIC program within 270 days after July 24, 1980, the effective date of

40 CFR part 146, which was the final element of the UIC minimum require- ments to be originally promulgated, unless the Administrator grants an ex- tension, which can be for a period not to exceed an additional 270 days. If a State fails to submit an approvable program, EPA will establish a program for that State. Once a program is es- tablished, SDWA provides that all un- derground injections  in  listed  States are unlawful and subject to penalties unless authorized by a permit or a rule. This part sets forth the requirements governing all UIC programs, authoriza- tions by permit or rule and prohibits certain types of injection.  The  tech- nical regulations governing these au- thorizations appear in 40 CFR part 146.

      - Structure of the UIC program—(1) Part 144. This part sets forth the per- mitting and other program require- ments that must be met by UIC Pro- grams, whether run by a State or by EPA. It is divided into the following subparts:

- Subpart A describes general ele- ments of the program, including defini- tions and classifications.

#### § 144.1

- Subpart B sets forth the general program requirements, including the performance standards applicable to all injection  activities,   basic   elements that all  UIC  programs  must  contain, and provisions for waiving permit of rule requirements under certain cir- cumstances.

- Subpart C sets forth require- ments for wells authorized by rule.

- Subpart D sets forth permitting procedures.

- Subpart E sets forth specific con- ditions, or types of conditions, that must at a minimum be included in all permits.

- Subpart F sets forth the financial responsibility requirements for owners and operators of all existing and new Class I hazardous waste injection wells.

- Subpart G of this part sets forth requirements for owners and operators of Class V injection wells.

- Subpart H of part 146 sets forth requirements for owners or  operators of Class VI injection wells.

  - Part 145. While part 144 sets forth minimum requirements for all UIC Programs, these requirements are spe- cifically  identified  as  elements  of   a State application for primacy to ad- minister an UIC Program in part 145. Part 145 also sets forth the necessary elements of a State submission and the procedural  requirements  for  approval of  State  programs.

  - Part 124. The public participation requirements that must be met by UIC Programs,   whether   administered    by the State or by EPA, are set forth  in part 124.  EPA  must  comply  with  all part 124 requirements; State adminis- tered  programs  must  comply  with  part

124 as required by part 145. These re- quirements  carry  out  the  purposes  of the  public  participation  requirement  of

40 CFR part 25 (Public Participation), and supersede the requirements of that part as they apply to the UIC Program.

  - Part 146. This part sets forth the technical criteria and standards that must be met in permits and authoriza- tions by rule as required by part 144.

      - Scope of the permit or rule require- ment. The UIC permit program regu- lates underground injection by six classes of wells (see definition of ‘‘well injection,’’ § 144.3). The six classes of wells are set forth in § 144.6. All owners

#### 40 CFR Ch. I (7–1–17 Edition)

or operators of these injection wells must be authorized either by permit or rule by the Director. In carrying  out the mandate of the SDWA, this subpart provides that no injection shall be au- thorized by permit or rule if it results in the movement of fluid containing any contaminant into underground sources of drinking water (USDWs—see

§ 144.3 for definition), if the presence of that  contaminant  may  cause  a  viola- tion   of   any   primary   drinking   water regulation  under  40  CFR  part  141  or may adversely affect the health of per- sons  (§ 144.12).  Existing  Class  IV  wells which  inject  hazardous  waste  directly into an underground source of drinking water  are  to  be  eliminated  over  a  pe- riod of six months and new such Class IV wells are to be prohibited (§ 144.13). For  Class  V  wells,  if  remedial  action appears necessary, a permit may be re- quired  (§ 144.25)  or  the  Director  must require  remedial  action  or  closure  by order  (§ 144.6(c)).  During  UIC  program development,  the  Director   may  iden- tify  aquifers  and  portions  of  aquifers which  are  actual  or  potential  sources of drinking water. This will provide an aid  to  the  Director  in  carrying  out  his or  her  duty  to  protect  all  USDWs.  An aquifer  is  a  USDW  if  it  fits  the  defini- tion  under  § 144.3,  even  if  it  has  not been   ‘‘identified.’’   The   Director   may also    designate    ‘‘exempted    aquifers’’ using  the  criteria  in  40  CFR  146.4  of this  chapter.  Such  aquifers  are  those which would otherwise qualify as ‘‘un- derground  sources  of  drinking  water’’ to be protected, but which have no real potential to be used as drinking water sources.	Therefore,	they	are	not USDWs. No aquifer is an exempted aq- uifer   until   it   has   been   affirmatively designated   under   the   procedures   at

§ 144.7. Aquifers which do not fit the definition of ‘‘underground source of drinking water’’ are not ‘‘exempted aquifers.’’ They are simply  not  subject to the special protection afforded USDWs. During initial Class VI  pro- gram development, the Director shall not expand the areal extent of an exist- ing Class II enhanced oil recovery or enhanced gas recovery aquifer exemp- tion for Class VI injection wells and EPA shall not approve a program that applies for aquifer exemption expan- sions of Class II–Class VI exemptions as

#### Environmental Protection Agency	§ 144.3

part of the program description.  All Class II to Class VI aquifer exemption expansions previously issued by EPA must be incorporated into the Class VI program descriptions pursuant to re- quirements at § 145.23(f)(9).

- Specific inclusions. The following wells are included among those types of injection activities which are cov- ered by the UIC regulations. (This list is not intended to be exclusive but is for clarification only.)

  - Any injection well located on a drilling platform inside the State’s ter- ritorial waters.

  - Any dug hole or well that is deep- er than its largest surface dimension, where the principal function  of  the hole is emplacement of fluids.

  - Any well used by generators of hazardous waste, or by owners or oper- ators of hazardous waste management facilities, to dispose of  fluids  con- taining hazardous waste. This includes the disposal of hazardous waste into what would otherwise be septic sys- tems and cesspools, regardless of their capacity.

  - Any septic tank, cesspool, or other well used by a multiple dwelling, community, or Regional system for the injection of wastes.

- Specific exclusions. The following are not covered by these regulations:

  - Injection wells located on a drill- ing platform or other site that is be- yond the State’s territorial waters.

  - Individual or single family resi- dential waste disposal systems such as domestic cesspools or septic systems.

  - Non-residential cesspools, septic systems or similar waste disposal sys- tems if such systems (A) Are used sole- ly for the disposal of sanitary waste, and (B) have the capacity  to  serve fewer than 20 persons a day.

  - Injection wells used for injection of hydrocarbons which are of pipeline quality and are gases at standard tem- perature and pressure for the purpose of storage.

  - Any dug hole, drilled hole, or bored shaft which is not used for the subsurface emplacement of fluids.

- The  prohibition  applicable  to Class IV wells under § 144.13 does not apply to injections of hazardous wastes into  aquifers  or  portions  thereof  which

have	been	exempted	pursuant	to

§ 146.04.

      - Interim Status under RCRA for Class I Hazardous Waste Injection Wells. The minimum national  standards which define acceptable injection of hazardous waste during the period of interim status under RCRA are set out in the applicable provisions  of  this part, parts 146 and 147, and § 265.430 of this chapter. The issuance of a UIC per- mit does not automatically terminate RCRA interim status. A Class I well’s interim status does, however, auto- matically terminate upon issuance to that well of a RCRA permit,  or  upon the well’s receiving a RCRA permit-by- rule under § 270.60(b) of this chapter. Thus, until a Class I well injecting haz- ardous waste receives a  RCRA  permit or RCRA permit-by-rule, the well’s in- terim status requirements are the ap- plicable requirements imposed pursu- ant to this part and parts 146, 147, and

265  of  this  chapter,  including  any  re- quirements imposed in the UIC permit.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  49

FR  20181,  May  11,  1984;  52  FR  20676,  June  2,

1987;  52  FR  45797,  Dec.  1,  1987;  53  FR  28147,

July 26, 1988; 64 FR 68565, Dec. 7, 1999; 67 FR

39592, June 7, 2002; 75 FR 77286, Dec. 10, 2010]

##### § 144.2   Promulgation  of  Class  II  pro- grams for Indian lands.

Notwithstanding the requirements of this part or parts 124 and 146 of this chapter, the Administrator may pro- mulgate an alternate UIC Program for Class II wells on any Indian reservation or Indian lands. In promulgating such a program the Administrator shall con- sider the following factors:

- The interest and preferences of the tribal government having responsi- bility for the given reservation or In- dian lands;

- The consistency between the al- ternate program and any program in effect in an adjoining jurisdiction; and

- Such other factors as are nec- essary and appropriate to carry out the Safe  Drinking  Water  Act.

##### § 144.3   Definitions.

Terms not defined in this section have the meaning given by the appro- priate Act. When a defined term ap- pears in a definition, the defined term

#### § 144.3

is sometimes placed within quotation marks as an aid to readers.

Administrator means the Adminis- trator of the United States Environ- mental Protection Agency, or an au- thorized representative.

Application means the EPA standard national forms for applying for a per- mit, including any additions, revisions or modifications to the forms; or forms approved by EPA for use in approved States, including any approved modi- fications or revisions.

Appropriate Act and regulations means the Solid Waste Disposal Act, as amended by the Resource Conservation and Recovery Act (RCRA); or Safe Drinking Water Act (SDWA), which- ever is applicable; and applicable regu- lations promulgated under those stat- utes.

Approved State Program means a UIC program administered by the State or Indian Tribe that has been approved by EPA according to SDWA sections 1422 and/or 1425.

Aquifer means a geological ‘‘forma- tion,’’ group of formations, or part of a formation that is capable of yielding a significant amount of water to a well or spring.

Area of review means the area sur- rounding an injection well described according  to  the  criteria  set  forth  in

§ 146.06 or in the case of an area permit, the  project  area  plus  a  circumscribing area  the  width  of  which  is  either  1⁄4    of a  mile  or  a  number  calculated  accord- ing  to  the  criteria  set  forth  in  § 146.06. Cesspool  means  a  ‘‘drywell’’  that  re- ceives   untreated   sanitary   waste   con- taining     human     excreta,     and     which sometimes  has  an  open  bottom  and/or

perforated sides.

Contaminant means any physical, chemical, biological, or radiological substance or matter in water.

Director means the Regional Adminis- trator, the State director or the Tribal director as the context requires, or an authorized representative. When there is no approved State or Tribal pro- gram, and there is an EPA adminis- tered program, ‘‘Director’’ means the Regional Administrator. When there is an approved State or Tribal program, ‘‘Director’’ normally means the  State or Tribal director. In some cir- cumstances, however, EPA retains the

#### 40 CFR Ch. I (7–1–17 Edition)

authority to take certain actions even when there is an approved State or Tribal program. In such cases, the term ‘‘Director’’ means the Regional Admin- istrator and not the State or Tribal di- rector.

Draft permit means  a  document  pre- pared under § 124.6 indicating the Direc- tor’s   tentative   decision   to   issue   or deny,  modify,  revoke  and  reissue,  ter- minate, or reissue a ‘‘permit.’’ A notice of  intent  to  terminate  a  permit,  and  a notice  of  intent  to  deny  a  permit,  as discussed in § 124.5 are types of ‘‘draft permits.’’   A   denial   of   a   request   for modification,	revocation	and reissuance,    or    termination,    as    dis- cussed in § 124.5 is not a ‘‘draft permit.’’ Drilling mud means  a  heavy  suspen- sion    used    in    drilling    an    ‘‘injection well,’’  introduced  down  the  drill  pipe

and through the drill bit.

Drywell means a well, other than an improved sinkhole or subsurface fluid distribution system, completed above the water table so that its bottom and sides are typically dry except when re- ceiving fluids.

Eligible Indian Tribe is a Tribe that meets the statutory requirements es- tablished at 42 U.S.C. 300j-11(b)(1).

Emergency permit means a UIC ‘‘per- mit’’ issued in accordance with § 144.34.

Environmental Protection Agency (‘‘EPA’’) means the United States En- vironmental Protection Agency.

EPA means the United States ‘‘Envi- ronmental Protection Agency.’’

Exempted aquifer means  an  ‘‘aquifer’’ or its portion that meets the  criteria  in the  definition  of  ‘‘underground   source of drinking water’’ but which has been exempted according  to the  procedures in § 144.7.

Existing injection well means an ‘‘in- jection well’’ other than a ‘‘new injec- tion well.’’

Facility or activity means any UIC ‘‘injection well,’’ or an other facility or activity that is subject to regulation under the UIC program.

Fluid means any material or sub- stance which flows or moves whether in a semisolid, liquid, sludge, gas, or any other form or state.

Formation means a body of consoli- dated or unconsolidated rock charac- terized by a degree of lithologic homo- geneity  which  is  prevailingly,  but  not

#### Environmental Protection Agency	§ 144.3

necessarily, tabular and is mappable on the earth’s surface or traceable in the subsurface.

Formation fluid means ‘‘fluid’’ present in a ‘‘formation’’ under natural condi- tions as opposed to introduced fluids, such as ‘‘drilling mud.’’

Generator means any person, by site location, whose act or process produces hazardous waste identified or listed in 40 CFR part 261.

Geologic sequestration means the long- term containment of a  gaseous,  liquid, or supercritical carbon dioxide  stream in subsurface geologic formations. This term does not apply to carbon dioxide capture or transport.

Ground water means water below the land surface in a zone of saturation.

Hazardous waste means a hazardous waste as defined in 40 CFR 261.3.

Hazardous waste management facility (‘‘HWM facility’’) means all contiguous land, and structures, other appur- tenances, and improvements on the land used for treating, storing, or dis- posing of hazardous waste. A facility may consist of several treatment, stor- age, or disposal operational units (for example, one or more landfills, surface impoundments, or combination of them).

HWM facility means ‘‘Hazardous Waste Management facility’’

Improved sinkhole means a naturally occurring karst depression or other natural crevice found in volcanic ter- rain and other geologic settings which have been modified by man for the pur- pose of directing and emplacing fluids into the subsurface.

Indian lands means ‘‘Indian  country’’ as defined in 18 U.S.C. 1151. That sec- tion defines Indian country as:

- All land within the limits of any Indian reservation under the jurisdic- tion of the United States government, notwithstanding the issuance of any patent, and, including rights-of-way running through the reservation;

- All dependent Indian commu- nities within the borders of the United States whether within the original or subsequently acquired territory there- of, and whether within or without the limits of a State; and

- All Indian allotments, the Indian titles  to  which  have  not  been  extin-

guished,  including  rights-of-way  run- ning through the same.

Indian Tribe means any Indian Tribe having a Federally recognized gov- erning body carrying out substantial governmental duties and powers over a defined area.

Injection well means a ‘‘well’’ into which ‘‘fluids’’ are being injected.

Injection zone means a geological ‘‘formation’’ group of formations, or part of a formation receiving fluids through a ‘‘well.’’

Interstate Agency means an agency of two or more States established by or under an agreement or compact ap- proved by the Congress, or any other agency of two or more States or Indian Tribes having substantial powers or du- ties pertaining to the control of pollu- tion as determined and approved by the Administrator under the ‘‘appropriate Act  and  regulations.’’

Major facility means any UIC ‘‘facil- ity  or  activity’’  classified  as  such  by the Regional Administrator, or, in the case of approved State programs, the Regional Administrator in conjunction with the State Director.

Manifest means the shipping docu- ment originated and signed by the ‘‘generator’’ which contains the infor- mation required by subpart B of 40 CFR part 262.

New injection wells means  an  ‘‘injec- tion  well’’  which  began  injection  after a UIC program for the State applicable to the well is approved or prescribed.

Owner or operator means the owner or operator of any ‘‘facility or activity’’ subject to regulation under the UIC program.

Permit means an authorization, li- cense, or equivalent control document issued by EPA or an approved State to implement  the  requirements  of  this part, parts 145, 146 and 124. ‘‘Permit’’ includes an area permit (§ 144.33) and an emergency permit (§ 144.34).  Permit does not include UIC authorization by rule (§ 144.21), or any permit which has not yet been the subject of final agency action,  such  as  a  ‘‘draft  permit.’’

Person means an individual, associa- tion, partnership, corporation, munici- pality, State, Federal, or Tribal  agen- cy, or an agency or employee thereof.

Plugging means the act or process of stopping  the  flow  of  water,  oil  or  gas

#### § 144.3

into or out of a formation through a borehole or well penetrating that for- mation.

Point of injection means the last ac- cessible sampling point prior to waste fluids being released into the sub- surface environment through a Class V injection well. For example, the point of injection of a Class V septic system might be the distribution box—the last accessible sampling point before the waste fluids drain into the underlying soils. For a dry well, it is likely to be the well bore itself.

Project means a group of wells in a single  operation.

Radioactive Waste means any waste which contains radioactive material in concentrations which exceed those list- ed in 10 CFR part 20, appendix B, table II, column 2.

RCRA means the Solid Waste Dis- posal Act as amended by the Resource Conservation and Recovery Act of 1976 (Pub. L. 94–580, as amended by Pub. L. 95–609, Pub. L. 96–510, 42 U.S.C. 6901 et

seq.).

Regional Administrator means the Re- gional Administrator of the appro- priate Regional Office of the Environ- mental Protection Agency or the au- thorized representative of the Regional Administrator.

Sanitary waste means liquid or solid wastes originating solely from humans and human activities, such as wastes collected from toilets, showers, wash basins, sinks used for cleaning  domes- tic areas, sinks used for food prepara- tion, clothes washing operations, and sinks or washing machines where food and beverage serving dishes, glasses, and utensils are cleaned. Sources of these wastes may include single or multiple residences, hotels and motels, restaurants, bunkhouses, schools, rang- er stations, crew quarters, guard sta- tions, campgrounds, picnic grounds, day-use recreation areas, other com- mercial facilities, and industrial facili- ties provided the waste is not mixed with industrial waste.

Schedule of compliance means a sched- ule of remedial measures included in a ‘‘permit,’’ including an enforceable se- quence of interim requirements (for ex- ample, actions, operations, or mile- stone   events)   leading   to   compliance

#### 40 CFR Ch. I (7–1–17 Edition)

with the ‘‘appropriate Act and regula- tions.’’

SDWA means the Safe  Drinking Water Act (Pub. L. 93–523, as amended; 42 U.S.C. 300f et seq.).

Septic system means a ‘‘well’’ that is used to emplace sanitary waste below the surface and is typically comprised of  a  septic  tank  and  subsurface  fluid distribution system or disposal system. Site  means  the  land  or  water  area where   any   ‘‘facility   or   activity’’   is physically  located  or  conducted,  in- cluding adjacent land used in connec-

tion with the facility or activity.

State means any of the 50 States, the District of Columbia, Guam, the Com- monwealth of Puerto Rico, the Virgin Islands, American Samoa, the Trust Territory of the Pacific Islands, the Commonwealth of the Northern Mar- iana Islands, or an Indian Tribe treated as  a  State.

State Director means the chief admin- istrative officer of any State, inter- state, or Tribal agency operating an ‘‘approved program,’’ or the delegated representative of the State director. If the responsibility is divided among two or more States, interstate, or Tribal agencies, ‘‘State Director’’ means the chief administrative officer of the State, interstate, or Tribal agency au- thorized to perform the particular pro- cedure or function to which reference is made.

State/EPA agreement means an agree- ment between the Regional Adminis- trator and the State which coordinates EPA and State activities, responsibil- ities and programs.

Stratum (plural strata) means a single sedimentary bed or layer, regardless of thickness, that  consists  of  generally the same kind of rock material.

Subsurface   fluid   distribution   system means   an   assemblage   of   perforated pipes,   drain   tiles,   or   other   similar mechanisms    intended    to    distribute fluids below the surface of the ground. Total dissolved solids means  the  total dissolved   (filterable)   solids   as   deter- mined by use of the method specified in

40 CFR part 136.

Transferee means the owner or oper- ator receiving ownership and/or oper- ational control of the well.

#### Environmental Protection Agency	§ 144.4

Transferor means the owner or oper- ator transferring ownership and/or operational control of the well.

UIC means the Underground Injec- tion Control program under Part C of the Safe Drinking Water Act, including an ‘‘approved State program.’’

Underground injection means a ‘‘well injection.’’

Underground source of drinking water (USDW) means an aquifer or its por- tion:

(a)(1) Which supplies any  public water system; or

- Which contains a sufficient quan- tity of ground water to supply a public water system; and

  - Currently supplies drinking water for human consumption; or

  - Contains fewer than 10,000 mg/l total  dissolved  solids;  and

(b) Which is not an exempted aquifer.

USDW means ‘‘underground source of drinking  water.’’

Well means: A bored, drilled, or driv- en shaft whose depth is greater than the largest surface dimension; or, a dug hole whose depth is greater than the largest surface dimension; or, an im- proved sinkhole; or, a subsurface fluid distribution system.

Well injection means the subsurface emplacement of fluids through a well.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  49

FR  45305,  Nov.  15,  1984;  52  FR  20676,  June  2,

1987; 53 FR 37412, Sept. 26, 1988; 58 FR 63895,

Dec. 3, 1993; 59 FR 64345, Dec. 14, 1994; 64 FR

68565, Dec. 7, 1999; 75 FR 77287, Dec. 10, 2010]

##### § 144.4   Considerations  under  Federal law.

The following is a list of Federal laws that may apply to the issuance of per- mits under these rules. When any of these laws is applicable, its procedures must be followed. When the applicable law requires consideration or adoption of particular permit conditions or re- quires the denial of a permit, those re- quirements also must be followed.

- The Wild and Scenic  Rivers Act, 16

U.S.C. 1273 et seq. Section 7 of the Act prohibits the Regional Administrator from assisting by license or otherwise the construction of any water  re- sources project that would have a di- rect, adverse effect on the values for which a national wild and scenic river was established.

- The National Historic Preservation Act of 1966, 16 U.S.C. 470 et seq. Section 106 of the Act and implementing regu- lations (36 CFR part 800) require the Regional Administrator, before issuing a license, to adopt measures when fea- sible to mitigate potential adverse ef- fects of the licensed activity and prop- erties listed or eligible for listing  in the National Register of Historic Places. The Act’s requirements are to be implemented in cooperation with State Historic Preservation Officers and upon notice to, and when appro- priate, in consultation with the Advi- sory Council on Historic Preservation.

- The   Endangered   Species   Act,   16

U.S.C. 1531 et seq. Section 7 of the Act and implementing regulations (50 CFR part 402) require the Regional Adminis- trator to ensure, in consultation with the Secretary of the Interior or Com- merce, that any action authorized by EPA is not likely to jeopardize the con- tinued existence of any endangered or threatened species or adversely affect its  critical  habitat.

- The Coastal Zone Management Act,

16 U.S.C. 1451 et seq. Section 307(c) of the Act and implementing regulations (15 CFR  part  930) prohibit  EPA  from issuing a permit for an activity affect- ing land or water use in the coastal zone until the applicant certifies that the proposed activity complies with the State Coastal Zone Management program, and the State or its des- ignated agency concurs with the cer- tification (or the Secretary of Com- merce overrides the States nonconcur- rence).

- The Fish and Wildlife Coordination Act, 16 U.S.C. 661 et seq., requires the Regional Administrator,  before  issuing a permit proposing or authorizing the impoundment (with certain exemp- tions), diversion, or other control or modification of any body of water, con- sult with the appropriate State agency exercising jurisdiction over wildlife re- sources to conserve these resources.

- Executive orders. [Reserved]

(Clean Water Act (33 U.S.C. 1251 et seq.), Safe Drinking Water Act (42 U.S.C. 300f et seq.), Clean Air Act (42 U.S.C. 7401 et seq.), Re- source  Conservation  and  Recovery  Act  (42

    - 6901 et seq.))

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  48

FR 39621, Sept. 1, 1983]

#### § 144.5

##### § 144.5   Confidentiality of information.

      - In accordance with 40 CFR part 2, any information submitted to EPA pursuant to these regulations may be claimed as confidential by the sub- mitter. Any such claim must be  as- serted at the time of submission in the manner prescribed on the application form or instructions or, in the case of other submissions, by stamping the words ‘‘confidential business informa- tion’’ on each page containing such in- formation. If no claim is made at the time of submission, EPA may make the information available to the public without further notice. If a claim is as- serted, the information will  be  treated in accordance with the procedures in 40 CFR part 2 (Public Information).

      - Claims of confidentiality for the following information will be denied:

        - The name and address of any per- mit applicant or permittee;

        - Information which deals with the existence, absence, or level of contami- nants in drinking water.

##### § 144.6   Classification of wells.

Injection wells are classified as fol- lows:

          - Class I. (1) Wells used by genera- tors of hazardous waste or owners or operators of hazardous waste manage- ment facilities to inject  hazardous waste beneath the lowermost forma- tion containing, within  one-quarter mile of  the well  bore, an  underground source of drinking water.

- Other industrial and municipal disposal wells which inject fluids be- neath the lowermost formation con- taining, within one quarter mile of the well bore, an underground source of drinking water.

- Radioactive waste disposal wells which inject fluids below the lower- most formation containing an under- ground source of drinking water within one quarter mile of the well bore.

          - Class II. Wells which inject fluids:

            - Which are brought to the surface in connection with natural gas storage operations, or conventional oil or nat- ural gas production and may be com- mingled with waste waters from gas plants which are an intergral part of production operations, unless those waters are classified as a hazardous waste at the time of injection.

#### 40 CFR Ch. I (7–1–17 Edition)

            - For enhanced recovery of oil or natural gas; and

            - For storage of hydrocarbons which are liquid at standard tempera- ture and pressure.

          - Class III. Wells which inject for extraction of minerals including:

            - Mining of sulfur by the Frasch process;

            - In situ production of uranium or other metals; this category includes only in-situ production from ore bodies which have not been conventionally mined. Solution mining of conven- tional mines such as stopes leaching is included in Class V.

            - Solution mining of salts or pot- ash.

          - Class IV. (1) Wells used by genera- tors of hazardous waste or of  radio- active waste, by owners or operators of hazardous waste  management  facili- ties, or by owners or operators of radio- active waste disposal sites to dispose of hazardous waste or radioactive  waste into a formation which within  one- quarter (1⁄4) mile of the  well  contains an underground source of  drinking water.

- Wells used by generators of haz- ardous waste or of radioactive  waste, by owners or operators of hazardous waste management facilities, or by owners or operators of radioactive waste disposal  sites  to  dispose  of  haz- ardous waste or radioactive  waste above a formation which within one- quarter (1⁄4) mile of the  well  contains an underground source of drinking water.

- Wells used by generators of haz- ardous waste or owners or operators of hazardous waste management facilities to dispose of hazardous waste, which cannot be classified under paragraph (a)(1) or (d) (1) and (2) of this section (e.g., wells used to dispose of hazardous waste into or above a formation which contains an aquifer which has been ex- empted pursuant to § 146.04).

          - Class V. Injection wells not in- cluded in Class I, II, III, IV, or VI. Spe- cific types of Class V injection  wells are described in § 144.81.

          - Class VI. Wells that are not experi- mental in nature that are used for geo- logic  sequestration  of  carbon  dioxide

#### Environmental Protection Agency	§ 144.7

beneath the lowermost formation con- taining a USDW; or, wells used for geo- logic sequestration of carbon  dioxide that have been granted a waiver of the injection  depth  requirements  pursuant to requirements at § 146.95 of this chap- ter; or, wells used for geologic seques- tration of carbon dioxide that have re- ceived an expansion to  the  areal  extent of an existing Class II enhanced oil re- covery or enhanced gas recovery aqui- fer exemption pursuant to §§ 146.4 of this chapter and 144.7(d).

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  52

FR  20676,  June  2,  1987;  64  FR  68565,  Dec.  7,

1999; 75 FR 77287, Dec. 10, 2010]

##### § 144.7 Identification of underground sources of drinking water and ex- empted aquifers.

(a) The Director may identify (by narrative description, illustrations, maps, or other means) and shall pro- tect as underground sources of drink- ing water, all aquifers and parts of aquifers which meet the definition of ‘‘underground source  of  drinking water’’ in § 144.3, except to the extent there is an applicable aquifer exemp- tion under paragraph (b) of this section or an expansion to the  areal  extent  of an existing Class II enhanced oil recov- ery or enhanced gas recovery aquifer exemption for the exclusive purpose of Class VI injection for geologic seques- tration under paragraph (d) of this sec- tion. Other than EPA approved aquifer exemption expansions that meet the criteria set forth in § 146.4(d) of this chapter, new aquifer exemptions shall not be issued for Class  VI  injection wells. Even if an aquifer has not been specifically identified by  the  Director, it is an underground source of drinking water   if   it   meets   the   definition   in

§ 144.3.

(b)(1) The Director may identify (by narrative description, illustrations, maps, or other means) and describe in geographic and/or geometric terms (such as vertical and lateral limits and gradient) which are clear and  definite, all aquifers  or parts  thereof which  the Director proposes to designate as ex- empted  aquifers  using  the  criteria  in

§ 146.4 of this chapter.

  - No designation of an exempted aq- uifer submitted as part of a UIC pro- gram shall be final until approved by

the Administrator as part of a UIC pro- gram.  No  designation  of   an   expansion to the areal extent of a  Class  II  en- hanced oil recovery or enhanced gas re- covery aquifer exemption for the exclu- sive purpose of Class VI injection for geologic  sequestration  shall  be  final until approved  by  the  Administrator  as a revision  to  the  applicable  Federal UIC program under part 147 or as a sub- stantial revision  of  an  approved  State UIC program in accordance with § 145.32 of  this  chapter.

  - Subsequent to program approval or promulgation, the Director may, after notice and opportunity for a pub- lic hearing, identify additional exempt- ed aquifers. For approved State pro- grams exemption of aquifers identifed

(i) under § 146.04(b) shall be treated as a program revision  under  § 145.32; (ii) under § 146.04(c) shall become final if the State Director submits the exemp- tion in  writing  to  the  Administrator and the Administrator has not dis- approved the designation within 45 days. Any disapproval by the Adminis- trator shall state the reasons and shall constitute final Agency action for pur- poses of judicial review.

(c)(1) For Class III wells, the Director shall require an applicant for a permit which necessitates an aquifer  exemp- tion under § 146.04(b)(1) to furnish the data necessary to demonstrate that the aquifer is expected to be mineral or hy- drocarbon producing. Information con- tained in the mining plan for the pro- posed project, such as a map and gen- eral description of the mining zone, general information on the mineralogy and geochemistry of the mining zone, analysis of the amenability of the  min- ing zone to the proposed mining  meth- od, and a time-table of planned devel- opment of the mining zone shall be considered by the Director  in  addition to      the      information      required      by

§ 144.31(g).

- For Class II wells, a demonstra- tion of commercial producibility shall be made as follows:

  - For a Class II well to be used for enhanced oil recovery processes in a field or  project  containing  aquifers from which hydrocarbons were pre- viously	produced,	commercial producibility shall be presumed by the Director  upon  a  demonstration  by  the

#### § 144.8

applicant of historical production hav- ing occurred in the  project  area  or field.

  - For Class II wells not located in a field or project containing aquifers from which hydrocarbons were pre- viously produced, information such as logs, core data, formation description, formation depth, formation thickness and formation parameters such as per- meability and porosity shall be consid- ered by the Director, to the extent such information is available.

- Expansion to the areal extent of ex- isting Class II aquifer  exemptions  for Class VI wells. Owners  or operators  of Class II enhanced oil recovery or en- hanced gas recovery wells may request that the Director approve an expansion to the areal extent of an aquifer ex- emption already in place for a Class II enhanced oil recovery or enhanced gas recovery well for the exclusive purpose of Class VI injection for geologic se- questration. Such requests must be treated as a revision to the applicable Federal UIC program under part 147 or as a substantial program revision to an approved   State   UIC   program   under

§ 145.32 of this chapter and will not be final until approved by EPA.

  - The owner or operator of a Class II enhanced oil recovery or enhanced gas recovery well that requests an ex- pansion of the areal extent of an exist- ing aquifer exemption for the exclusive purpose of Class VI injection for geo- logic sequestration must define (by narrative description, illustrations, maps, or other means) and describe in geographic and/or geometric terms (such as vertical and lateral limits and gradient) that are clear and  definite, all aquifers or parts thereof that are requested to be designated as exempted using the criteria in § 146.4 of this chap- ter.

  - In evaluating a request to expand the areal extent of an aquifer exemp- tion of a Class II enhanced oil recovery or enhanced gas recovery well for the purpose of Class VI injection, the Di- rector must determine that the request meets  the  criteria  for  exemptions   in

§ 146.4. In making  the  determination, the  Director  shall  consider:

    - Current and potential future  use of the USDWs to be exempted as drink- ing water resources;

#### 40 CFR Ch. I (7–1–17 Edition)

    - The predicted extent of the in- jected carbon dioxide plume, and any mobilized fluids that may result in deg- radation of water quality, over the life- time of the GS project, as informed by computational modeling performed pursuant to § 146.84(c)(1), in order to en- sure that the proposed injection oper- ation will not at any time endanger USDWs including non-exempted por- tions of the injection formation;

    - Whether the areal extent of the expanded aquifer exemption is of suffi- cient size to account for any possible revisions to the computational model during reevaluation of the area of re- view, pursuant to § 146.84(e); and

    - Any information submitted to support a waiver request made by the owner or operator under § 146.95, if ap- propriate.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  75

FR 77287, Dec. 10, 2010]

##### § 144.8   Noncompliance   and   program reporting by the Director.

The Director shall prepare quarterly and annual reports as detailed below. When the State is the permit-issuing authority, the State Director shall sub- mit any reports required under this section to the Regional Administrator. When EPA is the permit-issuing au- thority, the Regional Administrator shall submit any report required under this section to EPA Headquarters.

- Quarterly reports. The Director shall submit quarterly narrative re- ports for major facilities as follows:

- Format. The report shall use the following  format:

  - Provide an alphabetized list of permittees. When two or more permit- tees have the same name, the lowest permit number shall be entered first.

  - For each entry on the list, in- clude the following information in the following order:

    - Name, location, and permit num- ber of the noncomplying permittees.

    - A brief description and date of each instance of noncompliance  for that permittee. Instances of non- compliance may include one or more the kinds set forth in paragraph (a)(2) of this section. When a permittee has noncompliance of more than one kind, combine the information into a single entry for each such permittee.

#### Environmental Protection Agency	§ 144.8

    - The date(s) and a brief descrip- tion of the action(s) taken by the Di- rector to ensure compliance.

    - Status of the instance(s) of non- compliance with the date of the review of the status or the date of resolution.

    - Any details which tend to explain or mitigate the instance(s) of non- compliance.

- Instances of noncompliance to be re- ported. Any instances of noncompliance within the following categories shall be reported in successive reports until the noncompliance is reported as resolved. Once noncompliance is reported as re- solved it need not appear in subsequent reports.

  - Failure to complete construction ele- ments. When the permittee has failed to complete, by the date specified in the permit, an element of a compliance schedule involving either planning for construction or a construction step (for example, begin construction, attain op- eration level); and the permittee has not returned to compliance by accom- plishing the required elements of the schedule within 30 days from the date a compliance schedule report is  due under the permit.

  - Modifications to schedules of com- pliance. When a schedule of compliance in the permit has been modified under

§§ 144.39 or 144.41 because of the permit- tee’s   noncompliance.

  - Failure to complete or provide com- pliance schedule or monitoring reports. When the permittee has failed to com- plete or provide a report required in a permit compliance schedule (for exam- ple, progress report or notice of non- compliance or compliance) or a moni- toring report; and the permittee has not submitted the complete report within 30 days from the date it is due under the permit for compliance sched- ules, or from the date specified in the permit for monitoring reports.

  - Deficient reports. When the re- quired reports provided by the per- mittee are so deficient as to cause mis- understanding by the Director and thus impede the review of the status of com- pliance.

  - Noncompliance with other permit re- quirements. Noncompliance shall be re- ported  in  the  following  circumstances:

    - Whenever the permittee has vio- lated a permit requirement (other than

reported under paragraph (a)(2) (i) or

(ii) of this section), and has not re- turned to compliance within 45 days from the date reporting of noncompli- ance was due under the permit; or

    - When the Director determines that a  pattern of  noncompliance exists for a major facility permittee over the most recent four consecutive reporting periods. This pattern includes any vio- lation of  the  same requirement in two consecutive reporting periods, and any violation of one or more requirements in each of four consecutive reporting periods; or

    - When the Director determines significant permit noncompliance or other significant event has occurred, such as a migration of fluids into a USDW.

(vi) All other. Statistical information shall be reported quarterly on all other instances of noncompliance by major facilities with permit requirements not otherwise reported under paragraph (a) of this section.

- Annual reports—(1) Annual non- compliance report. Statistical reports shall be submitted by the Director on nonmajor  UIC  permittees   indicating the total number reviewed, the number of noncomplying nonmajor permittees, the number of  enforcement  actions, and number of permit modifications extending compliance deadlines. The statistical information shall be orga- nized to follow the types of noncompli- ance listed in paragraph (a) of this sec- tion.

- For State-administered UIC Pro- grams only. In addition to the annual noncompliance report, the State Direc- tor  shall:

- Submit each year a program re- port to the Administrator (in a manner and form prescribed by the Adminis- trator) consisting of:

- A detailed description of the State’s implementation of its program;

- Suggested changes, if any to the program description (see § 145.23(f)) which are necessary to reflect more ac- curately the State’s progress in issuing permits;

- An updated inventory of active underground injection operations in the  State.

- In addition to complying with the requirements  of  paragraph  (b)(2)(i)  of

#### § 144.11

this section, the Director shall provide the Administrator, on  February  28th and August 31st of each of the first two years of program operation, the infor- mation required in 40 CFR 146.15, 146.25,

and 146.35.

- All  Class  VI  program  reports shall be consistent with reporting re- quirements set forth in § 146.91 of this chapter.

- Schedule. (1) For all quarterly re- ports. On the last working day of May, August, November, and February, the State Director shall submit to the Re- gional Administrator information con- cerning noncompliance with permit re- quirements by major facilities in the State in accordance with the following schedule. The Regional Administrator shall prepare and submit information for EPA-issued permits to EPA Head- quarters in accordance with the same schedule.

QUARTERS COVERED BY REPORTS ON

NONCOMPLIANCE BY MAJOR FACILITIES

[Date for completion of reports]

January, February, and March ..........................		1 May 31 April, May, and June ..........................................	1 Aug. 31

July, August, and September ............................	1 Nov. 30 October, November, and December  .................	1 Feb. 28

1 Reports must be made available to the public for inspec- tion and copying on this date.

(2) For all annual reports.  The  period for annual reports shall be for the cal- endar year ending December 31, with reports completed and available to the public no more than 60 days later.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  75

FR 77287, Dec. 10, 2010]

# Subpart B—General Program Requirements

##### § 144.11   Prohibition   of   unauthorized injection.

Any underground injection, except into a well authorized by rule or except as authorized by permit issued under the UIC program, is prohibited. The construction of any well required to have a permit is prohibited until the permit has been issued.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  58

FR 63895, Dec. 3, 1993]

40 CFR Ch. I (7–1–17 Edition)

##### § 144.12 Prohibition of movement of fluid into underground sources of drinking water.

  - No owner or operator shall con- struct,  operate,  maintain,  convert, plug, abandon, or conduct any other in- jection activity in a manner that al- lows the  movement of  fluid containing any contaminant into underground sources of drinking water, if the pres- ence of that contaminant may cause a violation of any primary  drinking water regulation under 40 CFR part 142 or may otherwise adversely affect the health of persons. The applicant for a permit shall have the burden of show- ing that the requirements of this para- graph are met.

  - For Class I, II, III, and VI wells, if any water quality monitoring of an un- derground source of drinking water in- dicates the movement of any contami- nant into the underground source of drinking water, except as authorized under part 146, the Director shall pre- scribe such additional requirements for construction, corrective action, oper- ation, monitoring, or reporting (includ- ing closure of the injection well) as are necessary  to  prevent  such   movement. In the case of wells authorized by per- mit,  these  additional   requirements shall be imposed by modifying the  per- mit in accordance with § 144.39, or the permit     may     be     terminated     under

§ 144.40 if cause exists, or appropriate enforcement action may be taken if the permit has been violated. In the case of wells authorized by rule, see §§ 144.21 through 144.24. For EPA administered programs, such enforcement  action shall be taken in accordance with ap- propriate sections of the SDWA.

  - For Class V wells, if at  any  time the Director learns that a Class V well may cause a violation of primary drinking water regulations under  40 CFR part 142, he or she shall:

    - Require the injector to obtain an individual permit;

    - Order the injector to take such ac- tions (including, where required, clo- sure of the injection well) as may be necessary to prevent the violation. For EPA administered programs, such or- ders shall be issued in accordance with the appropriate provisions of the SDWA; or

    - Take enforcement action.

#### Environmental Protection Agency	§ 144.14

  - Whenever the Director learns that a Class V well may be otherwise ad- versely affecting the health of persons, he or she may prescribe such actions as may be necessary to prevent the ad- verse effect, including any action au- thorized under paragraph (c) of this section.

  - Notwithstanding any other provi- sion of this section, the Director may take emergency action upon receipt of information that a contaminant which is present in or likely to enter a public water system or underground source of drinking water may present an immi- nent and substantial endangerment to the health of persons. If the Director is an EPA official, he must first deter- mine that the appropriate State and local authorities have not taken appro- priate action to protect the health of such persons, before taking emergency action.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  52

FR  20676,  June  2,  1987;  75  FR  77288,  Dec.  10,

2010]

##### § 144.13   Prohibition of Class IV wells.

- The following are prohibited, ex- cept as provided in paragraph (c) of this  section:

  - The construction of any Class IV well.

  - The operation or maintenance of any Class IV well not in operation prior to July 18, 1980.

  - The operation or maintenance of any Class IV well that was in operation prior to July 18, 1980, after six months following the effective date of a UIC program approved or promulgated for the state.

  - Any increase in the amount of hazardous waste or change in the type of hazardous waste injected into  a Class IV well.

- The owner or operator  of  a  Class IV well shall comply with the require- ments of § 144.14, and with the require- ments of § 144.23 regarding closure of Class  IV  wells.

- Wells used to inject contaminated ground water that has been treated and is being reinjected into the same for- mation from which it was drawn are not prohibited by this section if such injection is approved by EPA, or a State, pursuant to provisions for clean- up of releases under the Comprehensive

Environmental Response, Compensa- tion, and Liability Act of 1980 (CERCLA), 42 U.S.C. 9601–9657, or pur-

suant to requirements and provisions under the Resource Conservation and Recovery  Act  (RCRA),  42  U.S.C.  6901

through 6987.

- Clarification. The following wells are not prohibited by this action:

  - Wells used to inject hazardous waste into aquifers or portions thereof that  have  been  exempted  pursuant  to

§ 146.4, if the exempted aquifer into which waste is injected underlies the lowermost formation  containing  a USDW. Such wells are Class I wells as specified in § 144.6(a)(1), and the owner or operator must comply with the re- quirements  applicable  to  Class  I  wells.

  - Wells used to inject hazardous waste where no USDW exists within one quarter mile of the well bore  in any underground formation, provided that the Director determines that such injection is into a formation suffi- ciently isolated to ensure that injected fluids do not migrate from the injec- tion zone. Such wells  are Class  I wells as specified in § 144.6(a)(1), and the owner or operator must comply with the requirements applicable to Class I wells.

[49 FR 20181, May 11, 1984, as amended at 67

FR 39593, June 7, 2002]

##### § 144.14   Requirements for wells inject- ing hazardous waste.

    - Applicability. The regulations in this section apply to all generators of hazardous waste, and to the owners or operators of all hazardous waste man- agement facilities, using any class of well to inject hazardous wastes accom- panied by a manifest. (See also § 144.13.)

    - Authorization. The owner or oper- ator of any well that is used to inject hazardous waste required to be accom- panied by a manifest or delivery docu- ment shall apply for authorization to inject as specified in § 144.31 within 6 months after  the approval or  promul- gation  of  the  State  UIC  program.

    - Requirements. In addition to com- plying with the applicable  require- ments of this part and 40 CFR part 146, the owner or operator of each facility meeting  the  requirements  of  paragraph

- of this section, shall comply with the following:

#### § 144.15

  - Notification. The owner or operator shall comply with the notification re- quirements of section  3010  of  Public Law 94–580.

  - Identification  number.  The  owner or operator shall comply with the re- quirements of 40 CFR 264.11.

  - Manifest system. The owner or op- erator shall comply with the applicable recordkeeping and reporting require- ments for manifested wastes in 40 CFR 264.71.

  - Manifest discrepancies. The  owner or operator shall comply with 40 CFR 264.72.

  - Operating record. The owner or op- erator shall comply with  40  CFR 264.73(a), (b)(1), and (b)(2).

  - Annual report. The owner or oper- ator shall comply with 40 CFR 264.75.

  - Unmanifested waste report. The owner or operator shall comply with 40 CFR 264.75.

  - Personnel training. The owner or operator shall comply with the applica- ble personnel training requirements of 40 CFR 264.16.

  - Certification of closure. When aban- donment is completed, the owner or op- erator must submit to the Director cer- tification by the owner or operator and certification by an independent reg- istered professional engineer that the facility has been closed in accordance with the specifications in § 144.52(a)(6).

(d) Additional requirements for Class IV wells. [Reserved]

##### § 144.15 Prohibition of non-experi- mental Class V wells for geologic se- questration.

The construction, operation or main- tenance of any  non-experimental  Class V geologic sequestration well is prohib- ited.

[75 FR 77288, Dec. 10, 2010]

##### § 144.16 Waiver of requirement by Di- rector.

- When injection does not occur into, through or above  an  underground  source of drinking water, the Director may au- thorize a well or project with  less stringent requirements for area of re- view, construction,  mechanical  integ- rity, operation, monitoring, and re- porting than required in 40 CFR part 146 or § 144.52 to the extent that the re- duction  in  requirements  will  not  result

#### 40 CFR Ch. I (7–1–17 Edition)

in an increased risk of movement of fluids into an underground source of drinking  water.

- When injection occurs through or above an underground source of drink- ing water, but the radius of endan- gering influence when computed under

§ 146.06(a) is smaller or equal to the ra- dius of the well, the Director may au- thorize a well or project with  less stringent requirements for operation, monitoring, and reporting than re- quired in 40 CFR part 146 or § 144.52 to the extent that the reduction in re- quirements will not result in an in- creased risk of movement of  fluids  into an underground source of  drinking water.

- When reducing requirements under paragraph (a) or (b) of this sec- tion, the Director shall prepare a fact sheet under § 124.8 explaining the rea- sons  for  the  action.

##### § 144.17   Records.

The Director or the Administrator may require, by written notice on a se- lective well-by-well basis, an owner or operator of an injection well to estab- lish and maintain records, make re- ports, conduct monitoring, and provide other information as is deemed nec- essary to determine whether the owner or operator has acted or is acting in compliance with Part C of  the SDWA or its implementing regulations.

[58 FR 63895, Dec. 3, 1993]

##### § 144.18   Requirements   for   Class   VI wells.

Owners or operators of Class VI wells must obtain a permit. Class VI wells cannot be authorized by rule to inject carbon dioxide.

[75 FR 77288, Dec. 10, 2010]

##### § 144.19   Transitioning from Class II to Class VI.

- Owners or operators that are in- jecting carbon dioxide for the primary purpose of long-term storage into  an oil and gas reservoir must apply for and obtain a Class VI geologic seques- tration permit when there is an in- creased risk to USDWs compared to Class II operations. In determining if there  is  an  increased  risk  to  USDWs,

#### Environmental Protection Agency	§ 144.21

the   owner   or   operator   must   consider the factors specified in § 144.19(b).

- The Director shall determine when there is an increased risk to USDWs compared to Class II operations and a Class VI permit is required. In order to make this determination the Director must consider the following:

  - Increase in reservoir pressure within the injection zone(s);

  - Increase in carbon dioxide injec- tion rates;

  - Decrease in reservoir production rates;

  - Distance between the injection zone(s) and USDWs;

  - Suitability of the Class II area of review delineation;

  - Quality of abandoned well plugs within the area of review;

  - The owner’s or operator’s plan for recovery of carbon dioxide at the ces- sation  of  injection;

  - The source and properties of in- jected carbon dioxide; and

  - Any additional site-specific fac- tors as determined by the Director.

[75 FR 77288, Dec. 10, 2010]

# Subpart C—Authorization of Underground Injection by Rule

##### § 144.21 Existing Class I, II (except en- hanced recovery and hydrocarbon storage) and III wells.

    - An existing Class I, II (except en- hanced recovery and hydrocarbon stor- age) and III injection well is authorized by rule if the owner or operator injects into the existing well within one year after the date at which a UIC program authorized under the SDWA becomes effective for the first time or inven- tories the well pursuant to the require- ments of § 144.26. An owner or operator of a well which is authorized by rule pursuant to this section shall rework, operate, maintain, convert, plug, aban- don or inject into the well in compli- ance with applicable regulations.

    - Duration of well  authorization  by rule. Well authorization under this sec- tion expires  upon  the  effective  date  of a permit issued pursuant to §§ 144.25, 144.31, 144.33 or 144.34; after plugging and  abandonment  in  accordance  with an approved plugging and abandonment plan pursuant to §§ 144.28(c) and 146.10, and  upon  submission  of  a  plugging  and

abandonment	report	pursuant	to

§ 144.28(k); or upon conversion in com- pliance with § 144.28(j).

    - Prohibitions on injection. An owner or operator of a well authorized by rule pursuant to this section is prohibited from injecting into the well:

      - Upon the effective date of an ap- plicable permit denial;

      - Upon failure to submit a permit application in a timely manner pursu- ant to §§ 144.25 or 144.31;

      - Upon failure to submit inventory information in a timely manner pursu- ant to § 144.26;

      - Upon failure to comply with a re- quest for information in a timely  man- ner pursuant to § 144.27;

      - Upon failure to provide alter- native  financial  assurance  pursuant  to

§ 144.28(d)(7);

      - Forty-eight hours  after  receipt  of a determination by the Director pursu- ant to § 144.28(f)(3) that the well lacks mechanical integrity, unless the Direc- tor requires immediate cessation;

      - Upon receipt  of  notification  from the Director pursuant to § 144.28(l) that the transferee has not demonstrated fi- nancial      responsibility      pursuant      to

§ 144.28(d);

      - For Class I and III wells:

        - In States with approved programs, five years after the effective date  of the UIC program unless a timely and complete permit application is pending the Director’s decision; or

        - In States with programs adminis- tered by EPA, one year after the effec- tive date of the UIC program unless a timely and complete permit applica- tion is pending the Director’s decision; or

      - For Class II wells (except en- hanced recovery and hydrocarbon stor- age), five years after the effective date of the UIC program unless a timely and complete permit application is pending the Director’s decision.

    - Class II and III wells in existing fields or projects. Notwithstanding the prohibition in § 144.11, this section au- thorizes Class II and Class III wells or projects in existing fields or projects to continue normal operations until per- mitted, including construction, oper- ation,  and  plugging  and   abandonment of wells as part of the operation, pro- vided  the  owner  or  operator  maintains

§ 144.22

compliance with all applicable require- ments.

    - Requirements. The owner or oper- ator of a well authorized under this section shall comply with the applica- ble requirements of § 144.28 and part 147 of this chapter no later than one year after    authorization.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  49

FR  20181,  May  11,  1984;  58  FR  63895,  Dec.  3,

1993]

##### § 144.22 Existing Class II enhanced re- covery and hydrocarbon storage wells.

- An existing Class II enhanced re- covery or hydrocarbon storage injec- tion well is authorized by rule  for  the life of the well or project, if the owner or operator injects  into  the  existing well within one year after the  date which a UIC program authorized under the SDWA becomes  effective  for  the first time or inventories the well pur- suant to the requirements of  § 144.26. An owner or operator of a well which is authorized by rule pursuant to this sec- tion shall rework, operate, maintain, convert, plug, abandon or inject into the well in compliance with applicable regulations.

- Duration of well authorization  by rule. Well authorization under this sec- tion expires  upon  the  effective  date  of a   permit   issued   pursuant   to   § 144.19,

§ 144.25, § 144.31, § 144.33 or § 144.34; after

plugging and abandonment in accord- ance with an approved plugging and abandonment       plan       pursuant       to

§§ 144.28(c) and 146.10 of this chapter; and upon submission of a plugging and abandonment       report       pursuant       to

§ 144.28(k); or upon conversion in com- pliance with § 144.28(j).

- Prohibitions on injection. An owner or operator of a well authorized by rule pursuant to this section is prohibited from injecting into the well:

  - Upon the effective date of an ap- plicable permit denial;

  - Upon failure to submit a permit application in a timely manner pursu- ant to § 144.25 or § 144.31;

  - Upon failure to submit inventory information in a timely manner pursu- ant to § 144.26;

  - Upon failure to comply with a re- quest for information in a timely  man- ner pursuant to § 144.27;

#### 40 CFR Ch. I (7–1–17 Edition)

  - Upon failure to provide alter- native  financial  assurance  pursuant  to

§ 144.28(d)(7);

  - Forty-eight hours  after  receipt  of a determination by the Director pursu- ant to § 144.28(f)(3) that the well lacks mechanical integrity, unless the Direc- tor requires immediate cessation; or

  - Upon receipt  of  notification  from the Director pursuant to § 144.28(l) that the transferee has not demonstrated fi- nancial      responsibility      pursuant      to

§ 144.28(d).

- Requirements. The owner or oper- ator of a well authorized under this section shall comply with the applica- ble requirements of § 144.28 and part 147 of this chapter. Such owner or operator shall comply with the casing and ce- menting requirements no later than 3 years and other requirements no later than  1  year  after  authorization.

[49 FR 20181, May 11, 1984, as amended at 58

FR  63896,  Dec.  3,  1993;  75  FR  77288,  Dec.  10,

2010]

##### § 144.23   Class IV wells.

- Injection into  existing  Class  IV wells is authorized for up to six months after approval  or  promulgation  of  the UIC Program. Such wells are subject  to the requirements of §§ 144.13 and 144.14(c).

- Closure. For EPA administered programs only,

- Prior to abandoning any Class IV well, the owner or operator shall plug or otherwise close the well in a manner acceptable to the Regional Adminis- trator.

- [Reserved]

- The owner or operator of a Class IV well must notify the Regional Ad- ministrator of intent to abandon the well at least thirty days prior to aban- donment.

- Notwithstanding the require- ments of paragraphs (a) and (b) of this section, injection wells used to inject contaminated ground water that has been treated and is being injected into the same formation from which it was drawn are authorized by rule for the life of the well if such subsurface em- placement of fluids is approved by EPA, or a State, pursuant to provisions for cleanup of releases under the Com- prehensive Environmental Response, Compensation,   and   Liability   Act   of

#### Environmental Protection Agency	§ 144.26

1980  (CERCLA),  42  U.S.C.  9601–9675,  or

pursuant to requirements and provi- sions under the Resource Conservation and Recovery Act (RCRA), 42 U.S.C. 6901–6992k.

[49 FR 20181, May 11, 1984, as amended at 60

FR  33932,  June  29,  1995;  64  FR  68566,  Dec.  7,

1999]

##### § 144.24   Class V wells.

  - A Class V injection well is author- ized by rule, subject  to  the  conditions in § 144.84

  - Duration of well authorization  by rule. Well authorization under this sec- tion expires  upon  the  effective  date  of a permit issued pursuant to §§ 144.25, 144.31, 144.33 or 144.34, or upon proper closure  of  the  well.

  - Prohibition of injection. An owner or operator of a well which is author- ized by rule pursuant to this section is prohibited from injecting into the well:

    - Upon the effective date of an ap- plicable permit denial;

    - Upon failure to submit a permit application in a timely manner pursu- ant to §§ 144.25 or 144.31;

    - Upon failure to submit inventory information in a timely manner pursu- ant to § 144.26; or

    - Upon failure to comply with a re- quest for information in a timely  man- ner pursuant to § 144.27.

[58 FR 63896, Dec. 3, 1993, as amended at 64

FR 68566, Dec. 7, 1999]

##### § 144.25   Requiring a permit.

- The Director may require the owner or operator of any Class I, II, III or V injection well which is authorized by rule under this subpart to apply for and obtain an individual or area UIC permit. Cases where individual or area UIC permits may be required include:

- The injection well is not in com- pliance with any requirement of the rule;

NOTE: Any underground injection which violates any authorization by rule is subject to appropriate enforcement action.

- The injection well is not or no longer is within the category of wells and types of well operations authorized in the rule;

- The protection of USDWs requires that the injection operation be regu- lated by requirements, such as for cor- rective  action,  monitoring  and  report-

ing, or operation, which are not con- tained in the rule.

- When the injection well is a Class I, II (except existing enhanced recovery and hydrocarbon storage) or III well, in accordance with a schedule established by the Director pursuant to § 144.31(c).

- For EPA-administered programs, the Regional Administrator may re- quire an owner or operator of any well which is authorized by rule under this subpart to apply for an individual or area UIC permit under this paragraph only if the owner or operator has been notified in writing that a permit appli- cation is required. The owner or oper- ator of a well which is authorized by rule under this subpart is prohibited from injecting into the well upon the effective date of permit denial, or upon failure by the owner or operator to sub- mit an application in a timely manner as specified in the notice. The notice shall include: a brief statement of the reasons for requiring a permit; an ap- plication form; a statement setting a time for the owner or operator to file the application; and a statement of the consequences of denial or issuance of the permit, or failure to submit an ap- plication, as described in this para- graph.

- An owner or operator of a well au- thorized by rule may request to be ex- cluded from the coverage of this sub- part by applying for an individual or area UIC permit. The owner or oper- ator shall submit an application under

§ 144.31 with reasons supporting the re- quest,  to  the   Director.   The   Director may  grant  any  such  requests.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  49

FR  20182,  May  11,  1984;  58  FR  63896,  Dec.  3,

1993]

##### § 144.26   Inventory requirements.

The owner or operator of an injection well which is authorized by rule under this subpart shall submit inventory in- formation to the Director. Such an owner or operator is prohibited from injecting into the well upon failure to submit inventory information for the well within the time frame specified in paragraph (d) of this section.

- Contents. As part of the inventory, the Director shall require and the owner/operator shall provide at least the following information:

#### § 144.27

  - Facility name and location;

  - Name and address of legal con- tact;

  - Ownership of facility;

  - Nature and type of injection wells; and

  - Operating status of injection wells.

NOTE: This information is requested on na- tional form ‘‘Inventory of Injection Wells,’’ OMB No. 158–R0170.

- Additional contents. For EPA ad- ministered programs only, the owner or operator of a well listed in para- graph (b)(1) of this section shall pro- vide the information listed in para- graph (b)(2) of this section.

  - This section applies to the fol- lowing wells:

- Class II enhanced recovery wells;

- Class IV wells;

- The following Class V wells:

  - Sand   or   other    backfill    wells [§ 146.5(e)(8)];

  - Radioactive waste disposal wells that are not Class I wells (40 CFR 146.5 (e)(11))

  - Geothermal energy recovery  wells [§ 146.5(e)(12)];

  - Brine       return       flow       wells [§ 146.5(e)(14)];

  - Wells used in experimental tech- nologies [§ 146.5(e)(15)];

  - Municipal and industrial disposal wells other than Class I; and

  - Any other Class V wells at the discretion of the Regional Adminis- trator.

  - The owner or operator of a well listed in paragraph (b)(1) shall provide a listing of all wells owned or operated setting forth the following information for each well. (A single description of wells at a single facility with substan- tially the same characteristics is ac- ceptable).

- For Class II only, the field name(s);

- Location of each well or project given by Township,  Range,  Section, and Quarter-Section, or by latitude and longitude to the nearest second, ac- cording to the conventional practice in the State;

- Date of completion of each well;

- Identification and depth of the formation(s) into which each well is in- jecting;

- Total depth of each well;

#### 40 CFR Ch. I (7–1–17 Edition)

- Casing and cementing record, tubing size, and depth of packer;

- Nature of the injected fluids;

- Average and maximum injec- tion pressure at the wellhead;

- Average and maximum injection rate; and

- Date of the last mechanical integ- rity test, if any.

- Notice. Upon approval of the UIC Program in a State, the Director shall notify owners or operators of injection wells of their duty to submit inventory information. The method of notifica- tion selected by the Director must as- sure that the owners or operators will be made aware of the inventory re- quirement.

- Deadlines. (1) The owner or oper- ator of an injection well shall submit inventory information no later than one year after the date of approval or effective date of the UIC program for the State. The Director need not re- quire inventory information from any facility with interim status  under RCRA.

- For EPA administered programs the information need not be submitted if a complete permit application is sub- mitted within one year of the effective data of the UIC program. The owner or operator of Class IV well shall submit inventory information no later than 60 days after the effective date of the pro- gram.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  49

FR  20182,  May  11,  1984;  58  FR  63896,  Dec.  3,

1993;  64  FR  68566,  Dec.  7,  1999;  67  FR  39593,

June 7, 2002]

##### § 144.27   Requiring other information.

  - For EPA administered programs only, in addition to the inventory re- quirements of § 144.26, the Regional Ad- ministrator may require the owner or operator of any well authorized by rule under this subpart to submit informa- tion as deemed necessary by the  Re- gional Administrator to determine whether a well may be endangering an underground source of drinking  water in violation of § 144.12 of this part.

  - Such information requirements may include, but are not limited to:

    - Performance of ground-water monitoring and the periodic  submis- sion of reports of such monitoring;

#### Environmental Protection Agency	§ 144.28

    - An analysis of injected fluids, in- cluding periodic submission of such analyses; and

    - A description of the geologic stra- ta through and into which injection is taking place.

  - Any request for information under this section shall be made in writing, and include a brief statement of the reasons for requiring the information. An owner or operator shall submit the information within the time period(s) provided in the notice.

  - An owner or operator of an injec- tion well authorized by rule under this subpart  is  prohibited  from   injecting into the well upon  failure  of  the  owner or operator to comply with a  request for information within the time pe- riod(s) specified by the Director pursu- ant to paragraph (c) of this section. An owner or operator of a well prohibited from injection under this section shall not resume injection except under a permit issued pursuant to §§ 144.25, 144.31, 144.33 or 144.34.

[49 FR 20182, May 11, 1984, as amended at 58

FR 63896, Dec. 3, 1993]

##### § 144.28   Requirements  for  Class  I,  II, and III wells authorized by rule.

The following requirements apply to the owner or operator of a Class I, II or III well authorized by rule under this subpart, as provided by §§ 144.21(e) and 144.22(d).

- The owner or operator shall com- ply with all applicable requirements of this subpart and subpart B of this part. Any noncompliance with these require- ments constitutes a  violation  of  the Safe  Drinking  Water  Act  and  is grounds for enforcement action, except that the owner or operator need not comply with these requirements to the extent and for the duration such non- compliance is authorized by an emer- gency permit under § 144.34.

- Twenty-four hour reporting. The owner or operator shall report any non- compliance which may endanger health or the environment, including:

- Any monitoring or other informa- tion which indicates that any contami- nant may cause an endangerment to a USDW; or

- Any noncompliance or malfunc- tion of the injection system which may

cause fluid migration into or between USDWs.

Any information shall be provided oral- ly within 24 hours from the time the owner or operator becomes aware of the circumstances. A written submis- sion shall also be  provided within  five days of the time the owner or operator becomes aware of the circumstances. The written submission shall contain a description of the noncompliance and its cause, the period of noncompliance, including exact dates and times, and if the noncompliance has not been cor- rected, the anticipated time it is ex- pected to continue; and steps taken or planned to reduce, eliminate, and pre- vent recurrence of the noncompliance.

- Plugging and abandonment plan. (1) The owner or operator shall prepare, maintain, and comply with a plan for plugging and abandonment of  the  well or project that  meets  the  requirements of § 146.10 of this chapter and is accept- able  to  the  Director.  For  purposes  of this  paragraph,   temporary   intermit- tent  cessation  of   injection   operations is  not  abandonment.

- For EPA administered programs:

  - The owner or operator shall sub- mit the plan, on a form provided by the Regional Administrator, no later than one year after the effective date of the UIC program in the state.

  - The owner or operator shall sub- mit any proposed significant  revision to the method of plugging reflected in the plan no later than the notice of plugging required by § 144.28(j)(2) (i.e., 45 days prior to plugging unless shorter notice is approved).

  - The plan shall include the fol- lowing information:

- The nature and quantity and ma- terial to be used in plugging;

- The location and extent (by depth) of the plugs;

- Any proposed test or measure- ment to be made;

- The amount, size, and location (by depth) of casing to be left in the well;

- The method and location where casing is to be parted; and

- [Reserved]

- The estimated cost of plugging the well.

  - After a cessation of operations of two years the owner or operator shall

#### § 144.28

plug  and  abandon  the  well  in  accord- ance with the plan unless he:

    - Provides notice to the Regional Administrator;

    - Describe actions or procedures, satisfactory to the Regional Adminis- trator, that the owner or operator will take to ensure that the well will not endanger USDWs during the period of temporary abandonment. These actions and procedures shall include compli- ance with the technical requirements applicable to active injection wells un- less waived by the Regional Adminis- trator.

  - The owner or operator of any well that has been temporarily abandoned [ceased operations for more than two years and has met the requirements of paragraphs (c)(2) (A) and (B) of this sec- tion] shall notify the Regional Admin- istrator prior to resuming operation of the well.

- Financial responsibility. (1) The owner, operator and/or, for EPA-admin- istered programs, the transferor of a Class I, II or III well, is required to demonstrate and maintain financial re- sponsibility and resources to close, plug and abandon the underground in- jection operation in a manner pre- scribed by the Director until:

- The well has been plugged and abandoned in accordance with an ap- proved plugging and abandonment plan pursuant to §§ 144.28(c) and 146.10 and submission of a plugging and abandon- ment report has been made pursuant to

§ 144.28(k);

- The well has been converted in compliance  with  the  requirements  of

§ 144.28(j); or

- For EPA-administered programs, the transferor has received notice from the Director that the transferee has demonstrated financial responsibility for the well. The owner or operator shall show evidence of such financial responsibility to the Director by the submission of a surety bond, or other adequate assurance, such as a financial statement.

- For EPA-administered programs, the owner or operator shall submit such evidence no later than one year after the effective date of the UIC pro- gram in the State. Where the owner- ship or operational control of the well is transferred more than one year after

#### 40 CFR Ch. I (7–1–17 Edition)

the effective date of the UIC  program, the transferee shall submit such evi- dence no later than  the  date  specified in   the   notice   required   pursuant   to

§ 144.28(l)(2).

- For EPA administered programs the Regional Administrator may re- quire the owner or operator to submit a revised demonstration of financial re- sponsibility if the Regional Adminis- trator has reason to believe that the original demonstration is no longer adequate to cover the cost of closing, plugging and abandoning the well.

- For EPA administered programs the owner or operator of a well inject- ing hazardous waste must comply with the financial responsibility require- ments of subpart F of this part.

- For EPA-administered programs, an owner or operator must notify the Regional Administrator by  certified mail of the commencement of any vol- untary or involuntary  proceeding under Title 11 (Bankruptcy) of the United States Code which names the owner or operator as debtor, within 10 business days after the commencement of the proceeding. Any party acting as guarantor for the owner or operator for the purpose of financial responsibility must so notify the Regional Adminis- trator, if the guarantor is named as debtor in any such proceeding.

- In the event of commencement of a proceeding specified in paragraph (d)(5) of this section, an owner or oper- ator who has furnished a financial statement for the purpose of dem- onstrating financial  responsibility under this section shall be  deemed  to be in violation of this  paragraph  until an alternative financial assurance demonstration acceptable to the Re- gional Administrator is provided either by the owner or operator or by its trustee in bankruptcy,  receiver,  or other  authorized  party.  All  parties shall be prohibited from injecting into the well until such alternate financial assurance is provided.

- Casing and cementing requirements. For enhanced recovery and hydro- carbon storage wells:

  - The owner or operator shall case and cement the well to prevent move- ment of fluids into or between under- ground sources of drinking water. In determining  and  specifying  casing  and

#### Environmental Protection Agency	§ 144.28

cementing  requirements,  the  following factors shall be considered:

    - Depth to the injection zone;

    - Depth to the bottom of all USDWs; and

    - Estimated maximum and aver- age injection pressures.

  - In addition, in determining and specifying casing and cementing re- quirements the Director may consider information on:

- Nature of formation fluids;

- Lithology of injection and con- fining zones;

- External pressure, internal pres- sure, and axial loading;

- Hole size;

- Size and grade of all casing strings; and

- Class of cement.

  - The  requirements  in  paragraphs

- (1) and (2) of this section need not apply if:

  - Regulatory controls for casing and cementing existed at the time of drill- ing of the well and the well is in com- pliance with those controls; and

  - Well injection will not result in the movement of fluids into an under- ground source of drinking water so as to create a significant risk to  the health of persons.

  - When a State did not have regu- latory controls for casing and cement- ing prior to the time of the submission of the State program to the Adminis- trator, the Director need not apply the casing and cementing requirements in paragraph (e)(1) of this section if he submits as a part of his application for primacy, an appropriate plan for casing and cementing of existing, newly con- verted, and newly drilled wells in exist- ing fields, and the Administrator ap- proves the plan.

- Operating requirements. (1) Injec- tion between the outermost casing pro- tecting underground sources of drink- ing water and the well bore is prohib- ited.

- The owner or operator of a Class I, II or III injection well authorized by rule shall establish and maintain me- chanical integrity as defined  in  § 146.8 of this chapter until the well is prop- erly plugged in accordance with an ap- proved plugging and abandonment plan pursuant to §§ 144.28(c) and 146.10, and a plugging and abandonment report pur-

suant to § 144.28(k) is submitted, or until the well is converted in compli- ance with § 144.28(j). For EPA-adminis- tered programs, the Regional Adminis- trator may require by written notice that the owner or  operator  comply with a schedule describing when me- chanical   integrity   demonstrations shall be made.

- When the  Director  determines that a Class I (non-hazardous), II or III injection well lacks  mechanical  integ- rity pursuant to § 146.8 of this  chapter, the  Director  shall  give   written   notice of his determination to the  owner or operator. Unless the Director requires immediate cessation, the owner or op- erator shall cease  injection  into  the well within 48 hours of receipt of the Director’s determination. The Director may allow plugging of the well in ac- cordance    with    the    requirements    of

§ 146.10 of this chapter, or require the owner or operator to perform such ad- ditional construction, operation, moni- toring, reporting and corrective  action as is necessary to prevent the move- ment of fluid into or between USDWs caused by the lack of mechanical in- tegrity. The owner or operator may re- sume injection  upon  receipt of written notification from the Director that the owner or operator has demonstrated mechanical integrity pursuant to § 146.8 of this chapter.

- The Director may allow the owner or operator of a well which lacks me- chanical        integrity        pursuant        to

§ 146.8(a)(1) of this chapter to continue or resume injection if the owner or op- erator has made a satisfactory dem- onstration that there is  no  movement of fluid into or between USDWs.

- For Class I wells, unless an alter- native to a packer has been approved under § 146.12(c) of this chapter, the owner or operator shall fill the annulus between the tubing and  the  long  string of casings with a fluid approved by the Director and maintain a pressure, also approved by the Director, on the annu- lus. For  EPA  administered  programs, the owner or operator of a Class I well completed with tubing and packer  shall fill the annulus between tubing and casing with a noncorrosive fluid and maintain a positive pressure on the an- nulus.  For  other  Class  I  wells,  the owner  or  operator  shall  insure  that  the

#### § 144.28

alternative completion method will re- liably provide a comparable level of protection to underground sources of drinking water.

- Injection pressure.

  - For Class I and III wells:

- Except during stimulation, the owner or operator shall not exceed an injection pressure at the wellhead which shall be calculated so as to as- sure that the pressure during injection does not initiate new fractures or prop- agate existing fractures in the injec- tion zone; and

- The owner or operator shall not inject at a pressure which will initiate fractures in the confining zone or cause the movement of injection or forma- tion fluids into an underground source of drinking water.

  - For Class II wells:

    - The owner or operator shall not exceed a maximum injection pressure at the wellhead which shall be cal- culated so as to assure that the pres- sure during injection does not initiate new fractures of propagate existing fractures in the confining zone adja- cent to the USDWs; and

    - The owner or operator shall not inject at a pressure which will  cause the movement of injection or forma- tion fluids into an underground source of drinking water.

- Monitoring requirements. The owner or operator shall perform the monitoring as described in this para- graph.  For  EPA  administered  pro- grams, monitoring of the nature of the injected fluids shall comply with appli- cable analytical methods cited and de- scribed in table I of 40 CFR 136.3 or in appendix III of 40 CFR part 261 or by other methods that have been approved by   the   Regional   Administrator.

- The owner or operator of a Class I well shall:

  - Analyze the nature of the injected fluids with sufficient frequency to yield data representative of their char- acteristics;

  - Install and use continuous record- ing devices to monitor injection pres- sure, flow rate and volume, and the pressure on the annulus between the tubing and the long string of casing;

  - Install and use monitoring wells within the area of review if required by the Director, to monitor any migration

#### 40 CFR Ch. I (7–1–17 Edition)

of fluids into and pressure in the under- ground sources of  drinking water.  The type, number and location of the wells, the parameters to be measured, and the frequency of monitoring must be ap- proved by the Director.

- For Class II wells:

  - The owner or operator shall mon- itor the nature of the injected fluids with sufficient frequency to yield data representative of their characteristics. For EPA administered programs, this frequency shall be at least once within the first year of the authorization and thereafter when changes are made to the fluid.

  - The owner or operator shall ob- serve the  injection pressure,  flow rate, and cumulative volume at least with the following frequencies:

    - Weekly for produced fluid dis- posal operations;

    - Monthly for enhanced recovery operations;

    - Daily during the injection of liq- uid hydrocarbons and injection for withdrawal of stored hydrocarbons; and

    - Daily during the injection phase of cyclic steam operations.

  - The owner or operator shall record one observation of injection pressure, flow rate and cumulative vol- ume at reasonable intervals no greater than  thirty  days.

  - For enhanced recovery and hy- drocarbon storage wells:

- The owner or operator shall dem- onstrate mechanical integrity  pursu- ant to § 146.8 of this chapter at least once every five years during the life of the  injection  well.

- For EPA administered programs, the Regional Administrator by written notice may require the owner or oper- ator to comply with a schedule describ- ing when such demonstrations shall be made.

- For EPA administered programs, the owner or operator of any well re- quired to be tested for mechanical in- tegrity shall notify the Regional Ad- ministrator at least 30 days prior to any required mechanical integrity test. The Regional  Administrator  may  allow a shorter notification period if it would be sufficient to enable EPA to  witness the mechanical integrity testing if it chose. Notification may be in the form of  a  yearly  or  quarterly  schedule  of

#### Environmental Protection Agency	§ 144.28

planned mechanical integrity tests, or it may be on an individual basis.

  - The owner or operator of a hydro- carbon storage or enhanced recovery wells may monitor them by manifold monitoring on a field or project basis rather than on an individual well basis if such facilities consist of more than one injection well, operate with a com- mon manifold, and provided the owner or operator demonstrates to the Direc- tor that manifold monitoring is com- parable to individual well monitoring.

(3)(i) For Class III wells the owner or operator shall provide to the Director a qualitative analysis and ranges in con- centrations of all constituents of in- jected fluids  at  least  once  within  the first year of authorization  and  there- after whenever the injection fluid is modified to the extent that the initial data are incorrect or incomplete. The owner or operator may request Federal confidentiality as specified  in  40  CFR part 2. If the information is  proprietary the owner or operator may in  lieu  of the ranges in concentrations choose to submit    maximum     concentrations which shall not be exceeded. In such a case the owner or operator shall retain records of the undisclosed concentra- tions and provide them upon request to the Regional  Administrator  as  part  of any  enforcement  investigation;  and

- Monitor injection pressure and ei- ther flow rate or volume semi-monthly, or meter and record daily injected and produced fluid volumes as appropriate;

- Monitor the fluid level in the in- jection zone semi-monthly, where ap- propriate;

- All Class III wells may be mon- itored on a field or project basis rather than an individual well basis by mani- fold monitoring. Manifold monitoring may be used in cases of facilities con- sisting of more than one injection well, operating with a common manifold. Separate monitoring systems for each well are not required provided the owner or operator demonstrates to the Director that manifold monitoring is comparable to individual well moni- toring.

- Reporting requirements. The owner or operator shall submit reports to the Director as follows:

- For Class I wells, quarterly re- ports on:

- The physical, chemical, and other relevant characteristics of the injec- tion fluids;

- Monthly average, maximum, and minimum values for injection pressure, flow rate and volume, and annular pressure;

- The results from ground-water monitoring wells prescribed in para- graph (g)(1)(iii) of this section;

- The results of any test of the in- jection well conducted by the owner or operator during the reported quarter if required by the Director; and

- Any well work over performed during the reported quarter.

- For Class II wells:

  - An annual report to the Director summarizing the results of all moni- toring, as required in paragraph (g)(2) of this section. Such summary shall in- clude monthly records of  injected fluids, and  any major  changes in  char- acteristics or sources of injected fluids. Previously submitted information may be included by reference.

  - The owner or operator of hydro- carbon storage and enhanced recovery projects may report on a field or project basis rather than on an indi- vidual well basis where manifold moni- toring is used.

- For Class III wells:

  - Quarterly reporting on all moni- toring, as required in paragraph (g)(3) of this section;

  - Quarterly reporting of the results of any periodic tests required by the Director that are performed during the reported quarter;

  - Monitoring may be reported on a project or field basis rather than an in- dividual well basis where manifold monitoring is used.

(i) Retention of records. The owner or operator shall retain records of all monitoring information, including the following:

- Calibration and maintenance records and all original strip chart re- cordings for continuous monitoring in- strumentation, and copies of all re- ports required by this section, for a pe- riod of at least three years from the date of the sample, measurement, or report. This period may be extended by request of the Director at any time; and

#### § 144.31

- The nature and composition of all injected fluids until three years after the completion of any plugging and abandonment procedures specified under § 144.52(l)(6). The  Director may require the owner or operator to de- liver the records to the Director at the conclusion of the retention period. For EPA administered programs, the owner or operator shall continue to retain the records after the three year retention period unless he delivers the records to the Regional Administrator or obtains written approval from the Regional Ad- ministrator to discard the records.

- Notice of abandonment. (1) The owner or operator shall notify the Di- rector, according to a time period re- quired by the Director, before conver- sion or abandonment of the well.

(2) For EPA-administered programs, the owner or operator shall notify the Regional  Administrator  at  least  45 days before plugging and abandonment. The Regional Administrator, at his dis- cretion, may allow a shorter notice pe- riod.

- Plugging and abandonment report. For EPA-administered programs, with- in 60 days after plugging a  well  or  at the time of the next quarterly report (whichever is less) the owner or oper- ator shall submit a report to the Re- gional Administrator. If the quarterly report is due less than 15 days before completion of plugging, then the report shall be submitted within 60 days. The report shall be certified as accurate by the person who performed the plugging operation. Such report shall consist of either:

  - A statement that the well was plugged in accordance with the plan previously submitted to the Regional Administrator; or

  - Where actual plugging differed from the plan previously submitted, an updated version of the plan, on the form supplied by the Regional Admin- istrator, specifying the different proce- dures used.

- Change of ownership or operational control. For EPA-administered pro- grams:

  - The transferor of a Class I, II or III well authorized by rule shall notify the Regional Administrator of a trans- fer of ownership or operational control

#### 40 CFR Ch. I (7–1–17 Edition)

of the well at least 30 days in advance of the proposed transfer.

  - The notice shall include a written agreement between the transferor and the  transferee  containing  a  specific date for transfer of ownership or oper- ational control of the well; and a spe- cific date when the financial responsi- bility demonstration of § 144.28(d) will be  met  by  the  transferee.

  - The transferee is authorized to in- ject unless  he  receives  notification from the Director that the transferee has not demonstrated financial respon- sibility pursuant to § 144.28(d).

- Requirements for  Class  I hazardous waste wells. The owner or operator of any Class I well injecting hazardous waste shall comply with § 144.14(c). In addition, for EPA-administered  pro- grams the owner or operator shall properly  dispose  of,  or  decontaminate by removing all hazardous waste resi- dues,  all  injection  well  equipment.

[49 FR 20182, May 11, 1984, as amended at 58

FR 63897, Dec. 3, 1993]

# Subpart D—Authorization by Permit

##### § 144.31   Application  for  a  permit;  au- thorization by permit.

- Permit application. Unless an un- derground  injection  well  is  authorized by rule under subpart C of this part, all injection activities including construc- tion of an injection well are prohibited until the owner or operator is author- ized by permit. An owner or operator of a  well  currently  authorized  by   rule must apply for a permit under this sec- tion unless well  authorization  by  rule was for the life of the well or project. Authorization by rule for a well or project for which a permit application has been submitted terminates for the well or project upon  the  effective  date of the  permit.  Procedures  for  applica- tions, issuance and administration of emergency permits are  found  exclu- sively in § 144.34. A RCRA permit apply- ing the standards of part 264, subpart C of this chapter will constitute a UIC permit for hazardous waste injection wells for which the  technical  standards in part 146 of this chapter are not gen- erally    appropriate.

Environmental Protection Agency	§ 144.31

- Who applies? When a facility or ac- tivity is owned by one person but is op- erated by another person, it is the op- erator’s duty to obtain a permit.

- Time to apply. Any person who per- forms or proposes an underground in- jection for which a permit is or will be required shall submit an application to the Director  in  accordance  with  the UIC program as follows:

- For existing wells, as expedi- tiously as practicable and in accord- ance with the schedule in any program description under § 145.23(f) or (for EPA administered programs) on a schedule established by the Regional Adminis- trator, but no later than 4  years  from the approval or promulgation of the UIC   program,   or   as   required   under

§ 144.14(b) for wells injecting hazardous waste. For EPA administered programs the owner or operator of Class I or III wells shall submit a complete permit application no later than 1 year  after the  effective  date  of  the  program.

- For new injection wells,  except new wells in projects authorized under

§ 144.21(d) or authorized by an existing area permit under § 144.33(c), a reason- able time before construction is ex- pected  to  begin.

- Completeness. The Director shall not issue a permit before receiving a complete application for a permit ex- cept for emergency permits. An appli- cation for a permit is complete when the Director receives an application form and any supplemental informa- tion which are completed to his or her satisfaction. The completeness of any application for a permit shall be judged independently of the status of any other permit application or permit for the same facility or activity. For EPA- administered programs, an application which is reviewed under § 124.3 is com- plete when the Director receives either a complete application or the informa- tion listed in a notice of deficiency.

- Information requirements. All appli- cants for Class I, II, III, and V permits shall provide the following information to the Director, using the application form provided by the Director. Appli- cants for Class VI permits shall follow the criteria provided in § 146.82 of this chapter.

  - The activities conducted by the applicant  which  require  it  to  obtain

permits under RCRA, UIC, the Na- tional Pollution Discharge Elimination system (NPDES) program under the Clean Water Act, or the Prevention of Significant Deterioration (PSD) pro- gram under the Clean Air Act.

  - Name, mailing address, and loca- tion of the facility for which the appli- cation is submitted.

  - Up to four SIC codes which best reflect the principal products or serv- ices provided by the facility.

  - The operator’s name, address, telephone number, ownership status, and status as Federal, State, private, public, or other entity.

  - Whether the facility is located on Indian lands.

  - A listing of all permits or con- struction approvals received or applied for under any of the following pro- grams:

    - Hazardous Waste  Management program under RCRA.

    - UIC program under SDWA.

    - NPDES program under CWA.

    - Prevention of Significant Dete- rioration (PSD) program under the Clean Air Act.

    - Nonattainment program under the Clean Air Act.

    - National Emission Standards for Hazardous Pollutants (NESHAPS) preconstruction approval under the Clean Air Act.

    - Ocean dumping permits under the Marine Protection Research and Sanctuaries   Act.

    - Dredge and fill permits under section 404 of CWA.

    - Other relevant environmental permits, including State permits.

  - A topographic map (or other map if a topographic map is unavailable) ex- tending one mile beyond the property boundaries of the source depicting the facility and each of its intake and dis- charge structures; each of its haz- ardous waste treatment, storage, or disposal facilities; each well where fluids from the facility are injected un- derground; and those wells, springs, and other surface water bodies, and drinking water wells listed in public records or otherwise known to the ap- plicant within a quarter mile of the fa- cility property boundary.

  - A brief description of  the  nature of the business.

#### § 144.32

  - For EPA-administered programs, the applicant shall identify and submit on a list with the permit  application the names and addresses of all owners of record of land within one-quarter mile of the facility boundary. This re- quirement may be waived by the Re- gional Administrator where the site is located in a populous area and the Re- gional Administrator determines that the requirement would be impracti- cable.

  - A plugging and abandonment plan  that  meets  the  requirements  of

§ 146.10 of this chapter and is acceptable to  the  Director.

- Recordkeeping. Applicants shall keep records of all data used to com- plete permit applications and any sup- plemental    information     submitted under § 144.31 for a period of at least 3 years from the date the application is signed.

- Information Requirements for Class I Hazardous Waste Injection Wells Per- mits. (1) The following information is required for each active Class I haz- ardous waste injection well at  a  facil- ity seeking a UIC permit:

- Dates well was operated.

- Specification of all wastes which have been injected in the well, if avail- able.

- The owner or operator of any fa- cility containing one or more active hazardous waste injection wells must submit all available information per- taining to any release of hazardous waste or constituents from any active hazardous waste injection well at the facility.

- The owner or operator of any fa- cility containing one or more active Class I hazardous waste injection wells must conduct such preliminary site in- vestigations as are necessary to deter- mine whether a release is occurring, has occurred, or is likely to have oc- curred.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  49

FR  20185,  May  11,  1984;  52  FR  45797,  Dec.  1,

1987; 52 FR 46963, Dec. 10, 1987; 58 FR 63897,

Dec. 3, 1993; 75 FR 77288, Dec. 10, 2010]

##### § 144.32   Signatories to permit applica- tions and reports.

  - Applications. All permit applica- tions, except those submitted for Class

#### 40 CFR Ch. I (7–1–17 Edition)

II wells (see paragraph (b) of this sec- tion), shall be signed as follows:

- For a corporation: by a responsible corporate officer. For the purpose of this section, a responsible corporate of- ficer means;  (i)  A  president,  secretary, treasurer, or vice president of the cor- poration in charge of a principal busi- ness function, or any other person who performs similar policy- or decision- making functions for the  corporation, or (ii) the manager of one or more man- ufacturing, production, or operating fa- cilities employing more than 250 per- sons or having gross annual sales or ex- penditures exceeding  $25  million  (in second-quarter 1980 dollars), if author- ity to sign documents has been as- signed or delegated to the manager in accordance with corporate procedures.

NOTE: EPA does not require specific assign- ments or delegations of authority to respon- sible      corporate      officers      identified      in

§ 144.32(a)(1)(i). The Agency will presume that these responsible corporate officers have the requisite authority to sign permit  applica- tions unless the corporation has notified the Director to the contrary. Corporate proce- dures governing authority to sign permit ap- plications may provide for assignment or delegation to applicable corporate positions under § 144.32(a)(1)(ii) rather than to specific individuals.

- For a partnership or sole proprietor- ship: by a general partner or the propri- etor, respectively; or

- For a municipality, State, Federal, or other public agency: by either a prin- cipal executive officer or ranking elect- ed official. For purposes of this section, a principal executive officer of a Fed- eral agency includes: (i) The chief exec- utive officer of the agency, or (ii) a senior executive officer having respon- sibility for the overall operations of a principal geographic unit of the agency (e.g., Regional Administrators of EPA).

  - Reports. All reports required by permits, other information requested by the Director, and all permit applica- tions submitted for Class II wells under

§ 144.31 shall be signed by a person de- scribed in paragraph (a)  of  this  section, or by a duly  authorized  representative of that person. A person is a duly au- thorized  representative  only  if:

- The authorization is made in writ- ing by a person described in paragraph

- of this section;

#### Environmental Protection Agency	§ 144.34

- The authorization specifies either an individual or a position having re- sponsibility for the overall operation of the regulated facility or activity, such as the position of plant manager, oper- ator of a well or a well field, super- intendent, or position of equivalent re- sponsibility. (A duly authorized rep- resentative may thus be either a named individual or any individual oc- cupying a named position); and

- The written authorization is sub- mitted to the Director.

  - Changes to authorization. If an au- thorization under paragraph (b) of this section is no longer accurate because a different individual or position has re- sponsibility for the overall operation of the facility, a new authorization satis- fying the requirements of paragraph (b) of this section must be submitted to the Director prior to or together with any reports, information, or applica- tions to be signed by an authorized rep- resentative.

  - Certification. Any person signing a document under paragraph (a) or (b) of this section shall make the following certification:

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accord- ance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are signifi- cant penalties for submitting false informa- tion, including the possibility of fine and im- prisonment for knowing violations.

(Clean Water Act (33 U.S.C. 1251 et seq.), Safe Drinking Water Act (42 U.S.C. 300f et seq.), Clean Air Act (42 U.S.C. 7401 et seq.), Re- source  Conservation  and  Recovery  Act  (42

    - 6901 et seq.)

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  48

FR 39621, Sept. 1, 1983]

##### § 144.33   Area permits.

      - The Director may issue a permit on an area basis, rather than for each well individually, provided that  the permit is for injection wells:

        - Described and identified by loca- tion in permit application(s) if they are existing  wells,  except  that  the  Director

may accept a single description  of wells with substantially the same char- acteristics;

        - Within the same well field, facil- ity site, reservoir, project, or similar unit in the same State;

        - Operated by a single owner or op- erator; and

        - Used to inject other than haz- ardous waste; and

        - Other than Class VI wells.

      - Area permits shall specify:

- The area within which under- ground injections are authorized, and

- The requirements for construc- tion, monitoring, reporting, operation, and abandonment, for all wells author- ized by the permit.

      - The area permit may authorize the permittee to construct and operate, convert, or plug and abandon wells within the permit area provided:

        - The permittee notifies the Direc- tor at such time as the permit requires;

        - The additional well satisfies the criteria in paragraph (a) of this section and meets the requirements  specified in the permit under paragraph (b) of this section; and

        - The cumulative effects of drilling and operation of additional injection wells are considered by the Director during evaluation of the area permit application and are acceptable to the Director.

      - If the Director  determines  that any well constructed pursuant to para- graph (c) of this section does not  sat- isfy any of the requirements of para- graphs (c) (1) and (2) of this section the Director may  modify  the  permit  under

§ 144.39, terminate under § 144.40,  or take  enforcement  action.  If  the  Direc- tor determines  that  cumulative  effects are unacceptable, the permit may be modified under § 144.39.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  75

FR 77288, Dec. 10, 2010]

##### § 144.34   Emergency permits.

- Coverage. Notwithstanding any other provision of this part or part 124, the Director may temporarily permit a specific underground injection if:

  - An imminent and substantial endangerment to the health of persons will result unless a temporary emer- gency permit is granted; or

#### § 144.35

  - A substantial and irretrievable loss of oil or gas resources will occur unless a temporary emergency permit is granted to a Class II well; and

    - Timely application for a permit could not practicably have been made; and

    - The injection will not result in the movement of fluids into under- ground sources of drinking water; or

  - A substantial delay in production of oil or gas resources will occur unless a temporary emergency permit is granted to a new Class II well and the temporary authorization will not re- sult in the movement of fluids into an underground source of drinking water.

- Requirements for issuance. (1) Any temporary permit under paragraph (a)(1) of this section shall be for no longer term than required to prevent the hazard.

  - Any temporary permit under paragraph (a)(2) of this section shall be for no longer than 90 days, except that if a permit application has been sub- mitted prior to the expiration of the 90- day period, the Director may extend the temporary permit until final action on the application.

  - Any temporary permit under paragraph (a)(3) of this section shall be issued only after a complete permit ap- plication has been submitted and shall be effective until final action on the application.

  - Notice of any temporary permit under this paragraph shall  be  published in accordance with § 124.11 within 10 days of the issuance of the permit.

  - The temporary permit under this section may be  either  oral  or  written. If oral, it must be followed within 5 calendar days by a written temporary emergency  permit.

  - The Director shall condition the temporary permit in any manner he or she determines is necessary to ensure that the injection will not result in the movement of fluids into an under- ground source of drinking water.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  49

FR 20185, May 11, 1984]

##### § 144.35   Effect of a permit.

    - Except for Class II and III wells, compliance with a permit during its term constitutes compliance, for pur- poses  of  enforcement,  with  Part  C  of

#### 40 CFR Ch. I (7–1–17 Edition)

the SDWA. However, a permit may be modified, revoked and reissued, or ter- minated  during  its  term  for  cause   as set forth in §§ 144.39 and 144.40.

    - The issuance of a permit does not convey any property rights of any sort, or any exclusive privilege.

    - The issuance of a permit does not authorize any injury to persons or property or invasion of other private rights, or any infringement of State or local law or regulations.

##### § 144.36   Duration of permits.

- Permits for Class I and V wells shall be effective for a fixed term not to exceed 10 years. UIC permits for Class II and III wells shall be issued for a period up to the operating life of the facility. UIC permits for Class VI wells shall be issued for the operating life of the facility and the post-injection site care period. The Director shall review each issued Class II, III, and VI  well UIC permit at least once every 5 years to determine  whether  it  should be modified, revoked and reissued, termi- nated or a minor modification made as provided in § 144.39, § 144.40, or § 144.41.

- Except as provided in § 144.37, the term of a permit shall  not  be  extended by modification beyond the maximum duration  specified  in  this  section.

- The Director may issue any per- mit for a duration that is less than the full  allowable  term  under  this  section.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  75

FR 77288, Dec. 10, 2010]

##### § 144.37   Continuation  of  expiring  per- mits.

- EPA permits. When EPA is the per- mit-issuing authority, the conditions of an expired permit continue in force under 5 U.S.C. 558(c) until the effective date of a new permit if:

  - The permittee has submitted a timely application which is a complete application for a new permit; and

  - The Regional Administrator, through no fault of the permittee does not issue a new permit with an effec- tive date on or before the expiration date of the previous permit (for exam- ple, when issuance is impracticable due to time or resource constraints).

- Effect. Permits continued under this section remain fully effective and enforceable.

#### Environmental Protection Agency	§ 144.39

- Enforcement. When the permittee is not in compliance with the condi- tions of the expiring or expired permit the Regional Administrator may choose to do any or all of the following:

  - Initiate enforcement action based upon the permit which has been contin- ued;

  - Issue a notice of intent to deny the new permit. If the permit is denied, the owner or operator would then be required to cease the activities author- ized by the continued permit or be sub- ject to enforcement action for  oper- ating without a permit;

  - Issue a new permit under part 124 with appropriate conditions; or

  - Take other actions authorized by these regulations.

- State continuation. An EPA issued permit does not continue in force be- yond its time expiration date under Federal law if at that time  a  State  is the permitting authority. A State au- thorized to administer the UIC pro- gram may continue either EPA or State-issued permits until the effective date of the new permits, if State law allows. Otherwise, the facility or activ- ity is operating without a permit from the time of expiration of the old permit to the effective date of the State-issued new permit.

##### § 144.38   Transfer of permits.

- Transfers by modification. Except as provided in paragraph (b) of this sec- tion, a permit may be transferred  by the permittee to a new owner or oper- ator only if the permit has been modi- fied  or  revoked  and  reissued  (under

§ 144.39(b)(2)), or a minor modification made (under § 144.41(d)), to identify the new permittee and  incorporate  such other requirements as  may  be  nec- essary under the Safe Drinking Water Act.

- Automatic transfers. As an alter- native to transfers under paragraph (a) of this section, any UIC permit for a well not injecting hazardous waste or injecting carbon dioxide for geologic sequestration may be automatically transferred to a new permittee if:

- The current permittee notifies the Director at least 30 days in  advance  of the proposed transfer date  referred  to in paragraph (b)(2) of this section;

- The notice includes a written agreement between the existing  and new permittees containing a specific date for transfer or permit responsi- bility, coverage, and liability between them,  and  the  notice   demonstrates that the financial responsibility re- quirements of § 144.52(a)(7) will be met by the new permittee; and

- The Director does not notify the existing permittee and the proposed new permittee of his or her intent to modify or revoke and reissue the per- mit. A  modification  under this para- graph may also be a minor modifica- tion under § 144.41. If this notice is not received,  the  transfer  is  effective  on the date specified in the agreement mentioned in paragraph (b)(2) of this section.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  75

FR 77288, Dec. 10, 2010]

##### § 144.39   Modification	or	revocation and reissuance of permits.

When the Director receives any infor- mation (for example, inspects the facil- ity, receives information submitted by the permittee as required in the permit (see § 144.51 of this chapter), receives a request for modification or revocation and reissuance under § 124.5, or con- ducts a review of the permit file) he or she may determine whether or not one or more of the causes listed in para- graphs (a) and (b) of this section for modification or revocation and reissuance or both exist. If cause ex- ists, the Director may modify or re- voke and reissue the permit accord- ingly, subject to the limitations of paragraph (c)  of  this section,  and  may request an updated application if nec- essary. When a permit is modified, only the conditions subject to modification are reopened. If a permit is revoked and reissued, the entire permit is re- opened and subject to revision and the permit is reissued for a new term. See

§ 124.5(c)(2) of this chapter.  If  cause does  not  exist  under  this  section  or

§ 144.41 of this chapter,  the  Director shall not modify or revoke and  reissue the permit. If a permit modification satisfies the criteria in  § 144.41  for ‘‘minor  modifications’’  the  permit  may be  modified  without  a  draft  permit  or

#### § 144.39

public review. Otherwise, a draft per- mit must be prepared and other proce- dures in part 124 must be followed.

  - Causes for modification. The fol- lowing are causes for modification. For Class I hazardous waste injection wells, Class II, Class III or Class VI wells the following may be causes for revocation and reissuance as well as modification; and for all other wells the following may be cause for revocation or reissuance as well as modification when the permittee requests or agrees.

- Alterations. There are material and substantial alterations or additions to the permitted facility or  activity which occurred after permit issuance which justify the application of permit conditions that are different or absent in the existing permit.

- Information. The Director has re- ceived information. Permits other than for Class II and III wells may be modi- fied during their terms for this cause only if the information was not avail- able at the time of permit  issuance (other than revised regulations, guid- ance, or test methods) and would have justified the application of different permit conditions at the time of issuance.     For     UIC     area      permits (§ 144.33),  this cause shall  include  any information indicating  that  cumu- lative effects on the environment are unacceptable.

- New regulations. The standards or regulations on which the permit was based have been changed by promulga- tion of new or amended standards or regulations  or  by  judicial  decision after the permit was issued. Permits other than for Class I hazardous waste injection wells, Class II,  Class  III  or Class VI wells may be modified during their permit terms for  this  cause  only as follows:

- For promulgation of amended standards or regulations, when:

  - The permit condition requested to be modified was based on a promul- gated part 146 regulation; and

  - EPA has revised, withdrawn, or modified that portion of the regulation on which the permit condition was based, and

  - A permittee  requests  modifica- tion in accordance with § 124.5 within ninety   (90)   days   after   FEDERAL    REG-

#### 40 CFR Ch. I (7–1–17 Edition)

ISTER notice of the action on which the request is based.

- For judicial decisions, a court of competent  jurisdiction  has  remanded and stayed EPA promulgated regula- tions if  the  remand  and  stay  concern that portion  of  the  regulations  on which the permit condition was based and a request is  filed  by  the  permittee in accordance with § 124.5 within ninety

- days of judicial remand.

  - Compliance schedules. The Director determines good cause exists for modi- fication of a compliance schedule, such as an act of God, strike, flood, or mate- rials shortage or other events over which the permittee has little or no control and for which there is no rea- sonably    available    remedy.    See    also

§ 144.41(c)  (minor  modifications).

  - Basis for modification of Class VI permits. Additionally,  for   Class  VI wells, whenever the Director deter- mines that permit changes are nec- essary based on:

- Area of review reevaluations under § 146.84(e)(1) of this chapter;

- Any amendments to the testing and monitoring plan under § 146.90(j) of this  chapter;

- Any amendments to the  injec- tion well plugging plan under § 146.92(c) of  this  chapter;

- Any amendments to the post-in- jection site care and site closure plan under § 146.93(a)(3) of this chapter;

- Any amendments to the emer- gency  and  remedial  response   plan under § 146.94(d) of this chapter; or

- A review of monitoring and/or testing results conducted in accordance with permit requirements.

  - Causes for modification or revoca- tion and reissuance. The following are causes to modify or, alternatively, re- voke and reissue a permit:

- Cause exists for  termination under § 144.40, and the Director deter- mines that modification  or  revocation and  reissuance  is  appropriate.

- The Director has received notifi- cation (as required in the permit, see

§ 144.41(d)) of a proposed transfer of the permit. A permit also may be modified to reflect a transfer after the effective date     of     an     automatic      transfer (§ 144.38(b)) but will not be revoked and reissued  after  the  effective  date  of  the

#### Environmental Protection Agency	§ 144.51

transfer except upon the request of the new permittee.

- A determination that the waste being injected is a hazardous waste as defined in § 261.3 either because the def- inition has been revised, or because a previous determination  has  been changed.

  - Facility siting. Suitability of the facility location will not be considered at the time of permit modification or revocation and reissuance unless new information or standards indicate that a threat to human health or the envi- ronment exists which was unknown at the time of permit issuance.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  53

FR 28147, July 26, 1988; 75 FR 77288, Dec. 10,

2010]

##### § 144.40   Termination of permits.

- The Director may terminate a permit during its term, or deny a per- mit renewal application for the fol- lowing causes:

  - Noncompliance by the permittee with any condition of the permit;

  - The permittee’s failure in the ap- plication or during the permit issuance process to disclose fully all  relevant facts, or the permittee’s misrepresenta- tion of any relevant  facts  at  any  time; or

  - A determination that the per- mitted activity endangers human health or the environment and can only be regulated to acceptable levels by permit modification or termination;

- The Director shall follow the ap- plicable procedures in part 124 in ter- minating any  permit  under  this  sec- tion.

##### § 144.41   Minor   modifications   of   per- mits.

Upon  the  consent  of  the  permittee, the Director may modify a  permit  to make the corrections or allowances for changes  in  the  permitted  activity   list- ed  in  this  section,  without  following the procedures of part 124. Any permit modification not processed as a minor modification  under  this  section  must be made for cause and with part 124 draft permit and public notice as re- quired in § 144.39. Minor modifications may  only:

- Correct  typographical  errors;

- Require more frequent monitoring or reporting by the permittee;

- Change an interim compliance date in a schedule of compliance, pro- vided the new date is not more than 120 days after the date specified in the ex- isting permit and does  not  interfere with attainment of the  final  compli- ance date requirement; or

- Allow for a change in ownership or operational control of a facility where the Director determines that no other change in the permit is nec- essary, provided that a written agree- ment containing a specific date for transfer of permit responsibility, cov- erage, and liability between the cur- rent and new permittees has been sub- mitted to the Director.

- Change quantities  or  types  of fluids injected which are within the ca- pacity of the facility as permitted and, in the judgment of the Director, would not interfere with the operation of the facility or its ability to meet condi- tions described in the permit and would not change its classification.

- Change construction requirements approved by the Director pursuant to

§ 144.52(a)(1) (establishing UIC permit conditions), provided that any such al- teration shall comply with the require- ments of this part and part 146.

- Amend a plugging and abandon- ment  plan  which  has  been  updated under § 144.52(a)(6).

- Amend a Class VI injection well testing and monitoring plan, plugging plan, post-injection site care and site closure plan, or emergency and reme- dial response plan where the modifica- tions merely clarify or correct  the plan, as determined by the Director.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  75

FR 77289, Dec. 10, 2010]

# Subpart E—Permit Conditions

##### § 144.51   Conditions   applicable   to   all permits.

The following conditions apply to all UIC permits. All conditions applicable to all permits shall be incorporated into the permits either expressly or by reference. If incorporated by reference, a specific citation to these regulations (or the corresponding approved State regulations) must be given in the per- mit.

§ 144.51

  - Duty to comply. The  permittee must comply with all conditions of this permit. Any permit noncompliance constitutes a violation of the Safe Drinking Water Act and is grounds for enforcement action; for permit termi- nation, revocation and reissuance, or modification; or for denial of a permit renewal application; except that the permittee need not comply with the provisions of this permit to the extent and for the duration  such  noncompli- ance is authorized in an emergency permit under § 144.34.

  - Duty to reapply. If the permittee wishes to continue an activity regu- lated by this permit after the expira- tion date of this permit, the permittee must apply for and obtain a new per- mit.

  - Need to halt or reduce activity not a defense. It shall not be a defense for a permittee in an enforcement action that it would have been necessary to halt or reduce the  permitted  activity in order to maintain compliance with the conditions of this permit.

  - Duty to mitigate. The permittee shall take all reasonable steps to mini- mize or correct any adverse impact on the environment resulting from non- compliance with this permit.

  - Proper operation and maintenance. The permittee shall at all times prop- erly operate and maintain all facilities and systems of treatment and control (and related appurtenances) which are installed or used by the permittee to achieve compliance with the conditions of this permit. Proper operation and maintenance includes effective per- formance, adequate funding, adequate operator staffing and training, and ade- quate laboratory and process controls, including appropriate quality  assur- ance procedures. This provision re- quires the operation of back-up or aux- iliary facilities or similar systems only when necessary to achieve compliance with the conditions of the permit.

  - Permit actions. This permit may be modified, revoked and reissued, or ter- minated for cause. The filing of a re- quest by the permittee for a permit modification,	revocation	and reissuance, or termination, or a notifi- cation of planned changes or antici- pated noncompliance, does  not  stay any permit condition.

#### 40 CFR Ch. I (7–1–17 Edition)

  - Property rights. This permit does not convey any property rights of any sort, or any exclusive privilege.

  - Duty to provide information. The permittee shall furnish to the Director, within a  time  specified,  any  informa- tion which the Director may request to determine whether cause exists for modifying, revoking and reissuing, or terminating this permit, or to deter- mine compliance with this permit. The permittee shall also furnish to the Di- rector, upon request, copies of records required to be kept by this permit.

  - Inspection and entry. The per- mittee shall allow the Director, or an authorized representative, upon the presentation of credentials and other documents as may be required by law, to:

- Enter upon the permittee’s prem- ises where a regulated facility or activ- ity is located or conducted, or where records must be kept under the condi- tions of this permit;

- Have access to and copy, at rea- sonable times, any records that must be kept under the conditions of this permit;

- Inspect at reasonable times any facilities, equipment (including moni- toring and control equipment), prac- tices, or operations regulated or re- quired under this permit; and

- Sample or monitor at reasonable times, for the purposes of assuring per- mit compliance or as otherwise author- ized by the SDWA, any substances or parameters at any location.

  - Monitoring and records. (1) Samples and measurements taken for the pur- pose of monitoring shall be representa- tive of the monitored activity.

- The permittee shall retain records of all monitoring information, includ- ing the following:

- Calibration and maintenance records and all original strip chart re- cordings for continuous monitoring in- strumentation, copies of all reports re- quired by this permit, and  records  of all data used to complete the applica- tion for this permit, for a period of at least 3 years from the date of the sam- ple, measurement, report, or applica- tion. This period may be extended by request of the Director at any time; and

#### Environmental Protection Agency	§ 144.51

- The nature and composition of all injected fluids until three years after the completion of any plugging and abandonment procedures specified under § 144.52(a)(6), or under part 146 subpart G as appropriate. The Director may require the owner or operator to deliver the records to the Director  at the conclusion of the retention period. For EPA administered programs, the owner or operator shall continue to re- tain the records after the three year re- tention period unless he delivers the records to the Regional  Administrator or obtains written approval from the Regional Administrator to discard the records.

- Records of monitoring informa- tion shall include:

- The date, exact place, and time of sampling or measurements;

- The individual(s) who performed the sampling or measurements;

- The date(s) analyses were per- formed;

- The individual(s) who performed the analyses;

- The analytical techniques or methods used; and

- The results of such analyses.

- Owners or operators of Class VI wells shall retain records  as  specified in   subpart   H   of   part   146,   including

§§ 146.84(g),   146.91(f),   146.92(d),   146.93(f),

and 146.93(h) of this chapter.

  - Signatory requirement. All applica- tions,  reports,  or  information  sub- mitted to the Administrator shall be signed and certified. (See § 144.32.)

  - Reporting requirements—(1) Planned changes. The permittee shall give no- tice to the Director as soon as possible of any planned physical alterations or additions  to  the  permitted  facility.

- Anticipated noncompliance.  The permittee shall give advance notice to the Director of any planned changes in the  permitted  facility  or   activity which may result in noncompliance with permit requirements.

- Transfers. This permit is not transferable to any person except after notice to the  Director.  The  Director may require modification or revocation and reissuance of the permit to  change the name of the permittee and incor- porate such other requirements as  may be necessary under the Safe Drinking Water Act. (See § 144.38; in some cases,

modification or revocation and reissuance is mandatory.)

- Monitoring reports. Monitoring re- sults shall be reported at the intervals specified elsewhere in this permit.

- Compliance schedules. Reports of compliance or noncompliance with, or any progress reports on, interim and final requirements contained in any compliance schedule of this permit shall be submitted no later than 30 days following each schedule date.

- Twenty-four hour reporting. The permittee shall report any noncompli- ance which may endanger health or the environment, including:

- Any monitoring or other informa- tion which indicates that any contami- nant may cause an endangerment to a USDW; or

- Any noncompliance with a permit condition or malfunction of the injec- tion system which may cause fluid mi- gration into or between USDWs.

Any information shall be provided oral- ly within 24 hours from the time the permittee becomes aware of the cir- cumstances.  A  written   submission shall also be provided within 5 days of the time the permittee becomes aware of the circumstances. The written sub- mission shall contain a description of the noncompliance and its cause, the period of noncompliance, including exact dates and times, and if the non- compliance has not been corrected, the anticipated time it is expected to con- tinue; and steps taken or planned to re- duce, eliminate, and prevent reoccur- rence of the noncompliance.

- Other noncompliance. The per- mittee shall report all instances of noncompliance not reported under paragraphs (l) (4), (5), and (6) of this section, at the time monitoring reports are submitted. The reports shall con- tain the information listed in para- graph (l)(6) of this section.

- Other information. Where the per- mittee becomes aware that it failed to submit any relevant facts in a permit application, or submitted incorrect in- formation in a permit application or in any report to the Director, it shall promptly submit such facts or informa- tion.

  - Requirements prior to commencing injection. Except for all new wells au- thorized   by    an   area   permit   under

#### § 144.51

§ 144.33(c), a new injection well may not commence injection until  construction is complete, and

    - The permittee has submitted no- tice of completion of construction to the Director; and

(2)(i) The Director has inspected or otherwise reviewed the new injection well and finds it is in compliance with the conditions of the permit; or

(ii) The permittee has not received notice form the Director of his or her intent to inspect or otherwise review the new injection well within 13 days of the date of the notice in paragraph (m)(1) of this section, in which case prior inspection or review is waived and the permittee may commence in- jection. The Director shall include in his notice a reasonable time period in which he shall inspect the well.

  - The permittee shall notify the Di- rector at such times as the permit re- quires before conversion or abandon- ment of the well or in the case of area permits before closure of the project.

  - A Class I, II or III permit shall in- clude and a Class V permit may include conditions which meet the applicable requirements of § 146.10 of this chapter to ensure that plugging and  abandon- ment of the well will not allow the movement of fluids into or between USDWs. Where the plan meets the re- quirements of § 146.10 of this chapter, the Director shall incorporate the plan into the permit as a permit condition. Where the Director’s review of an ap- plication indicates that the permittee’s plan is inadequate, the Director may require  the  applicant  to  revise   the plan, prescribe conditions meeting the requirements of  this  paragraph,  or deny the permit.  A  Class  VI  permit shall  include   conditions   which   meet the requirements set forth in § 146.92 of this chapter. Where the plan meets the requirements of § 146.92 of this chapter, the  Director  shall  incorporate  it  into the permit as a permit condition. For purposes of this paragraph,  temporary or intermittent cessation of injection operations  is  not  abandonment.

  - Plugging and abandonment report. For EPA-administered programs, with- in 60 days after plugging a  well  or  at the time of the next quarterly report (whichever is less) the owner or oper- ator  shall  submit  a  report  to  the  Re-

#### 40 CFR Ch. I (7–1–17 Edition)

gional Administrator. If the quarterly report is due less than 15 days before completion of plugging, then the report shall be submitted within 60 days. The report shall be certified as accurate by the person who performed the plugging operation. Such report shall consist of either:

- A statement that the well was plugged in accordance with the plan previously submitted to the Regional Administrator; or

- Where actual plugging differed from the plan  previously  submitted, and updated version of the plan on the form supplied by the regional adminis- trator,  specifying  the  differences.

  - Duty to establish and maintain me- chanical integrity. (1) The owner or op- erator of a Class I, II, III or VI well per- mitted under this part shall establish mechanical integrity prior to com- mencing injection or on a schedule de- termined by  the  Director.  Thereafter the owner or operator of Class I, II, and III wells must maintain mechanical in- tegrity as defined in § 146.8 of this chap- ter and the owner  or  operator  of  Class VI wells must maintain mechanical in- tegrity as defined in § 146.89 of this chapter. For EPA-administered pro- grams,   the    Regional    Administrator may require by written notice that the owner or operator comply with a sched- ule describing when  mechanical  integ- rity  demonstrations  shall  be  made.

- When the  Director  determines that a Class I, II, III or VI well lacks mechanical integrity pursuant to § 146.8 or § 146.89 of this chapter for Class VI of this chapter, he/she shall give written notice of his/her determination to the owner or operator. Unless the Director requires  immediate  cessation,  the owner or operator shall cease injection into the  well  within 48  hours  of receipt of the Director’s determination. The Director  may  allow   plugging   of   the well   pursuant   to   the   requirements   of

§ 146.10 of this chapter or require the permittee to perform such additional construction, operation, monitoring, reporting and corrective action as is necessary to prevent the movement of fluid into or between USDWs caused by the lack of mechanical integrity. The owner or operator may resume injec- tion upon written notification from the Director  that  the  owner  or  operator

#### Environmental Protection Agency	§ 144.52

has demonstrated mechanical integrity pursuant to § 146.8 of this chapter.

- The Director may allow the owner or operator of a well which lacks me- chanical        integrity        pursuant        to

§ 146.8(a)(1) of this chapter to continue or resume injection, if the owner or op- erator has made a satisfactory dem- onstration that there is  no  movement of fluid into or between USDWs.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  49

FR 20185,  May  11,  1984;  53  FR 28147,  July 26,

1988;  58  FR  63898,  Dec.  3,  1993;  75  FR  77289,

Dec. 10, 2010]

##### § 144.52   Establishing	permit	condi- tions.

  - In addition to conditions  required in § 144.51, the Director shall establish conditions, as required  on  a  case-by- case basis under § 144.36 (duration of permits), § 144.53(a) (schedules of com- pliance), § 144.54 (monitoring), and for EPA permits only § 144.53(b) (alternate schedules of compliance), and § 144.4 (considerations under Federal law). Permits for owners or operators of haz- ardous waste injection wells shall  in- clude conditions meeting the require- ments of § 144.14 (requirements for wells injecting hazardous waste), paragraphs (a)(7) and (a)(9) of this section, and sub- part G of part 146.  Permits  for  owners or operators of Class VI injection wells shall include conditions meeting the requirements of subpart H of part 146. Permits  for  other  wells  shall  contain the following requirements, when ap- plicable.

    - Construction requirements as set forth in part 146. Existing wells shall achieve compliance with such require- ments according to a compliance schedule established as a permit condi- tion. The owner or operator of a pro- posed new injection well shall submit plans for testing, drilling, and con- struction as part of the permit applica- tion. Except as authorized by an area permit, no constuction may commence until a permit has been issued con- taining  construction  requirements  (see

§ 144.11). New wells shall be in compli- ance with these requirements prior to commencing injection  operations. Changes in construction plans during construction may be approved by the Administrator   as   minor   modifications (§ 144.41). No such changes may be phys-

ically incorporated into construction of the well prior to approval of the modification by the Director.

    - Corrective  action  as  set  forth  in

§§ 144.55, 146.7, and 146.84 of this chap- ter.

    - Operation requirements as set forth in 40 CFR part 146; the permit shall es- tablish any maximum injection vol- umes and/or pressures necessary to as- sure that fractures are not initiated  in the confining zone, that injected  fluids do not migrate into any underground source of drinking water, that forma- tion fluids are not displaced into any underground source of drinking water, and to assure compliance with the part 146 operating requirements.

    - Requirements for wells managing hazardous waste, as set forth in § 144.14.

    - Monitoring and reporting require- ments as set forth in 40 CFR part  146. The permittee shall be required  to identify types of tests  and  methods used to generate the monitoring data. For EPA administered programs, moni- toring of the nature of injected fluids shall comply with applicable analytical methods cited and described  in  table  I of 40 CFR 136.3 or in appendix III of 40 CFR part 261 or in  certain  cir- cumstances  by  other  methods  that have been approved by the Regional Administrator.

    - After a cessation of operations of two years the owner or operator shall plug and abandon the well in accord- ance with the plan unless he:

      - Provides notice to the Regional Administrator;

      - Describes actions or procedures, satisfactory to the Regional Adminis- trator, that the owner or operator will take to ensure that the well will not endanger USDWs during the period of temporary abandonment. These actions and procedures shall include compli- ance with the technical requirements applicable to active injection wells un- less waived by the Regional Adminis- trator.

    - Financial responsibility. (i) The per- mittee, including the transferor of a permit, is required to demonstrate and maintain financial responsibility and resources to close, plug, and abandon the underground injection operation in a manner prescribed by the Director until:

#### § 144.53

- The well has been plugged and abandoned in accordance with an ap- proved plugging and abandonment plan pursuant   to   §§ 144.51(o),   146.10,   and

146.92 of this chapter, and submitted a plugging and abandonment report pur- suant to § 144.51(p); or

- The well has been converted in compliance  with  the  requirements  of

§ 144.51(n); or

- The transferor of a permit has re- ceived notice from the  Director  that the owner or operator receiving trans- fer of the permit, the new permittee, has demonstrated financial responsi- bility for the well.

(ii) The permittee shall show evi- dence of such financial  responsibility to the Director by the submission of a surety bond, or other adequate assur- ance, such as a financial statement or other materials acceptable to the Di- rector. For EPA administered pro- grams,  the   Regional   Administrator may on a periodic basis require the holder of a lifetime permit  to  submit an estimate of the resources needed to plug and abandon the well revised to reflect inflation of such costs, and a re- vised demonstration of financial re- sponsibility, if necessary. The owner or operator of a well injecting hazardous waste must comply with the financial responsibility requirements  of  subpart F of this part. For Class VI wells, the permittee shall show evidence of such financial responsibility to the Director by the submission of a qualifying in- strument (see § 146.85(a) of this chap- ter), such as a financial statement or other materials acceptable to the Di- rector. The owner or  operator  of  a Class VI well must comply with the fi- nancial responsibility requirements set forth in § 146.85 of this chapter.

    - Mechanical integrity. A permit for any Class I, II, III or VI well or injec- tion project which lacks mechanical integrity shall  include,  and  for any Class V well may include, a condition prohibiting injection operations until the permittee shows to the satisfaction of the Director under § 146.8, or § 146.89 of this chapter for Class VI, that the well has mechanical integrity.

    - Additional conditions. The Director shall impose on a case-by-case basis such additional conditions as are nec- essary   to   prevent   the   migration   of

#### 40 CFR Ch. I (7–1–17 Edition)

fluids   into    underground   sources   of drinking  water.

(b)(1) In addition to conditions re- quired in all permits the Director shall establish conditions in permits as re- quired on a case-by-case basis, to pro- vide for and assure compliance with all applicable requirements of  the  SDWA and parts 144, 145, 146 and 124.

- For a State issued permit, an ap- plicable requirement is  a  State  statu- tory or regulatory requirement which takes effect  prior  to  final  administra- tive disposition of the permit. For a permit issued by EPA, an applicable re- quirement is a statutory or regulatory requirement  (including  any   interim final regulation)  which  takes  effect prior to the issuance of the permit. Section 124.14 (reopening of comment period) provides a means for reopening EPA permit proceedings at the discre- tion of the Director where new require- ments become effective during the per- mitting process and are of sufficient magnitude to make additional pro- ceedings desirable. For State and EPA administered programs, an applicable requirement is also any requirement which takes effect prior to the modi- fication or  revocation  and  reissuance  of a    permit,    to    the    extent    allowed    in

§ 144.39.

- New or reissued permits, and to the extent allowed under § 144.39 modi- fied or revoked  and reissued  permits, shall incorporate each of the applicable requirements referenced in § 144.52.

(c) Incorporation. All permit condi- tions shall be incorporated either ex- pressly or by reference. If incorporated by reference, a specific citation to the applicable regulations or requirements must be given in the permit.

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  49

FR 20185,  May  11,  1984;  53  FR 28147,  July 26,

1988;  58  FR  63898;  Dec.  3,  1993;  65  FR  30913,

May 15, 2000; 75 FR 77289, Dec. 10, 2010]

##### § 144.53   Schedule of compliance.

- General. The permit may, when appropriate, specify a schedule of com- pliance leading to compliance with the SDWA and parts 144, 145, 146, and 124.

- Time for compliance. Any schedules of compliance shall require compliance as soon as possible, and in no case later than 3 years after the effective date of the  permit.

#### Environmental Protection Agency	§ 144.55

- Interim dates. Except as  provided in paragraph (b)(1)(ii) of this section, if a permit establishes a schedule of com- pliance which exceeds 1 year from the date of permit issuance, the schedule shall set forth  interim  requirements and the dates for their achievement.

  - The time between interim dates shall not exceed 1 year.

  - If the time necessary for comple- tion of any interim requirement  is more than 1 year and is not readily di- visible into stages for completion, the permit shall specify interim dates for the submission of reports of progress toward completion of the interim re- quirements and indicate a projected completion  date.

- Reporting. The permit shall be written to require that if paragraph (a)(1) of this section is applicable, progress reports be submitted no later than 30 days following each interim date and the final date of compliance.

- Alternative schedules of compliance. A permit applicant or permittee may cease conducting regulated activities (by plugging and abandonment) rather than continue to operate and meet per- mit requirements as follows:

  - If the permittee decides to cease conducting regulated activities at a given time within the term of a permit which has already been issued:

    - The permit may be modified to contain a new or additional schedule leading to timely cessation of activi- ties; or

    - The permittee shall  cease con- ducting permitted  activities before noncompliance with any interim or final compliance schedule requirement already specified in the permit.

  - If the decision to cease conducting regulated activities is made before issuance of a permit whose term will include the termination date, the per- mit shall contain a schedule leading to termination which will ensure timely compliance with applicable require- ments.

  - If the permittee is undecided whether to cease conducting regulated activities, the Director may issue or modify a permit to contain two sched- ules as follows:

- Both schedules shall contain an identical interim deadline requiring a final decision on whether to cease con-

ducting regulated activities no later than a date which ensures sufficient time to comply with applicable re- quirements in a timely manner if the decision is to continue conducting reg- ulated   activities;

- One schedule shall lead to timely compliance with applicable require- ments;

- The second schedule shall lead to cessation of regulated activities by a date which will ensure timely compli- ance with applicable requirements;

- Each permit containing two schedules shall include a requirement that after the permittee has made a final decision under paragraph (b)(3)(i) of this section it shall follow the sched- ule leading to compliance if the deci- sion is to continue conducting regu- lated activities, and follow the sched- ule leading to termination if the deci- sion is to cease conducting regulated activities.

  - The applicant’s or permittee’s de- cision to cease conducting regulated activities shall be evidenced by a firm public commitment satisfactory to the Director, such as a resolution of the board of directors of a corporation.

##### § 144.54   Requirements   for   recording and reporting of monitoring results.

All permits shall specify:

- Requirements concerning the proper use, maintenance, and installa- tion, when appropriate, of monitoring equipment or methods (including bio- logical monitoring methods when ap- propriate);

- Required monitoring including type, intervals, and frequency suffi- cient to yield data which are represent- ative of the monitored activity includ- ing when appropriate, continuous mon- itoring;

- Applicable reporting requirements based upon the impact of the regulated activity and as specified in part 146. Reporting shall be no  less  frequent than specified in the above regulations.

##### § 144.55   Corrective action.

- Coverage. Applicants for Class I, II, (other than existing), or III injec- tion well permits shall identify the lo- cation of all known wells within the in- jection well’s area of review which pen- etrate the injection zone, or in the case

#### § 144.60

of Class II wells operating over the fracture pressure of the injection for- mation,  all  known  wells  within   the area of review penetrating formations affected by  the  increase  in  pressure. For such wells which are improperly sealed, completed, or abandoned, the applicant shall also submit a plan con- sisting  of  such  steps   or   modifications as are necessary to  prevent  movement of fluid into underground sources of drinking water (‘‘corrective action’’). Where the plan is adequate, the  Direc- tor shall incorporate it  into  the  permit as a condition. Where the Director’s re- view  of  an  application  indicates  that the  permittee’s  plan  is  inadequate (based on the factors in § 146.07), the Di- rector shall require the applicant to re- vise the plan, prescribe a plan for cor- rective action as a condition  of the per- mit under paragraph (b)  of  this  section, or deny the  application.  The  Director may disregard the provisions of § 146.06 (Area of Review) and § 146.07 (Correc- tive Action) when reviewing an appli- cation to permit  an  existing  Class  II well.

- Requirements—(1) Existing injection wells. Any permit issued for an existing injection well (other than Class II) re- quiring corrective  action  shall  include a compliance schedule requiring any corrective action accepted or pre- scribed under paragraph (a) of this sec- tion to be completed as soon as pos- sible.

- New injection wells. No owner or operator of a new injection well may begin injection until all required cor- rective action has been taken.

- Injection pressure limitation. The Director may require as a permit con- dition that injection pressure be so limited that pressure in the injection zone does not exceed hydrostatic pres- sure at the site of any improperly com- pleted or abandoned well within the area of review. This pressure limitation shall satisfy the corrective action re- quirement. Alternatively, such injec- tion pressure limitation can be part of a compliance schedule and last  until all other required corrective action has been taken.

- Class III wells only. When setting corrective action requirements the Di- rector shall consider the  overall  effect of  the  project  on  the  hydraulic  gra-

#### 40 CFR Ch. I (7–1–17 Edition)

dient in potentially affected USDWs, and the corresponding changes in potentiometric surface(s) and flow di- rection(s) rather than the discrete ef- fect of each well. If a decision is made that corrective action is not necessary based on the determinations above, the monitoring     program     required     in

§ 146.33(b) shall be designed to verify the  validity  of  such  determinations.

# Subpart F—Financial Responsi- bility: Class I Hazardous Waste Injection Wells

SOURCE:  49  FR  20186,  May  11,  1984,  unless

otherwise noted.

##### § 144.60   Applicability.

(a) The requirements of §§ 144.62, 144.63, and 144.70 apply to owners and operators of all existing and new Class I Hazardous waste injection wells, ex- cept as provided otherwise in this sec- tion.

##### § 144.61 Definitions of terms as used in this subpart.

- Plugging and abandonment plan means the plan for plugging and aban- donment prepared  in  accordance  with the requirements of §§ 144.28 and 144.51.

- Current plugging cost estimate means the most recent of the estimates prepared in accordance with § 144.62 (a),

- and (c).

- Parent corporation means a cor- poration  which  directly  owns  at  least

50 percent of the voting stock of the corporation which is the injection well owner or operator; the latter corpora- tion is deemed a subsidiary of the par- ent  corporation.

- The following terms are used in the specifications for the financial test for plugging and abandonment. The definitions are intended to represent the common meanings of the terms as they are generally used by the business community.

Assets means all existing and all probable future economic benefits ob- tained or controlled by a particular en- tity.

Current assets means cash or other as- sets or resources commonly  identified as those which are reasonably expected

Environmental Protection Agency	§ 144.63

to be realized in cash or sold or con- sumed during the normal operating cycle of the business.

Current liabilities means obligations whose liquidation is reasonably ex- pected to require the use of existing re- sources properly classifiable as current assets or the creation of other current liabilities.

Independently audited refers to an audit performed by an independent cer- tified public accountant in accordance with generally accepted auditing standards.

Liabilities means probable future sac- rifices of economic benefits arising from present obligations to transfer as- sets or provide services to other enti- ties in the future as a result of past transactions or events.

Net working capital means current as- sets minus current liabilities.

Net worth means  total assets  minus total liabilities and is equivalent to owner’s equity.

Tangible net worth means the tangible assets that remain after deducting li- abilities; such assets would not include intangibles such as goodwill and rights to patents or royalties.

##### § 144.62   Cost estimate for plugging and abandonment.

  - The owner or operator must pre- pare a written estimate, in current dol- lars, of the cost of plugging the injec- tion well in accordance with the plug- ging and abandonment plan as specified in §§ 144.28 and 144.51. The plugging and abandonment cost estimate must equal the cost of plugging  and  abandonment at the point in the facility’s  operating life when the extent and manner of its operation would making plugging and abandonment the most expensive, as indicated by its plugging and abandon- ment plan.

  - The owner or operator must ad- just the plugging and  abandonment cost estimate for inflation  within  30 days after each anniversary of the date on which the first plugging and aban- donment cost estimate was prepared. The adjustment must be made as speci- fied in paragraphs (b) (1) and (2) of this section, using  an  inflation  factor  de- rived from the annual  Oil  and  Gas Field Equipment Cost Index. The infla- tion factor is the result of dividing the

latest published annual Index by the Index for the previous year.

- The first adjustment is made by multiplying the plugging and abandon- ment cost estimate by the inflation factor. The result is the adjusted plug- ging and abandonment cost estimate.

- Subsequent adjustments are made by multiplying the latest adjusted plugging and abandonment cost esti- mate by the latest inflation factor.

  - The owner or operator must revise the plugging and abandonment cost es- timate whenever a change in the plug- ging and  abandonment  plan  increases the cost of plugging and abandonment. The revised plugging and abandonment cost estimate must be adjusted for in- flation as specified in § 144.62(b).

  - The owner or operator must keep the following  at  the  facility during the operating life of the facility: the latest plugging and abandonment cost esti- mate    prepared    in    accordance    with

§ 144.62 (a) and (c) and, when this esti- mate has been adjusted in accordance with § 144.62(b), the latest adjusted plugging and abandonment cost esti- mate.

##### § 144.63   Financial  assurance  for  plug- ging and abandonment.

An owner or operator of each facility must establish financial assurance for the plugging and abandonment of each existing and new Class I hazardous waste injection well. He must choose from the options as specified in para- graphs (a) through (f) of this section.

- Plugging and abandonment trust fund. (1) An owner or operator may sat- isfy the requirements of this section by establishing a plugging and abandon- ment trust fund which conforms to the requirements of this paragraph and submitting an originally signed dupli- cate of the trust agreement to the Re- gional Administrator. An owner or op- erator of a Class I well injecting haz- ardous waste must submit the origi- nally signed duplicate of the trust agreement to the Regional Adminis- trator with the permit application or for approval to operate under rule. The trustee must be an entity which  has the authority to act as a trustee and whose trust operations are regulated and examined by a Federal or State agency.

#### § 144.63

  - The wording of the trust  agree- ment must be identical to the wording specified in § 144.70(a)(1), and the trust agreement must be accompanied by a formal  certification  of  acknowledg- ment (for example, see § 144.70(a)(2)). Schedule  A  of  the  trust   agreement must be  updated within  60 days  after a change in the amount of the current plugging and abandonment cost esti- mate  covered  by  the  agreement.

  - Payments into the trust fund must be made annually by the owner or operator over the term of the initial permit or over the remaining operating life of the injection  well  as  estimated in the plugging and abandonment plan, whichever period is shorter; this period is hereafter referred to as the ‘‘pay-in period.’’ The payments into the plug- ging and abandonment trust fund must be made as follows:

- For a new well, the first payment must be made before the initial injec- tion of hazardous waste. A receipt from the trustee for this payment must be submitted by the owner or operator to the Regional Administrator before this initial injection of hazardous  waste. The first payment must be  at  least equal to the current plugging and abandonment cost estimate, except as provided in § 144.70(g), divided by the number of years in the pay-in period. Subsequent payments must be made no later than 30 days after each anniver- sary date of the first payment. The amount of each subsequent payment must be determined by this formula:

Next payment = PE CV

Y

where PE is the current plugging and aban- donment cost estimate, CV is the current value of the trust fund, and Y is the num- ber of years remaining in the pay-in pe- riod.

- If an owner or operator estab- lishes   a   trust   fund   as   specified   in

§ 144.63(a) of this chapter, and the value of that trust fund is less than the cur- rent plugging and abandonment cost estimate when a permit is awarded for the injection well, the amount of the current plugging  and  abandonment cost estimate still to be paid into the trust fund must be paid in over the pay-in period as defined in paragraph (a)(3)  of  this  section.  Payments  must

#### 40 CFR Ch. I (7–1–17 Edition)

continue to be made no later than 30 days after each anniversary date of the first payment made pursuant to part 144 of this chapter. The amount of each payment must be determined by this formula:

## Next payment = PE CV

Y

where PE is the current plugging and aban- donment cost estimate, CV is the current value of the trust fund, and Y is the num- ber of years remaining in the pay-in pe- riod.

  - The owner or operator may accel- erate payments into the trust fund or he may deposit the full amount of the current plugging and abandonment cost estimate at the time the fund is established. However, he must main- tain the value of the fund at no less than the value that the fund would have if annual payments were made as specified in paragraph (a)(3) of this sec- tion.

  - If the owner or operator estab- lishes a plugging and abandonment trust fund after having used one or more  alternate  mechanisms  specified in this section or in § 144.63 of this chapter, his first payment  must  be  in at least the amount that the  fund would contain if the trust fund were es- tablished initially and annual  pay- ments made according to specifications of this paragraph.

  - After the pay-in period is com- pleted, whenever the current plugging and abandonment cost estimate changes, the owner or operator must compare the new estimate with the trustee’s most recent annual  valuation of the trust fund. If the value of the fund is less than the amount of the new estimate, the owner or operator, within 60 days after the change in the cost es- timate, must either deposit an amount into the fund so that its value  after this deposit at least equals the amount of the current plugging and abandon- ment cost estimate, or obtain other fi- nancial assurance as specified in this section to cover the difference.

  - If the value of the trust fund is greater than the total amount of the current plugging and abandonment cost estimate, the owner or operator may submit a written request to the Regional  Administrator  for  release  of

#### Environmental Protection Agency	§ 144.63

the amount in excess of the current plugging and abandonment cost esti- mate.

  - If an owner or operator sub- stitutes other financial assurance as specified in this section  for  all  or  part of the  trust  fund,  he  may  submit  a written request to the Regional Admin- istrator for release of the amount in excess of the current plugging and abandonment cost estimate covered by the trust fund.

  - Within 60 days after receiving a request from the owner or operator for release of funds as specified in para- graph (a) (7) or (8) of this section, the Regional  Administrator  will   instruct the trustee to release to the owner or operator such  funds as  the Regional Administrator specifies  in writing.

  - After beginning final plugging and abandonment, an owner or oper- ator or any other person authorized to perform plugging and  abandonment may request reimbursement for plug- ging and abandonment expenditures by submitting itemized bills to the Re- gional Administrator. Within 60 days after receiving bills for plugging and abandonment activities, the Regional Administrator will determine whether the plugging and abandonment expend- itures are in accordance with the plug- ging and abandonment plan or other- wise justified,  and if  so, he  will in- struct the trustee to make reimburse- ment in such amounts as the Regional Administrator specifies  in  writing.  If the Regional Administrator has  reason to believe that the cost of plugging and abandonment will be significantly greater than the value  of  the  trust fund, he may withhold  reimbursement of such amounts as he deems prudent until  he  determines,  in  accordance with § 144.63(i), that the owner or oper- ator is no longer required to maintain financial assurance for plugging and abandonment.

  - The Regional Administrator will agree to termination of the trust when:

- An owner or operator substitutes alternate financial assurance as speci- fied in this section; or

- The Regional Administrator re- leases the owner or operator from the requirements of this section in accord- ance with § 144.63(i).

- Surety bond guaranteeing payment into a plugging and abandonment trust fund. (1) An  owner or operator must satisfy the requirements of this section by obtaining a surety bond which con- forms to the requirements of this para- graph and submitting the bond to the Regional Administrator with the appli- cation for a permit or for approval to operate under rule. The bond must be effective before the initial injection of hazardous waste. The surety company issuing the trust must, at a minimum, be among those listed as acceptable sureties on Federal bonds in Circular

570   of   the   U.S.   Department   of   the Treasury.

- The wording of the surety bond must  be  identical  to  the  wording  in

§ 144.70(b).

- The owner or operator who uses a surety bond to satisfy the require- ments of this section must also estab- lish a standby trust fund. Under the terms of the bond, all payments made thereunder will be deposited by the surety directly into the standby trust fund in accordance with instructions from the Regional Administrator. This standby trust fund must meet the re- quirements specified in § 144.63(a), ex- cept  that:

  - An originally signed duplicate of the trust agreement must be submitted to the Regional Administrator with the surety bond; and

  - Until the standby trust fund is funded pursuant to the requirements of this section, the following are not re- quired by these requirements:

    - Payments into the trust fund as specified in § 144.63(a);

    - Updating of Schedule A  of  the trust agreement [see § 144.70(a)] to show current  plugging   and   abandonment cost   estimates;

    - Annual valuations as required by the trust agreement; and

    - Notices of nonpayment as re- quired by the trust agreement.

- The bond must guarantee that the owner or operator will:

  - Fund the standby trust fund in an amount equal to the penal sum of the bond before beginning of plugging and abandonment of the injection well; or

  - Fund the standby trust fund in an amount equal to the penal sum within 15 days after an order to begin plugging

#### § 144.63

and abandonment is issued by the Re- gional Administrator or a U.S. district court or other court of competent ju- risdiction; or

  - Provide alternate financial as- surance as specified in this section, and obtain the Regional Administrator’s written approval of the assurance pro- vided, within 90 days after receipt by both the owner or operator and the Re- gional Administrator of a notice of cancellation of the bond from the sur- ety.

- Under the terms of the bond, the surety will become liable on the bond obligation when the owner or operator fails to perform as guaranteed by the bond.

- The penal sum of the  bond  must be in amount at least equal to the cur- rent plugging and abandonment cost estimate,     except     as     provided     in

§ 144.63(g).

- Whenever the current plugging and abandonment cost estimate in- creases to an amount greater than the penal sum, the owner or operator, within 60 days after the increase, must either cause the penal sum to be in- creased to an amount at least equal to the current plugging and abandonment cost estimate and submit evidence of such increase to the Regional Adminis- trator, or obtain other financial assur- ance as specified in this  section  to cover the increase. Whenever the cur- rent plugging and abandonment cost estimate decreases, the penal sum may be reduced to the amount of the cur- rent plugging and abandonment cost estimate following written approval by the  Regional  Administrator.

- Under the terms of the bond, the surety may cancel the bond by sending notice of cancellation by  certified  mail to the owner or operator and to the Re- gional   Administrator.   Cancellation may not occur, however, during 120 days beginning on the date of the re- ceipt of the notice of cancellation by both owner or operator and the Re- gional Administrator as evidenced by the returned receipts.

- The owner or operator may cancel the bond if the Regional Administrator has given prior written consent based on his receipt of evidence of alternate financial assurance as specified in this section.

#### 40 CFR Ch. I (7–1–17 Edition)

- Surety bond guaranteeing perform- ance of plugging and abandonment. (1) An owner or operator may satisfy the requirements of this section by obtain- ing a surety bond which conforms to the requirements of this paragraph and submitting the bond to the Regional Administrator. An owner or operator of a new facility must submit the bond to the Regional Administrator with the permit application  or  for approval to operate under rule. The bond must be effective before injection of hazardous waste is started. The surety company issuing the bond must, at a minimum, be among those listed as acceptable sureties on Federal bonds in Circular

570   of   the   U.S.   Department   of   the Treasury.

- The wording  of the  surety bond must be identical to the wording speci- fied in § 144.70(c).

- The owner or operator who uses a surety bond to satisfy the require- ments of this section must also estab- lish a standby trust fund. Under the terms of the bond, all payments made thereunder will be deposited by the surety directly into the standby trust fund in accordance with instructions from the Regional Administrator. The standby trust must meet the require- ments specified in § 144.63(a), except that:

  - An original signed duplicate of the trust agreement must be submitted to the Regional Administrator with the surety bond; and

  - Unless the standby trust fund is funded pursuant to the requirements of this section, the following are not re- quired by these regulations:

    - Payments into the trust fund as specified in § 144.63(a);

    - Updating of Schedule A  of  the trust agreement [see § 144.70(a)] to show current  plugging   and   abandonment cost   estimates;

    - Annual valuations as required by the trust agreement; and

    - Notices of nonpayment as re- quired by the trust agreement.

- The bond must guarantee that the owner or operator will:

  - Perform plugging and abandon- ment in accordance with the plugging and abandonment plan and other re- quirements of the permit for the injec- tion well whenever required to do so; or

#### Environmental Protection Agency	§ 144.63

  - Provide alternate financial assur- ance as specified in this section, and obtain the Regional Administrator’s written approval of the assurance pro- vided, within 90 days after receipt by both the owner or operator and the Re- gional Administrator of a notice of cancellation of the bond from the sur- ety.

- Under the terms of the bond, the surety will become liable on the bond obligation when the owner or operator fails to perform as guaranteed by the bond. Following a determination  that the owner or operator has failed to per- form plugging and abandonment in ac- cordance with the plugging and aban- donment plan and other permit re- quirements when required to do so, under terms of the bond the surety will perform plugging and abandonment as guaranteed by the bond or will deposit the amount of the penal sum into the standby trust fund.

- The penal sum of the  bond  must be in an amount at least equal to the current plugging  and  abandonment cost  estimate.

- Whenever the current plugging and abandonment cost estimate in- creases to an amount greater than the penal sum, the owner or operator, within 60 days after the increase, must either cause the penal sum to be in- creased to an amount at least equal to the current plugging and abandonment cost estimate and submit evidence of such increase to the Regional Adminis- trator, or obtain other financial assur- ance as specified in this section. When- ever the plugging and  abandonment cost estimate decreases, the penal sum may be reduced to the amount of the current plugging  and  abandonment cost estimate following written ap- proval  by  the  Regional  Administrator.

- Under the terms of the bond, the surety may cancel the bond by sending notice of cancellation by  certified  mail to the owner or operator and to the Re- gional   Administrator.   Cancellation may not occur, however, during the 120 days beginning on the date of receipt of the notice of cancellation by both the owner or operator and the Regional Ad- ministrator, as evidenced by the return receipts.

- The owner or operator may cancel the bond if the Regional Administrator

has given prior written consent. The Regional Administrator will provide such written consent when:

- An owner or operator substitute alternate financial assurance as speci- fied in this section; or

- The Regional Administrator re- leases the owner or operator from the requirements of this section in accord- ance with § 144.63(i).

- The surety will not be liable for deficiencies in the performance of plug- ging and abandonment by the owner or operator after the Regional  Adminis- trator releases the owner or operator from the requirements of  this  section in accordance with § 144.63(i).

- Plugging and abandonment letter of credit. (1) An owner or operator may satisfy the requirements of this section by obtaining an irrevocable standby letter of credit which conforms to the requirements of this paragraph and submitting the letter to the Regional Administrator. An owner or operator of an injection well must submit the let- ter of credit to the Regional Adminis- trator during submission of the permit application or for approval to operate under rule. The letter of credit must be effective before initial injection of haz- ardous waste. The issuing institution must be an entity which has the au- thority to issue letters of credit and whose letter-of-credit operations are regulated and examined by a Federal or State  agency.

- The wording of the letter of credit must be identical to the wording speci- fied in § 144.70(d).

- An owner or operator who uses a letter of credit to satisfy the require- ments of this section must also estab- lish a standby trust fund. Under the terms of the letter of  credit,  all amounts paid pursuant to a draft  by the Regional Administrator will be de- posited by the issuing institution di- rectly into the standby trust fund in accordance with instructions from the Regional Administrator. This standby trust fund must meet the requirements of the trust fund specified in § 144.63(a), except  that:

  - An originally signed duplicate of the trust agreement must be submitted to the Regional Administrator with the letter of credit; and

#### § 144.63

  - Unless the standby trust fund is funded pursuant to the requirements of this section, the following are not re- quired by these regulations:

    - Payments into the trust fund as specified in § 144.63(a);

    - Updating of Schedule A  of  the trust agreement (see § 144.70(a)) to show current  plugging   and   abandonment cost   estimates;

    - Annual valuations as required by the trust agreement; and

    - Notices of nonpayment as re- quired by the trust agreement.

- The letter of credit must be ac- companied by a letter from the owner or operator referring to the letter of credit by number, issuing institution, and date, and providing the following information: the EPA Identification Number, name, and address of the facil- ity, and the amount of funds assured for plugging and abandonment of the well by the letter of credit.

- The letter of credit must be irrev- ocable and issued for a period of at least 1 year. The letter of credit must provide that the expiration date will be automatically extended for a  period  of at least 1 year unless, at least 120 days before the  current  expiration  date, the issuing institution notifies both the owner or operator and the Regional Ad- ministrator by certified mail of a deci- sion not to extend the expiration date. Under the terms of the letter of credit, the 120 days will begin on the date when both the owner or operator  and the Regional Administrator have re- ceived the notice, as evidenced by the return  receipts.

- The letter of credit must be issued in an amount at least equal to the cur- rent plugging and abandonment cost estimate,     except     as     provided     in

§ 144.63(g).

- Whenever the current plugging and abandonment cost estimate in- creases to an amount greater than the amount of the credit, the owner or op- erator, within 60 days after the in- crease, must either cause  the  amount of the credit to be increased so that it at least  equals  the  current  plugging and abandonment cost estimate and submit evidence of such increase to the Regional Administrator,  or  obtain other financial assurance as  specified in  this  section  to  cover  the  increase.

#### 40 CFR Ch. I (7–1–17 Edition)

Whenever the current plugging and abandonment cost estimate decreases, the amount of the credit may be re- duced to the amount of the current plugging and abandonment cost esti- mate following written approval by the Regional Administrator.

- Following a determination that the owner or operator has failed to per- form final plugging and abandonment in accordance with the plugging and abandonment plan and other permit re- quirements when required to do so, the Regional Administrator may draw on the letter of credit.

- If the owner or operator does not establish alternate financial assurance as specified in this section and obtain written approval of such alternate as- surance from the Regional Adminis- trator within 90 days after receipt by both the owner or operator and the Re- gional Administrator of a notice from the issuing institution that it has de- cided not to extend the letter of credit beyond the current expiration date, the Regional Administrator  will  draw  on the letter of credit. The Regional Ad- ministrator may delay the drawing if the issuing institution grants an exten- sion of the term of the  credit.  During the last 30 days of any such extension the Regional Administrator will draw on the letter of credit if the owner or operator has failed to provide alternate financial assurance as specified in this section and obtain written approval of such assurance from the Regional Ad- ministrator.

- The Regional Administrator will return the letter of credit to the issuing institution for termination when:

- An owner or operator substitutes alternate financial assurance as speci- fied in this section; or

- The Regional Administrator re- leases the owner or operator from the requirements of this section in accord- ance with § 144.63(i).

- Plugging and abandonment insur- ance. (1) An owner or operator may sat- isfy the requirements of this section by obtaining plugging and abandonment insurance which conforms to the re- quirements of this paragraph and sub- mitting a certificate of such insurance to the Regional Administrator. An owner or operator of a new injection

#### Environmental Protection Agency	§ 144.63

well must submit the certificate of in- surance to the Regional Administrator with the permit application or for ap- proval operate under rule. The insur- ance must be effective before injection starts. At a minimum, the  insurer must be licensed to transact the busi- ness of insurance, or eligible to provide insurance as an excess or surplus lines insurer, in one or more States.

- The wording of the certificate of insurance must be identical to the wording specified in § 144.70(e).

- The plugging and abandonment insurance policy must be issued for a face amount at least equal to the cur- rent plugging and abandonment esti- mate, except as provided in § 144.63(g). The term ‘‘face amount’’  means  the total amount the insurer  is  obligated to pay under the policy. Actual pay- ments by the insurer will not  change the face amount, although the insurers future liability will be lowered by the amount of the payments.

- The plugging and abandonment insurance policy must guarantee that funds will be available whenever final plugging and abandonment occurs. The policy must also guarantee that once plugging and abandonment begins, the issurer will be responsible for paying out funds, up to an amount equal  to the face amount of the policy, upon the direction of the Regional Adminis- trator, to such party or parties as the Regional Administrator specifies.

- After beginning plugging and abandonment, an owner or operator or any other person authorized to perform plugging and abandonment may re- quest reimbursement for plugging and abandonment expenditures by submit- ting itemized bills to the Regional Ad- ministrator. Within 60 days after re- ceiving bills for plugging and abandon- ment activities, the Regional Adminis- trator will determine whether the plug- ging and abandonment expenditures are in  accordance  with  the  plugging and abandonment plan or otherwise justified, and if so, he will instruct the insurer to make reimbursement in such amounts as the Regional  Adminis- trator specifies in writing. If the Re- gional Administrator has reason to be- lieve that the cost of plugging and abandonment will be significantly greater  than  the  face  amount  of  the

policy, he may withhold reimburse- ment of such amounts as he deems pru- dent until he determines, in accordance with § 144.63(i), that the owner or oper- ator is no longer required to maintain financial assurance for plugging and abandonment of the injection well.

- The owner or operator must main- tain the policy in full force and effect until the Regional Administrator con- sents to termination of the policy  by the owner or operator as specified in paragraph (e)(10) of this section. Fail- ure to pay the premium, without sub- stitution of alternate financial assur- ance as specified in this section, will constitute a significant  violation  of these regulations,  warranting  such remedy as the Regional Administrator deems  necessary.  Such  violation  will be deemed to begin upon receipt by the Regional Administrator of a notice of future cancellation, termination, or failure to renew due to nonpayment of the premium, rather than  upon  the date of expiration.

- Each policy must contain provi- sions allowing assignment to a suc- cessor owner or operator. Such assign- ment may be conditional upon consent of the insurer, provided such consent is not unreasonably refused.

- The policy must provide that the insurer may not cancel, terminate, or fail to renew the policy except for fail- ure to pay the premium.  The  auto- matic renewal of the  policy must,  at a minimum, provide the insured with the option of renewal at the face amount of the expiring policy. If there is a failure to pay the premium, the insurer may elect to cancel, terminate, or fail  to renew the policy by sending notice by certified mail to the owner or operator and the Regional Administrator. Can- cellation, termination, or failure  to renew may not occur, however, during 120 days beginning with the date of re- ceipt of the notice by  both  the  Re- gional Administrator and the owner or operator, as evidenced by the return of receipts. Cancellation, termination, or failure to renew may not occur and the policy will remain in full force and ef- fect in the event that on or before the date of expiration:

- The Regional Administrator deems the injection well abandoned; or

#### § 144.63

- The permit is terminated or re- voked or a new permit is denied; or

- Plugging and abandonment is or- dered by the Regional Administrator or a U.S. district court or other court of competent jurisdiction; or

- The owner or operator is named as debtor in a voluntary or involuntary proceeding under title 11 (Bankruptcy),

U.S. Code; or

- The premium due is paid.

- Whenever the current plugging and abandonment cost estimate in- creases to an amount greater than the face amount of the policy, the owner or operator, within 60 days after the in- crease, must either cause the face amount to be increased  to  an  amount at least equal to the current plugging and abandonment estimate and submit evidence of such increase to the Re- gional Administrator, or obtain other financial assurance as specified in this section to cover the increase. Whenever the current plugging and abandonment cost estimate decreases,  the  face amount may be reduced to the amount of the current plugging and abandon- ment cost estimate following written approval by the Regional  Adminis- trator.

- The Regional Administrator will give written consent to the owner or operator that he may terminate the in- surance policy when:

- An owner or operator substitutes alternate financial assurance as speci- fied in this section; or

- The Regional Administrator re- leases the owner or operator from the requirements of this section in accord- ance with § 144.63(i).

- Financial test and corporate guar- antee for plugging and abandonment. (1) An owner or operator may satisfy the requirements of this section by dem- onstrating that he passes a financial test as specified in this paragraph. To pass this test the owner or operator must meet the criteria of either para- graph (f)(1)(i) or (f)(1)(ii) of this sec- tion:

- The owner or operator must have:

- Two of the following three ratios: A ratio of total liabilities to net worth less than 2.0; a ratio of the sum of net income plus depreciation, depletion, and amortization to total liabilities greater than 0.1; and a ratio of current

#### 40 CFR Ch. I (7–1–17 Edition)

assets   to   current   liabilities   greater than 1.5; and

- Net working capital and tangible net worth each at least six times the sum of the current plugging and aban- donment cost estimate; and

- Tangible net worth of at least $10 million;  and

- Assets in the United States amounting to at least 90 percent of his total assets or at least six times the sum of the current plugging and aban- donment cost estimate.

- The owner or operator must have:

  - A current rating for his most re- cent bond issuance of AAA, AA, A or BBB as issued by Standard and Poor’s or Aaa, Aa, A, or Baa as issued by Moody’s; and

  - Tangible net worth at least six times the sum of the current plugging and abandonment cost estimate; and

  - Tangible net worth of at least $10 million;  and

  - Assets located in the  United States amounting to at least 90 percent of his total assets or at least six times the sum of the current plugging and abandonment cost estimates.

- The phrase ‘‘current plugging and abandonment cost estimate’’ as used in paragraph (f)(1) of this section refers to the cost estimate required  to  be  shown in paragraphs 1 through 4 of the letter from the owner’s or operator’s chief fi- nancial officer § 144.70(f).

- To demonstrate that he meets this test, the owner or operator must submit the following items to the Re- gional Administrator:

- A letter signed by  the owner’s  or operator’s chief financial officer and worded as specified in § 144.70(f); and

- A copy of the independent cer- tified public accountant’s report on ex- amination of the owner’s or operator’s financial statements for the latest completed fiscal year; and

- A special report from the owner’s or operator’s independent certified pub- lic accountant to the owner or operator stating  that:

  - He has compared the data which the letter from the chief financial  offi- cer specifies as having been derived from the independently audited, year- end financial statements for the latest fiscal year with the amounts in such fi- nancial  statements;  and

#### Environmental Protection Agency	§ 144.63

  - In connection with that proce- dure, no matters came to his attention which caused him to believe that the specified data should be adjusted.

- An owner or operator of a new in- jection well must submit the items specified in paragraph (f)(3) of this sec- tion to  the Regional  Administrator within 90 days after the close of each succeeding fiscal year.  This  informa- tion must consist of all three items specified in paragraph (f)(3) of this sec- tion.

- After the initial  submission  of items specified  in  paragraph  (f)(3)  of this  section,  the  owner  or   operator must send updated information to the Regional Administrator within 90 days after the close of each succeeding fiscal year. This information must consist  of all three items specified in paragraph (f)(3) of this section.

- If the owner or operator no longer meets the requirements of paragraph (f)(1) of this section, he must send  no- tice to the Regional Administrator of intent to establish alternate financial assurance as  specified  in  this  section. The notice  must  be  sent  by  certified mail within 90 days after the end of the fiscal year for which the year-end fi- nancial data show that the owner or operator no longer meets the require- ments. The owner or operator must provide the alternate financial assur- ance within 120 days after the end of such  fiscal  year.

- The Regional Administrator may, based on a reasonable belief that the owner or operator may no longer  meet the requirements of paragraph (f)(1) of this section,  require  reports  of  finan- cial condition at any time from  the owner or operator in addition to those specified in paragraph (f)(3) of this sec- tion.  If  the   Regional   Administrator finds, on the basis of such reports or other information, that the owner or operator no longer meets the require- ments of paragraph (f)(1) of this sec- tion, the owner or operator must pro- vide alternate financial assurance as specified in this section within 30 days after  notification  of  such  a  finding.

- The Regional Administrator may disallow use of this test on the basis of qualifications in the opinion expressed by the independent certified public ac- countant in his report on examination

of the owner’s or operator’s financial statements [see paragraph (f)(3)(ii) of this section]. An adverse opinion or disclaimer of opinion will be cause for disallowance. The Regional Adminis- trator will evaluate other qualifica- tions on an individual basis. The owner or operator must provide alternate fi- nancial assurance as specified in this section within 30 days after notifica- tion of the disallowance.

- The owner or operator is no longer required to submit the  items  specified in paragraph (f)(3) of this section when:

  - An owner or operator substitutes alternate financial assurance as speci- fied in this section; or

  - The Regional Administrator re- leases the owner or operator from the requirements of this section in accord- ance with § 144.63(i).

- An owner or operator may meet the requirements of this section by ob- taining a written guarantee, hereafter referred to as  ‘‘corporate  guarantee.’’ The guarantee must be the parent cor- poration of the owner or operator. The guarantee must meet the requirements for owners or operators in paragraphs (f)(1) through (f)(8) of this section and must comply with the terms of the cor- porate guarantee. The wording of the corporate  guarantee  must  be   identical to the wording specified in § 144.70(h). The corporate guarantee must accom- pany the items sent to the Regional Administrator as specified  in  para- graph (f)(3) of this  section.  The  terms of the corporate  guarantee  must  pro- vide  that:

- If the owner or operator fails to perform plugging and abandonment of the injection well covered by the cor- porate guarantee  in  accordance  with the  plugging  and   abandonment   plan and other permit requirements  when- ever required to do so, the guarantee will do so or establish a trust fund as specified in § 144.63(a) in the name  of the owner or operator.

- The corporate guarantee will re- main in force unless the guarantor sends notice of cancellation by  cer- tified mail to the owner or operator and the Regional Administrator, as evidenced by the return receipts. Can- cellation may not occur, however, dur- ing the 120 days beginning on the date of  receipt  of  the  notice  of  cancellation

#### § 144.64

by both the owner or operator and the Regional Administrator, as evidenced by the return receipts.

- If the owner or operator fails to provide  alternate  financial  assurance as specified in this section and  obtain the written approval of such alternate assurance from the Regional Adminis- trator within 90 days after receipt by both the owner or operator and the Re- gional Administrator of a notice of cancellation of the  corporate  guar- antee from the guarantor, the guar- antor will provide such alternative fi- nancial assurance in the name of the owner or operator.

- Use of multiple financial mecha- nisms. An owner or operator may sat- isfy the requirements of this section by establishing more than one financial mechanism per injection well. These mechanisms are limited to trust funds, surety bonds, guaranteeing payment into a trust fund, letters of credit, and insurance. The mechanisms must be as specified in paragraphs (a), (b), (d), and (e), respectively, of this section, except that it is the combination of mecha- nisms, rather than the single mecha- nism, which must provide financial as- surance for an amount at least equal to the adjusted plugging and abandon- ment cost. If an owner or operator uses a trust fund in combination with a sur- ety bond or letter of credit, he may use that trust fund as the standby trust fund for the other mechanisms. A sin- gle standby trust may be established for two or more mechanisms. The Re- gional Administrator may invoke  any or all of the mechanisms to provide for plugging and abandonment of the injec- tion well.

- Use of a financial mechanism for multiple facilities. An owner or operator may use a financial assurance mecha- nism specified in this section to meet the requirements of this section for more than one injection well. Evidence of financial assurance submitted to the Regional Administrator must include a list showing, for each injection well, the EPA Identification Number, name, address, and the amount of funds for plugging and abandonment assured by the mechanism. If the injection wells covered by the mechanism are in more than one Region, identical evidence of financial assurance must be submitted

#### 40 CFR Ch. I (7–1–17 Edition)

to and maintained with the Regional Administrators of all such  Regions. The amount of funds available through the mechanism must be no less than the sum of funds that would be avail- able if a separate mechanism had been established and maintained for each in- jection well. In directing funds avail- able through the mechanism for plug- ging and abandonment of any of the in- jection wells covered by the mecha- nism, the Regional Administrator may direct only  the  amount  of  funds  des- ignated for that injection well, unless the owner or operator agrees to use ad- ditional funds available under the mechanism.

- Release of the owner or operator from the  requirements  of this  section. Within 60 days after receiving certifi- cations from the owner or operator and an independent registered professional engineer that plugging and abandon- ment has been accomplished in accord- ance with the plugging and abandon- ment plan, the Regional Administrator will notify the owner or operator in writing that he is no longer required by this section to maintain financial as- surance for plugging and abandonment of the injection well, unless the Re- gional Administrator has reason to be- lieve that plugging and abandonment has not been in accordance with the plugging and abandonment plan.

##### § 144.64 Incapacity of owners or opera- tors, guarantors, or financial insti- tutions.

- An owner or operator must notify the Regional  Administrator by cer- tified mail of the commencement of a voluntary or involuntary proceeding under title 11 (Bankruptcy), U.S. Code, naming the owner or operator as debt- or, within 10 business days after the commencement of the proceeding. A guarantor of a corporate guarantee as specified in § 144.63(f) must make such a notification if he is named as debtor, as required under the terms of the guar- antee (§ 144.70(f)).

- An owner or operator who fulfills the requirements of § 144.63 by obtain- ing a letter of credit, surety bond, or insurance policy will be deemed to be without the required financial assur- ance  or  liability  coverage  in  the  event

#### Environmental Protection Agency	§ 144.66

of bankruptcy, insolvency, or a suspen- sion or revocation of the license or charter of the issuing institution. The owner or operator must establish other financial assurance or liability cov- erage within 60 days after such  an event.

##### § 144.65   Use  of  State-required  mecha- nisms.

  - For a facility located in a State where EPA is administering the re- quirements of this subpart but where the State has plugging and abandon- ment regulations that include require- ments for financial assurance of plug- ging and abandonment, an owner or op- erator may use State-required finan- cial mechanisms to meet the require- ments of this subpart if the Regional Administrator determines that the State mechanisms are at least equiva- lent to the mechanisms specified in this subpart. The Regional Adminis- trator will evaluate the equivalency of the mechanisms mainly in terms of (1) certainty of the availability of funds for the required plugging and abandon- ment activities and (2) the amount of funds that will be made available. The Regional Administrator may also con- sider other factors. The owner or oper- ator must submit to the Regional Ad- ministrator evidence of the establish- ment of the mechanism together with a letter requesting that the State-re- quired mechanism be considered ac- ceptable for meeting the requirements of this subpart. The submittal must in- clude the following information: The facility’s EPA Identification Number, name and address, and the amounts of funds for plugging and abandonment coverage assured by the mechanism. The Regional Administrator will notify the owner or operator of his determina- tion regarding the mechanism’s accept- ability. The Regional Administrator may require the owner or operator to submit additional information as is deemed necessary for making this de- termination.

  - If a State-required mechanism is found acceptable as specified in para- graph (a) of this section except for the amount of funds available, the owner or operator may satisfy the require- ments of this subpart by increasing the funds  available  through  the  State-re-

quired mechanism or using additional mechanisms as specified in this sub- part. The amounts of funds available through the State and Federal mecha- nisms must at least equal the amounts required by this subpart.

##### § 144.66   State assumption of responsi- bility.

- If a State either assumes legal re- sponsibility for an owner’s or opera- tor’s compliance with the plugging and abandonment requirements of these regulations or assures that funds will be available from State sources to cover these requirements, the owner or operator will be in compliance with the requirements of this subpart if the Re- gional Administrator determines that the State’s assumption of responsi- bility is at least equivalent to the mechanisms specified in this subpart. The Regional Administrator will evalu- ate the equivalency of State guaran- tees mainly in terms of (1) certainty of the availability of funds for the re- quired plugging and abandonment cov- erage and (2) the amount of funds that will be made available. The Regional Administrator may also consider other factors. The owner or operator must submit to the Regional Administrator a letter from the State describing the nature of the State’s assumption of re- sponsibility together with a letter from the owner or operator requesting that the State’s asumption of responsibility be considered acceptable for meeting the requirements of this subpart. The letter from the State must include, or have attached to it, the following in- formation: the facility’s EPA Identi- fication Number, name and address, and the amounts of funds for plugging and abandonment coverage that are guaranteed by the State. The Regional Administrator will notify the owner or operator of his determination regard- ing the acceptability of the State’s guarantee in lieu of mechanisms speci- fied in this subpart. The Regional Ad- ministrator may require the owner or operator to submit additional informa- tion as is deemed necessary to make this determination. Pending this deter- mination, the owner or operator will be deemed   to   be   in   compliance   with

§ 144.63.

#### § 144.70

- If a State’s assumption of respon- sibility is found acceptable as specified in paragraph (a) of this section except for the amount of funds available, the owner or operator may satisfy the re- quirements of this subpart by use of both the State’s assurance and addi- tional financial mechanisms as speci- fied in this subpart. The amount of funds available through the State and Federal mechanisms must at least equal the amount required by this sub- part.

##### § 144.70   Wording of the instruments.

(a)(1) A trust agreement for a trust fund, as specified in § 144.63(a) of this chapter, must be worded as follows, ex- cept that instructions in  brackets  are to be replaced with the relevant infor- mation and the brackets deleted:

TRUST AGREEMENT

TRUST AGREEMENT, the ‘‘Agreement,’’ entered into as of [date] by and between [name of the owner or operator], a [name of State] [insert ‘‘corporation,’’ ‘‘partnership,’’ ‘‘association,’’ or ‘‘proprietorship’’], the ‘‘Grantor,’’ and [name of corporate trustee], [insert ‘‘incorporated in the State of lll’’ or ‘‘a national bank’’], the ‘‘Trustee.’’

Whereas, the United States Environmental Protection Agency, ‘‘EPA,’’ an agency of the United  States  Government,  has  established certain regulations applicable to the Grant- or, requiring that an owner or operator of an injection  well  shall  provide  assurance  that funds will be available when needed for plug- ging and abandonment of the injection well, Whereas, the Grantor has elected to estab- lish a trust to provide all or part of such fi- nancial assurance for the facility(ies) identi-

fied herein,

Whereas, the Grantor, acting through its duly authorized officers, has selected the Trustee to be the trustee under this agree- ment, and the Trustee is willing to act as trustee,

Now, therefore, the Grantor and the Trust- ee agree as follows:

Section 1. Definitions. As used in this Agree- ment:

- The term ‘‘Grantor’’ means  the  owner or operator  who  enters  into  this  Agreement and any successors or assigns of the Grantor.

- The term ‘‘Trustee’’ means the Trustee who enters into this Agreement and any suc- cessor Trustee.

- Facility or activity means any ‘‘under- ground injection well’’ or any other facility or   activity   that   is   subject   to   regulation under  the  Underground  Injection  Control Program.

#### 40 CFR Ch. I (7–1–17 Edition)

Section 2. Identification of Facilities and Cost Estimates. This Agreement pertains to the fa- cilities and cost estimates identified on at- tached Schedule A [on Schedule A, for each facility list the EPA Identification Number, name, address, and the current plugging and abandonment cost estimate, or portions thereof, for which financial assurance is demonstrated by this Agreement].

Section 3. Establishment of Fund. The Grant- or and the Trustee hereby establish a trust fund, the ‘‘Fund,’’ for the benefit of EPA. The Grantor and the Trustee intend that no third party have access to the Fund except as herein provided. The Fund is established initially as consisting of the property, which is acceptable to the Trustee, described in Schedule B attached hereto. Such property and any other property subsequently trans- ferred to the Trustee is referred to as the Fund, together with all earnings and profits thereon, less any payments or distributions made by the Trustee pursuant to this Agree- ment. The Fund shall be held by the Trustee, IN TRUST, as hereinafter provided. The Trustee shall not be responsible nor shall it undertake any responsibility for the amount or adequacy of, nor any duty to collect from the Grantor, any payments necessary to dis- charge any liabilities of the Grantor estab- lished by EPA.

Section 4. Payment for Plugging and Aban- donment. The Trustee shall make payments from the Fund as the EPA Regional Admin- istrator shall direct, in writing, to  provide for the payment of the costs of plugging and abandonment of the injection wells covered by this Agreement. The Trustee shall reim- burse the Grantor or other persons as speci- fied by the EPA Regional  Administrator from the Fund for plugging and abandon- ment expenditures in such amounts as the EPA Regional Administrator shall  direct in writing. In addition, the Trustee shall refund to the Grantor such amounts as the EPA Re- gional Administrator specifies in writing. Upon refund, such funds shall no longer con- stitute part of the Fund as defined herein.

Section 5. Payments Comprising the Fund. Payments made to the Trustee for the Fund shall consist of cash or securities acceptable to the Trustee.

Section 6. Trustee Management. The Trustee shall invest and reinvest the principal and income of the Fund and keep the Fund in- vested as a single fund, without distinction between principal and income, in accordance with general investment policies and guide- lines which the  Grantor may communicate in writing to the Trustee from time to time, subject, however, to the provisions of this Section. In investing, reinvesting, exchang- ing, selling, and managing the Fund, the Trustee shall discharge his  duties with re- spect to the trust fund solely in the interest of  the  beneficiary  and  with  the  care,  skill,

#### Environmental Protection Agency	§ 144.70

prudence, and diligence under the cir- cumstances then prevailing which persons of prudence, acting in a like capacity and fa- miliar with such matters, would use in the conduct of an enterprise of a like character and with like aims; except that:

- Securities or other obligations of the Grantor, or any other owner or  operator  of the facilities, or any of their affiliates as de- fined in the Investment Company Act of 1940, as amended, 15 U.S.C. 80a–2.(a), shall not be acquired or held, unless  they  are  securities or other obligations of the Federal or a State government;

- The Trustee is authorized to invest the Fund in time or demand deposits of the Trustee, to the extent  insured  by  an  agency of the Federal or State government; and

- The Trustee is authorized to hold cash awaiting investment or distribution uninvested for a reasonable time and with- out liability for the payment of interest thereon.

Section 7. Commingling and Investment. The Trustee is expressly authorized in its discre- tion:

- To transfer from time to time any or all of the assets of the Fund to any common, commingled, or collective trust fund created by the Trustee in which the Fund is eligible to participate, subject to all of the provi- sions thereof, to be commingled with the as- sets of other trusts participating therein; and

- To purchase shares in any investment company registered under the Investment Company Act of 1940, 15 U.S.C. 80a–1 et seq., including one which may be created, man- aged, underwritten, or to which investment advice is rendered or the shares of which are sold by the Trustee. The Trustee may vote shares in its discretion.

Section 8. Express Powers of Trustee. Without in any way limiting the powers and discre- tions conferred upon the Trustee  by  the other provisions  of  this  Agreement  or  by law, the Trustee is expressly authorized and empowered:

- To sell, exchange, convey, transfer, or otherwise dispose of any property held by it, by public or private sale. No person dealing with the Trustee shall be bound to see to the application of  the purchase  money  or to  in- quire into the validity or expediency of any such sale or other disposition;

- To make, execute, acknowledge, and de- liver any and all documents of transfer and conveyance and any and all other instru- ments that may be necessary or appropriate to carry out the powers herein granted;

- To register any securities held in the Fund in its own name or in the name of a nominee and to hold any security in bearer form or in book entry, or to combine certifi- cates representing such securities with cer- tificates of the same issue held by the Trust- ee in other fiduciary capacities, or to deposit

or arrange for the deposit of such securities in a qualified central depository even though, when so deposited, such securities may be merged and held in bulk in the name of the nominee of such depositary with other securities deposited therein by another per- son, or to deposit or arrange for the deposit of any securities issued by the United States Government, or any agency or instrumen- tality thereof, with a Federal Reserve bank, but the books and records of the Trustee shall at all times show that all such securi- ties are part of the Fund;

- To deposit any cash in the Fund in in- terest-bearing accounts maintained or sav- ings certificates issued by the Trustee, in its separate corporate capacity, or in any other banking institution affiliated with the Trustee, to the extent insured by an agency of the Federal or State government; and

- To compromise or otherwise adjust all claims in favor of or against the Fund.

Section 9. Taxes and Expenses. All taxes of any kind that may be assessed or levied against or in respect of the Fund and all bro- kerage commissions incurred by the Fund shall be paid from the Fund. All other ex- penses incurred by the Trustee in connection with the administration of this Trust, in- cluding fees for legal services rendered to the Trustee, the compensation of the Trustee to the extent not paid directly by the Grantor, and all other proper charges and disburse- ments of the Trustee shall be paid from the Fund.

Section 10. Annual Valuation. The Trustee shall annually, at least 30 days prior to the anniversary date of establishment of the Fund, furnish to the Grantor and to the ap- propriate EPA Regional Administrator a statement confirming the value of the Trust. Any securities in the Fund shall be valued at market value as of no more than 60 days prior to the anniversary date of establish- ment of the Fund. The failure of the Grantor to object in writing to the Trustee within 90 days after the statement has been furnished to the Grantor and the EPA Regional Admin- istrator shall constitute a conclusively bind- ing assent by  the  Grantor,  barring  the Grantor from asserting any claim or liability against the Trustee with respect to matters disclosed in the statement.

Section 11. Advice of Counsel. The Trustee may from time to time consult with counsel, who may be counsel to the Grantor, with re- spect to any question arising as to the con- struction of this Agreement of any action to be taken hereunder. The Trustee shall be fully protected, to the extent permitted by law, in acting upon the advice of counsel.

Section 12. Trustee Compensation. The Trust- ee shall be entitled to reasonable compensa- tion for its services as agreed upon in writ- ing from time to time with the Grantor.

Section 13. Successor Trustee. The Trustee may  resign  or  the  Grantor  may  replace  the

#### § 144.70

Trustee, but such resignation or replacement shall not be effective until the Grantor has appointed a successor trustee and this suc- cessor accepts the appointment. The suc- cessor trustee shall have the same powers and duties as those conferred upon the Trustee hereunder. Upon the successor trust- ee’s acceptance of the appointment, the Trustee shall assign, transfer,  and  pay  over to the successor trustee the funds and prop- erties then constituting the Fund. If for any reason the Grantor cannot or does not act in the event of the resignation of  the  Trustee, the Trustee may apply to a court of com- petent jurisdiction for the appointment of a successor trustee or for instructions. The successor trustee shall specify the date on which it assumes administration of the trust in a writing sent to the Grantor, the EPA Regional Administrator, and the present Trustee by certified mail 10 days before such change becomes effective. Any expenses in- curred by the Trustee as a  result  of  any  of the acts contemplated by  this  Section  shall be paid as provided in Section 9.

Section 14. Instructions to the Trustee. All or- ders, requests, and instructions by the Grantor to the Trustee shall be in writing, signed by such persons as are designated in the attached Exhibit A or such other des- ignees as the Grantor may designate by amendment to Exhibit A. The Trustee shall be fully protected in acting without inquiry in accordance with the Grantor’s orders, re- quests, and instructions. All orders, re- quests, and instructions by the EPA Re- gional Administrator to the Trustee shall be in writing, signed by the EPA Regional Ad- ministrators of the Regions in which the fa- cilities are located, or their designees, and the Trustee shall act and shall be fully pro- tected in acting in accordance with such or- ders, requests, and instructions. The Trustee shall have the right to assume, in the ab- sence of written notice to the contrary, that no event constituting a change or a termi- nation of the authority of any person to act on behalf of the Grantor or EPA hereunder has occurred. The Trustee shall have no duty to act in the absence of such orders, re- quests, and instructions from the Grantor and/or EPA, except as provided for herein.

Section 15. Notice of Nonpayment. The Trust- ee shall notify the Grantor and the appro- priate EPA Regional Administrator, by cer- tified mail within 10 days following the expi- ration of the 30-day period after the anniver- sary of the establishment of the Trust, if no payment is received from the Grantor during that period. After the pay-in period is com- pleted, the Trustee shall not be required to send a notice of nonpayment.

Section 16. Amendment of Agreement. This Agreement may be amended by an instru- ment in writing executed by the Grantor, the Trustee, and the appropriate EPA Regional Administrator, or by the Trustee and the ap-

#### 40 CFR Ch. I (7–1–17 Edition)

propriate EPA Regional Administrator if the Grantor ceases to exist.

Section 17. Irrevocability and Termination. Subject to the right of the parties to amend this Agreement as provided in Section 16, this Trust shall be irrevocable and shall con- tinue until terminated at the written agree- ment of the Grantor, the Trustee, and the EPA Regional Administrator, or by the Trustee and the EPA Regional Adminis- trator if the Grantor ceases to exist. Upon termination of the Trust, all remaining trust property, less final trust administration ex- penses, shall be delivered to the Grantor.

Section 18. Immunity and Indemnification. The Trustee shall not incur personal liabil- ity of any nature in connection with any act or omission, made in good faith, in the ad- ministration of this Trust, or in carrying out any directions by the Grantor or the EPA Regional Administrator issued in accordance with this Agreement. The Trustee shall be indemnified and saved harmless by the Grantor or from the Trust Fund, or both, from and against any personal liability to which the Trustee may be subjected by rea- son of any act or conduct in its official ca- pacity, including all expenses reasonably in- curred in its defense in the event the Grant- or fails to provide such defense.

Section 19. Choice of Law. This Agreement shall be administered, construed, and en- forced according to the laws of the State of [insert name of State].

Section 20. Interpretation. As used in this Agreement, words in the singular include the plural and words in the plural include the singular. The descriptive headings for each Section of this Agreement shall not  affect the interpretation or the legal efficacy of this Agreement.

In Witness Whereof the parties have caused this Agreement to be executed by their re- spective officers duly authorized and their corporate seals to be hereunto affixed and at- tested as of the date first above written. The parties below certify that the wording of this Agreement is identical to the wording speci- fied in 40 CFR 144.70(a)(1) as such regulations were constituted on the date first above written.

[Signature of Grantor] By	[Title]

Attest:

[TITLE] [SEAL]

[Signature of Trustee]

By Attest:

#### Environmental Protection Agency	§ 144.70

[TITLE] [SEAL]

(2) The following is an example of the certification of acknowledgment which must accompany the trust agreement for    a    trust    fund    as    specified    in

§ 144.63(a). State requirements may dif- fer on the proper content of this ac- knowledgment.

State of    lllllllllllllllllll

County of   llllllllllllllllll

On this [date], before me personally came [owner or operator] to me known, who, being by me duly sworn, did depose and say that she/he resides at [address], that she/he is [title] of [corporation], the corporation de- scribed in and which executed the above in- strument; that she/he knows the seal of said corporation; that the seal affixed to such in- strument is such corporate seal;  that  it  was so affixed by order to the Board of Directors of said corporation, and that she/he signed her/his name thereto by like order.

[Signature of Notary Public]

  - A surety bond guaranteeing pay- ment into a trust fund, as specified in

§ 144.63 of this chapter, must be worded as follows, except that instructions in brackets are to be replaced with the relevant information and the brackets deleted:

FINANCIAL GUARANTEE BOND

Dated bond executed: llllllllllll

Effective date:   lllllllllllllll

Principal: [legal name and business address of owner or operator].

Type of organization: [insert ‘‘individual,’’ ‘‘joint venture,’’ ‘‘partnership,’’ or ‘‘corpora- tion’’].

State of incorporation:  lllllllllll

Surety(ies): [name(s) and business ad- dress(es)].

EPA Identification Number, name, address, and plugging and abandonment amount(s) for each facility guaranteed by this bond [in- dicate plugging and abandonment amounts separately]: lll

Total penal sum of bond: $lll Surety’s bond number: lll

Know All Persons By These Presents, That we, the Principal and Surity(ies) hereto are firmly bound to the U.S. Environmental Pro- tection Agency (hereinafter called EPA), in the above penal sum for the payment of which we bind ourselves, our heirs, execu- tors, administrators, successors, and assigns jointly and severally; provided that, where the Surety(ies) are corporations acting as co- surties, we, the Sureties, bind ourselves in such sum ‘‘jointly and severally’’ only  for the purpose of allowing a joint action or ac-

tions against any or all of us, and for all other purposes each Surety binds itself, jointly and severally with the Principal, for the payment of such sum only as is set forth opposite the name of such Surety, but if no limit of liability is indicated, the limit of li- ability shall be the full amount of the penal sum.

Whereas said Principal is required, under the Underground Injection Control Regula- tions (UIC), to have a permit or comply with requirements to operate under rule in order to own or operate each injection well identi- fied above, and

Whereas said Principal is required to pro- vide financial assurance for plugging and abandonment as a condition of the permit or provisions to operate under rule, and

Whereas said Principal shall establish a standby trust fund as is required when a sur- ety bond is used to provide such financial as- surance;

Now, therefore, the conditions of the obli- gation are such that if the Principal shall faithfully, before the beginning of plugging and abandonment of each injection well identified above, fund the standby trust fund in the amount(s) identified above for the in- jection  well,

Or if the Principal shall fund the standby trust fund in such amount(s) within 15 days after an order to begin plugging and aban- donment is issued by an EPA Regional Ad- ministrator or a U.S. district court or other court of competent jurisdiction,

Or, if the Principal shall provide alternate financial assurance, as specified in subpart F of 40 CFR part 144, as applicable, and obtain the EPA Regional Administrator’s written approval of such assurance, within 90 days after the date of notice of cancellation is re- ceived by both the Principal and the EPA Regional Administrator(s) from the Sur- ety(ies), then this obligation shall be null and void, otherwise it is to remain in full force and effect.

The Surety(ies) shall become liable on this bond obligation only when the Principal has failed to fulfill the conditions described above. Upon notification by an EPA Re- gional Administrator that the Principal has failed to perform as guaranteed by this bond, the Surety(ies) shall place funds in the amount guaranteed for the injection well(s) into the standby trust funds as directed by the EPA Regional Administrator.

The liability of the Surety(ies) shall not be discharged by any payment or succession of payments hereunder, unless and until such payment or payments shall amount in the aggregate to the penal sum of the bond, but in no event shall the obligation of the Sur- ety(ies) hereunder exceed the amount of said penal sum.

The Surety(ies) may cancel the bond by sending  notice  of  cancellation  by  certified

#### § 144.70

mail to the Principal and to the EPA Re- gional Administrator(s) for the Region(s) in which the injection well(s) is (are) located, provided, however, that that cancellation shall not occur during the 120 days beginning on the date of receipt of the notice of can- cellation by both the Principal and the EPA Regional Administrator(s), as evidenced by the return receipts.

The Principal may terminate this bond by sending written notice to the Surety(ies), provided, however, that no such notice shall become effective until the Surety(ies) re- ceive(s) written authorization for termi- nation of the bond by the EPA Regional Ad- ministrator(s) of the Region(s) in which the bonded facility(ies) is (are) located.

[The following paragraph is an  optional rider that may be included but is not re- quired.]

Principal and Surety(ies) hereby agree to adjust the penal sum of the bond yearly so that it guarantees a new plugging and aban- donment amount, provided that the penal sum does not increase by more than 20 per- cent in any one year, and no decrease in the penal sum takes place without the written permission of the EPA Regional Adminis- trator(s).

In Witness Whereof, the Principal and Sur- ety(ies) have executed this Financial Guar- antee Bond and have affixed their seals on the date set forth above.

The persons whose signatures appear below hereby certify that they are authorized to execute this surety bond on behalf of the Principal and Surety(ies) and that the word- ing of this surety bond is identical to the wording specified in 40 CFR 144.70(b) as such regulations were constituted on the date this bond was executed.

PRINCIPAL

[Signature(s)] [Name(s)]

[Title(s)] [Corporate seal]

CORPORATE SURETY(IES)

[Name and address]

State of incorporation: lll. Liability limit: $lll.

[Signature(s)] [Name(s) and title(s)] [Corporate seal]

[For every co-surety, provide signature(s), corporate seal, and other information in the same manner as for Surety above.]

Bond premium: $lll.

  - A surety bond guaranteeing per- formance of plugging and abandon- ment, as specified in § 144.63(c), must be worded as follows, except that the in- structions   in   brackets   are   to   be   re-

#### 40 CFR Ch. I (7–1–17 Edition)

placed  with  the  relevant  information and the brackets deleted:

PERFORMANCE BOND

Date bond executed: lll. Effective date: lll.

Principal: [legal name and business address of owner or operator].

Type of organization: [insert ‘‘individual,’’ ‘‘joint venture,’’ ‘‘partnership,’’ or ‘‘corpora- tion’’].

State of incorporation: lll.

Surety(ies): [name(s) and business ad- dress(es)] llllllllllllllllllllllll

EPA Identification Number, name, address, and plugging and abandonment amounts(s) for each injection well guaranteed by this bond [indicate plugging and abandonment amounts for each well]: llllllllllllllllllllllll

Total penal sum of bond: $lll. Surety’s bond number: lll.

Know All Persons By These Presents, That We, the Principal and Surety(ies) hereto are firmly bound to the U.S. Environmental Pro- tection Agency [hereinafter called EPA], in the above penal sum for the payment of which we bind ourselves, our heirs, execu- tors, administrators, successors, and assigns jointly and severally; provided that, where the Surety(ies) are corporations acting as co- sureties, we, the Sureties, bind ourselves in such sum ‘‘jointly and severally’’ only  for the purpose of allowing a joint action or ac- tions against any or all of us, and for all other purposes each Surety binds itself, jointly and severally with the Principal, for the payment of such sum only as is set forth opposite the name of such Surety, but if no limit of liability is indicated, the limit of li- ability shall be the full amount of the penal sum.

Whereas said Principal is required, under the Undergound Injection Control Regula- tions, as amended, to have a permit or com- ply with provisions to operate under rule for each injection well identified above, and

Whereas said Principal is required to pro- vide financial assurance for plugging and abandonment as a condition of the permit or approval to operate under rule, and

Whereas said Principal shall establish a standby trust fund as is required when a sur- ety bond is used to provide such financial as- surance;

Now, Therefore, the conditions of this obli- gation are such that if the Principal shall faithfully perform plugging and abandon- ment, whenever required to do so, of each in- jection well for which this bond guarantees plugging and abandonment, in accordance with the plugging and abandonment plan and other rquirements of the permit or provi- sions for operating under rule and other re- quirements  of  the  permit  or  provisions  for

#### Environmental Protection Agency	§ 144.70

operating under rule as may be amended, pursuant to all applicable laws, statutes, rules and regulations, as such laws, statutes, rules, and regulations may be amended,

Or, if the Principal shall provide alternate financial assurance as specified in subpart F of 40 CFR part 144, and obtain the EPA Re- gional Administrator’s written approval of such assurance, within 90 days after the date of notice of cancellation is received  by  both the Principal and the EPA Regional Admin- istrator(s) from the Surety(ies), then this ob- ligation shall be  null  and  void,  otherwise  it is to remain in full force and effect.

The Surety(ies) shall become liable on this bond obligation only when the Principal has failed to fulfill the conditions described above.

Upon notification by an EPA Regional Ad- ministrator  that  the  Principal  has  been found in violation of the plugging and aban- donment requirements of 40 CFR part 144, for an injection well which this bond guarantees performances of plugging and abandonment, the Surety(ies) shall either perform plugging and abandonment in accordance with the plugging and abandonment plan and other permit requirements or provisions for oper- ating under rule and other requirements or place the amount for plugging and abandon- ment into a standby trust  fund  as  directed by  the   EPA  Regional  Administrator.

Upon notification by an EPA Regional Ad- ministrator that the Principal has failed to provide alternate financial assurance as specified in subpart F of 40 CFR part 144, and obtain written approval of such assurance from the EPA Regional Administrator(s) during the 90 days following receipt by both the Principal and the EPA Regional Admin- istrator(s) of a notice of cancellation of the bond, the Surety(ies) shall place funds in the amount guaranteed for the injection well(s) into the standby trust fund as  directed  by the  EPA  Regional  Administrator.

The surety(ies) hereby waive(s) notifica- tion of amendments to plugging and aban- donment plans, permits, applicable laws, statutes, rules, and regulations and agrees that no such amendment shall in any way al- leviate its (their) obligation on this bond.

The liability of the Surety(ies) shall not be discharged by any payment or succession of payments hereunder, unless and until such payment or payments shall amount in the aggregate to the penal sum of the bond, but in no event shall the obligation of the Sur- ety(ies) hereunder exceed the amount of said penal sum.

The Surety(ies) may cancel the bond by sending notice by certified mail to the owner or operator and to the EPA Regional Admin- istrator(s) for the Region(s) in which the in- jection well(s) is (are) located, provided, however, that cancellation shall not occur during the 120 days beginning on the date of receipt  of  the  notice  of  cancellation  by  both

the Principal and the EPA Regional Admin- istrator(s), as evidenced by the return re- ceipts.

The  principal  may  terminate  this  bond  by sending   written   notice   to   the   Surety(ies), provided, however, that no such notice shall become   effective   until   the   Surety(ies)   re- ceive(s)    written    authorization    for    termi- nation of the bond by the EPA Regional Ad- ministrator(s) of the EPA Region(s) in which the bonded injection well(s) is (are) located. [The   following   paragraph   is   an   optional rider  that  may  be  included  but  is  not  re-

quired.]

Principal and Surety(ies) hereby agree to adjust the penal sum of the bond yearly so that it guarantees a new plugging and aban- donment amount, provided that the penal sum does not increase by more than 20 per- cent in any one year, and no decrease in the penal sum takes place without the written permission of the EPA Regional Adminis- trator(s).

In Witness Whereof, The Principal and Sur- ety(ies) have  executed  this  Performance Bond and have affixed their seals on the date set forth above.

The persons whose signatures appear below hereby certify that they are authorized to execute this surety bond on behalf of the Principal and Surety(ies) and that the word- ing on this surety bond is identical to the wording specified in 40 CFR 144.70(c) as such regulation was constituted on the date this bond was executed.

Principal. [Signature(s)] [Name(s)]

[Title(s)] [Corporate seal]

[Corporate Surety(ies)] [Name and address]

State of incorporation:

llllllllllllllllllllllll

Liability limit: $lll. [Signature(s)]

[Name(s) and title(s)] Corporate seal:

[For every co-surety, provide signature(s), corporate seal, and other information in the same manner as for Surety above.]

Bond premium: $lll.

  - A letter of credit, as specified in

§ 144.63(d) of this chapter, must be worded as follows, except that instruc- tions in brackets are to be replaced with the relevant information and the brackets deleted:

IRREVOCABLE STANDBY LETTER OF CREDIT

Regional Administrator(s)

Region(s)    llllllllllllllllll

  - Environmental Protection Agency. Dear Sir or Madam:

We hereby establish our Irrevocable Stand- by Letter of Credit No. lll in your favor,

#### § 144.70

at the request and for the account of [own- er’s or operator’s name and address] up to the aggregate amount of [in words] U.S. dol- lars $lll, available upon presentation [in- sert, if more than one Regional Adminis- trator is a beneficiary, ‘‘by any one of you’’] of

    - Your sight draft, bearing reference to this letter of credit No. lll, and

    - Your signed statement reading as fol- lows: ‘‘I certify that the amount of the draft is payable pursuant to regulations issued under authority of the Safe Drinking Water Act.’’

This letter of credit is effective as of [date] and shall expire on [date at least 1 year later], but such expiration date shall be automatically extended for a period of [at least 1 year] on [date] and on each successive expiration date, unless, at least 120 days be- fore the current expiration date, we notify both you and [owner’s or operator’s name] by certified mail that we have decided not to extend this letter of credit beyond the cur- rent expiration date. In the event you are so notified, any unused portion of the credit shall be available upon presentation of your sight draft for 120 days after the date of re- ceipt by both you and [owner’s or operator’s name], as shown on the signed return re- ceipts.

Whenever  this  letter  of  credit  is  drawn  on under  and  in  compliance  with  the  terms  of this   credit,   we   shall   duly   honor   such   draft upon presentation to us, and we shall deposit the   amount   of   the   draft   directly   into   the standby  trust  fund  of  [owner’s  or  operator’s name]  in  accordance  with  your  instructions. We  certify  that  the  wording  of  this  letter of  credit  is  identical  to  the  wording  specified in 40 CFR 144.70(d) as such regulations were constituted   on   the   date   shown   immediately

below.

[Signature(s) and title(s) of official(s) of issuing   institution]

[Date]

This credit is subject to [insert ‘‘the most recent edition of the Uniform Customs and Practice for Documentary Credits, published and copyrighted by the International Cham- ber of Commerce,’’ or ‘‘the Uniform Commer- cial Code’’].

  - A certificate of insurance, as spec- ified in § 144.63(e) of this chapter, must be worded as follows, except that in- structions in brackets are to be re- placed with the relevant information and the brackets deleted:

Certificate of Insurance for Plugging and Abandonment

Name and Address of Insurer (herein called the ‘‘insurer’’): llllllllllllllllllllllll

Name and Address of Insurer (herein called the  ‘‘insurer’’):

#### 40 CFR Ch. I (7–1–17 Edition)

llllllllllllllllllllllll Injection Wells covered: [list for each well: The EPA Identification Number, name, ad- dress, and the amount of insurance for plug- ging and abandonment (these amounts for all injection wells covered must total the face

amount shown below).]

Face Amount: llllllllllllllll Policy Number: lllllllllllllll Effective Date:    lllllllllllllll

The insurer hereby certifies that it has issued to the Insured the policy of insurance identified above to provide financial assur- ance for plugging and abandonment for the injection wells identified above. The Insurer further warrants that such policy conforms in all respects with the requirements of 40 CFR 144.63(e), as applicable and as such regu- lations were constituted on the date shown immediately below. It is agreed that any provision of the policy inconsistent with such regulations is hereby amended to elimi- nate such inconsistency.

Whenever requested by the EPA Regional Administrator(s) of the U.S. Environmental Protection Agency, the Insurer agrees to fur- nish to the EPA Regional Administrator(s) a duplicate original of the policy listed above, including all endorsements thereon.

I hereby certify that the wording of this certificate is identical to the wording speci- fied in 40 CFR 144.70(e) as such regulations were constituted on the date shown imme- diately below.

[Authorized signature of Insurer] [Name of person signing]

[Title of person signing] [Signature of witness or notary:]

llllllllllllllllllllllll

[Date]

  - A letter from the chief financial officer, as specified in § 144.63(f) of this chapter, must be worded as follows, ex- cept that instructions in  brackets  are to be replaced with the relevant infor- mation and the brackets deleted:

LETTER FROM CHIEF FINANCIAL OFFICER

[Address to Regional Administrator of every Region in which injection wells for which financial responsibility is to be dem- onstrated through the financial test are lo- cated.]

I am the chief financial officer of  [name and address of firm.] This letter is in support of this firm’s use of the financial test to demonstrate financial assurance, as specified in subpart F of 40 CFR part 144.

[Fill out the following four paragraphs re- garding injection wells and associated cost estimates. If your firm has no injection wells that belong in a particular paragraph, write ‘‘None’’ in the space indicated. For each in- jection  well,  include  its  EPA  Identification

#### Environmental Protection Agency	§ 144.70

Number,  name,  address,  and  current  plug- ging and abandonment cost estimate.]

- This firm is the owner or operator of the following injection wells for which financial assurance for plugging and abandonment is demonstrated through the financial test specified in subpart F of 40 CFR part 144. The current plugging and abandonment cost esti- mate covered by the test is shown for each injection well: lll.

- This firm guarantees, through the cor- porate guarantee specified in subpart F of 40 CFR part 144, the plugging and abandonment of the following injection wells owned or op- erated by subsidaries of this firm. The cur- rent cost estimate for plugging and abandon- ment so guaranteed is shown for each injec- tion well: lll.

- In States where EPA is not admin- istering the financial requirements of sub- part F of 40 CFR part 144, this firm, as owner or operator or guarantor, is demonstrating financial assurance for the plugging and abandoment of the following injection wells through the use of a test equivalent or sub- stantially equivalent to the financial test specified in subpart F of 40 CFR part 144. The current plugging and abandonment cost esti- mate covered by such a test is shown for each injection well: lll.

- This firm is the owner or operator of the following injection wells for which financial assurance for plugging and abandonment is not demonstrated either to EPA or a State through the financial test or any other fi- nancial assurance mechanism specified in subpart F of 40 CFR part 144 or equivalent or substantially equivalent State mechanisms. The current plugging and abandonment cost estimate not covered by such financial assur- ance is shown for each injection well: lll. This firm [insert ‘‘is required’’ or ‘‘is not required’’] to file a Form 10K with the Secu- rities and Exchange Commission (SEC) for

the latest fiscal year.

The   fiscal   year   of   this   firm   ends   on

ALTERNATIVE I—Continued

*2. Total liabilities [if any portion of the plug- ging and abandonment cost is included in total liabilities, you may deduct the amount of that portion from this line and add that amount to lines 3 and 4].

*3. Tangible net worth.

*4. Net worth.

*5. Current assets.

*6. Current liabilities.

*7. Net working capital [line 5 minus line 6].

*8. The sum of net income plus depreciation, depletion and amortization.

*9. Total assets in U.S. (required only if less than 90% of firm’s assets are located in U.S.).

Yes	No

- Is line 3 at least $10 million?.

- Is line 3 at least 6 times line 1(c)?.

- Is line 7 at least 6 times line 1(c)?.

*13. Are at least 90% of firm’s as- sets located in the U.S.? If not, complete line 14..

- Is line 9 at least 6 times line 1(c)?.

- Is line 2 divided by line 4 less than 2.0?.

- Is  line  8  divided  by  line  2 greater than 0.1?.

- Is  line  5  divided  by  line  6

greater than 1.5? ........................   ................   ....................

ALTERNATIVE II

- (a) Current plugging and abandonment cost	$llll

    - Sum of the company’s financial re- sponsibilities under 40 CFR Parts 264 and 265, Subpart H, currently met using the financial test or corporate guarantee.

    - Total of lines a and b.

- Current bond rating of most recent issuance of this firm and name of rating service.

- Date of issuance of bond.

- Date of maturity of bond.

*5. Tangible net worth [if any portion of the plugging and abandonment cost estimate is included in ‘‘total liabilities’’ on your firm’s fi- nancial statements, you may add the amount of that portion to this line].

*6. Total assets in U.S. (required only if less than 90% of firm’s assets are located in U.S.).

[month, day]. The figures for the following

items marked with an asterisk are derived from this firm’s independently audited, year- end financial statements for the latest com- pleted fiscal year, ended [date].

[Fill in Alternative I  if the criteria of para- graph (f)(1)(i) of § 144.63 of this chapter are used. Fill in Alternative II if the criteria of paragraph (f)(1)(ii) of § 144.63 of this chapter

- Is line 5 at least $10 million?.

- Is line 5 at least 6 times line 1(c)?.

*9. Are at least 90% of the firm’s assets located in the U.S.? If not, complete line 10.

- Is line 6 at least 6 times line

Yes	No

are used.]

ALTERNATIVE I

1(c)? ...........................................   ................   ....................

I  hereby  certify  that  the  wording  of  this letter is identical to the wording specified in

  - (a) Current plugging and abandonment cost	$llll

      - Sum of the company’s financial re- sponsibilities under 40 CFR Parts 264 and 265, Subpart H, currently met using the financial test or corporate guarantee.

      - Total of lines a and b.

40 CFR 144.70(f) as such regulations were con-

stituted  on  the  date  shown  immediately below.

[Signature] [Name] [Title]

#### § 144.70

[Date]

(g) A corporate guarantee as specified in § 144.63(e) must be worded as follows except that  instructions  in  brackets are to be replaced with the relevant in- formation and the bracketed material deleted:

GUARANTEE FOR PLUGGING AND ABANDONMENT

Guarantee made this ll day of lll, 19ll, by [name of guaranteeing entity], a business corporation organized under the laws of the State of llll, herein referred to as guarantor, to the United States Envi- ronmental Protection Agency (EPA), obli- gee, on behalf of our subsidiary [owner or op- erator] of [business address].

Recitals

- Guarantor meets or exceeds the financial test criteria and agrees to comply with the reporting requirements for guarantors as specified in 40 CFR 144.63(e).

- [Owner or operator] owns or operates the following Class I hazardous waste injection well covered by this guarantee: [List for each facility: EPA Identification Number, name, and address. Indicate for each whether guar- antee is for closure, post-closure care, or both.]

- ‘‘Plugging and abandonment plan’’ as used below refers to the plans maintained as required by 40 CFR part 144 for the plugging and abandonment of injection wells as iden- tified above.

- For value received from [owner or oper- ator],  guarantor  guarantees  to  EPA  that   in the event that [owner or operator] fails to perform [‘‘plugging   and  abandonment’’]   of the above facility(ies) in accordance with the plugging and abandonment plan and other requirements when required to do so, the guarantor will do so or fund a trust fund as specified in 40 CFR 144.63 in the name of [owner or operator] in the amount of the ad- justed plugging and abandonment cost esti- mates prepared as specified in 40 CFR 144.62.

- Guarantor agrees that, if at the end  of any fiscal year before termination of this guarantee, the guarantor fails to meet the fi- nancial test  criteria,  guarantor  will  send within 90 days, by certified mail,  notice  to the EPA Regional Administrator(s) for the Region(s) in which the facility(ies) is (are) located and to [owner or operator] that he intends to provide alternate financial assur- ance as specified in 40 CFR 144.63 in the name of [owner or operator]. Within 30 days after sending such notice, the guarantor will es- tablish such financial assurance if [owner or operator] has not done so.

- The guarantor agrees to notify the Re- gional Administrator, by certified mail, of a voluntary or involuntary case under Title 11,

  - Code, naming guarantor as debtor, with- in 10 days after its commencement.

#### 40 CFR Ch. I (7–1–17 Edition)

- Guarantor agrees that within  30  days after being notified by an EPA Regional Ad- ministrator of a determination that  guar- antor no longer meets the financial test cri- teria or that he is disallowed from  con- tinuing as a guarantor of plugging and adandonment, he will establish alternate fi- nancial assurance, as specified in 40 CFR 144.63, in the name of [owner or operator] if [owner or operator] has not done so.

- Guarantor agrees to remain bound under this guarantee notwithstanding any or all of the following: amendment or modification of the plugging and abandonment plan, the ex- tension or reduction of the time of perform- ance of plugging and abandonment or any other modification or alteration of an obli- gation of [owner or operator] pursuant to 40 CFR part 144.

- Guarantor agrees to remain bound under this guarantee for so long as [owner or oper- ator] must comply with the applicable finan- cial assurance requirements of 40 CFR part 144 for the above-listed facilities, except that guarantor may cancel this guarantee by sending notice by certified mail, to the EPA Regional Administrator(s) for the  Region(s) in which the facility(ies) is (are) located and to [owner or operator], such cancellation to become effective no earlier than 120 days after actual receipt of such notice by both EPA and [owner or operator] as evidenced by the return receipts.

- Guarantor agrees that if [owner or oper- ator] fails to provide alternate financial as- surance and obtain written approval of such assurance from the EPA Regional Adminis- trator(s) within 90 days after a notice of can- cellation by the  guarantor  is  received  by both the EPA Regional Administrator(s) and [owner or operator], guarantor will provide alternate  financial  assurance  as  specified   in 40 CFR 144.63 in the name of [owner or oper- ator].

- Guarantor expressly waives notice of acceptance of this guarantee by the EPA or by [owner or operator]. Guarantor also ex- pressly waives notice of amendments or modifications of the plugging and abandon- ment plan.

I hereby certify that the wording of this guarantee is identical to the wording speci- fied in 40 CFR 144.70(f).

Effective date: lll. [Name of guarantor]

[Authorized signature for guarantor] [Type name of person signing]

[Title of person signing]

Signature of witness or notary: lll

[48  FR  14189,  Apr.  1,  1983,  as  amended  at  59

FR 29959, June 10, 1994]

#### Environmental Protection Agency	§ 144.80

Subpart G—Requirements for Owners and Operators of Class V Injection Wells

SOURCE:  64  FR  68566,  Dec.  7,  1999,  unless

otherwise noted.

##### § 144.79   General.

This subpart tells you what require- ments apply if you own or operate a Class V injection well. You may also be required to follow additional require- ments listed in the rest of this part. Where they may apply, these other re- quirements are referenced rather than repeated. The requirements described in this subpart and elsewhere in this part are to  protect  underground sources of drinking water and are part of the Underground Injection Control (UIC) Program established under the Safe Drinking Water  Act.  This  subpart is written in  a  special  format  to  make it easier to understand the regulatory requirements. Like other EPA regula- tions, it establishes enforceable legal requirements.

DEFINITION OF CLASS V INJECTION WELLS

##### § 144.80 What is a Class V injection well?

As described in § 144.6, injection wells are  classified  as  follows:

- Class I. (1) Wells used by genera- tors of hazardous waste or owners or operators of hazardous waste manage- ment facilities to inject  hazardous waste beneath the lowermost forma- tion containing, within  one-quarter mile of  the well  bore, an  underground source of drinking water.

- Other industrial and municipal disposal wells which inject fluids be- neath the lowermost formation con- taining, within one quarter mile of the well bore, an underground source of drinking water;

- Radioactive waste disposal wells which inject fluids below the lower- most formation containing an under- ground source of drinking water within one quarter mile of the well bore.

- Class II. Wells which inject fluids:

  - Which are brought to the surface in connection with natural gas storage operations, or conventional oil or nat- ural gas production and may be com-

mingled with waste waters from gas plants which are an integral part of production operations, unless those waters are classified as a hazardous waste at the time of injection.

  - For enhanced recovery of oil or natural gas; and

  - For storage of hydrocarbons which are liquid at standard tempera- ture and pressure.

- Class III. Wells which inject fluids for extraction of minerals including:

  - Mining of sulfur by the Frasch process;

  - In situ production of uranium or other metals; this category includes only in situ production from ore bodies which have not been conventionally mined. Solution mining of conven- tional mines such as stopes leaching is included in Class V.

  - Solution mining of salts or pot- ash.

- Class IV. (1) Wells used by genera- tors of hazardous waste or of  radio- active waste, by owners  and  operators of hazardous waste management facili- ties, or by owners or operators of radio- active waste disposal sites to dispose of hazardous waste or radioactive  waste into a formation which within  one quarter (1⁄4) mile of the  well  contains an underground source of  drinking water.

- Wells used by generators of haz- ardous waste or of radioactive  waste, by owners and operators of hazardous waste management facilities, or by owners or operators of radioactive waste disposal  sites  to  dispose  of  haz- ardous waste or radioactive  waste above a formation which within one quarter (1⁄4) mile of the  well  contains an underground source of drinking water.

- Wells used by generators of haz- ardous waste or owners or operators of hazardous waste management facilities to dispose of hazardous waste, which cannot be classified under paragraph (a)(1) or (d)(1) and (2) of this section (e.g., wells used to dispose of hazardous waste into or above a formation which contains an aquifer which has been ex- empted pursuant to 40 CFR 146.04).

- Class V. Injection wells not in- cluded in Class I, II, III, IV or VI. Typi- cally, Class V wells are shallow wells

#### § 144.81

used to place a variety of fluids di- rectly below the land surface. However, if the fluids you place in the ground qualify as a hazardous waste under the Resource Conservation and  Recovery Act (RCRA), your well is either a Class I or Class IV well, not a Class V well. Examples of Class V wells are described in § 144.81.

- Class VI. Wells used for geologic sequestration of carbon dioxide be- neath the lowermost formation con- taining a USDW,  except  those  wells that are experimental in nature;  or, wells used for geologic sequestration of carbon dioxide that have been granted a waiver of the injection depth require- ments   pursuant   to   requirements   at

§ 146.95 of this chapter; or, wells  used for geologic sequestration of carbon di- oxide that have received  an  expansion to the areal  extent  of  a  existing  Class II enhanced  oil  recovery  or  enhanced gas recovery aquifer exemption pursu- ant    to    § 146.4    of    this    chapter    and

§ 144.7(d).

[64 FR 68566, Dec. 7, 1999, as amended at 75

FR 77290, Dec. 10, 2010]

##### § 144.81   Does this subpart apply to me?

This subpart applies to you if you own or operate a Class V well, for ex- ample:

  - Air conditioning return flow wells used to return to the supply aquifer the water used for heating or cooling in a heat pump;

  - Large capacity cesspools includ- ing multiple dwelling, community or regional cesspools, or other  devices that receive sanitary wastes, con- taining human excreta, which have an open bottom and sometimes perforated sides. The UIC requirements do not apply to single family residential cess- pools nor to non-residential cesspools which receive solely  sanitary  waste and have the capacity to serve fewer than 20 persons a day.

  - Cooling water return flow wells used to inject water previously used for cooling;

  - Drainage wells used to drain sur- face fluids, primarily storm  runoff, into a subsurface formation;

  - Dry wells used for the injection of wastes into a subsurface formation;

  - Recharge wells used to replenish the water in an aquifer;

#### 40 CFR Ch. I (7–1–17 Edition)

  - Salt water intrusion barrier wells used to inject water into a fresh aqui- fer to prevent the intrusion of salt water into the fresh water;

  - Sand backfill and other backfill wells used to inject a mixture of water and sand, mill tailings or other solids into mined out portions of subsurface mines whether what is injected is a ra- dioactive waste or not.

  - Septic system wells used to inject the waste or effluent from a multiple dwelling, business establishment, com- munity or regional business establish- ment septic tank. The UIC require- ments do not apply to single family residential septic system wells, nor to non-residential septic system wells which are used solely  for  the  disposal of sanitary waste and have  the  capac- ity to serve fewer than 20 persons a day.

  - Subsidence control wells (not used for the purpose of oil or  natural gas production) used to inject fluids into a non-oil or gas producing zone to reduce or eliminate subsidence associ- ated with the overdraft of fresh water;

  - Injection wells associated with the recovery of geothermal energy for heating, aquaculture and production of electric power;

  - Wells used for solution mining of conventional mines such as stopes leaching;

  - Wells used to inject spent brine into the same formation from which it was withdrawn after extraction of halogens or their salts;

  - Injection wells used in experi- mental technologies.

  - Injection wells used for in situ recovery of lignite, coal, tar sands, and oil shale.

  - Motor vehicle waste disposal wells that receive or have received fluids from vehicular repair or mainte- nance activities, such as an auto body repair shop, automotive repair  shop, new and used car dealership, specialty repair shop (e.g., transmission and muffler repair shop),  or  any  facility that does any vehicular repair work. Fluids disposed in these wells may con- tain  organic  and  inorganic   chemicals in concentrations that exceed the max- imum contaminant levels (MCLs) es- tablished by the primary  drinking water regulations (see 40 CFR part 141).

#### Environmental Protection Agency	§ 144.83

These fluids also may include waste pe- troleum products and may contain con- taminants, such as heavy metals and volatile organic compounds,  which pose risks to human health.

[64 FR 68566, Dec. 7, 1999, as amended at 67

FR 39593, June 7, 2002]

REQUIREMENTS FOR ALL CLASS V INJECTION WELLS

##### § 144.82 What must I do to protect un- derground sources of drinking water?

If you own  or  operate  any  type  of Class V well, the regulations below re- quire that you cannot  allow  movement of fluid into USDWs that might cause endangerment, you must comply with other Federal UIC requirements in 40 CFR parts 144 through  147,  and  you must comply with any other measures required by your State or EPA  Re- gional Office UIC Program to protect USDWs, and you must  properly  close your well when you  are  through  using it. You also must submit basic infor- mation  about  your  well,  as  described  in

§ 144.83.

    - Prohibition of fluid movement.  (1) As described in § 144.12(a), your injec- tion activity cannot allow the move- ment of fluid containing any contami- nant into USDWs, if the presence of that contaminant may cause a viola- tion of the primary drinking water standards under 40 CFR part 141, other health based standards, or may other- wise adversely affect the health of per- sons. This prohibition applies to your well construction, operation, mainte- nance, conversion, plugging, closure, or any  other  injection  activity.

(2) If the  Director  of  the  UIC  Pro- gram in your State or EPA  Region learns that your injection activity may endanger USDWs, he or  she  may  re- quire  you  to  close  your  well,  require you to get a permit, or require other actions listed in § 144.12(c), (d), or (e).

    - Closure requirements. You must close the well in a manner that com- plies with the above  prohibition  of fluid movement.  Also,  you  must  dis- pose or otherwise manage any soil, gravel, sludge, liquids, or other mate- rials removed from or adjacent to your well  in  accordance  with  all  applicable

Federal, State, and local regulations and requirements.

    - Other requirements in Parts 144 through 147. Beyond  this  subpart,  you are subject to other UIC Program re- quirements in 40 CFR parts 144 through

- While most of the relevant require- ments are repeated or referenced in this subpart for convenience, you need to read these other parts to understand the entire UIC Program.

    - Other State or EPA requirements. 40 CFR parts 144 through 147 define min- imum Federal UIC requirements. EPA Regional Offices administering the UIC Program have the flexibility to estab- lish additional or more stringent re- quirements based on the authorities in parts 144 through 147, if believed to be necessary to protect  USDWs.  States can have their own authorities to es- tablish additional or more stringent re- quirements if needed  to  protect USDWs. You must comply with these additional requirements, if any exist in your area. Contact the UIC Program Director in your State  or  EPA  Region to learn more.

##### § 144.83   Do  I  need  to  notify  anyone about my Class V injection well?

Yes, you need to provide basic ‘‘in- ventory information’’ about your well to the UIC Director, if you haven’t al- ready. You also need to provide any ad- ditional   information   that   your   UIC Program Director requests in accord- ance  with  the  provisions  of  the  UIC regulations.

- Inventory requirements. Unless you know you have already satisfied the in- ventory requirements in § 144.26 that were in effect prior to the issuance  of this  Subpart  G,  you  must  give  your UIC Program Director certain informa- tion about yourself and your injection operation.

NOTE: This information is requested on na- tional form ‘‘Inventory of Injection Wells,’’ OMB No. 2040–0042.

  - The requirements differ depending on your well status and location, as de- scribed in the following table:

#### § 144.83

40 CFR Ch. I (7–1–17 Edition)

| If your well is . . . | And you’re in one of these locations (‘‘Primacy’’ States, where the State runs the Class V UIC Program): Alabama, Ar- kansas, Commonwealth of Northern Mariana Islands, Connecticut, Delaware, Florida, Georgia, Guam, Idaho, Illinois, Kansas, Louisiana, Maine, Maryland, Massachusetts, Mississippi, Missouri, Nebraska, Nevada, New Hampshire, New Jersey, New Mexico, North Caro- lina, North Dakota, Ohio, Oklahoma, Or- egon, Puerto Rico, Rhode Island, South Carolina, Texas, Utah, Vermont, Wash- ington, West Virginia, Wisconsin, or Wy- oming | Or you’re in one of these locations (‘‘Di- rect Implementation’’ or DI Programs, where EPA runs the Class V UIC Pro- gram): Alaska, American Samoa, Ari- zona, California, Colorado, Hawaii, Indi- ana, Iowa, Kentucky, Michigan, Min- nesota, Montana, New York, Pennsyl- vania, South Dakota, Tennessee, Vir- ginia, Virgin Islands, Washington, DC, or any Indian Country |
| --- | --- | --- |
| (i) New (prior to construction of your well) | . . . then you must contact your State UIC Program to determine what you must submit and by when.. | . . . then you must submit the inventory information described in (a)(2) of this section prior to constructing your well. |
| (ii) Existing (construction underway or completed). | . . . then you must contact your State UIC Program to determine what you must submit and by when.. | . . . then you must cease injection and submit the inventory information. You may resume injection 90 days after you submit the information unless the UIC Program Director notifies you that injection may not resume or may re- sume sooner. |

  - If your well is in a Primacy State or a DI Program State, here is the in- formation you must submit:

    - No matter what type of Class V well you own or operate, you must sub- mit at least the following information for each Class V well: facility name and location; name and address of legal contact; ownership of facility; nature and type of injection well(s); and oper- ating status of injection well(s).

    - Additional information. If you are in a Direct Implementation State and you own or operate a well listed below you must also provide the information listed in paragraph (a) (2) (iii) as fol- lows:

      - Sand or other backfill wells (40 CFR 144.81(8) and 146.5(e)(8) of this chapter);

      - Geothermal energy recovery wells (40 CFR 144.81(11) and 146.5 (e)(12) of this   chapter);

      - Brine return flow wells (40 CFR 144.81(13) and 146.5 (e)(14) of this chap- ter);

      - Wells used in experimental tech- nology (40 CFR 144.81(14) and 146.5 (e)(15) of this chapter);

      - Municipal and industrial disposal wells other than Class I; and

      - Any other Class V wells at the discretion of the Regional Adminis- trator.

    - You must provide a list of all wells owned or operated along with the following information for each well. (A

single description of wells at a single facility with substantially the same characteristics is acceptable).

- Location of each well or project given by Township,  Range,  Section, and Quarter-Section, or by latitude and longitude to the nearest second, ac- cording to the conventional practice in your State;

- Date of completion of each well;

- Identification and depth of the underground formation(s) into which each well is injecting;

- Total depth of each well;

- Construction narrative and sche- matic (both plan view and cross-sec- tional drawings);

- Nature of the injected fluids;

- Average and maximum injection pressure at the wellhead;

- Average and maximum injection rate; and

- Date of the last inspection.

  - Regardless of whether your well is in a Primacy State or DI  Program  you are responsible for knowing about, un- derstanding, and  complying  with these inventory  requirements.

- Information in response to requests. If you are in one of the DI Programs listed in the table above, the UIC Pro- gram Director may require you to sub- mit other information believed nec- essary to protect underground sources of drinking water.

  - Such information requirements may include, but are not limited to:

#### Environmental Protection Agency	§ 144.85

    - Perform ground water monitoring and periodically submit your moni- toring  results;

    - Analyze the fluids you inject and periodically submit the results of your analyses;

    - Describe the geologic layers through which and into which you are injecting;  and

    - Conduct other analyses and sub- mit other information, if needed to protect underground sources of drink- ing water.

  - If the Director requires this other information, he or she will request it from you in writing, along with a brief statement on why the information is required. This written notification also will tell you when to submit the infor- mation.

  - You are prohibited from using your injection well if you fail  to  com- ply with the written request within the time frame specified. You can start in- jecting again only if you receive a per- mit.

##### § 144.84   Do I need to get a permit?

No, unless you fall within an excep- tion described below:

- General authorization by rule. With certain exceptions listed in paragraph

- of this section, your Class V injec- tion activity  is  ‘‘authorized by rule,’’ meaning you have to comply with  all the requirements of this subpart and the rest of the UIC Program but you don’t have to get an individual permit. Well authorization expires once you have properly  closed your well,  as de- scribed in § 144.82(b).

  - Circumstances in which permits or other actions are required. If you fit into one of the categories listed below, your Class V well is no longer authorized by rule. This means that you have to ei- ther get a permit or close your injec- tion well. You can find out by con- tacting the UIC Program  Director  in your State or EPA Region if this is the case. Subpart D of this part tells you how to apply for a permit and describes other aspects of the permitting proc- ess. Subpart E of  this  part  outlines some of the requirements that apply to you if you get a permit.

    - You fail to comply with the prohi- bition  of  fluid  movement  standard  in

§ 144.12(a) and described in § 144.82(a) (in

which case, you have to get a permit, close your well, and/or comply with other conditions determined by the UIC Program Director in your State or EPA Region);

    - You own or operate a Class V large-capacity cesspool (in which case, you must close your well as specified in the additional requirements below) or a Class V motor vehicle waste disposal well in a ground water protection area or sensitive ground water area (in which case, you must either close your well or get a permit as specified in the additional requirements in this sub- section). New motor vehicle waste dis- posal wells and new cesspools are pro- hibited as of April 5, 2000;

    - You are specifically required by the UIC Program Director in  your State or EPA Region to get  a  permit (in which case, rule authorization ex- pires upon the effective date of the per- mit issued, or you are prohibited from injecting into your well upon:

      - Failure to submit a permit appli- cation in a timely manner as specified in a notice from the Director; or

      - Upon the effective date of permit denial);

    - You have failed to submit inven- tory information to your UIC Program Director, as described in § 144.83(a) (in which case, you are prohibited from in- jecting into your well until you comply with  the  inventory  requirements);  or

    - If you are in a DI State and you received a request from your UIC Pro- gram Director for additional informa- tion under § 144.83(b), and have failed to comply with the request in a timely manner (in which case, you are prohib- ited from injecting into your well until you get a permit).

ADDITIONAL REQUIREMENTS  FOR   CLASS V LARGE-CAPACITY CESSPOOLS AND MOTOR VEHICLE WASTE DISPOSAL WELLS

##### § 144.85   Do  these  additional  require- ments apply to me?

- Large-capacity cesspools. The addi- tional requirements apply to all new and existing large-capacity cesspools regardless of their location. If you are using a septic system for these type of wastes you are not subject to the addi- tional requirements in this subpart.

#### § 144.86

- Motor vehicle waste disposal wells existing on April 5, 2000. If you have a Class V motor vehicle waste disposal well these requirements apply to you if your well is located in a ground water protection area or other sensitive ground water area that is identified by your State or EPA  Region.  If  your State or EPA Region fails to identify ground water protection areas and/or other sensitive ground water areas these requirements apply to all Class V motor vehicle wells in the State.

- New motor vehicle waste disposal wells. The additional  requirements apply to all new motor vehicle waste disposal wells as of April 5, 2000.

##### § 144.86   What   are   the   definitions   I need to know?

- State Drinking Water Source Assess- ment and Protection Program. This is a new approach to protecting drinking water sources, specified in the 1996 Amendments  to  the  Safe   Drinking Water Act at Section 1453. States must prepare and submit for EPA approval a program that sets out how States will conduct local assessments, including: delineating the boundaries of areas providing source waters  for  public water systems; identifying significant potential  sources  of  contaminants  in such areas; and determining the sus- ceptibility  of  public  water  systems  in the delineated areas to the inventoried sources   of   contamination.

- Complete local source water assess- ment for ground water protection areas. When EPA has approved a State’s Drinking Water Source Assessment and Protection Program,  States  will  begin to conduct local assessments for each public water system in their State. For the purposes of this rule, local assess- ments for community water systems and non-transient non-community sys- tems are complete when four require- ments are met: First, a State must de- lineate the boundaries of the assess- ment area for community and non- transient non-community water sys- tems. Second, the State must identify significant potential sources of con- tamination in these delineated areas. Third, the State must ‘‘determine the susceptibility of community and non- transient non-community water sys- tems  in  the  delineated  area  to  such

#### 40 CFR Ch. I (7–1–17 Edition)

contaminants.’’ Lastly, each State will develop its own plan for making the completed assessments available to the public.

- Ground water protection area. A ground water protection area is a geo- graphic area near and/or surrounding community and non-transient non- community water systems that use ground water as a source of drinking water. These areas receive priority for the protection of drinking water sup- plies and States are required to delin- eate and assess these areas under sec- tion 1453 of the Safe Drinking Water Act.   The   additional   requirements   in

§ 144.88 apply to you if your Class V motor vehicle  waste  disposal  well  is  in a ground water protection area for ei- ther a community water system or a non-transient non-community water system, in  many  States,  these  areas will be the same as Wellhead Protec- tion Areas that have been or will be de- lineated as defined in section 1428  of the   SDWA.

- Community water system. A com- munity water system is a public water system that serves at least 15 service connections used by year-round resi- dents or regularly serves at least 25 year-round residents.

- Non-transient non-community water system. A public water system that  is not a community  water  system  and that regularly serves at least 25 of the same people over six months a year. These may include systems that pro- vide water to schools, day care centers, government/military	installations, manufacturers, hospitals or nursing homes, office buildings, and other fa- cilities.

- Delineation. Once a State’s Drink- ing Water Source Assessment and Pro- tection Program is approved,  the States  will  begin  delineating  their local assessment areas. Delineation is the first step in the assessment process in which the boundaries of ground water protection areas are identified.

- Other sensitive ground water areas. States may also identify other areas in the State in addition to ground water protection areas that are critical to protecting underground sources of drinking water from contamination. These other sensitive ground water areas may include areas such as areas

#### Environmental Protection Agency	§ 144.87

overlying sole-source aquifers; highly productive aquifers supplying private wells; continuous and highly produc- tive aquifers at points distant from public water supply wells; areas where water supply aquifers are recharged; karst aquifers that discharge to surface reservoirs serving as public water sup- plies; vulnerable or sensitive hydrogeologic settings, such as glacial outwash deposits, eolian sands, and fractured volcanic rock; and areas of special concern selected based on a combination of factors, such as hydrogeologic sensitivity, depth to ground water, significance as a drink- ing water source, and prevailing land- use  practices.

##### § 144.87 How does the identification of ground water protection areas and other sensitive ground water areas affect me?

  - You are subject to these new re- quirements if you own or operate an existing motor vehicle well and you are located in a ground water protection area or an other sensitive ground water area. If your State  or  EPA  Region  fails to identify these areas within the spec- ified time frames these requirements apply to all existing motor vehicle waste disposal wells within your State.

  - Ground water protection areas. (1) For the purpose of this subpart, States are required to  complete  all  local source water assessments for ground water protection areas by January 1, 2004. Once a local assessment for a ground water protection area is com- plete every existing motor  vehicle waste disposal well owner in that ground water protection area has one year to close the well or receive a per- mit. If  a  State  fails  to  complete  all local assessments for ground water pro- tection areas by January 1, 2004, the following may occur:

- The new requirements in this sub- part will apply to all existing motor vehicle waste disposal wells in  the State and owners and operators of motor vehicle waste disposal wells lo- cated outside of completed assessments for ground water protection areas must close their well or receive a permit by January 1, 2005.

- EPA may grant a State an exten- sion for up to one year from the Janu-

ary 1, 2004 deadline if the State is mak- ing reasonable  progress  in  completing the source  water  assessments  for ground water protection areas. States must apply for the extension by June 1, 2003. If a State fails to complete the as- sessments for the  remaining  ground water protection areas by the extended date  the  rule  requirements   will   apply to  all  motor  vehicle  waste   disposal wells in the State and owners and oper- ators of motor vehicle waste  disposal wells located outside of ground water protection areas with completed as- sessments must close their well or re- ceive a permit by January 1, 2006.

(2) The UIC Program Director may extend the compliance deadline for spe- cific motor vehicle waste disposal wells for up to one year if the most efficient compliance option for the well is con- nection to a sanitary sewer or installa- tion of new treatment technology.

  - Other sensitive ground water areas. States may also delineate other sen- sitive ground water areas by January 1, 2004. Existing motor vehicle waste dis- posal well owners and operators within other sensitive ground water areas have until January 1, 2007 to receive a permit or close the well. If a State  or EPA Region fails to identify these ad- ditional sensitive ground water areas by January 1, 2004, the new require- ments of this rule will  apply  to  all motor vehicle waste disposal wells in the State effective January 1, 2007 un- less they are subject to a different compliance date pursuant to paragraph

(b) of this section. Again, EPA may ex- tend the January 1, 2004 deadline for up to one year for States  to  delineate other sensitive ground water areas if the  State  is  making  reasonable progress in identifying the sensitive areas. States must apply for this exten- sion by June 1, 2003. If a State has been granted an extension, existing motor vehicle waste disposal well owners and operators within the sensitive ground water areas have until January 1, 2008 to close the well or receive a permit, unless they are subject to a different compliance date pursuant to paragraph

- of this section. If a State has been granted an extension and fails to delin- eate sensitive areas by the extended date, the rule requirements will apply to  all  motor  vehicle  waste  disposal

#### § 144.88

wells in the State and owners and oper- ators have until January  1,  2008  to close the well or receive a permit, un- less they are subject to a different compliance date pursuant to paragraph

  - of this section.

    - How to find out if your well is in a ground water protection area or sensitive ground water area. States are required to make their local source water as- sessments widely available to the pub- lic through a variety of methods after the assessments are complete. You can find out if your Class V well is in a ground water protection area by con- tacting the State agency responsible for the State Drinking Water Source Assessment and Protection Program in your area. You may call the Safe Drinking Water Hotline at 1–800–426– 4791 to find out who to call in your State for this information. The State office responsible for implementing the Drinking Water Source Assessment and Protection Program makes the final and official determination of bound- aries for ground water protection areas. Because States that choose to delineate other sensitive ground water areas are also required to make the in- formation on these areas accessible to the public, they may do so in a manner similar to the process used by the States in publicizing the EPA approved Drinking Water Source Assessment and Protection Program. You can find out if your Class V well is in an other sen- sitive ground water area by contacting the State or Federal agency respon- sible for the Underground Injection Control Program. You may call the Safe Drinking Water Hotline at 1–800– 426–4791 to find out who to call for in- formation.

    - Changes in the status of the EPA approved state drinking water source as- sessment and protection program. After January 1, 2004 your State may assess a ground water protection area for ground water supplying a new commu- nity water system or a new non-tran- sient non-community  water  system that includes your Class  V  injection well. Also, your State may officially re-delineate the boundaries of a pre- viously delineated ground water pro- tection area to include additional areas that includes your motor vehicle waste disposal well. This would make the ad-

#### 40 CFR Ch. I (7–1–17 Edition)

ditional regulations apply to  you  if your motor vehicle waste disposal well is in such an area. The additional regu- lations start applying to you one year after the State completes the local as- sessment for the ground water protec- tion area for the new drinking water system or the new re-delineated area. The UIC Program Director responsible for your area may extend this deadline for up to one year if the most efficient compliance option for the well is con- nection to a sanitary sewer or installa- tion of new treatment technology.

    - What happens if my state doesn’t designate other sensitive ground water areas? If your State or EPA Region elects not to delineate the additional sensitive ground water areas, the addi- tional regulations apply to you regard- less of the location of your well by Jan- uary 1, 2007, or January 2008 if an ex- tension has been granted as explained in paragraph (c) of this section, except for wells in ground water protection areas which are subject to different compliance deadlines explained in paragraph (b) of this section.

    - [Reserved]

    - Application of requirements outside of ground water protection areas and sen- sitive ground water areas. EPA expects and strongly encourages States to use existing authorities in the UIC  pro- gram to take whatever measures are needed to ensure Class V wells are not endangering USDWs in any other areas outside of delineated ground water pro- tection areas and  sensitive  ground water areas. Such measures could in- clude, if believed to be necessary by a UIC Program Director, applying the additional requirements below to other areas and/or other types of Class V wells. Therefore, the  Director  may apply the  additional requirements  to you, even if you are not located in the areas listed in paragraph (a) of this sec- tion.

##### § 144.88   What  are  the  additional  re- quirements?

The additional requirements are specified in the following tables:

#### Environmental Protection Agency	§ 144.88

      - TABLE 1—ADDITIONAL REQUIREMENTS FOR LARGE-CAPACITY CESSPOOLS STATEWIDE

[See § 144.85 to determine if these additional requirements apply to you]

| Well Status | Requirement | Deadline |
| --- | --- | --- |
| If your cesspool is. . . | Then you. . . | By. . . |
| Existing (operational or under con- struction by April 5, 2000). New or converted (construction not started before April 5, 2000). | (i) Must close the well ............................. (ii) Must notify the UIC Program Director (both Primacy States and Direct Im- plementation States) of your intent to close the well.. Note: This information is requested on national form ‘‘Preclosure Notification for Closure of Injection Wells,’’. Are prohibited .......................................... | April 5, 2005. At least 30 days prior to closure. April 5, 2000. |

      - TABLE 2—ADDITIONAL REQUIREMENTS FOR MOTOR VEHICLE WASTE DISPOSAL WELLS

[See § 144.85 to determine if these additional requirements apply to you]

| Well status | Requirement | Deadline |
| --- | --- | --- |
| If your motor vehicle waste disposal well is | Then. . . | By. . . |
|  | (i) If your well is in a ground water pro- tection area, you must close the well or obtain a permit. | Within 1 year of the completion of your local source water assessment; your UIC Program Director may extend the closure deadline, but not the permit application deadline, for up to one year if the most efficient compliance option is connection to a sanitary sewer or installation of new treatment technology. |
|  | (ii) If your well is in an other sensitive ground water area, you must close the well or obtain a permit. | By January 1, 2007; your UIC Program Director may extend the closure dead- line, but not the permit application deadline, for up to one year if the most efficient compliance option is connection to a sanitary sewer or in- stallation of new treatment technology. |
|  | (iii) If you plan to seek a waiver from the ban and apply for a permit, you must meet MCLs at the point of injection while your permit application is under review, if you choose to keep oper- ating your well. | The date you submit your permit appli- cation. |
|  | (iv) If you receive a permit, you must comply with all permit conditions, if you choose to keep operating your well, including requirements to meet MCLs and other health based stand- ards at the point of injection, follow best management practices, and mon- itor your injectate and sludge quality. | The date(s) specified in your permit. |
|  | (v) If your well is in a State which has not completed all their local assess- ments by January 1, 2004 or by the extended date if your State has ob- tained an extension as described in 144.87, and you are outside an area with a completed assessment you must close the well or obtain a permit. | January 1, 2005 unless your State ob- tains an extension as described in 144.87 (b) in which case your dead- line is January 1, 2006; your UIC Pro- gram Director may extend the closure deadline, but not the permit applica- tion deadline, for up to one year if the most efficient compliance option is connection to a sanitary sewer or in- stallation of new treatment technology. |

(1)  Existing  (operational  or  under  con- struction by April 5, 2000).

#### § 144.89

40 CFR Ch. I (7–1–17 Edition)

(b) TABLE 2—ADDITIONAL REQUIREMENTS FOR MOTOR VEHICLE WASTE DISPOSAL WELLS—

Continued

[See § 144.85 to determine if these additional requirements apply to you]

| Well status | Requirement | Deadline |
| --- | --- | --- |
| If your motor vehicle waste disposal well is | Then. . . | By. . . |
|  | (vi) If your well is in a State that has not delineated other sensitive ground water areas by January 1, 2004 and you are outside of an area with a completed assessment you must close the well or obtain a permit regardless of your location. | January 1, 2007 unless your State ob- tains an extension as described in 144.87(c) in which case your deadline is January 2008. |
|  | (vii) If you plan to close your well, you must notify the UIC Program Director of your intent to close the well (this in- cludes closing your well prior to con- version). Note: This information is requested on national form ‘‘Preclosure Notification for Closure of Injection Wells’’.. | At least 30 days prior to closure. |
| (2) New or converted (construction not started before April 5, 2000). | Are prohibited .......................................... | April 5, 2000. |

[64 FR 68566, Dec. 7, 1999; 64 FR 70316, Dec. 16, 1999]

##### § 144.89   How do I close my Class V in- jection well?

The following describes the require- ments for closing your Class V injec- tion well.

- Closure. (1) Prior to closing  a Class  V  large-capacity  cesspool   or motor vehicle waste disposal well, you must plug or otherwise  close  the  well in a manner that complies with the prohibition of fluid movement  standard in § 144.12 and summarized in § 144.82(a). If the UIC Program  Director  in  your State or EPA Region has  any  addi- tional or more specific closure  stand- ards, you have to meet those standards too. You also  must  dispose  or  other- wise manage any soil, gravel, sludge, liquids,  or  other  materials  removed from or adjacent to your well in ac- cordance with all applicable Federal, State, and local regulations and re- quirements, as in § 144.82(b).

(2) Closure does not mean that you need to cease operations at your facil- ity, only that you need to close your well. A number of alternatives are available for disposing of waste fluids. Examples of alternatives that may be available to motor vehicle stations in- clude: recycling and reusing waste- water as much as possible; collecting

and recycling petroleum-based fluids, coolants, and battery acids drained from vehicles; washing parts in a self- contained, recirculating solvent sink, with spent solvents  being  recovered and replaced by the supplier; using absorbents to clean up minor leaks and spills, and placing the  used  materials in approved waste containers and dis- posing of them properly; using a wet vacuum or mop to pick up accumulated rain or snow melt, and if allowed, con- necting floor drains to a municipal sewer system or holding tank, and if allowed, disposing of the holding tank contents through a publicly owned treatment works. You should check with the publicly owned  treatment works you might use to see if they would accept your wastes. Alternatives that may be available to owners and operators of a large-capacity cesspool include: conversion to a septic system; connection to sewer; and  installation of an on-site treatment unit.

- Conversions. In limited cases, the UIC Director may authorize the con- version (reclassification) of a motor ve- hicle waste disposal well to another type of Class V well. Motor vehicle wells may only be converted if: all motor vehicle fluids are segregated by

#### Environmental Protection Agency	§ 145.1

physical barriers and are  not  allowed to enter the well; and, injection  of motor vehicle waste is unlikely  based on a facility’s compliance history and records showing proper waste disposal. The use of a semi-permanent plug  as the means to segregate waste is not sufficient to convert a motor vehicle waste disposal  well to  another type of Class V well.

[64 FR 68566, Dec. 7,  1999; 65  FR 5024, Feb. 2,

2000]

# PART 145—STATE UIC PROGRAM REQUIREMENTS

##### Subpart A—General Program Requirements

Sec.

  - Purpose and scope.

  - Definitions.

##### Subpart B—Requirements for State Programs

  - Requirements for permitting.

  - Requirements for compliance evalua- tion programs.

  - Requirements   for   enforcement   au- thority.

  - Sharing of information.

##### Subpart C—State Program Submissions

  - General requirements for program ap- provals.

  - Elements of a program submission.

  - Program description.

  - Attorney General’s statement.

  - Memorandum of Agreement with the Regional Administrator.

##### Subpart D—Program Approval, Revision and Withdrawal

  - Approval process.

  - Procedures  for  revision  of  State  pro- grams.

  - Criteria for withdrawal of State pro- grams.

  - Procedures   for   withdrawal   of   State programs.

##### Subpart E—Indian Tribes

145.52    Requirements for Tribal eligibility.

145.56  Request by an Indian Tribe for a de- termination of eligibility.

145.58    Procedure   for   processing   an   Indian Tribe’s    application.

AUTHORITY: 42 U.S.C. 300f et seq.

SOURCE:  48  FR  14202,  Apr.  1,  1983,  unless

otherwise noted.

# Subpart A—General Program Requirements

##### § 145.1   Purpose and scope.

- This part specifies the procedures EPA will follow in approving, revising, and withdrawing State programs under section 1422 (underground injection control—UIC) of SDWA, and includes the elements which must be part of submissions to EPA for program ap- proval and the substantive provisions which must be present in State pro- grams for them to be approved.

- State submissions for program ap- proval must be made  in  accordance with the procedures set out in subpart

C. This includes developing and sub- mitting to EPA a  program  description (§ 145.23), an Attorney General’s State- ment (§ 145.24), and a Memorandum of Agreement with the Regional Adminis- trator (§ 145.25).

- The substantive provisions which must be included in State programs to obtain approval include requirements for permitting, compliance evaluation, enforcement, public participation, and sharing of information. The require- ments are found in subpart B. Many of the requirements  for  State  programs are made applicable to States by cross- referencing other EPA regulations. In particular, many of the provisions of parts 144 and 124 are made applicable to States  by  the  references  contained  in

§ 145.11.

- Upon submission of a complete program, EPA will conduct a public hearing, if interest is shown, and deter- mine whether to approve or disapprove the program taking into consideration the requirements of this part, the Safe Drinking Water Act and any comments received.

- Upon approval of a State program, the Administrator shall suspend the issuance of Federal permits for those activities subject to the approved State program.

- Any State program approved by the Administrator shall at all times be conducted in accordance with the re- quirements of this part.

- Nothing in this part precludes a State from:

  - Adopting or enforcing require- ments   which   are   more   stringent   or

§ 145.2

more   extensive   than   those   required under this part;

  - Operating a program with a great- er scope of coverage than that required under this part. Where an approved State program has a greater scope of coverage than required by Federal law the additional coverage is not part of the federally approved program.

- Section 1451 of the SDWA author- izes the Administrator to delegate pri- mary   enforcement   responsibility    for the Underground Injection Control Program to eligible Indian Tribes. An Indian Tribe must establish its  eligi- bility to be  treated  as  a  State  before  it is eligible to apply for Underground In- jection Control grants and primary en- forcement responsibility. All require- ments of parts 124, 144, 145, and 146 that apply to States with UIC primary en- forcement responsibility also apply to Indian Tribes except where specifically noted.

- States seeking primary enforce- ment responsibility for Class VI wells must submit a primacy application in accordance with subpart C of this part and meet all requirements of this part. States may apply for primary enforce- ment responsibility for Class VI wells independently of other injection well classes.

[48  FR  14202,  Apr.  1,  1983,  as  amended  at  53

FR 37412, Sept. 26, 1988; 59 FR 64345, Dec. 14,

1994; 75 FR 77290, Dec. 10, 2010]

##### § 145.2   Definitions.

The definitions of part 144  apply  to all subparts of this part.

# Subpart B—Requirements for State Programs

##### § 145.11   Requirements for permitting.

- All State programs under  this part must have legal authority to im- plement each of the following provi- sions and must be administered in con- formance with each; except that States are not precluded from omitting or modifying any provisions to impose more stringent requirements.

  - Section 144.5(b)–(Confidential in- formation);

  - Section 144.6—(Classification of injection  wells);

40 CFR Ch. I (7–1–17 Edition)

  - Section 144.7—(Identification of underground sources of drinking water and  exempted  aquifers);

  - Section 144.8—(Noncompliance re- porting);

  - Section 144.11—(Prohibition of un- authorized  injection);

  - Section 144.12—(Prohibition of movement of fluids into underground sources  of  drinking  water);

  - Section 144.13—(Elimination of Class IV wells);

  - Section 144.14—(Requirements for wells managing hazardous waste);

  - Sections  144.21–144.26—(Authoriza- tion by rule);

  - Section 144.31—(Application for a permit);

  - Section 144.32—(Signatories);

  - Section 144.33—(Area Permits);

  - Section 144.34—(Emergency per- mits);

  - Section 144.35—(Effect of permit);

  - Section 144.36—(Duration);

  - Section  144.38—(Permit  transfer);

  - Section 144.39—(Permit modifica- tion);

  - Section  144.40—(Permit  termi- nation);

  - Section 144.51—(Applicable per- mit  conditions);

  - Section 144.52—(Establishing per- mit  conditions);

  - Section  144.53(a)—(Schedule  of compliance);

  - Section  144.54—(Monitoring  re- quirements);

  - Section  144.55—(Corrective  Ac- tion);

  - Section 124.3(a)—(Application for a permit);

(25) Section 124.5 (a), (c), (d), and (f)— (Modification of permits);

(26) Section 124.6 (a), (c), (d), and (e)— (Draft   Permit);

(27) Section 124.8—(Fact sheets);

(28) Section 124.10 (a)(1)(ii), (a)(1)(iii),

(a)(1)(v),  (b),  (c),  (d),  and  (e)—(Public notice);

- Section 124.11—(Public comments and requests for hearings);

- Section 124.12(a)—(Public hear- ings);

- Section  124.17  (a)  and  (c)—(Re- sponse  to  comments);

- Section 144.88—(What are the ad- ditional requirements?); and

#### Environmental Protection Agency	§ 145.13

- For states that wish to receive electronic documents, 40 CFR part 3— (Electronic  reporting).

(b)(1) States need not implement pro- visions identical to the provisions  list- ed in paragraphs (a)(1) through (a)(32) of this section. Implemented provisions must, however, establish requirements at least as stringent as the cor- responding listed provisions. While States may impose more stringent re- quirements, they may not make one re- quirement more lenient as a tradeoff for making another requirement more stringent; for example, by  requiring that public hearings be held prior to issuing any permit while reducing the amount of advance notice of such a hearing.

(2) State programs may, if they have adequate  legal  authority,  implement any of the provisions of parts 144 and

  - See, for example § 144.37(d) (con- tinuation of permits) and § 124.4 (con- solidation  of  permit  processing).

[48  FR  14202,  Apr.  1,  1983,  as  amended  at  64

FR  78572,  Dec.  7,  1999;  70  FR  59888,  Oct.  13,

2005]

##### § 145.12   Requirements  for  compliance evaluation programs.

    - State programs shall have proce- dures for receipt, evaluation, retention and investigation for possible enforce- ment of all notices and reports re- quired of permittees and other regu- lated persons (and for investigation for possible enforcement of failure to sub- mit these notices and reports).

    - State programs shall have inspec- tion and surveillance procedures to de- termine, independent of information supplied by regulated persons, compli- ance or noncompliance with applicable program requirements. The State shall maintain:

      - A program which is capable of making comprehensive surveys of all facilities and activities subject to the State Director’s authority to identify persons subject to regulation who have failed to comply with permit applica- tion or other program requirements. Any compilation, index, or  inventory of such facilities and activities shall be made available to the Regional Admin- istrator upon request;

      - A program for periodic inspections of  the  facilities  and  activities  subject

to  regulation.  These  inspections  shall be conducted in a manner designed to:

- Determine compliance or non- compliance with issued permit condi- tions and other program requirements;

- Verify the accuracy of informa- tion submitted by permittees and other regulated persons in reporting forms and other forms supplying monitoring data; and

- Verify the adequacy of sampling, monitoring, and other methods used by permittees and other regulated persons to develop that information;

      - A program for investigating infor- mation  obtained  regarding  violations of applicable program and permit re- quirements; and

      - Procedures for receiving and en- suring proper consideration of informa- tion submitted by the public about vio- lations. Public effort in reporting vio- lations shall be encouraged and  the State Director shall make available in- formation on reporting procedures.

    - The State Director and State offi- cers engaged in compliance evaluation shall have authority to  enter  any  site or premises subject to regulation or in which records relevant to program op- eration are kept in order to copy any records, inspect, monitor or otherwise investigate compliance with permit conditions and other program require- ments. States whose law requires a search warrant before entry conform with this requirement.

    - Investigatory inspections shall be conducted, samples shall be taken and other information shall be gathered in a manner [e.g., using proper ‘‘chain of custody’’ procedures] that will produce evidence admissible in an enforcement proceeding or in court.

##### § 145.13   Requirements for enforcement authority.

- Any State agency administering a program shall have available the fol- lowing remedies for violations of State program requirements:

  - To restrain immediately and ef- fectively any person by order or by suit in State court from engaging in any unauthorized activity which is endan- gering or causing damage to public health or environment;

NOTE: This paragraph requires that States have  a  mechanism  (e.g.,  an  administrative

#### § 145.13

cease and desist order or the ability to seek a temporary restraining order) to stop any unauthorized activity endangering public health or the environment.

  - To sue in courts of competent ju- risdiction to enjoin any threatened or continuing violation of any program requirement, including permit condi- tions, without the necessity of a prior revocation of the permit;

  - To assess or sue to recover in court civil penalties and to seek crimi- nal remedies, including fines, as fol- lows:

- For all wells except Class II wells, civil penalties shall be recoverable for any program violation in at least the amount of $2,500 per day. For Class II wells, civil penalties shall be recover- able for any program violation in at least the amount of $1,000 per day.

- Criminal fines shall be recover- able in at least the amount of $5,000 per day against any person who willfully violates any program requirement, or for Class II wells, pipeline (production) severance shall be imposable against any person who willfully violates any program requirement.

NOTE: In many States the State Director will be represented in State courts by the State Attorney General or other appropriate legal officer. Although the State Director need not appear in court actions he or she should have power to request that any of the above actions be brought.

(b)(1) The maximum civil penalty or criminal fine (as provided in paragraph (a)(3) of this section) shall be assess- able for each instance of violation and, if the violation is continuous, shall be assessable up to the maximum amount for each day of violation.

(2) The burden of proof and degree of knowledge or intent required under State law for establishing violations under paragraph (a)(3) of this section, shall be no greater than the burden of proof or degree of knowledge or intent EPA must provide when it brings an action under the Safe Drinking Water Act.

NOTE: For example, this requirement is not met if State law includes mental state as an element of proof for civil violations.

- A civil penalty assessed,  sought, or agreed upon by the State Director under paragraph (a)(3) of this section shall be appropriate to the violation.

#### 40 CFR Ch. I (7–1–17 Edition)

NOTE: To the extent that State judgments or settlements provide penalties in amounts which EPA believes to be substantially inad- equate in comparison to the amounts which EPA would require under similar facts, EPA, when authorized by the applicable statute, may commence separate actions for pen- alties.

In addition to the requirements of this paragraph, the State may have other en- forcement remedies. The following enforce- ment options, while not mandatory, are highly recommended:

Procedures for assessment by the State of the costs of investigations, inspections, or monitoring surveys which lead to the estab- lishment of violations;

Procedures which enable the State to as- sess or to sue any persons responsible for un- authorized  activities  for  any  expenses  in- curred by the State in removing, correcting, or  terminating  any  adverse  effects  upon human health and the environment resulting from the unauthorized activity, or both; and Procedures for the administrative assess-

ment of penalties by the Director.

- Any State administering a pro- gram shall provide for public participa- tion in the State enforcement process by providing either:

  - Authority which allows interven- tion as of right in any civil or adminis- trative action to obtain remedies speci- fied in paragraph (a) (1), (2) or (3) of this section by any citizen having an interest which is or may be adversely affected; or

  - Assurance that the State agency or enforcement authority will:

    - Investigate and provide written responses to all citizen complaints sub- mitted pursuant to the procedures specified in § 145.12(b)(4);

    - Not oppose intervention by any citizen when permissive intervention may be authorized by statute, rule, or regulation; and

    - Publish notice of and provide at least 30 days for public comment on any proposed settlement of a State en- forcement  action.

- To the extent that an Indian Tribe does not assert or is precluded from asserting criminal enforcement authority the Administrator will as- sume primary enforcement responsi- bility for criminal violations. The Memorandum of Agreement in § 145.25 shall reflect a system where the Tribal agency will refer such violations to the

#### Environmental Protection Agency	§ 145.21

Administrator in an appropriate and timely manner.

(Clean Water Act (33 U.S.C. 1251 et seq.), Safe Drinking Water Act (42 U.S.C. 300f et seq.), Clean Air Act (42 U.S.C. 7401 et seq.), Re- source  Conservation  and  Recovery  Act  (42

    - 6901 et seq.))

[48  FR  14202,  Apr.  1,  1983,  as  amended  at  48

FR 39621,  Sept. 1,  1983;  53  FR 37412,  Sept. 26,

1988]

##### § 145.14   Sharing of information.

      - Any information obtained or used in the administration of a State pro- gram shall be available to EPA upon request without restriction. If the in- formation has been submitted to the State under a claim of confidentiality, the State must submit that claim to EPA when providing information under this section. Any information obtained from a State and subject to a claim of confidentiality will be treated in ac- cordance with the regulations in 40 CFR part 2. If EPA obtains from a State information that is  not  claimed to be confidential, EPA may make that information available to the public without further notice.

      - EPA shall furnish to States with approved programs the information in its files not submitted under a claim of confidentiality which the State  needs to implement its approved program. EPA shall furnish to States with ap- proved programs information sub- mitted to EPA under a claim of con- fidentiality, which the State needs to implement its approved program, sub- ject to the conditions in 40 CFR part 2.

# Subpart C—State Program Submissions

##### § 145.21   General requirements for pro- gram approvals.

- States shall submit to the Admin- istrator a proposed State UIC program complying with § 145.22 of this part within 270 days of the date of promul- gation of the UIC regulations on  June 24, 1980. The administrator may,  for good cause, extend the date for submis- sion of a proposed State UIC  program for up to an additional 270 days.

- States shall submit to the Admin- istrator 6 months after the date of pro- mulgation of the UIC regulations a re- port  describing  the  State’s  progress  in

developing a UIC program. If the Ad- ministrator extends the time for sub- mission of a UIC program an additional

270 days, pursuant to § 145.21(a), the State shall submit a second report six months after the first report is due. The Administrator may prescribe the manner and form of the report.

- The requirements of § 145.21 (a) and  (b)  shall  not  apply  to  Indian Tribes.

- EPA will establish a UIC program in any State which does not comply with paragraph (a) of this section. EPA will continue to operate a UIC program in such a State until the State receives approval of a UIC program in accord- ance with the requirements  of  this part.

NOTE: States which are authorized to ad- minister the NPDES permit program under section 402 of CWA are encouraged to rely on existing statutory authority, to the extent possible, in developing a State UIC program. Section 402(b)(1)(D) of CWA requires that NPDES States have the authority ‘‘to issue permits which control the disposal of pollut- ants into  wells.’’ In many  instances, there- fore, NPDES States will have existing statu- tory authority to regulate well disposal which satisfies the requirements of the UIC program. Note, however, that CWA excludes certain types of well injections from the def- inition of ‘‘pollutant.’’ If the State’s statu- tory authority contains  a  similar  exclusion it may need to be modified to qualify for UIC program approval.

- If a State can demonstrate to EPA’s satisfaction that there are no underground  injections  within  the State for one or more classes of injec- tion wells (other than Class IV wells) subject to SDWA and that such injec- tions cannot legally occur in the State until the State has developed an ap- proved program for those classes of in- jections, the State need not submit a program to regulate  those  injections and a partial program may be ap- proved. The demonstration of legal pro- hibition shall be made by either explic- itly banning new injections of the class not covered by the State program or providing a  certification  from  the State Attorney General that such new injections cannot  legally  occur  until the State has developed an approved program for that class. The State shall submit a program to regulate both those  classes  of  injections  for  which  a

§ 145.22

demonstration is not made and class IV wells.

- When a State UIC program is fully approved by EPA to regulate all classes of injections, the State assumes  pri- mary enforcement authority under sec- tion 1422(b)(3) of SDWA. EPA retains primary enforcement responsibility whenever the State program is dis- approved in whole or in part. States which have partially approved pro- grams have authority to enforce any violation of the approved portion  of their program.  EPA retains   authority to enforce violations of State under- ground injection control programs, ex- cept that, when a State has a fully ap- proved program, EPA will not take en- forcement actions without providing prior notice to the State and otherwise complying with section 1423 of SDWA.

- A State can assume primary en- forcement responsibility for the UIC program, notwithstanding § 145.21(3), when the State program is unable to regulate activities on Indian lands within the State. EPA will administer the program on Indian  lands  if  the State does not seek this authority.

- To establish a Federal  UIC  Class VI  program  in  States  not  seeking  full UIC  primary  enforcement  responsi- bility approval, pursuant to the SDWA section 1422(c), States shall, by Sep- tember 6, 2011, submit to the Adminis- trator a new or revised State UIC pro- gram complying with §§ 145.22 or 145.32 of this part. Beginning on September 6, 2011 the requirements of subpart H of part 146 of this chapter will be applica- ble and enforceable by  EPA  in  each State that  has  not  received  approval  of a new Class VI program application under section 1422 of the Safe Drinking Water Act or a revision of its UIC pro- gram under section 1422 of the Safe Drinking Water Act to incorporate sub- part H of part 146. Following Sep- tember 6, 2011, EPA  will  publish  a  list of the States where subpart H of part 146 has become applicable.

[48  FR  14202,  Apr.  1,  1983,  as  amended  at  53

FR 37412, Sept. 26, 1988; 75 FR 77290, Dec. 10,

2010]

##### § 145.22   Elements  of  a  program  sub- mission.

- Any State that seeks to admin- ister a program under this part shall

#### 40 CFR Ch. I (7–1–17 Edition)

submit to the Administrator at least three copies of a program submission. For Class VI programs, the entire sub- mission can be sent electronically. The submission shall contain the following:

- A letter from the Governor of the State requesting program approval;

- A  complete  program  description, as required by § 145.23, describing how the State intends to carry out its re- sponsibilities  under  this  part;

- An  Attorney  General’s  statement as required by § 145.24;

- A Memorandum of  Agreement with the Regional Administrator as re- quired by § 145.25;

- Copies of all applicable State stat- utes and regulations, including those governing State administrative proce- dures;

- The showing required by § 145.31(b) of the State’s public participation ac- tivities prior to program submission.

- Within 30 days of receipt by EPA of a State program submission, EPA will notify  the  State whether  its  sub- mission is complete. If EPA finds that a State’s submission is complete, the statutory review period (i.e., the period of time allotted for formal EPA review of a proposed State program under the Safe Drinking Water Act) shall be deemed to have begun on the date of receipt of the State’s submission. If EPA finds that a State’s submission is incomplete, the statutory review pe- riod shall not begin until all the nec- essary information is received by EPA.

- If the State’s submission is mate- rially changed during the statutory re- view period, the statutory review pe- riod shall begin again upon receipt  of the revised submission.

- The State and EPA may extend the statutory review period by agree- ment.

[48  FR  14202,  Apr.  1,  1983,  as  amended  at  75

FR 77290, Dec. 10, 2010]

##### § 145.23   Program description.

Any State that seeks to administer a program under this part shall submit a description of the program it proposes to administer in lieu of the Federal program under State law or under an interstate compact. For Class VI pro- grams, the entire submission can be sent electronically. The program de- scription shall include:

#### Environmental Protection Agency	§ 145.23

  - A description in narrative form of the scope, structure, coverage and processes of the State program.

  - A description (including organiza- tion charts) of the organization and structure of the State agency or agen- cies which will have responsibility for administering the program, including the information listed below. If more than one agency is responsible for ad- ministration of a program, each agency must have statewide jurisdiction over a class of activities. The responsibilities of each agency must be delineated, their procedures for coordination set forth, and an agency may be designated as a ‘‘lead agency’’ to facilitate com- munications between EPA and the State agencies having program respon- sibility. When the State proposes to ad- minister a program of greater scope of coverage than is required by Federal law, the information provided under this paragraph shall indicate the re- sources dedicated to administering the Federally required portion of the pro- gram.

    - A description of the State agency staff who will carry out the State pro- gram, including the number, occupa- tions, and general duties of the em- ployees. The State need not submit complete job descriptions for every em- ployee carrying out the State program.

    - An itemization of the estimated costs of establishing and administering the program for the first two years after approval, including cost of the personnel listed in paragraph (b)(1) of this section, cost of administrative support, and cost of technical support.

    - An itemization of the sources and amounts of funding, including an esti- mate of Federal grant money, available to the State Director for the first two years after approval to meet the costs listed in paragraph (b)(2) of this sec- tion, identifying any restrictions or limitations upon this funding.

  - A description of applicable State procedures, including permitting pro- cedures and any State  administrative or judicial review procedures.

  - Copies of the permit form(s), ap- plication form(s),  reporting  form(s), and manifest format the  State  intends to employ in its program.  Forms  used by States need not be identical to the forms used by EPA but should require

the same basic information. The State need not provide copies of uniform na- tional forms it intends to use but should note its intention to use such forms. For Class VI programs, submit copies of the current forms in use by the State, if any.

  - A complete description of the State’s compliance tracking and en- forcement program.

  - A State UIC program description shall also include:

    - A schedule for issuing permits within five years after program ap- proval to all injection wells within the State which are required to have per- mits  under  this  part  and  40  CFR  part

144. For Class VI programs, a schedule for issuing permits within two years after program approval;

    - The priorities (according to cri- teria set forth in § 146.9 of this chapter) for issuing permits, including the num- ber of permits  in each  class of injection well which will be issued each year dur- ing the first five years of program oper- ation.  For  Class  VI  programs,  include the  priorities  for  issuing  permits  and the number of permits which will  be issued during the first two years of pro- gram  operation;

    - A description of how the Director will implement the mechanical integ- rity testing requirements of § 146.8 of this chapter, or, for Class VI wells, the mechanical integrity testing require- ments of § 146.89 of this chapter, includ- ing the frequency of testing  that  will be required and the number of tests that will be reviewed by the Director each year;

    - A description of the procedure whereby the Director will notify own- ers or operators of injection wells  of the requirement  that  they  apply  for and obtain a permit. The notification required by this paragraph shall re- quire applications to be filed as soon as possible, but not later than four years after program approval for all injection wells requiring a permit. For Class VI programs approved before December 10, 2011, a description of the procedure whereby the Director will notify own- ers or operators of any Class I wells previously permitted for the purpose of geologic sequestration or Class V ex- perimental technology wells no longer being  used  for  experimental  purposes

#### § 145.23

that will continue injection of carbon dioxide for the purpose of GS that they must apply for a Class VI permit pursu- ant to requirements at § 146.81(c) within one year of December 10, 2011. For Class VI programs approved following December 10, 2011, a description of the procedure whereby the Director will notify owners or operators of any Class I wells previously permitted for the purpose of geologic sequestration or Class V experimental technology wells no longer being used for experimental purposes that will continue injection of carbon dioxide for the purpose of GS or Class VI wells previously permitted by EPA that they must  apply  for  a  Class VI permit pursuant to requirements at

§ 146.81(c) within one year of Class VI program  approval;

    - A description of any rule under which the Director proposes to author- ize injections, including  the text  of the rule;

    - For any existing enhanced recov- ery and hydrocarbon storage  wells which the Director proposes to  author- ize by rule, a description of the proce- dure for reviewing the wells for compli- ance with applicable monitoring, re- porting, construction, and financial re- sponsibility requirements of §§ 144.51 and 144.52, and 40 CFR part 146;

    - A description of and schedule for the State’s program to establish and maintain a current inventory of injec- tion wells which must be permitted under State law;

    - Where the Director had designated underground sources of drinking water in accordance with § 144.7(a), a descrip- tion and identification of all such des- ignated sources in the State;

    - A description of aquifers, or parts thereof, which the Director has identi- fied under § 144.7(b) as exempted aquifers, and a summary of supporting data. For  Class  VI  programs  only, States must incorporate information related to any EPA approved exemp- tions expanding the areal extent of ex- isting aquifer exemptions for Class II enhanced oil recovery or enhanced gas recovery  wells  transitioning  to   Class VI injection for geologic sequestration pursuant to requirements at §§ 146.4(d) and 144.7(d), including a summary of supporting data and the specific loca- tion  of  the  aquifer  exemption  expan-

#### 40 CFR Ch. I (7–1–17 Edition)

sions. Other than expansions of the areal extent of Class II enhanced oil re- covery or enhanced gas recovery well aquifer exemptions for Class VI injec- tion, new aquifer exemptions shall not be issued for Class VI wells or injection activities;

    - A description of and schedule for the State’s program to ban Class IV wells prohibited under § 144.13; and

    - A description of and schedule for the State’s program to establish an in- ventory of Class V wells and to assess the need for a  program  to  regulate Class V wells.

    - For Class V programs only. A de- scription of and a schedule for the State’s plan to identify and delineate other sensitive ground water areas. States should consider geologic and hydrogeologic settings, ground water flow and occurrence, topographic and geographic features, depth to ground water, significance as a drinking water source, prevailing land use practices and any other existing information re- lating to the susceptibility of ground water to contamination from Class V injection wells when developing their plan. Within the schedule for the plan, States must commit to: completing all delineations of other sensitive ground water areas by no later than Jan. 1, 2004; making these delineation avail- able to the public; implementing the Class V regulations, effective April 5, 2000, in these delineated areas by no later than January 1, 2007. Alternately, if a State chooses not to identify other sensitive ground water areas, the re- quirements for motor vehicle waste disposal wells would apply statewide by January 1, 2007.

    - For Class VI programs, a descrip- tion of the procedure whereby the Di- rector must notify, in writing, any States, Tribes, and Territories of any permit applications for geologic se- questration of carbon dioxide wherein the area of review  crosses  State,  Trib- al,  or  Territory  boundaries,   resulting in the need for trans-boundary coordi- nation related to an injection oper- ation.

[48  FR  14202,  Apr.  1,  1983,  as  amended  at  64

FR  68572,  Dec.  7,  1999;  75  FR  77290,  Dec.  10,

2010]

#### Environmental Protection Agency	§ 145.25

##### § 145.24   Attorney General’s statement.

      - Any  State  that  seeks  to  admin- ister  a  program  under  this  part  shall submit  a  statement  from  the  State  At- torney   General   (or   the   attorney   for those    State    or    interstate    agencies which have independent legal counsel) that the laws of the State, or an inter- state   compact,   provide   adequate   au- thority  to  carry  out  the  program  de- scribed under § 145.23 and to meet the requirements  of  this  part.  This  state- ment shall include citations to the spe- cific    statutes,    administrative    regula- tions,  and,  where  appropriate,  judicial decisions  which  demonstrate  adequate authority.   State   statutes   and   regula- tions  cited  by  the  State  Attorney  Gen- eral or independent legal counsel shall be   in   the   form   of   lawfully   adopted State  statutes  and  regulations  at  the time  the  statement  is  signed  and  shall be  fully  effective  by  the  time  the  pro- gram is approved. To qualify as ‘‘inde- pendent   legal   counsel’’   the   attorney signing  the  statement  required  by  this section   must   have   full   authority   to independently	represent	the	State agency   in   court   on   all   matters   per- taining to the State program.

NOTE: EPA will supply States with an At- torney General’s statement format on re- quest.

      - When a State seeks authority over activities on Indian lands, the statement shall contain an appropriate analysis of the State’s authority.

##### § 145.25   Memorandum   of   Agreement with the Regional Administrator.

- Any State that seeks to admin- ister a program under this part shall submit a Memorandum of Agreement. The Memorandum of Agreement shall be executed by the State Director and the Regional Administrator and shall become effective when approved by the Administrator. In addition to meeting the requirements of paragraph (b) of this section, the Memorandum of Agreement may include other terms, conditions, or agreements consistent with this part and relevant to the ad- ministration and enforcement of the State’s regulatory program. The Ad- ministrator shall not approve any Memorandum of Agreement which con- tains provisions which restrict EPA’s statutory oversight responsibility.

- The Memorandum of Agreement shall include the following:

- Provisions for the prompt transfer from EPA to the State of pending per- mit applications and any other infor- mation relevant to program operation not already in the possession of the State Director (e.g., support files for permit issuance, compliance reports, etc.). When existing permits are trans- ferred from EPA to State for adminis- tration, the Memorandum of Agree- ment shall contain provisions speci- fying a procedure for transferring the administration of these permits. If a State lacks the authority to directly administer permits issued by the Fed- eral government, a procedure may be established to transfer responsibility for these permits.

NOTE: For example, EPA and the State and the permittee could agree that the State would issue a permit(s) identical to the out- standing Federal permit which would simul- taneously be terminated.

- Provisions specifying classes and categories of permit applications, draft permits, and proposed permits that the State will send to the Regional Admin- istrator for review, comment and, where applicable, objection.

- Provisions specifying the fre- quency and content of reports, docu- ments and other information which the State is required to submit to EPA. The State shall allow EPA to routinely review State records, reports, and files relevant to the administration and en- forcement of the approved program. State reports may be combined with grant reports where appropriate.

- Provisions on the State’s compli- ance monitoring and enforcement  pro- gram,  including:

- Provisions for coordination of compliance  monitoring  activities   by the State and by EPA. These may specify the basis on which the Regional Administrator will select facilities or activities within the State for EPA in- spection. The Regional Administrator will normally  notify  the  State  at  least 7 days before any such inspection; and

- Procedures to assure coordination of  enforcement  activities.

- When appropriate, provisions for joint processing of permits by  the State and EPA, for facilities or activi- ties  which  require  permits  from  both

#### § 145.31

EPA and the State under different pro- grams. See § 124.4.

- Provisions for modification of the Memorandum of Agreement in accord- ance with this part.

- The Memorandum of Agreement, the annual program and grant and the State/EPA Agreement should be con- sistent. If the State/EPA Agreement indicates that a change is needed in the Memorandum of Agreement, the Memorandum of Agreement may be amended through the procedures set forth in this part. The State/EPA Agreement may not override the Memorandum of Agreement.

NOTE: Detailed program priorities and spe- cific arrangements for EPA support of the State program will change and are therefore more appropriately negotiated in the con- text of annual agreements rather than in the MOA. However, it may still be appropriate to specify in the MOA the basis for such de- tailed agreements, e.g., a provision in the MOA specifying that EPA will select facili- ties in the State for inspection annually as part of the State/EPA agreement.

# Subpart D—Program Approval, Revision and Withdrawal

##### § 145.31   Approval process.

- Prior to submitting an applica- tion to the Administrator for approval of a State UIC program, the State shall issue public  notice  of  its  intent  to adopt a UIC program and to seek pro- gram approval from EPA. This public notice shall:

  - Be circulated in a manner cal- culated to attract the attention of in- terested persons. Circulation of the public notice shall include publication in enough of the largest newspapers in the State to attract Statewide atten- tion and mailing to persons on appro- priate State mailing lists and to any other persons whom the agency has reason to believe are interested;

  - Indicate when and where the State’s proposed program submission may be reviewed by the public;

  - Indicate the cost of obtaining a copy of the submission;

  - Provide for a comment period of not less than 30 days during which in- terested persons may comment on the proposed UIC program;

40 CFR Ch. I (7–1–17 Edition)

  - Schedule a public hearing on the State program for no less than 30 days after notice of the hearing is published;

  - Briefly outline the fundamental aspects of the State UIC program; and

  - Identify a person that an inter- ested member of the public may con- tact for further information.

- After complying with the require- ments of paragraph (a) of this section any State may submit a proposed UIC program under section 1422 of SDWA and § 145.22 of this part to EPA for ap- proval. Such a submission shall include a showing of compliance with para- graph (a) of this section; copies of all written comments received  by  the State; a transcript, recording or sum- mary of any public hearing which was held by the State; and a responsiveness summary which identifies the public participation activities conducted, de- scribes the matters presented to the public, summarizes significant com- ments received,  and  responds to these comments. A copy of the responsive- ness summary shall be sent to those who testified at the hearing, and others upon request.

- After determining that a State’s submission for UIC program approval is complete the Administrator shall issue public notice of the submission in the FEDERAL REGISTER and in accordance with paragraph (a)(1) of this section. Such notice shall:

  - Indicate that a public hearing will be held by EPA no earlier than 30 days after notice of the hearing. The notice may require persons wishing to present testimony to file a request with the Regional Administrator, who may can- cel the public hearing if sufficient pub- lic interest in a hearing is not ex- pressed;

  - Afford the public 30 days after the notice to comment on the State’s sub- mission; and

  - Note the availability of the State submission for inspection and copying by the public.

- The Administrator shall approve State programs which conform to the applicable requirements of this part.

- Within 90 days of the receipt of a complete  submission  (as  provided  in

#### Environmental Protection Agency	§ 145.33

§ 145.22) or material amendment there- to, the Administrator shall by rule ei- ther fully approve, disapprove, or ap- prove in part the State’s UIC program taking into account any comments submitted. The Administrator shall give notice of this rule in the FEDERAL REGISTER and in accordance with para- graph (a)(1) of this section. If the Ad- ministrator determines not to approve the State program or to approve it only in part, the notice shall include a concise statement of the reasons for this determination. A responsiveness summary shall be prepared by the Re- gional Office which identifies the pub- lic participation activities conducted, describes the matters presented to the public, summarizes significant com- ments received, and explains the Agen- cy’s response to these comments. The responsiveness summary shall be sent to those who testified at the public hearing, and to others upon request.

##### § 145.32   Procedures    for    revision    of State programs.

- Either EPA or the approved State may initiate program revision. Pro- gram revision may be necessary when the controlling Federal or State statu- tory or regulatory authority is modi- fied or supplemented. The state shall keep EPA fully informed of any pro- posed modifications to its basic statu- tory or regulatory authority, its forms, procedures, or priorities.

- Revision of a State program shall be accomplished as follows:

  - The State shall submit a modified program description, Attorney Gen- eral’s statement, Memorandum of Agreement, or such other documents as EPA determines to be necessary under the circumstances.

  - Whenever EPA determines  that the proposed program revision is sub- stantial, EPA shall issue public notice and provide  an  opportunity to  com- ment for a period of at least 30  days. The public notice shall be mailed to in- terested persons and shall be published in  the  FEDERAL  REGISTER   and   in enough of the largest newspapers in the State to provide  Statewide  coverage. The public notice shall summarize the proposed revisions and provide for the opportunity to request a public hear- ing.   Such   a   hearing   will   be   held   is

there if significant public interest based on requests received. All requests for expansions to the areal extent of Class II enhanced oil recovery or en- hanced gas recovery aquifer exemp- tions for Class VI wells must be treated as substantial program revisions.

  - The Administrator shall approve or disapprove program revisions based on the requirements of this part and of the Safe Drinking Water Act.

  - A program revision shall become effective upon the approval of the Ad- ministrator. Notice of approval of any substantial revision shall be published in the FEDERAL  REGISTER. Notice of ap- proval of non-substantial program revi- sions may be given by a letter from the Administrator to the State  Governor or his designee.

- States with approved programs shall notify EPA whenever they pro- pose to transfer all or part of any pro- gram from the approved State agency to any other State agency, and shall identify any new division of respon- sibilities among the agencies involved. The new agency is not authorized to administer the program until approval by the Administrator under paragraph

- of  this  section.   Organizational charts required under § 145.23(b) shall be  revised  and  resubmitted.

  - Whenever the Administrator has reason to believe that circumstances have changed with respect to a State program, he may request, and  the State shall provide, a supplemental At- torney General’s statement, program description, or such other documents or information as are necessary.

  - The State shall submit the infor- mation required under paragraph  (b)(1) of this section within 270 days of any amendment to this part or 40 CFR part 144, 146, or 124 which revises or  adds any requirement respecting an ap- proved  UIC  program.

[48  FR  14202,  Apr.  1,  1983,  as  amended  at  75

FR 77291, Dec. 10, 2010]

##### § 145.33   Criteria    for    withdrawal    of State programs.

- The Administrator may withdraw program approval when a State pro- gram no longer complies with the re- quirements of this part, and the State fails to take corrective action. Such circumstances include the following:

#### § 145.34

  - When the State’s legal authority no longer meets their requirements of this  part,  including:

    - Failure of the State to promulgate or enact new authorities when nec- essary; or

    - Action by a State legislature or court striking down or limiting State authorities.

  - When the operation of the State program fails to comply with the re- quirements of this part, including:

    - Failure to exercise control over activities required to be regulated under this part, including failure to issue permits;

    - Repeated issuance of permits which do not conform to the require- ments of this part; or

    - Failure to comply with the pub- lic participation requirements of this part.

  - When the State’s enforcement program fails to comply with the re- quirements of this part, including:

- Failure to act on violations of per- mits or other program requirements;

- Failure to seek adequate enforce- ment penalties or to collect adminis- trative fines when imposed; or

- Failure to inspect and monitor activities subject to regulation.

  - When the State program fails to comply with the terms of the Memo- randum of Agreement required under

§ 145.24.

##### § 145.34   Procedures for withdrawal of State programs.

- A State with a program approved under this part may voluntarily trans- fer program responsibilities required by Federal law to EPA by taking the following actions, or in such other manner as may be agreed upon with the Administrator.

  - The State shall give the Adminis- trator 180 days notice of the proposed transfer and shall submit a plan for the orderly transfer of all relevant  pro- gram information not in the possession of EPA (such as permits, permit files, compliance files, reports, permit appli- cations) which are necessary  for  EPA to administer the program.

  - Within 60 days of receiving the no- tice and transfer plan, the Adminis- trator shall evaluate the State’s trans- fer  plan  and  shall  identify  any  addi-

#### 40 CFR Ch. I (7–1–17 Edition)

tional information needed by the Fed- eral government for program adminis- tration and/or identify any other defi- ciencies in the plan.

  - At least 30 days before the trans- fer is to occur the Administrator shall publish notice of the transfer in the FEDERAL  REGISTER  and  in  enough   of the largest newspapers in the State to provide Statewide coverage, and shall mail notice to all permit holders, per- mit applicants, other regulated persons and other interested persons on appro- priate  EPA  and  State  mailing  lists.

- Approval of a State UIC program may be withdrawn and a Federal pro- gram established in its place when the Administrator determines, after hold- ing a public hearing, that the State program is not in compliance with the requirements of SDWA and this part.

  - Notice to State of public hearing. If the Administrator has cause to believe that a State is not administering or en- forcing its authorized program in com- pliance with the requirements  of SDWA and this part, he or she shall in- form the State by registered mail  of the specific areas of alleged noncompli- ance. If the State demonstrates to the Administrator within 30 days of such notification that the State  program  is in compliance, the Administrator shall take no further action toward with- drawal and shall so notify the State by registered  mail.

  - Public hearing. If the State has not demonstrated its compliance to the satisfaction of the Administrator  with- in 30 days after notification, the Ad- ministrator shall inform the State Di- rector and schedule a public hearing to discuss withdrawal of the State pro- gram. Notice of such  public  hearing shall be published in the FEDERAL REG- ISTER and in enough of the largest newspapers in the State to attract statewide attention, and mailed to per- sons on appropriate State and EPA mailing lists. This hearing shall be convened not less than 60 days nor more than 75 days following the publi- cation of the notice of the hearing. No- tice of the hearing shall identify the Administrator’s concerns. All inter- ested persons shall be given oppor- tunity to make written or oral presen- tation on the State’s program at the public  hearing.

#### Environmental Protection Agency	§ 145.56

  - Notice to State of findings. When the Administrator finds after the pub- lic hearing that the State is not in compliance, he or she shall notify the State by registered mail of the specific deficiencies in the State program and of necessary remedial actions. Within

90 days of receipt of the  above  letter, the State shall either carry out the re- quired remedial action or the Adminis- trator shall withdraw program ap- proval. If the State carries out the re- medial action  or,  as a result  of  the hearing is found to be in  compliance, the Administrator shall so notify the State by registered mail and conclude the withdrawal proceedings.

# Subpart E—Indian Tribes

SOURCE: 53 FR 37412, Sept. 26, 1988, unless

otherwise noted.

##### § 145.52   Requirements for Tribal eligi- bility.

The Administrator is authorized to treat an Indian Tribe as eligible to apply for primary enforcement respon- sibility for the Underground Injection Control Program if it meets the fol- lowing criteria:

- The Indian Tribe is recognized by the Secretary of the Interior.

- The Indian Tribe has a Tribal gov- erning  body  which  is  currently  ‘‘car- rying out substantial governmental du- ties  and  powers’’  over  a  defined  area, (i.e.,  is   currently   performing   govern- mental	functions	to	promote	the health,  safety,  and  welfare  of  the  af- fected population within a defined geo- graphic area).

- The Indian Tribe demonstrates that the functions to be performed in regulating the underground injection wells that the applicant intends to reg- ulate are within the area of the Indian Tribal  government’s  jurisdiction.

- The Indian Tribe is reasonably ex- pected to be capable, in the Adminis- trator’s judgment, of administering (in a manner consistent with the terms and purposes of the Act and all applica- ble regulations) an effective Under- ground Injection Control Program.

[53 FR 37412, Sept. 26, 1988, as amended at 59

FR 64345, Dec. 14, 1994]

##### § 145.56   Request  by  an  Indian  Tribe for a determination of eligibility.

An Indian Tribe may apply to the Ad- ministrator for a determination that it meets the criteria of section 1451 of the Act. The application shall be concise and describe how the Indian Tribe will meet   each   of   the   requirements   of

§ 145.52. The application shall consist of the   following:

- A statement that the Tribe is rec- ognized by the Secretary of the  Inte- rior.

- A descriptive statement dem- onstrating that the Tribal governing body is currently carrying out substan- tial governmental duties and powers over a defined area. The statement should:

- Describe the form of the Tribal government;

- Describe the types of govern- mental functions currently performed by the Tribal governing body such as, but not limited to, the exercise of  po- lice powers affecting (or relating to) the health, safety, and welfare of the affected population; taxation; and the exercise of the power of eminent do- main; and

- Identify the sources of the Tribal government’s authority to carry out the governmental functions currently being performed.

- A map or legal description of the area over  which  the  Indian  Tribe  as- serts jurisdiction; a statement by the Tribal Attorney General (or equivalent official) which describes the basis for the Tribe’s jurisdictional assertion (in- cluding the nature or subject matter of the asserted jurisdiction); a copy of those documents such as Tribal con- stitutions, by-laws, charters, executive orders, codes, ordinances, and/or reso- lutions which the Tribe believes are relevant to its assertions regarding ju- risdiction; and a description of the lo- cations of the underground injection wells the Tribe proposes to regulate.

- A narrative statement describing the capability of the Indian Tribe to administer an effective Underground Injection Control program which should include:

  - A description of the Indian Tribe’s previous management experience which may include, the administration of  programs  and  services  authorized

§ 145.58

under the Indian Self-Determination and    Education    Assistance    Act    (25

U.S.C. 450 et seq.), the Indian Mineral Development Act (25 U.S.C. 2101 et seq.), or the Indian Sanitation Facilities Construction Activity Act (42 U.S.C. 2004a).

  - A list of existing environmental or public health programs adminis- tered by the Tribal governing body and a copy of related Tribal laws, regula- tions and policies.

  - A description of the Indian Tribe’s accounting and procurement systems.

  - A description of the entity (or en- tities) which exercise the executive, legislative, and judicial  functions of the Tribal government.

  - A description of the existing, or proposed, agency of the Indian Tribe which will assume primary enforce- ment responsibility, including a de- scription of the relationship between owners/operators of the underground injection wells and the agency.

  - A description of the technical and administrative capabilities of the staff to administer and manage an effective Underground Injection Control Pro- gram or a plan which proposes how the Tribe will acquire additional adminis- trative and/or technical expertise. The plan must address how the Tribe will obtain the funds to acquire the addi- tional administrative and technical ex- pertise.

- The Adminstrator may, in his dis- cretion, request further documentation necessary to support a Tribe’s eligi- bility.

- If the Administrator has pre- viously determined that  a  Tribe  has met the  prerequisites that  make it  eli- gible to assume a  role  similar  to  that of a State as provided by statute under the Safe Drinking Water Act, the Clean Water Act, or the Clean Air Act, then that Tribe need provide only that in- formation unique to the Underground Injection Control program (§ 145.76(c) and (d)(6)).

[53 FR 37412, Sept. 26, 1988, as amended at 59

FR 64345, Dec. 14, 1994]

##### § 145.58   Procedure  for  processing  an Indian Tribe’s application.

- The Administrator shall process a completed application of an Indian Tribe  in  a  timely  manner.  He  shall

#### 40 CFR Ch. I (7–1–17 Edition)

promptly notify the Indian Tribe of re- ceipt of the application.

- A tribe that meets the require- ments of § 145.52 is eligible to apply for development grants and primary en- forcement responsibility for an Under- ground Injection  Control  program  and the associated funding under section 1443(b) of the Act and primary enforce- ment responsibility  for  the  Under- ground  Injection  Control   Program under sections 1422 and/or 1425 of the Act.

[53 FR 37412, Sept. 26, 1988, as amended at 59

FR 64345, Dec. 14, 1994]

# PART 146—UNDERGROUND INJEC- TION CONTROL PROGRAM: CRI- TERIA AND STANDARDS

##### Subpart A—General Provisions

Sec.

  - Applicability and scope.

  - Law authorizing these regulations.

  - Definitions.

  - Criteria for exempted aquifers.

  - Classification of injection wells.

  - Area of review.

  - Corrective action.

  - Mechanical integrity.

  - Criteria   for   establishing   permitting priorities.

  - Plugging  and  abandoning  Class  I-III wells.

##### Subpart B—Criteria and Standards Applicable to Class I Wells

  - Criteria and standards applicable to Class I nonhazardous wells.

  - Construction requirements.

  - Operating,  monitoring  and  reporting requirements.

  - Information to be considered by the Director.

  - Class I municipal disposal well alter- native authorization in  certain parts of Florida.

  - Requirements for new Class I munic- ipal wells in certain parts of Florida.

##### Subpart C—Criteria and Standards Applicable to Class II Wells

  - Applicability.

  - Construction requirements.

  - Operating,  monitoring,  and  reporting requirements.

  - Information to be considered by the Director.

Environmental Protection Agency	§ 146.3

##### Subpart D—Criteria and Standards Applicable to Class III Wells

  - Applicability.

  - Construction requirements.

  - Operating,  monitoring,  and  reporting requirements.

  - Information to be considered by the Director.

##### Subpart E—Criteria and Standards Appli- cable to Class IV Injection Wells [Re- served]

Subpart F—Criteria and Standards Applicable to Class V Injection Wells

146.51    Applicability.

##### Subpart G—Criteria and  Standards Appli- cable to Class I Hazardous Waste In- jection Wells

  - Applicability.

  - Minimum criteria for siting.

  - Area of review.

  - Corrective action for wells in the area of review.

  - Construction requirements.

  - Logging, sampling, and testing prior to new well operation.

  - Operating  requirements.

  - Testing    and    monitoring    require- ments.

  - Reporting  requirements.

  - Information  to  be  evaluated  by  the Director.

  - Closure.

  - Post-closure care.

  - Financial responsibility for post-clo- sure care.

##### Subpart H—Criteria and Standards Applicable to Class VI Wells

  - Applicability.

  - Required  Class  VI  permit  informa- tion.

  - Minimum criteria for siting.

  - Area of review and corrective action.

  - Financial responsibility.

  - Injection  well  construction  require- ments.

  - Logging, sampling, and testing prior to injection well operation.

  - Injection    well    operating    require- ments.

  - Mechanical integrity.

  - Testing    and    monitoring    require- ments.

  - Reporting  requirements.

  - Injection well plugging.

  - Post-injection site care and site clo- sure.

  - Emergency and remedial response.

  - Class  VI  injection  depth  waiver  re- quirements.

AUTHORITY:  Safe  Drinking  Water  Act,  42

    - 300f et seq.; Resource Conservation and Recovery Act, 42 U.S.C. 6901 et seq.

SOURCE:  45  FR  42500,  June  24,  1980,  unless

otherwise noted.

# Subpart A—General Provisions

##### § 146.1   Applicability and scope.

      - This part sets forth technical cri- teria and standards for  the  Under- ground   Injection    Control    Program. This part should be read in conjunction with 40 CFR parts 124, 144, and 145, which also apply to UIC programs. 40 CFR part 144 defines the regulatory framework of  EPA  administered  per- mit programs. 40 CFR part 145 de- scribes the elements of an approvable State program and procedures for EPA approval of State participation in the permit programs. 40 CFR part 124 de- scribes the procedures the Agency will use for issuing permits under the cov- ered programs. Certain of these proce- dures will also apply to State-adminis- tered programs as specified in 40 CFR part 145.

      - Upon the approval, partial ap- proval or promulgation of a State UIC program by the Administrator, any un- derground injection which is not au- thorized by the Director by rule or by permit is unlawful.

(Clean Water Act, Safe Drinking Water Act, Clean Air Act, Resource Conservation and Recovery Act: 42 U.S.C. 6905, 6912, 6925, 6927,

6974)

[45 FR 42500, June 24, 1980, as amended at 48

FR 14293, Apr. 1, 1983]

##### § 146.2   Law  authorizing  these  regula- tions.

The   Safe   Drinking   Water   Act,   42

U.S.C. 300f et seq. authorizes these regu- lations and all other UIC program reg- ulations referenced in 40 CFR part 144. Certain regulations relating to the in- jection of hazardous waste are also au- thorized by the Resource Conservation and Recovery Act, 42 U.S.C. 6901 et seq.

[58 FR 63898, Dec. 3, 1993]

##### § 146.3   Definitions.

The following definitions apply to the underground injection control pro- gram.

§ 146.3

Abandoned well  means a well whose use has been permanently discontinued or which is in a state of disrepair such that it cannot be used for its intended purpose or for observation purposes.

Administrator means the Adminis- trator of the United States Environ- mental Protection Agency, or an au- thorized representative.

Application means the EPA standard national forms for applying for a per- mit, including any additions,  revisions or modifications to the forms; or forms approved by EPA for use in approved States, including any approved modi- fications or revisions. For RCRA, appli- cation also includes the information required by the Director under § 122.25 (contents of Part B of the RCRA appli- cation).

Aquifer means a geological forma- tion, group of formations, or part of a formation that is capable of yielding a significant amount of water to a well or spring.

Area of review means the area sur- rounding an injection well described according  to  the  criteria  set  forth  in

§ 146.06 or in the case of an area permit, the  project  area  plus  a  circumscribing area  the  width  of  which  is  either  1⁄4    of a  mile  or  a  number  calculated  accord- ing  to  the  criteria  set  forth  in  § 146.06. Casing means  a  pipe  or  tubing  of  ap- propriate   material,   of   varying   diame- ter  and  weight,  lowered  into  a  borehole during  or  after  drilling  in  order  to  sup- port the sides of the hole and thus pre- vent  the  walls  from  caving,  to  prevent loss of drilling mud into porous ground, or  to  prevent  water,  gas,  or  other  fluid

from entering or leaving the hole.

Catastrophic collapse means the sud- den and utter failure of overlying ‘‘strata’’ caused by removal of under- lying   materials.

Cementing means the operation whereby a cement slurry is pumped into a drilled hole and/or forced behind the  casing.

Cesspool means a ‘‘drywell’’ that re- ceives untreated sanitary waste con- taining human excreta, and which sometimes has an open bottom and/or perforated sides.

Confining bed means a body of imper- meable or distinctly less permeable material stratigraphically adjacent to one or more aquifers.

#### 40 CFR Ch. I (7–1–17 Edition)

Confining zone means a geological formation, group of formations, or part of a formation that is capable of lim- iting fluid movement above an injec- tion zone.

Contaminant means any physical, chemical, biological, or radiological substance or matter in water.

Conventional mine means an open pit or underground excavation for the pro- duction of minerals.

Director means the Regional Adminis- trator, the State director or the Tribal director as the context requires, or an authorized representative. When there is no approved State or Tribal pro- gram, and there is an EPA adminis- tered program, ‘‘Director’’ means the Regional Administrator. When there is an approved State or Tribal program, ‘‘Director’’ normally means the  State or Tribal director. In some cir- cumstances, however, EPA retains the authority to take certain actions even when there is an approved State or Tribal program. (For example, when EPA has issued an NPDES permit prior to the approval of a State program, EPA may retain jurisdiction over that permit  after  program  approval;  see

§ 123.69). In such cases, the term Direc- tor means the Regional  Administrator and  not  the  State  or  Tribal  director.

Disposal well means a well used for the disposal of waste into a subsurface stratum.

Drywell means a well, other than an improved sinkhole or subsurface fluid distribution system, completed above the water table so that its bottom and sides are typically dry except when re- ceiving fluids.

Effective date of a UIC program means the date that a State UIC program is approved or established by the Admin- istrator.

Environmental Protection Agency (‘‘EPA’’) means the United States En- vironmental Protection Agency.

EPA means the United States ‘‘Envi- ronmental Protection Agency.’’

Exempted aquifer means an aquifer or its portion that meets the criteria  in the definition of ‘‘underground  source of drinking water’’ but which has been exempted according to the  procedures of § 144.8(b).

#### Environmental Protection Agency	§ 146.3

Existing injection well means an ‘‘in- jection well’’ other than a ‘‘new injec- tion well.’’

Experimental technology means a tech- nology which has not been proven fea- sible under the  conditions  in  which  it is being tested.

Facility or activity means any ‘‘HWM facility,’’ UIC ‘‘injection well,’’ NPDES ‘‘point source,’’ or State 404 dredge and fill activity, or any other facility or ac- tivity (including land or appurtenances thereto) that is subject to regulation under the RCRA, UIC, NPDES, or 404 programs.

Fault means a surface or zone of rock fracture along which there has been displacement.

Flow rate means the volume per time unit given to the flow of gases or other fluid substance which emerges from an orifice, pump, turbine or passes along a conduit or channel.

Fluid means material or substance which flows or moves whether in a semisolid, liquid, sludge, gas, or any other form or state.

Formation means a body of rock char- acterized by a degree of lithologic ho- mogeneity which is prevailingly, but not necessarily, tabular and is mappable on the earth’s surface or traceable in the subsurface.

Formation fluid means ‘‘fluid’’ present in a ‘‘formation’’ under natural condi- tions as opposed to introduced fluids, such as drilling mud.

Generator means any person, by site location, whose act or process produces hazardous waste identified or listed in 40 CFR part 261.

Ground water means water below the land surface in a zone of saturation.

Hazardous waste means a hazardous waste as defined in 40 CFR 261.3.

Hazardous Waste Management facility (‘‘HWM facility’’) means all contiguous land, and structures, other appur- tenances, and improvements on the land used for treating, storing, or dis- posing of hazardous waste. A facility may consist of several treatment, stor- age, or disposal operational units (for example, one or more landfills, surface impoundments, or combination of them).

HWM facility means ‘‘Hazardous Waste Management facility.’’

Improved sinkhole means a naturally occurring karst depression or other natural crevice found in volcanic ter- rain and other geologic settings which have been modified by man for the pur- pose of directing and emplacing fluids into the subsurface.

Indian Tribe means any Indian Tribe having a Federally recognized gov- erning body carrying out substantial governmental duties and powers over a defined area.

Injection well means a ‘‘well’’ into which ‘‘fluids’’ are being injected.

Injection zone means a geological ‘‘formation’’, group of formations, or part of a formation receiving fluids through a well.

Lithology means the description of rocks on the basis of their physical and chemical characteristics.

Owner or operator means the owner or operator of any facility or activity sub- ject to regulation  under  the  RCRA, UIC, NPDES, or 404 programs.

Packer means a device lowered into a well to produce a fluid-tight seal.

Permit   means    an    authorization,    li- cense,   or   equivalent   control   document issued  by  EPA  or  an  ‘‘approved  State’’ to  implement  the  requirements  of  this part and parts 124, 144, and 145. Permit does   not   include   RCRA   interim   status (§ 122.23),    UIC   authorization   by    rule (§§ 144.21 to 144.26 and 144.15), or any permit  which  has  not  yet  been  the  sub- ject   of   final   agency   action,   such   as   a ‘‘draft  permit’’  or  a  ‘‘proposed  permit.’’ Plugging  means  the  act  or  process  of stopping  the  flow  of  water,  oil  or  gas into  or  out  of  a  formation  through   a borehole   or   well   penetrating   that   for-

mation.

Plugging record means a systematic listing of permanent or temporary abandonment of water, oil, gas, test, exploration and waste injection wells, and may contain a well log, description of amounts and types of plugging mate- rial used, the method employed for plugging, a description of formations which are sealed and a graphic log of the well showing formation location, formation thickness, and location of plugging structures.

Point of injection for Class V wells means the  last  accessible  sampling point prior to waste fluids being re- leased into the subsurface environment

#### § 146.3

through a Class V injection well. For example, the point of injection of a Class V septic system might be the dis- tribution box—the last accessible sam- pling point before the waste fluids drain into the underlying soils. For a dry well, it is likely to be the well bore itself.

Pressure means the total load or force per unit area acting on a surface.

Project means a group of wells in a single  operation.

Radioactive waste means any waste which contains radioactive material in concentrations which exceed those list- ed in 10 CFR part 20, appendix B, table II column 2.

RCRA means the Solid Waste Dis- posal Act as amended by the Resource Conservation and Recovery Act of 1976 (Pub. L. 94–580, as amended by Pub. L. 95–609, 42 U.S.C. 6901 et seq.).

Sanitary waste means liquid or solid wastes originating solely from humans and human activities, such as wastes collected from toilets, showers, wash basins, sinks used for cleaning  domes- tic areas, sinks used for food prepara- tion, clothes washing operations, and sinks or washing machines where food and beverage serving dishes, glasses, and utensils are cleaned. Sources of these wastes may include single or multiple residences, hotels and motels, restaurants, bunkhouses, schools, rang- er stations, crew quarters, guard sta- tions, campgrounds, picnic grounds, day-use recreation areas, other com- mercial facilities, and industrial facili- ties provided the waste is not mixed with industrial waste.

SDWA means the Safe  Drinking Water Act (Pub. L. 95–523, as amended by  Pub.  L.  95–190,  42  U.S.C.  300(f)  et

seq.).

Septic system means a ‘‘well’’ that is used to emplace sanitary waste below the surface and is typically comprised of  a  septic  tank  and  subsurface  fluid distribution system or disposal system. Site  means  the  land  or  water  area where any facility or activity is phys- ically  located  or  conducted,  including adjacent land used in connection with

the facility or activity.

Sole or principal source aquifer means an aquifer which has been  designated by the Administrator pursuant to sec- tion 1424 (a) or (e) of the SDWA.

#### 40 CFR Ch. I (7–1–17 Edition)

State Director means the chief admin- istrative officer of any State, inter- state, or Tribal agency operating an ‘‘approved program,’’ or the delegated representative of the State Director. If the responsibility is divided among two or more State, interstate, or Tribal agencies, ‘‘State Director’’ means the chief administrative officer of the State, interstate, or Tribal agency au- thorized to perform the particular pro- cedure or function to which reference is made.

Stratum (plural strata) means a single sedimentary bed or layer, regardless of thickness, that  consists  of  generally the same kind of rock material.

Subsidence means the lowering of the natural land surface in response to: Earth movements; lowering of fluid pressure; removal of underlying sup- porting material by mining or solution of solids, either artificially or from natural causes; compaction due to wet- ting (Hydrocompaction); oxidation of organic matter in soils; or  added  load on the land surface.

Subsurface   fluid   distribution   system means  an  assemblage  of  perforated pipes,   drain   tiles,   or   other   similar mechanisms   intended   to   distribute fluids below the surface of the ground. Surface casing means the first string of  well  casing  to  be  installed  in  the

well.

Total dissolved solids (‘‘TDS’’) means the total dissolved (filterable) solids as determined by use of the method speci- fied in 40 CFR part 136.

UIC means the Underground Injec- tion Control program under Part C of the Safe Drinking Water Act, including an ‘‘approved program.’’

Underground injection means a ‘‘well injection.’’

Underground source of drinking water (USDW) means an aquifer or its por- tion:

(1)(i) Which supplies any public water system; or

- Which contains a sufficient quan- tity of ground water to supply a public water system; and

  - Currently supplies drinking water for human consumption; or

  - Contains fewer than 10,000 mg/l total  dissolved  solids;  and

- Which is not an exempted aquifer.

#### Environmental Protection Agency	§ 146.5

USDW means ‘‘underground source of drinking  water.’’

Well means: A bored, drilled, or driv- en shaft whose depth is greater than the largest surface dimension; or, a dug hole whose depth is greater than the largest surface dimension; or, an im- proved sinkhole; or, a subsurface fluid distribution system.

Well injection means the subsurface emplacement of fluids through a well.

Well plug means a watertight and gastight seal installed in a borehole or well to prevent movement of fluids.

Well stimulation means several proc- esses used to clean the well bore, en- large channels, and increase pore space in the interval to be injected thus mak- ing it possible for wastewater to move more readily into the formation, and includes   (1)   surging,   (2)   jetting,   (3)

blasting,   (4)   acidizing,   (5)   hydraulic fracturing.

Well monitoring means the measure- ment, by on-site instruments or labora- tory methods, of the quality of water in a well.

(Clean Water Act, Safe Drinking Water Act, Clean Air Act, Resource Conservation and Recovery Act: 42 U.S.C. 6905, 6912, 6925, 6927,

6974)

[45 FR 42500, June 24, 1980, as amended at 46

FR  43161,  Aug.  27,  1981;  47  FR  4998,  Feb.  3,

1982;  48  FR  14293,  Apr.  1,  1983;  53  FR  37414,

Sept. 26, 1988; 64 FR 68573, Dec. 7, 1999]

##### § 146.4   Criteria for exempted aquifers.

An aquifer or a portion thereof which meets the criteria for an ‘‘underground source of drinking water’’ in § 146.3 may be determined under § 144.7 of this chapter  to  be  an  ‘‘exempted  aquifer’’ for Class I–V wells if it meets the cri- teria in paragraphs (a) through (c) of this section. Class VI wells must  meet the criteria under paragraph (d) of this section:

  - It does not currently serve as a source of drinking water; and

  - It cannot now and will not in the future serve as a source of drinking water because:

    - It is mineral, hydrocarbon or geo- thermal energy producing, or can be demonstrated by a permit applicant as part of a permit application for a Class II or III operation to contain minerals or hydrocarbons that considering their

quantity and location are expected to be commercially producible.

    - It is situated at a depth or loca- tion which makes recovery of water for drinking water purposes economically or technologically impractical;

    - It is so contaminated that it would be economically or techno- logically impractical to render that water fit for human consumption; or

    - It is located over a Class III well mining area subject to subsidence or catastrophic collapse; or

  - The total dissolved solids  content of the ground water is more than 3,000 and less than 10,000 mg/l and it is not reasonably expected to supply a public water system.

  - The areal extent of an aquifer ex- emption for a Class II enhanced oil re- covery or enhanced gas recovery well may be expanded for the exclusive pur- pose of Class VI injection for geologic sequestration under § 144.7(d) of this chapter if it meets the following cri- teria:

    - It does  not  currently  serve  as  a source of drinking water; and

    - The total dissolved solids  content of the ground water is more than 3,000 mg/l and less than 10,000 mg/l; and

    - It is not reasonably expected to supply a public water system.

(Clean Water Act, Safe Drinking Water Act, Clean Air Act, Resource Conservation and Recovery Act: 42 U.S.C. 6905, 6912, 6925, 6927,

6974)

[45 FR 42500, June 24, 1980, as amended at 47

FR 4998, Feb. 3, 1982; 48 FR 14293, Apr. 1, 1983;

75 FR 77291, Dec. 10, 2010]

##### § 146.5   Classification of injection wells.

Injection wells are classified as fol- lows:

      - Class I. (1) Wells used by genera- tors of hazardous waste or owners or operators of hazardous waste manage- ment facilities to inject  hazardous waste beneath the lowermost forma- tion containing, within one quarter (1⁄4) mile of  the well  bore, an  underground source of drinking water.

- Other industrial and municipal disposal wells which inject fluids be- neath the lowermost formation con- taining, within one quarter mile of the well bore, an underground source of drinking water.

#### § 146.5

- Radioactive waste disposal wells which inject fluids below the lower- most formation containing an under- ground source of drinking water within one quarter mile of the well bore.

      - Class II. Wells which inject fluids:

        - Which are brought to the surface in connection with conventional oil or natural gas production and may be commingled with waste waters from gas plants which are an integral part of production operations, unless those waters are classified as a hazardous waste at the time of injection.

        - For enhanced recovery of oil or natural gas; and

        - For storage of hydrocarbons which are liquid at standard tempera- ture and pressure.

      - Class III. Wells which inject for extraction of minerals including:

        - Mining of sulfur by the Frasch process;

        - In situ production of uranium or other metals. This category includes only in-situ production from ore bodies which have not been conventionally mined. Solution mining of conven- tional mines such as stopes leaching is included in Class V.

        - Solution mining of salts or pot- ash.

      - Class IV. (1) Wells used by genera- tors of hazardous waste or of  radio- active waste, by owners or operators of hazardous waste  management  facili- ties, or by owners or operators of radio- active waste disposal sites to dispose of hazardous waste or radioactive  waste into a formation which within  one quarter (1⁄4) mile of the  well  contains an underground source of  drinking water.

- Wells used by generators of haz- ardous waste or of radioactive  waste, by owners or operators of hazardous waste management facilities, or by owners or operators of radioactive waste disposal  sites  to  dispose  of  haz- ardous waste or radioactive  waste above a formation which within one quarter (1⁄4) mile of the  well  contains an underground source of drinking water.

- Wells used by generators of haz- ardous waste or owners or operators of hazardous waste management facilities to dispose of hazardous waste, which cannot be classified under § 146.05(a)(1)

#### 40 CFR Ch. I (7–1–17 Edition)

or § 146.05(d) (1) and (2) (e.g., wells used to dispose of hazardous wastes into or above a formation which contains an aquifer which has been exempted pur- suant to § 146.04).

      - Class V. Injection wells not in- cluded in Class I, II, III, IV or VI. Spe- cific types of Class V injection  wells are also described in 40 CFR 144.81. Class V wells include:

- Air conditioning return flow wells used to return to the supply aquifer the water used for heating or cooling in a heat pump;

- Cesspools including multiple dwelling, community or regional cess- pools, or other devices that receive wastes which have an open bottom and sometimes have perforated sides. The UIC requirements do not apply to  sin- gle family residential cesspools nor to non-residential cesspools which receive solely sanitary wastes and have the ca- pacity to serve fewer than 20 persons a day.

- Cooling water return flow wells used to inject water previously used for cooling;

- Drainage wells used to drain sur- face fluid, primarily storm runoff, into a subsurface formation;

- Dry wells used for the injection of wastes into a subsurface formation;

- Recharge wells used to replenish the water in an aquifer;

- Salt water intrusion barrier wells used to inject water into a fresh water aquifer to prevent the intrusion of salt water into the fresh water;

- Sand backfill and other backfill wells used to inject a mixture of water and sand, mill tailings or other solids into mined out portions of subsurface mines whether what is injected is a ra- dioactive waste or not.

- Septic system wells used to inject the waste or effluent from a multiple dwelling, business establishment, com- munity or regional business establish- ment septic tank. The UIC require- ments do not apply to single family residential septic system wells, nor to non-residential septic system wells which are used solely  for  the  disposal of sanitary waste and have  the  capac- ity to serve fewer than 20 persons a day.

- Subsidence control wells (not used  for  the  purpose  of  oil  or  natural

#### Environmental Protection Agency	§ 146.6

gas production) used to inject fluids into a non-oil or gas producing zone to reduce or eliminate subsidence associ- ated with the overdraft of fresh water;

- Radioactive waste disposal wells other than Class IV;

- Injection wells associated with the recovery of geothermal energy for heating, aquaculture and production of electric power.

- Wells used for solution mining of conventional mines such as stopes leaching;

- Wells used to inject spent brine into the same formation from which it was withdrawn after extraction of halogens or their salts;

- Injection wells used in experi- mental technologies.

- Injection wells used for in situ recovery of lignite, coal, tar sands, and oil shale.

      - Class VI. Wells that are not experi- mental in nature that are used for geo- logic  sequestration  of  carbon  dioxide

tance in which the pressures in the in- jection zone may cause the migration of the injection and/or formation fluid into an underground source of drinking water; or

(ii) In the case of  an  application  for an area permit under § 122.39, the project area plus a circumscribing area the width of which is the lateral dis- tance from the perimeter of the project area, in which the pressures in the in- jection zone may cause  the  migration of the injection and/or formation fluid into an underground source of drinking water.

- Computation of the zone of endan- gering influence may be based upon the parameters listed below and should be calculated for an injection time period equal to the expected life of the injec- tion well or pattern. The following modified Theis equation illustrates one form which the mathematical model may take.

beneath  the  lowermost  formation  con- taining a USDW; or, wells used for geo-

r   ' ⎛

2.25

KHt⎞1 2

logic sequestration of carbon dioxide that have been granted a waiver of the injection  depth  requirements  pursuant

where:

⎝	S10x	⎠

to   requirements   at   § 146.95;   or,   wells

## 4KHh  h

- S G 

used  for  geologic  sequestration  of  car-	X 

bon  dioxide  that  have  received  an  ex-

pansion to the areal extent of an exist-

w	bo	p     b

## 2.3Q

ing Class II enhanced oil recovery or enhanced gas  recovery aquifer exemp- tion pursuant to §§ 146.4 and 144.7(d) of this   chapter.

[45 FR 42500, June 24, 1980, as amended at 46

FR  43161,  Aug.  27,  1981;  47  FR  4999,  Feb.  3,

1982;  64  FR  68573,  Dec.  7,  1999;  75  FR  77291,

Dec. 10, 2010]

##### § 146.6   Area of review.

The area of review for each injection well or each field, project or area of the State shall be determined according to either paragraph (a) or (b) of this sec- tion. The Director may solicit  input from the owners or operators of injec- tion wells within the State as to which method is most appropriate for each geographic area or field.

- Zone of endangering influence. (1) The zone of endangering influence shall be:

(i) In  the  case  of  application(s)  for well permit(s) under § 122.38 that area the  radius  of  which  is  the  lateral  dis-

r = Radius of endangering influence from in-

jection well (length)

k = Hydraulic conductivity of the injection zone (length/time)

H = Thickness of the injection zone (length) t = Time of injection (time)

S = Storage coefficient (dimensionless) Q = Injection rate (volume/time)

hbo = Observed original hydrostatic head of injection zone (length)  measured  from the base of the lowermost underground source of drinking water

hw = Hydrostatic head of underground source of drinking water (length) measured from the base of the lowest underground source of drinking water

Sp Gb = Specific gravity of fluid in the injec- tion zone (dimensionless)

= 3.142 (dimensionless)

The above equation is based on the fol- lowing assumptions:

  - The injection zone is homogenous and isotropic;

  - The  injection  zone  has  infinite area extent;

  - The injection well penetrates the entire thickness of the injection zone;

§ 146.7

  - The well diameter is infinites- imal compared to ‘‘r’’ when injection time is longer than a few minutes; and

  - The emplacement of fluid into the injection zone creates instantaneous increase in pressure.

- Fixed radius. (1) In the case of ap- plication(s)   for   well   permit(s)   under

§ 122.38 a fixed radius around the well of not less than one-fourth  (1⁄4)  mile  may be  used.

(2) In the case of  an  application  for an area permit under § 122.39 a fixed width of not less than one-fourth (1⁄4) mile  for  the  circumscribing  area   may be used.

In determining the fixed radius, the following factors  shall  be taken into consideration: Chemistry of injected and formation fluids; hydrogeology; population and ground-water use and dependence; and historical practices in the area.

- If the area of review is determined by a mathematical model pursuant to paragraph (a) of this section, the per- missible radius is the result of such calculation even if it is less than one- fourth (1⁄4) mile.

[45 FR 42500, June 24, 1980, as amended at 46

FR  43161,  Aug.  27,  1981;  47  FR  4999,  Feb.  3,

1982]

##### § 146.7   Corrective action.

In determining the adequacy of cor- rective action proposed  by  the  appli- cant under 40 CFR 144.55 and in deter- mining the additional steps needed to prevent fluid movement into under- ground sources of drinking water, the following criteria and factors shall be considered  by  the  Director:

- Nature and volume of injected fluid;

- Nature of native fluids or by-prod- ucts of injection;

- Potentially affected population;

- Geology;

- Hydrology;

- History of the injection operation;

- Completion and plugging records;

- Abandonment procedures in effect at the time the well was abandoned; and

#### 40 CFR Ch. I (7–1–17 Edition)

(i) Hydraulic connections with under- ground sources of drinking water.

(Clean Water Act, Safe Drinking Water Act, Clean Air Act, Resource Conservation and Recovery Act: 42 U.S.C. 6905, 6912, 6925, 6927,

6974)

[45 FR 42500, June 24, 1980, as amended at 46

FR  43162,  Aug.  27,  1981;  48  FR  14293,  Apr.  1,

1983]

##### § 146.8   Mechanical integrity.

- An injection well has mechanical integrity  if:

  - There is no significant leak in the casing, tubing or packer; and

  - There is no significant fluid move- ment into an underground source of drinking water through vertical chan- nels adjacent to the injection  well bore.

- One of the following methods must be used to evaluate the absence of significant leaks under paragraph (a)(1) of this section:

- Following an initial pressure test, monitoring of the tubing-casing annu- lus pressure with sufficient frequency to be representative, as determined by the Director, while maintaining an an- nulus pressure different from atmos- pheric pressure measured at the sur- face;

- Pressure test with liquid  or  gas; or

- Records of monitoring showing the absence of significant changes in the relationship between injection pressure and injection flow rate for the following Class II enhanced recovery wells:

- Existing wells completed without a packer provided that a pressure test has been performed and the data is available and provided further that one pressure test shall be performed at a time when the well is shut down and if the running of such a test will not cause further loss of significant amounts of oil or gas; or

- Existing wells constructed with- out a long string casing, but with sur- face casing which terminates at the base of fresh water provided that local geological and hydrological features allow such construction and provided further that the annular space shall be visually inspected. For these wells, the Director shall prescribe a monitoring program which will verify the absence

#### Environmental Protection Agency	§ 146.10

of significant fluid movement from the injection zone into an USDW.

- One of the following methods must be used to determine the absence of significant fluid movement under paragraph (a)(2) of this section:

  - The results of a temperature or noise log; or

  - For Class II only, cementing records demonstrating the presence of adequate cement to prevent such mi- gration; or

  - For Class III wells where the na- ture of the casing precludes the use of the logging techniques prescribed at paragraph (c)(1) of this section, ce- menting records demonstrating the presence of adequate cement to prevent such migration;

  - For Class III wells where the Di- rector elects to rely on  cementing records to demonstrate the absence of significant fluid movement, the moni- toring program prescribed by § 146.33(b) shall be designed to  verify  the  absence of  significant  fluid  movement.

- The Director may allow the use of a test to demonstrate mechanical in- tegrity other than those listed in para- graphs (b) and (c)(2) of this section with the written approval of the Ad- ministrator. To obtain approval, the Director shall submit a written request to the Administrator, which shall set forth the proposed test and all tech- nical data supporting its use. The Ad- ministrator shall approve the request if it will reliably demonstrate the me- chanical integrity of wells for which its use is proposed. Any alternate method approved by the Administrator shall be published in the  FEDERAL  REGISTER and may be used in all States unless its use is restricted at the time of ap- proval by the Administrator.

- In conducting and evaluating the tests enumerated in this section or others to be allowed by the Director, the owner or operator and the Director shall apply methods and standards gen- erally accepted in the industry. When the owner or operator reports the re- sults of mechanical integrity tests to the Director, he shall include a descrip- tion of the test(s) and the method(s) used. In making his/her evaluation, the Director shall review monitoring and other test data submitted since the previous evaluation.

- The Director may require addi- tional or alternative tests if the results presented by the owner or operator under § 146.8(e) are not satisfactory to the Director to demonstrate that there is no movement of fluid into or be- tween USDWs resulting from the injec- tion   activity.

[45 FR 42500, June 24, 1980, as amended at 46

FR  43162,  Aug.  27,  1981;  47  FR  4999,  Feb.  3,

1982; 58 FR 63898, Dec. 3, 1993]

##### § 146.9   Criteria   for   establishing   per- mitting priorities.

In determining priorities for setting times for owners or operators to sub- mit applications for  authorization  to inject under the procedures of § 144.31 (a), (c), (g) or § 144.22(f), the Director shall base these priorities upon consid- eration  of  the  following  factors:

- Injection wells known or sus- pected to be contaminating under- ground sources of drinking water;

- Injection wells known to be in- jecting fluids containing hazardous contaminants;

- Likelihood of contamination of underground sources of drinking water;

- Potentially affected population;

- Injection wells violating existing State requirements;

- Coordination with the issuance of permits required by other State or Fed- eral permit programs;

- Age and depth of the injection well; and

- Expiration dates of existing State permits, if any.

(Clean Water Act, Safe Drinking Water Act, Clean Air Act, Resource Conservation and Recovery Act: 42 U.S.C. 6905, 6912, 6925, 6927,

6974)

[45 FR 42500, June 24, 1980, as amended at 48

FR 14293, Apr. 1, 1983]

##### § 146.10   Plugging	and	abandoning Class I, II, III, IV, and V wells.

- Requirements for Class I, II and III wells. (1) Prior to abandoning Class I, II and III wells, the well shall be plugged with cement in a manner which will not allow the movement of fluids either into or between under- ground sources of drinking water. The Director may allow Class III wells to use other plugging materials if the Di- rector is satisfied that such materials will prevent movement of fluids into or

#### § 146.11

between underground sources of drink- ing water.

  - Placement of the cement plugs shall be accomplished by one of the fol- lowing:

- The Balance method;

- The Dump Bailer method;

- The Two-Plug method; or

- An alternative method approved by the Director, which will reliably provide a comparable level of protec- tion to underground sources of drink- ing water.

  - The well to be abandoned shall be in a state of static equilibrium  with the mud weight equalized top to bot- tom, either by circulating the mud in the well at least once or by a com- parable method prescribed by the Di- rector, prior to the placement of the cement plug(s).

  - The plugging and  abandonment plan required in 40 CFR 144.51(o) and 144.52(a)(6) shall, in the case of a Class III project which underlies or is in an aquifer which  has been exempted  under

§ 146.04, also demonstrate adequate pro- tection of USDWs. The Director shall prescribe aquifer cleanup and  moni- toring where he deems it necessary and feasible  to  insure  adequate   protection of  USDWs.

- Requirements for Class IV wells. Prior  to  abandoning  a  Class  IV   well, the owner or operator shall close the well in accordance with 40 CFR 144.23(b).

- Requirements  for  Class  V  wells.

- Prior to abandoning a Class V  well, the owner or operator shall close the well in a manner that prevents the movement of fluid containing any con- taminant  into  an  underground   source of drinking  water,  if  the  presence  of that contaminant may  cause  a  viola- tion of any primary drinking water regulation under  40  CFR  part  141  or may otherwise adversely affect  the health of persons. Closure  require- ments for motor vehicle waste disposal wells and large-capacity cesspools are reiterated at § 144.89.

- The owner or operator shall dis- pose of or otherwise manage any soil, gravel, sludge, liquids, or other mate- rials removed from or adjacent to the well  in  accordance  with  all  applicable

#### 40 CFR Ch. I (7–1–17 Edition)

Federal,  State,  and  local  regulations and requirements.

[64 FR 68573, Dec. 7, 1999]

# Subpart B—Criteria and Standards Applicable to Class I Wells

##### § 146.11   Criteria  and  standards  appli- cable to Class I nonhazardous wells.

This subpart establishes criteria and standards for underground injection control programs to regulate Class I nonhazardous wells.

[53 FR 28148, July 26, 1988]

##### § 146.12   Construction requirements.

- All Class I wells shall be sited in such a fashion that they inject into a formation which is beneath the lower- most formation containing, within one quarter mile of the well bore, an under- ground source of drinking water.

- All Class I wells shall be cased and cemented to prevent the movement of fluids into or between underground sources of drinking water. The casing and cement used in the construction of each newly drilled well shall be de- signed for the life expectancy of the well. In determining and specifying casing and cementing  requirements, the following factors shall be consid- ered:

- Depth to the injection zone;

- Injection pressure, external pres- sure, internal pressure, and axial load- ing;

- Hole size;

- Size and grade of all casing strings (wall thickness, diameter, nominal weight, length, joint specifica- tion, and construction material);

- Corrosiveness of injected fluid, formation fluids, and temperatures;

- Lithology of injection and con- fining intervals; and

- Type or grade of cement.

- All Class I injection wells, except those municipal wells injecting non- corrosive wastes, shall inject fluids through tubing with a packer set im- mediately above the injection zone, or tubing with an approved fluid seal as an alternative. The tubing, packer, and fluid seal shall be designed for the ex- pected service.

Environmental Protection Agency	§ 146.13

  - The use of other alternatives to a packer may be allowed with the writ- ten approval of the Director. To obtain approval, the operator shall submit a written request to the Director, which shall set forth the proposed alternative and all technical data supporting its use. The Director shall approve the re- quest if the alternative method will re- liably provide a comparable level of protection to underground sources of drinking water. The Director may ap- prove an alternative method solely for an individual well or for general use.

  - In determining and specifying re- quirements for tubing, packer, or alter- natives the following factors shall be considered:

    - Depth of setting;

    - Characteristics of injection fluid (chemical content, corrosiveness, and density);

    - Injection pressure;

    - Annular pressure;

    - Rate, temperature and volume of injected fluid; and

    - Size of casing.

- Appropriate logs and other tests shall be conducted during the drilling and construction of  new  Class  I  wells. A descriptive report interpreting the results of such logs and tests shall be prepared by a knowledgeable log ana- lyst and  submitted  to  the  Director.  At a minimum, such logs and tests shall include:

  - Deviation checks on all holes con- structed by first drilling a pilot hole, and then enlarging the pilot hole by reaming or another method. Such checks shall be at sufficiently frequent intervals to assure that vertical ave- nues for fluid migration in the form of diverging holes are not created during drilling.

  - Such other logs and tests as may be needed after taking into account the availability of similar data in the area of the drilling site, the construction plan, and the need for additional infor- mation, that may arise from time to time as the construction of the well progresses. In determining which logs and tests shall be required, the fol- lowing logs shall be considered for use in the following situations:

    - For surface casing intended to protect underground sources of drink- ing water:

- Resistivity, spontaneous poten- tial, and caliper logs before the casing is installed; and

- A cement bond, temperature, or density log after the casing is set and cemented.

    - For intermediate and long strings of casing intended to facilitate injec- tion:

- Resistivity, spontaneous poten- tial, porosity, and gamma ray logs be- fore the casing is installed;

- Fracture finder logs; and

- A cement bond, temperature, or density log after the casing is set and cemented.

- At a minimum, the following in- formation concerning the injection for- mation shall be determined or cal- culated for new Class I wells:

  - Fluid pressure;

  - Temperature;

  - Fracture pressure;

  - Other physical and chemical char- acteristics of the injection matrix; and

  - Physical and chemical character- istics of the formation fluids.

[45 FR 42500, June 24, 1980, as amended at 46

FR 43162, Aug. 27, 1981]

##### § 146.13   Operating, monitoring and re- porting requirements.

- Operating requirements. Operating requirements shall at a minimum, specify that:

  - Except during stimulation injec- tion pressure at the wellhead shall not exceed a maximum which shall be cal- culated so as to assure that the pres- sure in the injection zone during injec- tion does not initiate new fractures or propagate existing fractures in the in- jection zone. In no case shall injection pressure initiate fractures in the con- fining zone or cause the movement of injection or formation fluids into an underground source of drinking water.

  - Injection between the outermost casing protecting underground sources of drinking water and the well bore is prohibited.

  - Unless an alternative to a packer has been approved under § 146.12(c), the annulus between the tubing and the long string of casings shall be filled with a fluid approved by the Director and a pressure, also approved by the Director, shall be maintained on the annulus.

#### § 146.14

- Monitoring requirements. Moni- toring requirements shall, at a min- imum,  include:

- The analysis of the injected fluids with sufficient frequency to yield rep- resentative data of their characteris- tics;

- Installation and use of continuous recording devices to monitor injection pressure, flow rate and volume, and the pressure on the annulus between the tubing and the long string of casing;

- A demonstration of mechanical integrity pursuant to § 146.8  at  least once every five years during the  life  of the well; and

- The type, number and location of wells within the area of review to be used to monitor any migration of fluids into and pressure in the underground sources of drinking water, the param- eters to be measured and the frequency of monitoring.

- Reporting requirements. Reporting requirements shall, at a minimum, in- clude:

  - Quarterly reports to the Director on:

    - The physical, chemical and other relevant characteristics of injection fluids;

    - Monthly average, maximum and minimum values for injection pressure, flow rate and volume, and annular pressure; and

    - The results of monitoring pre- scribed under paragraph (b)(4) of this section.

  - Reporting the results, with the first quarterly report after the comple- tion, of:

    - Periodic tests of mechanical in- tegrity;

    - Any other test of the injection well conducted by the permittee if re- quired by the Director; and

    - Any well work over.

- Ambient monitoring. (1) Based on a site-specific assessment of the poten- tial for fluid movement from the well or injection zone and on the potential value of monitoring wells to detect such movement, the Director shall re- quire the owner or operator to develop a monitoring program. At a minimum, the Director shall require  monitoring of the pressure buildup in the injection zone annually, including at a min- imum, a  shut down  of the  well for  a

#### 40 CFR Ch. I (7–1–17 Edition)

time sufficient to conduct a valid ob- servation of the pressure fall-off curve.

- When prescribing a monitoring system the Director may also require:

  - Continuous monitoring for pres- sure changes in the first aquifer over- lying the confining zone. When such a well is installed, the owner or operator shall, on a quarterly basis, sample the aquifer and analyze for constituents specified by the Director;

  - The use of indirect, geophysical techniques to determine the position of the waste front, the water quality in a formation designated by the Director, or to provide other site specific data;

  - Periodic monitoring of the ground water quality in the first aqui- fer overlying the injection zone;

  - Periodic monitoring of the ground water quality in the lowermost USDW; and

  - Any additional monitoring nec- essary to determine whether fluids are moving into or between USDWs.

[45 FR 42500, June 24, 1980, as amended at 46

FR 43162, Aug. 27, 1981; 47 FR 32129, July 26,

1982; 53 FR 28148, July 26, 1988]

##### § 146.14   Information  to  be  considered by the Director.

This section sets forth the informa- tion which must be considered by the Director in authorizing Class I wells. For an existing or converted new Class I well the Director may rely on the ex- isting permit file for those items of in- formation listed below which are cur- rent and accurate in the  file.  For  a newly drilled Class I well, the Director shall require the submission of all the information listed below. For both ex- isting and new Class I wells certain maps, cross-sections, tabulations of wells within the area of review and other data may be included in the ap- plication by  reference  provided  they are current, readily available to the Di- rector (for example, in the permitting agency’s files) and sufficiently identi- fied to be retrieved. In cases where EPA issues the permit all the informa- tion in this section  must  be  submitted to  the  Administrator.

- Prior to the issuance of a permit for an existing Class I well to operate or the construction or conversion of a new Class I well the Director shall con- sider the following:

#### Environmental Protection Agency	§ 146.14

  - Information required in 40 CFR 144.31 and 144.31(g);

  - A map showing the injection well(s) for which a permit is sought and the applicable area of review. Within the area of review, the map must show the number, or name, and  location  of all producing wells, dry holes, surface bodies of water, springs, mines (surface and subsurface), quarries, water wells and other pertinent surface features in- cluding residences and roads. The map should also show faults, if known or suspected. Only information of public record is required to be included on this map;

  - A tabulation of data on all wells within the area of review which pene- trate into the proposed injection zone. Such data shall include a description of each well’s type, construction, date drilled, location, depth, record of plug- ging and/or completion, and any addi- tional information the Director may require;

  - Maps and cross sections indicating the general vertical and lateral limits of all underground sources of drinking water within the area of review, their position relative to the injection for- mation and the direction of water movement, where known, in each un- derground source of drinking water which may be affected by the proposed injection;

  - Maps and cross sections detailing the geologic structure of the local area;

  - Generalized maps and cross sec- tions illustrating the regional geologic setting;

  - Proposed operating data:

    - Average and maximum daily rate and volume of the fluid to be injected;

    - Average and maximum injection pressure; and

    - Source and an analysis of the chemical, physical, radiological and bi- ological characteristics of injection fluids;

  - Proposed formation testing pro- gram to obtain an analysis of the chemical, physical and radiological characteristics of and other informa- tion on the receiving formation;

  - Proposed stimulation program;

  - Proposed injection procedure;

  - Schematic or other appropriate drawings of the surface and subsurface construction details of the well.

  - Contingency plans to cope with all shut-ins or well failures so as to prevent migration of fluids into any underground source of drinking water;

  - Plans (including maps) for meet- ing  the  monitoring  requirements  in

§ 146.13(b);

  - For wells within the area of re- view  which  penetrate  the  injection zone but are not properly completed or plugged, the corrective action  proposed to be taken under 40 CFR 144.55;

  - Construction procedures includ- ing a cementing and casing program, logging procedures, deviation checks, and a drilling, testing, and coring pro- gram; and

  - A certificate that the applicant has assured, through a performance bond or other appropriate means, the resources necessary to close, plug or abandon the well as required by 40 CFR 122.42(g).

- Prior to granting approval for the operation of a Class I well the Director shall consider the following informa- tion:

  - All available logging and testing program data on the well;

  - A demonstration of mechanical integrity pursuant to § 146.8;

  - The anticipated maximum pres- sure and  flow  rate at  which  the  per- mittee will operate;

  - The results of the formation test- ing program;

  - The actual injection procedure;

  - The compatibility of injected waste with fluids in the injection zone and minerals in both the injection zone and the confining zone; and

  - The status of corrective action on defective wells in the area of review.

- Prior to granting approval for the plugging and abandonment of a Class I well the Director shall consider the fol- lowing information:

  - The type and  number of plugs  to be used;

  - The placement of each plug in- cluding the elevation of the top and bottom;

  - The type and grade  and  quantity of cement to be used;

  - The method for placement of the plugs; and

#### § 146.15

  - The procedure to be used to  meet the requirement of § 146.10(c).

(Clean Water Act, Safe Drinking Water Act, Clean Air Act, Resource Conservation and Recovery Act: 42 U.S.C. 6905, 6912, 6925, 6927,

6974)

[45 FR 42500, June 24, 1980, as amended at 46

FR  43162,  Aug.  27,  1981;  48  FR  14293,  Apr.  1,

1983]

##### § 146.15  Class  I  municipal  disposal well alternative authorization in certain parts of Florida.

- Existing Class I municipal dis- posal wells in specific geographic re- gions as defined in paragraph (f) of this section may  continue to  inject without violating  the  regulatory  prohibitions in Parts 144 and 146 of this chapter against the movement of injection or formation fluids into a USDW, provided that such wells meet the requirements of this section, even if the Director de- termines they have caused or may cause fluid movement into a USDW. Nothing in this section excuses such Class I municipal disposal wells from meeting all other applicable State and Federal requirements including 40 CFR 144.12(a).

- For purposes of this section, an existing Class I municipal disposal well is defined as a well for which a com- plete UIC construction permit applica- tion was received by the Director on or before December 22, 2005.

- For purposes of this section, the determination that a Class I municipal disposal well has caused or may cause movement of injection or formation fluids into a USDW may be  made  by the Director based on any relevant data available to him/her, including ground water monitoring data gen- erated pursuant to regulatory require- ments governing operation of Class I municipal disposal wells.

- In order for a Class I municipal disposal well to qualify for authoriza- tion to inject pursuant to paragraph (a) of this section, the Owner/Operator of that well shall:

- Develop and implement a pretreatment program that is no less stringent than the requirements of Chapter 62–625, Florida Administrative Code, or have no significant industrial users  as  defined  in  that  chapter.

#### 40 CFR Ch. I (7–1–17 Edition)

- Treat the injectate using sec- ondary treatment in a manner  that  is no less  stringent  than  the  require- ments of Florida Rule 62–600.420(1)(d), and using high-level disinfection in a manner that is no less stringent  than the requirements of Florida Rule 62– 600.440(5)(a)–(f), within five years after notification by the  Director  that  the well has caused or may cause fluid movement  into  a  USDW.

- Where the Director issued such notice for a well prior to December 22, 2005, in order for that well  to  qualify for authorization to inject pursuant to paragraph (a) of this section, the Owner/Operator  shall:

- Develop and implement a pretreatment program that is no less stringent than the requirements of Chapter 62–625, Florida Administrative Code, or have no significant industrial users as defined in that chapter; and

- Treat the injectate using sec- ondary treatment in a manner  that  is no less  stringent  than  the  require- ments of Florida Rule 62–600.420(1)(d), and using high-level disinfection in a manner that is no less stringent  than the requirements of Florida Rule 62– 600.440(5)(a)–(f), within five years after December 22, 2005.

- Authorization to inject waste- water into existing Class I municipal disposal wells pursuant to this section is limited to Class I municipal disposal wells in Florida in the following coun- ties: Brevard, Broward, Charlotte, Col- lier, Flagler, Glades, Hendry, High- lands, Hillsborough, Indian River, Lee, Manatee, Martin, Miami-Dade, Monroe, Okeechobee, Orange, Osceola, Palm Beach, Pinellas, St. Johns, St. Lucie, Sarasota, and Volusia.

[70 FR 70531, Nov. 22, 2005]

##### § 146.16 Requirements for new Class I municipal wells in certain parts of Florida.

Prior to commencing injection, any Class I municipal disposal  well  in  one of the counties identified in § 146.15(f) that is not an existing Class I  munic- ipal     disposal     well     as     defined     in

§ 146.15(b) of this section shall meet all of   the   requirements   for   existing   wells

#### Environmental Protection Agency	§ 146.22

seeking   authorization   to   inject   pursu- ant to § 146.15.

[70 FR 70532, Nov. 22, 2005]

# Subpart C—Criteria and Standards Applicable to Class II Wells

##### § 146.21   Applicability.

This subpart establishes criteria and standards for underground injection control programs to regulate Class II wells.

##### § 146.22   Construction requirements.

  - All new Class II wells shall be sited in such a fashion that they inject into a formation which is separated from any USDW by a confining zone that is free of known open faults or fractures within the area of review.

(b)(1) All Class II injection wells shall be cased and cemented to prevent movement of fluids into or between un- derground sources of drinking water. The casing and cement used in the con- struction of each newly  drilled  well shall be designed for the life expect- ancy of the well. In determining and specifying casing and cementing re- quirements, the following factors shall be considered:

- Depth to the injection zone;

- Depth to the bottom of all USDWs; and

- Estimated maximum and aver- age injection pressures;

  - In addition the Director may con- sider information on:

    - Nature of formation fluids;

    - Lithology of injection and con- fining zones;

    - External pressure, internal pres- sure, and axial loading;

    - Hole size;

    - Size and grade of all casing strings; and

    - Class of cement.

- The requirements in paragraph (b) of this section need not apply to exist- ing or newly converted Class II wells located in existing fields if:

- Regulatory controls for casing and cementing existed for  those  wells at the time of drilling and  those  wells are in compliance with those controls; and

- Well injection will not result in the movement of fluids into an under-

ground source of drinking water so as to create a significant risk to  the health of persons.

- The requirements in paragraph (b) of this section need not apply to newly drilled wells in existing fields if;

  - They meet the requirements of the State for casing and cementing ap- plicable to that field at the time of submission of the State program to the Administrator; and

  - Well injection will not result in the movement of fluids into an under- ground source of drinking water so as to create a significant risk to  the health of persons.

- Where a State did not have regu- latory controls for casing and cement- ing prior to the time of the submission of the State program to the Adminis- trator, the Director need not apply the casing and cementing requirements in paragraph (b) of this section if he sub- mits as a part of his application for pri- macy, an appropriate plan for casing and cementing of existing, newly con- verted, and newly drilled wells in exist- ing fields, and the Administrator ap- proves the plan.

- Appropriate logs and other tests shall be conducted during the drilling and construction of new Class II wells. A descriptive report interpreting the results of that portion of those logs and  tests  which  specifically  relate  to

- an USDW and the confining zone ad- jacent to it, and (2) the injection and adjacent formations shall be prepared by a knowledgeable log analyst and submitted to the director. At a min- imum, these logs and tests shall in- clude:

  - Deviation checks on all holes con- structed by first drilling a pilot hole and then enlarging the pilot hole, by reaming or another method. Such checks shall be at sufficiently frequent intervals to assure that vertical ave- nues for fluid movement in the form of diverging holes are not created during drilling.

  - Such other logs and tests as may be needed after taking into account the availability of similar data in the area of the drilling site, the construction plan, and the need for additional infor- mation that may arise from time to time as the construction of the well progresses. In determining which logs

§ 146.23

and tests shall be required the fol- lowing shall be considered by the Di- rector in setting logging and testing requirements:

    - For surface casing intended to protect underground sources of drink- ing water in areas where the lithology has not been determined:

      - Electric and caliper logs before casing is installed; and

      - A cement bond, temperature, or density log after the casing is set and cemented.

    - for intermediate and long strings of casing intended to facilitate injec- tion:

      - Electric porosity and gamma ray logs before the casing is installed;

      - Fracture finder logs; and

      - A cement bond, temperature, or density log after the casing is set and cemented.

- At a minimum, the following in- formation concerning the injection for- mation shall be determined or cal- culated for new Class II wells or projects:

  - Fluid pressure;

  - Estimated fracture pressure;

  - Physical and chemical character- istics of the injection zone.

[45 FR 42500, June 24, 1980, as amended at 46

FR  43162,  Aug.  27,  1981;  47  FR  5000,  Feb.  3,

1982]

##### § 146.23   Operating, monitoring, and re- porting requirements.

    - Operating requirements. Operating requirements shall, at a minimum, specify that:

      - Injection pressure at the wellhead shall not exceed a maximum which shall be calculated so as to assure that the pressure during injection does not initiate new fractures or propagate ex- isting fractures in the confining zone adjacent to the USDWs. In no case shall injection pressure cause the movement of injection or formation fluids into an underground source of drinking water

      - Injection between the outermost casing protecting underground sources of drinking water and the well bore shall be prohibited.

    - Monitoring requirements. Moni- toring requirements shall, at a min- imum,  include:

#### 40 CFR Ch. I (7–1–17 Edition)

- Monitoring of the nature of in- jected fluids at time intervals suffi- ciently frequent to yield data rep- resentative of their characteristics;

- Observation of injection pressure, flow rate, and cumulative volume at least with the following frequencies:

  - Weekly for produced fluid disposal operations;

  - Monthly for  enhanced recovery operations;

  - Daily during the injection  of liq- uid hydrocarbons and injection for withdrawal of stored hydrocarbons; and

  - Daily during the injection  phase of cyclic steam operations

And recording of one observation of in- jection pressure, flow rate and cumu- lative volume at reasonable intervals no greater than 30 days.

- A demonstration of mechanical integrity pursuant to § 146.8  at  least once every five years during the  life  of the  injection  well;

- Maintenance of the results of all monitoring until the next permit re- view (see 40 CFR 144.52(a)(5)); and

- Hydrocarbon storage and en- hanced recovery may be monitored on a field or project basis  rather  than  on an individual well basis by manifold monitoring. Manifold monitoring may be used in cases of facilities consisting of more than one injection well, oper- ating with a common manifold. Sepa- rate monitoring systems for each well are not required provided the owner/op- erator demonstrates that manifold monitoring is comparable to individual well  monitoring.

    - Reporting requirements. (1) Report- ing requirements shall at a minimum include an annual report to the  Direc- tor summarizing the results of moni- toring required under paragraph (b) of this section. Such summary shall in- clude monthly records of  injected fluids, and  any major  changes in  char- acteristics or sources of injected fluid. Previously submitted information may be included by reference.

- Owners or operators of hydro- carbon storage and enhanced recovery projects may report on a field or project  basis  rather  than  an  individual

#### Environmental Protection Agency	§ 146.24

well basis where manifold monitoring is used.

(Clean Water Act, Safe Drinking Water Act, Clean Air Act, Resource Conservation and Recovery Act; 42 U.S.C. 6905, 6912, 6925, 6927,

6974)

[45 FR 42500, June 24, 1980, as amended at 46

FR  43162,  Aug.  27,  1981;  47  FR  5000,  Feb.  3,

1982;  48  FR  14293,  Apr.  1,  1983;  48  FR  31404,

July 8, 1983]

##### § 146.24   Information  to  be  considered by the Director.

This section sets forth the informa- tion which must be considered by the Director in authorizing Class II wells. Certain maps, cross-sections, tabula- tions of wells within the area of review, and other data may be included in the application by reference provided they are current, readily available to the Di- rector (for example, in the permitting agency’s files) and sufficiently identi- fied to be retrieved. In cases where EPA issues the permit, all the informa- tion in this section is to be submitted to the Administrator.

  - Prior to the issuance of a permit for an existing Class II well to operate or the construction or conversion of a new Class II well the Director shall consider the following:

    - Information required in 40 CFR 144.31 and 144.31(g);

    - A map showing the injection well or project area for which a permit is sought and the applicable area of re- view. Within the area of review, the map must show the number or name and location of all existing producing wells, injection wells, abandoned wells, dry holes, and water wells. The map may also show surface bodies of waters, mines (surface and subsurface), quar- ries and other pertinent surface fea- tures including residences and roads, and faults if known or suspended. Only information of public record and perti- nent information known to the appli- cant is required to be included on this map. This requirement does  not  apply to existing Class II wells; and

    - A tabulation of data reasonably available from public records or other- wise known to the  applicant  on  all wells within the area of review in- cluded on the map required under para- graph (a)(2) of this section which pene- trate the proposed injection zone or, in

the case of Class II wells operating over the fracture pressure of the injection formation, all known wells within the area of review which penetrate forma- tions affected by the increase in pres- sure. Such data shall include a descrip- tion of each well’s type, construction, date drilled, location, depth, record of plugging and complete, and any addi- tional information the Director may require. In cases where the information would be repetitive and the wells are of similar age, type, and construction the Director may elect to only require data on a representative number of wells. This requirement does not apply to ex- isting Class II wells.

    - Proposed operating data:

      - Average and maximum daily rate and volume of fluids to be injected.

      - Average and maximum injection pressure; and

      - Source and an appropriate anal- ysis of the chemical and physical char- acteristics  of  the  injection  fluid.

    - Appropriate geological data on the injection zone and confining zone including lithologic description, geo- logical name, thickness and depth;

    - Geologic name and depth to bot- tom of all underground sources of drinking water which may be  affected by the injection;

    - Schematic or other appropriate drawings of the surface and subsurface construction details of the well;

    - In the case of new injection  wells the corrective action proposed to be taken by the applicant under 40 CFR 122.44;

    - A certificate that  the  applicant has assured through a performance bond or other appropriate means, the resources necessary to close plug or abandon the well as required by 40 CFR 122.42(g);

  - In addition the Director may con- sider the following:

    - Proposed formation testing pro- gram to obtain the information re- quired by § 146.22(g);

    - Proposed stimulation program;

    - Proposed injection procedure;

    - Proposed contingency plans, if any, to cope with well failures so as to prevent migration of contaminating fluids into an underground source of drinking water;

#### § 146.31

    - Plans for meeting the monitoring requirements of § 146.23(b).

  - Prior to granting approval for the operation of a Class II well  the  Direc- tor shall consider the following infor- mation:

    - All available logging and testing program data on the well;

    - A demonstration of mechanical integrity pursuant to § 146.8;

    - The anticipated maximum pres- sure and  flow  rate at  which  the  per- mittee will operate.

    - The results of the formation test- ing program;

    - The actual injection procedure; and

    - For new wells the status of correc- tive action on defective wells in the area of review.

  - Prior to granting approval for the plugging and abandonment of a Class II well the Director shall consider the fol- lowing information:

    - The type, and number of plugs to be used;

    - The placement of each plug in- cluding the elevation of top and bot- tom;

    - The type, grade, and quantity of cement to be used;

    - The method of placement of the plugs; and

    - The procedure to be used to  meet the requirements of § 146.10(c).

(Clean Water Act, Safe Drinking Water Act, Clean Air Act, Resource Conservation and Recovery Act: 42 U.S.C. 6905, 6912, 6925, 6927,

6974)

[45 FR 42500, June 24, 1980, as amended at 46

FR  43162,  Aug.  27,  1981;  47  FR  5000,  Feb.  3,

1982; 48 FR 14293, Apr. 1, 1983]

# Subpart D—Criteria and Standards Applicable to Class III Wells

##### § 146.31   Applicability.

This subpart establishes criteria and standards for underground injection control programs to regulate Class III wells.

##### § 146.32   Construction requirements.

- All new Class III wells shall be cased and cemented to prevent the mi- gration of fluids into or between under- ground sources of drinking water. The Director may waive the cementing re- quirement  for  new  wells  in  existing

40 CFR Ch. I (7–1–17 Edition)

projects or portions of existing projects where he has substantial evidence that no contamination of underground sources of drinking water would result. The casing and cement used in the con- struction of each newly drilled well shall be designed for the life expect- ancy of the well. In determining and specifying casing and cementing re- quirements, the following factors shall be considered:

- Depth to the injection zone;

- Injection pressure, external pres- sure, internal pressure, axial loading, etc.;

- Hole size;

- Size and grade of all casing strings (wall thickness, diameter, nominal weight, length, joint specifica- tion, and construction material);

- Corrosiveness of injected fluids and formation fluids;

- Lithology of injection and con- fining zones; and

- Type and grade of cement.

- Appropriate logs and other tests shall be conducted during the drilling and construction of new Class III wells. A descriptive report interpreting the results of such logs and tests shall be prepared by a knowledgeable log ana- lyst and submitted to the Director. The logs and tests appropriate to each type of Class III well shall be determined based on the intended function, depth, construction and other characteristics of the well, availability of similar data in the area of the drilling site and the need for additional information that may arise from time to time as the construction of the well progresses. De- viation checks shall be conducted  on all holes where pilot holes and reaming are used, unless the hole will be cased and cemented by circulating cement to the surface. Where deviation checks are necessary they shall be conducted at sufficiently frequent intervals to as- sure that vertical avenues for fluid mi- gration in the form of diverging holes are not created during drillings.

- Where the injection zone is a for- mation which is naturally water-bear- ing the following information con- cerning the injection zone shall be de- termined or calculated for  new  Class III wells or projects:

  - Fluid pressure;

  - Fracture pressure; and

#### Environmental Protection Agency	§ 146.33

  - Physical and chemical character- istics of the formation fluids.

- Where the injection formation is not a water-bearing formation, the in- formation in paragraph (c)(2) of this section must be submitted.

- Where injection is into a forma- tion which contains water  with  less than 10,000 mg/l TDS monitoring wells shall be completed into  the  injection zone and into  any  underground  sources of drinking water above  the  injection zone which could be affected by the mining operation. These wells shall be located in such a fashion as to  detect any excursion of injection fluids, proc- ess by-products, or formation fluids outside the mining area or zone. If the operation may be affected  by  subsid- ence or catastrophic collapse the moni- toring wells shall  be  located  so  that they  will  not  be  physically  affected.

- Where injection is  into  a  forma- tion which does not contain water with less than 10,000 mg/l TDS, no  moni- toring wells are necessary in the injec- tion   stratum.

- Where the injection wells pene- trate an USDW in an area subject to subsidence or catastrophic collapse an adequate number of monitoring wells shall be completed into the USDW to detect any movement of  injected fluids, process by-products or forma- tion fluids into the USDW. The moni- toring wells shall be located outside the physical influence of the subsid- ence or catastrophic collapse.

- In determining the number, loca- tion, construction and frequency of monitoring of the monitoring wells the following criteria shall be considered:

  - The population relying on the USDW affected or potentially affected by the injection operation;

  - The proximity of the injection op- eration to points of withdrawal of drinking water;

  - The local geology and hydrology;

  - The operating pressures and whether a negative pressure gradient is being  maintained;

  - The nature and volume of the in- jected fluid, the formation water, and the process by-products; and

  - The injection well density.

[45 FR 42500, June 24, 1980, as amended at 46

FR  43163,  Aug.  27,  1981;  47  FR  5000,  Feb.  3,

1982]

##### § 146.33   Operating, monitoring, and re- porting requirements.

- Operating requirements. Operating requirements prescribed shall, at a minimum,  specify  that:

  - Except during well stimulation in- jection pressure at the wellhead shall be calculated so as to assure that the pressure in the injection zone during injection does not initiate new frac- tures or propagate existing fractures in the injection zone. In no case, shall in- jection pressure initiate fractures in the confining zone or cause the migra- tion of injection or formation fluids into an underground source of drinking water.

  - Injection between the outermost casing protecting underground sources of drinking water and the well bore is prohibited.

- Monitoring requirements. Moni- toring requirements shall, at a min- imum,  specify:

- Monitoring of the nature of in- jected  fluids  with  sufficient   frequency to yield representative data on its characteristics. Whenever the injection fluid is modified to the extent that the analysis required by § 146.34(a)(7)(iii) is incorrect or incomplete, a  new  analysis as required by § 146.34(a)(7)(iii) shall be provided  to  the  Director.

- Monitoring of injection pressure and either flow rate or volume semi- monthly, or metering and daily record- ing of injected and produced fluid vol- umes as appropriate.

- Demonstration of mechanical in- tegrity pursuant to § 146.08  at  least once every five years during the  life  of the  well  for  salt  solution  mining.

- Monitoring of the fluid level in the  injection  zone   semi-monthly, where appropriate and monitoring of the parameters chosen to  measure water quality in the monitoring wells required by § 146.32(e), semi-monthly.

- Quarterly monitoring of wells re- quired by § 146.32(g).

- All Class III wells may be mon- itored on a field or project basis rather than an individual well basis by mani- fold monitoring. Manifold monitoring may be used in cases of facilities con- sisting of more than one injection well, operating with a common manifold. Separate monitoring systems for each well  are  not  required  provided  the

#### § 146.34

owner/operator demonstrates that manifold monitoring is comparable to individual well monitoring.

- Reporting requirements. Reporting requirements shall, at a minimum, in- clude:

  - Quarterly reporting to the Direc- tor on required monitoring;

  - Results of mechanical integrity and any other periodic test required by the Director reported with the first regular quarterly report after the com- pletion of the test; and

  - Monitoring may be reported on a project or field basis rather than indi- vidual well basis where manifold moni- toring is used.

[45 FR 42500, June 24, 1980, as amended at 46

FR  43163,  Aug.  27,  1981;  46  FR  5001,  Feb.  3,

1982; 48 FR 31404, July 8, 1983]

##### § 146.34   Information  to  be  considered by the Director.

This section sets forth the informa- tion which must be considered by the Director in authorizing Class III wells. Certain maps, cross sections, tabula- tions of wells within the area of review, and other data may be included in the application by reference provided they are current, readily available to the Di- rector (for example, in the permitting agency’s files) and sufficiently identi- fied to be retrieved. In cases where EPA issues the permit, all the informa- tion in this section must be submitted to the Administrator.

    - Prior to the issuance of a permit for an existing Class III well or area to operate or the construction of a new Class III well the Director shall con- sider the following:

      - Information required in 40 CFR 144.31 and 144.31(g);

      - A map showing the injection well or project area for which a permit is sought and the applicable area of re- view. Within the area of review, the map must show the number or name and location of all existing producing wells, injection wells, abandoned wells, dry holes, public water systems and water wells. The map may also show surface bodies of waters, mines (surface and subsurface), quarries and other pertinent surface features including residences and roads, and faults if known or suspected. Only  information of public record and pertinent informa-

#### 40 CFR Ch. I (7–1–17 Edition)

tion known to the applicant is required to be included on this map.

      - A tabulation of data reasonably available from public records or other- wise known to the applicant on wells within the area of review included  on the map required under paragraph (a)(2) of this section which penetrate the proposed injection zone. Such data shall include a description of each well’s type, construction, date drilled, location, depth, record of plugging and completion, and any additional infor- mation the Director may require.  In cases where the information would be repetitive and the wells are of similar age, type, and construction the Direc- tor may elect to only require data on a representative number of wells.

      - Maps and cross sections indicating the vertical limits of all underground sources of drinking water within the area of review, their position relative to the injection formation, and the di- rection of water movement, where known, in every underground source of drinking water which may be affected by the proposed injection:

      - Maps and cross sections detailing the geologic structure of the local area;

      - Generalized map and cross sec- tions illustrating the regional geologic setting;

      - Proposed operating data:

        - Average and maximum daily rate and volume of fluid to be injected;

        - Average and maximum injection pressure; and

        - Qualitative analysis and ranges in concentrations of all constituents of injected fluids. The applicant may re- quest Federal confidentiality as speci- fied in 40 CFR part 2. If the  informa- tion is proprietary an  applicant  may, in lieu of the ranges in concentrations, choose to submit maximum concentra- tions which shall not be exceeded. In such a case the applicant shall retain records of the undisclosed concentra- tions and provide them upon request to the Director as part of any enforce- ment   investigation.

      - Proposed formation testing pro- gram to obtain the information re- quired by § 146.32(c).

      - Proposed stimulation program;

      - Proposed injection procedure;

#### Environmental Protection Agency	§ 146.61

      - Schematic or other appropriate drawings of the surface and subsurface construction details of the well;

      - Plans (including maps) for meet- ing   the   monitoring   requirements   of

§ 146.33(b);

      - Expected changes in pressure, na- tive fluid displacement, direction of movement of injection fluid;

      - Contingency plans to cope with all shut-ins or well failures so as to prevent the migration of contami- nating fluids into underground sources of drinking water;

      - A certificate that the applicant has assured, through a performance bond, or other appropriate means, the resources necessary to close, plug, or abandon the well as required by 40 CFR 144.52(a)(7) and

      - The corrective action proposed to be taken under 40 CFR 144.55.

    - Prior to granting approval for the operation of a Class III well the Direc- tor shall consider the following infor- mation:

      - All available logging and testing data on the well;

      - A satisfactory demonstration of mechanical integrity for all new wells and for all existing salt solution wells pursuant to § 146.08;

      - The anticipated maximum pres- sure and  flow  rate at  which  the  per- mittee will operate;

      - The results of the formation test- ing program;

      - The actual injection procedures; and

      - The status of corrective action on defective wells in the area of review.

    - Prior to granting approval for the plugging and abandonment of a Class III well the Director shall consider the following information:

      - The type and  number of plugs  to be used;

      - The placement of each plug in- cluding the elevation of the top and bottom;

      - The type, grade, and quantity of cement to be used;

      - The method of placement of the plugs; and

      - The procedure to be used to  meet the requirements of § 146.10(c).

(Clean Water Act, Safe Drinking Water Act, Clean Air Act, Resource Conservation and Recovery Act: 42 U.S.C. 6905, 6912, 6925, 6927,

6974)

[45 FR 42500, June 24, 1980, as amended at 46

FR  43163,  Aug.  27,  1981;  47  FR  5001,  Feb.  3,

1982; 48 FR 14293, Apr. 1, 1983]

# Subpart E—Criteria and Standards Applicable to Class IV Injec- tion Wells [Reserved]

Subpart F—Criteria and Standards Applicable to Class V Injec- tion Wells

##### § 146.51   Applicability.

This subpart  sets  forth  criteria  and standards for underground injection control programs to regulate all injec- tion not regulated in subparts B, C, D, and E.

- Generally, wells covered by this subpart inject  non-hazardous  fluids into or above formations that contain underground sources of drinking water. It includes all wells listed in § 146.5(e) but is not limited to those types of in- jection  wells.

- It also includes wells not covered in Class IV that inject radioactive ma- terial listed in 10 CFR part 20, appendix B, table II, column 2.

[45 FR 42500, June 24, 1980, as amended at 47

FR 5001, Feb. 3, 1982]

# Subpart G—Criteria and Standards Applicable to Class I Haz- ardous Waste Injection Wells

SOURCE: 53 FR 28148, July 26, 1988, unless

otherwise noted.

##### § 146.61   Applicability.

- This subpart establishes criteria and standards for underground injec- tion control programs to regulate Class I hazardous waste injection wells. Un- less otherwise noted this subpart sup- plements the requirements  of  subpart A and applies instead of subpart B to Class I hazardous waste injection wells.

- Definitions.

Cone of influence means that area around the well within which increased

§ 146.62

injection zone pressures caused by in- jection into the hazardous waste injec- tion well would be sufficient to drive fluids into an underground source of drinking water (USDW).

Existing well means a Class  I  well which was authorized prior to August 25, 1988, by an approved State program, or an EPA-administered program or a well which has become a Class I well as a result of a change in  the  definition  of the injected waste which would render the waste  hazardous  under  § 261.3  of this   part.

Injection interval means that part of the injection zone in which the well is screened, or in which the waste is oth- erwise directly emplaced.

New well means any Class I hazardous waste injection well which is not an ex- isting well.

Transmissive fault or fracture is a fault or fracture that has sufficient perme- ability and  vertical  extent to  allow fluids to move between formations.

##### § 146.62   Minimum criteria for siting.

  - All Class I hazardous waste injec- tion wells shall be sited such that they inject into a formation that is beneath the lowermost formation containing within one quarter mile of the well bore an underground source of drinking water.

  - The siting of Class I hazardous waste injection wells shall be limited to areas that are geologically suitable. The Director shall determine geologic suitability based upon:

    - An analysis of the structural and stratigraphic	geology,	the hydrogeology, and the seismicity of the region;

    - An analysis of the local geology and hydrogeology of the well site, in- cluding, at a minimum, detailed infor- mation regarding stratigraphy, struc- ture and  rock properties,  aquifer hydrodynamics and mineral resources; and

    - A determination that the geology of the area can be described con- fidently and that limits of waste fate and transport can be accurately pre- dicted through the use of models.

  - Class I hazardous waste injection wells shall be sited such that:

    - The injection zone has sufficient permeability,  porosity,  thickness  and

#### 40 CFR Ch. I (7–1–17 Edition)

areal  extent  to  prevent  migration  of fluids into USDWs.

    - The confining zone:

      - Is laterally continuous and free of transecting, transmissive faults or fractures over an area sufficient to prevenet the movement of fluids into a USDW; and

      - Contains at least one  formation of sufficient thickness and with litho- logic and stress characteristics capable of preventing vertical propagation of fractures.

  - The owner or operator shall dem- onstrate to the satisfaction of the Di- rector that:

    - The confining zone  is separated from the base of the lowermost USDW by at least one sequence of permeable and less permeable strata that will pro- vide an added layer of protection for the USDW in the event of fluid move- ment in an unlocated borehole or transmissive fault; or

    - Within the area of review, the piezometric surface of the fluid in the injection zone is less than the piezometric surface of the lowermost USDW, considering density effects, in- jection pressures and any significant pumping in the overlying USDW; or

    - There is no USDW present.

    - The Director may approve a site which does not meet the requirements in paragraphs (d) (1), (2), or (3) of this section if the owner or operator can demonstrate to the Director that be- cause of the geology, nature of the waste, or other considerations, aban- doned boreholes or other conduits would not cause endangerment of USDWs.

##### § 146.63   Area of review.

For the purposes of Class I hazardous waste wells, this section shall apply  to the exclusion of § 146.6. The area of re- view for Class I hazardous waste injec- tion wells shall be a 2-mile radius around the well bore. The Director may specify a larger area of review based on the calculated cone of influence of the well.

##### § 146.64   Corrective action for wells in the area of review.

For the purposes of Class I hazardous waste wells, this section shall apply  to the exclusion of §§ 144.55 and 146.07.

#### Environmental Protection Agency	§ 146.65

- The owner or operator of a Class I hazardous waste well shall as part of the permit application submit a plan to the Director outlining the protocol used to:

  - Identify all wells penetrating the confining zone or injection zone within the area of review; and

  - Determine whether wells are ade- quately completed or plugged.

- The owner or operator of a Class I hazardous waste well shall identify the location of all wells within the area of review that penetrate the injection zone or the confining zone and shall submit as required in § 146.70(a):

  - A tabulation of all wells within the area of review that penetrate the injection zone or the confining zone; and

  - A description of each well or type of well and any records of its plugging or completion.

- For wells that the Director deter- mines are improperly plugged, com- pleted, or abandoned, or for which plugging or completion information is unavailable, the applicant shall also submit a plan consisting of such steps or modification as are necessary to pre- vent movement of fluids into or be- tween USDWs. Where the plan is ade- quate, the Director shall incorporate it into the permit as a condition. Where the Director’s review of an application indicates that the permittee’s plan is inadequate (based at a minimum on the factors in paragraph (e) of this sec- tion), the Director shall:

  - Require the applicant to revise the plan;

  - Prescribe a plan for corrective ac- tion as a condition of the permit; or

  - Deny the application.

- Requirements:

  - Existing injection wells. Any per- mit issued for an existing Class I haz- ardous waste injection well requiring corrective action other than pressure limitations shall include a compliance schedule requiring any corrective ac- tion accepted or prescribed under para- graph (c) of this section. Any such compliance schedule shall provide for compliance no later than 2 years fol- lowing issuance of the permit and shall require observance of appropriate pres- sure limitations under paragraph (d)(3)

until  all  other  corrective  action  meas- ures have been implemented.

  - New injection wells. No owner or operator of a new Class I hazardous waste injection well may begin injec- tion until all corrective actions re- quired under this section have been taken.

  - The Director may require pressure limitations in lieu of plugging. If pres- sure limitations are used in lieu of plugging, the Director shall require as a permit condition that injection pres- sure be so limited that pressure in the injection zone at the site of any im- properly completed or abandoned well within the area of review would not be sufficient to drive fluids into or be- tween USDWs. This pressure limitation shall satisfy the corrective action re- quirement. Alternatively, such injec- tion pressure limitation may be made part of a compliance schedule and may be required to be maintained until all other required corrective actions have been implemented.

- In determining the adequacy of corrective action proposed by the ap- plicant under paragraph (c) of this sec- tion and in determining the additional steps needed to prevent fluid move- ment into and between USDWs, the fol- lowing criteria and factors shall be considered by the Director:

  - Nature and volume of injected fluid;

  - Nature of native fluids or byprod- ucts of injection;

  - Geology;

  - Hydrology;

  - History of the injection operation;

  - Completion  and  plugging  records;

  - Closure procedures in effect at the time the well was closed;

  - Hydraulic connections with USDWs;

  - Reliability of the procedures used to identify abandoned wells; and

  - Any other factors which might affect the movement of fluids into or between USDWs.

##### § 146.65   Construction requirements.

    - General. All existing and new Class I hazardous waste injection wells shall be constructed and completed to:

- Prevent the movement of fluids into or between USDWs or into any un- authorized zones;

#### § 146.65

- Permit the use of appropriate testing devices and workover tools; and

- Permit continuous monitoring of injection tubing and long  string  casing as required pursuant to § 146.67(f).

    - Compatibility. All well materials must be compatible with fluids with which the materials may  be  expected to come into contact. A well shall be deemed to have compatibility  as  long as the materials used in the construc- tion of the well meet or exceed stand- ards developed for such materials by the American Petroleum Institute, The American Society for Testing Mate- rials, or comparable standards accept- able to the Director.

    - Casing and Cementing of New Wells.

- Casing and cement used in the con- struction of each newly  drilled  well shall be designed  for  the  life  expect- ancy of the well, including the post- closure care period. The casing and ce- menting program shall be designed to prevent the movement of fluids into or between USDWs, and to prevent poten- tial leaks of fluids from the well. In de- termining and specifying casing and cementing requirements, the  Director shall consider the  following  informa- tion as required by § 146.70:

  - Depth to the injection zone;

  - Injection pressure, external pres- sure, internal pressure and axial load- ing;

  - Hole size;

  - Size and grade of all casing strings (well thickness,  diameter, nominal weight, length, joint specifica- tion and construction material);

  - Corrosiveness of injected fluid, formation fluids and temperature;

  - Lithology of injection and con- fining zones;

  - Type or grade of cement; and

  - Quantity and chemical com- position of the injected fluid.

- One surface casing string shall, at a minimum, extend into the confining bed below the lowest formation that contains a USDW and be cemented by circulating cement from the base of the casing to the surface, using a min- imum of 120% of the calculated annual volume. The Director may require more than 120% when the geology or other circumstances warrant it.

- At least one long string casing, using      a      sufficient      number      of

#### 40 CFR Ch. I (7–1–17 Edition)

centralizers, shall extend to the injec- tion zone and shall be cemented by cir- culating cement to the surface in one or more stages:

- Of sufficient quantity and quality to withstand the maximum operating pressure; and

- In a quantity no less than 120% of the calculated volume necessary to fill the annular space. The Director may require more than 120% when the geol- ogy or other circumstances warrant it.

- Circulation of cement may be ac- complished by staging. The  Director may approve an alternative method of cementing in cases where the cement cannot be recirculated to the surface, provided the owner or operator can demonstrate by using logs that the ce- ment is continuous and does not allow fluid movement behind the well bore.

- Casings, including any casing con- nections, must be rated to have suffi- cient structural strength to withstand, for the design life of the well:

  - The maximum burst and collapse pressures which may be experienced during the construction, operation and closure of the well; and

  - The maximum tensile stress which may be experienced at any point along the length of the casing during the construction, operation, and clo- sure of the well.

- At a minimum, cement and ce- ment additivies must be of sufficient quality and quantity to maintain in- tegrity over the design life of the well.

    - Tubing and packer. (1) All Class I hazardous waste injection wells shall inject fluids through tubing with a packer set at a point specified by the Director.

- In determining and specifying re- quirements for tubing and packer, the following factors shall be considered:

  - Depth of setting;

  - Characteristics of injection fluid (chemical content, corrosiveness, tem- perature and density);

  - Injection pressure;

  - Annular pressure;

  - Rate (intermittent or contin- uous), temperature and volume of in- jected fluid;

  - Size of casing; and

  - Tubing tensile, burst, and col- lapse strengths.

#### Environmental Protection Agency	§ 146.66

- The Director may approve the use of a fluid seal if he determines that the following conditions are met:

  - The operator demonstrates  that the seal will provide a level of protec- tion comparable to a packer;

  - The operator demonstrates that the staff is, and will remain, ade- quately trained to operate and main- tain the well and to identify and inter- pret variations in parameters of con- cern;

  - The permit contains specific lim- itations on variations in annular pres- sure and loss of annular fluid;

  - The design and construction of the well allows continuous  monitoring of the annular pressure and mass bal- ance of annular fluid; and

  - A secondary system is used to monitor the interface between the an- nulus fluid and the injection fluid  and the permit contains requirements for testing the system every three months and recording the results.

##### § 146.66   Logging, sampling, and testing prior to new well operation.

- During the drilling and construc- tion of a  new  Class  I hazardous waste injection well, appropriate logs and tests shall be run to determine  or verify the depth, thickness, porosity, permeability, and rock type of, and the salinity of any entrained fluids in, all relevant geologic units to assure con- formance with performance standards in § 146.65, and to establish accurate baseline data against which future measurements may be compared. A de- scriptive report interpreting results of such logs and tests shall be prepared by a knowledgeable log analyst and sub- mitted to the Director. At a minimum, such logs and tests shall include:

  - Deviation checks  during  drilling on all holes constructed by drilling a pilot hole which are enlarged by ream- ing or another method.  Such  checks shall be at sufficiently frequent inter- vals to determine the location of the borehole and to assure that vertical avenues for fluid movement in  the form of diverging holes are not created during drilling; and

  - Such other logs and tests as may be needed after taking into account the availability of similar data in the area of  the  drilling  site,  the  construction

plan, and the need for additional infor- mation that may arise from time to time as the construction of the well progresses. At a minimum, the fol- lowing logs shall be required in the fol- lowing situations:

- Upon installation of the surface casing:

- Resistivity, spontaneous poten- tial, and caliper logs before the casing is installed; and

- A cement bond and variable den- sity log, and a temperature log  after the casing is set and cemented.

- Upon installation of the long string casing:

  - Resistivity, spontaneous poten- tial, porosity, caliper, gamma ray, and fracture finder logs before the casing is installed; and

  - A cement bond and variable den- sity log, and a temperature log  after the casing is set and cemented.

- The Director may allow the use of an alternative to the above logs when an alternative will provide equiv- alent or better information; and

  - A mechanical integrity test con- sisting of:

    - A pressure test with liquid or gas;

    - A radioactive tracer survey;

    - A temperature or noise log;

    - A casing inspection log, if re- quired by the Director; and

    - Any other test required by the Di- rector.

- Whole cores or sidewall cores of the confining and injection zones and formation fluid samples from the injec- tion zone shall be taken. The Director may accept cores from  nearby wells if the owner or operator can demonstrate that core retrieval is not possible and that such cores are representative of conditions at the well.  The  Director may require the owner or operator to core  other  formations  in  the  borehole.

- The fluid temperature, pH, con- ductivity, pressure and the static fluid level of the injection zone must be re- corded.

- At a minimum, the following in- formation concerning the injection and confining zones shall be determined or calculated for Class I hazardous waste injection  wells:

  - Fracture pressure;

#### § 146.67

  - Other physical and chemical char- acteristics of the injection and con- fining zones; and

  - Physical and chemical character- istics of the formation fluids in the in- jection zone.

- Upon completion, but prior to op- eration, the owner or operator shall conduct the following tests to verify hydrogeologic characteristics of the in- jection zone:

  - A pump test; or

  - Injectivity tests.

- The Director shall have the oppor- tunity to witness all logging and  test- ing by this subpart. The owner or oper- ator shall submit a schedule of such ac- tivities to the Director 30 days prior to conducting  the  first  test.

##### § 146.67   Operating requirements.

- Except during stimulation, the owner or operator shall assure that in- jection pressure at the wellhead does not exceed a maximum which shall be calculated so as to assure that the pressure in the injection zone during injection does not initiate new frac- tures or propagate existing fractures in the injection zone. The owner or oper- ator shall  assure  that  the  injection pressure does not initiate fractures or propagate existing fractures in the con- fining zone, nor cause the movement of injection or formation fluids into a USDW.

- Injection between the outermost casing protecting USDWs and the well bore is prohibited.

- The owner or operator shall main- tain an annulus pressure that exceeds the operating injection pressure, unless the Director determines that such a re- quirement might harm the integrity of the well. The fluid in the annulus shall be noncorrosive, or shall contain a cor- rosion  inhibitor.

- The owner or operator shall main- tain mechanical integrity of the injec- tion well at all times.

- Permit requirements for owners or operators of hazardous waste wells which inject wastes which have the po- tential to react with the injection for- mation to generate gases shall include:

  - Conditions limiting the tempera- ture, pH or acidity of the  injected waste; and

#### 40 CFR Ch. I (7–1–17 Edition)

  - Procedures necessary to assure that pressure imbalances which might cause a backflow or blowout do not occur.

- The owner or operator shall in- stall and use continuous recording de- vices to monitor: the injection  pres- sure; the flow rate, volume, and tem- perature of injected fluids; and the pressure on the annulus between the tubing and the long string casing, and shall install and use:

  - Automatic alarm and automatic shut-off systems, designed to sound and shut-in the well when pressures and flow rates or other parameters ap- proved by the Director exceed a range and/or gradient specified in the permit; or

  - Automatic alarms, designed to sound when the pressures and  flow rates or other parameters approved by the Director exceed a rate and/or gra- dient specified in the permit, in cases where the owner or operator certifies that a trained operator  will  be  on-site at all times when the well is operating.

- If an automatic alarm or shut- down is triggered, the owner or oper- ator shall immediately investigate and identify as expeditiously as possible the cause of the alarm or shutoff. If, upon such investigation, the well ap- pears to be lacking mechanical integ- rity, or if monitoring required under paragraph (f) of this section otherwise indicates that the well may be lacking mechanical integrity, the owner or op- erator shall:

- Cease injection of waste fluids un- less authorized by the Director to con- tinue or resume injection.

- Take all necessary steps to deter- mine the presence or absence of a leak; and

- Notify the Director within 24 hours after the alarm or shutdown.

- If a loss of mechanical integrity is discovered pursuant to paragraph (g) of this section or during periodic mechan- ical integrity testing, the owner or op- erator shall:

  - Immediately cease injection of waste fluids;

  - Take all steps reasonably nec- essary to determine whether there may have been a release of hazardous wastes or hazardous waste constituents into any unauthorized zone;

#### Environmental Protection Agency	§ 146.68

  - Notify the Director within 24 hours after loss of mechanical integ- rity is discovered;

  - Notify the Director when injec- tion can be expected to resume; and

  - Restore and demonstrate mechan- ical integrity to the satisfaction of the Director prior to resuming injection of waste fluids.

    - Whenever the owner or operator obtains evidence that there may have been a release of injected  wastes  into an unauthorized zone:

      - The owner or operator shall im- mediately case injection of  waste fluids, and:

        - Notify the Director within 24 hours of obtaining such evidence;

        - Take all necessary steps to iden- tify and characterize the extent of any release;

        - Comply with any remediation plan specified by the Director;

        - Implement any remediation plan approved by the Director; and

        - Where such  release  is  into  a USDW currently serving as a water supply, place a notice in a newspaper of general circulation.

      - The Director may allow the oper- ator to resume  injection prior to com- pleting cleanup action if the owner or operator demonstrates that the injec- tion operation will  not  endanger USDWs.

(j) The owner or operator shall notify the Director and obtain his approval prior to conducting any well workover.

##### § 146.68   Testing   and   monitoring   re- quirements.

Testing and monitoring requirements shall at a minimum include:

- Monitoring of the  injected wastes.

- The owner or operator shall develop and follow an approved written waste analysis plan that describes the proce- dures to be carried out to obtain a de- tailed chemical and physical  analysis of a representative  sample  of  the waste, including the quality assurance procedures used. At a minimum, the plan shall specify:

  - The paramenters for which the waste will be analyzed and the ration- ale for the selection of these param- eters;

  - The test methods that  will  be used to test for these parameters; and

  - The sampling method that will be used to obtain a representative sam- ple of the waste to be analyzed.

- The owner or operator shall re- peat the analysis of the injected wastes as described in the waste analysis plan at frequencies specified in the waste analysis plan and when process or oper- ating changes occur that may signifi- cantly alter the characteristics of the waste stream.

- The owner or operator shall con- duct continuous or periodic monitoring of selected parameters as required by the  Director.

- The owner or operator shall as- sure that  the  plan  remains  accurate and the analyses remain  representa- tive.

- Hydrogeologic compatibility de- termination.  The  owner  or  operator shall submit  information  dem- onstrating to the satisfaction of the Director that the waste stream and its anticipated reaction products will not alter the permeability,  thickness  or other relevant characteristics of the confining or  injection  zones  such  that they would no longer meet the require- ments specified in § 146.62.

- Compatibility  of  well  materials.

- The owner or operator shall dem- onstrate that the waste stream will be compatible with the well materials with which the waste is expected to come into contact, and submit to the Director a description of the method- ology used to make that determina- tion. Compatibility for purposes of this requirement is established if contact with injected fluids will not cause the well materials to fail to satisfy any de- sign     requirement     imposed     under

§ 146.65(b).

- The Director shall require contin- uous corrosion monitoring of the con- struction materials used in the well for wells injecting corrosive waste, and may require such monitoring for other waste, by:

  - Placing coupons of the well con- struction materials in contact with the waste stream; or

  - Routing the waste stream through a loop constructed with the material used in the well; or

  - Using an alternative method ap- proved by the Director.

#### § 146.69

- If a corrosion monitoring program is required:

  - The test shall use materials iden- tical to those used  in  the  construction of the well, and such materials must be continuously exposed to the operating pressures and temperatures (measured at the well head) and flow rates of the injection operation; and

  - The owner or operator shall mon- itor the materials for loss of mass, thickness, cracking, pitting and other signs of corrosion on a quarterly basis to ensure that the well  components meet the minimum standards for mate- rial strength and performance set forth in § 146.65(b).

- Periodic mechanical integrity test- ing.  In   fulfilling   the   requirements   of

§ 146.8, the owner or operator of a Class I hazardous waste injection well shall conduct the mechanical integrity test- ing as follows:

  - The long string casing, injection tube, and annular seal shall  be  tested by means of an approved pressure test with a liquid or gas annually and when- ever there has been a well workover;

  - The bottom-hole cement shall be tested by means of an approved radio- active  tracer  survey  annually;

  - An approved temperature, noise, or other approved log shall be run at least once every five years to test for movement of fluid along the borehole. The Director may require such tests whenever the well is worked over;

  - Casing inspection logs shall be run whenever the owner or operator con- ducts a workover in which the injec- tion string is pulled, unless the Direc- tor waives this requirement due to well construction or other factors which limit the test’s  reliability, or  based upon the satisfactory results of a cas- ing inspection log run within the pre- vious five years. The Director may re- quire that a casing inspection log be run every five years, if he has reason to believe that the integrity of the long string casing of the well may be ad- versely affected by naturally-occurring or man-made events;

  - Any other test approved by the Director in accordance with the proce- dures in § 146.8(d) may also be used.

- Ambient monitoring. (1) Based on a site-specific assessment of the poten- tial for fluid movement from the well

#### 40 CFR Ch. I (7–1–17 Edition)

or injection zone, and on the potential value of monitoring wells to detect such movement, the Director shall re- quire the owner or operator to develop a monitoring program. At a minimum, the Director shall require  monitoring of the pressure buildup in the injection zone annually, including at a min- imum, a  shut  down of  the  well  for a time sufficient to conduct a valid ob- servation of the pressure fall-off curve.

- When prescribing a monitoring system the Director may also require:

  - Continuous monitoring for pres- sure changes in the first aquifer over- lying the confining zone. When such a well is installed, the owner or operator shall, on a quarterly basis, sample the aquifer and analyze for constituents specified by the Director;

  - The use of indirect, geophysical techniques to determine the position of the waste front, the water quality in a formation designated by the Director, or to provide other site specific data;

  - Periodic monitoring of the ground water quality in the first aqui- fer overlying the injection zone;

  - Periodic monitoring of the ground water quality in the lowermost USDW; and

  - Any additional monitoring nec- essary to determine whether fluids are moving into or between USDWs.

- The Director may require seis- micity monitoring when he has reason to believe that  the  injection  activity may have the capacity to cause seismic disturbances.

[53 FR 28148, July 26, 1988, as amended at 57

FR 46294, Oct. 7, 1992]

##### § 146.69   Reporting requirements.

Reporting requirements shall, at a minimum, include:

- Quarterly reports to the Director containing:

  - The maximum injection pressure;

  - A description of any event that exceeds operating parameters for annu- lus pressure or injection pressure as specified in the permit;

  - A description of any event which triggers an alarm or shutdown device required pursuant to § 146.67(f) and the response  taken;

  - The total volume of fluid injected;

  - Any change in the annular fluid volume;

#### Environmental Protection Agency	§ 146.70

  - The physical, chemical and other relevant characteristics of injected fluids; and

  - The results of monitoring pre- scribed under § 146.68.

- Reporting, within 30 days or with the next quarterly report whichever comes later, the results of:

  - Periodic tests of mechanical in- tegrity;

  - Any other test of the injection well conducted by the permittee if re- quired by the Director; and

  - Any well workover.

##### § 146.70   Information  to  be  evaluated by the Director.

This section sets forth the informa- tion which must be evaluated by the Director in authorizing Class I haz- ardous waste injection wells. For a new Class I hazardous waste injection well, the owner or operator shall submit all the information listed below as part of the permit application. For  an  existing or converted Class I hazardous waste injection well, the owner or operator shall submit all information  listed below as part of the permit application except for those items of information which are current, accurate, and avail- able in the  existing  permit  file.  For both existing and new Class I haz- ardous waste injection wells, certain maps, cross-sections, tabulations of wells within the area of review and other data may be included in the ap- plication by  reference  provided  they are current and readily available to the Director (for example, in the permit- ting agency’s files) and sufficiently identifiable to be retrieved. In cases where EPA issues the permit, all the information in this section must be submitted to the Administrator or his designee.

    - Prior to the issuance of a  permit for an existing Class I hazardous waste injection well to operate or the con- struction or conversion of a new Class I hazardous waste injection well, the Director shall review the following to assure that the requirements of this part and part 144 are met:

      - Information  required  in  § 144.31;

      - A map showing the injection well for which a permit is sought and the applicable area of review. Within the area of review, the map must show the

number or name and location of all producing wells, injection wells, aban- doned wells, dry holes,  surface  bodies of water, springs, mines (surface and subsurface), quarries, water wells and other pertinent surface features, in- cluding residences and roads. The map should also show faults, if known or suspected;

      - A tabulation of all wells within the area of review which penetrate the proposed injection zone or confining zone. Such data shall include a descrip- tion of each well’s type, construction, date drilled, location, depth, record of plugging and/or completion and any ad- ditional information the Director may require;

      - The protocol followed to identify, locate and ascertain the condition of abandoned wells within the area of re- view which penetrate the injection or the confining zones;

      - Maps and cross-sections indi- cating the general vertical and lateral limits of all underground sources of drinking water within the area of re- view, their position relative to the in- jection formation and the direction of water movement, where known, in each underground source of drinking water which may be affected by the proposed injection;

      - Maps and cross-sections detailing the geologic structure of the local area;

      - Maps and cross-sections illus- trating the regional geologic setting;

      - Proposed operating data;

        - Average and maximum daily rate and volume of the fluid to be injected; and

        - Average and maximum injection pressure;

      - Proposed formation testing pro- gram to obtain an analysis of the chemical, physical and radiological characteristics of and other informa- tion on the injection formation and the confining zone;

      - Proposed stimulation program;

      - Proposed injection procedure;

      - Schematic or other appropriate drawings of the surface and subsurface construction details of the well;

      - Contingency plans to cope with all shut-ins or well failures so as to prevent migration of fluids into any USDW;

#### § 146.71

      - Plans (including maps) for meet- ing monitoring requirements of § 146.68;

      - For wells within the area of re- view which  penetrate the injection zone or the confining zone but are not properly completed or plugged, the cor- rective    action    to    be    taken    under

§ 146.64;

      - Construction procedures includ- ing a cementing and casing program, well materials specifications and their life expectancy, logging procedures, de- viation checks, and a drilling, testing and coring program; and

      - A demonstration pursuant to part 144, subpart F, that the applicant has the resources necessary to close, plug or abandon the well and for post- closure care.

    - Prior to the Director’s granting approval for the operation of a Class I hazardous waste  injection well,  the owner or operator shall submit and the Director shall review the following in- formation, which shall be included in the completion report:

      - All available logging and testing program data on the well;

      - A demonstration of mechanical integrity pursuant to § 146.68;

      - The anticipated maximum pres- sure and  flow  rate at  which  the  per- mittee will operate;

      - The results of  the  injection  zone and confining zone testing program as required in § 146.70(a)(9);

      - The actual injection procedure;

      - The compatibility of injected waste with fluids in the injection zone and minerals in both the injection zone and the confining zone and with the materials used to construct the well;

      - The calculated area of review based on data obtained during logging and testing of the well and the forma- tion, and where necessary revisions to the     information     submitted     under

§ 146.70(a) (2) and (3).

      - The status of corrective action  on wells identified in § 146.70(a)(15).

    - Prior to granting approval for the plugging and abandonment (i.e., clo- sure) of a Class I hazardous waste in- jection well, the Director shall review the	information	required	in

§§ 146.71(a)(4) and 146.72(a).

    - Any permit issued for a Class I hazardous waste injection well for dis- posal on the premises where the waste

#### 40 CFR Ch. I (7–1–17 Edition)

is   generated   shall   contain   a   certifi- cation by the owner or operator that:

          - The generator of the hazardous waste has a program to reduce the vol- ume or quantity and toxicity of such waste to the degree determined by the generator to be economically prac- ticable; and

          - Injection of the waste is that practicable method of disposal cur- rently available to the generator which minimizes the present and future threat to human health and the envi- ronment.

##### § 146.71   Closure.

            - Closure Plan. The owner or oper- ator of a Class I hazardous waste injec- tion well shall prepare, maintain, and comply with a plan for closure of the well that meets the requirements of paragraph (d) of this section and is ac- ceptable to the Director. The obliga- tion to implement the closure plan sur- vives the termination of a permit or the cessation of injection  activities. The requirement to maintain and im- plement an approved plan is directly enforceable regardless of whether the requirement is a condition of the per- mit.

              - The owner or operator shall sub- mit the plan as a part of the permit ap- plication and, upon approval by the Di- rector, such plan shall be a condition of any permit issued.

              - The owner or operator shall sub- mit any proposed significant  revision to the method of closure reflected  in the plan for approval by  the  Director no later than the date on which notice of closure is required  to  be  submitted to the Director under paragraph (b) of this  section.

              - The plan shall assure financial re- sponsibility as required in § 144.52(a)(7).

              - The plan shall include the fol- lowing information:

                - The type and number of  plugs  to be used;

                - The placement of each plug in- cluding the elevation of the top and bottom of each plug;

                - The type and grade and quantity of material to be used in plugging;

                - The method of placement of the plugs;

                - Any proposed test or measure to be made;

#### Environmental Protection Agency	§ 146.72

                - The amount, size, and location (by depth) of casing and any other ma- terials to be left in the well;

                - The method and location where casing is to be parted, if applicable;

                - The procedure to be used to meet the requirements of paragraph (d)(5) of this section;

                - The estimated cost  of  closure; and

                - Any proposed test or measure to be made.

              - The Director may modify a clo- sure plan following the procedures of

§ 124.5.

              - An owner or operator of a Class I hazardous waste injection well who ceases injection temporarily, may keep the well open provided he:

                - Has received authorization from the Director; and

                - Has described actions or proce- dures,  satisfactory  to  the   Director, that the owner or operator will take to ensure that the well will not endanger USDWs during the period of temporary disuse. These actions and procedures shall include compliance with the tech- nical requirements applicable to active injection wells unless waived by the Di- rector.

              - The owner or operator of a well that has ceased operations for more than two years shall notify the  Direc- tor 30 days prior to resuming operation of the well.

            - Notice of intent to close. The owner or operator shall notify the Director at least 60 days before closure  of  a  well. At the discretion of the Director, a shorter notice period may be allowed.

            - Closure report. Within 60 days after closure or at the time of the next quar- terly report (whichever is less) the owner or operator shall submit a clo- sure report to the Director. If the quar- terly report is due less than 15 days after completion of closure, then the report shall be submitted  within  60 days after closure. The report shall be certified as accurate by the owner or operator and by the person who per- formed the closure operation (if other than the owner or operator). Such re- port shall consist of either:

              - A statement that the well was closed in accordance with the closure plan previously submitted and ap- proved by the Director; or

              - Where actual closure differed from the plan previously submitted, a writ- ten statement specifying the dif- ferences between the previous plan and the  actual  closure.

            - Standards for well closure. (1) Prior to closing the well, the owner or oper- ator shall observe and record the pres- sure decay for a time specified by the Director.  The   Director   shall   analyze the pressure decay and the transient pressure observations conducted pursu- ant to § 146.68(e)(1)(i) and determine whether the injection activity has con- formed  with  predicted  values.

- Prior to well closure, appropriate mechanical integrity testing shall be conducted to ensure the integrity of that portion of the long string casing and cement that will be left in the ground after closure. Testing methods may include:

  - Pressure tests with liquid or gas;

  - Radioactive tracer surveys;

  - Noise, temperature, pipe evalua- tion, or cement bond logs; and

  - Any other test required by the Director.

- Prior to well closure, the well shall be flushed with a buffer fluid.

- Upon closure, a Class I hazardous waste well shall be plugged with ce- ment in a manner that will  not  allow the movement of fluids into or between USDWs.

- Placement of the cement plugs shall be accomplished by one of the fol- lowing:

- The Balance Method;

- The Dump Bailer Method;

- The Two-Plug Method; or

- An alternate method, approved by the Director, that will reliably pro- vide a comparable level of protection.

- Each plug used shall be appro- priately tagged and tested for seal and stability before closure is completed.

- The well to be closed shall be in a state of static equilibrium with the mud weight equalized top to bottom, either by circulating the mud in the well at least once or by a comparable method prescribed by  the Director, prior to the placement of the cement plug(s).

##### § 146.72   Post-closure care.

- The owner or operator of a Class I hazardous waste well shall prepare,

#### § 146.73

maintain, and comply with a plan for post-closure care that meets the re- quirements of paragraph (b) of this sec- tion and is acceptable to the Director. The obligation to implement the post- closure plan survives the  termination of a permit or the cessation of injec- tion activities. The requirement to maintain an approved plan is directly enforceable regardless of whether the requirement is a condition of the per- mit.

  - The owner or operator shall sub- mit the plan as a part of the permit ap- plication and, upon approval by the Di- rector, such plan shall be a condition of any permit issued.

  - The owner or operator shall sub- mit any proposed significant  revision to the plan as appropriate over the life of the well, but  no later than the  date of  the  closure  report  required  under

§ 146.71(c).

  - The plan shall assure financial re- sponsibility as required in § 146.73.

  - The plan shall include the fol- lowing information:

- The pressure in the injection zone before injection began;

- The anticipated pressure in the injection zone at the time of closure;

- The predicted time until pres- sure in the injection zone decays to the point that the well’s cone of influence no longer intersects the base of the lowermost USDW;

- Predicted position of the waste front at closure;

- The status of any cleanups re- quired under § 146.64; and

- The estimated cost of proposed post-closure care.

  - At the request of the owner or op- erator, or on his own initiative, the Di- rector may modify the post-closure plan after submission of the closure re- port following the procedures in § 124.5.

- The owner or operator shall:

  - Continue and complete any clean- up action required under § 146.64, if ap- plicable;

  - Continue to conduct any ground- water monitoring required under the permit until pressure in the injection zone decays to the point that the well’s cone of influence no longer intersects the base of the lowermost USDW. The Director may extend the period of post-

#### 40 CFR Ch. I (7–1–17 Edition)

closure  monitoring  if  he  determines that the well may endanger a USDW.

  - Submit a survey plat to the local zoning authority designated by the Di- rector. The plat shall indicate the loca- tion of the well relative to perma- nently surveyed benchmarks. A copy of the plat shall be submitted to the Re- gional Administrator of the appro- priate EPA Regional Office.

  - Provide appropriate notification and information to such  State  and local authorities as have cognizance over drilling activities to enable such State and local authorities to impose appropriate conditions on subsequent drilling activities that may penetrate the well’s confining or injection zone.

  - Retain, for a period of three years following well closure, records reflect- ing the nature, composition and vol- ume of all injected fluids. The Director shall require the owner or operator to deliver the records to the Director  at the conclusion of the retention period, and the records shall thereafter be re- tained at a location designated by the Director for that purpose.

- Each owner of a Class I hazardous waste injection well, and the owner of the surface or subsurface property on or in which a Class I hazardous waste injection well is located, must record a notation on the deed to the facility property or on some other instrument which is normally examined during title search that will in perpetuity pro- vide any potential purchaser of the property the following information:

  - The fact that land  has  been  used to manage hazardous waste;

  - The name of the State agency or local authority with which the plat was filed, as well as the address of the Regional Environmental Protection Agency Office to which it was sub- mitted;

  - The type and volume of waste in- jected, the injection interval or inter- vals into which it was injected, and the period over which injection occurred.

##### § 146.73   Financial	responsibility	for post-closure care.

The owner or operator shall dem- onstrate and maintain financial re- sponsibility for post-closure by using a

#### Environmental Protection Agency	§ 146.81

trust fund, surety bond, letter of cred- it, financial test, insurance or cor- porate guarantee that meets the speci- fications for the mechanisms and in- struments revised as appropriate to cover closure and post-closure care in 40 CFR part 144, subpart F. The amount of the funds available shall be no less than     the     amount     identified     in

§ 146.72(a)(4)(vi). The obligation to maintain financial responsibility for post-closure care survives the termi- nation of a permit or the cessation of injection. The requirement to maintain financial responsibility is enforceable regardless of whether the  requirement is  a  condition  of  the  permit.

# Subpart H—Criteria and Standards Applicable to Class VI Wells

SOURCE:  75  FR  77291,  Dec.  10,  2010,  unless

otherwise noted.

##### § 146.81   Applicability.

    - This subpart establishes criteria and standards for underground injec- tion control programs to regulate any Class VI carbon dioxide geologic se- questration injection wells.

    - This subpart applies to any wells used to inject carbon dioxide specifi- cally for the purpose of geologic se- questration, i.e., the long-term  con- tainment of a gaseous, liquid, or super- critical carbon dioxide stream in sub- surface geologic formations.

    - This subpart also applies to own- ers or operators of permit- or rule-au- thorized Class I, Class II, or Class V ex- perimental carbon dioxide injection projects who seek to apply for a Class VI geologic sequestration permit for their well or wells. Owners or operators seeking to convert existing Class I, Class II, or Class V experimental wells to Class VI geologic sequestration wells must demonstrate to the Director that the wells were engineered and con- structed to meet the requirements at

§ 146.86(a)  and ensure  protection of USDWs,    in    lieu    of    requirements    at

§§ 146.86(b) and 146.87(a). By December 10, 2011, owners or operators of either Class I wells previously permitted for the purpose of geologic  sequestration or Class V experimental technology wells no longer being used for experi- mental  purposes  that  will  continue  in-

jection of carbon dioxide for the pur- pose of GS must apply for a Class VI permit. A converted well must  still meet all other requirements under part 146.

    - Definitions. The following defini- tions apply to this subpart. To the ex- tent  that  these  definitions  conflict with those  in  § 144.3 or  § 146.3 of this chapter these definitions govern for Class VI wells:

Area of review means the region sur- rounding the geologic sequestration project where USDWs may be endan- gered by the injection  activity.  The area of review is delineated using com- putational modeling that accounts for the physical and chemical properties of all phases of the injected carbon  diox- ide stream and displaced fluids, and is based on available site characteriza- tion, monitoring, and operational  data as set forth in § 146.84.

Carbon dioxide plume means the ex- tent underground, in three dimensions, of an injected carbon dioxide stream.

Carbon dioxide stream means carbon dioxide that has been captured from an emission source (e.g.,  a  power  plant), plus incidental associated substances derived from the source materials and the capture process, and  any  sub- stances added to the  stream  to  enable or improve the injection process. This subpart does not apply to any carbon dioxide stream that  meets  the  defini- tion of a hazardous waste under 40 CFR part 261.

Confining zone means a geologic for- mation, group of formations, or part of a formation stratigraphically over- lying the injection zone(s) that acts as barrier to fluid movement. For  Class VI wells operating under an injection depth waiver, confining zone means a geologic formation, group of forma- tions, or part of a formation stratigraphically overlying and under- lying the injection zone(s).

Corrective action means the use of Di- rector-approved methods  to  ensure that wells within the area of review do not serve as conduits for the movement of fluids into underground sources of drinking water (USDW).

Geologic sequestration means the long- term containment of a  gaseous,  liquid, or supercritical carbon dioxide  stream in subsurface geologic formations. This

§ 146.82

term does not apply to carbon dioxide capture or transport.

Geologic sequestration project means an injection well  or  wells  used  to  emplace a carbon dioxide stream beneath the lowermost formation  containing  a USDW; or, wells used for geologic se- questration of carbon dioxide that have been granted a waiver of the injection depth requirements pursuant to re- quirements at § 146.95; or, wells used for geologic sequestration  of  carbon  diox- ide that have received an expansion  to the areal extent of an existing Class II enhanced oil recovery or enhanced gas recovery   aquifer   exemption   pursuant to §§ 146.4 and 144.7(d) of this chapter. It includes the subsurface three-dimen- sional extent of  the  carbon  dioxide plume, associated area of elevated pressure, and displaced fluids,  as  well as the surface area above  that  delin- eated  region.

Injection zone means a geologic for- mation, group of formations, or part of a formation that is of sufficient areal extent, thickness, porosity, and perme- ability to receive carbon  dioxide through a well or wells associated with a geologic sequestration project.

Post-injection site care means appro- priate monitoring and other actions (including corrective action) needed following cessation of  injection  to  en- sure that  USDWs are   not  endangered, as required under § 146.93.

Pressure front means the zone of ele- vated pressure that is created by the injection of carbon dioxide into the subsurface. For the purposes of this subpart, the pressure front of a carbon dioxide plume refers to a zone where there is a pressure differential suffi- cient to cause the movement of in- jected fluids or formation fluids into a USDW.

Site closure means the point/time, as determined by  the  Director  following the requirements under § 146.93,  at which the owner or operator of a geo- logic  sequestration   site   is   released from post-injection site care respon- sibilities.

Transmissive fault or fracture means a fault or fracture that has sufficient permeability and vertical extent to allow fluids to move between forma- tions.

#### 40 CFR Ch. I (7–1–17 Edition)

##### § 146.82   Required  Class  VI  permit  in- formation.

This section sets forth the informa- tion which must be considered by the Director in authorizing Class VI wells. For converted Class I, Class II, or Class V experimental wells, certain maps, cross-sections, tabulations of wells within the area of review and other data may be included in the applica- tion by reference provided they are current, readily available to the Direc- tor, and sufficiently identified to be re- trieved. In cases where EPA issues the permit, all the information in this sec- tion must be submitted to the Regional Administrator.

- Prior to the issuance of a permit for the construction of a new Class VI well or the conversion of an existing Class I, Class II, or Class V well to a Class VI well, the owner or operator shall submit, pursuant to § 146.91(e), and the Director shall consider the fol- lowing:

- Information	required	in

§ 144.31(e)(1) through (6) of this chapter;

- A map showing the injection well for which a permit is sought and the applicable area of review consistent with § 146.84. Within the area of review, the map must show the number  or name, and location of all injection wells, producing  wells,  abandoned wells, plugged wells or dry holes, deep stratigraphic boreholes, State- or EPA- approved subsurface cleanup sites, sur- face bodies of water, springs, mines (surface and subsurface), quarries, water wells, other pertinent surface features including structures intended for human occupancy,  State,  Tribal, and Territory boundaries, and roads. The map should also show faults, if known or suspected. Only  information of public record is required to be in- cluded on this map;

- Information on the geologic struc- ture and  hydrogeologic  properties  of the proposed storage site and overlying formations,  including:

  - Maps and cross sections of the area of review;

  - The location, orientation, and properties of known or suspected faults and fractures that may transect the confining zone(s) in the area of review and a determination  that  they  would not interfere with containment;

#### Environmental Protection Agency	§ 146.82

  - Data on the depth, areal extent, thickness, mineralogy, porosity, per- meability, and capillary pressure of the injection and confining zone(s); includ- ing geology/facies changes based on field data which may include geologic cores, outcrop data, seismic  surveys, well logs, and names and lithologic de- scriptions;

  - Geomechanical information on fractures, stress, ductility, rock strength, and in situ fluid pressures within the confining zone(s);

  - Information on the seismic his- tory including the presence and depth of seismic sources and a determination that the seismicity would not interfere with containment; and

  - Geologic and topographic maps and cross sections illustrating regional geology, hydrogeology, and the geo- logic structure of the local area.

- A tabulation of all wells within the area of review which penetrate the injection or confining zone(s). Such data must include a description of each well’s type, construction, date drilled, location, depth, record of plugging and/ or completion, and any additional in- formation the Director may require;

- Maps and stratigraphic cross sec- tions indicating the general vertical and lateral limits of all USDWs, water wells and springs within the area of re- view, their positions relative to the in- jection zone(s), and the direction of water movement, where known;

- Baseline geochemical data on sub- surface formations, including all USDWs in the area of review;

- Proposed operating data for the proposed geologic sequestration site:

  - Average and maximum daily rate and volume and/or mass and total an- ticipated volume and/or mass of the carbon dioxide stream;

  - Average and maximum injection pressure;

  - The source(s) of the carbon diox- ide stream; and

  - An analysis of the chemical and physical characteristics of the carbon dioxide stream.

- Proposed pre-operational forma- tion testing program to obtain an anal- ysis of the chemical and physical char- acteristics of the injection zone(s) and confining zone(s) and that meets the requirements at § 146.87;

- Proposed stimulation program, a description of stimulation fluids to be used and a determination that stimula- tion will not interfere with contain- ment;

- Proposed procedure to outline steps necessary to conduct injection operation;

- Schematics or other appropriate drawings of the surface and subsurface construction details of the well;

- Injection well construction pro- cedures that meet the requirements of

§ 146.86;

- Proposed area of review and cor- rective action plan that meets the re- quirements under § 146.84;

- A demonstration, satisfactory  to the  Director,  that   the   applicant   has met the financial responsibility re- quirements under § 146.85;

- Proposed testing and monitoring plan required by § 146.90;

- Proposed injection well plugging plan required by § 146.92(b);

- Proposed post-injection site care and   site   closure   plan   required   by

§ 146.93(a);

- At the Director’s discretion, a demonstration of an alternative post- injection  site  care  timeframe   required by § 146.93(c);

- Proposed emergency and reme- dial      response      plan      required      by

§ 146.94(a);

- A list of contacts, submitted to the Director, for those States, Tribes, and Territories identified to be within the area of review of the Class VI project based on information provided in paragraph (a)(2) of this section; and

- Any other information requested by the Director.

- The Director  shall notify,  in writ- ing, any States, Tribes, or Territories within the area of  review  of  the  Class VI project based on information pro- vided in paragraphs (a)(2) and (a)(20) of this section of the permit application and  pursuant  to  the  requirements  at

§ 145.23(f)(13) of this chapter.

- Prior to granting approval for the operation of a Class VI well, the Direc- tor shall consider the following infor- mation:

  - The final area of review based on modeling, using data obtained during logging and testing of the well and the formation  as  required  by  paragraphs

#### § 146.83

(c)(2),  (3),  (4),  (6),  (7),  and  (10)  of  this

section;

  - Any relevant updates, based on data obtained during logging and test- ing of the well and the formation as re- quired by paragraphs (c)(3), (4), (6), (7), and (10) of this section, to the informa- tion on the geologic structure and hydrogeologic properties of the pro- posed storage site and overlying forma- tions, submitted to satisfy the require- ments of paragraph (a)(3) of this sec- tion;

  - Information on the compatibility of the carbon dioxide stream with fluids in the injection zone(s) and min- erals in both the injection and the con- fining zone(s), based on the results of the formation testing program, and with the materials used to construct the well;

  - The results of the formation test- ing program required at paragraph (a)(8) of this section;

  - Final injection well construction procedures that meet  the  requirements of § 146.86;

  - The status of corrective action on wells in the area of review;

  - All available logging and testing program data on the well required by

§ 146.87;

  - A demonstration of mechanical integrity pursuant to § 146.89;

  - Any updates to the proposed area of review and corrective action plan, testing and monitoring plan, injection well plugging plan, post-injection site care and site closure plan, or the emer- gency and remedial response plan sub- mitted under paragraph (a) of this sec- tion, which are necessary to address new information collected during log- ging and testing of the well and the formation as required by all para- graphs of this section, and any updates to the alternative post-injection  site care timeframe demonstration sub- mitted under paragraph (a) of this sec- tion, which are necessary to address new information collected during the logging and testing of the well and the formation as required by all para- graphs of this section; and

  - Any other information requested by the Director.

- Owners or operators seeking a waiver of the requirement to inject below  the  lowermost  USDW  must  also

#### 40 CFR Ch. I (7–1–17 Edition)

refer to § 146.95 and submit a supple- mental report, as required at § 146.95(a). The supplemental report is not part  of the   permit   application.

##### § 146.83   Minimum criteria for siting.

- Owners or operators of Class VI wells must demonstrate to the satisfac- tion of the Director that the wells will be sited in areas with a suitable geo- logic system. The owners or operators must demonstrate that the geologic system comprises:

  - An injection zone(s) of sufficient areal extent, thickness, porosity, and permeability to receive the total an- ticipated volume of the carbon dioxide stream;

  - Confining zone(s) free of transmissive faults or fractures and of sufficient areal extent and integrity to contain the injected carbon dioxide stream and displaced formation fluids and allow injection at proposed max- imum pressures and volumes without initiating or propagating fractures in the confining zone(s).

- The Director may require owners or operators of Class VI wells to iden- tify and characterize additional zones that will impede vertical fluid move- ment, are free of faults and fractures that may interfere with containment, allow for pressure dissipation, and pro- vide additional opportunities for moni- toring,  mitigation,  and  remediation.

##### § 146.84   Area of review and corrective action.

- The area of review is the region surrounding the geologic sequestration project where USDWs may be endan- gered by the injection activity. The area of review is delineated using com- putational modeling that accounts for the physical and chemical properties of all phases of the injected carbon diox- ide stream and is based on available site characterization, monitoring, and operational data.

- The owner or operator of a Class VI well must prepare, maintain, and comply with a plan to delineate the area of review for a proposed geologic sequestration project,  periodically  re- evaluate  the  delineation,  and  perform

#### Environmental Protection Agency	§ 146.84

corrective action that meets the re- quirements of this section and is ac- ceptable to the Director. The require- ment to maintain and implement an approved plan is directly enforceable regardless of whether the requirement is a condition of the permit. As a part of the permit application for approval by the Director, the owner or operator must submit an area of review and cor- rective action plan that includes the following information:

  - The method for delineating the area of review that meets the require- ments of paragraph (c) of this section, including the model to be used, as- sumptions that will be made, and the site characterization data on which the model will be based;

  - A description of:

    - The minimum fixed frequency, not to exceed five years, at which the owner or operator proposes to reevalu- ate the area of review;

    - The monitoring and operational conditions that would warrant a re- evaluation of the area of review prior to the next scheduled reevaluation as determined by the minimum fixed fre- quency established in paragraph (b)(2)(i) of this section.

    - How monitoring and operational data (e.g., injection rate and pressure) will be used to inform an area of review reevaluation; and

    - How corrective action will be conducted to meet the requirements of paragraph (d) of this section, including what corrective action will be per- formed prior to injection and what, if any, portions of the area of review will have corrective action addressed on a phased basis and how the phasing will be determined; how corrective action will be adjusted if there are changes in the area of review; and how site access will be guaranteed for future corrective action.

- Owners or operators of Class VI wells must perform the following ac- tions to delineate the area of review and identify all wells that require cor- rective action:

  - Predict, using existing site char- acterization, monitoring and oper- ational data, and computational mod- eling, the projected lateral and vertical migration of the carbon dioxide plume and formation fluids in the subsurface

from the commencement of injection activities until the plume movement ceases, until pressure differentials suf- ficient to cause the movement of in- jected fluids or formation fluids into a USDW are no longer present, or  until the end of a fixed time period as deter- mined by the Director. The model must:

- Be based on detailed geologic data collected to characterize the injection zone(s), confining zone(s) and any addi- tional zones; and anticipated operating data, including injection pressures, rates, and total volumes over the pro- posed life of the geologic sequestration project;

- Take into account any geologic heterogeneities, other discontinuities, data quality, and their possible impact on model predictions; and

- Consider potential migration through faults, fractures, and artificial penetrations.

  - Using methods approved by the Director, identify all penetrations, in- cluding active and abandoned wells and underground mines, in the area of re- view that may penetrate the confining zone(s). Provide a description of each well’s type, construction, date drilled, location, depth, record of plugging and/ or completion, and any additional in- formation the Director may require; and

  - Determine which abandoned wells in the area of review have been plugged in a manner that prevents the move- ment of carbon dioxide or other fluids that may endanger USDWs, including use of materials compatible with the carbon dioxide stream.

- Owners or operators of Class VI wells must perform corrective action on all wells  in the area  of review that are determined to need corrective ac- tion, using methods designed to pre- vent the movement of fluid into or be- tween USDWs, including use of mate- rials compatible with the carbon diox- ide stream, where appropriate.

- At the minimum fixed frequency, not to exceed five years, as specified in the area of review and corrective ac- tion plan, or when monitoring and operational conditions warrant, owners or operators must:

#### § 146.85

  - Reevaluate the area of review in the same manner specified in para- graph (c)(1) of this section;

  - Identify all wells in the reevalu- ated area of review that require correc- tive action in the same manner speci- fied in paragraph (c) of this section;

  - Perform corrective action on wells requiring corrective action in the reevaluated area of review in the same manner specified in paragraph (d) of this section; and

  - Submit an amended area of review and corrective action plan or dem- onstrate to the Director through moni- toring  data  and  modeling  results   that no  amendment  to  the  area  of  review and corrective action  plan  is  needed. Any amendments to the area of review and corrective action plan must be ap- proved by the Director, must be incor- porated into the permit, and are sub- ject to the permit modification re- quirements at § 144.39 or § 144.41 of this chapter,  as  appropriate.

- The emergency and remedial re- sponse plan (as required by § 146.94) and the demonstration of financial respon- sibility (as described by § 146.85) must account for the area of review delin- eated as specified in paragraph (c)(1) of this section or the most recently evalu- ated area of review delineated under paragraph (e) of this section, regardless of whether or not corrective action  in the area of review is phased.

- All modeling inputs and data used to support area of review reevaluations under paragraph (e) of  this  section shall be retained for 10 years.

##### § 146.85   Financial responsibility.

- The owner or operator must dem- onstrate and maintain financial re- sponsibility as determined by the Di- rector that meets the following condi- tions:

  - The financial responsibility in- strument(s) used must be from the fol- lowing list of qualifying instruments:

- Trust Funds.

- Surety Bonds.

- Letter of Credit.

- Insurance.

- Self Insurance (i.e., Financial Test and Corporate Guarantee).

- Escrow Account.

- Any other instrument(s) satis- factory to the Director.

#### 40 CFR Ch. I (7–1–17 Edition)

  - The qualifying instrument(s) must be sufficient to cover the cost of:

    - Corrective action (that meets the requirements of § 146.84);

    - Injection well plugging  (that meets the requirements of § 146.92);

    - Post injection site care and site closure  (that  meets   the   requirements of § 146.93); and

    - Emergency and remedial re- sponse (that meets the requirements of

§ 146.94).

  - The financial responsibility in- strument(s) must be sufficient to ad- dress endangerment of underground sources of drinking water.

  - The qualifying financial responsi- bility instrument(s) must comprise protective conditions of coverage.

    - Protective conditions of coverage must include at a minimum cancella- tion, renewal, and continuation provi- sions, specifications on when the pro- vider becomes liable following a notice of cancellation if  there is a  failure to renew with a new qualifying financial instrument, and requirements for the provider to meet a minimum rating, minimum capitalization, and ability to pass the bond rating when applicable.

- Cancellation—for purposes of this part, an owner or operator must pro- vide that their financial  mechanism may not cancel, terminate or fail to renew except for failure to pay such fi- nancial instrument. If there is a failure to pay the financial instrument, the fi- nancial  institution  may  elect  to  can- cel, terminate, or fail to renew the in- strument by sending notice by certified mail to the owner or operator and the Director. The cancellation must not be final for 120 days after receipt of can- cellation notice. The owner or operator must provide an alternate financial re- sponsibility demonstration within 60 days of notice of cancellation, and if an alternate financial responsibility dem- onstration is not acceptable (or pos- sible), any funds from the instrument being cancelled must be released with- in 60 days of notification by the Direc- tor.

- Renewal—for purposes of this part, owners or operators must renew all financial instruments, if an instru- ment expires, for the entire term of the

#### Environmental Protection Agency	§ 146.85

geologic sequestration project. The in- strument may be automatically re- newed as long as the owner or operator has the option of renewal at the face amount of the expiring  instrument. The automatic  renewal  of  the  instru- ment must, at a minimum, provide the holder with the option of renewal  at the face amount of the expiring finan- cial instrument.

- Cancellation, termination, or fail- ure to renew may not occur and the fi- nancial instrument will remain in full force and effect in the event that on or before the date of expiration: The Di- rector deems the facility abandoned; or the permit is terminated or revoked or a new permit is denied; or closure is or- dered by the Director or a U.S. district court or other court of competent ju- risdiction; or the owner or operator is named as debtor in a voluntary or in- voluntary proceeding under Title 11 (Bankruptcy), U.S. Code;  or  the amount due is paid.

  - The qualifying financial responsi- bility instrument(s) must be approved by the Director.

    - The Director shall consider and approve the financial responsibility demonstration for all the phases of the geologic sequestration project prior to issue a Class VI permit (§ 146.82).

    - The owner or operator must pro- vide any updated information related to their financial responsibility instru- ment(s) on an annual basis and if there are any changes, the Director must evaluate, within a reasonable time, the financial responsibility demonstration to confirm that the instrument(s) used remain adequate for use. The owner or operator must maintain financial re- sponsibility requirements regardless of the status of the Director’s review of the financial responsibility demonstra- tion.

    - The Director may disapprove the use of a financial instrument if he de- termines that it is not sufficient to meet the requirements of this section.

  - The owner or operator may dem- onstrate financial responsibility by using one or multiple qualifying finan- cial instruments for specific phases of the geologic sequestration project.

    - In the event that the owner or op- erator combines more than one instru- ment  for  a  specific  geologic  sequestra-

tion phase (e.g., well plugging), such combination must be limited to instru- ments that are not based on financial strength or performance (i.e., self in- surance or performance bond), for ex- ample trust funds, surety bonds guar- anteeing payment into a trust fund, letters of credit, escrow account, and insurance. In this case, it is the com- bination of mechanisms, rather than the single mechanism, which must pro- vide financial responsibility for an amount at least equal to the current cost estimate.

    - When using a third-party instru- ment to demonstrate financial respon- sibility, the owner or operator must provide a proof that the third-party providers either have passed financial strength requirements based on credit ratings; or has met a minimum rating, minimum capitalization, and ability to pass the bond rating when applicable.

    - An owner or operator using cer- tain types of third-party instruments must establish a standby trust to en- able EPA to be party to the financial responsibility agreement without EPA being the beneficiary of any funds. The standby trust fund must be used along with other financial responsibility in- struments (e.g., surety bonds, letters of credit, or escrow accounts) to provide a location to place funds if needed.

    - An owner or operator may de- posit money to an escrow account to cover financial responsibility require- ments; this account must segregate funds sufficient to cover estimated costs for Class VI (geologic sequestra- tion) financial responsibility from other accounts and uses.

    - An owner or operator or its guar- antor may use self insurance to dem- onstrate financial responsibility for geologic sequestration  projects.  In order to satisfy this requirement the owner or operator must meet a Tan- gible Net Worth of an amount approved by the Director, have a Net working capital and tangible net worth each at least six times the sum of the current well plugging, post injection site care and site closure cost, have assets lo- cated in the United  States  amounting to at least 90 percent of total assets or at least six times the sum of the  cur- rent well plugging, post injection site care  and  site  closure  cost,  and  must

#### § 146.85

submit a report of its bond rating and financial information annually. In ad- dition the owner or operator must ei- ther: Have a bond rating test of AAA, AA, A, or BBB as issued by Standard & Poor’s or Aaa, Aa, A, or Baa as issued by Moody’s; or meet all of the fol- lowing five financial ratio thresholds: A ratio of total liabilities to net worth less than 2.0; a ratio of current assets to current liabilities greater than 1.5; a ratio of the sum of net income plus de- preciation, depletion, and amortization to total liabilities greater than 0.1; A ratio of current assets minus current liabilities  to  total  assets  greater  than

¥0.1; and a net profit (revenues minus expenses) greater than 0.

    - An owner or operator who is not able to meet corporate financial test criteria may arrange a corporate guar- antee by demonstrating that its cor- porate parent meets the financial test requirements on its behalf. The par- ent’s demonstration that it meets the financial test requirement is insuffi- cient if  it has  not also  guaranteed to fulfill the obligations for the owner or operator.

    - An owner or operator may ob- tain an  insurance  policy to  cover  the estimated costs of geologic sequestra- tion activities requiring financial re- sponsibility. This insurance policy must be obtained from a third party provider.

- The requirement to maintain ade- quate financial responsibility and re- sources is directly enforceable regard- less of whether the requirement is a condition of the permit.

  - The owner or operator must main- tain financial responsibility and re- sources until:

- The Director receives and ap- proves  the  completed  post-injection site care and site closure plan; and

- The Director approves site clo- sure.

  - The owner or operator may be re- leased from a financial instrument in the following circumstances:

    - The owner or operator has com- pleted the phase of the geologic seques- tration project for which the financial instrument was required and has ful- filled all its financial obligations as de- termined by the Director, including ob- taining financial responsibility for the

#### 40 CFR Ch. I (7–1–17 Edition)

next  phase  of  the  GS  project,  if  re- quired; or

    - The owner or operator has sub- mitted a replacement financial instru- ment and received written approval from the Director accepting the new fi- nancial instrument and releasing the owner or operator from the previous fi- nancial   instrument.

- The owner or operator must have a detailed written estimate, in current dollars, of the cost of performing cor- rective action on wells in the area of review, plugging the injection well(s), post-injection site care and site clo- sure, and emergency and remedial re- sponse.

  - The cost estimate must be per- formed for each phase separately and must be based on the costs to the regu- latory agency of hiring a third party to perform the required activities. A third party is a party who is not within the corporate structure of the owner or op- erator.

  - During the active life of the geo- logic  sequestration  project,  the   owner or operator must adjust the cost esti- mate for inflation within  60  days  prior to the anniversary date of the estab- lishment of the financial instrument(s) used to comply with paragraph (a) of this section and provide this  adjust- ment to the Director. The owner or op- erator must also provide to the  Direc- tor written updates of adjustments to the cost estimate within 60 days of any amendments to the area of review and corrective action plan (§ 146.84), the in- jection well plugging plan (§ 146.92), the post-injection site care and site closure plan (§ 146.93), and the emergency and remedial response plan (§ 146.94).

  - The Director must approve any decrease or  increase  to the initial cost estimate. During the active life of the geologic sequestration project, the owner or operator must revise the cost estimate no later than 60 days after the Director has approved the request to modify the area of review and correc- tive action plan (§ 146.84), the injection well plugging plan (§ 146.92), the post- injection site care and site closure plan (§ 146.93), and the emergency and re- sponse plan (§ 146.94), if the change in the plan increases the cost. If the change to the plans decreases the cost,

#### Environmental Protection Agency	§ 146.86

any withdrawal of funds must be ap- proved by the Director.  Any  decrease to the value of the financial assurance instrument must first be approved by the Director. The revised cost estimate must be adjusted for inflation as speci- fied at paragraph (c)(2) of this section.

  - Whenever the current cost esti- mate increases to an amount greater than the face amount of a financial in- strument currently in use,  the  owner or operator, within 60 days after the in- crease, must either cause the face amount to be increased  to  an  amount at least equal to the current cost esti- mate and submit evidence of such in- crease to  the Director,  or obtain other financial responsibility instruments to cover the increase. Whenever the cur- rent cost estimate decreases, the face amount of the financial assurance in- strument may be reduced to  the amount of the current  cost  estimate only after the owner or operator has received written approval from the Di- rector.

- The owner or operator must no- tify the Director by certified mail of adverse financial conditions such as bankruptcy that may affect the ability to carry out injection well plugging and post-injection site care and site closure.

  - In the event that the owner or op- erator or the third party provider of a financial responsibility instrument is going through a bankruptcy, the owner or operator must notify the  Director by certified mail of the commencement of a voluntary or involuntary pro- ceeding  under  Title  11  (Bankruptcy),

  - Code, naming the owner or oper- ator as debtor, within 10 days after commencement of the proceeding.

  - A guarantor of a corporate guar- antee must make such a notification to the Director if he/she is named as debt- or, as required under the terms of the corporate guarantee.

  - An owner or operator who fulfills the requirements of paragraph (a) of this section by obtaining a trust fund, surety bond, letter of credit, escrow ac- count, or insurance policy will be deemed to be without the required fi- nancial assurance in the event of bank- ruptcy of the trustee or issuing institu- tion, or a suspension or revocation  of the  authority  of  the  trustee  institution

to act  as  trustee  of  the  institution issuing the trust fund, surety bond, let- ter of credit, escrow account, or insur- ance policy. The owner or operator must establish other financial assur- ance within 60 days after such an event.

- The owner or operator must pro- vide an adjustment of the cost esti- mate to the Director within 60 days of notification by the Director, if the Di- rector determines during the annual evaluation of the qualifying financial responsibility instrument(s) that the most recent demonstration is no longer adequate to cover the cost of corrective action (as required by § 146.84), injec- tion   well   plugging   (as   required   by

§ 146.92), post-injection site  care  and site closure (as required by § 146.93), and emergency and remedial response (as required by § 146.94).

- The Director must approve the use and length of pay-in-periods for trust funds or escrow accounts.

##### § 146.86   Injection well construction re- quirements.

- General. The owner or operator must ensure that all Class VI wells are constructed and completed to:

  - Prevent the movement of fluids into or between USDWs or into any un- authorized zones;

  - Permit the use of appropriate testing devices and workover tools; and

  - Permit continuous monitoring of the annulus space between the injec- tion tubing and long string casing.

- Casing and cementing of Class VI wells. (1) Casing and cement or other materials used in the construction of each Class VI well must have sufficient structural strength and be designed for the life of the geologic sequestration project. All well materials must be compatible with fluids with which the materials may be  expected  to  come into contact and must meet or exceed standards developed for such materials by the American Petroleum Institute, ASTM International, or comparable standards acceptable to the Director. The casing and cementing program must be designed to prevent the move- ment of fluids into or between USDWs. In order to allow the Director to deter- mine and specify casing and cementing requirements,  the  owner  or  operator

#### § 146.87

must   provide   the   following   informa- tion:

- Depth to the injection zone(s);

- Injection pressure, external pres- sure, internal pressure, and axial load- ing;

- Hole size;

- Size and grade of all casing strings (wall thickness, external di- ameter, nominal weight, length, joint specification, and construction mate- rial);

- Corrosiveness of the carbon diox- ide stream and formation fluids;

- Down-hole temperatures;

- Lithology of injection and con- fining zone(s);

- Type or grade of cement and ce- ment additives; and

- Quantity, chemical composition, and temperature of the carbon dioxide stream.

- Surface casing must extend through the base of the lowermost USDW and be cemented to the surface through the use of a single or multiple strings of casing and cement.

- At least one long string casing, using a sufficient number of centralizers, must extend to the injec- tion zone and must be cemented by cir- culating cement to the surface in one or more stages.

- Circulation of cement may be ac- complished by staging. The  Director may approve an alternative method of cementing in cases where the cement cannot be recirculated to the surface, provided the owner or operator can demonstrate by using logs that the ce- ment does not allow fluid movement behind the well bore.

- Cement and cement additives must be compatible with the carbon di- oxide stream and formation  fluids  and of sufficient quality and quantity to maintain integrity over the  design  life of the geologic sequestration project. The integrity and location of the ce- ment shall be verified using technology capable of evaluating cement quality radially and identifying the location of channels to ensure that USDWs are not endangered.

- Tubing and packer. (1) Tubing and packer materials used in the construc- tion of each Class VI well must be com- patible with fluids with which the ma- terials may be expected to come into

#### 40 CFR Ch. I (7–1–17 Edition)

contact and must meet or exceed standards developed for such materials by the American Petroleum Institute, ASTM International, or comparable standards acceptable to the Director.

- All owners or operators of Class VI wells must inject fluids through tubing with a packer set at a depth op- posite a cemented interval at the loca- tion approved by the Director.

- In order for the Director to deter- mine and specify requirements for tub- ing and packer, the owner or operator must submit the following informa- tion:

  - Depth of setting;

  - Characteristics of the carbon di- oxide stream (chemical content, corro- siveness, temperature, and density) and formation fluids;

  - Maximum proposed injection pressure;

  - Maximum proposed annular pres- sure;

  - Proposed injection rate (intermit- tent or continuous) and volume and/or mass of the carbon dioxide stream;

  - Size of tubing and casing; and

  - Tubing tensile, burst, and col- lapse strengths.

##### § 146.87   Logging, sampling, and testing prior to injection well operation.

- During the drilling and construc- tion of a Class VI injection well, the owner or operator must run appro- priate logs, surveys and tests to deter- mine or verify the depth, thickness, po- rosity, permeability, and lithology of, and the salinity of any formation fluids in all relevant geologic formations to ensure conformance with the injection well construction requirements under

§ 146.86 and to establish accurate base- line data against which future meas- urements may be compared.  The  owner or operator must submit to the  Direc- tor a descriptive report prepared by a knowledgeable  log  analyst  that   in- cludes an interpretation of  the  results of such logs and tests. At a minimum, such  logs  and  tests  must  include:

  - Deviation checks during drilling on all holes constructed by drilling a pilot hole which is enlarged by reaming or another method. Such checks must be at sufficiently frequent intervals to determine the location of the borehole and to ensure that vertical avenues for

#### Environmental Protection Agency	§ 146.88

fluid movement in the form of  diverg- ing holes are not created during drill- ing; and

  - Before and upon installation  of the surface casing:

    - Resistivity, spontaneous  poten- tial, and caliper logs before the casing is installed; and

    - A cement bond and variable den- sity log to evaluate cement quality ra- dially, and a temperature log after the casing is set and cemented.

  - Before and upon installation of the long string casing:

    - Resistivity, spontaneous  poten- tial, porosity, caliper, gamma ray, fracture finder logs, and any other logs the Director requires for the given ge- ology before the casing is installed; and

    - A cement bond and variable den- sity log, and a temperature log  after the casing is set and cemented.

  - A series of tests designed to dem- onstrate the internal and external me- chanical integrity of injection wells, which may include:

    - A pressure test with liquid or  gas;

    - A tracer survey such as oxygen- activation logging;

    - A temperature or noise log;

    - A casing inspection log; and

  - Any alternative methods that pro- vide equivalent or better information and that are required by and/or ap- proved of by the Director.

- The owner or operator must take whole cores or sidewall cores of the in- jection zone and confining system and formation fluid samples from the injec- tion zone(s), and must  submit to the Director a detailed report prepared by a log analyst that includes: Well log analyses (including well logs), core analyses, and formation fluid sample information. The Director may accept information on cores from nearby wells if the owner or operator can dem- onstrate that core retrieval is not pos- sible and that such cores are represent- ative of conditions at the well. The Di- rector may require the owner or oper- ator to core other formations in the borehole.

- The owner or operator must record the fluid temperature, pH, con- ductivity, reservoir pressure, and stat- ic fluid level of the injection zone(s).

- At a minimum, the owner or oper- ator  must  determine  or  calculate  the

following   information   concerning   the injection and confining zone(s):

- Fracture pressure;

- Other physical and chemical char- acteristics of the injection and con- fining zone(s); and

- Physical and chemical character- istics of the formation fluids in the in- jection zone(s).

- Upon completion, but prior to op- eration, the owner or operator must conduct the following tests to verify hydrogeologic characteristics of the in- jection zone(s):

  - A pressure fall-off test; and,

  - A pump test; or

  - Injectivity tests.

- The owner or operator must pro- vide the Director with the opportunity to witness all logging and testing by this subpart. The owner or operator must submit a schedule of such activi- ties to the Director 30 days prior to conducting the  first  test  and  submit any changes to the schedule 30 days prior to the next scheduled test.

##### § 146.88   Injection   well   operating   re- quirements.

- Except during stimulation, the owner or operator must ensure that in- jection pressure does not exceed 90 per- cent of the fracture pressure of the in- jection zone(s) so as to ensure that the injection does not initiate new  frac- tures or propagate existing fractures in the injection zone(s). In no case may injection pressure initiate fractures in the confining zone(s) or cause the movement of injection or formation fluids that endangers a USDW. Pursu- ant to requirements at § 146.82(a)(9), all stimulation programs must be ap- proved by the Director as part of the permit application and incorporated into the permit.

- Injection between the outermost casing protecting USDWs and the well bore is prohibited.

- The owner or operator must fill the annulus between the tubing and the long string casing with a non-cor- rosive fluid approved by the Director. The owner or operator must  maintain on the annulus a pressure that exceeds the operating injection pressure, unless the Director determines that such re- quirement might harm the integrity of the well or endanger USDWs.

#### § 146.89

- Other than during periods of well workover (maintenance) approved by the Director in which the sealed tub- ing-casing annulus is disassembled for maintenance or corrective procedures, the owner or operator must maintain mechanical integrity of the  injection well at all times.

- The owner or operator must in- stall and use:

  - Continuous recording devices to monitor: The injection pressure; the rate, volume and/or mass, and tempera- ture of the carbon dioxide stream; and the pressure on the annulus between the tubing and the long string casing and annulus fluid volume; and

  - Alarms and automatic surface shut-off systems or, at the discretion of the Director, down-hole shut-off sys- tems (e.g., automatic shut-off, check valves) for onshore wells or, other me- chanical devices that provide equiva- lent protection; and

  - Alarms and automatic down-hole shut-off systems for wells located off- shore but  within State territorial waters, designed to alert the operator and shut-in the well when operating parameters such as annulus pressure, injection rate, or other parameters di- verge beyond permitted ranges and/or gradients specified in the permit.

- If a shutdown (i.e., down-hole or at the surface) is triggered or a loss of mechanical integrity is discovered, the owner or operator must immediately investigate and identify as expedi- tiously as possible the cause of the shutoff. If, upon such investigation, the well appears to be lacking mechanical integrity, or if monitoring required under paragraph (e) of this section oth- erwise indicates that the well may be lacking mechanical integrity, the owner or operator must:

  - Immediately cease injection;

  - Take all steps reasonably nec- essary to determine whether there may have been a release of the injected car- bon dioxide stream or formation fluids into any unauthorized zone;

  - Notify the Director within 24 hours;

  - Restore and demonstrate mechan- ical integrity to the satisfaction of the Director prior to resuming injection; and

#### 40 CFR Ch. I (7–1–17 Edition)

  - Notify the Director when injec- tion can be expected to resume.

##### § 146.89   Mechanical integrity.

    - A Class VI well has mechanical integrity  if:

      - There is no significant leak in the casing, tubing, or packer; and

      - There is no significant fluid move- ment into a USDW through channels adjacent to the injection well bore.

    - To evaluate the absence of signifi- cant leaks under paragraph (a)(1) of this section, owners or operators must, following an initial annulus  pressure test, continuously monitor injection pressure, rate, injected volumes; pres- sure on the annulus between tubing and long-string casing; and annulus fluid volume as specified in § 146.88 (e);

    - At least once per year, the owner or operator must use one of the fol- lowing methods to determine the ab- sence of significant fluid movement under paragraph (a)(2) of this section:

      - An approved tracer survey such as an oxygen-activation log; or

      - A temperature or noise log.

    - If required by the Director, at a frequency specified in the testing and monitoring plan required at § 146.90, the owner or operator must run a casing inspection log to determine  the  pres- ence or absence of corrosion in the long-string    casing.

    - The Director may require any other test to evaluate mechanical in- tegrity under paragraphs (a)(1) or (a)(2) of this section. Also, the Director may allow the use of a test to demonstrate mechanical integrity other than those listed above with the written approval of the Administrator. To obtain ap- proval for a new mechanical integrity test, the Director must submit a writ- ten request to the Administrator set- ting forth the proposed test and all technical data supporting its use. The Administrator may approve the re- quest if he or she determines that  it will reliably demonstrate the mechan- ical integrity of wells for which its use is proposed. Any alternate method ap- proved by the Administrator will be published in the  FEDERAL  REGISTER and may be used in all States in ac- cordance with applicable State law un- less its use is restricted at the time of approval by the Administrator.

#### Environmental Protection Agency	§ 146.90

    - In conducting and evaluating the tests enumerated in this section or others to be allowed by the  Director, the owner or operator and the Director must apply methods and standards gen- erally accepted in the industry. When the owner or operator reports the re- sults of mechanical integrity tests to the Director, he/she shall include a de- scription of the test(s) and the meth- od(s) used. In making his/her evalua- tion, the Director must review moni- toring and other test data submitted since the previous evaluation.

    - The Director may require addi- tional or alternative tests if the results presented by the owner or operator under paragraphs (a) through (d) of this section are not satisfactory to the Di- rector to  demonstrate  that  there is no significant leak in the  casing,  tubing, or packer, or to demonstrate that there is no significant  movement  of  fluid into a USDW resulting from the injec- tion activity as stated in paragraphs (a)(1) and (2) of this section.

##### § 146.90   Testing   and   monitoring   re- quirements.

The owner  or  operator of a Class VI well must prepare, maintain, and com- ply with a testing and monitoring plan to verify that the geologic sequestra- tion project is operating as permitted and is not endangering USDWs. The re- quirement to maintain and implement an approved plan is directly enforce- able regardless of whether the require- ment is a condition of the permit. The testing and monitoring plan must be submitted with the permit application, for Director approval, and must include a description of how the owner or oper- ator will meet the requirements of this section,  including  accessing  sites  for all necessary monitoring and testing during the life of the project. Testing and monitoring associated with geo- logic sequestration projects must, at a minimum,  include:

- Analysis of the carbon dioxide stream with sufficient frequency to yield data representative of its chem- ical and physical characteristics;

- Installation and use, except dur- ing    well    workovers    as    defined    in

§ 146.88(d), of continuous recording de- vices to monitor injection pressure, rate,  and  volume;  the  pressure  on  the

annulus between the tubing and the long string casing; and  the  annulus fluid volume added;

- Corrosion monitoring of the well materials for loss of mass, thickness, cracking, pitting, and other signs of corrosion, which must be performed on a quarterly basis to ensure that the well components  meet  the minimum standards for material strength and performance set forth in § 146.86(b), by:

  - Analyzing coupons of the well construction materials placed in con- tact with the carbon dioxide stream; or

  - Routing the carbon dioxide stream  through  a  loop  constructed with the material used in the well and inspecting the materials in the loop; or

  - Using an alternative method ap- proved by the Director;

- Periodic monitoring of the ground water quality and geochemical changes above the confining zone(s) that may be a result of carbon dioxide movement through the confining zone(s) or addi- tional identified zones including:

  - The location and number of moni- toring wells based on specific informa- tion about the geologic sequestration project, including injection rate and volume, geology, the presence of artifi- cial penetrations, and  other  factors; and

  - The monitoring frequency and spatial distribution of monitoring wells based on baseline geochemical data that     has     been     collected     under

§ 146.82(a)(6) and on any modeling re- sults in the area of review evaluation required by § 146.84(c).

- A demonstration of external me- chanical       integrity       pursuant       to

§ 146.89(c) at least once per year  until the injection well is plugged; and, if re- quired by the Director, a casing inspec- tion   log   pursuant   to   requirements   at

§ 146.89(d) at a frequency established in the testing and monitoring plan;

- A pressure fall-off test at least once every five years unless more fre- quent testing is required by the Direc- tor based on site-specific information;

- Testing and monitoring to track the extent of the carbon dioxide plume and the presence or absence of elevated pressure (e.g., the pressure front) by using:

  - Direct methods in the injection zone(s); and,

#### § 146.91

  - Indirect methods (e.g., seismic, electrical, gravity, or electromagnetic surveys and/or down-hole carbon diox- ide detection tools), unless the Direc- tor determines, based on site-specific geology, that such methods are not ap- propriate;

- The Director may require surface air monitoring and/or soil gas moni- toring to detect movement of carbon dioxide that could endanger a USDW.

  - Design of Class VI surface air and/ or soil gas monitoring must be based on potential risks to USDWs within the area of review;

  - The monitoring frequency and spatial distribution of surface air mon- itoring and/or soil gas monitoring  must be decided using baseline data, and the monitoring plan must describe how the proposed monitoring will yield useful information on the area of review de- lineation and/or compliance with standards under § 144.12 of this chapter;

  - If an owner or operator dem- onstrates that monitoring employed under §§ 98.440 to 98.449 of this chapter (Clean Air Act, 42 U.S.C. 7401 et seq.) ac- complishes the goals of  paragraphs (h)(1) and (2) of this section, and meets the         requirements         pursuant         to

§ 146.91(c)(5), a Director that requires surface air/soil gas monitoring must approve the use  of  monitoring  em- ployed under §§ 98.440 to 98.449 of this chapter.    Compliance    with    §§ 98.440    to

98.449 of this chapter pursuant to this provision is considered a condition of the  Class  VI  permit;

- Any additional monitoring, as re- quired by the Director, necessary to support, upgrade, and improve com- putational modeling of the area of re- view     evaluation     required     under

§ 146.84(c) and to determine compliance with standards under § 144.12 of this chapter;

- The owner or operator shall peri- odically review the testing and moni- toring plan to incorporate monitoring data collected under this subpart, oper- ational data collected  under  § 146.88, and the most recent area of review re- evaluation performed under § 146.84(e). In no case shall the owner or operator review the testing and monitoring plan less often than once every five years. Based on this review, the owner or op- erator  shall  submit  an  amended  testing

#### 40 CFR Ch. I (7–1–17 Edition)

and monitoring plan or demonstrate to the Director that no amendment to the testing and monitoring plan is needed. Any amendments to the testing and monitoring plan must be approved by the Director, must be incorporated into the permit, and are subject to the per- mit    modification    requirements    at

§ 144.39 or § 144.41 of this chapter, as ap- propriate. Amended plans or dem- onstrations shall be submitted to the Director  as  follows:

- Within one year of an area of re- view reevaluation;

- Following any significant changes to the facility, such as addition of monitoring wells or newly permitted injection wells within the area of re- view, on a schedule determined by the Director; or

- When required by the Director.

- A quality assurance and surveil- lance plan for all testing and moni- toring requirements.

##### § 146.91   Reporting requirements.

The owner or operator must, at a minimum, provide, as specified in para- graph (e) of this section, the following reports to the Director, for each per- mitted Class VI well:

- Semi-annual reports containing:

- Any changes to the physical, chemical, and other relevant charac- teristics of the carbon dioxide stream from the proposed operating data;

- Monthly average, maximum, and minimum values for injection pressure, flow rate and volume, and annular pressure;

- A description of any event that exceeds operating parameters for annu- lus pressure or injection pressure speci- fied in the permit;

- A description of any event which triggers a shut-off device required pur- suant to § 146.88(e) and the response taken;

- The monthly volume and/or mass of the carbon dioxide stream injected over the reporting period and the vol- ume injected cumulatively over the life of the project;

- Monthly annulus fluid volume added; and

- The results of monitoring pre- scribed under § 146.90.

- Report, within 30 days, the results of:

#### Environmental Protection Agency	§ 146.92

  - Periodic tests of mechanical in- tegrity;

  - Any well workover; and,

  - Any other test of the injection well conducted by the permittee if re- quired by the Director.

- Report, within 24 hours:

  - Any evidence that the injected carbon dioxide stream or associated pressure front may cause an endangerment to a USDW;

  - Any noncompliance with a permit condition, or malfunction of the injec- tion system, which may cause fluid mi- gration into or between USDWs;

  - Any triggering of a shut-off sys- tem (i.e., down-hole or at the surface);

  - Any failure to maintain mechan- ical integrity; or.

  - Pursuant to compliance with the requirement at § 146.90(h) for surface air/soil gas monitoring or other moni- toring technologies, if required by the Director, any release of carbon dioxide to the atmosphere or biosphere.

- Owners or operators must notify the Director in writing 30 days in ad- vance of:

  - Any planned well workover;

  - Any planned  stimulation  activi- ties, other than stimulation for forma- tion testing  conducted under § 146.82; and

  - Any other planned test of the in- jection well conducted by the per- mittee.

- Regardless of whether a State has primary enforcement responsibility, owners or operators must submit all required reports, submittals, and noti- fications under subpart H of this part to EPA in an electronic format ap- proved by EPA.

- Records shall be retained by the owner or operator as follows:

  - All data collected under § 146.82 for Class VI permit applications shall be retained throughout the life of the geo- logic sequestration  project  and for  10 years  following  site  closure.

  - Data on the nature and composi- tion of all injected fluids collected pur- suant to § 146.90(a) shall be retained until 10 years after site closure. The Director may require the owner or op- erator to deliver the records to the Di- rector at the conclusion of the reten- tion period.

  - Monitoring data collected pursu- ant to § 146.90(b) through (i) shall be re- tained for 10 years after it is collected.

  - Well plugging reports, post-injec- tion site care data, including, if appro- priate, data and information used to develop the demonstration of the alter- native post-injection site care time- frame, and the site closure report col- lected   pursuant   to   requirements   at

§§ 146.93(f) and (h) shall be retained for 10 years following site closure.

  - The Director has authority to re- quire the owner or operator to retain any records required in this subpart for longer than 10 years after site closure.

##### § 146.92   Injection well plugging.

    - Prior to the well plugging, the owner or operator must flush each Class VI injection well with a buffer fluid, determine bottomhole reservoir pressure, and perform a final external mechanical integrity test.

    - Well plugging plan. The owner or operator of a Class VI well must pre- pare, maintain, and comply with a plan that is acceptable to the Director. The requirement to maintain and imple- ment an approved plan is directly en- forceable regardless of whether the re- quirement is a condition of the permit. The well plugging plan must be sub- mitted as part of the permit applica- tion and must include the following in- formation:

      - Appropriate tests or measures for determining bottomhole reservoir pres- sure;

      - Appropriate testing methods to ensure   external   mechanical   integrity as specified in § 146.89;

      - The type and  number of plugs  to be used;

      - The placement of each plug, in- cluding the elevation of the top and bottom of each plug;

      - The type, grade, and quantity of material to be used in plugging. The material must be compatible with the carbon dioxide stream; and

      - The method of placement of the plugs.

    - Notice of intent to plug. The owner or operator must notify the Director in writing  pursuant  to  § 146.91(e),  at  least

60 days before plugging of a well. At this time, if any changes  have  been made   to   the   original   well   plugging

#### § 146.93

plan, the owner or operator must also provide the revised well plugging plan. The Director  may allow  for a shorter notice period. Any amendments to the injection well plugging plan must be approved by the Director, must be in- corporated into the permit, and are subject to the permit modification re- quirements at § 144.39 or § 144.41 of this chapter,  as  appropriate.

    - Plugging report. Within 60 days after plugging, the owner or operator must submit, pursuant to § 146.91(e), a plugging report to the Director. The re- port must be certified as accurate  by the owner or operator and by the per- son who performed the plugging oper- ation (if other than the owner or oper- ator.) The owner or operator shall re- tain the well plugging report for 10 years following site closure.

##### § 146.93   Post-injection   site   care   and site closure.

- The owner or operator of a Class VI well must prepare, maintain, and comply with a plan for post-injection site care and site closure that  meets the requirements of paragraph (a)(2) of this section and is acceptable to the Director. The requirement to maintain and implement an approved plan is di- rectly enforceable regardless of wheth- er the requirement is a condition of the permit.

  - The owner or operator must sub- mit the post-injection site care and site closure plan as a part of the permit application to be approved by the Di- rector.

  - The post-injection site care and site closure plan must include the fol- lowing information:

    - The pressure differential between pre-injection and predicted post-injec- tion pressures in the injection zone(s);

    - The predicted position of the car- bon dioxide plume and associated pres- sure front at site closure as dem- onstrated in the area of review evalua- tion required under § 146.84(c)(1);

    - A description of post-injection monitoring location, methods, and pro- posed frequency;

    - A proposed schedule for submit- ting post-injection site care  moni- toring results to the Director pursuant to § 146.91(e); and,

#### 40 CFR Ch. I (7–1–17 Edition)

    - The duration of the post-injection site care timeframe and, if approved by the Director, the demonstration of the alternative post-injection site care timeframe that ensures non- endangerment of USDWs.

  - Upon cessation of injection, own- ers or operators of Class VI wells must either submit an amended post-injec- tion site care and site closure plan or demonstrate to the Director through monitoring data and modeling results that no amendment to the plan is need- ed. Any amendments to the post-injec- tion site care and  site  closure  plan must be approved by the Director, be incorporated into the permit, and are subject to the permit modification re- quirements at § 144.39 or § 144.41 of this chapter, as appropriate.

  - At any time during the life of the geologic sequestration project, the owner or operator may modify and re- submit the post-injection site care and site closure plan for the Director’s ap- proval within 30 days of such change.

- The owner or operator shall mon- itor the site following the cessation of injection to show the position of the carbon dioxide plume and pressure front and demonstrate that USDWs are not being endangered.

  - Following the cessation of injec- tion, the owner or operator shall con- tinue to conduct monitoring as speci- fied in the Director-approved post-in- jection site care and site closure  plan for at least 50 years or for the duration of the alternative timeframe approved by the Director pursuant to require- ments in paragraph (c) of this section, unless he/she makes a demonstration under (b)(2) of this section. The moni- toring must continue until the geologic sequestration project no longer poses an endangerment to USDWs and the demonstration under (b)(2) of this sec- tion is submitted and approved by the Director.

  - If the owner or operator can dem- onstrate to the satisfaction of the Di- rector before 50 years or prior to  the end of the approved alternative time- frame based on monitoring and other site-specific data, that the geologic se- questration project no longer poses an endangerment to USDWs, the Director may approve an amendment to the post-injection site care and site closure

#### Environmental Protection Agency	§ 146.93

plan to reduce the frequency of moni- toring or may authorize site closure before the end of the 50-year period or prior to the end of the approved alter- native timeframe, where he or she has substantial evidence that the geologic sequestration project no longer poses a risk of endangerment to USDWs.

  - Prior to authorization for site clo- sure, the owner or operator must sub- mit to the Director for review and ap- proval a demonstration, based on moni- toring and other site-specific data, that no additional monitoring is needed to ensure that the geologic sequestration project does not pose an endangerment to USDWs.

  - If the demonstration in paragraph (b)(3) of this section cannot be made (i.e., additional monitoring is needed to ensure that the geologic sequestration project does not pose an endangerment to USDWs) at the end of the 50-year pe- riod or at the end of the approved al- ternative timeframe, or if the Director does not approve the demonstration, the owner or operator must submit to the Director a plan to continue post-in- jection site care until a demonstration can be made and approved by the Di- rector.

- Demonstration of alternative post- injection site care timeframe. At the Di- rector’s discretion, the Director may approve, in consultation with EPA, an alternative post-injection site care timeframe other than the 50 year de- fault, if an owner or operator can dem- onstrate during the permitting process that an alternative post-injection  site care timeframe is appropriate and en- sures  non-endangerment   of   USDWs. The demonstration must be based on significant, site-specific data and infor- mation including all data and informa- tion collected pursuant to §§ 146.82 and 146.83, and must contain substantial evidence that the geologic  sequestra- tion project will no  longer  pose  a  risk of endangerment to USDWs  at  the  end of  the  alternative  post-injection   site care   timeframe.

  - A demonstration of an alternative post-injection site care timeframe must include consideration and docu- mentation of:

    - The results of computational mod- eling performed pursuant to  delinea- tion of the area of review under § 146.84;

    - The predicted timeframe for pres- sure decline within the injection zone, and any other zones, such that forma- tion fluids may not be forced into any USDWs; and/or the timeframe for pres- sure decline to pre-injection pressures;

    - The predicted rate of carbon di- oxide plume  migration  within  the in- jection zone, and the predicted time- frame for the cessation of migration;

    - A description of the site-specific processes that will result in carbon di- oxide trapping including immobiliza- tion by capillary trapping, dissolution, and mineralization at the site;

    - The predicted rate of carbon diox- ide trapping in the immobile capillary phase, dissolved phase, and/or mineral phase;

    - The results of laboratory anal- yses, research studies, and/or field or site-specific studies to verify the infor- mation required in paragraphs (iv) and

- of this section;

  - A characterization of the con- fining zone(s) including a demonstra- tion that it is free of  transmissive faults, fractures, and micro-fractures and of appropriate thickness, perme- ability, and integrity to impede fluid (e.g., carbon dioxide, formation fluids) movement;

  - The presence of potential con- duits for fluid movement including planned injection wells and project monitoring wells associated with the proposed geologic sequestration project or any other projects in proximity  to the predicted/modeled, final extent of the carbon dioxide plume and area of elevated pressure;

  - A description of the well con- struction and an assessment of the quality of plugs of all abandoned wells within the area of review;

  - The distance between the injec- tion zone and the nearest USDWs above and/or below the injection zone; and

  - Any additional site-specific fac- tors required by the Director.

  - Information submitted to support the demonstration in paragraph  (c)(1) of this section must meet the following criteria:

    - All analyses and tests  performed to support the demonstration must be accurate, reproducible, and performed in accordance with the established quality assurance standards;

#### § 146.94

    - Estimation techniques must be appropriate and EPA-certified test pro- tocols must be used where available;

    - Predictive models must be ap- propriate and tailored to the site con- ditions, composition of the carbon di- oxide stream and injection and site conditions over the life of the geologic sequestration  project;

    - Predictive models must be cali- brated using existing information (e.g., at Class I, Class II, or Class V experi- mental technology well sites) where sufficient data are available;

    - Reasonably conservative values and modeling assumptions must be used and disclosed to the Director whenever values are estimated on the basis of known, historical information instead of site-specific measurements;

    - An analysis must be performed to identify and assess aspects of the alter- native post-injection site care time- frame demonstration that contribute significantly to uncertainty. The owner or operator must conduct sensi- tivity analyses to determine the effect that significant uncertainty may con- tribute to the modeling demonstration.

    - An approved quality assurance and quality control plan must  address all aspects of the demonstration; and,

    - Any additional criteria required by the Director.

- Notice of intent for site closure. The owner or operator must notify the Di- rector in writing at least 120 days be- fore site closure. At this time, if any changes have been made to the original post-injection site care and site closure plan, the  owner or  operator must  also provide the revised plan. The Director may  allow  for  a  shorter  notice  period.

- After the Director has authorized site closure, the owner or operator must plug all monitoring wells in a manner which will not allow movement of injection or formation fluids that endangers a USDW.

- The owner or operator must sub- mit a site closure report to  the  Direc- tor within 90 days of site  closure, which must thereafter be retained at a location designated by the Director for 10 years. The report must include:

  - Documentation of appropriate in- jection  and  monitoring  well   plugging as specified in § 146.92 and paragraph (e) of  this  section.  The  owner  or  operator

#### 40 CFR Ch. I (7–1–17 Edition)

must provide a copy of a survey plat which has been submitted to the local zoning authority designated by the Di- rector. The plat must indicate the loca- tion of the injection well relative to permanently surveyed benchmarks. The owner or operator must also sub- mit a copy of the plat to the Regional Administrator of the appropriate EPA Regional Office;

  - Documentation of appropriate no- tification and information to such State, local and Tribal authorities that have authority over drilling  activities to enable such State, local, and Tribal authorities to impose appropriate con- ditions on subsequent drilling activi- ties that may penetrate the injection and confining zone(s); and

  - Records reflecting the nature, composition, and volume of the carbon dioxide stream.

- Each owner or operator of a Class VI injection well must record a nota- tion on the deed to the facility prop- erty or any other document that is nor- mally examined during title  search that will in perpetuity provide any po- tential purchaser of the property the following information:

  - The fact that land  has  been  used to sequester carbon dioxide;

  - The name of the State agency, local authority, and/or Tribe with which the survey plat was filed, as well as the address of the Environmental Protection Agency Regional Office to which it was submitted; and

  - The volume of fluid injected, the injection zone or zones into which it was injected, and the period over which injection  occurred.

- The owner or operator must re- tain for 10 years following site closure, records collected during the post-injec- tion site care period. The owner or op- erator must deliver the records to the Director at the conclusion of the reten- tion period, and the records must thereafter be retained at a location designated by the Director for that purpose.

##### § 146.94   Emergency  and  remedial  re- sponse.

- As part of the permit application, the owner or operator must provide the

#### Environmental Protection Agency	§ 146.95

Director with an emergency and reme- dial response plan that describes ac- tions the owner or operator must take to address movement of the injection or formation fluids that may cause an endangerment to a USDW during con- struction, operation, and post-injection site care periods. The requirement to maintain and implement an approved plan is directly enforceable regardless of whether the requirement is a condi- tion of the permit.

- If the owner or operator obtains evidence that the injected carbon diox- ide stream and associated pressure front may cause an endangerment to a USDW, the owner or operator must:

  - Immediately cease injection;

  - Take all steps reasonably nec- essary to identify and characterize any release;

  - Notify the Director within 24 hours; and

  - Implement the emergency and re- medial response plan approved by the Director.

- The Director may allow the oper- ator to resume injection prior to reme- diation if the owner or operator dem- onstrates that the injection operation will not endanger USDWs.

- The owner or operator shall peri- odically review the emergency and re- medial response plan developed under paragraph (a) of this section. In no case shall the owner or operator review the emergency and remedial response plan less often than once every five years. Based on this review, the owner or op- erator shall submit  an amended  emer- gency and remedial response plan or demonstrate to the Director that no amendment to the emergency and re- medial response plan is needed. Any amendments to the emergency and re- medial response plan must be approved by the Director, must be incorporated into the permit, and are subject to the permit   modification   requirements   at

§ 144.39 or § 144.41 of this chapter, as ap- propriate. Amended plans or dem- onstrations shall be submitted to the Director  as  follows:

  - Within one year of an area of re- view reevaluation;

  - Following any significant changes to the facility, such as addition of in- jection or monitoring wells, on a sched- ule determined by the Director; or

  - When required by the Director.

##### § 146.95   Class VI injection depth waiv- er requirements.

This section sets forth information which an owner or operator seeking a waiver of the Class VI injection depth requirements must submit to the Di- rector; information the Director must consider in consultation with all af- fected Public Water System  Super- vision Directors; the procedure for Di- rector—Regional Administrator com- munication and waiver issuance; and the additional requirements that  apply to owners or operators of Class VI wells granted a waiver of the injection depth requirements.

    - In seeking a waiver of the require- ment to inject below the lowermost USDW, the owner or operator must submit a supplemental report concur- rent with permit application. The sup- plemental report must include the fol- lowing,

      - A demonstration that the injec- tion zone(s) is/are laterally continuous, is not a USDW, and is not hydrau- lically connected to USDWs; does not outcrop; has adequate injectivity, vol- ume, and sufficient porosity to safely contain the injected carbon dioxide and formation fluids; and has appropriate geochemistry.

      - A demonstration that the injec- tion zone(s) is/are bounded by laterally continuous, impermeable  confining units above and below the injection zone(s) adequate to prevent fluid move- ment and pressure buildup outside of the injection zone(s); and that the con- fining unit(s) is/are free of transmissive faults and fractures. The report shall further characterize the regional frac- ture properties and contain a dem- onstration that such fractures will not interfere with injection, serve as con- duits, or endanger USDWs.

      - A demonstration, using computa- tional modeling, that  USDWs  above and below the injection zone  will  not be endangered as a result of fluid movement. This modeling should be conducted in conjunction with the area of review determination, as  described in § 146.84, and is subject to require- ments, as described in § 146.84(c), and periodic  reevaluation,  as  described  in

§ 146.84(e).

#### § 146.95

      - A demonstration that well design and construction, in conjunction with the waiver, will ensure isolation of the injectate in lieu of requirements at 146.86(a)(1) and will meet well construc- tion requirements in paragraph (f) of this  section.

      - A description of how the moni- toring and testing and any additional plans will be tailored to the geologic sequestration project to ensure protec- tion of USDWs above and below the in- jection zone(s), if a waiver is granted.

      - Information on the location of all the public water supplies affected, rea- sonably likely to be affected, or served by USDWs in the area of review.

      - Any other information requested by the Director to inform the Regional Administrator’s decision to issue a waiver.

    - To inform the Regional Adminis- trator’s decision on whether to grant a waiver of the injection depth require- ments at §§ 144.6 of this chapter, 146.5(f), and 146.86(a)(1), the Director must submit, to the Regional Adminis- trator, documentation of the  following:

      - An evaluation of the following in- formation as it relates to siting, con- struction, and operation of a geologic sequestration project with a waiver:

        - The integrity of the upper and lower confining units;

        - The suitability of the injection zone(s) (e.g., lateral continuity; lack of transmissive faults and fractures; knowledge of current or planned artifi- cial penetrations into the injection zone(s) or formations below the injec- tion zone);

        - The potential capacity of the geologic formation(s) to sequester car- bon dioxide, accounting for the avail- ability of alternative injection sites;

        - All other site characterization data, the proposed emergency and re- medial response plan, and a demonstra- tion of financial responsibility;

        - Community needs, demands, and supply from drinking water resources;

        - Planned needs, potential and/or future use of USDWs  and  non-USDWs in the area;

        - Planned or permitted water, hy- drocarbon, or mineral  resource exploi- tation potential of the proposed injec- tion formation(s) and other formations both   above   and   below   the   injection

#### 40 CFR Ch. I (7–1–17 Edition)

zone to determine if there  are  any plans to drill through the formation to access resources in or beneath the pro- posed injection zone(s)/formation(s);

        - The proposed plan for securing alternative resources or treating USDW formation waters in the event of contamination related to the Class VI injection activity; and,

        - Any other applicable consider- ations or information requested by the Director.

      - Consultation with the Public Water System Supervision Directors of all States and Tribes having jurisdic- tion over lands within the area of re- view of a well for which a waiver is sought.

      - Any written waiver-related infor- mation submitted by the Public Water System Supervision Director(s) to the (UIC) Director.

    - Pursuant   to   requirements   at

§ 124.10 of this chapter and concurrent with the Class VI permit application notice process, the Director shall give public notice that a waiver application has been submitted. The notice shall clearly   state:

- The depth of the proposed injec- tion zone(s);

- The location of the injection well(s);

- The name and depth of all USDWs within the area of review;

- A map of the area of review;

- The names of any public water supplies affected, reasonably likely to be affected, or served by USDWs in the area of review; and,

- The results of UIC-Public Water System Supervision consultation re- quired under paragraph (b)(2) of this section.

    - Following public notice, the Di- rector shall provide all information re- ceived through the waiver application process to the Regional Administrator. Based on the information provided, the Regional Administrator shall provide written concurrence or non-concur- rence regarding waiver issuance.

      - If the Regional Administrator de- termines that additional information is required to support a decision, the Di- rector shall provide the information. At his or her discretion, the Regional Administrator may require that public

#### Environmental Protection Agency	Pt. 147

notice of the new information be initi- ated.

      - In no case shall a Director of a State-approved program issue a waiver without receipt of written concurrence from the Regional Administrator.

    - If a waiver is issued, within 30 days of waiver issuance, EPA shall post the following information on the Office of Water’s Web site:

      - The depth of the proposed injec- tion zone(s);

      - The location of the injection well(s);

      - The name and depth of all USDWs within the area of review;

      - A map of the area of review;

      - The names of any public water supplies affected, reasonably likely to be affected, or served by USDWs in the area of review; and

      - The date of waiver issuance.

    - Upon receipt of a waiver of the re- quirement to  inject below  the lower- most USDW for geologic sequestration, the owner or operator of the Class VI well must comply with:

- All requirements at §§ 146.84, 146.85, 146.87, 146.88, 146.89, 146.91, 146.92, and 146.94;

- All requirements at § 146.86 with the  following  modified  requirements:

  - The owner or operator must en- sure that  Class  VI  wells  with  a  waiver are constructed and completed to pre- vent movement of fluids into any unau- thorized zones including  USDWs,  in lieu of requirements at § 146.86(a)(1).

  - The casing and cementing pro- gram must be designed to prevent the movement of fluids into any unauthor- ized zones including USDWs in lieu of requirements at § 146.86(b)(1).

  - The surface casing must extend through the base of the nearest USDW directly above the injection zone and be cemented to the surface; or, at the Director’s discretion, another forma- tion above the injection zone and below the nearest USDW above the injection zone.

- All requirements at § 146.90 with the  following  modified  requirements:

  - The owner or operator shall mon- itor the groundwater quality, geo- chemical changes, and pressure in the first USDWs immediately above and below the injection zone(s); and in any

other  formations  at  the  discretion  of the Director.

  - Testing and monitoring to track the extent of the carbon dioxide plume and the presence or absence of elevated pressure (e.g., the pressure front) by using direct methods to monitor for pressure changes in the injection zone(s); and, indirect methods (e.g., seismic, electrical, gravity, or electro- magnetic surveys and/or down-hole car- bon dioxide detection tools), unless the Director determines, based on site-spe- cific  geology,  that  such  methods  are not appropriate.

- All requirements at § 146.93 with the  following,  modified  post-injection site  care  monitoring  requirements:

  - The owner or operator shall mon- itor the groundwater quality, geo- chemical changes and pressure in the first USDWs immediately above and below the injection zone; and in any other formations at the discretion of the Director.

  - Testing and monitoring to track the extent of the carbon dioxide plume and the presence or absence of elevated pressure (e.g., the pressure front) by using direct methods in the injection zone(s); and indirect methods (e.g., seismic, electrical, gravity, or electro- magnetic surveys and/or down-hole car- bon dioxide detection tools), unless the Director determines based on site-spe- cific  geology,  that  such  methods  are not appropriate;

- Any additional requirements re- quested by the Director designed to en- sure protection of USDWs above and below the injection zone(s).

# PART 147—STATE, TRIBAL, AND EPA-ADMINISTERED	UNDER- GROUND INJECTION CONTROL PROGRAMS

##### Subpart A—General Provisions

Sec.

  - Purpose and scope.

  - Severability of provisions.

##### Subpart B—Alabama

  - State-administered program—Class II wells.

  - State-administered program—Class I, III, IV, and V wells.

  - State-administered	program—Hy- draulic Fracturing of Coal Beds.

Pt. 147

147.60 EPA-administered program—Indian lands.

##### Subpart C—Alaska

  - State-administered program—Class II wells.

  - EPA-administered program.

  - Aquifer exemptions.

  - Existing Class I, II (except enhanced recovery and hydrocarbon storage) and III wells authorized by rule.

  - Existing Class II enhanced recovery and hydrocarbon storage wells author- ized by rule.

##### Subpart D—Arizona

  - State-administered program. [Re- served]

  - EPA-administered program.

  - Aquifer exemptions. [Reserved]

##### Subpart E—Arkansas

  - State-administered program—Class I, III, IV, and V wells.

  - State-administered program—Class II wells. [Reserved]

147.205 EPA-administered program—Indian lands.

##### Subpart F—California

  - State-administered program—Class II wells.

  - EPA-administered program—Class I, III, IV, and V wells and Indian lands.

  - Aquifer exemptions. [Reserved]

  - Existing Class I, II (except enhanced recovery and hydrocarbon storage) and III wells authorized by rule.

##### Subpart G—Colorado

  - State-administered program—Class II wells.

  - EPA-administered program—Class I, III, IV, V wells and Indian lands.

  - Aquifer exemptions.

  - Existing Class I, II (except enhanced recovery and hydrocarbon storage) and III wells authorized by rule.

  - Existing Class II enhanced recovery and hydrocarbon storage wells author- ized by rule.

  - Requirements for all wells.

##### Subpart H—Connecticut

147.350       State-administered  program. 147.351–147.352   [Reserved]

  - EPA-administered program—Indian lands.

  - –147.359   [Reserved]

##### Subpart I—Delaware

  - State-administered program.

#### 40 CFR Ch. I (7–1–17 Edition)

  - –147.402   [Reserved]

147.403    EPA-administered    program—Indian lands.

147.404–147.449   [Reserved]

##### Subpart J—District of Columbia

147.450   State-administered    program.    [Re- served]

147.451    EPA-administered program.

147.452   Aquifer exemptions. [Reserved]

##### Subpart K—Florida

147.500 State-administered program—Class I, III, IV, and V wells.

147.501    EPA-administered program—Class II wells  and  Indian  lands.

147.502   Aquifer exemptions. [Reserved]

147.503 Existing Class II (except enhanced recovery and hydrocarbon storage) wells authorized by rule.

147.504 Existing Class II enhanced recovery and hydrocarbon storage wells author- ized by rule.

##### Subpart L—Georgia

147.550       State-administered  program. 147.551–147.552   [Reserved]

147.553    EPA-administered    program—Indian lands.

147.554–147.559   [Reserved]

##### Subpart M—Hawaii

147.600   State-administered    program.    [Re- served]

147.601    EPA-administered program.

##### Subpart N—Idaho

147.650  State-administrative	program— Class I, II, III, IV, and V wells.

147.651    EPA-administered    program—Indian lands.

147.652   Aquifer exemptions. [Reserved]

##### Subpart O—Illinois

147.700 State-administered program—Class I, III, IV, and V wells.

147.701  State-administered   program—Class II wells.

147.703    EPA-administered    program—Indian lands.

##### Subpart P—Indiana

147.750  State-administered   program—Class II wells.

147.751    EPA-administered program. 147.752   Aquifer exemptions. [Reserved]

147.753   Existing Class I and III wells author- ized by rule.

#### Environmental Protection Agency	Pt. 147

##### Subpart Q—Iowa

147.800 State-administered program. [Re- served]

147.801    EPA-administered program. 147.802   Aquifer exemptions. [Reserved]

##### Subpart R—Kansas

147.850 State-administered program—Class I, III, IV and V wells.

147.851 State-administered  program—Class II wells.

147.852–147.859   [Reserved]

147.860 EPA-administered program—Indian lands.

##### Subpart S—Kentucky

- State-administered program—Class II wells.

- EPA-administered program—Class I, III, IV, V, and VI wells and Indian lands.EPA-administered   program.

- Aquifer exemptions.

- Existing Class I and III wells author- ized by rule.

- [Reserved]

- Requirements for all wells—area of review.

147.1154 Existing Class II enhanced recovery and hydrocarbon storage wells author- ized by rule.

147.1155   Requirements for all wells.

##### Subpart Y—Minnesota

147.1200 State-administered program. [Re- served]

147.1201    EPA-administered program. 147.1202   Aquifer exemptions. [Reserved] 147.1210    Requirements for Indian lands.

##### Subpart Z—Mississippi

147.1250 State-administered program—Class I, III, IV, and V wells.

147.1251  State-administered   program—Class II  wells.

147.1252 EPA-administered program—Indian lands.

##### Subpart AA—Missouri

147.1300    State-administered program.

147.1301 State-administered program—Class I, III, IV, and V wells.

147.1302   Aquifer exemptions. [Reserved] 147.1303    EPA-administered  program—Indian

lands.

##### Subpart BB—Montana

Subpart T—Louisiana

147.950     State-administered program.

147.951    EPA-administered    program—Indian lands.

##### Subpart U—Maine

147.1000    State-administered program.

147.1001    EPA-administered  program—Indian lands.

##### Subpart V—Maryland

147.1050  State-administered program—Class I, II, III, IV, and V wells.

147.1051–147.1052  [Reserved]

147.1053    EPA-administered  program—Indian lands.

147.1054–147.1099  [Reserved]

##### Subpart W—Massachusetts

147.1100    State-administered program.

147.1101    EPA-administered  program—Indian lands.

##### Subpart X—Michigan

147.1150    State-administered    program.    [Re- served]

147.1151    EPA-administered program. 147.1152   Aquifer exemptions. [Reserved]

147.1153 Existing Class I, II (except en- hanced recovery and hydrocarbon stor- age) and III wells authorized by rule.

147.1350   State-administered	programs— Class  II  wells.

147.1351    EPA-administered program.

147.1352   Aquifer exemptions.

147.1353 Existing Class I, II (except en- hanced recovery and hydrocarbon stor- age) and III wells authorized by rule.

147.1354 Existing Class II enhanced recovery and hydrocarbon storage wells author- ized by rule.

147.1355  Requirements for all wells.  APPENDIX   A  TO   SUBPART   BB  OF   PART   147—

STATE  REQUIREMENTS  INCORPORATED  BY

REFERENCE   IN   SUBPART   BB  OF   PART   147

OF THE CODE OF FEDERAL REGULATIONS.

##### Subpart CC—Nebraska

147.1400  State-administered   program—Class II  wells.

147.1401 State-administered program—Class I, III, IV, and V wells.

147.1402   Aquifer exemptions. [Reserved] 147.1403    EPA-administered  program—Indian

lands.

##### Subpart DD—Nevada

147.1450    State-administered program.

147.1451 EPA-administered program—Indian lands.

147.1452  Aquifer exemptions. [Reserved] 147.1453   Existing   Class   I,   II   (except   en-

hanced  recovery  and  hydrocarbon  stor- age) and III wells authorized by rule.

#### Pt. 147

147.1454 Existing Class II enhanced recovery and hydrocarbon storage wells author- ized by rule.

##### Subpart EE—New Hampshire

147.1500    State-administered program.

147.1501 EPA-administered program—Indian lands.

#### 40 CFR Ch. I (7–1–17 Edition)

##### Subpart LL—Oklahoma

147.1850  State-administered program—Class I, III, IV and V wells.

147.1851    State-administered   program—Class II  wells.

147.1852    EPA-administered  program—Indian lands.

##### Subpart FF—New Jersey

147.1550    State-administered program.

147.1551 EPA-administered program—Indian lands.

##### Subpart GG—New Mexico

147.1600  State-administered   program—Class II  wells.

147.1601 State-administered program—Class I, III, IV and V wells.

147.1603 EPA-administered program—Indian lands.

##### Subpart HH—New York

147.1650 State-administered program. [Re- served]

147.1651    EPA-administered program.

147.1652   Aquifer exemptions.

147.1653 Existing Class I, II (except en- hanced recovery and hydrocarbon stor- age) and III wells authorized by rule.

147.1654 Existing Class II enhanced recovery and hydrocarbon storage wells author- ized by rule.

147.1655 Requirements for wells  authorized by  permit.

##### Subpart II—North Carolina

147.1700    State-administered program.

147.1701–147.1702  [Reserved]

147.1703 EPA-administered program—Indian lands.

147.1704–147.1749  [Reserved]

##### Subpart JJ—North Dakota

147.1750  State-administered   program—Class II  wells.

147.1751 State-administered program—Class I, III, IV and V wells.

147.1752 EPA-administered program—Indian lands.

##### Subpart KK—Ohio

147.1800  State-administered   program—Class II  wells.

147.1801 State-administered program—Class I, III, IV and V wells.

147.1802  Aquifer exemptions. [Reserved] 147.1803   Existing  Class  I  and  III  wells  au-

thorized    by    rule—maximum    injection pressure.

147.1805 EPA-administered program—Indian lands.

##### Subpart MM—Oregon

147.1900    State-administered program.

147.1901 EPA-administered program—Indian lands.

##### Subpart NN—Pennsylvania

147.1950 State-administered program. [Re- served]

147.1951    EPA-administered program.

147.1952   Aquifer exemptions.

147.1953 Existing Class I, II (except en- hanced recovery and hydrocarbon stor- age) and III wells authorized by rule.

147.1954 Existing Class II enhanced recovery and hydrocarbon storage wells author- ized by rule.

147.1955 Requirements for wells  authorized by  permit.

##### Subpart OO—Rhode Island

147.2000 State-administered program—Class I, II, III, IV, and V wells.

147.2001 EPA-administered program—Indian lands.

##### Subpart PP—South Carolina

147.2050    State-administered program.

147.2051 EPA-administered program—Indian lands.

##### Subpart QQ—South Dakota

147.2100  State-administered   program—Class II  wells.

147.2101 EPA-administered program—Class I, III, IV and V wells and all wells on In- dian lands.

147.2102   Aquifer exemptions.

147.2103 Existing Class II enhanced recovery and hydrocarbon storage wells author- ized by rule.

147.2104   Requirements for all wells.

##### Subpart RR—Tennessee

147.2150 State-administered program. [Re- served]

147.2151   EPA-administered   program   Class VI  and  Indian  lands.

147.2152  Aquifer exemptions. [Reserved] 147.2153   Existing   Class   I,   II   (except   en-

hanced  recovery  and  hydrocarbon  stor- age) and III wells authorized by rule.

#### Environmental Protection Agency	Pt. 147

##### Subpart SS—Texas

147.2200  State-administered program—Class I, III, IV, and V wells.

147.2201    State-administered   program—Class II  wells.

147.2205    EPA-administered  program—Indian lands.

##### Subpart TT—Utah

147.2250  State-administered program—Class I, III, IV, and V wells.

147.2251    State-administered   program—Class II  wells.

147.2253    EPA-administered  program—Indian lands.

##### Subpart UU—Vermont

147.2300    State-administered program.

147.2301–147.2302  [Reserved]

147.2303    EPA-administered  program—Indian lands.

147.2304–147.2349  [Reserved]

##### Subpart VV—Virginia

147.2350    State-administered    program.    [Re- served]

147.2351    EPA-administered program. 147.2352   Aquifer exemptions. [Reserved]

##### Subpart WW—Washington

147.2400  State-administered program—Class I, II, III, IV, and V wells.

147.2403    EPA-administered  program—Indian lands.

147.2404   EPA-administered	program— Colville     Reservation.

##### Subpart XX—West Virginia

147.2450–147.2452  [Reserved]

147.2453    EPA-administered  program—Indian lands.

147.2454–147.2499  [Reserved]

##### Subpart YY—Wisconsin

147.2500    State-administered program.

147.2510    EPA-administered  program—Indian lands.

##### Subpart ZZ—Wyoming

147.2550  State-administered program—Class I, III, IV, and V wells.

147.2551    State-administered   program—Class II  wells.

147.2553    EPA-administered  program—Indian lands.

147.2554   Aquifer exemptions.

147.2555    Aquifer   exemptions   since   January 1, 1999.

##### Subpart AAA—Guam

147.2600    State-administered program.

147.2601    EPA-administered  program—Indian lands.

##### Subpart BBB—Puerto Rico

147.2650  State-administered program—Class I, II, III, IV, and V wells.

147.2651    EPA-administered  program—Indian lands.

##### Subpart CCC—Virgin Islands

147.2700    State-administered    program.    [Re- served]

147.2701    EPA-administered program.

##### Subpart DDD—American Samoa

147.2750    State   administered   program.   [Re- served]

147.2751    EPA-administered program. 147.2752   Aquifer exemptions. [Reserved]

##### Subpart EEE—Commonwealth of the Northern Mariana Islands

147.2800  State-administered program—Class I, II, III, IV, and V wells.

147.2801    EPA-administered program. 147.2802   Aquifer exemptions. [Reserved]

##### Subpart FFF—Trust Territory of the Pacific Islands

147.2850    State-administered    program.    [Re- served]

147.2851    EPA-administered program. 147.2852   Aquifer exemptions. [Reserved]

##### Subpart GGG—Osage Mineral Reserve— Class II Wells

147.2901   Applicability and scope. 147.2902  Definitions.

147.2903    Prohibition  of  unauthorized  injec- tion.

147.2904   Area of review.

147.2905   Plugging and abandonment. 147.2906   Emergency permits.

147.2907     Confidentiality of information. 147.2908   Aquifer exemptions.

147.2909    Authorization  of  existing  wells  by rule.

147.2910    Duration of authorization by rule. 147.2911    Construction requirements for wells

authorized by rule.

147.2912   Operating   requirements   for   wells authorized  by  rule.

147.2913   Monitoring  and  reporting  require- ments  for  wells  authorized  by  rule.

147.2914    Corrective  action  for  wells  author- ized by rule.

147.2915   Requiring   a   permit   for   wells   au- thorized  by  rule.

#### § 147.1

147.2916   Coverage    of    permitting    require- ments.

147.2917   Duration of permits.

147.2918     Permit application information. 147.2919    Construction requirements for wells

authorized by permit.

147.2920   Operating   requirements   for   wells authorized  by  permit.

147.2921   Schedule of compliance.

147.2922   Monitoring  and  reporting  require- ments  for  wells  authorized  by  permit.

147.2923    Corrective  action  for  wells  author- ized  by  permit.

147.2924    Area permits.

147.2925    Standard permit conditions. 147.2926   Permit transfers.

147.2927    Permit modification.

147.2928    Permit termination.

147.2929    Administrative    permitting    proce- dures.

##### Subpart HHH—Lands of the Navajo, Ute Mountain Ute, and All Other New Mex- ico Tribes

147.3000    EPA-administered program.

147.3001  Definition.

147.3002    Public notice of permit actions. 147.3003   Aquifer exemptions.

147.3004    Duration  of  rule  authorization  for existing  Class  I  and  III  wells.

147.3005    Radioactive waste injection wells. 147.3006    Injection pressure for existing Class

II wells authorized by rule.

147.3007    Application for a permit. 147.3008    Criteria for aquifer exemptions. 147.3009  Area of review.

147.3010   Mechanical integrity tests.

147.3011    Plugging and abandonment of Class III  wells.

147.3012  Construction	requirements	for Class  I  wells.

147.3013   Information   to   be   considered   for Class  I  wells.

147.3014  Construction	requirements	for Class  III  wells.

147.3015   Information   to   be   considered   for Class  III  wells.

147.3016   Criteria and standards applicable to Class V wells.

APPENDIX A TO SUBPART HHH OF PART 147— EXEMPTED AQUIFERS IN NEW MEXICO.

##### Subpart III—Lands of Certain Oklahoma Indian Tribes

147.3100    EPA-administered program. 147.3101    Public notice of permit actions. 147.3102    Plugging and abandonment plans. 147.3103  Fluid seals.

147.3104   Notice of abandonment.

147.3105    Plugging and abandonment report. 147.3106  Area of review.

147.3107   Mechanical integrity.

147.3108   Plugging Class I, II, and III wells. 147.3109   Timing   of   mechanical   integrity

test.

#### 40 CFR Ch. I (7–1–17 Edition)

##### Subpart JJJ—Assiniboine and Sioux Tribes

147.3200    Fort  Peck  Indian  Reservation:  As- siniboine  &  Sioux  Tribes—Class  II  wells.

##### Subpart KKK [Reserved]

Subpart LLL—Navajo Indian Lands

147.3400   Navajo Indian lands—Class II wells. AUTHORITY: 42 U.S.C. 300h–4.

SOURCE:  49  FR  20197,  May  11,  1984,  unless

otherwise noted.

EDITORIAL NOTE: Nomenclature changes  to part 147 appear at 69 FR 18803, Apr. 9, 2004.

# Subpart A—General Provisions

##### § 147.1   Purpose and scope.

- This part sets forth the applicable Underground Injection Control (UIC) programs for each of the States, terri- tories, and possessions identified pur- suant to the Safe Drinking Water Act (SDWA) as needing a UIC program, in- cluding any Indian country geographi- cally located within those States, ter- ritories, and possessions.

- The applicable UIC programs set forth in this part may be State-admin- istered programs approved by EPA, Tribally-administered programs ap- proved by EPA, or Federally-adminis- tered programs promulgated by  EPA. In some cases, the applicable UIC pro- gram for a particular area may consist of a State-administered or Tribally-ad- ministered program applicable to some classes of wells and a Federally-admin- istered program applicable to other classes of wells. Approval of a State or Tribal program is based upon a deter- mination by  the  Administrator  that the program meets the requirements of section 1422 or section 1425 of the SDWA, any other applicable provisions of this subpart, and the applicable pro- visions of 40 CFR parts 124, 144, 145 and

146. A Federally-administered program is promulgated in those instances where the State or Tribe has not sub- mitted any program for approval or where the submitted program does not meet the minimum Federal statutory and regulatory requirements.

- In the case of each State or Tribal program approved by EPA pursuant to section 1422 of the SDWA, the relevant subpart describes the major elements of that program, including the relevant

Environmental Protection Agency	§ 147.50

State or Tribal statutes and regula- tions, the Statement(s) of Legal Au- thority, the Memorandum of Agree- ment, and the Program Description. State or Tribal statutes and regula- tions that contain standards, require- ments, and procedures applicable to owners or operators have been incor- porated by reference pursuant to regu- lations of the Office of the Federal Register. Material incorporated by ref- erence is available for inspection in the appropriate EPA Regional office,  in EPA Headquarters, and at the National Archives and Records Administration (NARA). For information on the avail- ability  of  this  material  at  NARA,  call

(202)	741–6030. Other State or Trib- al statutes and regulations containing standards  and  procedures  that  con- stitute  elements  of  a  State  or  Tribal program but do not apply directly to owners or operators have been listed but have not been incorporated by ref- erence.

- In the case of any program pro- mulgated under section 1422 for a State or Tribe that is to be administered by EPA, the relevant State or Tribal sub- part makes applicable the provisions  of 40 CFR parts 124, 144, 146, and 148, and any other additional requirements per- tinent to the specific State or Tribal program.

- Regulatory provisions incor- porated by reference (in the case of ap- proved State or Tribal programs) or promulgated by EPA (in the case of EPA-administered programs), and all permit conditions or permit denials issued pursuant  to  such  regulations, are enforceable by the Administrator pursuant to section 1423 of the SDWA.

- Class VI well owners or operators must comply with § 146.91(e) notwith- standing  any  State  program  approvals.

[73 FR 63646, Oct. 27, 2008, as amended at 75

FR 77303, Dec. 10, 2010]

##### § 147.2   Severability of provisions.

The provisions  in this  part and  the various applications thereof are dis- tinct and severable. If any provision of this part or the application thereof to any person or circumstances is held in- valid,  such  invalidity  shall  not  affect

other provisions or application of such provision to other persons or cir- cumstances which can be given effect without the invalid provision or appli- cation.

# Subpart B—Alabama

##### § 147.50   State-administered  program— Class II wells.

The UIC program for Class II wells in the State of Alabama, except those on Indian lands, is the program adminis- tered by the State Oil and Gas Board of Alabama, approved by EPA pursuant to section 1425  of the SDWA. Notice of this approval was published in the FED- ERAL REGISTER on August 2, 1982 (47 FR

33268); the effective date of this pro- gram is August 2, 1982. This program consists of the following elements, as submitted to EPA in  the  State’s  pro- gram   application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Alabama. This incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

  - Code of Alabama Sections 9–17–1 through 9–17–109 (Cumm. Supp. 1989);

  - State Oil and Gas Board  of  Ala- bama Administrative Code, Oil and Gas Report 1 (supplemented through May 1989), Rules and Regulations Governing the Conservation of Oil and Gas in Ala- bama, and Oil and Gas Statutes of Ala- bama   with   Oil   and   Gas   Board   Forms,

§ 400–1–2 and § 400–1–5–.04.

- The Memorandum of Agreement between EPA Region IV and the Ala- bama Oil and Gas Board, signed by the EPA Regional Administrator on June 15, 1982.

- Statement of legal authority. ‘‘State Oil and Gas Board has  Authority  to Carry Out Underground Injection Con- trol Program Relating to Class II Wells as Described in Federal Safe Drinking Water Act—Opinion by Assistant At- torney General,’’ May 28, 1982.

- The Program Description and any other  materials  submitted  as  part  of

§ 147.51

the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR  43086,  Oct.  25,  1988;  56  FR  9411,  Mar.  6,

1991]

##### § 147.51   State-administered  program— Class I, III, IV, and V wells.

The UIC program for Class I, III, IV and V wells in the State of Alabama, except those on Indian lands, is the program administered by the Alabama Department of Environmental Manage- ment, approved by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in the FED- ERAL  REGISTER  on August 25, 1983 (48

FR 38640); the effective date of this pro- gram is August 25, 1983. This program consists of the following elements, as submitted to EPA in  the  State’s  pro- gram   application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Alabama. This incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

  - Alabama Water Pollution Control Act, Code of Alabama 1975, sections 22– 22–1 through 22–22–14 (1980 and Supp. 1983);

  - Regulations, Policies and Proce- dures of the Alabama Water Improve- ment Commission, Title  I  (Regula- tions) (Rev. December 1980), as amend- ed May 17, 1982, to add Chapter 9, Un- derground Injection Control Regula- tions (effective June 10, 1982), as amended April 6, 1983 (effective May 11, 1983).

- The Memorandum of Agreement between EPA Region IV and the Ala- bama Department of Environment Management, signed by the EPA Re- gional Administrator on May 24, 1983.

- Statement of legal authority. (1) ‘‘Water Pollution—Public  Health— State has Authority to Carry Out Un- derground Injection Control Program Described in Federal Safe Drinking Water Act—Opinion by Legal Counsel for the Water Improvement Commis- sion,’’ June 25, 1982;

#### 40 CFR Ch. I (7–1–17 Edition)

- Letter from Attorney, Alabama Water Improvement Commission, to Regional Administrator,  EPA  Region IV, ‘‘Re: AWIC Response to Phillip Tate’s (U.S. EPA, Washington) Com- ments on AWIC’s Final Application for Class I, III, IV, and V UIC Program,’’ September 21, 1982;

- Letter from Alabama Chief Assist- ant Attorney General to Regional Counsel,  EPA  Region  IV,   ‘‘Re:   Status of Independent Legal Counsel in Ala- bama Water Improvement Commis- sion’s Underground Injection Control Program,’’ September 14, 1982.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43086, Oct. 25, 1988]

##### § 147.52   State-administered  program— Hydraulic Fracturing of Coal Beds.

The UIC program for hydraulic frac- turing of coal beds in the State of Ala- bama, except those on Indian lands,  is the program administered by the  State Oil and Gas Board of Alabama, ap- proved by EPA pursuant to  Section 1425 of the SDWA on December 22, 1999 and effective on January 19, 2000. The Alabama program consists of the fol- lowing elements, as submitted  to  EPA in  the  State’s  program  application:

- Incorporation by reference. The re- quirements set forth in State Oil and Gas Board of Alabama Rule 400–4–1–.02, Definitions, and Rule 400–4–5–.04, Pro- tection of Underground Sources of Drinking Water during the Hydraulic Fracturing of Coal Beds, are hereby in- corporated by reference and made a part of the applicable UIC program under the SDWA for the State of Ala- bama. This incorporation by reference was approved by the Director of the Federal Register on January 19, 2000 in accordance with 5 U.S.C. 552(a) and 1 CFR part 51. Copies may be obtained at the State Oil and Gas Board of Ala- bama, 420 Hackberry Lane, Tuscaloosa, AL 35489–9780. Copies may be inspected at the Environmental Protection Agen- cy, Region 4, Water Management Divi- sion, Ground  Water/Drinking  Water Branch, Ground Water & UIC Section, Sam  Nunn  Atlanta  Federal  Center,  61

#### Environmental Protection Agency	§ 147.100

Forsyth Street, S.W., Room15–T53, At- lanta, GA 30303-8960, or at the National Archives  and  Records  Administration (NARA). For information on the avail- ability  of  this  material  at  NARA,  call 202–741–6030.

- Addendum One, Underground In- jection Control Program, Memorandum of Agreement Between the State of Alabama and the USEPA Region 4, signed by  the  Supervisor,  Alabama State Oil and Gas Board on  December 10, 1999, and the Regional Adminis- trator, U.S. Environmental Protection Agency Region 4, on December 13, 1999.

- Statement of Legal Authority. ‘‘I hereby certify, pursuant to my author- ity as Attorney General  for  the  State of Alabama and for reasons set forth in this statement, that in my opinion, the laws of the State of Alabama provide the State Oil and Gas Board (herein- after referred to as ‘‘the Board’’) ade- quate authority to carry out an Under- ground Injection Program for the con- trol of underground injection activity related to the hydraulic fracturing of coal beds.’’ Opinion by Alabama’s At- torney General Office, extracted from Letter from R. Craig Kneisel, Chief, Environmental Division, Office of the Attorney General, dated October 8, 1999, to Dr. Donald F. Oltz, Supervisor, State Oil and Gas Board of Alabama, Subject: Attorney General’s Statement for Final Authorization of Alabama Class II Underground injection Control Program.

- The Program Description for the Regulation of Hydraulic Fracturing of Coal Beds As required by 40 CFR 145.23—State Oil and Gas Board of Ala- bama, including Appendices A  through F.

[65 FR 2897, Jan. 19, 2000]

##### § 147.60   EPA-administered    program— Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in Ala- bama is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148 and any additional require- ments  set  forth  in  the  remainder  of this  subpart.  Injection  well  owners  and

operators, and EPA shall comply with these requirements.

- Effective date. The effective  date of the UIC program for Indian lands in Alabama is November 25, 1988.

[53 FR 43086, Oct. 25, 1988, as amended at 56

FR 9411, Mar. 6, 1991]

# Subpart C—Alaska

##### § 147.100   State-administered	pro- gram—Class II wells.

The UIC program for Class II  wells  in the  State  of  Alaska,  other   than   those on Indian lands, is the program admin- istered by the Alaska Oil and Gas Con- servation  Commission   approved   by EPA pursuant to section 1425 of the SDWA. Notice of this approval was published   in   the   FEDERAL   REGISTER [May 6, 1986]; the effective date of this program is June 19, 1986. This program consists of the following elements, as submitted to EPA in  the  State’s  pro- gram    application.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State  of Alaska.  This incorporation by reference was approved by the Di- rector of the Federal Register effective June 19, 1986.

  - Alaska Statutes, Alaska Oil and Gas     Conservation     Act,     Title     31,

§§ 31.05.005  through  31.30.010  (1979  and

Cum. Supp. 1984);

  - Alaska Statutes, Administrative Procedures Act, Title 44, §§ 44.62.010 through 44.62.650 (1984);

  - Alaska  Administrative  Code,  Alas- ka Oil and Gas Conservation Commis- sion,  20   AAC  25.005   through  20   AAC

25.570 (Supp. 1986).

- Memorandum of Agreement. The Memorandum of Agreement between EPA Region 10, and the Alaska Oil and Gas Conservation Commission, signed by the EPA Regional Administrator on January 29, 1986, as amended on June 21, 1988.

- Statement of Legal Authority. Statement from the Attorney  General of the State of Alaska, signed by the Assistant Attorney General on Decem- ber 10, 1985.

#### § 147.101

- The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[51 FR 16684, May 6, 1986, as amended at 56

FR 9411, Mar. 6, 1991]

##### § 147.101   EPA-administered program.

- Contents. The UIC program in the State of Alaska for Class I, III, IV, and V wells, and for all classes of wells on Indian lands, is administered by EPA. This program consists of the UIC pro- gram requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments set forth in the remainder of this subpart. Injection well owners and operators, and EPA shall comply with these requirements.

- Effective dates. The effective  date of the UIC program for all non-Class II wells in Alaska and for all wells on In- dian lands, is June 25, 1984.

[52 FR 17680, May 11, 1987, as amended at 56

FR 9412, Mar. 6, 1991]

##### § 147.102   Aquifer exemptions.

- This section identifies any aquifers or their portions exempted in accordance with §§ 144.7(b) and 146.4 of this chapter at the time of program promulgation. EPA may in the future exempt other aquifers or portions, ac- cording to applicable procedures, with- out codifying such exemptions in this section. An updated list of exemptions will be maintained in the Regional of- fice.

- The following aquifers are ex- empted in accordance with the provi- sions of §§ 144.7(b) and 146.4 of this chap- ter  for  Class  II  injection   activities only:

  - The portions of aquifers in the Kenai Peninsula, greater than the indi- cated depths below the ground surface, and described by a 1⁄4 mile area beyond and lying directly below the  following oil and gas producing fields:

- Swanson River Field—1700 feet.

- Beaver Creek Field—1650 feet.

- Kenai Gas Field—1300 feet.

  - The portion of aquifers beneath Cook Inlet described by a 1⁄4 mile area beyond and lying directly below the following oil and gas producing fields:

- Granite Point.

- McArthur River Field.

#### 40 CFR Ch. I (7–1–17 Edition)

- Middle Ground Shoal Field.

- Trading Bay Field.

  - The portions of aquifers on the North Slope described by a 1⁄4 mile area beyond and lying directly below the Kuparuk River Unit oil and gas pro- ducing  field.

##### § 147.103 Existing Class I, II (except enhanced recovery and hydro- carbon storage) and III wells au- thorized by rule.

Maximum injection pressure. The owner or operator shall limit injection pressure to the lesser of:

    - A value which will not exceed the operating  requirements  of  § 144.28(f)(3)

(i) or (ii) as applicable; or

    - A value for well head pressure cal- culated by using the following formula:

Pm = (0.733–0.433 Sg)d

where:

Pm = injection pressure at the well head in pounds per square inch

Sg = specific gravity of inject fluid (unitless) d = injection depth in feet.

##### § 147.104 Existing Class II enhanced recovery and hydrocarbon storage wells authorized by rule.

- Maximum injection pressure. (1) To meet   the   operating   requirements   of

§ 144.28(f)(3)(ii) (A) and (B) of this chap- ter, the owner or operator:

- Shall use an injection pressure no greater than the pressure established by the Regional Administrator for the field or formation in which the well is located. The  Regional  Administrator shall establish maximum injection pressures after notice, opportunity for comment, and opportunity for a public hearing, according to the provisions of part 124, subpart A of this chapter, and will inform owners and operators in writing of the applicable maximum pressure; or

- May inject at pressures greater than those specified in paragraph (a)(1)(i) of this section for the field or formation in which he is operating pro- vided he submits a  request  in  writing to the Regional Administrator, and demonstrates to the satisfaction of the Regional Administrator that such in- jection pressure will not violate the re- quirement of § 144.28(f)(3)(ii) (A) and (B).   The   Regional   Administrator   may

#### Environmental Protection Agency	§ 147.151

grant such a request after notice, op- portunity for comment, and oppor- tunity for a public  hearing,  according to the provisions of part 124, subpart A of this chapter.

(2) Prior to such time as the Regional Administrator establishes rules for maximum injection pressure based on data provided pursuant to paragraph (a)(2)(ii) of this section the owner or operator shall:

- Limit injection pressure  to  a value which will not exceed the oper- ating requirements of § 144.28(f)(3)(ii); and

- Submit data acceptable to the Regional Administrator which defines the fracture pressure of  the  formation in which injection is taking place. A single test may be submitted on behalf of two or more operators conducting operations in  the  same  formation,  if the Regional Administrator approves such submission. The data shall be sub- mitted to the Regional Administrator within 1 year of the effective date  of this  program.

- Casing and cementing. Where the Regional   Administrator    determines that the owner or operator of  an  exist- ing enhanced recovery or hydrocarbon storage well may not be in compliance with the requirements of §§ 144.28(e) and 146.22, the owner or operator shall com- ply with paragraphs (b)  (1)  through  (4) of this  section,  when  required  by  the Regional     Administrator:

- Protect USDWs by:

  - Cementing surface casing by recir- culating the cement to the  surface from a  point 50  feet below  the lower- most USDW; or

  - Isolating all USDWs by placing cement between the outermost casing and the well bore; and

- Isolate any injection zones by placing sufficient cement to fill the calculated space between the casing and the well bore to a point 250 feet above the injection zone; and

- Use cement:

  - Of sufficient quantity and quality to withstand the maximum operating pressure;

  - Which is resistant to deteriora- tion from formation and injection fluids; and

  - In a quantity no less than 120% of the calculated volume necessary to cement off a zone.

- The Regional Administrator may specify other requirements in  addition to or in lieu of the requirements set forth in paragraphs (b) (1) through (3) as needed to protect USDWs.

# Subpart D—Arizona

##### § 147.150   State-administered   program. [Reserved]

§ 147.151   EPA-administered program.

- Contents. The UIC program that applies to all injection activities in Ar- izona, including those on Indian lands, except for  Class II  wells on  Navajo In- dian lands for which EPA has  granted the Navajo Nation primacy for the SDWA Class II UIC program (as defined in § 147.3400), is administered by EPA. The UIC program for Navajo Indian lands, except for Class II wells on Nav- ajo Indian lands for which EPA has granted the Navajo Nation primacy for the SDWA Class II UIC program, con- sists of the requirements contained in subpart HHH of this part. The program for all  injection activity  except that  on Navajo Indian lands consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart. Injection well owners and operators, and EPA shall comply with these requirements.

- Effective dates. The effective  date for the UIC program in Arizona,  except for the lands of the Navajo Indians, is June 25, 1984. The effective date for the UIC program on the lands of the  Nav- ajo, except for Class II wells on Navajo Indian lands for which EPA  has  grant- ed the Navajo Nation primacy for the SDWA Class II  UIC  program  (as  defined in § 147.3400), is November 25, 1988.

[53 FR 43086, Oct. 25, 1988, as amended at 56

FR 9412, Mar. 6, 1991; 73 FR 65564, Nov. 4, 2008]

#### § 147.152

##### § 147.152   Aquifer	exemptions.	[Re- served]

Subpart E—Arkansas

§ 147.200   State-administered	pro- gram—Class I, III, IV, and V wells.

The UIC program for Class I, III, IV and V wells in the State of Arkansas, except those wells on Indian lands, is the program administered by the Ar- kansas Department of Pollution Con- trol and Ecology approved by EPA pur- suant to section 1422 of the SDWA. No- tice of this approval was published in the FEDERAL  REGISTER  on July 6, 1982

(47 FR 29236); the effective date of this program is July 6, 1982. This program consists of the following elements, as submitted to EPA in  the  State’s  pro- gram    application.

  - Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Arkansas. This incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

    - Arkansas Water and Air Pollution Control Act, Act 472 of 1949 as amend- ed, Arkansas Statutes Annotated sec- tions 82–1901 through 82–1943 (1976);

    - Act 105 of 1939, Arkansas Statutes Annotated sections 53–101 through  53– 130 (1971 and Supp. 1981); Act 937 of 1979, Arkansas Statutes Annotated sections 53–1301 through 53–1320 (Supp. 1981); Act 523 of 1981;

    - Arkansas Underground Injection Control Code, Department of Pollution Control and Ecology, promulgated Jan- uary 22, 1982;

    - General Rule and Regulations, Ar- kansas Oil and Gas Commission (Order No. 2–39, revised July 1972);

    - Arkansas Hazardous Waste Man- agement Code, Department of  Pollu- tion Control and Ecology, promulgated August 21, 1981.

  - The Memorandum of Agreement and Addendum No. 1 to the Memo- randum of Agreement, between EPA Region VI and the Arkansas  Depart- ment of Pollution Control and Ecology and the Arkansas Oil and Gas Commis-

#### 40 CFR Ch. I (7–1–17 Edition)

sion,  signed  by  the  EPA  Regional  Ad- ministrator on May 25, 1982.

  - Statement of legal authority. (1) Letter from Chief Attorney, Arkansas Department of Pollution Control and Ecology, to Acting Regional Adminis- trator, EPA Region VI, ‘‘Re: Legal Au- thority of the Department of Pollution Control and Ecology of the State of Ar- kansas to Administer an Underground Injection Control Program,’’ July 29, 1981;

- Letter from Chief Attorney, Ar- kansas Department of Pollution Con- trol and Ecology, to Acting Regional Counsel, EPA Region VI, ‘‘Re: Adden- dum to Legal Statement—Underground Injection Control Program,’’ October 13, 1981;

- Letter from General Counsel, Ar- kansas Oil and Gas Commission, to Acting Regional Counsel, EPA Region VI, ‘‘Re: Supplemental Addendum to Legal Statement—Underground Injec- tion Control Program,’’ October 20, 1981;

- Letter from Chief Attorney, Ar- kansas Department of  Pollution  Con- trol and Ecology, to Attorney, Office of Regional Counsel, EPA Region VI (re: status as independent legal counsel), December 31, 1981;

- Letter from General Counsel, Ar- kansas Oil and Gas Commission, to Acting Regional Counsel, EPA Region VI, ‘‘Re: Supplemental Addendum to Legal Statement—Underground Injec- tion Control Program,’’ January 13, 1982;

- Letter from Chief Counsel, Arkan- sas Department of Pollution Control and Ecology, to Acting Regional Coun- sel, EPA Region VI, ‘‘Re: Addendum to Legal Statement—Underground Injec- tion Control Program,’’ February 15, 1982;

- Letter from Chief Counsel, Arkan- sas Department of Pollution Control and Ecology, to Acting Regional Coun- sel, EPA Region VI, ‘‘Re: Addendum to Legal Statement—Underground Injec- tion Control Program,’’ May 13, 1982.

  - The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43086, Oct. 25, 1988]

#### Environmental Protection Agency	§ 147.253

##### § 147.201   State-administered	pro- gram—Class II wells. [Reserved]

§ 147.205   EPA-administered  program— Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in Ar- kansas is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148 and any additional require- ments set forth in this subpart. Injec- tion well owners  and  operators,  and EPA shall comply with these require- ments.

- Effective date. The effective  date of the UIC program for Indian lands in Arkansas is November 25, 1988.

[53 FR 43086, Oct. 25, 1988, as amended at 56

FR 9412, Mar. 6, 1991]

# Subpart F—California

##### § 147.250   State-administered	pro- gram—Class II wells.

The UIC program for Class II wells in the State of California, except those on Indian lands, is the program adminis- tered by the California Division of Oil and Gas, approved by EPA pursuant to SDWA section 1425.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of California. This incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

  - California Laws for Conservation of Petroleum and Gas,  California  Pub- lic   Resources   Code   Div.   3,   Chapt.   1,

§§ 3000–3359 (1989);

  - California Administrative  Code, title 14, §§ 1710 to 1724.10 (May 28, 1988).

- The Memorandum of Agreement between EPA Region IX and the Cali- fornia Division of Oil and Gas, signed by the EPA Regional Administrator on September 29, 1982.

- Statement of legal authority. (1) Letter from California  Deputy  Attor- ney General to the  Administrator  of EPA, ‘‘Re:  Legal  Authority  of  Cali- fornia Division of Oil and Gas to Carry Out Class II Injection Well Program,’’ April 1, 1981;

(2) Letter from California Deputy At- torney General to Chief of California Branch, EPA Region IX, ‘‘Re: Cali- fornia Application for  Primacy,  Class II UIC Program,’’ December 3, 1982.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 52

FR  17681,  May  11,  1987;  56  FR  9412,  Mar.  6,

1991]

##### § 147.251 EPA-administered program— Class I, III, IV and V wells and In- dian lands.

- Contents. The UIC program in the State of California for Class I, III,  IV and V wells, and for all classes of wells on Indian lands, is administered by EPA. The program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in the remainder of this subpart. Injection well owners and operators, and EPA shall comply with these requirements.

- Effective dates. The effective date for the UIC program for all lands in California, including Indian lands,  is June 25, 1984.

[52 FR 17681, May 11, 1987, as amended at 56

FR 9412, Mar. 6, 1991]

##### § 147.252   Aquifer	exemptions.	[Re- served]

§ 147.253 Existing Class I, II (except enhanced recovery and hydro- carbon storage) and III wells au- thorized by rule.

Maximum injection pressure. The owner or operator shall limit injection pressure to the lesser of:

- A value which will not exceed the operating  requirements  of  § 144.28(f)(3)

(i) or (ii) as applicable; or

- A value for well head pressure cal- culated by using the following formula:

Pm = (0.733¥0.433 Sg)d

where:

Pm = injection pressure at the well head in pounds per square inch

Sg = specific gravity of inject fluid (unitless) d = injection depth in feet.

§ 147.300

Subpart G—Colorado

##### § 147.300   State-administered	pro- gram—Class II wells.

The UIC program for Class II  wells  in the  State  of  Colorado,  except   those wells on Indian Lands, is the program administered by  the  Colorado  Oil  and Gas Commission approved by EPA pur- suant to section 1425 of the SDWA. No- tice of this approval was published  in the FR on April 2, 1984 (49 FR 13040); the effective date of  this  program  is April 2, 1984. This program consists  of the following elements, as submitted to EPA in the State’s  program  applica- tion:

  - Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA for the State of Colorado. This incorpora- tion by reference was approved by the Director of the OFR in accordance with 5 U.S.C. 552(a) and 1 CFR part 51. Cop- ies  may  be  obtained  at  the  State  of Colorado   Oil   and   Gas   Conservation Commission,   Department   of   Natural Resources,   Suite   380   Logan   Tower Building,  1580  Logan  Street,  Denver, Colorado,  80203.   Copies  may  be  in- spected at the Environmental Protec- tion   Agency,   Region   VIII,   999   18th Street,   Suite   500,   Denver,   Colorado, 80202–2405, or at the National Archives and  Records  Administration  (NARA). For information on the availability of this  material  at  NARA,  call  202–741– 6030.

    - Colorado Revised Statutes, 1989 replacement volume, Section 34–60–101 through 34–60–123;

    - Colorado Revised Statutes, 1989 replacement volume, Section 25–8–101 through 25–8–612;

    - Rules and Regulations, Rules of Practice and Procedure, and Oil and Gas Conservation Act (As Amended) Department of Natural Resources, Oil and Gas Conservation Commission of the State of Colorado (revised July 1989);

    - Oil and Gas Conservation Commis- sion Revised Rules and Regulations in

#### 40 CFR Ch. I (7–1–17 Edition)

the 300, 400, 500, and 600 series, effective

March 20, 1989.

  - Memorandum of agreement. The Memorandum of Agreement between EPA Region VIII and the Colorado Oil and Gas Conservation Commission, signed by the EPA Regional Adminis- trator on March 3, 1984 and amended on August 30, 1989.

  - Statement of legal authority. (1) Letter from Colorado Assistant Attor- ney General to the Acting Regional Counsel, EPA Region  VIII,  ‘‘Re:  Class II Well Underground Injection Control Program of Colorado Oil and Gas Con- servation Commission’’, March 15, 1983;

- Letter from Colorado Assistant Attorney General to the Acting Re- gional Counsel, EPA Region VIII, ‘‘Re: Class II Well Injection Control Pro- gram of Colorado Oil and Gas Con- servation Commission’’, April 29, 1983;

- Letter from Colorado Assistant Attorney General to the Acting Re- gional Counsel, EPA Region VIII, ‘‘Re: Class II Underground Injection Control Program of Colorado Oil and Gas Con- servation Commission, interpretation of C.R.S. 1973, 34–60–110’’, July 11, 1983;

- Letter from Colorado Assistant Attorney General to the Acting Re- gional Counsel, EPA Region VIII, ‘‘Re: Class II Well Underground Injection Control Program of Colorado Oil and Gas Conservation Commission’’, Feb- ruary 17, 1984;

- Memorandum from Colorado As- sistant Attorney General to the Acting Regional  Counsel,  EPA  Region   VIII, ‘‘Re: Authority to set and enforce max- imum pressure for injecting fluids into Class II wells with existing permits’’, March 7, 1984.

  - Program description. The Program Description and any other materials submitted as part of the application or as supplements thereto:

- Application and accompanying materials  for  approval   of   Colorado’s UIC program for Class II wells sub- mitted by the Director of the  Colorado Oil  and  Gas  Conservation   Commission to the Regional Administrator, May 3, 1983;

- Supplemental amendment to Colorado’s application for primacy for the UIC program for Class II wells de- scribing the process through which the State will ensure enforceable limits for

#### Environmental Protection Agency	§ 147.304

maximum injection pressure, describ- ing the Commission’s plan of adminis- tration for Class II wells, and  describ- ing Mechanical Integrity Test proce- dures for Class II wells, March 7, 1984;

- Official correspondence con- cerning various program issues be- tween the Colorado Oil and Gas Con- servation Commission and EPA Region VIII, for the period from March 7, 1984 to May 8, 1989.

[56 FR 9412, Mar. 6, 1991]

##### § 147.301 EPA-administered program— Class I, III, IV, V wells and Indian lands.

- Contents. The UIC program for Class I, III, IV and V wells on all lands in Colorado, including Indian lands, and for Class II wells on Indian lands, is administered by EPA. The program for all EPA-administered wells in Colo- rado other than Class II wells on the lands of the Ute Mountain Ute consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any ad- ditional requirements set forth in the remainder of this subpart. Injection well owners and operators, and EPA shall comply with these requirements.

- Effective dates. The effective date for the UIC program on all lands in Colorado, including Indian lands, ex- cept for Class II wells on lands  of  the Ute Mountain Ute, is June 25, 1984.

[52 FR 17681, May 11, 1987, as amended at 56

FR 9413, Mar. 6, 1991]

##### § 147.302   Aquifer exemptions.

- This section identifies any aquifers of their portions exempted in accordance with §§ 144.7(b) and 146.4 of this chapter at the time of program promulgation. EPA may in the future exempt other aquifers or portions ac- cording to applicable procedures with- out codifying such exemptions in this section. An updated list of exemptions will be maintained in the Regional of- fice.

- For all aquifers into which exist- ing Class II wells are injecting, those portions within a 1⁄4 mile radius of the well are exempted for the purpose of Class II injection activities only.

##### § 147.303 Existing Class I, II (except enhanced recovery and hydro- carbon storage) and III wells au- thorized by rule.

Maximum injection  pressure.  The owner or  operator shall  limit injection pressure to the lesser of:

- A value which will not exceed the operating  requirements  of  § 144.28(f)(3)

(i) or (ii) as applicable; or

- A value for wellhead pressure cal- culated by using the following formula;

Pm = (0.733–0.433 Sg)d

where:

Pm = injection pressure at the wellhead in pounds per square inch

Sg = specific gravity of injected fluid (unitless)

d = injection depth in feet.

##### § 147.304 Existing Class II enhanced recovery and hydrocarbon storage wells authorized by rule.

- Maximum injection pressure. (1) To meet   the   operating   requirements   of

§ 144.28(f)(3)(ii) (A) and (B) of this chap- ter, the owner or operator:

- Shall use an injection pressure no greater than the pressure established by the Regional Administrator for the field or formation in which the well is located. The  Regional  Administrator shall establish such a maximum pres- sure after notice, opportunity for com- ment, and opportunity for a public hearing, according to the provisions of part 124, subpart A of this chapter, and will inform owners and operators in writing of the applicable maximum pressure; or

- May inject at pressures greater than those specified in paragraph (a)(1)(i) of this section for the field or formation in which he is operating pro- vided he submits a  request  in  writing to the Regional Administrator and demonstrates to the satisfaction of the Regional Administrator that such in- jection pressure will not violate the re- quirements of § 144.28(f)(3)(ii) (A) and (B). The Regional Administrator may grant such a request after notice, op- portunity for comment, and  oppor- tunity  for  a  public   hearing,   according to the provisions of part 124, subpart A of  this  chapter.

- Prior to such time as the Regional Administrator establishes rules for maximum injection pressures based on

#### § 147.305

data provided pursuant to paragraph (a)(2)(ii) of this section the owner or operator shall:

  - Limit injection pressure  to  a value which will not exceed the oper- ating requirements of § 144.28(f)(3)(ii); and

  - Submit data acceptable to the Regional Administrator which defines the fracture pressure of the formation in which injection is taking place. A single test may be submitted on behalf of two or more operators conducting operations in the same formation, if the Regional Administrator approves such submission. The data shall be sub- mitted to the Regional Administrator within one year of the effective date of this program.

- Casing and cementing. Where the Regional   Administrator    determines that the owner or operator of  an  exist- ing enhanced recovery or hydrocarbon storage well may not be in compliance with the requirements of §§ 144.28(e) and 146.22, the owner or operator shall com- ply with paragraphs (b)  (1)  through  (4) of this  section,  when  required  by  the Regional     Administrator:

- Protect USDWs by:

  - Cementing surface casing by recir- culating the cement to the  surface from a  point 50  feet below  the lower- most USDW; or

  - Isolating all USDWs by placing cement between the outermost casing and the well bore; and

- Isolate any injection zones by placing sufficient cement to fill the calculated space between the casing and the well bore to a point 250 feet above the injection zone; and

- Use cement:

  - Of sufficient quantity and quality to withstand the maximum operating pressure;

  - Which is resistent to deteriora- tion from formation and injection fluids; and

  - In quantity no less than 120% of the calculated volume necessary to ce- ment off a zone.

- The Regional Administrator may specify other requirements in  addition to or in lieu of the requirements set forth in paragraphs (b) (1) through (3) as needed to protect USDWs.

#### 40 CFR Ch. I (7–1–17 Edition)

##### § 147.305   Requirements for all wells.

- The owner or operator converting an existing well to an injection well shall check the condition of the casing with one of the following logging tools:

  - A Pipe analysis log; or

  - A Caliper log.

- The owner or operator of a new injection well cased with plastic (PVC, ABS, and others) casings shall:

  - Not construct a well deeper than 500 feet;

  - Use cement and additives compat- ible with such casing material;

  - Cement the annular space above the injection interval from the bottom of the blank casing to the surface.

- The owner or operator of a newly drilled well shall install centralizers as directed by the Regional Adminis- trator.

- The owner or operator shall as re- quired by the Regional Administrator:

  - Protect USDWs by:

- Setting surface casing 50 feet below the base of  the  lowermost USDW;

- Cementing surface casing by re- circulating the cement to the surface from a point 50 feet below the lower- most USDW; or

- Isolating all USDWs by placing cement between the outermost casing and the well bore; and

  - Isolate any injection zones by placing sufficient cement to fill the calculated space between the casing and the well bore to a point 250 feet above the injection zone; and

  - Use cement:

    - Of sufficient quantity and quality to withstand the maximum operating pressure;

    - Which is resistant to deteriora- tion from formation and injection fluids; and

    - In a quantity no less than 120% of the calculated volume necessary to cement off a zone.

  - The Regional Administrator may approve alternate casing and cement- ing practices provided that the owner or operator demonstrates that such practices will adequately protect USDWs.

- Area of review.  Notwithstanding the alternatives presented in § 146.6 of this chapter, the area of review shall be

#### Environmental Protection Agency	§ 147.353

a fixed radius as described in § 146.6(b) of this chapter.

- The applicant must give separate notice of intent to apply for a permit to each owner or tenant of the land within one-quarter mile of the site. The addresses of those to whom notice is given, and a description of how no- tice is given, shall be submitted with the permit application. The notice shall include:

  - Name and address of applicant;

  - A brief description of the planned injection activities, including well lo- cation, name and depth of the injection zone, maximum injection pressure and volume, and fluid to be injected;

  - EPA contact person; and

  - A statement that opportunity to comment will be announced after EPA prepares a draft permit. This require- ment may be waived by the Regional Administrator when he determines that individual notice to all land own- ers and tenants would be impractical.

# Subpart H—Connecticut

##### § 147.350   State-administered program.

The UIC program for  all  classes  of wells in  the  State  of  Connecticut,  ex- cept those wells on Indian lands, is the program administered by the Con- necticut Department of Environmental Protection  approved  by  EPA   pursuant to section 1422 of the SDWA. Notice  of this approval was published in  the  FR on March 26, 1984 (49 FR 11179); the ef- fective date of this program is  March 26, 1984. This program consists of the following  elements,  as  submitted   to EPA in the State’s  program  applica- tion:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made part of the applicable UIC program under the SDWA for the State of Connecticut. This incorpora- tion by reference was approved by the Director of the OFR in accordance with 5 U.S.C. 552(a) and CFR part 51. Copies may be obtained at the State of Con- necticut, Department of Environ- mental Protection, State Office Build- ing, 165 Capitol Avenue, Hartford, Con- necticut, 06106. Copies may be in- spected at the Environmental Protec-

tion  Agency,  Region  I,  5  Post  Office Square—Suite 100, Boston, MA 02109– 3912, or at the National Archives and Records Administration (NARA). For information on the availability of this material at NARA, call 202–741–6030.

- Connecticut General Statutes An- notated, title 22a (Environmental Pro- tection), chapter 439, sections 22a–1 through 22a–27 (1985 and Cumm. Supp. 1990);

- Connecticut General Statutes An- notated, Title 22a (Environmental Pro- tection), Chapter 446K (1985 and Cumm. Supp. 1990).

- Memorandum of Agreement. The Memorandum of Agreement between EPA Region I and the Connecticut De- partment of Environmental Protection, signed by the EPA Regional Adminis- trator on August 9, 1983.

- Statement of legal authority. (1) Statement  from  the  Attorney   General of the State of Connecticut, signed  by the Attorney General on May 8, 1981;

(2) Addendum to the Statement from the Attorney General of the State of Connecticut, signed by the Attorney General on May 10, 1983.

- Program Description. The Program Description and any other materials submitted as part of the application or as supplements thereto.

[56 FR 9413, Mar. 6, 1991, as amended at 76 FR

49673, Aug. 11, 2011]

##### §§ 147.351–147.352   [Reserved]

§ 147.353   EPA-administered  program— Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in Con- necticut is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators, and EPA shall comply  with these   requirements.

- Effective date. The effective  date of the UIC program for Indian lands in Connecticut is November 25, 1988.

[53 FR 43086, Oct. 25, 1988, as amended at 56

FR 9413, Mar. 6, 1991]

§§ 147.354–147.359

##### §§ 147.354–147.359   [Reserved]

Subpart I—Delaware

§ 147.400   State-administered program.

The UIC program for  all  classes  of wells in the State of Delaware, except those wells on Indian lands, is the pro- gram administered by the Delaware Department of Natural Resources and Environmental  Control   approved   by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in the FR on April 5, 1984 (49 FR 13525); the effective date of this pro- gram is May 7, 1984. This program con- sists of the following elements, as sub- mitted to EPA in the State’s program application:

  - Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA for the State of Delaware. This incorpora- tion by reference was approved by the Director of the OFR in accordance with 5 U.S.C. 552(a) and 1 CFR part 5l. Copies may be obtained at the Delaware De- partment of Natural Resources and En- vironmental  Control,  89  Kings  High- way,  P.O.  Box  1401,  Dover,  Delaware, 19903. Copies may be inspected at the Environmental Protection Agency, Re- gion III, 841 Chestnut Street, Philadel- phia, Pennsylvania, 19107, or at the Na- tional Archives and Records Adminis- tration  (NARA).  For  information  on the   availability   of   this   material   at NARA, call 202–741–6030.

    - Delaware Environmental Protec- tion Act, (Environmental Control) 7 Delaware Code Annotated, Chapter 60, Sections 6001–6060 (Revised 1974 and Cumm. Supp. 1988);

    - State of Delaware Regulations Governing Underground Injection Con- trol, parts 122, 124 and 146 (Department of Natural Resources and Environ- mental Control), effective August 15, 1983.

  - Memorandum of agreement. The Memorandum of Agreement between EPA Region III and the Delaware De- partment of Natural Resources and En-

#### 40 CFR Ch. I (7–1–17 Edition)

vironmental Control, signed by   the EPA Regional Administrator on March 28, 1984.

  - Statement of legal authority. State- ment of the Delaware Attorney Gen- eral for the Underground Injection Control Program, signed by the Attor- ney General on January 26, 1984.

  - Program Description. The Program Description and any other materials submitted as part of the application (August 10, 1983), or as supplements thereto (October 14, 1983).

[56 FR 9413, Mar. 6, 1991]

##### §§ 147.401–147.402   [Reserved]

§ 147.403   EPA-administered  program— Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in Dela- ware is administered by EPA. This pro- gram consists of the UIC program re- quirements of 40 CFR parts 124, 144, 146, 148, and  any  additional  requirements set forth in the remainder of this sub- part. Injection well owners and opera- tors and EPA shall comply with these requirements.

- Effective date. The effective  date of the UIC program for Indian lands in Delaware is November 25, 1988.

[53 FR 43086, Oct. 25, 1988, as amended at 56

FR 9413, Mar. 6, 1991]

##### §§ 147.404–147.449   [Reserved]

Subpart J—District of Columbia

§ 147.450   State-administered   program. [Reserved]

§ 147.451   EPA-administered program.

- Contents. The UIC program for the District of Columbia, including any In- dian lands in the District, is adminis- tered by EPA. This program consists  of the UIC program  requirements  of  40 CFR parts 124, 144, 146, 148, and any ad- ditional requirements set forth in the remainder  of  this  subpart.   Injection well owners and operators,  and  EPA shall  comply  with  these  requirements.

- Effective date. The effective  date of the UIC program for Indian lands in the District of Columbia is November 25, 1988. The effective date for the UIC

#### Environmental Protection Agency	§ 147.501

program  in  the  rest  of  the  District  is June 25, 1984.

[53 FR 43087, Oct. 25, 1988, as amended at 56

FR 9413, Mar. 6, 1991]

##### § 147.452   Aquifer	exemptions.	[Re- served]

Subpart K—Florida

§ 147.500   State-administered	pro- gram—Class I, III, IV, and V wells.

The UIC program for Class I, III, IV, and V wells in the State of Florida, ex- cept for those on Indian lands is admin- istered by the Florida Department of Environmental Regulations, approved by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in the FEDERAL REGISTER on February 7, 1983 (48 FR 5556); the effec- tive date of this program is March 9, 1983. This program consists of the fol- lowing elements, as submitted to EPA in the State’s program application:

  - Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of  Florida.  This  incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

    - Florida Air and Water Pollution Control Act, Florida Statutes Anno- tated sections 403.011 through 403.90 (1973 and Supp. 1983);

    - Chapter 17–28, Underground Injec- tion Control, Florida  Administrative Code (April 27, 1989).

  - Other laws. The following statutes and regulations although not incor- porated by reference, also are part of the approved State-administered pro- gram:

    - Administrative Procedures Act, Florida Statutes Chapter 120;

    - Florida Administrative Code, Chapter 17–1 (1982) (Administrative Procedures   Act);

    - Florida Administrative Code, Chapter 17–3 (1982) (Water Quality Standards);

    - Florida Administrative Code, Chapter 17–4 (1982) (Permits);

    - Florida Administrative Code, Chapter 28–5 (1982) (Decisions Deter- mining   Substantial   Interests);

    - Florida Administrative Code, Chapter 28–6 (1982) (Licensing);

  - The Memorandum of Agreement between EPA Region IV and the Flor- ida Department of Environmental Reg- ulation, signed by the EPA Regional Administrator on March 31, 1983.

  - Statement of legal authority. (1) ‘‘Statement of Legal Authority for Im- plementation of Underground Injection Control Program’’ and accompanying certifications, signed by General Coun- sel for the Florida Department of Envi- ronmental Regulation, January 14, 1982;

(2) ‘‘Addendum to Statement of Legal Authority for Implementation of Un- derground Injection Control Program’’ and accompanying certifications, signed by Acting General Counsel for the Florida Department of Environ- mental Regulation, September 20, 1982.

  - The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR  43087,  Oct.  25,  1988;  56  FR  9414,  Mar.  6,

1991]

##### § 147.501   EPA-administered  program— Class II wells and Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands and for Class  II  wells  on  non-Indian  lands   in the State of Florida is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this  subpart.  Injection  well  owners and operators, and EPA  shall  comply with  these  requirements.

- Effective dates. The effective  date of the UIC program for Indian lands in Florida is November 25, 1988. The effec- tive date for Class II wells on non-In- dian lands is December 30, 1984.

[53 FR 43087, Oct. 25, 1988, as amended at 56

FR 9414, Mar. 6, 1991]

#### § 147.502

##### § 147.502 Aquifer exemptions. [Re- served]

§ 147.503 Existing Class II (except en- hanced recovery and hydrocarbon storage) wells authorized by rule.

Maximum injection pressure. To meet the       operating       requirements       of

§ 144.28(f)(3)(i) of this chapter, the owner or operator shall use an injec- tion pressure at the well head no great- er  than  the  pressure  calculated  using the  following  formula:

Pm = (0.733¥0.433 Sg)d

where:

Pm = injection pressure at the well head in pounds per square inch

Sg = specific gravity of injected fluid (unitless)

d =  injection depth  in feet. [49 FR 45306, Nov. 15, 1984]

##### § 147.504 Existing Class II enhanced recovery and hydrocarbon storage wells authorized by rule.

  - Maximum injection pressure. (1) To meet   the   operating   requirements   of

§ 144.28(f)(3)(ii) (A) and (B) of this chap- ter, the owner or operator:

- Shall use an injection pressure no greater than the pressure established by the Regional Administrator for the field or formation in which the well is located. The  Regional  Administrator shall establish such a maximum pres- sure after notice, opportunity for com- ment and opportunity for a public hearing, according to the provisions of part 124, subpart A of this chapter, and will inform owners and operators in writing of the applicable maximum pressure; or

- May inject at pressure greater than those specified in paragraph (a)(1)(i) of this section for the field or formation in which he is operating pro- vided he submits a  request  in  writing to the Regional Administrator, and demonstrates to the satisfaction of the Regional Administrator that such in- jection pressure will not violate the re- quirement of § 144.28(f)(3)(ii) (A) and (B). The Regional Administrator may grant such a request after notice, op- portunity for comment, and  oppor- tunity  for  a  public   hearing,   according to the provisions of part 124, subpart A of  this  chapter.

#### 40 CFR Ch. I (7–1–17 Edition)

(2) Prior to such time as the Regional Administrator establishes rules for maximum injection pressure based on data provided pursuant to paragraph (a)(2)(ii) of this section the owner or operator shall:

- Limit injection pressure  to  a value which will not exceed the oper- ating requirements of § 144.28(f)(3)(ii); and

- Submit data acceptable to the Regional Administrator which defines the fracture pressure of  the  formation in which injection is taking place. A single test may be submitted on behalf of two or more operators conducting operations in  the  same  formation,  if the Regional Administrator approves such submission. The data shall be sub- mitted to the Regional Administrator within 1 year of the effective date  of this  program.

  - Casing and cementing. Where the Regional   Administrator    determines that the owner or operator of  an  exist- ing enhanced recovery or hydrocarbon storage well may not be in compliance with the requirements of §§ 144.28(e) and 146.22, the owner or operator shall, when required by the Regional Admin- istrator:

- Protect USDWs by:

  - Cementing surface casing by recir- culating the cement to the  surface from a  point 50  feet below  the lower- most USDW; or

  - Isolating all USDWs by placing cement between the outermost casing and the well bore; and

- Isolate any injection zones by placing sufficient cement to fill the calculated space between the casing and the well bore to a point 250 feet above the injection zone; and

- Use cement:

  - Of sufficient quantity and quality to withstand the maximum operating pressure;

  - Which is resistant to deteriora- tion from formation and injection fluids; and

  - In a quantity no less than 120% of the calculated volume necessary to cement off a zone.

- Comply with other requirements which the Regional Administrator may specify either in addition to or in lieu

#### Environmental Protection Agency	§ 147.550

of the requirements set forth in para- graphs (b)(1) through (3) of this section as needed to protect USDWs.

  - Area of review.  Notwithstanding the alternatives presented in § 146.06 of this chapter, the area of review shall be a  minimum  fixed  radius  as  described  in

§ 146.06(b) of this chapter.

(The information collection requirements contained in paragraph (a)(2)(ii) were appoved by the Office of Management and Budget under control number 2040–0042)

[49 FR 45306, Nov. 15, 1984]

# Subpart L—Georgia

##### § 147.550   State-administered program.

The UIC program for  all  classes  of wells in the State of  Georgia,  except those wells on Indian lands, is the pro- gram administered by the Georgia De- partment of Natural Resources, Envi- ronmental Protection  Division  ap- proved by EPA pursuant to section 1422 of the  SDWA.  Notice  of  this  approval was  published  in  the   FEDERAL   REG- ISTER on April 19, 1984 (49 FR 15553); the

effective date of this program is  May 21, 1984. This program consists of the following elements, as submitted  to EPA in the State’s  program  applica- tion:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA for the  State  of  Georgia.  This  incorpora- tion by reference was approved by the Director of the OFR in accordance with 5 U.S.C. 552(a) and 1 CFR part 51. Cop- ies may be obtained at the Georgia De- partment  of  Natural  Resources,  Envi- ronmental   Protection   Division,   270 Washington	Street,	SW.,	Atlanta, Georgia, 30334. Copies may be inspected at the Environmental Protection Agen- cy,  Region  IV,  345  Courtland  Street, NE., Atlanta, Georgia, 30365, or at the National Archives and Records Admin- istration  (NARA).  For  information  on the   availability   of   this   material   at NARA, call 202–741–6030.

- Oil and Gas and Deep Drilling Act of 1975, Official Code of Georgia Anno- tated (O.C.G.A.) §§ 12–4–40 through 12–4– 53 (1988);

- Ground   Water   Use   Act   of   1972,

O.C.G.A.   §§ 12–5–90    through    12–5–107 (1988);

- Water Well Standards Act of 1985,

O.C.G.A.   §§ 12–5–120,   through   12–5–138 (1988);

- Georgia Administrative Procedure Act, O.C.G.A. §§ 50–13–1 through 50–13–22 (Reprinted from the O.C.G.A. and 1988 Cumm.   Supp.);

- Georgia Water Quality Control Act, O.C.G.A. §§ 12–5–20 through 12–5–53 (1988);

- Georgia Hazardous Waste Manage- ment Act, O.C.G.A. §§ 12–8–60 through 12–8–83 (1988);

- Georgia Safe Drinking Water  Act of 1977, O.C.G.A. §§ 12–5–170 through 12– 5–193 (1988);

- Rules of Georgia Department of Natural Resources, Environmental Protection Division, Water Quality Control, GA. COMP. R. & REGS. Chap- ter 391–3–6–.13 (Revised July 28, 1988).

- Memorandum of Agreement. The Memorandum of Agreement between EPA Region IV and the State of  Geor- gia, signed March 1, 1984.

- Statement of legal authority. (1) Un- official Opinion of the Georgia Attor- ney General, Op.  Atty.  Gen.  080–24, June 12, 1980;

- Underground Injection Control Program, Attorney   General’s  State- ment, February 4, 1982;

- Amended Attorney General’s Statement   Relating    to    Authority    of the State of Georgia to Implement an Underground Injection  Control  Pro- gram, April 22, 1983;

- Letter to EPA Office of General Counsel from Senior Assistant Attor- ney General ‘‘Re: State UIC Program’’, July 13, 1983.

- Program Description. The Program Description and any other materials submitted as part of the application or as supplements thereto.

[56 FR 9414, Mar. 6, 1991; 56 FR 14150, Apr. 5,

1991]

§§ 147.551–147.552

##### §§ 147.551–147.552   [Reserved]

§ 147.553   EPA-administered  program— Indian lands.

  - Contents. The UIC program for all classes of wells on Indian lands in the State of  Georgia  is   administered  by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart.  Injection  well  owners and operators, and EPA  shall  comply with  these  requirements.

  - Effective date. The effective  date of the UIC program for Indian lands in Georgia is November 25, 1988.

[53 FR 43087, Oct. 25, 1988, as amended at 56

FR 9414, Mar. 6, 1991]

##### §§ 147.554–147.559   [Reserved]

Subpart M—Hawaii

§ 147.600   State-administered   program. [Reserved]

§ 147.601   EPA-administered program.

- Contents. The UIC program for the State of Hawaii, including all Indian lands, is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators, and EPA shall comply  with these   requirements.

- Effective date. The effective  date of the UIC program for Indian lands in Hawaii is November 25, 1988. The effec- tive date for the UIC program for all other lands in Hawaii is December 30, 1984.

[53 FR 43087, Oct. 25, 1988, as amended at 56

FR 9414, Mar. 6, 1991]

# Subpart N—Idaho

##### § 147.650 State-administrative pro- gram—Class I, II, III, IV, and V wells.

The UIC program for Class I, II, III, IV, and V wells in the State of Idaho, other than those on Indian lands, is the program administered by the Idaho De- partment of Water Resources, approved by EPA pursuant to section 1422 of the SDWA.  Notice  of  this  approval  was

40 CFR Ch. I (7–1–17 Edition)

published in the FEDERAL REGISTER on June 7, 1985; the effective date of this program is July 22, 1985. This program consists of the following elements, as submitted to EPA in the State’s pro- gram application.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA for the State of Idaho. This incorporation by reference was approved by the Di- rector of the Federal Register effective July 22, 1985.

  - Public  Writings,  Title   9,   Chapter 3, Idaho Code, sections 9–301 through 9– 302 (Bobbs-Merrill 1979);

  - Crimes and Punishments, Title 18, Chapter 1, Idaho Code, sections 18–113 through 18–114 (Bobbs-Merrill 1979 and Supp. 1984);

  - Department of Health and Wel- fare, Title 39, Chapter 1, Idaho Code, Chapter 39–108 (Bobbs-Merrill 1977);

  - Drainage-Water Rights and Rec- lamation, Title 42, Chapter 2,  Idaho Code sections 42–237(e); section 42–238 (Bobbs-Merrill 1977 and Supp. 1984);

  - Department of Water Resources- Water Resources Board, Title 42, Chap- ter 17, Idaho Code, sections 42–1701, 42– 1703, 42–1735 (Bobbs-Merrill 1977, section 42–1701A (Supp. 1984);

  - Director of Department of Water Resources, Title 42, Chapter 18, Idaho Code, sections 42–1801 through 42–1805 (Bobbs-Merrill 1977);

  - Waste Disposal and  Injection Wells, Title 42, Chapter 39, Idaho Code, sections 42–3901 through 42–3914 (Bobbs- Merrill 1977), sections 42–3915 through 42–3919 (Supp. 1984);

  - Idaho Trade Secrets Act, Title 48, Chapter 8, Idaho Code, sections 48–801 through 48–807 (Bobbs-Merrill 1977 and Supp. 1984);

  - Administrative Procedure,  Title 67, Chapter 52, Idaho Code, sections

67–5201  through  67–5218  (Bobbs-Merrill

1980 and Supp. 1984);

  - Idaho Radiation Control Regula- tions (IRCR section 1–9002.70; sections 1–9100 through 1–9110, Department of Health and Welfare (May 1981);

  - Rules and Regulations: Construc- tion and Use of Injection Wells, Idaho

#### Environmental Protection Agency	§ 147.701

Department  of  Water  Resources,  Rules 1 through 14 (August 1984);

  - Rules and Regulations: Practice and Procedures, Idaho Department of Water Resources, Rules 1 through 14 (October 1983).

- The Memorandum of Agreement between EPA and Region X and the Idaho Department of Water Resources signed by the EPA Regional Adminis- trator on February 11, 1985.

- Statement of legal authority. (1) The Idaho  Attorney  General’s   Statement for the Underground Injection Control Program, October 31, 1984.

(2) Letter from David J. Barber, Dep- uty Attorney General, Idaho Depart- ment of Water Resources to Harold Scott, EPA, Region 10, revising the At- torney General’s Statement, February 14, 1985.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[50 FR 23957, June 7, 1985]

##### § 147.651   EPA-administered  program— Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Idaho is administered by EPA. This program consists of the UIC pro- gram requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators, and EPA shall comply  with these   requirements.

- Effective dates.  The  effective  date of the UIC program for Indian lands in Idaho is June 11, 1984.

[52 FR 17681, May 11, 1987, as amended at 56

FR 9414, Mar. 6, 1991]

##### § 147.652   Aquifer	exemptions.	[Re- served]

Subpart O—Illinois

§ 147.700   State-administered	pro- gram—Class I, III, IV, and V wells.

The UIC program for Class I, III, IV and V wells in the State of Illinois, ex- cept those on Indian lands, is the pro- gram administered by the Illinois En- vironmental Protection Agency, ap- proved by EPA pursuant to section 1422 of  the  SDWA.  Notice  of  the  approval

was  published  in  the  FEDERAL   REG-

ISTER  on February 1, 1984 (49 FR 3991);

the effective date of this program is March 3, 1984. This program consists of the following elements, as submitted to EPA in the State’s  program  applica- tion:

  - Incorporation by reference. The re- quirements set forth in the state stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of  Illinois.  This  incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

    - Illinois Environmental Protection Act, Illinois ch. 1111⁄2, sections 1001 to 1051 (Smith-Hurd 1977 Revised Statutes and Supp. 1983), as amended by Public Act No. 83–431, 1983 Illinois Legislative Service, pages 2910 to 2916 (West);

    - Illinois Pollution Control Board Rules and Regulations at Title 35, Illi- nois Administrative Code, Chapter  I, Part 700, Outline of Waste Disposal Regulations; Part 702, RCRA and UIC Permit Programs; Part 704, UIC Permit Program; Part 705, Procedures for Per- mit Issuance and Part 730, Under- ground Injection Control Operating Re- quirements as amended by IPCB Order No. R–83039 on December 15, 1983.

  - The Memorandum of Agreement between EPA Region V and the Illinois Environmental Protection Agency, signed by the EPA Regional Adminis- trator on March 22, 1984.

  - Statement of legal authority. Letter from Illinois Attorney General to Re- gional Administrator, EPA Region V, and attached statement, December 16, 1982.

  - The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43087, Oct. 25, 1988]

##### § 147.701   State-administered	pro- gram—Class II wells.

The UIC program for Class II wells in the State of Illinois, except those on Indian lands, is the program adminis- tered by the Illinois Environmental Protection Agency, approved by EPA pursuant to section 1425 of the SDWA.

#### § 147.703

Notice of the approval was published in the FEDERAL REGISTER on February 1, 1984 (49 FR 3990); the effective date of this program is March 3, 1984. This pro- gram consists of the following ele- ments, as submitted to EPA in the state’s  program  application:

- Incorporation by reference. The re- quirements set forth in the State Stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of  Illinois.  This  incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

  - Conservation of Oil and Gas, etc., Illinois Revised Statutes ch. 961⁄2, sec- tions 5401 to 5457 (Smith-Hurd 1979 and Supp. 1983), as amended by Public Act No. 83–1074 1983 Illinois Legislative Service pages 7183 to 7185 (West);

  - Illinois Environmental Protection Act, Illinois Revised Statutes ch. 1111⁄2, sections 1001–1051 (Smith-Hurd 1977 and Supp. 1983), as amended by Public Act No. 83–431, 1983 Illinois Legislative Services pages 2910 to 2916 (West);

  - Illinois Revised Statutes ch. 1001⁄2, section 26 (Smith-Hurd Supp. 1983);

  - Illinois Department of Mines and Minerals Regulations for the Oil and Gas Division, Rules I, II, IIA, III,  V, VII, and IX (1981).

- The Memorandum of Agreement between EPA Region V and the Illinois Department of Mines and Minerals, signed by the EPA Regional Adminis- trator on March 22, 1984.

- Statement of legal authority. ‘‘Cer- tification   of   Legal   Authority,’’   signed by   State   Attorney,   Richland   County, Illinois, May 5, 1982.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43087, Oct. 25, 1988]

##### § 147.703   EPA-administered  program— Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State  of  Illinois  is   administered   by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re-

#### 40 CFR Ch. I (7–1–17 Edition)

quirements set forth in  the  remainder of this subpart. Injection well owners and operators, and EPA shall comply with these requirements.

- Effective dates. The effective date for the UIC program for Indian lands is November 25, 1988.

[53 FR 43087, Oct. 25, 1988, as amended at 56

FR 9414, Mar. 6, 1991]

# Subpart P—Indiana

##### § 147.750   State-administered	pro- gram—Class II wells.

The UIC program for Class II injec- tion wells in the State of Indiana on non-Indian lands is the program admin- istered by the Indiana Department of Natural Resources (INDR) approved by the EPA pursuant to section 1425 of the SDWA. Notice of this approval was published in the FR on August 19, 1991; the effective date of this program is August 19, 1991. This  program  consists of the following elements,  as  submitted to EPA in the State’s program applica- tion:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA for the  State  of  Indiana.  This  incorpora- tion by reference was approved by the Director of the FR in accordance with 5 U.S.C. 552(a) and 1 CFR part 51. Cop- ies may be obtained at the Indiana De- partment  of  Natural  Resources,  Divi- sion  of  Oil  and  Gas,  402  West  Wash- ington Street, room 293,  Indianapolis, Indiana, 46204. Copies may be inspected at the Environmental Protection Agen- cy, Region V, 77  West Jackson Boule- vard, Chicago, Illinois, 60604, or at the National Archives and Records Admin- istration  (NARA).  For  information  on the   availability   of   this   material   at NARA, call 202–741–6030.

  - Indiana Code, title 4, article 21.5, chapters 1 through 6 (1988).

  - West’s Annotated  Indiana Code, title 13, article 8, chapters 1 through 15 (1990 and Cumm. Supp. 1990).

Environmental Protection Agency	§ 147.850

  - Indiana Administrative Code, title 310, article 7, rules 1 through 3 (Cumm. Supp. 1991).

- Memorandum of agreement. The Memorandum of Agreement between EPA Region V and the Indiana Depart- ment of  Natural  Resources  signed  by the EPA Regional Administrator on February 18, 1991.

- Statement of legal authority. State- ment and Amendment to the  State- ment from the Attorney General of the State of Indiana, signed on July  12, 1990, and December 13,  1990, respec- tively.

- The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[56 FR 41072, Aug. 19, 1991, as amended at 62

FR 1834, Jan. 14, 1997]

##### § 147.751   EPA-administered program.

- Contents. The UIC program for all classes of wells on Indian lands, and for Class I, III, IV, and V wells on non-In- dian lands in the State of Indiana is ad- ministered by the EPA. The program consists of the UIC program require- ments of 40 CFR parts 124, 144, 146, and 148 and the additional requirements set forth in the remainder of this subpart. Injection well owners and operators, and EPA shall comply with these re- quirements.

- Effective dates. The effective date for the UIC program on Indian lands is November 25, 1988. The effective date of the UIC program for the rest of Indiana is June 25, 1984.

[53 FR 43087, Oct. 25, 1988, as amended at 56

FR  9414,  Mar.  6,  1991;  56  FR  41072,  Aug.  19,

1991]

##### § 147.752   Aquifer	exemptions.	[Re- served]

§ 147.753   Existing Class I and III wells authorized by rule.

Maximum injection  pressure.  The owner or  operator shall  limit injection pressure to the lessor of:

- A value which will not exceed the operating  requirements  of  § 144.28(f)(3)

(i) or (ii) as applicable; or

- A value for well head pressure cal- culated by using the following formula:

Pm = (0.800–0.433 Sg)d

where:

Pm = injection pressure at the wellhead in pounds per square inch

Sg   =   specific   gravity   of   injected   fluid (unitless)

d = injection depth in feet.

[49 FR 20197, May 11, 1984, as amended at 56

FR 41072, Aug. 19, 1991]

# Subpart Q—Iowa

##### § 147.800   State-administered   program. [Reserved]

§ 147.801   EPA-administered program.

- Contents. The UIC program for the State of  Iowa,  including  all  Indian lands, is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators, and EPA shall comply  with these   requirements.

- Effective dates. The effective date for the UIC program for all lands in Iowa, including Indian lands, is  June 25, 1984.

[52 FR 17681, May 11, 1987, as amended at 56

FR 9415, Mar. 6, 1991]

##### § 147.802   Aquifer	exemptions.	[Re- served]

Subpart R—Kansas

§ 147.850   State-administered	pro- gram—Class I, III, IV and V wells.

The UIC program for Class I, III, IV and V wells in the State of Kansas, ex- cept those on Indian lands as described in § 147.860, is the program adminis- tered by the Kansas Department of Health and Environment, approved by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in the FEDERAL REGISTER on December 2, 1983 (48 FR 54350); the ef- fective date of this program is Decem- ber 2, 1983. This program consists of the following elements, as submitted to EPA in the State’s program applica- tion.

§ 147.851

  - Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Kansas. This incorporation by reference was approved by the Di- rector of the OFR in accordance with 5

    - 552(a) and 1 CFR part 51. Copies may be obtained at the Kansas Depart- ment   of   Health   and   Environment, Charles  Curtis  State  Office  Building, 1000   SW.   Jackson,   Topeka,   Kansas 66612. Copies may be inspected at EPA Region   7,   11201   Renner   Boulevard, Lenexa,  Kansas  66219,  or  at  the  Na- tional Archives and Records Adminis- tration  (NARA).  For  information  on the   availability   of   this   material   at NARA, call 202–741–6030.

      - Chapter 28, Article 46, Under- ground Injection Control Regulations, Kansas      Administrative      Regulations

§§ 28–46–1   through   28–46–42   (1986   and

Supp. 1987);

      - Chapter 28, Article 43, Construc- tion, operation, monitoring and aban- donment of salt solution mining wells, Kansas      Administrative      Regulations

§§ 28–43–1 through 28–43–10 (1986);

      - Kansas Statutes Annotated §§ 65– 161, 65–164 through 65–166a, 65–171d (1980 and  Cumm.  Supp.  1989).

  - Other laws. The following statutes and regulations, although not incor- porated by reference except for the se- lect sections identified in  paragraph  (a) of this section, are also part of the ap- proved State-administered program: Kansas Statutes Annotated §§ 65–161 through 65–171(w), (1980 and Supp. 1983).

  - Memorandum of Agreement. (1) The Memorandum of Agreement between EPA Region VII and the Kansas De- partment of Health and Environment, signed by the EPA Regional Adminis- trator on July 29, 1983;

(2) Addendum No. 1 of the Memo- randum of Agreement,  signed  by  the EPA  Regional  Administrator  on   Au- gust 29, 1983.

  - Statement of legal authority. (1) ‘‘Statement  of  Attorney  General’’, signed by the Attorney General of the State of Kansas, November 25, 1981;

#### 40 CFR Ch. I (7–1–17 Edition)

(2) ‘‘Supplemental Statement of At- torney General’’, signed by the Attor- ney General of the State of Kansas, un- dated (one page).

  - Program description. The program description and any other materials submitted as part of the application or supplements thereto.

[49 FR 45306, Nov. 15, 1984, as amended at 56

FR  9415,  Mar.  6,  1991;  78  FR  37978,  June  25,

2013]

##### § 147.851   State-administered	pro- gram—Class II wells.

The UIC program for Class II wells in the State of Kansas, except those on Indian lands as described in § 147.860, is the program administered by the Kan- sas Corporation  Commission and  the Kansas Department of Health and En- vironment, approved by EPA  pursuant to section 1425 of the SDWA. Notice of this approval was published in the FED- ERAL  REGISTER  on February 8, 1984 (49

FR 4735); the effective date of this pro- gram is February 8, 1984. This program consists of the following elements, as submitted to EPA in  the  State’s  pro- gram    application.

[49 FR 45306, Nov. 15, 1984]

##### §§ 147.852–147.859   [Reserved]

§ 147.860   EPA-administered  program— Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State  of  Kansas  is   administered   by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart.  Injection  well  owners and operators, and EPA  shall  comply with  these  requirements.

- Effective date. The effective  date of the UIC program for Indian lands in Kansas is December 30, 1984.

[49 FR 45307, Nov. 15, 1984, as amended at 56

FR 9415, Mar. 6, 1991]

# Subpart S—Kentucky

##### § 147.900   State-administered	pro- gram—Class II wells.

The UIC program for Class II injec- tion wells in the Commonwealth of Kentucky,  except  for  those  on  Indian

Environmental Protection Agency	§ 147.900

lands, is the program administered by the Kentucky Department of Natural Resources, Division of Oil and Gas ap- proved by the EPA pursuant to section 1425 of the SDWA. Notification of this approval was published in the FEDERAL REGISTER on December 28, 2016; the ef- fective date of this program is  January 27, 2017. Table 1 to paragraph (a) of this section is the table of contents of the Kentucky state  statutes  and  regula- tions incorporated as follows by ref- erence. This program consists of the following elements, as submitted to the EPA in the state’s  program  applica- tion.

  - Incorporation by reference. The re- quirements set forth in the Kentucky State statutes and regulations cited in the binder entitled ‘‘EPA-Approved Commonwealth of Kentucky Safe Drinking Water Act § 1425 Underground Injection Control (UIC) Program Stat- utes    and    Regulations    for    Class    II

wells,’’ dated August 2016 is hereby in- corporated by reference and made a part of the applicable UIC program under the SDWA for the Common- wealth of Kentucky. This  incorpora- tion by reference was approved by the Director of the Federal Register in ac- cordance with 5 U.S.C. 552(a) and 1 CFR part 51. Copies of the Kentucky regula- tions may be obtained or inspected  at the Kentucky Department of Natural Resources, Division of Oil and Gas, 3th Floor, 300 Sower Blvd., Frankfort, Ken- tucky 40601, (315) 532–0191; at the U.S.

Environmental Protection Agency, Re- gion 4, 61 Forsyth Street SW., Atlanta, Georgia 30303–8960, (404) 562–8190; or at

the National Archives and Records Ad- ministration   (NARA).   For   information on    availability    of    this    material    at NARA,  call  (202)  741–6030.

TABLE 1 TO PARAGRAPH (a)—EPA-APPROVED KENTUCKY SDWA § 1425 UNDERGROUND INJECTION CONTROL PROGRAM STATUTES AND REGULATIONS FOR CLASS II WELLS

| State citation | Title/subject | State effective date | EPA approval date 1 |
| --- | --- | --- | --- |
| Kentucky Revised Stat- utes Chapter 13B. Kentucky Revised Stat- utes 353.180. Kentucky Revised Stat- utes 353.510. Kentucky Revised Stat- utes 353.520. Kentucky Revised Stat- utes 353.550. Kentucky Revised Stat- utes 353.570. Kentucky Revised Stat- utes 353.590. Kentucky Revised Stat- utes 353.591. Kentucky Revised Stat- utes 353.592. Kentucky Revised Stat- utes 353.593. Kentucky Revised Stat- utes 353.992. 805 Kentucky Adminis- trative Regulations 1:020. 805 Kentucky Adminis- trative Regulations 1:030. 805 Kentucky Adminis- trative Regulations 1:060. 805 Administrative Reg- ulations 1:070. | Kentucky Administrative Procedures Act KRS 13B.005 to 13B.170. Requirements for plugging abandoned well— Bids—Remedy for possessor of adjacent land or for department. Definition of KRS 353.500 to 353.720 ................ Territorial application of KRS 353.500 to 353.720—Waste of oil and gas prohibited. Specific authority over oil and gas operators ..... Permit Required—May authorize operation prior to issuance of permit. Application for permit—Fees-Plat-Bond to insure plugging—Schedule—Blanket bonds-Cor- porate guarantee—Use of forfeited funds—Oil and gas well. plugging fund—Wells not in- cluded in ‘‘water supply well.’’. Purpose and application of KRS 353.592 and 353.593. Powers of the department ................................... Appeals ................................................................ Penalties .............................................................. Providing Protection for USDWs ......................... Well location and as-drilled location plat, prepa- ration, form and contents. Plugging wells; non-coal-bearing strata .............. Plugging wells; coal bearing strata ..................... | June 15, 1994 .............. June 24, 2015 .............. July 15, 2010 ................ June 24, 2003 .............. July 15, 1996 ................ July 15, 1998 ................ July 15, 2010 ................ July 15, 1986 ................ June 24, 2015 .............. July 15, 1996 ................ July 15, 1986 ................ August 9, 2007 ............. October 23, 2009 ......... June 11, 1975 .............. October 23, 1975 ......... | [Insert Federal Reg- ister citation]. [Insert Federal Reg- ister citation]. [Insert Federal Reg- ister citation]. [Insert Federal Reg- ister citation]. [Insert Federal Reg- ister citation]. [Insert Federal Reg- ister citation]. [Insert Federal Reg- ister citation]. [Insert FR citation]. [Insert FR citation]. [Insert FR citation]. [Insert FR citation]. [Insert FR citation]. [Insert FR citation]. [Insert FR citation]. [Insert FR citation]. |

#### § 147.901

40 CFR Ch. I (7–1–17 Edition)

TABLE 1 TO PARAGRAPH (a)—EPA-APPROVED KENTUCKY SDWA § 1425 UNDERGROUND INJECTION CONTROL PROGRAM STATUTES AND REGULATIONS FOR CLASS II WELLS—Continued

| State citation | Title/subject | State effective date | EPA approval date 1 |
| --- | --- | --- | --- |
| 805 Kentucky Adminis- trative Regulations 1:110. | Underground Injection Control ............................ | April 4, 2008 ................. | [Insert FR citation]. |

1 In order to determine the EPA effective date for a specific provision listed in this table, consult the Federal Register docu- ment cited in this column for the particular provision.

  - Memorandum of Agreement (MOA). The MOA between EPA Region 4  and the Commonwealth of Kentucky De- partment  of  Natural  Resources   signed by EPA Regional Administrator on Oc- tober 20, 2015.

  - Statements of Legal Authority. ‘‘Underground Injection Control Pro- gram, Attorney General’s Statement,’’ signed by General Counsel of Kentucky Energy and Environmental Cabinet on June 7, 2010.

  - Program Description. The Program Description submitted as part of Ken- tucky’s application, and any other ma- terials submitted as part of this appli- cation or as a supplement thereto.

[81 FR 95483, Dec. 28, 2016]

##### § 147.901 EPA-administered program— Class I, III, IV, V, and VI wells and Indian lands.

- Contents. The UIC program for Class I, III, IV, V and VI wells and all wells on Indian lands in the Common- wealth of Kentucky is administered by the EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any addi- tional requirements set forth in the re- mainder of this subpart. Injection well owners and operators, and EPA shall comply with these requirements.

- Effective dates. The effective date for the UIC program on Indian lands is November 25, 1988. The effective date for the UIC program  in  the  remainder of Kentucky is June 25, 1984.

[53 FR 43087, Oct. 25, 1988, as amended at 56

FR  9415,  Mar.  6,  1991;  81  FR  95484,  Dec.  28,

2016]

##### § 147.902   Acquifer exemptions.

- This section identifies any aquifers or their portions exempted in accordance with §§ 144.7(b) and 146.4 of this chapter. These aquifers are not being proposed for exemption under the

Commonwealth of Kentucky’s primacy approval.  Rather,  the  exempted aquifers listed below were previously approved while EPA had primary en- forcement authority  for  the  Class  II UIC program in the Commonwealth of Kentucky and are included here for ref- erence. Additional information perti- nent to these exempted aquifers  or their portions resides in EPA Region 4.

- The following eight aquifers (un- derground sources of drinking water) in the Commonwealth of Kentucky have been exempted in accordance with the provisions of §§ 144.7(b) and 146.4 of this chapter for Class II injection activities only: A portion of the Tar Springs sandstone formation that has a quarter mile radius areal extent (125.6 acres) that is located at latitude 37.7261 and longitude ¥86.6914. The formation has a true vertical depth from surface of 280 feet.

- A portion of the Tar Springs sand- stone  formation  that  has   a   quarter mile radius areal  extent  (125.6  acres) that is located at latitude 37.7294 and longitude ¥867212. The formation has a true vertical depth from surface of 249 feet.

- A portion of the Tar Springs sand- stone  formation  that  has   a   quarter mile radius areal  extent  (125.6  acres) that is located at latitude 37.7055 and longitude  ¥86.7177.  The  formation  has a true  vertical  depth  from  surface  of 210 feet.

- A portion of  the  Pennsylvanian Age sandstone formation that has a quarter mile radius areal extent (125.6 acres) that is located at latitude 37.5402 and longitude ¥87.2551. The formation has a true vertical  depth  from  surface of 1,050 feet.

- A portion of the Tar Springs sand- stone  formation  that  has   a   quarter mile radius areal  extent  (125.6  acres) that is located at latitude 37.7301 and longitude  ¥87.6922.  The  formation  has

#### Environmental Protection Agency	§ 147.950

a  true  vertical  depth  from  surface  of 240 feet.

- A portion of the Caseyville sand- stone  formation  that  has   a   quarter mile radius areal  extent  (125.6  acres) that is located at latitude 37.5776 and longitude  ¥87.1321.  The  formation  had a true  vertical  depth  from  surface  of 350 feet.

- A portion of the Caseyville sand- stone  formation  that  has   a   quarter mile radius areal  extent  (125.6  acres) that is located at latitude 37.5778 and longitude  ¥87.1379.  The  formation  has a true vertical depth from  surface  of 1,080 feet.

- A portion of the Caseyville sand- stone  formation  that  has   a   quarter mile radius areal  extent  (125.6  acres) that is located at latitude 37.5652 and longitude  ¥87.1222.  The  formation  has a true vertical depth from  surface  of 1,060 feet.

- [Reserved]

[81 FR 95484, Dec. 28, 2016]

##### § 147.903   Existing Class I and III wells authorized by rule.

Maximum injection  pressure.  The owner or  operator shall  limit injection pressure to the lesser of:

- A value which will not exceed the operating  requirements  of  § 144.28(f)(3)

- or (ii) as applicable or;

- A value for well head pressure cal- culated by using the following formula:

Pm = (0.733–0.433 Sg)d

where:

Pm = injection pressure at the well head in pounds per square inch

Sg = specific gravity of inject fluid (unitless) d = injection depth in feet.

##### § 147.904   [Reserved]

§ 147.905   Requirements  for  all  wells— area of review.

Notwithstanding the alternatives presented in § 146.6 of this chapter, the area of review shall  be  a  minimum fixed radius as described in § 146.6(b) of this   chapter.

# Subpart T—Louisiana

##### § 147.950   State-administered program.

The UIC program for Class I, II, III, IV, and V wells in the State of Lou-

isiana, except those wells on Indian lands, is the program administered by the Louisiana Department of Natural Resources  approved  by  EPA   pursuant to sections 1422 and 1425 of the SDWA. Notice of this approval  was  published in the FEDERAL REGISTER on  April  23, 1982 (47 FR 17487); the effective date of this program is March 23, 1982. This program consists of the following ele- ments, as submitted to EPA in the State’s   program   application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Louisiana. This incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

  - Louisiana Revised Statutes Anno- tated sections 30:1–30:24 (1975 and Supp. 1982);

  - Underground Injection Control Program  Regulations  for  Class  I,   III, IV, and V wells, Statewide Order No. 29–N–1 (February 20, 1982), as amended June 1, 1985 and January 20, 1986;

(3)(i) Statewide Order Governing the Drilling for and Producing of Oil and Gas in the State of Louisiana, State- wide Order No. 29–B (August 26, 1974) (Composite	Order	Incorporating Amendments through March 1, 1974);

- Amendments to Statewide Order No. 29–B (Off-site Disposal of Drilling Mud and Salt Water Generated from Drilling and Production of Oil and Gas Wells) (effective July 20, 1980);

- Amendment to Statewide  Order No. 29–B (Amendment  concerning  the use of Tables 5A and 6A, etc.)  (Decem- ber 15, 1980, effective January 1, 1981);

- Amendment to Statewide  Order No. 29–B (Amendment concerning the underground injection control of salt- water disposal wells,  enhanced  recov- ery injection wells, and liquid hydro- carbon storage wells) (effective Feb- ruary 20, 1982);

- Amendment to Statewide  Order No. 29–B (Amendment concerning the offsite disposal of drilling mud and saltwater) (effective May 20, 1983);

§ 147.951

- Amendment to Statewide  Order No. 29–B (Amendment concerning dis- posal of nonhazardous oilfield waste) (March 20, 1984, effective May 20, 1984);

- Amendment to Statewide Order No. 29–B (Amendment concerning the administrative approval of injectivity tests and pilot projects in order to de- termine the feasibility of proposed en- hanced recovery projects) (June 20, 1985, effective July 1, 1985).

(4) (i) Statewide Order adopting rules and  regulations  pertaining  to   the   use of salt dome cavities (i.e., storage chambers) for storage of liquid and/or gaseous hydrocarbons, etc., Statewide Order No. 29–M (July 6, 1977, effective July 20, 1977);

- Supplement to Statewide Order No. 29–M (October 2, 1978);

- Second Supplement to Statewide Order No. 29–M (June 8, 1979).

(b)(1) The Memorandum of Agree- ment (Class I, III, IV, and V wells) be- tween EPA Region VI and the Lou- isiana Department of Natural Re- sources, Office of Conservation, signed by the EPA Regional Administrator on March 17, 1982 and amended by Adden- dum 1 and Addendum 2 on November 3,

1989;

(2) The Memorandum of Agreement (Class II wells) between EPA Region VI and the Louisiana Department of Nat- ural Resources, Office of Conservation, signed by the EPA Regional Adminis- trator on March 17, 1982.

- Statement of legal authority. (1) Letter from Attorney General of Lou- isiana to EPA, ‘‘Re: Louisiana Under- ground Injection Control Program Au- thorization for State of Louisiana’’ (Class I, III, IV and V Wells), January 13, 1982, (10 pages);

- Letter from Attorney General of Louisiana to EPA, ‘‘Re: Louisiana Un- derground Injection Control Program Authorization for State  of Louisiana’’ (Class II Wells), January 13, 1982 (5 pages).

- Letter from Attorney General of Louisiana to EPA, ‘‘Re: Class I Haz- ardous Waste Injection Well  Regu- latory Program; Attorney General’s Statement, October 9, 1989 (9 pages);

- The Program Description and any other  materials  submitted  as  part  of

#### 40 CFR Ch. I (7–1–17 Edition)

the    application    or    as    supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 56

FR 9415, Mar. 6, 1991]

##### § 147.951   EPA-administered  program— Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Louisiana is  administered  by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart.  Injection  well  owners and operators, and EPA  shall  comply with  these  requirements.

- Effective dates. The effective  date of the UIC program for Indian lands in Louisiana is November 25, 1988.

[53 FR 43087, Oct. 25, 1988, as amended at 56

FR 9415, Mar. 6, 1991]

# Subpart U—Maine

##### § 147.1000   State-administered	pro- gram.

The UIC program for  all  classes  of wells in the State of  Maine,  except those on Indian lands, is the program administered by the  Maine  Department of Environmental  Protection  approved by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in the FEDERAL REGISTER on August 25, 1983 (48 FR 38641); the effec- tive date of this program is  September 26, 1983. This program consists of the following  elements,  as  submitted   to EPA in the  State’s  program  applica- tion.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made part of the applicable UIC program under the SDWA for the State of Maine. This incorporation by reference was approved by the Director of the OFR on June 25, 1984.

  - Maine  Revised  Statutes  Anno- tated title 38, sections 361–A, 363–B, 413, 414, 414–A, 420, and 1317–A (1978);

  - Rules to Control the Subsurface Discharge of Pollutants by Well Injec- tion, Rules of the Department of Envi- ronmental   Protection,   Chapter   543

Environmental Protection Agency	§ 147.1050

(adopted June 22, 1983, effective July 4,

1983).

- The Memorandum of Agreement between EPA Region I and the Maine Department of Environmental Protec- tion, signed by the EPA Regional Ad- ministrator on May 16, 1983.

- Statement of legal authority. Letter from Attorney General of Maine to EPA Regional Administrator, ‘‘Re: At- torney General’s Statement: Maine Un- derground Injection Control Program Primacy Application,’’ June 30, 1983.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR  43088,  Oct.  25,  1988;  56  FR  9415,  Mar.  6,

1991]

##### § 147.1001   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Maine is administered by EPA. This program consists of the UIC pro- gram requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators and EPA shall comply  with these   requirements.

- Effective dates. The effective  date of the UIC program for Indian lands in Maine is November 25, 1988.

[53 FR 43088, Oct. 25, 1988, as amended at 56

FR 9416, Mar. 6, 1991]

# Subpart V—Maryland

##### § 147.1050 State-administered pro- gram—Class I, II, III, IV, and V wells.

The UIC program for Class  I,  II,  III, IV, and V wells in the State of Mary- land, except those wells on Indian lands, is the program administered by the Maryland Department of the Envi- ronment approved by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in  the  FR on April 19, 1984 (49 FR 15553); the effec- tive date of this program is June 4, 1984. This program consists of the fol- lowing elements, as submitted  to  EPA in the State’s program application:

- Incorporation by reference. The re- quirements  set  forth  in  the  State  stat-

utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA for the State of Maryland. This incorpora- tion by reference was approved by the Director of the OFR in accordance with 5 U.S.C. 552(a) and 1 CFR part 51. Cop- ies may be obtained at the Maryland Department of the Environment, 2500 Broening  Highway,  Baltimore,  Mary- land, 21224. Copies may be inspected at the Environmental Protection Agency, Region III, 841 Chestnut Street, Phila- delphia, Pennsylvania, 19107, or at the National Archives and Records Admin- istration  (NARA).  For  information  on the   availability   of   this   material   at NARA, call 202–741–6030.

- Code of Maryland  Regulations, Title 26, Subtitle 08, Chapter 07 pro- mulgated and effective as of March 1, 1989;

- Code of Maryland  Regulations, Title 26, Subtitle 08, Chapter 01, pro- mulgated and effective as of March 1, 1989;

- Code of Maryland  Regulations, Title 26, Subtitle 08, Chapter 02, pro- mulgated and effective as of March 1, 1989;

- Code of Maryland  Regulations, Title 26, Subtitle 08, Chapter 03, pro- mulgated and effective as of March 1, 1989;

- Code of Maryland  Regulations, Title 26, Subtitle 08, Chapter 04, pro- mulgated and effective as of March 1, 1989;

- Code of Maryland Regulations, Title 26, Subtitle 13, Chapter 05, section

.19, promulgated and  effective as  of Au- gust 1, 1989;

- Code of Maryland  Regulations, Title 26, Subtitle 01, Chapter 02, pro- mulgated and effective as of March 1, 1989;

- Code of Maryland Regulations, Title 26, Subtitle 01, Chapter 04, pro- mulgated and effective as of March 1, 1989.

- Memorandum of Agreement. The Memorandum   of   Agreement   between

§§ 147.1051–147.1052

EPA Region III and the Maryland De- partment of the Environment, as sub- mitted on August 2, 1983, and revised on February 16, 1984.

- Statement of legal authority. State- ment from the Maryland Attorney General on the Underground Injection Control Program, as submitted on Au- gust 2, 1983, and revised on February 16, 1984.

- Program Description. The Program Description and other materials sub- mitted as part of the application or as supplements thereto.

[56 FR 9416, Mar. 6, 1991]

##### §§ 147.1051–147.1052   [Reserved]

§ 147.1053   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Maryland is  administered  by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart.  Injection  well  owners and operators, and EPA  shall  comply with  these  requirements.

- Effective date. The effective  date of the UIC program for Indian lands in Maryland is November 25, 1988.

[53 FR 43088, Oct. 25, 1988, as amended at 56

FR 9416, Mar. 6, 1991]

##### §§ 147.1054–147.1099   [Reserved]

Subpart W—Massachusetts

§ 147.1100   State-administered	pro- gram.

The UIC program for all classes of wells in the State of Massachusetts, ex- cept those on Indian lands, is the pro- gram administered by the Massachu- setts Department of Environmental Protection, approved by EPA  pursuant to section 1422 of the SDWA. Notice of this approval was published in the FED- ERAL REGISTER on November 23, 1982 (47

FR 52705); the effective date of this pro- gram is December 23, 1982. This pro- gram consists of  the  following  ele- ments, as submitted to EPA in the State’s   program   application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para-

#### 40 CFR Ch. I (7–1–17 Edition)

graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA for the State of Massachusetts. This incor- poration by reference was approved by the Director of the Federal Register on June 25, 1984.

- Massachusetts General Laws An- notated chapter 21, sections 27, 43, and 44 (West 1981);

- Code of Massachusetts Regula- tions, title 310, sections 23.01–23.11 as amended April 26, 1982.

- The Memorandum of Agreement between EPA Region I and the Massa- chusetts Department of Environmental Quality Engineering, signed by  the EPA Regional Administrator on Au- gust 18, 1982.

- Statement of legal authority. ‘‘Un- derground Injection Control Program— Attorney	General’s	Statement	for Class   I,   II,   III,   IV   and   V   Injection Wells,’’  signed  by  Assistant  Attorney General for Attorney General of Massa- chusetts, May 13, 1982.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43088, Oct. 25, 1988]

##### § 147.1101   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Massachusetts is  administered by EPA. This program consists of the UIC program requirements of 40  CFR parts 124, 144, 146, 148, and any addi- tional requirements set forth in the re- mainder of this subpart. Injection well owners and operators, and EPA shall comply  with  these  requirements.

- Effective date. The effective  date of the UIC program for Indian lands in Massachusetts is November 25, 1988.

[53 FR 43088, Oct. 25, 1988, as amended at 56

FR 9416, Mar. 6, 1991]

# Subpart X—Michigan

##### § 147.1150   State-administered	pro- gram. [Reserved]

§ 147.1151   EPA-administered program.

- Contents. The UIC program for the State of Michigan, including all Indian

Environmental Protection Agency	§ 147.1154

lands, is administered by EPA. This program consists of the UIC program requirements  of  40  CFR  parts  124,  144,

146, 148, and any additional require- ments set forth in the remainder of this subpart. Injection well owners and operators, and EPA shall comply with these requirements.

- Effective dates. The effective date for the UIC program for all lands in Michigan, including Indian lands, is June 25, 1984.

[52 FR 17681, May 11, 1987, as amended at 56

FR 9416, Mar. 6, 1991]

##### § 147.1152 Aquifer exemptions. [Re- served]

§ 147.1153 Existing Class I, II (except enhanced recovery and hydro- carbon storage) and III wells au- thorized by rule.

Maximum injection  pressure.  The owner or  operator shall  limit injection pressure to the lesser of:

- A value which will not exceed the operating  requirements  of  § 144.28(f)(3)

(i) or (ii) as applicable; or

- A value for well head pressure cal- culated by using the following formula:

Pm = (0.800¥0.433 Sg)d

where:

Pm = injection pressure at the well head in pounds per square inch

Sg = specific gravity of injected fluid (unitless)

d = injection depth in feet.

##### § 147.1154 Existing Class II enhanced recovery and hydrocarbon storage wells authorized by rule.

- Maximum injection pressure. (1) To meet   the   operating   requirements   of

§ 144.28(f)(3)(ii) (A) and (B) of this chap- ter, the owner or operator:

- Shall use an injection pressure no greater than the pressure established by the Regional Administrator for the field or formation in which the well is located. The  Regional  Administrator shall establish such a maximum pres- sure after notice, opportunity for com- ment, and opportunity for a public hearing, according to the provisions of part 124, subpart A of this chapter, and will inform owners and operators in writing of the applicable maximum pressure; or

- May inject at pressures greater than those specified in paragraph (a)(1)(i) of this section for the field or formation in which he is operating pro- vided he submits a  request  in  writing to the Regional Administrator, and demonstrates to the satisfaction of the Regonal Administrator that such injec- tion pressure will not violate the re- quirement of § 144.28(f)(3)(ii) (A) and (B). The Regional Administrator may grant such a request after notice, op- portunity for comment, and  oppor- tunity  for  a  public   hearing,   according to the provisions of part 124, subpart A of  this  chapter.

(2) Prior to such time as the Regional Administrator establishes field  rules for maximum injection pressure based on data provided pursuant to para- graph (a)(2)(ii) of this section the owner or operator shall:

- Limit injection pressure  to  a value which will not exceed the oper- ating requirements of § 144.28(f)(3)(ii); and

- Submit data acceptable to the Regional Administrator which defines the fracture pressure of  the  formation in which injection is taking place. A single test may be submitted on behalf of two or more operators conducting operations in  the  same  formation,  if the Regional Administrator approves such submission. The data shall be sub- mitted to the Regional Administrator within 1 year following the effective date of this program.

- Casing and cementing. Where the Regional   Administrator    determines that the owner or operator of  an  exist- ing enhanced recovery or hydrocarbon storage will may not be in compliance with the requirements of §§ 144.28(e) and 146.22, the owner or operator shall com- ply with paragraphs (b)  (1)  through  (4) of this  section,  when  required  by the regional    Administrator:

- Protect USDWs by:

  - Cementing surface casing by recir- culating the cement to the  surface from a  point 50  feet below  the lower- most USDW; or

  - Isolating all USDWs by placing cement between the outermost casing and the well bore; and

- Isolate any injection zones by placing sufficient cement to fill the calculated  space  between  the  casing

#### § 147.1155

and  the  well  bore  to  a  point  250  feet above the injection zone; and

- Use cement:

  - Of sufficient quantity and quality to withstand the maximum operating pressure;

  - Which is resistant to deteriora- tion from formation and injection fluids; and

  - In a quantity no less than 120% of the calculated volume necessary to cement off a zone.

- The Regional Administrator may specify other requirements in addition to or in lieu of the requirements set forth in paragraphs (b) (1) through (3) of this section, as needed to protect USDWs.

##### § 147.1155   Requirements for all wells.

- Area of review.  Notwithstanding the alternatives presented in § 146.6 of this chapter, the area  of  review  for Class II wells shall be a fixed radius as described in § 146.6(b) of this chapter.

- Tubing and packer. The owner or operator of an injection well injecting salt water for disposal shall inject through tubing and packer. The owner of an existing well must comply with this requirement within one year of the effective date of this program.

# Subpart Y—Minnesota

##### § 147.1200   State-administered	pro- gram. [Reserved]

§ 147.1201   EPA-administered program.

- Contents. The UIC program for the State of Minnesota is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart.  Injection  well  owners and operators, and EPA  shall  comply with  these  requirements.

- Effective date. The effective  date of the UIC program for Minnesota is: June 11, 1984.

[49 FR 20197, May 11, 1984, as amended at 56

FR 9416, Mar. 6, 1991]

40 CFR Ch. I (7–1–17 Edition)

##### § 147.1202   Aquifer	exemptions.	[Re- served]

§ 147.1210   Requirements	for	Indian lands.

- Purpose and scope. This section sets forth additional requirements that apply to injection activities on Indian lands in Minnesota.

- Requirements. Notwithstanding the other requirements of this subpart, for Indian lands described in paragraph

(a) of this section, no owner or oper- ator shall construct, operate, main- tain, or convert any Class I, II, III, or IV well. The UIC program for Class V wells on such Indian Lands is adminis- tered by EPA, and consists of the appli- cable requirements of 40 CFR parts 124, 144, and 146. In addition, no owner or operator shall abandon a well without the approval of the Regional Adminis- trator.

(c) Effective date. The effective date of the UIC program requirements for In- dian lands in Minnesota is  December 30, 1984.

[49 FR 45307, Nov. 15, 1984]

# Subpart Z—Mississippi

##### § 147.1250   State-administered	pro- gram—Class I, III, IV, and V wells.

The UIC program for Class I, III,  IV and V wells in the State of Mississippi, except those on Indian lands, is the program administered by the Mis- sissippi Department of Natural Re- sources approved by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in the FED- ERAL  REGISTER  on  August  25,  1983  (48

FR 38641); the effective date of this pro- gram is September 26, 1983. This pro- gram consists of  the  following  ele- ments, as submitted to EPA in the State’s   program   application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Mississippi. This incorpo- ration by reference was approved by the Director of the Federal Register on June 25, 1984.

Environmental Protection Agency	§ 147.1252

  - Mississippi Air and Water  Pollu- tion Control Law, Mississippi Code An- notated sections 49–17–1 through 49–17– 29 (1972) and Supp. 1983);

  - Mississippi Department of Natural Resources,  Bureau  of  Pollution   Con- trol, Underground Injection Control Program  Regulations  (adopted  Feb- ruary 11, 1982);

  - Mississippi Department of Natural Resources, Bureau of Pollution  Con- trol, State of Mississippi Wastewater Permit Regulations for National Pol- lutant Discharge Elimination System (NPDES), Underground Injection Con- trol (UIC), and State  Operating  Per- mits (adopted May 1, 1974; amended February 11, 1982).

- The Memorandum of Agreement between EPA Region IV and the Mis- sissippi Department of Natural Re- sources, signed by the EPA Regional Administrator on February 8, 1983.

- Statement of legal authority. (1) Letter from Attorney General of Mis- sissippi (by Special Assistant Attorney General) to Executive Director, Mis- sissippi Department of Natural Re- sources,  ‘‘Re:  Mississippi  Department of Natural Resources, Bureau of Pollu- tion Control, State Underground Injec- tion Control (UIC) Program;  Statement of the Attorney General of the State of Mississippi,’’ December 3, 1981;

- Letter from Attorney General of Mississippi (by Special Assistant At- torney General) to Executive Director, Mississippi Department of Natural Re- sources, ‘‘Re: Authority to  Regulate and Take Samples from Underground Injection Systems,’’ October 18, 1982;

- Letter from Attorney General of Mississippi (by Special Assistant At- torney General) to Regional Adminis- trator, EPA Region IV, ‘‘Re: Public Participation in State Enforcement Actions, UIC Program,’’ June 10, 1983.

- The Program Description and any other materials submitted as part of the application or supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43088, Oct. 25, 1988]

##### § 147.1251   State-administered	pro- gram—Class II wells.

The UIC program for Class II wells in the State of Mississippi, other than those on Indian lands, is the program administered by the State Oil and Gas

Board of Mississippi approved by EPA pursuant to section 1425 of the SDWA. Notice of this approval  was  published in the FEDERAL REGISTER on March 2, 1989; the effective date of this program is March 2, 1989. This program consists of the following elements, as submitted to EPA in the State’s program applica- tion:

- Incorporation by reference. The requirements set forth in the State statutes and regulations cited in this paragraph are hereby incorporated by reference and made a part of the appli- cable UIC program under the SDWA for the State of Mississippi. This incorpo- ration by reference was approved by the Director  of  the Federal Register in accordance with 5 U.S.C. 552(a).

  - Mississippi Code Annotated, sec- tion 5–9–9 (Supp. 1988).

  - Mississippi Code Annotated, sec- tions 53–1–1 through 53–1–47, inclusive and sections 53–1–71 through 53–1–77, in- clusive (1972 and Supp. 1988).

  - Mississippi Code Annotated, sec- tions 53–3–1 through 53–3–165, inclusive (1972 and Supp. 1988).

  - State Oil and Gas Board  State- wide Rules and Regulations, Rules 1 through 65, inclusive (Aug. 1, 1987, as amended, Sept. 17, 1987).

- The Memorandum of Agreement between EPA Region IV and the  State Oil and Gas Board of Mississippi signed by the Regional Administrator on Oc- tober 31, 1988.

- Statement of legal authority. Statement from the Attorney General signed on October 1, 1987 with amend- ments to the  Statement  signed  August 5, 1988 and September 15, 1988 by the Special  Assistant  Attorney  General.

- The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[54 FR 8735, Mar. 2, 1989]

##### § 147.1252   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Mississippi is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of   this   subpart.   Injection   well   owners

#### § 147.1300

and  operators,  and  EPA  shall  comply with these requirements.

- Effective date. The effective  date of the UIC program on Indian lands is November 25, 1988.

[53 FR 8735, Mar. 2, 1989, as amended at 56 FR

9416, Mar. 6, 1991]

# Subpart AA—Missouri

##### § 147.1300   State-administered	pro- gram.

The UIC program for all classes of wells in the State of Missouri, except those on Indian lands, is  administered by the Missouri Department of Natural Resources, approved by EPA  pursuant to section 1422 and 1425 of the SDWA. Notice of this approval  was  published in the FEDERAL REGISTER  on  December 2, 1983 (48 FR 54349); the effective date of this program is December 2, 1983). This program consists of the following elements, as submitted to EPA in the State’s  program  application.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Missouri. This incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

- Vernon’s Annotated Missouri Statutes sections 259.010 to 259.240 (Supp. 1984);

- Missouri Code of State Regula- tions, title 10, division 50, chapters 1 and 2 (June 1984);

- Vernon’s Annotated Missouri Statutes chapter 204, §§ 204.006 through

204.470 (1983 and Cumm. Supp. 1990).

- The Memorandum of Agreement between EPA Region VII and the Mis- souri Department of  Oil  and  Gas, signed by the EPA Regional Adminis- trator on December 3, 1982.

- Statement of legal authority. (1) Opinion Letter No. 63 and attached Memorandum Opinion, signed by At- torney General of Missouri, March 16, 1982;

- Addendum  to  Opinion  Letter  No. 63 (1982), signed by Attorney General of Missouri, October 28, 1982.

40 CFR Ch. I (7–1–17 Edition)

- Opinion No.  127–83, signed  by At- torney General of Missouri, July 11, 1983.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR  43088,  Oct.  25,  1988;  56  FR  9416,  Mar.  6,

1991]

##### § 147.1301   State-administered	pro- gram—Class I, III, IV, and V wells.

The UIC program for Class I, III, IV, and V wells in the State of Missouri, other than those on Indian lands, is the program administered by the Missouri Department of Natural Resources, ap- proved by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in the FEDERAL REG- ISTER on November 2, 1984; the effective date of this program is July 31, 1985. This program consists of the following elements, as submitted to EPA in the State’s program application.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA for the State of Missouri. This incorpora- tion by reference was approved by the Director of the Federal Register effec- tive July 31, 1985.

  - Revised Statutes of the State of Missouri, Volume 2, sections 204.016, 204.026, 204.051, 204.056 and Volume V, section 577.155 (1978 and Cumm. Supp. 1984);

  - Missouri Code of  State  Regula- tions, title 10, division 20, Chapter 6, sections 20–6.010, 20–6.020, 20–6.070, 20– 6.080, 20–6.090, and title 10, division 20, Chapter 7, section 20–7.031 (1977, amend- ed 1984).

- Other laws. The following statutes and regulations, although not incor- porated by reference except for select sections identified in paragraph (a) of this section, are also part of the ap- proved State-administered program.

  - Revised Statutes of the State of Missouri, chapters 204, 260, 536, 557, 558 and 560; sections 640.130.1 and 1.020 (1978 and Cumm. Supp. 1984);

  - Rule 52.12 Vernon’s Annotated Missouri Rules (1978);

#### Environmental Protection Agency	§ 147.1350

  - Missouri Code of State Regula- tions, title 10, division 20, Chapters 1 through 7 (1977, amended 1984).

- The Memorandum of Agreement between EPA Region VII and the Mis- souri Department of Natural Re- sources, signed by the EPA Regional Administrator on October 10, 1984.

- Statement of Legal Authority. Opin- ion No. 123–84, signed by Attorney Gen- eral of Missouri, September 24, 1984. Amended April 2, 1985.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[50 FR 28942, July 17, 1985]

##### § 147.1302   Aquifer	exemptions.	[Re- served]

§ 147.1303   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Missouri is  administered  by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 145, 146, 148, and any additional requirements set  forth  in  the  remain- der of this subpart. Injection well  own- ers and operators, and EPA shall  com- ply  with  these  requirements.

- Effective date. The effective date for the UIC program for Indian lands is November 25, 1988.

[53 FR 43088, Oct. 25, 1988, as amended at 56

FR 9417, Mar. 6, 1991]

# Subpart BB—Montana

##### § 147.1350   State-administered	pro- grams—Class II wells.

The UIC program for Class II injec- tion wells in the State of Montana, ex- cept for those in Indian Country, is the program administered by the Montana Board of Oil and Gas Conservation (MBOGC) approved by the EPA pursu- ant to Section 1425 of the SDWA.  No- tice of this approval was published  in the FEDERAL  REGISTER on November 19, 1996; the  effective date of  this program is November 19, 1996. This program con- sists of the following elements as sub- mitted to EPA in the State’s program application:

- Incorporation by reference. The re- quirements  set  forth  in  the  State  stat-

utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made part of the applicable UIC program under the SDWA for the State  of  Montana.  This  incorporation by reference was approved by the Di- rector  of  the  FR  in  accordance  with  5

    - 552(a) and 1 CFR part 51. Copies may be obtained at the Montana Board of Oil and Gas Conservation, 2535  St. Johns	Avenue,	Billings,	Montana, 59102. Copies may be inspected at the Environmental Protection Agency, Re- gion  VIII,  999  18th  Street,  Suite  500, Denver, Colorado, 80202–2466, or at the National Archives and Records Admin- istration  (NARA).  For  information  on the   availability   of   this   material   at NARA, call 202–741–6030.

      - Montana Statutory Requirements Applicable to the Underground Injec- tion Control Program, August, 1996.

      - Montana Regulatory Require- ments Applicable to the Underground Injection Control Program, August, 1996.

- Memorandum of Agreement (MOA).

- The MOA between EPA Region VIII and the MBOGC signed by the Acting EPA Regional Administrator  on  June 9, 1996.

- Letter dated May 24, 1996, from the Administrator of the MBOGC and the attached addendum (Addendum No. 1–96) to the MOA between MBOGC and EPA Region VIII, signed by the Acting EPA Regional Administrator on  Au- gust 14, 1996.

- Statement of legal authority. (1) Letter from the Montana Attorney General to the Regional Administrator dated August 1, 1995.

- MBOGC independent counsel’s cer- tification of Montana’s UIC program for Class II wells dated July 24, 1995.

- Letter dated March 8, 1996, from MBOGC  independent   counsel   to USEPA, Region VIII; ‘‘Re: EPA com- ments of November 29, 1995, on Mon- tana  Class  II  primacy  application.’’

- Letter dated March 8, 1996, from the Administrator of the MBOGC and the attached proposed replacement lan- guage for the MOA; ‘‘Re: Responses to EPA comments on Montana Class II Primacy  Application.’’

§ 147.1351

- Program Description. The Program Description and any other materials submitted as part of the application or as supplemented thereto:

- Application and accompanying materials for approval  of  Montana’s UIC program for Class II wells sub- mitted by the Governor of Montana, August 3, 1995.

- [Reserved]

[61 FR 58933, Nov. 19, 1996]

##### § 147.1351   EPA-administered program.

  - Contents. The UIC program in the State of Montana for Class I, III,  IV, and V wells, and for all Classes of wells in Indian country in Montana, except for Class II wells on all  lands  within the exterior boundaries of the Fort Peck Indian Reservation, is adminis- tered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any ad- ditional requirements set forth in the remainder of this subpart. Injection well owners and operators, and EPA shall comply with these requirements.

  - Effective dates. The effective date for the UIC program for Class I, III, IV, and V wells for all lands in Montana, including all Indian country in Mon- tana, and for Class II wells for all In- dian country in Montana other than the Fort Peck Indian Reservation, is June 25, 1984. The effective date for the EPA-approved State-administered UIC Class II program for all lands in Mon- tana, except for those in Indian coun- try, is provided in § 147.1350.

[52 FR 17681, May 11, 1987, as amended at 56

FR  9417,  Mar.  6,  1991;  61  FR  58933,  Nov.  19,

1996; 73 FR 63646, Oct. 27, 2008]

##### § 147.1352   Aquifer exemptions.

Those portions of aquifers within one-quarter mile of existing Class II wells are exempted for the purpose of Class II injection activities only.

NOTE: A complete listing of the exemptions and their location is available for  review  in the EPA Regional Office, 1860 Lincoln Street, Denver, Colorado. An updated list of exemp- tions will be maintained in the Regional Of- fice.

#### 40 CFR Ch. I (7–1–17 Edition)

##### § 147.1353 Existing Class I, II (except enhanced recovery and hydro- carbon storage) and III wells au- thorized by rule.

Maximum injection  pressure.  The owner or  operator shall  limit injection pressure to the lesser of:

  - A value which will not exceed the operating  requirements  of  § 144.28(f)(3)

(i) or (ii) as applicable or

  - A value for well head pressure cal- culated by using the following formula:

Pm = (0.733 - 0.433 Sg)d

where:

Pm = injection pressure at the well head in pounds per square inch

Sg = specific gravity of inject fluid (unitless) d = injection depth in feet.

##### § 147.1354 Existing Class II enhanced recovery and hydrocarbon storage wells authorized by rule.

- Maximum injection pressure. (1) To meet   the   operating   requirements   of

§ 144.28(f)(3)(ii) (A) and (B) of this chap- ter, the owner or operator:

- Shall use an injection pressure no greater than the pressure established by the Regional Administrator for the field or formation in which the well is located. The  Regional  Administrator shall establish such a maximum pres- sure after notice, opportunity for com- ment, and opportunity for a public hearing, according to the provisions of part 124, subpart A of this chapter, and will inform owners and operators in writing of the applicable maximum pressure; or

- May inject at pressures greater than those specified in paragraph (a)(1)(i) of this section for the field or formation in which he is operating pro- vided he submits a  request  in  writing to the Regional Administrator, and demonstrates to the satisfaction of the Regional Administrator that such in- jection pressure will not violate the re- quirement of § 144.28(f)(3)(ii) (A) and (B). The Regional Administrator may grant such a request after notice, op- portunity for comment, and  oppor- tunity  for  a  public   hearing,   according to the provisions of part 124, subpart A of  this  chapter.

(2) Prior to such time as the Regional Administrator established rules for maximum injection pressure based on

#### Environmental Protection Agency	Pt. 147, Subpt. BB, App. A

data  provided  pursuant  to  paragraph

  - below the owner or operator shall:

    - Limit injection pressure  to  a value which will not exceed the oper- ating requirements of § 144.28(f)(3)(ii); and

    - Submit data acceptable to the Regional Administrator which defines the fracture pressure of  the  formation in which injection is taking place. A single test may be submitted on behalf of two or more operators conducting operations in  the  same  formation,  if the Regional Administrator approves such submission. The data shall be sub- mitted to the Regional Administrator within 1 year of the effective date  of this  program.

- Casing and cementing. Where the Regional   Administrator    determines that the owner or operator of  an  exist- ing enhanced recovery or hydrocarbon storage well may not be in compliance with the requirements of §§ 144.28(e) and 146.22, the owner or operator shall when required  by  the  Regional  Adminis- trator:

  - Isolate all USDWs by placing ce- ment between the  outermost  casing and the well bore as follows:

    - If the injection well is east of the 108th meridian, cement the outermost casing from a point 50 feet into a major shale formation underlying the upper- most USDW to the surface. For the purpose of this paragraph, major shale formations are defined as the Bearpaw, Clagget,  and  Colorado  formations.

    - If the injection well is west of the 108th meridian, cement the outermost casing to a depth of 1,000 feet, or to the base of the lowermost USDW in use as a source of drinking water whichever is deeper. The Regional Administrator may allow an owner or operator to ce- ment to a lesser depth if he can dem- onstrate to the satisfaction of the Re- gional Administrator that no USDW will be affected by the injection facili- ties.

  - Isolate any injection zones by placing sufficient cement to fill the calculated space between the casing and the well bore to a point 250 feet above the injection zone; and

  - Use cement:

    - Of sufficient quantity and quality to withstand the maximum operating pressure;

    - Which is resistant to deteriortion from formation and injection fluids; and

    - In a quantity no less than 120% of the calculated volume necessary to cement off a zone.

  - The Regional Administrator may specify other requirements in addition to or in lieu of the requirements set forth in paragraphs (b) (1) through (3) of this section, as needed to protect USDWs.

##### § 147.1355   Requirements for all wells.

- Area of review.  Notwithstanding the alternatives presented in § 146.6 of this chapter, the area of review shall be a fixed radius as described in § 146.06(b) of  this  chapter.

- The applicant must give separate notice of intent to apply for a permit to each owner or tenant of the land within one-quarter mile of the site. This requirement may be waived by the Regional Administrator where indi- vidual notice to all land owners and tenants would be impractical. The ad- dresses of those to whom notice is given, and a description of how notice was given, shall be submitted with the permit application. The notice shall in- clude:

  - Name and address of applicant;

  - A brief description of the planned injection activities, including well lo- cation, name and depth of the injection zone, maximum injection pressure and volume, and fluid to be injected;

  - EPA contact person; and

  - A statement that opportunity to comment will be announced after EPA prepares a draft permit.

- Owners and operators on or within one-half mile of Indian lands shall pro- vide  notice  as  specified  in  paragraph

- of this section, except that such no- tice shall be provided within a one-half mile radius of the site.

APPENDIX A TO SUBPART BB OF PART 147—STATE REQUIREMENTS INCOR- PORATED BY REFERENCE IN SUBPART BB OF PART 147 OF THE CODE OF FEDERAL  REGULATIONS

The following is an informational listing of state requirements incorporated by reference in Subpart BB of part 147 of the Code of Fed- eral  Regulations:

#### Pt. 147, Subpt. BB, App. A

Subpart BB—Montana

  - The statutory provisions include:

    - Montana Code annotated, 1995, Title 2, Chapter 15:

Section 2–15–121. Allocation for administra- tive  purposes  only.

Section 2–15–124. Quasi-judicial boards. Section  2–15–3303.  Board  of  oil  and  gas  con-

servation-composition—allocation—quasi- judicial.

    - Montana  Code  annotated,  1995,  Title  82, Chapter 10:

Section 82–10–101. Action for accounting for royalty.

Section 82–10–102. Remedy not exclusive.

Section 82–10–103. Obligation to pay royalties as  essence  of  contract-interest.

Section 82–10–104. Payment of  royalties-form of record required.

Section 82–10–105 through 82–10–109 reserved. Section  82–10–110.  Division  order-definition-

effect.

Section 82–10–201. Authorization  for  lease and  terms-land  not  subject  to  leasing.

Section 82–10–202. Acreage pooling.

Section 82–10–203. Interference with normal use  of  land  prohibited.

Section 82–10–204. Lease of acquired oil and gas  interests.

Section 82–10–301. Definitions.

Section 82–10–302. Policy.

Section 82–10–303. Use of eminent domain to acquire  underground  reservoirs.

Section 82–10–304. Certificate of board re- quired prior to use of eminent domain.

Section 82–10–305. Proceedings.

Section 82–10–401. Notice required before abandonment  of  well-owner’s  option.

Section 82–10–402. Inventory of abandoned wells and seismic operations-reclamation procedures.

Section 82–10–501. Purpose-legislative find- ings.

Section 82–10–502. Definitions.

Section 82–10–503. Notice of drilling oper- ations.

Section 82–10–504. Surface damage and dis- ruption payments-penalty for  late  pay- ment.

Section 82–10–505. Liability for damages to property.

Section 82–10–506. Notification of injury. Section  82–10–0507.  Agreement—offer  of  set-

tlement.

Section 82–10–508. Rejection—legal action. Section 82–10–509 and 82–10–510. Reserved. Section 82–10–511. Remedies cumulative.

    - Montana  Code  annotated,  1995,  Title  82, Chapter 11:

Section 82–11–101. Definitions.

Section 82–11–102. Oil or gas wells not public utilities.

Section 82–11–103. Lands subject to law.

Section 82–11–104. Construction-no conflict with board of land commissioners’ author- ity.

#### 40 CFR Ch. I (7–1–17 Edition)

Section 82–11–105 through 82–11–110 reserved.

Section 82–11–111. Powers and duties of board.

Section 82–11–112. Intergovernmental co- operation.

Section 82–11–113. Role of board in implemen- tation  of  national  gas  policy.

Section 82–11–114. Appointment of examiners. Section  82–11–115.  Procedure  to  make  deter-

minations.

Section 82–11–116. Public access.

Section  82–11–117.  Confidentiality  of  records. Section  82–11–118.  Fees  for  processing  appli-

cations.

Section 82–11–119 through 82–11–120 reserved. Section  82–11–121.  Oil  and  gas  waste  prohib-

ited.

Section 82–11–122. Notice of intention to drill or conduct seismic operations-notice to surface  owner.

Section 82–11–123. Requirements for oil and gas   operations.

Section 82–11–124. Requirement relating to waste   prevention.

Section 82–11–125. Availability of cores or chips, cuttings, and bottom-hole tempera- tures to board.

Section 82–11–126. Availability of facilities to bureau of mines.

Section  82–11–127.  Prohibited  activity.   Section 82–11–128 through 82–11–130 reserved. Section 82–11–131. Privilege and license tax.

Section 82–11–132. Statements to treasurer and payment of tax.

Section 82–11–133. Penalty for late payment. Section 82–11–134. Permit fees.

Section 82–11–135. Money earmarked  for board  expenses.

Section 82–11–136. Expenditure of funds from bonds  for  plugging  wells.

Section 82–11–137. Class II injection well op- erating  fee.

Section 82–11–138 through 82–11–140 reserved. Section 82–11–141. Administrative procedure. Section  82–11–142.  Subpoena  power-civil  ac-

tions.

Section 82–11–143. Rehearing. Section 82–11–144. Court review.

Section 82–11–145. Injunction or restraining order.

Section 82–11–146. Appeal.

Section 82–11–147. Violations.   Section 82–11–148. Criminal penalties. Section 82–11–149. Civil penalties.

Section 82–11–150. Legal assistance.

Section 82–11–151. Emergencies-notice and hearing.

Section 82–11–152 through 82–11–160 reserved.

Section 82–11–161. Oil and gas production damage mitigation account-statutory ap- propriation.

Section 82–11–162. Release of producing oil or gas  well  from  drilling  bond-fee.

Section 82–11–163. Landowner’s bond on non- commercial   well.

Section 82–11–164. Lien created.

Section 82–11–165 through 82–11–170 reserved.

#### Environmental Protection Agency	Pt. 147, Subpt. BB, App. A

Section 82–11–171. Terminated.

Section    82–11–201.    Establishment    of    well spacing   units.

Section 82–11–202. Pooling of interest within spacing  unit.

Section 82–11–203. Pooling agreements not in violation  of  antitrust  laws.

Section  82–11–204.  Hearing  on  operation  of pool  as  unit.

Section 82–11–205. Board order for unit oper- ation-criteria.

Section  82–11–206.  Terms  and  conditions  of plan  for  unit  operations.

Section  82–11–207.  Approval  of  plan  for  unit operations  by  persons  paying  costs.

Section 82–11–208. Board orders-amendment. Section  82–11–209.  Units  established  by  pre-

vious order.

Section  82–11–210.  Unit  operations-less  than whole of pool.

Section 82–11–211. Operations considered as done by all owners in unit.

Section 82–11–212. Property rights and opera- tor’s  lien.

Section  82–11–213.  Contract  not  terminated by board order.

Section 82–11–214. Title to oil and gas rights not affected by board order.

Section   82–11–215.   Unit   operation   not   re- straint  of  trade.

Section 82–11–216. No creation of relationship between  parties  in  unit.

Section 82–11–301. Authorization to join interstate compact  for  conservation  of  oil and  gas.

Section 82–11–302. Interstate oil and gas com- pact.

Section  82–11–303.  Extension  of  expiration date.

Section  82–11–304.  Governor  as  member  of Interstate  Oil  Compact  Commission.

Section   82–11–305.   Limitation   on   power   of representative.

Section 82–11–306. Expenses of representative.

  - The regulatory provisions include: Ad- ministrative Rules of Montana Board of Oil and Gas Conservation, Chapter 22, revised March 1996:

Rule 36.22.101. Organizational Rule. Rule 36.22.201. Procedural Rules.

Rule   36.22.202.   Environmental   Policy   Act Procedural  Rules.

Rule 36.22.301. Effective Scope of Rules. Rule 36.22.302. Definitions.

Rule  36.22.303.  Classification  of  Wildcat  or Exploratory  Wells.

Rule  36  22.304.  Inspection  of  Record,  Prop- erties,  and  Wells.

Rule 36.22.305. Naming of Pools.

Rule 36.22.306. Organization of Reports. Rule 36.22.307. Adoption of Forms.

Rule 36.22.308. Seal of Board.

Rule 36.22.309. Referral of Administrative De- cisions.

Rule 36.22.401. Office and Duties of Petroleum Engineer.

Rule 36.22.402. Office and Duties of Adminis- trator.

Rule 36.22.403. Office and Duties of Geologist. Rule 36.22.501. Shot Location Limitations.

Rule 36.22.502. Plugging and Abandonment. Rule 36.22.503. Notification.

Rule 36.22.504. Identification.

Rule 36.22.601. Notice of Intention and Per- mit  to  Drill.

Rule 36.22.602. Notice of Intention to Drill and Application for Permit to Drill.

Rule 36.22.603. Permit Fees.

Rule 36.22.604. Permit Issuance - Expiration - Extension.

Rule 36.22.605. Transfer of Permits.

Rule 36.22.606. Notice and Eligibility State- ment for Drilling or Recompletion in Unit Operations.

Rule 36.22.607. Drilling Permits Pending Spe- cial Field Rules.

Rule 36.22.701. Spacing Units - General. Rule 36.22.702. Spacing of Wells.

Rule 36.22.703. Horizontal Wells.

Rule 36.22.1001. Rotary Drilling Procedure. Rule 36.22.1002. Cable Drilling Procedure. Rule  36.22.1003.  Vertical  Drilling  Required

Deviation.

Rule 36.22.1004. Dual Completion of Wells. Rule 36.22.1005. Drilling Waste Disposal and

Surface Restoration.

Rules 36.22.1006 through 36.22.1010. Reserved. Rule   36.22.1011.   Well   Completion   and   Re-

completion Reports.

Rule 36.22.1012. Samples of Cores and Cuttings.

Rule 36.22.1013. Filing of Completion Reports, Well Logs,  Analyses, Reports,  and  Surveys. Rule 36.22.1014. Blowout Prevention and Well

Control Equipment.

Rule 36.22.1101. Fire Hazard Prevention. Rule 36.22.1102. Fire Walls Required.

Rule 36.22.1103. Notification and Report of Emergencies and Undesirable Incidents.

Rule 36.22.1104. Control and Cleanup. Rule 36.22.1105. Solid Waste.

Rule 36.22.1201. Surface Equipment. Rule 36.22.1202. Identification.

Rule 36.22.1203. Chokes Required. Rule 36.22.1204. Separators Required.

Rule 36.22.1205. Vacuum Pumps Prohibited. Rule 36.22.1206. Tubing Required.

Rule 36.22.1207. Earthen Pits and Open Ves- sels.

Rule 36.22.1208. Producing from Different Pools Through the Same Casing.

Rules 36.22.1209 through 36.22.1212. Reserved. Rule 36.22.1213. Reservoir or Pool Surveys. Rule 36.22.1214. Subsurface Pressure Tests. Rule 36.22.1215. Stabilized Production Test. Rule 36.22.1216. Gas Oil Ratio Tests.

Rule 36.22.1217. Water Production Report. Rule 36.22.1218. Gas to be Metered.

Rule 36.22.1219. Gas Waste Prohibited.

Rule 36.22.1220. Associated Gas Flaring Limi- tation—Application to exceed—Board Re- view and Action.

#### § 147.1400

Rule 36.22.1221. Burning of Waste Gas Re- quired.

Rule 36.22.1222. Hydrogen Sulfide Gas.

Rule 36.22.1223. Fencing, Screening, and Net- ting  of  Pits.

Rules 36.22.1224 and 36.22.1425. Reserved. Rule 36.22.1226. Disposal of Water.

Rule 36.22.1227. Earthen Pits and Ponds. Rule 36.22.1228. Disposal by Injection.

Rule 36.22.1229. Water Injection and Gas Re- pressuring.

Rule 36.22.1230. Application Contents and Re- quirements.

Rule 36.22.1231. Notice of Application Objec- tions.

Rule 36.22.1232. Board Authorization.

Rule 36.22.1233. Notice of Commencement or Discontinuance—Plugging of Abandoned Wells.

Rule 36.22.1234. Record Required.

Rules 36.22.1235 through 36.22.1239. Reserved. Rule    36.22.1240.    Report    of    Well    Status

Change.

Rule 36.22.1241. Service Company Reports. Rule 36.22.1242. Reports by Producers.

Rule 36.22.1243. Reports from Transporters, Refiners,  and  Gasoline  or  Extraction Plants.

Rule 36.22.1244. Producer’s Certificate of Compliance.

Rule 36.22.1245. Illegal Production.

Rule 36.22.1301. Notice and Approval of Inten- tion  to  Abandon  Report.

Rule 36.22.1302. Notice of Abandonment. Rule 36.22.1303. Well Plugging Requirement.

Rule 36.22.1304. Plugging Methods and Proce- dure.

Rule 36.22.1305. Exception for Fresh Water Wells.

Rule 36.22.1306. Approval for Pulling Casing and Reentering Wells.

Rule 36.22.1307. Restoration of Surface.

Rule 36.22.1308. Plugging and Restoration Bond.

Rule 36.22.1309. Subsequent Report of Aban- donment.

Rule 36.22.1401. Definitions.

Rule 36.22.1402. Underground Injection.

Rule 36.22.1403. Application Contents and Re- quirements  Rules.

Rule 36.22.1404 and 36.22.1405. Reserved. Rule 36.22.1406. Corrective Action.

Rule 36.22.1407. Signing the Application. Rule 36.22.1408. Financial Responsibility. Rule 36.22.1409. Hearings.

Rule 36.22.1410. Notice of Application. Rule 36.22.1411. Board Authorization. Rules 36.22.1412 and 36.22.1413. Reserved.

Rule 36.22.1414. Notice of Commencement or Discontinuance—Plugging of Abandoned Wells.

Rule 36.22.1415. Records Required. Rule 36.22.1416. Mechanical Integrity.

Rule 36.22.1417. Notification of Tests—Re- porting  Results.

Rule 36.22.1418. Exempt Aquifers.

Rule 36.22.1419. Tubingless Completions.

#### 40 CFR Ch. I (7–1–17 Edition)

Rules 36.22.1420 and 36.22.1421. Reserved. Rule 36.22.1422. Permit Conditions.

Rule 36.22.1423. Injection Fee—Well Classi- fication.

Rule 36.22.1601. Who May Apply for Deter- mination.

Rule 36.22.1602. Application Requirements and  Contents.

Rule 36.22.1603. Documents and Technical Data   Supporting   Application.

Rule 36.22.1604. Docket Number.

Rule 36.22.1605. List of Applications—Public Access.

Rule 36.22.1606. Objections to Applications. Rule 36.22.1607. Deadlines for Action Deter-

minations.

Rule 36.22.1608. Deficient Applications.

Rule 36.22.1609. Board Action on Applica- tions.

Rule 36.22.1610.  Special Findings and Deter- minations New Onshore Production Wells Under Section 103.

Rule 36.22.1611.  Special Findings and Deter- minations  Stripper  Well  Production.

[61 FR 58934, Nov. 19, 1996]

# Subpart CC—Nebraska

##### § 147.1400   State-administered	pro- gram—Class II wells.

The UIC program for Class II wells in the State of Nebraska, except those on Indian lands, is the program adminis- tered by the Nebraska Oil and Gas Con- servation Commission,  approved  by EPA pursuant to section 1425 of the SDWA.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Nebraska. This incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

  - Rules and Regulations of the Ne- braska Oil and Gas Conservation Com- mission, Rules 1 through 6 (as  pub- lished by the Commission, May 1981);

  - Revised Statutes of Nebraska, sec- tions 57–903 and 57–906 (Reissue 1988).

- Other laws. The following statutes and regulations, although not incor- porated by reference except for select sections identified in paragraph (a) of this section, are also part of the ap- proved state-administered program:

Environmental Protection Agency	§ 147.1401

  - Chapter 57, Oil and Gas Conserva- tion, Revised Statutes of Nebraska sec- tions 57–901 through 57–922 (Reissue 1985).

- The Memorandum of Agreement between EPA Region VII and the Ne- braska Oil and Gas Conservation Com- mission, signed by the EPA Regional Administrator on July 12, 1982.

- Statement of legal authority. (1) ‘‘Nebraska Underground Injection Con- trol Program, Attorney General’s Statement for Class II Wells,’’  signed by Assistant Attorney General for At- torney General of Nebraska, as sub- mitted with ‘‘State of Nebraska Re- quest for Administration of UIC Pro- gram,’’ January 23, 1982;

(2) ‘‘Re: Nebraska Underground Injec- tion Control Program, Addendum to Attorney  General’s  Statement  for Class II Wells,’’ signed by Assistant At- torney General for Attorney General of Nebraska,’’ undated.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 52

FR  17681,  May  11,  1987;  56  FR  9417,  Mar.  6,

1991]

##### § 147.1401   State	administered	pro- gram—Class I, III, IV and V wells.

The UIC program for Class I, III, IV, and V wells in the State of Nebraska, except those on Indian lands, is the program administered by the Nebraska Department of Environmental Control, approved by EPA pursuant to section 1422 of the SDWA.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Nebraska. This incorpora- tion by reference was approved by the Director of the Federal Register effec- tive June 26, 1984.

  - Nebraska Environmental Protec- tion Act, Revised Statutes of Nebraska sections 81–1502, 81–1506, 81–1519, and 81– 1520 (Reissue 1987);

  - Nebraska Department of Environ- mental Control, Title 122—Rules and Regulations for Underground Injection and  Mineral  Production  Wells,  Effec-

tive  Date:  February  16,  1982,  Amended

Dates: November 12, 1983, March 22, 1984; as amended by amendment ap- proved by the Governor on January 2, 1989.

- Other laws. The following statutes and regulations although not incor- porated by reference, also are part of the approved State-administered pro- gram:

  - Nebraska Environmental Protec- tion Act, Nebraska Revised Statutes sections 81–1502, 81–1506, 81–1519, and 81– 1520 (Reissue 1987 and Cumm. Supp. 1988);

(c)(1) The Memorandum of Agree- ment between EPA Region VII and the Nebraska Department of Environ- mental Control, signed by the EPA Re- gional Administrator on July 12, 1982.

  - Addendum to Underground Injec- tion Control Memorandum of Agree- ment signed by the EPA Regional Ad- ministrator on July 12, 1982.

  - Amendments to the Memorandum of Agreement signed by the EPA Re- gional Administrator on November 22, 1983.

- Statement of legal authority. (1) ‘‘Nebraska Underground Injection Con- trol Program, Attorney General’s Statement for Class I, III, IV, and V Wells’’, signed by Assistant Attorney General for Attorney General of Ne- braska, as submitted with ‘‘State of Nebraska Request for Administration of UIC Program, January 28, 1982;

- Letter from Attorney General (of Nebraska), by Assistant Attorney  Gen- eral, to  Director,  (Nebraska)  Depart- ment  of  Environmental  Control,   Au- gust 7, 1981;

- Letter from Attorney General (of Nebraska), by Assistant Attorney Gen- eral, to Director, (Nebraska) Depart- ment of Environmental Control, April 29, 1982;

- Letter from Attorney General (of Nebraska), by Assistant Attorney Gen- eral, to Legal Counsel, (Nebraska) De- partment of Environmental Control, October 18, 1983.

- The Program Description and any other  materials  submitted  as  part  of

#### § 147.1402

the original  application  or  as  supple- ments thereto.

(42 U.S.C. 1422)

[49 FR 24134, June 12, 1984, as amended at 52

FR  17681,  May  11,  1987;  56  FR  9417,  Mar.  6,

1991]

##### § 147.1402   Aquifer	exemptions.	[Re- served]

§ 147.1403   EPA-administered	pro- gram—Indian lands.

  - Contents. The UIC program for all classes of wells on Indian lands in the State of Nebraska is  administered  by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart.  Injection  well  owners and operators, and EPA  shall  comply with  these  requirements.

  - Effective date. The effective  date of the UIC program for Indian Lands in Nebraska is June 25, 1984.

[52 FR 17681, May 11, 1987, as amended at 56

FR 9417, Mar. 6, 1991]

# Subpart DD—Nevada

##### § 147.1450   State-administered	pro- gram.

The UIC program for all classes of underground injection  wells  in  the State of Nevada, other than those on Indian lands, is the program  adminis- tered by the Nevada Division of Envi- ronmental Protection approved by EPA pursuant to section 1422 of the SDWA. Notice of this approval  was  published in  the  FEDERAL  REGISTER  on   February 18, 1988; the effective date of this pro- gram is October 5, 1988. This program consists of the following elements, as submitted to EPA in  the  State’s  pro- gram    application.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Nevada. This incorpora- tion by reference was approved by the Director of the Federal Register in ac- cordance with 5 U.S.C. 552(a) and 1 CFR part 51. Copies may be obtained at the Nevada   Department   of   Conservation

40 CFR Ch. I (7–1–17 Edition)

and Natural Resources, Division of En- vironmental Protection, 201 South Fall Street, Carson City, Nevada 89710.

Copies may be inspected at the Envi- ronmental Protection Agency, Region IX, 215 Fremont Street, San Francisco, California 99105, or at the National Ar- chives  and  Records  Administration (NARA). For information on the avail- ability of this material at NARA, call 202–741–6030.

- Nevada Revised Statutes [NRS], Volume 25, Chapters 445.131 through 445.354, Inclusive. 1987.

- Nevada Revised Statutes [NRS], Volume 29, Chapters 534A.010 through 534A.090, Inclusive. 1987.

- Nevada Revised Statutes [NRS], Volume 28, Chapters 522.010 through 522.190, Inclusive. 1987.

- Nevada Administrative Code [NAC], Underground Injection Control Regulations, Sections 1 through 96.1, Inclusive. July 22, 1987, revised Sep- tember 3, 1987 (amending NAC  Chapter 445).

- Nevada Administrative Code [NAC], Regulations and Rules of Prac- tice and Procedure adopted  Pursuant to NRS 534A, Sections 1 through 69, In- clusive. November 12, 1985 (amending NAC Chapter 534A).

- Nevada Administrative Code [NAC], Regulations  and  Rules  of  Prac- tice  and  Procedure  adopted   Pursuant to NRS 522.010 through 522.625, Inclu- sive. July 22, 1987 (amending NAC Chapter 522).

- The Memorandum of Agreement between EPA Region 9 and the Nevada Department of Conservation and Nat- ural Resources signed by the EPA Re- gional Administrator on April 6, 1988.

- Statement of Legal Authority. Statement and Amendment to the Statement from the Attorney  General of the State of Nevada, signed on July 22, 1987 and November 6, 1987 respec- tively, by the Deputy Attorney Gen- eral.

- The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[53 FR 39089, Oct. 5, 1988]

#### Environmental Protection Agency	§ 147.1454

##### § 147.1451 EPA administered pro- gram—Indian lands.

  - Contents. The UIC program for all classes of wells on Indian lands in the State  of  Nevada  is   administered   by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart.  Injection  well  owners and operators, and EPA  shall  comply with  these  requirements.

  - Effective dates.  The  effective  date of the UIC program for Indian lands in Nevada is June 25, 1984.

[53 FR 43088, Oct. 25, 1988, as amended at 56

FR 9417, Mar. 6, 1991]

##### § 147.1452 Aquifer exemptions. [Re- served]

§ 147.1453 Existing Class I, II (except enhanced recovery and hydro- carbon storage) and III wells au- thorized by rule.

Maximum injection  pressure.  The owner or  operator shall  limit injection pressure to the lesser of:

- A value which will not exceed the operating  requirements  of  § 144.28(f)(3)

(i) or (ii) as applicable; or

- A value for well head pressure cal- culated by using the formula:

Pm = (0.733–0.433 Sg)d

where:

Pm = injection pressure at the wellhead in pounds per square inch

Sg = specific gravity of injected fluid (unitless)

d = injection depth in feet.

##### § 147.1454 Existing Class II enhanced recovery and hydrocarbon storage wells authorized by rule.

- Maximum injection pressure. (1) To meet   the   operating   requirements   of

§ 144.28(f)(3)(ii) (A) and (B) of this chap- ter, the owner or operator:

- Shall use an injection pressure no greater than the pressure established by the Regional Administrator for the field or formation in which the well is located. The  Regional  Administrator shall establish such a maximum pres- sure after notice, opportunity for com- ment, and opportunity for a public hearing, according to the provisions of part 124, subpart A of this chapter, and will  inform  owners  and  operators  in

writing   of   the   applicable   maximum pressure; or

- May inject at pressures greater than those specified in paragraph (a)(1)(i) of this section for the field or formation in which he is operating pro- vided he submits a  request  in  writing to the Regional Administrator, and demonstrates to the satisfaction of the Regional Administrator that such in- jection pressure will not violate the re- quirement of § 144.28(f)(3)(ii) (A) and (B). The Regional Administrator may grant such a request after notice, op- portunity for comment, and  oppor- tunity for public hearing, according to the provisions of part 124, subpart A of this   chapter.

(2) Prior to such time as the Regional Administrator establishes field  rules for maximum injection pressure based on data provided pursuant to para- graph (a)(2)(ii) of this section the owner or operator shall:

- Limit injection pressure  to  a value which will not exceed the oper- ating requirements of § 144.28(f)(3)(ii); and

- Submit data acceptable to the Regional Administrator which defines the fracture pressure of the formation in which injection is taking place. A single test may be submitted on behalf of two or more operators conducting operations in the same formation, if the Regional Administrator approves such submission. The data shall be sub- mitted to the Regional Administrator within one year following the effective date of this program.

- Casing and cementing. Where  the Regional   Administrator    determines that the owner or operator of  an  exist- ing enhanced recovery or hydrocarbon storage well may not be in compliance with the requirements of §§ 144.28(e) and 146.22, the owner or operator shall com- ply with paragraphs (b)  (1)  through  (4) of this  section,  when  required  by  the Regional     Administrator:

- Protect USDWs by:

  - Cementing surface casing by recir- culating the cement to the  surface from a  point 50  feet below  the lower- most USDW; or

  - Isolating all USDWs by placing cement between the outermost casing and the well bore; and

#### § 147.1500

- Isolate any injection zones by placing sufficient cement to fill the calculated space between the casing and the well bore to a point 250 feet above the injection zone; and

- Use cement:

  - Of sufficient quantity and quality to withstand the maximum operating pressure;

  - Which is resistant to deteriora- tion from formation and injection fluids; and

  - In a quantity no less than 120% of the calculated volume necessary to cement off a zone.

- The Regional Administrator may specify other requirements in addition to or in lieu of the requirements set forth in paragraphs (b) (1) through (3) of this section, as needed to protect USDWs.

# Subpart EE—New Hampshire

##### § 147.1500   State-administered	pro- gram.

The UIC program for all classes of wells in the State of New Hampshire, except those wells on Indian lands,  is the program administered by the New Hampshire Department of Environ- mental Services, approved by the EPA pursuant to section 1422 of the SDWA. Notice of this approval  was  published in the FR on September 21, 1982 (47 FR 41561); the effective date of this pro- gram is October 21, 1982. This program consists of the following elements:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of New Hampshire. This in- corporation by reference was approved by the Director of the Federal Register on June 25, 1984.

  - New Hampshire Revised Statutes Annotated section 149:8 III(a) (1978);

  - New Hampshire Code of Adminis- trative Rules, Part Wc  410  (Protection of Groundwaters of the State, sections Ws 410.1 through Ws 410.16) (Issue Ws 3– 82).

(b)(1) The Memorandum of Agree- ment between EPA Region I and the New Hampshire Water Supply and Pol- lution Control Commission, signed by

40 CFR Ch. I (7–1–17 Edition)

the   EPA   Regional   Administrator   on August 23, 1982;

(2) Amendment No. 1 to the Memo- randum of Agreement, signed by the EPA Regional Administrator on July 16, 1982.

- Statement of legal authority. (1) Letter from Attorney General of New Hampshire to Regional Administrator, EPA Region I, ‘‘Re: Attorney General’s Statement—Underground	Injection Control Program,’’ March 23, 1982;

(2) Letter from Attorney General of New Hampshire to Regional Adminis- trator, EPA Region I, ‘‘Re: Attorney General’s Statement—Underground In- jection Control Program,’’ July 1, 1982.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR  43088,  Oct.  25,  1988;  56  FR  9417,  Mar.  6,

1991]

##### § 147.1501   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of New Hampshire is  adminis- tered by EPA. This program consists  of the UIC program  requirements  of  40 CFR parts 124, 144, 146, 148, and any ad- ditional requirements set forth in the remainder  of  this  subpart.   Injection well owners and operators,  and  EPA shall  comply  with  these  requirements.

- Effective date. The effective  date of the UIC program for Indian lands in New Hampshire is November 25, 1988.

[53 FR 43088, Oct. 25, 1988, as amended at 56

FR 9417, Mar. 6, 1991]

# Subpart FF—New Jersey

##### § 147.1550   State-administered	pro- gram.

The UIC program for  all  classes  of wells  in  the  State  of  New  Jersey,  ex- cept those on Indian lands, is the pro- gram administered by the New Jersey Department of Environmental  Protec- tion, approved by EPA pursuant to sec- tion 1422 of the SDWA. Notice of this approval was published in the FEDERAL REGISTER on July 15, 1983 (48 FR 32343);

the   effective   date   of   this   program   is August  15,  1983.  This  program  consists

Environmental Protection Agency	§ 147.1600

of the following elements, as submitted to EPA in the State’s program applica- tion.

  - Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of New Jersey. This incorpo- ration by reference was approved by the Director of the Federal Register on June 25, 1984.

    - Water Pollution Control Act, New Jersey Statutes Annotated sections 58:10A–1 through 58:10A–20 (West 1982 and Supp. 1990);

    - New Jersey Administrative Code, sections 7:14A–1.1 through 1.9 (sub- chapter 1), 7:14A–2.1 through 2.15 (sub- chapter 2), 7:14A–5.1 through 5.17, (sub- chapter 5) (amended March 1988).

(b)(1) The Memorandum Agreement between EPA Region II and the New Jersey Department of Environmental Protection, signed by the EPA Re- gional Administrator on September 9, 1982;

(2) Letter from Commissioner, New Jersey Department of Environmental Protection, to Regional Administrator, EPA Region II, March 21, 1983.

- Statement of legal authority. (1) Letter from Attorney General of New Jersey  (by  Deputy  Attorney   General) to Commissioner, Department of Envi- ronmental Protection, ‘‘Re: New Jersey Pollutant Discharge Elimination Sys- tem—Underground Injection Control,’’ February 9, 1982;

- Letter from Attorney General of New Jersey (by Deputy Attorney Gen- eral) to Commissioner, Department of Environmental Protection, ‘‘Re: New Jersey  Pollutant  Discharge  Elimi- nation System—Underground Injection Control,’’ April 15, 1983 (six pages);

- Letter from Attorney General of New Jersey (by Assistant Attorney General) to Commissioner, Department of Environmental Protection, ‘‘Re: New Jersey  Pollutant  Discharge  Elimi- nation System—Underground Injection Control,’’ April 15, 1983 (two pages).

- The Program Description and any other  materials  submitted  as  part  of

the    application    or    as    supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR  43089,  Oct.  25,  1988;  56  FR  9417,  Mar.  6,

1991]

##### § 147.1551   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of New Jersey is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart.  Injection  well  owners and operators, and EPA  shall  comply with  these  requirements.

- Effective date. The effective  date of the UIC program for Indian lands in New Jersey is November 25, 1988.

[53 FR 43089, Oct. 25, 1988, as amended at 56

FR 9417, Mar. 6, 1991]

# Subpart GG—New Mexico

##### § 147.1600   State-administered	pro- gram—Class II wells.

The UIC program for Class II  wells  in the State of New Mexico,  except  for those on Indian lands, is the program administered by the  New  Mexico  En- ergy and Minerals Department, Oil Conservation  Division,   approved   by EPA pursuant to section 1425 of the SDWA. Notice of this approval was published in the FEDERAL REGISTER on February 5, 1982 (47 FR 5412); the effec- tive date of this program is March 7, 1982. This program consists of the fol- lowing  elements  as  submitted   to   EPA in  the  State’s  program  application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of New Mexico. This incorpo- ration by reference was approved by the Director of the Federal Register on June 25, 1984.

  - Oil and Gas Act, New Mexico Stat- utes  Annotated  sections  70–2–1  through

–36 (1978);

  - State of New Mexico Energy and Mineral Department, Oil Conservation Di- vision—Rules and Regulations (dated 10–

§ 147.1601

1–78),  sections  B–3,  I–701  through  I–708, M–1100 through M–1121.

(b)(1) The Memorandum of Agree- ment between EPA Region VI and the New Mexico Energy and Minerals De- partment, Oil Conservation Division, signed by the EPA Regional Adminis- trator on December 10, 1981;

    - Addendum No. 1 to the Memo- randum of Agreement,  signed  by  the EPA   Regional   Administrator   on   June 28, 1982;

    - Addendum No. 2 to the Memo- randum of Agreement,  signed  by  the EPA Regional Administrator on No- vember 18, 1982;

    - Letter from  Director,  Oil  Con- servation Division, New Mexico Energy and Minerals Department, and Assist- ant Attorney General of  New  Mexico, to Regional Administrator, EPA  Re- gion VI, November 6, 1981.

- Statement of legal authority. ‘‘Statement of Legal Authority of the State of New Mexico by  and  through its Oil Conservation Division of the En- ergy and Mines Department to conduct an Underground Injection Control Pro- gram,’’ signed by Assistant Attorney General and General Counsel to the Oil Conservation Division.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43089, Oct. 25, 1988]

##### § 147.1601   State-administered	pro- gram—Class I, III, IV and V wells.

The UIC program for Class I, III,  IV and V  injection  wells  in  the  State  of New Mexico, except for those on Indian lands, is the program administered by the New Mexico Water Quality Control Commission, the Environmental Im- provement Division, and the Oil Con- servation Division,  approved by  EPA pursuant to section 1422 of the SDWA. Notice of this approval  was  published in the FEDERAL  REGISTER  on  July  11, 1983 (48 FR 31640); the effective date of this program is August 10, 1983. This program consists of the following ele- ments, as submitted to EPA in the State’s   program   application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para-

#### 40 CFR Ch. I (7–1–17 Edition)

graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of New Mexico. This incorpo- ration by reference was approved by the Director of the Federal Register on June 25, 1984.

(1) New  Mexico Water  Quality Con- trol Commission Regulations (WQCC 82–1) sections 1–100 through 5–300 (Sep- tember 20, 1982).

- Other laws. The following statutes and regulations, although not incor- porated by reference, are also part of the approved State-administered UIC program:

  - Water Quality Act, New Mexico Statutes Annotated sections 74–6–1 through 74–6–13 (1978 and Supp. 1982);

  - Geothermal Resources Conserva- tion Act, New Mexico Statutes  Anno- tated sections 71–5–1 through 71–5–24 (1978 and Supp. 1982);

  - Surface   Mining   Act,   New   Mexico Statutes   Annotated   sections   69–25A–1 through 69–25A–35 (1978 and Supp. 1980). (c)(1)   The   Memorandum   of   Agree- ment  between  EPA  Region  VI  and  the New    Mexico    Water    Quality    Control Commission,     the     Environmental     Im- provement   Division,   and   the   Oil   Con- servation   Division,   signed   by   the   EPA Regional    Administrator    on    April    13,

1983;

(2) Letter from the Director, Envi- ronmental Improvement Division and the Director, Oil Conservation Divi- sion, to Regional Administrator, EPA Region IV, ‘‘Re: New Mexico Under- ground Injection Control Program— Clarification,’’ February 10, 1983.

- Statement of legal authority. ‘‘At- torney   General’s   Statement,’’   signed by the Assistant Attorney General for the Environmental Improvement Divi- sion,  the  Assistant  Attorney  General for Oil Conservation Division, and the Deputy  Attorney  General,  Civil  Divi- sion, Counsel for the Mining and Min- erals Division, undated, submitted De- cember 8, 1982.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43089, Oct. 25, 1988]

#### Environmental Protection Agency	§ 147.1654

##### § 147.1603   EPA-administered	pro- gram—Indian lands.

  - Contents. The UIC program for all classes of wells on Indian lands in New Mexico, except for Class II wells on Navajo Indian lands for which EPA has granted the Navajo Nation primacy for the SDWA Class II UIC program (as de- fined in § 147.3400), is administered by EPA. The program consists of the re- quirements set forth at  Subpart  HHH of this part. Injection well owners and operators and EPA shall comply with these requirements.

  - Effective date. The  effective  date for the UIC program on Indian lands in New Mexico, except for Class  II  wells on Navajo Indian lands for which EPA has granted the Navajo Nation primacy for the SDWA Class II UIC program (as defined in § 147.3400), is November 25, 1988.

[53 FR 43089, Oct. 25, 1988, as amended at 73

FR 65565, Nov. 4, 2008]

# Subpart HH—New York

##### § 147.1650   State-administered	pro- gram. [Reserved]

§ 147.1651   EPA-administered program.

- Contents. The UIC program for the State of New York, including all Indian lands, is administered by EPA. The program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators, and EPA shall comply  with these   requirements.

- Effective dates. The effective  date of the UIC program for  New  York  for all injection activities except those on lands of the  Seneca  Indian  Tribe  is June 25, 1984. The effective date for the UIC program for the lands of  the  Sen- eca Indian Tribe is November 25, 1988.

[53  FR 43089,  Oct. 25,  1988;  54  FR 10616,  Mar.

14,  1989,  as  amended  at  56  FR  9417,  Mar.  6,

1991]

##### § 147.1652   Aquifer exemptions.

- This section identifies any aquifer or their portions exempted in accord- ance with §§ 144.7(b) and 146.4  of this chapter at the time of program promul- gation.  EPA  may  in  the  future  exempt

other aquifers or portions, according to applicable procedures, without codi- fying such exemptions in this section. An updated list of exemptions will be maintained in the Regional office.

- The following portions of aquifers are exempted in accordance with the provisions of §§ 144.7(b) and 146.4 of this chapter for Class II injection activities only:

  - The Bradford First, Second, and Third Sand Members and the Kane Sand Member in the Bradford Field in Cattaraugus County.

  - The Chipmunk Oil field in Cattaraugus County.

##### § 147.1653 Existing Class I, II (except enhanced recovery and hydro- carbon storage) and III wells au- thorized by rule.

Maximum injection  pressure.  The owner or  operator shall  limit injection pressure to the lesser of:

- A value which will not exceed the operating  requirements  of  § 144.28(f)(3)

(i) or (ii) as applicable; or

- A value for well head pressure cal- culated by using the following formula:

Pm = (0.733¥0.433 Sg)d

where:

Pm = injection pressure at the well head in pounds per square inch

Sg = specific gravity of inject fluid (unitless) d = injection depth in feet.

##### § 147.1654 Existing Class II enhanced recovery and hydrocarbon storage wells authorized by rule.

- Maximum injection pressure. (1) To meet   the   operating   requirements   of

§ 144.28(f)(3)(ii) (A) and (B) of this chap- ter, the owner or operator:

- Shall use an injection pressure no greater than the pressure established by the Regional Administrator for the field or formation in which the well is located. The  Regional  Administrator shall establish such a maximum pres- sure after notice, opportunity for com- ment, and opportunity for a public hearing, according to the provisions of part 124, subpart A of this chapter, and will inform owners and operators in writing of the applicable maximum pressure, or

- May inject at pressures greater than those specified in paragraph (a)(1)(i) of this section for the field or

§ 147.1655

formation in which he is operating pro- vided he submits a  request  in  writing to the Regional Administrator, and demonstrates to the satisfaction of the Regional Administrator that such in- jection pressure will not violate the re- quirement of § 144.28(f)(3)(ii) (A) and (B). The Regional Administrator may grant such a request after notice, op- portunity for comment, and  oppor- tunity  for  a  public   hearing,   according to the provisions of part 124, subpart A of  this  chapter.

(2) Prior to such time as the Regional Administrator establishes rules for maximum injection pressure based on data provided pursuant to paragraph (a)(2)(ii) of this section the owner or operator shall:

- Limit injection pressure  to  a value which will not exceed the oper- ating requirements of § 144.28(f)(3)(ii); and

- Submit data acceptable to the Regional Administrator which defines the fracture pressure of the formation in which injection is taking place. A single test may be submitted on behalf of two or more operators conducting operations in the same formation, if the Regional Administrator approves such submission. The data shall be sub- mitted to the Regional Administrator within one year of the effective date of this program.

- Casing and cementing. Where the Regional   Administrator    determines that the owner or operator of  an  exist- ing enhanced recovery or hydrocarbon storage well may not be in compliance with the requirements of §§ 144.28(e) and 146.22, the owner or operator shall com- ply with paragraphs (b)  (1)  through  (4) of this  section,  when  required  by  the Regional     Administrator:

- Protect USDWs by:

  - Cementing surface casing by recir- culating the cement to the  surface from a  point 50  feet below  the lower- most USDW; or

  - Isolating all USDWs by placing cement between the outermost casing and the well bore; and

  - For	wells	as	described	in

§ 146.8(b)(3)(ii), installing a smaller di- ameter pipe inside  the  existing  injec- tion tubing and setting it on an appro- priate  packer;  and

#### 40 CFR Ch. I (7–1–17 Edition)

- Isolate any injection zones by placing sufficient cement to fill the calculated space between  the  casing and the well bore to a point 50 feet above the injection zone; and

- Use cement:

  - Of sufficient quantity and quality to withstand the maximum operating pressure;

  - Which is resistant to deteriora- tion from formation and injection fluids; and

  - In a quantity no less than 120% of the calculated volume necessary to cement off a zone.

- The Regional Administrator may specify other requirements in addition to or in lieu of the requirements set forth in paragraphs (b) (1) through (3) of this section as needed to protect USDWs.

##### § 147.1655   Requirements  for  wells  au- thorized by permit.

- The owner or operator of a Class I well authorized by permit shall in- stall  or  shall  ensure  that  the  well  has:

  - Surface casing present;

    - Extending from the surface to a depth at least 50 feet below the base of the lowermost USDW; and

    - Cemented back to the surface by recirculating the cement; and

  - Long string casing and tubing;

    - Extending to the injection zone; and

    - Cemented back to 50 feet above the base of the next largest  casing string.

- The owner or operator of a new Class II well authorized by permit shall:

  - Install surface casing from the surface to at least 50 feet below the base of the lowermost USDW.

  - Cement the casing by recircu- lating to the surface or by using no less than 120% of the calculated annular volume.

  - For new enhanced recovery wells, install tubing or long string casing ex- tending to the injection zone.

  - For new salt water disposal wells, install long string casing and tubing extending to the injection zone.

  - Isolate any injection zone by plac- ing sufficient cement to fill the cal- culated volume to a point 50 feet above the injection zone.

#### Environmental Protection Agency	§ 147.1703

- The Regional Administrator may specify casing and cementing require- ments other than those listed in para- graphs (a) and (b) of this section on a case by case basis as conditions of the permit.

# Subpart II—North Carolina

##### § 147.1700   State-administered	pro- gram.

The UIC program for all classes of wells in the State of North Carolina, except those wells on Indian lands,  is the program administered by the North Carolina Department of Environment, Health and Natural Resources approved by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in the FEDERAL REGISTER on April 19, 1984 (49 FR 15553); the effective date of this program is April 19, 1984. This program consists of the following elements, as submitted to EPA in the State’s  program  application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of North Carolina. This in- corporation by reference was approved by the Director of the OFR in accord- ance with 5 U.S.C. 552(a) and 1 CFR part 51. Copies may be obtained at the North Carolina Department of Environ- ment,   Health   and   Natural   Resources,

  - Box 27687, Raleigh, North Carolina 27611. Copies may be inspected at the Environmental Protection Agency, Re- gion IV, 345 Courtland Street, NE., At- lanta, Georgia 30365, or at the National Archives  and  Records  Administration (NARA). For information on the avail- ability  of  this  material  at  NARA,  call 202–741–6030.

    - Administrative   Procedure     Act,

N.C.  GEN.  STAT.  150B–1  through  150B– 64 (1987 and Cumm. Supp. 1989);

    - North Carolina Well Construction Act, N.C. GEN. STAT. §§ 87–83 through 87–99 (1989 and Cumm. Supp. 1989);

    - Water and  Air  Resources,  N.C. GEN.   STAT.   §§ 143–211   through   143–

215.10 (1987 and Cumm. Supp. 1989);

    - Solid Waste Management, N.C. GEN. STAT. §§ 130A–290 through 130A– 309.03 (1989);

    - North Carolina  Drinking  Water Act, N.C. GEN. STAT. §§ 130A–311 through 130A–332 (1989);

    - Sanitary Sewage Systems,  N.C. GEN. STAT. §§ 130A–333 through 130A– 335 (1989).

- Other laws. The following rules and regulations, although not incor- porated by reference, are also part of the approved State-administered pro- gram:

  - N.C. ADMIN. CODE, Title 15, r. 02L.0100 et seq. Groundwater Classifica- tion and Standards: General Consider- ations (September 22, 1988);

  - N.C. ADMIN. CODE, Title 15, r. 02L.0100 et seq. Criteria and Standards Applicable to Injection Wells (Sep- tember 22, 1988).

- Memorandum of Agreement. The Memorandum of Agreement  between the State of North Carolina and EPA Region IV, signed March 1, 1984.

- Statement of legal authority. (1) Un- derground Injection  Control Program, Attorney   General’s    Statement    (June 15, 1982);

(2) Amendment to Underground In- jection Control Program, Attorney General’s Statement (February 9, 1984).

- Program Description. The Program Description and other materials sub- mitted as part of the application or as supplements thereto.

[56 FR 9417, Mar. 6, 1991]

##### §§ 147.1701–147.1702   [Reserved]

§ 147.1703   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State  of  North  Carolina  is   adminis- tered by EPA. This program consists  of the UIC program  requirements  of  40 CFR parts 124, 144, 146, 148, and any ad- ditional requirements set forth in the remainder  of  this  subpart.   Injection well owners and operators,  and  EPA shall  comply  with  these  requirements.

§§ 147.1704–147.1749

- Effective date. The effective  date of the UIC program for Indian lands in North Carolina is November 25, 1988.

[53 FR 43089, Oct. 25, 1988, as amended at 56

FR 9418, Mar. 6, 1991]

##### §§ 147.1704–147.1749   [Reserved]

Subpart JJ—North Dakota

§ 147.1750   State-administered	pro- gram—Class II wells.

The UIC program for Class II  wells  in the  State  of  North  Dakota,  except those on Indian lands, is the program administered by the North Dakota In- dustrial Commission, approved by EPA pursuant to section 1425 of the SDWA. Notice of this approval  was  published in the FEDERAL REGISTER on August 23, 1983 (48 FR 38237); the effective date of

this program is September 24, 1983. This program consists of the following elements, as submitted to EPA in the State’s  program  application.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of North Dakota. This incor- poration by reference was approved by the Director of the Federal Register on June 25, 1984.

- North Dakota Century  Code, Chapter 38–08 (Control of Gas and Oil Resources, 1987 and Supp. 1989);

- North  Dakota  Administrative Code, Chapter 43–02–05 (Underground Injection Control, as published in Stat- utes and Rules for the Conservation of Oil and Gas, North Dakota Industrial Com- mission, revised effective November 1, 1987);

- North  Dakota  Administrative Code, Chapter 43–02–03 (General  Rules, as published in  Statutes  and  Rules  for the Conservation of Oil and Gas, North Dakota Industrial Commission, revised effective November 1, 1987).

- The Memorandum of Agreement between EPA  Region  VIII  and  the North Dakota  Industrial  Commission, Oil and  Gas  Division,  signed  by  the EPA Regional  Administrator  on  June 16, 1983, as amended September 7, 1989.

- Statement of legal authority. ‘‘Un- derground  Injection  Control  Program

#### 40 CFR Ch. I (7–1–17 Edition)

Attorney General’s Statement,’’ as submitted with the North Dakota Un- derground Injection Control Program Primacy Application for Class II Injec- tion Wells, transmitted by the Gov- ernor on July 15, 1982 (16 pages).

- The Program Description and other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR  43089,  Oct.  25,  1988;  56  FR  9418,  Mar.  6,

1991]

##### § 147.1751   State-administered	pro- gram—Class I, III, IV and V wells.

The UIC program for Class I, III,  IV, and V wells in the State of North Da- kota, except those on Indian lands,  is the program administered by the North Dakota Department of Health, ap- proved by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in the  FEDERAL  REG- ISTER on September 21, 1984; the effec- tive date of this program is October 5, 1984. This program consists of the fol- lowing elements, as submitted  to  EPA in the State’s program application.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of North Dakota. This incor- poration by reference was approved by the Director of the Federal Register ef- fective October 5, 1984.

  - North Dakota Century Code  Sec- tions 38–12–01, 38–12–03 (1980);

  - North Dakota Century Code, Sec- tions 61–28–02 and 61–28–06 (1989);

  - North Dakota Administrative Code Sections 33–25–01–01 through 33– 25–01–18 (North Dakota State Health Department Underground Control Pro- gram) (1983);

  - North  Dakota  Administrative Code, Chapter 43–02–02 (Subsurface Mineral Exploration and Development) (August 1986), and Chapter 43–02–02.1 (Underground Injection Control Pro- gram) (March 1, 1984);

  - North  Dakota   Administrative Code Sections 43–02–02–1–01 through 43– 02–02–1–18 (North Dakota Geological Survey—Undergound Injection Control Program) (1984);

#### Environmental Protection Agency	§ 147.1801

- Other laws. The following statutes and regulations, although not incor- porated by reference, also are part of the approved State-administered pro- gram;

  - North Dakota Environmental Law Enforcement Act of 1975, North Dakota Century Code Sections 32–40–01 to 32– 40–11 (1976);

  - North Dakota Century Code, Ch. 38–12 (Regulation, Development, and Production of Subsurface Minerals) (1979);

  - North Dakota Century Code Chap- ter 61–28 (Control, Prevention and Abatement of Pollution  of  Surface Waters) (1989);

  - North  Dakota   Administrative Code Article 33–22 (Practice and Proce- dure) (1983).

- The Memorandum of Agreement between EPA  Region  VIII  and  the North Dakota Department of Health, signed by the EPA Regional Adminis- trator on May 18, 1984.

- The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[49 FR 37066, Sept. 21, 1984, as amended at 56

FR 9418, Mar. 6, 1991]

##### § 147.1752   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of North Dakota  is  administered by EPA. This program consists of the UIC program requirements of 40  CFR parts 124, 144, 146, 148, and any addi- tional requirements set forth in the re- mainder of this subpart. Injection well owners and operators, and EPA shall comply  with  these  requirements.

- Effective date. The effective  date of the UIC program for Indian lands in North Dakota is November 25, 1988.

[53 FR 43089, Oct. 25, 1988, as amended at 56

FR 9418, Mar. 6, 1991]

# Subpart KK—Ohio

##### § 147.1800   State-administered	pro- gram—Class II wells.

The UIC program for Class II wells in the State of Ohio, except for those on Indian lands, is the program adminis- tered by the Ohio Department of Nat-

ural Resources, approved by EPA pur- suant to section 1425 of the SDWA. No- tice of this approval was published  in the FEDERAL REGISTER  on  August  23, 1983 (48 FR 38238); the effective date of

this program is September 22, 1983. This program consists of the following elements, as submitted to EPA in the State’s  program  application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Ohio. This  incorporation by reference was approved by the Di- rector of the Federal Register  on  June 25, 1984.

  - Ohio Revised Code Annotated, sec- tions 1509.01 through 1509.22 (Page 1978 and Supp. 1982);

  - Rules of the Division of  Oil and Gas, Ohio Administrative Code sections 1501:91–01, through 1501: 9–11–13 (1983).

- The Memorandum of Agreement between EPA Region V and the Ohio Department of Natural Resources.

- Statement of legal authority. ‘‘Un- derground Injection Control Program— Attorney General’s Statement,’’ signed by   the   Assistant   Attorney   General, Chief, Environmental Law Section, for the   Attorney   General   of   Ohio,   Sep- tember 30, 1982.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43089, Oct. 25, 1988]

##### § 147.1801   State-administered	pro- gram—Class I, III, IV and V wells.

The UIC program for Class I, III, IV, and V wells in the State of Ohio, other than those on Indian lands, is the pro- gram administered by the Ohio Depart- ment of Natural Resources and the Ohio Environmental Protection Agen- cy, approved by EPA pursuant to sec- tion 1422 of the SDWA. Notice of this approval was published in the FEDERAL REGISTER on November 29, 1984; the ef- fective date of this program is January 14, 1985. This program consists of the following elements, as submitted to EPA in the State’s program applica- tion.

§ 147.1802

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Ohio. This  incorporation by reference was approved by the Di- rector of the Federal Register effective January 14, 1985.

  - Ohio Revised Code Annotated, sec- tions 1509.01, 1509.03, 1509.221 (Supp. 1983);

  - Rules of the Division  of Oil and Gas,  Ohio  Administrative  Code,  sec- tions 1501:9–7–01 through 7–14 (1984);

  - Ohio Revised Code Annotated, sec- tions 6111.04, 6111.043, 6111.044 (Supp. 1983);

  - Rules of the Ohio Environmental Protection Agency, Ohio Administra- tive Code, sections 3745–34–01 through 34–41; 3745–9–01 through 9–11 (Director Ohio EPA Order, June 18, 1984).

- Other laws. The following statutes and regulations, although not incor- porated by reference, also are part of the approved State-administered pro- gram:

  - Ohio Revised Code, Chapter 119 (1978 Replacement Part);

  - Ohio Code Supplement, sections 6111.041, 6111.042, 6111.045 (Supp. 1982).

- (1) The Memorandum of Agree- ment between EPA Region V and the Ohio Department of Natural Resources, signed by the EPA Regional Adminis- trator on March 30, 1984;

(2) Memorandum of Agreement be- tween the Ohio Department of Natural Resources and the Ohio Environmental Protection Agency, Related to the Un- derground Injection Control  Program for the State of Ohio, signed August 1, 1984.

- Statement of legal authority. State- ment from Attorney General of  the State of Ohio, by Senior Assistant At- torney General, ‘‘Underground Injec- tion Control Program—Attorney Gen- eral’s Statement,’’ July 25, 1984.

- The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[49 FR 46897, Nov. 29, 1984]

#### 40 CFR Ch. I (7–1–17 Edition)

##### § 147.1802   Aquifer	exemptions.	[Re- served]

§ 147.1803 Existing Class I and  III wells authorized by rule—maximum injection pressure.

The owner or operator shall limit in- jection pressure to the lesser of:

- A value which will not exceed the operating	requirements	of

§ 144.28(f)(3)(i); or

- A value for well head pressure cal- culated by using the following formula:

Pm = (0.8 ¥ 0.433 Sg) d

where:

Pm = injection pressure at the well head in pounds per square inch

Sg   =   specific   gravity   of   injected   fluid (unitless)

d =  injection depth  in feet. [49 FR 45308, Nov. 15, 1984]

##### § 147.1805   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Ohio is administered by EPA. This program consists of the UIC pro- gram requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators, and EPA shall comply  with these   requirements.

- Effective date. The effective  date of the UIC program for Indian lands in Ohio is November 25, 1988.

[53 FR 43089, Oct. 25, 1988, as amended at 56

FR 9418, Mar. 6, 1991]

# Subpart LL—Oklahoma

##### § 147.1850   State-administered	pro- gram—Class I, III, IV and V wells.

The UIC program for Class I, III, IV, and V wells in the State of Oklahoma, except those on Indian lands, is the program administered by the Okla- homa State Department of Health, ap- proved by EPA pursuant to SDWA sec- tion 1422. Notice of this approval was published in the FEDERAL REGISTER on June 24, 1982 (47 FR 27273). The effec- tive date of this program is July 24, 1982. This program consists of the fol- lowing elements, as submitted to EPA in the State’s program application:

Environmental Protection Agency	§ 147.1851

  - Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Oklahoma. This incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

    - Oklahoma Statutes title 63 sec- tions 1–901, 1–903 (1981);

    - Oklahoma Controlled Industrial Waste Disposal Act, Oklahoma Statute Annotated title 63 sections 1–2002, 1– 2014 (West Supp. 1983–1984);

    - Regulations. [Reserved]

  - Other laws. The following statutes and regulations, although not incor- porated by reference except for select sections identified in paragraph (a) of this section, are also part of the ap- proved State-administered UIC pro- gram:

- Oklahoma Open Meeting Act, Oklahoma Statutes title 25 sections 301 through 314 (Supp. 1978);

- Oklahoma  Statutes   Annotated title 63 sections 1–101 to 1–114, 1–901 to 1–911, 1–1601 et seq., 1–1701, 1–2001 to 1– 2014 (West 1973 and Supp. 1982);

- Oklahoma  Statutes   Annotated title 75 sections 301 to 327 (West 1976 and Supp. 1982).

  - (1) The Memorandum of Agree- ment between EPA Region VI and the Oklahoma State Department of Health, signed by the EPA Regional Adminis- trator on April 13, 1982;

- Memorandum of Understanding between the Oklahoma State Depart- ment of Health and the Oklahoma Cor- poration Commission (OCC), signed by members of the OCC on February 12, 1982;

- Memorandum of Understanding between the Oklahoma State Depart- ment of Health and the Oklahoma De- partment of Mines (ODM), signed by the Deputy Chief Mine Inspector, ODM, on February 15, 1982.

  - Statement of legal authority. Letter from Attorney General of Oklahoma to Commissioner of Health, Oklahoma State Department of Health, ‘‘Re: Statement and Memorandum of Law Concerning the Authority for the Okla- homa   State   Department   of   Health’s

Underground Injection Control Pro- gram,’’ February 12, 1982.

  - The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43090, Oct. 25, 1988]

##### § 147.1851   State-administered	pro- gram—Class II wells.

The UIC program for Class II  wells  in the State of Oklahoma, including  the lands of the Five Civilized Tribes,  but not including those on other Indian lands, is the program administered by the Oklahoma Corporation Commission approved by EPA pursuant to SDWA section 1425. Notice  of  this  approval was  published  in  the   FEDERAL   REG- ISTER on December 2, 1981 (46 FR 58588).

This program consists of the following elements, as submitted to EPA in the State’s program application:

- Incorporation by reference. [Re- served]

- Other laws. The following statutes and regulations, although not incor- porated by reference, are also part of the approved State-administered UIC program:

  - Oklahoma Statutes, title 17 sec- tions 51–53; title 52 sections 86.1–86.5, 139–153, 243, 307–318.1 (1971).

(2) OCC-OGR Rules No. 1–101–3–303.

- (1) The Memorandum of Agree- ment between EPA Region VI and the Oklahoma Corporation Commission, signed by the EPA Regional Adminis- trator on April 13, 1981;

(2) Letter from the Manager, Under- ground Injection Control, Oklahoma Corporation Commission, to EPA, June 18, 1981.

- Statement of legal authority. ‘‘Statement of Legal Authority of the Oklahoma Corporation Commission to Conduct an Underground Injection Control Program,’’ (Part IV, pages 30– 41 of ‘‘State of Oklahoma Primacy Ap- plication for Authority to Regulate Class II Injection Wells,’’ submitted April 14, 1981), signed by the Conserva- tion Attorney, Counsel to the Director and the Oklahoma Corporation Com- mission.

- The Program Description and any other  materials  submitted  as  part  of

#### § 147.1852

the    application    or    as    supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43090, Oct. 25, 1988]

##### § 147.1852   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all wells on Indian lands in Oklahoma, ex- cept Class II wells on the lands of  the Five Civilized Tribes, is administered by EPA. The UIC program for Class II wells on the Osage Mineral Reserve consists of the requirements  set  forth in subpart GGG of this part. The UIC program for all other wells on Indian lands consists of the requirements set forth in subpart III of this part. Injec- tion well owners  and  operators  and EPA shall comply with these require- ments.

- Effective date. The effective date for UIC program for Class II  wells  on the Osage Mineral Reserve is December 30, 1984. The effective date for the UIC program for all other wells on Indian lands is November 25, 1988.

[53 FR 43090, Oct. 25, 1988]

# Subpart MM—Oregon

##### § 147.1900   State-administered	pro- gram.

The UIC program for  all  classes  of wells in the State of  Oregon,  except those on Indian lands, is  administered by the Oregon Department of Environ- mental Quality, approved by EPA pur- suant to section 1422 and section 1425 of the SDWA. Notice of this approval was published in the FEDERAL REGISTER on September 25, 1984; the effective date of this program is October 9, 1984. This program consists of the following ele- ments, as submitted to EPA in the State’s   program   application.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Oregon. This incorporation by reference was approved by the Di- rector of the Federal Register effective October 9, 1984.

  - Oregon Revised Statutes, Title 16, chapter  164,  section  164.785;  Title  36,

40 CFR Ch. I (7–1–17 Edition)

chapter  468,  sections  468.005,  468.065  to

468.070, 468.700 to 468.815; Title 43, chap-

ter 520 sections 520.005, 520.095, 520.155–

520.330 (1983);

  - Oregon Administrative Rules, Chapter 340, Division 44, sections 340– 44–005 through 340–44–055 (October 1983); Chapter 340, Division 45, sections 340– 45–005 through 340–45–075 (January 1990); Chapter 632, Division 10, sections 632–10–002 through 632–10–235 (May 1986); Chapter 632, Division 20, sections 632– 20–005 through 632–20–180 (May 1984).

- Other laws. The following statutes and regulations, although not incor- porated by reference, also are part of the approved State-administered pro- gram:

  - Oregon  Revised  Statutes,  Chapter 183  (1987);  192.420,  192.500,  459.460(3),

468.005 through 468.605, and 468.780 through 468.997; Chapters 516 and 522 (1983);

  - Oregon Administrative Rules, chapter 137, Div. 3 (July 1982); chapter 340, Div. 11 (April 1988); chapter 340, Div. 12 (March 1989); chapter 340, Div. 14 (November 1983); chapter 340, Div. 52 (November 1983); chapter 632, Div. 1 (June 1980); chapter 632, Div. 20 (Janu- ary 1981).

(c)(1) The Memorandum of Agree- ment between EPA Region X and the Oregon Department of Environmental Quality, signed by the EPA Regional Administrator on May 3, 1984.

- Statement of legal authority. (1) ‘‘Underground Injection Control Pro- gram Legal Counsel’s Statement,’’ Oc- tober 1983, signed by the Assistant At- torney General, Oregon;

(2) Opinion of the Attorney General, Oregon, 35 Op. Attorney General 1042 (1972).

- The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[49 FR 37594, Sept. 25, 1984, as amended at 53

FR  43090,  Oct.  25,  1988;  56  FR  9418,  Mar.  6,

1991]

##### § 147.1901   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Oregon is  administered  by EPA. This program consists of the UIC program requirements of 40 CFR parts

#### Environmental Protection Agency	§ 147.1954

124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart. Injection well owners and operators, and EPA shall comply with these requirements.

- Effective date. The effective  date of the UIC program for Indian lands in Oregon is November 25, 1988.

[53 FR 43090, Oct. 25, 1988, as amended at 56

FR 9419, Mar. 6, 1991]

# Subpart NN—Pennsylvania

##### § 147.1950   State-administered	pro- gram. [Reserved]

§ 147.1951   EPA-administered program.

- Contents. The UIC program for the State of Pennsylvania, including all In- dian lands, is  administered  by  EPA. This program consists of the UIC pro- gram requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators, and EPA shall comply  with these   requirements.

- Effective dates. The effective date for the UIC program on Indian lands is November 25, 1988. The effective date for the UIC program for the rest of Pennsylvania is June 25, 1984.

[53 FR 43090, Oct. 25, 1988, as amended at 56

FR 9419, Mar. 6, 1991]

##### § 147.1952   Aquifer exemptions.

- This section identifies any aquifers or their portions exempted in accordance with §§ 144.7(b) and 146.4 of this chapter at the time of program promulgation. EPA may in the future exempt other aquifers or portions, ac- cording to applicable procedures, with- out codifying such exemptions in this section. An updated list of exemptions will be maintained in the Regional of- fice.

- Those portions of the following oil bearing aquifers, which would other- wise meet the definition of a  USDW, are exempted in accordance with the provisions of §§ 144.7(b) and 146.4 of this chapter for Class II enhanced recovery injection  activities  only.

  - The Sugar Run and Bradford se- ries of oil producing sands of the Brad- ford Field, in McKean County; includ- ing the Bradford, West Branch, Stack,

Bennett Brook, Marilla Brook, Brooder Hollow, Cyclone, Minard Run, Minard Run School, and Sugar Run (or Watsonville)  Pools.

  - The Bradford Third oil producing sand of the Guffey Field in McKean County.

  - The Bradford series of oil pro- ducing sands of the Lewis Run Field in McKean County.

  - The Bradford series of oil pro- ducing sands of the Windfall Field and Kings Run Pool in McKean County.

  - The Red Valley member of the Second Sand formation of the Venango Group of oil producing sands in the Foster-Reno Field in Venango County; including the Foster, Bully Hill, Vic- tory, Bredinsburg, Egypt Corners, Reno, Monarch Park and Seneca Pools.

  - The Glade and Clarendon oil pro- ducing sands of the Morrison Run Field and Elk Run Pool in Warren County.

  - The Clarendon and Glade oil pro- ducing sands of the Clarendon Field in Warren County.

  - The Bradford Third oil producing sand in the Shinglehouse Field, includ- ing the Kings Run, Janders Run and Ceres Pools in Potter and McKean Counties.

##### § 147.1953 Existing Class I, II (except enhanced recovery and hydro- carbon storage) and III wells au- thorized by rule.

Maximum injection  pressure.  The owner or  operator shall  limit injection pressure to the lesser of:

    - A value which will not exceed the operating  requirements  of  § 144.28(f)(3)

(i) or (ii) as applicable or

    - A value for well head pressure cal- culated by using the following formula:

Pm = (0.733 ¥ 0.433 Sg)d

where:

Pm = injection pressure at the well head in pounds per square inch

Sg = specific gravity of injection fluid (unitless)

d = injection depth in feet.

##### § 147.1954 Existing Class II enhanced recovery and hydrocarbon storage wells authorized by rule.

- Maximum injection pressure. (1) To meet   the   operating   requirements   of

§ 144.28(f)(3)(ii) (A) and (B) of this chap- ter, the owner or operator:

§ 147.1955

  - Shall use an injection pressure no greater than the pressure established by the Regional Administrator for the field or formation in which the well is located. The  Regional  Administrator shall establish such a maximum pres- sure after notice, opportunity for com- ment, and opportunity for a public hearing, according to the provisions of part 124, subpart A of this chapter, and will inform owners and operators in writing of the applicable maximum pressure; or

  - May inject at pressures greater than those specified in paragraph (a)(1)(i) of this section for the field or formation in which he is operating pro- vided he submits a  request  in  writing to the Regional Administrator, and demonstrates to the satisfaction of the Regional Administrator that such in- jection pressure will not violate the re- quirement of § 144.28(f)(3)(ii) (A) and (B). The Regional Administrator may grant such a request after notice, op- portunity for comment, and  oppor- tunity  for  a  public   hearing,   according to the provisions of part 124, subpart A of  this  chapter.

(2) Prior to such time as the Regional Administrator establishes rules for maximum injection pressure based on data provided pursuant to paragraph (a)(2)(ii) of this section the owner or operator shall:

- Limit injection pressure  to  a value which will not exceed the oper- ating requirements of § 144.28(f)(3)(ii); and

- Submit data acceptable to the Regional Administrator which defines the fracture pressure of the formation in which injection is taking place. A single test may be submitted on behalf of two or more operators conducting operations in the same formation, if the Regional Administrator approves such submission. The information shall be submitted to the Regional Adminis- trator within one year of the effective date of this regulation.

- Casing and cementing. Where the Regional   Administrator    determines that the owner or operator of  an  exist- ing enhanced recovery or hydrocarbon storage well may not be in compliance with the requirements of §§ 144.28(e) and 146.22, the owner or operator shall com- ply  with  paragraphs  (b)  (1)  through  (4)

#### 40 CFR Ch. I (7–1–17 Edition)

of this section, when required by the Regional Administrator:

- Protect USDWs by:

  - Cementing surface casing by recir- culating the cement to the  surface from a  point 50  feet below  the lower- most USDW; or

  - Isolating all USDWs by placing cement between the outermost casing and the well bore; and

  - For	wells	as	described	in

§ 146.8(b)(3)(ii), installing a smaller di- ameter pipe inside  the  existing  injec- tion tubing and setting it on an appro- priate  packer;  and

- Isolate any injection zones by placing sufficient cement to fill the calculated space between  the  casing and the well bore to a point 50 feet above the injection zone; and

- Use cement:

  - Of sufficient quantity and quality to withstand the maximum operating pressure;

  - Which is resistant to deteriora- tion from formation and injection fluids; and

  - In a quantity no less than 120% of the calculated volume necessary to cement off a zone.

- The Regional Administrator may specify other requirements in addition to or in lieu of the requirements set forth in paragraphs (b) (1) through (3) of this section as needed to protect USDWs.

##### § 147.1955   Requirements  for  wells  au- thorized by permit.

- The owner or operator of a Class I well authorized by permit shall in- stall  or  shall  ensure  that  the  well  has:

  - Surface casing present;

    - Extending from the surface to a depth at least 50 feet below the base of the lowermost USDW; and

    - Cemented back to the surface by recirculating the cement; and

  - Long string casing and tubing;

    - Extending to the injection zone; and

    - Cemented back to 50 feet above the base of the next largest  casing string.

- The owner or operator of a new Class II well authorized by permit shall:

#### Environmental Protection Agency	§ 147.2000

  - Install surface casing from the surface to at least 50 feet below the base of the lowermost USDW.

  - Cement the casing by recircu- lating to the surface or by using no less than 120% of the calculated annular volume.

  - For new enhanced recovery wells, install tubing or long string casing ex- tending to the injection zone.

  - For new salt water disposal wells, install long string casing and tubing extending to the injection zone.

  - Isolate any injection zone by plac- ing sufficient cement to fill the cal- culated volume to a point 50 feet above the injection zone.

- The Regional Administrator may specify casing and cementing require- ments other than those listed in para- graphs (a) and (b) of this section on a case by case basis as conditions of the permit.

# Subpart OO—Rhode Island

##### § 147.2000 State-administered pro- gram—Class I, II, III, IV, and V wells.

The UIC program for  all  classes  of wells in Rhode Island, except those on Indian lands, is the program  adminis- tered by the Rhode  Island  Department of Environmental Management, ap- proved by EPA pursuant to section 1422 of the  SDWA.  Notice  of  this  approval was  published  in  the   FEDERAL   REG- ISTER on August 1, 1984; the effective date of this program is August 15, 1984. This program consists of the following elements, as  submitted to  EPA in the State’s   program   application.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Rhode Island. This incor- poration by reference was approved by the Director of the Federal Register ef- fective August 15, 1984.

  - Rhode Island Gen. Laws sections 46–12–1, 46–12–5, and 46–12–28 (Supp. 1983);

  - ‘‘Underground Injection Control Program   Rules   and   Regulations.’’ State of Rhode Island and Providence Plantations    Department    of    Environ-

mental Management. Division of Water Resources (as received by the Sec- retary of State, May 21, 1984).

- Other laws. The following statutes and regulations although not incor- porated by reference, also are part of the approved State-administered pro- gram:

  - Rhode Island General Laws, Sec- tion 10–20–1 et seq., entitled ‘‘State En- vironmental Rights’’;

  - Rhode   Island   General   Laws,   Sec- tion   23–19.1–1   et  seq.,  entitled   ‘‘Haz- ardous  Waste  Management’’;

  - Rhode   Island   General   Laws,   Sec- tion  42–17.1  et  seq.,  entitled  ‘‘Depart- ment   of   Environmental   Management’’;

  - Rhode   Island   General   Laws,   Sec- tion  42–35–1  et seq., entitled  ‘‘Adminis- trative    Procedures’’;

  - Rhode Island General Laws, Sec- tion 46–12–1 et seq., entitled ‘‘Water Pol- lution’’;

  - Hazardous Waste Management Fa- cility Operating Permit Rules and Reg- ulations—Landfills, at last amended November 2, 1981 (hereinafter referred to as the  ‘‘Hazardous Waste Regula- tion’’);

  - Water Quality Regulations  for Water Pollution Control, effective No- vember 19, 1981; and

  - Administrative Rules of Practices and Procedure for Department of Envi- ronmental Management, effective No- vember 12, 1980.

- (1) The Memorandum of Agree- ment between EPA Region I and the Rhode Island Department of Environ- mental Management, signed by  the EPA Regional Administrator on March 29, 1984;

(2) Letter from Director, Rhode Is- land Department of Environmental Management, to Regional Adminis- trator, EPA Region I, amending Sec- tion III, C of the Memorandum of Agreement, April 25, 1984.

- Statement of legal authority. Letter from Attorney General, State of Rhode Island and  Providence Plantations,  to Regional Administrator, EPA Region 1, ‘‘Re: Attorney General’s Statement, Underground Injection Control Pro- gram,’’ January 17, 1984.

- The Program Description and any other  materials  submitted  as  part  of

§ 147.2001

the original  application  or  as  supple- ments thereto.

[49 FR 30699, Aug. 1, 1984, as amended at 53

FR 43090, Oct. 25, 1988]

##### § 147.2001   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State  of  Rhode  Island  is   administered by EPA. This program consists of the UIC program requirements of 40  CFR parts 124, 144, 146, 148, and any addi- tional requirements set forth in the re- mainder of this subpart. Injection well owners and operators, and EPA shall comply  with  these  requirements.

- Effective date. The effective  date of the UIC program for Indian lands in Rhode Island is November 25, 1988.

[53 FR 43090, Oct. 25, 1988, as amended at 56

FR 9419, Mar. 6, 1991]

# Subpart PP—South Carolina

##### § 147.2050   State-administered	pro- gram.

The UIC program for all classes of wells in the State of South Carolina, except for those on Indian lands, is the program administered by the South Carolina Department of Health and En- vironmental Control, approved by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in the FEDERAL REGISTER on July 10, 1984; the effective date of this program is July 24, 1984. This program consists of the following elements, as submitted to EPA in the State’s program applica- tion.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA for the State of South Carolina. This in- corporation by reference was approved by the Director of the Federal Register effective July 24, 1984.

  - Pollution Control Act, S.C. Code Ann. Sections 48–1–10, 48–1–90, 48–1–100, 48–1–110 (Law. Co-op. 1976 and Supp. 1983).

  - South Carolina Department of Health and Environmental Control, Ground-Water Protection Division, Un-

40 CFR Ch. I (7–1–17 Edition)

derground Injection  Control  Regula- tions, R–61–87, Effective Date: June 24, 1983 Published in South Carolina State Register, Volume 7, Issue 6; Amended Date: March 23, 1984, as amended by no- tice in South Carolina State Register, Volume 8, Issue 3.

- Other laws. The following statutes and regulations although not incor- porated by reference, also are part of the approved State-Administered pro- gram:

  - Pollution Control Act, S.C. Code Ann. Sections 48–1–10 to 48–1–350 (Law. Co-op. 1976 and Supp. 1983).

  - State  Safe  Drinking  Water  Act,

S.C. Code Ann. Sections 44–55–10 to 44– 55–100 (Law. Co-op. 1976 and Supp. 1983).

  - Administrative   Procedures   Act,

S.C. Code Ann. Sections 1–23–10 et seq., and 1–23–310 to 1–23–400 (Law. Co-op. 1976 and Supp. 1983).

  - S.C. Code Ann. Sections 15–5–20, 15–5–200 (Law. Co-op. 1976 and Supp. 1983).

(c)(1) The Memorandum of Agree- ment between EPA Region IV and the South Carolina Department of Health and Environmental Control signed by the EPA Regional Administrator  on May 29, 1984.

- Statement of legal authority. (1) ‘‘Underground Injection Control Pro- gram, Attorney General’s  Statement for Class I, II, III, IV and VA and VB Wells,’’ signed by the Attorney General of South Carolina on April 27, 1984.

- The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[49 FR 28058, July 10, 1984, as amended at 53

FR 43090, Oct. 25, 1988]

##### § 147.2051   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State  of  Rhode  Island  is   administered by EPA. This program consists of the UIC program requirements of 40  CFR parts 124, 144, 146, 148, and any addi- tional requirements set forth in the re- mainder of this subpart. Injection well owners and operators, and EPA shall comply  with  these  requirements.

#### Environmental Protection Agency	§ 147.2102

- Effective date. The effective  date of the UIC program for Indian lands in South Carolina is November 25, 1988.

[53 FR 43090, Oct. 25, 1988, as amended at 56

FR 9419, Mar. 6, 1991]

# Subpart QQ—South Dakota

##### § 147.2100   State-administered	pro- gram—Class II wells.

The UIC program for Class II  wells  in the  State  of  South  Dakota,  except those on Indian lands, is the program administered by the South Dakota De- partment of Water and Natural Re- sources, approved by EPA pursuant to section  1425  of  the  SDWA.  Notice  of this approval was published in the FED- ERAL REGISTER on October 24, 1984; the effective date of this program is De- cember 7, 1984. This  program  consists of the following elements,  as  submitted to EPA in the State’s program applica- tion.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of South Dakota. This incor- poration by reference was approved by the Director of the Federal Register ef- fective December 7, 1984.

  - South Dakota Codified Laws, sec- tions 45–9–2, 45–9–4, 45–9–11, 45–9–13, 45– 9–14, 45–9–15 (1983).

  - Administrative Rules of South Dakota, sections 74:10:02 through 74:10:07, 74:10:09, and 74:10:11 published by the South Dakota  Code  Commis- sion, as revised through October 4, 1987.

- Other laws. The following statutes and regulations, although not incor- porated by reference, also are part of the approved State-administered pro- gram:

- South Dakota Codified Laws, Chapter 45–9 (sections not cited above) (1983); 1–26 (1981).

(c)(1) The Memorandum of Agree- ment between EPA Region VIII and the South Dakota Department  of  Water and Natural Resources, signed by the EPA  Regional  Administrator  on  July 18, 1984.

- Statement of legal authority. (1) ‘‘Underground Injection Control Pro- gram  for  Class  II  Wells:  Attorney  Gen-

eral’s Statement,’’ signed by Mark V. Meierhery, Attorney General, South Dakota, on January 16, 1984.

- The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[50  FR  7061,  Feb.  20,  1985,  as  amended  at  56

FR 9419, Mar. 6, 1991]

##### § 147.2101   EPA-administered	pro- gram—Class I, III, IV and V wells and all wells on Indian lands.

- Contents. The UIC program for all Class I,  III,  IV, and  V  wells,  including those on Indian lands, and for Class II wells on Indian lands in the state of South Dakota is administered by EPA. This program consists of the UIC pro- gram requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments set forth in the remainder of this subpart. Injection well owners and operators, and EPA shall comply with these requirements.

- Effective date. The effective  date of the UIC program for Class I, III, IV and V wells on all lands in South Da- kota, including Indian lands, and for Class II wells on Indian lands only, is December 30, 1984.

[52 FR 17682, May 11, 1987, as amended at 56

FR 9419, Mar. 6, 1991]

##### § 147.2102   Aquifer exemptions.

- This section identifies any aquifers or their portions exempted in accordance with §§ 144.7(b) and 146.4 of this chapter at the time of program promulgation. EPA may in the future exempt other aquifers or their por- tions, according to applicable  proce- dures, without codifying such exemp- tions in this section. An updated list of exemptions will be maintained in the Regional    office.

- Those portions of all aquifers lo- cated on Indian Lands, which meet the definition of USDW and into which ex- isting Class II wells are injecting, are exempted within a 1⁄4 mile radius of the well for the purpose of Class II injec- tion activities only.

[49 FR 45308, Nov. 15, 1984]

§ 147.2103

##### § 147.2103 Existing Class II enhanced recovery and hydrocarbon storage wells authorized by rule.

  - Maximum injection pressure. (1) To meet   the   operating   requirements   of

§ 144.28(f)(3)(ii) (A) and (B) of this chap- ter, the owner or operator:

- Shall use an injection pressure no greater than the pressure established by the Regional Administrator for the field or formation in which the well is located. The  Regional  Administrator shall establish such a maximum pres- sure after notice, opportunity for com- ments, and opportunity for a public hearings, according to the provisions of part 124, subpart A of this chapter, and will inform owners and operators in writing of the applicable maximum pressure; or

- May inject at a pressure greater than those specified in paragraph (a)(1)(i) of this section for the field or formation in which he is operating pro- vided he submits a  request  in  writing to the Regional Administrator, and demonstrates to the satisfaction of the Regional Administrator that such in- jection pressure will not violate the re- quirement of § 144.28(f)(3)(ii)(A) and (B). The Regional Administrator may grant such a  request  after  notice,  oppor- tunity for  comment,  and  opportunity for a public hearing, according to the provisions of part 124, subpart A of this chapter.

- Prior to such time as the Regional Administrator establishes field rules for maximum injection pressure based on data provided pursuant to para- graph (a)(2)(ii) of this section the owner or operator shall:

- Limit injection pressure  to  a value which will not exceed the oper- ating requirements of § 144.28(f)(3)(ii); and

- Submit to the Regional Adminis- trator data acceptable to the Regional administrator which defines the frac- ture pressure of the formation in which injection is taking place. A single test may be submitted on behalf of two or more operators conducting operations in the same formation, if the Regional Administrator approves  such  submis- sion.

  - Casing and cementing. Where the Regional Administrator determines that the owner or operator of an exist-

#### 40 CFR Ch. I (7–1–17 Edition)

ing enhanced recovery or hydrocarbon storage well may not be in compliance with the requirement of §§ 144.28(e) and 146.22, the owner or operator shall when required  by  the  Regional  Adminis- trator:

- Protect USDWs by:

  - Cementing surface casing by recir- culating the cement to the  surface from a  point 50  feet below  the lower- most USDW; or

  - Isolating all USDWs by placing cement between the outermost casing and the well bore; and

- Isolate any injection zones by placing sufficient cement to fill the calculated space between the casing and the well bore to a point 250 feet above the injection zone; and

- Use cement:

  - Of sufficient quantity and quality to withstand the maximum operation pressure;

  - Which is resistant to deteriora- tion from formation and injection fluids; and

  - In a quantity no less than 120% of the calculated volume necessary to cement off a zone; and/or

- Comply with other requirements which the Regional Administrator may specify in addition to or in lieu of the requirements  set  forth  in  paragraphs

- (1) through (3) of this section as needed to protect USDWs.

[49 FR 45308, Nov. 15, 1984]

##### § 147.2104   Requirements for all wells.

  - The owner or operator converting an existing well to an injection well shall check the condition of the casing with one of the following logging tools;

    - A pipe analysis log; or

    - A caliper log.

  - The owner or operator of a new injection well cased with plastic (PVC, ABS, or others) casings shall:

    - Not construct a well deeper than 500 feet;

    - Use cement and additives compat- ible with such casing material; and

    - Cement the annular space above the injection intermal from the bottom of the blank casing to the surface.

  - The owner or operator of a newly drilled well shall install centralizers as directed by the Regional Adminis- trator.

#### Environmental Protection Agency	§ 147.2150

  - The owner or operator shall as re- quired by the Regional Administrator:

    - Protect USDWs by:

- Setting surface casing 50 feet below the lowermost USDW;

- Cementing surface casing by re- circulating the cement to the surface from a point 50 feet below the lower- most USDW; or

- Isolating all USDWs by placing cement between the outermost casing and the well bore; and

    - Isolate any injection zones by placing sufficient cement to fill the calculated space between the casing and the well bore to a point 250 feet above the injection zone; and

    - Use cement:

      - Of sufficient quantity and quality to withstand the maximum operating pressure; and

      - Which is resistant to deteriora- tion from formation and injection fluids; and

      - In a quantity no less than 120% of the calculated volume necessary to cement off a zone.

    - The Regional Administrator may approve alternate casing and cement- ing practices provided that the owner or operator demonstrates that such practices will adequately protect USDWs.

  - Area of review.  Notwithstanding the alternatives presented in § 146.6 of this chapter, the area of review shall be a fixed radius as described in § 146.6(b) of  this  chapter.

  - The applicant must give separate notice of intent to  apply  for  a  permit to each owner of record of the land within one-quarter mile  of  the  site. The addresses of those to whom notice is given and the description of how no- tice was given shall be submitted with the  permit  application.  The  notice shall  include:

    - The name and address of appli- cant;

    - A brief description of the planned injection activities, including well lo- cation, name and depth of the injection zone, maximum injection pressure and volume, and fluid to be injected;

    - The EPA contact person; and

    - A statement that opportunity to comment will be announced after EPA prepares a draft permit.

This requirement may be waived by the Regional Administrator if he deter- mines that individual notice to all land owners of record would be impractical.

[49 FR 45308, Nov. 15, 1984]

# Subpart RR—Tennessee

##### § 147.2150 State-administered pro- gram—Class I, II, III, IV, and V wells.

The UIC program for Class I, II, III, IV, and V wells in the State of Ten- nessee, except for those on any Indian lands, is the program administered by the Tennessee Department of Environ- ment and Conservation, approved by EPA pursuant to section 1422 of the SDWA. Notice of this approval was published in the FEDERAL REGISTER on April 6, 2015; the effective date of this program is July 6, 2015. This program consists of the following elements, as submitted to EPA in the state’s pro- gram application.

- Incorporation by reference. The re- quirements set forth in the Tennessee State statutes and regulations cited in the binder (Volumes 1 and 2) entitled ‘‘EPA-Approved State of Tennessee Safe Drinking Water Act section 1422 Underground Injection Control (UIC) Program Statutes and Regulations for Well Classes I, II, III, IV, and V,’’ dated September 2013 and Table 1 to para- graph (a) of this section are hereby in- corporated by reference and made a part of the applicable UIC program under the SDWA for the State of Ten- nessee. This incorporation by reference was approved by the Director of the Federal Register in accordance with 5

U.S.C. 552(a) and 1 CFR part 51. Copies of the Tennessee regulations may be obtained or inspected at Tennessee De- partment of Environment and Con- servation, 6th Floor, 401 Church Street, Nashville, Tennessee 32743, (315) 532– 0191, at the Environmental Protection Agency, Region 4,  61  Forsyth  Street, SW., Atlanta, Georgia 30303–8960, (404) 562–8190 or at the National  Archives and  Records  Administration  (NARA). For information on availability of this material at NARA, call  (202)  741–6030

§ 147.2151

40 CFR Ch. I (7–1–17 Edition)

TABLE 1 TO PARAGRAPH (a) EPA-APPROVED TENNESSEE SDWA SECTION 1422 UNDERGROUND INJECTION CONTROL PROGRAM STATUTES AND REGULATIONS FOR WELL CLASSES I, II, III, IV, AND V

| State citation | Title/subject | State effective date | EPA approval date 1 |
| --- | --- | --- | --- |
| Tennessee Code Annotated, Title 4, Chapter 5. Tennessee Code Annotated, Title 68, Chapter 221, Part 4. Tennessee Code Annotated, Title 68, Chapter 221, Part 7. Tennessee Code Annotated, Title 68, Chapter 212, Section 101 et seq. Tennessee Code Annotated, Title 68, Chapter 212, Section 201 et seq. Tennessee Code Annotated, Title 68, Chapter 203. Tennessee Code Annotated, Title 68, Chapter 211, Part 1. Tennessee Code Annotated, Title 68, Chapter 215, Part 1. Tennessee Code Annotated, Title 69, Chapter 3, Part 1. Official Compilation Rules & Regulations of the State of Tennessee Chapter 0400–45–06. Official Compilation Rules & Regulations of the State of Tennessee Chapter 0400–45–01. Compilation Rules & Regu- lations of the State of Tennessee Chapter 1200–1–6. Official Compilation Rules & Regulations of the State of Tennessee Chapter 0400–12–01–.02(1)(c). Official Compilation Rules & Regulations of the State of Tennessee Chapter 0400–20–05–.161. | Uniform Administrative Pro- cedures Act. Subsurface Sewage Dis- posal Systems. Tennessee Safe Drinking Water Act of 1983. Hazardous Waste Manage- ment Act of 1977. Hazardous Waste Manage- ment Act of 1983. Tennessee Environmental Protection Fund. Tennessee Solid Waste Disposal Act. Tennessee Petroleum Un- derground Storage Tank Act. Water Quality Control Act .. Underground Injection Con- trol. Public Water Systems ........ Regulations to Govern Sub- surface Sewage Disposal Systems. Hazardous Waste Manage- ment. Standards For Protection Against Radiation. | August 5, 2011 ................... August 5, 2011 ................... July 9, 2012 ........................ July 9, 2012 ........................ July 9, 2012 ........................ May 10, 2012 ..................... June 25, 2009 .................... June 29, 2009 .................... October 1, 2012 ................. December 11, 2012 ............ December 11, 2012 ............ November 24, 2009 ............ September 20, 2012 ........... May 22, 2012 ..................... | 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. 4/6/15, 80 FR 18318. |

1 In order to determine the EPA effective date for a specific provision listed in this table, consult the FEDERAL REGISTER docu- ment cited in this column for the particular provision.

- Memorandum of Agreement (MOA). The MOA between EPA Region 4  and the Tennessee Department of Environ- ment and Conservation signed by EPA Regional Administrator on October 20, 2004.

- Statements of legal authority. ‘‘Un- derground Injection Control Program, Attorney General’s Statement,’’ signed by Attorney General of Tennessee on July 26, 2005 and ‘‘Updating the Attor- ney  General’s  Statement  on  UIC  Pro- gram  Authority,’’  signed  by  General Counsel of the Tennessee Department of  Environment  and  Conservation  on November 10, 2011.

- Program description. The Program Description submitted as part of Ten- nessee’s application, and any other ma- terials submitted as part of this appli- cation or as a supplement thereto.

[80 FR 18318, Apr. 6, 2015]

##### § 147.2151   EPA-administered   program Class IV and Indian lands.

- Contents. The UIC program for Class VI wells and all wells on Indian lands in the State of Tennessee is ad- ministered by EPA. This program con- sists of the  UIC  program  requirements of 40 CFR parts 124, 144, 146, 148, and any   additional   requirements   set   forth

#### Environmental Protection Agency	§ 147.2200

in the remainder of this subpart. Injec- tion well owners and operators, and EPA shall comply with these require- ments.

- Effective dates. Effective date for the UIC program on Indian lands is No- vember 25, 1988. The effective date for the UIC program for the rest of Ten- nessee is June 25, 1984.

[53 FR 43090, Oct. 25, 1988, as amended at 56

FR 9419, Mar. 6, 1991; 80 FR 18319, Apr. 6, 2015]

##### § 147.2152   Aquifer	exemptions.	[Re- served]

§ 147.2153 Existing Class I, II (except enhanced recovery and hydro- carbon storage) and III wells au- thorized by rule.

Maximum injection  pressure.  The owner or  operator shall  limit injection pressure to the lesser of:

- A value which will not exceed the operating  requirements  of  § 144.28(f)(3)

- or (ii) as applicable or

- A value for well head pressure cal- culated by using the following formula:

Pm = (0.600¥0.433 Sg)d

where:

Pm = injection pressure at the well head in pounds per square inch

Sg = specific gravity of inject fluid (unitless) d = injection depth in feet.

# Subpart SS—Texas

##### § 147.2200   State-administered	pro- gram—Class I, III, IV, and V wells.

The UIC program for Class I, III, IV, and V wells in the State of Texas, ex- cept for those wells on Indian lands, Class III brine mining wells, and cer- tain Class V wells, is the program ad- ministered by the Texas Commission on Environmental Quality approved by EPA pursuant to section 1422 of the Safe Drinking Water Act (SDWA). No- tice of the original approval for Class I, III, IV, and V wells was  published  in the FEDERAL REGISTER on January 6, 1982 and became effective February 7, 1982. Class V geothermal wells and wells for the in situ combustion of coal are regulated by the Rail Road Com- mission of Texas under a separate UIC program approved by EPA and pub- lished in the  FEDERAL  REGISTER  on April 23, 1982. A subsequent program re- vision  application  for  Class  I,  III,  IV,

and V wells, not including  Class  III brine mining wells, was approved by the EPA pursuant to section 1422 of SDWA. Notice of this approval was published in the FEDERAL REGISTER on February 25, 2004; the effective date of these programs is March 26, 2004. The program for Class I,  III,  IV,  and  V wells, not including Class III brine mining wells, consists of the following elements as submitted to the EPA  in the State’s revised program applica- tions. The UIC program for Class III brine mining wells in the State  of Texas, except for those wells on Indian lands, is the program administered by the Railroad Commission of Texas. A program revision application for  Class III brine mining wells was  submitted by Texas and approved by EPA. Notice of that approval was published in the FEDERAL REGISTER  on  February  26, 2004; the effective date of this program is March 29, 2004.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made part of the applicable UIC   program   under   SDWA   for   the State  of  Texas.  This  incorporation  by reference was approved by the Director of the Federal Register in accordance with 5 U.S.C. 552(a) and 1 CFR part 51. Copies of the materials that are incor- porated by reference in this paragraph are  available  at  EPA  Region  VI,  1445 Ross Avenue, Dallas, TX 75202 or from the National Archives and Records Ad- ministration (NARA). For information on  the  availability  of  this  material  at NARA, call 202–741–6030.

  - Texas Statutory and Regulatory Requirements Applicable to the Under- ground Injection Control Program for Class I, III, IV, and V Wells, except for Class III Brine Mining Wells, March 2002.

  - Texas Statutory and Regulatory Requirements Applicable to the Under- ground Injection Control Program for Class III Brine Mining Wells, March 2002.

- Other laws. The following statutes and regulations, as effective on March 31, 2002, although not incorporated by

§ 147.2201

reference except for any provisions identified in paragraph (a) of this sec- tion, are also part of the approved State-administered UIC program.

  - Class I, III, IV, and V wells. (i) Title 30 of the Texas  Administrative Code Chapters 39, 50, 55, 80, and 281.

- Vernon’s Texas Codes Annotated, Water Code, Chapters 5, 7, 26, and 32, Health and Safety Code Section 361, Government Code (ORA)  Chapter  552 and Government Code (APA) Chapter 2001.

  - Class III brine mining wells. (i) Vernon’s Texas Codes Annotated, Nat- ural Resources Code, Chapters 91, 2001, and 331;

- Vernon’s Texas Codes Annotated, Government Code  Title  10,  Chapters 2001, 552, and 311.

- General Rules of Practice and Procedure before the Railroad Commis- sion of Texas.

- Memorandum of Agreement—(1) Class I, III, IV, and V wells. The Memo- randum of Agreement between EPA Region VI and the Texas Natural Re- source Conservation Commission a predecessor to the Texas Commission on Environmental Quality (TCEQ), re- vised March 23, 1999, and signed by the EPA Regional Administrator on Octo- ber 23, 2001.

(2) Class III brine mining wells. The Memorandum of Agreement between EPA Region VI and the Railroad Com- mission of Texas signed by the EPA Regional Administrator on October 23, 2001.

- Statement of  legal authority—(1) Class I, III, IV, and V wells. ‘‘State of Texas Office of Attorney General Statement for Class I, III, IV, and V Underground Injections Wells,’’ signed by the Attorney General of Texas, June 30, 1998.

(2) Class III brine mining wells. State of Texas ‘‘Attorney General’s State- ment’’ for Class III Brine Mining Injec- tion Wells, signed by the Attorney General of Texas, February 2, 1992 and the ‘‘Supplement to Attorney General’s Statement of February 19, 1992,’’ signed by the Attorney General of Texas, June 2, 1998.

- Program Description—(1) Class I, III, IV, and V wells. The Program De- scription and any other materials sub-

#### 40 CFR Ch. I (7–1–17 Edition)

mitted as part of the revision applica- tion or as supplements thereto.

- Class III brine mining wells. The Program Description and any other materials submitted as part of the revi- sion application or as supplements thereto.

[69  FR  8568,  Feb.  25,  2004,  as  amended  at  69

FR 8828, Feb. 26, 2004]

##### § 147.2201   State-administered	pro- gram—Class II wells.

The UIC program for Class II  wells  in the State of Texas,  except  for  those wells on Indian lands, is the program administered by the Railroad Commis- sion of Texas, approved by EPA  pursu- ant to section 1425 of the SDWA. Notice of this approval was published in the FEDERAL  REGISTER  on  April  23,  1982  (47

FR 17488). The effective date of this program was May 23, 1982. This pro- gram consists of  the  following  ele- ments, as submitted to EPA in the State’s   program   application:

  - Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Texas. This  incorporation by reference was approved by the Di- rector of the Federal Register  on  June 25, 1984.

    - Injection Well Act, Texas Water Code    Annotated    sections    27.031    and

27.033 (Vernon Supp. 1984);

    - Texas Natural Resources Code An- notated sections 85.041,  85.045,  85.046 and 85.052 (Vernon 1978 and Supp. 1982);

    - Rules Having Statewide General Application to Oil, Gas, and Geo- thermal Resource Operations, sections

.051.02.02.000  to  .051.02.02.080  (Railroad

Commission of Texas, Oil and Gas Divi- sion, Revised 12–22–81), amended as fol- lows:

      - Amendment to 16 TAC section 3.9 (section .051.02.02.009) issued December 21, 1981, effective April 1, 1982;

      - Amendment  to  16  TAC  section

3.46 (section .051.02.02.046) issued De- cember 21, 1981, effective April 1, 1982.

      - Amendment  to  16  TAC  section

3.71 (section .051.02.02.074) issued De- cember 21, 1981, effective April 1, 1982.

#### Environmental Protection Agency	§ 147.2250

  - Other laws. The following statutes and regulations, although not incor- porated by reference, are also part of the approved State-administered UIC program:

    - Texas Water Code, Chapters 26, 27 and 29 (Vernon 1972 and Supp. 1982);

    - Texas Natural Resources Code, Chapters 81, 85–89, 91 and 141 (Vernon 1978 and Supp. 1982);

    - General Rules of Practice and Procedure, Subchapters A-J (Railroad Commission of Texas, adopted Novem- ber 24, 1975, revised December 1980).

(c)(1) The Memorandum of Agree- ment between EPA Region VI and the Railroad Commission of Texas, signed by the EPA Regional Administrator on March 24, 1982.

(2) Letter from Director of Under- ground Injection Control, Railroad Commission of Texas, to Chief, Ground Water Protection Section, EPA Region VI, ‘‘Re: Letter of Clarification—UIC Program Application,’’ March 21, 1982.

- Statement of legal authority. ‘‘Statement of Legal Authority of the Railroad Commission of Texas to con- duct the Underground Injection Con- trol Program,’’ signed by Special Coun- sel, Railroad Commission of Texas, as submitted with ‘‘State of Texas Under- ground Injection Control Program Ap- plication for Primacy Enforcement Au- thority,’’ prepared by the Railroad Commission of Texas, January 15, 1982.

- The Program Description and any other materials submitted as part of the application or as supplements thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43091, Oct. 25, 1988]

##### § 147.2205   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Texas is administered by EPA. This program consists of the UIC pro- gram requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators, and EPA shall comply  with these   requirements.

- Effective date. The effective date for the Indian lands program for the State of Texas is November 25, 1988.

[53 FR 43091, Oct. 25, 1988, as amended at 56

FR 9419, Mar. 6, 1991]

# Subpart TT—Utah

##### § 147.2250   State-administered	pro- gram—Class I, III, IV, and V wells.

The UIC program for Class I, III, IV, and V wells in the State of Utah,  ex- cept those on Indian lands, is adminis- tered by the Utah Department of Health, Division of Environmental Health, approved by EPA pursuant to Section 1422 of the SDWA. Notice of this approval was published in the FED- ERAL  REGISTER  on January 9, 1983 (47

FR 2321). The effective date of this pro- gram is February 10, 1983. Changes to Utah’s regulations for Class I wells were made on May 15, 1990, in response to modification of national rules as promulgated by 53 FR 28188, July 26, 1988. Utah’s rules were effective July 20, 1990. The revised rules, Program De- scription, Attorney General’s state- ment, and Memorandum of Agreement were approved as a minor program modification on October 3, 1990. This program consists of the following ele- ments as submitted to EPA:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Utah. This  incorporation by reference was approved by the Di- rector of the Federal Register  on  June 25, 1984.

- Utah  Water   Pollution   Control Act, Utah Code Annotated, Title 26, Chapter 11, Sections 2, 8, and 10 (1989);

- Underground Injection Control Regulations;     Utah     Administrative Code, Section R448–7 (effective as of January 2, 1990);

- Underground Injection Control Program (adopted January 20, 1982 and revised effective July 20, 1990) (Offi- cially submitted to EPA by the Execu- tive Secretary of Utah Water Pollution Control Committee on August 16, 1990).

§ 147.2251

- Other laws. The following statutes and regulations, although not incor- porated by reference except for se- lected  sections  identified  in  paragraph

  - of this section, are also part of the approved State-administered program:

    - Utah Pollution Control Act, Utah Code Annotated, Sections 26–11–1 through –20 (Supp. 1990);

(c)(1) The revised Memorandum of Agreement between EPA, Region VIII and the Utah Department of Health, Division of Environmental Health, signed by the Regional Administrator on October 3, 1990.

    - Letter from Director, Utah De- partment of Health, Division of Envi- ronmental Health, Bureau of Water Pollution Control, to EPA Region VIII, Re: Underground Injection Control Program—Utah, March 15, 1982;

    - Letter from the Executive Sec- retary of the Utah Water Pollution Control Committee to EPA  Region VIII, ‘‘Re: Utah UIC Class I Well Pro- gram Changes,’’ August 16, 1990;

- Statement of legal authority. (1) ‘‘Underground Injection Control Pro- gram—Attorney General’s statement,’’ signed by Attorney General, State of Utah, January, 1982;

- Letter from Assistant Attorney General of Utah to Chief, Drinking Water Branch, EPA Region VIII,  June 18, 1982;

- Addendum to Underground Injec- tion Control Program, Attorney Gen- eral’s Statement signed by Attorney General of Utah, August 10, 1990.

- The Program Description (revised June 19, 1990) and any other materials submitted as part of the application or supplements   thereto.

[56 FR 9419, Mar. 6, 1991]

##### § 147.2251   State-administered	pro- gram—Class II wells.

The UIC program for Class II wells in the State of Utah, except those on In- dian lands, is the program  adminis- tered by the Utah Department of Nat- ural Resources,  Division  of  Oil,  Gas, and Mining, approved by EPA pursuant to section 1425 of the SDWA. Notice of this approval was published in the FED- ERAL  REGISTER  on  October  8,  1982  (47

FR 44561); the effective date of this pro- gram is November 7, 1982. This program consists   of   the   following   elements,   as

#### 40 CFR Ch. I (7–1–17 Edition)

submitted  to  EPA  in  the  State’s  pro- gram application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Utah. This  incorporation by reference was approved by the Di- rector of the Federal Register  on  June 25, 1984.

  - Utah Code Annotated, 1953,  sec- tion 40–6–1 through 40–6–18, as amended 1988 and Cumm. Supp. 1990;

  - The Oil and Gas Conservation General Rules, adopted under the au- thority of the Oil and Gas Conservation Act, 40–6–1 et seq., Utah Code Anno- tated, as amended 1988 (revised March 1989), rules R615–1 through R615–4, and R615–8 through R615–10.

- Other laws. [Reserved]

(c)(1) The Memorandum of Agree- ment  between  EPA,  Region  VIII  and the Utah Department of Natural Re- sources, Division of Oil, Gas, and  Min- ing and the Board of Oil, Gas and  Min- ing, signed by the EPA Regional Ad- ministrator on July 19, 1983;

- Letter from Director, Division of Oil, Gas and Mining, Utah Department of Natural Resources and Energy, to Regional Administrator, EPA Region VIII, ‘‘Re: Aquifer Exemption Process,’’ June 16, 1982;

- ‘‘Memorandum of Understanding’’ between Utah Department  of  Health and Utah Department of Natural Re- sources, dated March 5, 1981;

- ‘‘Second Addition to Agreement between the Department of Health and the Department of Natural Resources and Energy,’’ dated December 15, 1981.

- Statement  of  legal  authority.  (1) Part   III   of   ‘‘Primacy   Application— Class II Underground Injection Wells,’’ consisting  of  ‘‘Synopsis  of  Pertinent Statutes    and    Regulations,’’    ‘‘State- ment  of  Legal  Authority,’’  and  ‘‘Cer- tification by the Attorney General,’’ by Assistant   Attorney   General,   Depart- ment of Natural Resources and Energy, dated December 18, 1981;

- Letter from Assistant Attorney General, State of Utah, to EPA Region VIII, undated, received in the EPA Of- fice of Regional Counsel June 10, 1982.

#### Environmental Protection Agency	§ 147.2300

- Memorandum to Director, Divi- sion of Oil, Gas and Mining from As- sistant Attorney General regarding Un- derground Injection Control Program, January 8, 1985.

- The Program Description and any other materials submitted as part of the application or amendments there- to.

[49 FR 20197, May 11, 1984, as amended at 53

FR  43091,  Oct.  25,  1988;  56  FR  9420,  Mar.  6,

1991]

##### § 147.2253   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Utah, except for  Class  II  wells on Navajo Indian lands for which EPA has granted the Navajo Nation primacy for the SDWA Class II UIC program (as defined in § 147.3400), is administered by EPA. The program for wells on Navajo Indian lands, except for Class  II  wells on Navajo Indian lands for which EPA has granted the Navajo Nation primacy for the SDWA Class II UIC program, and for Ute Mountain Ute consists  of the requirements set forth at subpart HHH of this part. The program for all other wells on Indian lands consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any ad- ditional requirements set forth in the remainder of this subpart.  Injection well owners and operators, and EPA shall comply with these requirements.

- Effective date. The  effective  date for this program for  all  other  Indian lands in Utah, except for  Class  II  wells on Navajo Indian lands for which EPA has granted the Navajo Nation primacy for the SDWA Class II UIC program (as defined in § 147.3400), is November 25, 1988.

[53 FR 40391, Oct. 25, 1988, as amended at 56

FR 9420, Mar. 6, 1991; 73 FR 65565, Nov. 4, 2008]

# Subpart UU—Vermont

##### § 147.2300   State-administered	pro- gram.

The UIC program for all classes of wells in the State of Vermont, except those wells on Indian lands, is the pro- gram administered by the Vermont De- partment of Environmental Conserva- tion, approved by EPA pursuant to sec-

tion 1422 of the SDWA. Notice of this approval was published in the FR on June 22, 1984; the effective date of this program is July 6, 1984. This program consists of the following elements:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA for the State of Vermont. This incorpora- tion by reference was approved by the Director of the Federal Register July 6, 1984.

  - Vt. Stat. Ann. tit. 10,  sections 1251, 1259, 1263 (1973 and Supp. 1981), Ef- fective date: July 1, 1982.

  - Vermont Department of Water Re- sources and Environmental Engineer- ing, Chapter 13 Water Pollution Con- trol Regulations, Subchapter 13.UIC— Underground Injection Control, Dis- charges to Injection Wells, Effective Date: June 21, 1984.

- Other laws. The following statutes and regulations although not incor- porated by reference, also are part of the approved State-administered pro- gram:

  - Vt. Stat. Ann. tit. 10, sections 1251 through 1283 (1973 and Supp. 1981).

  - Vt. Stat. Ann. tit. 10, sections 901 through 911 (1973 and Supp. 1981).

  - Vt. Stat. Ann. tit. 3, sections 801 through 847 (1973 and Supp. 1981).

(c)(1) The Memorandum of Agree- ment between EPA Region I and the Vermont Agency of Environmental Conservation signed by the EPA Re- gional Administrator on January 16, 1984.

- Statement of legal authority. (1) ‘‘Vermont Attorney General’s State- ment for Classes I, II, III, IV and V In- jection Wells,’’ signed by Attorney General John J. Easton, Jr., as sub- mitted with Vermont Application for Primary Enforcement  Responsibility to Administer the Underground Water Source Protection Program Pursuant to the Safe Drinking Water Act and 40 CFR 145.21 through 145.24 (December 20, 1983).

- The Program Description and any other  materials  submitted  as  part  of

§§ 147.2301–147.2302

the original  application  or  as  supple- ments thereto.

(42 U.S.C. 300)

[49 FR 25634, June 22, 1984, as amended at 53

FR  43091,  Oct.  25,  1988;  56  FR  9420,  Mar.  6,

1991]

##### §§ 147.2301–147.2302   [Reserved]

§ 147.2303   EPA-administered	pro- gram—Indian lands.

  - Contents. The UIC program for all classes of wells on Indian lands in the State of Vermont is  administered  by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart.  Injection  well  owners and operators, and EPA  shall  comply with  these  requirements.

  - Effective date. The effective  date of the UIC program for Indian lands in Vermont is November 25, 1988.

[53 FR 43091, Oct. 25, 1988, as amended at 56

FR 9420, Mar. 6, 1991]

##### §§ 147.2304–147.2349   [Reserved]

Subpart VV—Virginia

§ 147.2350   State-administered	pro- gram. [Reserved]

§ 147.2351   EPA-administered program.

- Contents. The UIC program for the State of Virginia, including all Indian lands, is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators, and EPA shall comply  with these   requirements.

- Effective dates. The  effective  date for the UIC program on Indian lands is November 25, 1988. The effective date for the UIC program  for  the  remainder of Virginia is June 25, 1984.  (53  FR 43091, October 25, 1988).

[56 FR 9420, Mar. 6, 1991]

#### 40 CFR Ch. I (7–1–17 Edition)

##### § 147.2352 Aquifer exemptions. [Re- served]

Subpart WW—Washington

§ 147.2400 State-administered pro- gram—Class I, II, III, IV, and V wells.

The UIC program for Class I, II, III, IV, and V wells in the State of Wash- ington other than those on Indian lands, is the program administered by the Washington Department of Ecol- ogy, approved by EPA pursuant to sec- tion 1422 of the SDWA. Notice of this approval was published in the FEDERAL REGISTER on August 9, 1984; the effec- tive date of this program is September 24, 1984. This program consists of the following elements, as submitted to EPA in the State’s program applica- tion.

- Incorporation by reference. The re- quirements set forth in the state stat- utes and regulations cited in the binder entitled ‘‘EPA-Approved Washington SDWA section 1422 Underground Injec- tion Control Program Statutes and Regulations for Well Classes I,  II,  III, IV, and V,’’ dated January 2014, and Table 1 to paragraph (a) of this section are hereby incorporated by reference and made a part of the applicable UIC program under the SDWA for the State of Washington. The Director of the Federal Register approves this incorpo- ration by reference in accordance with 5 U.S.C. 552(a) and 1 CFR part 51. Cop- ies of the State of Washington regula- tions that  are  incorporated  by  ref- erence in paragraph (a) of this section may be inspected at the U.S. Environ- mental Protection Agency, Region 10, Library, 10th Floor, 1200 Sixth Avenue, Seattle, Washington 98101; Water Dock- et, EPA Docket Center (EPA/DC) EPA West, Room 3334, 1301 Constitution Ave. NW., Washington, DC 20460; and the National Archives and Records Ad- ministration (NARA). If you wish to obtain materials from the EPA Re- gional Office, please call (206) 553–1289; for materials from a docket in the EPA Headquarters Library, please call the Water Docket at (202) 566–2426. For in- formation on the availability of this material at NARA, call (202) 741–6030

§ 147.2400

961

Environmental Protection Agency

TABLE 1 TO PARAGRAPH (a) EPA-APPROVED WASHINGTON SDWA SECTION 1422 UNDERGROUND INJECTION CONTROL PROGRAM STATUTES AND

REGULATIONS FOR WELL CLASSES I, II, III, IV, AND V

| State citation | Title/subject | State effective date | EPA approval date 1 |
| --- | --- | --- | --- |
| Revised Code of Washington Sections 90.48.010— 90.48.906. Revised Code of Washington Section 43.21A.445 ... Washington Administrative Code Sections 173– 218–010—173–218–130. Washington Administrative Code Sections 344–12– 001—344–12–295. Washington Administrative Code Sections 173– 160–010—173–160–990. | Water Pollution Control ............................................. Departments authorized to participate in and admin- ister federal Safe Drinking Water Act—Agree- ments with other departments. Underground Injection Control Program ................... Oil and Gas Conservation Committee, General Rules. Minimum Standards for Construction and Mainte- nance of Wells. | February 3, 2006 ...................................... February 3, 2006 ...................................... June 19, 2008 ........................................... June 29, 1988 ........................................... December 19, 2008 .................................. | 4/6/15 [Insert Federal Register Ci- tation] [Insert the date of publication in the Federal Register] [Insert Federal Register Citation] 4/6/15 [Insert Federal Register Ci- tation] 4/6/15 [Insert Federal Register Ci- tation] 4/6/15 [Insert Federal Register Ci- tation] |

1 In order to determine the EPA effective date for a specific provision listed in this table, consult the FEDERAL REGISTER document cited in this column for the particular provision.

#### § 147.2403

- Other laws. The following statutes and regulations although not incor- porated by reference, also are part of the approved State-administered pro- gram:

  - Revised Code of Washington, chap- ter 34.04 (Bureau of National  Affairs, 1981 Laws), entitled ‘‘Administrative Procedure   act’’;

  - Revised Code of Washington, chap- ter 43.21A (Bureau of National Affairs, 1980 Laws), entitled ‘‘Department of Ecology,’’ as amended by 1983 Wash- ington Laws, Chapter 270;

  - Revised Code of Washington, chap- ter 70.105 (Bureau of National Affairs, 1983 Laws), entitled ‘‘Hazardous Waste Disposal’’;

  - Revised Code of Washington, chap- ter 78.52 (Bureau of National  Affairs, 1983 Laws), entitled ‘‘Oil and Gas Con- servation’’;

  - Revised Code of Washington, chap- ter 90.48 (Bureau of National Affairs, 1986 Laws), entitled ‘‘Water Pollution Control.’’

(c)(1) The Memorandum of Agree- ment between EPA Region X and the Washington Department of Ecology, signed by the EPA Regional Adminis- trator on February 15, 2011.

- Memorandum of Agreement be- tween the Washington Department of Ecology and Oil and Gas Conservation Committee, Related to the Under- ground Injection Control Program for the State of Washington, signed March 23, 1984;

- Memorandum of Agreement be- tween the Washington Department of Ecology   and   Washington   Department of Natural Resources, Related to the Underground  Injection  Control  Pro- gram for the  State  of  Washington, signed March 23, 1984;

- Memorandum of Agreement be- tween the Washington Department of Ecology and Department of Social and Health Services, Related to the Under- ground Injection  Control  Program  for the State of Washington, signed  March 23, 1984;

- Memorandum of Agreement be- tween the Washington Department of Ecology and the Energy Facility Site Evaluation Council, Related to the Un- derground Injection Control  Program for the State of Washington, signed March 19, 2009.

#### 40 CFR Ch. I (7–1–17 Edition)

- Statement of legal authority. Letter from Attorney General of the State of Washington, by Senior Assistant At- torney General, to Director, Wash- ington State Department of  Ecology, ‘‘Re: Underground Injection Control Regulatory Program—Attorney Gen- eral’s Statement,’’ February 28, 1984.

- The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[49 FR 31876, Aug. 9, 1984, as amended at 56

FR 9420, Mar. 6, 1991; 80 FR 18322, Apr. 6, 2015]

##### § 147.2403   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Washington is administered by EPA. This program, for all Indian lands except those of the Colville Tribe, con- sists of the  UIC  program  requirements of 40 CFR parts 124, 144, 146, 148, and any  additional  requirements  set   forth in the remainder of this subpart. Injec- tion well owners  and  operators,  and EPA shall comply with these require- ments.

- Effective date. The effective date for the UIC program for Indian lands in Washington is November 25, 1988.

[53 FR 43091, Oct. 25, 1988, as amended at 56

FR 9420, Mar. 6, 1991]

##### § 147.2404   EPA-administered	pro- gram—Colville Reservation.

- The UIC program for the Colville Indian Reservation consists of a prohi- bition of all Class I, II, III and IV injec- tion wells and of a program adminis- tered by EPA for Class V wells. This program consists of the UIC program requirements of 40 CFR part 124, 144 and 146 and any additional require- ments set forth in the remainder of this subpart. Injection well owners and EPA shall comply with these require- ments. The prohibition on Class I-IV wells is effective November 25, 1988. No owner or operator shall construct, op- erate, maintain, convert,  or  conduct any other injection activity thereafter using Class I-IV wells.

- Owners and operators of Class I, II, III or IV wells in existence on the ef- fective date of the program shall cease injection immediately. Within 60 days of  the  effective  date  of  the  program,

#### Environmental Protection Agency	§ 147.2500

the owner or operator shall submit a plan and schedule for plugging and abandoning the well for the Director’s approval. The owner or operator shall plug and abandon the well according to the approved plan and schedule.

[53 FR 43091, Oct. 25, 1988]

# Subpart XX—West Virginia

##### §§ 147.2450–147.2452   [Reserved]

§ 147.2453   EPA-administered	pro- gram—Indian lands.

  - Contents. The UIC program for all classes of wells on Indian lands in the State of West Virginia is  administered by EPA. This program consists of the UIC program requirements of 40  CFR parts 124, 144, 146, 148, and any addi- tional requirements set forth in the re- mainder of this subpart. Injection well owners and operators, and EPA shall comply  with  these  requirements.

  - Effective date. The effective date for the UIC program on Indian lands in West Virginia is November 25, 1988.

[53 FR 43092, Oct. 25, 1988, as amended at 56

FR 9420, Mar. 6, 1991]

##### §§ 147.2454–147.2499   [Reserved]

Subpart YY—Wisconsin

§ 147.2500   State-administered	pro- gram.

The UIC program for Class  I,  II,  III, IV, and V wells in the State of Wis- consin, other than those on  Indian lands as described in § 147.2510, is the program administered by the Wis- consin Department of Natural Re- sources, approved by EPA pursuant to SDWA section 1422. Notice of this ap- proval was published in the FEDERAL REGISTER on September 30, 1983 (48 FR 44783); the effective date of this pro- gram is November 30, 1983. This pro- gram consists of a prohibition of all in- jection wells except heat pump return flow injection  wells and may be  found in the following elements, as submitted to EPA in the State’s program applica- tion.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph  are  hereby  incorporated  by  ref-

erence and made a part of the applica- ble UIC program under the SDWA for the State of Wisconsin. This incorpora- tion by reference was approved by the Director of the OFR in accordance with 5 U.S.C. 552(a) and 1 CFR part 51. Cop- ies may be obtained at the Wisconsin Department of Natural Resources, Box 7921, Madison, Wisconsin, 53707. Copies may be inspected at the Environmental Protection Agency, Region V, 77 West Jackson  Boulevard,  Chicago,  Illinois, 60604, or at the National Archives and Records Administration (NARA). For information on the availability of this material at NARA, call 202–741–6030.

- Wisconsin   Statutes   Annotated

§§ 147.015,   147.02   and   147.04   (West   1974

and Supp. 1983);

- Chapter NR 112, Well Construction and Pump Installation, Wisconsin Ad- ministrative   Code   §§ NR   112.03   and

112.20 (October 1981), as amended by Natural Resources Board Order No. WQ–25–82, approved by the Natural Re- sources Board on August 25, 1982;

- Chapter NR 113, Servicing Septic Tanks, Seepage Pits, Grease Traps or Privies,    Wisconsin     Administrative Code §§ NR 113.07–113.08 (1979), as amended by Natural Resources Board Order No. WQ–25–82, approved by the Wisconsin Natural Resources Board on August 25, 1982;

- Chapter NR 181, Hazardous Waste Management,   Wisconsin   Administra- tive Code §§ NR 181.04–181.415 (1981), as amended June 1985;

- Chapter NR 210, Sewage Treat- ment Works, Wisconsin Administrative Code § 210.05 Natural Resources Board Order No. WQ–25–82, approved by the Wisconsin Natural Resources Board on August 25, 1982;

- Chapter NR 214, Land Application and Disposal  of  Liquid  Industrial Wastes and By-Products, Wisconsin Ad- ministrative Code §§ 214.03 and 214.08 (1983).

- Other laws. The following statutes and regulations, although not incor- porated by reference except for select sections identified in paragraph (a) of this section, are also part of the ap- proved State-administered program:

§ 147.2510

  - Chapter 144, Water, Sewage, Refuse, Mining and Air Pollution, Wis- consin Statutes Annotated (West 1974 and Supp. 1983);

  - Chapter 147, Pollution Discharge Elimination, Wisconsin Statutes Anno- tated (West 1974 and Supp. 1983);

  - Chapter 162, Pure Drinking Water, Wisconsin Statutes Annotated (West 1974 and Supp. 1983);

  - Laws of 1981, Chapter 20, § 2038 (Re: heat  pump  injection);

  - Wisconsin Statutes 803.09(1) (West 1977) (intervention as of right in civil actions).

- Memorandum of Agreement. The Memorandum of Agreement between EPA Region V and the Wisconsin De- partment of Natural Resources, signed by the Regional Administrator on De- cember 6, 1983.

- Statement of legal authority. (1) ‘‘Attorney  General’s  Statement,’’ signed by Attorney General, State of Wisconsin;

(2) Letter from Assistant Attorney General, State of Wisconsin, to EPA Region, ‘‘Re: Amendments to Attorney General’s Statement-UIC,’’ June 30, 1983.

- Program Description. The Program Description and other materials sub- mitted as part of the application or as supplements thereto.

[49 FR 45309, Nov. 15, 1984, as amended at 56

FR 9420, Mar. 6, 1991; 56 FR 14150, Apr. 5, 1991;

62 FR 1834, Jan. 14, 1997]

##### § 147.2510   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for In- dian lands in the State of Wisconsin is administered by EPA. This program consists of 40 CFR parts 144 and 146 and additional requirements set  forth  in this section. Injection  well owners and operators, and EPA, shall comply with these requirements.

- Requirements. Notwithstanding the requirements of paragraph (a) of this section for Indian lands in Wis- consin no owner or operator shall con- struct, operate, maintain, or convert any Class I, II, III, IV or V injection well.

- Effective date. The effective date of the  UIC  program  requirements  for  In-

#### 40 CFR Ch. I (7–1–17 Edition)

dian lands in Wisconsin is December 30, 1984.

[49 FR 45309, Nov. 15, 1984]

# Subpart ZZ—Wyoming

##### § 147.2550   State-administered	pro- gram—Class I, III, IV and V wells.

The UIC program for Class I, III,  IV and V wells in the State of Wyoming, except those on Indian lands is the pro- gram administered by the Wyoming Department of Environmental Quality approved by EPA pursuant to  section 1422 of the SDWA. Notice of this ap- proval was published in the FEDERAL REGISTER on July 15, 1983 (48 FR 32344);

the effective date of this program is August 17, 1983. The program consists of the following elements as submitted to EPA in the State’s program applica- tion:

  - Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the State of Wyoming. This incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

    - Wyoming Environmental Quality Act, Wyoming Statutes sections 35–11– 101 through 35–11–115, and 35–11–301 through 35–11–305  (1977  Republished Edition and 1989 Cumm. Supp.);

    - Water Quality Rules and Regula- tions, Wyoming Department of Envi- ronmental Quality, Chapter III: Regu- lations for Permit to  Construct,  Install or Modify Public Facilities Capable or, (sic) Causing or Contributing to Pollu- tion (certified copy, signed December 21, 1983);

    - Water Quality Rules and Regula- tions, Wyoming Department of Envi- ronmental  Quality,  Chapter  VIII:  Qual- ity Standards for Groundwaters of Wy- oming (certified copy, signed April 9, 1980);

    - Water Quality Rules and Regula- tions, Wyoming Department of Envi- ronmental Quality, Chapter IX: Wyo- ming Groundwater Pollution Control Permit (certified copy, signed April 9, 1980);

Environmental Protection Agency	§ 147.2551

    - Water Quality Rules and Regula- tions, Wyoming Department of Envi- ronmental Quality, Chapter XIII: Pro- hibitions of Permits for New Hazardous Waste Injection Wells (certified copy, signed August 25, 1989);

    - Land Quality Rules and Regula- tions, Wyoming Department of Envi- ronmental  Quality,  Chapter  XXI:   In Situ Mining (effective March 26, 1981).

  - Other laws. The following statutes and regulations, although not incor- porated by reference except for select sections identified in paragraph (a) of this section, are also part of the ap- proved State-administered program:

    - Article 9, Underground Water, Wy- oming Statutes sections  41–3–901 through 41–3–938 (September 1982);

    - Wyoming Administrative Proce- dure Act, Wyoming Statutes sections 9–4–101 through 9–4–115 (1988);

    - Department of Environmental Quality Rules of  Practice  and  Proce- dure (1982).

(c)(1) The Memorandum of Agree- ment  between  EPA,  Region  VIII  and the Wyoming Department of Environ- mental Quality, signed by the EPA Re- gional Administrator on April 26, 1983.

- Letter from Regional Adminis- trator, EPA Region VIII,  to  Governor of Wyoming, May 21, 1982, with Attach- ment (regarding aquifer exemptions);

- Letter from Governor of Wyoming to Regional Administrator, EPA Re- gion VIII, ‘‘Re: Underground Injection Control (UIC) Program—Aquifer Ex- emption Issues,’’ June 7, 1982;

- Letter from Regional Adminis- trator, EPA Region VIII to Governor of Wyoming, ‘‘Re: Underground Injection Control (UIC) Program—Aquifer Ex- emption Issues,’’ June 25, 1982;

- Letter from Director, Wyoming Department of Environmental Quality, to Acting Director, Water Management Division, EPA Region  VIII,  December 1, 1982.

- Statement of legal authority. (1) ‘‘Attorney General’s Statement—Wyo- ming Statutory and Regulatory Au- thority for Assumption of the Under- ground Injection Control Program Pur- suant to the Federal Safe Drinking Water Act,’’ signed by Attorney Gen- eral and  Assistant  Attorney  General for the State of Wyoming,  September 22, 1982;

- Letter from Attorney General for the State of Wyoming to Acting Re- gional Counsel, EPA Region VIII, ‘‘Re: Wyoming Assumption of the UIC Pro- gram—$36, Chapter IX, Wyoming Water Quality Rules and Regulations,’’ No- vember 24, 1982.

- The Program Description and any other materials submitted as part of the application or amendment thereto.

[49 FR 20197, May 11, 1984, as amended at 53

FR  43092,  Oct.  25,  1988;  56  FR  9421,  Mar.  6,

1991]

##### § 147.2551   State-administered	pro- gram—Class II wells.

The UIC program for Class II  wells  in the State of Wyoming, except those on Indian lands, is the program  adminis- tered by the Wyoming Oil and Gas Con- servation  Commission   approved   by EPA pursuant to section 1425 of the SDWA. Notice of this approval was published in the FR on November 23, 1982 (47 FR 52434); the effective date of this program is December 23, 1982. This program consists of the following ele- ments  as  submitted  to  EPA  in  the State’s   program   application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA for the State of Wyoming. This incorpora- tion by reference was approved by the Director of the OFR in accordance with 5 U.S.C. 552(a) and 1 CFR Part 51. Cop- ies may be obtained at the Wyoming Oil and Gas Conservation Commission, Office of the State Oil and Gas Super- visor,  P.O.  Box  2640,   77   West  First Street, Casper, Wyoming, 82602. Copies may be inspected at the Environmental Protection   Agency,   Region   VIII,   999 18th  Street,  Suite  500,  Denver,  Colo- rado, 80202–2405, or at the National Ar- chives   and   Records   Administration (NARA). For information on the avail- ability  of  this  material  at  NARA,  call 202–741–6030.

  - Rules and Regulations of the Wyo- ming Oil and Gas Conservation Com- mission,  including  Rules  of  Practice

#### § 147.2553

and Procedure, as published by the Wy- oming Oil and Gas Conservation Com- mission, August 7, 1990;

  - Title 30, Chapter 5, Wyoming Stat- utes, sections 30–5–101 through 30–5–126 (June 1983 and Wyoming Statutes An- notated, July 1990 Supp.).

- Memorandum of Agreement. (1) The initial Memorandum of Agreement be- tween EPA, Region VIII and Wyoming Oil and Gas Conservation Commission, signed by the EPA Regional Adminis- trator and the Oil Field Supervisor  of the Commission on June 2, 1982;

  - Amendment No. 1 to the Memo- randum of Agreement, dated December 22, 1982;

  - Amendment No. 2 to the Memo- randum  of  Agreement,  dated  January 25, 1990;

  - Letter from State Oil and Gas Su- pervisor, Wyoming Oil and Gas Con- servation Commission, to the Acting Director, Water Management Division, EPA Region VIII, ‘‘Re: Application for Primacy in the Regulation of Class II Injection Wells,’’ March 8, 1982;

  - Letter from State Oil and Gas Su- pervisor, Wyoming Oil and Gas Con- servation Commission, to EPA Region VIII, ‘‘Re: Regulation of Liquid Hydro- carbon Storage Wells Under the UIC Program,’’ July 1, 1982;

  - Memorandum of Agreement Be- tween the Wyoming State Board of Control, State Engineer, Oil and Gas Conservation Commission,  and the De- partment of Environmental Quality, dated October 14, 1981.

- Statement  of  legal  authority.  (1) ‘‘Statement   of   Legal   Authority’’   and ‘‘State    Review    of    Regulations    and Statutes  Relevant  to  the  UIC  Program- Class  II  Wells,’’  signed  by  Special  As- sistant  Attorney  General  for  the  State of Wyoming, as submitted with ‘‘Wyo- ming  Oil  and  Gas  Conservation  Com- mission,   Application   for   Primacy   in the   Regulation   of   Class   II   Injection Wells  under  Section  1425  of  the  Safe Drinking Water Act,’’ November 1981;

- Letter from special Assistant At- torney General for the State of Wyo- ming to Assistant Regional Counsel, EPA Region VIII, May 13, 1982;

- Letter from special Assistant At- torney  General  for  the  State  of  Wyo-

#### 40 CFR Ch. I (7–1–17 Edition)

ming to Assistant Regional Counsel, EPA Region VIII, July 1, 1982.

- Program Description. The Program Description and other material sub- mitted as part of the application or amendments thereto, including the memorandum to  the  National  UIC Branch reporting  on  Improvement  to the Wyoming Oil and Gas 1425 program, dated April 28, 1989.

[56 FR 9421, Mar. 6, 1991]

##### § 147.2553   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the State of Wyoming is  administered  by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional re- quirements set forth in  the  remainder of this subpart.  Injection  well  owners and operators, and EPA  shall  comply with  these  requirements.

- Effective date. The effective date for the UIC program on Indian lands in Wyoming is November 25, 1988.

[53 FR 43092, Oct. 25, 1988, as amended at 56

FR 9422, Mar. 6, 1991]

##### § 147.2554   Aquifer exemptions.

In   accordance   with   §§ 144.7(b)   and

146.4 of this chapter, those portions of aquifers currently being used for injec- tion in  connection with  Class II  (oil and gas) injection operations on the Wind River Reservation, which are de- scribed below, are hereby exempted for the purpose of Class II injection  activ- ity. This exemption applies only to the aquifers tabulated below, and includes those portions of the aquifers  defined on the surface by an outer boundary of those quarter-quarter sections dis- sected by a line drawn parallel to, but one-quarter mile outside, the field boundary, and is restricted to  extend no further than one-quarter mile out- side the Reservation boundary. Maps showing the exact boundaries of the field may be consulted at the EPA’s Region 8 Office, and at the EPA Head- quarters in Washington, DC.

#### Environmental Protection Agency	§ 147.2555

AREAS TO BE EXEMPTED FOR THE PURPOSE OF CLASS II INJECTION ON THE WIND RIVER RESERVATION

| Formation | Approximate depth | Location |
| --- | --- | --- |
| Steamboat Butte Field | 6,500–7,100 | T3N, R1W—W/2 Sec. 4, Sec. 5, E/2 Sec. 6, NE/4 |
| Phosphoria ....................................................... |  |  |
|  |  | Sec. 8, W/2 Sec. 9. |
|  |  | T4N, R1W—W/2 Sec. 29, E/2 Sec. 30, E/2 Sec. 31, |
|  |  | Sec. 32. |
| Tensleep .......................................................... | 6,900–7,500 | T3N, R1W—W/2 Sec. 4, Sec. 5, E/2 Sec. 6, NE/4 |
|  |  | Sec. 8, W/2 Sec. 9. |
|  |  | T4N, R1W—W/2 Sec. 29, E/2 Sec. 30, E/2 Sec. 31, |
|  |  | Sec. 32. |
| Winkleman Dome Field |  |  |
| Tensleep .......................................................... | 2,800–3,300 | T2N, R1W—SW/4 Sec. 17, Sections 18, 19, 20, 29, |
|  |  | NE/4 Sec. 30. |
|  |  | T2N, R2W—E/2 Sec. 13, NE/4 Sec. 24. |
| Phosphoria ....................................................... | 2,800–3,600 | T2N, R1W—SW/4 Sec. 17, Sections 18, 19, 20, 29, |
|  |  | NE/4 Sec. 30. |
|  |  | T2N, R2W—E/2 Sec. 13, NE/4 Sec. 24. |
| Nugget ............................................................. | 1,100–1,500 | T2N, R1W—SW/4 Sec. 17, Sections 18, 19, 20, 29, |
|  |  | NE/4 Sec. 30. |
|  |  | T2N, R2W—E/2 Sec. 13, NE/4 Sec. 24. |
| Lander Field |  |  |
| Phosphoria ....................................................... | 1,100–3,800 | T2S, R1E—Sections 12 and 13, E/2 Sec. 24, NE/4 |
|  |  | Sec. 25. |
|  |  | T2S, R2E—W/2 Sec. 18, W/2 Sec. 19, Sec. 30. |
|  |  | T33N, R99W—Sec. 4. |
| NW Sheldon Field |  |  |
| Crow Mountain and Cloverly ........................... | 3,400–3,600 | T6N, R3W—SE/4 Sec. 35, SW/4 Sec. 36. |
|  |  | T5N, R3W—N/2 Sec. 1. |
| Circle Ridge Field |  |  |
| Tensleep .......................................................... | 1,500–1,800 | T6N, R2W—Sec. 6, N/2 Sec. 7. |
|  |  | T7N, R3W—SE/4 Sec. 36. |
|  |  | T7N, R2W—SW/4 Sec. 31. |
|  |  | T6N, R3W—E/2 Sec. 1. |
| Phosphoria ....................................................... | 800–1,800 | T7N, R3W—S/2 Sec. 36. |
|  |  | T6N, R3W—NE/4 Sec. 1. |
| Amsden ............................................................ | 700–l,200 | T6N, R3W—Sec. 6. |
| Rolff Lake Field |  |  |
| Crow Mountain ................................................. | 3,500–3,700 | T6N, R3W—SW/4 Sec. 26, NW/4 Sec. 27. |

[53 FR 43092, Oct. 25, 1988]

##### § 147.2555   Aquifer    exemptions    since January 1, 1999.

In    accordance    with    § 144.7(b)    and

§ 146.4  of  this  chapter,  the  aquifers  de-

scribed in the following table  are  here- by exempted from the definition of an underground source of drinking  water, as defined in 40 CFR 144.3:

AQUIFER EXEMPTIONS SINCE JANUARY 1, 1999

| Formation | Approximate depth (feet below ground surface) | Location |
| --- | --- | --- |
| Powder River Basin, only approximately 0.4 square miles of the Lance Formation which is less than 0.005% of the Basin at indicated depths and location.. | 3,800–6,800 .................. | Two cylindrical volumes with centers in the wells COGEMA DW No. 1 and 18–3 Christensen re- spectively, and radius of 1,320 feet. Both wells are located in the Christensen Ranch, in John- son County, WY. The COGEMA DW No. 1 well is located at approximately 450 feet West of N/S line and 100 feet North of E/W line of SE/4, NW/4, Section 7, T44N, R76W. The 18– 3 Christensen well is located approximately 600 feet West of N/S line and 550 South of E/ W line of NE/4, NW/4, Section 18, T44N, R76W. |

#### § 147.2600

40 CFR Ch. I (7–1–17 Edition)

AQUIFER EXEMPTIONS SINCE JANUARY 1, 1999—Continued

| Formation | Approximate depth (feet below ground surface) | Location |
| --- | --- | --- |
| Lance Formation at indicated depths and locations | 3,800–6,500 .................. | Two cylindrical volumes with centers in the wells COGEMA DW No. 2 and COGEMA DW No. 3 respectively, and radius of 1320 feet. Both wells are located in the Christensen Ranch, in Johnson County WY. The COGEMA DW No. 2 is located at approximately 2,290 feet from the North line and 1130 feet from the East line SW1/4 SE1/4 NE1/4 of Section 7, Township 44 North, Range 76 West. The COGEMA DW No. 3 is located approximately 3300 feet from the North line and 1340 feet from the West line center of SW1/4 of Section 5, Township 44 North, Range 76 West. |

[64 FR 14803, Mar. 26, 1999, as amended at 67 FR 47726, July 22, 2002]

# Subpart AAA—Guam

##### § 147.2600   State-administered	pro- gram.

The UIC program for  all  classes  of wells in the territory of Guam, except those on Indian lands, is the program administered by the Guam Environ- mental   Protection    Agency,    approved by  EPA  pursuant  to  SDWA  section 1422. Notice of this approval was pub- lished  in   the   FEDERAL   REGISTER   on May 2, 1983 (47 FR 19717); the effective date of this program is June 1, 1983. This program consists of the following elements, as submitted to EPA  in the State’s   program   application:

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the territory of Guam. This incorpora- tion by reference was approved by the Director of the  Federal  Register  on June 25, 1984.

- Water  Resources  Conservation Act, Government Code of Guam  sec- tions 57021–57025, Public Law 9–31 (March 9, 1967), as amended by Public Law 9–76 (July 29, 1967), as amended by Public Law 12–191 (December 30, 1974);

- Water Pollution Control Act, Gov- ernment Code of Guam sections 57042 and 57045, Public Law 9–76 (July 29, 1967), as amended by Public Law 9–212 (August 5, 1968), as amended by Public Law 10–31 (March 10, 1969), as amended

by   Public   Law   12–191   (December   30,

1974);

- Guam Environmental Protection Agency, Underground Injection Control Regulations,  Chapters  1–9,  as  revised by amendments adopted September 24, 1982;

- Guam Environmental Protection Agency, Water Quality Standards, Sec- tion I-IV (approved September 25, 1981, effective November 16, 1981).

- Other laws. The following statutes and regulations, although not incor- porated by reference except for specific sections identified in paragraph (a) of this section, are also part of the ap- proved State-administered program:

  - Government Code of Guam, Title XXV, Chapters I-III (sections 24000– 24207);

  - Government Code of Guam, Title LXI, Chapters I-III (sections 57000– 57051);

  - Government Code of Guam, Title LXI, Chapters VI (sections 57120–57142);

  - Government Code of Guam, Title LXI, Chapters VIII (sections 57170– 57188);

  - Government Code of Guam, Title LXI, Chapters XII (sections 57285– 57299);

- The Memorandum of Agreement between EPA, Region IX and the Guam Environmental Protection Agency signed by the Regional Administrator on January 14, 1983.

- Statement of legal authority. (1) Letter from Attorney General of Guam to Regional Administrator, Region IX, ‘‘Re: Attorney General’s Statement for

Environmental Protection Agency	§ 147.2651

Underground  Injection  Control  Pro- gram (UIC), Ground Water Program Guidance #16’’ May 12, 1982;

(2) Letter from Attorney General of Guam to Regional Administrator, Re- gion IX, ‘‘Re: Additional comments  to be incorporated into the May 12, 1982, Attorney General’s Statement for Un- derground Injection Control Program,’’ September 2, 1982.

- The Program Description and any other materials submitted as part of the application or amendments there- to.

[49 FR 20197, May 11, 1984, as amended at 53

FR 43092, Oct. 25, 1988]

##### § 147.2601   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for In- dian lands in the territory of Guam is administered by EPA. This program consists of the UIC program require- ments of 40 CFR parts 124, 144, 146, 148, and any additional requirements set forth in the remainder of  this subpart. Injection well owners  and  operators, and EPA shall comply with these re- quirements.

- Effective date. The effective date for the UIC program on Indian lands in the territory of Guam is November 25, 1988.

[53 FR 43093, Oct. 25, 1988, as amended at 56

FR 9422, Mar. 6, 1991]

# Subpart BBB—Puerto Rico

##### § 147.2650 State-administered pro- gram—Class I, II, III, IV, and V wells.

The Underground Injection Control Program for all classes of wells in the Commonwealth of Puerto Rico, other than those on Indian lands, is the pro- gram administered by Puerto Rico’s Environmental Quality Board (EQB), approved by the EPA pursuant to the Safe Drinking Water Act (SDWA) sec- tion 1422. This program consists of the following elements, as submitted  to EPA in the Commonwealth’s program application.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica-

ble UIC program under the SDWA for the   Commonwealth   of   Puerto   Rico. This incorporation by reference was ap- proved by the Director of the Federal Register  in  accordance  with  5  U.S.C. 552(a) and 1 CFR part 51. Copies may be obtained or inspected at the following locations:  EPA,  Region  II,  26  Federal Plaza, room 845, New York, NY 10278; EPA,  Headquarters,  401   M  St.,  SW., room E1101A, Washington, DC 20460; or the National Archives and Records Ad- ministration (NARA). For information on  the  availability  of  this  material  at NARA, call 202–741–6030.

- Underground Injection Control Regulations of the Commonwealth of Puerto Rico, Parts I through V and ap- pendices A and B, adopted September 14, 1983 (Amended July 20, 1988).

- Puerto Rico Public Policy Envi- ronmental Act (PRPPE), Title  12  Laws of Puerto Rico Annotated (LPRA) Chapters 121 and 131, 1977 edition, as amended 1988 edition, and Chapter 122, 1988 edition.

- Memorandum of Agreement. The Memorandum of Agreement between EPA Region II and  the  Commonwealth of Puerto Rico’s EQB signed by the Re- gional Administrator on August 23, 1991.

- Statement of legal authority. (1) Attorney General’s statement on the Commonwealth of Puerto Rico’s Au- thority to apply for, assume and carry out the UIC Program, dated June 26, 1987. (2) Letter from the Governor of the Commonwealth of Puerto Rico re- questing the program, dated July 16, 1987.

- Program description. The Descrip- tion of the Commonwealth of Puerto Rico’s Underground Injection Control Program, dated  with  the effective date October 30, 1986.

[57 FR 33446, July 29, 1992]

##### § 147.2651   EPA-administered	pro- gram—Indian lands.

- Contents. The UIC program for all classes of wells on Indian lands in the Commonwealth of Puerto Rico is ad- ministered by EPA. This program con- sists of the  UIC  program  requirements of 40 CFR parts 124, 144, 146, 148 and any

§ 147.2700

additional requirements  set  forth  in the remainder of this subpart. Injec- tion well owners  and  operators  and EPA shall comply with the require- ments.

- Effective date. The effective date for the UIC program on Indian Lands in the Commonwealth of Puerto Rico is November 25, 1988.

[57 FR 33446, July 29, 1992]

# Subpart CCC—Virgin Islands

##### § 147.2700   State-administered	pro- gram. [Reserved]

§ 147.2701   EPA-administered program.

- Contents. The UIC program for the Virgin  Islands,  including   all   Indian lands, is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators, and EPA shall comply  with these   requirements.

- Effective dates. The effective  date of the UIC program for non-Indian lands in the Virgin Islands is December 30, 1984. The effective date for Indian lands in the Virgin Islands is November 25, 1988.

[53 FR 43093, Oct. 25, 1988, as amended at 56

FR 9422, Mar. 6, 1991]

# Subpart DDD—American Samoa

##### § 147.2750   State-administered	pro- gram. [Reserved]

§ 147.2751   EPA-administered program.

- Contents. The UIC program for American Samoa, including all Indian lands, is administered by EPA. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and any additional require- ments  set  forth  in  the  remainder  of this subpart. Injection well owners and operators, and EPA shall comply  with these   requirements.

- Effective dates. The effective date for the UIC program on  non-Indian lands  is  June  25,  1984.  The  effective

40 CFR Ch. I (7–1–17 Edition)

date   of   the   UIC   program   on   Indian lands is November 25, 1988.

[53 FR 43093, Oct. 25, 1988, as amended at 56

FR 9422, Mar. 6, 1991]

##### § 147.2752 Aquifer exemptions. [Re- served]

Subpart EEE—Commonwealth of the Northern Mariana Islands

§ 147.2800 State-administered pro- gram—Class I, II, III, IV, and V wells.

The UIC program for Class I, II, III, IV, and V wells in the Commonwealth of the Northern Mariana Islands, other than those on Indian lands, is the pro- gram administered by the Common- wealth of the Northern Mariana Islands Division of Environmental Quality ap- proved by EPA pursuant to Section 1422 of the SDWA. Notice of this ap- proval was published in the FEDERAL REGISTER on January 18, 1985; the effec- tive date of this program is August 30, 1985. This program consists of the fol- lowing elements, as submitted to EPA in the State’s program application.

- Incorporation by reference. The re- quirements set forth in the State stat- utes and regulations cited in this para- graph are hereby incorporated by ref- erence and made a part of the applica- ble UIC program under the SDWA  for the Commonwealth of the Northern Mariana Islands. This incorporation by reference was approved by the Director of the Federal Register effective  July 31, 1985.

  - CNMI  Environmental  Protection Act, 2 CMC sections 3101, et seq. (1984);

  - CNMI Coastal Resources Manage- ment Act, 2 CMC sections 1501, et seq. (1984);

  - CNMI Drinking  Water  Regula- tions,  Commonwealth   Register,   Vol- ume 4, Number 4 (August 15, 1982);

  - CNMI Underground Injection Con- trol Regulations, Commonwealth Reg- ister, Volume 6, Number 5 (May 15, 1984, amended November 15, 1984, Janu- ary 15, 1985);

  - CNMI Coastal Resources Manage- ment Regulations, Commonwealth Register, Volume 6, Number 12, Decem- ber 17, 1984.

(b)(1) The Memorandum of Agree- ment between EPA Region IX and the

#### Environmental Protection Agency	§ 147.2902

Commonwealth of the Northern  Mar- iana Islands Division of Environmental Quality, signed by the EPA Regional Administrator on May 3, 1985;

- Statement of legal authority. State- ment from Attorney General Common- wealth of the Northern Mariana Is- lands, ‘‘Underground Injection Control Program—Attorney General’s State- ment,’’ signed on October 10, 1984.

- The Program Description and any other materials submitted as part of the original application or as supple- ments thereto.

[50 FR 28943, July 17, 1985]

##### § 147.2801   EPA-administered program.

- Contents. The UIC program for In- dian lands in the Commonwealth of the Northern Mariana Islands is adminis- tered by EPA. This program consists  of the UIC program  requirements  of  40 CFR parts 124, 144, 146, 148, and any ad- ditional requirements set forth in the remainder  of  this  subpart.   Injection well owners and operators,  and  EPA shall  comply  with  these  requirements.

- Effective date. The effective  date of the UIC program for Indian lands is November 25, 1988.

[53 FR 43093, Oct. 25, 1988, as amended at 56

FR 9422, Mar. 6, 1991]

##### § 147.2802   Aquifer	exemptions.	[Re- served]

Subpart FFF—Trust Territory of the Pacific Islands

§ 147.2850   State-administered	pro- gram. [Reserved]

§ 147.2851   EPA-administered program.

- Contents. The UIC program for Trust Territory of the Pacific Islands, including all Indian lands, is  adminis- tered by EPA. This program consists  of the UIC program  requirements  of  40 CFR parts 124, 144, 146, 148, and any ad- ditional requirements set forth in the remainder  of  this  subpart.   Injection well owners and operators,  and  EPA shall  comply  with  these  requirements.

- Effective dates. The effective  date of the UIC program for non-Indian lands of the Trust Territory of the Pa- cific Islands is June 25, 1984. The effec-

tive   date   for   the   Indian   lands   is   No- vember 25, 1988.

[53 FR 43093, Oct. 25, 1988, as amended at 56

FR 9422, Mar. 6, 1991]

##### § 147.2852   Aquifer	exemptions.	[Re- served]

Subpart GGG—Osage Mineral Reserve—Class II Wells

AUTHORITY:  Safe  Drinking  Water  Act,  42

    - 300h.

SOURCE:  49  FR  45309,  Nov.  15,  1984,  unless

otherwise noted.

##### § 147.2901   Applicability and scope.

This subpart sets forth the rules and permitting requirements for the Osage Mineral Reserve, Osage County, Okla- homa, Underground Injection Control Program. The regulations apply to owners and operators of Class II injec- tion wells located on the Reserve, and to  EPA.

##### § 147.2902   Definitions.

Most of the following terms are de- fined in § 144.3, and have simply been reproduced here for the convenience of the reader. This section also includes definitions of some terms unique to the Osage program. Terms used in this  sub- part are defined as follows:

Administrator—the Administrator of the United States Environmental Pro- tection Agency, or an authorized rep- resentative.

Aquifer—a geologic formation, group of formations, or part of a formation that is capable of yielding a significant amount of water to a well or spring.

BIA—The ‘‘Bureau of Indian Affairs,’’ United States Department of Interior.

Casing—a pipe or tubing of varying diameter and weight, lowered into a borehole during or after drilling in order to support the sides of the hole and, thus, prevent the walls from cav- ing, to prevent loss of drilling mud into porous ground, or to prevent water, gas, or other fluid from entering the hole.

Cementing—the operation whereby a cement slurry is pumped into a drilled hole and/or forced behind the casing.

Class II Wells—wells which inject fluids:

#### § 147.2902

      - Which are brought to the surface in connection with conventional oil or natural gas production and may be commingled with waste waters from gas plants which are an integral part of production operations, unless those waters would be classified as a haz- ardous waste at the time of injection;

      - For enhanced recovery of oil or natural gas; and

      - For storage of hydrocarbons which are liquid at standard tempera- ture and pressure.

Existing Class II Wells—wells that were authorized by BIA and con- structed and completed before the ef- fective date of this program.

New Class II Wells—wells constructed or converted after the effective date of this program, or which are under con- struction on the effective date of this program.

Confining bed—a body of impermeable or distinctly less permeable material stratigraphically adjacent to one or more aquifers.

Confining zone—a geologic formation, group of formations, or part of a forma- tion that is capable of limiting fluid movement above an injection zone.

Contaminant—any physical, chemical, biological, or radiological substance or matter in water.

Disposal well—a well used for the dis- posal of waste into a subsurface stra- tum.

EPA—The United States Environ- mental Protection Agency.

Fault—a surface or zone of rock frac- ture along which there has been dis- placement.

Fluid—material or substance which moves or flows whether in a semisolid, liquid, sludge, gas or any other form or state.

Formation—a body of rock character- ized by a degree of lithologic homo- geneity which is prevailingly, but not necessarily, tabular and is mappable on the earth’s surface or traceable in the subsurface.

Freshwater—‘‘Underground source of drinking  water.’’

Ground water—water below the land surface in a zone of saturation.

Injection well—a well into  which fluids are being injected.

Injection zone—a geological forma- tion, group of formations, or part of a

#### 40 CFR Ch. I (7–1–17 Edition)

formation  receiving  fluids  through  a well.

Lithology—the description of rocks on the basis of their physical and chem- ical  characteristics.

Owner/operator—the owner or oper- ator of any facility or activity subject to regulation under the Osage UIC pro- gram.

Packer—a device lowered into a well to produce a fluid-tight seal within the casing.

Permit—an authorization issued by EPA to implement UIC program re- quirements. Permit does not include the UIC authorization by rule or any permit which has not yet been the sub- ject of final Agency action.

Plugging—the act or process of stop- ping the flow of water, oil or gas into or out of a formation through a bore- hole or well penetrating that forma- tion.

Pressure—the total load or force per unit area acting on a surface.

Regional Administrator—the Regional Administrator of Region  6  of  the United States Environmental Protec- tion Agency, or an authorized rep- resentative.

Subsidence— the lowering of the nat- ural land surface in response to: Earth movements; lowering of fluid pressure; removal of underlying supporting ma- terial by mining or solution solids, ei- ther artificially  or  from  natural causes; compaction due to wetting (hydrocompaction); oxidation of or- ganic matter in soils; or added load on the land surface.

Underground source of drinking water— an aquifer or its portion:

(a)(1) Which supplies any  public water system; or

- Which contains a sufficient quan- tity of ground water to supply a public water system; and

  - Currently supplies drinking water for human consumption; or

  - Contains fewer than 10,000 mg/1 total  dissolved  solids;  and

- Which is not an exempted aquifer.

USDW—underground source of drink- ing water.

Well—a bored, drilled, or driven shaft, or a dug hole whose depth is greater than the largest surface dimension.

Well injection—the subsurfac emplace- ment of fluids through a bored, drilled,

#### Environmental Protection Agency	§ 147.2905

or driven well; or through a dug well, where the depth of the dug well is greater than the largest surface dimen- sion.

Well workover—any reentry of an in- jection well; including, but not  limited to, the pulling of tubular goods, ce- menting or casing repairs; and exclud- ing any routine maintenance (e.g. re- seating the packer at  the  same  depth, or repairs to surface equipment).

##### § 147.2903   Prohibition of unauthorized injection.

  - Any underground injection, ex- cept as authorized by permit or rule issued under the UIC program, is pro- hibited. The construction or operation of any well required to have a permit is prohibited until the permit has been issued.

  - No owner or operator shall con- struct,  operate,  maintain,  convert, plug, or abandon any injection well, or conduct  any  other  injection   activity, in a manner that allows the movement of fluid containing any  contaminant into underground sources of drinking water, if the presence of that contami- nant may cause the violation of any primary drinking water  regulation under 40 CFR part 142 or may otherwise adversely affect the health of persons. The applicant for a permit shall  have the burden of showing that the require- ments of this paragraph are met.

  - Injection between the outermost casing protecting underground sources of drinking water and the well bore is prohibited.

##### § 147.2904   Area of review.

- The area of review for an injec- tion well or project will be a fixed ra- dius of one-forth of a mile from the well, field or project.

- The zone of endangering influence is the lateral area around the injection well or project in which the injection zone pressures may cause movement of fluid into an underground source of drinking water (USDW) if there are im- properly sealed, completed or aban- doned wells present. A zone of endan- gering influence may be determined by EPA through the use of an appropriate formula that addresses the relevant geologic,   hydrologic,   engineering   and

operational features of the well, field, or project.

##### § 147.2905   Plugging and abandonment.

The owner/operator shall notify the Osage UIC office within 30 days of the date injection has terminated. The well must be plugged within 1 year after termination of injection. The Regional Administrator may extend the time to plug, but only if no fluid movement into a USDW will occur, and the oper- ator has presented a viable plan for uti- lizing the well within a  reasonable time.

- Until an injection well has been properly plugged and abandoned, an- nual reports to the Regional Adminis- trator on well status, and mechanical integrity tests as outlined in §§ 147.2912 and 147.2920 will be required, whether or not injection has ceased.

- All wells shall be plugged to pre- vent movement of fluid into an USDW.

- The owner/operator shall notify the Osage UIC office  by  certified  mail at least 5 days prior to the commence- ment of plugging operations. The Osage UIC office may waive or reduce the 5- day notice requirement when a quali- fied EPA representative is available to witness the plugging operation. The following information must be sub- mitted as part of the notification:

  - Type and number of plugs to be used;

  - Elevation of top and bottom of each plug;

  - Method of plug placement; and

  - Type, grade and quantity of ce- ment to be used.

- The well shall be kept full of mud as casing is removed. No surface casing shall be removed without written ap- proval from the Regional Adminis- trator.

(e)(1) If surface casing is adequately set and cemented through all fresh- water zones (set to at  least  50  feet below the base of freshwater), a plug shall be set at least 50 feet below the shoe of the  casing  and  extending  at least 50 feet above the shoe of  the  cas- ing,  or

- If the surface casing and cement- ing is inadequate, the well bore shall be filled with cement from a point 50 feet below the base of fresh water to a point

50  feet  above  the  shoe  of  the  surface

#### § 147.2906

casing, and any additional plugs as re- quired by the Osage UIC office and/or the Osage Agency.

- In all cases, the top 20 feet of the well bore below 3 feet of ground surface shall be filled with cement. Surface casing shall be cut off 3 feet below ground surface and covered with a se- cure steel cap on top of the surface pipe. The remaining 3  feet  shall  be filled with dirt.

(f)(1) Except as provided in paragraph (f)(2) of this section, each producing or receiving formation shall be sealed off with a 50-foot cement plug placed  at the base of the formation and a 50–foot cement plug placed at the top of the formation.

(2) The requirement  in  paragraph (f)(1) of this section does not  apply  if the producing/receiving formation is already sealed off from the well bore with adequate casing and cementing behind casing, and casing is not to be removed, or the only openings from the producing/receiving formation into the well bore are perforations in the cas- ing, and the annulus between the  cas- ing and the outer walls of the well is filled with cement for a distance of  50 feet  below  the  base  of  the  formation and 50 feet above the top of the forma- tion. When such  conditions  exist,  a bridge plug capped with 10 feet of ce- ment set at the top of the producing formation  may  be  used.

- When specified by the Osage UIC office, any uncased hole below the shoe of any casing to be left in the well shall be filled with cement to a depth of at least 50 feet below the casing shoe, or the bottom of the hole, and the casing above the shoe shall be filled with ce- ment to at least 50 feet above the shoe of the casing. If  the  well  has  a  screen or liner which is not to be removed, the well bore shall be filled with cement from the base of the screen or liner to at least 50 feet above the top of the screen or liner.

- All intervals between cement plugs in the well bore shall be filled with mud.

- A report containing copies of the cementing  tickets  shall  be   submitted to BIA within 10 days of plugging com- pletion.

- A surety bond must be on file with the Bureau of Indian Affairs (BIA), and

#### 40 CFR Ch. I (7–1–17 Edition)

shall not be released until the well has been properly plugged and the Regional Administrator has agreed to the re- lease of the bond.

##### § 147.2906   Emergency permits.

- An emergency permit may be issued if:

- There will be an imminent health hazard unless an emergency permit is issued; or

- There will be a substantial and ir- retrievable loss of oil and gas re- sources, timely application for a per- mit could not practicably have been made, and injection will not result in movement of fluid into an USDW; or

- There will be a  substantial  delay in oil or gas production, and injection will not result in movement of fluid into an USDW.

- Requirements—(1)   Permit  duration.

- Emergency permits issued to avoid an imminent health threat may last no longer than the time necessary to pre- vent the hazard.

- Emergency permits issued to pre- vent a substantial and  irretrievable loss of oil or gas resources shall be for no longer than 90 days, unless a com- plete permit application has been sub- mitted during that time; in which case the emergency permit may be extended until a final decision on the permit ap- plication has been made.

- Emergency permits to avoid a substantial delay in oil or gas produc- tion shall be issued only after a com- plete permit application has been sub- mitted and shall be effective until a final decision on the permit applica- tion is made.

- Notice of the emergency permit will be given by the Regional Adminis- trator according to the notice proce- dure for a draft permit within 10 days after  issuance.

- An emergency permit may be oral or written. If oral, a written emergency permit must be issued within five cal- endar days.

##### § 147.2907   Confidentiality  of  informa- tion.

  - The following information cannot be claimed confidential by the sub- mitter:

    - Name and address of permit appli- cant or permittee.

#### Environmental Protection Agency	§ 147.2912

    - Information concerning the exist- ence, absence or level of contaminants in drinking water.

  - Other information claimed as con- fidential will be processed in accord- ance with 40 CFR part 2.

##### § 147.2908   Aquifer exemptions.

- After notice and opportunity for a public hearing, the Administrator may designate any aquifer or part of an aq- uifer as an exempted aquifer.

- An aquifer or its portion that meets the definition of a USDW may be exempted by EPA from USDW status if the following conditions are met:

  - It does  not  currently  serve  as  a source of drinking water, and

  - It cannot now and will not in the future serve as a source of drinking water because:

    - It is hydrocarbon producing, or can be demonstrated by a permit appli- cant as a part of a permit application for a Class II operation to contain hy- drocarbons that are expected to be commercially producible (based on his- torical production or geologic informa- tion); or

    - It is situated at a depth or loca- tion which makes recovery of water for drinking water purposes economically or technologically impractical; or

    - It is so contaminated that it would be economically or techno- logically impractical to render that water fit for human consumption; or

  - The Total Dissolved Solids  con- tent of the groundwater is more than 3,000 and less than 10,000 mg/1 and it is not reasonably expected to supply a public  water  system.

##### § 147.2909   Authorization	of	existing wells by rule.

All existing Class II injection wells (wells authorized by BIA and con- structed or completed on or before the effective date of the Osage UIC pro- gram) are hereby authorized. Owners or operators of wells authorized by rule must   comply   with   the   provisions   of

§§ 147.2903, 147.2905, 147.2907, and 147.2910

through 147.2915.

##### § 147.2910   Duration   of   authorization by rule.

Existing Class II injuction wells are authorized for the life of the well, sub-

ject to the obligation to obtain a per- mit if specifically required by the Re- gional    Administrator    pursuant    to

§ 147.2915.

##### § 147.2911   Construction    requirements for wells authorized by rule.

All Class II wells shall be cased and cemented to prevent movement of fluids into USDWs. The Regional Ad- ministrator shall review inventory in- formation, data submitted in permit applications, and other records, to de- termine the adequacy of construction (completion) or existing injection wells. At the Regional Administrator’s discretion, well casing and cementing may be considered adequate if it meets the BIA requirements that were in ef- fect at the time of construction (com- pletion) and will not result in move- ment of fluid into an USDW. If the Re- gional Administrator determines that the construction of a well authorized by rule is inadequate, he shall require a permit, or he shall notify the owner/ operator and the owner/operator shall correct the problem according to in- structions from the Regional Adminis- trator. All corrections must be com- pleted within one year of owner/oper- ator notification of inadequacies.

##### § 147.2912   Operating  requirements  for wells authorized by rule.

- Each well authorized by rule must have mechanical integrity. Mechanical integrity must be demonstrated within five years of program adoption. The Regional Administrator will notify the well owner/operator three months be- fore proof  of  mechanical  integrity must be submitted to EPA. The owner/ operator must contact the Osage UIC office at least five days prior to  test- ing. The owner/operator may perform the mechanical integrity test prior to receiving notice from the Regional Ad- ministrator, provided the Osage UIC of- fice is notified at least five days in ad- vance. Conditions of both paragraphs (a)(1) and (a)(2) of this section must be met.

  - There is no significant leak in the casing, tubing or packer. This may be shown by the following:

    - Performance of a pressure test of the casing/tubing annulus to at least 200 psi, or the pressure specified by the

#### § 147.2912

Regional Administrator, to be repeated thereafter,  at  five  year  intervals,  for the life of the well (pressure tests con- ducted during well operation shall maintain an injection/annulus pressure differential of at least 100 psi through the tubing length); or

    - Maintaining a positive gauge pressure on the casing/tubing annulus (filled with liquid) and monitoring the pressure monthly and reporting  of the pressure information annually; or

    - Radioactive tracer survey; or

    - For enhanced recovery wells, records of monitoring showing the ab- sence of significant changes in the re- lationship between injection pressure and injection flow rate at the well head, following an initial pressure test as described by paragraph (a)(1)(i) or

    - of this section; or

(v) Testing or monitoring programs approved by the Regional Adminis- trator on a case-by-case basis, and

  - There is no significant fluid move- ment into a USDW through vertical channels adjacent to the well bore. This may be shown by any of the fol- lowing:

    - Cementing records (need not be re- viewed every five years);

    - Tracer survey (in appropriate hydrogeologic settings; must be used in conjunction with at least one of the other  alternatives);

    - Temperature log;

    - Noise log; or

    - Other tests deemed acceptable by the Regional Administrator.

- Injection pressure at the wellhead shall be limited so that it does not ini- tiate new fractures or propagate exist- ing fractures in the confining zone ad- jacent to any UDSW.

  - For existing Class II salt water disposal wells, The owner/operator shall, except during well stimulation, use an injection pressure at the well- head no greater than the pressure cal- culated by using the following formula:

Pm = (0.75¥0.433Sg)d

where:

Pm = injection pressure at the wellhead in pounds per square inch

Sg   =   specific   gravity   of   injected   fluid (unitless)

d = injection depth in feet.

#### 40 CFR Ch. I (7–1–17 Edition)

Owner/operator of wells shall comply with the above injection pressure lim- its no later than one year after the ef- fective date of this regulation.

  - For existing Class II enhanced re- covery wells, the owner or operator:

    - Shall use an injection pressure no greater than the pressure established by the Regional Administrator for the field or formation in which the well is located. The  Regional  Administrator shall establish such a maximum pres- sure after notice, opportunity for com- ment, and opportunity for a public hearing according to the provisions of part 124, subpart A of this chapter, and will inform owners and operators in writing of the applicable maximum pressure.

    - Prior to such time as the Re- gional Administrator establishes rules for maximum injection pressures based on data provided pursuant to para- graph (b)(2)(ii)(B) of this section the owner/operator shall:

      - Limit injection pressure at the wellhead to a value which will not ini- tiate new fractures or propagate exist- ing fractures in the confining zone ad- jacent to any USDW; and

      - Submit data acceptable to the Regional Administrator which defines the fracture pressure of the formation in which injection is taking place. A single test may be submitted on behalf of two or more operators conducting operations in the same formation, if the Regional Administrator approves such submission. The data shall be sub- mitted to the Regional Administrator within one year of the effective date of this program.

- Injection wells or projects which have exhibited failure to confine in- jected fluids to the authorized injec- tion zone or zones may be subject to re- striction of injection volume and pres- sure, or  shut-down,  until  the  failure has been identified and corrected.

(The information collection requirements contained  in  paragraphs  (a)(1)  (ii)  through

- and (a)(2) (i) through (v) were approved by the Office of Management and Budget under control number 2040–0042)

#### Environmental Protection Agency	§ 147.2915

##### § 147.2913 Monitoring and reporting requirements for wells authorized by rule.

  - The owner/operator has the duty to submit inventory information to the Regional Administrator upon request. Such request may be a general request to all operators in the County (e.g., public notice, or mailout requesting verification of information).

  - The operator shall monitor the in- jection pressure (psi) and rate (bb1/day) at least monthly, with the results re- ported annually. The annual report shall specify the types of methods used to generate the monitoring data.

  - The owner/operator shall notify the Osage UIC office within 30 days of any mechanical failure or down-hole problems involving well integrity, well workovers, or any noncompliance. As required, operators must apply for and obtain a workover permit from the Bu- reau of Indian Affairs Osage Agency be- fore reentering an injection well. If the condition may endanger an USDW, the owner/operator shall notify the Osage UIC office orally within 24 hours, with written notice including plans for test- ing and/or repair to be submitted with- in five days. If all the information  is not available within five days, a fol- lowup report must be submitted within 30 days.

  - The owner/operator shall deter- mine the nature of injected fluids ini- tially, when the nature of injected fluids is changed or when new constitu- ents are added. The records should re- flect the source of character of the new fluid and the date changes were made.

  - The owner/operator shall retain all monitoring records for three years, unless an enforcement action is pend- ing, and then until three years  after the enforcement action has been re- solved.

(Approved  by  the  Office  of  Management  and Budget under control number 2040–0042)

##### § 147.2914 Corrective action for wells authorized by rule.

Based on the Regional Administra- tor’s discretion, corrective action to prevent movement of fluid into an USDW may be required for improperly sealed, completed or abandoned wells (i.e., wells or well bores which may pro- vide   and   avenue   for   fluid   migration

into a USDW) within the zone of endan- gering	influence	(as	defined	in

§ 147.2904,  Area of  Review)  of an  injec- tion  well  authorized  by  rule.

- EPA will notify the operator when corrective action is required. Cor- rective action may include:

- Well modifications:

  - Recementing;

  - Workover;

  - Reconditioning;

  - Plugging or replugging;

- Limitations on injection pressure to prevent movement of fluid into an USDW;

- A more stringent monitoring pro- gram; and/or

- Periodic testing of other wells to determine if significant movement of fluid has occurred.

- If the monitoring discussed in paragraph (a) (3) or (4) of this section indicate the potential endangerment of an USDW, then action as described in paragraph (a) (1) or (2) of this section must be taken.

##### § 147.2915   Requiring a permit for wells authorized by rule.

- The Regional Administrator may require the owner or operator of any well authorized by rule to apply for an individual or area permit. The Re- gional Administrator shall notify the owner/operator in writing that a per- mit application is required. The notice shall contain:

  - Explanation of need for applica- tion;

  - Application form and, if appro- priate, a list of additional information to be submitted; and

  - Deadline for application submis- sion.

- Cases in which the Regional Ad- ministrator may require a permit in- clude:

  - The owner or operator is not in compliance with provisions of the rule;

  - Injection well is no longer within the category of wells  authorized  by rule;

  - Protection of  USDWs  requires that the injection operation be regu- lated by requirements which are not contained in the rule; or

  - Discretion of Regional Adminis- trator.

#### § 147.2916

- Injection is no longer authorized by rule upon the effective date of a per- mit or permit denial, or upon failure of the owner/operator to submit an appli- cation in a timely  manner  as  specified in the notice described in paragraph (a) of this section.

- Any owner/operator authorized by rule may request to be excluded  from the coverage of the rules by  applying for an individual or area UIC permit.

##### § 147.2916   Coverage  of  permitting  re- quirements.

The owner or operator of a new Class II injection well or any other Class II well required to have a permit in the Osage  Mineral  Reserve  shall  comply with the requirements of §§ 147.2903, 147.2907, 147.2918, through 147.2928.

##### § 147.2917   Duration of permits.

Unless otherwise specified in the per- mit, the permits will be in effect until the well is plugged and abandoned or the permit terminated. The Regional Administrator will review each issued permit at least once every five years to determine whether it should be modi- fied or terminated.

##### § 147.2918   Permit application informa- tion.

- The owner/operator must submit the original and three copies of the per- mit application, with two  complete sets of attachments, to the Osage UIC office. The application should be signed by the owner/operator or a duly  au- thorized representative. The applica- tion should also include appropriate forms (i.e., BIA’s Application for Oper- ation or Report on Wells and EPA’s permit application). The applicant has the burden of proof to show that the proposed injection activities will not endanger USDWs.

- The application shall include the information listed below. Information required by paragraphs (b) (5), (7), or (9) of this  section  that  is  contained  in EPA or BIA files may be  included  in the application by reference.

  - Map using township-range sec- tions showing the area of review and identifying all wells of public record penetrating  the  injection  interval.

  - Tabulation of data on the wells identified  in  paragraph  (b)(1)  of  this

#### 40 CFR Ch. I (7–1–17 Edition)

section, including location, depth, date drilled, and record of plugging and/or completion.

  - Operating data:

    - Maximum and average injection rate;

    - Maximum and average injection pressure;

    - Whether operation is on cyclic or continuous operation basis; and

    - Source and appropriate analysis of injected fluids, including total dis- solved solids, chlorides, and additives.

  - Geologic data on the injection and confining zones, including faults, geo- logical name, thickness permeability, depth and lithologic description.

  - Depth to base of fresh water.

  - Schematic drawings of the surface and subsurface details of the well, showing:

    - Total depth or plug-back depth;

    - Depth to top and bottom of injec- tion interval;

    - Depths to tops and bottoms of casing and cemented intervals, and amount of cement to be used;

    - Size of casing and tubing, and depth of packer; and

    - Hole diameter.

  - Proof that surety bond has been filed with the BIA Superintendent in accordance with 25 CFR 226.6. A surety bond must be maintained until the well has been properly plugged.

  - Verification of public notice, con- sisting of a list showing the names, ad- dresses, and date that notice of permit application was given or sent to:

    - The surface land owner;

    - Tenants on land where injection well is located or proposed to be lo- cated; and

    - Each operator of a producing lease within one-half mile of the well location.

  - All available logging and testing data on the well (for existing wells, i.e., wells to be converted or wells pre- viously authorized by rule).

(Approved by the Office of Management and Budget under control number 2040–0042)

##### § 147.2919   Construction    requirements for wells authorized by permit.

- All Class II wells shall be sited so that they inject into a formation that

#### Environmental Protection Agency	§ 147.2920

is separated from any USDW by a con- fining zone free of known open faults or fractures within the area of review.

- All Class II wells shall be cased and cemented to prevent movement of fluids into or between USDWs. Require- ments shall be based on the depth to base of fresh water, and the  depth  to the injection zone.  Newly  drilled  Class II wells must have surface casing set and cemented to at least 50 feet below the base of fresh water, or the equiva- lent (e.g., long string cemented to sur- face). At the Regional Administrator’s discretion, the casing and cementing of wells to be converted may be consid- ered adequate if they meet the BIA re- quirements that were in effect at the time of construction (completion), and will not result in movement of fluid into a USDW.

- Owner/operators shall provide a standard female fitting with cut-off valves, connected to the tubing and the tubing/casing annulus so that the in- jection pressure and annulus pressure may be measured by an EPA represent- ative by attaching a gauge having a standard  male  fitting.

- No owner or operator may begin construction of a new well until a per- mit authorizing such construction has been issued, unless such construction is otherwise authorized by an area per- mit.

##### § 147.2920   Operating  requirements  for wells authorized by permit.

- For new Class II wells, injection shall be through adequate tubing and packer. Packer shall be run on the tub- ing and set inside the casing within 75 feet of the top of the injection interval. For existing Class II,  wells,  injection shall be through adequate tubing and packer, or according to alternative op- erating requirements approved by the Regional  Administrator,  as  necessary to prevent  the  movement  of  fluid  into a  USDW.

- Each well must have mechanical integrity. Mechanical integrity of the injection well must be shown prior to operation. The owner/operator must notify the Osage UIC office at least five days prior to mechanical integrity testing. Conditions of both paragraphs

- (1) and (2) of this section must be met.

- There is no significant leak in the casing, tubing or packer. This may be shown by the following:

  - Performance of a pressure test of the casing/tubing annulus to at least 200 psi, or the pressure specified by the Regional Administrator, to be repeated thereafter,  at  five  year  intervals,  for the life of the well (Pressure tests con- ducted during well operation shall maintain an injection/annulus pressure differential of at least 100 psi through- out the tubing length); or

  - Maintaining a positive gauge pressure on the casing/tubing annulus (filled with liquid) and monitoring the pressure monthly and reporting  of the pressure information annually; or

  - Radioactive tracer survey; or

  - For enhanced recovery wells, record of monitoring showing the ab- sence of significant changes in the re- lationship between injection pressure and injection flow rate at the wellhead, following an initial pressure test as de- scribed by paragraph (b)(1) (i) or (v) of this section; or

  - Testing or monitoring programs approved by the Administrator on a case-by-case basis, and

- There is no significant fluid move- ment into a USDW through vertical channels adjacent to the well bore. This may be shown by any of the fol- lowing:

  - Cementing records (need not be re- viewed every five years);

  - Tracer survey (in appropriate hydrogelogic settings; must be used in conjunction with at least one of the other alternatives);

  - Temperature log;

  - Noise log; or

  - Other tests deemed acceptable by the Administrator.

- Injection pressure at the wellhead shall be limited so that it does not ini- tiate new fractures or propagate exist- ing fractures in the confining zone ad- jacent to any UDSW.

- Injection wells or projects which have exhibited failure to confine in- jected fluids to the authorized injec- tion zone or zones may be subject to re- striction of injected volume and pres- sure or shut-in, until the failure has been identified and corrected.

- Operation shall not commence until proof has been submitted to the

#### § 147.2921

Regional Administrator, or an EPA representative has witnessed that any corrective action specified in the per- mit has been completed.

##### § 147.2921   Schedule of compliance.

The permit may, when appropriate, specify a schedule of compliance lead- ing to compliance with the Safe Drink- ing Water Act and the Osage UIC regu- lations.

  - Any schedule of compliance shall require compliance as soon as possible, and in no case later than three years after the effective date of the permit.

  - If a permit establishes a schedule of compliance which exceeds one year from the date of permit issuance, the schedule shall set forth interim re- quirements and the dates for their achievement.

    - The time between interim dates shall not exceed one year.

    - If the time necessary for comple- tion of any interim requirement  is more than 1 year and is not readily di- visible into stages for completion, the permit shall specify interim dates for the submission of reports of progress toward completion of the interim re- quirements and indicate a projected completion  date.

  - The permit shall be written to re- quire that if  a  schedule  of  compliance is applicable, progress reports be sub- mitted no later than 30 days following each interim date and the final date of compliance.

##### § 147.2922 Monitoring and reporting requirements for wells authorized by permit.

- The owner/operator shall notify the Osage UIC office within 30 days of the date on which injection com- menced.

- The operator shall monitor the in- jection pressure (psi) and rate (bbl/day) at least monthly, with the results re- ported annually. The annual reports shall specify the types or methods used to generate the monitoring data.

- The owner/operator shall notify the Osage UIC office within 30 days of any mechanical failure or down-hole problems involving well integrity, well workovers, or any noncompliance. (Op- erators should note the obligation to apply for and obtain a workover permit

#### 40 CFR Ch. I (7–1–17 Edition)

from the  Bureau  of  Indian  Affairs Osage Agency before reentering an in- jection well.) If the condition may en- danger an USDW, the owner/operator shall notify  the Osage  UIC officer  oral- ly within 24 hours, with written notice including plans for testing and/or re- pair to be  submitted  within  five  days. If all the information is not available within five days, a followup  report must be submitted within 30 days.

- The owner/operator shall retain all monitoring records for three years, unless an enforcement action is pend- ing, and then until three years  after the enforcement action has been re- solved.

- The owner/operator shall notify the Osage UIC office in writing of a transfer of ownership at  least 10 days prior to such transfer.

(Approved by the Office of Management and Budget under control number 2040–0042)

##### § 147.2923   Corrective  action  for  wells authorized by permit.

All improperly sealed, completed or abandoned  wells  (i.e.,  wells  or  well bores which may provide an avenue for movement of fluid  into  an  UDSW) within the zone of  endangering  influ- ence (as defined in § 147.2904, Area of Review)  that  penetrate  the  injection zone of a Class II well, must have cor- rective action taken  to prevent move- ment  of  fluid  into  a  USDW.

- EPA will review completion and plugging records of wells within the zone of endangering influence that pen- etrate the injection zone and will no- tify the operator when corrective ac- tion is required. Corrective action may include:

  - Well modifications, including:

    - Recementing;

    - Workover;

    - Reconditioning; and/or

    - Plugging or replugging;

  - Permit conditions to limit injec- tion pressure so as to prevent move- ment of fluid into a USDW;

  - A more stringent monitoring pro- gram; and/or

  - Periodic testing of other wells within the area of review to determine if significant movement of fluid has oc- curred. If the monitoring discussed in paragraph (a)(3) or (a)(4) of this section indicates   the   potential   endangerment

#### Environmental Protection Agency	§ 147.2925

of a USDW, then action as described in paragraph (a)(1) or (a)(2) of this section must be taken.

- If the Regional Administrator has demonstrable knowledge that wells within the zone of endangering influ- ence will not serve as conduits for fluid movement into a USDW, the permit may be approved without requiring corrective action. However, additional monitoring shall be required to con- firm that no significant migration will occur.

##### § 147.2924   Area permits.

- Area permits may be issued for more than one injection well if the fol- lowing conditions are met:

  - All existing wells are described and located in the permit application;

  - All wells are within the same well field, project, reservoir or similar unit;

  - All wells are of similar construc- tion; and

  - All wells are operated by the same owner/operator.

- Area permits shall specify:

  - The area within which injection is authorized; and

  - The requirements for construc- tion, monitoring, reporting, operation and abandonment  for all  wells author- ized by the permit.

- Area permits can authorize the construction and operation of new wells within the permit area, if:

  - The permittee notifies the Re- gional Administrator in the annual re- port of when and where any new wells have or will be drilled;

  - The new wells meet the criteria outlined in paragraphs (a) and (b) of this section; and

  - The effects of the new wells were addressed in the permit application and approved by the Regional Adminis- trator.

##### § 147.2925   Standard permit conditions.

    - The permittee must comply with all permit conditions, except as author- ized by an emergency permit (described in § 147.2906). Noncompliance is grounds for permit modification, permit termi- nation  or  enforcement  action.

    - The permittee has a duty to halt or reduce activity in order to maintain compliance with permit conditions.

    - The permittee shall take all rea- sonable steps to mitigate any adverse environmental impact resulting from noncompliance.

    - The permittee shall properly op- erate and maintain all facilities in- stalled or used to meet permit condi- tions. Proper operation and mainte- nance also includes adequate operator staffing and training, adequate fund- ing, and adequate engineering capa- bility  available.

    - This permit may be modified or terminated for cause (see §§ 147.2927 and 147.2928). The filing of a request by the permittee for a permit modification or termination,  or  a  notification   of planned changes or anticipated non- compliance, does not stay any permit condition.

    - This permit does not convey any property rights, or any exclusive privilege.

    - The permittee shall furnish, with- in a reasonable time, information that the Regional Administrator requests, for determination of permit compli- ance, or if cause exists, for permit modification or termination.

    - The permittee shall allow EPA representatives, upon presentation of appropriate credentials or other docu- mentation,  to:

- Enter permittee’s premises where a regulated activity is conducted or lo- cated, or where records required by this permit are kept;

- Have access to and copy records required by this permit;

- Inspect any facilities, equipment, practices or operations regulated or re- quired by this permit; and

- Sample or monitor any substances or parameters at any location for pur- pose of assuring compliance with this permit or the SDWA.

  - Monitoring and records. (1) Samples and monitoring data shall be represent- ative  of  injection  activity.

- Permittee shall retain monitoring records for three years.

- Monitoring records shall include:

  - Date, exact place and time of sam- pling or measurement;

  - Individual(s) who preformed the measurements;

  - Date(s) analyses were performed;

  - Individual(s) who performed the analyses;

#### § 147.2926

  - Analytical techniques or methods used, including quality assurance tech- niques employed to insure the genera- tion of reliable data; and

  - Results of analyses.

      - Signatory requirements. All applica- tions, reports or information submitted to the Regional Administrator or the Osage UIC office must be signed by the injection facility owner/operator or his duly authorized representative. The person signing these documents must make the following certification:

‘‘I certify under penalty of law that I have personally examined and am familiar with the information submitted in this document and all attachments and that, based on my inquiry of those individuals immediately re- sponsible for obtaining the information, I be- lieve that the information is true, accurate, and complete. I am aware that there are sig- nificant penalties for submitting false infor- mation, including the possibility of fine and imprisonment.’’

      - Reporting requirements. (1) The permittee shall notify the Regional Ad- ministrator as soon as possible of any planned changes to the facility.

- The permittee shall give advance notice to the Regional  Administrator of any planned changes which may re- sult in noncompliance.

- This permit is not transferable to any person except after notice to the Regional Administrator  in  accordance with § 147.2926.

      - A new injection well shall not commence injection until construction is complete and the Regional Adminis- trator has been notified of completion of construction and has given his ap- proval to commence injection.

(The information collection requirements contained in paragraphs (g) and (i) were ap- proved by the Office of Management and Budget under control number 2040–0042)

##### § 147.2926   Permit transfers.

- Permits may be transferred to an- other permittee:

  - If the current permittee notifies the Regional Administrator at least 10 days before the proposed transfer date; and

  - If the notice includes a written agreement between the existing and new permittees containing:

#### 40 CFR Ch. I (7–1–17 Edition)

- A specific date for transfer of per- mit responsibility, coverage and liabil- ity; and

- Assurance that the new permittee has a surety bond on file with BIA; and

  - If the Regional Administrator does not respond with a notice to the existing permittee that the permit will be modified.

- If the conditions in paragraph (a) of this section are met, the transfer is effective on the date specified in para- graph (a)(2)(i) of this section.

##### § 147.2927   Permit modification.

- Permits may be modified for the following causes only (with the excep- tions listed in paragraph (b) of this sec- tion regarding minor modifications):

  - There are substantial changes to the facility or activity which occurred after permit issuance that justify re- vised or additional permit conditions.

  - The Regional Administrator has received information (e.g., from moni- toring reports, inspections) which war- rants a modified permit.

  - The regulations or standards on which the permit was based have changed.

  - The Regional Administrator has received notice of a proposed permit transfer.

  - An interested person requests in writing that a permit be modified, and the Regional Administrator determines that cause for modification exists.

  - Cause exists for  termination under § 147.2928, but the Regional Ad- ministrator determines that permit modification   is   appropriate.

- Minor modifications. (1) Minor modifications do not require that the procedures listed in paragraph (c) of this section be followed.

- Minor modifications consist of:

  - Correcting typographical errors;

  - Requiring more  frequent moni- toring or reporting;

  - Changing ownership or oper- ational control (see § 147.2926, Permit Transfers);  or

  - Changing quantities or types of injected fluids, provided:

    - The facility can operate within conditions of permit;

    - The facility classification would not change.

#### Environmental Protection Agency	§ 147.2929

- Modification procedures. (1) A draft permit shall be prepared with proposed modifications.

- The draft permit shall follow the general permitting procedures (i.e., public comment period, etc.) before a final decision is made.

- Only the changed conditions shall be addressed in the draft permit or pub- lic review.

##### § 147.2928   Permit termination.

- Permits may be terminated for the following causes only:

  - Noncompliance with any permit condition.

  - Misrepresentation or failure to fully disclose any relevant facts.

  - Determination that the permitted activity endangers human health or the environment.

  - Interested person requests in writ- ing that a permit be terminated  and the Regional Administrator determines that request is valid.

- Termination procedures. (1) The Re- gional Administrator shall issue notice of intent to terminate (which is a type of draft permit).

- Notice of intent to terminate shall follow the general permitting procedures (i.e., public comment pe- riod, etc.) before a final decision is made.

##### § 147.2929   Administrative	permitting procedures.

  - Completeness review. (1) The Re- gional Administrator shall review each permit application for completeness with  the  application  requirements  in

§ 147.2918. The review will be completed in 10 days, and the Regional Adminis- trator shall notify the applicant whether or not the application is com- plete.

- If the application is incomplete, the Regional Administrator shall:

  - List the additional information needed;

  - Specify a date by which the infor- mation must be submitted; and

  - Notify the applicant when the application is complete.

- After an application is determined complete, the Regional Administrator may request additional information to clarify  previously  submitted  informa-

tion. The application will still be con- sidered complete.

- If an applicant fails or refuses to correct deficiencies in the application, the permit may be denied and appro- priate enforcement actions taken.

  - Draft permits. (1) After an applica- tion is deemed complete, the Regional Administrator shall either prepare a draft permit or notice of intent to deny the permit (which is a type of draft permit). If the Regional Administrator later decides the tentative decision to deny was wrong, he shall withdraw the notice of intent to deny and prepare a draft permit.

- A draft permit shall contain at least the following information:

  - The standard permit conditions in

§ 147.2925;

  - Any monitoring and reporting re- quirements;

  - The construction and operation requirements; and

  - Plugging and abandonment re- quirements.

  - Statement of basis. (1) The Regional Administrator shall prepare a state- ment of basis for every draft permit.

- The statement of basis shall brief- ly describe the draft permit conditions and the reasons for them. In the case of a notice of intent to deny or terminate, the statement of basis shall give rea- sons to support the tentative decision.

- The statement of basis shall be sent to the applicant, and to any other person who requests a copy.

  - Public notice. (1)(i) The Regional Administrator shall give public notice when:

- A permit application has been tentatively denied;

- A draft permit has been prepared;

- A hearing has been scheduled; or

- An appeal has been granted.

- The applicant shall give public notice that he is submitting a permit application.

- Public notice is not required when a request for permit modification or termination is denied. However, written notice will be given to the per- mittee and the requester.

- Public notices may include more than one permit or action.

(2)(i) Public notice of a draft permit (including  notice  of  intent  to  deny)

#### § 147.2929

shall  allow  at  least  15  days  for  public comment.

(ii) Public notice of a  hearing  shall be given at least 30 days before the hearing.

(3)(i) Public notice given by the Re- gional Administrator for the reasons listed in paragraph (d)(1)(i) of this sec- tion shall  be mailed  to  the applicant, and published in a daily or weekly paper of general circulation in the af- fected area.

(ii) Notice of application submission required by paragraph (d)(1)(ii) of this section shall be given to the surface landowner, tenants on the land where an injection well is located or is pro- posed to be located, and to each oper- ator of a producing lease within one- half mile of the well location prior to submitting the application to the Re- gional Administrator.

- The notice of application submis- sion in paragraphs (d)(1)(ii) and (d)(3)(ii) of this section shall contain:

  - The applicant’s name and  address;

  - The legal location of the injec- tion well;

  - Nature of activity;

  - A statement that EPA will be preparing a draft permit and that there will be an opportunity for public com- ment; and

  - The name and phone number of EPA  contact  person.

- All other notices shall contain:

- The name, address, and phone number of the Osage UIC office and contact person for additional informa- tion and copies of the draft permit;

- Name and address of permit ap- plicant or permittee;

- Brief description of nature of ac- tivity;

- Brief description of comment pe- riod and comment procedures;

- Location of the information avail- able for public review; and

- In the case of a notice for a hear- ing the notice shall also include:

  - Date, time, and location of hear- ing;

  - Reference to date of previous no- tices of the same permit; and

  - Brief description of the purpose of the hearing, including rules and proce- dures.

  - Public comments. (1) During the public   comment   period,   any   person

#### 40 CFR Ch. I (7–1–17 Edition)

may submit written comments on the draft permit, and may request a public hearing. A request for hearing shall be in writing and state the issues pro- posed to be raised in the hearing.

- The Regional Administrator shall consider all comments when making the final decision, and shall respond to comments after the decision is made. The response shall:

  - Specify if any changes were made from the draft permit to the final per- mit decision, and why;

  - Briefly describe and respond to all significant comments on the draft permit made during the comment pe- riod, or hearing, if held; and

  - Be made available to the public.

  - Public hearings. (1) The Regional Administrator shall hold a public hear- ing whenever he finds a significant amount of public interest in a draft permit, based on the requests sub- mitted, or at his discretion.

- Any person may submit oral or written statements  and data  con- cerning the draft permit. The public comment period shall be automatically extended to the close of any public hearing held, or may be extended by the hearing officer at the hearing.

- A tape recording or written tran- script of the hearing shall be made available to the public.

  - Reopening  of  the  comment  period.

- If any of the information submitted during the public comment period raises substantial new questions about a permit, the Regional Administrator may:

  - Prepare a new draft permit;

  - Prepare a revised statement of basis; or

  - Reopen the comment period.

- Comments submitted during a re- opened comment period shall be lim- ited to the substantial new questions that caused its reopening.

- Public notice about any of the above actions shall be given and shall define the scope of the new questions raised.

  - Issuance and effective date of a per- mit. (1) After the close of the comment period on a draft permit, the Regional Administrator shall make a final per- mit decision. The Regional Adminis- trator  shall  notify  the  applicant  and

#### Environmental Protection Agency	§ 147.2929

each person who commented or re- quested to receive notice. The notice shall include reference to the proce- dures for appealing a permit decision.

- A final permit decision shall be- come effective 30 days after giving no- tice of the decision unless:

  - A later date is specified in the notice;

  - Review	is	requested	under

§ 147.2929(j); or

  - No comments requested a change in the draft permit, in which case the permit is effective immediately upon issuance.

- Stays of contested permit conditions. If a request for review of a final UIC permit § 147.2929(j) is granted, the effect of  the  contested  permit  conditions shall be stayed and shall not be subject to judicial review pending final agency action. If the permit involves a new in- jection well or project, the applicant shall be without a permit for the pro- posed well pending final agency action. Uncontested provisions which are not severable from those contested provi- sions shall be stayed with the  con- tested provisions.

- Appeal of permits. (1) Any person who filed comments on the draft per- mit or participated in the public hear- ing may petition the Administrator to review any condition of the permit de- cision. Any person who failed to file comments or participate in the hearing may petition for administrative review only to the extent of the changes from the preliminary permit to the final permit decision.

- A person may request review of a final permit decision within 30 days after a final permit decision has been issued. The 30-day period within which a person may request review begins with the service of notice of the Re- gional Administrator’s final permit de- cision unless a later date is specified in that  notice.

- The petition requesting review shall  include:

- A demonstration that  the  petition is eligible under the requirements of paragraph (j)(1) of this section; and, when appropriate,

- A showing that the condition in question is based on:

  - A finding of fact or conclusion of law that is clearly erroneous; or

  - An exercise of discretion or im- portant policy consideration which the Administrator, in his discretion, should review.

- The Administrator may also de- cide, on his initiative, to review any condition of any UIC permit issued under these requirements. The Admin- istrator must act under this paragraph within 30 days of the date notice was given of the Regional Administrator’s action.

- Within a reasonable time fol- lowing the filing of the petition for re- view, the Administrator shall issue an order either granting or denying the request. To the extent that review is denied, the conditions of the final per- mit decision become final agency ac- tion.

- Public notice shall be given by the Regional Administrator of any grant of a review petition by the Administrator. Notice shall be sent to the  applicant, the person requesting the review, ap- propriate persons on the Osage County mailing list and to newspapers of gen- eral circulation in the county. Included in the notice shall be a briefing sched- ule for the appeal and a statement that any interested person may file an ami- cus brief. Notice of denial of the review petition will be sent only to the per- son(s) requesting the review.

- A petition to the Administrator, under paragraphs (j) (1) and (2) of this section is a prerequisite to the seeking of judicial review of the final agency action. For purposes of judicial review, final agency action occurs when a final UIC permit is issued or denied by the Regional Administrator and agency re- view procedures are exhausted. A final permit decision shall be issued by the Regional Administrator:

  - When the Administrator issues no- tice to the parties involved that review has been denied;

  - When the Administrator issues a decision on the merits of the appeal and the decision does not include a re- mand of the proceedings; or

  - Upon the completion of the re- mand proceedings if the proceedings are remanded, unless the Administra- tor’s remand order specifically pro- vides that the appeal of the remand de- cision will be required to exhaust the administrative remedies.

#### § 147.3000

Subpart HHH—Lands of the Nav- ajo, Ute Mountain Ute, and All Other New Mexico Tribes

SOURCE:  53  FR  43104,  Oct.  25,  1988,  unless

otherwise noted.

##### § 147.3000   EPA-administered program.

    - Contents. The UIC program for Navajo Indian lands, except for Class II wells on Navajo Indian lands for which EPA has granted the Navajo Nation primacy for the SDWA Class II UIC program (as defined in § 147.3400), the Ute Mountain Ute (Class II  wells  only on Ute Mountain Ute lands in Colorado and all wells on  Ute  Mountain  Ute lands in Utah and New Mexico), and all wells on other Indian lands in New Mexico is administered by  EPA.  (The term ‘‘Indian  lands’’  is  defined  at  40 CFR 144.3.) The Navajo Indian lands are in the States of Arizona, New Mexico, and Utah; and the  Ute  Mountain  Ute lands are in Colorado, New Mexico and Utah. This program consists of the UIC program requirements of 40 CFR parts 124, 144, 146, 148, and additional require- ments  set  forth  in  the  remainder  of this subpart. The additions  and modi- fications of this subpart apply only  to the Indian lands described above. Injec- tion well owners  and  operators,  and EPA shall comply with these require- ments.

    - Effective date. The effective  date for the UIC program on these lands, ex- cept for Class II wells on Navajo Indian lands for which EPA has granted the Navajo Nation primacy for the SDWA Class  II  UIC  program  (as  defined  in

§ 147.3400),  is  November  25,  1988.

[53 FR 43104, Oct. 25, 1988, as amended at 56

FR 9422, Mar. 6, 1991; 73 FR 65565, Nov. 4, 2008]

##### § 147.3001   Definition.

Area of review. For  the  purposes  of this subpart, area of review means the area surrounding an injection well or project area described according to the criteria set forth in § 147.3009 of this subpart.

##### § 147.3002   Public  notice  of  permit  ac- tions.

An applicant shall give public notice of his intention to apply for a permit as follows:

#### 40 CFR Ch. I (7–1–17 Edition)

- Prior to submitting an applica- tion to the Director,  the  applicant shall give notice to each landowner, tenant, and operator of a producing lease within one-half mile of the well and to the affected Tribal Government. The notice shall include:

- Name and address of applicant;

- A brief description of the planned injection activities including well loca- tion, name and depth of the injection zone, maximum injection pressure and volume, and source and description of the fluid to be injected;

- Name, address, and phone number of the EPA contact person; and

- A statement that opportunity to comment will be announced to the pub- lic after EPA prepares a draft permit.

- In addition to the requirements of

§ 144.31(e) of this chapter, a permit ap- plicant  shall  submit  a  description  of the way the notice was given and the names and addresses  of  those  to  whom it  was  given.

- Upon written request and sup- porting documentation, the Director may waive the requirement in para- graph (a) of this section to give indi- vidual notice of intent to apply for per- mits in an area where it would be im- practical. However, notice to the af- fected Tribal government shall not be waived.

- The Director shall also provide to the affected Tribal government all no- tices given to State governments under

§ 124.10(c) of this chapter.

##### § 147.3003   Aquifer exemptions.

- Aquifer exemptions in connection with Class II wells. In  accordance  with

§ 144.7(b) and § 146.4 of this chapter, the portions of authorized injection  zones into which existing Class II wells are currently injecting which are  described in appendix A  are  hereby  exempted. The exempted aquifers are defined by a one-quarter mile radius from the exist- ing injection well. The exemption in- cludes the intended injection zone only and is  solely for  the purpose  of Class  II injection.

- Class III wells. In addition to the requirements of § 144.7(c)(1) of this chapter, an applicant for a uranium mining permit which necessitates an aquifer exemption shall submit a plug- ging and abandonment plan containing

#### Environmental Protection Agency	§ 147.3007

an aquifer cleanup plan, acceptable to the Director, describing the methods or techniques that will be used to  meet the standards of § 147.3011. The cleanup plan shall include an analysis of pre-in- jection water quality for the constitu- ents required by the Director. The Di- rector shall consider the  cleanup  plan in addition to the other information re- quired   for   permit   applications   under

§§ 144.31(e) and 146.34 of this chapter.

##### § 147.3004 Duration of rule authoriza- tion for existing Class I and III wells.

Notwithstanding § 144.21(a)(3)(i)(B) of this chapter, authorization by rule for existing Class I and III  wells  will  expire 90 days after the effective date of  this UIC program unless a complete permit application has been submitted to the Director.

##### § 147.3005 Radioactive waste injection wells.

Notwithstanding §§ 144.24 and 146.51(b) of this chapter, owners  and   operators of wells used to dispose of radioactive waste (as defined in 10 CFR part 20, ap- pendix B, table  II,  but  not  including high level and transuranic waste and spent nuclear fuel covered by 40 CFR part 191) shall comply with the permit- ting requirements pertaining to Class I wells in parts 124, 144 and 146 of this chapter, as modified and supplemented by  this  subpart.

##### § 147.3006 Injection pressure for exist- ing Class II wells authorized by rule.

  - Rule-authorized Class II saltwater disposal wells. In addition to the re- quirements of § 144.28(f)(3)(ii) of this chapter, the owner or operator shall, except during well stimulation, use an injection pressure measured at the wellhead that is not greater than the pressure calculated by using the fol- lowing   formula:

Pm = 0.2d

where:

Pm = injection pressure at the wellhead in pounds per square inch

d = depth in feet to the top of the injection zone.

Owners and operators shall comply with   this   requirement   no   later   than

one year after the effective date of this program.

  - Rule-authorized Class II enhanced recovery and hydrocarbon storage wells.

- In addition to the requirements of

§ 144.28(f)(3)(ii) of this chapter, owners and operators shall use an injection pressure no greater than the pressure established by the Director  for  the  field or formation in which the well is lo- cated.   The   Director   shall   establish such maximum pressure after notice (including notice to the affected Tribe), opportunity for comment, and oppor- tunity  for  public  hearing  according  to the provisions of part 124, subpart A, of this chapter,  and  shall  inform  owners and operators and the affected Tribe in writing of the applicable maximum pressure; or

- An owner or operator may inject at a pressure greater than that speci- fied in paragraph (b)(1) of this section for the field or formation in which he is operating after demonstrating in writ- ing to the satisfaction of the Director that such injection pressure will not violate	the	requirements	of

§ 144.28(f)(3)(ii) of this chapter. The Di- rector may grant such a request after notice (including notice to the affected Tribe), opportunity for comment and opportunity for a public hearing ac- cording to the provisions of part 124, subpart  A  of  this  chapter.

- Prior to the time that the  Direc- tor establishes rules for maximum in- jection pressure under paragraph (b)(1) of this section the owner or operator shall:

- Limit injection pressure  to  a value which will not exceed the oper- ating requirements of § 144.28(f)(3)(ii); and

- Submit data acceptable to the Di- rector which defines the fracture pres- sure of the formation in which injec- tion is  taking  place.  A  single  submis- sion may be made on behalf of two or more operators conducting operations in the same field and formation, if the Director approves. The data shall be submitted to the Director within one year of the effective date of this pro- gram.

##### § 147.3007   Application for a permit.

- Notwithstanding the require- ments of § 144.31(c)(1)  of this chapter,

#### § 147.3008

the owner or operator of an existing Class I or III well shall submit a com- plete permit application no later than

90  days  after  the  effective  date  of  the program.

- The topographic map (or other map if a topographic map is unavail- able) required by § 144.31(e)(7) of this chapter, shall extend two miles from Class II wells, and 21⁄2  miles from Class I and III wells. These  maps  will  show all the information listed in paragraph 144.31(e)(7) within 1⁄2 mile for Class II wells and 21⁄2  miles for Class I and III wells.

##### § 147.3008   Criteria  for  aquifer  exemp- tions.

The  aquifer  exemption  criterion  in

§ 146.4(c)  of  this  chapter  shall  not  be available for this program.

##### § 147.3009   Area of review.

The area of review shall be defined as follows:

- Class II wells. The area  of  review for Class II permits and area permits shall be defined by a fixed radius as de- scribed in § 146.6(b) (1) and (2) of this chapter except that the radius shall be one-half   mile.

- Class I and III wells. The area of review for Class I and III wells are well fields which may be either:

  - An area defined by a radius two and one-half miles from the well or well field; or

  - An area one-quarter mile from the well or well field where the well field production at the times exceeds injec- tion to produce a net withdrawal; or

  - A suitable distance, not less than one-quarter mile, proposed by the owner or operator and approved by the Director based upon a mathematical calculation   such   as   that   found   in

§ 146.6(a)(2) of this chapter.

##### § 147.3010   Mechanical integrity tests.

The monitoring of annulus pressure listed in § 146.8(b)(1) of this chapter will only be acceptable if preceded by a pressure test, using liquid or gas that clearly demonstrates that mechanical integrity exists at the time of the pres- sure test.

#### 40 CFR Ch. I (7–1–17 Edition)

##### § 147.3011   Plugging  and  abandonment of Class III wells.

To	meet	the	requirements	of

§ 146.10(d) of this chapter, owners and operators of Class III uranium projects underlying or in aquifers  containing  up to 5,000  mg/l TDS which have been ex- empted under § 146.4 of this  chapter shall:

- Include in the required plugging and abandonment plan a plan for aqui- fer clean-up and monitoring which demonstrates adequate protection of surrounding  USDWs.

  - The Director shall include in each such permit for a Class III uranium project the concentrations of contami- nants to which aquifers must be cleaned up in order to protect sur- rounding USDWs.

  - The concentrations will be set as close as is feasible to the original con- ditions.

- When requesting permission to plug a well, owners and operators shall submit for  the  Director’s approval  a schedule for the proposed aquifer cleanup, in addition to the information required by § 146.34(c).

- Cleanup and monitoring shall be continued until the owner or operator certifies that no constituent listed in the permit exceeds the concentrations required by the permit, and the Direc- tor notifies the permittee in writing that cleanup activity may be termi- nated.

##### § 147.3012   Construction    requirements for Class I wells.

In addition to the cementing require- ment of § 146.12(b) of this chapter, own- ers and operators of Class I wells shall, through circulation, cement all  casing to the surface.

##### § 147.3013   Information   to   be   consid- ered for Class I wells.

- In addition to the information listed in § 146.14(a) of this chapter, the Director shall consider the following prior to issuing any Class I permit:

- Expected pressure changes, native fluid displacement, and direction of movement of the injected fluid; and

- Methods to be used for sampling, and for measurement and  calculation of flow.

#### Environmental Protection Agency	Pt. 147, Subpt. HHH, App. A

- In addition to  the  information listed in § 146.14(b) of this chapter, the Director  shall  consider  any   informa- tion required under § 146.14(a) of this chapter (as supplemented by this sub- part) that has been gathered during construction.

##### § 147.3014   Construction    requirements for Class III wells.

- In addition to the requirements of

§ 146.32(c)(3) of this chapter, radio- logical characteristics of the formation fluids shall be provided to the Director.

- In addition to the requirements of

§ 146.32(e) of this chapter, the Director may require monitoring wells to be completed into USDWs below the injec- tion zone if those USDWs may be af- fected by mining operations.

##### § 147.3015   Information   to   be   consid- ered for Class III wells.

- In addition to the requirements of

§ 146.34(a) of this chapter, the following information shall be considered by the Director:

  - Proposed construction procedures, including a cementing and casing pro- gram, logging procedures, deviation checks, and a drilling, testing and cor- ing program.

  - Depth to the proposed injection zone, and a chemical, physical and ra- diological analysis of the ground water in  the  proposed  injection  zone  suffi-

cient to  define  pre-injection  water quality as required for aquifer  cleanup by § 147.3011 of this subpart.

  - An aquifer cleanup  plan  if  re- quired by § 147.3003(b) of this subpart.

  - Any additional information that may be necessary to demonstrate that cleanup will reduce the level of con- taminants in the surrounding USDWs as close as feasible to the original con- ditions.

- In addition to the requirements of

§ 146.34(b) of this chapter, the Director shall  consider  any  information  re- quired under § 146.34(a) of this chapter (as supplemented by this subpart) that has  been  gathered  during  construction.

##### § 147.3016   Criteria  and  standards  ap- plicable to Class V wells.

In addition to the criteria and stand- ards applicable to Class  V  wells  set forth in subpart F of part 146 of this chapter, owners and operators of wells that do not fall within the Class IV category but that are used to dispose of radioactive wastes (as defined in 10 CFR part 20, appendix B, table II, col- umn 2, but not including high level and transuranic wastes and spent nuclear fuel covered by 40 CFR part 191) shall comply with all  of the requirements applicable to Class I injection  wells  in 40 CFR parts 124, 144 and 146 as supple- mented by this subpart.

APPENDIX A TO SUBPART HHH OF PART 147—EXEMPTED AQUIFERS IN NEW MEXICO

The areas described by a one-quarter mile radius around the following Class II wells in the listed formations are exempted for the purpose of Class II injection.

Sec.	Well

No.

Arco Oil & Gas Co.—Operator/Horseshoe Gallup—Field/Gallup—Formation

| SE/NE .............................................................................. | 5 | T30N | R16W | 1650FNL | 330FEL | 134 |
| --- | --- | --- | --- | --- | --- | --- |
| NW/NW ............................................................................ | 30 | T31N | R16W | 660FNL | 703FWL | 8 |
| SE/SW .............................................................................. | 28 | T31N | R16W | 790FSL | 2150FWL | 167 |
| NW/SE ............................................................................. | 33 | T31N | R16W | 1710FSL | 2310FEL | 199 |
| SE/NW ............................................................................. | 35 | T31N | R16W | 2105FNL | 2105FWL | 196 |
| NW/NW ............................................................................ | 4 | T30N | R16W | 455FNL | 4435FEL | 219 |
| NW/SW ............................................................................ | 33 | T31N | R16W | 1980FSL | 386FWL | 65 |
| NW/SE ............................................................................. | 27 | T31N | R16W | 1980FSL | 2080FEL | 164 |
| SE/SE ............................................................................... | 30 | T31N | R16W | 660FSL | 660FEL | 5 |
| NW/NW ............................................................................ | 34 | T31N | R16W | 730FNL | 515FWL | 180 |
| NW/NE ............................................................................. | 34 | T31N | R16W | 813FNL | 2036FEL | 182 |
| NW/NE ............................................................................. | 2 | T30N | R16W | 720FNL | 2040FEL | 229 |
| NW/NW ............................................................................ | 29 | T31N | R16W | 660FNL | 660FWL | 24 |
| NW/SW ............................................................................ | 13 | T31N | R17W | 1975FSL | 670FWL | 77 |
| NW/SE ............................................................................. | 29 | T31N | R16W | 1980FSL | 1980FEL | 22 |
| SE/SW .............................................................................. | 27 | T31N | R16W | 660FSL | 1980FWL | 171 |
| NW/SW ............................................................................ | 35 | T31N | R16W | 1980FSL | 660FWL | 205 |
| SE/NW ............................................................................. | 30 | T31N | R16W | 1980FNL | 2061FWL | 7 |

#### Pt. 147, Subpt. HHH, App. A

40 CFR Ch. I (7–1–17 Edition)

Sec.	Well

No.

| NW/NE ............................................................................. | 31 | T31N | R16W | 660FNL | 1980FEL | 17 |
| --- | --- | --- | --- | --- | --- | --- |
| NW/NE ............................................................................. | 4 | T30N | R16W | 330FNL | 2160FEL | 221 |
| NW/NE ............................................................................. | 29 | T31N | R16W | 660FNL | 1980FEL | 26 |
| SE/NE .............................................................................. | 34 | T31N | R16W | 1990FNL | 645FEL | 194 |
| SE/SE ............................................................................... | 31 | T31N | R16W | 640FSL | 660FEL | 27 |
| NE/SW ............................................................................. | 14 | T31N | R17W | 2250FSL | 2630FWL | 94 |
| NE/NW ............................................................................. | 14 | T31N | R17W | 625FNL | 1995FWI, | 69 |
| SE/NW ............................................................................. | 10 | T30N | R16W | 1900FNL | 2080FWL | 271 |
| SE/SE ............................................................................... | 29 | T31N | R16W | 560FSL |  | 21 |
| SE/NE .............................................................................. | 30 | T31N | R16W | 1980FNL | 660FEL | 10 |
| SE/NW ............................................................................. | 29 | T31N | R16W | 2080FNL | 1980FWL | 23 |
| NW/SE ............................................................................. | 25 | T31N | R17W | 1980FSL | 1980FEL | 122 |
| SE/SW .............................................................................. | 32 | T31N | R16W | 660FSL | 1980FWL | 14 |
| NW/SW ............................................................................ | 30 | T31N | R16W | 2021FSL | 742FWL | 19 |
| SE/SW .............................................................................. | 13 | T31N | R17W | 660FSL | 1980FWL | 82 |
| NW/NW ............................................................................ | 27 | T31N | R16W | 520FNL | 660FWL | 150 |
| SE/SE ............................................................................... | 28 | T31N | R16W | 660FSL | 660FEL | 169 |
| NW/SW ............................................................................ | 29 | T31N | R16W | 1980FSL | 660FWL | 11 |
| SE/NW ............................................................................. | 34 | T31N | R16W | 2310FNL | 1650FWL | 192 |
| SE/NW ............................................................................. | 29 | T31N | R16W | 660FSL | 1980FWL | 12 |
| NW/SW ............................................................................ | 27 | T31N | R16W | 1650FSL | 330FWL | 162 |
| NE/SE .............................................................................. | 23 | T31N | R17W | 1880FSL | 340FEL | 96 |
| NW/SW ............................................................................ | 24 | T31N | R17W | 2050FSL | 990FWL | 97 |
| SE/NW ............................................................................. | 4 | T30N | R16W | 2060FNL | 1710FWL | 232 |
| NW/NW ............................................................................ | 31 | T31N | R16W | 620FNL | 701FWL | 30 |
| NW/SE ............................................................................. | 35 | T31N | R16W | 1980FSL | 1980FEL | 207 |
| SE/NE .............................................................................. | 32 | T31N | R16W | 1980FNL | 417FEL | 20 |
| NE/NW ............................................................................. | 28 | T31N | R16W | 1980FNL | 1980FEL | 152 |
| NE/NW ............................................................................. | 34 | T31N | R16W | 2140FSL | 735FWL | 201 |
| SE/NW ............................................................................. | 3 | T30N | R16W | 2310FNL | 1640FWL | 236 |
| SE/SW .............................................................................. | 34 | T31N | R16W | 660FSL | 1980FWL | 213 |
| NW/NE ............................................................................. | 30 | T31N | R16W | 660FNL | 1980FFL | 9 |
| SE/SW .............................................................................. | 26 | T31N | R16W | 660FSL | 1980FWL | 175 |
| NW/SE ............................................................................. | 30 | T31N | R16W | 1980FSL | 1980FEL | 6 |
| SE/NW ............................................................................. | 9 | T30N | R16W | 1650FNL | 2131FWL | 264 |
| NW/SW ............................................................................ | 4 | T30N | R16W | 2310FSL | 4390FEL | 242 |
| NW/SW ............................................................................ | 2 | T30N | R16W | 1980FSL | 660FWL | 250 |
| NW/NW ............................................................................ | 33 | T31N | R16W | 660FNL | 386FWL | 66 |
| NE/NE .............................................................................. | 15 | T31N | R17W | 660FNL | 660FEL | 67 |
| NW/NE ............................................................................. | 33 | T31N | R16W | 660FNL | 1980FEL | 178 |
| NW/SE ............................................................................. | 24 | T31N | R17W | 1875FSL | 1900FEL | 99 |
| NW/NE ............................................................................. | 28 | T31N | R16W | 660FNL | 1980FEL | 148 |
| NW/NW ............................................................................ | 19 | T31N | R16W | 680FNL | 682FWL | 89 |
| NW/SE ............................................................................. | 4 | T30N | R16W | 1820FSL | 2130FEL | 244 |
| SE/SW .............................................................................. | 20 | T31N | R16W | 660FSL | 1980FWL | 115 |
| NW/NE ............................................................................. | 25 | T31N | R17W | 660FNL | 1980FEL | 118 |
| SE/SW .............................................................................. | 4 | T30N | R16W | 660FSL | 3300FEL | 253 |
| NW/SW ............................................................................ | 19 | T31N | R16W | 1980FSL | 706FWL | 101 |
| NW/SE ............................................................................. | 32 | T31N | R16W | 1950FSL | 1980FEL | 22 |
| NW/NW ............................................................................ | 35 | T31N | R16W | 605FNL | 690FWL | 184 |
| SE/NE .............................................................................. | 29 | T31N | R16W | 1980FNL | 417FEL | 25 |
| SE/NW ............................................................................. | 19 | T31N | R16W | 1980FNL | 2023FWL | 95 |
| NW/NW ............................................................................ | 32 | T31N | R16W | 660FNL | 660FWL | 4 |
| SE/SW .............................................................................. | 24 | T31N | R17W | 660FSL | 3300FEL | 107 |
| SE/NE .............................................................................. | 28 | T31N | R16W | 2105FNL | 940FEL | 154 |
| NW/NE ............................................................................. | 35 | T31N | R16W | 610FNL | 2000FEL | 186 |
| SE/SW .............................................................................. | 5 | T31N | R16W | 990FSL | 2310FWL | 139 |
| NW/SE ............................................................................. | 28 | T31N | R16W | 1980FSL | 1980FEL | 160 |
| SE/SE ............................................................................... | 33 | T31N | R16W | 330FSL | 990FEL | 211 |
| NW/NE ............................................................................. | 5 | T30N | R16W | 330FNL | 1650FEL | 128 |
| SE/NW ............................................................................. | 27 | T31N | R16W | 1900FNL | 2050FWL | 156 |
| SE/SW .............................................................................. | 35 | T31N | R16W | 660FSL | 1980FWL | 217 |
| NW/NW ............................................................................ | 10 | T30N | R16W | 526FNL | 330FWL | 265 |
| NE/SW ............................................................................. | 21 | T31N | R16W | 1880FSL | 1980FWL | 143 |
| NW/NE ............................................................................. | 24 | T31N | R17W | 409FNL | 1914FEL | 87 |
| NW/SW ............................................................................ | 32 | T31N | R16W | 1980FSL | 660FWL | 15 |
| SE/SE ............................................................................... | 34 | T31N | R16W | 960FSL | 910FEL | 215 |
| SW/SE .............................................................................. | 21 | T31N | R16W | 820FSL | 1820FEL | 145 |
| SE/SE ............................................................................... | 27 | T31N | R16W | 610FSL | 640FEL | 173 |
| NW/SW ............................................................................ | 3 | T30N | R16W | 1920FSL | 350FWL | 246 |
| SE/SW .............................................................................. | 19 | T31N | R16W | 601FSL | 2002FWL | 111 |
| SW/SE .............................................................................. | 14 | T31N | R17W | 330FSL | 1900FEL | 79 |
| NW/NW ............................................................................ | 27 | T31N | R16W | 520FNL | 660FWL | 150 |

#### Environmental Protection Agency	Pt. 147, Subpt. HHH, App. A

Sec.	Well

No.

| SE/NW ............................................................................. | 31 | T31N | R16W | 1724FNL | 2067FWL | 29 |
| --- | --- | --- | --- | --- | --- | --- |
| NW/NE ............................................................................. | 32 | T31N | R16W | 660FNL | 1980FEL | 13 |
| SE/NE .............................................................................. | 24 | T31N | R17W | 1998FNL | 702FEL | 93 |
| NW/NW ............................................................................ | 5 | T30N | R16W | 660FNL | 660FWL | 126 |
| NW/SW ............................................................................ | 28 | T31N | R16W | 1740FSL | 590FWL | 158 |
| SE/NE .............................................................................. | 31 | T31N | R16W | 1980FNL | 660FEL | 16 |
| NW/NW ............................................................................ | 24 | T31N | R17W | 660FNL | 760FWL | 85 |
| Energy Reserve Backup Inc.—Operator/Horseshoe Gallup—Field/Gallup—Formation |
| SE/SE ............................................................................... | 5 | T31N | R17W | 660FSL | 660FEL | 4 |
| NE/SW ............................................................................. | 10 | T30N | R16W | 1970FSL | 2210FWL | 31 |
| SE/NW ............................................................................. | 11 | T30N | R16W | 2090FNL | 2190FWI | 29 |
| SE/SE ............................................................................... | 10 | T30N | R16W | 700FSL | 500FEL | 37 |
| Solar Petroelum Inc.—Operator/Horseshoe—Field/Gallup—Formation |
| SW/SE .............................................................................. | 11 | T31N | R17W | 736FSL | 2045FEL | 205 |
| SE/NE .............................................................................. | 9 | T31N | R17W | 1980FNL | 660FEL | 122 |
| NW/SE ............................................................................. | 4 | T31N | R17W | 1980FSL | 1980FFL | 127 |
| NE/NE .............................................................................. | 10 | T31N | R17W | 660FNL | 660FEL | 136 |
| SE/SW .............................................................................. | 4 | T31N | R17W | 660FSL | 1980FWL | 125 |
| SW/NW ............................................................................ | 11 | T31N | R17W | 2300FNL | 660FWL | 206 |
| NW/SW ............................................................................ | 4 | T31N | R17W | 1980FSL | 660FWL | 103 |
| SE/NW ............................................................................. | 4 | T31N | R17W | 1989FNL | 1980FWL | 128 |
| NW/NW ............................................................................ | 4 | T31N | R17W | 660FNL | 660FWL | 101 |
| SW/NE ............................................................................. | 10 | T31N | R17W | 1980FNL | 1980FEL | 117 |
| SW/NW ............................................................................ | 10 | T31N | R17W | 1980FNL | 660FWL | 108 |
| SW/SW ............................................................................. | 10 | T31N | R17W | 660FSL | 660FWL | 114 |
| SW/SE .............................................................................. | 3 | T31N | R17W | 330FSL | 2310FEL | 143 |
| SE/NE .............................................................................. | 5 | T31N | R17W | 1980FNL | 660FEL | 302 |
| NE/NE .............................................................................. | 5 | T31N | R17W | 1950FNL | 1050FEL | 307 |
| SE/SE ............................................................................... | 9 | T31N | R17W | 990FSL | 850FEL | 140 |
| NE/NW ............................................................................. | 10 | T31N | R17W | 660FNL | 1980FWL | 118 |
| SW/SW ............................................................................. | 11 | T31N | R17W | 660FSL | 660FWL | 204 |
| NW/SE ............................................................................. | 9 | T31N | R17W | 1980FSL | 1980FEL | 115 |
| SW/SE .............................................................................. | 10 | T31N | R17W | 990FSL | 1980FEL | 144 |
| NW/NE ............................................................................. | 9 | T31N | R17W | 660FNL | 1980FEL | 123 |
| NE/SW ............................................................................. | 10 | T31N | R17W | 1980FSL | 1980FWL | 109 |
| NE/SW ............................................................................. | 11 | T31N | R17W | 1980FSL | 1980FWL | 203 |
| SE/NW ............................................................................. | 9 | T31N | R17W | 1980FNL | 1980FWL | 134 |
| NW/SW ............................................................................ | 3 | T31N | R17W | 1980FSL | 660FWL | 132 |
| SW/SW ............................................................................. | 3 | T31N | R17W | 560FSL | 660FWL | 110 |
| NW/NW ............................................................................ | 9 | T31N | R16W | 660FNL | 660FWL | 133 |
| SE/SE ............................................................................... | 4 | T31N | R17W | 660FSL | 660FEL | 124 |

WTR Oil Co.—Operator/Horseshoe Gallup—Field/Gallup—Formation

NE/SW  .............................................................................	33	T32N   R17W	1980FSL	1989FWL	2

Arco Oil & Gas Co.—Operator/Many Rocks Gallup—Field/Gallup—Formation

| NW/NW ............................................................................ | 7 | T31N | R16W | 898FNL | 500FWL | 2 |
| --- | --- | --- | --- | --- | --- | --- |
| SW/NE ............................................................................. | 17 | T31N | R16W | 1673FNL | 1789FEL | 21 |
| NW/SE ............................................................................. | 17 | T31N | R16W | 1890FSL | 2150FEL | 23 |
| SW/NE ............................................................................. | 7 | T31N | R16W | 2310FNL | 2310FEL | 6 |
| NE/SW ............................................................................. | 8 | T31N | R16W | 1650FSL | 1650FWL | 12 |
| NE/NW ............................................................................. | 17 | T31N | R16W | 660FNL | 2030FWL | 18 |
| NE/NE .............................................................................. | 18 | T31N | R16W | 360FNL | 855FEL | 16 |
| SE/SW .............................................................................. | 7 | T31N | R16W | 716FSL | 2185FWL | 13 |
| SE/SE ............................................................................... | 17 | T31N | R16W | 660FSL | 660FEL | 26 |
| NE/SW ............................................................................. | 17 | T31N | R16W | 2040FSL | 2070FWL | 22 |
| SW/SW ............................................................................. | 6 | T31N | R16W | 330FSL | 330FWL | 1 |
| SW/NW ............................................................................ | 17 | T31N | R16W | 2073FNL | 641FWL | 19 |
| NW/SW ............................................................................ | 17 | T31N | R16W | 1967FSL | 981FWL | 8 |
| James P. Woosley—Operator/Many Rocks Gallup—Field/Gallup—Formation |
| NW/NE ............................................................................. | 20 | T32N | R17W | 330FNL | 2310FEL | 13 |
| SW/SW ............................................................................. | 27 | T32N | R17W | 660FSL | 990FWL | 1 |
| SW/NW ............................................................................ | 17 | T32N | R17W | 2310FWL | 330FWL | 4 |
| SW/NW ............................................................................ | 27 | T32N | R17W | 260FWL | 1360FNL | 11 |
| NE/SW ............................................................................. | 27 | T32N | R17W | 1980FSL | 1980FWL | 6 |
| NE/SE .............................................................................. | 18 | T32N | R17W | 2474FSL | 133FEL | 18 |

#### § 147.3100

40 CFR Ch. I (7–1–17 Edition)

Sec.	Well

No.

| SW/SE .............................................................................. | 27 | T32N R17W | 625FNL | 2000FEL | 3 |
| --- | --- | --- | --- | --- | --- |
| NE/SE .............................................................................. | 28 | T32N R17W | 1980FSL | 330FEL | 12 |
| Solar Petroleum Inc.—Operator/Many Rocks Gallup—Field/Gallup—Formation |
| SE/NW ............................................................................. | 1 | T31N | R17W | 1980FNL | 1980FWL | 216 |
| NW/NE ............................................................................. | 2 | T31N | R17W | 805FNL | 940FEL | 215 |
| SE/NE .............................................................................. | 2 | T31N | R17W | 1980FNL | 660FEL | 218 |
| NW/SW ............................................................................ | 1 | T31N | R17W | 2310FSL | 990FNL | 223 |
| SE/NE .............................................................................. | 12 | T31N | R17W | 1820FNL | 500FEL | 217 |
| WTR Oil Co.—Operator/Many Rocks Gallup—Field/Gallup—Formation |
| NW/NW ............................................................................ | 35 | T32N | R17W | 810FNL | 510FWL | 11 |
| SE/SE ............................................................................... | 35 | T32N | R17W | 660FSL | 660FEL | 6 |
| SE/NE .............................................................................. | 34 | T32N | R17W | 775FEL | 1980FNL | 8 |
| SE/NW ............................................................................. | 35 | T32N | R16W | 1980FNL | 1980FWL | 9 |
| NW/SE ............................................................................. | 35 | T32N | R17W | 1980FSL | 1980FEL | 7 |
| Chaco Oil Co.—Operator/Red Mtn Meseverde—Field/Menefee—Formation |
| NE/NE .............................................................................. | 29 | T20N R9W | 395FNL | 1265FEL | 6 |
| SE/SW .............................................................................. | 20 | T20N R9W | 442FSL | 2430FWL | 17 |
| Geo Engineering Inc.—Operator/Red Mtn Meseverde—Field/Menefee—Formation |
| NW/NE ............................................................................. | 29 | T20N | R9W | 160FNL | 2135FEL | 35 |
| NE/NE .............................................................................. | 29 | T20N | R9W | 225FNL | 1265FEL | 7 |
| SE/NW ............................................................................. | 29 | T20N | R9W | 1344FNL | 2555FWL | 20 |
| NW/NE ............................................................................. | 29 | T20N | R9W | 615FNL | 1920FEL | 5 |
| NE/NW ............................................................................. | 29 | T20N | R9W | 834FNL | 2113FWL | 21 |
| SW/SE .............................................................................. | 20 | T20N | R9W | 265FSL | 2150FEL | 36 |
| NE/NE .............................................................................. | 29 | T20N | R9W | 5FNL | 1130FEL | 8 |
| SE/SE ............................................................................... | 20 | T20N | R9W | 450FSL | 1145FEL | 24 |
| SE/SE ............................................................................... | 20 | T20N | R9W | 990FSL | 1280FEL | 10 |
| NW/NE ............................................................................. | 29 | T20N | R9W | 1115FNL | 2325FEL | 22 |
| SE/SE ............................................................................... | 20 | T20N | R9W | 1085FSL | 860FEL | 12 |
| Tesoro Petroleum Co.—Operator/S. Hospah Lower Sand—Field/Hospah—Formation |
| NW/SE ............................................................................. | 6 | T17N | R8W | 2310FSL | 2310FEL | 28 |
| SW/SE .............................................................................. | 6 | T17N | R8W | 990FSL | 2310FFL | 34 |
| SW/SW ............................................................................. | 6 | T17N | R8W | 5FSL | 20FWL | 18 |
| SE/SW .............................................................................. | 6 | T17N | R8W | 5FSL | 2635FWL | 20 |

# Subpart III—Lands of Certain Oklahoma Indian Tribes

SOURCE:  53  FR  43109,  Oct.  25,  1988,  unless

otherwise noted.

##### § 147.3100   EPA-administered program.

- Contents. The UIC program for the Indian lands in  Oklahoma,  except  for that covering the Class II wells of the Five  Civilized  Tribes,  is   administered by EPA. The UIC program  for  all  wells on Indian lands in Oklahoma,  except Class II wells on the Osage Mineral Re- serve (found at 40 CFR part 147, Sub- part GGG) and the Class II  program  for the  Five  Civilized  Tribes,  consists  of the UIC program  requirements  of  40 CFR parts 124, 144, 146, 148, and addi- tional  requirements  set  forth  in  the  re-

mainder of this subpart. Injection well owners and operators, and EPA shall comply with these requirements.

- Effective date. The effective date for the UIC program for all wells on In- dian lands except Class II wells on the Osage Mineral Reserve and Class  II wells on the lands of the Five Civilized Tribes is November 25, 1988.

[53 FR 43109, Oct. 25, 1988, as amended at 56

FR 9422, Mar. 6, 1991]

##### § 147.3101   Public  notice  of  permit  ac- tions.

- In addition to the notice require- ments of § 124.10 of this chapter, the Di- rector shall  provide  to  the  affected Tribal government all notices given  to an    affected    State    government    under

§ 124.10(c) of this chapter.

Environmental Protection Agency	§ 147.3106

- Class I and III wells. In addition  to the notice requirements of § 124.10 of this   chapter:

  - Owners and operators of Class I and III wells shall notify the affected Tribal government prior to submitting an application for a permit, shall pub- lish such notice in at least two news- papers of general circulation in the area of the proposed well, and shall broadcast notice over at least one local radio station.

  - The Director shall publish a no- tice of availability of a draft permit in at least two newspapers of general cir- culation in the area of the proposed well, and broadcast notice over at least one local radio station. The public no- tice shall allow at least 45 days for pub- lic comment.

- Class II wells. In addition to the notice requirements of § 124.10 of this chapter:

  - Owners and operators of Class II wells shall give notice of application for a permit to the affected Tribal gov- ernment prior to submitting the appli- cation to the Director.

  - In addition to the public notice re- quired    for    each    action    listed    in

§ 124.10(a) of this chapter, the Director shall also publish notice in a daily or weekly newspaper of general  circula- tion in the affected area for actions concerning  Class  II  wells.

##### § 147.3102   Plugging  and  abandonment plans.

In    lieu    of    the    requirements    of

§ 144.28(c)(1) and (2) (i)–(iii) of this chap- ter, owners and operators  of  Class  II wells shall  comply  with  the  plugging and        abandonment        provisions        of

§ 147.3108 of this subpart.

##### § 147.3103   Fluid seals.

Notwithstanding §§ 144.28(f)(2) and 146.12(c) of this chapter, owners and op- erators shall not use a fluid seal as an alternative  to  a  packer.

##### § 147.3104   Notice of abandonment.

    - In addition to the notice  required by § 144.28(j)(2) of this chapter, the owner or operator  shall  at  the  same time submit plugging information in conformance with § 147.3108 of this sub- part   including:

      - Type and number of  plugs;

      - Elevation of top and bottom of each plug;

      - Method of plug placement; and

      - Type, grade and quantity of ce- ment to be used.

    - In addition  to the  permit condi- tions specified in §§ 144.51 and 144.52 of this chapter, each owner and operator shall submit and each permit shall con- tain the following information (in con- formance with § 146.3108 of this sub- part):

      - Type and number of plugs;

      - Elevation of top and bottom of each plug;

      - Method of plug placement; and

      - Type, grade and quantity of ce- ment to be used.

##### § 147.3105   Plugging  and  abandonment report.

        - In lieu of the time periods for sub- mitting a plugging report in § 144.28(k) of this chapter, owners  and  operators of Class I and III wells shall submit the report within 15 days of plugging the well and owners or operators of Class II wells within 30 days of plugging, or at the time of the next required oper- ational report (whichever is less.) If the required operational report is due less than 15 days following completion of plugging,  then  the  plugging  report shall be submitted within 30 days for Class II wells and 15 days for Class  I and III wells.

        - In addition to the requirement of

§ 144.28(k)(1) of this chapter, owners and operators of  Class  II  wells  shall  include a statement that the  well  was  plugged in accordance with § 146.10 of this chap- ter and § 147.3109 of this subpart, and, if the  actual   plugging   differed,   specify the  actual  procedures  used.

        - The schedule upon which reports of plugging must be submitted are changed from those in § 144.51(o) to those specified in paragraph (a) of this section.

##### § 147.3106   Area of review.

- When determining the area of re- view under § 146.6(b) of this chapter, the fixed radius shall be no less than one mile for Class I wells and one-half mile for Class II and III wells. In the case of an application for an area permit, de- termination of the area of review under

§ 146.6(b)  shall  be  a  fixed  width  of  not

#### § 147.3107

less than one mile for the circum- scribing area of Class I projects and one-half mile for the circumscribing area of Class II and III projects.

- However, in lieu of § 146.6(c) of this chapter, if the area of review is de- termined by a mathematical model pursuant to paragraph § 146.6(a) of this chapter, the permissible radius is the result of such calculation even if it  is less than one mile for Class I wells and one-half for Class II and III wells.

##### § 147.3107   Mechanical integrity.

- Monitoring of annulus  pressure conducted pursuant to § 146.8(b)(1) shall be preceded by an initial pressure test. A positive gauge pressure on the cas- ing/tubing annulus (filled with liquid) shall be maintained continuously. The pressure shall be monitored monthly.

- Pressure tests conducted pursuant to § 146.8(b)(2) of this chapter shall be performed with a pressure on the cas- ing/tubing annulus of at least 200 p.s.i. unless otherwise specified by the Direc- tor. In addition, pressure tests con- ducted during  well operation shall maintain an injection/annulus pressure differential of at least 100 p.s.i. throughout  the  tubing  length.

- Monitoring of enhanced recovery wells	conducted	pursuant	to

§ 146.8(b)(3), must be preceded by an ini- tial  pressure  test  that  was   conducted no more than 90 days prior to the com- mencement  of  monitoring.

##### § 147.3108   Plugging Class I, II, and III wells.

In  addition  to  the  requirements  of

§ 146.10 of this chapter, owners and op- erators shall comply with the following when plugging a well:

- For Class I and III wells:

  - The well shall be filled with mud from the bottom of the well to  a  point one hundred (100) feet below the top of the highest  disposal  or  injection  zone and then with a  cement  plug  from there to at least one hundred (100) feet above the top of the disposal or injec- tion  zone.

  - A cement plug shall also be set from a  point at  least fifty  (50) feet below the shoe of the surface casing to a point at least five (5) feet above the top of the lowest USDW.

#### 40 CFR Ch. I (7–1–17 Edition)

  - A final cement plug shall extend from a point at least thirty feet below the ground surface to a point five (5) feet below the ground surface.

  - All intervals between plugs shall be filled with mud.

  - The top plug shall clearly show by permanent markings inscribed in the cement or on a steel plate embedded in the cement the well permit number and date of plugging.

- For Class II wells:

  - The well shall be kept full of mud as casing is removed. No surface casing shall be removed without written ap- proval from the Director.

  - If surface casing is adequately set and cemented through all  USDWs  (set to at least 50 feet below the base of the USDW), a plug shall be set at least 50 feet below the shoe of the casing and extending at least 50 feet above the shoe of the casing; or

  - If the surface casing and cement- ing is inadequate, the well bore shall be filled with cement from a point at least 50 feet below the base of the USDW to a point at least 50 feet above the shoe of the surface casing, and any addi- tional plugs as required by the Direc- tor.

  - In all cases, the top 20 feet of the well bore below 3 feet of ground surface shall be filled with cement. Surface casing shall be cut off 3 feet below ground surface and covered with a se- cure steel cap on top of the surface pipe. The remaining 3  feet  shall  be filled with dirt.

  - Except as provided in sub-para- graph (b)(6) of this section, each pro- ducing or receiving formation shall be sealed off with at least a 50-foot ce- ment plug placed at the base of the for- mation and at least a 50-foot cement plug placed at the top of the formation.

  - The requirement in sub-paragraph (b)(5) of this section does not  apply  if the producing/receiving formation is already sealed off from the well bore with adequate casing and cementing behind casing, and casing is not to be removed, or the only openings from the producing/receiving formation into the well bore are perforations in the cas- ing, and the annulus between the  cas- ing and the outer walls of the well is filled with cement for a distance of  50 feet   above   the   top   of   the   formation.

#### Environmental Protection Agency	§ 147.3400

When such conditions exist, a bridge plug capped with at least 10 feet of ce- ment set at the top of the producing formation may be used.

  - When specified by the Director, any uncased hole below the shoe of any casing to be left in the well shall be filled with  cement  to  a  depth  of  at least 50 feet below the casing shoe, or the bottom of the hole, and the casing above the shoe shall be filled with ce- ment to at least 50 feet above the shoe of the casing. If  the  well  has  a  screen or liner which is not to be removed, the well bore shall be filled with cement from the base of the screen or liner to at least 50 feet above the top of the screen or liner.

  - All intervals between cement plugs in the well bore must be filled with mud.

- For the purposes of this section mud shall be defined as: mud of not less than thirty-six (36) viscosity (API Full Funnel Method) and a weight of not less than nine (9) pounds per gallon.

##### § 147.3109 Timing of mechanical integ- rity test.

The demonstrations  of mechanical integrity required by  § 146.14(b)(2)  of this chapter prior to approval for the operation of a Class I well shall, for an existing well, be conducted  no  more than  90  days  prior  to  application   for the permit and the results included  in the permit application. The owner or operator shall notify the  Director  at least seven days in advance of the  time and date of the test so that EPA ob- servers may be present.

# Subpart JJJ—Assiniboine and Sioux Tribes

##### § 147.3200 Fort Peck Indian Reserva- tion: Assiniboine & Sioux Tribes— Class II wells.

The UIC program for Class II injec- tion wells on all lands within the  exte- rior boundaries of the Fort Peck Indian Reservation is the program adminis- tered  by  the  Assiniboine  and   Sioux (Fort Peck) Tribes approved by EPA pursuant to section 1425 of the SDWA. Notice of this approval  was  published in  the  FEDERAL  REGISTER  on   October 27, 2008; the effective date of this pro- gram  is  November  26,  2008.  This  pro-

gram consists of the following ele- ments as submitted to EPA in the Fort Peck Tribes’ program application:

- Incorporation by reference. The re- quirements set forth in the Fort Peck Tribes’ Statutes, Regulations, and Res- olutions notebook, dated June 2008, are hereby incorporated by reference and made part of the applicable UIC pro- gram  under  the  SDWA  for  the  Fort Peck Indian Reservation. This incorpo- ration by reference was approved by the Director of the Federal Register in accordance with 5 U.S.C. 552(a) and 1 CFR part 51. Copies may be obtained or inspected  at  the  Fort  Peck  Tribal  Of- fices, 605 Indian Avenue, Poplar, Mon- tana 59255, (406) 768–5155, at the Envi- ronmental  Protection  Agency,  Region 8, 1595 Wynkoop Street, Denver, Colo- rado 80202–1129, (800) 227–8917, or at the National Archives and Records Admin- istration  (NARA).  For  information  on the   availability   of   this   material   at NARA,  call  (202)  741–6030.

- Memorandum of Agreement (MOA). The MOA between EPA and the Fort Peck Tribes signed by EPA on July 31, 2007.

- Statements of legal authority. Let- ters to EPA from Sonosky, Chambers, Sachse, Endreson & Perry, dated Sep- tember 4, 2003 (attaching a June 17, 2002 letter), March 27, 2001, July 19, 1999, March 13, 1995, March 16, 1994, Novem- ber 4, 1992, July 14, 1989, and April 13, 1989, and letters submitted as part of the  Fort  Peck  Tribes’  application.

- Program Description. The Program Description submitted as part of the Fort Peck Tribes’ application, and any other materials submitted as part of the application or as a supplement to it.

[73 FR 63646, Oct. 27, 2008]

# Subpart KKK [Reserved]

Subpart LLL—Navajo Indian Lands

##### § 147.3400   Navajo  Indian  lands—Class II wells.

The UIC program for Class II injec- tion wells located: Within the exterior

Pt. 148

boundaries of the formal Navajo Res- ervation, including the three satellite reservations (Alamo, Canoncito and Ramah), but excluding the former Ben- nett Freeze Area,  the  Four  Corners Power Plant and the Navajo  Gener- ating Station; and on Navajo Nation tribal trust lands and trust allotments outside those exterior boundaries (col- lectively referred to as ‘‘Navajo Indian lands for which EPA has granted the Navajo Nation primacy for the  SDWA Class II UIC program’’), is the program administered by the Navajo Nation ap- proved by EPA pursuant to section 1425 of the  SDWA.  Notice  of  this  approval was  published  in  the   FEDERAL   REG- ISTER on November 4, 2008; the effective date of this program is  December  4, 2008. This program consists of the fol- lowing  elements  as  submitted   to   EPA in the Navajo Nation’s program appli- cation:

  - Incorporation by reference. The re- quirements set forth in the Navajo Na- tion Statutes, Regulations and  Resolu- tion notebook, dated October 2008, are hereby incorporated by reference and made part of the  applicable  UIC  pro- gram under the SDWA for Class II in- jection  wells  on  Navajo  Indian  lands for which EPA has granted the Navajo Nation primacy for the SDWA Class II UIC program (as defined  in  this  sec- tion). This incorporation  by  reference was approved by the Director of the Federal  Register  in  accordance  with  5

U.S.C. 552(a) and 1 CFR part 51. Copies may be obtained or inspected at the Navajo Nation Environmental Protec- tion Agency UIC Office,  Old  NAPA Auto    Parts    Building    (Tribal    Bldg.

#S009–080), Highway 64, Shiprock, New Mexico 87420 (505–368–1040), at the Envi- ronmental  Protection  Agency,  Region 9, 75  Hawthorne Street, San Francisco,

California 94105–3920 (415–972–3533), or at the National Archives and Records Ad- ministration (NARA). For information on  the  availability  of  this  material  at NARA,  call  (202)  741–6030.

  - Memorandum of Agreement (MOA). The MOA between EPA Region 9  and the Navajo Nation, signed by the EPA Regional Administrator on August 21, 2001.   The   Criminal   Enforcement   MOA

#### 40 CFR Ch. I (7–1–17 Edition)

between EPA Region 9 and the Navajo Nation, signed by EPA on October 30, 2006.

  - Statement of legal authority. (1) ‘‘Statement of the Attorney General of the Navajo Nation Pursuant to 40 CFR 145.24’’, August 27, 2001.

- ‘‘Statement of the Attorney Gen- eral of the Navajo Nation Regarding the Regulatory Authority and Jurisdic- tion of the Navajo Nation with Respect To Its  Underground Injection  Control Program’’, July 3, 2002.

- ‘‘Supplemental Statement of the Navajo Nation Attorney General Re- garding the Regulatory Authority and Jurisdiction of the Navajo Nation to Operate an Underground Injection Con- trol Program under the Safe Drinking Water Act’’, October 11, 2006.

  - Program Description. The Program Description submitted as part of the Navajo Nation’s application, and any other materials submitted as part of this application or as a supplement thereto.

[73 FR 65565, Nov. 4, 2008]

# PART 148—HAZARDOUS WASTE INJECTION RESTRICTIONS

##### Subpart A—General

Sec.

  - Purpose, scope and applicability.

  - Definitions.

  - Dilution prohibited as a substitute for treatment.

  - Procedures for case-by-case extensions to an effective date.

  - Waste analysis.

##### Subpart B—Prohibitions on Injection

  - Waste   specific   prohibitions—solvent wastes.

  - Waste   specific   prohibitions—dioxin- containing  wastes.

  - Waste	specific	prohibitions—Cali- fornia list wastes.

  - Waste	specific	prohibitions—first third wastes.

  - Waste   specific   prohibitions—second third wastes.

  - Waste     specific     prohibitions—third third wastes.

  - Waste    specific    prohibitions;    newly listed wastes.

  - Waste	specific	prohibitions-newly listed and identified wastes.

Environmental Protection Agency	§ 148.10

##### Subpart C—Petition Standards and Procedures

  - Petitions    to    allow    injection    of    a waste prohibited under subpart B.

  - Information to be submitted in sup- port of petitions.

  - Requirements    for    petition    submis- sion, review and approval or denial.

  - Review of exemptions granted pursu- ant to a petition.

  - Termination of approved petition.

AUTHORITY:  Secs.  3004,  Resource  Conserva- tion and Recovery Act, 42 U.S.C. 6901 et seq.

SOURCE: 53 FR 28154, July 26, 1988, unless

otherwise noted.

# Subpart A—General

##### § 148.1   Purpose,   scope   and   applica- bility.

- This part identifies wastes that are restricted from disposal into Class I wells and defines those circumstances under which a waste, otherwise prohib- ited from injection, may be injected.

- The requirements of this part apply to owners or operators of Class I hazardous waste injection wells used to inject hazardous waste.

- Wastes otherwise prohibited from injection  may  continue  to  be  injected:

  - If an extension from the effective date of a prohibition has been granted pursuant to § 148.4 with respect to such wastes; or

  - If an exemption  from  a  prohibi- tion has been granted in response to a petition filed under § 148.20 to allow in- jection of restricted wastes with  re- spect to those wastes and wells covered by  the  exemption;  or

  - If the waste is generated by a con- ditionally exempt small quantity gen- erator, as defined in § 261.5; or

- Wastes that are hazardous only because they exhibit a hazardous char- acteristic, and which are otherwise prohibited under this part, or part 268 of this chapter, are not prohibited  if the wastes:

  - Are disposed into a nonhazardous or hazardous injection well as defined under 40 CFR § 146.6(a); and

  - Do not exhibit any prohibited characteristic of hazardous waste iden-

tified in 40 CFR part 261, subpart C at the point of injection.

[53 FR 28154, July 26, 1988, as amended at 55

FR  22683,  June  1,  1990;  57  FR  8088,  Mar.  6,

1992; 57 FR 31763, July 20, 1992; 60 FR 33932,

June 29, 1995; 61 FR 15596, Apr. 8, 1996; 61 FR

33682, June 28, 1996]

##### § 148.2   Definitions.

Injection interval means that part of the injection zone in which the well is screened, or in which the waste is oth- erwise directly emplaced.

Transmissive fault or fracture is a fault or fracture that has sufficient perme- ability and  vertical  extent to  allow fluids to move between formations.

##### § 148.3   Dilution  prohibited  as  a  sub- stitute for treatment.

The prohibition of § 268.3  shall  apply to owners or operators of Class I haz- ardous  waste  injection  wells.

##### § 148.4   Procedures for case-by-case ex- tensions to an effective date.

The owner or operator of a Class I hazardous waste injection well may submit an application to the Adminis- trator for an extension of the effective date of any applicable prohibition es- tablished under subpart B of this part according to the procedures of § 268.5.

##### § 148.5   Waste analysis.

Generators of hazardous wastes that are disposed of into  Class  I  injection wells must comply with the applicable requirements of § 268.7 (a) and (b). Own- ers or operators of Class I hazardous waste   injection   wells   must   comply with    the    applicable    requirements    of

§ 268.7(c).

# Subpart B—Prohibitions on Injection

##### § 148.10   Waste  specific  prohibitions— solvent wastes.

    - Effective August 8, 1988, the spent solvent wastes specified in § 261.31 as EPA Hazardous Waste Nos. F001, F002, F003, F004, and F005  are  prohibited from underground injection unless the solvent waste is  a  solvent-water  mix- ture or solvent-containing sludge con- taining less than 1 percent total F001– F005 solvent constituents  listed  in Table  A  of  this  section.

§ 148.11

    - Effective August 8, 1990, all spent F001–F005 solvent wastes containing less than 1 percent total F001–F005 sol- vent constituents listed in Table A of this section are prohibited from injec- tion.

    - Effective August 8, 1990, all spent F002 and F005 wastes containing sol- vent constituents listed in Table B of this section are prohibited from under- ground injection at off-site injection facilities.

    - Effective November 8, 1990, the wastes specified in paragraph (c) of this section are prohibited from under- ground injection at on-site injection facilities.

    - The  requirements  of  paragraphs

- and (b) of this section do not apply:

  - If the wastes meet or are treated to meet the applicable standards speci- fied in subpart D of part 268; or

  - If an exemption from a prohibi- tion has been granted in response to a petition under subpart C of  this  part; or

  - During the period of extension of the applicable effective date, if an ex- tension has been granted  under  § 148.4 of  this  part.

TABLE A

Acetone

n-Butyl alcohol Carbon disulfide Carbon tetrachloride Chlorobenzene

Cresols and cresylic acid Cyclohexanone

1,2-dichlorobenzene Ethyl  acetate Ethyl benzene Ethyl ether Isobutanol Methanol Methylene chloride

Methylene    chloride    (from    the    pharma- ceutical industry)

Methyl ethyl ketone Methyl isobutyl ketone Nitrobenzene

Pyridine Tetrachloroethylene Toulene

1,1,1-Trichloroethane

1,2,2-Trichloro-1,2,2-trifluoroethane Trichloroethylene Trichlorofluoromethane

Xylene

TABLE B

Benzene

2-Ethoxyethanol

#### 40 CFR Ch. I (7–1–17 Edition)

2-Nitropropane

1,1,2-Trichloroethane

[53 FR 28154, July 26, 1988, as amended at 54

FR 25422,  June 14,  1989;  56  FR 3876,  Jan. 31,

1991; 57 FR 8088, Mar. 6, 1992]

##### § 148.11   Waste  specific  prohibitions— dioxin-containing wastes.

- Effective August 8, 1988, the dioxin-containing   wastes   specified   in

§ 261.31  as  EPA  Hazardous  Waste  Nos. F020, F021, F022, F023, F026, F027, and

F028, and prohibited from underground injection.

- The requirements of paragraph (a) of this section do not apply:

  - If the wastes meet or are treated to meet the applicable standards speci- fied in subpart D of part 268; or

  - If an exemption from a prohibi- tion has been granted in response to a petition under subpart C of  this  part; or

  - During the period of extension of the applicable effective date, if an ex- tension has been granted  under  § 148.4 of  this  part.

[53 FR 28154, July 26, 1988, as amended at 54

FR 25422, June 14, 1989]

##### § 148.12   Waste  specific  prohibitions— California list wastes.

    - Effective August 8, 1988, the haz- ardous wastes listed in 40 CFR 268.32 containing    polychlorinated     biphenyls at concentrations greater than  or  equal to 50 ppm or halogenated organic com- pounds  at  concentrations  greater   than or equal to 10,000 mg/kg are prohibited from  underground  injection.

    - Effective August 8, 1990, the fol- lowing hazardous wastes are prohibited from  underground  injection:

      - Liquid hazardous wastes, includ- ing free liquids associated with any solid or sludge, containing free cyanides at concentrations  greater than or equal to 1,000 mg/l;

      - Liquid hazardous wastes, includ- ing free liquids associated with any solid or sludge, containing the fol- lowing metals (or elements) or com- pounds of these metals (or elements) at concentrations greater than or equal to those specified below:

        - Arsenic and/or compounds (as As) 500 mg/l;

        - Cadmium and/or compounds (as Cd) 100 mg/l;

#### Environmental Protection Agency	§ 148.14

        - Chromium (VI) and/or com- pounds (as Cr VI) 500 mg/l;

        - Lead and/or compounds  (as  Pb) 500 mg/l;

        - Mercury  and/or  compounds  (as Hg) 20 mg/l;

        - Nickel and/or compounds (as Ni) 134 mg/l;

        - Selenium and/or compounds (as Se) 100 mg/l; and

        - Thallium and/or compounds (as Tl) 130 mg/l;

      - Liquid hazardous waste having a pH less than or equal to two (2.0); and

      - Hazardous wastes containing halo- genated organic compounds in total concentration less than  10,000  mg/kg but greater than or equal to  1,000  mg/ kg.

    - The  requirements  of  paragraphs

- and (b) of this section do not apply:

  - If the wastes meet or are treated to meet the applicable standards speci- fied in subpart D of part 268; or

  - If an exemption from a prohibi- tion has been granted in response to a petition under subpart C of  this  part; or

  - During the period of extension of the applicable effective date, if an ex- tension is granted under § 148.4 of this part.

[53 FR 30918, Aug. 16, 1988, as amended at 53

FR 41602, Oct. 24, 1988]

##### § 148.14   Waste  specific  prohibitions— first third wastes.

    - Effective June 7, 1989, the wastes specified in 40 CFR 261.31 as EPA Haz- ardous	Waste	numbers	F006 (nonwastewaters) and the wastes speci- fied in 40 CFR 261.32 as EPA Hazardous Waste	numbers		K001,	K015 (wastewaters), K016 (at concentrations greater than or equal to  1%),  K018, K019, K020, K021 (nonwastewaters gen- erated by the process described in the waste listing description and disposed after August 17, 1988, and not generated in the course of treating wastewater forms of these wastes), K022 (nonwastewaters), K024, K030, K036 (nonwastewaters generated by the process described in the waste listing description and  disposed  after  August 17, 1988, and not generated in the course of treating wastewater forms of these wastes), K037, K044, K045, non- explosive K046 (nonwastewaters), K047,

K048, K060 (nonwastewaters generated by the process described in the waste listing description and disposed after August 17, 1988, and not generated in the course of  treating  wastewater forms of these wastes), K061 (nonwastewaters), noncalcium sulfate K069 (nonwastewaters generated by the process described in the waste listing description and disposed after August 17, 1988, and not generated in the course of treating wastewater forms of these wastes), K086 solvent washes, K087, K099, K101 (all wastewaters and less than 1% total arsenic nonwastewaters), K102 (all wastewaters and less than 1% total arsenic nonwastewaters), and K103 are prohib- ited from underground injection.

    - Effective June 8, 1989, the waste specified in 40 CFR 261.32 as EPA Haz- ardous	Waste	number	K036 (wastewaters); and the wastes  specified in 40 CFR 261.33 as P030, P039, P041, P063, P071, P089, P094, P097, U221, and U223 are prohibited from underground injection.

    - Effective July 8, 1989, the wastes specified in 40 CFR 261.31 as EPA Haz- ardous Waste numbers F008 and F009 are prohibited from underground injec- tion.

    - Effective  August  8,  1990,  the wastes specified  in  40  CFR  261.31  as EPA Hazardous Waste Number F006 (wastewaters) and  F019;  the wastes specified in 40 CFR 261.32 as EPA Haz- ardous Waste Numbers K004, K008, K015 (nonwastewaters),		K017,		K021 (wastewaters),   K022   (wastewaters), K031,	K035,	K046	(reactive nonwastewaters and all wastewaters), K060 (wastewaters), K061 (wastewaters), K069  (calcium  sulfate  nonwastewaters and all wastewaters), K073, K083, K084, K085,  K086  (all  but  solvent   washes), K101  (high  arsenic  nonwastewaters), K102   (high   arsenic   nonwastewaters), and K106; and the wastes specified in 40 CFR part  261.33  as  EPA  Hazardous Waste Numbers P001, P004, P005, P010, P011, P012, P015, P016, P018, P020, P036, P037, P048, P050, P058, P059, P068, P069, P070, P081, P082, P084, P087, P092, P102, P105, P108, P110, P115, P120, P122, P123, U007, U009, U010, U012, U016, U018, U019, U022, U029, U031, U036, U037, U041, U043, U044, U046, U050, U051, U053, U061, U063, U064, U066, U067, U074, U077, U078, U086,

#### § 148.15

U089, U103, U105, U108, U115, U122, U124, U129, U130, U133, U134, U137, U151, U154, U155, U157, U158, U159, U171, U177, U180, U185, U188, U192, U200, U209, U210, U211, U219, U220, U226, U227, U228, U237, U238,

U248, and U249 are prohibited from un- derground injection at off-site  injec- tion   facilities.

    - Effective August 8, 1990, the wastes specified in 40 CFR 261.32 as EPA Hazardous Waste numbers K049, K050, K051, K052, K062, K071, and K104 are prohibited from underground injec- tion.

    - Effective November 8, 1990, the wastes specified in paragraph (d) of this section are prohibited from under- ground injection at on-site injection facilities.

    - Effective June 7, 1991, the wastes specified in 40 CFR 261.32 as EPA Haz- ardous Waste numbers K016 (at con- centrations less than 1%) are prohib- ited from underground injection.

    - Effective June 8, 1991, the waste specified in 40 CFR 261.31 as EPA Haz- ardous Waste number F007; and the wastes specified in 40 CFR 261.32 as K011 (nonwastewaters) and K013 (nonwastewaters) are prohibited from underground   injection.

    - Effective May 8, 1992, the wastes specified in 40 CFR 261.32 and 261.33 as EPA Hazardous Waste Numbers K011 (wastewaters), K013 (wastewaters), and K014 are prohibited from underground injection.

    - The  requirements  of  paragraphs

- through (i) of this section do not apply:

  - If the wastes meet or are treated to meet the applicable standards speci- fied in subpart D of part 268; or

  - If an exemption from a prohibi- tion has been granted in response to a petition under subpart C of  this  part; or

  - During the period of extension of the applicable effective date, if an ex- tension has been granted  under  § 148.4 of  this  part.

[54 FR 25423, June 14, 1989, as amended at 54

FR 26647, June 23,  1989;  54 FR 35328,  Aug. 25,

1989; 55 FR 22683, June 1, 1990]

##### § 148.15   Waste  specific  prohibitions— second third wastes.

    - Effective June 7, 1989, the wastes specified in 40 CFR 261.32 as EPA Haz-

#### 40 CFR Ch. I (7–1–17 Edition)

ardous	Waste	numbers	K025 (nonwastewaters generated by the process described in the waste listing description and disposed after August 17, 1988, and not generated in the course of treating wastewater forms of these wastes) are prohibited from un- derground  injection.

    - Effective June 8, 1989, the wastes specified in 40 CFR 261.31 as EPA Haz- ardous Waste numbers F010,  F024; the wastes specified in 40 CFR  261.32  as K009 (nonwastewaters),  K010,  K027, K028, K029  (nonwastewaters),  K038, K039,	K040,	K043,	K095 (nonwastewaters),		K096 (nonwastewaters), K113,  K114,  K115, K116; and wastes specified in 40 CFR 261.33 as P029, P040, P043, P044, P062, P074, P085, P098, P104, P106, P111, U028, U058, U107, and U235 are  prohibited from    underground    injection.

    - Effective July 8, 1989, and con- tinuing until December 8, 1989, the wastes specified in 40 CFR 261.31 as EPA Hazardous Waste numbers F011 and F012 are prohibited from under- ground injection pursuant to the treat- ment standards specified in §§ 268.41 and

268.43 applicable to F007, F008, and F009 wastewaters and nonwastewaters. Ef- fective December 8, 1989, F011 (nonwastewaters)	and	F012 (nonwastewaters) are prohibited pursu- ant to  the  treatment  standards  speci- fied in §§ 268.41 and 268.43 applicable to F011 and F012 wastewaters and nonwastewaters.

    - Effective August 8, 1990, the wastes specified in 40 CFR 261.32 as EPA Hazardous Waste Number K025 (wastewaters), K029  (wastewaters), K041, K042, K095 (wastewaters), K096 (wastewaters), K097,  K098, and  K105; and the wastes specified in 40 CFR part 261.33 as P002, P003, P007, P008, P014, P026, P027, P049, P054, P057, P060, P066, P067, P072, P107, P112, P113, P114, U002, U003, U005, U008, U011, U014, U015, U020, U021, U023, U025, U026, U032, U035, U047, U049, U057, U059, U060, U062, U070, U073, U080, U083, U092, U093, U094, U095, U097, U098, U099, U101, U106, U109, U110, U111, U114, U116, U119, U127, U128, U131, U135, U138, U140, U142, U143, U144, U146, U147, U149, U150, U161, U162, U163, U164, U165, U168, U169, U170, U172, U173, U174, U176, U178, U179, U189, U193, U196, U203, U205, U206, U208, U213, U214, U215, U216, U217,

#### Environmental Protection Agency	§ 148.16

U218, U239, and U244 are prohibited from underground injection at off-site injection    facilities.

    - Effective June 8, 1991, the waste specified in 40 CFR 261.32 as EPA Haz- ardous	Waste	number	K009 (wastewaters) is prohibited from under- ground   injection.

    - Effective November 8, 1990, the wastes specified in paragraph (d) of this section are prohibited from under- ground injection at on-site injection facilities.

    - The  requirements  of  paragraphs

- through (f) of this section do not apply:

  - If the wastes meet or are treated to meet the applicable standards speci- fied in subpart D of part 268; or

  - If an exemption from a prohibi- tion has been granted in response to a petition under subpart C of  this  part; or

  - During the period of extension of the applicable effective date, if an ex- tension has been granted  under  § 148.4 of  this  part.

[54 FR 25423, June 14, 1989, as amended at 54

FR  26647,  June  23,  1989;  55  FR  22683,  June  1,

1990]

##### § 148.16   Waste  specific  prohibitions— third third wastes.

    - Effective June 7, 1989, the wastes specified in 40 CFR 261.32 as EPA Haz- ardous	Waste	numbers	K100 (nonwastewaters generated by the process described in the waste listing description and  disposed  after  August 17, 1988, and not generated in the course of treating wastewater forms of these wastes) are prohibited from un- derground   injection.

    - Effective June 8, 1989, the wastes specified in 40 CFR 261.32 as EPA Haz- ardous	Waste	numbers	K005 (nonwastewaters),		K007 (nonwastewaters), K023, K093, K094; and the wastes specified in 40 CFR 261.33 as P013, P021, P099, P109, P121, U069, U087, U088, U102, and U190 are  prohibited from  underground  injection.

    - Effective August 8, 1990, the wastes identified in 40 CFR 261.31 as EPA Hazardous Waste Number F039 (nonwastewaters); the wastes specified in 40 CFR 261.32 as EPA  Hazardous Waste Numbers K002, K003, K005 (wastewaters),	K006,	K007

(wastewaters), K026, K032, K033, K034, and K100 (wastewaters); the wastes specified in 40 CFR 261.33 as P006, P009, P017, P022, P023, P024, P028, P031, P033, P034, P038, P042, P045, P046, P047, P051, P056, P064, P065, P073, P075, P076, P077, P078, P088, P093, P095, P096, P101, P103, P116, P118, P119, U001, U004, U006, U017, U024, U027, U030, U033, U034, U038, U039, U042, U045, U048, U052, U055, U056, U068, U071, U072, U075, U076, U079, U081, U082, U084, U085, U090, U091, U096, U112, U113, U117, U118, U120, U121, U123, U125, U126, U132, U136, U141, U145, U148, U152, U153, U156, U160, U166, U167, U181, U182, U183, U184, U186, U187, U191, U194, U197, U201, U202, U204, U207, U222, U225, U234, U236,

U240, U243, U246, and U247; and the wastes identified in 40 CFR 261.21, 261.23 or 261.24 as hazardous based on a char- acteristic alone, designated  as  D001, D004,      D005,      D006,      D008,      D009

(wastewaters), D010, D011, D012, D013, D014, D015, D016, D017, and newly listed waste F025 are prohibited from under- ground injection at off-site injection facilities.

    - Effective August 8, 1990, mixed ra- dioactive/hazardous waste in 40 CFR 268.10, 268.11, and 268.12, that are mixed radioactive and hazardous wastes, are prohibited  from  underground  injection.

    - Effective November 8, 1990, the wastes specified in paragraph (c) of this section are prohibited from under- ground injection at on-site injection facilities. These effective dates do not apply to the wastes listed in 40 CFR 148.12(b) which are prohibited from un- derground injection on August 8, 1990.

    - Effective May 8, 1992, the waste identified in 40 CFR 261.31 as EPA Haz- ardous	Waste	Number	F039 (wastewaters); the wastes identified in 40 CFR 261.22, 261.23 or 261.24 as haz- ardous based on a characteristic alone, designated as D002 (wastewaters and nonwastewaters),  D003  (wastewaters and	nonwastewaters),	D007 (wastewaters and nonwastewaters), and D009 (nonwastewaters) are prohibited from underground injection. These ef- fective dates do not apply to the wastes listed in 40 CFR 148.12(b) which are pro- hibited from underground injection on August 8, 1990.

    - The  requirements  of  paragraphs

- through (f) of this section do not apply:

#### § 148.17

  - If the wastes meet or are treated to meet the applicable standards speci- fied in subpart D of part 268; or

  - If an exemption from a prohibi- tion has been granted in response to a petition under subpart C of  this  part; or

  - During the period of extension of the applicable effective date, if an ex- tension has been granted  under  § 148.4 of  this  part.

[54 FR 25423, June 14, 1989, as amended at 54

FR  26647,  June  23,  1989;  55  FR  22683,  June  1,

1990;  55  FR  33694,  Aug.  17,  1990;  56  FR  3876,

Jan. 31, 1991]

##### § 148.17   Waste    specific    prohibitions; newly listed wastes.

    - Effective November 9, 1992, the wastes specified in 40 CFR part 261 as EPA hazardous waste numbers F037, F038, K107, K108, K109, K110, K111, K112, K117, K118, K123, K124, K125, K126, K131, K136, U328, U353, and U359 are prohib- ited  from  underground  injection.

    - Effective December 19, 1994 the wastes specified in 40 CFR 261.32 as EPA Hazardous waste numbers K141, K142, K143, K144, K145, K147, K148, K149, K150, and K151, are prohibited from un- derground  injection.

    - [Reserved]

    - Effective June 30, 1995, the wastes specified in 40 CFR part 261 as EPA Hazardous waste numbers K117, K118, K131, and K132 are prohibited from un- derground  injection.

    - The  requirements  of  paragraphs

- and (b) of this section do not apply:

  - If the wastes meet or are treated to meet the applicable standards speci- fied in subpart D of part 268; or

  - If an exemption from a prohibi- tion has been granted in response to a petition under subpart C of  this  part; or

  - During the period of extension of the applicable effective date, if an ex- tension has been granted  under  § 148.4 of  this  part.

[57 FR 37263, Aug. 18, 1992, as amended at 59

FR  48041,  Sept.  19,  1994;  61  FR  15662,  Apr.  8,

1996]

##### § 148.18   Waste  specific  prohibitions— newly listed and identified wastes.

- Effective August 24, 1998, all newly identified D004–D011 wastes and characteristic        mineral        processing

#### 40 CFR Ch. I (7–1–17 Edition)

wastes, except those identified in para- graph (b) of this section, are prohibited from underground injection.

- Effective May 26, 2000, char- acteristic hazardous wastes from tita- nium dioxide mineral processing, and radioactive wastes mixed with newly identified D004–D011 or mixed with newly identified characteristic mineral processing wastes, are prohibited from underground injection.

- Effective August 11, 1997, the wastes specified in 40 CFR part 261 as EPA Hazardous waste numbers F032, F034, F035 are prohibited from under- ground  injection.

- Effective May 12, 1999, the wastes specified in 40 CFR part 261 as EPA Hazardous waste numbers F032, F034, F035 that are mixed with radioactive wastes are prohibited from under- ground  injection.

- On July 8, 1996, the wastes speci- fied in 40 CFR 261.32 as EPA Hazardous waste numbers K156–K161, P127, P128, P185, P188–P192, P194, P196–P199, P201– P205, U271, U277–U280, U364–U367, U372, U373, U375–U379, U381–387, U389–U396, U400–U404, U407, and U409–U411 are pro- hibited   from   underground   injection.

- On January 8, 1997, the wastes specified in 40 CFR 261.32 as EPA Haz- ardous waste number K088 is prohibited from underground injection.

- On April 8, 1998, the wastes speci- fied in 40 CFR part 261 as EPA Haz- ardous waste numbers D018–043, and Mixed TC/Radioactive wastes, are pro- hibited  from  underground  injection.

- [Reserved]

- Effective February 8, 1999, the wastes specified in 40 CFR 261.32 as EPA Hazardous Waste Numbers K169, K170, K171, and K172 are  prohibited from  underground  injection.

- Effective May 8, 2001, the wastes specified in 40 CFR 261.32 as EPA Haz- ardous Waste Numbers K174 and K175 are prohibited from underground injec- tion.

- Effective May 20, 2002, the wastes specified in 40 CFR 261.32 as EPA Haz- ardous Waste Numbers K176, K177, and K178 are prohibited from underground injection.

- Effective August 23, 2005, the waste specified in 40 CFR 261.32 as EPA Hazardous Waste Number K181 is pro- hibited from underground injection.

#### Environmental Protection Agency	§ 148.20

- The  requirements  of  paragraphs

- through  (l)  of  this  section  do  not apply:

  - If the wastes meet  or  are  treated to meet the applicable standards speci- fied in subpart D of 40 CFR part 268; or

  - If an exemption from a prohibi- tion has been granted in response to a petition under subpart C of  this  part; or

  - During the period of extension of the applicable effective date, if an ex- tension has been granted under § 148.4.

[61  FR  15662,  Apr.  8,  1996,  as  amended  at  62

FR  26018,  May  12,  1997;  63  FR  24624,  May  4,

1998;  63  FR 28636,  May  26,  1998;  63  FR 35149,

June 29, 1998; 63 FR 42184, Aug. 6, 1998; 65 FR

14474, Mar. 17, 2000; 65 FR 36366, June 8, 2000;

65 FR 67126, Nov. 8, 2000; 66 FR 58297, Nov. 20,

2001; 70 FR 9174, Feb. 24, 2005]

# Subpart C—Petition Standards and Procedures

##### § 148.20 Petitions to allow injection of a waste prohibited under  subpart B.

    - Any person seeking an exemption from a prohibition under subpart B of this part for the injection of a re- stricted hazardous waste into an injec- tion well or wells shall submit a peti- tion to the Director demonstrating that, to a reasonable degree of cer- tainty, there will be no migration of hazardous constituents from the injec- tion zone for as long as the waste re- mains hazardous. This demonstration requires a showing that:

- The hydrogeological and geo- chemical conditions at the sites and the physiochemical nature of the waste stream(s) are such that reliable pre- dictions can be made that:

  - Fluid movement conditions  are such that the injected fluids will not migrate within 10,000 years:

    - Vertically upward out of the in- jection zone; or

    - Laterally  within  the   injection zone to a point of discharge or inter- face with an Underground Source of Drinking Water (USDW) as defined  in 40 CFR part 146; or

  - Before the injected fluids migrate out of the injection zone or to a point of discharge or interface with USDW, the fluid will no longer be hazardous because       of       attenuation,       trans-

formation, or immobilization of haz- ardous constituents within the injec- tion zone by hydrolysis, chemical interactions or other means; and

- For each well the petition has:

  - Demonstrated that the injection well’s area of review complies with the substantive requirements of § 146.63;

  - Located, identified, and ascertained the condition of all wells within the injection well’s area of re- view (as specified in § 146.63) that pene- trate the injection zone or  the  con- fining zone by use of a protocol accept- able to the Director that meets the substantive requirements of § 146.64;

  - Submitted a corrective  action plan that meets the substantive re- quirements of  § 146.64, the implementa- tion of which shall  become  a  condition of  petition  approval;  and

  - Submitted the results of pressure and radioactive tracer tests performed within one year prior to submission of the petition demonstrating the me- chanical integrity of the well’s long string casing, injection tube, annular seal, and bottom hole cement. In cases where the petition has not been ap- proved or denied within one year after the initial demonstration of mechan- ical integrity, the Director may  re- quire the owner or operator to perform the tests again and submit the results of the new tests.

NOTE: The requirements of § 148.20(a)(2) need not be incorporated in a permit at the time  of  petition  approval.

    - A	demonstration	under

§ 148.20(a)(1)(i) shall identify the strata within the injection zone which will confine fluid movement above the in- jection interval and include a showing that this strata is free of known transmissive  faults  of  fractures   and that there is a confining zone above the injection   zone.

    - A	demonstration	under

§ 148.20(a)(1)(ii) shall identify the strata within the injection zone where waste transformation  will  be  accomplished and include a  showing  that  this  strata is free of known transmissive faults or fractures and that there is a confining zone  above  the  injection  zone.

    - A demonstration may include a showing that:

      - Treatment methods, the imple- mentation  of  which  shall  become  a

§ 148.21

condition of petition approval, will be utilized that reduce the toxicity or mo- bility of the wastes; or

      - A monitoring plan, the implemen- tation of which shall become a condi- tion of petition approval, will be uti- lized to enhance confidence in one or more aspects of the demonstration.

    - Any person who has been granted an exemption pursuant to this section may submit a petition for reissuance of the exemption to include an additional restricted waste or wastes or to modify any conditions placed on the exemp- tion by the Director.  The  Director shall reissue the petition if the peti- tioner complies with the  requirements of paragraphs (a), (b) and (c) of this sec- tion.

    - Any person who has been granted an exemption pursuant to this section may submit a petition to modify an ex- emption to include an additional (haz- ardous) waste or wastes. The Director may grant the modification if he deter- mines, to a reasonable degree of cer- tainty, that the additional waste or wastes will behave hydraulically and chemically in a manner similar to pre- viously included wastes and that it will not interfere with the containment ca- pability of the injection zone.

##### § 148.21   Information  to  be  submitted in support of petitions.

- Information submitted in support of § 148.20 must meet the following cri- teria:

  - All waste analysis and any new testing performed by the petitioner shall be accurate and reproducible and performed in accordance with quality assurance standards;

  - Estimation techniques shall be ap- propriate, and EPA-certified test pro- tocols shall be used where available and appropriate;

  - Predictive models shall have been verified and validated, shall be appro- priate for the specific site, waste streams, and injection conditions of the operation, and shall be calibrated for existing sites where sufficient data are available;

  - An approved quality assurance and quality control plan shall  address all aspects of the demonstration;

  - Reasonably conservative values shall  be  used  whenever  values  taken

#### 40 CFR Ch. I (7–1–17 Edition)

from the literature or estimated on the basis of known information are used in- stead of site-specific measurements; and

  - An analysis shall be performed to identify and assess aspects of the dem- onstration that contribute signifi- cantly to uncertainty. The petitioner shall conduct a sensitivity analysis to determine the effect that significant uncertainty may contribute to the demonstration. The demonstration shall then be based on conservative as- sumptions identified in the analysis.

- Any	petitioner	under

§ 148.20(a)(1)(i) shall provide sufficient site-specific information to support the demonstration,  such  as:

- Thickness, porosity, permeability and extent of the various strata in the injection zone;

- Thickness, porosity, permeability, extent, and continuity of the confining zone;

- Hydraulic gradient in the injec- tion zone;

- Hydrostatic pressure in the injec- tion zone; and

- Geochemical conditions of the site.

- In addition to the information in

§ 148.21(b),        any        petitioner        under

§ 148.20(a)(1)(ii) shall provide sufficient waste-specific information to ensure reasonably  reliant  predictions   about the waste transformation. The  peti- tioner shall provide the information necessary to support the demonstra- tion,  such  as:

  - Description of the chemical proc- esses or other means that will lead to waste transformation; and

  - Results of laboratory experiments verifying the waste transformation.

##### § 148.22 Requirements for petition sub- mission, review and approval or de- nial.

    - Any petition submitted to the Di- rector pursuant to § 148.20(a) shall in- clude  the  following  components:

      - An identification of the specific waste or wastes and the specific injec- tion well or wells for which the dem- onstration will be made;

      - A waste analysis to describe fully the chemical and physical characteris- tics of the subject wastes;

#### Environmental Protection Agency	Pt. 149

      - Such additional information as is required by the Director to support the petition under §§ 148.20 and 148.21; and

      - This statement signed by the peti- tioner or an authorized representative:

I certify under penalty of law that I have personally examined and am familiar with the information submitted in this petition and all attached documents, and that, based on my inquiry of those individuals imme- diately responsible for obtaining the infor- mation, I believe that submitted information is true, accurate, and complete. I am aware that there are significant penalties for sub- mitting false information, including the pos- sibility of fine and imprisonment.

    - The Director shall provide public notice and an opportunity for public comment in accordance with the proce- dures in § 124.10 of the intent to approve or deny a petition. The final decision on a petition will be published in the FEDERAL    REGISTER.

    - If an exemption is granted it will apply only to  the  underground  injec- tion of the specific restricted waste or wastes identified in the petition into a Class I hazardous waste  injection  well or wells specifically identified in the petition (unless the exemption is modi- fied or reissued pursuant  to  § 148.20(e) or (f).

    - Upon request by any petitioner who obtains an exemption for a well under this subpart, the Director shall initiate and reasonably expedite the necessary procedures to issue or re- issue a permit or permits for the haz- ardous waste well or wells covered by the exemption for a term not to exceed ten years.

##### § 148.23   Review of exemptions granted pursuant to a petition.

- When considering whether to re- issue a permit for the operation of a Class I hazardous waste injection well, the Director shall  review  any  petition filed pursuant  to  § 148.20  and  require  a new  demonstration  if   information shows that  the basis  for granting the exemption  may  no  longer  be  valid.

- Whenever the Director determines that the basis for approval of a petition may no longer  be  valid,  the  Director shall require a new demonstration in accordance with § 148.20.

##### § 148.24   Termination of approved peti- tion.

- The Director may terminate an exemption granted under § 148.20 for the following   causes:

  - Noncompliance by the petitioner with any condition of the exemption;

  - The petitioner’s failure in the pe- tition or during the review and ap- proval to disclose fully all relevant facts, or the petitioner’s misrepresen- tation of any relevant facts at any time; or

  - A determination that new infor- mation shows that the basis for ap- proval of the petition is no longer valid.

- The Director shall terminate an exemption granted under § 148.20 for the following   causes:

  - The petitioner’s willful with- holding during the review and approval of the petition of facts directly and ma- terially relevant to the Director’s deci- sion on the petition;

  - A determination that there has been migration from the injection zone or the  well  that  is  not  in  accordance with the  terms of  the  exemption, ex- cept that the Director may at his dis- cretion decide not to terminate where:

- The migration resulted from a me- chanical failure of the well that can be corrected promptly through a repair to the injection well itself or from an un- detected well or conduit that can be plugged promptly; and

- The requirements of § 146.67(i) are satisfied.

- The Director shall follow the pro- cedures in § 124.5 in terminating any ex- emption  under  this  section.

# PART 149—SOLE SOURCE AQUIFERS

##### Subpart A—Criteria for Identifying Critical Aquifer Protection Areas

Sec.

  - Purpose.

  - Definitions.

  - Critical Aquifer Protection Areas.

##### Subpart B—Review of Projects Affecting the Edwards Underground Reservoir, A Designated Sole Source Aquifer in the San Antonio, Texas Area

  - Applicability.

  - Definitions.

§ 149.1

  - Project review authority.

  - Public information.

  - Submission of petitions.

  - Decision to review.

  - Notice of review.

  - Request for information.

  - Public hearing.

  - Decision under section 1424(e).

  - Resubmittal of redesigned projects.

  - Funding to redesigned projects.

AUTHORITY: Sec. 1424(e), Safe  Drinking Water Act (42 U.S.C. 300h–3(e); sec. 1427 of the Safe  Drinking  Water  Act,  (42  U.S.C.  300h–6).

# Subpart A—Criteria for Identifying Critical Aquifer Protection Areas

SOURCE:  52  FR  23986,  June  26,  1987,  unless

otherwise noted.

##### § 149.1   Purpose.

The purpose of this subpart is to pro- vide criteria for identifying critical aq- uifer protection areas, pursuant to sec- tion 1427 of the Safe Drinking Water Act  (SDWA).

##### § 149.2   Definitions.

    - Aquifer means a geological forma- tion, group of formations, or part of a formation that is capable of yielding a significant amount of water to a well or spring.

    - Recharge means a process, natural or artificial, by which water is added to the saturated zone of an aquifer.

    - Recharge Area means an area in which water reaches the zone of satura- tion (ground water) by surface infiltra- tion; in addition, a major recharge area is an area where a major part of the re- charge to an aquifer occurs.

    - Sole or Principal Source Aquifer (SSA) means an aquifer which is des- ignated as an SSA under section 1424(e) of  the  SDWA.

[54 FR 6843, Feb. 14, 1989]

##### § 149.3   Critical	Aquifer	Protection Areas.

A Critical Aquifer Protection Area is either:

- All or part of an area which was designated as a sole or principal source aquifer prior to June 19, 1986, and for which an areawide ground-water qual- ity  protection  plan  was   approved, under section 208 of the Clean Water Act,  prior  to  that  date;  or

40 CFR Ch. I (7–1–17 Edition)

- All or part of a major recharge area of a sole or principal source aqui- fer, designated before June 19, 1988, for which:

  - The sole or principal source aqui- fer is particularly vulnerable to con- tamination due to the hydrogeologic characteristics of the unsaturated or saturated zone within the suggested critical aquifer protection area; and

  - Contamination of the sole or prin- cipal source aquifer is reasonably like- ly to occur, unless a program to reduce or prevent such contamination is im- plemented; and

  - In the absence of any program to reduce or prevent contamination, rea- sonably foreseeable contamination would result in significant cost, taking into account:

    - The cost of replacing the drinking water supply from the sole or principal source aquifer, and

    - Other economic costs and envi- ronmental and social costs resulting from such contamination.

[54 FR 6843, Feb. 14, 1989]

# Subpart B—Review of Projects Af- fecting the Edwards Under- ground Reservoir, A Des- ignated Sole Source Aquifer in the San Antonio, Texas Area

SOURCE: 42 FR 51574, Sept. 29, 1977, unless

otherwise noted. Redesignated at 52 FR 23986, June 26, 1987.

##### § 149.100   Applicability.

This subpart  sets  forth,  pursuant  to sections 1424(e) and 1450 of the Public Health Service Act, as amended by the Safe Drinking Water Act, Pub. L. 93– 523, regulations relating the Edwards Underground Reservoir  which is  the sole or principal drinking water source for the San Antonio area and which, if contaminated, would create a  signifi- cant  hazard  to  public  health.

[42 FR 51574, Sept. 29, 1977. Redesignated and

amended at 52 FR 23986, June 26, 1987]

##### § 149.101   Definitions.

As used in this subpart and except as otherwise specifically provided, the term(s):

Environmental Protection Agency	§ 149.102

      - Act means the Public Health Serv- ice Act, as amended by the  Safe  Drink- ing Water Act, Public Law 93–523.

      - Contaminant means any physical, chemical, biological, or radiological substance or matter in water.

      - Recharge zone means the area through which water enters the Edwards Underground Reservoir as de- fined in the December 16, 1975, Notice of  Determination.

      - Administrator (Regional Adminis- trator) means the Administrator (Re- gional Administrator) of the United States Environmental Protection Agency.

      - Person means an individual, cor- poration, company, association, part- nership, State, or municipality.

      - Project means a program or action for which an application for Federal fi- nancial assistance has been made.

      - Federal financial assistance means any financial benefits provided directly as aid to a project by a department, agency, or instrumentality of the Fed- eral government in any form including contracts, grants, and loan guarantees. Actions or programs carried out by the Federal government itself such as dredging performed by the Army Corps of Engineers do not involve Federal fi- nancial assistance. Actions performed for the Federal government by contrac- tors, such as construction of roads on Federal lands  by a  contractor under the supervision of the Bureau of Land Management, should be distinguished from contracts entered into specifi- cally for the purpose of providing fi- nancial assistance, and will not be con- sidered programs or actions receiving Federal financial assistance. Federal financial assistance is limited to bene- fits earmarked for a  specific  program or action and directly awarded to the program or action. Indirect assistance, e.g., in the form of a loan to a  devel- oper by a lending institution which in turn receives Federal assistance not specifically related to the project in question is not Federal financial assist- ance under section 1424(e).

      - Commitment of Federal financial as- sistance means a written agreement en- tered into by a department, agency, or instrumentality of the Federal Govern- ment to provide financial assistance as defined in paragraph (g) of this section.

Renewal of a commitment which the issuing agency determines has lapsed shall not constitute a new commitment unless the Regional Administrator de- termines that the project’s impact on the aquifer has not been previously re- viewed under section 1424(e). The deter- mination of a Federal agency that a certain written  agreement  constitutes a commitment shall be conclusive with respect to the existence of such a com- mitment.

- Streamflow source zone means the upstream headwaters area which drains into the recharge zone as defined in the December 16, 1975, Notice of Deter- mination.

- Significant hazard to public health means any level of contaminant which causes or may cause the aquifer to ex- ceed any maximum contaminant level set forth in any promulgated National Primary Drinking Water  Standard  at any point where the water may be used for drinking purposes or which may otherwise adversely affect the health of persons, or which may require a public water system to install additional treatment to prevent such adverse ef- fect.

- Aquifer means the Edwards Under- ground Reservoir.

[42 FR 51574, Sept. 29, 1977. Redesignated and

amended at 52 FR 23986, June 26, 1987]

##### § 149.102   Project review authority.

- Once an area is designated, no subsequent commitments of Federal fi- nancial assistance may be made to projects which the Administrator de- termines may contaminate the aquifer so as to create a significant hazard to public health.

- The Regional Administrator is hereby delegated the authority and as- signed responsibility for carrying out the project review  process assigned to the Administrator under section 1424(e) of the Act, except the final determina- tion that a project  may  contaminate the aquifer through its recharge  zone so as to create a significant hazard to public  health.

- The Regional Administrator may review any project which he considers may potentially contaminate the aqui- fer through its recharge zone so as to create a significant hazard to public health.

#### § 149.103

##### § 149.103   Public information.

After the area is designated under section 1424(e), Federal agencies, for projects, located in the recharge zone and streamflow source zones, are re- quired to:

  - Maintain a list of projects for which environmental impact state- ments will be prepared in accordance with the National Environmental Pol- icy Act (NEPA);

  - Revise the list at regular inter- vals and submit to EPA; and

  - Make the list available to the public upon request.

##### § 149.104   Submission of petitions.

Any person may submit a petition re- questing the Regional Administrator to review a project to determine if such project may contaminate the aquifer through its recharge zone so as to cre- ate a significant hazard to public health. Any such petition shall iden- tify:

- The name, address, and telephone number of the individual, organization, or other entity submitting the peti- tion;

- A brief statement of the request- ing person’s interest in the Regional Administrator’s determination;

- The name of the project and Fed- eral agency involved;

In addition, the petitioner is requested to submit to EPA available informa- tion on:

- Applicable action already taken by State and local agencies including establishment of regulations to prevent contamination of the aquifer and why, in the petitioner’s judgment, the ac- tion was inadequate.

- Any actions taken under the Na- tional Environmental Policy Act and why, in the petitioner’s judgment, that action was inadequate in regard to evaluation of potential effect on the aquifer.

- The potential contaminants in- volved;

- The means by which the contami- nant might enter the aquifer; and

- The potential impact of the pro- posed project.

#### 40 CFR Ch. I (7–1–17 Edition)

##### § 149.105   Decision to review.

- The Regional Administrator shall review under section 1424(e) all projects located in the recharge or streamflow source zone of the aquifer for which a draft or final EIS is submitted which may have an impact on ground water quality and which involve Federal fi- nancial assistance as defined in these regulations.

- Upon receipt of a public petition, the Regional Administrator shall  de- cide whether the project which is the subject of the petition should be re- viewed under section 1424(e).

- The Regional Administrator may decide to review a project upon his own motion.

- In determining whether to review a project upon receipt of a public peti- tion or upon his own motion, the Re- gional Administrator shall consider whether the project is likely to di- rectly or indirectly cause contamina- tion of the aquifer through its recharge zone, taking into account any  factors he deems relevant, including:

  - The location of the project, and

  - The nature of the project.

- In determining whether to review a project upon receipt of a public peti- tion or upon his own motion, the Re- gional Administrator may consult with, or request information from, the Federal agency to which the project application has been made, the appli- cant seeking Federal assistance, appro- priate State and local agencies, and other appropriate persons or entities.

- In determining whether to review a project which is the subject of a pub- lic petition, the Regional  Adminis- trator may request such additional in- formation from the petitioner as he deems necessary.

##### § 149.106   Notice of review.

- Notice to Federal agency. If the Re- gional Administrator decides upon re- ceipt of a public petition or upon his own motion to review a project under section 1424(e), he shall give written notification of the decision to the Fed- eral agency from which financial as- sistance  is  sought.  The  notification shall include a description and identi- fication of the project.

#### Environmental Protection Agency	§ 149.109

- Notice to public. When the  Re- gional Administrator undertakes to re- view a project pursuant to § 149.13 above, he shall provide public notice of project review by such means as he deems appropriate. The notice shall set forth the availability for  public  review of all data and information available, and shall solicit comments, data and information with respect to the deter- mination of impact under section 1424(e). The period for public comment shall be 30 days after public notice un- less the Regional Administrator ex- tends the period  at his discretion or a public hearing is held under § 149.16.

##### § 149.107   Request for information.

In reviewing a project under section 1424(e), the Regional Administrator may request any additional  informa- tion from the funding Federal agency which is pertinent to reaching a deci- sion. If full evaluation of the ground- water impact of a project has not been submitted in accordance with the agen- cy’s NEPA procedures, the Regional Administrator may specifically request that the Federal agency submit a groundwater impact evaluation of whether the proposed project may con- taminate the aquifer through its re- charge zone so as to create a signifi- cant hazard to public health.

##### § 149.108   Public hearing.

If there is significant public interest, the Regional Administrator may hold a public hearing  with  respect  to  any project or projects to be reviewed if he finds that such a hearing is necessary and would be helpful in clarifying the issues. Public hearings held under this section should be coordinated, if pos- sible, with other Federal public hear- ings held pursuant to applicable laws and regulations. Any such hearing shall be conducted by the Regional Ad- ministrator or designee in an informal, orderly and expeditious manner. Where appropriate, limits may be placed upon the time allowed for oral statements, and statements may be required to be submitted in writing. The record will be held open for further public com- ment for seven (7) days following the close of the public hearing.

##### § 149.109   Decision	under	section 1424(e).

- As soon as practicable after the submission of public comments under section 1424(e) and information re- quested by the Environmental Protec- tion Agency from the originating Fed- eral agency, on the basis of such infor- mation as is available to him, the Re- gional Administrator shall review the project taking all relevant factors into account  including:

  - The extent of possible public health hazard presented by the project;

  - Planning, design, construction, operation, maintenance and  moni- toring measures included in the project which would prevent or mitigate the possible health hazard;

  - The extent  and effectiveness  of State or local control over possible contaminant releases to the aquifer;

  - The cumulative and secondary im- pacts of the proposed project; and

  - The expected environmental bene- fits of the proposed project.

- After reviewing the available in- formation, the Regional Administrator shall:

  - Determine that the risk of con- tamination of the aquifer through the recharge zone so as to create a signifi- cant hazard to public health is not suf- ficiently great so as to prevent com- mitment of Federal funding to the project; or

  - Forward the information to the Administrator with his recommenda- tion that the project may contaminate the aquifer through the recharge zone so as to create a significant hazard to public health.

- After receiving the available in- formation forwarded by the Regional Administrator, the Administrator shall:

  - Determine that the risk of con- tamination of the aquifer through the recharge zone so as to create a signifi- cant hazard to public health is not suf- ficiently great so as to prevent com- mitment of Federal funding to the project; or

  - Determine that the project may contaminate the aquifer through the recharge zone so as to create a signifi- cant hazard to public health.

- Notice of any decisions by the Re- gional Administrator under paragraph

#### § 149.110

(b)(1) of this section or by the Adminis- trator under paragraphs (c)(1) and (2) of this section to prevent  a  commitment of Federal funding shall be published in the  FEDERAL  REGISTER.  Such  notices shall include a description of the propsed project, and a statement of de- cision with an accompanying state- ment of facts and reasons.

##### § 149.110   Resubmittal	of	redesigned projects.

If a project is redesigned in response to EPA’s objections, the applicant for Federal financial assistance or the grantor agency may file a petition with the Regional Administrator for with- drawal of the determination that the project may contaminate the aquifer through the recharge zone so as to cre- ate a significant hazard to public health. Any such petition shall dem- onstrate how the project has been rede- signed so as to justify the withdrawal of EPA’s objections. If appropriate, the Regional Administrator may request public comments or hold an informal public hearing to consider the petition. After review of pertinent information,

#### 40 CFR Ch. I (7–1–17 Edition)

the Regional Administrator shall ei- ther deny the petition or recommend to the Administrator that the initial determination that a project may con- taminate the aquifer be vacated. Upon receipt of a recommendation from the Regional Administrator that a deter- mination be vacated, the Adminis- trator shall either deny the petition or order that the initial determination be vacated. The final decision regarding a petition shall be published in the FED- ERAL REGISTER with an accompanying statement of reasons.

##### § 149.111   Funding	to	redesigned projects.

After publication of a decision that a proposed project may contaminate a sole or principal source aquifer in a designated area through its recharge zone so as to create a significant haz- ard to public health, a commitment for Federal financial assistance may be en- tered into, if authorized under another provision of law, to plan or redesign such project to assure that it will not so contaminate the aquifer.